## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2045-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2045-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2045-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2045-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2045-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2045-2_0_2_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2045-2_0_2_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_2045-2_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2045-2_0_2_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_2045-2_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2045-2_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2045-2_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2045-2_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2045-2_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2045-2_0_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2045-2_0_2_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_2045-2_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2045-2_0_2_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_2045-2_0_2_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_2045-2_0_2_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_2045-2_0_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_2045-2_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2045-2_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2045-2_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2045-2_0_2_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_2045-2_0_2_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_2045-2_0_2_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_2045-2_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2045-2_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2045-2_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2045-2_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2045-2_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2045-2_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_2045-2_0_2_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_2045-2_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2045-2_0_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_2045-2_0_2_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_2045-2_0_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2045-2_0_2_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2045-2_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2045-2_0_2_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2045-2_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2045-2_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2045-2_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2045-2_0_2_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_2045-2_0_2_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_2045-2_0_2_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_2045-2_0_2_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_2045-2_0_2_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_2045-2_0_2_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_2045-2_0_2_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_2045-2_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2045-2_0_2_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_2045-2_0_2_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_2045-2_0_2_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_2045-2_0_2_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_2045-2_0_2_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_2045-2_0_2_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_2045-2_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2045-2_0_2_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_2045-2_0_2_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_2045-2_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_2045-2_0_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2045-2_0_2_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_2045-2_0_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_2045-2_0_2_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_2045-2_0_2_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_2045-2_0_2_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_2045-2_0_2_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_2045-2_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2045-2_0_2_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_2045-2_0_2_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_2045-2_0_2_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_2045-2_0_2_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_2045-2_0_2_node_73 | 0.4 | n |  | TRUE
75 | bus_MV_377_0_node_242 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2045-2_0_2_load_0 | 0 | 0.0027826 | 0.00069739 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2045-2_0_2_load_1 | 1 | 0.0002569 | 6.4385e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2045-2_0_2_load_2 | 2 | 0.0026365 | 0.00066076 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2045-2_0_2_load_3 | 3 | 0.00066772 | 0.00016735 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2045-2_0_2_load_4 | 4 | 0.0031219 | 0.00078241 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2045-2_0_2_load_12 | 5 | 0.00044614 | 0.00011181 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2045-2_0_2_load_50 | 6 | 0.0028174 | 0.00070612 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2045-2_0_2_load_51 | 8 | 0.0019329 | 0.00048443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2045-2_0_2_load_5 | 9 | 0.0032965 | 0.00082617 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2045-2_0_2_load_6 | 10 | 0.0019921 | 0.00049926 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2045-2_0_2_load_7 | 11 | 0.00090694 | 0.0002273 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2045-2_0_2_load_8 | 12 | 0.002021 | 0.00050651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2045-2_0_2_load_9 | 13 | 0.0016563 | 0.00041512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2045-2_0_2_load_23 | 14 | 0.0035256 | 0.0008836 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2045-2_0_2_load_21 | 16 | 0.0046212 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2045-2_0_2_load_70 | 17 | 0.00063658 | 0.00015954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2045-2_0_2_load_53 | 18 | 0.0016666 | 0.00041768 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2045-2_0_2_load_77 | 19 | 0.0037735 | 0.00094573 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2045-2_0_2_load_54 | 20 | 0.0029451 | 0.00073812 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2045-2_0_2_load_10 | 21 | 0.00044298 | 0.00011102 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2045-2_0_2_load_13 | 22 | 0.00047976 | 0.00012024 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2045-2_0_2_load_14 | 23 | 0.0017559 | 0.00044007 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2045-2_0_2_load_42 | 24 | 0.0039649 | 0.00099369 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2045-2_0_2_load_74 | 25 | 0.0011149 | 0.00027942 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2045-2_0_2_load_40 | 26 | 0.0014006 | 0.00035103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2045-2_0_2_load_15 | 28 | 0.0032272 | 0.00080882 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2045-2_0_2_load_16 | 29 | 0.0031725 | 0.0007951 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2045-2_0_2_load_17 | 30 | 0.0047361 | 0.001187 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2045-2_0_2_load_18 | 31 | 0.0031314 | 0.00078481 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2045-2_0_2_load_19 | 32 | 0.0043494 | 0.0010901 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2045-2_0_2_load_34 | 34 | 0.0033111 | 0.00082983 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2045-2_0_2_load_59 | 35 | 0.00078358 | 0.00019638 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2045-2_0_2_load_60 | 36 | 0.0054893 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2045-2_0_2_load_44 | 37 | 0.0042266 | 0.0010593 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2045-2_0_2_load_20 | 38 | 0.00080616 | 0.00020204 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2045-2_0_2_load_22 | 39 | 0.042029 | 0.010533 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2045-2_0_2_load_24 | 40 | 0.0011814 | 0.00029609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2045-2_0_2_load_35 | 41 | 0.003424 | 0.00085812 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2045-2_0_2_load_36 | 42 | 0.0015559 | 0.00038995 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2045-2_0_2_load_39 | 43 | 0.0043966 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2045-2_0_2_load_69 | 44 | 0.0025711 | 0.00064437 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2045-2_0_2_load_55 | 45 | 0.0036356 | 0.00091117 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2045-2_0_2_load_56 | 46 | 0.0059178 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2045-2_0_2_load_57 | 47 | 0.0014825 | 0.00037156 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2045-2_0_2_load_25 | 48 | 0.00024815 | 6.2191e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2045-2_0_2_load_41 | 51 | 0.00066437 | 0.00016651 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2045-2_0_2_load_65 | 52 | 0.0024029 | 0.00060223 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2045-2_0_2_load_61 | 53 | 0.0019437 | 0.00048713 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2045-2_0_2_load_29 | 54 | 0.0011045 | 0.00027681 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2045-2_0_2_load_30 | 55 | 0.001289 | 0.00032306 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2045-2_0_2_load_31 | 56 | 0.0012052 | 0.00030205 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2045-2_0_2_load_45 | 58 | 0.0038642 | 0.00096847 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2045-2_0_2_load_43 | 61 | 0.0015429 | 0.00038669 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2045-2_0_2_load_68 | 62 | 0.0037477 | 0.00093925 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2045-2_0_2_load_64 | 63 | 0.0016536 | 0.00041443 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2045-2_0_2_load_67 | 64 | 0.0019888 | 0.00049843 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2045-2_0_2_load_71 | 65 | 0.0016919 | 0.00042403 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2045-2_0_2_load_46 | 66 | 0.0010369 | 0.00025987 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2045-2_0_2_load_47 | 67 | 0.00057041 | 0.00014296 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2045-2_0_2_load_49 | 68 | 0.0012474 | 0.00031264 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2045-2_0_2_load_66 | 69 | 0.0054958 | 0.0013774 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2045-2_0_2_load_52 | 70 | 0.0013304 | 0.00033342 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2045-2_0_2_load_75 | 71 | 0.00424 | 0.0010627 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2045-2_0_2_load_76 | 72 | 0.0074372 | 0.0018639 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2045-2_0_2_load_62 | 73 | 0.0017726 | 0.00044427 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2045-2_0_2_load_73 | 74 | 0.0079598 | 0.0019949 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2045-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2045-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2045-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2045-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0016476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2045-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2045-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.028061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2045-2_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.023942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2045-2_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0014511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2045-2_0_2_line_8 | NAYY 4x150 SE | 7 | 22 | 0.037869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2045-2_0_2_line_9 | NAYY 4x150 SE | 7 | 23 | 0.015356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2045-2_0_2_line_10 | NAYY 4x150 SE | 7 | 21 | 0.032174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2045-2_0_2_line_11 | NAYY 4x150 SE | 8 | 70 | 0.011954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2045-2_0_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.022288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2045-2_0_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.021127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2045-2_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.00067181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2045-2_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.016547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2045-2_0_2_line_16 | NAYY 4x150 SE | 12 | 17 | 0.0089402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2045-2_0_2_line_17 | NAYY 4x150 SE | 13 | 18 | 0.020501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2045-2_0_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.087239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_2045-2_0_2_line_19 | NAYY 4x150 SE | 14 | 16 | 0.025574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2045-2_0_2_line_20 | NAYY 4x150 SE | 15 | 43 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2045-2_0_2_line_21 | NAYY 4x150 SE | 15 | 41 | 0.040135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2045-2_0_2_line_22 | NAYY 4x150 SE | 16 | 40 | 0.0073948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2045-2_0_2_line_23 | NAYY 4x150 SE | 16 | 38 | 0.016513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2045-2_0_2_line_24 | NAYY 4x150 SE | 17 | 19 | 0.075242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2045-2_0_2_line_25 | NAYY 4x150 SE | 18 | 20 | 0.037873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2045-2_0_2_line_26 | NAYY 4x150 SE | 20 | 45 | 0.0090699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2045-2_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.030848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2045-2_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.035275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2045-2_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.044443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2045-2_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.018111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2045-2_0_2_line_31 | NAYY 4x150 SE | 26 | 51 | 0.038672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2045-2_0_2_line_32 | NAYY 4x150 SE | 27 | 50 | 0.03481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2045-2_0_2_line_33 | NAYY 4x150 SE | 27 | 49 | 0.009584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2045-2_0_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.016457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2045-2_0_2_line_35 | NAYY 4x150 SE | 28 | 30 | 0.017403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2045-2_0_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.022275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2045-2_0_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.016476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2045-2_0_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.013471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2045-2_0_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.00017159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2045-2_0_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.029834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2045-2_0_2_line_41 | NAYY 4x150 SE | 33 | 36 | 0.043127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2045-2_0_2_line_42 | NAYY 4x150 SE | 34 | 37 | 0.021556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2045-2_0_2_line_43 | NAYY 4x150 SE | 35 | 40 | 0.028027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2045-2_0_2_line_44 | NAYY 4x150 SE | 36 | 71 | 0.02579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2045-2_0_2_line_45 | NAYY 4x150 SE | 37 | 57 | 0.022486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2045-2_0_2_line_46 | NAYY 4x150 SE | 38 | 39 | 0.027599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_2045-2_0_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.02822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_2045-2_0_2_line_48 | NAYY 4x150 SE | 42 | 60 | 0.030535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_2045-2_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.010187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2045-2_0_2_line_50 | NAYY 4x150 SE | 44 | 47 | 0.020022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2045-2_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.023839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2045-2_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.0065895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2045-2_0_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.037229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2045-2_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.043755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2045-2_0_2_line_55 | NAYY 4x150 SE | 50 | 53 | 0.015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_2045-2_0_2_line_56 | NAYY 4x150 SE | 53 | 73 | 0.011505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_2045-2_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.028113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2045-2_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.025048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2045-2_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.015277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2045-2_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2045-2_0_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.012183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2045-2_0_2_line_62 | NAYY 4x150 SE | 59 | 65 | 0.028409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2045-2_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.017715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_2045-2_0_2_line_64 | NAYY 4x150 SE | 61 | 64 | 0.060267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2045-2_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.067169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_2045-2_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.012109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_2045-2_0_2_line_67 | NAYY 4x150 SE | 63 | 73 | 0.023239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_2045-2_0_2_line_68 | NAYY 4x150 SE | 65 | 74 | 0.00015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2045-2_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.024144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2045-2_0_2_line_70 | NAYY 4x150 SE | 67 | 68 | 0.005186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2045-2_0_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0028871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2045-2_0_2_line_72 | NAYY 4x150 SE | 69 | 70 | 0.017804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2045-2_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.012945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2045-2_0_2_trafo_22 | 0.25 MVA 20/0.4 kV | 75 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2563092.0784 | 1192811.9988 | 2563081.0757 | 1192806.762
1 | 2563092.0784 | 1192811.9988 | 2563101.6668 | 1192816.5625
2 | 2563061.1755 | 1192796.5633 | 2563071.5719 | 1192802.2386 | 2563081.0757 | 1192806.762
3 | 2563103.1545 | 1192817.2705 | 2563101.6668 | 1192816.5625
4 | 2563061.1755 | 1192796.5633 | 2563055.06 | 1192793.2248 | 2563049.6213 | 1192782.7083 | 2563039.5256 | 1192778.7547
5 | 2563128.2426 | 1192829.8277 | 2563115.5893 | 1192823.1889 | 2563103.1545 | 1192817.2705
6 | 2563017.2325 | 1192770.0243 | 2563039.5256 | 1192778.7547
7 | 2563128.2426 | 1192829.8277 | 2563129.5275 | 1192830.5018
8 | 2563017.2325 | 1192770.0243 | 2563031.1982 | 1192740.8218 | 2563032.1277 | 1192735.4024
9 | 2563017.2325 | 1192770.0243 | 2563006.1078 | 1192759.4388
10 | 2563017.2325 | 1192770.0243 | 2563002.8981 | 1192798.8288
11 | 2563129.5275 | 1192830.5018 | 2563140.1127 | 1192836.0555 | 2563140.1127 | 1192836.0555
12 | 2562668.5439 | 1192549.642 | 2562668.5439 | 1192549.642 | 2562687.8689 | 1192560.7449
13 | 2562679.7591 | 1192531.7374 | 2562668.5439 | 1192549.642
14 | 2562688.4515 | 1192561.0796 | 2562687.8689 | 1192560.7449
15 | 2562679.7591 | 1192531.7374 | 2562688.5432 | 1192517.7142
16 | 2562696.2033 | 1192565.5333 | 2562688.4515 | 1192561.0796
17 | 2562699.4259 | 1192500.3406 | 2562688.5432 | 1192517.7142
18 | 2562853.0473 | 1192461.2896 | 2562804.321 | 1192533.6521
19 | 2562871.1555 | 1192443.2311 | 2562853.0473 | 1192461.2896
20 | 2562804.321 | 1192533.6521 | 2562790.1379 | 1192526.7248
21 | 2562804.321 | 1192533.6521 | 2562839.9718 | 1192552.087
22 | 2562871.1555 | 1192443.2311 | 2562876.7183 | 1192438.3589
23 | 2562871.1555 | 1192443.2311 | 2562883.7711 | 1192453.8853
24 | 2562696.2033 | 1192565.5333 | 2562748.3425 | 1192619.7812
25 | 2562699.4259 | 1192500.3406 | 2562708.0226 | 1192486.6164 | 2562727.1218 | 1192495.9466 | 2562727.5017 | 1192496.1321
26 | 2562735.6515 | 1192500.1126 | 2562727.5017 | 1192496.1321
27 | 2563032.1277 | 1192735.4024 | 2563062.6343 | 1192739.9823
28 | 2562988.5094 | 1192729.567 | 2562990.9952 | 1192738.9923 | 2563002.2352 | 1192755.7539 | 2563006.1078 | 1192759.4388
29 | 2563062.6343 | 1192739.9823 | 2563093.4105 | 1192737.1792 | 2563103.2067 | 1192732.5383 | 2563105.225 | 1192730.7455
30 | 2562983.8919 | 1192712.055 | 2562987.0845 | 1192724.164 | 2562988.5094 | 1192729.567
31 | 2563105.225 | 1192730.7455 | 2563111.3482 | 1192725.3063 | 2563110.6543 | 1192719.1072 | 2563087.2547 | 1192712.7652
32 | 2562974.6132 | 1192678.5054 | 2562983.8919 | 1192712.055
33 | 2562988.6345 | 1192703.721 | 2562983.8919 | 1192712.055
34 | 2562954.3198 | 1192360.7646 | 2562949.98 | 1192367.122 | 2562944.1272 | 1192373.6397
35 | 2562964.1314 | 1192346.3915 | 2562954.3198 | 1192360.7646
36 | 2562929.2446 | 1192390.2129 | 2562944.1272 | 1192373.6397
37 | 2562964.1314 | 1192346.3915 | 2562965.3597 | 1192344.5921 | 2562973.4226 | 1192332.7848
38 | 2562920.2441 | 1192400.2359 | 2562929.2446 | 1192390.2129
39 | 2562973.5193 | 1192332.6431 | 2562973.4226 | 1192332.7848
40 | 2562920.2441 | 1192400.2359 | 2562897.8013 | 1192419.8929
41 | 2562920.2441 | 1192400.2359 | 2562957.2666 | 1192422.3557
42 | 2562985.6755 | 1192314.8414 | 2562973.5193 | 1192332.6431
43 | 2562897.8013 | 1192419.8929 | 2562876.7183 | 1192438.3589
44 | 2562979.4058 | 1192435.5832 | 2562957.2666 | 1192422.3557
45 | 2562998.3558 | 1192296.2722 | 2562985.6755 | 1192314.8414
46 | 2562904.8565 | 1192471.6926 | 2562883.7711 | 1192453.8853
47 | 2562839.9718 | 1192552.087 | 2562865.0387 | 1192565.049
48 | 2562892.1623 | 1192579.0745 | 2562865.0387 | 1192565.049
49 | 2562780.9841 | 1192522.2539 | 2562790.1379 | 1192526.7248
50 | 2562780.9841 | 1192522.2539 | 2562762.9931 | 1192513.4668
51 | 2562735.6515 | 1192500.1126 | 2562757.0721 | 1192510.5749
52 | 2562762.9931 | 1192513.4668 | 2562757.0721 | 1192510.5749
53 | 2562988.6345 | 1192703.721 | 2563007.0403 | 1192671.36
54 | 2562974.6132 | 1192678.5054 | 2562949.406 | 1192687.022 | 2562932.9179 | 1192681.9105
55 | 2562974.6132 | 1192678.5054 | 2562968.4508 | 1192664.5574
56 | 2562968.4508 | 1192664.5574 | 2562967.3539 | 1192662.0748 | 2562962.4624 | 1192654.7703
57 | 2563006.4389 | 1192283.3088 | 2563021.3138 | 1192259.4532
58 | 2563034.567 | 1192238.1983 | 2563021.3138 | 1192259.4532
59 | 2562998.3558 | 1192296.2722 | 2563006.4389 | 1192283.3088
60 | 2562998.3558 | 1192296.2722 | 2562969.6756 | 1192278.5764
61 | 2562959.3074 | 1192272.1791 | 2562969.6756 | 1192278.5764
62 | 2562959.3074 | 1192272.1791 | 2562971.4127 | 1192246.4781
63 | 2562892.1623 | 1192579.0745 | 2562882.5407 | 1192593.9483
64 | 2562882.5407 | 1192593.9483 | 2562840.4631 | 1192637.0944
65 | 2562941.2916 | 1192626.5061 | 2562882.5407 | 1192593.9483
66 | 2562948.9087 | 1192635.9199 | 2562941.2916 | 1192626.5061
67 | 2562962.4624 | 1192654.7703 | 2562954.3055 | 1192642.5896 | 2562948.9087 | 1192635.9199
68 | 2562971.4806 | 1192246.334 | 2562971.4127 | 1192246.4781
69 | 2563183.1517 | 1192861.5368 | 2563182.8838 | 1192861.3831 | 2563176.879 | 1192857.8849 | 2563167.5244 | 1192852.5619 | 2563162.304 | 1192849.3635
70 | 2563162.304 | 1192849.3635 | 2563157.882 | 1192846.6542
71 | 2563157.882 | 1192846.6542 | 2563155.4202 | 1192845.1459
72 | 2563140.1127 | 1192836.0555 | 2563153.1712 | 1192843.768 | 2563155.4202 | 1192845.1459
73 | 2562990.5181 | 1192442.2225 | 2562979.4058 | 1192435.5832

## bus_geodata
| x | y | coords
0 | 2563092.0784 | 1192811.9988
1 | 2563081.0757 | 1192806.762
2 | 2563101.6668 | 1192816.5625
3 | 2563061.1755 | 1192796.5633
4 | 2563103.1545 | 1192817.2705
5 | 2563039.5256 | 1192778.7547
6 | 2563128.2426 | 1192829.8277
7 | 2563017.2325 | 1192770.0243
8 | 2563129.5275 | 1192830.5018
9 | 2562668.5439 | 1192549.642
10 | 2562687.8689 | 1192560.7449
11 | 2562679.7591 | 1192531.7374
12 | 2562688.4515 | 1192561.0796
13 | 2562688.5432 | 1192517.7142
14 | 2562853.0473 | 1192461.2896
15 | 2562804.321 | 1192533.6521
16 | 2562871.1555 | 1192443.2311
17 | 2562696.2033 | 1192565.5333
18 | 2562699.4259 | 1192500.3406
19 | 2562748.3425 | 1192619.7812
20 | 2562727.5017 | 1192496.1321
21 | 2563002.8981 | 1192798.8288
22 | 2563032.1277 | 1192735.4024
23 | 2563006.1078 | 1192759.4388
24 | 2563062.6343 | 1192739.9823
25 | 2562988.5094 | 1192729.567
26 | 2563105.225 | 1192730.7455
27 | 2562983.8919 | 1192712.055
28 | 2562954.3198 | 1192360.7646
29 | 2562944.1272 | 1192373.6397
30 | 2562964.1314 | 1192346.3915
31 | 2562929.2446 | 1192390.2129
32 | 2562973.4226 | 1192332.7848
33 | 2562920.2441 | 1192400.2359
34 | 2562973.5193 | 1192332.6431
35 | 2562897.8013 | 1192419.8929
36 | 2562957.2666 | 1192422.3557
37 | 2562985.6755 | 1192314.8414
38 | 2562883.7711 | 1192453.8853
39 | 2562904.8565 | 1192471.6926
40 | 2562876.7183 | 1192438.3589
41 | 2562839.9718 | 1192552.087
42 | 2562865.0387 | 1192565.049
43 | 2562790.1379 | 1192526.7248
44 | 2562780.9841 | 1192522.2539
45 | 2562735.6515 | 1192500.1126
46 | 2562757.0721 | 1192510.5749
47 | 2562762.9931 | 1192513.4668
48 | 2563007.0403 | 1192671.36
49 | 2562988.6345 | 1192703.721
50 | 2562974.6132 | 1192678.5054
51 | 2563087.2547 | 1192712.7652
52 | 2562932.9179 | 1192681.9105
53 | 2562968.4508 | 1192664.5574
54 | 2563021.3138 | 1192259.4532
55 | 2563006.4389 | 1192283.3088
56 | 2563034.567 | 1192238.1983
57 | 2562998.3558 | 1192296.2722
58 | 2562969.6756 | 1192278.5764
59 | 2562959.3074 | 1192272.1791
60 | 2562892.1623 | 1192579.0745
61 | 2562882.5407 | 1192593.9483
62 | 2562941.2916 | 1192626.5061
63 | 2562948.9087 | 1192635.9199
64 | 2562840.4631 | 1192637.0944
65 | 2562971.4127 | 1192246.4781
66 | 2563183.1517 | 1192861.5368
67 | 2563162.304 | 1192849.3635
68 | 2563157.882 | 1192846.6542
69 | 2563155.4202 | 1192845.1459
70 | 2563140.1127 | 1192836.0555
71 | 2562979.4058 | 1192435.5832
72 | 2562990.5181 | 1192442.2225
73 | 2562962.4624 | 1192654.7703
74 | 2562971.4806 | 1192246.334
75 | 2562871.1555 | 1192443.2311

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97151 | -0.20073 | 0.0027826 | 0.00069739
1 | 0.97192 | -0.19777 | 0.0002569 | 6.4385e-05
2 | 0.97119 | -0.203 | 0.0026365 | 0.00066076
3 | 0.97268 | -0.19228 | 0.00066772 | 0.00016735
4 | 0.97115 | -0.2033 | 0.0031219 | 0.00078241
5 | 0.97372 | -0.18481 | 0.00044614 | 0.00011181
6 | 0.97055 | -0.20759 | 0.0028174 | 0.00070612
7 | 0.97458 | -0.17867 | 0 | 0
8 | 0.97053 | -0.20777 | 0.0019329 | 0.00048443
9 | 0.98177 | -0.12765 | 0.0032965 | 0.00082617
10 | 0.9815 | -0.1296 | 0.0019921 | 0.00049926
11 | 0.98213 | -0.12509 | 0.00090694 | 0.0002273
12 | 0.9815 | -0.12965 | 0.002021 | 0.00050651
13 | 0.98244 | -0.12293 | 0.0016563 | 0.00041512
14 | 0.99304 | -0.048254 | 0.0035256 | 0.0008836
15 | 0.98723 | -0.088881 | 0 | 0
16 | 0.9948 | -0.035979 | 0.0046212 | 0.0011582
17 | 0.98144 | -0.13005 | 0.00063658 | 0.00015954
18 | 0.98286 | -0.1199 | 0.0016666 | 0.00041768
19 | 0.98103 | -0.133 | 0.0037735 | 0.00094573
20 | 0.98374 | -0.11365 | 0.0029451 | 0.00073812
21 | 0.97455 | -0.17882 | 0.00044298 | 0.00011102
22 | 0.97421 | -0.18127 | 0.00047976 | 0.00012024
23 | 0.97528 | -0.17362 | 0.0017559 | 0.00044007
24 | 0.97394 | -0.18323 | 0.0039649 | 0.00099369
25 | 0.97699 | -0.1614 | 0.0011149 | 0.00027942
26 | 0.97381 | -0.1842 | 0.0014006 | 0.00035103
27 | 0.9779 | -0.15493 | 0 | 0
28 | 0.98602 | -0.09773 | 0.0032272 | 0.00080882
29 | 0.9869 | -0.091487 | 0.0031725 | 0.0007951
30 | 0.98517 | -0.10377 | 0.0047361 | 0.001187
31 | 0.9882 | -0.082332 | 0.0031314 | 0.00078481
32 | 0.98448 | -0.10869 | 0.0043494 | 0.0010901
33 | 0.98904 | -0.076377 | 0 | 0
34 | 0.98447 | -0.10873 | 0.0033111 | 0.00082983
35 | 0.99165 | -0.058019 | 0.00078358 | 0.00019638
36 | 0.98797 | -0.083941 | 0.0054893 | 0.0013758
37 | 0.9838 | -0.11347 | 0.0042266 | 0.0010593
38 | 0.99674 | -0.022509 | 0.00080616 | 0.00020204
39 | 1 | 0 | -0.16637 | -0.041852
40 | 0.99413 | -0.040638 | 0.0011814 | 0.00029609
41 | 0.98564 | -0.10011 | 0.003424 | 0.00085812
42 | 0.98458 | -0.10753 | 0.0015559 | 0.00038995
43 | 0.98639 | -0.094854 | 0.0043966 | 0.0011019
44 | 0.98591 | -0.098255 | 0.0025711 | 0.00064437
45 | 0.98399 | -0.11189 | 0.0036356 | 0.00091117
46 | 0.98477 | -0.10635 | 0.0059178 | 0.0014831
47 | 0.98504 | -0.10442 | 0.0014825 | 0.00037156
48 | 0.97788 | -0.15505 | 0.00024815 | 6.2191e-05
49 | 0.97789 | -0.15495 | 0 | 0
50 | 0.97878 | -0.14867 | 0 | 0
51 | 0.97377 | -0.18447 | 0.00066437 | 0.00016651
52 | 0.97862 | -0.14977 | 0.0024029 | 0.00060223
53 | 0.97919 | -0.14574 | 0.0019437 | 0.00048713
54 | 0.98307 | -0.11869 | 0.0011045 | 0.00027681
55 | 0.98317 | -0.11802 | 0.001289 | 0.00032306
56 | 0.98303 | -0.119 | 0.0012052 | 0.00030205
57 | 0.98325 | -0.11745 | 0 | 0
58 | 0.98259 | -0.12215 | 0.0038642 | 0.00096847
59 | 0.98241 | -0.12337 | 0 | 0
60 | 0.98348 | -0.11533 | 0 | 0
61 | 0.98284 | -0.11986 | 0.0015429 | 0.00038669
62 | 0.98058 | -0.13586 | 0.0037477 | 0.00093925
63 | 0.9802 | -0.13852 | 0.0016536 | 0.00041443
64 | 0.98266 | -0.1211 | 0.0019888 | 0.00049843
65 | 0.98202 | -0.12621 | 0.0016919 | 0.00042403
66 | 0.97008 | -0.21102 | 0.0010369 | 0.00025987
67 | 0.97012 | -0.21075 | 0.00057041 | 0.00014296
68 | 0.97013 | -0.21066 | 0.0012474 | 0.00031264
69 | 0.97014 | -0.21057 | 0.0054958 | 0.0013774
70 | 0.97036 | -0.209 | 0.0013304 | 0.00033342
71 | 0.98754 | -0.087022 | 0.00424 | 0.0010627
72 | 0.9874 | -0.088008 | 0.0074372 | 0.0018639
73 | 0.97952 | -0.14342 | 0.0017726 | 0.00044427
74 | 0.98201 | -0.12622 | 0.0079598 | 0.0019949
75 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.022992 | -0.0057636 | 0.023001 | 0.0057671 | 9.4298e-06 | 3.4759e-06 | 0.035216 | 0.035216 | 0.035216 | 0.97151 | -0.20073 | 0.97192 | -0.19777 | 13.0429
1 | 0.020209 | 0.0050662 | -0.020203 | -0.0050639 | 6.3489e-06 | 2.3104e-06 | 0.030954 | 0.030954 | 0.030954 | 0.97151 | -0.20073 | 0.97119 | -0.203 | 11.4644
2 | -0.023258 | -0.0058314 | 0.023276 | 0.005838 | 1.77e-05 | 6.5302e-06 | 0.035609 | 0.035609 | 0.035609 | 0.97192 | -0.19777 | 0.97268 | -0.19228 | 13.1886
3 | 0.017566 | 0.0044031 | -0.017565 | -0.0044029 | 7.4474e-07 | 2.6605e-07 | 0.026914 | 0.026914 | 0.026914 | 0.97119 | -0.203 | 0.97115 | -0.2033 | 9.9683
4 | -0.023943 | -0.0060053 | 0.023968 | 0.0060145 | 2.4825e-05 | 9.1795e-06 | 0.036631 | 0.03663 | 0.036631 | 0.97268 | -0.19228 | 0.97372 | -0.18481 | 13.5669
5 | 0.014444 | 0.0036204 | -0.014435 | -0.0036175 | 8.576e-06 | 2.9515e-06 | 0.022131 | 0.022131 | 0.022131 | 0.97115 | -0.2033 | 0.97055 | -0.20759 | 8.1967
6 | -0.024414 | -0.0061263 | 0.024435 | 0.006134 | 2.0799e-05 | 7.7015e-06 | 0.037312 | 0.037312 | 0.037312 | 0.97372 | -0.18481 | 0.97458 | -0.17867 | 13.8193
7 | 0.011618 | 0.0029114 | -0.011617 | -0.0029113 | 2.8726e-07 | 9.2552e-08 | 0.017812 | 0.017812 | 0.017812 | 0.97055 | -0.20759 | 0.97053 | -0.20777 | 6.5969
8 | 0.0065139 | 0.0016312 | -0.0065116 | -0.0016308 | 2.3372e-06 | 4.2723e-07 | 0.0099452 | 0.0099453 | 0.0099453 | 0.97458 | -0.17867 | 0.97421 | -0.18127 | 3.6835
9 | -0.031392 | -0.0078759 | 0.031414 | 0.0078841 | 2.2016e-05 | 8.2764e-06 | 0.047933 | 0.047933 | 0.047933 | 0.97458 | -0.17867 | 0.97528 | -0.17362 | 17.7531
10 | 0.00044299 | 0.00011062 | -0.00044298 | -0.00011102 | 9.1827e-09 | -3.9737e-07 | 0.00067623 | 0.00067637 | 0.00067637 | 0.97458 | -0.17867 | 0.97455 | -0.17882 | 0.25051
11 | 0.0096844 | 0.0024269 | -0.0096828 | -0.0024264 | 1.6445e-06 | 4.848e-07 | 0.014848 | 0.014848 | 0.014848 | 0.97053 | -0.20777 | 0.97036 | -0.209 | 5.4993
12 | 0.0084273 | 0.0021113 | -0.008425 | -0.0021107 | 2.2688e-06 | 5.9086e-07 | 0.012772 | 0.012772 | 0.012772 | 0.98177 | -0.12765 | 0.9815 | -0.1296 | 4.7306
13 | -0.011724 | -0.0029374 | 0.011728 | 0.0029388 | 4.1623e-06 | 1.3336e-06 | 0.017769 | 0.017769 | 0.017769 | 0.98177 | -0.12765 | 0.98213 | -0.12509 | 6.581
14 | 0.0064329 | 0.0016114 | -0.0064329 | -0.0016114 | 3.9871e-08 | 6.8443e-09 | 0.0097524 | 0.0097524 | 0.0097524 | 0.9815 | -0.1296 | 0.9815 | -0.12965 | 3.612
15 | -0.012635 | -0.0031661 | 0.012639 | 0.0031673 | 3.7837e-06 | 1.2458e-06 | 0.019143 | 0.019143 | 0.019143 | 0.98213 | -0.12509 | 0.98244 | -0.12293 | 7.0899
16 | 0.0044119 | 0.0011049 | -0.0044116 | -0.0011049 | 2.4956e-07 | -1.6996e-08 | 0.0066884 | 0.0066884 | 0.0066884 | 0.9815 | -0.12965 | 0.98144 | -0.13005 | 2.4772
17 | -0.014295 | -0.0035824 | 0.014301 | 0.0035845 | 5.9968e-06 | 2.0467e-06 | 0.021651 | 0.021651 | 0.021651 | 0.98244 | -0.12293 | 0.98286 | -0.1199 | 8.019
18 | 0.09264 | 0.023371 | -0.092115 | -0.023171 | 0.00052491 | 0.00019964 | 0.13887 | 0.13887 | 0.13887 | 0.99304 | -0.048254 | 0.98723 | -0.088881 | 25.7169
19 | -0.096165 | -0.024254 | 0.096331 | 0.024317 | 0.00016581 | 6.3108e-05 | 0.14415 | 0.14415 | 0.14415 | 0.99304 | -0.048254 | 0.9948 | -0.035979 | 26.6951
20 | 0.037031 | 0.0092951 | -0.037001 | -0.0092835 | 3.0691e-05 | 1.1603e-05 | 0.055821 | 0.055821 | 0.055821 | 0.98723 | -0.088881 | 0.98639 | -0.094854 | 20.6745
21 | 0.055083 | 0.013876 | -0.054997 | -0.013844 | 8.637e-05 | 3.2194e-05 | 0.08305 | 0.083051 | 0.083051 | 0.98723 | -0.088881 | 0.98564 | -0.10011 | 15.3797
22 | 0.062976 | 0.015855 | -0.062935 | -0.015839 | 4.0967e-05 | 1.5661e-05 | 0.094224 | 0.094224 | 0.094224 | 0.9948 | -0.035979 | 0.99413 | -0.040638 | 34.8978
23 | -0.16393 | -0.041331 | 0.16424 | 0.041449 | 0.00030997 | 0.00011879 | 0.24529 | 0.24529 | 0.24529 | 0.9948 | -0.035979 | 0.99674 | -0.022509 | 45.424
24 | 0.003775 | 0.00094537 | -0.0037735 | -0.00094573 | 1.538e-06 | -3.5887e-07 | 0.0057233 | 0.0057236 | 0.0057236 | 0.98144 | -0.13005 | 0.98103 | -0.133 | 2.1199
25 | -0.015967 | -0.0040022 | 0.015981 | 0.004007 | 1.3811e-05 | 4.8315e-06 | 0.024174 | 0.024174 | 0.024174 | 0.98286 | -0.1199 | 0.98374 | -0.11365 | 8.9534
26 | -0.018926 | -0.0047451 | 0.018931 | 0.0047468 | 4.6387e-06 | 1.6689e-06 | 0.028629 | 0.028629 | 0.028629 | 0.98374 | -0.11365 | 0.98399 | -0.11189 | 10.6033
27 | 0.0060318 | 0.0015106 | -0.0060302 | -0.0015103 | 1.6338e-06 | 2.4436e-07 | 0.0092126 | 0.0092127 | 0.0092127 | 0.97421 | -0.18127 | 0.97394 | -0.18323 | 3.4121
28 | -0.03317 | -0.0083242 | 0.033226 | 0.0083454 | 5.6384e-05 | 2.1245e-05 | 0.050612 | 0.050612 | 0.050612 | 0.97528 | -0.17362 | 0.97699 | -0.1614 | 18.7453
29 | 0.0020653 | 0.00051662 | -0.002065 | -0.00051706 | 2.7607e-07 | -4.4681e-07 | 0.003155 | 0.0031552 | 0.0031552 | 0.97394 | -0.18323 | 0.97381 | -0.1842 | 1.1686
30 | -0.034341 | -0.0086249 | 0.034372 | 0.0086365 | 3.0924e-05 | 1.1667e-05 | 0.05231 | 0.05231 | 0.05231 | 0.97699 | -0.1614 | 0.9779 | -0.15493 | 19.3742
31 | 0.00066439 | 0.00016603 | -0.00066437 | -0.00016651 | 2.4867e-08 | -4.7154e-07 | 0.001015 | 0.0010152 | 0.0010152 | 0.97381 | -0.1842 | 0.97377 | -0.18447 | 0.37601
32 | -0.03462 | -0.0086981 | 0.03465 | 0.0087089 | 3.0149e-05 | 1.0722e-05 | 0.052688 | 0.052687 | 0.052688 | 0.9779 | -0.15493 | 0.97878 | -0.14867 | 9.757
33 | 0.00024815 | 6.1606e-05 | -0.00024815 | -6.1726e-05 | 8.5183e-10 | -1.1991e-07 | 0.00037739 | 0.00037743 | 0.00037743 | 0.9779 | -0.15493 | 0.97789 | -0.15495 | 0.13979
34 | -0.037051 | -0.0092948 | 0.037084 | 0.0093069 | 3.211e-05 | 1.214e-05 | 0.055918 | 0.055918 | 0.055918 | 0.98602 | -0.09773 | 0.9869 | -0.091487 | 20.7103
35 | 0.033824 | 0.0084859 | -0.033796 | -0.0084753 | 2.8298e-05 | 1.0662e-05 | 0.051048 | 0.051048 | 0.051048 | 0.98602 | -0.09773 | 0.98517 | -0.10377 | 18.9066
36 | -0.040256 | -0.010102 | 0.040307 | 0.010121 | 5.1214e-05 | 1.9413e-05 | 0.060701 | 0.060701 | 0.060701 | 0.9869 | -0.091487 | 0.9882 | -0.082332 | 22.4819
37 | 0.02906 | 0.0072883 | -0.02904 | -0.0072809 | 1.9809e-05 | 7.4092e-06 | 0.043894 | 0.043894 | 0.043894 | 0.98517 | -0.10377 | 0.98448 | -0.10869 | 16.2572
38 | -0.043439 | -0.010906 | 0.043475 | 0.01092 | 3.5971e-05 | 1.3662e-05 | 0.065416 | 0.065416 | 0.065416 | 0.9882 | -0.082332 | 0.98904 | -0.076377 | 24.2283
39 | 0.024691 | 0.0061908 | -0.024691 | -0.0061908 | 1.4914e-07 | 5.5178e-08 | 0.03732 | 0.03732 | 0.03732 | 0.98448 | -0.10869 | 0.98447 | -0.10873 | 13.8224
40 | -0.060665 | -0.01523 | 0.06082 | 0.01529 | 0.00015511 | 5.9276e-05 | 0.09128 | 0.09128 | 0.09128 | 0.98904 | -0.076377 | 0.99165 | -0.058019 | 33.8075
41 | 0.017191 | 0.0043105 | -0.017173 | -0.0043042 | 1.8002e-05 | 6.3711e-06 | 0.025864 | 0.025864 | 0.025864 | 0.98904 | -0.076377 | 0.98797 | -0.083941 | 9.5793
42 | 0.021379 | 0.005361 | -0.021365 | -0.0053558 | 1.4047e-05 | 5.1288e-06 | 0.032316 | 0.032316 | 0.032316 | 0.98447 | -0.10873 | 0.9838 | -0.11347 | 11.9688
43 | -0.061604 | -0.015486 | 0.061753 | 0.015543 | 0.00014949 | 5.7135e-05 | 0.092456 | 0.092456 | 0.092456 | 0.99165 | -0.058019 | 0.99413 | -0.040638 | 34.243
44 | 0.011683 | 0.0029284 | -0.011678 | -0.0029268 | 4.983e-06 | 1.5864e-06 | 0.017597 | 0.017597 | 0.017597 | 0.98797 | -0.083941 | 0.98754 | -0.087022 | 6.5173
45 | 0.017139 | 0.0042965 | -0.017129 | -0.0042932 | 9.429e-06 | 3.3412e-06 | 0.025923 | 0.025923 | 0.025923 | 0.9838 | -0.11347 | 0.98325 | -0.11745 | 9.6012
46 | -0.16504 | -0.041651 | 0.16557 | 0.041852 | 0.00052318 | 0.0002005 | 0.24649 | 0.24649 | 0.24649 | 0.99674 | -0.022509 | 1 | 0 | 45.6469
47 | 0.051573 | 0.012986 | -0.05152 | -0.012966 | 5.3405e-05 | 1.9822e-05 | 0.077881 | 0.077882 | 0.077882 | 0.98564 | -0.10011 | 0.98458 | -0.10753 | 14.4225
48 | 0.049964 | 0.012576 | -0.049909 | -0.012556 | 5.435e-05 | 2.0128e-05 | 0.07553 | 0.075531 | 0.075531 | 0.98458 | -0.10753 | 0.98348 | -0.11533 | 13.9871
49 | 0.032604 | 0.0081816 | -0.032589 | -0.0081758 | 1.5381e-05 | 5.7857e-06 | 0.049189 | 0.049189 | 0.049189 | 0.98639 | -0.094854 | 0.98591 | -0.098255 | 18.218
50 | 0.030018 | 0.0075315 | -0.029992 | -0.0075219 | 2.5648e-05 | 9.6094e-06 | 0.045308 | 0.045308 | 0.045308 | 0.98591 | -0.098255 | 0.98504 | -0.10442 | 16.7808
51 | -0.022567 | -0.0056579 | 0.022584 | 0.0056643 | 1.7325e-05 | 6.3603e-06 | 0.034127 | 0.034127 | 0.034127 | 0.98399 | -0.11189 | 0.98477 | -0.10635 | 12.6396
52 | -0.028502 | -0.0071474 | 0.028509 | 0.0071503 | 7.6271e-06 | 2.8496e-06 | 0.043069 | 0.043069 | 0.043069 | 0.98477 | -0.10635 | 0.98504 | -0.10442 | 15.9514
53 | -0.00024815 | -6.2191e-05 | 0.00024815 | 6.1726e-05 | 3.3108e-09 | -4.6579e-07 | 0.0003776 | 0.00037743 | 0.0003776 | 0.97788 | -0.15505 | 0.97789 | -0.15495 | 0.13985
54 | 0.0024033 | 0.00060182 | -0.0024029 | -0.00060223 | 3.6447e-07 | -4.0966e-07 | 0.0036535 | 0.0036537 | 0.0036537 | 0.97878 | -0.14867 | 0.97862 | -0.14977 | 1.3532
55 | -0.037054 | -0.0093107 | 0.037069 | 0.0093161 | 1.5102e-05 | 5.425e-06 | 0.056341 | 0.056341 | 0.056341 | 0.97878 | -0.14867 | 0.97919 | -0.14574 | 10.4335
56 | -0.039013 | -0.0098032 | 0.039025 | 0.0098078 | 1.262e-05 | 4.5644e-06 | 0.059294 | 0.059294 | 0.059294 | 0.97919 | -0.14574 | 0.97952 | -0.14342 | 10.9804
57 | -0.0023097 | -0.00057856 | 0.0023099 | 0.00057829 | 2.144e-07 | -2.7402e-07 | 0.003496 | 0.0034959 | 0.003496 | 0.98307 | -0.11869 | 0.98317 | -0.11802 | 1.2948
58 | 0.0012053 | 0.00030175 | -0.0012052 | -0.00030205 | 5.2016e-08 | -2.9757e-07 | 0.0018242 | 0.0018243 | 0.0018243 | 0.98307 | -0.11869 | 0.98303 | -0.119 | 0.67568
59 | -0.003599 | -0.00090135 | 0.0035993 | 0.00090127 | 2.8282e-07 | -8.4973e-08 | 0.0054468 | 0.0054468 | 0.0054468 | 0.98317 | -0.11802 | 0.98325 | -0.11745 | 2.0173
60 | 0.01353 | 0.0033919 | -0.013521 | -0.003389 | 8.8171e-06 | 2.9641e-06 | 0.020476 | 0.020477 | 0.020477 | 0.98325 | -0.11745 | 0.98259 | -0.12215 | 7.5839
61 | 0.0096571 | 0.0024205 | -0.0096555 | -0.00242 | 1.626e-06 | 4.7108e-07 | 0.014625 | 0.014625 | 0.014625 | 0.98259 | -0.12215 | 0.98241 | -0.12337 | 5.4166
62 | 0.0096555 | 0.00242 | -0.0096517 | -0.0024189 | 3.7916e-06 | 1.0987e-06 | 0.014625 | 0.014625 | 0.014625 | 0.98241 | -0.12337 | 0.98202 | -0.12621 | 5.4166
63 | 0.049909 | 0.012556 | -0.049878 | -0.012544 | 3.1531e-05 | 1.1678e-05 | 0.075531 | 0.075531 | 0.075531 | 0.98348 | -0.11533 | 0.98284 | -0.11986 | 13.9872
64 | 0.0019891 | 0.0004978 | -0.0019888 | -0.00049843 | 3.4103e-07 | -6.3245e-07 | 0.0030112 | 0.0030115 | 0.0030115 | 0.98284 | -0.11986 | 0.98266 | -0.1211 | 1.1154
65 | 0.046346 | 0.01166 | -0.046243 | -0.011622 | 0.00010323 | 3.8005e-05 | 0.070183 | 0.070184 | 0.070184 | 0.98284 | -0.11986 | 0.98058 | -0.13586 | 12.9971
66 | 0.042495 | 0.010682 | -0.042479 | -0.010677 | 1.5717e-05 | 5.7395e-06 | 0.064497 | 0.064497 | 0.064497 | 0.98058 | -0.13586 | 0.9802 | -0.13852 | 11.9439
67 | 0.040826 | 0.010262 | -0.040798 | -0.010252 | 2.786e-05 | 1.013e-05 | 0.061987 | 0.061987 | 0.061987 | 0.9802 | -0.13852 | 0.97952 | -0.14342 | 11.4791
68 | 0.0079598 | 0.0019949 | -0.0079598 | -0.0019949 | 1.4466e-08 | 3.5477e-09 | 0.012061 | 0.012061 | 0.012061 | 0.98202 | -0.12621 | 0.98201 | -0.12622 | 4.4671
69 | -0.0010369 | -0.00025987 | 0.0010369 | 0.00025958 | 3.8108e-08 | -2.8343e-07 | 0.0015905 | 0.0015904 | 0.0015905 | 0.97008 | -0.21102 | 0.97012 | -0.21075 | 0.58907
70 | -0.0016073 | -0.00040254 | 0.0016073 | 0.00040248 | 1.9668e-08 | -5.6467e-08 | 0.0024653 | 0.0024653 | 0.0024653 | 0.97012 | -0.21075 | 0.97013 | -0.21066 | 0.91307
71 | -0.0028548 | -0.00071512 | 0.0028548 | 0.0007151 | 3.454e-08 | -2.2363e-08 | 0.0043787 | 0.0043786 | 0.0043787 | 0.97013 | -0.21066 | 0.97014 | -0.21057 | 1.6217
72 | -0.0083506 | -0.0020925 | 0.0083524 | 0.002093 | 1.8225e-06 | 4.8107e-07 | 0.012808 | 0.012808 | 0.012808 | 0.97014 | -0.21057 | 0.97036 | -0.209 | 4.7438
73 | 0.0074382 | 0.0018642 | -0.0074372 | -0.0018639 | 1.0147e-06 | 2.2466e-07 | 0.011208 | 0.011208 | 0.011208 | 0.98754 | -0.087022 | 0.9874 | -0.088008 | 4.1511

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2084 | 0.052385

## res_load
| p_mw | q_mvar
0 | 0.0027826 | 0.00069739
1 | 0.0002569 | 6.4385e-05
2 | 0.0026365 | 0.00066076
3 | 0.00066772 | 0.00016735
4 | 0.0031219 | 0.00078241
5 | 0.00044614 | 0.00011181
6 | 0.0028174 | 0.00070612
7 | 0.0019329 | 0.00048443
8 | 0.0032965 | 0.00082617
9 | 0.0019921 | 0.00049926
10 | 0.00090694 | 0.0002273
11 | 0.002021 | 0.00050651
12 | 0.0016563 | 0.00041512
13 | 0.0035256 | 0.0008836
14 | 0.0046212 | 0.0011582
15 | 0.00063658 | 0.00015954
16 | 0.0016666 | 0.00041768
17 | 0.0037735 | 0.00094573
18 | 0.0029451 | 0.00073812
19 | 0.00044298 | 0.00011102
20 | 0.00047976 | 0.00012024
21 | 0.0017559 | 0.00044007
22 | 0.0039649 | 0.00099369
23 | 0.0011149 | 0.00027942
24 | 0.0014006 | 0.00035103
25 | 0.0032272 | 0.00080882
26 | 0.0031725 | 0.0007951
27 | 0.0047361 | 0.001187
28 | 0.0031314 | 0.00078481
29 | 0.0043494 | 0.0010901
30 | 0.0033111 | 0.00082983
31 | 0.00078358 | 0.00019638
32 | 0.0054893 | 0.0013758
33 | 0.0042266 | 0.0010593
34 | 0.00080616 | 0.00020204
35 | 0.042029 | 0.010533
36 | 0.0011814 | 0.00029609
37 | 0.003424 | 0.00085812
38 | 0.0015559 | 0.00038995
39 | 0.0043966 | 0.0011019
40 | 0.0025711 | 0.00064437
41 | 0.0036356 | 0.00091117
42 | 0.0059178 | 0.0014831
43 | 0.0014825 | 0.00037156
44 | 0.00024815 | 6.2191e-05
45 | 0.00066437 | 0.00016651
46 | 0.0024029 | 0.00060223
47 | 0.0019437 | 0.00048713
48 | 0.0011045 | 0.00027681
49 | 0.001289 | 0.00032306
50 | 0.0012052 | 0.00030205
51 | 0.0038642 | 0.00096847
52 | 0.0015429 | 0.00038669
53 | 0.0037477 | 0.00093925
54 | 0.0016536 | 0.00041443
55 | 0.0019888 | 0.00049843
56 | 0.0016919 | 0.00042403
57 | 0.0010369 | 0.00025987
58 | 0.00057041 | 0.00014296
59 | 0.0012474 | 0.00031264
60 | 0.0054958 | 0.0013774
61 | 0.0013304 | 0.00033342
62 | 0.00424 | 0.0010627
63 | 0.0074372 | 0.0018639
64 | 0.0017726 | 0.00044427
65 | 0.0079598 | 0.0019949

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1