## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2051-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2051-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2051-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2051-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2051-8_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2051-8_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2051-8_0_2_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_2051-8_0_2_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_2051-8_0_2_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_2051-8_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2051-8_0_2_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_2051-8_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2051-8_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2051-8_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2051-8_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2051-8_0_2_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_2051-8_0_2_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_2051-8_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2051-8_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2051-8_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2051-8_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2051-8_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2051-8_0_2_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2051-8_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2051-8_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2051-8_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2051-8_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2051-8_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2051-8_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2051-8_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2051-8_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2051-8_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2051-8_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2051-8_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2051-8_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2051-8_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2051-8_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2051-8_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2051-8_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2051-8_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2051-8_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2051-8_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2051-8_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2051-8_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2051-8_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2051-8_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2051-8_0_2_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2051-8_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2051-8_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2051-8_0_2_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2051-8_0_2_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_2051-8_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2051-8_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2051-8_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2051-8_0_2_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_2051-8_0_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2051-8_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_MV_377_0_node_263 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2051-8_0_2_load_0 | 0 | 0.0037337 | 0.00093575 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2051-8_0_2_load_3 | 3 | 0.002026 | 0.00050777 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2051-8_0_2_load_4 | 5 | 0.0024578 | 0.00061599 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2051-8_0_2_load_55 | 6 | 0.0033746 | 0.00084576 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2051-8_0_2_load_49 | 7 | 0.0022473 | 0.00056322 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2051-8_0_2_load_48 | 8 | 0.0019595 | 0.00049111 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2051-8_0_2_load_56 | 10 | 0.0018827 | 0.00047184 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2051-8_0_2_load_7 | 11 | 0.00098795 | 0.0002476 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2051-8_0_2_load_8 | 12 | 0.001154 | 0.00028921 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2051-8_0_2_load_13 | 13 | 0.0011191 | 0.00028049 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2051-8_0_2_load_14 | 14 | 0.0042176 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2051-8_0_2_load_50 | 15 | 0.0019222 | 0.00048175 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2051-8_0_2_load_11 | 17 | 0.00064775 | 0.00016234 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2051-8_0_2_load_9 | 18 | 0.0019449 | 0.00048744 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2051-8_0_2_load_12 | 20 | 0.003185 | 0.00079823 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2051-8_0_2_load_16 | 21 | 0.00073655 | 0.0001846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2051-8_0_2_load_34 | 22 | 0.0015201 | 0.00038096 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2051-8_0_2_load_15 | 23 | 0.00053077 | 0.00013302 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2051-8_0_2_load_17 | 24 | 0.00054597 | 0.00013683 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2051-8_0_2_load_26 | 26 | 0.00049051 | 0.00012293 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2051-8_0_2_load_19 | 28 | 0.0048454 | 0.0012144 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2051-8_0_2_load_22 | 30 | 0.0018711 | 0.00046893 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2051-8_0_2_load_21 | 31 | 0.0011918 | 0.00029869 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2051-8_0_2_load_23 | 32 | 0.0033628 | 0.0008428 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2051-8_0_2_load_24 | 33 | 0.0005869 | 0.00014709 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2051-8_0_2_load_33 | 34 | 0.0012384 | 0.00031037 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2051-8_0_2_load_27 | 35 | 0.0015676 | 0.00039287 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2051-8_0_2_load_28 | 36 | 0.00073433 | 0.00018404 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2051-8_0_2_load_29 | 37 | 0.00049701 | 0.00012456 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2051-8_0_2_load_30 | 38 | 0.0017983 | 0.00045069 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2051-8_0_2_load_31 | 39 | 0.0001999 | 5.0101e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2051-8_0_2_load_32 | 40 | 0.0010439 | 0.00026163 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2051-8_0_2_load_35 | 41 | 0.0027876 | 0.00069864 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2051-8_0_2_load_36 | 42 | 0.0015257 | 0.00038239 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2051-8_0_2_load_37 | 43 | 0.0021397 | 0.00053627 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2051-8_0_2_load_38 | 44 | 0.0029423 | 0.0007374 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2051-8_0_2_load_39 | 45 | 0.0025761 | 0.00064564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2051-8_0_2_load_40 | 46 | 0.0021258 | 0.00053278 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2051-8_0_2_load_41 | 47 | 0.0010158 | 0.00025457 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2051-8_0_2_load_42 | 48 | 0.00324 | 0.00081202 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2051-8_0_2_load_44 | 50 | 0.0016713 | 0.00041888 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2051-8_0_2_load_45 | 51 | 0.0016191 | 0.00040578 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2051-8_0_2_load_47 | 52 | 0.0023768 | 0.00059569 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2051-8_0_2_load_52 | 53 | 0.00076153 | 0.00019086 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2051-8_0_2_load_53 | 54 | 0.0037253 | 0.00093365 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2051-8_0_2_load_51 | 55 | 0.0014643 | 0.00036699 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2051-8_0_2_load_54 | 56 | 0.0017726 | 0.00044425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2051-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.061997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2051-8_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2051-8_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2051-8_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2051-8_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.042419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2051-8_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.002015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2051-8_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.030219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2051-8_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.053394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2051-8_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.046689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2051-8_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.02121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2051-8_0_2_line_10 | NAYY 4x150 SE | 7 | 15 | 0.005799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2051-8_0_2_line_11 | NAYY 4x150 SE | 8 | 16 | 0.0068935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_2051-8_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.016953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2051-8_0_2_line_13 | NAYY 4x150 SE | 9 | 12 | 0.022174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2051-8_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.024324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2051-8_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.065983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2051-8_0_2_line_16 | NAYY 4x150 SE | 13 | 17 | 0.01694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_2051-8_0_2_line_17 | NAYY 4x150 SE | 15 | 55 | 0.019499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2051-8_0_2_line_18 | NAYY 4x150 SE | 16 | 51 | 0.017163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2051-8_0_2_line_19 | NAYY 4x150 SE | 16 | 49 | 0.027283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2051-8_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0021932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2051-8_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.041339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2051-8_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.025033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2051-8_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.16337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2051-8_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.034478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2051-8_0_2_line_25 | NAYY 4x150 SE | 22 | 41 | 0.005951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2051-8_0_2_line_26 | NAYY 4x150 SE | 22 | 39 | 0.015979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2051-8_0_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.028397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2051-8_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0075763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2051-8_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.030973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2051-8_0_2_line_30 | NAYY 4x150 SE | 26 | 34 | 0.0053257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2051-8_0_2_line_31 | NAYY 4x150 SE | 27 | 33 | 0.011815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2051-8_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.023029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2051-8_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.071313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2051-8_0_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.0068469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2051-8_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.038786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2051-8_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.029611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2051-8_0_2_line_37 | NAYY 4x150 SE | 34 | 40 | 0.009619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2051-8_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0098891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2051-8_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0024547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2051-8_0_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0082339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2051-8_0_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0082656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2051-8_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.027683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2051-8_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.029241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2051-8_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0049311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2051-8_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.023951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2051-8_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0047415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2051-8_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.022793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2051-8_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.037926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2051-8_0_2_line_49 | NAYY 4x150 SE | 47 | 50 | 0.059787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2051-8_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0040136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2051-8_0_2_line_51 | NAYY 4x150 SE | 49 | 52 | 0.043644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2051-8_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.037642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2051-8_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.019473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2051-8_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0078665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2051-8_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0031461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2051-8_0_2_trafo_12 | 0.25 MVA 20/0.4 kV | 57 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2563005.9632 | 1195941.7517 | 2562977.0824 | 1195957.5841 | 2562968.8524 | 1195962.0932 | 2562951.5957 | 1195971.5485
1 | 2563005.9632 | 1195941.7517 | 2563022.1498 | 1195932.8798
2 | 2563005.9632 | 1195941.7517 | 2563015.98 | 1195954.9028
3 | 2563033.6825 | 1195926.5604 | 2563022.1498 | 1195932.8798
4 | 2563022.1498 | 1195932.8798 | 2563012.8324 | 1195921.7426 | 2562995.1309 | 1195900.1797
5 | 2563015.98 | 1195954.9028 | 2563017.2009 | 1195956.5058
6 | 2563033.6825 | 1195926.5604 | 2563052.2039 | 1195950.4382
7 | 2563033.6825 | 1195926.5604 | 2563080.5098 | 1195900.9068
8 | 2562964.8043 | 1195864.7537 | 2562970.0377 | 1195869.6128 | 2562995.1309 | 1195900.1797
9 | 2563017.2009 | 1195956.5058 | 2563030.0526 | 1195973.3788
10 | 2563052.2039 | 1195950.4382 | 2563055.7581 | 1195955.0203
11 | 2563086.5555 | 1195897.5948 | 2563080.5098 | 1195900.9068
12 | 2562964.8043 | 1195864.7537 | 2562978.0731 | 1195854.2013
13 | 2562964.8043 | 1195864.7537 | 2562959.4329 | 1195859.7621 | 2562954.0443 | 1195861.7967 | 2562947.1115 | 1195867.662
14 | 2562996.9207 | 1195838.8338 | 2562992.4891 | 1195842.7365 | 2562978.0731 | 1195854.2013
15 | 2562947.1115 | 1195867.662 | 2562896.7375 | 1195910.2796
16 | 2563009.6337 | 1195827.6381 | 2562996.9207 | 1195838.8338
17 | 2563067.7093 | 1195970.4278 | 2563055.7581 | 1195955.0203
18 | 2563086.5555 | 1195897.5948 | 2563079.7786 | 1195888.276 | 2563076.0087 | 1195884.0801
19 | 2563110.5322 | 1195884.4503 | 2563109.4389 | 1195885.0463 | 2563086.5555 | 1195897.5948
20 | 2563011.2796 | 1195826.1886 | 2563009.6337 | 1195827.6381
21 | 2563011.2796 | 1195826.1886 | 2563025.083 | 1195842.0339 | 2563027.3511 | 1195845.3772 | 2563026.1512 | 1195849.6648 | 2563024.538 | 1195853.6437 | 2563018.5182 | 1195858.1816
22 | 2563030.0852 | 1195809.6073 | 2563011.2796 | 1195826.1886
23 | 2563058.0265 | 1195688.929 | 2563214.6208 | 1195642.3734
24 | 2563247.1168 | 1195653.8964 | 2563214.6208 | 1195642.3734
25 | 2563058.0265 | 1195688.929 | 2563059.4794 | 1195694.6999
26 | 2563058.0265 | 1195688.929 | 2563054.1254 | 1195673.4337
27 | 2563033.3695 | 1195597.2148 | 2563060.2338 | 1195588.0125
28 | 2563033.3695 | 1195597.2148 | 2563035.8637 | 1195604.3687
29 | 2563019.7883 | 1195569.3837 | 2563029.9753 | 1195589.2092 | 2563033.3695 | 1195597.2148
30 | 2563035.8637 | 1195604.3687 | 2563037.6169 | 1195609.3976
31 | 2563019.7883 | 1195569.3837 | 2563013.7832 | 1195559.209
32 | 2562906.0541 | 1195460.8971 | 2562920.771 | 1195443.1841
33 | 2562962.1422 | 1195504.9394 | 2562906.0541 | 1195460.8971
34 | 2562967.3465 | 1195509.3886 | 2562962.1422 | 1195504.9394
35 | 2562967.3465 | 1195509.3886 | 2562978.7705 | 1195519.155 | 2562994.5849 | 1195534.821 | 2562995.5483 | 1195535.9652
36 | 2562995.5483 | 1195535.9652 | 2563010.649 | 1195553.8985 | 2563013.7832 | 1195559.209
37 | 2563040.3249 | 1195618.6178 | 2563039.0084 | 1195613.3887 | 2563037.6169 | 1195609.3976
38 | 2563051.5081 | 1195663.0377 | 2563049.0937 | 1195653.4478
39 | 2563051.5081 | 1195663.0377 | 2563052.1074 | 1195665.4182
40 | 2563049.0937 | 1195653.4478 | 2563047.0835 | 1195645.4631
41 | 2563052.1074 | 1195665.4182 | 2563054.1254 | 1195673.4337
42 | 2563040.3249 | 1195618.6178 | 2563047.0835 | 1195645.4631
43 | 2563059.4794 | 1195694.6999 | 2563063.4716 | 1195710.5572 | 2563066.6743 | 1195723.0419
44 | 2563066.6743 | 1195723.0419 | 2563067.8996 | 1195727.8183
45 | 2563067.8996 | 1195727.8183 | 2563073.851 | 1195751.0178
46 | 2563073.851 | 1195751.0178 | 2563075.0292 | 1195755.6107
47 | 2563075.0292 | 1195755.6107 | 2563079.3429 | 1195772.4262 | 2563080.8076 | 1195777.6583
48 | 2563080.8076 | 1195777.6583 | 2563091.0315 | 1195814.1798
49 | 2563049.6365 | 1195857.3184 | 2563091.0315 | 1195814.1798
50 | 2563110.5322 | 1195884.4503 | 2563109.4837 | 1195880.5761
51 | 2563110.5322 | 1195884.4503 | 2563125.3707 | 1195925.4939
52 | 2563049.6365 | 1195857.3184 | 2563060.0717 | 1195866.3416 | 2563076.0087 | 1195884.0801
53 | 2563125.3707 | 1195925.4939 | 2563127.1265 | 1195930.3507 | 2563129.059 | 1195933.6405 | 2563134.3801 | 1195942.6844
54 | 2563134.3801 | 1195942.6844 | 2563138.3693 | 1195949.4644
55 | 2563069.6376 | 1195972.9137 | 2563067.7093 | 1195970.4278

## bus_geodata
| x | y | coords
0 | 2562951.5957 | 1195971.5485
1 | 2563005.9632 | 1195941.7517
2 | 2563022.1498 | 1195932.8798
3 | 2563015.98 | 1195954.9028
4 | 2563033.6825 | 1195926.5604
5 | 2562995.1309 | 1195900.1797
6 | 2563017.2009 | 1195956.5058
7 | 2563052.2039 | 1195950.4382
8 | 2563080.5098 | 1195900.9068
9 | 2562964.8043 | 1195864.7537
10 | 2563030.0526 | 1195973.3788
11 | 2562978.0731 | 1195854.2013
12 | 2562947.1115 | 1195867.662
13 | 2562996.9207 | 1195838.8338
14 | 2562896.7375 | 1195910.2796
15 | 2563055.7581 | 1195955.0203
16 | 2563086.5555 | 1195897.5948
17 | 2563009.6337 | 1195827.6381
18 | 2563018.5182 | 1195858.1816
19 | 2563011.2796 | 1195826.1886
20 | 2563030.0852 | 1195809.6073
21 | 2563214.6208 | 1195642.3734
22 | 2563058.0265 | 1195688.929
23 | 2563247.1168 | 1195653.8964
24 | 2563060.2338 | 1195588.0125
25 | 2563033.3695 | 1195597.2148
26 | 2563035.8637 | 1195604.3687
27 | 2563019.7883 | 1195569.3837
28 | 2562920.771 | 1195443.1841
29 | 2562906.0541 | 1195460.8971
30 | 2562962.1422 | 1195504.9394
31 | 2562967.3465 | 1195509.3886
32 | 2562995.5483 | 1195535.9652
33 | 2563013.7832 | 1195559.209
34 | 2563037.6169 | 1195609.3976
35 | 2563051.5081 | 1195663.0377
36 | 2563049.0937 | 1195653.4478
37 | 2563052.1074 | 1195665.4182
38 | 2563047.0835 | 1195645.4631
39 | 2563054.1254 | 1195673.4337
40 | 2563040.3249 | 1195618.6178
41 | 2563059.4794 | 1195694.6999
42 | 2563066.6743 | 1195723.0419
43 | 2563067.8996 | 1195727.8183
44 | 2563073.851 | 1195751.0178
45 | 2563075.0292 | 1195755.6107
46 | 2563080.8076 | 1195777.6583
47 | 2563091.0315 | 1195814.1798
48 | 2563109.4837 | 1195880.5761
49 | 2563110.5322 | 1195884.4503
50 | 2563049.6365 | 1195857.3184
51 | 2563076.0087 | 1195884.0801
52 | 2563125.3707 | 1195925.4939
53 | 2563134.3801 | 1195942.6844
54 | 2563138.3693 | 1195949.4644
55 | 2563067.7093 | 1195970.4278
56 | 2563069.6376 | 1195972.9137
57 | 2563011.2796 | 1195826.1886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98959 | -0.072448 | 0.0037337 | 0.00093575
1 | 0.98992 | -0.070088 | 0 | 0
2 | 0.99022 | -0.06802 | 0 | 0
3 | 0.98975 | -0.071315 | 0.002026 | 0.00050777
4 | 0.98964 | -0.072078 | 0 | 0
5 | 0.99243 | -0.052561 | 0.0024578 | 0.00061599
6 | 0.98974 | -0.071423 | 0.0033746 | 0.00084576
7 | 0.98932 | -0.074361 | 0.0022473 | 0.00056322
8 | 0.98757 | -0.086614 | 0.0019595 | 0.00049111
9 | 0.99494 | -0.035045 | 0 | 0
10 | 0.98968 | -0.07183 | 0.0018827 | 0.00047184
11 | 0.99592 | -0.028247 | 0.00098795 | 0.0002476
12 | 0.99477 | -0.036247 | 0.001154 | 0.00028921
13 | 0.99734 | -0.018395 | 0.0011191 | 0.00028049
14 | 0.99437 | -0.039057 | 0.0042176 | 0.001057
15 | 0.98927 | -0.074666 | 0.0019222 | 0.00048175
16 | 0.98731 | -0.088425 | 0 | 0
17 | 0.99834 | -0.011456 | 0.00064775 | 0.00016234
18 | 0.99836 | -0.011357 | 0.0019449 | 0.00048744
19 | 0.99847 | -0.010551 | 0 | 0
20 | 1 | 0 | -0.086408 | -0.021625
21 | 0.97454 | -0.17909 | 0.00073655 | 0.0001846
22 | 0.97484 | -0.1769 | 0.0015201 | 0.00038096
23 | 0.97451 | -0.17928 | 0.00053077 | 0.00013302
24 | 0.97253 | -0.19355 | 0.00054597 | 0.00013683
25 | 0.97255 | -0.19338 | 0 | 0
26 | 0.97269 | -0.19239 | 0.00049051 | 0.00012293
27 | 0.97201 | -0.19727 | 0 | 0
28 | 0.97012 | -0.21087 | 0.0048454 | 0.0012144
29 | 0.97029 | -0.20969 | 0 | 0
30 | 0.9708 | -0.20602 | 0.0018711 | 0.00046893
31 | 0.97086 | -0.20553 | 0.0011918 | 0.00029869
32 | 0.97131 | -0.20228 | 0.0033628 | 0.0008428
33 | 0.9718 | -0.19875 | 0.0005869 | 0.00014709
34 | 0.97279 | -0.19167 | 0.0012384 | 0.00031037
35 | 0.97407 | -0.18248 | 0.0015676 | 0.00039287
36 | 0.97381 | -0.18432 | 0.00073433 | 0.00018404
37 | 0.97413 | -0.18198 | 0.00049701 | 0.00012456
38 | 0.9736 | -0.1858 | 0.0017983 | 0.00045069
39 | 0.97437 | -0.18026 | 0.0001999 | 5.0101e-05
40 | 0.97299 | -0.19023 | 0.0010439 | 0.00026163
41 | 0.97504 | -0.17547 | 0.0027876 | 0.00069864
42 | 0.97614 | -0.16762 | 0.0015257 | 0.00038239
43 | 0.97633 | -0.16622 | 0.0021397 | 0.00053627
44 | 0.97736 | -0.15889 | 0.0029423 | 0.0007374
45 | 0.97758 | -0.1573 | 0.0025761 | 0.00064564
46 | 0.97874 | -0.14902 | 0.0021258 | 0.00053278
47 | 0.98078 | -0.13447 | 0.0010158 | 0.00025457
48 | 0.98689 | -0.091384 | 0.00324 | 0.00081202
49 | 0.98691 | -0.091251 | 0 | 0
50 | 0.9841 | -0.11101 | 0.0016713 | 0.00041888
51 | 0.98628 | -0.095679 | 0.0016191 | 0.00040578
52 | 0.98648 | -0.094324 | 0.0023768 | 0.00059569
53 | 0.98635 | -0.095221 | 0.00076153 | 0.00019086
54 | 0.98631 | -0.095521 | 0.0037253 | 0.00093365
55 | 0.98918 | -0.07531 | 0.0014643 | 0.00036699
56 | 0.98917 | -0.075367 | 0.0017726 | 0.00044425
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0037337 | -0.00093575 | 0.0037349 | 0.00093542 | 1.2193e-06 | -3.2782e-07 | 0.0056142 | 0.0056139 | 0.0056142 | 0.98959 | -0.072448 | 0.98992 | -0.070088 | 2.0793
1 | -0.01102 | -0.0027608 | 0.011023 | 0.0027618 | 3.1532e-06 | 9.7591e-07 | 0.016564 | 0.016564 | 0.016564 | 0.98992 | -0.070088 | 0.99022 | -0.06802 | 6.1348
2 | 0.0072847 | 0.0018254 | -0.0072835 | -0.0018251 | 1.2369e-06 | 2.6323e-07 | 0.01095 | 0.01095 | 0.01095 | 0.98992 | -0.070088 | 0.98975 | -0.071315 | 4.0556
3 | 0.061305 | 0.015441 | -0.06127 | -0.015428 | 3.4766e-05 | 1.3034e-05 | 0.092151 | 0.092151 | 0.092151 | 0.99022 | -0.06802 | 0.98964 | -0.072078 | 17.0651
4 | -0.072328 | -0.018203 | 0.072484 | 0.018262 | 0.00015642 | 5.9068e-05 | 0.10872 | 0.10871 | 0.10872 | 0.99022 | -0.06802 | 0.99243 | -0.052561 | 20.1324
5 | 0.0052575 | 0.0013174 | -0.0052574 | -0.0013174 | 7.8553e-08 | 4.3169e-09 | 0.0079041 | 0.0079041 | 0.0079041 | 0.98975 | -0.071315 | 0.98974 | -0.071423 | 2.9274
6 | 0.0074092 | 0.0018566 | -0.0074069 | -0.001856 | 2.3403e-06 | 5.1196e-07 | 0.01114 | 0.011141 | 0.011141 | 0.98964 | -0.072078 | 0.98932 | -0.074361 | 4.1261
7 | 0.053861 | 0.013571 | -0.053752 | -0.01353 | 0.00010933 | 4.068e-05 | 0.081011 | 0.081011 | 0.081011 | 0.98964 | -0.072078 | 0.98757 | -0.086614 | 15.0021
8 | -0.074942 | -0.018878 | 0.075126 | 0.018947 | 0.00018403 | 6.9573e-05 | 0.1124 | 0.1124 | 0.1124 | 0.99243 | -0.052561 | 0.99494 | -0.035045 | 20.8148
9 | 0.0018828 | 0.00047161 | -0.0018827 | -0.00047184 | 1.0604e-07 | -2.3178e-07 | 0.0028306 | 0.0028307 | 0.0028307 | 0.98974 | -0.071423 | 0.98968 | -0.07183 | 1.0484
10 | 0.0051596 | 0.0012928 | -0.0051594 | -0.0012928 | 2.1793e-07 | 9.3595e-09 | 0.0077604 | 0.0077605 | 0.0077605 | 0.98932 | -0.074361 | 0.98927 | -0.074666 | 2.8742
11 | 0.051792 | 0.013039 | -0.051779 | -0.013034 | 1.3105e-05 | 4.8641e-06 | 0.078059 | 0.078059 | 0.078059 | 0.98757 | -0.086614 | 0.98731 | -0.088425 | 14.4554
12 | -0.0805 | -0.020293 | 0.080577 | 0.020322 | 7.6723e-05 | 2.9068e-05 | 0.12044 | 0.12044 | 0.12044 | 0.99494 | -0.035045 | 0.99592 | -0.028247 | 22.3031
13 | 0.0053741 | 0.0013461 | -0.0053732 | -0.001346 | 8.9376e-07 | 5.5839e-08 | 0.0080371 | 0.0080372 | 0.0080372 | 0.99494 | -0.035045 | 0.99477 | -0.036247 | 2.9767
14 | -0.081565 | -0.02057 | 0.081678 | 0.020613 | 0.00011279 | 4.2748e-05 | 0.12191 | 0.12191 | 0.12191 | 0.99592 | -0.028247 | 0.99734 | -0.018395 | 22.5764
15 | 0.0042192 | 0.0010568 | -0.0042176 | -0.001057 | 1.64e-06 | -2.2552e-07 | 0.006311 | 0.0063113 | 0.0063113 | 0.99477 | -0.036247 | 0.99437 | -0.039057 | 2.3375
16 | -0.082797 | -0.020893 | 0.082877 | 0.020924 | 8.072e-05 | 3.0603e-05 | 0.12358 | 0.12358 | 0.12358 | 0.99734 | -0.018395 | 0.99834 | -0.011456 | 22.8856
17 | 0.0032372 | 0.00081107 | -0.0032369 | -0.00081121 | 2.8848e-07 | -1.3938e-07 | 0.0048691 | 0.0048692 | 0.0048692 | 0.98927 | -0.074666 | 0.98918 | -0.07531 | 1.8034
18 | 0.041668 | 0.010501 | -0.041626 | -0.010485 | 4.2265e-05 | 1.6036e-05 | 0.06282 | 0.06282 | 0.06282 | 0.98731 | -0.088425 | 0.98628 | -0.095679 | 23.2667
19 | 0.010111 | 0.0025339 | -0.010107 | -0.0025327 | 3.9537e-06 | 1.1719e-06 | 0.015239 | 0.015239 | 0.015239 | 0.98731 | -0.088425 | 0.98691 | -0.091251 | 5.6442
20 | -0.083525 | -0.021086 | 0.083536 | 0.02109 | 1.0615e-05 | 4.0252e-06 | 0.12455 | 0.12455 | 0.12455 | 0.99834 | -0.011456 | 0.99847 | -0.010551 | 23.0643
21 | -0.0019449 | -0.00048744 | 0.0019451 | 0.00048698 | 2.1675e-07 | -4.5725e-07 | 0.0028988 | 0.0028986 | 0.0028988 | 0.99836 | -0.011357 | 0.99847 | -0.010551 | 1.0736
22 | -0.085481 | -0.021577 | 0.085608 | 0.021625 | 0.00012686 | 4.8136e-05 | 0.12745 | 0.12745 | 0.12745 | 0.99847 | -0.010551 | 1 | 0 | 23.6011
23 | -0.0012673 | -0.0003172 | 0.0012677 | 0.00031531 | 3.8152e-07 | -1.8894e-06 | 0.0019349 | 0.0019342 | 0.0019349 | 0.97454 | -0.17909 | 0.97484 | -0.1769 | 0.71664
24 | 0.00053078 | 0.0001326 | -0.00053077 | -0.00013302 | 1.4129e-08 | -4.2415e-07 | 0.00081029 | 0.00081045 | 0.00081045 | 0.97454 | -0.17909 | 0.97451 | -0.17928 | 0.30017
25 | -0.022822 | -0.0057212 | 0.022826 | 0.0057228 | 4.5064e-06 | 1.659e-06 | 0.034836 | 0.034836 | 0.034836 | 0.97484 | -0.1769 | 0.97504 | -0.17547 | 12.9023
26 | 0.020034 | 0.0050249 | -0.020025 | -0.0050215 | 9.3251e-06 | 3.3875e-06 | 0.030582 | 0.030582 | 0.030582 | 0.97484 | -0.1769 | 0.97437 | -0.18026 | 11.3266
27 | -0.00054597 | -0.00013683 | 0.00054598 | 0.00013649 | 1.2363e-08 | -3.4761e-07 | 0.00083537 | 0.00083524 | 0.00083537 | 0.97253 | -0.19355 | 0.97255 | -0.19338 | 0.30939
28 | -0.012426 | -0.003114 | 0.012427 | 0.0031146 | 1.7087e-06 | 5.6316e-07 | 0.019011 | 0.019011 | 0.019011 | 0.97255 | -0.19338 | 0.97269 | -0.19239 | 7.0412
29 | 0.01188 | 0.0029776 | -0.011873 | -0.0029755 | 6.3851e-06 | 2.0717e-06 | 0.018176 | 0.018176 | 0.018176 | 0.97255 | -0.19338 | 0.97201 | -0.19727 | 6.7319
30 | -0.012918 | -0.0032375 | 0.012919 | 0.003238 | 1.2978e-06 | 4.3304e-07 | 0.019762 | 0.019762 | 0.019762 | 0.97269 | -0.19239 | 0.97279 | -0.19167 | 7.3191
31 | 0.011873 | 0.0029755 | -0.011871 | -0.0029747 | 2.4356e-06 | 7.9037e-07 | 0.018176 | 0.018176 | 0.018176 | 0.97201 | -0.19727 | 0.9718 | -0.19875 | 6.7319
32 | -0.0048454 | -0.0012144 | 0.0048462 | 0.0012144 | 7.9372e-07 | 2.0887e-08 | 0.007432 | 0.0074319 | 0.007432 | 0.97012 | -0.21087 | 0.97029 | -0.20969 | 2.7526
33 | -0.0048462 | -0.0012144 | 0.0048486 | 0.0012144 | 2.4577e-06 | 6.4016e-08 | 0.0074319 | 0.0074316 | 0.0074319 | 0.97029 | -0.20969 | 0.9708 | -0.20602 | 2.7526
34 | -0.0067197 | -0.0016834 | 0.0067201 | 0.0016835 | 4.5322e-07 | 8.9654e-08 | 0.0103 | 0.010299 | 0.0103 | 0.9708 | -0.20602 | 0.97086 | -0.20553 | 3.8146
35 | -0.0079119 | -0.0019822 | 0.0079155 | 0.0019831 | 3.5587e-06 | 8.889e-07 | 0.012126 | 0.012126 | 0.012126 | 0.97086 | -0.20553 | 0.97131 | -0.20228 | 4.4912
36 | -0.011278 | -0.0028259 | 0.011284 | 0.0028276 | 5.5157e-06 | 1.7547e-06 | 0.017278 | 0.017278 | 0.017278 | 0.97131 | -0.20228 | 0.9718 | -0.19875 | 6.3991
37 | -0.014157 | -0.0035483 | 0.01416 | 0.0035493 | 2.8149e-06 | 9.6321e-07 | 0.021656 | 0.021656 | 0.021656 | 0.97279 | -0.19167 | 0.97299 | -0.19023 | 8.0207
38 | 0.017754 | 0.0044518 | -0.01775 | -0.0044502 | 4.5395e-06 | 1.6229e-06 | 0.027123 | 0.027123 | 0.027123 | 0.97407 | -0.18248 | 0.97381 | -0.18432 | 10.0454
39 | -0.019322 | -0.0048447 | 0.019323 | 0.0048451 | 1.3346e-06 | 4.8274e-07 | 0.029517 | 0.029517 | 0.029517 | 0.97407 | -0.18248 | 0.97413 | -0.18198 | 10.9323
40 | 0.017015 | 0.0042661 | -0.017012 | -0.0042649 | 3.4734e-06 | 1.2335e-06 | 0.026001 | 0.026001 | 0.026001 | 0.97381 | -0.18432 | 0.9736 | -0.1858 | 9.6299
41 | -0.01982 | -0.0049697 | 0.019825 | 0.0049714 | 4.7279e-06 | 1.7155e-06 | 0.030277 | 0.030276 | 0.030277 | 0.97413 | -0.18198 | 0.97437 | -0.18026 | 11.2135
42 | 0.015214 | 0.0038142 | -0.015204 | -0.0038109 | 9.3396e-06 | 3.2481e-06 | 0.023252 | 0.023252 | 0.023252 | 0.9736 | -0.1858 | 0.97299 | -0.19023 | 8.612
43 | -0.025614 | -0.0064215 | 0.025642 | 0.0064318 | 2.7881e-05 | 1.0358e-05 | 0.03909 | 0.03909 | 0.03909 | 0.97504 | -0.17547 | 0.97614 | -0.16762 | 14.4779
44 | -0.027168 | -0.0068142 | 0.027173 | 0.0068162 | 5.278e-06 | 1.9683e-06 | 0.041416 | 0.041416 | 0.041416 | 0.97614 | -0.16762 | 0.97633 | -0.16622 | 15.3392
45 | -0.029313 | -0.0073525 | 0.029342 | 0.0073636 | 2.9831e-05 | 1.1174e-05 | 0.044677 | 0.044677 | 0.044677 | 0.97633 | -0.16622 | 0.97736 | -0.15889 | 16.5471
46 | -0.032285 | -0.008101 | 0.032292 | 0.0081037 | 7.1494e-06 | 2.6903e-06 | 0.049157 | 0.049157 | 0.049157 | 0.97736 | -0.15889 | 0.97758 | -0.1573 | 18.2061
47 | -0.034868 | -0.0087494 | 0.034908 | 0.0087645 | 4.007e-05 | 1.5125e-05 | 0.053078 | 0.053078 | 0.053078 | 0.97758 | -0.1573 | 0.97874 | -0.14902 | 19.6584
48 | -0.037034 | -0.0092973 | 0.037109 | 0.0093256 | 7.5038e-05 | 2.8383e-05 | 0.05631 | 0.056309 | 0.05631 | 0.97874 | -0.14902 | 0.98078 | -0.13447 | 20.8554
49 | -0.038125 | -0.0095802 | 0.038249 | 0.0096275 | 0.00012485 | 4.7264e-05 | 0.057851 | 0.05785 | 0.057851 | 0.98078 | -0.13447 | 0.9841 | -0.11101 | 21.4261
50 | -0.00324 | -0.00081202 | 0.0032401 | 0.00081199 | 5.977e-08 | -2.8297e-08 | 0.0048852 | 0.0048852 | 0.0048852 | 0.98689 | -0.091384 | 0.98691 | -0.091251 | 1.8093
51 | 0.0068673 | 0.0017207 | -0.0068644 | -0.0017201 | 2.9197e-06 | 5.6551e-07 | 0.010354 | 0.010354 | 0.010354 | 0.98691 | -0.091251 | 0.98648 | -0.094324 | 3.8349
52 | -0.039921 | -0.010046 | 0.040006 | 0.010079 | 8.5625e-05 | 3.2453e-05 | 0.060377 | 0.060377 | 0.060377 | 0.9841 | -0.11101 | 0.98628 | -0.095679 | 22.362
53 | 0.0044875 | 0.0011244 | -0.004487 | -0.0011245 | 5.5676e-07 | -3.4438e-08 | 0.006769 | 0.0067691 | 0.0067691 | 0.98648 | -0.094324 | 0.98635 | -0.095221 | 2.5071
54 | 0.0037255 | 0.00093361 | -0.0037253 | -0.00093365 | 1.5505e-07 | -4.0765e-08 | 0.0056202 | 0.0056203 | 0.0056203 | 0.98635 | -0.095221 | 0.98631 | -0.095521 | 2.0816
55 | 0.0017726 | 0.00044422 | -0.0017726 | -0.00044425 | 1.3959e-08 | -3.5018e-08 | 0.0026665 | 0.0026665 | 0.0026665 | 0.98918 | -0.07531 | 0.98917 | -0.075367 | 0.98759

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.089593 | 0.022424

## res_load
| p_mw | q_mvar
0 | 0.0037337 | 0.00093575
1 | 0.002026 | 0.00050777
2 | 0.0024578 | 0.00061599
3 | 0.0033746 | 0.00084576
4 | 0.0022473 | 0.00056322
5 | 0.0019595 | 0.00049111
6 | 0.0018827 | 0.00047184
7 | 0.00098795 | 0.0002476
8 | 0.001154 | 0.00028921
9 | 0.0011191 | 0.00028049
10 | 0.0042176 | 0.001057
11 | 0.0019222 | 0.00048175
12 | 0.00064775 | 0.00016234
13 | 0.0019449 | 0.00048744
14 | 0.003185 | 0.00079823
15 | 0.00073655 | 0.0001846
16 | 0.0015201 | 0.00038096
17 | 0.00053077 | 0.00013302
18 | 0.00054597 | 0.00013683
19 | 0.00049051 | 0.00012293
20 | 0.0048454 | 0.0012144
21 | 0.0018711 | 0.00046893
22 | 0.0011918 | 0.00029869
23 | 0.0033628 | 0.0008428
24 | 0.0005869 | 0.00014709
25 | 0.0012384 | 0.00031037
26 | 0.0015676 | 0.00039287
27 | 0.00073433 | 0.00018404
28 | 0.00049701 | 0.00012456
29 | 0.0017983 | 0.00045069
30 | 0.0001999 | 5.0101e-05
31 | 0.0010439 | 0.00026163
32 | 0.0027876 | 0.00069864
33 | 0.0015257 | 0.00038239
34 | 0.0021397 | 0.00053627
35 | 0.0029423 | 0.0007374
36 | 0.0025761 | 0.00064564
37 | 0.0021258 | 0.00053278
38 | 0.0010158 | 0.00025457
39 | 0.00324 | 0.00081202
40 | 0.0016713 | 0.00041888
41 | 0.0016191 | 0.00040578
42 | 0.0023768 | 0.00059569
43 | 0.00076153 | 0.00019086
44 | 0.0037253 | 0.00093365
45 | 0.0014643 | 0.00036699
46 | 0.0017726 | 0.00044425

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1