## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2053-17_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2053-17_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2053-17_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2053-17_0_2_node_175 | 0.4 | n |  | TRUE
4 | bus_LV_2053-17_0_2_node_159 | 0.4 | n |  | TRUE
5 | bus_LV_2053-17_0_2_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_2053-17_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2053-17_0_2_node_146 | 0.4 | n |  | TRUE
8 | bus_LV_2053-17_0_2_node_147 | 0.4 | n |  | TRUE
9 | bus_LV_2053-17_0_2_node_148 | 0.4 | n |  | TRUE
10 | bus_LV_2053-17_0_2_node_149 | 0.4 | n |  | TRUE
11 | bus_LV_2053-17_0_2_node_150 | 0.4 | n |  | TRUE
12 | bus_LV_2053-17_0_2_node_151 | 0.4 | n |  | TRUE
13 | bus_LV_2053-17_0_2_node_154 | 0.4 | n |  | TRUE
14 | bus_LV_2053-17_0_2_node_152 | 0.4 | n |  | TRUE
15 | bus_LV_2053-17_0_2_node_153 | 0.4 | n |  | TRUE
16 | bus_LV_2053-17_0_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_2053-17_0_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2053-17_0_2_node_155 | 0.4 | n |  | TRUE
19 | bus_LV_2053-17_0_2_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_2053-17_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_2053-17_0_2_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2053-17_0_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2053-17_0_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2053-17_0_2_node_156 | 0.4 | n |  | TRUE
25 | bus_LV_2053-17_0_2_node_157 | 0.4 | n |  | TRUE
26 | bus_LV_2053-17_0_2_node_160 | 0.4 | n |  | TRUE
27 | bus_LV_2053-17_0_2_node_162 | 0.4 | n |  | TRUE
28 | bus_LV_2053-17_0_2_node_164 | 0.4 | n |  | TRUE
29 | bus_LV_2053-17_0_2_node_163 | 0.4 | n |  | TRUE
30 | bus_LV_2053-17_0_2_node_165 | 0.4 | n |  | TRUE
31 | bus_LV_2053-17_0_2_node_166 | 0.4 | n |  | TRUE
32 | bus_LV_2053-17_0_2_node_167 | 0.4 | n |  | TRUE
33 | bus_LV_2053-17_0_2_node_174 | 0.4 | n |  | TRUE
34 | bus_LV_2053-17_0_2_node_173 | 0.4 | n |  | TRUE
35 | bus_LV_2053-17_0_2_node_168 | 0.4 | n |  | TRUE
36 | bus_LV_2053-17_0_2_node_169 | 0.4 | n |  | TRUE
37 | bus_LV_2053-17_0_2_node_170 | 0.4 | n |  | TRUE
38 | bus_LV_2053-17_0_2_node_171 | 0.4 | n |  | TRUE
39 | bus_LV_2053-17_0_2_node_172 | 0.4 | n |  | TRUE
40 | bus_MV_0_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2053-17_0_2_load_0 | 0 | 0.00034324 | 8.6025e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2053-17_0_2_load_2 | 5 | 0.00046885 | 0.0001175 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2053-17_0_2_load_4 | 6 | 0.0012442 | 0.00031182 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2053-17_0_2_load_146 | 7 | 0.00035884 | 8.9935e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2053-17_0_2_load_147 | 8 | 0.00091131 | 0.0002284 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2053-17_0_2_load_148 | 9 | 0.0008596 | 0.00021543 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2053-17_0_2_load_151 | 12 | 0.00063555 | 0.00015928 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2053-17_0_2_load_154 | 13 | 0.0028871 | 0.00072358 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2053-17_0_2_load_152 | 14 | 0.00072582 | 0.00018191 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2053-17_0_2_load_25 | 16 | 0.0014593 | 0.00036574 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2053-17_0_2_load_30 | 17 | 0.0013015 | 0.00032618 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2053-17_0_2_load_29 | 21 | 0.0013435 | 0.00033672 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2053-17_0_2_load_32 | 22 | 0.0027592 | 0.00069152 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2053-17_0_2_load_31 | 23 | 0.0024977 | 0.00062598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2053-17_0_2_load_156 | 24 | 0.00026304 | 6.5925e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2053-17_0_2_load_157 | 25 | 0.0013967 | 0.00035005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2053-17_0_2_load_160 | 26 | 0.0014144 | 0.00035448 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2053-17_0_2_load_164 | 28 | 0.00054047 | 0.00013546 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2053-17_0_2_load_165 | 30 | 0.0010299 | 0.00025812 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2053-17_0_2_load_174 | 33 | 0.00094124 | 0.0002359 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2053-17_0_2_load_173 | 34 | 0.00034481 | 8.6419e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2053-17_0_2_load_168 | 35 | 0.00058012 | 0.00014539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2053-17_0_2_load_170 | 37 | 0.00040055 | 0.00010039 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2053-17_0_2_load_171 | 38 | 0.00016808 | 4.2125e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2053-17_0_2_load_172 | 39 | 0.00072633 | 0.00018203 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2053-17_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2053-17_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.17536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2053-17_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.16725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2053-17_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.30378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2053-17_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.037582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2053-17_0_2_line_5 | NAYY 4x150 SE | 3 | 33 | 0.044243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2053-17_0_2_line_6 | NAYY 4x150 SE | 4 | 14 | 0.057878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2053-17_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.25932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2053-17_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.06748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2053-17_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.033608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2053-17_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.051705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2053-17_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.021794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2053-17_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.12829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2053-17_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.23155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2053-17_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.034905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2053-17_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.08371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2053-17_0_2_line_16 | NAYY 4x150 SE | 13 | 18 | 0.045661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2053-17_0_2_line_17 | NAYY 4x150 SE | 15 | 24 | 0.03887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2053-17_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.22921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2053-17_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.49942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2053-17_0_2_line_20 | NAYY 4x150 SE | 17 | 23 | 0.07398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2053-17_0_2_line_21 | NAYY 4x150 SE | 17 | 21 | 0.0026922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2053-17_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.023097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2053-17_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.025009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2053-17_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.026516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2053-17_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.04558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2053-17_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.024224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2053-17_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.052202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2053-17_0_2_line_28 | NAYY 4x150 SE | 28 | 32 | 0.029102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2053-17_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2053-17_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.027691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2053-17_0_2_line_31 | NAYY 4x150 SE | 31 | 33 | 0.010885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2053-17_0_2_line_32 | NAYY 4x150 SE | 31 | 34 | 0.016982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2053-17_0_2_line_33 | NAYY 4x150 SE | 32 | 35 | 0.045971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2053-17_0_2_line_34 | NAYY 4x150 SE | 32 | 36 | 0.088664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2053-17_0_2_line_35 | NAYY 4x150 SE | 34 | 39 | 0.016882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2053-17_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.01449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2053-17_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.02346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2053-17_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.023491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2053-17_0_2_trafo_155 | 0.25 MVA 20/0.4 kV | 40 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2567704.987 | 1189188.2718 | 2567797.7832 | 1189270.4621
1 | 2567970.056 | 1189237.7144 | 2567797.7832 | 1189270.4621
2 | 2567557.5396 | 1189109.3401 | 2567704.987 | 1189188.2718
3 | 2567704.987 | 1189188.2718 | 2567786.4836 | 1188895.6303
4 | 2567970.056 | 1189237.7144 | 2568006.9776 | 1189244.7309
5 | 2567557.5396 | 1189109.3401 | 2567534.7374 | 1189098.4361 | 2567517.4199 | 1189090.6969
6 | 2567786.4836 | 1188895.6303 | 2567790.9509 | 1188881.1096 | 2567806.9421 | 1188841.5327
7 | 2568006.9776 | 1189244.7309 | 2568228.2469 | 1189109.5114
8 | 2567841.4268 | 1188758.0716 | 2567841.4268 | 1188758.0716 | 2567855.2175 | 1188735.5631 | 2567869.453 | 1188719.1666 | 2567884.9508 | 1188710.523 | 2567886.284 | 1188709.5967
9 | 2567828.4401 | 1188789.0687 | 2567841.4268 | 1188758.0716
10 | 2567926.6416 | 1188677.9703 | 2567921.6379 | 1188685.0343 | 2567886.284 | 1188709.5967
11 | 2567820.0184 | 1188809.1699 | 2567828.4401 | 1188789.0687
12 | 2567926.6416 | 1188677.9703 | 2567954.5933 | 1188650.5945 | 2567987.8888 | 1188602.7013 | 2568004.1845 | 1188589.1512 | 2568013.8316 | 1188589.0995
13 | 2567926.6416 | 1188677.9703 | 2567775.4644 | 1188502.5883
14 | 2567820.0184 | 1188809.1699 | 2567806.9421 | 1188841.5327
15 | 2568085.2475 | 1188550.5188 | 2568044.6529 | 1188581.5859 | 2568029.9566 | 1188589.013 | 2568014.8244 | 1188589.0941 | 2568013.8316 | 1188589.0995
16 | 2567743.2195 | 1188470.2587 | 2567775.4644 | 1188502.5883
17 | 2568085.2475 | 1188550.5188 | 2568114.5368 | 1188576.0736
18 | 2567122.8299 | 1188326.8274 | 2567246.2757 | 1188519.9581
19 | 2567246.2757 | 1188519.9581 | 2567743.2195 | 1188470.2587
20 | 2567188.5421 | 1188292.8423 | 2567122.8299 | 1188326.8274
21 | 2567122.8299 | 1188326.8274 | 2567120.4385 | 1188328.0642
22 | 2567098.2241 | 1188339.5531 | 2567090.8266 | 1188317.671
23 | 2567098.2241 | 1188339.5531 | 2567120.4385 | 1188328.0642
24 | 2567090.8266 | 1188317.671 | 2567082.3433 | 1188292.5488 | 2567082.3433 | 1188292.5488
25 | 2568152.8842 | 1188599.9798 | 2568149.3702 | 1188598.9133 | 2568126.9503 | 1188586.9044 | 2568114.5368 | 1188576.0736
26 | 2567393.9478 | 1189116.5353 | 2567415.4578 | 1189127.6768
27 | 2567393.9478 | 1189116.5353 | 2567379.3573 | 1189102.4853 | 2567376.3892 | 1189085.5035 | 2567381.8224 | 1189071.8362
28 | 2567397.0397 | 1189047.3258 | 2567385.6504 | 1189062.2071 | 2567381.8224 | 1189071.8362
29 | 2567483.0145 | 1189116.9053 | 2567495.5295 | 1189111.2452
30 | 2567507.4818 | 1189086.2556 | 2567495.5295 | 1189111.2452
31 | 2567507.4818 | 1189086.2556 | 2567517.4199 | 1189090.6969
32 | 2567507.4818 | 1189086.2556 | 2567491.8584 | 1189079.6
33 | 2567397.0397 | 1189047.3258 | 2567418.1643 | 1189049.8118 | 2567429.7446 | 1189053.1393 | 2567441.384 | 1189058.0977
34 | 2567330.0433 | 1188992.5183 | 2567358.2911 | 1189025.5926 | 2567375.4481 | 1189040.3178 | 2567397.0397 | 1189047.3258
35 | 2567476.3266 | 1189072.9834 | 2567491.8584 | 1189079.6
36 | 2567441.384 | 1189058.0977 | 2567454.7147 | 1189063.7766
37 | 2567330.0433 | 1188992.5183 | 2567310.847 | 1188984.2745 | 2567308.3847 | 1188983.544
38 | 2567454.7147 | 1189063.7766 | 2567476.3266 | 1189072.9834

## bus_geodata
| x | y | coords
0 | 2567797.7832 | 1189270.4621
1 | 2567704.987 | 1189188.2718
2 | 2567970.056 | 1189237.7144
3 | 2567557.5396 | 1189109.3401
4 | 2567786.4836 | 1188895.6303
5 | 2568006.9776 | 1189244.7309
6 | 2568228.2469 | 1189109.5114
7 | 2567841.4268 | 1188758.0716
8 | 2567886.284 | 1188709.5967
9 | 2567828.4401 | 1188789.0687
10 | 2567926.6416 | 1188677.9703
11 | 2567820.0184 | 1188809.1699
12 | 2568013.8316 | 1188589.0995
13 | 2567775.4644 | 1188502.5883
14 | 2567806.9421 | 1188841.5327
15 | 2568085.2475 | 1188550.5188
16 | 2567246.2757 | 1188519.9581
17 | 2567122.8299 | 1188326.8274
18 | 2567743.2195 | 1188470.2587
19 | 2567098.2241 | 1188339.5531
20 | 2567090.8266 | 1188317.671
21 | 2567120.4385 | 1188328.0642
22 | 2567082.3433 | 1188292.5488
23 | 2567188.5421 | 1188292.8423
24 | 2568114.5368 | 1188576.0736
25 | 2568152.8842 | 1188599.9798
26 | 2567415.4578 | 1189127.6768
27 | 2567393.9478 | 1189116.5353
28 | 2567381.8224 | 1189071.8362
29 | 2567495.5295 | 1189111.2452
30 | 2567483.0145 | 1189116.9053
31 | 2567507.4818 | 1189086.2556
32 | 2567397.0397 | 1189047.3258
33 | 2567517.4199 | 1189090.6969
34 | 2567491.8584 | 1189079.6
35 | 2567441.384 | 1189058.0977
36 | 2567330.0433 | 1188992.5183
37 | 2567454.7147 | 1189063.7766
38 | 2567308.3847 | 1188983.544
39 | 2567476.3266 | 1189072.9834
40 | 2567743.2195 | 1188470.2587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9868 | -0.093973 | 0.00034324 | 8.6025e-05
1 | 0.98717 | -0.091297 | 0 | 0
2 | 0.98637 | -0.097119 | 0 | 0
3 | 0.98568 | -0.10192 | 0 | 0
4 | 0.99077 | -0.065474 | 0 | 0
5 | 0.98627 | -0.09779 | 0.00046885 | 0.0001175
6 | 0.98581 | -0.10113 | 0.0012442 | 0.00031182
7 | 0.99266 | -0.051956 | 0.00035884 | 8.9935e-05
8 | 0.99365 | -0.044919 | 0.00091131 | 0.0002284
9 | 0.99219 | -0.055342 | 0.0008596 | 0.00021543
10 | 0.99448 | -0.039057 | 0 | 0
11 | 0.99191 | -0.057349 | 0 | 0
12 | 0.99405 | -0.042059 | 0.00063555 | 0.00015928
13 | 0.99893 | -0.00751 | 0.0028871 | 0.00072358
14 | 0.99146 | -0.060565 | 0.00072582 | 0.00018191
15 | 0.99386 | -0.043473 | 0 | 0
16 | 0.99328 | -0.047281 | 0.0014593 | 0.00036574
17 | 0.99067 | -0.06571 | 0.0013015 | 0.00032618
18 | 1 | 0 | -0.026642 | -0.0064674
19 | 0.99056 | -0.066526 | 0 | 0
20 | 0.99046 | -0.067175 | 0 | 0
21 | 0.99065 | -0.065823 | 0.0013435 | 0.00033672
22 | 0.99036 | -0.06792 | 0.0027592 | 0.00069152
23 | 0.9904 | -0.067593 | 0.0024977 | 0.00062598
24 | 0.99376 | -0.044128 | 0.00026304 | 6.5925e-05
25 | 0.99367 | -0.044772 | 0.0013967 | 0.00035005
26 | 0.98447 | -0.11061 | 0.0014144 | 0.00035448
27 | 0.98452 | -0.11026 | 0 | 0
28 | 0.98462 | -0.10949 | 0.00054047 | 0.00013546
29 | 0.98516 | -0.10562 | 0 | 0
30 | 0.98514 | -0.10576 | 0.0010299 | 0.00025812
31 | 0.98521 | -0.10532 | 0 | 0
32 | 0.98471 | -0.10891 | 0 | 0
33 | 0.98529 | -0.10474 | 0.00094124 | 0.0002359
34 | 0.9851 | -0.10606 | 0.00034481 | 8.6419e-05
35 | 0.98485 | -0.10789 | 0.00058012 | 0.00014539
36 | 0.98468 | -0.10907 | 0 | 0
37 | 0.9849 | -0.10748 | 0.00040055 | 0.00010039
38 | 0.98468 | -0.10911 | 0.00016808 | 4.2125e-05
39 | 0.98501 | -0.10673 | 0.00072633 | 0.00018203
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020577 | -0.00050988 | 0.0020585 | 0.00050858 | 7.4362e-07 | -1.2982e-06 | 0.0031008 | 0.0031003 | 0.0031008 | 0.9868 | -0.093973 | 0.98717 | -0.091297 | 1.1485
1 | 0.0017145 | 0.00042386 | -0.0017138 | -0.00042581 | 7.3042e-07 | -1.9583e-06 | 0.0025833 | 0.002584 | 0.002584 | 0.9868 | -0.093973 | 0.98637 | -0.097119 | 0.95705
2 | 0.0061597 | 0.001538 | -0.0061507 | -0.0015366 | 8.9935e-06 | 1.3241e-06 | 0.0092828 | 0.0092835 | 0.0092835 | 0.98717 | -0.091297 | 0.98568 | -0.10192 | 3.4383
3 | -0.0082181 | -0.0020465 | 0.0082472 | 0.0020538 | 2.9063e-05 | 7.2803e-06 | 0.012383 | 0.012382 | 0.012383 | 0.98717 | -0.091297 | 0.99077 | -0.065474 | 4.5863
4 | 0.0017138 | 0.00042581 | -0.0017136 | -0.00042623 | 1.566e-07 | -4.1942e-07 | 0.002584 | 0.0025842 | 0.0025842 | 0.98637 | -0.097119 | 0.98627 | -0.09779 | 0.95711
5 | 0.0061507 | 0.0015366 | -0.0061483 | -0.0015363 | 2.3794e-06 | 3.5144e-07 | 0.0092835 | 0.0092837 | 0.0092837 | 0.98568 | -0.10192 | 0.98529 | -0.10474 | 3.4384
6 | -0.0082472 | -0.0020538 | 0.0082527 | 0.0020552 | 5.5366e-06 | 1.3836e-06 | 0.012382 | 0.012381 | 0.012382 | 0.99077 | -0.065474 | 0.99146 | -0.060565 | 4.5858
7 | 0.0012448 | 0.00030873 | -0.0012442 | -0.00031182 | 5.7035e-07 | -3.0883e-06 | 0.0018768 | 0.001878 | 0.001878 | 0.98627 | -0.09779 | 0.98581 | -0.10113 | 0.69556
8 | -0.010208 | -0.0025455 | 0.010218 | 0.0025485 | 9.8534e-06 | 2.9165e-06 | 0.015297 | 0.015297 | 0.015297 | 0.99266 | -0.051956 | 0.99365 | -0.044919 | 5.6657
9 | 0.0098491 | 0.0024556 | -0.0098446 | -0.0024543 | 4.5684e-06 | 1.3228e-06 | 0.014759 | 0.01476 | 0.01476 | 0.99266 | -0.051956 | 0.99219 | -0.055342 | 5.4665
10 | -0.011129 | -0.0027769 | 0.011138 | 0.0027796 | 8.9569e-06 | 2.7747e-06 | 0.016662 | 0.016662 | 0.016662 | 0.99365 | -0.044919 | 0.99448 | -0.039057 | 6.171
11 | 0.008985 | 0.0022389 | -0.0089825 | -0.0022382 | 2.4677e-06 | 6.6772e-07 | 0.01347 | 0.013471 | 0.013471 | 0.99219 | -0.055342 | 0.99191 | -0.057349 | 4.9891
12 | 0.0022968 | 0.00057201 | -0.0022959 | -0.00057331 | 9.4501e-07 | -1.3004e-06 | 0.0034354 | 0.003436 | 0.003436 | 0.99448 | -0.039057 | 0.99405 | -0.042059 | 1.2726
13 | -0.013435 | -0.0033516 | 0.013493 | 0.0033711 | 5.8353e-05 | 1.9426e-05 | 0.020097 | 0.020096 | 0.020097 | 0.99448 | -0.039057 | 0.99893 | -0.00751 | 7.4433
14 | 0.0089825 | 0.0022382 | -0.0089785 | -0.0022371 | 3.9523e-06 | 1.0698e-06 | 0.013471 | 0.013471 | 0.013471 | 0.99191 | -0.057349 | 0.99146 | -0.060565 | 4.9892
15 | 0.0016604 | 0.00041402 | -0.00166 | -0.00041498 | 3.2253e-07 | -9.6093e-07 | 0.0024847 | 0.0024851 | 0.0024851 | 0.99405 | -0.042059 | 0.99386 | -0.043473 | 0.92039
16 | -0.01638 | -0.0040946 | 0.016397 | 0.0041006 | 1.6958e-05 | 5.9241e-06 | 0.024397 | 0.024396 | 0.024397 | 0.99893 | -0.00751 | 1 | 0 | 9.0358
17 | 0.00166 | 0.00041498 | -0.0016599 | -0.00041543 | 1.498e-07 | -4.4604e-07 | 0.0024851 | 0.0024852 | 0.0024852 | 0.99386 | -0.043473 | 0.99376 | -0.044128 | 0.92046
18 | 0.0079236 | 0.0019838 | -0.0079034 | -0.001979 | 2.0152e-05 | 4.7918e-06 | 0.011869 | 0.011871 | 0.011871 | 0.99328 | -0.047281 | 0.99067 | -0.06571 | 4.3965
19 | -0.0093829 | -0.0023496 | 0.0094444 | 0.0023667 | 6.1558e-05 | 1.7168e-05 | 0.014056 | 0.014053 | 0.014056 | 0.99328 | -0.047281 | 1 | 0 | 5.2058
20 | 0.0024983 | 0.00062528 | -0.0024977 | -0.00062598 | 6.5002e-07 | -7.0228e-07 | 0.0037523 | 0.0037526 | 0.0037526 | 0.99067 | -0.06571 | 0.9904 | -0.067593 | 1.3899
21 | 0.0041036 | 0.0010276 | -0.0041035 | -0.0010276 | 6.3817e-08 | -1.0119e-08 | 0.0061634 | 0.0061634 | 0.0061634 | 0.99067 | -0.06571 | 0.99065 | -0.065823 | 2.2827
22 | 0.0027597 | 0.00069109 | -0.0027595 | -0.00069129 | 2.4769e-07 | -2.0203e-07 | 0.0041455 | 0.0041456 | 0.0041456 | 0.99056 | -0.066526 | 0.99046 | -0.067175 | 1.5354
23 | -0.0027597 | -0.00069109 | 0.00276 | 0.00069087 | 2.6818e-07 | -2.1882e-07 | 0.0041455 | 0.0041454 | 0.0041455 | 0.99056 | -0.066526 | 0.99065 | -0.065823 | 1.5354
24 | 0.0027595 | 0.00069129 | -0.0027592 | -0.00069152 | 2.8437e-07 | -2.3186e-07 | 0.0041456 | 0.0041457 | 0.0041457 | 0.99046 | -0.067175 | 0.99036 | -0.06792 | 1.5354
25 | 0.0013968 | 0.00034951 | -0.0013967 | -0.00035005 | 1.2441e-07 | -5.4264e-07 | 0.0020914 | 0.0020916 | 0.0020916 | 0.99376 | -0.044128 | 0.99367 | -0.044772 | 0.77465
26 | -0.0014144 | -0.00035447 | 0.0014144 | 0.00035419 | 6.908e-08 | -2.8145e-07 | 0.0021378 | 0.0021377 | 0.0021378 | 0.98447 | -0.11061 | 0.98452 | -0.11026 | 0.79178
27 | -0.0014144 | -0.00035419 | 0.0014146 | 0.00035358 | 1.4884e-07 | -6.0664e-07 | 0.0021377 | 0.0021375 | 0.0021377 | 0.98452 | -0.11026 | 0.98462 | -0.10949 | 0.79174
28 | -0.0019551 | -0.00048904 | 0.0019552 | 0.00048873 | 1.5848e-07 | -3.0922e-07 | 0.0029543 | 0.0029541 | 0.0029543 | 0.98462 | -0.10949 | 0.98471 | -0.10891 | 1.0942
29 | 0.0010299 | 0.00025795 | -0.0010299 | -0.00025812 | 2.0692e-08 | -1.6652e-07 | 0.0015556 | 0.0015556 | 0.0015556 | 0.98516 | -0.10562 | 0.98514 | -0.10576 | 0.57616
30 | -0.0010299 | -0.00025795 | 0.00103 | 0.00025761 | 4.1808e-08 | -3.3652e-07 | 0.0015556 | 0.0015554 | 0.0015556 | 0.98516 | -0.10562 | 0.98521 | -0.10532 | 0.57613
31 | -0.0052066 | -0.0013004 | 0.005207 | 0.0013004 | 4.1987e-07 | 2.2865e-08 | 0.0078623 | 0.0078622 | 0.0078623 | 0.98521 | -0.10532 | 0.98529 | -0.10474 | 2.912
32 | 0.0041767 | 0.0010427 | -0.0041762 | -0.0010428 | 4.215e-07 | -5.4109e-08 | 0.0063068 | 0.0063069 | 0.0063069 | 0.98521 | -0.10532 | 0.9851 | -0.10606 | 2.3359
33 | -0.0021233 | -0.00052943 | 0.0021236 | 0.00052895 | 2.9512e-07 | -4.7137e-07 | 0.0032076 | 0.0032074 | 0.0032076 | 0.98471 | -0.10891 | 0.98485 | -0.10789 | 1.188
34 | 0.00016809 | 4.07e-05 | -0.00016808 | -4.1827e-05 | 3.5609e-09 | -1.1265e-06 | 0.0002535 | 0.00025389 | 0.00025389 | 0.98471 | -0.10891 | 0.98468 | -0.10907 | 0.094035
35 | 0.0038314 | 0.00095638 | -0.0038311 | -0.00095646 | 3.5269e-07 | -7.9266e-08 | 0.0057861 | 0.0057861 | 0.0057861 | 0.9851 | -0.10606 | 0.98501 | -0.10673 | 2.143
36 | -0.0027037 | -0.00067435 | 0.0027039 | 0.00067422 | 1.508e-07 | -1.2639e-07 | 0.0040839 | 0.0040839 | 0.0040839 | 0.98485 | -0.10789 | 0.9849 | -0.10748 | 1.5126
37 | 0.00016808 | 4.1827e-05 | -0.00016808 | -4.2125e-05 | 9.4406e-10 | -2.9806e-07 | 0.00025389 | 0.000254 | 0.000254 | 0.98468 | -0.10907 | 0.98468 | -0.10911 | 0.094074
38 | -0.0031044 | -0.0007746 | 0.0031047 | 0.00077443 | 3.2229e-07 | -1.7503e-07 | 0.004689 | 0.0046889 | 0.004689 | 0.9849 | -0.10748 | 0.98501 | -0.10673 | 1.7367

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.026642 | 0.0064674

## res_load
| p_mw | q_mvar
0 | 0.00034324 | 8.6025e-05
1 | 0.00046885 | 0.0001175
2 | 0.0012442 | 0.00031182
3 | 0.00035884 | 8.9935e-05
4 | 0.00091131 | 0.0002284
5 | 0.0008596 | 0.00021543
6 | 0.00063555 | 0.00015928
7 | 0.0028871 | 0.00072358
8 | 0.00072582 | 0.00018191
9 | 0.0014593 | 0.00036574
10 | 0.0013015 | 0.00032618
11 | 0.0013435 | 0.00033672
12 | 0.0027592 | 0.00069152
13 | 0.0024977 | 0.00062598
14 | 0.00026304 | 6.5925e-05
15 | 0.0013967 | 0.00035005
16 | 0.0014144 | 0.00035448
17 | 0.00054047 | 0.00013546
18 | 0.0010299 | 0.00025812
19 | 0.00094124 | 0.0002359
20 | 0.00034481 | 8.6419e-05
21 | 0.00058012 | 0.00014539
22 | 0.00040055 | 0.00010039
23 | 0.00016808 | 4.2125e-05
24 | 0.00072633 | 0.00018203

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1