## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2053-31_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2053-31_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2053-31_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2053-31_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2053-31_0_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2053-31_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2053-31_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2053-31_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2053-31_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2053-31_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2053-31_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2053-31_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2053-31_0_2_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_2053-31_0_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2053-31_0_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2053-31_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2053-31_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2053-31_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2053-31_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2053-31_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2053-31_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2053-31_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2053-31_0_2_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_2053-31_0_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_2053-31_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_2053-31_0_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_2053-31_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2053-31_0_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_2053-31_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_2053-31_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2053-31_0_2_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_2053-31_0_2_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_2053-31_0_2_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_2053-31_0_2_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_2053-31_0_2_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_2053-31_0_2_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_2053-31_0_2_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_2053-31_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2053-31_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2053-31_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2053-31_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2053-31_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2053-31_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2053-31_0_2_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_2053-31_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_2053-31_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2053-31_0_2_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_2053-31_0_2_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2053-31_0_2_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2053-31_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2053-31_0_2_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2053-31_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2053-31_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2053-31_0_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2053-31_0_2_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2053-31_0_2_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_2053-31_0_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_2053-31_0_2_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_2053-31_0_2_node_58 | 0.4 | n |  | TRUE
59 | bus_MV_377_1_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2053-31_0_2_load_0 | 0 | 0.0038726 | 0.00097057 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2053-31_0_2_load_1 | 1 | 0.0015121 | 0.00037897 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2053-31_0_2_load_3 | 3 | 0.0014143 | 0.00035445 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2053-31_0_2_load_7 | 4 | 0.0014471 | 0.00036269 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2053-31_0_2_load_5 | 5 | 0.0050525 | 0.0012663 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2053-31_0_2_load_6 | 6 | 0.010479 | 0.0026263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2053-31_0_2_load_11 | 8 | 0.0028769 | 0.00072103 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2053-31_0_2_load_9 | 10 | 0.0011647 | 0.0002919 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2053-31_0_2_load_10 | 11 | 0.002363 | 0.00059222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2053-31_0_2_load_18 | 12 | 0.0028017 | 0.00070218 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2053-31_0_2_load_19 | 13 | 0.0045423 | 0.0011384 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2053-31_0_2_load_13 | 15 | 0.004842 | 0.0012135 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2053-31_0_2_load_14 | 16 | 0.0022584 | 0.000566 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2053-31_0_2_load_17 | 19 | 0.0031378 | 0.00078641 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2053-31_0_2_load_23 | 20 | 0.0022768 | 0.00057062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2053-31_0_2_load_21 | 21 | 0.0030558 | 0.00076587 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2053-31_0_2_load_22 | 24 | 0.0025186 | 0.00063121 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2053-31_0_2_load_55 | 25 | 0.0030513 | 0.00076472 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2053-31_0_2_load_33 | 26 | 0.0029127 | 0.00073 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2053-31_0_2_load_32 | 27 | 0.0034081 | 0.00085415 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2053-31_0_2_load_30 | 28 | 0.0029389 | 0.00073655 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2053-31_0_2_load_28 | 29 | 0.0010139 | 0.00025412 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2053-31_0_2_load_51 | 32 | 0.0027041 | 0.00067771 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2053-31_0_2_load_48 | 34 | 0.0074598 | 0.0018696 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2053-31_0_2_load_50 | 35 | 0.0032353 | 0.00081085 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2053-31_0_2_load_52 | 36 | 0.0049129 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2053-31_0_2_load_25 | 37 | 0.0022678 | 0.00056836 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2053-31_0_2_load_26 | 38 | 0.0025696 | 0.000644 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2053-31_0_2_load_37 | 39 | 0.0015448 | 0.00038717 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2053-31_0_2_load_27 | 40 | 0.0015555 | 0.00038985 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2053-31_0_2_load_29 | 41 | 0.0063467 | 0.0015906 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2053-31_0_2_load_53 | 43 | 0.0022707 | 0.00056908 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2053-31_0_2_load_35 | 45 | 0.00086633 | 0.00021712 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2053-31_0_2_load_60 | 46 | 0.0007593 | 0.0001903 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2053-31_0_2_load_34 | 47 | 0.00092291 | 0.0002313 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2053-31_0_2_load_39 | 48 | 0.0036338 | 0.0009107 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2053-31_0_2_load_40 | 49 | 0.0020979 | 0.00052578 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2053-31_0_2_load_41 | 50 | 0.0016942 | 0.00042462 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2053-31_0_2_load_43 | 51 | 0.005827 | 0.0014604 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2053-31_0_2_load_44 | 52 | 0.0035915 | 0.00090012 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2053-31_0_2_load_47 | 53 | 0.0022729 | 0.00056963 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2053-31_0_2_load_59 | 55 | 0.00085055 | 0.00021317 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2053-31_0_2_load_36 | 57 | 0.00050423 | 0.00012637 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2053-31_0_2_load_58 | 58 | 0.00084189 | 0.000211 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2053-31_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2053-31_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2053-31_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0090841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2053-31_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.046249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2053-31_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.019336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2053-31_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2053-31_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.026101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2053-31_0_2_line_7 | NAYY 4x150 SE | 7 | 10 | 0.0061573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2053-31_0_2_line_8 | NAYY 4x150 SE | 7 | 11 | 0.011561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2053-31_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0074535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2053-31_0_2_line_10 | NAYY 4x150 SE | 9 | 15 | 0.02134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2053-31_0_2_line_11 | NAYY 4x150 SE | 9 | 16 | 0.01279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2053-31_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.02 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2053-31_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.010837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2053-31_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.012468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2053-31_0_2_line_15 | NAYY 4x150 SE | 14 | 26 | 0.040661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2053-31_0_2_line_16 | NAYY 4x150 SE | 14 | 22 | 0.013272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2053-31_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.01702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2053-31_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.013347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2053-31_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.014371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2053-31_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.018247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2053-31_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.018928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2053-31_0_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.011887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2053-31_0_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.0058768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2053-31_0_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.015077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_2053-31_0_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.01057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2053-31_0_2_line_26 | NAYY 4x150 SE | 23 | 37 | 0.015608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2053-31_0_2_line_27 | NAYY 4x150 SE | 23 | 38 | 0.01515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2053-31_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0037944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2053-31_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.021309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2053-31_0_2_line_30 | NAYY 4x150 SE | 29 | 40 | 0.011713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2053-31_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.01547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2053-31_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.010463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2053-31_0_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.017825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2053-31_0_2_line_34 | NAYY 4x150 SE | 31 | 35 | 0.015655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2053-31_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.018309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2053-31_0_2_line_36 | NAYY 4x150 SE | 32 | 36 | 0.058149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2053-31_0_2_line_37 | NAYY 4x150 SE | 33 | 53 | 0.005492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2053-31_0_2_line_38 | NAYY 4x150 SE | 33 | 52 | 0.022436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2053-31_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.03933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2053-31_0_2_line_40 | NAYY 4x150 SE | 39 | 48 | 0.022363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2053-31_0_2_line_41 | NAYY 4x150 SE | 39 | 45 | 0.024717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2053-31_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0034029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2053-31_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0066764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2053-31_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.009663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2053-31_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.017645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2053-31_0_2_line_46 | NAYY 4x150 SE | 44 | 51 | 0.03059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2053-31_0_2_line_47 | NAYY 4x150 SE | 44 | 50 | 0.0030027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2053-31_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.034717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2053-31_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.021357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2053-31_0_2_line_50 | NAYY 4x150 SE | 46 | 54 | 0.019432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2053-31_0_2_line_51 | NAYY 4x150 SE | 47 | 57 | 0.016578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2053-31_0_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0095793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2053-31_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.010145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2053-31_0_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.016513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2053-31_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.03616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2053-31_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.025375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2053-31_0_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.016945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2053-31_0_2_trafo_22 | 0.25 MVA 20/0.4 kV | 59 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2565979.2851 | 1189310.1851 | 2565965.1371 | 1189294.6061 | 2565965.1371 | 1189294.6061
1 | 2565993.9631 | 1189326.3478 | 2565979.2851 | 1189310.1851
2 | 2565958.1712 | 1189300.4368 | 2565965.1371 | 1189294.6061
3 | 2565965.1371 | 1189294.6061 | 2565989.9942 | 1189255.6053
4 | 2565993.9631 | 1189326.3478 | 2565978.8985 | 1189338.4692
5 | 2565974.8648 | 1189238.0171 | 2565989.9942 | 1189255.6053
6 | 2565958.5634 | 1189354.8315 | 2565978.8985 | 1189338.4692
7 | 2565958.5634 | 1189354.8315 | 2565953.7672 | 1189358.6926
8 | 2565950.6144 | 1189346.4167 | 2565958.5634 | 1189354.8315
9 | 2565930.9555 | 1189324.0613 | 2565936.5405 | 1189319.1255
10 | 2565930.9555 | 1189324.0613 | 2565914.9695 | 1189338.1975
11 | 2565939.6272 | 1189333.4836 | 2565930.9555 | 1189324.0613
12 | 2565938.1878 | 1189371.2343 | 2565953.7672 | 1189358.6926
13 | 2565938.1878 | 1189371.2343 | 2565940.3599 | 1189373.6677 | 2565945.4104 | 1189379.3308
14 | 2565928.4554 | 1189379.0607 | 2565938.1878 | 1189371.2343
15 | 2565928.4554 | 1189379.0607 | 2565909.9848 | 1189393.8408 | 2565920.8534 | 1189406.9195
16 | 2565928.4554 | 1189379.0607 | 2565919.6435 | 1189369.1168
17 | 2565902.2193 | 1189349.4724 | 2565914.9695 | 1189338.1975
18 | 2565894.1121 | 1189360.0911 | 2565902.2193 | 1189349.4724
19 | 2565902.2193 | 1189349.4724 | 2565911.7555 | 1189360.2237
20 | 2565894.1121 | 1189360.0911 | 2565881.0558 | 1189372.8378
21 | 2565894.1121 | 1189360.0911 | 2565881.3869 | 1189346.0784
22 | 2565919.6435 | 1189369.1168 | 2565911.7555 | 1189360.2237
23 | 2565876.8507 | 1189376.9432 | 2565881.0558 | 1189372.8378
24 | 2565881.3869 | 1189346.0784 | 2565871.2507 | 1189334.9166
25 | 2565911.2302 | 1189375.546 | 2565919.6435 | 1189369.1168
26 | 2565876.8507 | 1189376.9432 | 2565873.3583 | 1189379.6869 | 2565862.2024 | 1189378.6279
27 | 2565876.8507 | 1189376.9432 | 2565885.6384 | 1189389.2996
28 | 2565923.2785 | 1189409.8378 | 2565920.8534 | 1189406.9195
29 | 2565806.0636 | 1189335.8817 | 2565798.716 | 1189343.2834 | 2565806.4648 | 1189350.9206
30 | 2565814.8072 | 1189359.1428 | 2565806.4648 | 1189350.9206
31 | 2565743.7496 | 1189313.5937 | 2565732.14 | 1189323.8547
32 | 2565732.14 | 1189323.8547 | 2565724.0069 | 1189317.2723
33 | 2565746.0236 | 1189335.0811 | 2565732.14 | 1189323.8547
34 | 2565741.3124 | 1189298.2216 | 2565743.5045 | 1189306.7692 | 2565743.7496 | 1189313.5937
35 | 2565743.7496 | 1189313.5937 | 2565757.5295 | 1189325.6497
36 | 2565724.0069 | 1189317.2723 | 2565678.7971 | 1189280.7025
37 | 2565742.2639 | 1189339.0937 | 2565746.0236 | 1189335.0811
38 | 2565746.0236 | 1189335.0811 | 2565763.4664 | 1189349.192
39 | 2565862.2024 | 1189378.6279 | 2565835.1457 | 1189407.1724
40 | 2565817.7608 | 1189393.1051 | 2565835.1457 | 1189407.1724
41 | 2565853.8286 | 1189423.35 | 2565852.3306 | 1189422.0299 | 2565839.0242 | 1189410.3108 | 2565835.1457 | 1189407.1724
42 | 2565814.8072 | 1189359.1428 | 2565817.2308 | 1189361.5316
43 | 2565812.5296 | 1189366.2722 | 2565817.2308 | 1189361.5316 | 2565817.2308 | 1189361.5316
44 | 2565805.589 | 1189359.5305 | 2565812.5296 | 1189366.2722
45 | 2565812.5296 | 1189366.2722 | 2565800.0865 | 1189378.8168
46 | 2565800.0865 | 1189378.8168 | 2565776.3043 | 1189359.5775
47 | 2565800.0865 | 1189378.8168 | 2565802.4219 | 1189380.7042
48 | 2565853.8286 | 1189423.35 | 2565837.8339 | 1189454.1634
49 | 2565869.8514 | 1189437.4709 | 2565867.9595 | 1189435.8035 | 2565853.8286 | 1189423.35
50 | 2565837.8339 | 1189454.1634 | 2565824.4927 | 1189468.3252
51 | 2565869.8514 | 1189437.4709 | 2565882.2886 | 1189448.4327
52 | 2565817.7608 | 1189393.1051 | 2565813.2267 | 1189389.4362 | 2565810.3127 | 1189387.0812
53 | 2565802.4219 | 1189380.7042 | 2565810.3127 | 1189387.0812
54 | 2565776.3043 | 1189359.5775 | 2565763.4664 | 1189349.192
55 | 2565797.3052 | 1189444.4014 | 2565824.4927 | 1189468.3252
56 | 2565843.5707 | 1189485.1139 | 2565824.4927 | 1189468.3252
57 | 2565843.5707 | 1189485.1139 | 2565847.3991 | 1189481.1343 | 2565853.8886 | 1189471.7143

## bus_geodata
| x | y | coords
0 | 2565979.2851 | 1189310.1851
1 | 2565965.1371 | 1189294.6061
2 | 2565993.9631 | 1189326.3478
3 | 2565958.1712 | 1189300.4368
4 | 2565989.9942 | 1189255.6053
5 | 2565978.8985 | 1189338.4692
6 | 2565974.8648 | 1189238.0171
7 | 2565958.5634 | 1189354.8315
8 | 2565936.5405 | 1189319.1255
9 | 2565930.9555 | 1189324.0613
10 | 2565953.7672 | 1189358.6926
11 | 2565950.6144 | 1189346.4167
12 | 2565938.1878 | 1189371.2343
13 | 2565945.4104 | 1189379.3308
14 | 2565928.4554 | 1189379.0607
15 | 2565914.9695 | 1189338.1975
16 | 2565939.6272 | 1189333.4836
17 | 2565902.2193 | 1189349.4724
18 | 2565894.1121 | 1189360.0911
19 | 2565911.7555 | 1189360.2237
20 | 2565881.0558 | 1189372.8378
21 | 2565881.3869 | 1189346.0784
22 | 2565919.6435 | 1189369.1168
23 | 2565876.8507 | 1189376.9432
24 | 2565871.2507 | 1189334.9166
25 | 2565911.2302 | 1189375.546
26 | 2565920.8534 | 1189406.9195
27 | 2565923.2785 | 1189409.8378
28 | 2565806.0636 | 1189335.8817
29 | 2565806.4648 | 1189350.9206
30 | 2565732.14 | 1189323.8547
31 | 2565743.7496 | 1189313.5937
32 | 2565724.0069 | 1189317.2723
33 | 2565746.0236 | 1189335.0811
34 | 2565757.5295 | 1189325.6497
35 | 2565741.3124 | 1189298.2216
36 | 2565678.7971 | 1189280.7025
37 | 2565862.2024 | 1189378.6279
38 | 2565885.6384 | 1189389.2996
39 | 2565835.1457 | 1189407.1724
40 | 2565814.8072 | 1189359.1428
41 | 2565817.2308 | 1189361.5316
42 | 2565812.5296 | 1189366.2722
43 | 2565805.589 | 1189359.5305
44 | 2565800.0865 | 1189378.8168
45 | 2565853.8286 | 1189423.35
46 | 2565837.8339 | 1189454.1634
47 | 2565869.8514 | 1189437.4709
48 | 2565817.7608 | 1189393.1051
49 | 2565810.3127 | 1189387.0812
50 | 2565802.4219 | 1189380.7042
51 | 2565776.3043 | 1189359.5775
52 | 2565763.4664 | 1189349.192
53 | 2565742.2639 | 1189339.0937
54 | 2565824.4927 | 1189468.3252
55 | 2565797.3052 | 1189444.4014
56 | 2565843.5707 | 1189485.1139
57 | 2565882.2886 | 1189448.4327
58 | 2565853.8886 | 1189471.7143
59 | 2565867.1353 | 1189330.3848

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98972 | -0.072019 | 0.0038726 | 0.00097057
1 | 0.98927 | -0.075207 | 0.0015121 | 0.00037897
2 | 0.99031 | -0.067854 | 0 | 0
3 | 0.98925 | -0.075338 | 0.0014143 | 0.00035445
4 | 0.98848 | -0.080838 | 0.0014471 | 0.00036269
5 | 0.99083 | -0.064169 | 0.0050525 | 0.0012663
6 | 0.98813 | -0.083323 | 0.010479 | 0.0026263
7 | 0.99173 | -0.057861 | 0 | 0
8 | 0.99545 | -0.031731 | 0.0028769 | 0.00072103
9 | 0.99548 | -0.031515 | 0 | 0
10 | 0.99196 | -0.056227 | 0.0011647 | 0.0002919
11 | 0.99169 | -0.058139 | 0.002363 | 0.00059222
12 | 0.99275 | -0.050689 | 0.0028017 | 0.00070218
13 | 0.99268 | -0.051187 | 0.0045423 | 0.0011384
14 | 0.99337 | -0.046314 | 0 | 0
15 | 0.99564 | -0.03041 | 0.004842 | 0.0012135
16 | 0.99544 | -0.031806 | 0.0022584 | 0.000566
17 | 0.99588 | -0.0287 | 0 | 0
18 | 0.99698 | -0.02103 | 0 | 0
19 | 0.9949 | -0.035531 | 0.0031378 | 0.00078641
20 | 0.99526 | -0.032962 | 0.0022768 | 0.00057062
21 | 0.99864 | -0.0094368 | 0.0030558 | 0.00076587
22 | 0.99415 | -0.040815 | 0 | 0
23 | 0.99473 | -0.036679 | 0 | 0
24 | 1 | 0 | -0.12726 | -0.031854
25 | 0.99411 | -0.041141 | 0.0030513 | 0.00076472
26 | 0.993 | -0.048915 | 0.0029127 | 0.00073
27 | 0.99298 | -0.049046 | 0.0034081 | 0.00085415
28 | 0.98623 | -0.09653 | 0.0029389 | 0.00073655
29 | 0.98632 | -0.095887 | 0.0010139 | 0.00025412
30 | 0.98384 | -0.11351 | 0 | 0
31 | 0.9836 | -0.11521 | 0 | 0
32 | 0.98372 | -0.11433 | 0.0027041 | 0.00067771
33 | 0.98431 | -0.11014 | 0 | 0
34 | 0.9834 | -0.11662 | 0.0074598 | 0.0018696
35 | 0.98352 | -0.11574 | 0.0032353 | 0.00081085
36 | 0.98331 | -0.11728 | 0.0049129 | 0.0012313
37 | 0.99337 | -0.046164 | 0.0022678 | 0.00056836
38 | 0.99467 | -0.037072 | 0.0025696 | 0.000644
39 | 0.99008 | -0.069271 | 0.0015448 | 0.00038717
40 | 0.98639 | -0.095412 | 0.0015555 | 0.00038985
41 | 0.98641 | -0.095219 | 0.0063467 | 0.0015906
42 | 0.98653 | -0.094407 | 0 | 0
43 | 0.9865 | -0.094632 | 0.0022707 | 0.00056908
44 | 0.98689 | -0.091851 | 0 | 0
45 | 0.98992 | -0.070469 | 0.00086633 | 0.00021712
46 | 0.98979 | -0.07134 | 0.0007593 | 0.0001903
47 | 0.98987 | -0.07078 | 0.00092291 | 0.0002313
48 | 0.98842 | -0.081036 | 0.0036338 | 0.0009107
49 | 0.98775 | -0.085731 | 0.0020979 | 0.00052578
50 | 0.98708 | -0.090493 | 0.0016942 | 0.00042462
51 | 0.98556 | -0.10127 | 0.005827 | 0.0014604
52 | 0.98498 | -0.10538 | 0.0035915 | 0.00090012
53 | 0.98429 | -0.11027 | 0.0022729 | 0.00056963
54 | 0.98975 | -0.071677 | 0 | 0
55 | 0.9897 | -0.071991 | 0.00085055 | 0.00021317
56 | 0.98972 | -0.071895 | 0 | 0
57 | 0.98986 | -0.070866 | 0.00050423 | 0.00012637
58 | 0.98969 | -0.072041 | 0.00084189 | 0.000211
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014872 | 0.0037286 | -0.014866 | -0.0037264 | 6.5657e-06 | 2.2549e-06 | 0.02236 | 0.02236 | 0.02236 | 0.98972 | -0.072019 | 0.98927 | -0.075207 | 8.2816
1 | -0.018745 | -0.0046992 | 0.018756 | 0.0047031 | 1.0821e-05 | 3.8811e-06 | 0.028183 | 0.028183 | 0.028183 | 0.98972 | -0.072019 | 0.99031 | -0.067854 | 10.438
2 | 0.0014143 | 0.00035434 | -0.0014143 | -0.00035445 | 2.5652e-08 | -1.0677e-07 | 0.0021273 | 0.0021273 | 0.0021273 | 0.98927 | -0.075207 | 0.98925 | -0.075338 | 0.78789
3 | 0.011939 | 0.0029931 | -0.01193 | -0.0029901 | 9.3076e-06 | 2.9865e-06 | 0.017959 | 0.017959 | 0.017959 | 0.98927 | -0.075207 | 0.98848 | -0.080838 | 6.6514
4 | -0.018756 | -0.0047031 | 0.018765 | 0.0047065 | 9.583e-06 | 3.4369e-06 | 0.028183 | 0.028182 | 0.028183 | 0.99031 | -0.067854 | 0.99083 | -0.064169 | 10.438
5 | 0.010483 | 0.0026274 | -0.010479 | -0.0026263 | 3.6051e-06 | 1.0893e-06 | 0.01578 | 0.015781 | 0.015781 | 0.98848 | -0.080838 | 0.98813 | -0.083323 | 5.8446
6 | -0.023818 | -0.0059728 | 0.023839 | 0.0059805 | 2.0839e-05 | 7.6785e-06 | 0.03577 | 0.03577 | 0.03577 | 0.99083 | -0.064169 | 0.99173 | -0.057861 | 13.2482
7 | -0.026202 | -0.0065726 | 0.026208 | 0.0065748 | 5.9389e-06 | 2.2047e-06 | 0.039316 | 0.039316 | 0.039316 | 0.99173 | -0.057861 | 0.99196 | -0.056227 | 14.5613
8 | 0.0023631 | 0.00059211 | -0.002363 | -0.00059222 | 9.069e-08 | -1.1429e-07 | 0.0035456 | 0.0035456 | 0.0035456 | 0.99173 | -0.057861 | 0.99169 | -0.058139 | 1.3132
9 | -0.0028769 | -0.00072103 | 0.002877 | 0.00072096 | 8.6016e-08 | -6.3817e-08 | 0.0043005 | 0.0043005 | 0.0043005 | 0.99545 | -0.031731 | 0.99548 | -0.031515 | 1.5928
10 | -0.0051355 | -0.0012868 | 0.0051363 | 0.0012869 | 7.8464e-07 | 2.4305e-08 | 0.0076763 | 0.0076762 | 0.0076763 | 0.99548 | -0.031515 | 0.99564 | -0.03041 | 2.8431
11 | 0.0022585 | 0.00056587 | -0.0022584 | -0.000566 | 9.0955e-08 | -1.3129e-07 | 0.0033758 | 0.0033759 | 0.0033759 | 0.99548 | -0.031515 | 0.99544 | -0.031806 | 1.2503
12 | -0.027372 | -0.0068667 | 0.027393 | 0.0068745 | 2.1043e-05 | 7.8352e-06 | 0.041063 | 0.041063 | 0.041063 | 0.99196 | -0.056227 | 0.99275 | -0.050689 | 15.2084
13 | 0.0045426 | 0.0011384 | -0.0045423 | -0.0011384 | 3.135e-07 | -1.953e-08 | 0.0068088 | 0.0068089 | 0.0068089 | 0.99275 | -0.050689 | 0.99268 | -0.051187 | 2.5218
14 | -0.034738 | -0.0087151 | 0.034759 | 0.0087231 | 2.1095e-05 | 7.952e-06 | 0.052071 | 0.052071 | 0.052071 | 0.99275 | -0.050689 | 0.99337 | -0.046314 | 19.2855
15 | 0.0063232 | 0.0015845 | -0.0063209 | -0.0015841 | 2.2763e-06 | 3.493e-07 | 0.0094717 | 0.0094719 | 0.0094719 | 0.99337 | -0.046314 | 0.993 | -0.048915 | 3.5081
16 | -0.041082 | -0.010308 | 0.041113 | 0.010319 | 3.1367e-05 | 1.1892e-05 | 0.061543 | 0.061543 | 0.061543 | 0.99337 | -0.046314 | 0.99415 | -0.040815 | 22.7936
17 | -0.0099783 | -0.0025004 | 0.0099806 | 0.0025011 | 2.3619e-06 | 6.8703e-07 | 0.014913 | 0.014913 | 0.014913 | 0.99564 | -0.03041 | 0.99588 | -0.0287 | 5.5232
18 | -0.057361 | -0.014401 | 0.057422 | 0.014424 | 6.1191e-05 | 2.3361e-05 | 0.085715 | 0.085715 | 0.085715 | 0.99588 | -0.0287 | 0.99698 | -0.02103 | 31.7465
19 | 0.04738 | 0.0119 | -0.047335 | -0.011883 | 4.4955e-05 | 1.7103e-05 | 0.070803 | 0.070803 | 0.070803 | 0.99588 | -0.0287 | 0.9949 | -0.035531 | 26.2233
20 | 0.065614 | 0.016524 | -0.065505 | -0.016482 | 0.00010926 | 4.1786e-05 | 0.097959 | 0.097959 | 0.097959 | 0.99698 | -0.02103 | 0.99526 | -0.032962 | 36.2811
21 | -0.12304 | -0.030949 | 0.12323 | 0.031025 | 0.00019923 | 7.6134e-05 | 0.18367 | 0.18367 | 0.18367 | 0.99698 | -0.02103 | 0.99864 | -0.0094368 | 34.0138
22 | 0.044197 | 0.011096 | -0.044165 | -0.011084 | 3.2419e-05 | 1.2315e-05 | 0.06611 | 0.06611 | 0.06611 | 0.9949 | -0.035531 | 0.99415 | -0.040815 | 24.4851
23 | 0.063228 | 0.015912 | -0.063195 | -0.015899 | 3.2786e-05 | 1.2534e-05 | 0.094555 | 0.094555 | 0.094555 | 0.99526 | -0.032962 | 0.99473 | -0.036679 | 35.0204
24 | -0.12629 | -0.031791 | 0.12646 | 0.031854 | 0.00016667 | 6.3707e-05 | 0.18823 | 0.18823 | 0.18823 | 0.99864 | -0.0094368 | 1 | 0 | 34.8569
25 | 0.0030514 | 0.00076464 | -0.0030513 | -0.00076472 | 1.3758e-07 | -8.413e-08 | 0.0045672 | 0.0045673 | 0.0045673 | 0.99415 | -0.040815 | 0.99411 | -0.041141 | 1.6916
26 | 0.060625 | 0.015255 | -0.060545 | -0.015225 | 8.0141e-05 | 3.0621e-05 | 0.090711 | 0.090711 | 0.090711 | 0.99473 | -0.036679 | 0.99337 | -0.046164 | 33.5967
27 | 0.0025697 | 0.00064386 | -0.0025696 | -0.000644 | 1.3969e-07 | -1.4293e-07 | 0.003844 | 0.0038441 | 0.0038441 | 0.99473 | -0.036679 | 0.99467 | -0.037072 | 1.4237
28 | 0.0034082 | 0.00085412 | -0.0034081 | -0.00085415 | 6.1757e-08 | -2.5332e-08 | 0.0051071 | 0.0051071 | 0.0051071 | 0.993 | -0.048915 | 0.99298 | -0.049046 | 1.8915
29 | -0.0029389 | -0.00073655 | 0.0029391 | 0.00073638 | 2.6143e-07 | -1.7139e-07 | 0.0044342 | 0.0044341 | 0.0044342 | 0.98623 | -0.09653 | 0.98632 | -0.095887 | 1.6423
30 | -0.0039531 | -0.0009905 | 0.0039533 | 0.00099045 | 2.5995e-07 | -4.9522e-08 | 0.0059637 | 0.0059637 | 0.0059637 | 0.98632 | -0.095887 | 0.98639 | -0.095412 | 2.2088
31 | 0.010699 | 0.0026814 | -0.010697 | -0.0026807 | 2.5279e-06 | 7.7586e-07 | 0.016182 | 0.016182 | 0.016182 | 0.98384 | -0.11351 | 0.9836 | -0.11521 | 5.9935
32 | 0.0076199 | 0.0019092 | -0.007619 | -0.001909 | 8.6715e-07 | 2.0067e-07 | 0.011525 | 0.011525 | 0.011525 | 0.98384 | -0.11351 | 0.98372 | -0.11433 | 4.2684
33 | -0.018319 | -0.0045907 | 0.018328 | 0.0045937 | 8.5386e-06 | 3.0576e-06 | 0.027707 | 0.027707 | 0.027707 | 0.98384 | -0.11351 | 0.98431 | -0.11014 | 10.2618
34 | 0.0032356 | 0.00081074 | -0.0032353 | -0.00081085 | 2.3405e-07 | -1.0867e-07 | 0.0048948 | 0.0048949 | 0.0048949 | 0.9836 | -0.11521 | 0.98352 | -0.11574 | 1.8129
35 | 0.0074612 | 0.0018699 | -0.0074598 | -0.0018696 | 1.4557e-06 | 3.2753e-07 | 0.011288 | 0.011288 | 0.011288 | 0.9836 | -0.11521 | 0.9834 | -0.11662 | 4.1806
36 | 0.0049149 | 0.0012313 | -0.0049129 | -0.0012313 | 2.0055e-06 | 3.3419e-08 | 0.0074343 | 0.0074346 | 0.0074346 | 0.98372 | -0.11433 | 0.98331 | -0.11728 | 2.7535
37 | 0.0022729 | 0.00056958 | -0.0022729 | -0.00056963 | 4.046e-08 | -5.4245e-08 | 0.003436 | 0.003436 | 0.003436 | 0.98431 | -0.11014 | 0.98429 | -0.11027 | 1.2726
38 | -0.020601 | -0.0051633 | 0.020614 | 0.0051682 | 1.3578e-05 | 4.937e-06 | 0.031143 | 0.031143 | 0.031143 | 0.98431 | -0.11014 | 0.98498 | -0.10538 | 11.5344
39 | 0.058277 | 0.014656 | -0.05809 | -0.014585 | 0.0001871 | 7.1455e-05 | 0.087314 | 0.087314 | 0.087314 | 0.99337 | -0.046164 | 0.99008 | -0.069271 | 32.3386
40 | 0.051799 | 0.013011 | -0.051714 | -0.012978 | 8.4596e-05 | 3.225e-05 | 0.07786 | 0.07786 | 0.07786 | 0.99008 | -0.069271 | 0.98842 | -0.081036 | 28.837
41 | 0.0047465 | 0.0011873 | -0.0047457 | -0.0011873 | 7.8471e-07 | -1.6007e-08 | 0.0071328 | 0.0071329 | 0.0071329 | 0.99008 | -0.069271 | 0.98992 | -0.070469 | 2.6418
42 | -0.0055089 | -0.0013803 | 0.005509 | 0.0013803 | 1.4665e-07 | 1.2964e-08 | 0.0083103 | 0.0083103 | 0.0083103 | 0.98639 | -0.095412 | 0.98641 | -0.095219 | 3.0779
43 | -0.011856 | -0.0029709 | 0.011857 | 0.0029714 | 1.3325e-06 | 4.2727e-07 | 0.017884 | 0.017884 | 0.017884 | 0.98641 | -0.095219 | 0.98653 | -0.094407 | 6.6238
44 | 0.0022707 | 0.00056899 | -0.0022707 | -0.00056908 | 7.0734e-08 | -9.617e-08 | 0.003425 | 0.0034251 | 0.0034251 | 0.98653 | -0.094407 | 0.9865 | -0.094632 | 1.2685
45 | -0.014128 | -0.0035404 | 0.014133 | 0.0035421 | 4.9997e-06 | 1.6976e-06 | 0.021309 | 0.021309 | 0.021309 | 0.98653 | -0.094407 | 0.98689 | -0.091851 | 7.8923
46 | 0.030086 | 0.0075485 | -0.030046 | -0.0075338 | 3.9285e-05 | 1.4719e-05 | 0.045366 | 0.045366 | 0.045366 | 0.98689 | -0.091851 | 0.98556 | -0.10127 | 16.8022
47 | -0.044219 | -0.011091 | 0.044227 | 0.011094 | 8.3296e-06 | 3.1653e-06 | 0.066675 | 0.066675 | 0.066675 | 0.98689 | -0.091851 | 0.98708 | -0.090493 | 24.6945
48 | 0.0024522 | 0.00061293 | -0.0024519 | -0.00061327 | 2.9427e-07 | -3.3309e-07 | 0.0036855 | 0.0036856 | 0.0036856 | 0.98992 | -0.070469 | 0.98979 | -0.07134 | 1.3651
49 | 0.0014272 | 0.00035721 | -0.0014272 | -0.00035747 | 6.133e-08 | -2.5097e-07 | 0.0021452 | 0.0021453 | 0.0021453 | 0.98992 | -0.070469 | 0.98987 | -0.07078 | 0.79455
50 | 0.0016926 | 0.00042297 | -0.0016925 | -0.00042319 | 7.8488e-08 | -2.1956e-07 | 0.0025441 | 0.0025442 | 0.0025442 | 0.98979 | -0.07134 | 0.98975 | -0.071677 | 0.94231
51 | 0.00050424 | 0.00012616 | -0.00050423 | -0.00012637 | 5.9431e-09 | -2.1083e-07 | 0.00075792 | 0.00075799 | 0.00075799 | 0.98987 | -0.07078 | 0.98986 | -0.070866 | 0.28074
52 | 0.048081 | 0.012068 | -0.048049 | -0.012056 | 3.1323e-05 | 1.1925e-05 | 0.072389 | 0.072389 | 0.072389 | 0.98842 | -0.081036 | 0.98775 | -0.085731 | 26.8109
53 | 0.045951 | 0.01153 | -0.045921 | -0.011518 | 3.0341e-05 | 1.154e-05 | 0.069229 | 0.069229 | 0.069229 | 0.98775 | -0.085731 | 0.98708 | -0.090493 | 25.6404
54 | 0.024219 | 0.0060735 | -0.024206 | -0.0060684 | 1.3779e-05 | 5.0893e-06 | 0.036568 | 0.036568 | 0.036568 | 0.98556 | -0.10127 | 0.98498 | -0.10538 | 13.5438
55 | 0.00085059 | 0.00021272 | -0.00085055 | -0.00021317 | 3.6895e-08 | -4.505e-07 | 0.0012786 | 0.0012788 | 0.0012788 | 0.98975 | -0.071677 | 0.9897 | -0.071991 | 0.47363
56 | 0.00084193 | 0.00021047 | -0.0008419 | -0.00021079 | 2.5364e-08 | -3.1634e-07 | 0.0012656 | 0.0012657 | 0.0012657 | 0.98975 | -0.071677 | 0.98972 | -0.071895 | 0.46878
57 | 0.0008419 | 0.00021079 | -0.00084189 | -0.000211 | 1.694e-08 | -2.1124e-07 | 0.0012657 | 0.0012658 | 0.0012658 | 0.98972 | -0.071895 | 0.98969 | -0.072041 | 0.46881

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12978 | 0.032486

## res_load
| p_mw | q_mvar
0 | 0.0038726 | 0.00097057
1 | 0.0015121 | 0.00037897
2 | 0.0014143 | 0.00035445
3 | 0.0014471 | 0.00036269
4 | 0.0050525 | 0.0012663
5 | 0.010479 | 0.0026263
6 | 0.0028769 | 0.00072103
7 | 0.0011647 | 0.0002919
8 | 0.002363 | 0.00059222
9 | 0.0028017 | 0.00070218
10 | 0.0045423 | 0.0011384
11 | 0.004842 | 0.0012135
12 | 0.0022584 | 0.000566
13 | 0.0031378 | 0.00078641
14 | 0.0022768 | 0.00057062
15 | 0.0030558 | 0.00076587
16 | 0.0025186 | 0.00063121
17 | 0.0030513 | 0.00076472
18 | 0.0029127 | 0.00073
19 | 0.0034081 | 0.00085415
20 | 0.0029389 | 0.00073655
21 | 0.0010139 | 0.00025412
22 | 0.0027041 | 0.00067771
23 | 0.0074598 | 0.0018696
24 | 0.0032353 | 0.00081085
25 | 0.0049129 | 0.0012313
26 | 0.0022678 | 0.00056836
27 | 0.0025696 | 0.000644
28 | 0.0015448 | 0.00038717
29 | 0.0015555 | 0.00038985
30 | 0.0063467 | 0.0015906
31 | 0.0022707 | 0.00056908
32 | 0.00086633 | 0.00021712
33 | 0.0007593 | 0.0001903
34 | 0.00092291 | 0.0002313
35 | 0.0036338 | 0.0009107
36 | 0.0020979 | 0.00052578
37 | 0.0016942 | 0.00042462
38 | 0.005827 | 0.0014604
39 | 0.0035915 | 0.00090012
40 | 0.0022729 | 0.00056963
41 | 0.00085055 | 0.00021317
42 | 0.00050423 | 0.00012637
43 | 0.00084189 | 0.000211

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1