## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-15_1_2_node_17 | 0.4 | n |  | TRUE
1 | bus_LV_2054-15_1_2_node_18 | 0.4 | n |  | TRUE
2 | bus_LV_2054-15_1_2_node_19 | 0.4 | n |  | TRUE
3 | bus_LV_2054-15_1_2_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_2054-15_1_2_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_2054-15_1_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_2054-15_1_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_2054-15_1_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2054-15_1_2_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_2054-15_1_2_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_2054-15_1_2_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_2054-15_1_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_2054-15_1_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2054-15_1_2_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_2054-15_1_2_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2054-15_1_2_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_2054-15_1_2_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_2054-15_1_2_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_2054-15_1_2_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_2054-15_1_2_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_2054-15_1_2_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_2054-15_1_2_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_2054-15_1_2_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2054-15_1_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_2054-15_1_2_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_2054-15_1_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_2054-15_1_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_2054-15_1_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_2054-15_1_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2054-15_1_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_2054-15_1_2_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_2054-15_1_2_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_2054-15_1_2_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_2054-15_1_2_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_2054-15_1_2_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_2054-15_1_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_2054-15_1_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_2054-15_1_2_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2054-15_1_2_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_2054-15_1_2_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_2054-15_1_2_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_2054-15_1_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_2054-15_1_2_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_2054-15_1_2_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_2054-15_1_2_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_2054-15_1_2_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_2054-15_1_2_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_2054-15_1_2_node_62 | 0.4 | n |  | TRUE
48 | bus_MV_454_1_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-15_1_2_load_17 | 0 | 0.00066026 | 0.00016548 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-15_1_2_load_18 | 1 | 0.00036758 | 9.2125e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-15_1_2_load_23 | 5 | 0.0030215 | 0.00075726 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-15_1_2_load_24 | 6 | 0.0039347 | 0.00098613 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-15_1_2_load_22 | 7 | 0.0010499 | 0.00026312 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-15_1_2_load_55 | 9 | 0.0017006 | 0.00042621 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-15_1_2_load_70 | 10 | 0.0031736 | 0.00079538 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-15_1_2_load_29 | 11 | 0.002301 | 0.00057669 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-15_1_2_load_30 | 12 | 0.0016255 | 0.00040739 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-15_1_2_load_31 | 13 | 0.0032059 | 0.00080347 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-15_1_2_load_32 | 14 | 0.00078716 | 0.00019728 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-15_1_2_load_33 | 15 | 0.0020476 | 0.00051319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-15_1_2_load_58 | 16 | 0.0035438 | 0.00088815 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-15_1_2_load_64 | 17 | 0.0019833 | 0.00049705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-15_1_2_load_59 | 18 | 0.0013606 | 0.00034099 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-15_1_2_load_34 | 20 | 0.0033325 | 0.00083519 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-15_1_2_load_48 | 22 | 0.00042553 | 0.00010665 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-15_1_2_load_43 | 24 | 0.00094219 | 0.00023614 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-15_1_2_load_38 | 25 | 0.031447 | 0.0078814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-15_1_2_load_39 | 26 | 0.0018937 | 0.00047461 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-15_1_2_load_40 | 27 | 0.0051498 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-15_1_2_load_41 | 28 | 0.001291 | 0.00032356 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-15_1_2_load_54 | 30 | 0.0015646 | 0.00039213 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-15_1_2_load_56 | 32 | 0.0013481 | 0.00033788 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-15_1_2_load_65 | 33 | 0.0061292 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-15_1_2_load_69 | 34 | 0.0070796 | 0.0017743 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-15_1_2_load_46 | 36 | 0.0021665 | 0.00054297 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-15_1_2_load_47 | 37 | 0.001873 | 0.00046941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-15_1_2_load_49 | 38 | 0.00096847 | 0.00024272 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2054-15_1_2_load_50 | 39 | 0.0019249 | 0.00048242 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2054-15_1_2_load_51 | 40 | 0.0039043 | 0.00097851 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2054-15_1_2_load_52 | 41 | 0.0037357 | 0.00093626 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2054-15_1_2_load_53 | 42 | 0.016638 | 0.0041699 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2054-15_1_2_load_67 | 43 | 0.0011254 | 0.00028206 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2054-15_1_2_load_68 | 44 | 0.0022666 | 0.00056806 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2054-15_1_2_load_60 | 45 | 0.0024435 | 0.00061239 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-15_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0026691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-15_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.052456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-15_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.010119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-15_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.096075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-15_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.046332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-15_1_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.010983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-15_1_2_line_6 | NAYY 4x150 SE | 4 | 9 | 0.034497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-15_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.011861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2054-15_1_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.0012283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-15_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.053718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-15_1_2_line_10 | NAYY 4x150 SE | 10 | 31 | 0.031569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-15_1_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0018105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-15_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.02187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-15_1_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0015906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2054-15_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.014482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-15_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.010063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-15_1_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.033983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-15_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.026949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-15_1_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.023615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-15_1_2_line_19 | NAYY 4x150 SE | 18 | 43 | 0.018561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2054-15_1_2_line_20 | NAYY 4x150 SE | 19 | 32 | 0.03289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2054-15_1_2_line_21 | NAYY 4x150 SE | 19 | 37 | 0.061658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2054-15_1_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.16732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2054-15_1_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.53658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-15_1_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.023923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-15_1_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.018512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-15_1_2_line_26 | NAYY 4x150 SE | 24 | 35 | 0.067481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-15_1_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.073424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-15_1_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.022907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-15_1_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0039854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-15_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.025493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-15_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.025863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-15_1_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.061228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-15_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.015586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-15_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.018998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-15_1_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.029395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-15_1_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.032725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2054-15_1_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.088777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2054-15_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0033983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2054-15_1_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.055561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2054-15_1_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.035419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2054-15_1_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.013752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2054-15_1_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.042162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2054-15_1_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.035325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2054-15_1_2_line_44 | NAYY 4x150 SE | 44 | 47 | 0.068421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2054-15_1_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.026845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2054-15_1_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.024982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-15_1_2_trafo_39 | 0.25 MVA 20/0.4 kV | 48 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2557552.0577 | 1190138.5143 | 2557552.9006 | 1190135.9817
1 | 2557575.8641 | 1190089.0736 | 2557558.3292 | 1190119.6705 | 2557552.9006 | 1190135.9817
2 | 2557581.0487 | 1190080.3764 | 2557575.8641 | 1190089.0736
3 | 2557630.2961 | 1189997.815 | 2557581.0487 | 1190080.3764
4 | 2557581.0487 | 1190080.3764 | 2557601.0541 | 1190096.9434 | 2557608.1071 | 1190114.0249 | 2557608.6944 | 1190115.8073
5 | 2557630.2961 | 1189997.815 | 2557636.1323 | 1189988.5018
6 | 2557630.2961 | 1189997.815 | 2557597.3509 | 1189987.5853
7 | 2557608.6944 | 1190115.8073 | 2557610.5776 | 1190121.5226 | 2557609.0747 | 1190127.1697
8 | 2557608.7589 | 1190128.3566 | 2557609.0747 | 1190127.1697
9 | 2557636.1323 | 1189988.5018 | 2557663.1452 | 1189945.8425 | 2557664.8902 | 1189943.1304
10 | 2557681.9717 | 1189916.5819 | 2557664.8902 | 1189943.1304
11 | 2557588.3644 | 1189708.284 | 2557589.4626 | 1189706.8445
12 | 2557588.3644 | 1189708.284 | 2557575.0984 | 1189725.6715
13 | 2557589.4626 | 1189706.8445 | 2557590.4274 | 1189705.58
14 | 2557566.1854 | 1189737.0469 | 2557566.6487 | 1189736.7463 | 2557575.0984 | 1189725.6715
15 | 2557590.4274 | 1189705.58 | 2557596.5316 | 1189697.5793
16 | 2557566.1854 | 1189737.0469 | 2557537.6767 | 1189755.5427
17 | 2557596.5316 | 1189697.5793 | 2557596.5316 | 1189697.5793 | 2557615.9913 | 1189683.3223 | 2557618.4948 | 1189682.0132
18 | 2557517.8611 | 1189768.3883 | 2557537.074 | 1189755.9337 | 2557537.6767 | 1189755.5427
19 | 2557618.4948 | 1189682.0132 | 2557619.1597 | 1189681.6656 | 2557634.8961 | 1189673.3241
20 | 2557517.8611 | 1189768.3883 | 2557530.3412 | 1189777.5045 | 2557546.0596 | 1189785.049
21 | 2557517.8611 | 1189768.3883 | 2557466.8248 | 1189802.9859
22 | 2556805.6863 | 1189642.7392 | 2556843.878 | 1189479.8388
23 | 2557297.3152 | 1189857.7265 | 2556805.6863 | 1189642.7392
24 | 2557312.4263 | 1189839.1808 | 2557297.3152 | 1189857.7265
25 | 2557312.4263 | 1189839.1808 | 2557330.554 | 1189842.9343
26 | 2557396.6345 | 1189856.6113 | 2557354.309 | 1189847.853 | 2557330.554 | 1189842.9343
27 | 2557653.2151 | 1189836.4797 | 2557606.7552 | 1189814.1816 | 2557587.0201 | 1189804.7092
28 | 2557653.2151 | 1189836.4797 | 2557673.8664 | 1189846.3912
29 | 2557587.0201 | 1189804.7092 | 2557583.4271 | 1189802.9846
30 | 2557696.8498 | 1189857.4219 | 2557673.8664 | 1189846.3912
31 | 2557560.1111 | 1189791.7935 | 2557583.4271 | 1189802.9846
32 | 2557696.8498 | 1189857.4219 | 2557689.124 | 1189898.1878 | 2557681.9717 | 1189916.5819
33 | 2557560.1111 | 1189791.7935 | 2557546.0596 | 1189785.049
34 | 2557681.9717 | 1189916.5819 | 2557663.3801 | 1189912.6738
35 | 2557681.9717 | 1189916.5819 | 2557710.7753 | 1189922.4501
36 | 2557396.6345 | 1189856.6113 | 2557428.6596 | 1189863.3444
37 | 2557396.6345 | 1189856.6113 | 2557411.1932 | 1189840.6987 | 2557466.8248 | 1189802.9859
38 | 2557428.6596 | 1189863.3444 | 2557431.9852 | 1189864.0436
39 | 2557431.9852 | 1189864.0436 | 2557436.3717 | 1189864.9658 | 2557466.4247 | 1189871.2774 | 2557486.3591 | 1189875.4671
40 | 2557521.0209 | 1189882.7522 | 2557486.3591 | 1189875.4671
41 | 2557521.0209 | 1189882.7522 | 2557534.4784 | 1189885.5806
42 | 2557575.7386 | 1189894.2525 | 2557534.4784 | 1189885.5806
43 | 2557634.8961 | 1189673.3241 | 2557666.1073 | 1189656.7799
44 | 2557726.9384 | 1189625.4598 | 2557670.6029 | 1189654.3969 | 2557666.1073 | 1189656.7799
45 | 2557751.5066 | 1189630.3553 | 2557745.2053 | 1189656.4499
46 | 2557751.5066 | 1189630.3553 | 2557726.9384 | 1189625.4598

## bus_geodata
| x | y | coords
0 | 2557552.9006 | 1190135.9817
1 | 2557552.0577 | 1190138.5143
2 | 2557575.8641 | 1190089.0736
3 | 2557581.0487 | 1190080.3764
4 | 2557630.2961 | 1189997.815
5 | 2557608.6944 | 1190115.8073
6 | 2557608.7589 | 1190128.3566
7 | 2557609.0747 | 1190127.1697
8 | 2557636.1323 | 1189988.5018
9 | 2557597.3509 | 1189987.5853
10 | 2557664.8902 | 1189943.1304
11 | 2557588.3644 | 1189708.284
12 | 2557589.4626 | 1189706.8445
13 | 2557575.0984 | 1189725.6715
14 | 2557590.4274 | 1189705.58
15 | 2557566.1854 | 1189737.0469
16 | 2557596.5316 | 1189697.5793
17 | 2557537.6767 | 1189755.5427
18 | 2557618.4948 | 1189682.0132
19 | 2557517.8611 | 1189768.3883
20 | 2556843.878 | 1189479.8388
21 | 2556805.6863 | 1189642.7392
22 | 2557297.3152 | 1189857.7265
23 | 2557312.4263 | 1189839.1808
24 | 2557330.554 | 1189842.9343
25 | 2557653.2151 | 1189836.4797
26 | 2557587.0201 | 1189804.7092
27 | 2557673.8664 | 1189846.3912
28 | 2557583.4271 | 1189802.9846
29 | 2557696.8498 | 1189857.4219
30 | 2557560.1111 | 1189791.7935
31 | 2557681.9717 | 1189916.5819
32 | 2557546.0596 | 1189785.049
33 | 2557663.3801 | 1189912.6738
34 | 2557710.7753 | 1189922.4501
35 | 2557396.6345 | 1189856.6113
36 | 2557428.6596 | 1189863.3444
37 | 2557466.8248 | 1189802.9859
38 | 2557431.9852 | 1189864.0436
39 | 2557486.3591 | 1189875.4671
40 | 2557521.0209 | 1189882.7522
41 | 2557534.4784 | 1189885.5806
42 | 2557575.7386 | 1189894.2525
43 | 2557634.8961 | 1189673.3241
44 | 2557666.1073 | 1189656.7799
45 | 2557745.2053 | 1189656.4499
46 | 2557751.5066 | 1189630.3553
47 | 2557726.9384 | 1189625.4598
48 | 2557517.8611 | 1189768.3883

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98582 | -0.099698 | 0.00066026 | 0.00016548
1 | 0.98582 | -0.099708 | 0.00036758 | 9.2125e-05
2 | 0.9859 | -0.099143 | 0 | 0
3 | 0.98591 | -0.099035 | 0 | 0
4 | 0.98717 | -0.090119 | 0 | 0
5 | 0.98538 | -0.10285 | 0.0030215 | 0.00075726
6 | 0.98529 | -0.1035 | 0.0039347 | 0.00098613
7 | 0.98529 | -0.10346 | 0.0010499 | 0.00026312
8 | 0.98734 | -0.088909 | 0 | 0
9 | 0.98708 | -0.09072 | 0.0017006 | 0.00042621
10 | 0.98817 | -0.082995 | 0.0031736 | 0.00079538
11 | 0.99053 | -0.06614 | 0.002301 | 0.00057669
12 | 0.9905 | -0.066382 | 0.0016255 | 0.00040739
13 | 0.99102 | -0.062699 | 0.0032059 | 0.00080347
14 | 0.99047 | -0.066569 | 0.00078716 | 0.00019728
15 | 0.99141 | -0.05995 | 0.0020476 | 0.00051319
16 | 0.99032 | -0.067671 | 0.0035438 | 0.00088815
17 | 0.99242 | -0.052804 | 0.0019833 | 0.00049705
18 | 0.99004 | -0.06965 | 0.0013606 | 0.00034099
19 | 0.99319 | -0.047371 | 0 | 0
20 | 0.98149 | -0.13035 | 0.0033325 | 0.00083519
21 | 0.9823 | -0.12457 | 0 | 0
22 | 0.98489 | -0.10589 | 0.00042553 | 0.00010665
23 | 0.98502 | -0.10495 | 0 | 0
24 | 0.98513 | -0.10422 | 0.00094219 | 0.00023614
25 | 0.99327 | -0.047044 | 0.031447 | 0.0078814
26 | 1 | 0 | -0.12879 | -0.032249
27 | 0.9922 | -0.054541 | 0.0051498 | 0.0012907
28 | 0.99964 | -0.0025048 | 0.001291 | 0.00032356
29 | 0.9912 | -0.061568 | 0 | 0
30 | 0.99734 | -0.018468 | 0.0015646 | 0.00039213
31 | 0.98881 | -0.0785 | 0 | 0
32 | 0.99598 | -0.027879 | 0.0013481 | 0.00033788
33 | 0.98864 | -0.079689 | 0.0061292 | 0.0015361
34 | 0.98851 | -0.080625 | 0.0070796 | 0.0017743
35 | 0.98559 | -0.10091 | 0 | 0
36 | 0.98419 | -0.1108 | 0.0021665 | 0.00054297
37 | 0.98998 | -0.069913 | 0.001873 | 0.00046941
38 | 0.98405 | -0.11175 | 0.00096847 | 0.00024272
39 | 0.98194 | -0.12679 | 0.0019249 | 0.00048242
40 | 0.98069 | -0.13571 | 0.0039043 | 0.00097851
41 | 0.98028 | -0.13862 | 0.0037357 | 0.00093626
42 | 0.97926 | -0.14591 | 0.016638 | 0.0041699
43 | 0.98988 | -0.070756 | 0.0011254 | 0.00028206
44 | 0.98964 | -0.072456 | 0.0022666 | 0.00056806
45 | 0.98922 | -0.075458 | 0.0024435 | 0.00061239
46 | 0.98931 | -0.074789 | 0 | 0
47 | 0.9894 | -0.074166 | 0 | 0
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00036758 | 9.2091e-05 | -0.00036758 | -9.2125e-05 | 5.1269e-10 | -3.3834e-08 | 0.00055482 | 0.00055484 | 0.00055484 | 0.98582 | -0.099698 | 0.98582 | -0.099708 | 0.2055
1 | -0.0010278 | -0.00025757 | 0.0010279 | 0.00025693 | 7.8773e-08 | -6.3857e-07 | 0.0015514 | 0.0015512 | 0.0015514 | 0.98582 | -0.099698 | 0.9859 | -0.099143 | 0.5746
2 | -0.0010279 | -0.00025693 | 0.0010279 | 0.00025681 | 1.5193e-08 | -1.232e-07 | 0.0015512 | 0.0015511 | 0.0015512 | 0.9859 | -0.099143 | 0.98591 | -0.099035 | 0.57452
3 | -0.0090387 | -0.0022644 | 0.0090498 | 0.0022674 | 1.1156e-05 | 3.064e-06 | 0.013642 | 0.013641 | 0.013642 | 0.98591 | -0.099035 | 0.98717 | -0.090119 | 5.0524
4 | 0.0080108 | 0.0020076 | -0.0080065 | -0.0020065 | 4.2262e-06 | 1.0349e-06 | 0.01209 | 0.012091 | 0.012091 | 0.98591 | -0.099035 | 0.98538 | -0.10285 | 4.478
5 | -0.010751 | -0.0026932 | 0.010752 | 0.0026938 | 1.7996e-06 | 5.5172e-07 | 0.016205 | 0.016205 | 0.016205 | 0.98717 | -0.090119 | 0.98734 | -0.088909 | 6.0017
6 | 0.0017007 | 0.00042582 | -0.0017006 | -0.00042621 | 1.4146e-07 | -3.8659e-07 | 0.0025635 | 0.0025636 | 0.0025636 | 0.98717 | -0.090119 | 0.98708 | -0.09072 | 0.94949
7 | 0.004985 | 0.0012493 | -0.0049846 | -0.0012492 | 4.1943e-07 | 1.0238e-08 | 0.0075278 | 0.0075279 | 0.0075279 | 0.98538 | -0.10285 | 0.98529 | -0.10346 | 2.7881
8 | -0.0039347 | -0.00098613 | 0.0039347 | 0.00098612 | 2.7064e-08 | -5.2342e-09 | 0.0059423 | 0.0059423 | 0.0059423 | 0.98529 | -0.1035 | 0.98529 | -0.10346 | 2.2009
9 | -0.010752 | -0.0026938 | 0.010761 | 0.0026965 | 8.8017e-06 | 2.6977e-06 | 0.016205 | 0.016204 | 0.016205 | 0.98734 | -0.088909 | 0.98817 | -0.082995 | 6.0017
10 | -0.013935 | -0.0034919 | 0.013943 | 0.0034948 | 8.6733e-06 | 2.9312e-06 | 0.020983 | 0.020983 | 0.020983 | 0.98817 | -0.082995 | 0.98881 | -0.0785 | 7.7716
11 | 0.01316 | 0.0032964 | -0.013159 | -0.0032962 | 4.4151e-07 | 1.4651e-07 | 0.019769 | 0.019769 | 0.019769 | 0.99053 | -0.06614 | 0.9905 | -0.066382 | 7.3217
12 | -0.015461 | -0.0038731 | 0.015468 | 0.0038756 | 7.3613e-06 | 2.5496e-06 | 0.023225 | 0.023225 | 0.023225 | 0.99053 | -0.06614 | 0.99102 | -0.062699 | 8.6019
13 | 0.011534 | 0.0028889 | -0.011534 | -0.0028888 | 2.9797e-07 | 9.4131e-08 | 0.017327 | 0.017327 | 0.017327 | 0.9905 | -0.066382 | 0.99047 | -0.066569 | 6.4172
14 | -0.018674 | -0.0046791 | 0.018681 | 0.0046816 | 7.1046e-06 | 2.5459e-06 | 0.028039 | 0.028039 | 0.028039 | 0.99102 | -0.062699 | 0.99141 | -0.05995 | 10.3847
15 | 0.010746 | 0.0026915 | -0.010745 | -0.002691 | 1.6366e-06 | 4.9997e-07 | 0.016144 | 0.016144 | 0.016144 | 0.99047 | -0.066569 | 0.99032 | -0.067671 | 5.9793
16 | -0.020729 | -0.0051948 | 0.020749 | 0.0052023 | 2.0526e-05 | 7.4559e-06 | 0.031112 | 0.031112 | 0.031112 | 0.99141 | -0.05995 | 0.99242 | -0.052804 | 11.523
17 | 0.007201 | 0.0018028 | -0.0071991 | -0.0018024 | 1.9685e-06 | 4.1046e-07 | 0.010819 | 0.010819 | 0.010819 | 0.99032 | -0.067671 | 0.99004 | -0.06965 | 4.0072
18 | -0.022733 | -0.0056993 | 0.02275 | 0.0057056 | 1.712e-05 | 6.2793e-06 | 0.034085 | 0.034085 | 0.034085 | 0.99242 | -0.052804 | 0.99319 | -0.047371 | 12.6243
19 | 0.0058385 | 0.0014614 | -0.0058376 | -0.0014613 | 8.9173e-07 | 1.0433e-07 | 0.0087746 | 0.0087746 | 0.0087746 | 0.99004 | -0.06965 | 0.98988 | -0.070756 | 3.2499
20 | -0.059091 | -0.014857 | 0.059252 | 0.014918 | 0.00016092 | 6.1465e-05 | 0.088548 | 0.088548 | 0.088548 | 0.99319 | -0.047371 | 0.99598 | -0.027879 | 32.7955
21 | 0.036341 | 0.0091511 | -0.036227 | -0.009108 | 0.00011412 | 4.3098e-05 | 0.054462 | 0.054463 | 0.054463 | 0.99319 | -0.047371 | 0.98998 | -0.069913 | 20.1714
22 | -0.0033325 | -0.00083519 | 0.0033351 | 0.0008341 | 2.6646e-06 | -1.0915e-06 | 0.0050523 | 0.0050515 | 0.0050523 | 0.98149 | -0.13035 | 0.9823 | -0.12457 | 1.8712
23 | -0.0033351 | -0.0008341 | 0.0033437 | 0.00083058 | 8.54e-06 | -3.5259e-06 | 0.0050515 | 0.0050491 | 0.0050515 | 0.9823 | -0.12457 | 0.98489 | -0.10589 | 1.8709
24 | -0.0037692 | -0.00093722 | 0.0037697 | 0.0009371 | 4.8363e-07 | -1.1846e-07 | 0.005692 | 0.0056919 | 0.005692 | 0.98489 | -0.10589 | 0.98502 | -0.10495 | 2.1081
25 | -0.0037697 | -0.0009371 | 0.00377 | 0.00093701 | 3.7424e-07 | -9.1733e-08 | 0.0056919 | 0.0056918 | 0.0056919 | 0.98502 | -0.10495 | 0.98513 | -0.10422 | 2.1081
26 | -0.0047122 | -0.0011731 | 0.0047144 | 0.0011731 | 2.1315e-06 | -3.9737e-08 | 0.007115 | 0.0071147 | 0.007115 | 0.98513 | -0.10422 | 0.98559 | -0.10091 | 2.6352
27 | -0.063877 | -0.016024 | 0.064296 | 0.016185 | 0.0004196 | 0.00016043 | 0.095699 | 0.095698 | 0.095699 | 0.99327 | -0.047044 | 1 | 0 | 35.444
28 | 0.032429 | 0.0081428 | -0.032396 | -0.0081301 | 3.3744e-05 | 1.2682e-05 | 0.048588 | 0.048588 | 0.048588 | 0.99327 | -0.047044 | 0.9922 | -0.054541 | 17.9955
29 | 0.063697 | 0.016064 | -0.063675 | -0.016055 | 2.2358e-05 | 8.5471e-06 | 0.094818 | 0.094818 | 0.094818 | 1 | 0 | 0.99964 | -0.0025048 | 35.1177
30 | 0.027246 | 0.0068395 | -0.027219 | -0.0068296 | 2.6565e-05 | 9.8883e-06 | 0.040865 | 0.040865 | 0.040865 | 0.9922 | -0.054541 | 0.9912 | -0.061568 | 15.1351
31 | 0.062384 | 0.015732 | -0.062245 | -0.015679 | 0.00013927 | 5.3227e-05 | 0.092896 | 0.092896 | 0.092896 | 0.99964 | -0.0025048 | 0.99734 | -0.018468 | 34.406
32 | 0.027219 | 0.0068296 | -0.027155 | -0.0068058 | 6.3802e-05 | 2.3752e-05 | 0.040865 | 0.040865 | 0.040865 | 0.9912 | -0.061568 | 0.98881 | -0.0785 | 15.1352
33 | 0.06068 | 0.015287 | -0.0606 | -0.015256 | 7.9766e-05 | 3.0476e-05 | 0.090562 | 0.090562 | 0.090562 | 0.99734 | -0.018468 | 0.99598 | -0.027879 | 33.5414
34 | 0.0061302 | 0.0015363 | -0.0061292 | -0.0015361 | 1.0089e-06 | 1.4438e-07 | 0.0092251 | 0.0092252 | 0.0092252 | 0.98881 | -0.0785 | 0.98864 | -0.079689 | 3.4167
35 | 0.0070817 | 0.0017747 | -0.0070796 | -0.0017743 | 2.0832e-06 | 4.2428e-07 | 0.010657 | 0.010657 | 0.010657 | 0.98881 | -0.0785 | 0.98851 | -0.080625 | 3.947
36 | 0.029492 | 0.0074098 | -0.029452 | -0.0073946 | 4.0499e-05 | 1.516e-05 | 0.044533 | 0.044533 | 0.044533 | 0.98559 | -0.10091 | 0.98419 | -0.1108 | 16.4939
37 | -0.034207 | -0.0085829 | 0.034354 | 0.0086386 | 0.00014777 | 5.5699e-05 | 0.051648 | 0.051648 | 0.051648 | 0.98559 | -0.10091 | 0.98998 | -0.069913 | 19.1289
38 | 0.027285 | 0.0068516 | -0.027282 | -0.0068503 | 3.6096e-06 | 1.3451e-06 | 0.041258 | 0.041258 | 0.041258 | 0.98419 | -0.1108 | 0.98405 | -0.11175 | 15.2807
39 | 0.026313 | 0.0066076 | -0.026258 | -0.0065872 | 5.4901e-05 | 2.0411e-05 | 0.039793 | 0.039794 | 0.039794 | 0.98405 | -0.11175 | 0.98194 | -0.12679 | 14.7384
40 | 0.024333 | 0.0061047 | -0.024303 | -0.0060936 | 3.0056e-05 | 1.1112e-05 | 0.036877 | 0.036877 | 0.036877 | 0.98194 | -0.12679 | 0.98069 | -0.13571 | 13.6581
41 | 0.020399 | 0.0051151 | -0.020391 | -0.0051121 | 8.2213e-06 | 2.9886e-06 | 0.030953 | 0.030953 | 0.030953 | 0.98069 | -0.13571 | 0.98028 | -0.13862 | 11.464
42 | 0.016655 | 0.0041759 | -0.016638 | -0.0041699 | 1.6817e-05 | 5.9369e-06 | 0.025282 | 0.025282 | 0.025282 | 0.98028 | -0.13862 | 0.97926 | -0.14591 | 9.3639
43 | 0.0047122 | 0.0011793 | -0.0047111 | -0.0011793 | 1.1058e-06 | -2.8677e-08 | 0.0070828 | 0.007083 | 0.007083 | 0.98988 | -0.070756 | 0.98964 | -0.072456 | 2.6233
44 | 0.0024445 | 0.00061124 | -0.0024439 | -0.00061189 | 5.7667e-07 | -6.5713e-07 | 0.003675 | 0.0036753 | 0.0036753 | 0.98964 | -0.072456 | 0.9894 | -0.074166 | 1.3612
45 | -0.0024435 | -0.00061239 | 0.0024437 | 0.00061213 | 2.2629e-07 | -2.5763e-07 | 0.0036755 | 0.0036754 | 0.0036755 | 0.98922 | -0.075458 | 0.98931 | -0.074789 | 1.3613
46 | -0.0024437 | -0.00061213 | 0.0024439 | 0.00061189 | 2.1058e-07 | -2.3982e-07 | 0.0036754 | 0.0036753 | 0.0036754 | 0.98931 | -0.074789 | 0.9894 | -0.074166 | 1.3613

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13069 | 0.032723

## res_load
| p_mw | q_mvar
0 | 0.00066026 | 0.00016548
1 | 0.00036758 | 9.2125e-05
2 | 0.0030215 | 0.00075726
3 | 0.0039347 | 0.00098613
4 | 0.0010499 | 0.00026312
5 | 0.0017006 | 0.00042621
6 | 0.0031736 | 0.00079538
7 | 0.002301 | 0.00057669
8 | 0.0016255 | 0.00040739
9 | 0.0032059 | 0.00080347
10 | 0.00078716 | 0.00019728
11 | 0.0020476 | 0.00051319
12 | 0.0035438 | 0.00088815
13 | 0.0019833 | 0.00049705
14 | 0.0013606 | 0.00034099
15 | 0.0033325 | 0.00083519
16 | 0.00042553 | 0.00010665
17 | 0.00094219 | 0.00023614
18 | 0.031447 | 0.0078814
19 | 0.0018937 | 0.00047461
20 | 0.0051498 | 0.0012907
21 | 0.001291 | 0.00032356
22 | 0.0015646 | 0.00039213
23 | 0.0013481 | 0.00033788
24 | 0.0061292 | 0.0015361
25 | 0.0070796 | 0.0017743
26 | 0.0021665 | 0.00054297
27 | 0.001873 | 0.00046941
28 | 0.00096847 | 0.00024272
29 | 0.0019249 | 0.00048242
30 | 0.0039043 | 0.00097851
31 | 0.0037357 | 0.00093626
32 | 0.016638 | 0.0041699
33 | 0.0011254 | 0.00028206
34 | 0.0022666 | 0.00056806
35 | 0.0024435 | 0.00061239

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1