## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2054-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2054-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2054-25_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2054-25_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2054-25_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_2054-25_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_2054-25_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_2054-25_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_2054-25_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2054-25_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2054-25_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2054-25_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2054-25_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2054-25_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2054-25_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2054-25_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_2054-25_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2054-25_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_2054-25_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2054-25_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2054-25_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2054-25_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2054-25_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2054-25_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2054-25_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_2054-25_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_2054-25_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2054-25_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2054-25_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2054-25_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2054-25_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2054-25_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2054-25_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2054-25_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2054-25_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_2054-25_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2054-25_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_MV_454_1_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-25_0_3_load_0 | 0 | 0.046734 | 0.011713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-25_0_3_load_1 | 1 | 0.014458 | 0.0036234 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-25_0_3_load_2 | 2 | 0.02847 | 0.0071352 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-25_0_3_load_3 | 3 | 0.0016891 | 0.00042333 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-25_0_3_load_4 | 4 | 0.02063 | 0.0051704 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-25_0_3_load_26 | 5 | 0.0062379 | 0.0015634 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-25_0_3_load_27 | 7 | 0.0055312 | 0.0013863 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-25_0_3_load_28 | 8 | 0.010012 | 0.0025092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-25_0_3_load_5 | 9 | 0.0020709 | 0.00051901 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-25_0_3_load_6 | 10 | 0.0048147 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-25_0_3_load_7 | 11 | 0.0018549 | 0.00046488 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-25_0_3_load_8 | 12 | 0.0063139 | 0.0015824 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-25_0_3_load_33 | 13 | 0.0032246 | 0.00080817 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-25_0_3_load_18 | 16 | 0.00070285 | 0.00017615 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-25_0_3_load_31 | 17 | 0.0051444 | 0.0012893 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-25_0_3_load_22 | 18 | 0.0030138 | 0.00075532 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-25_0_3_load_19 | 19 | 0.0013264 | 0.00033242 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-25_0_3_load_10 | 20 | 0.004099 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-25_0_3_load_38 | 25 | 0.0034624 | 0.00086776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-25_0_3_load_39 | 26 | 0.0063799 | 0.001599 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-25_0_3_load_35 | 27 | 0.0041528 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-25_0_3_load_29 | 28 | 0.014207 | 0.0035607 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-25_0_3_load_37 | 29 | 0.00070587 | 0.00017691 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-25_0_3_load_30 | 30 | 0.00072884 | 0.00018266 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-25_0_3_load_20 | 31 | 0.00096601 | 0.00024211 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-25_0_3_load_24 | 32 | 0.0012561 | 0.0003148 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-25_0_3_load_25 | 33 | 0.0012384 | 0.00031037 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-25_0_3_load_23 | 34 | 0.0018469 | 0.00046288 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-25_0_3_load_36 | 35 | 0.0013914 | 0.00034873 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2054-25_0_3_load_32 | 36 | 0.0017173 | 0.0004304 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2054-25_0_3_load_34 | 37 | 0.010768 | 0.0026987 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-25_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0042334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_2054-25_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0072399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-25_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-25_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0031347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-25_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0024075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-25_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-25_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0057026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-25_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.018078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2054-25_0_3_line_8 | NAYY 4x150 SE | 7 | 13 | 0.013458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-25_0_3_line_9 | NAYY 4x150 SE | 8 | 28 | 0.0074046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-25_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0034379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-25_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.039628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-25_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.011519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-25_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.021982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2054-25_0_3_line_14 | NAYY 4x150 SE | 13 | 17 | 0.011421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-25_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.014701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-25_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0026635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-25_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.049427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-25_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.0073764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-25_0_3_line_19 | NAYY 4x150 SE | 17 | 36 | 0.0075985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2054-25_0_3_line_20 | NAYY 4x150 SE | 18 | 34 | 0.009723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2054-25_0_3_line_21 | NAYY 4x150 SE | 19 | 31 | 0.007325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2054-25_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.014951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2054-25_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.031342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-25_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.006938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-25_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.006976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-25_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0023547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-25_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.002981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-25_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0073567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-25_0_3_line_29 | NAYY 4x150 SE | 27 | 37 | 0.0051566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-25_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0064208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-25_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.012729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-25_0_3_line_32 | NAYY 4x150 SE | 30 | 35 | 0.0076084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-25_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0043955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-25_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.00075898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-25_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0078722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-25_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.00075152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-25_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 38 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2554793.9133 | 1188967.631 | 2554795.5588 | 1188967.044 | 2554797.8689 | 1188966.1247
1 | 2554793.9133 | 1188967.631 | 2554789.2225 | 1188969.3043 | 2554787.1808 | 1188970.2724
2 | 2554797.8689 | 1188966.1247 | 2554799.916 | 1188965.3101 | 2554810.6368 | 1188961.4404
3 | 2554787.1808 | 1188970.2724 | 2554784.3483 | 1188971.6152
4 | 2554812.9013 | 1188960.623 | 2554810.6368 | 1188961.4404
5 | 2554772.3708 | 1188977.9144 | 2554776.455 | 1188975.371 | 2554784.1231 | 1188971.722 | 2554784.3483 | 1188971.6152
6 | 2554812.9013 | 1188960.623 | 2554814.2615 | 1188960.1321 | 2554818.4082 | 1188959.1714
7 | 2554772.3708 | 1188977.9144 | 2554774.9432 | 1188981.1967 | 2554781.2238 | 1188993.6055
8 | 2554831.4845 | 1188958.2452 | 2554827.2582 | 1188957.121 | 2554818.4082 | 1188959.1714
9 | 2554781.2238 | 1188993.6055 | 2554784.5677 | 1189000.2121 | 2554784.5677 | 1189000.2121
10 | 2554825.9683 | 1188994.7539 | 2554826.6188 | 1188991.3782
11 | 2554825.9683 | 1188994.7539 | 2554824.1149 | 1189004.3707 | 2554822.5427 | 1189028.418 | 2554824.8233 | 1189033.6812
12 | 2554828.6514 | 1188980.0433 | 2554828.3568 | 1188982.3599 | 2554826.6188 | 1188991.3782
13 | 2554831.4845 | 1188958.2452 | 2554830.5021 | 1188965.4899 | 2554828.6514 | 1188980.0433
14 | 2554831.4845 | 1188958.2452 | 2554832.2148 | 1188952.9479 | 2554835.6116 | 1188947.9133
15 | 2554800.8811 | 1189041.4001 | 2554803.1666 | 1189046.0965 | 2554805.1205 | 1189053.3302 | 2554806.3981 | 1189054.8547
16 | 2554800.8811 | 1189041.4001 | 2554799.9366 | 1189039.5507 | 2554799.6556 | 1189039.0355
17 | 2554806.3981 | 1189054.8547 | 2554808.9201 | 1189055.5248 | 2554820.3165 | 1189055.7499 | 2554848.8878 | 1189053.8105 | 2554855.6667 | 1189053.6148
18 | 2554796.3136 | 1189032.4612 | 2554798.5599 | 1189037.0264 | 2554799.6556 | 1189039.0355
19 | 2554835.6116 | 1188947.9133 | 2554839.8614 | 1188941.6144
20 | 2554855.6667 | 1189053.6148 | 2554862.3632 | 1189056.6325 | 2554864.2813 | 1189058.038
21 | 2554796.3136 | 1189032.4612 | 2554793.0797 | 1189025.8886
22 | 2554852.8345 | 1188923.1645 | 2554848.9471 | 1188919.4474 | 2554844.2403 | 1188911.1127
23 | 2554826.5255 | 1188885.4872 | 2554829.5807 | 1188888.0655 | 2554838.2323 | 1188900.4736 | 2554844.2403 | 1188911.1127
24 | 2554852.8345 | 1188923.1645 | 2554848.5973 | 1188928.6663
25 | 2554819.8959 | 1188883.2583 | 2554826.5255 | 1188885.4872
26 | 2554848.5973 | 1188928.6663 | 2554847.2803 | 1188930.6183
27 | 2554819.8959 | 1188883.2583 | 2554816.9627 | 1188883.7899
28 | 2554843.1658 | 1188936.7167 | 2554847.2803 | 1188930.6183
29 | 2554843.1658 | 1188936.7167 | 2554840.2817 | 1188940.9914
30 | 2554786.574 | 1189006.3114 | 2554784.5677 | 1189000.2121
31 | 2554786.574 | 1189006.3114 | 2554776.0929 | 1189013.5343
32 | 2554786.574 | 1189006.3114 | 2554787.2611 | 1189008.4184 | 2554788.9443 | 1189013.5411
33 | 2554791.6384 | 1189021.7411 | 2554792.8431 | 1189025.4077 | 2554793.0797 | 1189025.8886
34 | 2554791.6384 | 1189021.7411 | 2554791.4015 | 1189021.02
35 | 2554788.9443 | 1189013.5411 | 2554791.4015 | 1189021.02
36 | 2554839.8614 | 1188941.6144 | 2554840.2817 | 1188940.9914

## bus_geodata
| x | y | coords
0 | 2554793.9133 | 1188967.631
1 | 2554797.8689 | 1188966.1247
2 | 2554787.1808 | 1188970.2724
3 | 2554810.6368 | 1188961.4404
4 | 2554784.3483 | 1188971.6152
5 | 2554812.9013 | 1188960.623
6 | 2554772.3708 | 1188977.9144
7 | 2554818.4082 | 1188959.1714
8 | 2554781.2238 | 1188993.6055
9 | 2554825.9683 | 1188994.7539
10 | 2554826.6188 | 1188991.3782
11 | 2554824.8233 | 1189033.6812
12 | 2554828.6514 | 1188980.0433
13 | 2554831.4845 | 1188958.2452
14 | 2554800.8811 | 1189041.4001
15 | 2554806.3981 | 1189054.8547
16 | 2554799.6556 | 1189039.0355
17 | 2554835.6116 | 1188947.9133
18 | 2554855.6667 | 1189053.6148
19 | 2554796.3136 | 1189032.4612
20 | 2554844.2403 | 1188911.1127
21 | 2554852.8345 | 1188923.1645
22 | 2554826.5255 | 1188885.4872
23 | 2554848.5973 | 1188928.6663
24 | 2554819.8959 | 1188883.2583
25 | 2554847.2803 | 1188930.6183
26 | 2554816.9627 | 1188883.7899
27 | 2554843.1658 | 1188936.7167
28 | 2554784.5677 | 1189000.2121
29 | 2554776.0929 | 1189013.5343
30 | 2554786.574 | 1189006.3114
31 | 2554793.0797 | 1189025.8886
32 | 2554791.6384 | 1189021.7411
33 | 2554791.4015 | 1189021.02
34 | 2554864.2813 | 1189058.038
35 | 2554788.9443 | 1189013.5411
36 | 2554839.8614 | 1188941.6144
37 | 2554840.2817 | 1188940.9914
38 | 2554772.3708 | 1188977.9144

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9996 | -0.002816 | 0.046734 | 0.011713
1 | 1 | 0 | -0.20194 | -0.050467
2 | 0.9987 | -0.0090778 | 0.02847 | 0.0071352
3 | 0.99869 | -0.009172 | 0.0016891 | 0.00042333
4 | 0.99844 | -0.010899 | 0.02063 | 0.0051704
5 | 0.99846 | -0.010757 | 0.0062379 | 0.0015634
6 | 0.99772 | -0.015979 | 0 | 0
7 | 0.99798 | -0.014159 | 0.0055312 | 0.0013863
8 | 0.99675 | -0.022766 | 0.010012 | 0.0025092
9 | 0.9963 | -0.025926 | 0.0020709 | 0.00051901
10 | 0.99632 | -0.02579 | 0.0048147 | 0.0012067
11 | 0.99619 | -0.026666 | 0.0018549 | 0.00046488
12 | 0.99646 | -0.024777 | 0.0063139 | 0.0015824
13 | 0.99694 | -0.021451 | 0.0032246 | 0.00080817
14 | 0.99589 | -0.028844 | 0 | 0
15 | 0.99578 | -0.029565 | 0 | 0
16 | 0.9959 | -0.028714 | 0.00070285 | 0.00017615
17 | 0.99635 | -0.025552 | 0.0051444 | 0.0012893
18 | 0.99544 | -0.031985 | 0.0030138 | 0.00075532
19 | 0.99596 | -0.028301 | 0.0013264 | 0.00033242
20 | 0.99534 | -0.032639 | 0.004099 | 0.0010273
21 | 0.99557 | -0.03106 | 0 | 0
22 | 0.99506 | -0.034655 | 0 | 0
23 | 0.99567 | -0.030328 | 0 | 0
24 | 0.99499 | -0.035104 | 0 | 0
25 | 0.99571 | -0.03008 | 0.0034624 | 0.00086776
26 | 0.99497 | -0.035295 | 0.0063799 | 0.001599
27 | 0.99585 | -0.029047 | 0.0041528 | 0.0010408
28 | 0.99646 | -0.024804 | 0.014207 | 0.0035607
29 | 0.99633 | -0.025746 | 0.00070587 | 0.00017691
30 | 0.99634 | -0.025655 | 0.00072884 | 0.00018266
31 | 0.99604 | -0.027792 | 0.00096601 | 0.00024211
32 | 0.99608 | -0.027444 | 0.0012561 | 0.0003148
33 | 0.99609 | -0.027375 | 0.0012384 | 0.00031037
34 | 0.99541 | -0.032166 | 0.0018469 | 0.00046288
35 | 0.99621 | -0.026554 | 0.0013914 | 0.00034873
36 | 0.99602 | -0.027889 | 0.0017173 | 0.0004304
37 | 0.99599 | -0.028108 | 0.010768 | 0.0026987
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1334 | -0.033452 | 0.13345 | 0.033472 | 5.2087e-05 | 1.9922e-05 | 0.19858 | 0.19858 | 0.19858 | 0.9996 | -0.002816 | 1 | 0 | 36.7746
1 | 0.086662 | 0.02174 | -0.086587 | -0.021711 | 7.5195e-05 | 2.8826e-05 | 0.12901 | 0.12901 | 0.12901 | 0.9996 | -0.002816 | 0.9987 | -0.0090778 | 47.783
2 | 0.067694 | 0.016994 | -0.067608 | -0.016961 | 8.6132e-05 | 3.2949e-05 | 0.10074 | 0.10074 | 0.10074 | 1 | 0 | 0.99869 | -0.009172 | 37.3112
3 | 0.058118 | 0.014576 | -0.058103 | -0.01457 | 1.4668e-05 | 5.6005e-06 | 0.086596 | 0.086596 | 0.086596 | 0.9987 | -0.0090778 | 0.99844 | -0.010899 | 32.0725
4 | 0.065919 | 0.016538 | -0.065905 | -0.016532 | 1.4494e-05 | 5.543e-06 | 0.098223 | 0.098223 | 0.098223 | 0.99869 | -0.009172 | 0.99846 | -0.010757 | 36.3791
5 | 0.037473 | 0.0093996 | -0.037446 | -0.0093897 | 2.6379e-05 | 9.9685e-06 | 0.05585 | 0.05585 | 0.05585 | 0.99844 | -0.010899 | 0.99772 | -0.015979 | 20.6851
6 | 0.059667 | 0.014969 | -0.059638 | -0.014958 | 2.814e-05 | 1.0749e-05 | 0.088927 | 0.088927 | 0.088927 | 0.99846 | -0.010757 | 0.99798 | -0.014159 | 32.936
7 | 0.037446 | 0.0093897 | -0.037411 | -0.0093764 | 3.5186e-05 | 1.3297e-05 | 0.05585 | 0.05585 | 0.05585 | 0.99772 | -0.015979 | 0.99675 | -0.022766 | 20.6851
8 | 0.054107 | 0.013572 | -0.054053 | -0.013551 | 5.4662e-05 | 2.0848e-05 | 0.08068 | 0.08068 | 0.08068 | 0.99798 | -0.014159 | 0.99694 | -0.021451 | 29.8815
9 | 0.027399 | 0.0068672 | -0.027391 | -0.0068643 | 7.7305e-06 | 2.8768e-06 | 0.040903 | 0.040904 | 0.040904 | 0.99675 | -0.022766 | 0.99646 | -0.024804 | 15.1494
10 | -0.0039259 | -0.00098344 | 0.003926 | 0.00098342 | 7.3752e-08 | -1.6404e-08 | 0.0058634 | 0.0058634 | 0.0058634 | 0.9963 | -0.025926 | 0.99632 | -0.02579 | 2.1716
11 | 0.0018551 | 0.00046443 | -0.0018549 | -0.00046488 | 1.8981e-07 | -4.43e-07 | 0.0027705 | 0.0027706 | 0.0027706 | 0.9963 | -0.025926 | 0.99619 | -0.026666 | 1.0262
12 | -0.0087407 | -0.0021901 | 0.0087419 | 0.0021904 | 1.2249e-06 | 3.2109e-07 | 0.013054 | 0.013054 | 0.013054 | 0.99632 | -0.02579 | 0.99646 | -0.024777 | 4.8349
13 | -0.015056 | -0.0037728 | 0.015063 | 0.0037752 | 6.9332e-06 | 2.3802e-06 | 0.022483 | 0.022483 | 0.022483 | 0.99646 | -0.024777 | 0.99694 | -0.021451 | 8.3269
14 | 0.035765 | 0.0089679 | -0.035745 | -0.0089602 | 2.031e-05 | 7.6626e-06 | 0.053384 | 0.053384 | 0.053384 | 0.99694 | -0.021451 | 0.99635 | -0.025552 | 19.772
15 | 0.0048628 | 0.0012181 | -0.0048623 | -0.0012181 | 4.8426e-07 | -5.0083e-09 | 0.0072656 | 0.0072657 | 0.0072657 | 0.99589 | -0.028844 | 0.99578 | -0.029565 | 2.691
16 | -0.0048628 | -0.0012181 | 0.0048629 | 0.0012181 | 8.7738e-08 | -9.1197e-10 | 0.0072656 | 0.0072656 | 0.0072656 | 0.99589 | -0.028844 | 0.9959 | -0.028714 | 2.691
17 | 0.0048623 | 0.0012181 | -0.0048607 | -0.0012181 | 1.6282e-06 | -1.6525e-08 | 0.0072657 | 0.0072659 | 0.0072659 | 0.99578 | -0.029565 | 0.99544 | -0.031985 | 2.6911
18 | -0.0055658 | -0.0013942 | 0.0055661 | 0.0013942 | 3.183e-07 | 2.6434e-08 | 0.0083158 | 0.0083157 | 0.0083158 | 0.9959 | -0.028714 | 0.99596 | -0.028301 | 3.0799
19 | 0.030601 | 0.0076709 | -0.030591 | -0.0076672 | 9.9032e-06 | 3.71e-06 | 0.045701 | 0.045701 | 0.045701 | 0.99635 | -0.025552 | 0.99602 | -0.027889 | 16.9265
20 | 0.001847 | 0.00046277 | -0.0018469 | -0.00046288 | 4.6246e-08 | -1.0861e-07 | 0.0027608 | 0.0027609 | 0.0027609 | 0.99544 | -0.031985 | 0.99541 | -0.032166 | 1.0226
21 | -0.0068924 | -0.0017267 | 0.0068929 | 0.0017268 | 4.8467e-07 | 9.108e-08 | 0.010297 | 0.010297 | 0.010297 | 0.99596 | -0.028301 | 0.99604 | -0.027792 | 3.8138
22 | -0.010481 | -0.0026266 | 0.010483 | 0.0026273 | 2.2905e-06 | 6.8659e-07 | 0.015669 | 0.015669 | 0.015669 | 0.99534 | -0.032639 | 0.99557 | -0.03106 | 5.8034
23 | 0.0063822 | 0.0015993 | -0.0063805 | -0.001599 | 1.7805e-06 | 2.7754e-07 | 0.0095412 | 0.0095414 | 0.0095414 | 0.99534 | -0.032639 | 0.99506 | -0.034655 | 3.5338
24 | -0.010483 | -0.0026273 | 0.010485 | 0.0026276 | 1.0629e-06 | 3.1859e-07 | 0.015669 | 0.015669 | 0.015669 | 0.99557 | -0.03106 | 0.99567 | -0.030328 | 5.8033
25 | 0.0063805 | 0.001599 | -0.0063801 | -0.001599 | 3.9629e-07 | 6.1808e-08 | 0.0095414 | 0.0095414 | 0.0095414 | 0.99506 | -0.034655 | 0.99499 | -0.035104 | 3.5339
26 | -0.010485 | -0.0026276 | 0.010485 | 0.0026277 | 3.6075e-07 | 1.0812e-07 | 0.015669 | 0.015669 | 0.015669 | 0.99567 | -0.030328 | 0.99571 | -0.03008 | 5.8033
27 | 0.0063801 | 0.001599 | -0.0063799 | -0.001599 | 1.6934e-07 | 2.6416e-08 | 0.0095414 | 0.0095414 | 0.0095414 | 0.99499 | -0.035104 | 0.99497 | -0.035295 | 3.5339
28 | -0.013947 | -0.0034955 | 0.013949 | 0.0034962 | 1.9943e-06 | 6.7135e-07 | 0.020843 | 0.020843 | 0.020843 | 0.99571 | -0.03008 | 0.99585 | -0.029047 | 7.7197
29 | -0.018102 | -0.004537 | 0.018104 | 0.0045378 | 2.3541e-06 | 8.3834e-07 | 0.027048 | 0.027048 | 0.027048 | 0.99585 | -0.029047 | 0.99599 | -0.028108 | 10.0179
30 | 0.013184 | 0.0033036 | -0.013183 | -0.0033031 | 1.553e-06 | 5.1367e-07 | 0.019688 | 0.019688 | 0.019688 | 0.99646 | -0.024804 | 0.99634 | -0.025655 | 7.2918
31 | -0.00070587 | -0.00017691 | 0.00070588 | 0.00017675 | 8.827e-09 | -1.6238e-07 | 0.0010542 | 0.0010542 | 0.0010542 | 0.99633 | -0.025746 | 0.99634 | -0.025655 | 0.39045
32 | 0.011748 | 0.0029437 | -0.011746 | -0.0029432 | 1.4615e-06 | 4.6303e-07 | 0.017545 | 0.017545 | 0.017545 | 0.99634 | -0.025655 | 0.99621 | -0.026554 | 6.4982
33 | -0.0078589 | -0.0019689 | 0.0078593 | 0.0019689 | 3.7806e-07 | 8.8196e-08 | 0.011741 | 0.01174 | 0.011741 | 0.99604 | -0.027792 | 0.99608 | -0.027444 | 4.3483
34 | -0.0091154 | -0.0022837 | 0.0091155 | 0.0022838 | 8.7816e-08 | 2.3896e-08 | 0.013617 | 0.013617 | 0.013617 | 0.99608 | -0.027444 | 0.99609 | -0.027375 | 5.0433
35 | -0.010354 | -0.0025941 | 0.010355 | 0.0025945 | 1.1751e-06 | 3.4949e-07 | 0.015467 | 0.015467 | 0.015467 | 0.99609 | -0.027375 | 0.99621 | -0.026554 | 5.7285
36 | 0.028873 | 0.0072368 | -0.028872 | -0.0072365 | 8.7258e-07 | 3.2583e-07 | 0.043136 | 0.043136 | 0.043136 | 0.99602 | -0.027889 | 0.99599 | -0.028108 | 15.9762

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2164 | 0.05409

## res_load
| p_mw | q_mvar
0 | 0.046734 | 0.011713
1 | 0.014458 | 0.0036234
2 | 0.02847 | 0.0071352
3 | 0.0016891 | 0.00042333
4 | 0.02063 | 0.0051704
5 | 0.0062379 | 0.0015634
6 | 0.0055312 | 0.0013863
7 | 0.010012 | 0.0025092
8 | 0.0020709 | 0.00051901
9 | 0.0048147 | 0.0012067
10 | 0.0018549 | 0.00046488
11 | 0.0063139 | 0.0015824
12 | 0.0032246 | 0.00080817
13 | 0.00070285 | 0.00017615
14 | 0.0051444 | 0.0012893
15 | 0.0030138 | 0.00075532
16 | 0.0013264 | 0.00033242
17 | 0.004099 | 0.0010273
18 | 0.0034624 | 0.00086776
19 | 0.0063799 | 0.001599
20 | 0.0041528 | 0.0010408
21 | 0.014207 | 0.0035607
22 | 0.00070587 | 0.00017691
23 | 0.00072884 | 0.00018266
24 | 0.00096601 | 0.00024211
25 | 0.0012561 | 0.0003148
26 | 0.0012384 | 0.00031037
27 | 0.0018469 | 0.00046288
28 | 0.0013914 | 0.00034873
29 | 0.0017173 | 0.0004304
30 | 0.010768 | 0.0026987

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1