## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-28_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2054-28_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2054-28_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2054-28_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2054-28_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2054-28_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_2054-28_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2054-28_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2054-28_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2054-28_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2054-28_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2054-28_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2054-28_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2054-28_0_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_2054-28_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_2054-28_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2054-28_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_2054-28_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_2054-28_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2054-28_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_2054-28_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2054-28_0_3_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_2054-28_0_3_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_2054-28_0_3_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_2054-28_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2054-28_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_2054-28_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_2054-28_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_2054-28_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_2054-28_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2054-28_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2054-28_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2054-28_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2054-28_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2054-28_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2054-28_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2054-28_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_MV_454_1_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-28_0_3_load_0 | 0 | 0.006138 | 0.0015383 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-28_0_3_load_1 | 1 | 0.0087922 | 0.0022035 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-28_0_3_load_2 | 2 | 0.0037197 | 0.00093225 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-28_0_3_load_4 | 4 | 0.0020363 | 0.00051035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-28_0_3_load_34 | 5 | 0.0093227 | 0.0023365 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-28_0_3_load_17 | 6 | 0.0099546 | 0.0024949 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-28_0_3_load_8 | 9 | 0.0065381 | 0.0016386 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-28_0_3_load_35 | 10 | 0.0059584 | 0.0014933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-28_0_3_load_38 | 13 | 0.0079025 | 0.0019806 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-28_0_3_load_15 | 15 | 0.012978 | 0.0032525 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-28_0_3_load_37 | 17 | 0.0036629 | 0.000918 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-28_0_3_load_36 | 19 | 0.010198 | 0.0025558 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-28_0_3_load_23 | 20 | 0.027798 | 0.0069669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-28_0_3_load_6 | 21 | 0.0055483 | 0.0013905 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-28_0_3_load_7 | 22 | 0.0044427 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-28_0_3_load_9 | 23 | 0.0022267 | 0.00055805 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-28_0_3_load_14 | 24 | 0.0044691 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-28_0_3_load_27 | 25 | 0.0028904 | 0.00072439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-28_0_3_load_11 | 26 | 0.001852 | 0.00046415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-28_0_3_load_12 | 27 | 0.0066814 | 0.0016745 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-28_0_3_load_13 | 28 | 0.0051912 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-28_0_3_load_22 | 29 | 0.013502 | 0.0033839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-28_0_3_load_32 | 30 | 0.0054978 | 0.0013779 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-28_0_3_load_30 | 31 | 0.0059955 | 0.0015026 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-28_0_3_load_24 | 32 | 0.0072912 | 0.0018273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-28_0_3_load_25 | 33 | 0.010217 | 0.0025606 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-28_0_3_load_33 | 34 | 0.0024799 | 0.00062152 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-28_0_3_load_26 | 35 | 0.0060938 | 0.0015272 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-28_0_3_load_28 | 36 | 0.0023692 | 0.00059379 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-28_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00066122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-28_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-28_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-28_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-28_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0059438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-28_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0026409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-28_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.014555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2054-28_0_3_line_7 | NAYY 4x150 SE | 6 | 11 | 0.011007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2054-28_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.004609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-28_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-28_0_3_line_10 | NAYY 4x150 SE | 8 | 24 | 0.020343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-28_0_3_line_11 | NAYY 4x150 SE | 8 | 25 | 0.015228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-28_0_3_line_12 | NAYY 4x150 SE | 9 | 21 | 0.00094204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-28_0_3_line_13 | NAYY 4x150 SE | 10 | 16 | 0.01642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2054-28_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.011034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-28_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.017014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-28_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.006245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-28_0_3_line_17 | NAYY 4x150 SE | 14 | 30 | 0.02049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-28_0_3_line_18 | NAYY 4x150 SE | 14 | 31 | 0.014617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-28_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.010944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2054-28_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.013988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2054-28_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.011595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2054-28_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0061336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2054-28_0_3_line_23 | NAYY 4x150 SE | 20 | 29 | 0.01079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-28_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0010834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-28_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.011997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-28_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.0040049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-28_0_3_line_27 | NAYY 4x150 SE | 25 | 35 | 0.0066757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-28_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0062393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-28_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.001102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-28_0_3_line_30 | NAYY 4x150 SE | 29 | 32 | 0.0091048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-28_0_3_line_31 | NAYY 4x150 SE | 30 | 34 | 0.002405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-28_0_3_line_32 | NAYY 4x150 SE | 31 | 36 | 0.00024247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-28_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0012315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-28_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0083881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-28_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.00020672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-28_0_3_trafo_34 | 0.25 MVA 20/0.4 kV | 37 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2554942.0507 | 1188955.8507 | 2554941.601 | 1188955.366
1 | 2554933.1628 | 1188946.2706 | 2554941.601 | 1188955.366
2 | 2554950.4722 | 1188964.9281 | 2554942.0507 | 1188955.8507
3 | 2554933.1628 | 1188946.2706 | 2554945.7696 | 1188936.2313
4 | 2554950.4722 | 1188964.9281 | 2554955.2132 | 1188961.3431
5 | 2554945.7696 | 1188936.2313 | 2554947.8355 | 1188934.5861
6 | 2554955.2132 | 1188961.3431 | 2554966.823 | 1188952.5642
7 | 2554956.4458 | 1188927.7293 | 2554947.8355 | 1188934.5861
8 | 2554933.3944 | 1188982.0107 | 2554936.5015 | 1188985.4225
9 | 2554933.3944 | 1188982.0107 | 2554925.6468 | 1188973.5402
10 | 2554936.5015 | 1188985.4225 | 2554935.1926 | 1188986.822 | 2554925.5332 | 1189002.5146 | 2554925.5332 | 1189002.5146
11 | 2554936.5015 | 1188985.4225 | 2554945.8975 | 1188994.4343 | 2554947.5581 | 1188995.8912
12 | 2554925.011 | 1188972.8451 | 2554925.6468 | 1188973.5402
13 | 2554979.9204 | 1188942.6605 | 2554966.823 | 1188952.5642
14 | 2554956.4458 | 1188927.7293 | 2554958.093 | 1188929.7179 | 2554964.8403 | 1188924.6274
15 | 2554958.5632 | 1189027.4236 | 2554967.4447 | 1189015.7724 | 2554968.9486 | 1189013.9268
16 | 2554963.9021 | 1189010.2294 | 2554968.9486 | 1189013.9268
17 | 2554963.9021 | 1189010.2294 | 2554978.4086 | 1188995.7581
18 | 2554963.9021 | 1189010.2294 | 2554952.9141 | 1189000.5899
19 | 2554979.9204 | 1188942.6605 | 2554987.5392 | 1188950.5174
20 | 2554997.2769 | 1188960.5594 | 2554987.5392 | 1188950.5174
21 | 2555005.3486 | 1188968.8833 | 2554997.2769 | 1188960.5594
22 | 2555005.3486 | 1188968.8833 | 2555001.0062 | 1188973.2152
23 | 2555001.0062 | 1188973.2152 | 2554993.3673 | 1188980.8355
24 | 2554925.011 | 1188972.8451 | 2554924.2798 | 1188972.0457
25 | 2554924.2798 | 1188972.0457 | 2554916.5598 | 1188963.6054 | 2554916.2088 | 1188963.1709
26 | 2554925.5332 | 1189002.5146 | 2554924.0483 | 1189006.2341
27 | 2554952.5764 | 1189000.2936 | 2554947.5581 | 1188995.8912
28 | 2554921.7349 | 1189012.0287 | 2554924.0483 | 1189006.2341
29 | 2554921.3263 | 1189013.0522 | 2554921.7349 | 1189012.0287
30 | 2554986.9215 | 1188987.2658 | 2554993.3673 | 1188980.8355
31 | 2554978.4086 | 1188995.7581 | 2554980.1112 | 1188994.0596
32 | 2554952.9141 | 1189000.5899 | 2554952.7318 | 1189000.43
33 | 2554986.9215 | 1188987.2658 | 2554986.0497 | 1188988.1355
34 | 2554986.0497 | 1188988.1355 | 2554980.1112 | 1188994.0596
35 | 2554952.7318 | 1189000.43 | 2554952.5764 | 1189000.2936

## bus_geodata
| x | y | coords
0 | 2554941.601 | 1188955.366
1 | 2554942.0507 | 1188955.8507
2 | 2554933.1628 | 1188946.2706
3 | 2554950.4722 | 1188964.9281
4 | 2554945.7696 | 1188936.2313
5 | 2554955.2132 | 1188961.3431
6 | 2554947.8355 | 1188934.5861
7 | 2554933.3944 | 1188982.0107
8 | 2554936.5015 | 1188985.4225
9 | 2554925.6468 | 1188973.5402
10 | 2554966.823 | 1188952.5642
11 | 2554956.4458 | 1188927.7293
12 | 2554968.9486 | 1189013.9268
13 | 2554958.5632 | 1189027.4236
14 | 2554963.9021 | 1189010.2294
15 | 2554964.8403 | 1188924.6274
16 | 2554979.9204 | 1188942.6605
17 | 2554987.5392 | 1188950.5174
18 | 2555005.3486 | 1188968.8833
19 | 2554997.2769 | 1188960.5594
20 | 2555001.0062 | 1188973.2152
21 | 2554925.011 | 1188972.8451
22 | 2554924.2797 | 1188972.0457
23 | 2554916.2088 | 1188963.1709
24 | 2554925.5332 | 1189002.5146
25 | 2554947.5581 | 1188995.8912
26 | 2554921.7349 | 1189012.0287
27 | 2554924.0483 | 1189006.2341
28 | 2554921.3263 | 1189013.0522
29 | 2554993.3673 | 1188980.8355
30 | 2554978.4086 | 1188995.7581
31 | 2554952.9141 | 1189000.5899
32 | 2554986.9215 | 1188987.2658
33 | 2554986.0497 | 1188988.1355
34 | 2554980.1112 | 1188994.0596
35 | 2554952.5764 | 1189000.2936
36 | 2554952.7318 | 1189000.43
37 | 2554950.4722 | 1188964.9281

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99883 | -0.0082185 | 0.006138 | 0.0015383
1 | 0.99886 | -0.0079881 | 0.0087922 | 0.0022035
2 | 0.99832 | -0.011782 | 0.0037197 | 0.00093225
3 | 0.99963 | -0.0025889 | 0 | 0
4 | 0.99774 | -0.015814 | 0.0020363 | 0.00051035
5 | 1 | 0 | -0.19492 | -0.048872
6 | 0.99766 | -0.016421 | 0.0099546 | 0.0024949
7 | 0.98425 | -0.11054 | 0 | 0
8 | 0.98438 | -0.10965 | 0 | 0
9 | 0.98394 | -0.11276 | 0.0065381 | 0.0016386
10 | 0.99844 | -0.010827 | 0.0059584 | 0.0014933
11 | 0.99745 | -0.017854 | 0 | 0
12 | 0.98669 | -0.093263 | 0 | 0
13 | 0.98649 | -0.094642 | 0.0079025 | 0.0019806
14 | 0.98676 | -0.092757 | 0 | 0
15 | 0.99725 | -0.019291 | 0.012978 | 0.0032525
16 | 0.99675 | -0.022591 | 0 | 0
17 | 0.99562 | -0.030454 | 0.0036629 | 0.000918
18 | 0.99314 | -0.047829 | 0 | 0
19 | 0.99422 | -0.04027 | 0.010198 | 0.0025558
20 | 0.99257 | -0.051835 | 0.027798 | 0.0069669
21 | 0.98393 | -0.11287 | 0.0055483 | 0.0013905
22 | 0.98392 | -0.11295 | 0.0044427 | 0.0011135
23 | 0.98388 | -0.11322 | 0.0022267 | 0.00055805
24 | 0.98384 | -0.11346 | 0.0044691 | 0.0011201
25 | 0.9852 | -0.10386 | 0.0028904 | 0.00072439
26 | 0.9837 | -0.11448 | 0.001852 | 0.00046415
27 | 0.98376 | -0.11403 | 0.0066814 | 0.0016745
28 | 0.98369 | -0.11454 | 0.0051912 | 0.001301
29 | 0.99099 | -0.062915 | 0.013502 | 0.0033839
30 | 0.98861 | -0.079715 | 0.0054978 | 0.0013779
31 | 0.98561 | -0.1009 | 0.0059955 | 0.0015026
32 | 0.98984 | -0.071039 | 0.0072912 | 0.0018273
33 | 0.98969 | -0.072048 | 0.010217 | 0.0025606
34 | 0.98884 | -0.078052 | 0.0024799 | 0.00062152
35 | 0.98558 | -0.10112 | 0.0060938 | 0.0015272
36 | 0.98559 | -0.10102 | 0.0023692 | 0.00059379
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.034862 | -0.0087412 | 0.034863 | 0.0087416 | 1.113e-06 | 4.1941e-07 | 0.051937 | 0.051937 | 0.051937 | 0.99883 | -0.0082185 | 0.99886 | -0.0079881 | 19.2359
1 | 0.028724 | 0.0072028 | -0.028709 | -0.0071975 | 1.4177e-05 | 5.2904e-06 | 0.042793 | 0.042793 | 0.042793 | 0.99883 | -0.0082185 | 0.99832 | -0.011782 | 15.8492
2 | -0.043655 | -0.010945 | 0.043688 | 0.010958 | 3.268e-05 | 1.2407e-05 | 0.065035 | 0.065035 | 0.065035 | 0.99886 | -0.0079881 | 0.99963 | -0.0025889 | 24.087
3 | 0.02499 | 0.0062653 | -0.024976 | -0.0062601 | 1.3953e-05 | 5.1558e-06 | 0.037249 | 0.037249 | 0.037249 | 0.99832 | -0.011782 | 0.99774 | -0.015814 | 13.7958
4 | -0.043688 | -0.010958 | 0.043703 | 0.010963 | 1.5687e-05 | 5.9556e-06 | 0.065035 | 0.065035 | 0.065035 | 0.99963 | -0.0025889 | 1 | 0 | 24.087
5 | 0.022939 | 0.0057498 | -0.022937 | -0.0057491 | 1.9288e-06 | 7.0736e-07 | 0.034212 | 0.034212 | 0.034212 | 0.99774 | -0.015814 | 0.99766 | -0.016421 | 12.671
6 | 0.15041 | 0.037908 | -0.15019 | -0.037821 | 0.00022764 | 8.7173e-05 | 0.22389 | 0.22389 | 0.22389 | 1 | 0 | 0.99844 | -0.010827 | 41.4614
7 | 0.012983 | 0.0032542 | -0.01298 | -0.0032534 | 2.5755e-06 | 8.4687e-07 | 0.019364 | 0.019364 | 0.019364 | 0.99766 | -0.016421 | 0.99745 | -0.017854 | 7.172
8 | -0.018762 | -0.0047027 | 0.018764 | 0.0047035 | 2.3139e-06 | 8.3139e-07 | 0.028365 | 0.028365 | 0.028365 | 0.98425 | -0.11054 | 0.98438 | -0.10965 | 10.5055
9 | 0.018762 | 0.0047027 | -0.018756 | -0.0047006 | 5.7632e-06 | 2.0708e-06 | 0.028365 | 0.028365 | 0.028365 | 0.98425 | -0.11054 | 0.98394 | -0.11276 | 10.5055
10 | 0.018205 | 0.0045636 | -0.018195 | -0.0045602 | 9.6135e-06 | 3.439e-06 | 0.027519 | 0.027519 | 0.027519 | 0.98438 | -0.10965 | 0.98384 | -0.11346 | 10.1923
11 | -0.036969 | -0.0092671 | 0.036999 | 0.0092784 | 2.9676e-05 | 1.122e-05 | 0.055884 | 0.055884 | 0.055884 | 0.98438 | -0.10965 | 0.9852 | -0.10386 | 20.6978
12 | 0.012218 | 0.003062 | -0.012218 | -0.0030619 | 2.0069e-07 | 6.5225e-08 | 0.018477 | 0.018477 | 0.018477 | 0.98394 | -0.11276 | 0.98393 | -0.11287 | 6.8435
13 | 0.14423 | 0.036328 | -0.14399 | -0.036237 | 0.00023684 | 9.0664e-05 | 0.21501 | 0.21501 | 0.21501 | 0.99844 | -0.010827 | 0.99675 | -0.022591 | 39.817
14 | 0.01298 | 0.0032534 | -0.012978 | -0.0032525 | 2.5819e-06 | 8.4905e-07 | 0.019364 | 0.019364 | 0.019364 | 0.99745 | -0.017854 | 0.99725 | -0.019291 | 7.172
15 | 0.007904 | 0.0019809 | -0.0079025 | -0.0019806 | 1.5085e-06 | 3.6293e-07 | 0.01192 | 0.01192 | 0.01192 | 0.98669 | -0.093263 | 0.98649 | -0.094642 | 4.4148
16 | -0.007904 | -0.0019809 | 0.0079046 | 0.0019811 | 5.5369e-07 | 1.3319e-07 | 0.01192 | 0.01192 | 0.01192 | 0.98669 | -0.093263 | 0.98676 | -0.092757 | 4.4148
17 | -0.06233 | -0.015637 | 0.062443 | 0.01568 | 0.00011297 | 4.3189e-05 | 0.093998 | 0.093998 | 0.093998 | 0.98676 | -0.092757 | 0.98861 | -0.079715 | 34.8141
18 | 0.054425 | 0.013656 | -0.054364 | -0.013633 | 6.1447e-05 | 2.3447e-05 | 0.082078 | 0.082078 | 0.082078 | 0.98676 | -0.092757 | 0.98561 | -0.1009 | 30.3994
19 | 0.14399 | 0.036237 | -0.14383 | -0.036177 | 0.00015786 | 6.043e-05 | 0.21501 | 0.21501 | 0.21501 | 0.99675 | -0.022591 | 0.99562 | -0.030454 | 39.817
20 | 0.14017 | 0.035259 | -0.13998 | -0.035185 | 0.00019162 | 7.3335e-05 | 0.20954 | 0.20954 | 0.20954 | 0.99562 | -0.030454 | 0.99422 | -0.04027 | 38.8033
21 | -0.12964 | -0.032577 | 0.12978 | 0.03263 | 0.00013654 | 5.2214e-05 | 0.19428 | 0.19427 | 0.19428 | 0.99314 | -0.047829 | 0.99422 | -0.04027 | 35.9769
22 | 0.12964 | 0.032577 | -0.12957 | -0.03255 | 7.2228e-05 | 2.7621e-05 | 0.19428 | 0.19428 | 0.19428 | 0.99314 | -0.047829 | 0.99257 | -0.051835 | 35.9769
23 | 0.10177 | 0.025583 | -0.10162 | -0.025523 | 0.00015679 | 6.0164e-05 | 0.1526 | 0.1526 | 0.1526 | 0.99257 | -0.051835 | 0.99099 | -0.062915 | 56.5189
24 | 0.0066695 | 0.0016714 | -0.0066695 | -0.0016714 | 6.878e-08 | 1.2694e-08 | 0.010086 | 0.010086 | 0.010086 | 0.98393 | -0.11287 | 0.98392 | -0.11295 | 3.7357
25 | 0.0022267 | 0.00055793 | -0.0022267 | -0.00055805 | 8.4895e-08 | -1.1971e-07 | 0.0033675 | 0.0033676 | 0.0033676 | 0.98392 | -0.11295 | 0.98388 | -0.11322 | 1.2473
26 | 0.013726 | 0.0034401 | -0.013725 | -0.0034398 | 1.077e-06 | 3.6339e-07 | 0.02076 | 0.02076 | 0.02076 | 0.98384 | -0.11346 | 0.98376 | -0.11403 | 7.6889
27 | -0.039889 | -0.010003 | 0.039904 | 0.010008 | 1.5121e-05 | 5.7308e-06 | 0.060249 | 0.060249 | 0.060249 | 0.9852 | -0.10386 | 0.98558 | -0.10112 | 22.3146
28 | -0.0070432 | -0.0017652 | 0.0070436 | 0.0017653 | 4.4192e-07 | 9.0757e-08 | 0.010654 | 0.010654 | 0.010654 | 0.9837 | -0.11448 | 0.98376 | -0.11403 | 3.9459
29 | 0.0051912 | 0.001301 | -0.0051912 | -0.001301 | 4.2404e-08 | 2.319e-09 | 0.0078526 | 0.0078526 | 0.0078526 | 0.9837 | -0.11448 | 0.98369 | -0.11454 | 2.9084
30 | 0.088114 | 0.022139 | -0.088015 | -0.022101 | 9.9484e-05 | 3.8146e-05 | 0.13233 | 0.13233 | 0.13233 | 0.99099 | -0.062915 | 0.98984 | -0.071039 | 49.01
31 | -0.067941 | -0.017058 | 0.067956 | 0.017064 | 1.5697e-05 | 6.0065e-06 | 0.10227 | 0.10227 | 0.10227 | 0.98861 | -0.079715 | 0.98884 | -0.078052 | 37.8789
32 | 0.048369 | 0.01213 | -0.048368 | -0.01213 | 8.0687e-07 | 3.0725e-07 | 0.073027 | 0.073027 | 0.073027 | 0.98561 | -0.1009 | 0.98559 | -0.10102 | 27.0469
33 | 0.080724 | 0.020273 | -0.080712 | -0.020269 | 1.1319e-05 | 4.3376e-06 | 0.12137 | 0.12137 | 0.12137 | 0.98984 | -0.071039 | 0.98969 | -0.072048 | 44.9505
34 | 0.070495 | 0.017708 | -0.070436 | -0.017686 | 5.8817e-05 | 2.2514e-05 | 0.106 | 0.106 | 0.106 | 0.98969 | -0.072048 | 0.98884 | -0.078052 | 39.2611
35 | -0.045998 | -0.011536 | 0.045999 | 0.011536 | 6.2216e-07 | 2.3666e-07 | 0.06945 | 0.06945 | 0.06945 | 0.98558 | -0.10112 | 0.98559 | -0.10102 | 25.7221

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20424 | 0.051208

## res_load
| p_mw | q_mvar
0 | 0.006138 | 0.0015383
1 | 0.0087922 | 0.0022035
2 | 0.0037197 | 0.00093225
3 | 0.0020363 | 0.00051035
4 | 0.0093227 | 0.0023365
5 | 0.0099546 | 0.0024949
6 | 0.0065381 | 0.0016386
7 | 0.0059584 | 0.0014933
8 | 0.0079025 | 0.0019806
9 | 0.012978 | 0.0032525
10 | 0.0036629 | 0.000918
11 | 0.010198 | 0.0025558
12 | 0.027798 | 0.0069669
13 | 0.0055483 | 0.0013905
14 | 0.0044427 | 0.0011135
15 | 0.0022267 | 0.00055805
16 | 0.0044691 | 0.0011201
17 | 0.0028904 | 0.00072439
18 | 0.001852 | 0.00046415
19 | 0.0066814 | 0.0016745
20 | 0.0051912 | 0.001301
21 | 0.013502 | 0.0033839
22 | 0.0054978 | 0.0013779
23 | 0.0059955 | 0.0015026
24 | 0.0072912 | 0.0018273
25 | 0.010217 | 0.0025606
26 | 0.0024799 | 0.00062152
27 | 0.0060938 | 0.0015272
28 | 0.0023692 | 0.00059379

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1