## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-37_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_2054-37_1_2_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_2054-37_1_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2054-37_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2054-37_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2054-37_1_2_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_2054-37_1_2_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_2054-37_1_2_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_2054-37_1_2_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_2054-37_1_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_2054-37_1_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_2054-37_1_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_2054-37_1_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_2054-37_1_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_2054-37_1_2_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_2054-37_1_2_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_2054-37_1_2_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_2054-37_1_2_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_2054-37_1_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2054-37_1_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2054-37_1_2_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_2054-37_1_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_2054-37_1_2_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_2054-37_1_2_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_2054-37_1_2_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_2054-37_1_2_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_2054-37_1_2_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_2054-37_1_2_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_2054-37_1_2_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_2054-37_1_2_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_2054-37_1_2_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_2054-37_1_2_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_2054-37_1_2_node_87 | 0.4 | n |  | TRUE
33 | bus_LV_2054-37_1_2_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_2054-37_1_2_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_2054-37_1_2_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_2054-37_1_2_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_2054-37_1_2_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2054-37_1_2_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_2054-37_1_2_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_2054-37_1_2_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2054-37_1_2_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_2054-37_1_2_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_2054-37_1_2_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_2054-37_1_2_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_2054-37_1_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2054-37_1_2_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_2054-37_1_2_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_2054-37_1_2_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_2054-37_1_2_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_2054-37_1_2_node_98 | 0.4 | n |  | TRUE
51 | bus_LV_2054-37_1_2_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_2054-37_1_2_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_2054-37_1_2_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_2054-37_1_2_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_2054-37_1_2_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_2054-37_1_2_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_2054-37_1_2_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_2054-37_1_2_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_2054-37_1_2_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_2054-37_1_2_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_2054-37_1_2_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_2054-37_1_2_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_2054-37_1_2_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_2054-37_1_2_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_2054-37_1_2_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_2054-37_1_2_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_2054-37_1_2_node_105 | 0.4 | n |  | TRUE
68 | bus_LV_2054-37_1_2_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_2054-37_1_2_node_112 | 0.4 | n |  | TRUE
70 | bus_LV_2054-37_1_2_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_2054-37_1_2_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_2054-37_1_2_node_106 | 0.4 | n |  | TRUE
73 | bus_LV_2054-37_1_2_node_118 | 0.4 | n |  | TRUE
74 | bus_LV_2054-37_1_2_node_121 | 0.4 | n |  | TRUE
75 | bus_LV_2054-37_1_2_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_2054-37_1_2_node_122 | 0.4 | n |  | TRUE
77 | bus_MV_477_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-37_1_2_load_4 | 0 | 0.0035215 | 0.00088256 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-37_1_2_load_5 | 1 | 0.0033825 | 0.00084774 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-37_1_2_load_6 | 2 | 0.0024455 | 0.00061291 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-37_1_2_load_7 | 3 | 0.0010054 | 0.00025197 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-37_1_2_load_8 | 4 | 0.0046965 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-37_1_2_load_67 | 5 | 0.00098839 | 0.00024771 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-37_1_2_load_103 | 6 | 0.0033775 | 0.00084649 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-37_1_2_load_66 | 7 | 0.00062795 | 0.00015738 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-37_1_2_load_101 | 8 | 0.00057176 | 0.0001433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-37_1_2_load_23 | 9 | 0.00096663 | 0.00024226 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-37_1_2_load_24 | 10 | 0.0019876 | 0.00049815 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-37_1_2_load_26 | 12 | 0.0020368 | 0.00051048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-37_1_2_load_27 | 13 | 0.0010078 | 0.00025257 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-37_1_2_load_28 | 14 | 0.0010168 | 0.00025485 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-37_1_2_load_30 | 15 | 0.0017629 | 0.00044183 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-37_1_2_load_43 | 16 | 0.00094577 | 0.00023703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-37_1_2_load_83 | 17 | 0.0011113 | 0.00027853 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-37_1_2_load_29 | 18 | 0.0011109 | 0.00027841 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-37_1_2_load_44 | 19 | 0.0054896 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-37_1_2_load_84 | 20 | 0.0017473 | 0.00043792 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-37_1_2_load_37 | 21 | 0.0011342 | 0.00028425 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-37_1_2_load_38 | 22 | 0.0011703 | 0.0002933 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-37_1_2_load_40 | 24 | 0.0013019 | 0.00032628 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-37_1_2_load_42 | 26 | 0.0007665 | 0.0001921 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-37_1_2_load_53 | 27 | 0.003742 | 0.00093783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-37_1_2_load_90 | 28 | 0.00060264 | 0.00015103 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-37_1_2_load_94 | 29 | 0.00082539 | 0.00020686 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-37_1_2_load_87 | 32 | 0.0010338 | 0.0002591 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-37_1_2_load_95 | 33 | 0.0013523 | 0.00033893 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2054-37_1_2_load_104 | 34 | 0.0010129 | 0.00025387 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2054-37_1_2_load_49 | 35 | 0.0036372 | 0.00091157 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2054-37_1_2_load_50 | 36 | 0.0010756 | 0.00026956 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2054-37_1_2_load_51 | 37 | 0.0023694 | 0.00059382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2054-37_1_2_load_55 | 38 | 0.0011222 | 0.00028124 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2054-37_1_2_load_52 | 39 | 0.0020752 | 0.00052008 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2054-37_1_2_load_57 | 40 | 0.0012642 | 0.00031684 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2054-37_1_2_load_54 | 41 | 0.0011241 | 0.00028172 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2054-37_1_2_load_100 | 43 | 0.0014006 | 0.00035104 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2054-37_1_2_load_68 | 44 | 0.0012879 | 0.00032277 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2054-37_1_2_load_96 | 47 | 0.00095711 | 0.00023987 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2054-37_1_2_load_81 | 48 | 0.0013703 | 0.00034344 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2054-37_1_2_load_82 | 49 | 0.00089073 | 0.00022324 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2054-37_1_2_load_98 | 50 | 0.00094189 | 0.00023606 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2054-37_1_2_load_92 | 51 | 0.0011662 | 0.00029228 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2054-37_1_2_load_74 | 54 | 0.0021478 | 0.00053828 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2054-37_1_2_load_75 | 55 | 0.0027531 | 0.00068998 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2054-37_1_2_load_76 | 56 | 0.0036583 | 0.00091685 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2054-37_1_2_load_78 | 58 | 0.003353 | 0.00084035 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2054-37_1_2_load_93 | 59 | 0.001605 | 0.00040225 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2054-37_1_2_load_86 | 60 | 0.00096188 | 0.00024107 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2054-37_1_2_load_107 | 61 | 0.0018032 | 0.00045191 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2054-37_1_2_load_111 | 62 | 0.0023687 | 0.00059366 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2054-37_1_2_load_85 | 63 | 0.0012666 | 0.00031743 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2054-37_1_2_load_108 | 64 | 0.0013968 | 0.00035007 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2054-37_1_2_load_102 | 65 | 0.00092441 | 0.00023168 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2054-37_1_2_load_91 | 66 | 0.0019405 | 0.00048633 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2054-37_1_2_load_105 | 67 | 0.0014337 | 0.00035932 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2054-37_1_2_load_120 | 68 | 0.0007875 | 0.00019737 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2054-37_1_2_load_112 | 69 | 0.0024488 | 0.00061374 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2054-37_1_2_load_99 | 70 | 0.0041102 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2054-37_1_2_load_110 | 71 | 0.024108 | 0.0060421 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2054-37_1_2_load_106 | 72 | 0.0011009 | 0.0002759 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2054-37_1_2_load_118 | 73 | 0.00061803 | 0.00015489 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2054-37_1_2_load_121 | 74 | 0.00068943 | 0.00017279 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2054-37_1_2_load_123 | 75 | 0.0013363 | 0.00033491 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2054-37_1_2_load_122 | 76 | 0.0011167 | 0.00027987 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-37_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-37_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-37_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0061837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-37_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.042792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2054-37_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-37_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.024928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2054-37_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.027513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-37_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.027709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2054-37_1_2_line_8 | NAYY 4x150 SE | 7 | 44 | 0.0028964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-37_1_2_line_9 | NAYY 4x150 SE | 8 | 65 | 0.010371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2054-37_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.016455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-37_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.016222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-37_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0022938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-37_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.018297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2054-37_1_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.026108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-37_1_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.0046701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-37_1_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0010033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-37_1_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.011882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-37_1_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.015849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-37_1_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.027314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2054-37_1_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.012671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2054-37_1_2_line_21 | NAYY 4x150 SE | 19 | 31 | 0.017832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2054-37_1_2_line_22 | NAYY 4x150 SE | 20 | 66 | 0.027195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2054-37_1_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.035469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-37_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0057876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-37_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.01624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-37_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.012947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-37_1_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.017259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-37_1_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.014766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-37_1_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.02986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-37_1_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.019001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-37_1_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.021328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-37_1_2_line_32 | NAYY 4x150 SE | 29 | 33 | 0.0056971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-37_1_2_line_33 | NAYY 4x150 SE | 30 | 43 | 0.034901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-37_1_2_line_34 | NAYY 4x150 SE | 30 | 44 | 0.030467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-37_1_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.012098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-37_1_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.016587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2054-37_1_2_line_37 | NAYY 4x150 SE | 33 | 68 | 0.01681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2054-37_1_2_line_38 | NAYY 4x150 SE | 34 | 67 | 0.0030893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2054-37_1_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.045013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2054-37_1_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.03315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2054-37_1_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.083383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2054-37_1_2_line_42 | NAYY 4x150 SE | 37 | 39 | 0.03167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2054-37_1_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.02776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2054-37_1_2_line_44 | NAYY 4x150 SE | 38 | 41 | 0.014455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2054-37_1_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.013756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2054-37_1_2_line_46 | NAYY 4x150 SE | 41 | 45 | 0.010394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2054-37_1_2_line_47 | NAYY 4x150 SE | 42 | 48 | 0.018446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_2054-37_1_2_line_48 | NAYY 4x150 SE | 42 | 49 | 0.022126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_2054-37_1_2_line_49 | NAYY 4x150 SE | 43 | 53 | 0.059674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2054-37_1_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.012325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2054-37_1_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.028812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2054-37_1_2_line_52 | NAYY 4x150 SE | 47 | 52 | 0.062342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2054-37_1_2_line_53 | NAYY 4x150 SE | 48 | 63 | 0.0066692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_2054-37_1_2_line_54 | NAYY 4x150 SE | 49 | 65 | 0.019485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_2054-37_1_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.040689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2054-37_1_2_line_56 | NAYY 4x150 SE | 51 | 66 | 0.0019794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2054-37_1_2_line_57 | NAYY 4x150 SE | 52 | 70 | 0.014114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2054-37_1_2_line_58 | NAYY 4x150 SE | 53 | 71 | 0.043241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2054-37_1_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.014382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2054-37_1_2_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0092557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2054-37_1_2_line_61 | NAYY 4x150 SE | 55 | 57 | 0.022846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2054-37_1_2_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0038779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2054-37_1_2_line_63 | NAYY 4x150 SE | 57 | 59 | 0.019297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_2054-37_1_2_line_64 | NAYY 4x150 SE | 57 | 60 | 0.013458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_2054-37_1_2_line_65 | NAYY 4x150 SE | 58 | 61 | 0.017214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2054-37_1_2_line_66 | NAYY 4x150 SE | 59 | 62 | 0.03117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_2054-37_1_2_line_67 | NAYY 4x150 SE | 60 | 63 | 0.028569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_2054-37_1_2_line_68 | NAYY 4x150 SE | 61 | 64 | 0.0064679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2054-37_1_2_line_69 | NAYY 4x150 SE | 64 | 75 | 0.01623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2054-37_1_2_line_70 | NAYY 4x150 SE | 67 | 72 | 0.022645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2054-37_1_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.027586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2054-37_1_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0011189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2054-37_1_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.020369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2054-37_1_2_line_74 | NAYY 4x150 SE | 74 | 76 | 0.020218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2054-37_1_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.0030622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-37_1_2_trafo_111 | 0.25 MVA 20/0.4 kV | 77 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2560042.7929 | 1190261.0799 | 2560066.6833 | 1190270.2859
1 | 2560042.7929 | 1190261.0799 | 2560006.8757 | 1190247.2395
2 | 2560066.6833 | 1190270.2859 | 2560072.4535 | 1190272.5094
3 | 2560006.8757 | 1190247.2395 | 2559966.946 | 1190231.8528
4 | 2560089.7486 | 1190278.3821 | 2560080.8573 | 1190275.7477 | 2560072.4535 | 1190272.5094
5 | 2559943.6848 | 1190222.8893 | 2559966.946 | 1190231.8528
6 | 2560116.1277 | 1190286.198 | 2560089.7486 | 1190278.3821
7 | 2559927.3602 | 1190208.5205 | 2559924.8661 | 1190215.6377 | 2559943.6848 | 1190222.8893
8 | 2560116.1277 | 1190286.198 | 2560118.9048 | 1190287.0208
9 | 2559927.3602 | 1190208.5205 | 2559930.79 | 1190198.7334
10 | 2560165.8945 | 1190067.8418 | 2560165.5202 | 1190068.8029 | 2560159.1044 | 1190082.8292
11 | 2560152.7347 | 1190097.7484 | 2560158.8536 | 1190083.3776 | 2560159.1044 | 1190082.8292
12 | 2560166.7267 | 1190065.7043 | 2560165.8945 | 1190067.8418
13 | 2560152.7347 | 1190097.7484 | 2560155.772 | 1190106.0772 | 2560158.3827 | 1190115.1405
14 | 2560152.7347 | 1190097.7484 | 2560132.9066 | 1190099.7819 | 2560126.7327 | 1190099.6499
15 | 2560166.7267 | 1190065.7043 | 2560168.4211 | 1190061.3525
16 | 2560158.6605 | 1190116.1046 | 2560158.3827 | 1190115.1405
17 | 2560126.7327 | 1190099.6499 | 2560114.8531 | 1190099.396
18 | 2560168.4211 | 1190061.3525 | 2560174.1715 | 1190046.5833
19 | 2560158.6605 | 1190116.1046 | 2560159.9718 | 1190120.6571 | 2560168.4791 | 1190141.5698
20 | 2560102.1849 | 1190099.1252 | 2560114.8531 | 1190099.396
21 | 2560175.1982 | 1190158.087 | 2560168.4791 | 1190141.5698
22 | 2560102.1849 | 1190099.1252 | 2560074.9958 | 1190098.544
23 | 2560186.1977 | 1190216.7337 | 2560184.9373 | 1190222.2903 | 2560171.5862 | 1190248.8995
24 | 2560187.4781 | 1190211.0895 | 2560186.1977 | 1190216.7337
25 | 2560171.5862 | 1190248.8995 | 2560164.3031 | 1190263.4149
26 | 2560187.4781 | 1190211.0895 | 2560190.3372 | 1190198.4635
27 | 2560187.4781 | 1190211.0895 | 2560177.7491 | 1190211.2544 | 2560170.2328 | 1190210.8242
28 | 2560164.3031 | 1190263.4149 | 2560157.6812 | 1190276.6127
29 | 2560190.3372 | 1190198.4635 | 2560219.2015 | 1190206.1087
30 | 2560170.2328 | 1190210.8242 | 2560151.2633 | 1190209.7385
31 | 2560148.1162 | 1190295.6759 | 2560157.6812 | 1190276.6127
32 | 2560151.2633 | 1190209.7385 | 2560145.5755 | 1190209.4129
33 | 2560148.1162 | 1190295.6759 | 2560131.3396 | 1190326.2801
34 | 2560148.1162 | 1190295.6759 | 2560118.9048 | 1190287.0208
35 | 2560175.1982 | 1190158.087 | 2560163.1129 | 1190157.537
36 | 2560146.5429 | 1190156.7829 | 2560163.1129 | 1190157.537
37 | 2560128.7931 | 1190208.4524 | 2560145.5755 | 1190209.4129
38 | 2560146.5429 | 1190156.7829 | 2560143.4568 | 1190156.6424
39 | 2559835.5767 | 1190083.6029 | 2559880.1975 | 1190089.5352
40 | 2559835.5767 | 1190083.6029 | 2559802.7154 | 1190079.234
41 | 2559957.7732 | 1190120.1093 | 2559880.1975 | 1190089.5352
42 | 2559802.7154 | 1190079.234 | 2559771.3217 | 1190075.0602
43 | 2559948.9325 | 1190146.4238 | 2559957.7732 | 1190120.1093
44 | 2559962.3766 | 1190106.4074 | 2559957.7732 | 1190120.1093
45 | 2559944.5515 | 1190159.4639 | 2559948.9325 | 1190146.4238
46 | 2559965.6868 | 1190096.5546 | 2559962.3766 | 1190106.4074
47 | 2559944.5515 | 1190159.4639 | 2559961.8053 | 1190165.9881
48 | 2559944.5515 | 1190159.4639 | 2559937.2341 | 1190180.3448
49 | 2560100.8605 | 1190377.5472 | 2560118.1632 | 1190350.3168 | 2560131.3396 | 1190326.2801
50 | 2559965.6868 | 1190096.5546 | 2559978.0473 | 1190096.4717
51 | 2559978.0473 | 1190096.4717 | 2559993.4498 | 1190072.1224
52 | 2560026.7772 | 1190019.4366 | 2559993.4498 | 1190072.1224
53 | 2559968.0434 | 1190168.3469 | 2559961.8053 | 1190165.9881
54 | 2559937.2341 | 1190180.3448 | 2559930.79 | 1190198.7334
55 | 2560032.337 | 1190097.6321 | 2560073.0168 | 1190098.5017
56 | 2560074.9958 | 1190098.544 | 2560073.0168 | 1190098.5017
57 | 2560037.4617 | 1190028.6924 | 2560026.7772 | 1190019.4366
58 | 2560100.8605 | 1190377.5472 | 2560078.1743 | 1190414.3591
59 | 2560023.1224 | 1190151.1661 | 2560016.4847 | 1190155.2017 | 2560014.4349 | 1190161.4899
60 | 2560032.3686 | 1190151.5869 | 2560023.1224 | 1190151.1661 | 2560023.1224 | 1190151.1661
61 | 2560007.3541 | 1190183.2114 | 2560014.4349 | 1190161.4899
62 | 2560032.3686 | 1190151.5869 | 2560036.2424 | 1190151.7632
63 | 2560007.3541 | 1190183.2114 | 2560025.3923 | 1190190.0678
64 | 2560007.3541 | 1190183.2114 | 2559994.7655 | 1190178.4513
65 | 2560036.2424 | 1190151.7632 | 2560053.4384 | 1190152.5458
66 | 2560025.3923 | 1190190.0678 | 2560054.5288 | 1190201.1428
67 | 2559968.0434 | 1190168.3469 | 2559994.7655 | 1190178.4513
68 | 2560059.8996 | 1190152.8398 | 2560053.4384 | 1190152.5458
69 | 2560059.8996 | 1190152.8398 | 2560076.1126 | 1190153.5777
70 | 2560143.4568 | 1190156.6424 | 2560120.835 | 1190155.6129
71 | 2560128.7931 | 1190208.4524 | 2560101.2523 | 1190206.876
72 | 2560120.835 | 1190155.6129 | 2560119.7172 | 1190155.5621
73 | 2560119.7172 | 1190155.5621 | 2560099.369 | 1190154.6361
74 | 2560099.369 | 1190154.6361 | 2560079.1717 | 1190153.7169
75 | 2560079.1717 | 1190153.7169 | 2560076.1126 | 1190153.5777

## bus_geodata
| x | y | coords
0 | 2560042.7929 | 1190261.0799
1 | 2560066.6833 | 1190270.2859
2 | 2560006.8757 | 1190247.2395
3 | 2560072.4535 | 1190272.5094
4 | 2559966.946 | 1190231.8528
5 | 2560089.7486 | 1190278.3821
6 | 2559943.6848 | 1190222.8893
7 | 2560116.1277 | 1190286.198
8 | 2559927.3602 | 1190208.5205
9 | 2560159.1044 | 1190082.8292
10 | 2560165.8945 | 1190067.8418
11 | 2560152.7347 | 1190097.7484
12 | 2560166.7267 | 1190065.7043
13 | 2560158.3827 | 1190115.1405
14 | 2560126.7327 | 1190099.6499
15 | 2560168.4211 | 1190061.3525
16 | 2560158.6605 | 1190116.1046
17 | 2560114.8531 | 1190099.396
18 | 2560174.1715 | 1190046.5833
19 | 2560168.4791 | 1190141.5698
20 | 2560102.1849 | 1190099.1252
21 | 2560186.1977 | 1190216.7337
22 | 2560171.5862 | 1190248.8995
23 | 2560187.4781 | 1190211.0895
24 | 2560164.3031 | 1190263.4149
25 | 2560190.3372 | 1190198.4635
26 | 2560170.2328 | 1190210.8242
27 | 2560157.6812 | 1190276.6127
28 | 2560219.2015 | 1190206.1087
29 | 2560151.2633 | 1190209.7385
30 | 2560148.1162 | 1190295.6759
31 | 2560175.1982 | 1190158.087
32 | 2560163.1129 | 1190157.537
33 | 2560145.5755 | 1190209.4129
34 | 2560146.5429 | 1190156.7829
35 | 2559835.5767 | 1190083.6029
36 | 2559880.1975 | 1190089.5352
37 | 2559802.7154 | 1190079.234
38 | 2559957.7732 | 1190120.1093
39 | 2559771.3217 | 1190075.0602
40 | 2559948.9325 | 1190146.4238
41 | 2559962.3766 | 1190106.4074
42 | 2559944.5515 | 1190159.4639
43 | 2560131.3396 | 1190326.2801
44 | 2560118.9048 | 1190287.0208
45 | 2559965.6868 | 1190096.5546
46 | 2559978.0473 | 1190096.4717
47 | 2559993.4498 | 1190072.1224
48 | 2559961.8053 | 1190165.9881
49 | 2559937.2341 | 1190180.3448
50 | 2560032.337 | 1190097.6321
51 | 2560073.0168 | 1190098.5017
52 | 2560026.7772 | 1190019.4366
53 | 2560100.8605 | 1190377.5472
54 | 2560023.1224 | 1190151.1661
55 | 2560014.4349 | 1190161.4899
56 | 2560032.3686 | 1190151.5869
57 | 2560007.3541 | 1190183.2114
58 | 2560036.2424 | 1190151.7632
59 | 2560025.3923 | 1190190.0678
60 | 2559994.7655 | 1190178.4513
61 | 2560053.4384 | 1190152.5458
62 | 2560054.5288 | 1190201.1428
63 | 2559968.0434 | 1190168.3469
64 | 2560059.8996 | 1190152.8398
65 | 2559930.79 | 1190198.7334
66 | 2560074.9958 | 1190098.544
67 | 2560143.4568 | 1190156.6424
68 | 2560128.7931 | 1190208.4524
69 | 2560101.2523 | 1190206.876
70 | 2560037.4617 | 1190028.6924
71 | 2560078.1743 | 1190414.3591
72 | 2560120.835 | 1190155.6129
73 | 2560119.7172 | 1190155.5621
74 | 2560099.369 | 1190154.636
75 | 2560076.1126 | 1190153.5777
76 | 2560079.1717 | 1190153.7169
77 | 2560007.3541 | 1190183.2114

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98193 | -0.12612 | 0.0035215 | 0.00088256
1 | 0.98017 | -0.13859 | 0.0033825 | 0.00084774
2 | 0.98477 | -0.10606 | 0.0024455 | 0.00061291
3 | 0.97977 | -0.14139 | 0.0010054 | 0.00025197
4 | 0.98643 | -0.094418 | 0.0046965 | 0.0011771
5 | 0.97863 | -0.1495 | 0.00098839 | 0.00024771
6 | 0.98748 | -0.087055 | 0.0033775 | 0.00084649
7 | 0.97696 | -0.16144 | 0.00062795 | 0.00015738
8 | 0.98871 | -0.078411 | 0.00057176 | 0.0001433
9 | 0.98424 | -0.11052 | 0.00096663 | 0.00024226
10 | 0.98407 | -0.11169 | 0.0019876 | 0.00049815
11 | 0.98442 | -0.10921 | 0 | 0
12 | 0.98406 | -0.11181 | 0.0020368 | 0.00051048
13 | 0.98484 | -0.10623 | 0.0010078 | 0.00025257
14 | 0.98412 | -0.11134 | 0.0010168 | 0.00025485
15 | 0.98404 | -0.11195 | 0.0017629 | 0.00044183
16 | 0.98487 | -0.10606 | 0.00094577 | 0.00023703
17 | 0.984 | -0.11219 | 0.0011113 | 0.00027853
18 | 0.98401 | -0.11213 | 0.0011109 | 0.00027841
19 | 0.98557 | -0.10107 | 0.0054896 | 0.0013758
20 | 0.9839 | -0.11295 | 0.0017473 | 0.00043792
21 | 0.97372 | -0.18465 | 0.0011342 | 0.00028425
22 | 0.97413 | -0.18169 | 0.0011703 | 0.0002933
23 | 0.97366 | -0.18506 | 0 | 0
24 | 0.97434 | -0.18013 | 0.0013019 | 0.00032628
25 | 0.97365 | -0.18515 | 0 | 0
26 | 0.9735 | -0.18619 | 0.0007665 | 0.0001921
27 | 0.97457 | -0.17852 | 0.003742 | 0.00093783
28 | 0.97362 | -0.18534 | 0.00060264 | 0.00015103
29 | 0.97335 | -0.18727 | 0.00082539 | 0.00020686
30 | 0.97501 | -0.17535 | 0 | 0
31 | 0.98617 | -0.096812 | 0 | 0
32 | 0.98657 | -0.093926 | 0.0010338 | 0.0002591
33 | 0.97331 | -0.18755 | 0.0013523 | 0.00033893
34 | 0.98716 | -0.089798 | 0.0010129 | 0.00025387
35 | 0.98846 | -0.080463 | 0.0036372 | 0.00091157
36 | 0.98898 | -0.076745 | 0.0010756 | 0.00026956
37 | 0.98824 | -0.08197 | 0.0023694 | 0.00059382
38 | 0.99008 | -0.06895 | 0.0011222 | 0.00028124
39 | 0.98815 | -0.082642 | 0.0020752 | 0.00052008
40 | 0.99074 | -0.064288 | 0.0012642 | 0.00031684
41 | 0.98995 | -0.069863 | 0.0011241 | 0.00028172
42 | 0.99109 | -0.061804 | 0 | 0
43 | 0.9737 | -0.18471 | 0.0014006 | 0.00035104
44 | 0.97678 | -0.16268 | 0.0012879 | 0.00032277
45 | 0.98988 | -0.070401 | 0 | 0
46 | 0.98979 | -0.071038 | 0 | 0
47 | 0.98958 | -0.072528 | 0.00095711 | 0.00023987
48 | 0.99218 | -0.054202 | 0.0013703 | 0.00034344
49 | 0.99007 | -0.068941 | 0.00089073 | 0.00022324
50 | 0.98368 | -0.11452 | 0.00094189 | 0.00023606
51 | 0.98373 | -0.11413 | 0.0011662 | 0.00029228
52 | 0.98921 | -0.075144 | 0 | 0
53 | 0.97159 | -0.19989 | 0 | 0
54 | 0.9927 | -0.050716 | 0.0021478 | 0.00053828
55 | 0.99361 | -0.044317 | 0.0027531 | 0.00068998
56 | 0.99214 | -0.054638 | 0.0036583 | 0.00091685
57 | 0.99515 | -0.033542 | 0 | 0
58 | 0.99193 | -0.056139 | 0.003353 | 0.00084035
59 | 0.99699 | -0.020775 | 0.001605 | 0.00040225
60 | 0.99432 | -0.039299 | 0.00096188 | 0.00024107
61 | 0.99106 | -0.062222 | 0.0018032 | 0.00045191
62 | 1 | 0 | -0.13608 | -0.034188
63 | 0.99258 | -0.051411 | 0.0012666 | 0.00031743
64 | 0.99076 | -0.064392 | 0.0013968 | 0.00035007
65 | 0.98918 | -0.07515 | 0.00092441 | 0.00023168
66 | 0.98374 | -0.11409 | 0.0019405 | 0.00048633
67 | 0.98727 | -0.088997 | 0.0014337 | 0.00035932
68 | 0.97323 | -0.18812 | 0.0007875 | 0.00019737
69 | 0.97314 | -0.18883 | 0.0024488 | 0.00061374
70 | 0.98912 | -0.075735 | 0.0041102 | 0.0010301
71 | 0.97006 | -0.21093 | 0.024108 | 0.0060421
72 | 0.98815 | -0.082802 | 0.0011009 | 0.0002759
73 | 0.98819 | -0.082484 | 0.00061803 | 0.00015489
74 | 0.98903 | -0.076564 | 0.00068943 | 0.00017279
75 | 0.99001 | -0.069612 | 0.0013363 | 0.00033491
76 | 0.98988 | -0.070556 | 0.0011167 | 0.00027987
77 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.047365 | 0.011923 | -0.047282 | -0.011891 | 8.235e-05 | 3.135e-05 | 0.071795 | 0.071795 | 0.071795 | 0.98193 | -0.12612 | 0.98017 | -0.13859 | 26.5909
1 | -0.050886 | -0.012805 | 0.051029 | 0.01286 | 0.00014289 | 5.4471e-05 | 0.077132 | 0.077132 | 0.077132 | 0.98193 | -0.12612 | 0.98477 | -0.10606 | 28.5673
2 | 0.0439 | 0.011044 | -0.043883 | -0.011037 | 1.7146e-05 | 6.5168e-06 | 0.06666 | 0.06666 | 0.06666 | 0.98017 | -0.13859 | 0.97977 | -0.14139 | 24.689
3 | -0.053475 | -0.013473 | 0.053562 | 0.013505 | 8.7221e-05 | 3.2456e-05 | 0.080827 | 0.080826 | 0.080827 | 0.98477 | -0.10606 | 0.98643 | -0.094418 | 14.9679
4 | 0.042877 | 0.010785 | -0.042829 | -0.010767 | 4.839e-05 | 1.8382e-05 | 0.065133 | 0.065134 | 0.065134 | 0.97977 | -0.14139 | 0.97863 | -0.1495 | 24.1235
5 | -0.058258 | -0.014682 | 0.058319 | 0.014705 | 6.0108e-05 | 2.2481e-05 | 0.087911 | 0.087911 | 0.087911 | 0.98643 | -0.094418 | 0.98748 | -0.087055 | 16.2798
6 | 0.041841 | 0.010519 | -0.041771 | -0.010493 | 6.9511e-05 | 2.639e-05 | 0.063631 | 0.063631 | 0.063631 | 0.97863 | -0.1495 | 0.97696 | -0.16144 | 23.567
7 | -0.061696 | -0.015551 | 0.061771 | 0.015579 | 7.4773e-05 | 2.8049e-05 | 0.093 | 0.093 | 0.093 | 0.98748 | -0.087055 | 0.98871 | -0.078411 | 17.2223
8 | 0.041143 | 0.010335 | -0.041136 | -0.010333 | 7.0994e-06 | 2.6943e-06 | 0.062674 | 0.062674 | 0.062674 | 0.97696 | -0.16144 | 0.97678 | -0.16268 | 23.2127
9 | -0.062343 | -0.015723 | 0.062371 | 0.015733 | 2.8505e-05 | 1.0697e-05 | 0.093861 | 0.09386 | 0.093861 | 0.98871 | -0.078411 | 0.98918 | -0.07515 | 17.3816
10 | 0.0068995 | 0.0017288 | -0.0068984 | -0.0017286 | 1.1172e-06 | 2.206e-07 | 0.010431 | 0.010431 | 0.010431 | 0.98424 | -0.11052 | 0.98407 | -0.11169 | 3.8633
11 | -0.0078661 | -0.0019711 | 0.0078676 | 0.0019715 | 1.4316e-06 | 3.4441e-07 | 0.011892 | 0.011892 | 0.011892 | 0.98424 | -0.11052 | 0.98442 | -0.10921 | 4.4045
12 | 0.0049108 | 0.0012305 | -0.0049107 | -0.0012305 | 7.8919e-08 | 1.2122e-09 | 0.0074255 | 0.0074255 | 0.0074255 | 0.98407 | -0.11169 | 0.98406 | -0.11181 | 2.7502
13 | -0.015796 | -0.0039576 | 0.015803 | 0.0039599 | 6.5088e-06 | 2.2707e-06 | 0.023876 | 0.023876 | 0.023876 | 0.98442 | -0.10921 | 0.98484 | -0.10623 | 8.8431
14 | 0.0079285 | 0.0019861 | -0.0079262 | -0.0019856 | 2.3397e-06 | 5.6808e-07 | 0.011984 | 0.011984 | 0.011984 | 0.98442 | -0.10921 | 0.98412 | -0.11134 | 4.4386
15 | 0.0028739 | 0.00072001 | -0.0028738 | -0.00072004 | 5.5029e-08 | -3.8164e-08 | 0.0043455 | 0.0043456 | 0.0043456 | 0.98406 | -0.11181 | 0.98404 | -0.11195 | 1.6095
16 | -0.01681 | -0.0042124 | 0.016811 | 0.0042126 | 4.0389e-07 | 1.4257e-07 | 0.025399 | 0.025399 | 0.025399 | 0.98484 | -0.10623 | 0.98487 | -0.10606 | 9.407
17 | 0.0069093 | 0.0017307 | -0.0069085 | -0.0017306 | 8.0919e-07 | 1.6027e-07 | 0.010447 | 0.010447 | 0.010447 | 0.98412 | -0.11134 | 0.984 | -0.11219 | 3.8692
18 | 0.0011109 | 0.00027822 | -0.0011109 | -0.00027841 | 2.7906e-08 | -1.9061e-07 | 0.0016798 | 0.0016798 | 0.0016798 | 0.98404 | -0.11195 | 0.98401 | -0.11213 | 0.62216
19 | -0.017757 | -0.0044496 | 0.017769 | 0.004454 | 1.2267e-05 | 4.3703e-06 | 0.026828 | 0.026828 | 0.026828 | 0.98487 | -0.10606 | 0.98557 | -0.10107 | 9.9362
20 | 0.0057972 | 0.001452 | -0.0057966 | -0.001452 | 6.0762e-07 | 7.2755e-08 | 0.0087662 | 0.0087663 | 0.0087663 | 0.984 | -0.11219 | 0.9839 | -0.11295 | 3.2468
21 | -0.023258 | -0.0058298 | 0.023272 | 0.0058349 | 1.3721e-05 | 5.0499e-06 | 0.035116 | 0.035116 | 0.035116 | 0.98557 | -0.10107 | 0.98617 | -0.096812 | 13.0059
22 | 0.0040493 | 0.0010141 | -0.0040486 | -0.0010142 | 6.3638e-07 | -1.0057e-07 | 0.0061237 | 0.0061238 | 0.0061238 | 0.9839 | -0.11295 | 0.98374 | -0.11409 | 2.2681
23 | -0.0079202 | -0.0019837 | 0.0079235 | 0.0019845 | 3.242e-06 | 8.0556e-07 | 0.012103 | 0.012103 | 0.012103 | 0.97372 | -0.18465 | 0.97413 | -0.18169 | 4.4826
24 | 0.0067861 | 0.0016995 | -0.0067857 | -0.0016994 | 3.8836e-07 | 7.7382e-08 | 0.01037 | 0.01037 | 0.01037 | 0.97372 | -0.18465 | 0.97366 | -0.18506 | 3.8407
25 | -0.0090938 | -0.0022778 | 0.0090957 | 0.0022784 | 1.9553e-06 | 5.4982e-07 | 0.013891 | 0.013891 | 0.013891 | 0.97413 | -0.18169 | 0.97434 | -0.18013 | 5.1447
26 | 0.00060266 | 0.00015051 | -0.00060265 | -0.00015067 | 6.8509e-09 | -1.5839e-07 | 0.00092084 | 0.00092089 | 0.00092089 | 0.97366 | -0.18506 | 0.97365 | -0.18515 | 0.34107
27 | 0.006183 | 0.0015489 | -0.0061821 | -0.0015487 | 9.6157e-07 | 1.5521e-07 | 0.0094491 | 0.0094491 | 0.0094491 | 0.97366 | -0.18506 | 0.9735 | -0.18619 | 3.4997
28 | -0.010398 | -0.0026046 | 0.0104 | 0.0026053 | 2.3231e-06 | 7.0956e-07 | 0.015879 | 0.015879 | 0.015879 | 0.97434 | -0.18013 | 0.97457 | -0.17852 | 5.881
29 | 0.00060265 | 0.00015067 | -0.00060264 | -0.00015103 | 1.5803e-08 | -3.6527e-07 | 0.00092089 | 0.00092103 | 0.00092103 | 0.97365 | -0.18515 | 0.97362 | -0.18534 | 0.34112
30 | 0.0054156 | 0.0013566 | -0.0054148 | -0.0013565 | 8.1238e-07 | 7.6251e-08 | 0.0082775 | 0.0082776 | 0.0082776 | 0.9735 | -0.18619 | 0.97335 | -0.18727 | 3.0658
31 | -0.014142 | -0.0035432 | 0.014148 | 0.0035453 | 6.2048e-06 | 2.1206e-06 | 0.021592 | 0.021592 | 0.021592 | 0.97457 | -0.17852 | 0.97501 | -0.17535 | 7.9971
32 | 0.0045894 | 0.0011497 | -0.0045892 | -0.0011497 | 1.7498e-07 | -3.5077e-09 | 0.0070158 | 0.0070158 | 0.0070158 | 0.97335 | -0.18727 | 0.97331 | -0.18755 | 2.5985
33 | 0.02563 | 0.006438 | -0.025597 | -0.0064256 | 3.333e-05 | 1.2384e-05 | 0.039121 | 0.039121 | 0.039121 | 0.97501 | -0.17535 | 0.9737 | -0.18471 | 14.4892
34 | -0.039778 | -0.0099833 | 0.039848 | 0.01001 | 7.0076e-05 | 2.6571e-05 | 0.060713 | 0.060712 | 0.060713 | 0.97501 | -0.17535 | 0.97678 | -0.16268 | 22.4861
35 | -0.023272 | -0.0058349 | 0.023281 | 0.0058383 | 9.3088e-06 | 3.4259e-06 | 0.035116 | 0.035116 | 0.035116 | 0.98617 | -0.096812 | 0.98657 | -0.093926 | 13.0059
36 | -0.024315 | -0.0060974 | 0.024329 | 0.0061025 | 1.3922e-05 | 5.1426e-06 | 0.036675 | 0.036675 | 0.036675 | 0.98657 | -0.093926 | 0.98716 | -0.089798 | 13.5833
37 | 0.0032368 | 0.00081074 | -0.0032366 | -0.00081085 | 2.5685e-07 | -1.1012e-07 | 0.0049484 | 0.0049484 | 0.0049484 | 0.97331 | -0.18755 | 0.97323 | -0.18812 | 1.8328
38 | -0.025342 | -0.0063564 | 0.025345 | 0.0063574 | 2.8133e-06 | 1.0425e-06 | 0.038202 | 0.038202 | 0.038202 | 0.98716 | -0.089798 | 0.98727 | -0.088997 | 14.1488
39 | -0.0080829 | -0.0020251 | 0.008087 | 0.0020261 | 4.1585e-06 | 1.0221e-06 | 0.012168 | 0.012167 | 0.012168 | 0.98846 | -0.080463 | 0.98898 | -0.076745 | 4.5065
40 | 0.0044457 | 0.0011135 | -0.0044447 | -0.0011136 | 9.2645e-07 | -6.8507e-08 | 0.0066922 | 0.0066924 | 0.0066924 | 0.98846 | -0.080463 | 0.98824 | -0.08197 | 2.4787
41 | -0.0091626 | -0.0022957 | 0.0091725 | 0.0022984 | 9.888e-06 | 2.7319e-06 | 0.013786 | 0.013785 | 0.013786 | 0.98898 | -0.076745 | 0.99008 | -0.06895 | 5.1058
42 | 0.0020754 | 0.00051975 | -0.0020752 | -0.00052008 | 1.9297e-07 | -3.3152e-07 | 0.0031248 | 0.0031249 | 0.0031249 | 0.98824 | -0.08197 | 0.98815 | -0.082642 | 1.1574
43 | -0.01649 | -0.0041312 | 0.016501 | 0.004135 | 1.0639e-05 | 3.7348e-06 | 0.024783 | 0.024783 | 0.024783 | 0.99008 | -0.06895 | 0.99074 | -0.064288 | 9.179
44 | 0.0061958 | 0.0015516 | -0.0061951 | -0.0015515 | 7.8203e-07 | 1.1491e-07 | 0.0093114 | 0.0093115 | 0.0093115 | 0.99008 | -0.06895 | 0.98995 | -0.069863 | 3.4487
45 | -0.017765 | -0.0044518 | 0.017771 | 0.004454 | 6.1111e-06 | 2.1732e-06 | 0.026682 | 0.026682 | 0.026682 | 0.99074 | -0.064288 | 0.99109 | -0.061804 | 9.8822
46 | 0.005071 | 0.0012698 | -0.0050706 | -0.0012697 | 3.7679e-07 | 1.1292e-08 | 0.0076219 | 0.0076219 | 0.0076219 | 0.98995 | -0.069863 | 0.98988 | -0.070401 | 2.8229
47 | -0.082077 | -0.020687 | 0.082165 | 0.02072 | 8.7454e-05 | 3.316e-05 | 0.12327 | 0.12327 | 0.12327 | 0.99109 | -0.061804 | 0.99218 | -0.054202 | 22.828
48 | 0.064306 | 0.016233 | -0.064241 | -0.016209 | 6.4404e-05 | 2.4201e-05 | 0.096589 | 0.09659 | 0.09659 | 0.99109 | -0.061804 | 0.99007 | -0.068941 | 17.887
49 | 0.024196 | 0.0060746 | -0.024145 | -0.0060557 | 5.0923e-05 | 1.8845e-05 | 0.03698 | 0.036981 | 0.036981 | 0.9737 | -0.18471 | 0.97159 | -0.19989 | 13.6965
50 | 0.0050706 | 0.0012697 | -0.0050702 | -0.0012697 | 4.4679e-07 | 1.3419e-08 | 0.0076219 | 0.007622 | 0.007622 | 0.98988 | -0.070401 | 0.98979 | -0.071038 | 2.823
51 | 0.0050702 | 0.0012697 | -0.0050691 | -0.0012697 | 1.0445e-06 | 3.1491e-08 | 0.007622 | 0.0076221 | 0.0076221 | 0.98979 | -0.071038 | 0.98958 | -0.072528 | 2.823
52 | 0.004112 | 0.0010298 | -0.0041105 | -0.0010301 | 1.4872e-06 | -2.2862e-07 | 0.0061829 | 0.0061832 | 0.0061832 | 0.98958 | -0.072528 | 0.98921 | -0.075144 | 2.2901
53 | -0.083535 | -0.021064 | 0.083568 | 0.021076 | 3.2682e-05 | 1.2398e-05 | 0.12533 | 0.12533 | 0.12533 | 0.99218 | -0.054202 | 0.99258 | -0.051411 | 23.2085
54 | 0.063351 | 0.015986 | -0.063295 | -0.015965 | 5.5156e-05 | 2.0713e-05 | 0.095251 | 0.095251 | 0.095251 | 0.99007 | -0.068941 | 0.98918 | -0.07515 | 17.6391
55 | -0.00094189 | -0.00023606 | 0.00094194 | 0.00023556 | 5.1536e-08 | -4.9674e-07 | 0.0014248 | 0.0014246 | 0.0014248 | 0.98368 | -0.11452 | 0.98373 | -0.11413 | 0.5277
56 | -0.0021081 | -0.00052784 | 0.0021082 | 0.00052782 | 1.2558e-08 | -2.03e-08 | 0.0031886 | 0.0031886 | 0.0031886 | 0.98373 | -0.11413 | 0.98374 | -0.11409 | 1.181
57 | 0.0041105 | 0.0010301 | -0.0041102 | -0.0010301 | 3.3672e-07 | -5.1668e-08 | 0.0061832 | 0.0061833 | 0.0061833 | 0.98921 | -0.075144 | 0.98912 | -0.075735 | 2.2901
58 | 0.024145 | 0.0060557 | -0.024108 | -0.0060421 | 3.69e-05 | 1.3658e-05 | 0.036981 | 0.036981 | 0.036981 | 0.97159 | -0.19989 | 0.97006 | -0.21093 | 13.6966
59 | -0.044169 | -0.011096 | 0.044208 | 0.011111 | 3.9349e-05 | 1.4948e-05 | 0.066216 | 0.066216 | 0.066216 | 0.9927 | -0.050716 | 0.99361 | -0.044317 | 24.5245
60 | 0.042021 | 0.010558 | -0.041998 | -0.010549 | 2.2921e-05 | 8.6962e-06 | 0.062997 | 0.062997 | 0.062997 | 0.9927 | -0.050716 | 0.99214 | -0.054638 | 23.3322
61 | -0.046961 | -0.011801 | 0.047032 | 0.011828 | 7.0534e-05 | 2.6832e-05 | 0.070339 | 0.070339 | 0.070339 | 0.99361 | -0.044317 | 0.99515 | -0.033542 | 26.0515
62 | 0.03834 | 0.0096324 | -0.038332 | -0.0096294 | 8.0033e-06 | 3.0281e-06 | 0.05751 | 0.05751 | 0.05751 | 0.99214 | -0.054638 | 0.99193 | -0.056139 | 21.3001
63 | -0.13304 | -0.033544 | 0.13328 | 0.033635 | 0.00023843 | 9.1203e-05 | 0.199 | 0.199 | 0.199 | 0.99515 | -0.033542 | 0.99699 | -0.020775 | 36.8524
64 | 0.08601 | 0.021716 | -0.08594 | -0.021689 | 6.9513e-05 | 2.6386e-05 | 0.12866 | 0.12866 | 0.12866 | 0.99515 | -0.033542 | 0.99432 | -0.039299 | 23.8267
65 | 0.034979 | 0.0087891 | -0.034949 | -0.0087779 | 2.9584e-05 | 1.1156e-05 | 0.05248 | 0.05248 | 0.05248 | 0.99193 | -0.056139 | 0.99106 | -0.062222 | 19.4372
66 | -0.13488 | -0.034037 | 0.13528 | 0.034188 | 0.00039446 | 0.0001509 | 0.2014 | 0.2014 | 0.2014 | 0.99699 | -0.020775 | 1 | 0 | 37.296
67 | 0.084979 | 0.021448 | -0.084834 | -0.021393 | 0.00014427 | 5.475e-05 | 0.12722 | 0.12722 | 0.12722 | 0.99432 | -0.039299 | 0.99258 | -0.051411 | 23.5602
68 | 0.033146 | 0.008326 | -0.033136 | -0.0083222 | 9.9986e-06 | 3.7623e-06 | 0.049773 | 0.049773 | 0.049773 | 0.99106 | -0.062222 | 0.99076 | -0.064392 | 18.4345
69 | 0.031739 | 0.0079722 | -0.031716 | -0.0079635 | 2.3019e-05 | 8.6445e-06 | 0.047675 | 0.047675 | 0.047675 | 0.99076 | -0.064392 | 0.99001 | -0.069612 | 17.6575
70 | -0.026779 | -0.0067167 | 0.026802 | 0.0067253 | 2.3021e-05 | 8.5643e-06 | 0.040363 | 0.040363 | 0.040363 | 0.98727 | -0.088997 | 0.98815 | -0.082802 | 14.9491
71 | 0.0024491 | 0.00061349 | -0.0024488 | -0.00061374 | 2.4135e-07 | -2.4993e-07 | 0.0037444 | 0.0037445 | 0.0037445 | 0.97323 | -0.18812 | 0.97314 | -0.18883 | 1.3869
72 | -0.027902 | -0.0070012 | 0.027904 | 0.0070017 | 1.2328e-06 | 4.5982e-07 | 0.04202 | 0.04202 | 0.04202 | 0.98815 | -0.082802 | 0.98819 | -0.082484 | 15.5631
73 | -0.028522 | -0.0071566 | 0.028545 | 0.0071653 | 2.3448e-05 | 8.7573e-06 | 0.042951 | 0.042951 | 0.042951 | 0.98819 | -0.082484 | 0.98903 | -0.076564 | 15.9078
74 | -0.029235 | -0.0073381 | 0.029259 | 0.0073472 | 2.4412e-05 | 9.1294e-06 | 0.043988 | 0.043988 | 0.043988 | 0.98903 | -0.076564 | 0.98988 | -0.070556 | 16.2919
75 | 0.03038 | 0.0076286 | -0.030376 | -0.0076271 | 3.9849e-06 | 1.4933e-06 | 0.045667 | 0.045667 | 0.045667 | 0.99001 | -0.069612 | 0.98988 | -0.070556 | 16.9136

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13845 | 0.034782

## res_load
| p_mw | q_mvar
0 | 0.0035215 | 0.00088256
1 | 0.0033825 | 0.00084774
2 | 0.0024455 | 0.00061291
3 | 0.0010054 | 0.00025197
4 | 0.0046965 | 0.0011771
5 | 0.00098839 | 0.00024771
6 | 0.0033775 | 0.00084649
7 | 0.00062795 | 0.00015738
8 | 0.00057176 | 0.0001433
9 | 0.00096663 | 0.00024226
10 | 0.0019876 | 0.00049815
11 | 0.0020368 | 0.00051048
12 | 0.0010078 | 0.00025257
13 | 0.0010168 | 0.00025485
14 | 0.0017629 | 0.00044183
15 | 0.00094577 | 0.00023703
16 | 0.0011113 | 0.00027853
17 | 0.0011109 | 0.00027841
18 | 0.0054896 | 0.0013758
19 | 0.0017473 | 0.00043792
20 | 0.0011342 | 0.00028425
21 | 0.0011703 | 0.0002933
22 | 0.0013019 | 0.00032628
23 | 0.0007665 | 0.0001921
24 | 0.003742 | 0.00093783
25 | 0.00060264 | 0.00015103
26 | 0.00082539 | 0.00020686
27 | 0.0010338 | 0.0002591
28 | 0.0013523 | 0.00033893
29 | 0.0010129 | 0.00025387
30 | 0.0036372 | 0.00091157
31 | 0.0010756 | 0.00026956
32 | 0.0023694 | 0.00059382
33 | 0.0011222 | 0.00028124
34 | 0.0020752 | 0.00052008
35 | 0.0012642 | 0.00031684
36 | 0.0011241 | 0.00028172
37 | 0.0014006 | 0.00035104
38 | 0.0012879 | 0.00032277
39 | 0.00095711 | 0.00023987
40 | 0.0013703 | 0.00034344
41 | 0.00089073 | 0.00022324
42 | 0.00094189 | 0.00023606
43 | 0.0011662 | 0.00029228
44 | 0.0021478 | 0.00053828
45 | 0.0027531 | 0.00068998
46 | 0.0036583 | 0.00091685
47 | 0.003353 | 0.00084035
48 | 0.001605 | 0.00040225
49 | 0.00096188 | 0.00024107
50 | 0.0018032 | 0.00045191
51 | 0.0023687 | 0.00059366
52 | 0.0012666 | 0.00031743
53 | 0.0013968 | 0.00035007
54 | 0.00092441 | 0.00023168
55 | 0.0019405 | 0.00048633
56 | 0.0014337 | 0.00035932
57 | 0.0007875 | 0.00019737
58 | 0.0024488 | 0.00061374
59 | 0.0041102 | 0.0010301
60 | 0.024108 | 0.0060421
61 | 0.0011009 | 0.0002759
62 | 0.00061803 | 0.00015489
63 | 0.00068943 | 0.00017279
64 | 0.0013363 | 0.00033491
65 | 0.0011167 | 0.00027987

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1