## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-38_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2054-38_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2054-38_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2054-38_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2054-38_0_2_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_2054-38_0_2_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2054-38_0_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2054-38_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2054-38_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2054-38_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2054-38_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2054-38_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2054-38_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2054-38_0_2_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_2054-38_0_2_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_2054-38_0_2_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2054-38_0_2_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_2054-38_0_2_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2054-38_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2054-38_0_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2054-38_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2054-38_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2054-38_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2054-38_0_2_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_2054-38_0_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2054-38_0_2_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_2054-38_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_2054-38_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2054-38_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2054-38_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2054-38_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2054-38_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2054-38_0_2_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_2054-38_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2054-38_0_2_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_2054-38_0_2_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_2054-38_0_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_2054-38_0_2_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_2054-38_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2054-38_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2054-38_0_2_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2054-38_0_2_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2054-38_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2054-38_0_2_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2054-38_0_2_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2054-38_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2054-38_0_2_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2054-38_0_2_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2054-38_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2054-38_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2054-38_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2054-38_0_2_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_2054-38_0_2_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_2054-38_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2054-38_0_2_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2054-38_0_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2054-38_0_2_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2054-38_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_2054-38_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_MV_477_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-38_0_2_load_0 | 0 | 0.00032397 | 8.1194e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-38_0_2_load_1 | 1 | 0.0002375 | 5.9524e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-38_0_2_load_2 | 2 | 0.00046954 | 0.00011768 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-38_0_2_load_3 | 3 | 0.00046178 | 0.00011573 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-38_0_2_load_12 | 5 | 0.0050815 | 0.0012735 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-38_0_2_load_10 | 6 | 0.0003946 | 9.8897e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-38_0_2_load_4 | 7 | 0.0019174 | 0.00048055 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-38_0_2_load_5 | 8 | 0.0019844 | 0.00049733 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-38_0_2_load_7 | 10 | 0.00068687 | 0.00017215 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-38_0_2_load_8 | 11 | 0.0021629 | 0.00054207 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-38_0_2_load_9 | 12 | 0.0015523 | 0.00038904 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-38_0_2_load_42 | 13 | 0.0015894 | 0.00039835 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-38_0_2_load_43 | 15 | 0.0028838 | 0.00072275 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-38_0_2_load_40 | 16 | 0.0018934 | 0.00047454 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-38_0_2_load_35 | 17 | 0.0013 | 0.00032582 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-38_0_2_load_24 | 18 | 0.0025849 | 0.00064784 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-38_0_2_load_44 | 19 | 0.001951 | 0.00048898 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-38_0_2_load_14 | 21 | 0.00023957 | 6.0042e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-38_0_2_load_15 | 22 | 0.00015294 | 3.833e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-38_0_2_load_49 | 23 | 0.00068731 | 0.00017226 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-38_0_2_load_33 | 25 | 0.0021215 | 0.00053169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-38_0_2_load_39 | 26 | 0.0011064 | 0.00027728 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-38_0_2_load_16 | 27 | 0.0023743 | 0.00059505 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-38_0_2_load_17 | 28 | 0.0017775 | 0.00044547 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-38_0_2_load_20 | 31 | 0.0047153 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-38_0_2_load_57 | 32 | 0.002091 | 0.00052405 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-38_0_2_load_29 | 33 | 0.0024872 | 0.00062336 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-38_0_2_load_55 | 34 | 0.00104 | 0.00026065 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-38_0_2_load_47 | 35 | 0.0068328 | 0.0017125 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2054-38_0_2_load_54 | 36 | 0.0022014 | 0.00055173 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2054-38_0_2_load_48 | 37 | 0.012867 | 0.0032249 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2054-38_0_2_load_21 | 38 | 0.0035264 | 0.0008838 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2054-38_0_2_load_22 | 39 | 0.00311 | 0.00077944 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2054-38_0_2_load_23 | 40 | 0.0014894 | 0.00037327 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2054-38_0_2_load_25 | 41 | 0.0014569 | 0.00036514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2054-38_0_2_load_30 | 43 | 0.0013427 | 0.00033651 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2054-38_0_2_load_26 | 44 | 0.0010118 | 0.00025359 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2054-38_0_2_load_27 | 45 | 0.0014159 | 0.00035487 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2054-38_0_2_load_28 | 46 | 0.0015478 | 0.00038791 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2054-38_0_2_load_31 | 47 | 0.001453 | 0.00036415 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2054-38_0_2_load_36 | 48 | 0.001257 | 0.00031503 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2054-38_0_2_load_37 | 49 | 0.0010437 | 0.00026157 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2054-38_0_2_load_38 | 50 | 0.0015156 | 0.00037985 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2054-38_0_2_load_56 | 52 | 0.0010483 | 0.00026272 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2054-38_0_2_load_52 | 53 | 0.0010527 | 0.00026382 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2054-38_0_2_load_46 | 55 | 0.0015855 | 0.00039736 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2054-38_0_2_load_53 | 56 | 0.0028207 | 0.00070693 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2054-38_0_2_load_51 | 57 | 0.0040375 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2054-38_0_2_load_50 | 58 | 0.0049388 | 0.0012378 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-38_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00038185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-38_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0069497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-38_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.026858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-38_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.013159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-38_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.030281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-38_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.011274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-38_0_2_line_6 | NAYY 4x150 SE | 5 | 24 | 0.037293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-38_0_2_line_7 | NAYY 4x150 SE | 6 | 20 | 0.060718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2054-38_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.010754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-38_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.026945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-38_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.01687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-38_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.025773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-38_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.025641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-38_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.019869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2054-38_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.013325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-38_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.047804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-38_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0083784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-38_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.014453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-38_0_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.016947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-38_0_2_line_19 | NAYY 4x150 SE | 15 | 19 | 0.020203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2054-38_0_2_line_20 | NAYY 4x150 SE | 16 | 26 | 0.025358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2054-38_0_2_line_21 | NAYY 4x150 SE | 17 | 48 | 0.0069078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2054-38_0_2_line_22 | NAYY 4x150 SE | 19 | 54 | 0.0080038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2054-38_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.035618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-38_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.031397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-38_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.048955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-38_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.019838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-38_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.012108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-38_0_2_line_28 | NAYY 4x150 SE | 25 | 42 | 0.020978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-38_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.021576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-38_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.031136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-38_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.011782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-38_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.010183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-38_0_2_line_33 | NAYY 4x150 SE | 30 | 35 | 0.051528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-38_0_2_line_34 | NAYY 4x150 SE | 31 | 36 | 0.027164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-38_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.047324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-38_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.00049463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2054-38_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.017514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2054-38_0_2_line_38 | NAYY 4x150 SE | 33 | 46 | 0.0076477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2054-38_0_2_line_39 | NAYY 4x150 SE | 34 | 52 | 0.011258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2054-38_0_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.031521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2054-38_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.013288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2054-38_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.00085624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2054-38_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.028116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2054-38_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.024327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2054-38_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2054-38_0_2_line_46 | NAYY 4x150 SE | 43 | 47 | 0.00030889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2054-38_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.00029106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2054-38_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.01986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2054-38_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.025807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2054-38_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.00021401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2054-38_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.015079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2054-38_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.013682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2054-38_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.002965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2054-38_0_2_line_54 | NAYY 4x150 SE | 53 | 57 | 0.026513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2054-38_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.01726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2054-38_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.011422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2054-38_0_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.004506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-38_0_2_trafo_37 | 0.25 MVA 20/0.4 kV | 59 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2559874.6874 | 1189626.2225 | 2559874.8062 | 1189625.8596
1 | 2559872.5261 | 1189632.8275 | 2559874.6874 | 1189626.2225
2 | 2559874.8062 | 1189625.8596 | 2559883.1589 | 1189600.3339
3 | 2559889.6032 | 1189588.8889 | 2559883.5184 | 1189599.2354 | 2559883.1589 | 1189600.3339
4 | 2559889.6032 | 1189588.8889 | 2559908.3689 | 1189605.5608 | 2559912.4622 | 1189608.7342
5 | 2559889.6032 | 1189588.8889 | 2559882.4351 | 1189580.1875
6 | 2559943.6218 | 1189628.9703 | 2559927.7182 | 1189620.5613 | 2559912.4622 | 1189608.7342
7 | 2559882.4351 | 1189580.1875 | 2559843.8304 | 1189533.3219
8 | 2560030.2841 | 1189663.2417 | 2560020.8167 | 1189658.1405
9 | 2560054.0052 | 1189676.0231 | 2560030.2841 | 1189663.2417
10 | 2560005.3113 | 1189651.6105 | 2560015.285 | 1189655.1598 | 2560020.8167 | 1189658.1405
11 | 2560054.0052 | 1189676.0231 | 2560042.179 | 1189698.9228
12 | 2560054.0052 | 1189676.0231 | 2560075.817 | 1189689.5027
13 | 2560005.3113 | 1189651.6105 | 2559995.9371 | 1189648.2746 | 2559986.6313 | 1189644.8408
14 | 2560036.0648 | 1189710.7621 | 2560042.179 | 1189698.9228
15 | 2560075.817 | 1189689.5027 | 2560088.8327 | 1189697.5464 | 2560107.3719 | 1189712.4084 | 2560113.218 | 1189718.9083
16 | 2559978.771 | 1189641.9403 | 2559986.6313 | 1189644.8408
17 | 2560036.0648 | 1189710.7621 | 2560030.0829 | 1189723.9187
18 | 2560036.0648 | 1189710.7621 | 2560020.3729 | 1189704.3609
19 | 2560126.7285 | 1189733.9296 | 2560113.218 | 1189718.9083
20 | 2559954.9811 | 1189633.1619 | 2559978.771 | 1189641.9403
21 | 2560030.0829 | 1189723.9187 | 2560027.2237 | 1189730.207
22 | 2560132.0808 | 1189739.8805 | 2560126.7285 | 1189733.9296
23 | 2559843.8304 | 1189533.3219 | 2559821.8939 | 1189505.2612
24 | 2559843.8304 | 1189533.3219 | 2559864.1257 | 1189509.3667
25 | 2559791.7427 | 1189466.6927 | 2559821.8939 | 1189505.2612
26 | 2559943.6218 | 1189628.9703 | 2559936.0872 | 1189647.322
27 | 2559943.6218 | 1189628.9703 | 2559954.9811 | 1189633.1619
28 | 2559928.1197 | 1189666.7282 | 2559936.0872 | 1189647.322
29 | 2560087.4067 | 1189849.7222 | 2560065.9014 | 1189851.4678
30 | 2560035.5269 | 1189849.0854 | 2560046.4356 | 1189853.0478 | 2560065.9014 | 1189851.4678
31 | 2560029.4481 | 1189859.1871 | 2560035.5269 | 1189849.0854
32 | 2560035.5269 | 1189849.0854 | 2560041.2796 | 1189840.6823
33 | 2560029.4481 | 1189859.1871 | 2559990.1615 | 1189825.8452
34 | 2560041.2796 | 1189840.6823 | 2560045.3823 | 1189834.6893 | 2560059.0551 | 1189820.2281
35 | 2560032.983 | 1189778.9531 | 2560070.8745 | 1189807.3041
36 | 2560032.5402 | 1189778.7328 | 2560032.983 | 1189778.9531
37 | 2560070.8745 | 1189807.3041 | 2560061.2387 | 1189817.9186 | 2560059.0551 | 1189820.2281
38 | 2560070.8745 | 1189807.3041 | 2560076.0148 | 1189801.6416
39 | 2560032.5402 | 1189778.7328 | 2560022.4614 | 1189773.7172
40 | 2559966.1284 | 1189805.4487 | 2559990.1615 | 1189825.8452
41 | 2559989.7741 | 1189691.8788 | 2559977.4706 | 1189686.8598
42 | 2559977.4706 | 1189686.8598 | 2559976.6778 | 1189686.5364
43 | 2559976.6778 | 1189686.5364 | 2559950.6444 | 1189675.9167
44 | 2559928.1197 | 1189666.7282 | 2559950.6444 | 1189675.9167
45 | 2559928.1197 | 1189666.7282 | 2559919.9964 | 1189686.5266
46 | 2559919.9964 | 1189686.5266 | 2559919.8792 | 1189686.8124
47 | 2560089.3635 | 1189786.937 | 2560089.5592 | 1189786.7214
48 | 2560076.0148 | 1189801.6416 | 2560089.3635 | 1189786.937
49 | 2560016.5421 | 1189753.6998 | 2560027.2237 | 1189730.207
50 | 2560016.4535 | 1189753.8946 | 2560016.5421 | 1189753.6998
51 | 2560010.2122 | 1189767.6216 | 2560016.4535 | 1189753.8946
52 | 2560010.2122 | 1189767.6216 | 2560022.4614 | 1189773.7172
53 | 2560010.2122 | 1189767.6216 | 2560007.558 | 1189766.3
54 | 2559983.8245 | 1189754.4818 | 2560007.558 | 1189766.3
55 | 2560132.0808 | 1189739.8805 | 2560142.6691 | 1189753.5111
56 | 2560142.6691 | 1189753.5111 | 2560149.6764 | 1189762.5317
57 | 2559979.7909 | 1189752.4733 | 2559983.8245 | 1189754.4818

## bus_geodata
| x | y | coords
0 | 2559874.6874 | 1189626.2225
1 | 2559874.8062 | 1189625.8596
2 | 2559872.5261 | 1189632.8275
3 | 2559883.1589 | 1189600.3339
4 | 2559889.6032 | 1189588.8889
5 | 2559912.4622 | 1189608.7342
6 | 2559882.4351 | 1189580.1875
7 | 2560030.2841 | 1189663.2417
8 | 2560020.8167 | 1189658.1405
9 | 2560054.0052 | 1189676.0231
10 | 2560005.3113 | 1189651.6105
11 | 2560042.179 | 1189698.9228
12 | 2560075.817 | 1189689.5027
13 | 2559986.6313 | 1189644.8408
14 | 2560036.0648 | 1189710.7621
15 | 2560113.218 | 1189718.9083
16 | 2559978.771 | 1189641.9403
17 | 2560030.0829 | 1189723.9187
18 | 2560020.3729 | 1189704.3609
19 | 2560126.7285 | 1189733.9296
20 | 2559843.8304 | 1189533.3219
21 | 2559821.8939 | 1189505.2612
22 | 2559864.1257 | 1189509.3667
23 | 2559791.7427 | 1189466.6927
24 | 2559943.6218 | 1189628.9703
25 | 2559936.0872 | 1189647.322
26 | 2559954.9811 | 1189633.1619
27 | 2560065.9014 | 1189851.4678
28 | 2560087.4067 | 1189849.7222
29 | 2560035.5269 | 1189849.0854
30 | 2560029.4481 | 1189859.1871
31 | 2560041.2796 | 1189840.6823
32 | 2560032.983 | 1189778.9531
33 | 2560070.8745 | 1189807.3041
34 | 2560032.5402 | 1189778.7328
35 | 2559990.1615 | 1189825.8452
36 | 2560059.0551 | 1189820.2281
37 | 2559966.1284 | 1189805.4487
38 | 2559977.4706 | 1189686.8598
39 | 2559989.7741 | 1189691.8788
40 | 2559976.6778 | 1189686.5364
41 | 2559950.6444 | 1189675.9167
42 | 2559928.1197 | 1189666.7282
43 | 2559919.9964 | 1189686.5266
44 | 2560089.3635 | 1189786.937
45 | 2560089.5592 | 1189786.7214
46 | 2560076.0148 | 1189801.6416
47 | 2559919.8792 | 1189686.8124
48 | 2560027.2237 | 1189730.207
49 | 2560016.5421 | 1189753.6998
50 | 2560016.4535 | 1189753.8946
51 | 2560010.2122 | 1189767.6216
52 | 2560022.4614 | 1189773.7172
53 | 2560007.558 | 1189766.3
54 | 2560132.0808 | 1189739.8805
55 | 2560142.6691 | 1189753.5111
56 | 2560149.6764 | 1189762.5317
57 | 2559983.8245 | 1189754.4818
58 | 2559979.7909 | 1189752.4733
59 | 2560010.2122 | 1189767.6216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98891 | -0.077891 | 0.00032397 | 8.1194e-05
1 | 0.98891 | -0.077888 | 0.0002375 | 5.9524e-05
2 | 0.9889 | -0.077925 | 0.00046954 | 0.00011768
3 | 0.98895 | -0.077605 | 0.00046178 | 0.00011573
4 | 0.98898 | -0.077404 | 0 | 0
5 | 0.98911 | -0.07648 | 0.0050815 | 0.0012735
6 | 0.98895 | -0.077576 | 0.0003946 | 9.8897e-05
7 | 0.99302 | -0.048826 | 0.0019174 | 0.00048055
8 | 0.99256 | -0.052077 | 0.0019844 | 0.00049733
9 | 0.99425 | -0.04017 | 0 | 0
10 | 0.99188 | -0.056844 | 0.00068687 | 0.00017215
11 | 0.99583 | -0.029106 | 0.0021629 | 0.00054207
12 | 0.99386 | -0.042968 | 0.0015523 | 0.00038904
13 | 0.99111 | -0.062328 | 0.0015894 | 0.00039835
14 | 0.99669 | -0.02311 | 0 | 0
15 | 0.99322 | -0.047438 | 0.0028838 | 0.00072275
16 | 0.9908 | -0.064507 | 0.0018934 | 0.00047454
17 | 0.99767 | -0.016243 | 0.0013 | 0.00032582
18 | 0.99662 | -0.023551 | 0.0025849 | 0.00064784
19 | 0.99304 | -0.048739 | 0.001951 | 0.00048898
20 | 0.98886 | -0.078253 | 0 | 0
21 | 0.98881 | -0.078593 | 0.00023957 | 6.0042e-05
22 | 0.98885 | -0.078303 | 0.00015294 | 3.833e-05
23 | 0.98876 | -0.078937 | 0.00068731 | 0.00017226
24 | 0.98954 | -0.073409 | 0 | 0
25 | 0.98912 | -0.076344 | 0.0021215 | 0.00053169
26 | 0.98993 | -0.070622 | 0.0011064 | 0.00027728
27 | 0.99242 | -0.053097 | 0.0023743 | 0.00059505
28 | 0.99236 | -0.053486 | 0.0017775 | 0.00044547
29 | 0.9926 | -0.051786 | 0 | 0
30 | 0.99227 | -0.054139 | 0 | 0
31 | 0.99295 | -0.049325 | 0.0047153 | 0.0011818
32 | 0.99738 | -0.018299 | 0.002091 | 0.00052405
33 | 0.99484 | -0.036033 | 0.0024872 | 0.00062336
34 | 0.9974 | -0.018103 | 0.00104 | 0.00026065
35 | 0.99081 | -0.064447 | 0.0068328 | 0.0017125
36 | 0.99407 | -0.041474 | 0.0022014 | 0.00055173
37 | 0.99023 | -0.068573 | 0.012867 | 0.0032249
38 | 0.98808 | -0.083772 | 0.0035264 | 0.0008838
39 | 0.98802 | -0.084194 | 0.00311 | 0.00077944
40 | 0.98808 | -0.083714 | 0.0014894 | 0.00037327
41 | 0.98841 | -0.081378 | 0.0014569 | 0.00036514
42 | 0.98875 | -0.078996 | 0 | 0
43 | 0.98866 | -0.079607 | 0.0013427 | 0.00033651
44 | 0.99473 | -0.036826 | 0.0010118 | 0.00025359
45 | 0.99473 | -0.03683 | 0.0014159 | 0.00035487
46 | 0.9948 | -0.036339 | 0.0015478 | 0.00038791
47 | 0.98866 | -0.079612 | 0.001453 | 0.00036415
48 | 0.99815 | -0.012876 | 0.001257 | 0.00031503
49 | 1 | 0 | -0.10432 | -0.026029
50 | 0.99998 | -0.00011318 | 0.0015156 | 0.00037985
51 | 0.99887 | -0.0078686 | 0 | 0
52 | 0.99806 | -0.013545 | 0.0010483 | 0.00026272
53 | 0.99883 | -0.0081661 | 0.0010527 | 0.00026382
54 | 0.99299 | -0.049096 | 0 | 0
55 | 0.99288 | -0.049866 | 0.0015855 | 0.00039736
56 | 0.99283 | -0.050193 | 0.0028207 | 0.00070693
57 | 0.99849 | -0.010548 | 0.0040375 | 0.0010119
58 | 0.99846 | -0.010771 | 0.0049388 | 0.0012378
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00079351 | -0.00019878 | 0.00079351 | 0.00019878 | 3.3976e-10 | -4.7684e-09 | 0.001194 | 0.001194 | 0.001194 | 0.98891 | -0.077891 | 0.98891 | -0.077888 | 0.44221
1 | 0.00046954 | 0.00011759 | -0.00046954 | -0.00011768 | 2.1646e-09 | -8.833e-08 | 0.0007065 | 0.00070653 | 0.00070653 | 0.98891 | -0.077891 | 0.9889 | -0.077925 | 0.26168
2 | -0.001031 | -0.0002583 | 0.0010311 | 0.00025797 | 4.033e-08 | -3.2908e-07 | 0.0015513 | 0.0015512 | 0.0015513 | 0.98891 | -0.077888 | 0.98895 | -0.077605 | 0.57457
3 | -0.0014928 | -0.00037371 | 0.0014929 | 0.00037355 | 4.1422e-08 | -1.5292e-07 | 0.002246 | 0.002246 | 0.002246 | 0.98895 | -0.077605 | 0.98898 | -0.077404 | 0.83186
4 | -0.0029675 | -0.00074075 | 0.0029679 | 0.0007405 | 3.765e-07 | -2.438e-07 | 0.0044639 | 0.0044637 | 0.0044639 | 0.98898 | -0.077404 | 0.98911 | -0.07648 | 1.6533
5 | 0.0014746 | 0.00036719 | -0.0014746 | -0.00036733 | 3.4605e-08 | -1.3135e-07 | 0.0022179 | 0.0022179 | 0.0022179 | 0.98898 | -0.077404 | 0.98895 | -0.077576 | 0.82146
6 | -0.0080493 | -0.002014 | 0.0080528 | 0.0020149 | 3.4117e-06 | 8.3334e-07 | 0.012108 | 0.012108 | 0.012108 | 0.98911 | -0.07648 | 0.98954 | -0.073409 | 4.4846
7 | 0.00108 | 0.00026843 | -0.0010799 | -0.00026917 | 9.9967e-08 | -7.4055e-07 | 0.0016242 | 0.0016245 | 0.0016245 | 0.98895 | -0.077576 | 0.98886 | -0.078253 | 0.60166
8 | 0.029919 | 0.0075064 | -0.029905 | -0.0075013 | 1.349e-05 | 5.0494e-06 | 0.044835 | 0.044835 | 0.044835 | 0.99302 | -0.048826 | 0.99256 | -0.052077 | 16.6057
9 | -0.031836 | -0.0079869 | 0.031875 | 0.0080013 | 3.827e-05 | 1.437e-05 | 0.047709 | 0.047709 | 0.047709 | 0.99302 | -0.048826 | 0.99425 | -0.04017 | 17.6699
10 | 0.027921 | 0.007004 | -0.027903 | -0.0069971 | 1.8446e-05 | 6.8769e-06 | 0.041861 | 0.041861 | 0.041861 | 0.99256 | -0.052077 | 0.99188 | -0.056844 | 15.504
11 | -0.04268 | -0.010709 | 0.042745 | 0.010734 | 6.5626e-05 | 2.4906e-05 | 0.06388 | 0.06388 | 0.06388 | 0.99425 | -0.04017 | 0.99583 | -0.029106 | 23.6592
12 | 0.010805 | 0.0027079 | -0.010801 | -0.0027067 | 4.1841e-06 | 1.2769e-06 | 0.016171 | 0.016171 | 0.016171 | 0.99425 | -0.04017 | 0.99386 | -0.042968 | 5.9894
13 | 0.027216 | 0.006825 | -0.027195 | -0.0068173 | 2.0669e-05 | 7.6935e-06 | 0.04083 | 0.04083 | 0.04083 | 0.99188 | -0.056844 | 0.99111 | -0.062328 | 15.1223
14 | -0.044908 | -0.011276 | 0.044946 | 0.01129 | 3.7449e-05 | 1.423e-05 | 0.067112 | 0.067111 | 0.067112 | 0.99583 | -0.029106 | 0.99669 | -0.02311 | 24.8561
15 | 0.0092487 | 0.0023176 | -0.009243 | -0.002316 | 5.7198e-06 | 1.5808e-06 | 0.013847 | 0.013847 | 0.013847 | 0.99386 | -0.042968 | 0.99322 | -0.047438 | 5.1287
16 | 0.025606 | 0.0064189 | -0.025598 | -0.006416 | 7.7269e-06 | 2.8639e-06 | 0.038444 | 0.038444 | 0.038444 | 0.99111 | -0.062328 | 0.9908 | -0.064507 | 14.2385
17 | -0.047531 | -0.011938 | 0.047576 | 0.011955 | 4.5425e-05 | 1.7282e-05 | 0.070971 | 0.070971 | 0.070971 | 0.99669 | -0.02311 | 0.99767 | -0.016243 | 26.2855
18 | 0.0025851 | 0.00064768 | -0.0025849 | -0.00064784 | 1.5751e-07 | -1.6027e-07 | 0.0038593 | 0.0038594 | 0.0038594 | 0.99669 | -0.02311 | 0.99662 | -0.023551 | 1.4294
19 | 0.0063592 | 0.0015933 | -0.006358 | -0.0015931 | 1.1442e-06 | 1.7867e-07 | 0.009527 | 0.0095271 | 0.0095271 | 0.99322 | -0.047438 | 0.99304 | -0.048739 | 3.5285
20 | 0.023704 | 0.0059415 | -0.023684 | -0.0059341 | 2.0054e-05 | 7.3869e-06 | 0.0356 | 0.035601 | 0.035601 | 0.9908 | -0.064507 | 0.98993 | -0.070622 | 13.1854
21 | -0.048876 | -0.012281 | 0.048899 | 0.01229 | 2.2914e-05 | 8.7228e-06 | 0.07291 | 0.07291 | 0.07291 | 0.99767 | -0.016243 | 0.99815 | -0.012876 | 27.0036
22 | 0.004407 | 0.0011041 | -0.0044068 | -0.0011041 | 2.1779e-07 | -1.9777e-08 | 0.0066035 | 0.0066036 | 0.0066036 | 0.99304 | -0.048739 | 0.99299 | -0.049096 | 2.4458
23 | 0.00092695 | 0.00023124 | -0.00092691 | -0.00023168 | 4.3224e-08 | -4.4028e-07 | 0.0013945 | 0.0013946 | 0.0013946 | 0.98886 | -0.078253 | 0.98881 | -0.078593 | 0.51653
24 | 0.00015294 | 3.7927e-05 | -0.00015294 | -3.833e-05 | 1.037e-09 | -4.0237e-07 | 0.00023 | 0.00023014 | 0.00023014 | 0.98886 | -0.078253 | 0.98885 | -0.078303 | 0.085237
25 | 0.00068734 | 0.00017164 | -0.00068731 | -0.00017226 | 3.2676e-08 | -6.1537e-07 | 0.0010341 | 0.0010343 | 0.0010343 | 0.98881 | -0.078593 | 0.98876 | -0.078937 | 0.38309
26 | 0.014517 | 0.0036388 | -0.014511 | -0.0036368 | 5.8989e-06 | 2.0141e-06 | 0.021829 | 0.02183 | 0.02183 | 0.98954 | -0.073409 | 0.98912 | -0.076344 | 8.085
27 | -0.022569 | -0.0056536 | 0.022578 | 0.0056568 | 8.7019e-06 | 3.1913e-06 | 0.033938 | 0.033937 | 0.033938 | 0.98954 | -0.073409 | 0.98993 | -0.070622 | 12.5695
28 | 0.012389 | 0.0031051 | -0.012385 | -0.0031036 | 4.5473e-06 | 1.4798e-06 | 0.018638 | 0.018638 | 0.018638 | 0.98912 | -0.076344 | 0.98875 | -0.078996 | 6.903
29 | 0.0017776 | 0.00044523 | -0.0017775 | -0.00044547 | 9.5634e-08 | -2.4199e-07 | 0.0026651 | 0.0026652 | 0.0026652 | 0.99242 | -0.053097 | 0.99236 | -0.053486 | 0.98713
30 | -0.0041518 | -0.0010403 | 0.0041526 | 0.0010402 | 7.5289e-07 | -1.1281e-07 | 0.0062251 | 0.006225 | 0.0062251 | 0.99242 | -0.053097 | 0.9926 | -0.051786 | 2.3056
31 | 0.019742 | 0.0049523 | -0.019736 | -0.0049499 | 6.4403e-06 | 2.3248e-06 | 0.029597 | 0.029597 | 0.029597 | 0.9926 | -0.051786 | 0.99227 | -0.054139 | 10.9619
32 | -0.023895 | -0.0059924 | 0.023903 | 0.0059954 | 8.1543e-06 | 3.0046e-06 | 0.035822 | 0.035822 | 0.035822 | 0.9926 | -0.051786 | 0.99295 | -0.049325 | 13.2675
33 | 0.019736 | 0.0049499 | -0.019708 | -0.0049398 | 2.8167e-05 | 1.0169e-05 | 0.029597 | 0.029597 | 0.029597 | 0.99227 | -0.054139 | 0.99081 | -0.064447 | 10.962
34 | -0.028618 | -0.0071772 | 0.02865 | 0.0071889 | 3.1179e-05 | 1.164e-05 | 0.042888 | 0.042888 | 0.042888 | 0.99295 | -0.049325 | 0.99407 | -0.041474 | 15.8846
35 | 0.037429 | 0.0094036 | -0.037337 | -0.0093688 | 9.2112e-05 | 3.4812e-05 | 0.05585 | 0.05585 | 0.05585 | 0.99738 | -0.018299 | 0.99484 | -0.036033 | 20.6854
36 | -0.03952 | -0.0099277 | 0.039522 | 0.0099281 | 1.0733e-06 | 4.0636e-07 | 0.05897 | 0.05897 | 0.05897 | 0.99738 | -0.018299 | 0.9974 | -0.018103 | 21.8407
37 | 0.030874 | 0.0077493 | -0.030851 | -0.0077406 | 2.331e-05 | 8.7383e-06 | 0.046183 | 0.046184 | 0.046184 | 0.99484 | -0.036033 | 0.99407 | -0.041474 | 17.105
38 | 0.0039759 | 0.00099614 | -0.0039757 | -0.00099617 | 1.6876e-07 | -3.4387e-08 | 0.0059468 | 0.0059468 | 0.0059468 | 0.99484 | -0.036033 | 0.9948 | -0.036339 | 2.2025
39 | -0.040562 | -0.010189 | 0.040587 | 0.010198 | 2.5731e-05 | 9.7495e-06 | 0.060521 | 0.060521 | 0.060521 | 0.9974 | -0.018103 | 0.99806 | -0.013545 | 22.4153
40 | 0.012875 | 0.0032273 | -0.012867 | -0.0032249 | 7.3539e-06 | 2.4227e-06 | 0.019336 | 0.019336 | 0.019336 | 0.99081 | -0.064447 | 0.99023 | -0.068573 | 7.1615
41 | 0.0031102 | 0.00077934 | -0.00311 | -0.00077944 | 1.819e-07 | -1.0022e-07 | 0.0046838 | 0.0046838 | 0.0046838 | 0.98808 | -0.083772 | 0.98802 | -0.084194 | 1.7348
42 | -0.0066366 | -0.0016631 | 0.0066366 | 0.0016631 | 5.337e-08 | 9.56e-09 | 0.0099945 | 0.0099945 | 0.0099945 | 0.98808 | -0.083772 | 0.98808 | -0.083714 | 3.7017
43 | -0.008126 | -0.0020364 | 0.0081286 | 0.0020371 | 2.6273e-06 | 6.5027e-07 | 0.012237 | 0.012237 | 0.012237 | 0.98808 | -0.083714 | 0.98841 | -0.081378 | 4.5324
44 | -0.0095856 | -0.0024022 | 0.0095887 | 0.0024031 | 3.1611e-06 | 9.039e-07 | 0.014431 | 0.014431 | 0.014431 | 0.98841 | -0.081378 | 0.98875 | -0.078996 | 5.3447
45 | 0.0027959 | 0.00070047 | -0.0027956 | -0.00070065 | 2.3641e-07 | -1.8352e-07 | 0.0042076 | 0.0042077 | 0.0042077 | 0.98875 | -0.078996 | 0.98866 | -0.079607 | 1.5584
46 | 0.001453 | 0.00036414 | -0.001453 | -0.00036415 | 9.2211e-10 | -3.6066e-09 | 0.0021868 | 0.0021868 | 0.0021868 | 0.98866 | -0.079607 | 0.98866 | -0.079612 | 0.80993
47 | 0.001416 | 0.00035487 | -0.0014159 | -0.00035487 | 8.1513e-10 | -3.465e-09 | 0.0021181 | 0.0021181 | 0.0021181 | 0.99473 | -0.036826 | 0.99473 | -0.03683 | 0.78449
48 | -0.0024278 | -0.00060846 | 0.002428 | 0.00060826 | 1.6345e-07 | -1.9496e-07 | 0.0036317 | 0.0036316 | 0.0036317 | 0.99473 | -0.036826 | 0.9948 | -0.036339 | 1.3451
49 | -0.050156 | -0.012605 | 0.050246 | 0.012639 | 9.0061e-05 | 3.4301e-05 | 0.074784 | 0.074783 | 0.074784 | 0.99815 | -0.012876 | 1 | 0 | 27.6976
50 | 0.053273 | 0.01339 | -0.053272 | -0.013389 | 8.3945e-07 | 3.2006e-07 | 0.079285 | 0.079285 | 0.079285 | 1 | 0 | 0.99998 | -0.00011318 | 29.3647
51 | 0.051757 | 0.013009 | -0.051701 | -0.012988 | 5.5832e-05 | 2.1276e-05 | 0.077029 | 0.077029 | 0.077029 | 0.99998 | -0.00011318 | 0.99887 | -0.0078686 | 28.5294
52 | 0.041668 | 0.010474 | -0.041636 | -0.010461 | 3.2908e-05 | 1.2478e-05 | 0.062084 | 0.062084 | 0.062084 | 0.99887 | -0.0078686 | 0.99806 | -0.013545 | 22.9941
53 | 0.010032 | 0.0025144 | -0.010032 | -0.0025143 | 4.1326e-07 | 1.2014e-07 | 0.014945 | 0.014945 | 0.014945 | 0.99887 | -0.0078686 | 0.99883 | -0.0081661 | 5.5353
54 | 0.0089794 | 0.0022505 | -0.0089764 | -0.0022497 | 2.9606e-06 | 7.9179e-07 | 0.013377 | 0.013377 | 0.013377 | 0.99883 | -0.0081661 | 0.99849 | -0.010548 | 4.9546
55 | 0.0044068 | 0.0011041 | -0.0044063 | -0.0011042 | 4.6966e-07 | -4.2609e-08 | 0.0066036 | 0.0066036 | 0.0066036 | 0.99299 | -0.049096 | 0.99288 | -0.049866 | 2.4458
56 | 0.0028208 | 0.00070683 | -0.0028207 | -0.00070693 | 1.2738e-07 | -9.8727e-08 | 0.0042275 | 0.0042275 | 0.0042275 | 0.99288 | -0.049866 | 0.99283 | -0.050193 | 1.5657
57 | 0.004939 | 0.0012378 | -0.0049388 | -0.0012378 | 1.5233e-07 | -3.482e-10 | 0.0073604 | 0.0073604 | 0.0073604 | 0.99849 | -0.010548 | 0.99846 | -0.010771 | 2.7261

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10536 | 0.02629

## res_load
| p_mw | q_mvar
0 | 0.00032397 | 8.1194e-05
1 | 0.0002375 | 5.9524e-05
2 | 0.00046954 | 0.00011768
3 | 0.00046178 | 0.00011573
4 | 0.0050815 | 0.0012735
5 | 0.0003946 | 9.8897e-05
6 | 0.0019174 | 0.00048055
7 | 0.0019844 | 0.00049733
8 | 0.00068687 | 0.00017215
9 | 0.0021629 | 0.00054207
10 | 0.0015523 | 0.00038904
11 | 0.0015894 | 0.00039835
12 | 0.0028838 | 0.00072275
13 | 0.0018934 | 0.00047454
14 | 0.0013 | 0.00032582
15 | 0.0025849 | 0.00064784
16 | 0.001951 | 0.00048898
17 | 0.00023957 | 6.0042e-05
18 | 0.00015294 | 3.833e-05
19 | 0.00068731 | 0.00017226
20 | 0.0021215 | 0.00053169
21 | 0.0011064 | 0.00027728
22 | 0.0023743 | 0.00059505
23 | 0.0017775 | 0.00044547
24 | 0.0047153 | 0.0011818
25 | 0.002091 | 0.00052405
26 | 0.0024872 | 0.00062336
27 | 0.00104 | 0.00026065
28 | 0.0068328 | 0.0017125
29 | 0.0022014 | 0.00055173
30 | 0.012867 | 0.0032249
31 | 0.0035264 | 0.0008838
32 | 0.00311 | 0.00077944
33 | 0.0014894 | 0.00037327
34 | 0.0014569 | 0.00036514
35 | 0.0013427 | 0.00033651
36 | 0.0010118 | 0.00025359
37 | 0.0014159 | 0.00035487
38 | 0.0015478 | 0.00038791
39 | 0.001453 | 0.00036415
40 | 0.001257 | 0.00031503
41 | 0.0010437 | 0.00026157
42 | 0.0015156 | 0.00037985
43 | 0.0010483 | 0.00026272
44 | 0.0010527 | 0.00026382
45 | 0.0015855 | 0.00039736
46 | 0.0028207 | 0.00070693
47 | 0.0040375 | 0.0010119
48 | 0.0049388 | 0.0012378

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1