## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-39_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2054-39_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2054-39_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2054-39_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2054-39_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2054-39_0_2_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_2054-39_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_2054-39_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2054-39_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2054-39_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2054-39_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2054-39_0_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_2054-39_0_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_2054-39_0_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_2054-39_0_2_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2054-39_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2054-39_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2054-39_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2054-39_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2054-39_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2054-39_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2054-39_0_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_2054-39_0_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2054-39_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_2054-39_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2054-39_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2054-39_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2054-39_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2054-39_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2054-39_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2054-39_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2054-39_0_2_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_2054-39_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2054-39_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2054-39_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2054-39_0_2_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2054-39_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2054-39_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2054-39_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2054-39_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2054-39_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2054-39_0_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2054-39_0_2_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2054-39_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2054-39_0_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2054-39_0_2_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_2054-39_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_2054-39_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_2054-39_0_2_node_48 | 0.4 | n |  | TRUE
49 | bus_MV_454_2_node_252 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-39_0_2_load_0 | 0 | 0.0050892 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-39_0_2_load_1 | 1 | 0.0041012 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-39_0_2_load_3 | 3 | 0.0055649 | 0.0013947 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-39_0_2_load_36 | 5 | 0.0055788 | 0.0013982 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-39_0_2_load_18 | 6 | 0.0020759 | 0.00052026 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-39_0_2_load_5 | 8 | 0.0029467 | 0.00073852 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-39_0_2_load_6 | 9 | 0.0077564 | 0.0019439 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-39_0_2_load_27 | 11 | 0.0047718 | 0.0011959 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-39_0_2_load_26 | 12 | 0.0034174 | 0.00085648 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-39_0_2_load_35 | 13 | 0.0037543 | 0.0009409 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-39_0_2_load_24 | 14 | 0.002137 | 0.00053559 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-39_0_2_load_8 | 15 | 0.00079069 | 0.00019817 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-39_0_2_load_9 | 16 | 0.00046912 | 0.00011757 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-39_0_2_load_10 | 17 | 0.0021546 | 0.00053999 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-39_0_2_load_12 | 19 | 0.0043206 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-39_0_2_load_25 | 20 | 0.003943 | 0.00098822 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-39_0_2_load_28 | 21 | 0.00040291 | 0.00010098 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-39_0_2_load_37 | 22 | 0.0043089 | 0.0010799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-39_0_2_load_23 | 23 | 0.0040481 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-39_0_2_load_20 | 24 | 0.00033615 | 8.4247e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-39_0_2_load_13 | 25 | 0.0044232 | 0.0011086 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-39_0_2_load_14 | 26 | 0.013613 | 0.0034118 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-39_0_2_load_16 | 27 | 0.012207 | 0.0030594 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-39_0_2_load_40 | 31 | 0.00423 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-39_0_2_load_21 | 32 | 0.002547 | 0.00063835 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-39_0_2_load_30 | 33 | 0.049142 | 0.012316 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-39_0_2_load_38 | 35 | 0.00205 | 0.00051377 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-39_0_2_load_22 | 36 | 0.0026142 | 0.00065519 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-39_0_2_load_32 | 37 | 0.0018012 | 0.00045143 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2054-39_0_2_load_34 | 38 | 0.0068168 | 0.0017085 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2054-39_0_2_load_29 | 39 | 0.0024902 | 0.00062409 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2054-39_0_2_load_33 | 40 | 0.0066541 | 0.0016677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2054-39_0_2_load_41 | 41 | 0.0028025 | 0.00070237 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2054-39_0_2_load_42 | 42 | 0.00084338 | 0.00021137 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2054-39_0_2_load_43 | 43 | 0.00035275 | 8.8407e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2054-39_0_2_load_44 | 45 | 0.00043659 | 0.00010942 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2054-39_0_2_load_45 | 46 | 0.0028569 | 0.00071601 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2054-39_0_2_load_46 | 47 | 0.00038585 | 9.6704e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2054-39_0_2_load_48 | 48 | 0.00090204 | 0.00022607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-39_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-39_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-39_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0081759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-39_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.033366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-39_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.013102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-39_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.024161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-39_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.026278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-39_0_2_line_7 | NAYY 4x150 SE | 7 | 28 | 0.060388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2054-39_0_2_line_8 | NAYY 4x150 SE | 7 | 25 | 0.020524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2054-39_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0051435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-39_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.028842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-39_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.003722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_2054-39_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0095998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2054-39_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.023384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2054-39_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.011835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2054-39_0_2_line_15 | NAYY 4x150 SE | 13 | 38 | 0.050434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2054-39_0_2_line_16 | NAYY 4x150 SE | 14 | 36 | 0.016691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_2054-39_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0050886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_2054-39_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.023598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_2054-39_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.022434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2054-39_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.010093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2054-39_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.018778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2054-39_0_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.025139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2054-39_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.011639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2054-39_0_2_line_24 | NAYY 4x150 SE | 20 | 23 | 0.048646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_2054-39_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.025853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2054-39_0_2_line_26 | NAYY 4x150 SE | 23 | 37 | 0.064863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-39_0_2_line_27 | NAYY 4x150 SE | 23 | 36 | 0.0038218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_2054-39_0_2_line_28 | NAYY 4x150 SE | 24 | 29 | 0.0074147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2054-39_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.00058489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2054-39_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.041795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2054-39_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.016268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_2054-39_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.068748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2054-39_0_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.040538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-39_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.022507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-39_0_2_line_35 | NAYY 4x150 SE | 30 | 33 | 0.031116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-39_0_2_line_36 | NAYY 4x150 SE | 31 | 34 | 0.035477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2054-39_0_2_line_37 | NAYY 4x150 SE | 33 | 39 | 0.064762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2054-39_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.040512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2054-39_0_2_line_39 | NAYY 4x150 SE | 38 | 41 | 1.5272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2054-39_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.029946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2054-39_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.039451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2054-39_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.0073371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2054-39_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.41036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2054-39_0_2_line_44 | NAYY 4x150 SE | 44 | 48 | 0.023471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2054-39_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.042648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2054-39_0_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.025474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2054-39_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.11914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-39_0_2_trafo_37 | 0.25 MVA 20/0.4 kV | 49 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2557640.1083 | 1187365.0645 | 2557603.5729 | 1187354.2122
1 | 2557659.5577 | 1187370.8418 | 2557640.1083 | 1187365.0645
2 | 2557595.7355 | 1187351.8841 | 2557603.5729 | 1187354.2122
3 | 2557664.3207 | 1187337.8234 | 2557659.5577 | 1187370.8418
4 | 2557651.201 | 1187337.0938 | 2557664.3207 | 1187337.8234
5 | 2557664.3207 | 1187337.8234 | 2557665.5059 | 1187329.5883 | 2557667.7696 | 1187313.9099
6 | 2557671.5196 | 1187287.9008 | 2557670.0146 | 1187298.3616 | 2557667.7696 | 1187313.9099
7 | 2557671.5196 | 1187287.9008 | 2557679.9839 | 1187228.1195
8 | 2557671.5196 | 1187287.9008 | 2557651.0175 | 1187286.9653
9 | 2557519.2264 | 1187359.4848 | 2557514.5109 | 1187357.4307
10 | 2557488.069 | 1187345.9127 | 2557514.5109 | 1187357.4307
11 | 2557488.069 | 1187345.9127 | 2557488.5015 | 1187349.6095
12 | 2557488.069 | 1187345.9127 | 2557487.1647 | 1187336.3556
13 | 2557491.2184 | 1187372.8352 | 2557488.5015 | 1187349.6095
14 | 2557486.0497 | 1187324.573 | 2557487.1647 | 1187336.3556
15 | 2557529.2465 | 1187402.2449 | 2557511.0949 | 1187394.3197 | 2557499.7015 | 1187387.4414 | 2557491.684 | 1187376.8149 | 2557491.2184 | 1187372.8352
16 | 2557486.0497 | 1187324.573 | 2557484.4773 | 1187307.9563
17 | 2557538.0605 | 1187294.4751 | 2557538.3694 | 1187299.5543
18 | 2557539.8022 | 1187323.1091 | 2557538.3694 | 1187299.5543
19 | 2557536.6984 | 1187272.0823 | 2557538.0605 | 1187294.4751
20 | 2557539.8022 | 1187323.1091 | 2557540.415 | 1187333.1835
21 | 2557536.6984 | 1187272.0823 | 2557523.5735 | 1187273.8543 | 2557518.399 | 1187275.8179
22 | 2557536.6984 | 1187272.0823 | 2557549.0617 | 1187274.7848 | 2557560.3955 | 1187280.0193
23 | 2557541.1217 | 1187344.8015 | 2557540.415 | 1187333.1835
24 | 2557518.399 | 1187275.8179 | 2557498.0464 | 1187283.5412 | 2557489.8874 | 1187288.413 | 2557485.1114 | 1187294.8282 | 2557484.1173 | 1187304.1515 | 2557484.1173 | 1187304.1515
25 | 2557585.3144 | 1187283.6427 | 2557576.4613 | 1187284.8846 | 2557567.1259 | 1187283.1277 | 2557560.3955 | 1187280.0193
26 | 2557484.1173 | 1187304.1515 | 2557450.8542 | 1187248.467
27 | 2557484.1173 | 1187304.1515 | 2557484.4773 | 1187307.9563
28 | 2557592.6572 | 1187282.6128 | 2557585.3144 | 1187283.6427
29 | 2557651.0175 | 1187286.9653 | 2557650.4332 | 1187286.9386
30 | 2557650.4332 | 1187286.9386 | 2557639.6803 | 1187286.4479 | 2557608.8171 | 1187283.2231
31 | 2557592.6572 | 1187282.6128 | 2557597.0396 | 1187281.9924 | 2557608.8171 | 1187283.2231
32 | 2557644.0621 | 1187187.8633 | 2557650.7556 | 1187187.1599 | 2557657.0585 | 1187188.3826 | 2557663.875 | 1187191.0357 | 2557667.9348 | 1187193.3304 | 2557672.5113 | 1187194.254 | 2557675.8339 | 1187196.9431 | 2557680.7405 | 1187202.4557 | 2557684.444 | 1187208.3105 | 2557682.0629 | 1187215.7314 | 2557680.6529 | 1187222.4005 | 2557679.9839 | 1187228.1195
33 | 2557679.9839 | 1187228.1195 | 2557685.6091 | 1187229.5249 | 2557694.2761 | 1187231.7091 | 2557716.6724 | 1187218.8965
34 | 2557592.6572 | 1187282.6128 | 2557593.1587 | 1187305.1143
35 | 2557644.0621 | 1187187.8633 | 2557614.3724 | 1187197.1761
36 | 2557727.4141 | 1187190.2631 | 2557729.9076 | 1187206.2431 | 2557727.2536 | 1187212.8432 | 2557716.6724 | 1187218.8965
37 | 2557552.5791 | 1187216.5588 | 2557614.3724 | 1187197.1761
38 | 2557727.4141 | 1187190.2631 | 2557735.7195 | 1187188.7702 | 2557767.3635 | 1187194.0017
39 | 2557529.2465 | 1187402.2449 | 2556661.9552 | 1188659.2728
40 | 2557556.6907 | 1187414.2272 | 2557529.2465 | 1187402.2449
41 | 2556661.9552 | 1188659.2728 | 2556627.46 | 1188640.1305
42 | 2556621.0445 | 1188636.5704 | 2556627.46 | 1188640.1305
43 | 2556216.2179 | 1188703.7285 | 2556621.0445 | 1188636.5704
44 | 2556216.2179 | 1188703.7285 | 2556195.6169 | 1188692.4828
45 | 2556216.2179 | 1188703.7285 | 2556201.8281 | 1188725.9906 | 2556185.6891 | 1188726.2169
46 | 2556160.2174 | 1188726.574 | 2556160.2174 | 1188726.574 | 2556185.6891 | 1188726.2169
47 | 2556160.2174 | 1188726.574 | 2556062.592 | 1188794.8725

## bus_geodata
| x | y | coords
0 | 2557640.1083 | 1187365.0645
1 | 2557603.5729 | 1187354.2122
2 | 2557659.5577 | 1187370.8418
3 | 2557595.7355 | 1187351.8841
4 | 2557664.3207 | 1187337.8234
5 | 2557651.201 | 1187337.0938
6 | 2557667.7696 | 1187313.9099
7 | 2557671.5196 | 1187287.9008
8 | 2557519.2264 | 1187359.4848
9 | 2557514.5109 | 1187357.4307
10 | 2557488.069 | 1187345.9127
11 | 2557488.5015 | 1187349.6095
12 | 2557487.1647 | 1187336.3556
13 | 2557491.2184 | 1187372.8352
14 | 2557486.0497 | 1187324.573
15 | 2557538.3694 | 1187299.5543
16 | 2557538.0605 | 1187294.4751
17 | 2557539.8022 | 1187323.1091
18 | 2557536.6984 | 1187272.0823
19 | 2557540.415 | 1187333.1835
20 | 2557518.399 | 1187275.8179
21 | 2557560.3955 | 1187280.0193
22 | 2557541.1217 | 1187344.8015
23 | 2557484.1173 | 1187304.1515
24 | 2557585.3144 | 1187283.6427
25 | 2557651.0175 | 1187286.9653
26 | 2557650.4332 | 1187286.9386
27 | 2557608.8171 | 1187283.2231
28 | 2557679.9839 | 1187228.1195
29 | 2557592.6572 | 1187282.6128
30 | 2557644.0621 | 1187187.8633
31 | 2557716.6724 | 1187218.8965
32 | 2557593.1587 | 1187305.1143
33 | 2557614.3724 | 1187197.1761
34 | 2557727.4141 | 1187190.2631
35 | 2557767.3635 | 1187194.0017
36 | 2557484.4774 | 1187307.9563
37 | 2557450.8542 | 1187248.467
38 | 2557529.2465 | 1187402.2449
39 | 2557552.5791 | 1187216.5588
40 | 2557556.6907 | 1187414.2272
41 | 2556661.9552 | 1188659.2728
42 | 2556627.46 | 1188640.1305
43 | 2556621.0445 | 1188636.5704
44 | 2556216.2179 | 1188703.7285
45 | 2556160.2174 | 1188726.574
46 | 2556185.6891 | 1188726.2169
47 | 2556062.592 | 1188794.8725
48 | 2556195.6169 | 1188692.4828
49 | 2557536.6984 | 1187272.0823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97759 | -0.15722 | 0.0050892 | 0.0012755
1 | 0.97705 | -0.16107 | 0.0041012 | 0.0010279
2 | 0.97802 | -0.15409 | 0 | 0
3 | 0.97698 | -0.16154 | 0.0055649 | 0.0013947
4 | 0.97874 | -0.14895 | 0 | 0
5 | 0.97864 | -0.14972 | 0.0055788 | 0.0013982
6 | 0.97946 | -0.14384 | 0.0020759 | 0.00052026
7 | 0.98032 | -0.13771 | 0 | 0
8 | 0.98612 | -0.097118 | 0.0029467 | 0.00073852
9 | 0.98614 | -0.096962 | 0.0077564 | 0.0019439
10 | 0.98659 | -0.093795 | 0 | 0
11 | 0.98651 | -0.094385 | 0.0047718 | 0.0011959
12 | 0.98688 | -0.091745 | 0.0034174 | 0.00085648
13 | 0.98607 | -0.097525 | 0.0037543 | 0.0009409
14 | 0.98726 | -0.089013 | 0.002137 | 0.00053559
15 | 0.99418 | -0.040271 | 0.00079069 | 0.00019817
16 | 0.99354 | -0.044745 | 0.00046912 | 0.00011757
17 | 0.99717 | -0.019502 | 0.0021546 | 0.00053999
18 | 0.99071 | -0.064487 | 0 | 0
19 | 0.99847 | -0.010548 | 0.0043206 | 0.0010828
20 | 0.98991 | -0.070186 | 0.003943 | 0.00098822
21 | 0.98863 | -0.07908 | 0.00040291 | 0.00010098
22 | 1 | 0 | -0.18513 | -0.046601
23 | 0.98796 | -0.084008 | 0.0040481 | 0.0010145
24 | 0.98649 | -0.094098 | 0.00033615 | 8.4247e-05
25 | 0.98152 | -0.12916 | 0.0044232 | 0.0011086
26 | 0.98156 | -0.1289 | 0.013613 | 0.0034118
27 | 0.98456 | -0.10766 | 0.012207 | 0.0030594
28 | 0.97776 | -0.15593 | 0 | 0
29 | 0.98587 | -0.098404 | 0 | 0
30 | 0.97516 | -0.17451 | 0 | 0
31 | 0.97739 | -0.15859 | 0.00423 | 0.0010601
32 | 0.98579 | -0.098993 | 0.002547 | 0.00063835
33 | 0.9728 | -0.19142 | 0.049142 | 0.012316
34 | 0.97728 | -0.15936 | 0 | 0
35 | 0.97716 | -0.16022 | 0.00205 | 0.00051377
36 | 0.98782 | -0.084981 | 0.0026142 | 0.00065519
37 | 0.98779 | -0.085205 | 0.0018012 | 0.00045143
38 | 0.98526 | -0.10333 | 0.0068168 | 0.0017085
39 | 0.97257 | -0.19312 | 0.0024902 | 0.00062409
40 | 0.98497 | -0.10538 | 0.0066541 | 0.0016677
41 | 0.97568 | -0.17297 | 0.0028025 | 0.00070237
42 | 0.97535 | -0.17538 | 0.00084338 | 0.00021137
43 | 0.97529 | -0.17577 | 0.00035275 | 8.8407e-05
44 | 0.97254 | -0.19572 | 0 | 0
45 | 0.97228 | -0.1976 | 0.00043659 | 0.00010942
46 | 0.97231 | -0.19738 | 0.0028569 | 0.00071601
47 | 0.97221 | -0.1981 | 0.00038585 | 9.6704e-05
48 | 0.97251 | -0.19594 | 0.00090204 | 0.00022607
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0096716 | 0.0024241 | -0.0096664 | -0.0024226 | 5.1542e-06 | 1.5048e-06 | 0.014721 | 0.014722 | 0.014722 | 0.97759 | -0.15722 | 0.97705 | -0.16107 | 5.4525
1 | -0.014761 | -0.0036996 | 0.014767 | 0.0037018 | 6.3911e-06 | 2.2036e-06 | 0.022468 | 0.022468 | 0.022468 | 0.97759 | -0.15722 | 0.97802 | -0.15409 | 8.3215
2 | 0.0055652 | 0.0013947 | -0.0055649 | -0.0013947 | 3.6649e-07 | 3.8571e-08 | 0.0084756 | 0.0084757 | 0.0084757 | 0.97705 | -0.16107 | 0.97698 | -0.16154 | 3.1391
3 | -0.014767 | -0.0037018 | 0.014778 | 0.0037054 | 1.051e-05 | 3.6233e-06 | 0.022468 | 0.022468 | 0.022468 | 0.97802 | -0.15409 | 0.97874 | -0.14895 | 8.3214
4 | 0.0055793 | 0.0013982 | -0.0055788 | -0.0013982 | 5.8826e-07 | 6.1612e-08 | 0.0084824 | 0.0084825 | 0.0084825 | 0.97874 | -0.14895 | 0.97864 | -0.14972 | 3.1417
5 | -0.020357 | -0.0051036 | 0.020371 | 0.0051089 | 1.4442e-05 | 5.2507e-06 | 0.03095 | 0.03095 | 0.03095 | 0.97874 | -0.14895 | 0.97946 | -0.14384 | 11.463
6 | -0.022447 | -0.0056291 | 0.022466 | 0.0056361 | 1.9071e-05 | 7.0041e-06 | 0.034104 | 0.034104 | 0.034104 | 0.97946 | -0.14384 | 0.98032 | -0.13771 | 12.631
7 | 0.058318 | 0.014664 | -0.05817 | -0.014609 | 0.00014769 | 5.5287e-05 | 0.088538 | 0.088538 | 0.088538 | 0.98032 | -0.13771 | 0.97776 | -0.15593 | 16.396
8 | -0.080784 | -0.0203 | 0.080881 | 0.020337 | 9.6312e-05 | 3.6525e-05 | 0.12264 | 0.12264 | 0.12264 | 0.98032 | -0.13771 | 0.98152 | -0.12916 | 22.7114
9 | -0.0029467 | -0.00073852 | 0.0029468 | 0.00073848 | 6.3456e-08 | -4.1214e-08 | 0.0044465 | 0.0044465 | 0.0044465 | 0.98612 | -0.097118 | 0.98614 | -0.096962 | 1.6469
10 | -0.010703 | -0.0026824 | 0.010708 | 0.0026839 | 4.6942e-06 | 1.4373e-06 | 0.01615 | 0.01615 | 0.01615 | 0.98614 | -0.096962 | 0.98659 | -0.093795 | 5.9816
11 | 0.030708 | 0.0076643 | -0.030705 | -0.0076635 | 2.4897e-06 | 8.6253e-07 | 0.046303 | 0.046303 | 0.046303 | 0.98659 | -0.093795 | 0.98651 | -0.094385 | 8.5747
12 | -0.041415 | -0.010348 | 0.041427 | 0.010352 | 1.1682e-05 | 4.248e-06 | 0.062453 | 0.062453 | 0.062453 | 0.98659 | -0.093795 | 0.98688 | -0.091745 | 11.5654
13 | 0.025933 | 0.0064676 | -0.025922 | -0.0064639 | 1.1157e-05 | 3.6944e-06 | 0.039106 | 0.039106 | 0.039106 | 0.98651 | -0.094385 | 0.98607 | -0.097525 | 7.2418
14 | -0.044844 | -0.011209 | 0.044861 | 0.011215 | 1.6877e-05 | 6.1887e-06 | 0.067606 | 0.067606 | 0.067606 | 0.98688 | -0.091745 | 0.98726 | -0.089013 | 12.5196
15 | 0.022168 | 0.005523 | -0.02215 | -0.0055175 | 1.7597e-05 | 5.4823e-06 | 0.033441 | 0.033441 | 0.033441 | 0.98607 | -0.097525 | 0.98526 | -0.10333 | 6.1928
16 | -0.046998 | -0.011751 | 0.047024 | 0.01176 | 2.6123e-05 | 9.6204e-06 | 0.070827 | 0.070827 | 0.070827 | 0.98726 | -0.089013 | 0.98782 | -0.084981 | 13.1161
17 | 0.17605 | 0.04439 | -0.17594 | -0.044348 | 0.00011031 | 4.2296e-05 | 0.26359 | 0.26359 | 0.26359 | 0.99418 | -0.040271 | 0.99354 | -0.044745 | 48.8137
18 | -0.17684 | -0.044588 | 0.17736 | 0.044786 | 0.00051618 | 0.00019792 | 0.26478 | 0.26478 | 0.26478 | 0.99418 | -0.040271 | 0.99717 | -0.019502 | 49.0329
19 | 0.17547 | 0.04423 | -0.17499 | -0.044045 | 0.00048375 | 0.00018548 | 0.26289 | 0.26289 | 0.26289 | 0.99354 | -0.044745 | 0.99071 | -0.064487 | 48.6837
20 | -0.17951 | -0.045326 | 0.17974 | 0.045413 | 0.00022616 | 8.6722e-05 | 0.26799 | 0.26799 | 0.26799 | 0.99717 | -0.019502 | 0.99847 | -0.010548 | 49.6282
21 | 0.059591 | 0.014929 | -0.059544 | -0.014911 | 4.6933e-05 | 1.7568e-05 | 0.089501 | 0.089501 | 0.089501 | 0.99071 | -0.064487 | 0.98991 | -0.070186 | 16.5743
22 | 0.1154 | 0.029116 | -0.11516 | -0.029026 | 0.00023581 | 9.005e-05 | 0.17339 | 0.17339 | 0.17339 | 0.99071 | -0.064487 | 0.98863 | -0.07908 | 32.1094
23 | -0.18406 | -0.046496 | 0.18433 | 0.046601 | 0.0002735 | 0.00010489 | 0.27443 | 0.27443 | 0.27443 | 0.99847 | -0.010548 | 1 | 0 | 50.8206
24 | 0.055601 | 0.013923 | -0.055495 | -0.013883 | 0.00010601 | 3.9525e-05 | 0.083574 | 0.083575 | 0.083575 | 0.98991 | -0.070186 | 0.98796 | -0.084008 | 15.4768
25 | 0.11476 | 0.028925 | -0.11452 | -0.028833 | 0.00024081 | 9.1956e-05 | 0.17278 | 0.17278 | 0.17278 | 0.98863 | -0.07908 | 0.98649 | -0.094098 | 31.9971
26 | 0.0018015 | 0.00045072 | -0.0018012 | -0.00045143 | 2.9796e-07 | -7.1585e-07 | 0.0027131 | 0.0027134 | 0.0027134 | 0.98796 | -0.084008 | 0.98779 | -0.085205 | 1.005
27 | 0.049645 | 0.012418 | -0.049639 | -0.012416 | 6.6653e-06 | 2.4657e-06 | 0.074765 | 0.074765 | 0.074765 | 0.98796 | -0.084008 | 0.98782 | -0.084981 | 13.8453
28 | 0.11418 | 0.028749 | -0.11411 | -0.028723 | 6.8661e-05 | 2.6219e-05 | 0.17228 | 0.17228 | 0.17228 | 0.98649 | -0.094098 | 0.98587 | -0.098404 | 31.9033
29 | -0.085304 | -0.021446 | 0.085307 | 0.021447 | 3.0531e-06 | 1.1595e-06 | 0.12935 | 0.12935 | 0.12935 | 0.98152 | -0.12916 | 0.98156 | -0.1289 | 23.9531
30 | -0.09892 | -0.024859 | 0.099214 | 0.02497 | 0.00029334 | 0.00011176 | 0.14998 | 0.14998 | 0.14998 | 0.98156 | -0.1289 | 0.98456 | -0.10766 | 27.7749
31 | -0.11142 | -0.02803 | 0.11156 | 0.028085 | 0.00014399 | 5.4967e-05 | 0.16843 | 0.16843 | 0.16843 | 0.98456 | -0.10766 | 0.98587 | -0.098404 | 31.1913
32 | 0.051887 | 0.013036 | -0.051754 | -0.012986 | 0.00013379 | 4.9737e-05 | 0.078977 | 0.078978 | 0.078978 | 0.97776 | -0.15593 | 0.97516 | -0.17451 | 14.6255
33 | 0.0062828 | 0.0015735 | -0.0062805 | -0.0015731 | 2.3125e-06 | 3.8117e-07 | 0.0095611 | 0.0095613 | 0.0095613 | 0.97776 | -0.15593 | 0.97739 | -0.15859 | 3.5412
34 | 0.0025472 | 0.00063814 | -0.002547 | -0.00063835 | 2.0759e-07 | -2.0713e-07 | 0.0038446 | 0.0038447 | 0.0038447 | 0.98587 | -0.098404 | 0.98579 | -0.098993 | 1.4239
35 | 0.051754 | 0.012986 | -0.051633 | -0.01294 | 0.00012111 | 4.6193e-05 | 0.078978 | 0.078978 | 0.078978 | 0.97516 | -0.17451 | 0.9728 | -0.19142 | 29.2511
36 | 0.0020504 | 0.000513 | -0.0020502 | -0.00051336 | 2.157e-07 | -3.6162e-07 | 0.0031214 | 0.0031215 | 0.0031215 | 0.97739 | -0.15859 | 0.97728 | -0.15936 | 1.1561
37 | 0.0024907 | 0.00062352 | -0.0024902 | -0.00062409 | 5.8655e-07 | -5.7825e-07 | 0.0038096 | 0.0038099 | 0.0038099 | 0.9728 | -0.19142 | 0.97257 | -0.19312 | 1.4111
38 | 0.0020502 | 0.00051336 | -0.00205 | -0.00051377 | 2.4633e-07 | -4.128e-07 | 0.0031215 | 0.0031217 | 0.0031217 | 0.97728 | -0.15936 | 0.97716 | -0.16022 | 1.1562
39 | 0.0086775 | 0.002141 | -0.0085957 | -0.0021481 | 8.1773e-05 | -7.0712e-06 | 0.013093 | 0.013107 | 0.013107 | 0.98526 | -0.10333 | 0.97568 | -0.17297 | 2.4272
40 | 0.0066559 | 0.001668 | -0.0066541 | -0.0016677 | 1.8882e-06 | 3.4498e-07 | 0.010052 | 0.010052 | 0.010052 | 0.98526 | -0.10333 | 0.98497 | -0.10538 | 3.7231
41 | 0.0057932 | 0.0014457 | -0.0057913 | -0.0014455 | 1.9207e-06 | 2.4621e-07 | 0.008833 | 0.0088332 | 0.0088332 | 0.97568 | -0.17297 | 0.97535 | -0.17538 | 3.2716
42 | 0.0049479 | 0.0012341 | -0.0049476 | -0.0012341 | 2.6074e-07 | 8.7186e-09 | 0.0075465 | 0.0075465 | 0.0075465 | 0.97535 | -0.17538 | 0.97529 | -0.17577 | 2.795
43 | 0.0045949 | 0.0011457 | -0.0045823 | -0.0011459 | 1.258e-05 | -2.6784e-07 | 0.0070084 | 0.0070102 | 0.0070102 | 0.97529 | -0.17577 | 0.97254 | -0.19572 | 2.5964
44 | 0.00090207 | 0.00022579 | -0.00090204 | -0.00022607 | 2.7897e-08 | -2.805e-07 | 0.0013801 | 0.0013802 | 0.0013802 | 0.97254 | -0.19572 | 0.97251 | -0.19594 | 0.51118
45 | 0.0036802 | 0.00092015 | -0.0036794 | -0.00092036 | 8.436e-07 | -2.0463e-07 | 0.0056301 | 0.0056303 | 0.0056303 | 0.97254 | -0.19572 | 0.97231 | -0.19738 | 2.0853
46 | -0.00082247 | -0.00020466 | 0.0008225 | 0.00020435 | 2.5163e-08 | -3.0626e-07 | 0.0012582 | 0.0012581 | 0.0012582 | 0.97228 | -0.1976 | 0.97231 | -0.19738 | 0.46601
47 | 0.00038588 | 9.5236e-05 | -0.00038585 | -9.6704e-05 | 2.5906e-08 | -1.4676e-06 | 0.00059004 | 0.00059057 | 0.00059057 | 0.97228 | -0.1976 | 0.97221 | -0.1981 | 0.21873

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18944 | 0.047681

## res_load
| p_mw | q_mvar
0 | 0.0050892 | 0.0012755
1 | 0.0041012 | 0.0010279
2 | 0.0055649 | 0.0013947
3 | 0.0055788 | 0.0013982
4 | 0.0020759 | 0.00052026
5 | 0.0029467 | 0.00073852
6 | 0.0077564 | 0.0019439
7 | 0.0047718 | 0.0011959
8 | 0.0034174 | 0.00085648
9 | 0.0037543 | 0.0009409
10 | 0.002137 | 0.00053559
11 | 0.00079069 | 0.00019817
12 | 0.00046912 | 0.00011757
13 | 0.0021546 | 0.00053999
14 | 0.0043206 | 0.0010828
15 | 0.003943 | 0.00098822
16 | 0.00040291 | 0.00010098
17 | 0.0043089 | 0.0010799
18 | 0.0040481 | 0.0010145
19 | 0.00033615 | 8.4247e-05
20 | 0.0044232 | 0.0011086
21 | 0.013613 | 0.0034118
22 | 0.012207 | 0.0030594
23 | 0.00423 | 0.0010601
24 | 0.002547 | 0.00063835
25 | 0.049142 | 0.012316
26 | 0.00205 | 0.00051377
27 | 0.0026142 | 0.00065519
28 | 0.0018012 | 0.00045143
29 | 0.0068168 | 0.0017085
30 | 0.0024902 | 0.00062409
31 | 0.0066541 | 0.0016677
32 | 0.0028025 | 0.00070237
33 | 0.00084338 | 0.00021137
34 | 0.00035275 | 8.8407e-05
35 | 0.00043659 | 0.00010942
36 | 0.0028569 | 0.00071601
37 | 0.00038585 | 9.6704e-05
38 | 0.00090204 | 0.00022607

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1