## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-50_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2054-50_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2054-50_0_4_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_2054-50_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2054-50_0_4_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_2054-50_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2054-50_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2054-50_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2054-50_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2054-50_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2054-50_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2054-50_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2054-50_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_2054-50_0_4_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_2054-50_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2054-50_0_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_2054-50_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2054-50_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_2054-50_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_2054-50_0_4_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_2054-50_0_4_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_2054-50_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2054-50_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_2054-50_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2054-50_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2054-50_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2054-50_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2054-50_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_2054-50_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2054-50_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2054-50_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_2054-50_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2054-50_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2054-50_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2054-50_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2054-50_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2054-50_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2054-50_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2054-50_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2054-50_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2054-50_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2054-50_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2054-50_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2054-50_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_MV_454_1_node_282 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-50_0_4_load_0 | 0 | 0.0032306 | 0.00080967 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-50_0_4_load_13 | 2 | 0.00062378 | 0.00015633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-50_0_4_load_43 | 4 | 0.0023902 | 0.00059904 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-50_0_4_load_15 | 7 | 0.0017561 | 0.00044012 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-50_0_4_load_27 | 12 | 0.0021608 | 0.00054155 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-50_0_4_load_32 | 13 | 0.0037159 | 0.00093129 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-50_0_4_load_30 | 15 | 0.002169 | 0.0005436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-50_0_4_load_33 | 18 | 0.001626 | 0.00040752 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-50_0_4_load_36 | 19 | 0.0069327 | 0.0017375 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-50_0_4_load_45 | 20 | 0.032488 | 0.0081422 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-50_0_4_load_26 | 22 | 0.0013051 | 0.0003271 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-50_0_4_load_17 | 23 | 0.0015446 | 0.00038711 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-50_0_4_load_14 | 24 | 0.0018541 | 0.00046468 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-50_0_4_load_44 | 25 | 0.0062371 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-50_0_4_load_31 | 27 | 0.0015667 | 0.00039266 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-50_0_4_load_41 | 28 | 0.00088697 | 0.00022229 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-50_0_4_load_35 | 30 | 0.0052287 | 0.0013104 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-50_0_4_load_20 | 31 | 0.0087807 | 0.0022007 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-50_0_4_load_18 | 32 | 0.0042259 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-50_0_4_load_21 | 34 | 0.0055933 | 0.0014018 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-50_0_4_load_23 | 35 | 0.0016618 | 0.00041647 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-50_0_4_load_22 | 36 | 0.003694 | 0.00092581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-50_0_4_load_24 | 37 | 0.0018054 | 0.00045248 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-50_0_4_load_29 | 38 | 0.0020353 | 0.00051009 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-50_0_4_load_40 | 39 | 0.0013302 | 0.00033337 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-50_0_4_load_37 | 40 | 0.0056909 | 0.0014263 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-50_0_4_load_38 | 41 | 0.0048651 | 0.0012193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-50_0_4_load_39 | 42 | 0.0012475 | 0.00031265 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-50_0_4_load_42 | 43 | 0.00088697 | 0.00022229 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-50_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0065815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-50_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.014827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-50_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0092718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-50_0_4_line_3 | NAYY 4x150 SE | 2 | 24 | 0.022832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-50_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.0479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-50_0_4_line_5 | NAYY 4x150 SE | 4 | 25 | 0.023427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-50_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.007857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-50_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.035878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2054-50_0_4_line_8 | NAYY 4x150 SE | 6 | 23 | 0.01373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-50_0_4_line_9 | NAYY 4x150 SE | 7 | 24 | 0.023995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-50_0_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.053051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-50_0_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.057272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-50_0_4_line_12 | NAYY 4x150 SE | 8 | 11 | 0.048725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-50_0_4_line_13 | NAYY 4x150 SE | 8 | 12 | 0.018794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2054-50_0_4_line_14 | NAYY 4x150 SE | 9 | 13 | 0.0071083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-50_0_4_line_15 | NAYY 4x150 SE | 9 | 14 | 0.028058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-50_0_4_line_16 | NAYY 4x150 SE | 9 | 15 | 0.01922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-50_0_4_line_17 | NAYY 4x150 SE | 10 | 20 | 0.006224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-50_0_4_line_18 | NAYY 4x150 SE | 10 | 21 | 0.084486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-50_0_4_line_19 | NAYY 4x150 SE | 11 | 22 | 0.014958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2054-50_0_4_line_20 | NAYY 4x150 SE | 12 | 26 | 0.014586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2054-50_0_4_line_21 | NAYY 4x150 SE | 14 | 19 | 0.019306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2054-50_0_4_line_22 | NAYY 4x150 SE | 15 | 27 | 0.010504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2054-50_0_4_line_23 | NAYY 4x150 SE | 16 | 17 | 0.044879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-50_0_4_line_24 | NAYY 4x150 SE | 16 | 18 | 0.050828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-50_0_4_line_25 | NAYY 4x150 SE | 17 | 28 | 0.049723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-50_0_4_line_26 | NAYY 4x150 SE | 18 | 29 | 0.010342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-50_0_4_line_27 | NAYY 4x150 SE | 19 | 30 | 0.026275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-50_0_4_line_28 | NAYY 4x150 SE | 21 | 23 | 0.046613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-50_0_4_line_29 | NAYY 4x150 SE | 22 | 31 | 0.072894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-50_0_4_line_30 | NAYY 4x150 SE | 26 | 38 | 0.011521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-50_0_4_line_31 | NAYY 4x150 SE | 28 | 39 | 0.014209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-50_0_4_line_32 | NAYY 4x150 SE | 29 | 35 | 0.025701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-50_0_4_line_33 | NAYY 4x150 SE | 29 | 34 | 0.018507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-50_0_4_line_34 | NAYY 4x150 SE | 30 | 40 | 0.00095618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-50_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.0038895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-50_0_4_line_36 | NAYY 4x150 SE | 32 | 33 | 0.029052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2054-50_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.043718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2054-50_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.006103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2054-50_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.027166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2054-50_0_4_line_40 | NAYY 4x150 SE | 39 | 43 | 0.0027429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2054-50_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.019934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2054-50_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.015059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-50_0_4_trafo_5 | 0.25 MVA 20/0.4 kV | 44 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2555106.2713 | 1188677.9088 | 2555101.2579 | 1188682.1727
1 | 2555106.2713 | 1188677.9088 | 2555117.0117 | 1188667.6876
2 | 2555106.2713 | 1188677.9088 | 2555105.6095 | 1188677.1355 | 2555102.7724 | 1188674.133 | 2555100.6895 | 1188672.0253 | 2555099.9127 | 1188671.164
3 | 2555133.5513 | 1188651.9475 | 2555117.0117 | 1188667.6876
4 | 2555099.9127 | 1188671.164 | 2555097.2737 | 1188673.2072 | 2555095.5402 | 1188673.9428 | 2555091.8621 | 1188673.7259 | 2555088.3787 | 1188673.0295 | 2555085.7627 | 1188672.0375 | 2555083.1906 | 1188669.8001 | 2555065.1259 | 1188646.8134
5 | 2555065.1259 | 1188646.8134 | 2555061.7812 | 1188642.5573 | 2555053.8804 | 1188632.6001 | 2555050.7882 | 1188628.2919
6 | 2555182.1785 | 1188614.7264 | 2555177.1372 | 1188610.7287 | 2555176.0395 | 1188609.8031
7 | 2555176.0395 | 1188609.8031 | 2555161.3456 | 1188625.622 | 2555150.9621 | 1188635.4358
8 | 2555182.1785 | 1188614.7264 | 2555189.8963 | 1188621.6723 | 2555191.9964 | 1188624.2789
9 | 2555133.5513 | 1188651.9475 | 2555142.1613 | 1188643.7538 | 2555150.9621 | 1188635.4358
10 | 2555191.037 | 1188764.5087 | 2555180.5226 | 1188772.114 | 2555172.6114 | 1188777.9877 | 2555157.1251 | 1188790.822 | 2555163.8784 | 1188798.3421
11 | 2555191.037 | 1188764.5087 | 2555188.3372 | 1188761.494 | 2555195.042 | 1188757.4748 | 2555192.0555 | 1188753.873 | 2555192.5792 | 1188753.5244 | 2555194.1673 | 1188752.7232 | 2555192.8133 | 1188749.1425 | 2555219.7133 | 1188727.5512
12 | 2555235.7243 | 1188751.0885 | 2555233.1421 | 1188751.5637 | 2555230.2842 | 1188749.8397 | 2555228.064 | 1188748.7446 | 2555210.9438 | 1188754.2538 | 2555192.7439 | 1188763.273 | 2555191.037 | 1188764.5087
13 | 2555191.037 | 1188764.5087 | 2555203.566 | 1188778.517
14 | 2555163.8784 | 1188798.3421 | 2555158.4481 | 1188802.9291
15 | 2555144.4198 | 1188792.0737 | 2555147.89 | 1188796.1054 | 2555155.6788 | 1188789.1653 | 2555157.1251 | 1188790.822 | 2555163.8784 | 1188798.3421
16 | 2555163.8784 | 1188798.3421 | 2555177.5299 | 1188786.9779 | 2555178.463 | 1188788.0978
17 | 2555215.5899 | 1188722.8795 | 2555219.7133 | 1188727.5512
18 | 2555208.5785 | 1188664.6891 | 2555211.5908 | 1188668.6798 | 2555217.7827 | 1188676.5933 | 2555236.3854 | 1188699.8999 | 2555240.4629 | 1188708.6297 | 2555234.4724 | 1188713.3216 | 2555227.8147 | 1188718.5411 | 2555229.0389 | 1188720.066 | 2555219.7133 | 1188727.5512
19 | 2555235.7243 | 1188751.0885 | 2555236.4723 | 1188752.1835 | 2555244.157 | 1188763.4434
20 | 2555213.2896 | 1188789.3888 | 2555203.566 | 1188778.517
21 | 2555144.4198 | 1188792.0737 | 2555133.3185 | 1188776.2784
22 | 2555178.463 | 1188788.0978 | 2555185.1871 | 1188796.1673
23 | 2555171.302 | 1188913.4162 | 2555201.1406 | 1188941.0075 | 2555204.4939 | 1188943.706
24 | 2555171.302 | 1188913.4162 | 2555207.6733 | 1188877.9111
25 | 2555204.4939 | 1188943.706 | 2555208.375 | 1188940.5085 | 2555233.5486 | 1188915.6284 | 2555240.237 | 1188922.0906
26 | 2555215.0741 | 1188870.6866 | 2555207.6733 | 1188877.9111
27 | 2555116.7217 | 1188755.954 | 2555128.1522 | 1188768.9276 | 2555133.3185 | 1188776.2784
28 | 2555208.5785 | 1188664.6891 | 2555205.4044 | 1188660.4772 | 2555206.5853 | 1188649.1066 | 2555206.9979 | 1188645.1346 | 2555202.8022 | 1188639.9744 | 2555202.524 | 1188638.4868 | 2555201.1141 | 1188635.5958 | 2555191.9964 | 1188624.2789
29 | 2555262.3176 | 1188824.443 | 2555266.8762 | 1188819.526 | 2555271.2392 | 1188814.4572 | 2555272.2268 | 1188810.8812 | 2555271.6499 | 1188807.1835 | 2555271.2029 | 1188803.507 | 2555269.2562 | 1188800.2198 | 2555244.157 | 1188763.4434
30 | 2555213.2896 | 1188789.3888 | 2555218.0352 | 1188788.5527 | 2555224.7299 | 1188789.2918
31 | 2555250.4554 | 1188931.9634 | 2555240.237 | 1188922.0906
32 | 2555215.0741 | 1188870.6866 | 2555233.4964 | 1188888.6083
33 | 2555215.0741 | 1188870.6866 | 2555228.3387 | 1188857.7813
34 | 2555116.0896 | 1188755.2366 | 2555116.7217 | 1188755.954
35 | 2555259.6733 | 1188827.2953 | 2555262.3176 | 1188824.443
36 | 2555259.6733 | 1188827.2953 | 2555279.8253 | 1188848.2217
37 | 2555259.6733 | 1188827.2953 | 2555228.3387 | 1188857.7813
38 | 2555233.4964 | 1188888.6083 | 2555237.871 | 1188892.8639
39 | 2555258.4607 | 1188895.5085 | 2555252.1563 | 1188902.0482 | 2555249.6734 | 1188902.5226 | 2555247.1901 | 1188901.9297 | 2555237.871 | 1188892.8639
40 | 2555250.4554 | 1188931.9634 | 2555252.428 | 1188933.8693
41 | 2555102.9114 | 1188740.2793 | 2555116.0896 | 1188755.2366
42 | 2555114.5475 | 1188730.72 | 2555102.9114 | 1188740.2793

## bus_geodata
| x | y | coords
0 | 2555101.2579 | 1188682.1727
1 | 2555106.2713 | 1188677.9088
2 | 2555117.0117 | 1188667.6876
3 | 2555099.9127 | 1188671.164
4 | 2555065.1259 | 1188646.8134
5 | 2555176.0395 | 1188609.8031
6 | 2555182.1785 | 1188614.7264
7 | 2555150.9621 | 1188635.4358
8 | 2555191.037 | 1188764.5087
9 | 2555163.8784 | 1188798.3421
10 | 2555219.7133 | 1188727.5512
11 | 2555235.7243 | 1188751.0885
12 | 2555203.566 | 1188778.517
13 | 2555158.4481 | 1188802.9291
14 | 2555144.4198 | 1188792.0737
15 | 2555178.463 | 1188788.0978
16 | 2555171.302 | 1188913.4162
17 | 2555204.4939 | 1188943.706
18 | 2555207.6733 | 1188877.9111
19 | 2555133.3185 | 1188776.2784
20 | 2555215.5899 | 1188722.8795
21 | 2555208.5785 | 1188664.6891
22 | 2555244.157 | 1188763.4434
23 | 2555191.9964 | 1188624.2789
24 | 2555133.5513 | 1188651.9475
25 | 2555050.7882 | 1188628.2919
26 | 2555213.2896 | 1188789.3888
27 | 2555185.1871 | 1188796.1673
28 | 2555240.237 | 1188922.0906
29 | 2555215.0741 | 1188870.6866
30 | 2555116.7217 | 1188755.954
31 | 2555262.3176 | 1188824.443
32 | 2555279.8253 | 1188848.2217
33 | 2555259.6733 | 1188827.2953
34 | 2555228.3387 | 1188857.7813
35 | 2555233.4964 | 1188888.6083
36 | 2555237.871 | 1188892.8639
37 | 2555258.4607 | 1188895.5085
38 | 2555224.7299 | 1188789.2919
39 | 2555250.4554 | 1188931.9634
40 | 2555116.0896 | 1188755.2366
41 | 2555102.9114 | 1188740.2793
42 | 2555114.5476 | 1188730.72
43 | 2555252.428 | 1188933.8693
44 | 2555188.3372 | 1188761.494

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99003 | -0.069968 | 0.0032306 | 0.00080967
1 | 0.99006 | -0.069752 | 0 | 0
2 | 0.99032 | -0.067961 | 0.00062378 | 0.00015633
3 | 0.98995 | -0.070567 | 0 | 0
4 | 0.98935 | -0.07478 | 0.0023902 | 0.00059904
5 | 0.99205 | -0.055695 | 0 | 0
6 | 0.99224 | -0.054411 | 0 | 0
7 | 0.99122 | -0.06156 | 0.0017561 | 0.00044012
8 | 1 | 0 | -0.11898 | -0.029693
9 | 0.99761 | -0.016683 | 0 | 0
10 | 0.99588 | -0.02879 | 0 | 0
11 | 0.99778 | -0.015517 | 0 | 0
12 | 0.99989 | -0.00078779 | 0.0021608 | 0.00054155
13 | 0.99758 | -0.016947 | 0.0037159 | 0.00093129
14 | 0.99665 | -0.023435 | 0 | 0
15 | 0.99751 | -0.017403 | 0.002169 | 0.0005436
16 | 0.99207 | -0.055641 | 0 | 0
17 | 0.99187 | -0.057058 | 0 | 0
18 | 0.9923 | -0.054035 | 0.001626 | 0.00040752
19 | 0.99599 | -0.028088 | 0.0069327 | 0.0017375
20 | 0.99559 | -0.030825 | 0.032488 | 0.0081422
21 | 0.99374 | -0.043841 | 0 | 0
22 | 0.99709 | -0.020295 | 0.0013051 | 0.0003271
23 | 0.99255 | -0.052169 | 0.0015446 | 0.00038711
24 | 0.99073 | -0.065059 | 0.0018541 | 0.00046468
25 | 0.98914 | -0.076271 | 0.0062371 | 0.0015632
26 | 0.99985 | -0.0010844 | 0 | 0
27 | 0.99749 | -0.017568 | 0.0015667 | 0.00039266
28 | 0.99165 | -0.058626 | 0.00088697 | 0.00022229
29 | 0.99237 | -0.053537 | 0 | 0
30 | 0.99535 | -0.032595 | 0.0052287 | 0.0013104
31 | 0.9939 | -0.042704 | 0.0087807 | 0.0022007
32 | 0.99361 | -0.0448 | 0.0042259 | 0.0010591
33 | 0.99378 | -0.043559 | 0 | 0
34 | 0.99268 | -0.051303 | 0.0055933 | 0.0014018
35 | 0.9921 | -0.055404 | 0.0016618 | 0.00041647
36 | 0.99205 | -0.055745 | 0.003694 | 0.00092581
37 | 0.99198 | -0.056242 | 0.0018054 | 0.00045248
38 | 0.99981 | -0.0013186 | 0.0020353 | 0.00051009
39 | 0.9916 | -0.058946 | 0.0013302 | 0.00033337
40 | 0.99533 | -0.032708 | 0.0056909 | 0.0014263
41 | 0.99516 | -0.033937 | 0.0048651 | 0.0012193
42 | 0.99513 | -0.034126 | 0.0012475 | 0.00031265
43 | 0.9916 | -0.058971 | 0.00088697 | 0.00022229
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0032306 | -0.00080967 | 0.0032307 | 0.00080962 | 9.6827e-08 | -4.7393e-08 | 0.0048556 | 0.0048556 | 0.0048556 | 0.99003 | -0.069968 | 0.99006 | -0.069752 | 1.7984
1 | -0.011865 | -0.0029736 | 0.011868 | 0.0029745 | 2.9422e-06 | 9.4089e-07 | 0.017833 | 0.017833 | 0.017833 | 0.99006 | -0.069752 | 0.99032 | -0.067961 | 6.6048
2 | 0.0086346 | 0.002164 | -0.0086336 | -0.0021637 | 9.7436e-07 | 2.5553e-07 | 0.012977 | 0.012977 | 0.012977 | 0.99006 | -0.069752 | 0.98995 | -0.070567 | 4.8064
3 | -0.012492 | -0.0031309 | 0.012497 | 0.0031325 | 5.0195e-06 | 1.6367e-06 | 0.01877 | 0.01877 | 0.01877 | 0.99032 | -0.067961 | 0.99073 | -0.065059 | 6.9519
4 | 0.0086336 | 0.0021637 | -0.0086286 | -0.0021624 | 5.0338e-06 | 1.3206e-06 | 0.012977 | 0.012978 | 0.012978 | 0.98995 | -0.070567 | 0.98935 | -0.07478 | 4.8065
5 | 0.0062383 | 0.0015633 | -0.0062371 | -0.0015631 | 1.2869e-06 | 1.942e-07 | 0.0093826 | 0.0093827 | 0.0093827 | 0.98935 | -0.07478 | 0.98914 | -0.076271 | 3.4751
6 | -0.016127 | -0.0040442 | 0.01613 | 0.0040452 | 2.8691e-06 | 1.002e-06 | 0.024191 | 0.024191 | 0.024191 | 0.99205 | -0.055695 | 0.99224 | -0.054411 | 8.9595
7 | 0.016127 | 0.0040442 | -0.016114 | -0.0040397 | 1.3101e-05 | 4.5761e-06 | 0.024191 | 0.024191 | 0.024191 | 0.99205 | -0.055695 | 0.99122 | -0.06156 | 8.9596
8 | -0.01613 | -0.0040452 | 0.016135 | 0.004047 | 5.0138e-06 | 1.751e-06 | 0.024191 | 0.024191 | 0.024191 | 0.99224 | -0.054411 | 0.99255 | -0.052169 | 8.9595
9 | 0.014358 | 0.0035995 | -0.014351 | -0.0035972 | 6.9566e-06 | 2.3665e-06 | 0.021555 | 0.021555 | 0.021555 | 0.99122 | -0.06156 | 0.99073 | -0.065059 | 7.9832
10 | 0.03154 | 0.0079186 | -0.031467 | -0.0078912 | 7.2929e-05 | 2.7355e-05 | 0.046937 | 0.046937 | 0.046937 | 1 | 0 | 0.99761 | -0.016683 | 17.3841
11 | 0.050435 | 0.012677 | -0.050234 | -0.0126 | 0.00020136 | 7.6696e-05 | 0.075061 | 0.075062 | 0.075062 | 1 | 0 | 0.99588 | -0.02879 | 27.8006
12 | 0.032012 | 0.0080458 | -0.031943 | -0.0080199 | 6.9012e-05 | 2.5905e-05 | 0.047642 | 0.047642 | 0.047642 | 1 | 0 | 0.99778 | -0.015517 | 17.6454
13 | 0.0041967 | 0.0010513 | -0.0041962 | -0.0010514 | 4.5731e-07 | -7.0646e-08 | 0.0062446 | 0.0062447 | 0.0062447 | 1 | 0 | 0.99989 | -0.00078779 | 2.3128
14 | 0.003716 | 0.00093125 | -0.0037159 | -0.00093129 | 1.3627e-07 | -4.0397e-08 | 0.0055427 | 0.0055428 | 0.0055428 | 0.99761 | -0.016683 | 0.99758 | -0.016947 | 2.0529
15 | 0.024015 | 0.0060239 | -0.023992 | -0.0060156 | 2.2467e-05 | 8.275e-06 | 0.035822 | 0.035822 | 0.035822 | 0.99761 | -0.016683 | 0.99665 | -0.023435 | 13.2673
16 | 0.0037361 | 0.00093603 | -0.0037358 | -0.00093614 | 3.7245e-07 | -1.0768e-07 | 0.0055726 | 0.0055727 | 0.0055727 | 0.99761 | -0.016683 | 0.99751 | -0.017403 | 2.064
17 | 0.032497 | 0.0081456 | -0.032488 | -0.0081422 | 9.1568e-06 | 3.4409e-06 | 0.048556 | 0.048556 | 0.048556 | 0.99588 | -0.02879 | 0.99559 | -0.030825 | 17.9837
18 | 0.017737 | 0.0044545 | -0.0177 | -0.0044414 | 3.7038e-05 | 1.3149e-05 | 0.026506 | 0.026506 | 0.026506 | 0.99588 | -0.02879 | 0.99374 | -0.043841 | 9.8171
19 | 0.031943 | 0.0080199 | -0.031922 | -0.008012 | 2.1186e-05 | 7.9534e-06 | 0.047642 | 0.047643 | 0.047643 | 0.99778 | -0.015517 | 0.99709 | -0.020295 | 17.6454
20 | 0.0020354 | 0.0005098 | -0.0020353 | -0.00050996 | 8.3506e-08 | -1.5919e-07 | 0.003029 | 0.003029 | 0.003029 | 0.99989 | -0.00078779 | 0.99985 | -0.0010844 | 1.1219
21 | 0.023992 | 0.0060156 | -0.023977 | -0.0060099 | 1.5459e-05 | 5.6943e-06 | 0.035822 | 0.035822 | 0.035822 | 0.99665 | -0.023435 | 0.99599 | -0.028088 | 13.2673
22 | 0.0015668 | 0.00039254 | -0.0015667 | -0.00039266 | 3.5803e-08 | -1.2334e-07 | 0.0023372 | 0.0023372 | 0.0023372 | 0.99751 | -0.017403 | 0.99749 | -0.017568 | 0.86564
23 | 0.0031055 | 0.00077705 | -0.0031049 | -0.00077739 | 6.075e-07 | -3.4571e-07 | 0.0046575 | 0.0046577 | 0.0046577 | 0.99207 | -0.055641 | 0.99187 | -0.057058 | 1.7251
24 | -0.0031055 | -0.00077705 | 0.0031062 | 0.00077666 | 6.8797e-07 | -3.9184e-07 | 0.0046575 | 0.0046572 | 0.0046575 | 0.99207 | -0.055641 | 0.9923 | -0.054035 | 1.725
25 | 0.0031049 | 0.00077739 | -0.0031042 | -0.00077778 | 6.7313e-07 | -3.8272e-07 | 0.0046577 | 0.0046579 | 0.0046579 | 0.99187 | -0.057058 | 0.99165 | -0.058626 | 1.7252
26 | -0.0047322 | -0.0011842 | 0.0047325 | 0.0011842 | 3.2492e-07 | -8.6431e-09 | 0.0070956 | 0.0070955 | 0.0070956 | 0.9923 | -0.054035 | 0.99237 | -0.053537 | 2.628
27 | 0.017044 | 0.0042724 | -0.017034 | -0.0042687 | 1.0632e-05 | 3.7474e-06 | 0.025464 | 0.025464 | 0.025464 | 0.99599 | -0.028088 | 0.99535 | -0.032595 | 9.4313
28 | 0.0177 | 0.0044414 | -0.01768 | -0.0044341 | 2.0435e-05 | 7.2566e-06 | 0.026506 | 0.026506 | 0.026506 | 0.99374 | -0.043841 | 0.99255 | -0.052169 | 9.8171
29 | 0.030617 | 0.0076849 | -0.030522 | -0.0076493 | 9.4976e-05 | 3.5582e-05 | 0.045695 | 0.045695 | 0.045695 | 0.99709 | -0.020295 | 0.9939 | -0.042704 | 16.9241
30 | 0.0020353 | 0.00050996 | -0.0020353 | -0.00051009 | 6.5962e-08 | -1.2573e-07 | 0.003029 | 0.0030291 | 0.0030291 | 0.99985 | -0.0010844 | 0.99981 | -0.0013186 | 1.1219
31 | 0.0022172 | 0.00055548 | -0.0022171 | -0.00055563 | 9.814e-08 | -1.4555e-07 | 0.003327 | 0.003327 | 0.003327 | 0.99165 | -0.058626 | 0.9916 | -0.058946 | 1.2322
32 | 0.0071634 | 0.0017949 | -0.0071616 | -0.0017945 | 1.8503e-06 | 3.7969e-07 | 0.010741 | 0.010741 | 0.010741 | 0.99237 | -0.053537 | 0.9921 | -0.055404 | 3.9782
33 | -0.011896 | -0.002979 | 0.0119 | 0.0029802 | 3.674e-06 | 1.1739e-06 | 0.017837 | 0.017837 | 0.017837 | 0.99237 | -0.053537 | 0.99268 | -0.051303 | 6.6062
34 | 0.011805 | 0.0029583 | -0.011805 | -0.0029582 | 1.8582e-07 | 5.9043e-08 | 0.017648 | 0.017648 | 0.017648 | 0.99535 | -0.032595 | 0.99533 | -0.032708 | 6.5362
35 | 0.021741 | 0.0054486 | -0.021738 | -0.0054477 | 2.5713e-06 | 9.3857e-07 | 0.032549 | 0.032549 | 0.032549 | 0.9939 | -0.042704 | 0.99378 | -0.043559 | 12.0552
36 | -0.0042259 | -0.0010591 | 0.0042266 | 0.001059 | 7.2607e-07 | -9.7092e-08 | 0.0063287 | 0.0063286 | 0.0063287 | 0.99361 | -0.0448 | 0.99378 | -0.043559 | 2.344
37 | 0.017512 | 0.0043887 | -0.017493 | -0.004382 | 1.8756e-05 | 6.6479e-06 | 0.026221 | 0.026221 | 0.026221 | 0.99378 | -0.043559 | 0.99268 | -0.051303 | 9.7114
38 | 0.0054998 | 0.001378 | -0.0054996 | -0.001378 | 2.5913e-07 | 2.0861e-08 | 0.0082488 | 0.0082488 | 0.0082488 | 0.9921 | -0.055404 | 0.99205 | -0.055745 | 3.0551
39 | 0.0018055 | 0.00045217 | -0.0018054 | -0.00045248 | 1.2432e-07 | -3.0292e-07 | 0.0027081 | 0.0027082 | 0.0027082 | 0.99205 | -0.055745 | 0.99198 | -0.056242 | 1.003
40 | 0.00088697 | 0.00022226 | -0.00088696 | -0.00022229 | 3.0321e-09 | -3.4217e-08 | 0.001331 | 0.001331 | 0.001331 | 0.9916 | -0.058946 | 0.9916 | -0.058971 | 0.49296
41 | 0.0061137 | 0.0015319 | -0.0061126 | -0.0015318 | 1.0391e-06 | 1.4062e-07 | 0.0091398 | 0.0091399 | 0.0091399 | 0.99533 | -0.032708 | 0.99516 | -0.033937 | 3.3852
42 | 0.0012475 | 0.00031246 | -0.0012475 | -0.00031265 | 3.2696e-08 | -1.8308e-07 | 0.0018653 | 0.0018654 | 0.0018654 | 0.99516 | -0.033937 | 0.99513 | -0.034126 | 0.69087

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11898 | 0.029693

## res_load
| p_mw | q_mvar
0 | 0.0032306 | 0.00080967
1 | 0.00062378 | 0.00015633
2 | 0.0023902 | 0.00059904
3 | 0.0017561 | 0.00044012
4 | 0.0021608 | 0.00054155
5 | 0.0037159 | 0.00093129
6 | 0.002169 | 0.0005436
7 | 0.001626 | 0.00040752
8 | 0.0069327 | 0.0017375
9 | 0.032488 | 0.0081422
10 | 0.0013051 | 0.0003271
11 | 0.0015446 | 0.00038711
12 | 0.0018541 | 0.00046468
13 | 0.0062371 | 0.0015632
14 | 0.0015667 | 0.00039266
15 | 0.00088697 | 0.00022229
16 | 0.0052287 | 0.0013104
17 | 0.0087807 | 0.0022007
18 | 0.0042259 | 0.0010591
19 | 0.0055933 | 0.0014018
20 | 0.0016618 | 0.00041647
21 | 0.003694 | 0.00092581
22 | 0.0018054 | 0.00045248
23 | 0.0020353 | 0.00051009
24 | 0.0013302 | 0.00033337
25 | 0.0056909 | 0.0014263
26 | 0.0048651 | 0.0012193
27 | 0.0012475 | 0.00031265
28 | 0.00088697 | 0.00022229

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1