## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-52_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2054-52_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2054-52_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2054-52_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2054-52_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2054-52_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2054-52_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2054-52_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2054-52_0_3_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_2054-52_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2054-52_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2054-52_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_2054-52_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2054-52_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_2054-52_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2054-52_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2054-52_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2054-52_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2054-52_0_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2054-52_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_2054-52_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2054-52_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2054-52_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2054-52_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2054-52_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2054-52_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2054-52_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2054-52_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_2054-52_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2054-52_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2054-52_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2054-52_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2054-52_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2054-52_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_2054-52_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2054-52_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2054-52_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2054-52_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2054-52_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_MV_454_1_node_232 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-52_0_3_load_0 | 0 | 0.020067 | 0.0050292 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-52_0_3_load_3 | 3 | 0.0080354 | 0.0020139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-52_0_3_load_33 | 8 | 0.0089016 | 0.0022309 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-52_0_3_load_8 | 9 | 0.002812 | 0.00070476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-52_0_3_load_11 | 10 | 0.0036209 | 0.00090748 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-52_0_3_load_30 | 12 | 0.0023621 | 0.000592 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-52_0_3_load_31 | 13 | 0.0011801 | 0.00029577 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-52_0_3_load_27 | 15 | 0.011467 | 0.002874 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-52_0_3_load_29 | 18 | 0.0018763 | 0.00047025 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-52_0_3_load_28 | 19 | 0.0012281 | 0.0003078 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-52_0_3_load_13 | 20 | 0.00086011 | 0.00021556 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-52_0_3_load_16 | 23 | 0.0031749 | 0.00079571 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-52_0_3_load_18 | 25 | 0.046234 | 0.011587 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-52_0_3_load_20 | 26 | 0.0012538 | 0.00031423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-52_0_3_load_40 | 27 | 0.0033863 | 0.00084869 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-52_0_3_load_22 | 30 | 0.012512 | 0.0031358 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-52_0_3_load_35 | 31 | 0.0016159 | 0.00040498 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-52_0_3_load_37 | 33 | 0.0027322 | 0.00068475 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-52_0_3_load_34 | 34 | 0.0016423 | 0.0004116 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-52_0_3_load_24 | 35 | 0.0099298 | 0.0024886 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-52_0_3_load_36 | 37 | 0.010575 | 0.0026503 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-52_0_3_load_38 | 38 | 0.0030925 | 0.00077505 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-52_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.004321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-52_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-52_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-52_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.024505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-52_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-52_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.026905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-52_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.021276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-52_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.037355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2054-52_0_3_line_8 | NAYY 4x150 SE | 5 | 10 | 0.062043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-52_0_3_line_9 | NAYY 4x150 SE | 6 | 11 | 0.024333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-52_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.016347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-52_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0080438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-52_0_3_line_12 | NAYY 4x150 SE | 11 | 15 | 0.011409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-52_0_3_line_13 | NAYY 4x150 SE | 11 | 16 | 0.015882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2054-52_0_3_line_14 | NAYY 4x150 SE | 12 | 18 | 0.0075682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-52_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.041497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-52_0_3_line_16 | NAYY 4x150 SE | 14 | 29 | 0.059742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-52_0_3_line_17 | NAYY 4x150 SE | 16 | 32 | 0.001613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-52_0_3_line_18 | NAYY 4x150 SE | 16 | 25 | 0.025496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-52_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.04315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2054-52_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.00046105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2054-52_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.015526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2054-52_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.012061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2054-52_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0089109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-52_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.03632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-52_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.015083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-52_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.0019327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-52_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.045452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-52_0_3_line_28 | NAYY 4x150 SE | 26 | 31 | 0.0056963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-52_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.090498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-52_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.059593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-52_0_3_line_31 | NAYY 4x150 SE | 29 | 33 | 0.024939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-52_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.041459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-52_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.0067201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-52_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.024717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-52_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.019474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-52_0_3_line_36 | NAYY 4x150 SE | 34 | 37 | 0.002802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2054-52_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.034069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-52_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 39 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2555298.5911 | 1188435.5559 | 2555297.0194 | 1188439.581
1 | 2555275.2931 | 1188441.289 | 2555282.1362 | 1188444.484 | 2555282.8204 | 1188443.1559 | 2555285.2628 | 1188440.3027 | 2555287.153 | 1188439.0879 | 2555289.551 | 1188438.4474 | 2555293.6635 | 1188438.6056 | 2555297.0194 | 1188439.581
2 | 2555298.5911 | 1188435.5559 | 2555321.2359 | 1188441.8443
3 | 2555285.3806 | 1188419.3681 | 2555287.6811 | 1188420.9852 | 2555289.3304 | 1188423.2518 | 2555290.1362 | 1188425.9362 | 2555290.0198 | 1188428.7386 | 2555288.9944 | 1188431.3477 | 2555298.5911 | 1188435.5559
4 | 2555275.2931 | 1188441.289 | 2555272.3115 | 1188446.492 | 2555274.8852 | 1188447.9401 | 2555275.7083 | 1188448.8567 | 2555276.8621 | 1188450.1488 | 2555278.0266 | 1188452.8638 | 2555278.2546 | 1188455.8081 | 2555277.5362 | 1188458.6706 | 2555275.9377 | 1188461.1506
5 | 2555347.499 | 1188447.6079 | 2555328.9976 | 1188443.9998 | 2555321.2359 | 1188441.8443
6 | 2555285.3806 | 1188419.3681 | 2555283.0106 | 1188418.641 | 2555280.5238 | 1188418.6263 | 2555278.1416 | 1188419.3334 | 2555276.0694 | 1188420.6941 | 2555274.4819 | 1188422.6071 | 2555266.8961 | 1188418.028
7 | 2555285.3806 | 1188419.3681 | 2555302.2388 | 1188386.0341
8 | 2555275.9377 | 1188461.1506 | 2555278.5337 | 1188465.5781 | 2555280.3257 | 1188469.5779 | 2555281.5329 | 1188472.9041 | 2555282.5515 | 1188476.5095 | 2555288.571 | 1188500.0885 | 2555291.5947 | 1188510.705 | 2555293.8718 | 1188517.3583 | 2555294.9129 | 1188519.9969
9 | 2555347.499 | 1188447.6079 | 2555371.8023 | 1188449.8163
10 | 2555266.8961 | 1188418.028 | 2555268.2886 | 1188415.5385 | 2555273.0681 | 1188412.0674 | 2555277.0684 | 1188405.62
11 | 2555302.2388 | 1188386.0341 | 2555305.869 | 1188378.856
12 | 2555375.5138 | 1188460.6056 | 2555371.8023 | 1188449.8163
13 | 2555387.7104 | 1188450.3867 | 2555376.5347 | 1188450.2479 | 2555371.8023 | 1188449.8163
14 | 2555305.869 | 1188378.856 | 2555309.2846 | 1188372.1024
15 | 2555407.1777 | 1188575.143 | 2555389.59 | 1188537.5576
16 | 2555442.5916 | 1188526.9635 | 2555407.1777 | 1188575.143
17 | 2555387.7104 | 1188450.3867 | 2555389.3279 | 1188450.4302
18 | 2555387.7104 | 1188450.3867 | 2555387.9168 | 1188447.3835 | 2555394.0098 | 1188425.7393
19 | 2555328.7589 | 1188333.5966 | 2555322.4825 | 1188346.0059 | 2555309.2846 | 1188372.1024
20 | 2555328.9669 | 1188333.1852 | 2555328.7589 | 1188333.5966
21 | 2555405.3197 | 1188384.597 | 2555401.2546 | 1188399.5809
22 | 2555398.0967 | 1188411.221 | 2555401.2546 | 1188399.5809
23 | 2555405.3197 | 1188384.597 | 2555396.6394 | 1188382.5829 | 2555396.6394 | 1188382.5829
24 | 2555405.3197 | 1188384.597 | 2555415.7571 | 1188353.2686 | 2555417.0771 | 1188350.246
25 | 2555398.0967 | 1188411.221 | 2555394.0098 | 1188425.7393
26 | 2555395.4024 | 1188384.0679 | 2555396.6394 | 1188382.5829
27 | 2555375.6911 | 1188331.2446 | 2555390.0681 | 1188337.1627 | 2555417.0771 | 1188350.246
28 | 2555391.7567 | 1188388.4447 | 2555395.4024 | 1188384.0679
29 | 2555442.5916 | 1188526.9635 | 2555472.0151 | 1188482.4531 | 2555488.9881 | 1188457.0571 | 2555490.2747 | 1188450.5884
30 | 2555490.2747 | 1188450.5884 | 2555485.079 | 1188451.4498 | 2555473.6646 | 1188452.0352 | 2555432.2124 | 1188451.633 | 2555430.7701 | 1188451.5925
31 | 2555442.5916 | 1188526.9635 | 2555463.6318 | 1188540.3531
32 | 2555389.3279 | 1188450.4302 | 2555430.7701 | 1188451.5925
33 | 2555387.4556 | 1188393.6081 | 2555391.7567 | 1188388.4447
34 | 2555389.3279 | 1188450.4302 | 2555389.6713 | 1188466.7922 | 2555392.8372 | 1188474.5199
35 | 2555480.061 | 1188550.8083 | 2555463.6318 | 1188540.3531
36 | 2555385.6623 | 1188395.761 | 2555387.4556 | 1188393.6081
37 | 2555480.061 | 1188550.8083 | 2555461.4093 | 1188579.3176

## bus_geodata
| x | y | coords
0 | 2555297.0194 | 1188439.581
1 | 2555298.5911 | 1188435.5559
2 | 2555275.2931 | 1188441.289
3 | 2555321.2359 | 1188441.8443
4 | 2555285.3806 | 1188419.3682
5 | 2555275.9377 | 1188461.1506
6 | 2555347.499 | 1188447.6079
7 | 2555266.8961 | 1188418.028
8 | 2555302.2388 | 1188386.0341
9 | 2555277.0684 | 1188405.62
10 | 2555294.9129 | 1188519.9969
11 | 2555371.8023 | 1188449.8163
12 | 2555305.869 | 1188378.856
13 | 2555389.59 | 1188537.5576
14 | 2555407.1777 | 1188575.143
15 | 2555375.5138 | 1188460.6056
16 | 2555387.7104 | 1188450.3867
17 | 2555328.7589 | 1188333.5966
18 | 2555309.2846 | 1188372.1024
19 | 2555328.9669 | 1188333.1852
20 | 2555401.2546 | 1188399.5809
21 | 2555405.3197 | 1188384.597
22 | 2555398.0967 | 1188411.221
23 | 2555396.6394 | 1188382.5829
24 | 2555417.0771 | 1188350.246
25 | 2555394.0098 | 1188425.7393
26 | 2555395.4024 | 1188384.0679
27 | 2555375.6911 | 1188331.2446
28 | 2555490.2747 | 1188450.5884
29 | 2555442.5916 | 1188526.9635
30 | 2555430.7701 | 1188451.5925
31 | 2555391.7567 | 1188388.4447
32 | 2555389.3279 | 1188450.4302
33 | 2555463.6318 | 1188540.3531
34 | 2555387.4556 | 1188393.6081
35 | 2555392.8372 | 1188474.5199
36 | 2555480.061 | 1188550.8083
37 | 2555385.6623 | 1188395.761
38 | 2555461.4093 | 1188579.3176
39 | 2555375.5138 | 1188460.6056

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99489 | -0.035821 | 0.020067 | 0.0050292
1 | 0.99503 | -0.034789 | 0 | 0
2 | 0.99476 | -0.036742 | 0 | 0
3 | 0.99641 | -0.025114 | 0.0080354 | 0.0020139
4 | 0.99443 | -0.039039 | 0 | 0
5 | 0.99463 | -0.03761 | 0 | 0
6 | 0.99829 | -0.011904 | 0 | 0
7 | 0.99434 | -0.039643 | 0 | 0
8 | 0.99366 | -0.044463 | 0.0089016 | 0.0022309
9 | 0.99428 | -0.040107 | 0.002812 | 0.00070476
10 | 0.99431 | -0.039879 | 0.0036209 | 0.00090748
11 | 1 | 0 | -0.16008 | -0.040002
12 | 0.9936 | -0.044908 | 0.0023621 | 0.000592
13 | 0.99486 | -0.036049 | 0.0011801 | 0.00029577
14 | 0.99493 | -0.035555 | 0 | 0
15 | 0.99981 | -0.0013061 | 0.011467 | 0.002874
16 | 0.99777 | -0.015608 | 0 | 0
17 | 0.99349 | -0.045682 | 0 | 0
18 | 0.99356 | -0.045145 | 0.0018763 | 0.00047025
19 | 0.99349 | -0.045688 | 0.0012281 | 0.0003078
20 | 0.99438 | -0.039391 | 0.00086011 | 0.00021556
21 | 0.9939 | -0.042787 | 0 | 0
22 | 0.99477 | -0.03665 | 0 | 0
23 | 0.99366 | -0.044431 | 0.0031749 | 0.00079571
24 | 0.99372 | -0.044032 | 0 | 0
25 | 0.99526 | -0.033226 | 0.046234 | 0.011587
26 | 0.99362 | -0.044726 | 0.0012538 | 0.00031423
27 | 0.9935 | -0.045589 | 0.0033863 | 0.00084869
28 | 0.99594 | -0.028436 | 0 | 0
29 | 0.99503 | -0.03484 | 0 | 0
30 | 0.99654 | -0.024221 | 0.012512 | 0.0031358
31 | 0.99351 | -0.045523 | 0.0016159 | 0.00040498
32 | 0.9977 | -0.016084 | 0 | 0
33 | 0.99483 | -0.036306 | 0.0027322 | 0.00068475
34 | 0.99339 | -0.046353 | 0.0016423 | 0.0004116
35 | 0.99735 | -0.018546 | 0.0099298 | 0.0024886
36 | 0.99474 | -0.036914 | 0 | 0
37 | 0.99335 | -0.046653 | 0.010575 | 0.0026503
38 | 0.99459 | -0.037978 | 0.0030925 | 0.00077505
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02369 | -0.0059361 | 0.023693 | 0.0059373 | 3.385e-06 | 1.2458e-06 | 0.035432 | 0.035432 | 0.035432 | 0.99489 | -0.035821 | 0.99503 | -0.034789 | 13.1228
1 | 0.0036229 | 0.00090682 | -0.0036225 | -0.00090697 | 4.6057e-07 | -1.4928e-07 | 0.0054183 | 0.0054184 | 0.0054184 | 0.99489 | -0.035821 | 0.99476 | -0.036742 | 2.0068
2 | -0.040895 | -0.010249 | 0.04095 | 0.01027 | 5.4849e-05 | 2.079e-05 | 0.061157 | 0.061156 | 0.061157 | 0.99503 | -0.034789 | 0.99641 | -0.025114 | 22.6506
3 | 0.017202 | 0.0043121 | -0.017192 | -0.0043085 | 1.0119e-05 | 3.5739e-06 | 0.025725 | 0.025725 | 0.025725 | 0.99503 | -0.034789 | 0.99443 | -0.039039 | 9.5278
4 | 0.0036225 | 0.00090697 | -0.003622 | -0.00090711 | 4.3461e-07 | -1.4078e-07 | 0.0054184 | 0.0054185 | 0.0054185 | 0.99476 | -0.036742 | 0.99463 | -0.03761 | 2.0068
5 | -0.048985 | -0.012284 | 0.049075 | 0.012318 | 8.9852e-05 | 3.4207e-05 | 0.073156 | 0.073156 | 0.073156 | 0.99641 | -0.025114 | 0.99829 | -0.011904 | 27.0949
6 | 0.0028124 | 0.00070443 | -0.0028122 | -0.00070462 | 2.3512e-07 | -1.8557e-07 | 0.0042083 | 0.0042084 | 0.0042084 | 0.99443 | -0.039039 | 0.99434 | -0.039643 | 1.5586
7 | 0.014379 | 0.0036041 | -0.014369 | -0.0036004 | 1.0792e-05 | 3.6664e-06 | 0.021517 | 0.021517 | 0.021517 | 0.99443 | -0.039039 | 0.99366 | -0.044463 | 7.9693
8 | 0.003622 | 0.00090711 | -0.0036209 | -0.00090748 | 1.1367e-06 | -3.6778e-07 | 0.0054185 | 0.0054188 | 0.0054188 | 0.99463 | -0.03761 | 0.99431 | -0.039879 | 2.0069
9 | -0.049075 | -0.012318 | 0.049157 | 0.012349 | 8.1261e-05 | 3.0936e-05 | 0.073156 | 0.073156 | 0.073156 | 0.99829 | -0.011904 | 1 | 0 | 27.0949
10 | 0.0028122 | 0.00070462 | -0.002812 | -0.00070476 | 1.8066e-07 | -1.4255e-07 | 0.0042084 | 0.0042084 | 0.0042084 | 0.99434 | -0.039643 | 0.99428 | -0.040107 | 1.5587
11 | 0.0054671 | 0.0013695 | -0.0054668 | -0.0013695 | 3.3642e-07 | 2.5203e-08 | 0.0081868 | 0.0081869 | 0.0081869 | 0.99366 | -0.044463 | 0.9936 | -0.044908 | 3.0322
12 | 0.01147 | 0.0028747 | -0.011467 | -0.002874 | 2.0737e-06 | 6.4792e-07 | 0.017067 | 0.017067 | 0.017067 | 1 | 0 | 0.99981 | -0.0013061 | 6.3211
13 | 0.09865 | 0.024778 | -0.098436 | -0.024696 | 0.0002136 | 8.1947e-05 | 0.14681 | 0.14681 | 0.14681 | 1 | 0 | 0.99777 | -0.015608 | 54.3746
14 | 0.0031047 | 0.00077747 | -0.0031046 | -0.00077752 | 1.0209e-07 | -5.8755e-08 | 0.0046493 | 0.0046494 | 0.0046494 | 0.9936 | -0.044908 | 0.99356 | -0.045145 | 1.722
15 | -0.0011801 | -0.00029577 | 0.0011802 | 0.00029526 | 8.067e-08 | -5.0784e-07 | 0.0017651 | 0.001765 | 0.0017651 | 0.99486 | -0.036049 | 0.99493 | -0.035555 | 0.65376
16 | -0.0011802 | -0.00029526 | 0.0011803 | 0.00029453 | 1.1611e-07 | -7.3127e-07 | 0.001765 | 0.0017647 | 0.001765 | 0.99493 | -0.035555 | 0.99503 | -0.03484 | 0.65369
17 | 0.029486 | 0.0073901 | -0.029484 | -0.0073894 | 1.9464e-06 | 7.2753e-07 | 0.043975 | 0.043975 | 0.043975 | 0.99777 | -0.015608 | 0.9977 | -0.016084 | 16.2869
18 | 0.06895 | 0.017306 | -0.068781 | -0.017242 | 0.00016825 | 6.4379e-05 | 0.10284 | 0.10284 | 0.10284 | 0.99777 | -0.015608 | 0.99526 | -0.033226 | 38.0878
19 | -0.0012281 | -0.0003078 | 0.0012282 | 0.00030727 | 9.1099e-08 | -5.2375e-07 | 0.0018395 | 0.0018393 | 0.0018395 | 0.99349 | -0.045682 | 0.99356 | -0.045145 | 0.68129
20 | 0.0012281 | 0.0003078 | -0.0012281 | -0.0003078 | 9.7368e-10 | -5.5956e-09 | 0.0018395 | 0.0018395 | 0.0018395 | 0.99349 | -0.045682 | 0.99349 | -0.045688 | 0.68129
21 | 0.021668 | 0.0054314 | -0.021657 | -0.0054277 | 1.0185e-05 | 3.7161e-06 | 0.032424 | 0.032424 | 0.032424 | 0.99438 | -0.039391 | 0.9939 | -0.042787 | 12.0091
22 | -0.022528 | -0.005647 | 0.022536 | 0.0056501 | 8.553e-06 | 3.1331e-06 | 0.033711 | 0.033711 | 0.033711 | 0.99438 | -0.039391 | 0.99477 | -0.03665 | 12.4857
23 | 0.01827 | 0.0045796 | -0.018266 | -0.0045781 | 4.1602e-06 | 1.4846e-06 | 0.027353 | 0.027353 | 0.027353 | 0.9939 | -0.042787 | 0.99366 | -0.044431 | 10.1307
24 | 0.0033876 | 0.00084814 | -0.0033871 | -0.00084839 | 5.8293e-07 | -2.464e-07 | 0.0050715 | 0.0050717 | 0.0050717 | 0.9939 | -0.042787 | 0.99372 | -0.044032 | 1.8784
25 | -0.022536 | -0.0056501 | 0.022547 | 0.0056541 | 1.0696e-05 | 3.9179e-06 | 0.033711 | 0.033711 | 0.033711 | 0.99477 | -0.03665 | 0.99526 | -0.033226 | 12.4857
26 | 0.015091 | 0.0037824 | -0.01509 | -0.0037822 | 6.1591e-07 | 2.1185e-07 | 0.022599 | 0.022599 | 0.022599 | 0.99366 | -0.044431 | 0.99362 | -0.044726 | 8.3698
27 | 0.0033871 | 0.00084839 | -0.0033863 | -0.00084869 | 7.2956e-07 | -3.081e-07 | 0.0050717 | 0.0050719 | 0.0050719 | 0.99372 | -0.044032 | 0.9935 | -0.045589 | 1.8785
28 | 0.013836 | 0.003468 | -0.013835 | -0.0034674 | 1.5261e-06 | 5.132e-07 | 0.020721 | 0.020721 | 0.020721 | 0.99362 | -0.044726 | 0.99351 | -0.045523 | 7.6744
29 | 0.0070131 | 0.0017553 | -0.0070069 | -0.0017541 | 6.1993e-06 | 1.2078e-06 | 0.010477 | 0.010478 | 0.010478 | 0.99594 | -0.028436 | 0.99503 | -0.03484 | 3.8806
30 | -0.0070131 | -0.0017553 | 0.0070172 | 0.0017561 | 4.082e-06 | 7.9404e-07 | 0.010477 | 0.010477 | 0.010477 | 0.99594 | -0.028436 | 0.99654 | -0.024221 | 3.8805
31 | 0.0058266 | 0.0014595 | -0.0058254 | -0.0014594 | 1.1815e-06 | 1.3053e-07 | 0.0087131 | 0.0087132 | 0.0087132 | 0.99503 | -0.03484 | 0.99483 | -0.036306 | 3.2271
32 | -0.019529 | -0.0048919 | 0.019551 | 0.0048998 | 2.1997e-05 | 7.9196e-06 | 0.02916 | 0.02916 | 0.02916 | 0.99654 | -0.024221 | 0.9977 | -0.016084 | 10.7999
33 | 0.012219 | 0.0030625 | -0.012217 | -0.003062 | 1.4044e-06 | 4.5315e-07 | 0.018301 | 0.018301 | 0.018301 | 0.99351 | -0.045523 | 0.99339 | -0.046353 | 6.7781
34 | 0.0099332 | 0.0024896 | -0.0099298 | -0.0024886 | 3.3851e-06 | 9.7931e-07 | 0.014815 | 0.014815 | 0.014815 | 0.9977 | -0.016084 | 0.99735 | -0.018546 | 5.487
35 | 0.0030932 | 0.00077463 | -0.003093 | -0.00077479 | 2.601e-07 | -1.5278e-07 | 0.0046265 | 0.0046266 | 0.0046266 | 0.99483 | -0.036306 | 0.99474 | -0.036914 | 1.7135
36 | 0.010575 | 0.0026504 | -0.010575 | -0.0026503 | 4.3874e-07 | 1.3247e-07 | 0.015841 | 0.015841 | 0.015841 | 0.99339 | -0.046353 | 0.99335 | -0.046653 | 5.867
37 | 0.003093 | 0.00077479 | -0.0030925 | -0.00077505 | 4.5506e-07 | -2.6717e-07 | 0.0046266 | 0.0046267 | 0.0046267 | 0.99474 | -0.036914 | 0.99459 | -0.037978 | 1.7136

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16008 | 0.040002

## res_load
| p_mw | q_mvar
0 | 0.020067 | 0.0050292
1 | 0.0080354 | 0.0020139
2 | 0.0089016 | 0.0022309
3 | 0.002812 | 0.00070476
4 | 0.0036209 | 0.00090748
5 | 0.0023621 | 0.000592
6 | 0.0011801 | 0.00029577
7 | 0.011467 | 0.002874
8 | 0.0018763 | 0.00047025
9 | 0.0012281 | 0.0003078
10 | 0.00086011 | 0.00021556
11 | 0.0031749 | 0.00079571
12 | 0.046234 | 0.011587
13 | 0.0012538 | 0.00031423
14 | 0.0033863 | 0.00084869
15 | 0.012512 | 0.0031358
16 | 0.0016159 | 0.00040498
17 | 0.0027322 | 0.00068475
18 | 0.0016423 | 0.0004116
19 | 0.0099298 | 0.0024886
20 | 0.010575 | 0.0026503
21 | 0.0030925 | 0.00077505

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1