## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2054-5_1_1_node_133 | 0.4 | n |  | TRUE
1 | bus_LV_2054-5_1_1_node_29 | 0.4 | n |  | TRUE
2 | bus_LV_2054-5_1_1_node_34 | 0.4 | n |  | TRUE
3 | bus_LV_2054-5_1_1_node_134 | 0.4 | n |  | TRUE
4 | bus_LV_2054-5_1_1_node_136 | 0.4 | n |  | TRUE
5 | bus_LV_2054-5_1_1_node_135 | 0.4 | n |  | TRUE
6 | bus_LV_2054-5_1_1_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2054-5_1_1_node_137 | 0.4 | n |  | TRUE
8 | bus_LV_2054-5_1_1_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2054-5_1_1_node_141 | 0.4 | n |  | TRUE
10 | bus_LV_2054-5_1_1_node_138 | 0.4 | n |  | TRUE
11 | bus_LV_2054-5_1_1_node_139 | 0.4 | n |  | TRUE
12 | bus_LV_2054-5_1_1_node_140 | 0.4 | n |  | TRUE
13 | bus_LV_2054-5_1_1_node_142 | 0.4 | n |  | TRUE
14 | bus_LV_2054-5_1_1_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_2054-5_1_1_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_2054-5_1_1_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_2054-5_1_1_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_2054-5_1_1_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_2054-5_1_1_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_2054-5_1_1_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_2054-5_1_1_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2054-5_1_1_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_2054-5_1_1_node_155 | 0.4 | n |  | TRUE
24 | bus_LV_2054-5_1_1_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_2054-5_1_1_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_2054-5_1_1_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_2054-5_1_1_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_2054-5_1_1_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2054-5_1_1_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_2054-5_1_1_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_2054-5_1_1_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_2054-5_1_1_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_2054-5_1_1_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_2054-5_1_1_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2054-5_1_1_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_2054-5_1_1_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_2054-5_1_1_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_2054-5_1_1_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_2054-5_1_1_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_2054-5_1_1_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_2054-5_1_1_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_2054-5_1_1_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_2054-5_1_1_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_2054-5_1_1_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_2054-5_1_1_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_2054-5_1_1_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_2054-5_1_1_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_2054-5_1_1_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_2054-5_1_1_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_2054-5_1_1_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_2054-5_1_1_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_2054-5_1_1_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_2054-5_1_1_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_2054-5_1_1_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_2054-5_1_1_node_75 | 0.4 | n |  | TRUE
56 | bus_MV_454_1_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2054-5_1_1_load_133 | 0 | 0.0038366 | 0.00096155 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2054-5_1_1_load_136 | 4 | 0.006616 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2054-5_1_1_load_135 | 5 | 0.0087474 | 0.0021923 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2054-5_1_1_load_137 | 7 | 0.0018638 | 0.00046712 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2054-5_1_1_load_141 | 9 | 0.0018072 | 0.00045292 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2054-5_1_1_load_138 | 10 | 0.0023175 | 0.00058081 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2054-5_1_1_load_140 | 12 | 0.0036697 | 0.00091971 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2054-5_1_1_load_142 | 13 | 0.0016547 | 0.0004147 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2054-5_1_1_load_74 | 17 | 0.0025722 | 0.00064465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2054-5_1_1_load_57 | 18 | 0.0021307 | 0.000534 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2054-5_1_1_load_53 | 19 | 0.0018906 | 0.00047382 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2054-5_1_1_load_59 | 20 | 0.0021594 | 0.0005412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2054-5_1_1_load_155 | 23 | 0.0016339 | 0.00040949 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2054-5_1_1_load_39 | 25 | 0.0010497 | 0.00026309 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2054-5_1_1_load_41 | 27 | 0.0006614 | 0.00016576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2054-5_1_1_load_42 | 28 | 0.002074 | 0.00051978 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2054-5_1_1_load_43 | 30 | 0.0023444 | 0.00058756 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2054-5_1_1_load_45 | 32 | 0.0024807 | 0.00062172 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2054-5_1_1_load_46 | 33 | 0.0023874 | 0.00059833 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2054-5_1_1_load_65 | 35 | 0.0030997 | 0.00077686 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2054-5_1_1_load_64 | 36 | 0.00095741 | 0.00023995 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2054-5_1_1_load_49 | 37 | 0.0021324 | 0.00053442 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2054-5_1_1_load_50 | 38 | 0.0024944 | 0.00062516 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2054-5_1_1_load_51 | 39 | 0.0037512 | 0.00094015 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2054-5_1_1_load_52 | 40 | 0.0032731 | 0.00082033 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2054-5_1_1_load_66 | 41 | 0.002009 | 0.00050351 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2054-5_1_1_load_55 | 43 | 0.0022285 | 0.00055852 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2054-5_1_1_load_56 | 44 | 0.0022823 | 0.000572 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2054-5_1_1_load_72 | 45 | 0.0024237 | 0.00060743 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2054-5_1_1_load_58 | 46 | 0.0023089 | 0.00057867 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2054-5_1_1_load_60 | 47 | 0.0013065 | 0.00032744 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2054-5_1_1_load_61 | 48 | 0.0022589 | 0.00056613 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2054-5_1_1_load_62 | 49 | 0.0065311 | 0.0016369 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2054-5_1_1_load_63 | 50 | 0.0015873 | 0.00039782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2054-5_1_1_load_67 | 51 | 0.0023146 | 0.00058009 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2054-5_1_1_load_68 | 52 | 0.0024883 | 0.00062364 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2054-5_1_1_load_73 | 54 | 0.0035847 | 0.00089841 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2054-5_1_1_load_75 | 55 | 0.0017413 | 0.00043641 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2054-5_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0062231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2054-5_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2054-5_1_1_line_2 | NAYY 4x150 SE | 1 | 5 | 0.030913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2054-5_1_1_line_3 | NAYY 4x150 SE | 2 | 3 | 0.007765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2054-5_1_1_line_4 | NAYY 4x150 SE | 2 | 21 | 0.090106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2054-5_1_1_line_5 | NAYY 4x150 SE | 3 | 4 | 0.0044679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2054-5_1_1_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2054-5_1_1_line_7 | NAYY 4x150 SE | 6 | 8 | 0.044505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2054-5_1_1_line_8 | NAYY 4x150 SE | 7 | 8 | 0.017042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2054-5_1_1_line_9 | NAYY 4x150 SE | 7 | 9 | 0.029843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2054-5_1_1_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0014204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2054-5_1_1_line_11 | NAYY 4x150 SE | 10 | 11 | 0.022678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2054-5_1_1_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0060169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2054-5_1_1_line_13 | NAYY 4x150 SE | 11 | 13 | 0.027132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2054-5_1_1_line_14 | NAYY 4x150 SE | 14 | 15 | 0.14424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2054-5_1_1_line_15 | NAYY 4x150 SE | 14 | 16 | 0.037368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2054-5_1_1_line_16 | NAYY 4x150 SE | 14 | 17 | 0.019851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2054-5_1_1_line_17 | NAYY 4x150 SE | 15 | 20 | 0.044823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2054-5_1_1_line_18 | NAYY 4x150 SE | 16 | 18 | 0.019542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2054-5_1_1_line_19 | NAYY 4x150 SE | 16 | 19 | 0.017797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2054-5_1_1_line_20 | NAYY 4x150 SE | 17 | 55 | 0.029428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2054-5_1_1_line_21 | NAYY 4x150 SE | 18 | 22 | 0.069237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2054-5_1_1_line_22 | NAYY 4x150 SE | 19 | 42 | 0.019934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2054-5_1_1_line_23 | NAYY 4x150 SE | 20 | 46 | 0.00098529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2054-5_1_1_line_24 | NAYY 4x150 SE | 21 | 22 | 0.004684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2054-5_1_1_line_25 | NAYY 4x150 SE | 22 | 35 | 0.025243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2054-5_1_1_line_26 | NAYY 4x150 SE | 22 | 53 | 0.01949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2054-5_1_1_line_27 | NAYY 4x150 SE | 23 | 24 | 0.010085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2054-5_1_1_line_28 | NAYY 4x150 SE | 24 | 29 | 0.025242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2054-5_1_1_line_29 | NAYY 4x150 SE | 24 | 53 | 0.005015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2054-5_1_1_line_30 | NAYY 4x150 SE | 25 | 26 | 0.015734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2054-5_1_1_line_31 | NAYY 4x150 SE | 25 | 27 | 0.018865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2054-5_1_1_line_32 | NAYY 4x150 SE | 26 | 28 | 0.011855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2054-5_1_1_line_33 | NAYY 4x150 SE | 28 | 29 | 0.023337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2054-5_1_1_line_34 | NAYY 4x150 SE | 29 | 31 | 0.038085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2054-5_1_1_line_35 | NAYY 4x150 SE | 30 | 31 | 0.027845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2054-5_1_1_line_36 | NAYY 4x150 SE | 30 | 32 | 0.010194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2054-5_1_1_line_37 | NAYY 4x150 SE | 31 | 33 | 0.023669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2054-5_1_1_line_38 | NAYY 4x150 SE | 34 | 35 | 0.013323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2054-5_1_1_line_39 | NAYY 4x150 SE | 34 | 36 | 0.011724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2054-5_1_1_line_40 | NAYY 4x150 SE | 36 | 49 | 0.0098108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2054-5_1_1_line_41 | NAYY 4x150 SE | 37 | 38 | 0.015234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2054-5_1_1_line_42 | NAYY 4x150 SE | 37 | 39 | 0.018962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2054-5_1_1_line_43 | NAYY 4x150 SE | 38 | 40 | 0.010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2054-5_1_1_line_44 | NAYY 4x150 SE | 40 | 41 | 0.013365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2054-5_1_1_line_45 | NAYY 4x150 SE | 41 | 43 | 0.042589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2054-5_1_1_line_46 | NAYY 4x150 SE | 42 | 43 | 0.011393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2054-5_1_1_line_47 | NAYY 4x150 SE | 42 | 44 | 0.020819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2054-5_1_1_line_48 | NAYY 4x150 SE | 44 | 45 | 0.026775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2054-5_1_1_line_49 | NAYY 4x150 SE | 45 | 54 | 0.0031971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2054-5_1_1_line_50 | NAYY 4x150 SE | 47 | 48 | 0.04754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2054-5_1_1_line_51 | NAYY 4x150 SE | 47 | 49 | 0.0099886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2054-5_1_1_line_52 | NAYY 4x150 SE | 48 | 50 | 0.021968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2054-5_1_1_line_53 | NAYY 4x150 SE | 50 | 51 | 0.026381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2054-5_1_1_line_54 | NAYY 4x150 SE | 52 | 53 | 0.014965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2054-5_1_1_trafo_73 | 0.25 MVA 20/0.4 kV | 56 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2555341.7074 | 1189019.3534 | 2555343.7653 | 1189025.2264
1 | 2555353.6858 | 1189053.5382 | 2555343.7653 | 1189025.2264
2 | 2555341.7074 | 1189019.3534 | 2555360.1004 | 1189012.779 | 2555371.0013 | 1189009.5095
3 | 2555360.2218 | 1189049.4204 | 2555358.222 | 1189050.2247 | 2555356.476 | 1189051.3272 | 2555353.6858 | 1189053.5382
4 | 2555369.2851 | 1189117.0676 | 2555342.8391 | 1189106.4038 | 2555338.9418 | 1189104.3763 | 2555337.6151 | 1189083.0189 | 2555338.2239 | 1189076.722 | 2555338.3468 | 1189071.7406 | 2555338.9452 | 1189069.1458 | 2555339.8049 | 1189066.827 | 2555340.6694 | 1189065.1418 | 2555342.7874 | 1189062.7914 | 2555353.6858 | 1189053.5382
5 | 2555360.2218 | 1189049.4204 | 2555364.4997 | 1189048.1311
6 | 2555384.3154 | 1189005.5163 | 2555371.0013 | 1189009.5095
7 | 2555384.3154 | 1189005.5163 | 2555393.2647 | 1189002.8369 | 2555401.2035 | 1189016.9965 | 2555404.881 | 1189026.3519 | 2555407.3396 | 1189034.8827
8 | 2555407.3396 | 1189034.8827 | 2555422.7141 | 1189027.5306
9 | 2555422.7141 | 1189027.5306 | 2555443.091 | 1189016.9727 | 2555449.4328 | 1189014.2707
10 | 2555450.7395 | 1189013.7139 | 2555449.4328 | 1189014.2707
11 | 2555450.7395 | 1189013.7139 | 2555442.763 | 1188992.4847
12 | 2555440.6467 | 1188986.8522 | 2555442.763 | 1188992.4847
13 | 2555450.7395 | 1189013.7139 | 2555470.8261 | 1189005.1372 | 2555475.793 | 1189003.315
14 | 2555160.197 | 1189115.5104 | 2555211.1136 | 1189037.1521 | 2555254.7067 | 1189063.2175
15 | 2555286.8457 | 1189082.4318 | 2555254.7067 | 1189063.2175
16 | 2555254.7067 | 1189063.2175 | 2555244.31 | 1189080.1286
17 | 2555160.197 | 1189115.5104 | 2555198.1831 | 1189139.3043
18 | 2555286.8457 | 1189082.4318 | 2555304.1783 | 1189091.4575
19 | 2555286.8457 | 1189082.4318 | 2555278.5418 | 1189098.1731
20 | 2555228.8981 | 1189105.1977 | 2555244.31 | 1189080.1286
21 | 2555366.7519 | 1189121.0109 | 2555361.804 | 1189119.2246 | 2555341.2705 | 1189109.8063 | 2555315.6583 | 1189097.4355 | 2555304.1783 | 1189091.4575
22 | 2555269.2411 | 1189115.8041 | 2555278.5418 | 1189098.1731
23 | 2555198.1831 | 1189139.3043 | 2555199.0181 | 1189139.8274
24 | 2555366.7519 | 1189121.0109 | 2555369.2851 | 1189117.0676
25 | 2555366.7519 | 1189121.0109 | 2555353.0674 | 1189142.2228
26 | 2555366.7519 | 1189121.0109 | 2555368.5644 | 1189121.6643 | 2555377.3232 | 1189125.1453 | 2555378.4603 | 1189126.2596 | 2555379.5925 | 1189127.7408 | 2555380.3534 | 1189129.5361 | 2555380.6866 | 1189132.2796
27 | 2555390.7662 | 1189125.7341 | 2555385.2924 | 1189134.2129
28 | 2555371.4781 | 1189155.3611 | 2555384.0258 | 1189136.179 | 2555385.2924 | 1189134.2129
29 | 2555385.2924 | 1189134.2129 | 2555381.6335 | 1189132.4393 | 2555380.6866 | 1189132.2796
30 | 2555400.9546 | 1189174.5848 | 2555409.3208 | 1189161.2594
31 | 2555425.3052 | 1189171.279 | 2555409.3208 | 1189161.2594
32 | 2555400.9546 | 1189174.5848 | 2555391.025 | 1189168.109
33 | 2555371.4781 | 1189155.3611 | 2555391.025 | 1189168.109
34 | 2555371.4781 | 1189155.3611 | 2555365.9148 | 1189162.0619 | 2555357.2494 | 1189178.2021 | 2555355.8823 | 1189189.1739
35 | 2555355.8823 | 1189189.1739 | 2555339.8399 | 1189211.9336
36 | 2555333.9667 | 1189220.266 | 2555339.8399 | 1189211.9336
37 | 2555355.8823 | 1189189.1739 | 2555361.999 | 1189199.3671 | 2555370.7838 | 1189207.2178
38 | 2555345.8449 | 1189153.4182 | 2555353.0674 | 1189142.2228
39 | 2555345.8449 | 1189153.4182 | 2555339.1127 | 1189163.0163
40 | 2555339.1127 | 1189163.0163 | 2555333.479 | 1189171.0483
41 | 2555231.5934 | 1189183.7679 | 2555244.8965 | 1189191.1912
42 | 2555261.4552 | 1189200.4311 | 2555244.8965 | 1189191.1912
43 | 2555236.6073 | 1189174.7164 | 2555231.5934 | 1189183.7679 | 2555231.5934 | 1189183.7679
44 | 2555243.0835 | 1189163.0253 | 2555236.6073 | 1189174.7164
45 | 2555243.0835 | 1189163.0253 | 2555263.7205 | 1189125.7702
46 | 2555269.2411 | 1189115.8041 | 2555263.7205 | 1189125.7702
47 | 2555269.2411 | 1189115.8041 | 2555287.1361 | 1189126.4442
48 | 2555310.1504 | 1189140.1282 | 2555287.1361 | 1189126.4442
49 | 2555310.1504 | 1189140.1282 | 2555312.8984 | 1189141.7621
50 | 2555327.7431 | 1189179.2258 | 2555300.4441 | 1189218.146
51 | 2555327.7431 | 1189179.2258 | 2555333.479 | 1189171.0483
52 | 2555300.4441 | 1189218.146 | 2555287.8291 | 1189236.131
53 | 2555287.8291 | 1189236.131 | 2555287.8291 | 1189236.131 | 2555308.3099 | 1189252.7593
54 | 2555380.6866 | 1189132.2796 | 2555380.7601 | 1189133.9578 | 2555380.4069 | 1189136.6952 | 2555374.3177 | 1189145.2795

## bus_geodata
| x | y | coords
0 | 2555343.7653 | 1189025.2264
1 | 2555341.7074 | 1189019.3534
2 | 2555353.6858 | 1189053.5382
3 | 2555360.2218 | 1189049.4204
4 | 2555364.4997 | 1189048.1311
5 | 2555371.0013 | 1189009.5095
6 | 2555384.3154 | 1189005.5163
7 | 2555422.7141 | 1189027.5306
8 | 2555407.3396 | 1189034.8827
9 | 2555449.4327 | 1189014.2707
10 | 2555442.763 | 1188992.4847
11 | 2555450.7395 | 1189013.7139
12 | 2555440.6467 | 1188986.8522
13 | 2555475.793 | 1189003.315
14 | 2555254.7067 | 1189063.2175
15 | 2555160.197 | 1189115.5104
16 | 2555286.8457 | 1189082.4318
17 | 2555244.31 | 1189080.1286
18 | 2555304.1783 | 1189091.4575
19 | 2555278.5418 | 1189098.1731
20 | 2555198.1831 | 1189139.3043
21 | 2555369.2851 | 1189117.0676
22 | 2555366.7519 | 1189121.0109
23 | 2555390.7662 | 1189125.7341
24 | 2555385.2924 | 1189134.2129
25 | 2555409.3208 | 1189161.2594
26 | 2555400.9546 | 1189174.5848
27 | 2555425.3052 | 1189171.279
28 | 2555391.025 | 1189168.109
29 | 2555371.4781 | 1189155.3611
30 | 2555339.8399 | 1189211.9336
31 | 2555355.8823 | 1189189.1739
32 | 2555333.9667 | 1189220.266
33 | 2555370.7838 | 1189207.2178
34 | 2555345.8449 | 1189153.4182
35 | 2555353.0674 | 1189142.2228
36 | 2555339.1127 | 1189163.0163
37 | 2555244.8965 | 1189191.1912
38 | 2555231.5934 | 1189183.7679
39 | 2555261.4552 | 1189200.4311
40 | 2555236.6073 | 1189174.7164
41 | 2555243.0835 | 1189163.0253
42 | 2555269.2411 | 1189115.8041
43 | 2555263.7205 | 1189125.7702
44 | 2555287.1361 | 1189126.4442
45 | 2555310.1504 | 1189140.1282
46 | 2555199.0181 | 1189139.8274
47 | 2555327.7431 | 1189179.2258
48 | 2555300.4441 | 1189218.146
49 | 2555333.479 | 1189171.0483
50 | 2555287.8291 | 1189236.131
51 | 2555308.3099 | 1189252.7593
52 | 2555374.3177 | 1189145.2795
53 | 2555380.6866 | 1189132.2796
54 | 2555312.8984 | 1189141.7621
55 | 2555228.8981 | 1189105.1977
56 | 2555317.582 | 1189144.547

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97532 | -0.1734 | 0.0038366 | 0.00096155
1 | 0.97514 | -0.17471 | 0 | 0
2 | 0.97637 | -0.16588 | 0 | 0
3 | 0.9763 | -0.16641 | 0 | 0
4 | 0.97626 | -0.16672 | 0.006616 | 0.0016581
5 | 0.97423 | -0.18123 | 0.0087474 | 0.0021923
6 | 0.974 | -0.18288 | 0 | 0
7 | 0.97298 | -0.19022 | 0.0018638 | 0.00046712
8 | 0.97327 | -0.18819 | 0 | 0
9 | 0.97257 | -0.1932 | 0.0018072 | 0.00045292
10 | 0.97235 | -0.19475 | 0.0023175 | 0.00058081
11 | 0.97255 | -0.19331 | 0 | 0
12 | 0.97232 | -0.19498 | 0.0036697 | 0.00091971
13 | 0.97249 | -0.19379 | 0.0016547 | 0.0004147
14 | 0.98844 | -0.080372 | 0 | 0
15 | 0.98751 | -0.086979 | 0 | 0
16 | 0.98892 | -0.077012 | 0 | 0
17 | 0.98832 | -0.081248 | 0.0025722 | 0.00064465
18 | 0.98704 | -0.090179 | 0.0021307 | 0.000534
19 | 0.99085 | -0.06347 | 0.0018906 | 0.00047382
20 | 0.98722 | -0.08903 | 0.0021594 | 0.0005412
21 | 0.9804 | -0.13719 | 0 | 0
22 | 0.98061 | -0.1357 | 0 | 0
23 | 0.98006 | -0.13959 | 0.0016339 | 0.00040949
24 | 0.98008 | -0.13942 | 0 | 0
25 | 0.97948 | -0.14373 | 0.0010497 | 0.00026309
26 | 0.97952 | -0.14344 | 0 | 0
27 | 0.97947 | -0.14386 | 0.0006614 | 0.00016576
28 | 0.97955 | -0.14323 | 0.002074 | 0.00051978
29 | 0.97968 | -0.14231 | 0 | 0
30 | 0.97909 | -0.14657 | 0.0023444 | 0.00058756
31 | 0.97928 | -0.14517 | 0 | 0
32 | 0.97905 | -0.14684 | 0.0024807 | 0.00062172
33 | 0.9792 | -0.14576 | 0.0023874 | 0.00059833
34 | 0.97965 | -0.14251 | 0 | 0
35 | 0.97994 | -0.14044 | 0.0030997 | 0.00077686
36 | 0.9794 | -0.14434 | 0.00095741 | 0.00023995
37 | 0.9915 | -0.059086 | 0.0021324 | 0.00053442
38 | 0.99163 | -0.058176 | 0.0024944 | 0.00062516
39 | 0.9914 | -0.059809 | 0.0037512 | 0.00094015
40 | 0.99175 | -0.057296 | 0.0032731 | 0.00082033
41 | 0.99198 | -0.055715 | 0.002009 | 0.00050351
42 | 0.99307 | -0.047983 | 0 | 0
43 | 0.99281 | -0.049817 | 0.0022285 | 0.00055852
44 | 0.99587 | -0.028549 | 0.0022823 | 0.000572
45 | 0.99955 | -0.0031032 | 0.0024237 | 0.00060743
46 | 0.98722 | -0.089053 | 0.0023089 | 0.00057867
47 | 0.97909 | -0.14654 | 0.0013065 | 0.00032744
48 | 0.97866 | -0.1496 | 0.0022589 | 0.00056613
49 | 0.9792 | -0.14577 | 0.0065311 | 0.0016369
50 | 0.97854 | -0.15049 | 0.0015873 | 0.00039782
51 | 0.97845 | -0.15113 | 0.0023146 | 0.00058009
52 | 0.98012 | -0.13915 | 0.0024883 | 0.00062364
53 | 0.98018 | -0.13876 | 0 | 0
54 | 1 | 0 | -0.099638 | -0.024989
55 | 0.98825 | -0.081772 | 0.0017413 | 0.00043641
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020102 | 0.005041 | -0.020098 | -0.0050397 | 3.6526e-06 | 1.3272e-06 | 0.030669 | 0.030669 | 0.030669 | 0.97532 | -0.1734 | 0.97514 | -0.17471 | 11.359
1 | -0.023938 | -0.0060025 | 0.023963 | 0.0060118 | 2.497e-05 | 9.2292e-06 | 0.036523 | 0.036523 | 0.036523 | 0.97532 | -0.1734 | 0.97637 | -0.16588 | 13.5269
2 | 0.020098 | 0.0050397 | -0.02008 | -0.0050331 | 1.8144e-05 | 6.5933e-06 | 0.030669 | 0.030669 | 0.030669 | 0.97514 | -0.17471 | 0.97423 | -0.18123 | 11.3591
3 | 0.0066168 | 0.0016583 | -0.0066163 | -0.0016582 | 4.9273e-07 | 9.2404e-08 | 0.010084 | 0.010084 | 0.010084 | 0.97637 | -0.16588 | 0.9763 | -0.16641 | 3.7349
4 | -0.03058 | -0.0076701 | 0.030702 | 0.0077159 | 0.00012213 | 4.5843e-05 | 0.046607 | 0.046606 | 0.046607 | 0.97637 | -0.16588 | 0.9804 | -0.13719 | 17.2618
5 | 0.0066163 | 0.0016582 | -0.006616 | -0.0016581 | 2.8351e-07 | 5.3176e-08 | 0.010084 | 0.010084 | 0.010084 | 0.9763 | -0.16641 | 0.97626 | -0.16672 | 3.7349
6 | 0.011332 | 0.0028408 | -0.01133 | -0.0028399 | 2.5986e-06 | 8.2642e-07 | 0.017309 | 0.017309 | 0.017309 | 0.97423 | -0.18123 | 0.974 | -0.18288 | 6.4107
7 | 0.01133 | 0.0028399 | -0.011321 | -0.0028373 | 8.3204e-06 | 2.6467e-06 | 0.017309 | 0.017309 | 0.017309 | 0.974 | -0.18288 | 0.97327 | -0.18819 | 6.4108
8 | -0.011318 | -0.0028363 | 0.011321 | 0.0028373 | 3.1861e-06 | 1.0137e-06 | 0.017309 | 0.017309 | 0.017309 | 0.97298 | -0.19022 | 0.97327 | -0.18819 | 6.4108
9 | 0.0094544 | 0.0023691 | -0.0094505 | -0.002368 | 3.8931e-06 | 1.1269e-06 | 0.014459 | 0.014459 | 0.014459 | 0.97298 | -0.19022 | 0.97257 | -0.1932 | 5.3552
10 | 0.0076434 | 0.0019151 | -0.0076432 | -0.0019151 | 1.212e-07 | 2.8991e-08 | 0.011694 | 0.011694 | 0.011694 | 0.97257 | -0.1932 | 0.97255 | -0.19331 | 4.3311
11 | -0.0059873 | -0.0015005 | 0.0059884 | 0.0015007 | 1.188e-06 | 1.7556e-07 | 0.0091624 | 0.0091623 | 0.0091624 | 0.97235 | -0.19475 | 0.97255 | -0.19331 | 3.3935
12 | 0.0036698 | 0.00091968 | -0.0036697 | -0.00091971 | 1.1842e-07 | -2.9087e-08 | 0.005616 | 0.005616 | 0.005616 | 0.97235 | -0.19475 | 0.97232 | -0.19498 | 2.08
13 | 0.0016548 | 0.00041441 | -0.0016547 | -0.0004147 | 1.0852e-07 | -2.9492e-07 | 0.0025317 | 0.0025319 | 0.0025319 | 0.97255 | -0.19331 | 0.97249 | -0.19379 | 0.93772
14 | 0.0044737 | 0.0011195 | -0.0044696 | -0.0011198 | 4.082e-06 | -2.7709e-07 | 0.0067341 | 0.0067348 | 0.0067348 | 0.98844 | -0.080372 | 0.98751 | -0.086979 | 2.4944
15 | -0.0087878 | -0.0022002 | 0.0087919 | 0.0022013 | 4.0804e-06 | 1.0902e-06 | 0.013229 | 0.013228 | 0.013229 | 0.98844 | -0.080372 | 0.98892 | -0.077012 | 4.8994
16 | 0.0043141 | 0.0010807 | -0.0043136 | -0.0010807 | 5.2246e-07 | -5.3471e-08 | 0.0064944 | 0.0064945 | 0.0064945 | 0.98844 | -0.080372 | 0.98832 | -0.081248 | 2.4054
17 | 0.0044696 | 0.0011198 | -0.0044683 | -0.0011199 | 1.2687e-06 | -8.5337e-08 | 0.0067348 | 0.006735 | 0.006735 | 0.98751 | -0.086979 | 0.98722 | -0.08903 | 2.4944
18 | 0.066587 | 0.016781 | -0.066465 | -0.016734 | 0.00012249 | 4.6862e-05 | 0.10023 | 0.10023 | 0.10023 | 0.98892 | -0.077012 | 0.98704 | -0.090179 | 37.1209
19 | -0.075379 | -0.018982 | 0.075522 | 0.019037 | 0.00014295 | 5.4752e-05 | 0.11345 | 0.11345 | 0.11345 | 0.98892 | -0.077012 | 0.99085 | -0.06347 | 42.0202
20 | 0.0017414 | 0.00043608 | -0.0017413 | -0.00043641 | 1.2623e-07 | -3.2853e-07 | 0.0026218 | 0.0026219 | 0.0026219 | 0.98832 | -0.081248 | 0.98825 | -0.081772 | 0.97107
21 | 0.064334 | 0.0162 | -0.063927 | -0.016044 | 0.00040663 | 0.00015552 | 0.097014 | 0.097015 | 0.097015 | 0.98704 | -0.090179 | 0.98061 | -0.1357 | 35.9313
22 | -0.077413 | -0.019511 | 0.077581 | 0.019575 | 0.00016822 | 6.4444e-05 | 0.11629 | 0.11629 | 0.11629 | 0.99085 | -0.06347 | 0.99307 | -0.047983 | 43.0717
23 | 0.0023089 | 0.00057866 | -0.0023089 | -0.00057867 | 7.4465e-09 | -9.734e-09 | 0.0034802 | 0.0034802 | 0.0034802 | 0.98722 | -0.08903 | 0.98722 | -0.089053 | 1.289
24 | -0.030702 | -0.0077159 | 0.030708 | 0.0077183 | 6.3488e-06 | 2.3828e-06 | 0.046606 | 0.046606 | 0.046606 | 0.9804 | -0.13719 | 0.98061 | -0.1357 | 17.2616
25 | 0.018082 | 0.0045334 | -0.018071 | -0.0045291 | 1.186e-05 | 4.2433e-06 | 0.02744 | 0.02744 | 0.02744 | 0.98061 | -0.1357 | 0.97994 | -0.14044 | 10.1628
26 | 0.015137 | 0.0037928 | -0.01513 | -0.0037905 | 6.4161e-06 | 2.2219e-06 | 0.022969 | 0.022969 | 0.022969 | 0.98061 | -0.1357 | 0.98018 | -0.13876 | 8.5069
27 | -0.0016339 | -0.00040949 | 0.0016339 | 0.00040938 | 3.8726e-08 | -1.1219e-07 | 0.0024807 | 0.0024807 | 0.0024807 | 0.98006 | -0.13959 | 0.98008 | -0.13942 | 0.91878
28 | 0.011007 | 0.0027573 | -0.011002 | -0.0027559 | 4.3983e-06 | 1.3737e-06 | 0.01671 | 0.01671 | 0.01671 | 0.98008 | -0.13942 | 0.97968 | -0.14231 | 6.1891
29 | -0.012641 | -0.0031667 | 0.012642 | 0.003167 | 1.1525e-06 | 3.8008e-07 | 0.019191 | 0.019191 | 0.019191 | 0.98008 | -0.13942 | 0.98018 | -0.13876 | 7.1078
30 | -0.0017111 | -0.00042862 | 0.0017112 | 0.00042845 | 6.6341e-08 | -1.7253e-07 | 0.0025995 | 0.0025994 | 0.0025995 | 0.97948 | -0.14373 | 0.97952 | -0.14344 | 0.96276
31 | 0.00066141 | 0.00016553 | -0.0006614 | -0.00016576 | 1.1884e-08 | -2.3287e-07 | 0.0010047 | 0.0010048 | 0.0010048 | 0.97948 | -0.14373 | 0.97947 | -0.14386 | 0.37215
32 | -0.0017112 | -0.00042845 | 0.0017113 | 0.00042832 | 4.9981e-08 | -1.3e-07 | 0.0025994 | 0.0025993 | 0.0025994 | 0.97952 | -0.14344 | 0.97955 | -0.14323 | 0.96274
33 | -0.0037852 | -0.0009481 | 0.0037857 | 0.00094799 | 4.8142e-07 | -1.0864e-07 | 0.0057498 | 0.0057497 | 0.0057498 | 0.97955 | -0.14323 | 0.97968 | -0.14231 | 2.1296
34 | 0.0072165 | 0.0018079 | -0.0072137 | -0.0018073 | 2.8551e-06 | 6.1878e-07 | 0.010961 | 0.010961 | 0.010961 | 0.97968 | -0.14231 | 0.97928 | -0.14517 | 4.0596
35 | -0.0048252 | -0.0012092 | 0.0048261 | 0.0012092 | 9.3437e-07 | 9.1144e-09 | 0.0073332 | 0.0073331 | 0.0073332 | 0.97909 | -0.14657 | 0.97928 | -0.14517 | 2.716
36 | 0.0024808 | 0.00062162 | -0.0024807 | -0.00062172 | 9.0424e-08 | -9.3422e-08 | 0.0037702 | 0.0037703 | 0.0037703 | 0.97909 | -0.14657 | 0.97905 | -0.14684 | 1.3964
37 | 0.0023876 | 0.00059811 | -0.0023874 | -0.00059833 | 1.9439e-07 | -2.23e-07 | 0.0036278 | 0.0036279 | 0.0036279 | 0.97928 | -0.14517 | 0.9792 | -0.14576 | 1.3437
38 | -0.014966 | -0.0037508 | 0.014971 | 0.0037523 | 4.2963e-06 | 1.4846e-06 | 0.022733 | 0.022733 | 0.022733 | 0.97965 | -0.14251 | 0.97994 | -0.14044 | 8.4196
39 | 0.014966 | 0.0037508 | -0.014963 | -0.0037495 | 3.7806e-06 | 1.3065e-06 | 0.022733 | 0.022733 | 0.022733 | 0.97965 | -0.14251 | 0.9794 | -0.14434 | 8.4196
40 | 0.014005 | 0.0035095 | -0.014003 | -0.0035086 | 2.7718e-06 | 9.4265e-07 | 0.021278 | 0.021278 | 0.021278 | 0.9794 | -0.14434 | 0.9792 | -0.14577 | 7.8809
41 | -0.005884 | -0.0014745 | 0.0058847 | 0.0014746 | 7.4125e-07 | 8.8593e-08 | 0.0088305 | 0.0088304 | 0.0088305 | 0.9915 | -0.059086 | 0.99163 | -0.058176 | 3.2705
42 | 0.0037516 | 0.00094005 | -0.0037512 | -0.00094015 | 3.7509e-07 | -1.0027e-07 | 0.0056303 | 0.0056304 | 0.0056304 | 0.9915 | -0.059086 | 0.9914 | -0.059809 | 2.0853
43 | -0.0083791 | -0.0020997 | 0.0083801 | 0.0021 | 1.0208e-06 | 2.591e-07 | 0.012573 | 0.012573 | 0.012573 | 0.99163 | -0.058176 | 0.99175 | -0.057296 | 4.6568
44 | -0.011653 | -0.0029203 | 0.011656 | 0.0029211 | 2.5495e-06 | 8.0807e-07 | 0.017484 | 0.017484 | 0.017484 | 0.99175 | -0.057296 | 0.99198 | -0.055715 | 6.4757
45 | -0.013665 | -0.0034246 | 0.013676 | 0.0034284 | 1.1166e-05 | 3.7444e-06 | 0.020498 | 0.020498 | 0.020498 | 0.99198 | -0.055715 | 0.99281 | -0.049817 | 7.5918
46 | 0.015909 | 0.0039883 | -0.015905 | -0.0039869 | 4.0398e-06 | 1.4064e-06 | 0.023838 | 0.023838 | 0.023838 | 0.99307 | -0.047983 | 0.99281 | -0.049817 | 8.8288
47 | -0.093489 | -0.023563 | 0.093745 | 0.023661 | 0.00025511 | 9.7848e-05 | 0.14013 | 0.14013 | 0.14013 | 0.99307 | -0.047983 | 0.99587 | -0.028549 | 51.9005
48 | -0.096027 | -0.024233 | 0.096371 | 0.024365 | 0.00034425 | 0.00013205 | 0.14354 | 0.14354 | 0.14354 | 0.99587 | -0.028549 | 0.99955 | -0.0031032 | 53.1635
49 | -0.098795 | -0.024973 | 0.098838 | 0.024989 | 4.3198e-05 | 1.6573e-05 | 0.14715 | 0.14715 | 0.14715 | 0.99955 | -0.0031032 | 1 | 0 | 54.4998
50 | 0.0061641 | 0.0015441 | -0.0061615 | -0.0015437 | 2.6033e-06 | 4.0367e-07 | 0.0093679 | 0.0093681 | 0.0093681 | 0.97909 | -0.14654 | 0.97866 | -0.1496 | 3.4697
51 | -0.0074706 | -0.0018715 | 0.0074714 | 0.0018717 | 8.0342e-07 | 1.8338e-07 | 0.011353 | 0.011353 | 0.011353 | 0.97909 | -0.14654 | 0.9792 | -0.14577 | 4.205
52 | 0.0039026 | 0.00097757 | -0.0039021 | -0.00097766 | 4.8263e-07 | -9.0375e-08 | 0.0059336 | 0.0059337 | 0.0059337 | 0.97866 | -0.1496 | 0.97854 | -0.15049 | 2.1976
53 | 0.0023148 | 0.00057983 | -0.0023146 | -0.00058009 | 2.0396e-07 | -2.5293e-07 | 0.0035199 | 0.00352 | 0.00352 | 0.97854 | -0.15049 | 0.97845 | -0.15113 | 1.3037
54 | -0.0024883 | -0.00062364 | 0.0024885 | 0.0006235 | 1.3326e-07 | -1.3735e-07 | 0.0037778 | 0.0037777 | 0.0037778 | 0.98012 | -0.13915 | 0.98018 | -0.13876 | 1.3992

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10322 | 0.025888

## res_load
| p_mw | q_mvar
0 | 0.0038366 | 0.00096155
1 | 0.006616 | 0.0016581
2 | 0.0087474 | 0.0021923
3 | 0.0018638 | 0.00046712
4 | 0.0018072 | 0.00045292
5 | 0.0023175 | 0.00058081
6 | 0.0036697 | 0.00091971
7 | 0.0016547 | 0.0004147
8 | 0.0025722 | 0.00064465
9 | 0.0021307 | 0.000534
10 | 0.0018906 | 0.00047382
11 | 0.0021594 | 0.0005412
12 | 0.0016339 | 0.00040949
13 | 0.0010497 | 0.00026309
14 | 0.0006614 | 0.00016576
15 | 0.002074 | 0.00051978
16 | 0.0023444 | 0.00058756
17 | 0.0024807 | 0.00062172
18 | 0.0023874 | 0.00059833
19 | 0.0030997 | 0.00077686
20 | 0.00095741 | 0.00023995
21 | 0.0021324 | 0.00053442
22 | 0.0024944 | 0.00062516
23 | 0.0037512 | 0.00094015
24 | 0.0032731 | 0.00082033
25 | 0.002009 | 0.00050351
26 | 0.0022285 | 0.00055852
27 | 0.0022823 | 0.000572
28 | 0.0024237 | 0.00060743
29 | 0.0023089 | 0.00057867
30 | 0.0013065 | 0.00032744
31 | 0.0022589 | 0.00056613
32 | 0.0065311 | 0.0016369
33 | 0.0015873 | 0.00039782
34 | 0.0023146 | 0.00058009
35 | 0.0024883 | 0.00062364
36 | 0.0035847 | 0.00089841
37 | 0.0017413 | 0.00043641

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1