## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2055-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2055-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2055-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2055-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2055-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2055-10_0_3_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_2055-10_0_3_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_2055-10_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2055-10_0_3_node_80 | 0.4 | n |  | TRUE
9 | bus_LV_2055-10_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2055-10_0_3_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_2055-10_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_2055-10_0_3_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_2055-10_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2055-10_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2055-10_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2055-10_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_2055-10_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2055-10_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2055-10_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2055-10_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2055-10_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2055-10_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2055-10_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2055-10_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2055-10_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2055-10_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2055-10_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2055-10_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_2055-10_0_3_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_2055-10_0_3_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_2055-10_0_3_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_2055-10_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2055-10_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_2055-10_0_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_2055-10_0_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_2055-10_0_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_2055-10_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2055-10_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2055-10_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_2055-10_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2055-10_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2055-10_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2055-10_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2055-10_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_2055-10_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_2055-10_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2055-10_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_2055-10_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2055-10_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2055-10_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2055-10_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2055-10_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2055-10_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2055-10_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_2055-10_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2055-10_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2055-10_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2055-10_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_2055-10_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_2055-10_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2055-10_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2055-10_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2055-10_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_2055-10_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2055-10_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2055-10_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_2055-10_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_2055-10_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_2055-10_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_2055-10_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_2055-10_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_2055-10_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_2055-10_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_2055-10_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_2055-10_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2055-10_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_2055-10_0_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_2055-10_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_2055-10_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_2055-10_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_MV_454_1_node_180 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2055-10_0_3_load_0 | 0 | 0.0049918 | 0.0012511 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2055-10_0_3_load_78 | 5 | 0.0024449 | 0.00061274 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2055-10_0_3_load_76 | 6 | 0.0023498 | 0.00058892 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2055-10_0_3_load_80 | 8 | 0.012653 | 0.0031712 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2055-10_0_3_load_77 | 10 | 0.012272 | 0.0030756 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2055-10_0_3_load_79 | 12 | 0.0033655 | 0.00084348 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2055-10_0_3_load_6 | 16 | 0.0055222 | 0.001384 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2055-10_0_3_load_20 | 17 | 0.0078813 | 0.0019752 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2055-10_0_3_load_16 | 21 | 0.0012024 | 0.00030136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2055-10_0_3_load_17 | 22 | 0.0021798 | 0.00054632 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2055-10_0_3_load_18 | 23 | 0.00053987 | 0.0001353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2055-10_0_3_load_19 | 24 | 0.0028474 | 0.00071361 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2055-10_0_3_load_26 | 26 | 0.0060599 | 0.0015188 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2055-10_0_3_load_74 | 30 | 0.0012655 | 0.00031715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2055-10_0_3_load_72 | 31 | 0.0012294 | 0.00030813 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2055-10_0_3_load_52 | 34 | 0.0041897 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2055-10_0_3_load_73 | 35 | 0.0010357 | 0.00025957 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2055-10_0_3_load_71 | 36 | 0.0012334 | 0.00030912 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2055-10_0_3_load_22 | 37 | 0.000727 | 0.0001822 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2055-10_0_3_load_44 | 39 | 0.0022177 | 0.00055581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2055-10_0_3_load_24 | 40 | 0.0022575 | 0.00056579 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2055-10_0_3_load_25 | 41 | 0.0022257 | 0.00055781 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2055-10_0_3_load_28 | 43 | 0.0047083 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2055-10_0_3_load_30 | 45 | 0.001568 | 0.00039299 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2055-10_0_3_load_31 | 46 | 0.0016272 | 0.00040783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2055-10_0_3_load_34 | 48 | 0.0013804 | 0.00034597 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2055-10_0_3_load_35 | 49 | 0.0014081 | 0.00035289 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2055-10_0_3_load_38 | 51 | 0.0024458 | 0.00061298 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2055-10_0_3_load_40 | 53 | 0.0018789 | 0.00047089 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2055-10_0_3_load_41 | 54 | 0.00066556 | 0.0001668 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2055-10_0_3_load_42 | 55 | 0.0015997 | 0.00040093 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2055-10_0_3_load_43 | 56 | 0.0007964 | 0.0001996 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2055-10_0_3_load_47 | 58 | 0.0043358 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2055-10_0_3_load_48 | 59 | 0.0056345 | 0.0014121 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2055-10_0_3_load_51 | 61 | 0.0053454 | 0.0013397 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2055-10_0_3_load_55 | 62 | 0.0012419 | 0.00031126 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2055-10_0_3_load_54 | 63 | 0.0045861 | 0.0011494 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2055-10_0_3_load_59 | 64 | 0.0019878 | 0.00049819 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2055-10_0_3_load_56 | 65 | 0.0033071 | 0.00082884 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2055-10_0_3_load_53 | 66 | 0.0041681 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2055-10_0_3_load_57 | 68 | 0.0026312 | 0.00065944 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2055-10_0_3_load_58 | 69 | 0.0048308 | 0.0012107 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2055-10_0_3_load_61 | 70 | 0.0045337 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2055-10_0_3_load_62 | 71 | 0.0025726 | 0.00064476 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2055-10_0_3_load_65 | 75 | 0.0056177 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2055-10_0_3_load_68 | 76 | 0.0061907 | 0.0015515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2055-10_0_3_load_66 | 77 | 0.007399 | 0.0018544 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2055-10_0_3_load_69 | 78 | 0.0017243 | 0.00043214 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2055-10_0_3_load_70 | 79 | 0.0011538 | 0.00028917 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2055-10_0_3_load_75 | 80 | 0.0022348 | 0.0005601 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2055-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2055-10_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.034632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2055-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.062871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2055-10_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.056287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2055-10_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.011918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2055-10_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2055-10_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.035638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2055-10_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.037667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2055-10_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.12052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2055-10_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.030696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2055-10_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.011929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2055-10_0_3_line_11 | NAYY 4x150 SE | 9 | 17 | 0.015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2055-10_0_3_line_12 | NAYY 4x150 SE | 9 | 15 | 0.05024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2055-10_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.018726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2055-10_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.058495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2055-10_0_3_line_15 | NAYY 4x150 SE | 13 | 50 | 0.056482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2055-10_0_3_line_16 | NAYY 4x150 SE | 13 | 46 | 0.022964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2055-10_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.003359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2055-10_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.019739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2055-10_0_3_line_19 | NAYY 4x150 SE | 15 | 21 | 0.056322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2055-10_0_3_line_20 | NAYY 4x150 SE | 15 | 22 | 0.035383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2055-10_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.010733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2055-10_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.004611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2055-10_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.024165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2055-10_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.0057406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_2055-10_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.026289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2055-10_0_3_line_26 | NAYY 4x150 SE | 22 | 32 | 0.041532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2055-10_0_3_line_27 | NAYY 4x150 SE | 23 | 33 | 0.027395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_2055-10_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2055-10_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.11816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2055-10_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.041967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2055-10_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.099205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2055-10_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.011286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2055-10_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.029499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_2055-10_0_3_line_34 | NAYY 4x150 SE | 29 | 34 | 0.015824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2055-10_0_3_line_35 | NAYY 4x150 SE | 29 | 33 | 0.021402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_2055-10_0_3_line_36 | NAYY 4x150 SE | 30 | 35 | 0.0036861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_2055-10_0_3_line_37 | NAYY 4x150 SE | 31 | 36 | 0.029047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2055-10_0_3_line_38 | NAYY 4x150 SE | 32 | 37 | 0.010621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2055-10_0_3_line_39 | NAYY 4x150 SE | 32 | 38 | 0.049707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2055-10_0_3_line_40 | NAYY 4x150 SE | 33 | 39 | 0.14869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_2055-10_0_3_line_41 | NAYY 4x150 SE | 35 | 80 | 0.036749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2055-10_0_3_line_42 | NAYY 4x150 SE | 36 | 79 | 0.020335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2055-10_0_3_line_43 | NAYY 4x150 SE | 37 | 40 | 0.027312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2055-10_0_3_line_44 | NAYY 4x150 SE | 38 | 41 | 0.029545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2055-10_0_3_line_45 | NAYY 4x150 SE | 39 | 57 | 0.043055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2055-10_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.032439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2055-10_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.011357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2055-10_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.19349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2055-10_0_3_line_49 | NAYY 4x150 SE | 44 | 45 | 0.15731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2055-10_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0099676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2055-10_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.010689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2055-10_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.023186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2055-10_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.02269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2055-10_0_3_line_54 | NAYY 4x150 SE | 49 | 52 | 0.0014463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2055-10_0_3_line_55 | NAYY 4x150 SE | 50 | 53 | 0.010172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2055-10_0_3_line_56 | NAYY 4x150 SE | 50 | 54 | 0.018827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2055-10_0_3_line_57 | NAYY 4x150 SE | 52 | 55 | 0.007994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2055-10_0_3_line_58 | NAYY 4x150 SE | 52 | 56 | 0.007475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2055-10_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.021091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2055-10_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.017477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2055-10_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.038099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2055-10_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.027367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2055-10_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.012634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2055-10_0_3_line_64 | NAYY 4x150 SE | 60 | 63 | 0.017588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2055-10_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.031085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2055-10_0_3_line_66 | NAYY 4x150 SE | 62 | 65 | 0.015184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2055-10_0_3_line_67 | NAYY 4x150 SE | 63 | 66 | 0.023193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2055-10_0_3_line_68 | NAYY 4x150 SE | 64 | 67 | 0.040339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2055-10_0_3_line_69 | NAYY 4x150 SE | 65 | 68 | 0.018387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2055-10_0_3_line_70 | NAYY 4x150 SE | 67 | 70 | 0.030686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2055-10_0_3_line_71 | NAYY 4x150 SE | 67 | 71 | 0.008813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2055-10_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.001181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2055-10_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0068415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2055-10_0_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.035805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2055-10_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.022921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2055-10_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.011532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2055-10_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.009827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2055-10_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.021829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2055-10_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.019808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2055-10_0_3_trafo_73 | 0.25 MVA 20/0.4 kV | 81 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2552086.7124 | 1186274.0626 | 2552086.4268 | 1186280.3127 | 2552089.5245 | 1186289.1753
1 | 2552097.3762 | 1186304.038 | 2552097.9083 | 1186299.9759 | 2552091.7891 | 1186280.0696 | 2552092.3719 | 1186276.6186 | 2552086.7124 | 1186274.0626
2 | 2552086.7124 | 1186274.0626 | 2552092.3719 | 1186276.6186 | 2552111.7281 | 1186285.813 | 2552118.1595 | 1186288.5185 | 2552122.3605 | 1186289.9968 | 2552128.2492 | 1186291.6283 | 2552135.4738 | 1186293.3491 | 2552141.1744 | 1186294.3707 | 2552145.6122 | 1186294.9243
3 | 2552037.0236 | 1186255.2619 | 2552038.32 | 1186252.3054 | 2552059.7248 | 1186261.9279 | 2552086.7124 | 1186274.0626
4 | 2552097.3762 | 1186304.038 | 2552094.3562 | 1186304.2512 | 2552085.7291 | 1186306.5327
5 | 2552143.9995 | 1186307.9222 | 2552145.6122 | 1186294.9243
6 | 2552177.3835 | 1186291.7683 | 2552157.7567 | 1186291.6475 | 2552146.1423 | 1186290.6066 | 2552145.6122 | 1186294.9243
7 | 2552037.0236 | 1186255.2619 | 2552052.812 | 1186262.9506 | 2552058.8776 | 1186275.2086 | 2552054.871 | 1186277.0529 | 2552052.9793 | 1186276.1898
8 | 2551982.8284 | 1186338.4761 | 2551983.6755 | 1186334.7006 | 2551977.4919 | 1186331.4929 | 2551981.9424 | 1186326.032 | 2551984.9024 | 1186322.1505 | 2551987.2728 | 1186319.9191 | 2551993.2675 | 1186318.6147 | 2551994.8367 | 1186318.2797 | 2552003.85 | 1186308.035 | 2552013.9113 | 1186289.5663 | 2552014.8235 | 1186289.1254 | 2552020.3754 | 1186284.9341 | 2552031.9665 | 1186277.3702 | 2552025.2292 | 1186262.2271 | 2552037.0236 | 1186255.2619
9 | 2552177.3835 | 1186291.7683 | 2552177.7606 | 1186280.7259 | 2552169.2404 | 1186263.0177
10 | 2552177.3835 | 1186291.7683 | 2552185.5029 | 1186291.8256 | 2552186.707 | 1186295.4402
11 | 2551982.8284 | 1186338.4761 | 2551979.4899 | 1186353.3548
12 | 2552029.9595 | 1186356.2074 | 2552025.848 | 1186354.4728 | 2551985.2789 | 1186339.5682 | 2551982.8284 | 1186338.4761
13 | 2552186.707 | 1186295.4402 | 2552183.0583 | 1186299.0936 | 2552181.9802 | 1186309.3078 | 2552179.1476 | 1186311.0092
14 | 2552176.6779 | 1186341.8237 | 2552186.2187 | 1186337.4004 | 2552189.4954 | 1186335.8845 | 2552193.4271 | 1186333.2738 | 2552195.2763 | 1186327.8783 | 2552195.8233 | 1186322.8156 | 2552186.707 | 1186295.4402
15 | 2552176.6779 | 1186341.8237 | 2552149.2079 | 1186351.3376 | 2552145.7914 | 1186351.5762 | 2552141.8501 | 1186351.0853 | 2552137.799 | 1186349.2612 | 2552131.1189 | 1186343.1224 | 2552126.5479 | 1186338.3231
16 | 2552176.6779 | 1186341.8237 | 2552174.7588 | 1186346.108 | 2552175.0919 | 1186351.5083 | 2552179.8601 | 1186363.4508
17 | 2552030.0088 | 1186352.8496 | 2552029.9595 | 1186356.2074
18 | 2552030.0088 | 1186352.8496 | 2552047.8168 | 1186361.364
19 | 2552029.9595 | 1186356.2074 | 2552034.9368 | 1186358.3797 | 2552045.7602 | 1186363.5624 | 2552059.8118 | 1186370.698 | 2552070.5391 | 1186377.2045 | 2552077.5206 | 1186381.9177 | 2552079.2412 | 1186383.2254
20 | 2552029.9595 | 1186356.2074 | 2552029.9458 | 1186357.3526 | 2552029.1541 | 1186373.7346 | 2552028.8915 | 1186391.569
21 | 2552106.5301 | 1186403.6193 | 2552107.0196 | 1186406.617 | 2552109.9798 | 1186406.5711 | 2552114.5007 | 1186407.9801
22 | 2552106.5301 | 1186403.6193 | 2552103.1352 | 1186404.6471 | 2552102.1544 | 1186405.0885
23 | 2552114.5007 | 1186407.9801 | 2552115.0745 | 1186408.1645 | 2552124.6397 | 1186414.4135 | 2552133.8911 | 1186422.2699
24 | 2552102.1544 | 1186405.0885 | 2552101.3571 | 1186402.7158 | 2552099.13 | 1186400.3659
25 | 2552079.2412 | 1186383.2254 | 2552086.741 | 1186388.9254 | 2552097.6555 | 1186398.81 | 2552099.13 | 1186400.3659
26 | 2552028.2802 | 1186433.0964 | 2552028.8915 | 1186391.569
27 | 2552154.1889 | 1186440.6579 | 2552140.8118 | 1186428.1471 | 2552133.8911 | 1186422.2699
28 | 2552088.5621 | 1186458.0488 | 2552098.1257 | 1186451.7353
29 | 2552154.3926 | 1186546.1031 | 2552150.7009 | 1186537.7058 | 2552143.8766 | 1186525.9207 | 2552136.2497 | 1186515.8651 | 2552122.8027 | 1186501.287 | 2552121.5404 | 1186499.9186 | 2552117.3462 | 1186495.472 | 2552112.9375 | 1186489.9599 | 2552109.4632 | 1186483.9399 | 2552107.3495 | 1186479.1654 | 2552105.615 | 1186473.1537 | 2552102.5574 | 1186457.2473 | 2552102.2493 | 1186452.1358 | 2552102.2928 | 1186448.9893 | 2552098.1257 | 1186451.7353
30 | 2552098.1257 | 1186451.7353 | 2552102.2928 | 1186448.9893 | 2552123.0833 | 1186462.041 | 2552130.5338 | 1186465.3053 | 2552134.619 | 1186466.6289
31 | 2552154.3926 | 1186546.1031 | 2552160.7168 | 1186552.6116 | 2552165.0309 | 1186561.5709 | 2552180.3766 | 1186598.9019 | 2552185.2533 | 1186610.4693 | 2552190.1022 | 1186619.5132 | 2552193.5367 | 1186624.3995 | 2552196.9529 | 1186627.9519 | 2552201.8538 | 1186631.597
32 | 2552140.1643 | 1186456.8569 | 2552139.0168 | 1186458.3892 | 2552135.4172 | 1186464.3435 | 2552134.619 | 1186466.6289
33 | 2552134.619 | 1186466.6289 | 2552133.6045 | 1186469.5275 | 2552134.0407 | 1186472.5368 | 2552135.1184 | 1186474.6738 | 2552137.9744 | 1186477.8082 | 2552150.1404 | 1186489.3261
34 | 2552127.0978 | 1186447.8788 | 2552140.1643 | 1186456.8569
35 | 2552154.1889 | 1186440.6579 | 2552140.1643 | 1186456.8569
36 | 2552152.8172 | 1186491.8603 | 2552150.1404 | 1186489.3261
37 | 2552201.8538 | 1186631.597 | 2552214.2849 | 1186640.8426 | 2552225.4425 | 1186648.5388
38 | 2552028.2802 | 1186433.0964 | 2552032.2426 | 1186433.3759 | 2552038.6133 | 1186431.4748
39 | 2552025.8539 | 1186482.5097 | 2552027.6331 | 1186476.9813 | 2552028.2802 | 1186433.0964
40 | 2552154.1889 | 1186440.6579 | 2552203.1458 | 1186484.5681 | 2552221.2224 | 1186497.9753 | 2552239.9405 | 1186510.4993 | 2552257.5952 | 1186520.775 | 2552272.9266 | 1186529.1447
41 | 2552176.9388 | 1186519.2746 | 2552167.4422 | 1186505.3763 | 2552161.7169 | 1186500.286 | 2552152.8172 | 1186491.8603
42 | 2552225.4425 | 1186648.5388 | 2552232.3842 | 1186653.327 | 2552242.4767 | 1186659.6361
43 | 2552064.7846 | 1186423.665 | 2552038.6133 | 1186431.4748
44 | 2552025.8539 | 1186482.5097 | 2552019.9273 | 1186482.7797 | 2552000.8855 | 1186468.8173
45 | 2552311.1257 | 1186549.0075 | 2552275.2371 | 1186530.406 | 2552272.9266 | 1186529.1447
46 | 2551974.7258 | 1186449.6356 | 2552000.8855 | 1186468.8173
47 | 2551974.7258 | 1186449.6356 | 2551975.2436 | 1186445.7182 | 2551975.2036 | 1186440.738 | 2551973.6018 | 1186438.9166
48 | 2551831.0819 | 1186402.0766 | 2551855.9541 | 1186362.888 | 2551884.4056 | 1186383.4035 | 2551974.7258 | 1186449.6356
49 | 2551831.0819 | 1186402.0766 | 2551827.2047 | 1186422.7748 | 2551826.7882 | 1186442.0888 | 2551833.3374 | 1186460.3572 | 2551850.7516 | 1186483.285 | 2551870.6234 | 1186505.3704 | 2551901.847 | 1186528.7741
50 | 2552183.556 | 1186372.7078 | 2552179.8601 | 1186363.4508
51 | 2552183.556 | 1186372.7078 | 2552179.2895 | 1186376.3884 | 2552175.1447 | 1186379.2808
52 | 2552183.556 | 1186372.7078 | 2552192.1892 | 1186394.2269
53 | 2552155.2437 | 1186388.4986 | 2552160.1135 | 1186388.6931 | 2552163.6733 | 1186387.286 | 2552175.1447 | 1186379.2808
54 | 2552192.7277 | 1186395.5692 | 2552192.1892 | 1186394.2269
55 | 2552118.8858 | 1186344.8547 | 2552120.2052 | 1186342.8653 | 2552126.5479 | 1186338.3231
56 | 2552126.5479 | 1186338.3231 | 2552118.8989 | 1186330.3133 | 2552116.7087 | 1186328.3742 | 2552114.4173 | 1186327.1475 | 2552112.966 | 1186326.959 | 2552112.7326 | 1186326.2314
57 | 2552192.7277 | 1186395.5692 | 2552200.1742 | 1186392.608
58 | 2552195.5149 | 1186402.5063 | 2552192.7277 | 1186395.5692
59 | 2552311.1257 | 1186549.0075 | 2552299.6383 | 1186566.6959
60 | 2552311.1257 | 1186549.0075 | 2552326.3682 | 1186557.5571
61 | 2552278.8878 | 1186598.6477 | 2552299.6383 | 1186566.6959
62 | 2552326.3682 | 1186557.5571 | 2552350.2367 | 1186570.9449
63 | 2552278.8878 | 1186598.6477 | 2552289.7962 | 1186605.0223
64 | 2552278.8878 | 1186598.6477 | 2552263.6632 | 1186589.8415
65 | 2552377.0394 | 1186586.6617 | 2552369.3225 | 1186581.6502 | 2552350.2367 | 1186570.9449
66 | 2552289.7962 | 1186605.0223 | 2552302.9062 | 1186612.6835
67 | 2552243.5865 | 1186578.2287 | 2552263.6632 | 1186589.8415
68 | 2552410.8175 | 1186608.7123 | 2552397.1412 | 1186599.7163 | 2552377.0394 | 1186586.6617
69 | 2552302.9062 | 1186612.6835 | 2552318.7812 | 1186621.9606
70 | 2552410.8175 | 1186608.7123 | 2552414.4148 | 1186611.0738 | 2552422.2916 | 1186616.1695 | 2552430.2708 | 1186620.7195 | 2552437.5198 | 1186623.6412
71 | 2552406.7136 | 1186616.5159 | 2552410.8175 | 1186608.7123
72 | 2552319.8009 | 1186622.5565 | 2552318.7812 | 1186621.9606
73 | 2552444.0075 | 1186625.813 | 2552437.5198 | 1186623.6412
74 | 2552444.0075 | 1186625.813 | 2552450.0338 | 1186633.2914 | 2552455.262 | 1186641.1541 | 2552446.7242 | 1186655.5744
75 | 2552446.7242 | 1186655.5744 | 2552457.9243 | 1186675.5852
76 | 2552446.7242 | 1186655.5744 | 2552439.5091 | 1186664.5701
77 | 2552452.2734 | 1186683.6346 | 2552457.9243 | 1186675.5852
78 | 2552420.0574 | 1186654.6639 | 2552439.5091 | 1186664.5701
79 | 2552259.4239 | 1186669.8877 | 2552248.9251 | 1186663.6672 | 2552242.4767 | 1186659.6361

## bus_geodata
| x | y | coords
0 | 2552089.5245 | 1186289.1753
1 | 2552086.7124 | 1186274.0626
2 | 2552097.3762 | 1186304.038
3 | 2552145.6122 | 1186294.9243
4 | 2552037.0236 | 1186255.2619
5 | 2552085.7291 | 1186306.5327
6 | 2552143.9995 | 1186307.9222
7 | 2552177.3835 | 1186291.7683
8 | 2552052.9793 | 1186276.1898
9 | 2551982.8284 | 1186338.4761
10 | 2552169.2404 | 1186263.0177
11 | 2552186.707 | 1186295.4402
12 | 2552179.1476 | 1186311.0092
13 | 2552176.6779 | 1186341.8237
14 | 2552030.0088 | 1186352.8496
15 | 2552029.9595 | 1186356.2074
16 | 2552047.8168 | 1186361.364
17 | 2551979.4899 | 1186353.3548
18 | 2552106.5301 | 1186403.6193
19 | 2552114.5007 | 1186407.9801
20 | 2552102.1544 | 1186405.0885
21 | 2552079.2412 | 1186383.2254
22 | 2552028.8915 | 1186391.569
23 | 2552133.8911 | 1186422.2699
24 | 2552099.13 | 1186400.3659
25 | 2552098.1257 | 1186451.7353
26 | 2552088.5621 | 1186458.0488
27 | 2552154.3926 | 1186546.1031
28 | 2552134.619 | 1186466.6289
29 | 2552140.1643 | 1186456.8569
30 | 2552150.1404 | 1186489.3261
31 | 2552201.8538 | 1186631.597
32 | 2552028.2802 | 1186433.0964
33 | 2552154.1889 | 1186440.6579
34 | 2552127.0978 | 1186447.8788
35 | 2552152.8172 | 1186491.8603
36 | 2552225.4425 | 1186648.5388
37 | 2552038.6133 | 1186431.4748
38 | 2552025.8539 | 1186482.5097
39 | 2552272.9266 | 1186529.1447
40 | 2552064.7846 | 1186423.665
41 | 2552000.8855 | 1186468.8173
42 | 2551974.7258 | 1186449.6356
43 | 2551973.6018 | 1186438.9166
44 | 2551831.0819 | 1186402.0766
45 | 2551901.847 | 1186528.7741
46 | 2552179.8601 | 1186363.4508
47 | 2552183.556 | 1186372.7078
48 | 2552175.1447 | 1186379.2808
49 | 2552192.1892 | 1186394.2269
50 | 2552126.5479 | 1186338.3231
51 | 2552155.2437 | 1186388.4986
52 | 2552192.7277 | 1186395.5692
53 | 2552118.8858 | 1186344.8547
54 | 2552112.7326 | 1186326.2314
55 | 2552200.1742 | 1186392.608
56 | 2552195.5149 | 1186402.5063
57 | 2552311.1257 | 1186549.0075
58 | 2552299.6383 | 1186566.6959
59 | 2552326.3682 | 1186557.5571
60 | 2552278.8878 | 1186598.6477
61 | 2552350.2367 | 1186570.9449
62 | 2552289.7962 | 1186605.0223
63 | 2552263.6632 | 1186589.8415
64 | 2552377.0394 | 1186586.6617
65 | 2552302.9062 | 1186612.6835
66 | 2552243.5865 | 1186578.2287
67 | 2552410.8175 | 1186608.7123
68 | 2552318.7812 | 1186621.9606
69 | 2552319.8009 | 1186622.5565
70 | 2552437.5198 | 1186623.6412
71 | 2552406.7136 | 1186616.5159
72 | 2552444.0075 | 1186625.813
73 | 2552446.7242 | 1186655.5744
74 | 2552457.9243 | 1186675.5852
75 | 2552439.5091 | 1186664.5701
76 | 2552452.2734 | 1186683.6346
77 | 2552420.0574 | 1186654.6639
78 | 2552259.4239 | 1186669.8877
79 | 2552242.4767 | 1186659.6361
80 | 2552176.9388 | 1186519.2746
81 | 2552134.619 | 1186466.6289

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97533 | -0.17314 | 0.0049918 | 0.0012511
1 | 0.97545 | -0.17232 | 0 | 0
2 | 0.97532 | -0.17321 | 0 | 0
3 | 0.97408 | -0.18217 | 0 | 0
4 | 0.97698 | -0.16133 | 0 | 0
5 | 0.97528 | -0.17352 | 0.0024449 | 0.00061274
6 | 0.97403 | -0.18249 | 0.0023498 | 0.00058892
7 | 0.97264 | -0.19248 | 0 | 0
8 | 0.97629 | -0.16632 | 0.012653 | 0.0031712
9 | 0.98138 | -0.13 | 0 | 0
10 | 0.97209 | -0.19646 | 0.012272 | 0.0030756
11 | 0.97237 | -0.1944 | 0 | 0
12 | 0.97228 | -0.19506 | 0.0033655 | 0.00084348
13 | 0.97136 | -0.2017 | 0 | 0
14 | 0.98348 | -0.11516 | 0 | 0
15 | 0.98351 | -0.11497 | 0 | 0
16 | 0.98332 | -0.11629 | 0.0055222 | 0.001384
17 | 0.98121 | -0.13125 | 0.0078813 | 0.0019752
18 | 0.98878 | -0.07781 | 0 | 0
19 | 0.98942 | -0.073366 | 0 | 0
20 | 0.98851 | -0.079721 | 0 | 0
21 | 0.98667 | -0.09264 | 0.0012024 | 0.00030136
22 | 0.9828 | -0.11999 | 0.0021798 | 0.00054632
23 | 0.99084 | -0.063381 | 0.00053987 | 0.0001353
24 | 0.98817 | -0.082102 | 0.0028474 | 0.00071361
25 | 0.99535 | -0.032124 | 0 | 0
26 | 0.99525 | -0.032822 | 0.0060599 | 0.0015188
27 | 0.99445 | -0.038513 | 0 | 0
28 | 0.99604 | -0.027294 | 0 | 0
29 | 0.99479 | -0.035968 | 0 | 0
30 | 0.99956 | -0.0030418 | 0.0012655 | 0.00031715
31 | 0.99369 | -0.043876 | 0.0012294 | 0.00030813
32 | 0.98211 | -0.12494 | 0 | 0
33 | 0.99247 | -0.05202 | 0 | 0
34 | 0.99469 | -0.036636 | 0.0041897 | 0.00105
35 | 1 | 0 | -0.17147 | -0.043196
36 | 0.99352 | -0.045085 | 0.0012334 | 0.00030912
37 | 0.98207 | -0.12527 | 0.000727 | 0.0001822
38 | 0.9815 | -0.12934 | 0 | 0
39 | 0.98525 | -0.1026 | 0.0022177 | 0.00055581
40 | 0.98198 | -0.12591 | 0.0022575 | 0.00056579
41 | 0.98113 | -0.13195 | 0.0022257 | 0.00055781
42 | 0.98084 | -0.13408 | 0 | 0
43 | 0.98076 | -0.13463 | 0.0047083 | 0.00118
44 | 0.9804 | -0.13727 | 0 | 0
45 | 0.98004 | -0.13985 | 0.001568 | 0.00039299
46 | 0.97105 | -0.20396 | 0.0016272 | 0.00040783
47 | 0.97094 | -0.20476 | 0 | 0
48 | 0.97088 | -0.20519 | 0.0013804 | 0.00034597
49 | 0.97081 | -0.2057 | 0.0014081 | 0.00035289
50 | 0.97115 | -0.20323 | 0 | 0
51 | 0.9708 | -0.20578 | 0.0024458 | 0.00061298
52 | 0.9708 | -0.20573 | 0 | 0
53 | 0.97112 | -0.20343 | 0.0018789 | 0.00047089
54 | 0.97113 | -0.20336 | 0.00066556 | 0.0001668
55 | 0.97078 | -0.20587 | 0.0015997 | 0.00040093
56 | 0.97079 | -0.2058 | 0.0007964 | 0.0001996
57 | 0.98121 | -0.13123 | 0 | 0
58 | 0.98044 | -0.13673 | 0.0043358 | 0.0010867
59 | 0.9802 | -0.13836 | 0.0056345 | 0.0014121
60 | 0.97928 | -0.14496 | 0 | 0
61 | 0.97886 | -0.14795 | 0.0053454 | 0.0013397
62 | 0.97906 | -0.14654 | 0.0012419 | 0.00031126
63 | 0.97906 | -0.14656 | 0.0045861 | 0.0011494
64 | 0.97757 | -0.15713 | 0.0019878 | 0.00049819
65 | 0.97883 | -0.14824 | 0.0033071 | 0.00082884
66 | 0.97892 | -0.14757 | 0.0041681 | 0.0010446
67 | 0.97602 | -0.16824 | 0 | 0
68 | 0.97863 | -0.14967 | 0.0026312 | 0.00065944
69 | 0.97862 | -0.14973 | 0.0048308 | 0.0012107
70 | 0.97495 | -0.17588 | 0.0045337 | 0.0011362
71 | 0.97598 | -0.16847 | 0.0025726 | 0.00064476
72 | 0.97476 | -0.17726 | 0 | 0
73 | 0.97375 | -0.1845 | 0 | 0
74 | 0.97354 | -0.18599 | 0 | 0
75 | 0.97353 | -0.18608 | 0.0056177 | 0.0014079
76 | 0.97345 | -0.18663 | 0.0061907 | 0.0015515
77 | 0.9733 | -0.18778 | 0.007399 | 0.0018544
78 | 0.99338 | -0.046023 | 0.0017243 | 0.00043214
79 | 0.99343 | -0.045678 | 0.0011538 | 0.00028917
80 | 0.99988 | -0.00082042 | 0.0022348 | 0.0005601
81 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0049918 | -0.0012511 | 0.0049923 | 0.0012511 | 5.662e-07 | 2.2496e-08 | 0.0076157 | 0.0076156 | 0.0076157 | 0.97533 | -0.17314 | 0.97545 | -0.17232 | 2.8206
1 | 0.0024453 | 0.00061232 | -0.002445 | -0.00061263 | 3.0068e-07 | -3.1661e-07 | 0.00373 | 0.0037301 | 0.0037301 | 0.97545 | -0.17232 | 0.97532 | -0.17321 | 1.3815
2 | 0.029898 | 0.0075016 | -0.029857 | -0.0074875 | 4.0808e-05 | 1.4128e-05 | 0.045611 | 0.045612 | 0.045612 | 0.97545 | -0.17232 | 0.97408 | -0.18217 | 8.4466
3 | -0.037335 | -0.009365 | 0.037392 | 0.0093855 | 5.697e-05 | 2.0504e-05 | 0.056957 | 0.056956 | 0.056957 | 0.97545 | -0.17232 | 0.97698 | -0.16133 | 10.5476
4 | 0.002445 | 0.00061263 | -0.0024449 | -0.00061274 | 1.0348e-07 | -1.0893e-07 | 0.0037301 | 0.0037302 | 0.0037302 | 0.97532 | -0.17321 | 0.97528 | -0.17352 | 1.3816
5 | 0.0023499 | 0.0005888 | -0.0023498 | -0.00058892 | 1.0534e-07 | -1.2254e-07 | 0.0035897 | 0.0035898 | 0.0035898 | 0.97408 | -0.18217 | 0.97403 | -0.18249 | 1.3296
6 | 0.027507 | 0.0068987 | -0.027468 | -0.006884 | 3.927e-05 | 1.4661e-05 | 0.042022 | 0.042022 | 0.042022 | 0.97408 | -0.18217 | 0.97264 | -0.19248 | 15.5638
7 | 0.012662 | 0.0031741 | -0.012653 | -0.0031712 | 8.7418e-06 | 2.8909e-06 | 0.019285 | 0.019285 | 0.019285 | 0.97698 | -0.16133 | 0.97629 | -0.16632 | 7.1427
8 | -0.050054 | -0.01256 | 0.050273 | 0.012641 | 0.00021856 | 8.103e-05 | 0.076242 | 0.07624 | 0.076242 | 0.97698 | -0.16133 | 0.98138 | -0.13 | 14.1188
9 | 0.012279 | 0.0030778 | -0.012272 | -0.0030756 | 6.759e-06 | 2.2189e-06 | 0.018785 | 0.018785 | 0.018785 | 0.97264 | -0.19248 | 0.97209 | -0.19646 | 6.9574
10 | 0.015189 | 0.0038062 | -0.015185 | -0.0038048 | 4.0196e-06 | 1.398e-06 | 0.023237 | 0.023237 | 0.023237 | 0.97264 | -0.19248 | 0.97237 | -0.1944 | 8.6065
11 | 0.0078826 | 0.0019756 | -0.0078813 | -0.0019752 | 1.3592e-06 | 3.3014e-07 | 0.011952 | 0.011952 | 0.011952 | 0.98138 | -0.13 | 0.98121 | -0.13125 | 4.4267
12 | -0.058155 | -0.014616 | 0.058277 | 0.014662 | 0.00012192 | 4.5619e-05 | 0.088192 | 0.088192 | 0.088192 | 0.98138 | -0.13 | 0.98351 | -0.11497 | 16.3319
13 | 0.0033658 | 0.00084337 | -0.0033655 | -0.00084348 | 3.1e-07 | -1.1303e-07 | 0.0051507 | 0.0051507 | 0.0051507 | 0.97237 | -0.1944 | 0.97228 | -0.19506 | 1.9077
14 | 0.011819 | 0.0029614 | -0.011807 | -0.0029576 | 1.1941e-05 | 3.8678e-06 | 0.018087 | 0.018087 | 0.018087 | 0.97237 | -0.1944 | 0.97136 | -0.2017 | 6.6989
15 | 0.002545 | 0.00063687 | -0.0025445 | -0.00063736 | 5.3565e-07 | -4.93e-07 | 0.0038983 | 0.0038986 | 0.0038986 | 0.97136 | -0.2017 | 0.97115 | -0.20323 | 1.4439
16 | 0.0092624 | 0.0023207 | -0.0092595 | -0.0023199 | 2.8849e-06 | 8.2539e-07 | 0.014189 | 0.014189 | 0.014189 | 0.97136 | -0.2017 | 0.97105 | -0.20396 | 5.2551
17 | -0.005523 | -0.0013841 | 0.0055232 | 0.0013841 | 1.4636e-07 | 1.3668e-08 | 0.0083564 | 0.0083564 | 0.0083564 | 0.98348 | -0.11516 | 0.98351 | -0.11497 | 3.095
18 | 0.005523 | 0.0013841 | -0.0055222 | -0.001384 | 8.6009e-07 | 8.0372e-08 | 0.0083564 | 0.0083565 | 0.0083565 | 0.98348 | -0.11516 | 0.98332 | -0.11629 | 3.095
19 | -0.077496 | -0.019475 | 0.077738 | 0.019566 | 0.00024165 | 9.1509e-05 | 0.11727 | 0.11727 | 0.11727 | 0.98351 | -0.11497 | 0.98667 | -0.09264 | 21.7163
20 | 0.013696 | 0.003429 | -0.013686 | -0.0034258 | 9.4789e-06 | 3.197e-06 | 0.02072 | 0.02072 | 0.02072 | 0.98351 | -0.11497 | 0.9828 | -0.11999 | 7.6741
21 | -0.081953 | -0.020644 | 0.082004 | 0.020663 | 5.0968e-05 | 1.9328e-05 | 0.12337 | 0.12337 | 0.12337 | 0.98878 | -0.07781 | 0.98942 | -0.073366 | 22.846
22 | 0.081953 | 0.020644 | -0.081931 | -0.020636 | 2.1896e-05 | 8.3032e-06 | 0.12337 | 0.12337 | 0.12337 | 0.98878 | -0.07781 | 0.98851 | -0.079721 | 22.846
23 | -0.082004 | -0.020663 | 0.082119 | 0.020707 | 0.00011475 | 4.3513e-05 | 0.12337 | 0.12337 | 0.12337 | 0.98942 | -0.073366 | 0.99084 | -0.063381 | 22.846
24 | 0.081931 | 0.020636 | -0.081904 | -0.020625 | 2.726e-05 | 1.0337e-05 | 0.12337 | 0.12337 | 0.12337 | 0.98851 | -0.079721 | 0.98817 | -0.082102 | 22.846
25 | -0.07894 | -0.019868 | 0.079057 | 0.019912 | 0.00011631 | 4.4061e-05 | 0.11908 | 0.11908 | 0.11908 | 0.98667 | -0.09264 | 0.98817 | -0.082102 | 22.0521
26 | 0.011506 | 0.0028795 | -0.011499 | -0.002877 | 7.8643e-06 | 2.4988e-06 | 0.01742 | 0.01742 | 0.01742 | 0.9828 | -0.11999 | 0.98211 | -0.12494 | 6.4518
27 | -0.082659 | -0.020842 | 0.082791 | 0.020892 | 0.0001318 | 4.9987e-05 | 0.12418 | 0.12418 | 0.12418 | 0.99084 | -0.063381 | 0.99247 | -0.05202 | 22.9961
28 | 0.0060605 | 0.0015188 | -0.0060599 | -0.0015188 | 5.8583e-07 | 7.6681e-08 | 0.0090602 | 0.0090603 | 0.0090603 | 0.99535 | -0.032124 | 0.99525 | -0.032822 | 3.3556
29 | 0.0053506 | 0.0013386 | -0.0053459 | -0.0013383 | 4.717e-06 | 2.7981e-07 | 0.0079981 | 0.0079987 | 0.0079987 | 0.99535 | -0.032124 | 0.99445 | -0.038513 | 2.9625
30 | -0.011411 | -0.0028574 | 0.011419 | 0.0028598 | 7.6201e-06 | 2.3849e-06 | 0.017058 | 0.017058 | 0.017058 | 0.99535 | -0.032124 | 0.99604 | -0.027294 | 6.3179
31 | 0.0053459 | 0.0013383 | -0.0053419 | -0.0013381 | 3.9608e-06 | 2.3726e-07 | 0.0079987 | 0.0079991 | 0.0079991 | 0.99445 | -0.038513 | 0.99369 | -0.043876 | 2.9626
32 | 0.15511 | 0.039213 | -0.15492 | -0.03914 | 0.00018928 | 7.2506e-05 | 0.23185 | 0.23185 | 0.23185 | 0.99604 | -0.027294 | 0.99479 | -0.035968 | 42.9348
33 | -0.16653 | -0.042072 | 0.1671 | 0.042291 | 0.0005702 | 0.00021854 | 0.24891 | 0.24891 | 0.24891 | 0.99604 | -0.027294 | 0.99956 | -0.0030418 | 46.0937
34 | 0.0041901 | 0.00105 | -0.0041897 | -0.00105 | 3.8788e-07 | -5.6237e-08 | 0.0062675 | 0.0062676 | 0.0062676 | 0.99479 | -0.035968 | 0.99469 | -0.036636 | 2.3213
35 | 0.15073 | 0.03809 | -0.15039 | -0.03796 | 0.00033979 | 0.00013013 | 0.22558 | 0.22558 | 0.22558 | 0.99479 | -0.035968 | 0.99247 | -0.05202 | 41.7742
36 | -0.16837 | -0.042608 | 0.16844 | 0.042636 | 7.2333e-05 | 2.7724e-05 | 0.25079 | 0.25079 | 0.25079 | 0.99956 | -0.0030418 | 1 | 0 | 46.4425
37 | 0.0041125 | 0.0010299 | -0.0041118 | -0.00103 | 6.8736e-07 | -1.1185e-07 | 0.0061581 | 0.0061582 | 0.0061582 | 0.99369 | -0.043876 | 0.99352 | -0.045085 | 2.2808
38 | 0.0029849 | 0.00074764 | -0.0029847 | -0.00074772 | 1.3553e-07 | -8.2259e-08 | 0.0045223 | 0.0045223 | 0.0045223 | 0.98211 | -0.12494 | 0.98207 | -0.12527 | 1.6749
39 | 0.0085137 | 0.0021293 | -0.0085086 | -0.002128 | 5.1598e-06 | 1.3559e-06 | 0.012898 | 0.012898 | 0.012898 | 0.98211 | -0.12494 | 0.9815 | -0.12934 | 4.777
40 | 0.067603 | 0.017068 | -0.067126 | -0.016888 | 0.000477 | 0.00017965 | 0.1014 | 0.1014 | 0.1014 | 0.99247 | -0.05202 | 0.98525 | -0.1026 | 18.7784
41 | 0.0022351 | 0.00055971 | -0.0022348 | -0.0005601 | 2.5364e-07 | -3.8452e-07 | 0.0033257 | 0.0033258 | 0.0033258 | 1 | 0 | 0.99988 | -0.00082042 | 1.2318
42 | 0.0028784 | 0.00072092 | -0.0028782 | -0.00072109 | 2.3582e-07 | -1.7261e-07 | 0.0043109 | 0.004311 | 0.004311 | 0.99352 | -0.045085 | 0.99343 | -0.045678 | 1.5967
43 | 0.0022577 | 0.00056552 | -0.0022575 | -0.00056579 | 1.9943e-07 | -2.6884e-07 | 0.0034208 | 0.0034209 | 0.0034209 | 0.98207 | -0.12527 | 0.98198 | -0.12591 | 1.267
44 | 0.0085086 | 0.002128 | -0.0085055 | -0.0021272 | 3.067e-06 | 8.0635e-07 | 0.012898 | 0.012898 | 0.012898 | 0.9815 | -0.12934 | 0.98113 | -0.13195 | 4.7771
45 | 0.064909 | 0.016332 | -0.06465 | -0.016234 | 0.00025831 | 9.8804e-05 | 0.098054 | 0.098054 | 0.098054 | 0.98525 | -0.1026 | 0.98121 | -0.13123 | 36.3163
46 | 0.0062798 | 0.0015693 | -0.006278 | -0.0015691 | 1.8355e-06 | 2.9643e-07 | 0.0095225 | 0.0095227 | 0.0095227 | 0.98113 | -0.13195 | 0.98084 | -0.13408 | 3.5269
47 | 0.0047087 | 0.00118 | -0.0047083 | -0.00118 | 3.6163e-07 | -4.2392e-09 | 0.0071435 | 0.0071435 | 0.0071435 | 0.98084 | -0.13408 | 0.98076 | -0.13463 | 2.6457
48 | 0.0015693 | 0.00038904 | -0.0015686 | -0.00039122 | 6.8372e-07 | -2.1781e-06 | 0.0023792 | 0.0023801 | 0.0023801 | 0.98084 | -0.13408 | 0.9804 | -0.13727 | 0.88151
49 | 0.0015686 | 0.00039122 | -0.001568 | -0.00039299 | 5.5622e-07 | -1.769e-06 | 0.0023801 | 0.0023808 | 0.0023808 | 0.9804 | -0.13727 | 0.98004 | -0.13985 | 0.88178
50 | 0.0076323 | 0.001912 | -0.0076314 | -0.0019118 | 8.5074e-07 | 2.0391e-07 | 0.011695 | 0.011695 | 0.011695 | 0.97105 | -0.20396 | 0.97094 | -0.20476 | 4.3316
51 | 0.0038267 | 0.0009587 | -0.0038264 | -0.00095874 | 2.2939e-07 | -4.3963e-08 | 0.0058645 | 0.0058645 | 0.0058645 | 0.97094 | -0.20476 | 0.97088 | -0.20519 | 2.172
52 | 0.0038047 | 0.00095314 | -0.0038043 | -0.00095323 | 4.9191e-07 | -9.753e-08 | 0.0058308 | 0.0058309 | 0.0058309 | 0.97094 | -0.20476 | 0.97081 | -0.2057 | 2.1596
53 | 0.002446 | 0.00061277 | -0.0024458 | -0.00061298 | 1.9898e-07 | -2.0404e-07 | 0.0037488 | 0.0037489 | 0.0037489 | 0.97088 | -0.20519 | 0.9708 | -0.20578 | 1.3885
54 | 0.0023962 | 0.00060034 | -0.0023962 | -0.00060035 | 1.2173e-08 | -1.32e-08 | 0.0036727 | 0.0036727 | 0.0036727 | 0.97081 | -0.2057 | 0.9708 | -0.20573 | 1.3603
55 | 0.0018789 | 0.00047078 | -0.0018789 | -0.00047089 | 5.2607e-08 | -1.0562e-07 | 0.0028789 | 0.0028789 | 0.0028789 | 0.97115 | -0.20323 | 0.97112 | -0.20343 | 1.0663
56 | 0.00066557 | 0.00016658 | -0.00066556 | -0.0001668 | 1.2217e-08 | -2.2825e-07 | 0.0010197 | 0.0010198 | 0.0010198 | 0.97115 | -0.20323 | 0.97113 | -0.20336 | 0.3777
57 | 0.0015998 | 0.00040085 | -0.0015997 | -0.00040093 | 2.9993e-08 | -8.7303e-08 | 0.002452 | 0.0024521 | 0.0024521 | 0.9708 | -0.20573 | 0.97078 | -0.20587 | 0.90818
58 | 0.0007964 | 0.00019951 | -0.0007964 | -0.0001996 | 6.9503e-09 | -8.975e-08 | 0.0012207 | 0.0012207 | 0.0012207 | 0.9708 | -0.20573 | 0.97079 | -0.2058 | 0.45211
59 | 0.025153 | 0.0063091 | -0.025134 | -0.006302 | 1.9152e-05 | 7.0998e-06 | 0.038147 | 0.038147 | 0.038147 | 0.98121 | -0.13123 | 0.98044 | -0.13673 | 14.1285
60 | 0.039497 | 0.0099245 | -0.039458 | -0.0099097 | 3.9138e-05 | 1.4833e-05 | 0.059907 | 0.059907 | 0.059907 | 0.98121 | -0.13123 | 0.9802 | -0.13836 | 22.1879
61 | 0.020798 | 0.0052153 | -0.020774 | -0.0052067 | 2.3689e-05 | 8.6313e-06 | 0.031566 | 0.031567 | 0.031567 | 0.98044 | -0.13673 | 0.97928 | -0.14496 | 11.6913
62 | 0.033823 | 0.0084975 | -0.033778 | -0.0084806 | 4.5035e-05 | 1.6977e-05 | 0.051354 | 0.051354 | 0.051354 | 0.9802 | -0.13836 | 0.97886 | -0.14795 | 19.0199
63 | 0.012018 | 0.0030122 | -0.012015 | -0.0030114 | 2.629e-06 | 8.5223e-07 | 0.018261 | 0.018261 | 0.018261 | 0.97928 | -0.14496 | 0.97906 | -0.14654 | 6.7633
64 | 0.0087567 | 0.0021945 | -0.0087548 | -0.0021939 | 1.943e-06 | 5.2609e-07 | 0.013306 | 0.013306 | 0.013306 | 0.97928 | -0.14496 | 0.97906 | -0.14656 | 4.9281
65 | 0.028433 | 0.0071409 | -0.028397 | -0.0071273 | 3.6246e-05 | 1.3551e-05 | 0.043228 | 0.043228 | 0.043228 | 0.97886 | -0.14795 | 0.97757 | -0.15713 | 16.0104
66 | 0.010773 | 0.0027001 | -0.010771 | -0.0026993 | 2.5402e-06 | 7.8608e-07 | 0.016373 | 0.016374 | 0.016374 | 0.97906 | -0.14654 | 0.97883 | -0.14824 | 6.0643
67 | 0.0041687 | 0.0010446 | -0.0041681 | -0.0010446 | 5.8095e-07 | -6.8187e-08 | 0.0063357 | 0.0063358 | 0.0063358 | 0.97906 | -0.14656 | 0.97892 | -0.14757 | 2.3466
68 | 0.026409 | 0.0066291 | -0.026368 | -0.006614 | 4.0683e-05 | 1.5142e-05 | 0.040202 | 0.040203 | 0.040203 | 0.97757 | -0.15713 | 0.97602 | -0.16824 | 14.8898
69 | 0.0074635 | 0.0018705 | -0.0074621 | -0.0018702 | 1.477e-06 | 3.3702e-07 | 0.011346 | 0.011346 | 0.011346 | 0.97883 | -0.14824 | 0.97863 | -0.14967 | 4.2023
70 | 0.023796 | 0.0059693 | -0.02377 | -0.00596 | 2.5204e-05 | 9.3106e-06 | 0.03628 | 0.03628 | 0.03628 | 0.97602 | -0.16824 | 0.97495 | -0.17588 | 13.4372
71 | 0.0025727 | 0.00064468 | -0.0025726 | -0.00064476 | 8.4602e-08 | -7.7598e-08 | 0.0039222 | 0.0039223 | 0.0039223 | 0.97602 | -0.16824 | 0.97598 | -0.16847 | 1.4527
72 | 0.0048309 | 0.0012107 | -0.0048308 | -0.0012107 | 3.9763e-08 | 4.5445e-10 | 0.0073454 | 0.0073454 | 0.0073454 | 0.97863 | -0.14967 | 0.97862 | -0.14973 | 2.7205
73 | 0.019237 | 0.0048238 | -0.019233 | -0.0048224 | 3.6803e-06 | 1.3302e-06 | 0.029361 | 0.029361 | 0.029361 | 0.97495 | -0.17588 | 0.97476 | -0.17726 | 10.8744
74 | 0.019233 | 0.0048224 | -0.019214 | -0.0048155 | 1.9261e-05 | 6.9621e-06 | 0.029361 | 0.029361 | 0.029361 | 0.97476 | -0.17726 | 0.97375 | -0.1845 | 10.8745
75 | 0.0061926 | 0.0015518 | -0.0061913 | -0.0015516 | 1.2808e-06 | 2.0754e-07 | 0.0094629 | 0.009463 | 0.009463 | 0.97375 | -0.1845 | 0.97354 | -0.18599 | 3.5048
76 | 0.013021 | 0.0032636 | -0.013018 | -0.0032627 | 2.8491e-06 | 9.5239e-07 | 0.019898 | 0.019898 | 0.019898 | 0.97375 | -0.1845 | 0.97353 | -0.18608 | 7.3697
77 | 0.0061913 | 0.0015516 | -0.0061907 | -0.0015515 | 5.4912e-07 | 8.902e-08 | 0.009463 | 0.0094631 | 0.0094631 | 0.97354 | -0.18599 | 0.97345 | -0.18663 | 3.5048
78 | 0.0074007 | 0.0018548 | -0.007399 | -0.0018544 | 1.7429e-06 | 3.99e-07 | 0.011312 | 0.011312 | 0.011312 | 0.97353 | -0.18608 | 0.9733 | -0.18778 | 4.1896
79 | -0.0017243 | -0.00043214 | 0.0017244 | 0.00043192 | 8.2453e-08 | -2.2474e-07 | 0.0025828 | 0.0025828 | 0.0025828 | 0.99338 | -0.046023 | 0.99343 | -0.045678 | 0.95661

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17251 | 0.043455

## res_load
| p_mw | q_mvar
0 | 0.0049918 | 0.0012511
1 | 0.0024449 | 0.00061274
2 | 0.0023498 | 0.00058892
3 | 0.012653 | 0.0031712
4 | 0.012272 | 0.0030756
5 | 0.0033655 | 0.00084348
6 | 0.0055222 | 0.001384
7 | 0.0078813 | 0.0019752
8 | 0.0012024 | 0.00030136
9 | 0.0021798 | 0.00054632
10 | 0.00053987 | 0.0001353
11 | 0.0028474 | 0.00071361
12 | 0.0060599 | 0.0015188
13 | 0.0012655 | 0.00031715
14 | 0.0012294 | 0.00030813
15 | 0.0041897 | 0.00105
16 | 0.0010357 | 0.00025957
17 | 0.0012334 | 0.00030912
18 | 0.000727 | 0.0001822
19 | 0.0022177 | 0.00055581
20 | 0.0022575 | 0.00056579
21 | 0.0022257 | 0.00055781
22 | 0.0047083 | 0.00118
23 | 0.001568 | 0.00039299
24 | 0.0016272 | 0.00040783
25 | 0.0013804 | 0.00034597
26 | 0.0014081 | 0.00035289
27 | 0.0024458 | 0.00061298
28 | 0.0018789 | 0.00047089
29 | 0.00066556 | 0.0001668
30 | 0.0015997 | 0.00040093
31 | 0.0007964 | 0.0001996
32 | 0.0043358 | 0.0010867
33 | 0.0056345 | 0.0014121
34 | 0.0053454 | 0.0013397
35 | 0.0012419 | 0.00031126
36 | 0.0045861 | 0.0011494
37 | 0.0019878 | 0.00049819
38 | 0.0033071 | 0.00082884
39 | 0.0041681 | 0.0010446
40 | 0.0026312 | 0.00065944
41 | 0.0048308 | 0.0012107
42 | 0.0045337 | 0.0011362
43 | 0.0025726 | 0.00064476
44 | 0.0056177 | 0.0014079
45 | 0.0061907 | 0.0015515
46 | 0.007399 | 0.0018544
47 | 0.0017243 | 0.00043214
48 | 0.0011538 | 0.00028917
49 | 0.0022348 | 0.0005601

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1