## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2055-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2055-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2055-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2055-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2055-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2055-1_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2055-1_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2055-1_0_2_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_2055-1_0_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2055-1_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2055-1_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_2055-1_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2055-1_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2055-1_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2055-1_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2055-1_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2055-1_0_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2055-1_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2055-1_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2055-1_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2055-1_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2055-1_0_2_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_2055-1_0_2_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_2055-1_0_2_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_2055-1_0_2_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_2055-1_0_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2055-1_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2055-1_0_2_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_2055-1_0_2_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_2055-1_0_2_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_2055-1_0_2_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_2055-1_0_2_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_2055-1_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2055-1_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2055-1_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2055-1_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2055-1_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2055-1_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2055-1_0_2_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2055-1_0_2_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_2055-1_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2055-1_0_2_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_2055-1_0_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2055-1_0_2_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2055-1_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2055-1_0_2_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2055-1_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2055-1_0_2_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2055-1_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2055-1_0_2_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2055-1_0_2_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_2055-1_0_2_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_2055-1_0_2_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2055-1_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2055-1_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2055-1_0_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2055-1_0_2_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2055-1_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2055-1_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2055-1_0_2_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2055-1_0_2_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2055-1_0_2_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_2055-1_0_2_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_2055-1_0_2_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2055-1_0_2_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2055-1_0_2_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2055-1_0_2_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2055-1_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_MV_454_0_node_253 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2055-1_0_2_load_0 | 0 | 0.0027176 | 0.00068111 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2055-1_0_2_load_3 | 3 | 0.0033676 | 0.00084401 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2055-1_0_2_load_6 | 5 | 0.0054408 | 0.0013636 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2055-1_0_2_load_21 | 7 | 0.0032507 | 0.0008147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2055-1_0_2_load_7 | 9 | 0.0024458 | 0.00061299 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2055-1_0_2_load_11 | 11 | 0.0036248 | 0.00090845 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2055-1_0_2_load_8 | 12 | 0.0061005 | 0.0015289 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2055-1_0_2_load_9 | 13 | 0.0034501 | 0.00086467 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2055-1_0_2_load_13 | 15 | 0.0037736 | 0.00094576 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2055-1_0_2_load_18 | 17 | 0.0045368 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2055-1_0_2_load_16 | 19 | 0.0016084 | 0.00040311 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2055-1_0_2_load_61 | 21 | 0.002634 | 0.00066013 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2055-1_0_2_load_66 | 24 | 0.0017004 | 0.00042617 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2055-1_0_2_load_19 | 26 | 0.0036221 | 0.00090778 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2055-1_0_2_load_62 | 27 | 0.0017381 | 0.00043561 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2055-1_0_2_load_63 | 28 | 0.00062891 | 0.00015762 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2055-1_0_2_load_58 | 29 | 0.0018198 | 0.00045609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2055-1_0_2_load_65 | 31 | 0.004058 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2055-1_0_2_load_22 | 33 | 0.0088134 | 0.0022088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2055-1_0_2_load_23 | 34 | 0.0087553 | 0.0021943 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2055-1_0_2_load_29 | 37 | 0.0045607 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2055-1_0_2_load_53 | 39 | 0.0015476 | 0.00038785 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2055-1_0_2_load_28 | 40 | 0.0042111 | 0.0010554 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2055-1_0_2_load_67 | 41 | 0.0023771 | 0.00059577 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2055-1_0_2_load_54 | 43 | 0.002937 | 0.00073608 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2055-1_0_2_load_30 | 44 | 0.0049314 | 0.0012359 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2055-1_0_2_load_31 | 45 | 0.0056898 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2055-1_0_2_load_38 | 48 | 0.0083129 | 0.0020834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2055-1_0_2_load_68 | 50 | 0.0086872 | 0.0021772 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2055-1_0_2_load_52 | 52 | 0.0027571 | 0.00069099 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2055-1_0_2_load_50 | 54 | 0.0016056 | 0.0004024 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2055-1_0_2_load_45 | 58 | 0.0027659 | 0.0006932 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2055-1_0_2_load_42 | 59 | 0.0045441 | 0.0011388 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2055-1_0_2_load_51 | 60 | 0.0037658 | 0.00094381 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2055-1_0_2_load_40 | 61 | 0.0022164 | 0.00055547 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2055-1_0_2_load_48 | 63 | 0.0052185 | 0.0013079 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2055-1_0_2_load_49 | 64 | 0.0014194 | 0.00035574 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2055-1_0_2_load_56 | 65 | 0.0034865 | 0.0008738 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2055-1_0_2_load_55 | 66 | 0.0033946 | 0.00085076 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2055-1_0_2_load_64 | 67 | 0.0025389 | 0.0006363 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2055-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0091066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2055-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2055-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.008929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2055-1_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.009502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2055-1_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0095317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2055-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.033667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2055-1_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.015536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2055-1_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.023601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2055-1_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.012974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2055-1_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.008557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2055-1_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.014887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2055-1_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.017755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2055-1_0_2_line_12 | NAYY 4x150 SE | 10 | 14 | 0.007932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2055-1_0_2_line_13 | NAYY 4x150 SE | 10 | 15 | 0.010517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2055-1_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0077907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2055-1_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.009858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2055-1_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.020355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2055-1_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.024742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2055-1_0_2_line_18 | NAYY 4x150 SE | 16 | 24 | 0.00784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2055-1_0_2_line_19 | NAYY 4x150 SE | 16 | 25 | 0.028342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2055-1_0_2_line_20 | NAYY 4x150 SE | 17 | 26 | 0.00092579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2055-1_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.008207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2055-1_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.01412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2055-1_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.004574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2055-1_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.021382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2055-1_0_2_line_25 | NAYY 4x150 SE | 20 | 23 | 0.023267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2055-1_0_2_line_26 | NAYY 4x150 SE | 22 | 27 | 0.006352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2055-1_0_2_line_27 | NAYY 4x150 SE | 22 | 28 | 0.013158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2055-1_0_2_line_28 | NAYY 4x150 SE | 23 | 29 | 0.004968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2055-1_0_2_line_29 | NAYY 4x150 SE | 23 | 30 | 0.002595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2055-1_0_2_line_30 | NAYY 4x150 SE | 25 | 31 | 0.008412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2055-1_0_2_line_31 | NAYY 4x150 SE | 25 | 32 | 0.018814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2055-1_0_2_line_32 | NAYY 4x150 SE | 30 | 67 | 0.005748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2055-1_0_2_line_33 | NAYY 4x150 SE | 32 | 36 | 0.002829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2055-1_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.014431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2055-1_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0013605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2055-1_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.015748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2055-1_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.018651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2055-1_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.02704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2055-1_0_2_line_39 | NAYY 4x150 SE | 36 | 39 | 0.018602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2055-1_0_2_line_40 | NAYY 4x150 SE | 37 | 40 | 0.017934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2055-1_0_2_line_41 | NAYY 4x150 SE | 38 | 41 | 0.005552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2055-1_0_2_line_42 | NAYY 4x150 SE | 38 | 42 | 0.008543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2055-1_0_2_line_43 | NAYY 4x150 SE | 39 | 43 | 0.0061936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2055-1_0_2_line_44 | NAYY 4x150 SE | 40 | 44 | 0.01405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2055-1_0_2_line_45 | NAYY 4x150 SE | 42 | 48 | 0.008912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2055-1_0_2_line_46 | NAYY 4x150 SE | 42 | 45 | 0.0030012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2055-1_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.023394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2055-1_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.043937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2055-1_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.06296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2055-1_0_2_line_50 | NAYY 4x150 SE | 47 | 50 | 0.002924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2055-1_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.11632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2055-1_0_2_line_52 | NAYY 4x150 SE | 49 | 52 | 0.019417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2055-1_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.061145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2055-1_0_2_line_54 | NAYY 4x150 SE | 51 | 54 | 0.026668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2055-1_0_2_line_55 | NAYY 4x150 SE | 53 | 57 | 0.005466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2055-1_0_2_line_56 | NAYY 4x150 SE | 53 | 59 | 0.015645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2055-1_0_2_line_57 | NAYY 4x150 SE | 54 | 60 | 0.003324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2055-1_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.17228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2055-1_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.030317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2055-1_0_2_line_60 | NAYY 4x150 SE | 55 | 58 | 0.018161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2055-1_0_2_line_61 | NAYY 4x150 SE | 56 | 65 | 0.058089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2055-1_0_2_line_62 | NAYY 4x150 SE | 57 | 63 | 0.054403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2055-1_0_2_line_63 | NAYY 4x150 SE | 59 | 62 | 0.019138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2055-1_0_2_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0051054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2055-1_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.0090803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2055-1_0_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.010558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2055-1_0_2_trafo_65 | 0.25 MVA 20/0.4 kV | 68 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2550047.9354 | 1185082.2754 | 2550041.878 | 1185075.4755
1 | 2550030.1456 | 1185064.114 | 2550033.0426 | 1185065.5573 | 2550041.878 | 1185075.4755
2 | 2550041.5693 | 1185088.5542 | 2550047.9354 | 1185082.2754
3 | 2550047.9354 | 1185082.2754 | 2550051.0943 | 1185085.8287 | 2550051.2103 | 1185090.5748
4 | 2550030.1456 | 1185064.114 | 2550023.7227 | 1185057.0713
5 | 2550071.838 | 1185065.6776 | 2550051.0943 | 1185085.8287 | 2550051.2103 | 1185090.5748
6 | 2550051.2103 | 1185090.5748 | 2550061.8103 | 1185101.9336
7 | 2550071.838 | 1185065.6776 | 2550080.6937 | 1185058.6554 | 2550083.9218 | 1185056.783 | 2550092.5361 | 1185056.4998
8 | 2550071.838 | 1185065.6776 | 2550063.0292 | 1185056.1527
9 | 2550101.0443 | 1185055.3837 | 2550092.5361 | 1185056.4998
10 | 2550092.5361 | 1185056.4998 | 2550088.3068 | 1185051.7992 | 2550080.156 | 1185054.4269
11 | 2550063.0292 | 1185056.1527 | 2550050.9738 | 1185043.1173
12 | 2550105.9809 | 1185061.6015 | 2550101.0443 | 1185055.3837
13 | 2550101.0443 | 1185055.3837 | 2550108.8487 | 1185048.3334
14 | 2550056.769 | 1185037.9105 | 2550050.9738 | 1185043.1173
15 | 2550105.9809 | 1185061.6015 | 2550112.113 | 1185069.3323
16 | 2550105.9809 | 1185061.6015 | 2550092.8299 | 1185077.1383
17 | 2550127.9181 | 1185032.6247 | 2550119.4896 | 1185038.7206 | 2550108.8487 | 1185048.3334
18 | 2550112.113 | 1185069.3323 | 2550118.3468 | 1185064.5554
19 | 2550112.113 | 1185069.3323 | 2550121.8703 | 1185081.6243 | 2550129.2223 | 1185091.9464
20 | 2550092.2318 | 1185077.8449 | 2550092.8299 | 1185077.1383
21 | 2550127.9181 | 1185032.6247 | 2550123.3277 | 1185025.8148
22 | 2550139.3812 | 1185024.3356 | 2550127.9181 | 1185032.6247
23 | 2550136.6412 | 1185020.6676 | 2550138.3085 | 1185022.9104 | 2550139.3812 | 1185024.3356
24 | 2550139.3812 | 1185024.3356 | 2550140.5192 | 1185023.5146 | 2550156.7319 | 1185011.8396
25 | 2550139.3812 | 1185024.3356 | 2550140.5192 | 1185023.5146 | 2550153.6399 | 1185041.0037
26 | 2550153.1999 | 1185006.555 | 2550156.7319 | 1185011.8396
27 | 2550167.4291 | 1185004.1351 | 2550156.7319 | 1185011.8396
28 | 2550153.6399 | 1185041.0037 | 2550157.7841 | 1185038.2454
29 | 2550155.1989 | 1185043.0807 | 2550153.6399 | 1185041.0037
30 | 2550129.2223 | 1185091.9464 | 2550135.4871 | 1185086.3133
31 | 2550140.1421 | 1185107.286 | 2550129.2223 | 1185091.9464
32 | 2550150.3865 | 1185046.2448 | 2550155.1989 | 1185043.0807
33 | 2550140.1421 | 1185107.286 | 2550142.1962 | 1185109.2366
34 | 2550140.1421 | 1185107.286 | 2550130.126 | 1185117.6755
35 | 2550130.126 | 1185117.6755 | 2550129.1818 | 1185118.655
36 | 2550118.252 | 1185129.9922 | 2550129.1818 | 1185118.655
37 | 2550118.252 | 1185129.9922 | 2550104.5165 | 1185117.375
38 | 2550142.1962 | 1185109.2366 | 2550154.2666 | 1185120.6978 | 2550161.0186 | 1185128.6459
39 | 2550142.1962 | 1185109.2366 | 2550158.1949 | 1185099.7453
40 | 2550093.74 | 1185103.4943 | 2550096.7477 | 1185110.2386 | 2550104.5165 | 1185117.375
41 | 2550161.0186 | 1185128.6459 | 2550165.0547 | 1185124.8213
42 | 2550161.0186 | 1185128.6459 | 2550166.5604 | 1185135.1589
43 | 2550163.5217 | 1185096.5852 | 2550158.1949 | 1185099.7453
44 | 2550085.8364 | 1185092.2865 | 2550090.5487 | 1185096.3383 | 2550093.74 | 1185103.4943
45 | 2550160.2402 | 1185141.4595 | 2550166.5604 | 1185135.1589
46 | 2550166.5604 | 1185135.1589 | 2550167.8553 | 1185136.6822 | 2550168.4653 | 1185137.477
47 | 2550182.7085 | 1185156.0358 | 2550168.4653 | 1185137.477
48 | 2550182.7085 | 1185156.0358 | 2550188.8503 | 1185164.0334 | 2550189.4906 | 1185164.8619 | 2550201.28 | 1185162.7736 | 2550208.3752 | 1185161.5472 | 2550212.5437 | 1185160.7898 | 2550207.5536 | 1185154.5391 | 2550206.6821 | 1185153.4457
49 | 2550206.6821 | 1185153.4457 | 2550207.5536 | 1185154.5391 | 2550212.5437 | 1185160.7898 | 2550214.8421 | 1185163.6834 | 2550226.6026 | 1185161.7955 | 2550233.7921 | 1185170.9629 | 2550240.9814 | 1185180.1192 | 2550240.1861 | 1185181.7601 | 2550239.0186 | 1185184.538 | 2550238.0817 | 1185190.2601 | 2550238.5882 | 1185194.258
50 | 2550204.8542 | 1185151.1597 | 2550206.6821 | 1185153.4457
51 | 2550238.5882 | 1185194.258 | 2550238.0817 | 1185190.2601 | 2550239.0186 | 1185184.538 | 2550240.1861 | 1185181.7601 | 2550240.9814 | 1185180.1192 | 2550245.0103 | 1185181.8533 | 2550263.5744 | 1185164.8006 | 2550264.0195 | 1185155.0026 | 2550272.8879 | 1185153.1611 | 2550271.048 | 1185150.3416 | 2550254.7363 | 1185125.3524 | 2550243.4559 | 1185108.8483
52 | 2550238.5882 | 1185194.258 | 2550227.1476 | 1185182.3245 | 2550225.1492 | 1185180.2437
53 | 2550205.0824 | 1185061.3195 | 2550206.8013 | 1185063.3507 | 2550231.4833 | 1185092.6168 | 2550233.9491 | 1185095.4312 | 2550235.4593 | 1185097.1529 | 2550243.4559 | 1185108.8483
54 | 2550243.4559 | 1185108.8483 | 2550222.3417 | 1185123.0541 | 2550221.4906 | 1185122.1811
55 | 2550205.0824 | 1185061.3195 | 2550209.0733 | 1185057.573
56 | 2550205.0824 | 1185061.3195 | 2550195.3917 | 1185069.816 | 2550193.8532 | 1185072.1037
57 | 2550219.1702 | 1185119.801 | 2550221.4906 | 1185122.1811
58 | 2550185.2032 | 1184952.7031 | 2550180.836 | 1184948.8596 | 2550170.2917 | 1184939.22 | 2550170.6542 | 1184938.7611 | 2550173.062 | 1184936.4398 | 2550227.9978 | 1184986.6209 | 2550234.3584 | 1184990.6368 | 2550244.9185 | 1184995.7739 | 2550252.337 | 1184998.5248 | 2550254.7565 | 1184999.4496 | 2550253.2423 | 1185002.7529 | 2550252.9367 | 1185003.6338 | 2550252.1542 | 1185005.8971 | 2550249.4596 | 1185011.3447 | 2550245.0222 | 1185016.4845 | 2550229.1702 | 1185034.8265
59 | 2550209.0733 | 1185057.573 | 2550229.1702 | 1185034.8265
60 | 2550229.1702 | 1185034.8265 | 2550240.6488 | 1185048.9
61 | 2550185.2032 | 1184952.7031 | 2550198.5894 | 1184964.4981 | 2550216.9545 | 1184981.1987 | 2550227.2519 | 1184990.5292 | 2550228.5295 | 1184991.3683
62 | 2550209.0733 | 1185057.573 | 2550206.8781 | 1185055.1678 | 2550198.7899 | 1185047.153 | 2550205.5473 | 1185040.1706 | 2550191.0338 | 1185025.8837 | 2550197.9788 | 1185019.1437
63 | 2550183.1714 | 1185087.9833 | 2550189.8281 | 1185078.0891 | 2550193.8532 | 1185072.1037
64 | 2550183.1714 | 1185087.9833 | 2550187.3118 | 1185090.9703
65 | 2550204.495 | 1185012.8199 | 2550197.9788 | 1185019.1437
66 | 2550237.6762 | 1184996.5813 | 2550233.7213 | 1184994.7777 | 2550228.5295 | 1184991.3683

## bus_geodata
| x | y | coords
0 | 2550041.878 | 1185075.4755
1 | 2550047.9354 | 1185082.2753
2 | 2550030.1456 | 1185064.114
3 | 2550041.5693 | 1185088.5542
4 | 2550051.2103 | 1185090.5748
5 | 2550023.7227 | 1185057.0713
6 | 2550071.838 | 1185065.6776
7 | 2550061.8103 | 1185101.9336
8 | 2550092.5361 | 1185056.4998
9 | 2550063.0292 | 1185056.1527
10 | 2550101.0443 | 1185055.3837
11 | 2550080.156 | 1185054.4269
12 | 2550050.9738 | 1185043.1173
13 | 2550056.769 | 1185037.9105
14 | 2550105.9809 | 1185061.6015
15 | 2550108.8487 | 1185048.3334
16 | 2550112.113 | 1185069.3323
17 | 2550092.8299 | 1185077.1383
18 | 2550127.9181 | 1185032.6247
19 | 2550123.3277 | 1185025.8148
20 | 2550139.3812 | 1185024.3356
21 | 2550136.6412 | 1185020.6676
22 | 2550156.7319 | 1185011.8396
23 | 2550153.6399 | 1185041.0037
24 | 2550118.3468 | 1185064.5554
25 | 2550129.2223 | 1185091.9464
26 | 2550092.2318 | 1185077.8449
27 | 2550153.1999 | 1185006.555
28 | 2550167.4291 | 1185004.1351
29 | 2550157.7841 | 1185038.2454
30 | 2550155.1989 | 1185043.0807
31 | 2550135.4871 | 1185086.3133
32 | 2550140.1421 | 1185107.286
33 | 2550130.126 | 1185117.6755
34 | 2550129.1818 | 1185118.655
35 | 2550118.252 | 1185129.9922
36 | 2550142.1962 | 1185109.2366
37 | 2550104.5165 | 1185117.375
38 | 2550161.0186 | 1185128.6459
39 | 2550158.1949 | 1185099.7453
40 | 2550093.74 | 1185103.4943
41 | 2550165.0547 | 1185124.8213
42 | 2550166.5604 | 1185135.1589
43 | 2550163.5217 | 1185096.5852
44 | 2550085.8364 | 1185092.2865
45 | 2550168.4653 | 1185137.477
46 | 2550182.7085 | 1185156.0358
47 | 2550206.6821 | 1185153.4457
48 | 2550160.2402 | 1185141.4595
49 | 2550238.5882 | 1185194.258
50 | 2550204.8542 | 1185151.1597
51 | 2550243.4559 | 1185108.8483
52 | 2550225.1492 | 1185180.2437
53 | 2550205.0824 | 1185061.3195
54 | 2550221.4906 | 1185122.1811
55 | 2550229.1702 | 1185034.8265
56 | 2550185.2032 | 1184952.7031
57 | 2550209.0733 | 1185057.573
58 | 2550240.6488 | 1185048.9
59 | 2550193.8532 | 1185072.1037
60 | 2550219.1702 | 1185119.801
61 | 2550187.3118 | 1185090.9703
62 | 2550183.1714 | 1185087.9833
63 | 2550197.9788 | 1185019.1437
64 | 2550204.495 | 1185012.8199
65 | 2550228.5295 | 1184991.3683
66 | 2550237.6762 | 1184996.5813
67 | 2550150.3865 | 1185046.2448
68 | 2550129.2223 | 1185091.9464

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99335 | -0.046587 | 0.0027176 | 0.00068111
1 | 0.99346 | -0.045836 | 0 | 0
2 | 0.99322 | -0.047497 | 0 | 0
3 | 0.99342 | -0.04614 | 0.0033676 | 0.00084401
4 | 0.99362 | -0.044728 | 0 | 0
5 | 0.99315 | -0.048021 | 0.0054408 | 0.0013636
6 | 0.99433 | -0.039699 | 0 | 0
7 | 0.99354 | -0.045239 | 0.0032507 | 0.0008147
8 | 0.99524 | -0.033323 | 0 | 0
9 | 0.99411 | -0.041271 | 0.0024458 | 0.00061299
10 | 0.99561 | -0.030702 | 0 | 0
11 | 0.99516 | -0.033867 | 0.0036248 | 0.00090845
12 | 0.99386 | -0.042985 | 0.0061005 | 0.0015289
13 | 0.99383 | -0.043256 | 0.0034501 | 0.00086467
14 | 0.99612 | -0.027096 | 0 | 0
15 | 0.99539 | -0.032265 | 0.0037736 | 0.00094576
16 | 0.99688 | -0.021812 | 0 | 0
17 | 0.99589 | -0.028767 | 0.0045368 | 0.001137
18 | 0.995 | -0.035002 | 0 | 0
19 | 0.99498 | -0.035135 | 0.0016084 | 0.00040311
20 | 0.99481 | -0.036336 | 0 | 0
21 | 0.99479 | -0.036457 | 0.002634 | 0.00066013
22 | 0.99474 | -0.036847 | 0 | 0
23 | 0.99466 | -0.037359 | 0 | 0
24 | 0.99686 | -0.021946 | 0.0017004 | 0.00042617
25 | 0.99911 | -0.0061814 | 0 | 0
26 | 0.99588 | -0.028801 | 0.0036221 | 0.00090778
27 | 0.99472 | -0.036958 | 0.0017381 | 0.00043561
28 | 0.99473 | -0.03693 | 0.00062891 | 0.00015762
29 | 0.99465 | -0.03745 | 0.0018198 | 0.00045609
30 | 0.99466 | -0.037426 | 0 | 0
31 | 1 | 0 | -0.14906 | -0.037311
32 | 0.99662 | -0.023546 | 0 | 0
33 | 0.99597 | -0.028085 | 0.0088134 | 0.0022088
34 | 0.99593 | -0.028393 | 0.0087553 | 0.0021943
35 | 0.99562 | -0.030566 | 0 | 0
36 | 0.99637 | -0.025275 | 0 | 0
37 | 0.99525 | -0.03314 | 0.0045607 | 0.001143
38 | 0.99417 | -0.040618 | 0 | 0
39 | 0.99625 | -0.026114 | 0.0015476 | 0.00038785
40 | 0.99502 | -0.034793 | 0.0042111 | 0.0010554
41 | 0.99415 | -0.040751 | 0.0023771 | 0.00059577
42 | 0.9935 | -0.045274 | 0 | 0
43 | 0.99622 | -0.026297 | 0.002937 | 0.00073608
44 | 0.99492 | -0.035492 | 0.0049314 | 0.0012359
45 | 0.9933 | -0.046659 | 0.0056898 | 0.001426
46 | 0.99195 | -0.056121 | 0 | 0
47 | 0.98941 | -0.073961 | 0 | 0
48 | 0.9934 | -0.046023 | 0.0083129 | 0.0020834
49 | 0.98655 | -0.094069 | 0 | 0
50 | 0.98937 | -0.07422 | 0.0086872 | 0.0021772
51 | 0.98174 | -0.12819 | 0 | 0
52 | 0.98647 | -0.094618 | 0.0027571 | 0.00069099
53 | 0.97969 | -0.14284 | 0 | 0
54 | 0.98153 | -0.12968 | 0.0016056 | 0.0004024
55 | 0.97913 | -0.14682 | 0 | 0
56 | 0.9774 | -0.15921 | 0 | 0
57 | 0.97956 | -0.14377 | 0 | 0
58 | 0.97906 | -0.14734 | 0.0027659 | 0.0006932
59 | 0.97953 | -0.14394 | 0.0045441 | 0.0011388
60 | 0.98151 | -0.12981 | 0.0037658 | 0.00094381
61 | 0.97946 | -0.1445 | 0.0022164 | 0.00055547
62 | 0.97947 | -0.14438 | 0 | 0
63 | 0.97903 | -0.14753 | 0.0052185 | 0.0013079
64 | 0.97901 | -0.14766 | 0.0014194 | 0.00035574
65 | 0.97682 | -0.16339 | 0.0034865 | 0.0008738
66 | 0.97677 | -0.16376 | 0.0033946 | 0.00085076
67 | 0.99463 | -0.037573 | 0.0025389 | 0.0006363
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0081596 | -0.0020448 | 0.0081604 | 0.002045 | 8.4894e-07 | 2.0861e-07 | 0.012223 | 0.012223 | 0.012223 | 0.99335 | -0.046587 | 0.99346 | -0.045836 | 4.5269
1 | 0.0054419 | 0.0013637 | -0.0054412 | -0.0013636 | 6.85e-07 | 4.9637e-08 | 0.0081518 | 0.0081519 | 0.0081519 | 0.99335 | -0.046587 | 0.99322 | -0.047497 | 3.0192
2 | 0.0033678 | 0.00084395 | -0.0033676 | -0.00084401 | 1.4177e-07 | -6.1083e-08 | 0.0050443 | 0.0050443 | 0.0050443 | 0.99346 | -0.045836 | 0.99342 | -0.04614 | 1.8683
3 | -0.011528 | -0.0028889 | 0.01153 | 0.0028895 | 1.7678e-06 | 5.5686e-07 | 0.017267 | 0.017267 | 0.017267 | 0.99346 | -0.045836 | 0.99362 | -0.044728 | 6.3952
4 | 0.0054412 | 0.0013636 | -0.0054408 | -0.0013636 | 3.9525e-07 | 2.8668e-08 | 0.0081519 | 0.0081519 | 0.0081519 | 0.99322 | -0.047497 | 0.99315 | -0.048021 | 3.0192
5 | -0.014781 | -0.0037041 | 0.014791 | 0.0037076 | 1.0294e-05 | 3.5227e-06 | 0.022135 | 0.022135 | 0.022135 | 0.99362 | -0.044728 | 0.99433 | -0.039699 | 8.1983
6 | 0.0032509 | 0.00081458 | -0.0032507 | -0.0008147 | 2.2978e-07 | -1.1284e-07 | 0.0048684 | 0.0048685 | 0.0048685 | 0.99362 | -0.044728 | 0.99354 | -0.045239 | 1.8031
7 | -0.026793 | -0.0067156 | 0.026816 | 0.0067244 | 2.3676e-05 | 8.7996e-06 | 0.040095 | 0.040095 | 0.040095 | 0.99433 | -0.039699 | 0.99524 | -0.033323 | 14.8501
8 | 0.012001 | 0.003008 | -0.011999 | -0.0030072 | 2.6114e-06 | 8.3615e-07 | 0.01796 | 0.01796 | 0.01796 | 0.99433 | -0.039699 | 0.99411 | -0.041271 | 6.6519
9 | -0.030441 | -0.0076328 | 0.030452 | 0.0076369 | 1.1062e-05 | 4.1432e-06 | 0.045515 | 0.045515 | 0.045515 | 0.99524 | -0.033323 | 0.99561 | -0.030702 | 16.8575
10 | 0.003625 | 0.00090836 | -0.0036248 | -0.00090845 | 2.7288e-07 | -8.8482e-08 | 0.0054199 | 0.0054199 | 0.0054199 | 0.99524 | -0.033323 | 0.99516 | -0.033867 | 2.0074
11 | 0.009553 | 0.0023942 | -0.0095507 | -0.0023935 | 2.2654e-06 | 6.4116e-07 | 0.014299 | 0.014299 | 0.014299 | 0.99411 | -0.041271 | 0.99386 | -0.042985 | 5.296
12 | -0.045204 | -0.011334 | 0.045227 | 0.011342 | 2.2593e-05 | 8.5865e-06 | 0.067563 | 0.067563 | 0.067563 | 0.99561 | -0.030702 | 0.99612 | -0.027096 | 25.0232
13 | 0.014752 | 0.0036967 | -0.014749 | -0.0036956 | 3.1901e-06 | 1.0902e-06 | 0.022048 | 0.022048 | 0.022048 | 0.99561 | -0.030702 | 0.99539 | -0.032265 | 8.1658
14 | 0.0034502 | 0.00086462 | -0.0034501 | -0.00086467 | 1.2972e-07 | -5.1062e-08 | 0.0051656 | 0.0051656 | 0.0051656 | 0.99386 | -0.042985 | 0.99383 | -0.043256 | 1.9132
15 | -0.053388 | -0.013387 | 0.053427 | 0.013402 | 3.9126e-05 | 1.492e-05 | 0.079753 | 0.079753 | 0.079753 | 0.99612 | -0.027096 | 0.99688 | -0.021812 | 29.5382
16 | 0.0081608 | 0.0020453 | -0.0081589 | -0.0020448 | 1.8876e-06 | 4.611e-07 | 0.012191 | 0.012191 | 0.012191 | 0.99612 | -0.027096 | 0.99589 | -0.028767 | 4.5151
17 | 0.010975 | 0.0027498 | -0.010971 | -0.0027486 | 4.1557e-06 | 1.2769e-06 | 0.016406 | 0.016406 | 0.016406 | 0.99539 | -0.032265 | 0.995 | -0.035002 | 6.0765
18 | 0.0017005 | 0.00042608 | -0.0017004 | -0.00042617 | 3.1518e-08 | -9.009e-08 | 0.0025382 | 0.0025382 | 0.0025382 | 0.99688 | -0.021812 | 0.99686 | -0.021946 | 0.94009
19 | -0.055127 | -0.013828 | 0.055247 | 0.013874 | 0.00011976 | 4.5692e-05 | 0.082291 | 0.082291 | 0.082291 | 0.99688 | -0.021812 | 0.99911 | -0.0061814 | 30.4783
20 | 0.0036221 | 0.00090778 | -0.0036221 | -0.00090778 | 1.692e-08 | -5.538e-09 | 0.005412 | 0.005412 | 0.005412 | 0.99589 | -0.028767 | 0.99588 | -0.028801 | 2.0045
21 | 0.0016085 | 0.00040302 | -0.0016084 | -0.00040311 | 2.9632e-08 | -9.5197e-08 | 0.0024054 | 0.0024055 | 0.0024055 | 0.995 | -0.035002 | 0.99498 | -0.035135 | 0.89091
22 | 0.0093624 | 0.0023455 | -0.0093606 | -0.0023451 | 1.7272e-06 | 4.8095e-07 | 0.014001 | 0.014001 | 0.014001 | 0.995 | -0.035002 | 0.99481 | -0.036336 | 5.1856
23 | 0.002634 | 0.00066009 | -0.002634 | -0.00066013 | 4.4305e-08 | -4.2345e-08 | 0.0039399 | 0.0039399 | 0.0039399 | 0.99481 | -0.036336 | 0.99479 | -0.036457 | 1.4592
24 | 0.0023672 | 0.00059277 | -0.002367 | -0.00059299 | 1.6727e-07 | -2.1326e-07 | 0.0035406 | 0.0035407 | 0.0035407 | 0.99481 | -0.036336 | 0.99474 | -0.036847 | 1.3114
25 | 0.0043594 | 0.0010922 | -0.0043588 | -0.0010923 | 6.1731e-07 | -6.4614e-08 | 0.0065206 | 0.0065207 | 0.0065207 | 0.99481 | -0.036336 | 0.99466 | -0.037359 | 2.4151
26 | 0.0017381 | 0.00043554 | -0.0017381 | -0.00043561 | 2.6795e-08 | -7.2152e-08 | 0.0026 | 0.0026 | 0.0026 | 0.99474 | -0.036847 | 0.99472 | -0.036958 | 0.96298
27 | 0.00062892 | 0.00015745 | -0.00062891 | -0.00015762 | 7.2666e-09 | -1.6801e-07 | 0.00094073 | 0.00094079 | 0.00094079 | 0.99474 | -0.036847 | 0.99473 | -0.03693 | 0.34844
28 | 0.0018199 | 0.00045604 | -0.0018198 | -0.00045609 | 2.2977e-08 | -5.5645e-08 | 0.0027225 | 0.0027225 | 0.0027225 | 0.99466 | -0.037359 | 0.99465 | -0.03745 | 1.0083
29 | 0.0025389 | 0.00063622 | -0.0025389 | -0.00063625 | 2.3361e-08 | -2.4697e-08 | 0.0037982 | 0.0037982 | 0.0037982 | 0.99466 | -0.037359 | 0.99466 | -0.037426 | 1.4068
30 | -0.14814 | -0.037262 | 0.14826 | 0.037311 | 0.00012781 | 4.8935e-05 | 0.22067 | 0.22067 | 0.22067 | 0.99911 | -0.0061814 | 1 | 0 | 40.8652
31 | 0.092889 | 0.023388 | -0.092664 | -0.023301 | 0.00022481 | 8.622e-05 | 0.13838 | 0.13838 | 0.13838 | 0.99911 | -0.0061814 | 0.99662 | -0.023546 | 51.2522
32 | 0.0025389 | 0.00063625 | -0.0025389 | -0.0006363 | 5.1745e-08 | -5.4702e-08 | 0.0037982 | 0.0037983 | 0.0037983 | 0.99466 | -0.037426 | 0.99463 | -0.037573 | 1.4068
33 | 0.06136 | 0.015453 | -0.061345 | -0.015447 | 1.4825e-05 | 5.6651e-06 | 0.091641 | 0.091641 | 0.091641 | 0.99662 | -0.023546 | 0.99637 | -0.025275 | 33.941
34 | 0.031304 | 0.0078488 | -0.031284 | -0.0078414 | 1.9673e-05 | 7.3786e-06 | 0.04674 | 0.04674 | 0.04674 | 0.99662 | -0.023546 | 0.99597 | -0.028085 | 17.3112
35 | 0.022471 | 0.0056326 | -0.02247 | -0.0056322 | 9.5686e-07 | 3.5032e-07 | 0.033573 | 0.033573 | 0.033573 | 0.99597 | -0.028085 | 0.99593 | -0.028393 | 12.4343
36 | 0.013715 | 0.0034379 | -0.013711 | -0.0034365 | 4.1262e-06 | 1.3822e-06 | 0.020491 | 0.020492 | 0.020492 | 0.99593 | -0.028393 | 0.99562 | -0.030566 | 7.5895
37 | 0.013711 | 0.0034365 | -0.013706 | -0.0034349 | 4.8869e-06 | 1.6371e-06 | 0.020492 | 0.020492 | 0.020492 | 0.99562 | -0.030566 | 0.99525 | -0.03314 | 7.5895
38 | 0.05686 | 0.014323 | -0.056738 | -0.014277 | 0.00012174 | 4.6473e-05 | 0.084943 | 0.084943 | 0.084943 | 0.99637 | -0.025275 | 0.99417 | -0.040618 | 31.4603
39 | 0.0044851 | 0.0011238 | -0.0044846 | -0.0011239 | 5.208e-07 | -4.1943e-08 | 0.0066982 | 0.0066983 | 0.0066983 | 0.99637 | -0.025275 | 0.99625 | -0.026114 | 2.4808
40 | 0.009145 | 0.0022919 | -0.0091429 | -0.0022913 | 2.0921e-06 | 5.7165e-07 | 0.013673 | 0.013673 | 0.013673 | 0.99525 | -0.03314 | 0.99502 | -0.034793 | 5.0641
41 | 0.0023772 | 0.00059571 | -0.0023771 | -0.00059577 | 4.3858e-08 | -5.5121e-08 | 0.003558 | 0.003558 | 0.003558 | 0.99417 | -0.040618 | 0.99415 | -0.040751 | 1.3178
42 | 0.054361 | 0.013681 | -0.054326 | -0.013667 | 3.5309e-05 | 1.347e-05 | 0.081385 | 0.081385 | 0.081385 | 0.99417 | -0.040618 | 0.9935 | -0.045274 | 30.1425
43 | 0.0029371 | 0.00073602 | -0.002937 | -0.00073608 | 7.4375e-08 | -5.2039e-08 | 0.0043868 | 0.0043868 | 0.0043868 | 0.99625 | -0.026114 | 0.99622 | -0.026297 | 1.6248
44 | 0.0049319 | 0.0012359 | -0.0049314 | -0.0012359 | 4.7692e-07 | 9.534e-10 | 0.0073754 | 0.0073755 | 0.0073755 | 0.99502 | -0.034793 | 0.99492 | -0.035492 | 2.7317
45 | 0.0083137 | 0.0020836 | -0.0083129 | -0.0020834 | 8.6224e-07 | 2.1624e-07 | 0.012452 | 0.012452 | 0.012452 | 0.9935 | -0.045274 | 0.9934 | -0.046023 | 4.6118
46 | 0.046012 | 0.011584 | -0.046003 | -0.01158 | 8.8989e-06 | 3.3838e-06 | 0.068933 | 0.068933 | 0.068933 | 0.9935 | -0.045274 | 0.9933 | -0.046659 | 25.5307
47 | 0.040313 | 0.010154 | -0.04026 | -0.010134 | 5.3273e-05 | 2.0187e-05 | 0.060409 | 0.060409 | 0.060409 | 0.9933 | -0.046659 | 0.99195 | -0.056121 | 22.3739
48 | 0.04026 | 0.010134 | -0.04016 | -0.010096 | 0.00010005 | 3.7916e-05 | 0.060409 | 0.06041 | 0.06041 | 0.99195 | -0.056121 | 0.98941 | -0.073961 | 22.3739
49 | 0.031473 | 0.0079191 | -0.031384 | -0.007886 | 8.8061e-05 | 3.3063e-05 | 0.047344 | 0.047344 | 0.047344 | 0.98941 | -0.073961 | 0.98655 | -0.094069 | 17.535
50 | 0.0086875 | 0.0021773 | -0.0086872 | -0.0021772 | 3.1147e-07 | 8.2245e-08 | 0.013065 | 0.013066 | 0.013066 | 0.98941 | -0.073961 | 0.98937 | -0.07422 | 4.8391
51 | 0.028627 | 0.0071952 | -0.028492 | -0.0071446 | 0.00013537 | 5.0589e-05 | 0.043186 | 0.043186 | 0.043186 | 0.98655 | -0.094069 | 0.98174 | -0.12819 | 15.9949
52 | 0.0027573 | 0.00069083 | -0.0027571 | -0.00069099 | 2.0956e-07 | -1.6731e-07 | 0.0041588 | 0.0041589 | 0.0041589 | 0.98655 | -0.094069 | 0.98647 | -0.094618 | 1.5403
53 | 0.023119 | 0.0057983 | -0.023072 | -0.0057811 | 4.6855e-05 | 1.725e-05 | 0.035043 | 0.035043 | 0.035043 | 0.98174 | -0.12819 | 0.97969 | -0.14284 | 12.979
54 | 0.0053726 | 0.0013463 | -0.0053715 | -0.0013462 | 1.1035e-06 | 8.7278e-08 | 0.0081431 | 0.0081432 | 0.0081432 | 0.98174 | -0.12819 | 0.98153 | -0.12968 | 3.016
55 | 0.016311 | 0.0040868 | -0.016309 | -0.0040861 | 2.0933e-06 | 7.3629e-07 | 0.024773 | 0.024774 | 0.024774 | 0.97969 | -0.14284 | 0.97956 | -0.14377 | 9.1754
56 | 0.0067616 | 0.0016943 | -0.0067606 | -0.0016941 | 1.0297e-06 | 1.9906e-07 | 0.01027 | 0.01027 | 0.01027 | 0.97969 | -0.14284 | 0.97953 | -0.14394 | 3.8037
57 | 0.0037659 | 0.00094379 | -0.0037658 | -0.00094381 | 6.7607e-08 | -1.6009e-08 | 0.0057092 | 0.0057092 | 0.0057092 | 0.98153 | -0.12968 | 0.98151 | -0.12981 | 2.1145
58 | 0.006897 | 0.0017277 | -0.0068852 | -0.0017253 | 1.1811e-05 | 2.3796e-06 | 0.010481 | 0.010482 | 0.010482 | 0.97913 | -0.14682 | 0.9774 | -0.15921 | 3.8822
59 | -0.0096631 | -0.0024207 | 0.0096672 | 0.0024219 | 4.0795e-06 | 1.1876e-06 | 0.014685 | 0.014685 | 0.014685 | 0.97913 | -0.14682 | 0.97956 | -0.14377 | 5.4389
60 | 0.0027661 | 0.00069304 | -0.0027659 | -0.0006932 | 2.0025e-07 | -1.5138e-07 | 0.0042036 | 0.0042037 | 0.0042037 | 0.97913 | -0.14682 | 0.97906 | -0.14734 | 1.5569
61 | 0.0068852 | 0.0017253 | -0.0068812 | -0.0017245 | 3.9827e-06 | 8.0423e-07 | 0.010482 | 0.010482 | 0.010482 | 0.9774 | -0.15921 | 0.97682 | -0.16339 | 3.8823
62 | 0.0066415 | 0.0016642 | -0.006638 | -0.0016635 | 3.4553e-06 | 6.445e-07 | 0.010089 | 0.010089 | 0.010089 | 0.97956 | -0.14377 | 0.97903 | -0.14753 | 3.7366
63 | 0.0022165 | 0.00055523 | -0.0022164 | -0.00055542 | 1.3539e-07 | -1.8882e-07 | 0.0033671 | 0.0033671 | 0.0033671 | 0.97953 | -0.14394 | 0.97947 | -0.14438 | 1.2471
64 | -0.0022164 | -0.00055547 | 0.0022164 | 0.00055542 | 3.6119e-08 | -5.0364e-08 | 0.0033672 | 0.0033671 | 0.0033672 | 0.97946 | -0.1445 | 0.97947 | -0.14438 | 1.2471
65 | 0.0014195 | 0.00035564 | -0.0014194 | -0.00035574 | 2.6372e-08 | -1.0404e-07 | 0.0021574 | 0.0021574 | 0.0021574 | 0.97903 | -0.14753 | 0.97901 | -0.14766 | 0.79905
66 | 0.0033947 | 0.00085069 | -0.0033946 | -0.00085076 | 1.7618e-07 | -6.4396e-08 | 0.0051713 | 0.0051713 | 0.0051713 | 0.97682 | -0.16339 | 0.97677 | -0.16376 | 1.9153

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15312 | 0.038328

## res_load
| p_mw | q_mvar
0 | 0.0027176 | 0.00068111
1 | 0.0033676 | 0.00084401
2 | 0.0054408 | 0.0013636
3 | 0.0032507 | 0.0008147
4 | 0.0024458 | 0.00061299
5 | 0.0036248 | 0.00090845
6 | 0.0061005 | 0.0015289
7 | 0.0034501 | 0.00086467
8 | 0.0037736 | 0.00094576
9 | 0.0045368 | 0.001137
10 | 0.0016084 | 0.00040311
11 | 0.002634 | 0.00066013
12 | 0.0017004 | 0.00042617
13 | 0.0036221 | 0.00090778
14 | 0.0017381 | 0.00043561
15 | 0.00062891 | 0.00015762
16 | 0.0018198 | 0.00045609
17 | 0.004058 | 0.001017
18 | 0.0088134 | 0.0022088
19 | 0.0087553 | 0.0021943
20 | 0.0045607 | 0.001143
21 | 0.0015476 | 0.00038785
22 | 0.0042111 | 0.0010554
23 | 0.0023771 | 0.00059577
24 | 0.002937 | 0.00073608
25 | 0.0049314 | 0.0012359
26 | 0.0056898 | 0.001426
27 | 0.0083129 | 0.0020834
28 | 0.0086872 | 0.0021772
29 | 0.0027571 | 0.00069099
30 | 0.0016056 | 0.0004024
31 | 0.0027659 | 0.0006932
32 | 0.0045441 | 0.0011388
33 | 0.0037658 | 0.00094381
34 | 0.0022164 | 0.00055547
35 | 0.0052185 | 0.0013079
36 | 0.0014194 | 0.00035574
37 | 0.0034865 | 0.0008738
38 | 0.0033946 | 0.00085076
39 | 0.0025389 | 0.0006363

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1