## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2063-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2063-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2063-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2063-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2063-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2063-3_0_3_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_2063-3_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_2063-3_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2063-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2063-3_0_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_2063-3_0_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_2063-3_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2063-3_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_2063-3_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2063-3_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2063-3_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2063-3_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2063-3_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2063-3_0_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_2063-3_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_2063-3_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_2063-3_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2063-3_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2063-3_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2063-3_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_2063-3_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2063-3_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2063-3_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2063-3_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2063-3_0_3_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_2063-3_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_2063-3_0_3_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_2063-3_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_2063-3_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_2063-3_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2063-3_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2063-3_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2063-3_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2063-3_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_2063-3_0_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_2063-3_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2063-3_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_2063-3_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_2063-3_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_2063-3_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2063-3_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2063-3_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2063-3_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2063-3_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2063-3_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2063-3_0_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_2063-3_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_2063-3_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_2063-3_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_2063-3_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2063-3_0_3_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_2063-3_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_2063-3_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_2063-3_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_2063-3_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2063-3_0_3_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_2063-3_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_2063-3_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_2063-3_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2063-3_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_2063-3_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2063-3_0_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_2063-3_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_2063-3_0_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_2063-3_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_2063-3_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_2063-3_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_2063-3_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_2063-3_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_2063-3_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_2063-3_0_3_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_2063-3_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_2063-3_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_2063-3_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_2063-3_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_MV_33_0_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2063-3_0_3_load_0 | 0 | 0.0082057 | 0.0020566 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2063-3_0_3_load_1 | 1 | 0.0025861 | 0.00064813 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2063-3_0_3_load_3 | 3 | 0.002853 | 0.00071503 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2063-3_0_3_load_21 | 6 | 0.00067762 | 0.00016983 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2063-3_0_3_load_18 | 7 | 0.00090131 | 0.00022589 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2063-3_0_3_load_5 | 8 | 0.0010152 | 0.00025444 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2063-3_0_3_load_42 | 9 | 0.001728 | 0.00043307 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2063-3_0_3_load_46 | 10 | 0.0027502 | 0.00068927 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2063-3_0_3_load_19 | 12 | 0.0085286 | 0.0021375 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2063-3_0_3_load_6 | 14 | 0.0021569 | 0.00054057 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2063-3_0_3_load_7 | 15 | 0.0025362 | 0.00063562 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2063-3_0_3_load_8 | 16 | 0.0013011 | 0.00032609 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2063-3_0_3_load_10 | 17 | 0.0066321 | 0.0016622 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2063-3_0_3_load_39 | 18 | 0.0023217 | 0.00058186 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2063-3_0_3_load_23 | 19 | 0.0065317 | 0.001637 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2063-3_0_3_load_40 | 20 | 0.0044275 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2063-3_0_3_load_22 | 21 | 0.0022188 | 0.00055608 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2063-3_0_3_load_11 | 22 | 0.0064893 | 0.0016264 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2063-3_0_3_load_12 | 23 | 0.0046683 | 0.00117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2063-3_0_3_load_43 | 24 | 0.0047882 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2063-3_0_3_load_44 | 25 | 0.0012557 | 0.00031471 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2063-3_0_3_load_14 | 26 | 0.0070291 | 0.0017617 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2063-3_0_3_load_17 | 28 | 0.0091183 | 0.0022853 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2063-3_0_3_load_69 | 29 | 0.0038376 | 0.0009618 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2063-3_0_3_load_71 | 31 | 0.0046826 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2063-3_0_3_load_20 | 33 | 0.0022613 | 0.00056673 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2063-3_0_3_load_25 | 35 | 0.0024448 | 0.00061273 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2063-3_0_3_load_26 | 36 | 0.011716 | 0.0029363 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2063-3_0_3_load_27 | 37 | 0.0064615 | 0.0016194 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2063-3_0_3_load_47 | 38 | 0.0038474 | 0.00096424 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2063-3_0_3_load_70 | 39 | 0.0053844 | 0.0013494 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2063-3_0_3_load_48 | 41 | 0.0061933 | 0.0015522 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2063-3_0_3_load_55 | 42 | 0.0026758 | 0.00067061 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2063-3_0_3_load_53 | 43 | 0.0012861 | 0.00032233 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2063-3_0_3_load_45 | 44 | 0.0078812 | 0.0019752 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2063-3_0_3_load_29 | 45 | 0.0090687 | 0.0022728 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2063-3_0_3_load_62 | 51 | 0.0037678 | 0.00094429 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2063-3_0_3_load_36 | 53 | 0.0057405 | 0.0014387 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2063-3_0_3_load_77 | 55 | 0.0038637 | 0.00096832 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2063-3_0_3_load_50 | 59 | 0.0016481 | 0.00041305 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2063-3_0_3_load_75 | 60 | 0.0017268 | 0.00043278 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2063-3_0_3_load_52 | 62 | 0.00227 | 0.0005689 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2063-3_0_3_load_49 | 63 | 0.0025725 | 0.00064473 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2063-3_0_3_load_41 | 64 | 0.0034568 | 0.00086637 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2063-3_0_3_load_56 | 65 | 0.00066685 | 0.00016713 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2063-3_0_3_load_68 | 66 | 0.0065752 | 0.0016479 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2063-3_0_3_load_57 | 67 | 0.0061546 | 0.0015425 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2063-3_0_3_load_72 | 68 | 0.0016818 | 0.00042151 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2063-3_0_3_load_73 | 69 | 0.00074558 | 0.00018686 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2063-3_0_3_load_67 | 70 | 0.0024573 | 0.00061586 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2063-3_0_3_load_58 | 71 | 0.0043989 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2063-3_0_3_load_60 | 73 | 0.0019965 | 0.00050037 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2063-3_0_3_load_80 | 75 | 0.0034442 | 0.00086319 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2063-3_0_3_load_79 | 76 | 0.0016771 | 0.00042032 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2063-3_0_3_load_74 | 77 | 0.0044149 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2063-3_0_3_load_76 | 78 | 0.0010672 | 0.00026747 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2063-3_0_3_load_78 | 79 | 0.0050892 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2063-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.047866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2063-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.066207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2063-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.034005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2063-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2063-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.040898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2063-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.070806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2063-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.028849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2063-3_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.040051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2063-3_0_3_line_8 | NAYY 4x150 SE | 5 | 11 | 0.002213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2063-3_0_3_line_9 | NAYY 4x150 SE | 7 | 12 | 0.027715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2063-3_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.039654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2063-3_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.014245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2063-3_0_3_line_12 | NAYY 4x150 SE | 10 | 44 | 0.015766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2063-3_0_3_line_13 | NAYY 4x150 SE | 11 | 29 | 0.0244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2063-3_0_3_line_14 | NAYY 4x150 SE | 11 | 27 | 0.032189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2063-3_0_3_line_15 | NAYY 4x150 SE | 12 | 33 | 0.024678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2063-3_0_3_line_16 | NAYY 4x150 SE | 13 | 18 | 0.024285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2063-3_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.013465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2063-3_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.030146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2063-3_0_3_line_19 | NAYY 4x150 SE | 14 | 16 | 0.0076005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2063-3_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.0015022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2063-3_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.03541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2063-3_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0062286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2063-3_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.013686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2063-3_0_3_line_24 | NAYY 4x150 SE | 20 | 64 | 0.045915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2063-3_0_3_line_25 | NAYY 4x150 SE | 21 | 34 | 0.020935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2063-3_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.045334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2063-3_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.071244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2063-3_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.014253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2063-3_0_3_line_29 | NAYY 4x150 SE | 25 | 44 | 0.031532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2063-3_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.023932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2063-3_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0055265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2063-3_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.024327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2063-3_0_3_line_33 | NAYY 4x150 SE | 30 | 57 | 0.018551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2063-3_0_3_line_34 | NAYY 4x150 SE | 30 | 52 | 0.041569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2063-3_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.00054263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2063-3_0_3_line_36 | NAYY 4x150 SE | 32 | 39 | 0.017565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2063-3_0_3_line_37 | NAYY 4x150 SE | 32 | 46 | 0.005984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2063-3_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.039564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2063-3_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.059822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2063-3_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.022616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2063-3_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.021167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2063-3_0_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.0084028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2063-3_0_3_line_43 | NAYY 4x150 SE | 37 | 40 | 0.032231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2063-3_0_3_line_44 | NAYY 4x150 SE | 38 | 41 | 0.027174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2063-3_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.017557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2063-3_0_3_line_46 | NAYY 4x150 SE | 40 | 43 | 0.0528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2063-3_0_3_line_47 | NAYY 4x150 SE | 41 | 65 | 0.016722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2063-3_0_3_line_48 | NAYY 4x150 SE | 42 | 68 | 0.012487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2063-3_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.044749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_2063-3_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.0066172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2063-3_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.034224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2063-3_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.022335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2063-3_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.009979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2063-3_0_3_line_54 | NAYY 4x150 SE | 48 | 51 | 0.019773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2063-3_0_3_line_55 | NAYY 4x150 SE | 49 | 54 | 0.041355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2063-3_0_3_line_56 | NAYY 4x150 SE | 49 | 53 | 0.013956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2063-3_0_3_line_57 | NAYY 4x150 SE | 50 | 55 | 0.0095421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2063-3_0_3_line_58 | NAYY 4x150 SE | 51 | 56 | 0.022752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2063-3_0_3_line_59 | NAYY 4x150 SE | 52 | 53 | 0.013337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2063-3_0_3_line_60 | NAYY 4x150 SE | 54 | 58 | 0.041614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2063-3_0_3_line_61 | NAYY 4x150 SE | 54 | 59 | 0.0050196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2063-3_0_3_line_62 | NAYY 4x150 SE | 56 | 61 | 0.017303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2063-3_0_3_line_63 | NAYY 4x150 SE | 57 | 62 | 0.011557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2063-3_0_3_line_64 | NAYY 4x150 SE | 57 | 63 | 0.022065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2063-3_0_3_line_65 | NAYY 4x150 SE | 58 | 60 | 0.016269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2063-3_0_3_line_66 | NAYY 4x150 SE | 60 | 77 | 0.011993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2063-3_0_3_line_67 | NAYY 4x150 SE | 61 | 75 | 0.0076418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2063-3_0_3_line_68 | NAYY 4x150 SE | 62 | 67 | 0.087271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2063-3_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.030676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2063-3_0_3_line_70 | NAYY 4x150 SE | 66 | 70 | 0.041705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2063-3_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.054986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2063-3_0_3_line_72 | NAYY 4x150 SE | 70 | 74 | 0.02464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2063-3_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.017315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2063-3_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.041663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2063-3_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.032571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2063-3_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0066987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2063-3_0_3_line_77 | NAYY 4x150 SE | 76 | 79 | 0.023083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2063-3_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0075908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2063-3_0_3_trafo_71 | 0.25 MVA 20/0.4 kV | 80 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2558639.0761 | 1171301.2891 | 2558635.4135 | 1171298.1792 | 2558626.5743 | 1171289.8581 | 2558621.6493 | 1171284.5227 | 2558617.5911 | 1171279.5259 | 2558614.0659 | 1171274.1697 | 2558608.4361 | 1171265.3706 | 2558608.238 | 1171265.0643
1 | 2558680.2629 | 1171352.476 | 2558671.3704 | 1171337.5295 | 2558663.9353 | 1171326.4861 | 2558657.0219 | 1171317.8849 | 2558648.7253 | 1171309.4822 | 2558639.0761 | 1171301.2891
2 | 2558589.771 | 1171236.5105 | 2558608.238 | 1171265.0643
3 | 2558665.3458 | 1171362.373 | 2558668.8858 | 1171359.9028 | 2558673.7217 | 1171356.79 | 2558680.2629 | 1171352.476
4 | 2558567.7456 | 1171202.052 | 2558572.6972 | 1171210.1109 | 2558589.771 | 1171236.5105
5 | 2558665.3458 | 1171362.373 | 2558670.9304 | 1171376.8421 | 2558675.7178 | 1171396.6194 | 2558687.4655 | 1171429.5338
6 | 2558665.3458 | 1171362.373 | 2558646.4516 | 1171373.4537 | 2558640.3899 | 1171376.8445
7 | 2558567.7456 | 1171202.052 | 2558533.3308 | 1171222.5379
8 | 2558567.7456 | 1171202.052 | 2558569.6502 | 1171200.916
9 | 2558615.3361 | 1171388.5581 | 2558629.6495 | 1171382.8524 | 2558640.3899 | 1171376.8445
10 | 2558778.5284 | 1171280.4925 | 2558763.0044 | 1171293.1746 | 2558748.5917 | 1171306.4691
11 | 2558789.5598 | 1171271.4805 | 2558778.5284 | 1171280.4925
12 | 2558533.3308 | 1171222.5379 | 2558519.7832 | 1171230.6023
13 | 2558569.6502 | 1171200.916 | 2558558.7136 | 1171182.482 | 2558557.0376 | 1171180.0354
14 | 2558569.6502 | 1171200.916 | 2558575.6916 | 1171197.3279 | 2558597.6134 | 1171184.8364
15 | 2558591.9055 | 1171396.2458 | 2558608.8467 | 1171391.1449 | 2558615.3361 | 1171388.5581
16 | 2558789.5598 | 1171271.4805 | 2558789.7977 | 1171280.4836 | 2558796.5543 | 1171294.1869
17 | 2558789.5598 | 1171271.4805 | 2558789.0449 | 1171258.0257
18 | 2558786.2207 | 1171228.2692 | 2558788.0767 | 1171232.7259 | 2558789.0449 | 1171258.0257
19 | 2558786.2207 | 1171228.2692 | 2558783.2986 | 1171221.2528
20 | 2558783.2986 | 1171221.2528 | 2558782.7211 | 1171219.866
21 | 2558768.4045 | 1171187.4857 | 2558776.9694 | 1171206.055 | 2558782.7211 | 1171219.866
22 | 2558796.5543 | 1171294.1869 | 2558799.3088 | 1171299.7733
23 | 2558768.4045 | 1171187.4857 | 2558762.6722 | 1171175.0577
24 | 2558819.6796 | 1171340.9214 | 2558814.8012 | 1171331.1938 | 2558799.3088 | 1171299.7733
25 | 2558752.9905 | 1171156.5163 | 2558759.0695 | 1171167.2467 | 2558762.6722 | 1171175.0577
26 | 2558410.4902 | 1171240.5064 | 2558400.9738 | 1171249.2771 | 2558382.404 | 1171254.1865 | 2558369.7864 | 1171250.3605
27 | 2558480.4407 | 1171254.0214 | 2558410.4902 | 1171240.5064
28 | 2558480.4407 | 1171254.0214 | 2558492.6882 | 1171246.7309
29 | 2558519.7832 | 1171230.6023 | 2558492.6882 | 1171246.7309
30 | 2558597.6134 | 1171184.8364 | 2558585.0459 | 1171164.47
31 | 2558597.6134 | 1171184.8364 | 2558602.5786 | 1171182.4097
32 | 2558543.2888 | 1171159.9658 | 2558557.0376 | 1171180.0354
33 | 2558531.0157 | 1171146.288 | 2558537.5161 | 1171151.5346 | 2558543.2888 | 1171159.9658
34 | 2558543.2888 | 1171159.9658 | 2558573.3854 | 1171141.5257 | 2558579.1811 | 1171138.9064
35 | 2558666.792 | 1171160.8106 | 2558667.327 | 1171160.7201
36 | 2558667.327 | 1171160.7201 | 2558678.9842 | 1171159.4612 | 2558684.8197 | 1171159.2283
37 | 2558667.327 | 1171160.7201 | 2558666.1849 | 1171154.8471
38 | 2558752.9905 | 1171156.5163 | 2558748.5212 | 1171141.8171 | 2558743.2879 | 1171128.3683 | 2558739.3898 | 1171119.4109
39 | 2558752.9905 | 1171156.5163 | 2558742.605 | 1171156.9214 | 2558693.2158 | 1171158.8931
40 | 2558752.9905 | 1171156.5163 | 2558775.5957 | 1171155.8135
41 | 2558739.3898 | 1171119.4109 | 2558730.9436 | 1171100.0023
42 | 2558684.8197 | 1171159.2283 | 2558693.2158 | 1171158.8931
43 | 2558807.7029 | 1171157.8294 | 2558800.4509 | 1171156.712 | 2558791.4877 | 1171155.9288 | 2558779.17 | 1171155.7023 | 2558775.5957 | 1171155.8135
44 | 2558730.9436 | 1171100.0023 | 2558730.0429 | 1171097.9325 | 2558715.3265 | 1171077.8257
45 | 2558807.7029 | 1171157.8294 | 2558811.8465 | 1171145.2276 | 2558812.9731 | 1171143.3077 | 2558814.5012 | 1171141.9187 | 2558814.5012 | 1171141.9187
46 | 2558807.7029 | 1171157.8294 | 2558816.6912 | 1171160.0243 | 2558826.9883 | 1171163.4442 | 2558837.6829 | 1171167.9397 | 2558847.5518 | 1171173.6082 | 2558855.4786 | 1171179.2249
47 | 2558705.4504 | 1171064.3322 | 2558715.3265 | 1171077.8257
48 | 2558826.4747 | 1171138.4683 | 2558817.812 | 1171140.5842 | 2558814.5012 | 1171141.9187
49 | 2558666.1849 | 1171154.8471 | 2558658.1924 | 1171150.6334 | 2558623.8541 | 1171140.8162
50 | 2558617.4918 | 1171138.9972 | 2558623.8541 | 1171140.8162
51 | 2558651.8871 | 1171123.7628 | 2558664.5085 | 1171150.2563 | 2558666.1849 | 1171154.8471
52 | 2558601.8747 | 1171124.0528 | 2558607.0326 | 1171127.6524 | 2558610.4865 | 1171132.6312 | 2558614.2572 | 1171138.0746 | 2558617.4918 | 1171138.9972
53 | 2558651.8871 | 1171123.7628 | 2558661.1322 | 1171119.9414
54 | 2558651.8871 | 1171123.7628 | 2558643.5656 | 1171105.8261
55 | 2558578.2922 | 1171090.0425 | 2558601.8747 | 1171124.0528
56 | 2558601.8747 | 1171124.0528 | 2558595.8897 | 1171129.1636 | 2558590.8976 | 1171132.6442
57 | 2558661.1322 | 1171119.9414 | 2558669.8876 | 1171116.1474
58 | 2558628.2254 | 1171089.3192 | 2558636.9521 | 1171096.8185 | 2558640.4358 | 1171100.5741 | 2558642.9879 | 1171104.5809 | 2558643.5656 | 1171105.8261
59 | 2558579.1811 | 1171138.9064 | 2558586.9519 | 1171135.3953 | 2558590.8976 | 1171132.6442
60 | 2558578.2922 | 1171090.0425 | 2558584.6522 | 1171083.8286 | 2558588.8359 | 1171078.1856 | 2558593.1623 | 1171071.063 | 2558595.8831 | 1171065.1633 | 2558597.7423 | 1171058.5693 | 2558595.5846 | 1171055.1824
61 | 2558578.2922 | 1171090.0425 | 2558574.2904 | 1171093.0727
62 | 2558628.2254 | 1171089.3192 | 2558643.8944 | 1171081.8849
63 | 2558531.0157 | 1171146.288 | 2558519.6738 | 1171144.0665
64 | 2558531.0157 | 1171146.288 | 2558531.5118 | 1171131.7658 | 2558535.6194 | 1171125.4499
65 | 2558595.5846 | 1171055.1824 | 2558610.3747 | 1171048.4044
66 | 2558621.2773 | 1171043.408 | 2558610.3747 | 1171048.4044
67 | 2558643.8944 | 1171081.8849 | 2558651.0181 | 1171079.119
68 | 2558436.6726 | 1171146.5086 | 2558445.6058 | 1171145.1571 | 2558456.8793 | 1171139.3203 | 2558473.2478 | 1171134.6043 | 2558483.395 | 1171132.922 | 2558495.6469 | 1171134.6824 | 2558516.9823 | 1171143.5393 | 2558519.6738 | 1171144.0665
69 | 2558705.4504 | 1171064.3322 | 2558704.7436 | 1171063.3665 | 2558688.6687 | 1171038.6562
70 | 2558673.6465 | 1171000.0173 | 2558675.675 | 1171008.0824 | 2558684.1381 | 1171031.692 | 2558688.6687 | 1171038.6562
71 | 2558826.4747 | 1171138.4683 | 2558854.2021 | 1171131.6961 | 2558860.0825 | 1171133.59 | 2558872.927 | 1171149.2656
72 | 2558667.6361 | 1170976.1211 | 2558673.6465 | 1171000.0173
73 | 2558696.7805 | 1170961.4123 | 2558702.2325 | 1170977.8471
74 | 2558715.3506 | 1171017.3915 | 2558702.2325 | 1170977.8471
75 | 2558667.6361 | 1170976.1211 | 2558696.7805 | 1170961.4123
76 | 2558651.0181 | 1171079.119 | 2558657.2627 | 1171076.6944
77 | 2558667.0137 | 1171096.9228 | 2558657.8867 | 1171076.4521 | 2558657.2627 | 1171076.6944
78 | 2558621.2773 | 1171043.408 | 2558628.1779 | 1171040.2456

## bus_geodata
| x | y | coords
0 | 2558639.0761 | 1171301.2891
1 | 2558608.238 | 1171265.0643
2 | 2558680.2629 | 1171352.476
3 | 2558589.771 | 1171236.5105
4 | 2558665.3458 | 1171362.373
5 | 2558567.7456 | 1171202.052
6 | 2558687.4655 | 1171429.5338
7 | 2558640.3899 | 1171376.8445
8 | 2558748.5917 | 1171306.4691
9 | 2558778.5284 | 1171280.4925
10 | 2558533.3308 | 1171222.5379
11 | 2558569.6502 | 1171200.916
12 | 2558615.3361 | 1171388.5581
13 | 2558789.5598 | 1171271.4805
14 | 2558786.2207 | 1171228.2692
15 | 2558789.0449 | 1171258.0257
16 | 2558783.2986 | 1171221.2528
17 | 2558782.7211 | 1171219.866
18 | 2558796.5543 | 1171294.1869
19 | 2558768.4045 | 1171187.4857
20 | 2558799.3088 | 1171299.7733
21 | 2558762.6722 | 1171175.0577
22 | 2558369.7864 | 1171250.3605
23 | 2558410.4902 | 1171240.5064
24 | 2558480.4407 | 1171254.0214
25 | 2558492.6882 | 1171246.7309
26 | 2558585.0459 | 1171164.47
27 | 2558597.6134 | 1171184.8364
28 | 2558602.5786 | 1171182.4097
29 | 2558557.0376 | 1171180.0354
30 | 2558543.2888 | 1171159.9658
31 | 2558666.792 | 1171160.8106
32 | 2558667.327 | 1171160.7201
33 | 2558591.9055 | 1171396.2458
34 | 2558752.9905 | 1171156.5163
35 | 2558739.3898 | 1171119.4109
36 | 2558693.2158 | 1171158.8931
37 | 2558775.5957 | 1171155.8135
38 | 2558730.9436 | 1171100.0023
39 | 2558684.8197 | 1171159.2283
40 | 2558807.7029 | 1171157.8294
41 | 2558715.3265 | 1171077.8257
42 | 2558814.5012 | 1171141.9187
43 | 2558855.4786 | 1171179.2249
44 | 2558519.7832 | 1171230.6023
45 | 2558623.8541 | 1171140.8162
46 | 2558666.1849 | 1171154.8471
47 | 2558617.4918 | 1171138.9972
48 | 2558651.8871 | 1171123.7628
49 | 2558601.8747 | 1171124.0528
50 | 2558661.1322 | 1171119.9414
51 | 2558643.5656 | 1171105.8261
52 | 2558579.1811 | 1171138.9064
53 | 2558590.8976 | 1171132.6442
54 | 2558578.2922 | 1171090.0425
55 | 2558669.8876 | 1171116.1474
56 | 2558628.2254 | 1171089.3192
57 | 2558531.0157 | 1171146.288
58 | 2558595.5846 | 1171055.1824
59 | 2558574.2904 | 1171093.0727
60 | 2558610.3747 | 1171048.4044
61 | 2558643.8944 | 1171081.8849
62 | 2558519.6738 | 1171144.0665
63 | 2558535.6194 | 1171125.4499
64 | 2558819.6796 | 1171340.9214
65 | 2558705.4504 | 1171064.3322
66 | 2558688.6687 | 1171038.6562
67 | 2558436.6726 | 1171146.5087
68 | 2558826.4747 | 1171138.4683
69 | 2558872.927 | 1171149.2656
70 | 2558673.6465 | 1171000.0173
71 | 2558702.2325 | 1170977.8471
72 | 2558696.7805 | 1170961.4123
73 | 2558715.3506 | 1171017.3915
74 | 2558667.6361 | 1170976.1211
75 | 2558651.0181 | 1171079.119
76 | 2558657.2627 | 1171076.6944
77 | 2558621.2773 | 1171043.408
78 | 2558628.1779 | 1171040.2456
79 | 2558667.0137 | 1171096.9228
80 | 2558667.327 | 1171160.7201

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97374 | -0.18445 | 0.0082057 | 0.0020566
1 | 0.97519 | -0.17408 | 0.0025861 | 0.00064813
2 | 0.97254 | -0.19309 | 0 | 0
3 | 0.97634 | -0.16582 | 0.002853 | 0.00071503
4 | 0.97222 | -0.19542 | 0 | 0
5 | 0.9779 | -0.15468 | 0 | 0
6 | 0.97215 | -0.19593 | 0.00067762 | 0.00016983
7 | 0.97172 | -0.19899 | 0.00090131 | 0.00022589
8 | 0.98573 | -0.10017 | 0.0010152 | 0.00025444
9 | 0.98578 | -0.099752 | 0.001728 | 0.00043307
10 | 0.97627 | -0.16634 | 0.0027502 | 0.00068927
11 | 0.97807 | -0.15344 | 0 | 0
12 | 0.97128 | -0.20215 | 0.0085286 | 0.0021375
13 | 0.98584 | -0.09935 | 0 | 0
14 | 0.98677 | -0.092765 | 0.0021569 | 0.00054057
15 | 0.98609 | -0.097558 | 0.0025362 | 0.00063562
16 | 0.98696 | -0.09139 | 0.0013011 | 0.00032609
17 | 0.987 | -0.091098 | 0.0066321 | 0.0016622
18 | 0.98548 | -0.1019 | 0.0023217 | 0.00058186
19 | 0.98831 | -0.081825 | 0.0065317 | 0.001637
20 | 0.98541 | -0.1024 | 0.0044275 | 0.0011096
21 | 0.98895 | -0.077335 | 0.0022188 | 0.00055608
22 | 0.97297 | -0.19004 | 0.0064893 | 0.0016264
23 | 0.9734 | -0.18694 | 0.0046683 | 0.00117
24 | 0.97456 | -0.17857 | 0.0047882 | 0.0012
25 | 0.9749 | -0.17618 | 0.0012557 | 0.00031471
26 | 0.97707 | -0.16062 | 0.0070291 | 0.0017617
27 | 0.97732 | -0.15887 | 0 | 0
28 | 0.97724 | -0.15939 | 0.0091183 | 0.0022853
29 | 0.98057 | -0.13565 | 0.0038376 | 0.0009618
30 | 0.9832 | -0.11704 | 0 | 0
31 | 1 | 0 | -0.22326 | -0.056166
32 | 0.99994 | -0.00039608 | 0 | 0
33 | 0.9712 | -0.20274 | 0.0022613 | 0.00056673
34 | 0.98999 | -0.070005 | 0 | 0
35 | 0.98835 | -0.081549 | 0.0024448 | 0.00061273
36 | 0.99653 | -0.024114 | 0.011716 | 0.0029363
37 | 0.98957 | -0.07297 | 0.0064615 | 0.0016194
38 | 0.98755 | -0.087211 | 0.0038474 | 0.00096424
39 | 0.99759 | -0.016728 | 0.0053844 | 0.0013494
40 | 0.98927 | -0.075074 | 0 | 0
41 | 0.98667 | -0.09342 | 0.0061933 | 0.0015522
42 | 0.98914 | -0.075989 | 0.0026758 | 0.00067061
43 | 0.98917 | -0.075768 | 0.0012861 | 0.00032233
44 | 0.97569 | -0.17049 | 0.0078812 | 0.0019752
45 | 0.99604 | -0.027272 | 0.0090687 | 0.0022728
46 | 0.99958 | -0.0029148 | 0 | 0
47 | 0.99508 | -0.033903 | 0 | 0
48 | 0.9987 | -0.0090239 | 0 | 0
49 | 0.99185 | -0.056381 | 0 | 0
50 | 0.99865 | -0.0094099 | 0 | 0
51 | 0.99831 | -0.011792 | 0.0037678 | 0.00094429
52 | 0.98835 | -0.080791 | 0 | 0
53 | 0.99 | -0.06924 | 0.0057405 | 0.0014387
54 | 0.99132 | -0.060103 | 0 | 0
55 | 0.9986 | -0.0097789 | 0.0038637 | 0.00096832
56 | 0.99798 | -0.014121 | 0 | 0
57 | 0.9829 | -0.11915 | 0 | 0
58 | 0.99089 | -0.063153 | 0 | 0
59 | 0.99131 | -0.060187 | 0.0016481 | 0.00041305
60 | 0.99072 | -0.064346 | 0.0017268 | 0.00043278
61 | 0.99773 | -0.015893 | 0 | 0
62 | 0.98276 | -0.12016 | 0.00227 | 0.0005689
63 | 0.98282 | -0.11974 | 0.0025725 | 0.00064473
64 | 0.98518 | -0.10404 | 0.0034568 | 0.00086637
65 | 0.98629 | -0.096183 | 0.00066685 | 0.00016713
66 | 0.9856 | -0.10105 | 0.0065752 | 0.0016479
67 | 0.98198 | -0.12572 | 0.0061546 | 0.0015425
68 | 0.9891 | -0.076299 | 0.0016818 | 0.00042151
69 | 0.98904 | -0.076719 | 0.00074558 | 0.00018686
70 | 0.98507 | -0.10485 | 0.0024573 | 0.00061586
71 | 0.98438 | -0.10976 | 0.0043989 | 0.0011025
72 | 0.98454 | -0.10862 | 0 | 0
73 | 0.98426 | -0.11062 | 0.0019965 | 0.00050037
74 | 0.98484 | -0.10647 | 0 | 0
75 | 0.99761 | -0.016675 | 0.0034442 | 0.00086319
76 | 0.99755 | -0.01713 | 0.0016771 | 0.00042032
77 | 0.99063 | -0.065015 | 0.0044149 | 0.0011065
78 | 0.99061 | -0.065097 | 0.0010672 | 0.00026747
79 | 0.99738 | -0.018309 | 0.0050892 | 0.0012755
80 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.020604 | -0.0051649 | 0.020634 | 0.0051757 | 2.9611e-05 | 1.0792e-05 | 0.031486 | 0.031486 | 0.031486 | 0.97374 | -0.18445 | 0.97519 | -0.17408 | 11.6616
1 | 0.012398 | 0.0031084 | -0.012384 | -0.0031035 | 1.4831e-05 | 4.8816e-06 | 0.018947 | 0.018947 | 0.018947 | 0.97374 | -0.18445 | 0.97254 | -0.19309 | 7.0175
2 | -0.02322 | -0.0058238 | 0.023246 | 0.0058337 | 2.6639e-05 | 9.8211e-06 | 0.035432 | 0.035432 | 0.035432 | 0.97519 | -0.17408 | 0.97634 | -0.16582 | 13.123
3 | 0.012384 | 0.0031035 | -0.01238 | -0.0031022 | 4.0027e-06 | 1.3178e-06 | 0.018947 | 0.018947 | 0.018947 | 0.97254 | -0.19309 | 0.97222 | -0.19542 | 7.0175
4 | -0.026099 | -0.0065487 | 0.02614 | 0.0065637 | 4.0385e-05 | 1.502e-05 | 0.03978 | 0.03978 | 0.03978 | 0.97634 | -0.16582 | 0.9779 | -0.15468 | 14.7334
5 | 0.00067767 | 0.00016897 | -0.00067762 | -0.00016983 | 4.7517e-08 | -8.5969e-07 | 0.0010369 | 0.0010372 | 0.0010372 | 0.97222 | -0.19542 | 0.97215 | -0.19593 | 0.38415
6 | 0.011702 | 0.0029332 | -0.011696 | -0.0029313 | 5.7747e-06 | 1.8635e-06 | 0.01791 | 0.01791 | 0.01791 | 0.97222 | -0.19542 | 0.97172 | -0.19899 | 6.6335
7 | 0.027927 | 0.0070091 | -0.027882 | -0.0069922 | 4.5138e-05 | 1.6859e-05 | 0.042499 | 0.042499 | 0.042499 | 0.9779 | -0.15468 | 0.97627 | -0.16634 | 15.7403
8 | -0.054067 | -0.013573 | 0.054076 | 0.013576 | 9.3485e-06 | 3.5678e-06 | 0.082279 | 0.082279 | 0.082279 | 0.9779 | -0.15468 | 0.97807 | -0.15344 | 30.4736
9 | 0.010795 | 0.0027054 | -0.01079 | -0.002704 | 4.7257e-06 | 1.4744e-06 | 0.01653 | 0.01653 | 0.01653 | 0.97172 | -0.19899 | 0.97128 | -0.20215 | 6.1224
10 | -0.0010152 | -0.00025444 | 0.0010153 | 0.00025396 | 5.8111e-08 | -4.8316e-07 | 0.0015326 | 0.0015324 | 0.0015326 | 0.98573 | -0.10017 | 0.98578 | -0.099752 | 0.56762
11 | -0.0027433 | -0.00068703 | 0.0027434 | 0.00068691 | 1.524e-07 | -1.23e-07 | 0.0041407 | 0.0041407 | 0.0041407 | 0.98578 | -0.099752 | 0.98584 | -0.09935 | 1.5336
12 | 0.025132 | 0.006303 | -0.025117 | -0.0062976 | 1.4437e-05 | 5.3556e-06 | 0.038307 | 0.038307 | 0.038307 | 0.97627 | -0.16634 | 0.97569 | -0.17049 | 14.1878
13 | -0.070238 | -0.017628 | 0.070412 | 0.017695 | 0.00017388 | 6.6571e-05 | 0.10687 | 0.10687 | 0.10687 | 0.97807 | -0.15344 | 0.98057 | -0.13565 | 39.5805
14 | 0.016162 | 0.0040517 | -0.01615 | -0.0040475 | 1.2144e-05 | 4.2671e-06 | 0.024589 | 0.024589 | 0.024589 | 0.97807 | -0.15344 | 0.97732 | -0.15887 | 9.107
15 | 0.0022615 | 0.00056649 | -0.0022613 | -0.00056673 | 1.8484e-07 | -2.3432e-07 | 0.0034645 | 0.0034646 | 0.0034646 | 0.97128 | -0.20215 | 0.9712 | -0.20274 | 1.2832
16 | 0.010211 | 0.0025588 | -0.010207 | -0.0025577 | 3.5995e-06 | 1.0749e-06 | 0.015412 | 0.015412 | 0.015412 | 0.98584 | -0.09935 | 0.98548 | -0.1019 | 5.7082
17 | -0.012954 | -0.0032457 | 0.012958 | 0.0032468 | 3.2121e-06 | 1.0637e-06 | 0.019553 | 0.019553 | 0.019553 | 0.98584 | -0.09935 | 0.98609 | -0.097558 | 7.2418
18 | 0.015504 | 0.003886 | -0.015494 | -0.0038824 | 1.0282e-05 | 3.5699e-06 | 0.02338 | 0.02338 | 0.02338 | 0.98677 | -0.092765 | 0.98609 | -0.097558 | 8.6592
19 | -0.017661 | -0.0044265 | 0.017664 | 0.0044277 | 3.3639e-06 | 1.1967e-06 | 0.026632 | 0.026632 | 0.026632 | 0.98677 | -0.092765 | 0.98696 | -0.09139 | 9.8638
20 | -0.018965 | -0.0047538 | 0.018966 | 0.0047541 | 7.6641e-07 | 2.7558e-07 | 0.028594 | 0.028594 | 0.028594 | 0.98696 | -0.09139 | 0.987 | -0.091098 | 10.5903
21 | -0.025598 | -0.0064162 | 0.025631 | 0.0064284 | 3.2909e-05 | 1.2204e-05 | 0.038592 | 0.038592 | 0.038592 | 0.987 | -0.091098 | 0.98831 | -0.081825 | 14.2935
22 | 0.0078857 | 0.0019758 | -0.0078851 | -0.0019757 | 5.5101e-07 | 1.3257e-07 | 0.011907 | 0.011907 | 0.011907 | 0.98548 | -0.1019 | 0.98541 | -0.1024 | 4.4099
23 | -0.032163 | -0.0080654 | 0.032183 | 0.008073 | 2.0028e-05 | 7.5275e-06 | 0.048426 | 0.048426 | 0.048426 | 0.98831 | -0.081825 | 0.98895 | -0.077335 | 17.9357
24 | 0.0034576 | 0.00086608 | -0.0034568 | -0.00086637 | 7.8102e-07 | -2.8439e-07 | 0.005221 | 0.0052212 | 0.0052212 | 0.98541 | -0.1024 | 0.98518 | -0.10404 | 1.9338
25 | -0.034402 | -0.008629 | 0.034437 | 0.0086422 | 3.5004e-05 | 1.3194e-05 | 0.051765 | 0.051765 | 0.051765 | 0.98895 | -0.077335 | 0.98999 | -0.070005 | 19.1722
26 | -0.0064893 | -0.0016264 | 0.0064921 | 0.0016269 | 2.7863e-06 | 5.0835e-07 | 0.0099245 | 0.0099243 | 0.0099245 | 0.97297 | -0.19004 | 0.9734 | -0.18694 | 3.6757
27 | -0.01116 | -0.0027969 | 0.011173 | 0.002801 | 1.2939e-05 | 4.09e-06 | 0.017061 | 0.01706 | 0.017061 | 0.9734 | -0.18694 | 0.97456 | -0.17857 | 6.3187
28 | -0.015962 | -0.004001 | 0.015967 | 0.0040028 | 5.2826e-06 | 1.8541e-06 | 0.024371 | 0.024371 | 0.024371 | 0.97456 | -0.17857 | 0.9749 | -0.17618 | 9.0263
29 | -0.017223 | -0.0043176 | 0.017236 | 0.0043224 | 1.3597e-05 | 4.8361e-06 | 0.026288 | 0.026288 | 0.026288 | 0.9749 | -0.17618 | 0.97569 | -0.17049 | 9.7362
30 | -0.0070291 | -0.0017617 | 0.0070308 | 0.001762 | 1.7113e-06 | 3.5838e-07 | 0.010705 | 0.010705 | 0.010705 | 0.97707 | -0.16062 | 0.97732 | -0.15887 | 3.9648
31 | 0.0091189 | 0.0022854 | -0.0091183 | -0.0022853 | 6.6476e-07 | 1.8643e-07 | 0.013884 | 0.013884 | 0.013884 | 0.97732 | -0.15887 | 0.97724 | -0.15939 | 5.1422
32 | -0.07425 | -0.018656 | 0.074442 | 0.01873 | 0.00019278 | 7.3837e-05 | 0.11269 | 0.11269 | 0.11269 | 0.98057 | -0.13565 | 0.9832 | -0.11704 | 41.7373
33 | 0.011006 | 0.0027579 | -0.011003 | -0.0027569 | 3.2119e-06 | 1.0002e-06 | 0.016657 | 0.016657 | 0.016657 | 0.9832 | -0.11704 | 0.9829 | -0.11915 | 6.1694
34 | -0.085449 | -0.021488 | 0.085883 | 0.021655 | 0.00043398 | 0.00016639 | 0.12935 | 0.12935 | 0.12935 | 0.9832 | -0.11704 | 0.98835 | -0.080791 | 47.9067
35 | 0.22246 | 0.056166 | -0.22245 | -0.056161 | 1.2379e-05 | 4.7398e-06 | 0.33118 | 0.33118 | 0.33118 | 1 | 0 | 0.99994 | -0.00039608 | 40.8858
36 | 0.093879 | 0.023655 | -0.093665 | -0.023573 | 0.00021405 | 8.2097e-05 | 0.13975 | 0.13975 | 0.13975 | 0.99994 | -0.00039608 | 0.99759 | -0.016728 | 51.758
37 | 0.12857 | 0.032506 | -0.12853 | -0.032489 | 4.5611e-05 | 1.7307e-05 | 0.19143 | 0.19143 | 0.19143 | 0.99994 | -0.00039608 | 0.99958 | -0.0029148 | 23.6332
38 | 0.028692 | 0.007202 | -0.028646 | -0.0071849 | 4.5923e-05 | 1.7155e-05 | 0.04313 | 0.04313 | 0.04313 | 0.98999 | -0.070005 | 0.98835 | -0.081549 | 15.974
39 | -0.075987 | -0.019066 | 0.076474 | 0.019252 | 0.00048701 | 0.00018654 | 0.11422 | 0.11422 | 0.11422 | 0.98999 | -0.070005 | 0.99653 | -0.024114 | 42.3042
40 | 0.012859 | 0.0032213 | -0.012854 | -0.0032196 | 5.2716e-06 | 1.7369e-06 | 0.019327 | 0.019327 | 0.019327 | 0.98999 | -0.070005 | 0.98957 | -0.07297 | 7.1583
41 | 0.026201 | 0.0065721 | -0.02618 | -0.0065645 | 2.0555e-05 | 7.6346e-06 | 0.039449 | 0.039449 | 0.039449 | 0.98835 | -0.081549 | 0.98755 | -0.087211 | 14.6107
42 | -0.08819 | -0.022188 | 0.088281 | 0.022223 | 9.0967e-05 | 3.4878e-05 | 0.13172 | 0.13172 | 0.13172 | 0.99653 | -0.024114 | 0.99759 | -0.016728 | 48.7834
43 | 0.0063921 | 0.0016002 | -0.0063902 | -0.0015999 | 1.8579e-06 | 3.0062e-07 | 0.0096111 | 0.0096113 | 0.0096113 | 0.98957 | -0.07297 | 0.98927 | -0.075074 | 3.5597
44 | 0.022333 | 0.0056002 | -0.022314 | -0.0055932 | 1.9203e-05 | 7.0383e-06 | 0.033652 | 0.033652 | 0.033652 | 0.98755 | -0.087211 | 0.98667 | -0.09342 | 12.4637
45 | 0.005104 | 0.0012782 | -0.0051033 | -0.0012782 | 6.4565e-07 | 2.2941e-08 | 0.0076768 | 0.0076769 | 0.0076769 | 0.98927 | -0.075074 | 0.98914 | -0.075989 | 2.8433
46 | 0.0012862 | 0.0003217 | -0.0012861 | -0.00032233 | 1.2331e-07 | -6.3042e-07 | 0.0019345 | 0.0019347 | 0.0019347 | 0.98927 | -0.075074 | 0.98917 | -0.075768 | 0.71655
47 | 0.016121 | 0.004041 | -0.016114 | -0.0040389 | 6.1674e-06 | 2.1586e-06 | 0.024312 | 0.024312 | 0.024312 | 0.98667 | -0.09342 | 0.98629 | -0.096183 | 9.0044
48 | 0.0024276 | 0.00060756 | -0.0024275 | -0.00060768 | 1.039e-07 | -1.2031e-07 | 0.0036516 | 0.0036517 | 0.0036517 | 0.98914 | -0.075989 | 0.9891 | -0.076299 | 1.3525
49 | -0.11028 | -0.027864 | 0.11066 | 0.028008 | 0.0003793 | 0.00014472 | 0.16483 | 0.16482 | 0.16483 | 0.99604 | -0.027272 | 0.99958 | -0.0029148 | 30.5232
50 | 0.10121 | 0.025591 | -0.10111 | -0.025554 | 9.4495e-05 | 3.6258e-05 | 0.15128 | 0.15128 | 0.15128 | 0.99604 | -0.027272 | 0.99508 | -0.033903 | 56.0287
51 | 0.017871 | 0.0044808 | -0.017856 | -0.0044754 | 1.5115e-05 | 5.3654e-06 | 0.026604 | 0.026604 | 0.026604 | 0.99958 | -0.0029148 | 0.9987 | -0.0090239 | 9.8535
52 | 0.10111 | 0.025554 | -0.10079 | -0.025432 | 0.00031894 | 0.00012238 | 0.15128 | 0.15128 | 0.15128 | 0.99508 | -0.033903 | 0.99185 | -0.056381 | 56.0287
53 | 0.0038641 | 0.00096822 | -0.0038638 | -0.00096827 | 2.0639e-07 | -5.119e-08 | 0.0057572 | 0.0057572 | 0.0057572 | 0.9987 | -0.0090239 | 0.99865 | -0.0094099 | 2.1323
54 | 0.013992 | 0.0035072 | -0.013986 | -0.0035054 | 5.3624e-06 | 1.8038e-06 | 0.020847 | 0.020847 | 0.020847 | 0.9987 | -0.0090239 | 0.99831 | -0.011792 | 7.7212
55 | 0.0088664 | 0.0022218 | -0.0088618 | -0.0022206 | 4.5659e-06 | 1.2227e-06 | 0.013302 | 0.013302 | 0.013302 | 0.99185 | -0.056381 | 0.99132 | -0.060103 | 4.9266
56 | 0.091928 | 0.02321 | -0.091763 | -0.023147 | 0.00016579 | 6.3584e-05 | 0.13798 | 0.13798 | 0.13798 | 0.99185 | -0.056381 | 0.99 | -0.06924 | 51.1022
57 | 0.0038638 | 0.00096827 | -0.0038637 | -0.00096832 | 1.9736e-07 | -4.8934e-08 | 0.0057572 | 0.0057573 | 0.0057573 | 0.99865 | -0.0094099 | 0.9986 | -0.0097789 | 2.1323
58 | 0.010219 | 0.0025611 | -0.010215 | -0.0025602 | 3.2937e-06 | 9.6942e-07 | 0.015231 | 0.015231 | 0.015231 | 0.99831 | -0.011792 | 0.99798 | -0.014121 | 5.6413
59 | -0.085883 | -0.021655 | 0.086022 | 0.021708 | 0.00013924 | 5.3384e-05 | 0.12935 | 0.12935 | 0.12935 | 0.98835 | -0.080791 | 0.99 | -0.06924 | 47.9066
60 | 0.0072137 | 0.0018076 | -0.0072106 | -0.0018069 | 3.0445e-06 | 6.347e-07 | 0.010828 | 0.010828 | 0.010828 | 0.99132 | -0.060103 | 0.99089 | -0.063153 | 4.0104
61 | 0.0016481 | 0.00041299 | -0.0016481 | -0.00041305 | 1.9169e-08 | -5.7342e-08 | 0.0024739 | 0.0024739 | 0.0024739 | 0.99132 | -0.060103 | 0.99131 | -0.060187 | 0.91625
62 | 0.010215 | 0.0025602 | -0.010213 | -0.0025594 | 2.5049e-06 | 7.3739e-07 | 0.015231 | 0.015231 | 0.015231 | 0.99798 | -0.014121 | 0.99773 | -0.015893 | 5.6413
63 | 0.0084305 | 0.0021124 | -0.0084293 | -0.0021121 | 1.1747e-06 | 3.0535e-07 | 0.012763 | 0.012763 | 0.012763 | 0.9829 | -0.11915 | 0.98276 | -0.12016 | 4.7269
64 | 0.0025727 | 0.00064453 | -0.0025725 | -0.00064473 | 2.0886e-07 | -1.9931e-07 | 0.0038947 | 0.0038948 | 0.0038948 | 0.9829 | -0.11915 | 0.98282 | -0.11974 | 1.4425
65 | 0.0072106 | 0.0018069 | -0.0072095 | -0.0018067 | 1.1903e-06 | 2.4828e-07 | 0.010828 | 0.010828 | 0.010828 | 0.99089 | -0.063153 | 0.99072 | -0.064346 | 4.0104
66 | 0.0054827 | 0.0013739 | -0.0054821 | -0.0013739 | 5.0746e-07 | 4.0759e-08 | 0.0082346 | 0.0082347 | 0.0082347 | 0.99072 | -0.064346 | 0.99063 | -0.065015 | 3.0499
67 | 0.010213 | 0.0025594 | -0.010212 | -0.0025591 | 1.1063e-06 | 3.257e-07 | 0.015231 | 0.015232 | 0.015232 | 0.99773 | -0.015893 | 0.99761 | -0.016675 | 5.6413
68 | 0.0061593 | 0.0015432 | -0.0061546 | -0.0015425 | 4.7363e-06 | 7.1674e-07 | 0.0093258 | 0.0093262 | 0.0093262 | 0.98276 | -0.12016 | 0.98198 | -0.12572 | 3.4541
69 | 0.015447 | 0.0038717 | -0.015437 | -0.0038681 | 1.0397e-05 | 3.6076e-06 | 0.023306 | 0.023306 | 0.023306 | 0.98629 | -0.096183 | 0.9856 | -0.10105 | 8.6318
70 | 0.0088619 | 0.0022202 | -0.0088572 | -0.002219 | 4.6583e-06 | 1.2605e-06 | 0.013379 | 0.013379 | 0.013379 | 0.9856 | -0.10105 | 0.98507 | -0.10485 | 4.9553
71 | 0.00074563 | 0.00018617 | -0.00074558 | -0.00018686 | 4.3164e-08 | -6.8909e-07 | 0.0011215 | 0.0011217 | 0.0011217 | 0.9891 | -0.076299 | 0.98904 | -0.076719 | 0.41546
72 | 0.0063999 | 0.0016031 | -0.0063985 | -0.0016029 | 1.437e-06 | 2.3907e-07 | 0.0096673 | 0.0096674 | 0.0096674 | 0.98507 | -0.10485 | 0.98484 | -0.10647 | 3.5805
73 | -0.0063956 | -0.0016024 | 0.0063966 | 0.0016026 | 1.0098e-06 | 1.6824e-07 | 0.0096676 | 0.0096675 | 0.0096676 | 0.98438 | -0.10976 | 0.98454 | -0.10862 | 3.5806
74 | 0.0019967 | 0.00049993 | -0.0019965 | -0.00050037 | 2.3683e-07 | -4.3849e-07 | 0.0030181 | 0.0030183 | 0.0030183 | 0.98438 | -0.10976 | 0.98426 | -0.11062 | 1.1179
75 | -0.0063966 | -0.0016026 | 0.0063985 | 0.0016029 | 1.8995e-06 | 3.1626e-07 | 0.0096675 | 0.0096674 | 0.0096675 | 0.98454 | -0.10862 | 0.98484 | -0.10647 | 3.5806
76 | 0.0067676 | 0.0016959 | -0.0067672 | -0.0016958 | 4.2592e-07 | 7.6359e-08 | 0.010094 | 0.010094 | 0.010094 | 0.99761 | -0.016675 | 0.99755 | -0.01713 | 3.7386
77 | 0.0050901 | 0.0012755 | -0.0050892 | -0.0012755 | 8.3036e-07 | 1.8073e-08 | 0.0075927 | 0.0075928 | 0.0075928 | 0.99755 | -0.01713 | 0.99738 | -0.018309 | 2.8121
78 | 0.0010672 | 0.00026738 | -0.0010672 | -0.00026747 | 1.2173e-08 | -9.3044e-08 | 0.0016031 | 0.0016031 | 0.0016031 | 0.99063 | -0.065015 | 0.99061 | -0.065097 | 0.59375

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22795 | 0.05734

## res_load
| p_mw | q_mvar
0 | 0.0082057 | 0.0020566
1 | 0.0025861 | 0.00064813
2 | 0.002853 | 0.00071503
3 | 0.00067762 | 0.00016983
4 | 0.00090131 | 0.00022589
5 | 0.0010152 | 0.00025444
6 | 0.001728 | 0.00043307
7 | 0.0027502 | 0.00068927
8 | 0.0085286 | 0.0021375
9 | 0.0021569 | 0.00054057
10 | 0.0025362 | 0.00063562
11 | 0.0013011 | 0.00032609
12 | 0.0066321 | 0.0016622
13 | 0.0023217 | 0.00058186
14 | 0.0065317 | 0.001637
15 | 0.0044275 | 0.0011096
16 | 0.0022188 | 0.00055608
17 | 0.0064893 | 0.0016264
18 | 0.0046683 | 0.00117
19 | 0.0047882 | 0.0012
20 | 0.0012557 | 0.00031471
21 | 0.0070291 | 0.0017617
22 | 0.0091183 | 0.0022853
23 | 0.0038376 | 0.0009618
24 | 0.0046826 | 0.0011736
25 | 0.0022613 | 0.00056673
26 | 0.0024448 | 0.00061273
27 | 0.011716 | 0.0029363
28 | 0.0064615 | 0.0016194
29 | 0.0038474 | 0.00096424
30 | 0.0053844 | 0.0013494
31 | 0.0061933 | 0.0015522
32 | 0.0026758 | 0.00067061
33 | 0.0012861 | 0.00032233
34 | 0.0078812 | 0.0019752
35 | 0.0090687 | 0.0022728
36 | 0.0037678 | 0.00094429
37 | 0.0057405 | 0.0014387
38 | 0.0038637 | 0.00096832
39 | 0.0016481 | 0.00041305
40 | 0.0017268 | 0.00043278
41 | 0.00227 | 0.0005689
42 | 0.0025725 | 0.00064473
43 | 0.0034568 | 0.00086637
44 | 0.00066685 | 0.00016713
45 | 0.0065752 | 0.0016479
46 | 0.0061546 | 0.0015425
47 | 0.0016818 | 0.00042151
48 | 0.00074558 | 0.00018686
49 | 0.0024573 | 0.00061586
50 | 0.0043989 | 0.0011025
51 | 0.0019965 | 0.00050037
52 | 0.0034442 | 0.00086319
53 | 0.0016771 | 0.00042032
54 | 0.0044149 | 0.0011065
55 | 0.0010672 | 0.00026747
56 | 0.0050892 | 0.0012755

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1