## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2079-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2079-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2079-1_0_3_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_2079-1_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2079-1_0_3_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_2079-1_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2079-1_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2079-1_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2079-1_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2079-1_0_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_2079-1_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2079-1_0_3_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_2079-1_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2079-1_0_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_2079-1_0_3_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_2079-1_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2079-1_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2079-1_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2079-1_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2079-1_0_3_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_2079-1_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_2079-1_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_2079-1_0_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_2079-1_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2079-1_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2079-1_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2079-1_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2079-1_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2079-1_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_2079-1_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2079-1_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2079-1_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2079-1_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2079-1_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2079-1_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2079-1_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2079-1_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2079-1_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2079-1_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2079-1_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_2079-1_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2079-1_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2079-1_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2079-1_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2079-1_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_2079-1_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2079-1_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_2079-1_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2079-1_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2079-1_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2079-1_0_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_2079-1_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_MV_33_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2079-1_0_3_load_0 | 0 | 0.0010105 | 0.00025325 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2079-1_0_3_load_1 | 1 | 0.0041671 | 0.0010444 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2079-1_0_3_load_38 | 2 | 0.0022812 | 0.00057171 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2079-1_0_3_load_37 | 4 | 0.0029601 | 0.00074187 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2079-1_0_3_load_3 | 5 | 0.0023937 | 0.00059991 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2079-1_0_3_load_4 | 6 | 0.0061319 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2079-1_0_3_load_7 | 7 | 0.0056707 | 0.0014212 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2079-1_0_3_load_8 | 8 | 0.0033426 | 0.00083774 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2079-1_0_3_load_52 | 9 | 0.0082394 | 0.002065 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2079-1_0_3_load_9 | 10 | 0.0077001 | 0.0019298 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2079-1_0_3_load_11 | 12 | 0.0034121 | 0.00085514 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2079-1_0_3_load_51 | 13 | 0.0056712 | 0.0014213 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2079-1_0_3_load_50 | 14 | 0.0041192 | 0.0010324 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2079-1_0_3_load_12 | 15 | 0.0054905 | 0.001376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2079-1_0_3_load_13 | 16 | 0.0012028 | 0.00030145 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2079-1_0_3_load_14 | 17 | 0.0043696 | 0.0010951 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2079-1_0_3_load_28 | 21 | 0.0015995 | 0.00040087 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2079-1_0_3_load_53 | 22 | 0.011167 | 0.0027987 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2079-1_0_3_load_16 | 23 | 0.0090736 | 0.0022741 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2079-1_0_3_load_17 | 24 | 0.005076 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2079-1_0_3_load_18 | 25 | 0.0064088 | 0.0016062 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2079-1_0_3_load_19 | 26 | 0.0068309 | 0.001712 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2079-1_0_3_load_21 | 29 | 0.0096445 | 0.0024171 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2079-1_0_3_load_22 | 30 | 0.0026763 | 0.00067075 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2079-1_0_3_load_23 | 31 | 0.0030875 | 0.00077381 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2079-1_0_3_load_24 | 32 | 0.00132 | 0.00033083 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2079-1_0_3_load_31 | 33 | 0.0026931 | 0.00067495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2079-1_0_3_load_25 | 35 | 0.001764 | 0.00044209 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2079-1_0_3_load_29 | 37 | 0.0022556 | 0.00056532 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2079-1_0_3_load_30 | 38 | 0.0039878 | 0.00099943 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2079-1_0_3_load_34 | 39 | 0.0020925 | 0.00052443 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2079-1_0_3_load_39 | 40 | 0.00086176 | 0.00021598 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2079-1_0_3_load_35 | 41 | 0.0018576 | 0.00046556 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2079-1_0_3_load_40 | 42 | 0.0077334 | 0.0019382 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2079-1_0_3_load_36 | 43 | 0.0011652 | 0.00029203 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2079-1_0_3_load_42 | 44 | 0.0023575 | 0.00059085 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2079-1_0_3_load_43 | 45 | 0.002887 | 0.00072355 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2079-1_0_3_load_44 | 46 | 0.0017488 | 0.0004383 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2079-1_0_3_load_45 | 47 | 0.0024829 | 0.00062228 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2079-1_0_3_load_46 | 48 | 0.0016014 | 0.00040136 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2079-1_0_3_load_47 | 49 | 0.0025132 | 0.00062987 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2079-1_0_3_load_49 | 50 | 0.0022749 | 0.00057014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2079-1_0_3_load_48 | 51 | 0.0048377 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2079-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2079-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.28253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2079-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0076369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2079-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2079-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.032062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2079-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.10174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2079-1_0_3_line_6 | NAYY 4x150 SE | 4 | 43 | 0.021144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2079-1_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.09272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2079-1_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.16939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2079-1_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.063824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2079-1_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.070298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2079-1_0_3_line_11 | NAYY 4x150 SE | 11 | 44 | 0.031306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2079-1_0_3_line_12 | NAYY 4x150 SE | 11 | 42 | 0.058478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2079-1_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0080449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2079-1_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.016658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2079-1_0_3_line_15 | NAYY 4x150 SE | 14 | 51 | 0.026545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2079-1_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.019632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2079-1_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.020091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2079-1_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.028924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2079-1_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.028017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2079-1_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.017889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2079-1_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.008411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2079-1_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.013278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2079-1_0_3_line_23 | NAYY 4x150 SE | 21 | 36 | 0.016176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2079-1_0_3_line_24 | NAYY 4x150 SE | 22 | 28 | 0.026671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2079-1_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0074416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2079-1_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.024433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2079-1_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.014215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2079-1_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.00075013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2079-1_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.034506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2079-1_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.029468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2079-1_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0041624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2079-1_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0028967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2079-1_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.018393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_2079-1_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.01566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_2079-1_0_3_line_35 | NAYY 4x150 SE | 34 | 38 | 0.008865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2079-1_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.05865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2079-1_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0058466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2079-1_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.031531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2079-1_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.020735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2079-1_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0036344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2079-1_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.001469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2079-1_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.030781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2079-1_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.014008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2079-1_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0085619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2079-1_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.021601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2079-1_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.0044826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2079-1_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.022625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2079-1_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0049092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2079-1_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.026472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2079-1_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0014041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2079-1_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 52 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2563555.9023 | 1170206.7362 | 2563550.3805 | 1170208.7737 | 2563538.6613 | 1170210.357 | 2563529.33 | 1170207.6695
1 | 2563563.5469 | 1169924.3096 | 2563555.9023 | 1170206.7362
2 | 2563521.9914 | 1170205.556 | 2563529.33 | 1170207.6695
3 | 2563553.275 | 1169897.1866 | 2563563.5469 | 1169924.3096
4 | 2563521.9914 | 1170205.556 | 2563513.0209 | 1170236.3377
5 | 2563521.9914 | 1170205.556 | 2563422.4162 | 1170184.6638
6 | 2563545.7864 | 1169877.4128 | 2563553.275 | 1169897.1866
7 | 2563804.6566 | 1169581.0876 | 2563862.9933 | 1169653.1554
8 | 2563727.1039 | 1169754.2911 | 2563862.9933 | 1169653.1554
9 | 2563804.6566 | 1169581.0876 | 2563740.8449 | 1169582.3336
10 | 2563686.9366 | 1169811.9829 | 2563727.1039 | 1169754.2911
11 | 2563686.9366 | 1169811.9829 | 2563677.4379 | 1169803.8696 | 2563661.9127 | 1169793.2429
12 | 2563686.9366 | 1169811.9829 | 2563670.1448 | 1169823.8242 | 2563661.4442 | 1169827.4344 | 2563652.1484 | 1169828.7915 | 2563633.1298 | 1169826.8533
13 | 2563570.4893 | 1169687.2097 | 2563571.6623 | 1169690.242 | 2563574.4059 | 1169694.1729
14 | 2563583.9399 | 1169707.8327 | 2563574.4059 | 1169694.1729
15 | 2563599.1329 | 1169729.6004 | 2563583.9399 | 1169707.8327
16 | 2563434.3949 | 1169850.3321 | 2563445.5291 | 1169834.1631
17 | 2563459.0674 | 1169819.3389 | 2563446.3749 | 1169832.9348 | 2563445.5291 | 1169834.1631
18 | 2563480.5837 | 1169800.2536 | 2563473.3227 | 1169805.2894 | 2563470.0998 | 1169807.5213 | 2563459.0674 | 1169819.3389
19 | 2563508.3439 | 1169796.627 | 2563491.3795 | 1169797.6753 | 2563480.5837 | 1169800.2536
20 | 2563508.3439 | 1169796.627 | 2563505.1749 | 1169791.3991 | 2563502.3122 | 1169784.9354 | 2563501.0526 | 1169780.3963
21 | 2563508.3439 | 1169796.627 | 2563513.8376 | 1169802.9959
22 | 2563501.0526 | 1169780.3963 | 2563500.1921 | 1169777.3 | 2563499.5015 | 1169769.4445 | 2563499.4017 | 1169767.2684
23 | 2563526.5231 | 1169812.8691 | 2563519.2955 | 1169808.333 | 2563515.0403 | 1169804.3902 | 2563513.8376 | 1169802.9959
24 | 2563497.788 | 1169740.6512 | 2563498.6366 | 1169750.5733 | 2563499.4017 | 1169767.2684
25 | 2563480.3542 | 1169675.914 | 2563482.4321 | 1169683.0596
26 | 2563489.7154 | 1169706.3792 | 2563484.9331 | 1169691.6597 | 2563482.4321 | 1169683.0596
27 | 2563480.3542 | 1169675.914 | 2563478.4853 | 1169669.4875 | 2563478.2042 | 1169661.9709
28 | 2563489.9471 | 1169707.0926 | 2563489.7154 | 1169706.3792
29 | 2563497.788 | 1169740.6512 | 2563496.3072 | 1169731.1997 | 2563493.3432 | 1169719.445 | 2563491.1947 | 1169710.9204 | 2563489.9471 | 1169707.0926
30 | 2563558.0952 | 1169768.0315 | 2563558.0952 | 1169768.0315 | 2563560.905 | 1169775.8518 | 2563575.335 | 1169791.3255
31 | 2563559.1343 | 1169764.0008 | 2563558.0952 | 1169768.0315
32 | 2563575.335 | 1169791.3255 | 2563577.3106 | 1169793.444
33 | 2563589.7074 | 1169806.9807 | 2563589.5937 | 1169806.6155 | 2563577.3106 | 1169793.444
34 | 2563590.0726 | 1169822.4652 | 2563590.7408 | 1169810.2993 | 2563589.7074 | 1169806.9807
35 | 2563590.0726 | 1169822.4652 | 2563598.892 | 1169823.364
36 | 2563590.0726 | 1169822.4652 | 2563581.85 | 1169821.6259 | 2563540.8559 | 1169816.9284 | 2563534.0697 | 1169815.7691 | 2563531.9806 | 1169814.9663
37 | 2563526.5231 | 1169812.8691 | 2563531.9806 | 1169814.9663
38 | 2563526.5231 | 1169812.8691 | 2563527.82 | 1169827.3132 | 2563532.9624 | 1169843.5474
39 | 2563532.9624 | 1169843.5474 | 2563532.9689 | 1169843.568 | 2563540.3049 | 1169862.9388
40 | 2563598.892 | 1169823.364 | 2563602.5077 | 1169823.7325
41 | 2563540.8252 | 1169864.3126 | 2563540.3049 | 1169862.9388
42 | 2563602.5077 | 1169823.7325 | 2563633.1298 | 1169826.8533
43 | 2563540.8252 | 1169864.3126 | 2563545.7864 | 1169877.4128
44 | 2563654.8474 | 1169788.4069 | 2563661.9127 | 1169793.2429
45 | 2563654.8474 | 1169788.4069 | 2563649.8932 | 1169785.0158 | 2563638.1833 | 1169774.7122
46 | 2563634.818 | 1169771.751 | 2563638.1833 | 1169774.7122
47 | 2563634.818 | 1169771.751 | 2563629.4157 | 1169766.9975 | 2563619.065 | 1169755.5554
48 | 2563615.7716 | 1169751.9148 | 2563619.065 | 1169755.5554
49 | 2563615.7716 | 1169751.9148 | 2563611.1129 | 1169746.7648 | 2563599.9365 | 1169730.7518
50 | 2563599.1329 | 1169729.6004 | 2563599.9365 | 1169730.7518

## bus_geodata
| x | y | coords
0 | 2563555.9023 | 1170206.7362
1 | 2563529.33 | 1170207.6695
2 | 2563563.5468 | 1169924.3096
3 | 2563521.9914 | 1170205.556
4 | 2563553.275 | 1169897.1866
5 | 2563513.0209 | 1170236.3377
6 | 2563422.4162 | 1170184.6638
7 | 2563862.9933 | 1169653.1554
8 | 2563804.6566 | 1169581.0876
9 | 2563727.1039 | 1169754.2911
10 | 2563740.845 | 1169582.3336
11 | 2563686.9366 | 1169811.9829
12 | 2563570.4893 | 1169687.2097
13 | 2563574.4059 | 1169694.1729
14 | 2563583.9399 | 1169707.8327
15 | 2563434.3949 | 1169850.3321
16 | 2563445.5291 | 1169834.1631
17 | 2563459.0674 | 1169819.3389
18 | 2563480.5837 | 1169800.2536
19 | 2563508.3439 | 1169796.627
20 | 2563501.0526 | 1169780.3963
21 | 2563513.8376 | 1169802.9959
22 | 2563499.4017 | 1169767.2684
23 | 2563482.4321 | 1169683.0596
24 | 2563480.3542 | 1169675.914
25 | 2563489.7154 | 1169706.3792
26 | 2563478.2042 | 1169661.9709
27 | 2563489.9471 | 1169707.0926
28 | 2563497.788 | 1169740.6512
29 | 2563558.0952 | 1169768.0315
30 | 2563575.335 | 1169791.3255
31 | 2563559.1343 | 1169764.0008
32 | 2563577.3106 | 1169793.444
33 | 2563589.7074 | 1169806.9807
34 | 2563590.0726 | 1169822.4652
35 | 2563531.9806 | 1169814.9663
36 | 2563526.5231 | 1169812.8691
37 | 2563532.9624 | 1169843.5474
38 | 2563598.892 | 1169823.364
39 | 2563540.3049 | 1169862.9388
40 | 2563602.5077 | 1169823.7325
41 | 2563540.8252 | 1169864.3126
42 | 2563633.1298 | 1169826.8533
43 | 2563545.7864 | 1169877.4128
44 | 2563661.9127 | 1169793.2429
45 | 2563654.8474 | 1169788.4069
46 | 2563638.1833 | 1169774.7122
47 | 2563634.818 | 1169771.751
48 | 2563619.065 | 1169755.5554
49 | 2563615.7716 | 1169751.9148
50 | 2563599.9365 | 1169730.7518
51 | 2563599.1329 | 1169729.6004
52 | 2563559.1343 | 1169764.0008

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97924 | -0.14594 | 0.0010105 | 0.00025325
1 | 0.97873 | -0.14957 | 0.0041671 | 0.0010444
2 | 0.98488 | -0.1058 | 0.0022812 | 0.00057171
3 | 0.97863 | -0.15025 | 0 | 0
4 | 0.98555 | -0.10102 | 0.0029601 | 0.00074187
5 | 0.97852 | -0.15105 | 0.0023937 | 0.00059991
6 | 0.97772 | -0.15677 | 0.0061319 | 0.0015368
7 | 0.98 | -0.14039 | 0.0056707 | 0.0014212
8 | 0.97851 | -0.15106 | 0.0033426 | 0.00083774
9 | 0.98412 | -0.11106 | 0.0082394 | 0.002065
10 | 0.97779 | -0.15619 | 0.0077001 | 0.0019298
11 | 0.98667 | -0.093002 | 0 | 0
12 | 0.98112 | -0.13249 | 0.0034121 | 0.00085514
13 | 0.98116 | -0.1322 | 0.0056712 | 0.0014213
14 | 0.98138 | -0.13063 | 0.0041192 | 0.0010324
15 | 0.98545 | -0.10175 | 0.0054905 | 0.001376
16 | 0.98561 | -0.10064 | 0.0012028 | 0.00030145
17 | 0.9858 | -0.09926 | 0.0043696 | 0.0010951
18 | 0.98626 | -0.095974 | 0 | 0
19 | 0.98671 | -0.092793 | 0 | 0
20 | 0.98571 | -0.099873 | 0 | 0
21 | 0.98732 | -0.088516 | 0.0015995 | 0.00040087
22 | 0.98497 | -0.10514 | 0.011167 | 0.0027987
23 | 0.98176 | -0.12794 | 0.0090736 | 0.0022741
24 | 0.98163 | -0.12886 | 0.005076 | 0.0012722
25 | 0.98251 | -0.12263 | 0.0064088 | 0.0016062
26 | 0.98149 | -0.12986 | 0.0068309 | 0.001712
27 | 0.98254 | -0.12242 | 0 | 0
28 | 0.98391 | -0.11266 | 0 | 0
29 | 0.99946 | -0.003747 | 0.0096445 | 0.0024171
30 | 1 | 0 | -0.17077 | -0.042911
31 | 0.99945 | -0.0038754 | 0.0030875 | 0.00077381
32 | 0.99968 | -0.0022399 | 0.00132 | 0.00033083
33 | 0.99763 | -0.016374 | 0.0026931 | 0.00067495
34 | 0.99592 | -0.028242 | 0 | 0
35 | 0.98918 | -0.075408 | 0.001764 | 0.00044209
36 | 0.98852 | -0.08004 | 0 | 0
37 | 0.98731 | -0.088542 | 0.0022556 | 0.00056532
38 | 0.995 | -0.034627 | 0.0039878 | 0.00099943
39 | 0.98659 | -0.093664 | 0.0020925 | 0.00052443
40 | 0.99465 | -0.037101 | 0.00086176 | 0.00021598
41 | 0.98654 | -0.093995 | 0.0018576 | 0.00046556
42 | 0.99167 | -0.05786 | 0.0077334 | 0.0019382
43 | 0.98613 | -0.096892 | 0.0011652 | 0.00029203
44 | 0.98513 | -0.10391 | 0.0023575 | 0.00059085
45 | 0.98474 | -0.10669 | 0.002887 | 0.00072355
46 | 0.98384 | -0.11307 | 0.0017488 | 0.0004383
47 | 0.98367 | -0.11431 | 0.0024829 | 0.00062228
48 | 0.98287 | -0.12002 | 0.0016014 | 0.00040136
49 | 0.9827 | -0.12118 | 0.0025132 | 0.00062987
50 | 0.98192 | -0.12674 | 0.0022749 | 0.00057014
51 | 0.98189 | -0.127 | 0.0048377 | 0.0012125
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012706 | 0.003184 | -0.012699 | -0.0031818 | 6.3784e-06 | 2.1085e-06 | 0.019307 | 0.019307 | 0.019307 | 0.97924 | -0.14594 | 0.97873 | -0.14957 | 7.1508
1 | -0.013716 | -0.0034372 | 0.013793 | 0.0034631 | 7.6581e-05 | 2.5879e-05 | 0.020842 | 0.020841 | 0.020842 | 0.97924 | -0.14594 | 0.98488 | -0.1058 | 7.7194
2 | 0.0085321 | 0.0021375 | -0.0085313 | -0.0021373 | 8.0184e-07 | 2.1244e-07 | 0.012972 | 0.012972 | 0.012972 | 0.97873 | -0.14957 | 0.97863 | -0.15025 | 4.8043
3 | -0.016074 | -0.0040348 | 0.016085 | 0.0040385 | 1.0676e-05 | 3.7367e-06 | 0.024288 | 0.024288 | 0.024288 | 0.98488 | -0.1058 | 0.98555 | -0.10102 | 8.9955
4 | 0.0023939 | 0.00059961 | -0.0023937 | -0.00059991 | 2.6507e-07 | -3.0085e-07 | 0.0036399 | 0.00364 | 0.00364 | 0.97863 | -0.15025 | 0.97852 | -0.15105 | 1.3482
5 | 0.0061374 | 0.0015376 | -0.0061319 | -0.0015368 | 5.5289e-06 | 8.493e-07 | 0.0093317 | 0.0093322 | 0.0093322 | 0.97863 | -0.15025 | 0.97772 | -0.15677 | 3.4564
6 | -0.019045 | -0.0047804 | 0.019056 | 0.0047843 | 1.0911e-05 | 3.9269e-06 | 0.028757 | 0.028757 | 0.028757 | 0.98555 | -0.10102 | 0.98613 | -0.096892 | 10.6507
7 | 0.011065 | 0.002774 | -0.011048 | -0.0027689 | 1.6331e-05 | 5.1147e-06 | 0.016801 | 0.016801 | 0.016801 | 0.98 | -0.14039 | 0.97851 | -0.15106 | 6.2226
8 | -0.016735 | -0.0041952 | 0.016803 | 0.0042193 | 6.8251e-05 | 2.4107e-05 | 0.025411 | 0.02541 | 0.025411 | 0.98 | -0.14039 | 0.98412 | -0.11106 | 9.4114
9 | 0.0077056 | 0.0019311 | -0.0077001 | -0.0019298 | 5.4686e-06 | 1.3022e-06 | 0.011718 | 0.011718 | 0.011718 | 0.97851 | -0.15106 | 0.97779 | -0.15619 | 4.3401
10 | -0.025043 | -0.0062843 | 0.025106 | 0.0063076 | 6.2903e-05 | 2.3298e-05 | 0.037868 | 0.037868 | 0.037868 | 0.98412 | -0.11106 | 0.98667 | -0.093002 | 14.0252
11 | 0.034048 | 0.00855 | -0.033996 | -0.0085306 | 5.1518e-05 | 1.9416e-05 | 0.051354 | 0.051354 | 0.051354 | 0.98667 | -0.093002 | 0.98513 | -0.10391 | 19.0201
12 | -0.059154 | -0.014858 | 0.059444 | 0.014969 | 0.00029048 | 0.00011097 | 0.089222 | 0.089222 | 0.089222 | 0.98667 | -0.093002 | 0.99167 | -0.05786 | 33.0452
13 | -0.0034121 | -0.00085514 | 0.0034122 | 0.00085509 | 1.3443e-07 | -4.9894e-08 | 0.0051749 | 0.0051749 | 0.0051749 | 0.98112 | -0.13249 | 0.98116 | -0.1322 | 1.9166
14 | -0.0090834 | -0.0022764 | 0.0090854 | 0.002277 | 1.9726e-06 | 5.4827e-07 | 0.013776 | 0.013776 | 0.013776 | 0.98116 | -0.1322 | 0.98138 | -0.13063 | 5.1022
15 | -0.013205 | -0.0033094 | 0.013211 | 0.0033116 | 6.64e-06 | 2.2183e-06 | 0.020022 | 0.020021 | 0.020022 | 0.98138 | -0.13063 | 0.98189 | -0.127 | 7.4154
16 | -0.0054905 | -0.001376 | 0.0054913 | 0.0013761 | 8.4199e-07 | 7.3688e-08 | 0.0082906 | 0.0082905 | 0.0082906 | 0.98545 | -0.10175 | 0.98561 | -0.10064 | 3.0706
17 | -0.0066941 | -0.0016776 | 0.0066954 | 0.0016778 | 1.2805e-06 | 2.3639e-07 | 0.010106 | 0.010106 | 0.010106 | 0.98561 | -0.10064 | 0.9858 | -0.09926 | 3.7431
18 | -0.011065 | -0.0027729 | 0.01107 | 0.0027745 | 5.0347e-06 | 1.5675e-06 | 0.016702 | 0.016702 | 0.016702 | 0.9858 | -0.09926 | 0.98626 | -0.095974 | 6.1859
19 | -0.01107 | -0.0027745 | 0.011075 | 0.002776 | 4.8768e-06 | 1.518e-06 | 0.016702 | 0.016702 | 0.016702 | 0.98626 | -0.095974 | 0.98671 | -0.092793 | 6.1859
20 | 0.038707 | 0.0097194 | -0.038669 | -0.009705 | 3.8044e-05 | 1.4404e-05 | 0.058379 | 0.058379 | 0.058379 | 0.98671 | -0.092793 | 0.98571 | -0.099873 | 21.6219
21 | -0.049782 | -0.012495 | 0.049812 | 0.012507 | 2.9586e-05 | 1.1272e-05 | 0.075081 | 0.075081 | 0.075081 | 0.98671 | -0.092793 | 0.98732 | -0.088516 | 27.8077
22 | 0.038669 | 0.009705 | -0.038641 | -0.0096943 | 2.8238e-05 | 1.0692e-05 | 0.058379 | 0.058379 | 0.058379 | 0.98571 | -0.099873 | 0.98497 | -0.10514 | 21.6219
23 | -0.051411 | -0.012908 | 0.051472 | 0.012931 | 6.0611e-05 | 2.3105e-05 | 0.077491 | 0.077491 | 0.077491 | 0.98732 | -0.088516 | 0.98852 | -0.08004 | 28.7005
24 | 0.027474 | 0.0068955 | -0.027445 | -0.0068848 | 2.8675e-05 | 1.069e-05 | 0.041509 | 0.041509 | 0.041509 | 0.98497 | -0.10514 | 0.98391 | -0.11266 | 15.3737
25 | 0.011909 | 0.0029848 | -0.011908 | -0.0029843 | 1.513e-06 | 4.8783e-07 | 0.018051 | 0.018051 | 0.018051 | 0.98176 | -0.12794 | 0.98163 | -0.12886 | 6.6854
26 | -0.020983 | -0.0052589 | 0.020998 | 0.0052645 | 1.5421e-05 | 5.6218e-06 | 0.031803 | 0.031803 | 0.031803 | 0.98176 | -0.12794 | 0.98251 | -0.12263 | 11.7789
27 | 0.0068318 | 0.0017122 | -0.0068309 | -0.001712 | 9.5128e-07 | 1.862e-07 | 0.010356 | 0.010356 | 0.010356 | 0.98163 | -0.12886 | 0.98149 | -0.12986 | 3.8356
28 | -0.027407 | -0.0068707 | 0.027408 | 0.006871 | 8.0651e-07 | 3.0069e-07 | 0.041509 | 0.041509 | 0.041509 | 0.98251 | -0.12263 | 0.98254 | -0.12242 | 15.3738
29 | -0.027408 | -0.006871 | 0.027445 | 0.0068848 | 3.71e-05 | 1.3832e-05 | 0.041509 | 0.041509 | 0.041509 | 0.98254 | -0.12242 | 0.98391 | -0.11266 | 15.3738
30 | -0.012732 | -0.0031909 | 0.012739 | 0.0031931 | 6.6071e-06 | 2.1548e-06 | 0.018956 | 0.018956 | 0.018956 | 0.99946 | -0.003747 | 1 | 0 | 7.0206
31 | 0.0030876 | 0.00077378 | -0.0030875 | -0.00077381 | 5.4884e-08 | -3.3439e-08 | 0.0045968 | 0.0045969 | 0.0045969 | 0.99946 | -0.003747 | 0.99945 | -0.0038754 | 1.7025
32 | 0.15723 | 0.039718 | -0.15718 | -0.039699 | 4.952e-05 | 1.897e-05 | 0.23408 | 0.23408 | 0.23408 | 1 | 0 | 0.99968 | -0.0022399 | 43.3475
33 | 0.15586 | 0.039368 | -0.15556 | -0.03925 | 0.00030917 | 0.00011843 | 0.23211 | 0.23211 | 0.23211 | 0.99968 | -0.0022399 | 0.99763 | -0.016374 | 42.9837
34 | 0.15286 | 0.038575 | -0.15261 | -0.038478 | 0.0002542 | 9.7362e-05 | 0.22809 | 0.2281 | 0.2281 | 0.99763 | -0.016374 | 0.99592 | -0.028242 | 42.2398
35 | 0.072311 | 0.018231 | -0.072246 | -0.018206 | 6.4616e-05 | 2.4737e-05 | 0.10808 | 0.10808 | 0.10808 | 0.99592 | -0.028242 | 0.995 | -0.034627 | 40.0291
36 | 0.080297 | 0.020247 | -0.07977 | -0.020045 | 0.00052715 | 0.00020199 | 0.12002 | 0.12002 | 0.12002 | 0.99592 | -0.028242 | 0.98918 | -0.075408 | 44.4507
37 | 0.078006 | 0.019603 | -0.077956 | -0.019584 | 5.0252e-05 | 1.9253e-05 | 0.11736 | 0.11736 | 0.11736 | 0.98918 | -0.075408 | 0.98852 | -0.08004 | 43.4679
38 | 0.026484 | 0.006653 | -0.026453 | -0.0066413 | 3.128e-05 | 1.1627e-05 | 0.039872 | 0.039872 | 0.039872 | 0.98852 | -0.08004 | 0.98731 | -0.088542 | 14.7675
39 | 0.024197 | 0.006076 | -0.02418 | -0.0060697 | 1.7212e-05 | 6.3549e-06 | 0.036473 | 0.036473 | 0.036473 | 0.98731 | -0.088542 | 0.98659 | -0.093664 | 13.5084
40 | 0.068258 | 0.017207 | -0.068235 | -0.017197 | 2.3648e-05 | 9.0482e-06 | 0.10211 | 0.10211 | 0.10211 | 0.995 | -0.034627 | 0.99465 | -0.037101 | 37.8203
41 | 0.022088 | 0.0055452 | -0.022087 | -0.0055449 | 1.0175e-06 | 3.7259e-07 | 0.033317 | 0.033317 | 0.033317 | 0.98659 | -0.093664 | 0.98654 | -0.093995 | 12.3395
42 | 0.067373 | 0.016981 | -0.067178 | -0.016907 | 0.00019526 | 7.47e-05 | 0.10083 | 0.10083 | 0.10083 | 0.99465 | -0.037101 | 0.99167 | -0.05786 | 37.3429
43 | 0.020229 | 0.0050793 | -0.020221 | -0.0050764 | 8.1394e-06 | 2.9517e-06 | 0.030515 | 0.030515 | 0.030515 | 0.98654 | -0.093995 | 0.98613 | -0.096892 | 11.3018
44 | 0.031639 | 0.0079398 | -0.031627 | -0.0079352 | 1.2204e-05 | 4.5847e-06 | 0.047793 | 0.047793 | 0.047793 | 0.98513 | -0.10391 | 0.98474 | -0.10669 | 17.7012
45 | 0.02874 | 0.0072116 | -0.028714 | -0.0072021 | 2.5425e-05 | 9.5043e-06 | 0.043431 | 0.043431 | 0.043431 | 0.98474 | -0.10669 | 0.98384 | -0.11307 | 16.0856
46 | 0.026965 | 0.0067638 | -0.026961 | -0.0067621 | 4.653e-06 | 1.7327e-06 | 0.040786 | 0.040786 | 0.040786 | 0.98384 | -0.11307 | 0.98367 | -0.11431 | 15.1059
47 | 0.024478 | 0.0061398 | -0.024459 | -0.0061327 | 1.9359e-05 | 7.1588e-06 | 0.03703 | 0.03703 | 0.03703 | 0.98367 | -0.11431 | 0.98287 | -0.12002 | 13.7149
48 | 0.022857 | 0.0057313 | -0.022853 | -0.00573 | 3.6685e-06 | 1.3488e-06 | 0.034606 | 0.034606 | 0.034606 | 0.98287 | -0.12002 | 0.9827 | -0.12118 | 12.8169
49 | 0.02034 | 0.0051001 | -0.020325 | -0.0050944 | 1.567e-05 | 5.692e-06 | 0.0308 | 0.0308 | 0.0308 | 0.9827 | -0.12118 | 0.98192 | -0.12674 | 11.4075
50 | 0.01805 | 0.0045243 | -0.018049 | -0.004524 | 6.5552e-07 | 2.3436e-07 | 0.027353 | 0.027353 | 0.027353 | 0.98192 | -0.12674 | 0.98189 | -0.127 | 10.1307

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17345 | 0.043582

## res_load
| p_mw | q_mvar
0 | 0.0010105 | 0.00025325
1 | 0.0041671 | 0.0010444
2 | 0.0022812 | 0.00057171
3 | 0.0029601 | 0.00074187
4 | 0.0023937 | 0.00059991
5 | 0.0061319 | 0.0015368
6 | 0.0056707 | 0.0014212
7 | 0.0033426 | 0.00083774
8 | 0.0082394 | 0.002065
9 | 0.0077001 | 0.0019298
10 | 0.0034121 | 0.00085514
11 | 0.0056712 | 0.0014213
12 | 0.0041192 | 0.0010324
13 | 0.0054905 | 0.001376
14 | 0.0012028 | 0.00030145
15 | 0.0043696 | 0.0010951
16 | 0.0015995 | 0.00040087
17 | 0.011167 | 0.0027987
18 | 0.0090736 | 0.0022741
19 | 0.005076 | 0.0012722
20 | 0.0064088 | 0.0016062
21 | 0.0068309 | 0.001712
22 | 0.0096445 | 0.0024171
23 | 0.0026763 | 0.00067075
24 | 0.0030875 | 0.00077381
25 | 0.00132 | 0.00033083
26 | 0.0026931 | 0.00067495
27 | 0.001764 | 0.00044209
28 | 0.0022556 | 0.00056532
29 | 0.0039878 | 0.00099943
30 | 0.0020925 | 0.00052443
31 | 0.00086176 | 0.00021598
32 | 0.0018576 | 0.00046556
33 | 0.0077334 | 0.0019382
34 | 0.0011652 | 0.00029203
35 | 0.0023575 | 0.00059085
36 | 0.002887 | 0.00072355
37 | 0.0017488 | 0.0004383
38 | 0.0024829 | 0.00062228
39 | 0.0016014 | 0.00040136
40 | 0.0025132 | 0.00062987
41 | 0.0022749 | 0.00057014
42 | 0.0048377 | 0.0012125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1