## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2097-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2097-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2097-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2097-2_0_3_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_2097-2_0_3_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_2097-2_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2097-2_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2097-2_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2097-2_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2097-2_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2097-2_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2097-2_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2097-2_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2097-2_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2097-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2097-2_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2097-2_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2097-2_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2097-2_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2097-2_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2097-2_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2097-2_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2097-2_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2097-2_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2097-2_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2097-2_0_3_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_2097-2_0_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_2097-2_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2097-2_0_3_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_2097-2_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_2097-2_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_2097-2_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_2097-2_0_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_2097-2_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_2097-2_0_3_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_2097-2_0_3_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_2097-2_0_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_2097-2_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2097-2_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2097-2_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2097-2_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2097-2_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2097-2_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_2097-2_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2097-2_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2097-2_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2097-2_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2097-2_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2097-2_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2097-2_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2097-2_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2097-2_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_MV_366_1_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2097-2_0_3_load_0 | 0 | 0.0016084 | 0.00040309 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2097-2_0_3_load_2 | 2 | 0.0064149 | 0.0016077 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2097-2_0_3_load_15 | 3 | 0.0052864 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2097-2_0_3_load_16 | 4 | 0.0058887 | 0.0014759 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2097-2_0_3_load_3 | 5 | 0.0014914 | 0.00037378 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2097-2_0_3_load_4 | 6 | 0.005619 | 0.0014083 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2097-2_0_3_load_6 | 8 | 0.0050848 | 0.0012744 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2097-2_0_3_load_7 | 9 | 0.010305 | 0.0025827 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2097-2_0_3_load_8 | 10 | 0.013676 | 0.0034276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2097-2_0_3_load_12 | 13 | 0.0025481 | 0.00063861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2097-2_0_3_load_13 | 15 | 0.0070191 | 0.0017592 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2097-2_0_3_load_14 | 16 | 0.0057162 | 0.0014326 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2097-2_0_3_load_18 | 17 | 0.0059264 | 0.0014853 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2097-2_0_3_load_22 | 19 | 0.0039049 | 0.00097867 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2097-2_0_3_load_30 | 20 | 0.0018362 | 0.00046019 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2097-2_0_3_load_20 | 21 | 0.013163 | 0.0032989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2097-2_0_3_load_23 | 22 | 0.0034247 | 0.00085832 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2097-2_0_3_load_17 | 24 | 0.0077607 | 0.001945 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2097-2_0_3_load_56 | 25 | 0.00094305 | 0.00023635 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2097-2_0_3_load_21 | 27 | 0.0048658 | 0.0012195 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2097-2_0_3_load_45 | 28 | 0.0017012 | 0.00042636 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2097-2_0_3_load_46 | 29 | 0.00033816 | 8.4751e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2097-2_0_3_load_47 | 30 | 0.00035084 | 8.7928e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2097-2_0_3_load_48 | 31 | 0.00022999 | 5.7642e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2097-2_0_3_load_49 | 32 | 0.00026268 | 6.5833e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2097-2_0_3_load_50 | 33 | 0.00067134 | 0.00016825 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2097-2_0_3_load_51 | 34 | 0.0020327 | 0.00050944 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2097-2_0_3_load_54 | 36 | 0.00055843 | 0.00013996 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2097-2_0_3_load_24 | 37 | 0.0075799 | 0.0018997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2097-2_0_3_load_26 | 39 | 0.0076202 | 0.0019098 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2097-2_0_3_load_27 | 40 | 0.005562 | 0.001394 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2097-2_0_3_load_28 | 41 | 0.0025553 | 0.00064042 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2097-2_0_3_load_41 | 42 | 0.0013982 | 0.00035043 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2097-2_0_3_load_29 | 43 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2097-2_0_3_load_39 | 44 | 0.0018996 | 0.00047608 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2097-2_0_3_load_33 | 46 | 0.001476 | 0.00036991 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2097-2_0_3_load_36 | 47 | 0.0054504 | 0.001366 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2097-2_0_3_load_34 | 48 | 0.0027888 | 0.00069894 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2097-2_0_3_load_35 | 49 | 0.0032717 | 0.00081997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2097-2_0_3_load_40 | 50 | 0.013135 | 0.003292 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2097-2_0_3_load_43 | 51 | 0.0089039 | 0.0022315 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2097-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2097-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.04211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2097-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.028599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2097-2_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.01159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2097-2_0_3_line_4 | NAYY 4x150 SE | 4 | 24 | 0.011718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2097-2_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0081455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2097-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0086452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2097-2_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0032043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2097-2_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2097-2_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.011101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2097-2_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0047899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2097-2_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.016052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2097-2_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.013143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2097-2_0_3_line_13 | NAYY 4x150 SE | 12 | 18 | 0.011044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2097-2_0_3_line_14 | NAYY 4x150 SE | 12 | 19 | 0.029254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2097-2_0_3_line_15 | NAYY 4x150 SE | 13 | 20 | 0.0047673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2097-2_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0021123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2097-2_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.023684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2097-2_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0070431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2097-2_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.010078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2097-2_0_3_line_20 | NAYY 4x150 SE | 17 | 24 | 0.006017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2097-2_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.0072364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2097-2_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.011331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2097-2_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.0072737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2097-2_0_3_line_24 | NAYY 4x150 SE | 21 | 27 | 0.01099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2097-2_0_3_line_25 | NAYY 4x150 SE | 22 | 37 | 0.012498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2097-2_0_3_line_26 | NAYY 4x150 SE | 23 | 45 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2097-2_0_3_line_27 | NAYY 4x150 SE | 23 | 46 | 0.0019695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2097-2_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.10767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2097-2_0_3_line_29 | NAYY 4x150 SE | 26 | 35 | 0.041956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2097-2_0_3_line_30 | NAYY 4x150 SE | 26 | 34 | 0.033368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2097-2_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0035021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2097-2_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.014955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2097-2_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.044918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2097-2_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0049943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2097-2_0_3_line_35 | NAYY 4x150 SE | 31 | 39 | 0.22894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2097-2_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.017264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2097-2_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.013389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2097-2_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.10994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2097-2_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.011048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2097-2_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0080922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2097-2_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.011602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2097-2_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.021051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2097-2_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0051759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2097-2_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.013113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2097-2_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.002854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2097-2_0_3_line_46 | NAYY 4x150 SE | 44 | 50 | 0.029115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2097-2_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.023759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2097-2_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0041989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2097-2_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0028345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2097-2_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2097-2_0_3_trafo_11 | 0.25 MVA 20/0.4 kV | 52 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2552678.3597 | 1163286.19 | 2552665.5243 | 1163300.0985 | 2552662.9415 | 1163304.8365
1 | 2552678.3597 | 1163286.19 | 2552712.3526 | 1163261.336
2 | 2552712.3526 | 1163261.336 | 2552735.4387 | 1163244.4565
3 | 2552735.4387 | 1163244.4565 | 2552737.5361 | 1163242.9229 | 2552745.0062 | 1163239.2399 | 2552745.6625 | 1163239.1445
4 | 2552756.8828 | 1163239.8656 | 2552753.17 | 1163238.0528 | 2552745.6625 | 1163239.1445
5 | 2552760.1874 | 1163294.3149 | 2552757.0267 | 1163286.8076
6 | 2552763.542 | 1163302.2827 | 2552760.1874 | 1163294.3149
7 | 2552755.7865 | 1163283.8531 | 2552756.0873 | 1163284.5765 | 2552757.0267 | 1163286.8076
8 | 2552763.542 | 1163302.2827 | 2552774.4969 | 1163296.5301
9 | 2552755.7865 | 1163283.8531 | 2552751.5242 | 1163273.6032
10 | 2552778.7377 | 1163294.3033 | 2552774.4969 | 1163296.5301
11 | 2552792.9798 | 1163286.8206 | 2552778.7377 | 1163294.3033
12 | 2552778.7377 | 1163294.3033 | 2552782.7592 | 1163306.8159
13 | 2552792.9798 | 1163286.8206 | 2552789.566 | 1163283.2456 | 2552786.1633 | 1163278.1697
14 | 2552792.9798 | 1163286.8206 | 2552813.1681 | 1163307.992
15 | 2552784.2179 | 1163311.3546 | 2552782.7592 | 1163306.8159
16 | 2552767.3823 | 1163250.1139 | 2552766.2074 | 1163248.3585
17 | 2552767.3823 | 1163250.1139 | 2552780.557 | 1163269.7948
18 | 2552762.2898 | 1163242.5055 | 2552766.2074 | 1163248.3585
19 | 2552786.1633 | 1163278.1697 | 2552780.557 | 1163269.7948
20 | 2552762.2898 | 1163242.5055 | 2552756.8828 | 1163239.8656
21 | 2552786.1633 | 1163278.1697 | 2552791.7553 | 1163278.2035 | 2552793.1262 | 1163279.1114
22 | 2552813.1681 | 1163307.992 | 2552817.8113 | 1163312.8612 | 2552820.9353 | 1163316.2413
23 | 2552787.3799 | 1163317.8921 | 2552784.5327 | 1163312.3338 | 2552784.2179 | 1163311.3546
24 | 2552802.289 | 1163285.1798 | 2552793.1262 | 1163279.1114
25 | 2552820.9353 | 1163316.2413 | 2552829.4182 | 1163325.4197
26 | 2552787.3799 | 1163317.8921 | 2552777.8325 | 1163322.3363
27 | 2552787.3799 | 1163317.8921 | 2552788.2766 | 1163319.6456
28 | 2553076.8413 | 1163075.5381 | 2553023.5575 | 1162981.9732
29 | 2553076.8413 | 1163075.5381 | 2553108.9707 | 1163048.4505
30 | 2553076.8413 | 1163075.5381 | 2553057.2789 | 1163102.5703
31 | 2553034.5488 | 1163147.6905 | 2553033.0435 | 1163150.8526
32 | 2553034.5488 | 1163147.6905 | 2553039.1148 | 1163138.0995 | 2553041.0451 | 1163134.2212
33 | 2553033.0435 | 1163150.8526 | 2553026.9817 | 1163163.5857 | 2553018.0269 | 1163193.0719
34 | 2553041.0451 | 1163134.2212 | 2553043.2705 | 1163129.75
35 | 2552842.1816 | 1163339.6782 | 2553018.0269 | 1163193.0719
36 | 2553043.2705 | 1163129.75 | 2553050.963 | 1163114.2944
37 | 2553057.2789 | 1163102.5703 | 2553054.4781 | 1163106.4404 | 2553052.8628 | 1163110.4774 | 2553050.963 | 1163114.2944
38 | 2553108.9707 | 1163048.4505 | 2553184.2748 | 1163128.5527
39 | 2552836.9167 | 1163333.5329 | 2552829.4182 | 1163325.4197
40 | 2552836.9167 | 1163333.5329 | 2552842.1816 | 1163339.6782
41 | 2552836.9167 | 1163333.5329 | 2552829.1589 | 1163342.1599
42 | 2552842.1816 | 1163339.6782 | 2552855.8777 | 1163355.6643
43 | 2552829.1589 | 1163342.1599 | 2552828.7918 | 1163342.5682 | 2552830.3834 | 1163346.9127
44 | 2552864.4092 | 1163365.6223 | 2552855.8777 | 1163355.6643
45 | 2552831.3652 | 1163349.5924 | 2552830.3834 | 1163346.9127
46 | 2552831.3652 | 1163349.5924 | 2552832.5726 | 1163352.8884 | 2552830.675 | 1163359.9626 | 2552835.1839 | 1163371.2997 | 2552839.7297 | 1163375.3368
47 | 2552777.8325 | 1163322.3363 | 2552779.4342 | 1163326.3369 | 2552786.9533 | 1163323.0537 | 2552790.7671 | 1163327.8151 | 2552793.5844 | 1163332.1199
48 | 2552790.1884 | 1163323.384 | 2552788.2766 | 1163319.6456
49 | 2552795.1366 | 1163334.4917 | 2552793.5844 | 1163332.1199
50 | 2552839.7297 | 1163375.3368 | 2552809.969 | 1163396.2945

## bus_geodata
| x | y | coords
0 | 2552662.9415 | 1163304.8365
1 | 2552678.3597 | 1163286.19
2 | 2552712.3526 | 1163261.336
3 | 2552735.4387 | 1163244.4565
4 | 2552745.6625 | 1163239.1445
5 | 2552760.1874 | 1163294.3149
6 | 2552757.0267 | 1163286.8076
7 | 2552763.542 | 1163302.2827
8 | 2552755.7865 | 1163283.8531
9 | 2552774.4969 | 1163296.5301
10 | 2552751.5242 | 1163273.6032
11 | 2552778.7377 | 1163294.3033
12 | 2552792.9798 | 1163286.8206
13 | 2552782.7592 | 1163306.8159
14 | 2552767.3823 | 1163250.1139
15 | 2552766.2074 | 1163248.3585
16 | 2552780.557 | 1163269.7948
17 | 2552762.2898 | 1163242.5055
18 | 2552786.1633 | 1163278.1697
19 | 2552813.1681 | 1163307.992
20 | 2552784.2179 | 1163311.3546
21 | 2552793.1262 | 1163279.1114
22 | 2552820.9353 | 1163316.2413
23 | 2552787.3799 | 1163317.8921
24 | 2552756.8828 | 1163239.8656
25 | 2553023.5575 | 1162981.9732
26 | 2553076.8413 | 1163075.5381
27 | 2552802.289 | 1163285.1798
28 | 2553034.5488 | 1163147.6905
29 | 2553033.0435 | 1163150.8526
30 | 2553041.0451 | 1163134.2212
31 | 2553018.0269 | 1163193.0719
32 | 2553043.2705 | 1163129.75
33 | 2553050.963 | 1163114.2944
34 | 2553057.2789 | 1163102.5703
35 | 2553108.9707 | 1163048.4505
36 | 2553184.2748 | 1163128.5527
37 | 2552829.4182 | 1163325.4197
38 | 2552836.9167 | 1163333.5329
39 | 2552842.1816 | 1163339.6782
40 | 2552829.1589 | 1163342.1599
41 | 2552855.8777 | 1163355.6643
42 | 2552830.3834 | 1163346.9127
43 | 2552864.4092 | 1163365.6223
44 | 2552831.3652 | 1163349.5924
45 | 2552777.8325 | 1163322.3363
46 | 2552788.2766 | 1163319.6456
47 | 2552793.5844 | 1163332.1199
48 | 2552790.1884 | 1163323.384
49 | 2552795.1366 | 1163334.4917
50 | 2552839.7297 | 1163375.3368
51 | 2552809.969 | 1163396.2945
52 | 2552786.1633 | 1163278.1697

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99528 | -0.033122 | 0.0016084 | 0.00040309
1 | 0.99533 | -0.032727 | 0 | 0
2 | 0.99543 | -0.032043 | 0.0064149 | 0.0016077
3 | 0.99576 | -0.02973 | 0.0052864 | 0.0013249
4 | 0.99598 | -0.028177 | 0.0058887 | 0.0014759
5 | 0.99775 | -0.015773 | 0.0014914 | 0.00037378
6 | 0.99746 | -0.017765 | 0.005619 | 0.0014083
7 | 0.99807 | -0.013532 | 0 | 0
8 | 0.99738 | -0.018368 | 0.0050848 | 0.0012744
9 | 0.99852 | -0.010325 | 0.010305 | 0.0025827
10 | 0.99716 | -0.019892 | 0.013676 | 0.0034276
11 | 0.99877 | -0.0085911 | 0 | 0
12 | 1 | 0 | -0.18366 | -0.045909
13 | 0.99845 | -0.010877 | 0.0025481 | 0.00063861
14 | 0.99699 | -0.021107 | 0 | 0
15 | 0.99686 | -0.021954 | 0.0070191 | 0.0017592
16 | 0.99834 | -0.011627 | 0.0057162 | 0.0014326
17 | 0.99653 | -0.024282 | 0.0059264 | 0.0014853
18 | 0.999 | -0.0070247 | 0 | 0
19 | 0.99727 | -0.019043 | 0.0039049 | 0.00097867
20 | 0.99835 | -0.011585 | 0.0018362 | 0.00046019
21 | 0.99881 | -0.0083297 | 0.013163 | 0.0032989
22 | 0.99628 | -0.026002 | 0.0034247 | 0.00085832
23 | 0.99821 | -0.012531 | 0 | 0
24 | 0.9963 | -0.025913 | 0.0077607 | 0.001945
25 | 0.9909 | -0.064078 | 0.00094305 | 0.00023635
26 | 0.99104 | -0.063041 | 0 | 0
27 | 0.99873 | -0.0088648 | 0.0048658 | 0.0012195
28 | 0.99142 | -0.06033 | 0.0017012 | 0.00042636
29 | 0.99146 | -0.060097 | 0.00033816 | 8.4751e-05
30 | 0.99132 | -0.061067 | 0.00035084 | 8.7928e-05
31 | 0.9919 | -0.056955 | 0.00022999 | 5.7642e-05
32 | 0.99129 | -0.061295 | 0.00026268 | 6.5833e-05
33 | 0.99118 | -0.062038 | 0.00067134 | 0.00016825
34 | 0.99111 | -0.062523 | 0.0020327 | 0.00050944
35 | 0.99101 | -0.063284 | 0 | 0
36 | 0.99092 | -0.063914 | 0.00055843 | 0.00013996
37 | 0.99525 | -0.033263 | 0.0075799 | 0.0018997
38 | 0.99445 | -0.038848 | 0 | 0
39 | 0.99423 | -0.040418 | 0.0076202 | 0.0019098
40 | 0.99394 | -0.042468 | 0.005562 | 0.001394
41 | 0.9941 | -0.041365 | 0.0025553 | 0.00064042
42 | 0.99375 | -0.043794 | 0.0013982 | 0.00035043
43 | 0.99406 | -0.041617 | 0.0018982 | 0.00047574
44 | 0.99365 | -0.044485 | 0.0018996 | 0.00047608
45 | 0.99808 | -0.013449 | 0 | 0
46 | 0.9982 | -0.012615 | 0.001476 | 0.00036991
47 | 0.99778 | -0.015526 | 0.0054504 | 0.001366
48 | 0.99818 | -0.012732 | 0.0027888 | 0.00069894
49 | 0.99777 | -0.015619 | 0.0032717 | 0.00081997
50 | 0.99273 | -0.050978 | 0.013135 | 0.003292
51 | 0.99227 | -0.054263 | 0.0089039 | 0.0022315
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0016084 | -0.00040309 | 0.0016084 | 0.00040281 | 8.7752e-08 | -2.8235e-07 | 0.0024046 | 0.0024045 | 0.0024046 | 0.99528 | -0.033122 | 0.99533 | -0.032727 | 0.8906
1 | -0.0016084 | -0.00040281 | 0.0016086 | 0.00040232 | 1.5191e-07 | -4.8893e-07 | 0.0024045 | 0.0024043 | 0.0024045 | 0.99533 | -0.032727 | 0.99543 | -0.032043 | 0.89055
2 | -0.0080235 | -0.0020101 | 0.0080261 | 0.0020107 | 2.567e-06 | 6.1542e-07 | 0.011994 | 0.011994 | 0.011994 | 0.99543 | -0.032043 | 0.99576 | -0.02973 | 4.4421
3 | -0.013312 | -0.0033356 | 0.013315 | 0.0033365 | 2.8621e-06 | 9.5001e-07 | 0.019893 | 0.019893 | 0.019893 | 0.99576 | -0.02973 | 0.99598 | -0.028177 | 7.3679
4 | -0.019204 | -0.0048124 | 0.01921 | 0.0048145 | 6.0192e-06 | 2.1625e-06 | 0.028691 | 0.028691 | 0.028691 | 0.99598 | -0.028177 | 0.9963 | -0.025913 | 10.6263
5 | 0.024391 | 0.0061142 | -0.024384 | -0.0061117 | 6.726e-06 | 2.4806e-06 | 0.036377 | 0.036377 | 0.036377 | 0.99775 | -0.015773 | 0.99746 | -0.017765 | 13.4729
6 | -0.025883 | -0.006488 | 0.025891 | 0.006491 | 8.0382e-06 | 2.9787e-06 | 0.038601 | 0.038601 | 0.038601 | 0.99775 | -0.015773 | 0.99807 | -0.013532 | 14.2967
7 | 0.018765 | 0.0047035 | -0.018764 | -0.0047029 | 1.567e-06 | 5.6085e-07 | 0.027994 | 0.027994 | 0.027994 | 0.99746 | -0.017765 | 0.99738 | -0.018368 | 10.3683
8 | -0.025891 | -0.006491 | 0.025902 | 0.0064952 | 1.1505e-05 | 4.2631e-06 | 0.038601 | 0.038601 | 0.038601 | 0.99807 | -0.013532 | 0.99852 | -0.010325 | 14.2967
9 | 0.013679 | 0.0034285 | -0.013676 | -0.0034276 | 2.8851e-06 | 9.648e-07 | 0.020408 | 0.020408 | 0.020408 | 0.99738 | -0.018368 | 0.99716 | -0.019892 | 7.5587
10 | -0.036207 | -0.009078 | 0.036216 | 0.0090812 | 8.702e-06 | 3.2842e-06 | 0.053958 | 0.053958 | 0.053958 | 0.99852 | -0.010325 | 0.99877 | -0.0085911 | 19.9844
11 | -0.0536 | -0.013439 | 0.053663 | 0.013463 | 6.3876e-05 | 2.4357e-05 | 0.079857 | 0.079857 | 0.079857 | 0.99877 | -0.0085911 | 1 | 0 | 29.5767
12 | 0.017384 | 0.0043575 | -0.017378 | -0.0043556 | 5.5011e-06 | 1.9439e-06 | 0.025899 | 0.025899 | 0.025899 | 0.99877 | -0.0085911 | 0.99845 | -0.010877 | 9.5923
13 | 0.06383 | 0.016019 | -0.063768 | -0.015995 | 6.2179e-05 | 2.377e-05 | 0.094987 | 0.094987 | 0.094987 | 1 | 0 | 0.999 | -0.0070247 | 35.1805
14 | 0.065371 | 0.016427 | -0.065199 | -0.016361 | 0.00017278 | 6.6072e-05 | 0.097289 | 0.097289 | 0.097289 | 1 | 0 | 0.99727 | -0.019043 | 36.033
15 | 0.01483 | 0.0037169 | -0.014829 | -0.0037165 | 1.4531e-06 | 4.9656e-07 | 0.022102 | 0.022102 | 0.022102 | 0.99845 | -0.010877 | 0.99835 | -0.011585 | 8.1858
16 | 0.039938 | 0.010012 | -0.039933 | -0.01001 | 4.6832e-06 | 1.7737e-06 | 0.059609 | 0.059609 | 0.059609 | 0.99699 | -0.021107 | 0.99686 | -0.021954 | 22.0772
17 | -0.039938 | -0.010012 | 0.03999 | 0.010032 | 5.2511e-05 | 1.9887e-05 | 0.059609 | 0.059608 | 0.059609 | 0.99699 | -0.021107 | 0.99834 | -0.011627 | 22.0772
18 | 0.032914 | 0.0082511 | -0.032903 | -0.0082471 | 1.0609e-05 | 3.9885e-06 | 0.049131 | 0.049131 | 0.049131 | 0.99686 | -0.021954 | 0.99653 | -0.024282 | 18.1967
19 | -0.045706 | -0.011465 | 0.045736 | 0.011476 | 2.9189e-05 | 1.1095e-05 | 0.068128 | 0.068128 | 0.068128 | 0.99834 | -0.011627 | 0.999 | -0.0070247 | 25.2327
20 | 0.026977 | 0.0067618 | -0.026971 | -0.0067595 | 6.0924e-06 | 2.2649e-06 | 0.040282 | 0.040282 | 0.040282 | 0.99653 | -0.024282 | 0.9963 | -0.025913 | 14.9192
21 | 0.018032 | 0.0045195 | -0.018029 | -0.0045183 | 3.2575e-06 | 1.1582e-06 | 0.026859 | 0.026859 | 0.026859 | 0.999 | -0.0070247 | 0.99881 | -0.0083297 | 9.9478
22 | 0.061294 | 0.015382 | -0.061235 | -0.01536 | 5.9148e-05 | 2.2601e-05 | 0.091463 | 0.091463 | 0.091463 | 0.99727 | -0.019043 | 0.99628 | -0.026002 | 33.8751
23 | 0.012992 | 0.0032563 | -0.012991 | -0.0032557 | 1.702e-06 | 5.5954e-07 | 0.019365 | 0.019365 | 0.019365 | 0.99835 | -0.011585 | 0.99821 | -0.012531 | 7.1722
24 | 0.0048662 | 0.0012195 | -0.0048658 | -0.0012195 | 3.6042e-07 | -5.2053e-09 | 0.0072495 | 0.0072496 | 0.0072496 | 0.99881 | -0.0083297 | 0.99873 | -0.0088648 | 2.685
25 | 0.05781 | 0.014501 | -0.057752 | -0.014479 | 5.8147e-05 | 2.2202e-05 | 0.086348 | 0.086348 | 0.086348 | 0.99628 | -0.026002 | 0.99525 | -0.033263 | 31.9806
26 | 0.0087258 | 0.0021869 | -0.0087247 | -0.0021866 | 1.1092e-06 | 2.8929e-07 | 0.013007 | 0.013007 | 0.013007 | 0.99821 | -0.012531 | 0.99808 | -0.013449 | 4.8176
27 | 0.0042649 | 0.0010688 | -0.0042648 | -0.0010688 | 4.9672e-08 | -6.6406e-09 | 0.0063576 | 0.0063576 | 0.0063576 | 0.99821 | -0.012531 | 0.9982 | -0.012615 | 2.3547
28 | -0.00094305 | -0.00023635 | 0.00094319 | 0.00023502 | 1.347e-07 | -1.3354e-06 | 0.0014162 | 0.0014157 | 0.0014162 | 0.9909 | -0.064078 | 0.99104 | -0.063041 | 0.52451
29 | 0.0005585 | 0.00013803 | -0.00055848 | -0.00013856 | 1.8384e-08 | -5.3353e-07 | 0.00083788 | 0.00083807 | 0.00083807 | 0.99104 | -0.063041 | 0.99101 | -0.063284 | 0.3104
30 | -0.0015017 | -0.00037304 | 0.0015018 | 0.00037265 | 1.0574e-07 | -3.8932e-07 | 0.0022536 | 0.0022534 | 0.0022536 | 0.99104 | -0.063041 | 0.99111 | -0.062523 | 0.83465
31 | -0.0065218 | -0.0016303 | 0.006522 | 0.0016303 | 2.0932e-07 | 3.5347e-08 | 0.009787 | 0.009787 | 0.009787 | 0.99142 | -0.06033 | 0.99146 | -0.060097 | 3.6248
32 | 0.0048206 | 0.0012039 | -0.0048201 | -0.001204 | 4.883e-07 | -5.014e-09 | 0.0072337 | 0.0072338 | 0.0072338 | 0.99142 | -0.06033 | 0.99132 | -0.061067 | 2.6792
33 | -0.0068602 | -0.0017151 | 0.0068632 | 0.0017157 | 2.9704e-06 | 5.6293e-07 | 0.010295 | 0.010294 | 0.010295 | 0.99146 | -0.060097 | 0.9919 | -0.056955 | 3.8128
34 | 0.0044693 | 0.001116 | -0.0044692 | -0.001116 | 1.402e-07 | -1.0465e-08 | 0.0067072 | 0.0067072 | 0.0067072 | 0.99132 | -0.061067 | 0.99129 | -0.061295 | 2.4841
35 | -0.0070931 | -0.0017733 | 0.0071093 | 0.0017766 | 1.617e-05 | 3.2571e-06 | 0.010639 | 0.010638 | 0.010639 | 0.9919 | -0.056955 | 0.99423 | -0.040418 | 3.9405
36 | 0.0042065 | 0.0010502 | -0.004206 | -0.0010503 | 4.2933e-07 | -5.7413e-08 | 0.0063129 | 0.006313 | 0.006313 | 0.99129 | -0.061295 | 0.99118 | -0.062038 | 2.3381
37 | 0.0035347 | 0.000882 | -0.0035345 | -0.00088209 | 2.3514e-07 | -8.212e-08 | 0.0053051 | 0.0053052 | 0.0053052 | 0.99118 | -0.062038 | 0.99111 | -0.062523 | 1.9649
38 | 0.00055848 | 0.00013856 | -0.00055843 | -0.00013996 | 4.8213e-08 | -1.3979e-06 | 0.00083807 | 0.00083857 | 0.00083857 | 0.99101 | -0.063284 | 0.99092 | -0.063914 | 0.31058
39 | 0.050172 | 0.012579 | -0.050133 | -0.012565 | 3.8793e-05 | 1.4777e-05 | 0.075015 | 0.075015 | 0.075015 | 0.99525 | -0.033263 | 0.99445 | -0.038848 | 27.7833
40 | 0.019188 | 0.0048038 | -0.019184 | -0.0048023 | 4.1619e-06 | 1.4958e-06 | 0.028709 | 0.028709 | 0.028709 | 0.99445 | -0.038848 | 0.99423 | -0.040418 | 10.6331
41 | 0.030945 | 0.0077607 | -0.03093 | -0.0077549 | 1.5523e-05 | 5.8201e-06 | 0.046306 | 0.046306 | 0.046306 | 0.99445 | -0.038848 | 0.99394 | -0.042468 | 17.1502
42 | 0.0044542 | 0.001116 | -0.0044536 | -0.001116 | 5.8374e-07 | -4.8442e-08 | 0.0066662 | 0.0066663 | 0.0066663 | 0.99423 | -0.040418 | 0.9941 | -0.041365 | 2.469
43 | 0.025368 | 0.0063609 | -0.025363 | -0.0063592 | 4.6586e-06 | 1.7247e-06 | 0.037979 | 0.037979 | 0.037979 | 0.99394 | -0.042468 | 0.99375 | -0.043794 | 14.0662
44 | 0.0018983 | 0.0004756 | -0.0018982 | -0.00047574 | 6.6063e-08 | -1.4459e-07 | 0.0028414 | 0.0028415 | 0.0028415 | 0.9941 | -0.041365 | 0.99406 | -0.041617 | 1.0524
45 | 0.023965 | 0.0060087 | -0.023962 | -0.0060079 | 2.2933e-06 | 8.4507e-07 | 0.035885 | 0.035885 | 0.035885 | 0.99375 | -0.043794 | 0.99365 | -0.044485 | 13.2908
46 | 0.022063 | 0.0055318 | -0.022043 | -0.0055246 | 1.9833e-05 | 7.2514e-06 | 0.03304 | 0.033041 | 0.033041 | 0.99365 | -0.044485 | 0.99273 | -0.050978 | 12.2373
47 | 0.0087247 | 0.0021866 | -0.0087222 | -0.0021859 | 2.5084e-06 | 6.5437e-07 | 0.013007 | 0.013008 | 0.013008 | 0.99808 | -0.013449 | 0.99778 | -0.015526 | 4.8176
48 | 0.0027889 | 0.00069891 | -0.0027888 | -0.00069894 | 4.5285e-08 | -3.747e-08 | 0.0041574 | 0.0041574 | 0.0041574 | 0.9982 | -0.012615 | 0.99818 | -0.012732 | 1.5398
49 | 0.0032718 | 0.00081995 | -0.0032717 | -0.00081997 | 4.2108e-08 | -2.0826e-08 | 0.0048792 | 0.0048793 | 0.0048793 | 0.99778 | -0.015526 | 0.99777 | -0.015619 | 1.8071
50 | 0.008908 | 0.0022326 | -0.0089039 | -0.0022315 | 4.0495e-06 | 1.0871e-06 | 0.013352 | 0.013352 | 0.013352 | 0.99273 | -0.050978 | 0.99227 | -0.054263 | 4.9454

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18366 | 0.045909

## res_load
| p_mw | q_mvar
0 | 0.0016084 | 0.00040309
1 | 0.0064149 | 0.0016077
2 | 0.0052864 | 0.0013249
3 | 0.0058887 | 0.0014759
4 | 0.0014914 | 0.00037378
5 | 0.005619 | 0.0014083
6 | 0.0050848 | 0.0012744
7 | 0.010305 | 0.0025827
8 | 0.013676 | 0.0034276
9 | 0.0025481 | 0.00063861
10 | 0.0070191 | 0.0017592
11 | 0.0057162 | 0.0014326
12 | 0.0059264 | 0.0014853
13 | 0.0039049 | 0.00097867
14 | 0.0018362 | 0.00046019
15 | 0.013163 | 0.0032989
16 | 0.0034247 | 0.00085832
17 | 0.0077607 | 0.001945
18 | 0.00094305 | 0.00023635
19 | 0.0048658 | 0.0012195
20 | 0.0017012 | 0.00042636
21 | 0.00033816 | 8.4751e-05
22 | 0.00035084 | 8.7928e-05
23 | 0.00022999 | 5.7642e-05
24 | 0.00026268 | 6.5833e-05
25 | 0.00067134 | 0.00016825
26 | 0.0020327 | 0.00050944
27 | 0.00055843 | 0.00013996
28 | 0.0075799 | 0.0018997
29 | 0.0076202 | 0.0019098
30 | 0.005562 | 0.001394
31 | 0.0025553 | 0.00064042
32 | 0.0013982 | 0.00035043
33 | 0.0018982 | 0.00047574
34 | 0.0018996 | 0.00047608
35 | 0.001476 | 0.00036991
36 | 0.0054504 | 0.001366
37 | 0.0027888 | 0.00069894
38 | 0.0032717 | 0.00081997
39 | 0.013135 | 0.003292
40 | 0.0089039 | 0.0022315

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1