## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2097-5_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_2097-5_1_3_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_2097-5_1_3_node_96 | 0.4 | n |  | TRUE
3 | bus_LV_2097-5_1_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2097-5_1_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_2097-5_1_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2097-5_1_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2097-5_1_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2097-5_1_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_2097-5_1_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_2097-5_1_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2097-5_1_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2097-5_1_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2097-5_1_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_2097-5_1_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2097-5_1_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2097-5_1_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_2097-5_1_3_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_2097-5_1_3_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_2097-5_1_3_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_2097-5_1_3_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_2097-5_1_3_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_2097-5_1_3_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_2097-5_1_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_2097-5_1_3_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_2097-5_1_3_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_2097-5_1_3_node_90 | 0.4 | n |  | TRUE
27 | bus_LV_2097-5_1_3_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_2097-5_1_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_2097-5_1_3_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_2097-5_1_3_node_88 | 0.4 | n |  | TRUE
31 | bus_MV_366_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2097-5_1_3_load_4 | 0 | 0.00089106 | 0.00022332 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2097-5_1_3_load_5 | 1 | 0.0013432 | 0.00033663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2097-5_1_3_load_96 | 2 | 0.0038224 | 0.00095798 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2097-5_1_3_load_6 | 3 | 0.0010047 | 0.00025181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2097-5_1_3_load_14 | 4 | 0.0021608 | 0.00054154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2097-5_1_3_load_15 | 5 | 0.0020668 | 0.00051799 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2097-5_1_3_load_22 | 7 | 0.0024548 | 0.00061524 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2097-5_1_3_load_23 | 8 | 0.0039867 | 0.00099916 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2097-5_1_3_load_17 | 9 | 0.0022078 | 0.00055333 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2097-5_1_3_load_18 | 10 | 0.0034555 | 0.00086603 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2097-5_1_3_load_19 | 11 | 0.003244 | 0.00081303 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2097-5_1_3_load_20 | 12 | 0.00080353 | 0.00020138 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2097-5_1_3_load_21 | 13 | 0.0024868 | 0.00062326 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2097-5_1_3_load_24 | 15 | 0.0030975 | 0.0007763 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2097-5_1_3_load_26 | 16 | 0.0036766 | 0.00092144 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2097-5_1_3_load_92 | 17 | 0.0056125 | 0.0014066 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2097-5_1_3_load_81 | 20 | 0.0052559 | 0.0013173 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2097-5_1_3_load_77 | 21 | 0.0049126 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2097-5_1_3_load_82 | 22 | 0.0041778 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2097-5_1_3_load_85 | 23 | 0.0016876 | 0.00042296 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2097-5_1_3_load_90 | 26 | 0.0053424 | 0.0013389 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2097-5_1_3_load_86 | 27 | 0.0065957 | 0.0016531 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2097-5_1_3_load_91 | 28 | 0.0048483 | 0.0012151 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2097-5_1_3_load_88 | 30 | 0.0038368 | 0.00096158 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2097-5_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2097-5_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.34609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2097-5_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2097-5_1_3_line_3 | NAYY 4x150 SE | 2 | 18 | 0.045543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2097-5_1_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.021196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2097-5_1_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.017173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2097-5_1_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.032095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2097-5_1_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2097-5_1_3_line_8 | NAYY 4x150 SE | 8 | 15 | 0.021548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2097-5_1_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.027869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2097-5_1_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.045209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2097-5_1_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.014453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2097-5_1_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.012524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2097-5_1_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.010547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2097-5_1_3_line_14 | NAYY 4x150 SE | 14 | 16 | 0.015359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2097-5_1_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.012197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2097-5_1_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.029691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2097-5_1_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.11563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2097-5_1_3_line_18 | NAYY 4x150 SE | 17 | 28 | 0.0055405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2097-5_1_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.020469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2097-5_1_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.023129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2097-5_1_3_line_21 | NAYY 4x150 SE | 20 | 23 | 0.038823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2097-5_1_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2097-5_1_3_line_23 | NAYY 4x150 SE | 23 | 28 | 0.0066611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2097-5_1_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.019607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2097-5_1_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.032558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2097-5_1_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.018171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2097-5_1_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.019531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2097-5_1_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0095513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2097-5_1_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.01615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2097-5_1_3_trafo_26 | 0.25 MVA 20/0.4 kV | 31 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2553455.1705 | 1161309.3093 | 2553457.5993 | 1161299.9188 | 2553457.5954 | 1161299.4192
1 | 2553154.5456 | 1161480.7827 | 2553455.1705 | 1161309.3093
2 | 2553457.2547 | 1161280.2004 | 2553457.4597 | 1161281.9326 | 2553457.5954 | 1161299.4192
3 | 2553109.6155 | 1161474.0524 | 2553123.598 | 1161477.8451 | 2553139.0814 | 1161480.5478 | 2553154.5456 | 1161480.7827
4 | 2552958.7613 | 1161375.3891 | 2552960.9966 | 1161381.8671 | 2552963.893 | 1161395.9145
5 | 2552967.3608 | 1161412.7334 | 2552963.893 | 1161395.9145
6 | 2552967.3608 | 1161412.7334 | 2552935.5713 | 1161417.7742
7 | 2552967.3608 | 1161412.7334 | 2552971.2711 | 1161431.717
8 | 2552985.4271 | 1161441.3487 | 2552973.1358 | 1161440.7695 | 2552971.2711 | 1161431.717
9 | 2553010.4031 | 1161377.8512 | 2553010.1683 | 1161379.2583 | 2553003.894 | 1161404.9461
10 | 2553027.2881 | 1161336.4907 | 2553012.825 | 1161363.3403 | 2553010.4031 | 1161377.8512
11 | 2553003.894 | 1161404.9461 | 2553002.4991 | 1161410.6571 | 2553001.1745 | 1161419.1286
12 | 2552999.2398 | 1161431.5021 | 2553001.1745 | 1161419.1286
13 | 2552997.6104 | 1161441.9228 | 2552999.2398 | 1161431.5021
14 | 2552997.6104 | 1161441.9228 | 2552995.24 | 1161457.098
15 | 2552997.6104 | 1161441.9228 | 2552985.4271 | 1161441.3487
16 | 2552995.24 | 1161457.098 | 2552990.6579 | 1161486.433
17 | 2552995.24 | 1161457.098 | 2553109.6155 | 1161474.0524
18 | 2552989.8028 | 1161491.9072 | 2552990.6579 | 1161486.433
19 | 2552930.2274 | 1161506.207 | 2552950.7554 | 1161506.346
20 | 2552930.2274 | 1161506.207 | 2552931.3643 | 1161509.4998 | 2552935.552 | 1161528.6939
21 | 2552988.7748 | 1161498.4884 | 2552950.7554 | 1161506.346
22 | 2552974.3386 | 1161559.2873 | 2552935.552 | 1161528.6939
23 | 2552989.8028 | 1161491.9072 | 2552988.7748 | 1161498.4884
24 | 2552992.6875 | 1161517.7012 | 2552988.7748 | 1161498.4884 | 2552988.7748 | 1161498.4884
25 | 2552999.1821 | 1161549.6004 | 2552992.6875 | 1161517.7012
26 | 2552999.1821 | 1161549.6004 | 2553017.2895 | 1161548.0799
27 | 2552999.1821 | 1161549.6004 | 2553001.8181 | 1161568.9524
28 | 2553001.9139 | 1161578.4719 | 2553002.1983 | 1161571.7439 | 2553001.8181 | 1161568.9524
29 | 2553001.9139 | 1161578.4719 | 2553018.004 | 1161577.0782

## bus_geodata
| x | y | coords
0 | 2553455.1705 | 1161309.3093
1 | 2553457.5954 | 1161299.4192
2 | 2553154.5456 | 1161480.7827
3 | 2553457.2547 | 1161280.2004
4 | 2552958.7613 | 1161375.3891
5 | 2552963.893 | 1161395.9145
6 | 2552967.3608 | 1161412.7334
7 | 2552935.5713 | 1161417.7742
8 | 2552971.2711 | 1161431.717
9 | 2553010.4031 | 1161377.8512
10 | 2553003.894 | 1161404.9461
11 | 2553027.2881 | 1161336.4907
12 | 2553001.1745 | 1161419.1286
13 | 2552999.2398 | 1161431.5021
14 | 2552997.6104 | 1161441.9228
15 | 2552985.4271 | 1161441.3487
16 | 2552995.24 | 1161457.098
17 | 2552990.6579 | 1161486.433
18 | 2553109.6155 | 1161474.0524
19 | 2552930.2274 | 1161506.207
20 | 2552950.7554 | 1161506.346
21 | 2552935.552 | 1161528.6939
22 | 2552974.3386 | 1161559.2873
23 | 2552988.7748 | 1161498.4884
24 | 2552992.6875 | 1161517.7012
25 | 2552999.1821 | 1161549.6004
26 | 2553017.2895 | 1161548.0799
27 | 2553001.8181 | 1161568.9524
28 | 2552989.8028 | 1161491.9071
29 | 2553001.9139 | 1161578.4719
30 | 2553018.004 | 1161577.0782
31 | 2552997.6104 | 1161441.9228

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99677 | -0.022759 | 0.00089106 | 0.00022332
1 | 0.99674 | -0.023 | 0.0013432 | 0.00033663
2 | 0.99837 | -0.011448 | 0.0038224 | 0.00095798
3 | 0.99671 | -0.023194 | 0.0010047 | 0.00025181
4 | 0.99851 | -0.010449 | 0.0021608 | 0.00054154
5 | 0.99857 | -0.0099908 | 0.0020668 | 0.00051799
6 | 0.99868 | -0.0092638 | 0 | 0
7 | 0.99857 | -0.010053 | 0.0024548 | 0.00061524
8 | 0.99886 | -0.0079664 | 0.0039867 | 0.00099916
9 | 0.99867 | -0.0093 | 0.0022078 | 0.00055333
10 | 0.99889 | -0.0077783 | 0.0034555 | 0.00086603
11 | 0.99846 | -0.010769 | 0.003244 | 0.00081303
12 | 0.99907 | -0.0064897 | 0.00080353 | 0.00020138
13 | 0.99925 | -0.0052727 | 0.0024868 | 0.00062326
14 | 0.99943 | -0.0039859 | 0 | 0
15 | 0.99919 | -0.0056654 | 0.0030975 | 0.0007763
16 | 1 | 0 | -0.076275 | -0.018926
17 | 0.99821 | -0.012556 | 0.0056125 | 0.0014066
18 | 0.99883 | -0.0082121 | 0 | 0
19 | 0.99655 | -0.024183 | 0 | 0
20 | 0.99682 | -0.022312 | 0.0052559 | 0.0013173
21 | 0.99625 | -0.026298 | 0.0049126 | 0.0012312
22 | 0.99595 | -0.028375 | 0.0041778 | 0.001047
23 | 0.99761 | -0.016718 | 0.0016876 | 0.00042296
24 | 0.99717 | -0.019823 | 0 | 0
25 | 0.99643 | -0.024984 | 0 | 0
26 | 0.9963 | -0.02596 | 0.0053424 | 0.0013389
27 | 0.99614 | -0.027034 | 0.0065957 | 0.0016531
28 | 0.99791 | -0.014592 | 0.0048483 | 0.0012151
29 | 0.99609 | -0.027403 | 0 | 0
30 | 0.996 | -0.028026 | 0.0038368 | 0.00096158
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.002348 | 0.0005881 | -0.0023479 | -0.0005882 | 7.8189e-08 | -1.0287e-07 | 0.0035051 | 0.0035051 | 0.0035051 | 0.99677 | -0.022759 | 0.99674 | -0.023 | 1.2982
1 | -0.0032391 | -0.00081142 | 0.0032441 | 0.00080884 | 5.0475e-06 | -2.5771e-06 | 0.0048353 | 0.0048337 | 0.0048353 | 0.99677 | -0.022759 | 0.99837 | -0.011448 | 1.7908
2 | 0.0010048 | 0.00025157 | -0.0010047 | -0.00025181 | 2.6999e-08 | -2.4027e-07 | 0.0014999 | 0.0015 | 0.0015 | 0.99674 | -0.023 | 0.99671 | -0.023194 | 0.55555
3 | -0.0070665 | -0.0017668 | 0.0070697 | 0.0017674 | 3.1515e-06 | 6.1628e-07 | 0.010531 | 0.010531 | 0.010531 | 0.99837 | -0.011448 | 0.99883 | -0.0082121 | 3.9003
4 | -0.0021608 | -0.00054154 | 0.0021609 | 0.00054132 | 1.3713e-07 | -2.2452e-07 | 0.0032201 | 0.00322 | 0.0032201 | 0.99851 | -0.010449 | 0.99857 | -0.0099908 | 1.1926
5 | -0.0042277 | -0.0010593 | 0.0042282 | 0.0010593 | 4.2528e-07 | -6.1106e-08 | 0.0062998 | 0.0062997 | 0.0062998 | 0.99857 | -0.0099908 | 0.99868 | -0.0092638 | 2.3333
6 | 0.0024551 | 0.00061492 | -0.0024548 | -0.00061524 | 2.6798e-07 | -3.1683e-07 | 0.0036579 | 0.0036581 | 0.0036581 | 0.99868 | -0.0092638 | 0.99857 | -0.010053 | 1.3548
7 | -0.0066833 | -0.0016742 | 0.0066845 | 0.0016744 | 1.1992e-06 | 2.0758e-07 | 0.0099577 | 0.0099576 | 0.0099577 | 0.99868 | -0.0092638 | 0.99886 | -0.0079664 | 3.688
8 | -0.010671 | -0.0026735 | 0.010675 | 0.0026746 | 3.3977e-06 | 1.0247e-06 | 0.015897 | 0.015896 | 0.015897 | 0.99886 | -0.0079664 | 0.99919 | -0.0056654 | 5.8876
9 | -0.0054525 | -0.001366 | 0.0054536 | 0.0013661 | 1.1477e-06 | 7.6705e-08 | 0.008124 | 0.0081239 | 0.008124 | 0.99867 | -0.0093 | 0.99889 | -0.0077783 | 3.0089
10 | 0.0032447 | 0.00081269 | -0.003244 | -0.00081303 | 6.5934e-07 | -3.3782e-07 | 0.0048344 | 0.0048346 | 0.0048346 | 0.99867 | -0.0093 | 0.99846 | -0.010769 | 1.7906
11 | -0.0089091 | -0.0022321 | 0.0089107 | 0.0022325 | 1.5885e-06 | 4.2173e-07 | 0.013271 | 0.013271 | 0.013271 | 0.99889 | -0.0077783 | 0.99907 | -0.0064897 | 4.9153
12 | -0.0097142 | -0.0024339 | 0.0097159 | 0.0024344 | 1.6358e-06 | 4.6514e-07 | 0.014468 | 0.014468 | 0.014468 | 0.99907 | -0.0064897 | 0.99925 | -0.0052727 | 5.3586
13 | -0.012203 | -0.0030577 | 0.012205 | 0.0030583 | 2.1732e-06 | 6.9766e-07 | 0.018171 | 0.018171 | 0.018171 | 0.99925 | -0.0052727 | 0.99943 | -0.0039859 | 6.7301
14 | -0.02598 | -0.0065103 | 0.025994 | 0.0065156 | 1.434e-05 | 5.3138e-06 | 0.03868 | 0.03868 | 0.03868 | 0.99943 | -0.0039859 | 1 | 0 | 14.3261
15 | 0.013775 | 0.0034519 | -0.013772 | -0.0034509 | 3.2013e-06 | 1.0715e-06 | 0.020509 | 0.020509 | 0.020509 | 0.99943 | -0.0039859 | 0.99919 | -0.0056654 | 7.596
16 | 0.042403 | 0.010641 | -0.042329 | -0.010613 | 7.3769e-05 | 2.7984e-05 | 0.063101 | 0.063101 | 0.063101 | 1 | 0 | 0.99821 | -0.012556 | 23.3707
17 | 0.0070777 | 0.001769 | -0.0070697 | -0.0017674 | 8.0004e-06 | 1.5619e-06 | 0.01053 | 0.010531 | 0.010531 | 1 | 0 | 0.99883 | -0.0082121 | 3.9002
18 | 0.036716 | 0.0092066 | -0.036706 | -0.0092027 | 1.0358e-05 | 3.9113e-06 | 0.054735 | 0.054735 | 0.054735 | 0.99821 | -0.012556 | 0.99791 | -0.014592 | 20.2721
19 | -0.0090942 | -0.0022788 | 0.0090965 | 0.0022794 | 2.3551e-06 | 6.3906e-07 | 0.013579 | 0.013579 | 0.013579 | 0.99655 | -0.024183 | 0.99682 | -0.022312 | 5.0293
20 | 0.0090942 | 0.0022788 | -0.0090915 | -0.0022781 | 2.6612e-06 | 7.223e-07 | 0.013579 | 0.013579 | 0.013579 | 0.99655 | -0.024183 | 0.99625 | -0.026298 | 5.0293
21 | -0.014352 | -0.0035967 | 0.014364 | 0.0036005 | 1.112e-05 | 3.7704e-06 | 0.021425 | 0.021425 | 0.021425 | 0.99682 | -0.022312 | 0.99761 | -0.016718 | 7.9351
22 | 0.004179 | 0.0010469 | -0.0041778 | -0.001047 | 1.2009e-06 | -1.8115e-07 | 0.0062416 | 0.0062418 | 0.0062418 | 0.99625 | -0.026298 | 0.99595 | -0.028375 | 2.3118
23 | -0.031848 | -0.007984 | 0.031858 | 0.0079876 | 9.3801e-06 | 3.5207e-06 | 0.047505 | 0.047505 | 0.047505 | 0.99761 | -0.016718 | 0.99791 | -0.014592 | 17.5945
24 | 0.015797 | 0.0039606 | -0.01579 | -0.0039583 | 6.7931e-06 | 2.3569e-06 | 0.023563 | 0.023563 | 0.023563 | 0.99761 | -0.016718 | 0.99717 | -0.019823 | 8.7272
25 | 0.01579 | 0.0039583 | -0.015779 | -0.0039544 | 1.128e-05 | 3.9141e-06 | 0.023563 | 0.023563 | 0.023563 | 0.99717 | -0.019823 | 0.99643 | -0.024984 | 8.7272
26 | 0.0053431 | 0.001339 | -0.0053424 | -0.0013389 | 7.2189e-07 | 4.0988e-08 | 0.007979 | 0.0079791 | 0.0079791 | 0.99643 | -0.024984 | 0.9963 | -0.02596 | 2.9552
27 | 0.010436 | 0.0026154 | -0.010433 | -0.0026145 | 2.96e-06 | 8.8412e-07 | 0.015584 | 0.015585 | 0.015585 | 0.99643 | -0.024984 | 0.99614 | -0.027034 | 5.772
28 | 0.0038373 | 0.00096145 | -0.0038371 | -0.0009615 | 1.9582e-07 | -4.902e-08 | 0.0057319 | 0.005732 | 0.005732 | 0.99614 | -0.027034 | 0.99609 | -0.027403 | 2.123
29 | 0.0038371 | 0.0009615 | -0.0038368 | -0.00096158 | 3.3112e-07 | -8.2856e-08 | 0.005732 | 0.0057321 | 0.0057321 | 0.99609 | -0.027403 | 0.996 | -0.028026 | 2.123

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.079951 | 0.019847

## res_load
| p_mw | q_mvar
0 | 0.00089106 | 0.00022332
1 | 0.0013432 | 0.00033663
2 | 0.0038224 | 0.00095798
3 | 0.0010047 | 0.00025181
4 | 0.0021608 | 0.00054154
5 | 0.0020668 | 0.00051799
6 | 0.0024548 | 0.00061524
7 | 0.0039867 | 0.00099916
8 | 0.0022078 | 0.00055333
9 | 0.0034555 | 0.00086603
10 | 0.003244 | 0.00081303
11 | 0.00080353 | 0.00020138
12 | 0.0024868 | 0.00062326
13 | 0.0030975 | 0.0007763
14 | 0.0036766 | 0.00092144
15 | 0.0056125 | 0.0014066
16 | 0.0052559 | 0.0013173
17 | 0.0049126 | 0.0012312
18 | 0.0041778 | 0.001047
19 | 0.0016876 | 0.00042296
20 | 0.0053424 | 0.0013389
21 | 0.0065957 | 0.0016531
22 | 0.0048483 | 0.0012151
23 | 0.0038368 | 0.00096158

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1