## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2097-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2097-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2097-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2097-7_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2097-7_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2097-7_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_2097-7_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2097-7_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2097-7_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2097-7_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2097-7_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2097-7_0_3_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_2097-7_0_3_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_2097-7_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_2097-7_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2097-7_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2097-7_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2097-7_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2097-7_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2097-7_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2097-7_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2097-7_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2097-7_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2097-7_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2097-7_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2097-7_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_2097-7_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2097-7_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2097-7_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2097-7_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2097-7_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_2097-7_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2097-7_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2097-7_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2097-7_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_2097-7_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_2097-7_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2097-7_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2097-7_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2097-7_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2097-7_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2097-7_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2097-7_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2097-7_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2097-7_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2097-7_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2097-7_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2097-7_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_2097-7_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2097-7_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2097-7_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_2097-7_0_3_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_2097-7_0_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_2097-7_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2097-7_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2097-7_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2097-7_0_3_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_2097-7_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2097-7_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_2097-7_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_2097-7_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_2097-7_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_2097-7_0_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_2097-7_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_2097-7_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2097-7_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2097-7_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_2097-7_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2097-7_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_2097-7_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2097-7_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_2097-7_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2097-7_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_2097-7_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_2097-7_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_MV_366_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2097-7_0_3_load_0 | 0 | 0.0016434 | 0.00041188 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2097-7_0_3_load_1 | 1 | 0.00029969 | 7.511e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2097-7_0_3_load_4 | 3 | 0.00068626 | 0.00017199 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2097-7_0_3_load_3 | 4 | 0.0013203 | 0.00033089 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2097-7_0_3_load_17 | 5 | 0.0043737 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2097-7_0_3_load_15 | 6 | 0.0012621 | 0.00031632 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2097-7_0_3_load_5 | 7 | 0.0031785 | 0.0007966 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2097-7_0_3_load_6 | 8 | 0.0012797 | 0.00032073 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2097-7_0_3_load_7 | 9 | 0.0031127 | 0.00078013 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2097-7_0_3_load_8 | 10 | 0.0004577 | 0.00011471 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2097-7_0_3_load_55 | 12 | 0.0022981 | 0.00057597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2097-7_0_3_load_53 | 13 | 0.0032744 | 0.00082065 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2097-7_0_3_load_9 | 14 | 0.0015807 | 0.00039615 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2097-7_0_3_load_11 | 16 | 0.003418 | 0.00085663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2097-7_0_3_load_20 | 17 | 0.0010186 | 0.00025529 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2097-7_0_3_load_21 | 18 | 0.0051567 | 0.0012924 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2097-7_0_3_load_12 | 19 | 0.0029486 | 0.00073899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2097-7_0_3_load_13 | 20 | 0.0003436 | 8.6114e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2097-7_0_3_load_14 | 21 | 0.00063206 | 0.00015841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2097-7_0_3_load_18 | 23 | 0.0033074 | 0.00082891 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2097-7_0_3_load_74 | 25 | 0.0036343 | 0.00091085 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2097-7_0_3_load_26 | 27 | 0.0027071 | 0.00067846 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2097-7_0_3_load_23 | 28 | 0.0052508 | 0.001316 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2097-7_0_3_load_22 | 29 | 0.0022978 | 0.00057589 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2097-7_0_3_load_40 | 30 | 0.0027672 | 0.00069352 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2097-7_0_3_load_41 | 31 | 0.0034247 | 0.0008583 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2097-7_0_3_load_24 | 32 | 0.0023073 | 0.00057826 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2097-7_0_3_load_27 | 33 | 0.0008623 | 0.00021611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2097-7_0_3_load_28 | 34 | 0.0031356 | 0.00078587 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2097-7_0_3_load_29 | 35 | 0.0028766 | 0.00072094 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2097-7_0_3_load_30 | 36 | 0.00085109 | 0.0002133 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2097-7_0_3_load_31 | 39 | 0.0027915 | 0.00069962 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2097-7_0_3_load_32 | 40 | 0.001418 | 0.00035538 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2097-7_0_3_load_38 | 41 | 0.0047486 | 0.0011901 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2097-7_0_3_load_42 | 42 | 0.0033774 | 0.00084646 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2097-7_0_3_load_36 | 43 | 0.00080397 | 0.00020149 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2097-7_0_3_load_35 | 44 | 0.0028374 | 0.00071113 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2097-7_0_3_load_37 | 45 | 0.0028428 | 0.00071248 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2097-7_0_3_load_39 | 46 | 0.0015773 | 0.00039531 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2097-7_0_3_load_44 | 48 | 0.0024477 | 0.00061346 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2097-7_0_3_load_45 | 49 | 0.0014036 | 0.00035177 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2097-7_0_3_load_50 | 50 | 0.0023762 | 0.00059553 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2097-7_0_3_load_73 | 51 | 0.001362 | 0.00034135 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2097-7_0_3_load_65 | 52 | 0.013715 | 0.0034373 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2097-7_0_3_load_48 | 53 | 0.0015506 | 0.00038862 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2097-7_0_3_load_46 | 54 | 0.0041789 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2097-7_0_3_load_47 | 55 | 0.0053368 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2097-7_0_3_load_64 | 56 | 0.001318 | 0.00033032 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2097-7_0_3_load_51 | 59 | 0.0015484 | 0.00038807 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2097-7_0_3_load_52 | 60 | 0.0003048 | 7.6391e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2097-7_0_3_load_66 | 62 | 0.0010085 | 0.00025277 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2097-7_0_3_load_56 | 64 | 0.0015295 | 0.00038334 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2097-7_0_3_load_57 | 65 | 0.00059851 | 0.00015 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2097-7_0_3_load_72 | 66 | 0.0012064 | 0.00030235 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2097-7_0_3_load_59 | 67 | 0.0035659 | 0.00089371 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2097-7_0_3_load_58 | 68 | 0.0035731 | 0.00089551 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2097-7_0_3_load_63 | 70 | 0.00072228 | 0.00018102 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2097-7_0_3_load_67 | 72 | 0.00076743 | 0.00019234 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2097-7_0_3_load_68 | 73 | 0.00060938 | 0.00015273 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2097-7_0_3_load_70 | 74 | 0.0021844 | 0.00054746 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2097-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2097-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2097-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.057387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2097-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.092307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2097-7_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.038091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2097-7_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0024692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2097-7_0_3_line_6 | NAYY 4x150 SE | 6 | 22 | 0.034393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2097-7_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.02478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2097-7_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.35968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2097-7_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.022175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2097-7_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.027729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2097-7_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.013834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2097-7_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.005983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2097-7_0_3_line_13 | NAYY 4x150 SE | 12 | 64 | 0.025576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2097-7_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.035623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2097-7_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.10115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2097-7_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.060133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2097-7_0_3_line_17 | NAYY 4x150 SE | 16 | 19 | 0.0060437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2097-7_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0011744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2097-7_0_3_line_19 | NAYY 4x150 SE | 18 | 29 | 0.036174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2097-7_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.028206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2097-7_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0092293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2097-7_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.020461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2097-7_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.042877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2097-7_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.024873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2097-7_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.012501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2097-7_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.015278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2097-7_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.018811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2097-7_0_3_line_28 | NAYY 4x150 SE | 27 | 33 | 0.014098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2097-7_0_3_line_29 | NAYY 4x150 SE | 28 | 32 | 0.0010334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2097-7_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.027552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2097-7_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.018976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2097-7_0_3_line_32 | NAYY 4x150 SE | 31 | 42 | 0.030005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2097-7_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.017668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2097-7_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.010967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2097-7_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.012567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2097-7_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.021181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_2097-7_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.024516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2097-7_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.031523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_2097-7_0_3_line_39 | NAYY 4x150 SE | 38 | 41 | 0.0065423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2097-7_0_3_line_40 | NAYY 4x150 SE | 38 | 42 | 0.032709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_2097-7_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.028675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_2097-7_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.006002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_2097-7_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.011571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_2097-7_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0092432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_2097-7_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.03076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_2097-7_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.029056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_2097-7_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.028321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_2097-7_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.054602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2097-7_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.040891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_2097-7_0_3_line_50 | NAYY 4x150 SE | 50 | 53 | 0.02534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_2097-7_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.11096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2097-7_0_3_line_52 | NAYY 4x150 SE | 52 | 57 | 6.0549e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2097-7_0_3_line_53 | NAYY 4x150 SE | 53 | 58 | 0.025571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_2097-7_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.023525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2097-7_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.02585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2097-7_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.021738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2097-7_0_3_line_57 | NAYY 4x150 SE | 57 | 67 | 0.024594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2097-7_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.018415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2097-7_0_3_line_59 | NAYY 4x150 SE | 58 | 60 | 0.050105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_2097-7_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.0083841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_2097-7_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.022501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2097-7_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.011117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2097-7_0_3_line_63 | NAYY 4x150 SE | 62 | 72 | 0.0081998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2097-7_0_3_line_64 | NAYY 4x150 SE | 63 | 70 | 0.040806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2097-7_0_3_line_65 | NAYY 4x150 SE | 63 | 67 | 0.030422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2097-7_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.006927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2097-7_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.058059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2097-7_0_3_line_68 | NAYY 4x150 SE | 65 | 68 | 0.06826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2097-7_0_3_line_69 | NAYY 4x150 SE | 66 | 69 | 0.040156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2097-7_0_3_line_70 | NAYY 4x150 SE | 69 | 73 | 0.0052808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2097-7_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0097545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2097-7_0_3_line_72 | NAYY 4x150 SE | 71 | 74 | 0.034131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2097-7_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.014143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2097-7_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 75 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2553211.8258 | 1160716.6319 | 2553210.194 | 1160721.195 | 2553207.1791 | 1160729.0702
1 | 2553218.4367 | 1160687.4242 | 2553216.5145 | 1160699.3787 | 2553214.7987 | 1160708.319 | 2553211.8258 | 1160716.6319
2 | 2553207.1791 | 1160729.0702 | 2553188.1867 | 1160783.2231
3 | 2553218.4367 | 1160687.4242 | 2553220.835 | 1160595.1481
4 | 2553188.1867 | 1160783.2231 | 2553187.8511 | 1160784.4134 | 2553185.8202 | 1160797.1582 | 2553183.558 | 1160821.0003
5 | 2552750.2989 | 1160826.5533 | 2552747.9312 | 1160827.2538
6 | 2552733.464 | 1160853.8779 | 2552735.0028 | 1160847.8627 | 2552735.1523 | 1160836.6778 | 2552737.2377 | 1160831.9589 | 2552740.88 | 1160829.34 | 2552747.9312 | 1160827.2538
7 | 2553183.558 | 1160821.0003 | 2553182.9384 | 1160827.5299 | 2553178.2111 | 1160840.3958 | 2553175.538 | 1160844.0331
8 | 2552915.5369 | 1161092.5611 | 2553175.538 | 1160844.0331
9 | 2552903.714 | 1161111.3218 | 2552915.5369 | 1161092.5611
10 | 2552888.9303 | 1161134.7806 | 2552903.714 | 1161111.3218
11 | 2552888.9303 | 1161134.7806 | 2552899.4459 | 1161143.7691
12 | 2552888.9303 | 1161134.7806 | 2552884.9459 | 1161139.2439
13 | 2552899.4459 | 1161143.7691 | 2552907.7843 | 1161150.8966 | 2552919.506 | 1161159.6123
14 | 2552642.909 | 1160811.0026 | 2552632.7729 | 1160788.96 | 2552630.3644 | 1160777.8562
15 | 2552630.3644 | 1160777.8562 | 2552631.5847 | 1160676.7131
16 | 2552673.3435 | 1160862.8649 | 2552642.909 | 1160811.0026
17 | 2552631.5847 | 1160676.7131 | 2552631.328 | 1160670.6748
18 | 2552673.3435 | 1160862.8649 | 2552674.0092 | 1160863.8324
19 | 2552674.0092 | 1160863.8324 | 2552694.5157 | 1160893.6326
20 | 2552630.13 | 1160642.4943 | 2552631.328 | 1160670.6748
21 | 2552630.13 | 1160642.4943 | 2552629.8096 | 1160634.9581 | 2552629.5192 | 1160633.297
22 | 2552733.464 | 1160853.8779 | 2552714.0444 | 1160860.4899
23 | 2552745.1195 | 1160893.7626 | 2552744.5606 | 1160892.8554 | 2552740.0075 | 1160883.9422 | 2552736.0482 | 1160875.5023 | 2552731.6797 | 1160860.829 | 2552733.464 | 1160853.8779
24 | 2552745.1195 | 1160893.7626 | 2552766.1873 | 1160880.4454
25 | 2552751.6175 | 1160904.4504 | 2552745.1195 | 1160893.7626
26 | 2552751.6175 | 1160904.4504 | 2552759.6171 | 1160917.4671
27 | 2552751.6175 | 1160904.4504 | 2552735.8669 | 1160914.7355
28 | 2552759.6171 | 1160917.4671 | 2552760.1096 | 1160918.2686 | 2552767.4019 | 1160929.2207
29 | 2552735.8669 | 1160914.7355 | 2552735.0017 | 1160915.3005
30 | 2552694.5157 | 1160893.6326 | 2552710.1345 | 1160916.3298
31 | 2552710.1345 | 1160916.3298 | 2552720.8916 | 1160931.9622
32 | 2552720.8916 | 1160931.9622 | 2552722.9689 | 1160934.9809 | 2552731.4712 | 1160948.1542 | 2552736.2134 | 1160956.7658 | 2552736.5856 | 1160957.5085
33 | 2552767.4019 | 1160929.2207 | 2552769.3066 | 1160932.0812 | 2552775.3004 | 1160942.9731 | 2552776.1642 | 1160944.5516
34 | 2552776.1642 | 1160944.5516 | 2552781.429 | 1160954.1728
35 | 2552784.8017 | 1160966.1699 | 2552784.4211 | 1160962.6783 | 2552782.4843 | 1160956.1012 | 2552781.429 | 1160954.1728
36 | 2552773.3592 | 1160981.5864 | 2552778.7743 | 1160979.3093 | 2552782.1713 | 1160976.6923 | 2552783.5684 | 1160974.091 | 2552784.9332 | 1160967.3768 | 2552784.8017 | 1160966.1699
37 | 2552749.5056 | 1160987.5217 | 2552763.3419 | 1160984.2555 | 2552773.3592 | 1160981.5864
38 | 2552773.3592 | 1160981.5864 | 2552789.7514 | 1160979.8121 | 2552800.2426 | 1160977.9619 | 2552804.6073 | 1160977.5718 | 2552804.6073 | 1160977.5718
39 | 2552749.5056 | 1160987.5217 | 2552750.9818 | 1160993.8953
40 | 2552749.5056 | 1160987.5217 | 2552746.8409 | 1160979.9943 | 2552743.7634 | 1160972.5813 | 2552739.7869 | 1160963.897 | 2552736.5856 | 1160957.5085
41 | 2552804.6073 | 1160977.5718 | 2552806.9748 | 1160978.4981 | 2552810.2998 | 1160980.3618 | 2552811.9805 | 1160984.5842 | 2552816.6967 | 1161001.7232
42 | 2552750.9818 | 1160993.8953 | 2552752.3362 | 1160999.7426
43 | 2552754.5644 | 1161011.0923 | 2552753.456 | 1161004.5773 | 2552752.3362 | 1160999.7426
44 | 2552754.5644 | 1161011.0923 | 2552755.5129 | 1161016.6675 | 2552756.0492 | 1161020.2151
45 | 2552756.0492 | 1161020.2151 | 2552757.445 | 1161029.4479 | 2552760.1165 | 1161050.7031
46 | 2552763.2497 | 1161079.584 | 2552762.2356 | 1161067.5635 | 2552760.1165 | 1161050.7031
47 | 2552763.2497 | 1161079.584 | 2552740.8999 | 1161090.5769 | 2552740.7893 | 1161094.0462
48 | 2552740.7893 | 1161094.0462 | 2552769.0191 | 1161140.784
49 | 2552805.0853 | 1161160.0527 | 2552769.0191 | 1161140.784
50 | 2552805.0853 | 1161160.0527 | 2552814.0444 | 1161180.7042 | 2552815.4116 | 1161183.1809
51 | 2552803.8683 | 1161289.7686 | 2552705.1932 | 1161340.5115
52 | 2552803.8683 | 1161289.7686 | 2552803.868 | 1161289.708
53 | 2552831.0098 | 1161203.1715 | 2552827.3904 | 1161199.8982 | 2552824.704 | 1161197.3847 | 2552821.8178 | 1161193.8166 | 2552818.071 | 1161187.9985 | 2552815.4116 | 1161183.1809
54 | 2552796.8475 | 1161218.9454 | 2552799.1659 | 1161242.3563
55 | 2552801.7133 | 1161268.0809 | 2552799.1659 | 1161242.3563
56 | 2552803.868 | 1161289.708 | 2552803.5646 | 1161285.2303 | 2552802.7704 | 1161278.7554 | 2552801.7133 | 1161268.0809
57 | 2552803.868 | 1161289.708 | 2552807.2231 | 1161287.625 | 2552817.2321 | 1161282.9883 | 2552826.126 | 1161279.3366
58 | 2552831.0098 | 1161203.1715 | 2552831.77 | 1161200.4529 | 2552832.8972 | 1161197.6204 | 2552835.4508 | 1161193.9762 | 2552840.9701 | 1161188.0556
59 | 2552831.0098 | 1161203.1715 | 2552830.8164 | 1161205.8522 | 2552830.9402 | 1161208.9306 | 2552831.793 | 1161212.1367 | 2552847.6711 | 1161249.9576
60 | 2552850.9166 | 1161257.6881 | 2552847.6711 | 1161249.9576
61 | 2552850.9166 | 1161257.6881 | 2552854.7618 | 1161255.5679 | 2552870.614 | 1161246.8105
62 | 2552854.4399 | 1161268.2326 | 2552850.9166 | 1161257.6881
63 | 2552870.614 | 1161246.8105 | 2552877.7914 | 1161242.8455
64 | 2552854.4399 | 1161268.2326 | 2552857.0569 | 1161273.626 | 2552860.3751 | 1161278.5469 | 2552863.445 | 1161282.0913 | 2552875.3476 | 1161294.1597 | 2552879.9297 | 1161299.7604
65 | 2552854.4399 | 1161268.2326 | 2552845.6371 | 1161271.3256 | 2552826.126 | 1161279.3366
66 | 2552919.506 | 1161159.6123 | 2552925.0648 | 1161163.7456 | 2552925.0648 | 1161163.7456
67 | 2552919.506 | 1161159.6123 | 2552875.9329 | 1161197.9825
68 | 2552925.0648 | 1161163.7456 | 2552986.5105 | 1161193.4756
69 | 2552894.7932 | 1161233.453 | 2552875.9329 | 1161197.9825
70 | 2552894.7932 | 1161233.453 | 2552890.1709 | 1161236.0066
71 | 2552885.7514 | 1161307.5851 | 2552880.7788 | 1161300.7984 | 2552879.9297 | 1161299.7604
72 | 2552885.7514 | 1161307.5851 | 2552898.3861 | 1161303.5949 | 2552912.7483 | 1161301.0253 | 2552918.6092 | 1161298.7394
73 | 2552877.7914 | 1161242.8455 | 2552890.1709 | 1161236.0066

## bus_geodata
| x | y | coords
0 | 2553211.8258 | 1160716.6319
1 | 2553207.1791 | 1160729.0702
2 | 2553218.4367 | 1160687.4242
3 | 2553188.1867 | 1160783.2231
4 | 2553220.835 | 1160595.1481
5 | 2552750.2989 | 1160826.5533
6 | 2552747.9312 | 1160827.2538
7 | 2553183.558 | 1160821.0003
8 | 2553175.538 | 1160844.0331
9 | 2552915.5369 | 1161092.5611
10 | 2552903.714 | 1161111.3218
11 | 2552888.9303 | 1161134.7806
12 | 2552899.4459 | 1161143.7691
13 | 2552884.9459 | 1161139.2439
14 | 2552630.3644 | 1160777.8562
15 | 2552642.909 | 1160811.0026
16 | 2552631.5847 | 1160676.7131
17 | 2552673.3435 | 1160862.8649
18 | 2552674.0092 | 1160863.8324
19 | 2552631.328 | 1160670.6748
20 | 2552630.13 | 1160642.4943
21 | 2552629.5192 | 1160633.297
22 | 2552733.464 | 1160853.8779
23 | 2552714.0444 | 1160860.4899
24 | 2552745.1195 | 1160893.7626
25 | 2552766.1873 | 1160880.4454
26 | 2552751.6175 | 1160904.4504
27 | 2552759.6171 | 1160917.4671
28 | 2552735.8669 | 1160914.7355
29 | 2552694.5157 | 1160893.6326
30 | 2552710.1345 | 1160916.3298
31 | 2552720.8916 | 1160931.9622
32 | 2552735.0017 | 1160915.3005
33 | 2552767.4019 | 1160929.2207
34 | 2552776.1642 | 1160944.5516
35 | 2552781.429 | 1160954.1728
36 | 2552784.8017 | 1160966.1699
37 | 2552773.3592 | 1160981.5864
38 | 2552749.5056 | 1160987.5217
39 | 2552804.6073 | 1160977.5718
40 | 2552816.6967 | 1161001.7232
41 | 2552750.9818 | 1160993.8953
42 | 2552736.5856 | 1160957.5085
43 | 2552752.3362 | 1160999.7426
44 | 2552754.5644 | 1161011.0923
45 | 2552756.0492 | 1161020.2151
46 | 2552760.1165 | 1161050.7031
47 | 2552763.2497 | 1161079.584
48 | 2552740.7893 | 1161094.0462
49 | 2552769.0191 | 1161140.784
50 | 2552805.0853 | 1161160.0527
51 | 2552705.1932 | 1161340.5115
52 | 2552803.8683 | 1161289.7686
53 | 2552815.4116 | 1161183.1809
54 | 2552796.8475 | 1161218.9454
55 | 2552799.1659 | 1161242.3563
56 | 2552801.7133 | 1161268.0809
57 | 2552803.868 | 1161289.708
58 | 2552831.0098 | 1161203.1715
59 | 2552840.9701 | 1161188.0556
60 | 2552847.6711 | 1161249.9576
61 | 2552850.9166 | 1161257.6881
62 | 2552870.614 | 1161246.8105
63 | 2552854.4399 | 1161268.2326
64 | 2552919.506 | 1161159.6123
65 | 2552925.0648 | 1161163.7456
66 | 2552875.933 | 1161197.9825
67 | 2552826.126 | 1161279.3366
68 | 2552986.5105 | 1161193.4756
69 | 2552894.7932 | 1161233.453
70 | 2552879.9297 | 1161299.7604
71 | 2552885.7514 | 1161307.5851
72 | 2552877.7914 | 1161242.8455
73 | 2552890.1709 | 1161236.0066
74 | 2552918.6092 | 1161298.7394
75 | 2552817.0843 | 1161003.1316

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97168 | -0.2003 | 0.0016434 | 0.00041188
1 | 0.97174 | -0.19989 | 0.00029969 | 7.511e-05
2 | 0.97163 | -0.20073 | 0 | 0
3 | 0.97202 | -0.1979 | 0.00068626 | 0.00017199
4 | 0.97145 | -0.20202 | 0.0013203 | 0.00033089
5 | 0.99193 | -0.056481 | 0.0043737 | 0.0010961
6 | 0.99194 | -0.056371 | 0.0012621 | 0.00031632
7 | 0.97224 | -0.1963 | 0.0031785 | 0.0007966
8 | 0.9725 | -0.19443 | 0.0012797 | 0.00032073
9 | 0.97693 | -0.16251 | 0.0031127 | 0.00078013
10 | 0.9773 | -0.15983 | 0.0004577 | 0.00011471
11 | 0.97779 | -0.15634 | 0 | 0
12 | 0.9781 | -0.15413 | 0.0022981 | 0.00057597
13 | 0.97776 | -0.15654 | 0.0032744 | 0.00082065
14 | 0.99044 | -0.066939 | 0.0015807 | 0.00039615
15 | 0.99089 | -0.063701 | 0 | 0
16 | 0.98937 | -0.074513 | 0.003418 | 0.00085663
17 | 0.99167 | -0.058239 | 0.0010186 | 0.00025529
18 | 0.99168 | -0.05812 | 0.0051567 | 0.0012924
19 | 0.98933 | -0.074755 | 0.0029486 | 0.00073899
20 | 0.98929 | -0.075036 | 0.0003436 | 8.6114e-05
21 | 0.98928 | -0.075095 | 0.00063206 | 0.00015841
22 | 0.99222 | -0.054405 | 0 | 0
23 | 0.99212 | -0.055091 | 0.0033074 | 0.00082891
24 | 0.99277 | -0.050516 | 0 | 0
25 | 0.99264 | -0.051432 | 0.0036343 | 0.00091085
26 | 0.993 | -0.048923 | 0 | 0
27 | 0.99344 | -0.045808 | 0.0027071 | 0.00067846
28 | 0.99279 | -0.050363 | 0.0052508 | 0.001316
29 | 0.99247 | -0.052573 | 0.0022978 | 0.00057589
30 | 0.99316 | -0.047712 | 0.0027672 | 0.00069352
31 | 0.99371 | -0.043837 | 0.0034247 | 0.0008583
32 | 0.99279 | -0.050387 | 0.0023073 | 0.00057826
33 | 0.9939 | -0.042551 | 0.0008623 | 0.00021611
34 | 0.9945 | -0.038318 | 0.0031356 | 0.00078587
35 | 0.99493 | -0.035347 | 0.0028766 | 0.00072094
36 | 0.99546 | -0.031581 | 0.00085109 | 0.0002133
37 | 0.99593 | -0.028319 | 0 | 0
38 | 0.99464 | -0.037285 | 0 | 0
39 | 0.99804 | -0.013601 | 0.0027915 | 0.00069962
40 | 1 | 0 | -0.14464 | -0.036254
41 | 0.99438 | -0.039087 | 0.0047486 | 0.0011901
42 | 0.99422 | -0.040257 | 0.0033774 | 0.00084646
43 | 0.99416 | -0.040645 | 0.00080397 | 0.00020149
44 | 0.99373 | -0.043619 | 0.0028374 | 0.00071113
45 | 0.99341 | -0.045908 | 0.0028428 | 0.00071248
46 | 0.99236 | -0.05324 | 0.0015773 | 0.00039531
47 | 0.99139 | -0.060025 | 0 | 0
48 | 0.99044 | -0.066649 | 0.0024477 | 0.00061346
49 | 0.98868 | -0.079 | 0.0014036 | 0.00035177
50 | 0.98739 | -0.088081 | 0.0023762 | 0.00059553
51 | 0.98109 | -0.13285 | 0.001362 | 0.00034135
52 | 0.98131 | -0.13128 | 0.013715 | 0.0034373
53 | 0.98662 | -0.093513 | 0.0015506 | 0.00038862
54 | 0.98046 | -0.13728 | 0.0041789 | 0.0010473
55 | 0.98061 | -0.13626 | 0.0053368 | 0.0013375
56 | 0.98096 | -0.13371 | 0.001318 | 0.00033032
57 | 0.98131 | -0.13127 | 0 | 0
58 | 0.98587 | -0.098867 | 0 | 0
59 | 0.98583 | -0.09916 | 0.0015484 | 0.00038807
60 | 0.98442 | -0.10911 | 0.0003048 | 7.6391e-05
61 | 0.98406 | -0.11168 | 0 | 0
62 | 0.98318 | -0.11793 | 0.0010085 | 0.00025277
63 | 0.98353 | -0.11539 | 0 | 0
64 | 0.97875 | -0.14943 | 0.0015295 | 0.00038334
65 | 0.97871 | -0.14973 | 0.00059851 | 0.00015
66 | 0.98073 | -0.13535 | 0.0012064 | 0.00030235
67 | 0.98223 | -0.12466 | 0.0035659 | 0.00089371
68 | 0.97836 | -0.15228 | 0.0035731 | 0.00089551
69 | 0.98216 | -0.12514 | 0 | 0
70 | 0.98336 | -0.11662 | 0.00072228 | 0.00018102
71 | 0.98333 | -0.11684 | 0 | 0
72 | 0.98287 | -0.12012 | 0.00076743 | 0.00019234
73 | 0.98235 | -0.1238 | 0.00060938 | 0.00015273
74 | 0.98322 | -0.11761 | 0.0021844 | 0.00054746
75 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.002964 | -0.00074137 | 0.0029641 | 0.00074127 | 1.7067e-07 | -9.885e-08 | 0.0045384 | 0.0045384 | 0.0045384 | 0.97168 | -0.2003 | 0.97174 | -0.19989 | 1.6809
1 | 0.0013206 | 0.00032949 | -0.0013205 | -0.00032983 | 7.6625e-08 | -3.4261e-07 | 0.0020218 | 0.0020219 | 0.0020219 | 0.97168 | -0.2003 | 0.97163 | -0.20073 | 0.74885
2 | -0.0032638 | -0.00081638 | 0.0032647 | 0.00081601 | 8.9422e-07 | -3.672e-07 | 0.0049973 | 0.004997 | 0.0049973 | 0.97174 | -0.19989 | 0.97202 | -0.1979 | 1.8508
3 | 0.0013205 | 0.00032983 | -0.0013203 | -0.00033089 | 2.3552e-07 | -1.0525e-06 | 0.0020219 | 0.0020223 | 0.0020223 | 0.97163 | -0.20073 | 0.97145 | -0.20202 | 0.749
4 | -0.003951 | -0.000988 | 0.0039519 | 0.00098787 | 8.6929e-07 | -1.3792e-07 | 0.0060476 | 0.0060474 | 0.0060476 | 0.97202 | -0.1979 | 0.97224 | -0.1963 | 2.2398
5 | -0.0043737 | -0.0010961 | 0.0043737 | 0.0010961 | 6.6326e-08 | -6.3634e-09 | 0.0065611 | 0.006561 | 0.0065611 | 0.99193 | -0.056481 | 0.99194 | -0.056371 | 2.43
6 | -0.0056359 | -0.0014125 | 0.0056374 | 0.0014126 | 1.534e-06 | 1.4589e-07 | 0.0084544 | 0.0084542 | 0.0084544 | 0.99194 | -0.056371 | 0.99222 | -0.054405 | 3.1313
7 | -0.0071303 | -0.0017845 | 0.0071322 | 0.0017849 | 1.8412e-06 | 4.0077e-07 | 0.010912 | 0.010912 | 0.010912 | 0.97224 | -0.1963 | 0.9725 | -0.19443 | 4.0415
8 | -0.0084119 | -0.0021056 | 0.0084491 | 0.0021154 | 3.7171e-05 | 9.8134e-06 | 0.01287 | 0.012868 | 0.01287 | 0.9725 | -0.19443 | 0.97693 | -0.16251 | 4.7667
9 | -0.011562 | -0.0028955 | 0.011566 | 0.0028969 | 4.291e-06 | 1.3726e-06 | 0.01761 | 0.01761 | 0.01761 | 0.97693 | -0.16251 | 0.9773 | -0.15983 | 6.5221
10 | -0.012024 | -0.0030116 | 0.01203 | 0.0030135 | 5.7985e-06 | 1.8826e-06 | 0.018306 | 0.018306 | 0.018306 | 0.9773 | -0.15983 | 0.97779 | -0.15634 | 6.7802
11 | -0.015304 | -0.0038341 | 0.015309 | 0.0038357 | 4.6821e-06 | 1.6272e-06 | 0.02329 | 0.023289 | 0.02329 | 0.97779 | -0.15634 | 0.9781 | -0.15413 | 8.6258
12 | 0.0032745 | 0.00082061 | -0.0032744 | -0.00082065 | 9.2709e-08 | -3.9385e-08 | 0.0049832 | 0.0049832 | 0.0049832 | 0.97779 | -0.15634 | 0.97776 | -0.15654 | 1.8456
13 | -0.017607 | -0.0044117 | 0.017618 | 0.0044158 | 1.1451e-05 | 4.0829e-06 | 0.026786 | 0.026786 | 0.026786 | 0.9781 | -0.15413 | 0.97875 | -0.14943 | 9.9206
14 | -0.0089308 | -0.0022375 | 0.0089348 | 0.0022385 | 4.0016e-06 | 1.0804e-06 | 0.013417 | 0.013417 | 0.013417 | 0.99044 | -0.066939 | 0.99089 | -0.063701 | 4.9693
15 | 0.0073501 | 0.0018413 | -0.0073424 | -0.0018396 | 7.6966e-06 | 1.6599e-06 | 0.011042 | 0.011043 | 0.011043 | 0.99044 | -0.066939 | 0.98937 | -0.074513 | 4.0899
16 | -0.0089348 | -0.0022385 | 0.0089415 | 0.0022404 | 6.7546e-06 | 1.8227e-06 | 0.013417 | 0.013417 | 0.013417 | 0.99089 | -0.063701 | 0.99167 | -0.058239 | 4.9693
17 | 0.0039244 | 0.00098302 | -0.0039243 | -0.00098305 | 1.3138e-07 | -2.708e-08 | 0.0059022 | 0.0059022 | 0.0059022 | 0.98937 | -0.074513 | 0.98933 | -0.074755 | 2.186
18 | -0.0099601 | -0.0024957 | 0.0099603 | 0.0024957 | 1.6369e-07 | 4.7805e-08 | 0.014945 | 0.014945 | 0.014945 | 0.99167 | -0.058239 | 0.99168 | -0.05812 | 5.5353
19 | -0.015117 | -0.0037881 | 0.015129 | 0.0037921 | 1.1614e-05 | 3.9997e-06 | 0.022683 | 0.022683 | 0.022683 | 0.99168 | -0.05812 | 0.99247 | -0.052573 | 8.401
20 | 0.0009757 | 0.00024406 | -0.00097567 | -0.00024441 | 3.7899e-08 | -3.476e-07 | 0.0014674 | 0.0014675 | 0.0014675 | 0.98933 | -0.074755 | 0.98929 | -0.075036 | 0.54351
21 | 0.00063207 | 0.00015829 | -0.00063206 | -0.00015841 | 5.2051e-09 | -1.165e-07 | 0.00095067 | 0.00095071 | 0.00095071 | 0.98929 | -0.075036 | 0.98928 | -0.075095 | 0.35211
22 | 0.0033077 | 0.00082877 | -0.0033074 | -0.00082891 | 3.1417e-07 | -1.4341e-07 | 0.0049604 | 0.0049605 | 0.0049605 | 0.99222 | -0.054405 | 0.99212 | -0.055091 | 1.8372
23 | -0.0089451 | -0.0022414 | 0.0089499 | 0.0022427 | 4.8146e-06 | 1.2977e-06 | 0.013415 | 0.013414 | 0.013415 | 0.99222 | -0.054405 | 0.99277 | -0.050516 | 4.9684
24 | 0.0036348 | 0.00091071 | -0.0036343 | -0.00091085 | 4.6067e-07 | -1.4439e-07 | 0.0054479 | 0.0054481 | 0.0054481 | 0.99277 | -0.050516 | 0.99264 | -0.051432 | 2.0178
25 | -0.012585 | -0.0031534 | 0.012588 | 0.0031543 | 2.7754e-06 | 9.0578e-07 | 0.018862 | 0.018862 | 0.018862 | 0.99277 | -0.050516 | 0.993 | -0.048923 | 6.9861
26 | -0.020147 | -0.0050488 | 0.020156 | 0.005052 | 8.6896e-06 | 3.1444e-06 | 0.03019 | 0.03019 | 0.03019 | 0.993 | -0.048923 | 0.99344 | -0.045808 | 11.1817
27 | 0.0075596 | 0.0018946 | -0.0075581 | -0.0018942 | 1.5063e-06 | 3.3606e-07 | 0.011328 | 0.011328 | 0.011328 | 0.993 | -0.048923 | 0.99279 | -0.050363 | 4.1956
28 | -0.022863 | -0.0057304 | 0.022873 | 0.0057342 | 1.0317e-05 | 3.7855e-06 | 0.034245 | 0.034245 | 0.034245 | 0.99344 | -0.045808 | 0.9939 | -0.042551 | 12.6834
29 | 0.0023073 | 0.00057825 | -0.0023073 | -0.00057826 | 7.7114e-09 | -1.0396e-08 | 0.0034582 | 0.0034582 | 0.0034582 | 0.99279 | -0.050363 | 0.99279 | -0.050387 | 1.2808
30 | -0.017426 | -0.004368 | 0.017438 | 0.0043721 | 1.1737e-05 | 4.1578e-06 | 0.026128 | 0.026128 | 0.026128 | 0.99247 | -0.052573 | 0.99316 | -0.047712 | 9.677
31 | -0.020205 | -0.0050657 | 0.020216 | 0.0050696 | 1.0852e-05 | 3.9282e-06 | 0.030274 | 0.030274 | 0.030274 | 0.99316 | -0.047712 | 0.99371 | -0.043837 | 11.2125
32 | -0.023641 | -0.0059279 | 0.023653 | 0.0059316 | 1.1733e-05 | 3.7347e-06 | 0.035402 | 0.035401 | 0.035402 | 0.99371 | -0.043837 | 0.99422 | -0.040257 | 6.5559
33 | -0.023735 | -0.0059503 | 0.023749 | 0.0059555 | 1.3922e-05 | 5.1257e-06 | 0.035536 | 0.035536 | 0.035536 | 0.9939 | -0.042551 | 0.9945 | -0.038318 | 13.1615
34 | -0.026885 | -0.0067413 | 0.026896 | 0.0067455 | 1.1075e-05 | 4.1172e-06 | 0.040228 | 0.040228 | 0.040228 | 0.9945 | -0.038318 | 0.99493 | -0.035347 | 14.8991
35 | -0.029773 | -0.0074664 | 0.029788 | 0.0074722 | 1.5549e-05 | 5.8173e-06 | 0.04453 | 0.04453 | 0.04453 | 0.99493 | -0.035347 | 0.99546 | -0.031581 | 16.4925
36 | -0.030639 | -0.0076855 | 0.030653 | 0.0076903 | 1.3863e-05 | 4.781e-06 | 0.045802 | 0.045802 | 0.045802 | 0.99546 | -0.031581 | 0.99593 | -0.028319 | 8.4819
37 | 0.10983 | 0.02765 | -0.10969 | -0.027598 | 0.00013738 | 5.1884e-05 | 0.16414 | 0.16414 | 0.16414 | 0.99593 | -0.028319 | 0.99464 | -0.037285 | 20.264
38 | -0.14048 | -0.03534 | 0.14077 | 0.03545 | 0.00028899 | 0.00010992 | 0.20994 | 0.20994 | 0.20994 | 0.99593 | -0.028319 | 0.99804 | -0.013601 | 25.9185
39 | 0.082649 | 0.020817 | -0.082629 | -0.020809 | 2.0817e-05 | 7.7518e-06 | 0.12368 | 0.12368 | 0.12368 | 0.99464 | -0.037285 | 0.99438 | -0.039087 | 15.2695
40 | 0.027041 | 0.0067811 | -0.02703 | -0.0067781 | 1.1135e-05 | 3.0097e-06 | 0.040456 | 0.040456 | 0.040456 | 0.99464 | -0.037285 | 0.99422 | -0.040257 | 4.9946
41 | -0.14356 | -0.03615 | 0.14384 | 0.036254 | 0.0002734 | 0.00010403 | 0.2141 | 0.2141 | 0.2141 | 0.99804 | -0.013601 | 1 | 0 | 26.4323
42 | 0.07788 | 0.019619 | -0.077863 | -0.019613 | 1.6966e-05 | 6.292e-06 | 0.11658 | 0.11658 | 0.11658 | 0.99438 | -0.039087 | 0.99416 | -0.040645 | 14.3922
43 | 0.077059 | 0.019411 | -0.077027 | -0.019399 | 3.2038e-05 | 1.1872e-05 | 0.11537 | 0.11537 | 0.11537 | 0.99416 | -0.040645 | 0.99373 | -0.043619 | 14.2437
44 | 0.07419 | 0.018688 | -0.074166 | -0.018679 | 2.3742e-05 | 8.7722e-06 | 0.11112 | 0.11113 | 0.11113 | 0.99373 | -0.043619 | 0.99341 | -0.045908 | 13.7191
45 | 0.071323 | 0.017967 | -0.07125 | -0.01794 | 7.307e-05 | 2.691e-05 | 0.10687 | 0.10687 | 0.10687 | 0.99341 | -0.045908 | 0.99236 | -0.05324 | 13.1935
46 | 0.069673 | 0.017545 | -0.069607 | -0.01752 | 6.6002e-05 | 2.426e-05 | 0.1045 | 0.1045 | 0.1045 | 0.99236 | -0.05324 | 0.99139 | -0.060025 | 12.9015
47 | 0.069607 | 0.01752 | -0.069542 | -0.017497 | 6.4332e-05 | 2.3649e-05 | 0.1045 | 0.1045 | 0.1045 | 0.99139 | -0.060025 | 0.99044 | -0.066649 | 12.9016
48 | 0.067095 | 0.016883 | -0.066979 | -0.016841 | 0.00011545 | 4.2301e-05 | 0.10083 | 0.10083 | 0.10083 | 0.99044 | -0.066649 | 0.98868 | -0.079 | 12.4477
49 | 0.065576 | 0.016489 | -0.065493 | -0.016459 | 8.2879e-05 | 3.0306e-05 | 0.098714 | 0.098714 | 0.098714 | 0.98868 | -0.079 | 0.98739 | -0.088081 | 12.1869
50 | 0.063116 | 0.015863 | -0.063069 | -0.015846 | 4.7702e-05 | 1.7375e-05 | 0.095133 | 0.095134 | 0.095134 | 0.98739 | -0.088081 | 0.98662 | -0.093513 | 11.7449
51 | -0.001362 | -0.00034135 | 0.0013623 | 0.00034006 | 2.9538e-07 | -1.2878e-06 | 0.0020657 | 0.0020652 | 0.0020657 | 0.98109 | -0.13285 | 0.98131 | -0.13128 | 0.76509
52 | -0.015077 | -0.0037774 | 0.015077 | 0.0037774 | 1.975e-08 | 6.8307e-09 | 0.022862 | 0.022862 | 0.022862 | 0.98131 | -0.13128 | 0.98131 | -0.13127 | 8.4676
53 | 0.061518 | 0.015457 | -0.061472 | -0.015441 | 4.58e-05 | 1.6636e-05 | 0.092795 | 0.092795 | 0.092795 | 0.98662 | -0.093513 | 0.98587 | -0.098867 | 11.4562
54 | -0.0041789 | -0.0010473 | 0.0041795 | 0.0010473 | 5.9045e-07 | -6.9642e-08 | 0.0063421 | 0.006342 | 0.0063421 | 0.98046 | -0.13728 | 0.98061 | -0.13626 | 2.3489
55 | -0.0095163 | -0.0023848 | 0.0095197 | 0.0023858 | 3.3636e-06 | 9.6747e-07 | 0.01444 | 0.01444 | 0.01444 | 0.98061 | -0.13626 | 0.98096 | -0.13371 | 5.3483
56 | -0.010838 | -0.0027161 | 0.010841 | 0.0027172 | 3.6659e-06 | 1.1354e-06 | 0.01644 | 0.016439 | 0.01644 | 0.98096 | -0.13371 | 0.98131 | -0.13127 | 6.0887
57 | -0.025919 | -0.0064946 | 0.025942 | 0.0065034 | 2.3705e-05 | 8.8064e-06 | 0.039302 | 0.039302 | 0.039302 | 0.98131 | -0.13127 | 0.98223 | -0.12466 | 14.5562
58 | 0.0015485 | 0.00038786 | -0.0015484 | -0.00038807 | 6.277e-08 | -2.1066e-07 | 0.0023371 | 0.0023372 | 0.0023372 | 0.98587 | -0.098867 | 0.98583 | -0.09916 | 0.86564
59 | 0.059924 | 0.015053 | -0.059839 | -0.015022 | 8.5279e-05 | 3.0886e-05 | 0.090458 | 0.090459 | 0.090459 | 0.98587 | -0.098867 | 0.98442 | -0.10911 | 11.1678
60 | 0.059534 | 0.014946 | -0.059513 | -0.014938 | 2.1188e-05 | 7.936e-06 | 0.089998 | 0.089998 | 0.089998 | 0.98442 | -0.10911 | 0.98406 | -0.11168 | 16.6663
61 | 0.027042 | 0.0067923 | -0.027019 | -0.0067835 | 2.3483e-05 | 8.7464e-06 | 0.040896 | 0.040896 | 0.040896 | 0.98406 | -0.11168 | 0.98318 | -0.11793 | 15.1467
62 | 0.032471 | 0.0081453 | -0.032454 | -0.0081391 | 1.6725e-05 | 6.2916e-06 | 0.049102 | 0.049102 | 0.049102 | 0.98406 | -0.11168 | 0.98353 | -0.11539 | 18.186
63 | 0.02601 | 0.0065307 | -0.026002 | -0.0065278 | 7.9308e-06 | 2.9463e-06 | 0.03937 | 0.03937 | 0.03937 | 0.98318 | -0.11793 | 0.98287 | -0.12012 | 14.5814
64 | 0.0029075 | 0.00072771 | -0.002907 | -0.00072804 | 4.9263e-07 | -3.283e-07 | 0.0043984 | 0.0043986 | 0.0043986 | 0.98353 | -0.11539 | 0.98336 | -0.11662 | 1.6291
65 | 0.029546 | 0.0074113 | -0.029508 | -0.0073971 | 3.7937e-05 | 1.4206e-05 | 0.044704 | 0.044704 | 0.044704 | 0.98353 | -0.11539 | 0.98223 | -0.12466 | 16.557
66 | 0.0041731 | 0.0010451 | -0.0041729 | -0.0010451 | 1.7397e-07 | -2.0142e-08 | 0.0063441 | 0.0063441 | 0.0063441 | 0.97875 | -0.14943 | 0.97871 | -0.14973 | 2.3497
67 | -0.023321 | -0.0058442 | 0.023367 | 0.005861 | 4.5542e-05 | 1.6785e-05 | 0.035455 | 0.035455 | 0.035455 | 0.97875 | -0.14943 | 0.98073 | -0.13535 | 13.1315
68 | 0.0035744 | 0.00089513 | -0.0035731 | -0.00089551 | 1.2579e-06 | -3.7369e-07 | 0.0054342 | 0.0054345 | 0.0054345 | 0.97871 | -0.14973 | 0.97836 | -0.15228 | 2.0128
69 | -0.024573 | -0.0061634 | 0.024608 | 0.0061763 | 3.4834e-05 | 1.289e-05 | 0.037285 | 0.037285 | 0.037285 | 0.98073 | -0.13535 | 0.98216 | -0.12514 | 13.8093
70 | -0.024608 | -0.0061763 | 0.024612 | 0.006178 | 4.5809e-06 | 1.695e-06 | 0.037285 | 0.037285 | 0.037285 | 0.98216 | -0.12514 | 0.98235 | -0.1238 | 13.8093
71 | 0.0021847 | 0.00054702 | -0.0021846 | -0.00054711 | 6.6514e-08 | -9.8164e-08 | 0.0033057 | 0.0033057 | 0.0033057 | 0.98336 | -0.11662 | 0.98333 | -0.11684 | 1.2243
72 | 0.0021846 | 0.00054711 | -0.0021844 | -0.00054746 | 2.3275e-07 | -3.4341e-07 | 0.0033057 | 0.0033059 | 0.0033059 | 0.98333 | -0.11684 | 0.98322 | -0.11761 | 1.2244
73 | 0.025235 | 0.0063355 | -0.025222 | -0.0063307 | 1.2883e-05 | 4.776e-06 | 0.038208 | 0.038208 | 0.038208 | 0.98287 | -0.12012 | 0.98235 | -0.1238 | 14.1511

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14605 | 0.036609

## res_load
| p_mw | q_mvar
0 | 0.0016434 | 0.00041188
1 | 0.00029969 | 7.511e-05
2 | 0.00068626 | 0.00017199
3 | 0.0013203 | 0.00033089
4 | 0.0043737 | 0.0010961
5 | 0.0012621 | 0.00031632
6 | 0.0031785 | 0.0007966
7 | 0.0012797 | 0.00032073
8 | 0.0031127 | 0.00078013
9 | 0.0004577 | 0.00011471
10 | 0.0022981 | 0.00057597
11 | 0.0032744 | 0.00082065
12 | 0.0015807 | 0.00039615
13 | 0.003418 | 0.00085663
14 | 0.0010186 | 0.00025529
15 | 0.0051567 | 0.0012924
16 | 0.0029486 | 0.00073899
17 | 0.0003436 | 8.6114e-05
18 | 0.00063206 | 0.00015841
19 | 0.0033074 | 0.00082891
20 | 0.0036343 | 0.00091085
21 | 0.0027071 | 0.00067846
22 | 0.0052508 | 0.001316
23 | 0.0022978 | 0.00057589
24 | 0.0027672 | 0.00069352
25 | 0.0034247 | 0.0008583
26 | 0.0023073 | 0.00057826
27 | 0.0008623 | 0.00021611
28 | 0.0031356 | 0.00078587
29 | 0.0028766 | 0.00072094
30 | 0.00085109 | 0.0002133
31 | 0.0027915 | 0.00069962
32 | 0.001418 | 0.00035538
33 | 0.0047486 | 0.0011901
34 | 0.0033774 | 0.00084646
35 | 0.00080397 | 0.00020149
36 | 0.0028374 | 0.00071113
37 | 0.0028428 | 0.00071248
38 | 0.0015773 | 0.00039531
39 | 0.0024477 | 0.00061346
40 | 0.0014036 | 0.00035177
41 | 0.0023762 | 0.00059553
42 | 0.001362 | 0.00034135
43 | 0.013715 | 0.0034373
44 | 0.0015506 | 0.00038862
45 | 0.0041789 | 0.0010473
46 | 0.0053368 | 0.0013375
47 | 0.001318 | 0.00033032
48 | 0.0015484 | 0.00038807
49 | 0.0003048 | 7.6391e-05
50 | 0.0010085 | 0.00025277
51 | 0.0015295 | 0.00038334
52 | 0.00059851 | 0.00015
53 | 0.0012064 | 0.00030235
54 | 0.0035659 | 0.00089371
55 | 0.0035731 | 0.00089551
56 | 0.00072228 | 0.00018102
57 | 0.00076743 | 0.00019234
58 | 0.00060938 | 0.00015273
59 | 0.0021844 | 0.00054746

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1