## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2099-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2099-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2099-6_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2099-6_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2099-6_0_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2099-6_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2099-6_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2099-6_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2099-6_0_2_node_173 | 0.4 | n |  | TRUE
9 | bus_LV_2099-6_0_2_node_174 | 0.4 | n |  | TRUE
10 | bus_LV_2099-6_0_2_node_172 | 0.4 | n |  | TRUE
11 | bus_LV_2099-6_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2099-6_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2099-6_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2099-6_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2099-6_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2099-6_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2099-6_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2099-6_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2099-6_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2099-6_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2099-6_0_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_2099-6_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2099-6_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2099-6_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2099-6_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2099-6_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2099-6_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2099-6_0_2_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_2099-6_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2099-6_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_2099-6_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2099-6_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2099-6_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2099-6_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2099-6_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2099-6_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2099-6_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2099-6_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2099-6_0_2_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_2099-6_0_2_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_2099-6_0_2_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_2099-6_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2099-6_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2099-6_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2099-6_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2099-6_0_2_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_2099-6_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2099-6_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2099-6_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2099-6_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2099-6_0_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2099-6_0_2_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2099-6_0_2_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_2099-6_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2099-6_0_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2099-6_0_2_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2099-6_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2099-6_0_2_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2099-6_0_2_node_155 | 0.4 | n |  | TRUE
60 | bus_LV_2099-6_0_2_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2099-6_0_2_node_163 | 0.4 | n |  | TRUE
62 | bus_LV_2099-6_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2099-6_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2099-6_0_2_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2099-6_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_2099-6_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2099-6_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2099-6_0_2_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_2099-6_0_2_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_2099-6_0_2_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2099-6_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_2099-6_0_2_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2099-6_0_2_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_2099-6_0_2_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_2099-6_0_2_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_2099-6_0_2_node_168 | 0.4 | n |  | TRUE
77 | bus_LV_2099-6_0_2_node_159 | 0.4 | n |  | TRUE
78 | bus_LV_2099-6_0_2_node_160 | 0.4 | n |  | TRUE
79 | bus_LV_2099-6_0_2_node_161 | 0.4 | n |  | TRUE
80 | bus_LV_2099-6_0_2_node_162 | 0.4 | n |  | TRUE
81 | bus_LV_2099-6_0_2_node_166 | 0.4 | n |  | TRUE
82 | bus_LV_2099-6_0_2_node_164 | 0.4 | n |  | TRUE
83 | bus_LV_2099-6_0_2_node_165 | 0.4 | n |  | TRUE
84 | bus_LV_2099-6_0_2_node_167 | 0.4 | n |  | TRUE
85 | bus_LV_2099-6_0_2_node_169 | 0.4 | n |  | TRUE
86 | bus_LV_2099-6_0_2_node_170 | 0.4 | n |  | TRUE
87 | bus_LV_2099-6_0_2_node_171 | 0.4 | n |  | TRUE
88 | bus_MV_33_0_node_212 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2099-6_0_2_load_0 | 0 | 0.00071359 | 0.00017884 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2099-6_0_2_load_1 | 1 | 0.00020643 | 5.1735e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2099-6_0_2_load_3 | 2 | 0.0014631 | 0.00036669 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2099-6_0_2_load_2 | 3 | 0.00035851 | 8.9851e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2099-6_0_2_load_7 | 4 | 0.00030062 | 7.5343e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2099-6_0_2_load_173 | 8 | 0.00073877 | 0.00018515 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2099-6_0_2_load_174 | 9 | 0.0012482 | 0.00031282 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2099-6_0_2_load_172 | 10 | 0.0029569 | 0.00074107 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2099-6_0_2_load_10 | 11 | 0.00098132 | 0.00024594 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2099-6_0_2_load_11 | 12 | 0.0012582 | 0.00031533 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2099-6_0_2_load_12 | 13 | 0.0010859 | 0.00027216 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2099-6_0_2_load_14 | 14 | 0.0017674 | 0.00044294 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2099-6_0_2_load_15 | 15 | 0.00034107 | 8.5481e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2099-6_0_2_load_16 | 16 | 0.0014339 | 0.00035937 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2099-6_0_2_load_17 | 18 | 0.0010275 | 0.00025752 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2099-6_0_2_load_18 | 19 | 0.0014819 | 0.00037139 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2099-6_0_2_load_20 | 20 | 0.00084072 | 0.00021071 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2099-6_0_2_load_21 | 22 | 0.00062938 | 0.00015774 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2099-6_0_2_load_22 | 23 | 0.0018182 | 0.00045569 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2099-6_0_2_load_23 | 24 | 0.0013138 | 0.00032926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2099-6_0_2_load_26 | 26 | 0.0010999 | 0.00027566 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2099-6_0_2_load_27 | 29 | 0.0015979 | 0.00040047 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2099-6_0_2_load_29 | 30 | 0.0003491 | 8.7493e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2099-6_0_2_load_30 | 32 | 0.00091067 | 0.00022824 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2099-6_0_2_load_33 | 35 | 0.0018284 | 0.00045824 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2099-6_0_2_load_34 | 36 | 0.00020857 | 5.2272e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2099-6_0_2_load_35 | 37 | 0.0030742 | 0.00077047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2099-6_0_2_load_36 | 38 | 0.0021345 | 0.00053496 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2099-6_0_2_load_43 | 40 | 0.00035712 | 8.9502e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2099-6_0_2_load_53 | 41 | 0.0020429 | 0.000512 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2099-6_0_2_load_37 | 42 | 0.00057206 | 0.00014337 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2099-6_0_2_load_40 | 45 | 0.00075671 | 0.00018965 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2099-6_0_2_load_67 | 46 | 0.00162 | 0.00040601 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2099-6_0_2_load_44 | 49 | 0.0027521 | 0.00068973 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2099-6_0_2_load_46 | 50 | 0.00054692 | 0.00013707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2099-6_0_2_load_48 | 51 | 0.0088151 | 0.0022093 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2099-6_0_2_load_49 | 52 | 0.002407 | 0.00060326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2099-6_0_2_load_61 | 53 | 0.0017517 | 0.00043901 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2099-6_0_2_load_50 | 54 | 0.0026356 | 0.00066055 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2099-6_0_2_load_51 | 55 | 0.00050898 | 0.00012756 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2099-6_0_2_load_55 | 58 | 0.00049791 | 0.00012479 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2099-6_0_2_load_155 | 59 | 0.0008362 | 0.00020957 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2099-6_0_2_load_57 | 60 | 0.00039211 | 9.8271e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2099-6_0_2_load_163 | 61 | 0.00053327 | 0.00013365 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2099-6_0_2_load_56 | 62 | 0.0017276 | 0.00043298 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2099-6_0_2_load_59 | 64 | 0.0020024 | 0.00050184 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2099-6_0_2_load_60 | 65 | 0.0019404 | 0.00048631 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2099-6_0_2_load_62 | 66 | 0.0024747 | 0.00062021 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2099-6_0_2_load_63 | 67 | 0.00092339 | 0.00023142 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2099-6_0_2_load_64 | 68 | 0.0041456 | 0.001039 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2099-6_0_2_load_70 | 70 | 0.0032636 | 0.00081792 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2099-6_0_2_load_69 | 72 | 0.0011894 | 0.00029809 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2099-6_0_2_load_73 | 73 | 0.00084652 | 0.00021216 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2099-6_0_2_load_71 | 74 | 0.0036437 | 0.00091319 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2099-6_0_2_load_72 | 75 | 0.0014218 | 0.00035633 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2099-6_0_2_load_168 | 76 | 0.0015708 | 0.00039369 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2099-6_0_2_load_159 | 77 | 0.0012169 | 0.00030499 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2099-6_0_2_load_160 | 78 | 0.0019366 | 0.00048535 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2099-6_0_2_load_161 | 79 | 0.0011181 | 0.00028022 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2099-6_0_2_load_162 | 80 | 0.0010093 | 0.00025295 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2099-6_0_2_load_166 | 81 | 0.0011488 | 0.00028791 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2099-6_0_2_load_164 | 82 | 0.000863 | 0.00021629 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2099-6_0_2_load_165 | 83 | 0.00086282 | 0.00021624 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2099-6_0_2_load_169 | 85 | 0.0012076 | 0.00030265 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2099-6_0_2_load_170 | 86 | 0.0013266 | 0.00033249 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2099-6_0_2_load_171 | 87 | 0.0010983 | 0.00027526 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2099-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2099-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.31955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2099-6_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0047879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2099-6_0_2_line_3 | NAYY 4x150 SE | 2 | 5 | 0.043656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2099-6_0_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.04382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2099-6_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.042091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2099-6_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.058191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2099-6_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.050188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2099-6_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2099-6_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.040386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2099-6_0_2_line_10 | NAYY 4x150 SE | 9 | 74 | 0.38289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2099-6_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0026212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2099-6_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.015292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2099-6_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.044011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2099-6_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.014153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2099-6_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.022398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2099-6_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.027658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2099-6_0_2_line_17 | NAYY 4x150 SE | 17 | 20 | 0.056991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2099-6_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.021306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2099-6_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.041525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2099-6_0_2_line_20 | NAYY 4x150 SE | 20 | 21 | 0.058429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2099-6_0_2_line_21 | NAYY 4x150 SE | 21 | 27 | 0.026762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2099-6_0_2_line_22 | NAYY 4x150 SE | 21 | 25 | 0.040992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2099-6_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.016529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2099-6_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.013346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2099-6_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.00046248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2099-6_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.029467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2099-6_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.23164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2099-6_0_2_line_28 | NAYY 4x150 SE | 27 | 30 | 0.085129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2099-6_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.017187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2099-6_0_2_line_30 | NAYY 4x150 SE | 28 | 68 | 0.047251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2099-6_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.027251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2099-6_0_2_line_32 | NAYY 4x150 SE | 31 | 48 | 0.002004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2099-6_0_2_line_33 | NAYY 4x150 SE | 31 | 40 | 0.011078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2099-6_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.011321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2099-6_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.015792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2099-6_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.012724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2099-6_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.0041667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2099-6_0_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.026845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2099-6_0_2_line_39 | NAYY 4x150 SE | 34 | 38 | 0.049388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2099-6_0_2_line_40 | NAYY 4x150 SE | 35 | 39 | 0.019788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2099-6_0_2_line_41 | NAYY 4x150 SE | 37 | 40 | 0.027226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2099-6_0_2_line_42 | NAYY 4x150 SE | 38 | 41 | 0.023284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2099-6_0_2_line_43 | NAYY 4x150 SE | 39 | 51 | 0.02745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2099-6_0_2_line_44 | NAYY 4x150 SE | 39 | 52 | 0.014246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2099-6_0_2_line_45 | NAYY 4x150 SE | 41 | 55 | 0.01921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2099-6_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.023156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2099-6_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.034917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2099-6_0_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.022463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2099-6_0_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.025849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2099-6_0_2_line_50 | NAYY 4x150 SE | 45 | 47 | 0.050608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2099-6_0_2_line_51 | NAYY 4x150 SE | 46 | 71 | 0.020478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2099-6_0_2_line_52 | NAYY 4x150 SE | 47 | 50 | 0.019306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2099-6_0_2_line_53 | NAYY 4x150 SE | 47 | 49 | 0.01395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2099-6_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.025138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2099-6_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.045545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2099-6_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0069725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2099-6_0_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0058529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2099-6_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.017645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2099-6_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.019826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2099-6_0_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.023995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2099-6_0_2_line_61 | NAYY 4x150 SE | 57 | 60 | 0.0036779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2099-6_0_2_line_62 | NAYY 4x150 SE | 58 | 61 | 0.0080752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2099-6_0_2_line_63 | NAYY 4x150 SE | 59 | 76 | 0.020952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2099-6_0_2_line_64 | NAYY 4x150 SE | 60 | 62 | 0.015265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2099-6_0_2_line_65 | NAYY 4x150 SE | 61 | 82 | 0.018933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2099-6_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.054918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2099-6_0_2_line_67 | NAYY 4x150 SE | 63 | 64 | 0.015129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2099-6_0_2_line_68 | NAYY 4x150 SE | 64 | 65 | 0.038906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2099-6_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.020468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2099-6_0_2_line_70 | NAYY 4x150 SE | 66 | 68 | 0.010979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2099-6_0_2_line_71 | NAYY 4x150 SE | 67 | 69 | 0.033348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2099-6_0_2_line_72 | NAYY 4x150 SE | 69 | 70 | 0.13835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2099-6_0_2_line_73 | NAYY 4x150 SE | 70 | 74 | 0.20528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2099-6_0_2_line_74 | NAYY 4x150 SE | 71 | 72 | 0.075485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2099-6_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.097257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2099-6_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.015181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2099-6_0_2_line_77 | NAYY 4x150 SE | 77 | 78 | 0.024089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2099-6_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.0080572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2099-6_0_2_line_79 | NAYY 4x150 SE | 79 | 80 | 0.014698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2099-6_0_2_line_80 | NAYY 4x150 SE | 80 | 81 | 0.0074971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2099-6_0_2_line_81 | NAYY 4x150 SE | 81 | 84 | 0.011163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2099-6_0_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.0022922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2099-6_0_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.024141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2099-6_0_2_line_84 | NAYY 4x150 SE | 84 | 85 | 0.018152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2099-6_0_2_line_85 | NAYY 4x150 SE | 85 | 86 | 0.0121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2099-6_0_2_line_86 | NAYY 4x150 SE | 86 | 87 | 0.0077543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2099-6_0_2_trafo_26 | 0.25 MVA 20/0.4 kV | 88 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2556905.5124 | 1166250.4341 | 2556896.8979 | 1166257.2012
1 | 2556844.1196 | 1165936.8322 | 2556905.5124 | 1166250.4341
2 | 2556896.8979 | 1166257.2012 | 2556896.8979 | 1166257.2012 | 2556893.7252 | 1166260.787
3 | 2556849.8452 | 1165893.7496 | 2556847.4037 | 1165903.4389 | 2556845.3834 | 1165913.1586 | 2556843.9439 | 1165930.1556 | 2556844.1196 | 1165936.8322
4 | 2556883.2774 | 1166302.7389 | 2556884.1134 | 1166293.5233 | 2556886.4618 | 1166281.5446 | 2556888.9988 | 1166271.2987 | 2556891.0275 | 1166263.8358 | 2556893.7252 | 1166260.787
5 | 2556807.9268 | 1165889.6271 | 2556828.3012 | 1165892.8709 | 2556840.612 | 1165893.8161 | 2556849.8452 | 1165893.7496
6 | 2556883.2673 | 1165847.1293 | 2556871.3687 | 1165857.7315 | 2556857.2453 | 1165876.2094 | 2556850.0612 | 1165892.9032 | 2556849.8452 | 1165893.7496
7 | 2556803.0414 | 1165848.1183 | 2556802.341 | 1165850.8026 | 2556799.7808 | 1165854.6453 | 2556795.4342 | 1165859.2234 | 2556793.0514 | 1165863.2427 | 2556791.9268 | 1165867.6086 | 2556794.28 | 1165872.2274 | 2556799.7896 | 1165880.2919 | 2556804.1997 | 1165885.5963 | 2556807.9268 | 1165889.6271
8 | 2556807.9268 | 1165889.6271 | 2556690.6211 | 1165929.8276
9 | 2556883.2673 | 1165847.1293 | 2556890.6031 | 1165854.7027 | 2556900.1123 | 1165861.0488 | 2556908.0033 | 1165864.9052 | 2556917.4586 | 1165862.7027
10 | 2556690.6211 | 1165929.8276 | 2556313.0057 | 1165866.4892
11 | 2556854.7138 | 1165742.3897 | 2556852.5818 | 1165740.8648
12 | 2556840.1431 | 1165731.9689 | 2556842.0364 | 1165733.322 | 2556852.5818 | 1165740.8648
13 | 2556840.1431 | 1165731.9689 | 2556825.6201 | 1165721.5896 | 2556807.202 | 1165703.0125 | 2556807.202 | 1165703.0125
14 | 2556807.202 | 1165703.0125 | 2556801.3948 | 1165690.1055
15 | 2556794.8183 | 1165668.8981 | 2556796.448 | 1165679.1108 | 2556801.3948 | 1165690.1055
16 | 2556795.733 | 1165641.5297 | 2556793.8219 | 1165649.392 | 2556794.0824 | 1165664.2868 | 2556794.8183 | 1165668.8981
17 | 2556795.733 | 1165641.5297 | 2556798.9679 | 1165628.2439 | 2556808.8663 | 1165600.358 | 2556814.9332 | 1165588.0455
18 | 2556795.733 | 1165641.5297 | 2556787.1272 | 1165642.6478 | 2556777.3995 | 1165643.2294 | 2556774.5795 | 1165642.6322
19 | 2556745.4075 | 1165615.39 | 2556748.0376 | 1165620.1624 | 2556755.5131 | 1165631.1031 | 2556761.396 | 1165636.7525 | 2556768.5654 | 1165641.3587 | 2556774.5795 | 1165642.6322
20 | 2556807.0718 | 1165531.9796 | 2556813.8052 | 1165550.4408 | 2556818.7448 | 1165568.6258 | 2556816.4581 | 1165584.9508 | 2556814.9332 | 1165588.0455
21 | 2556797.909 | 1165506.8325 | 2556807.0718 | 1165531.9796
22 | 2556807.0718 | 1165531.9796 | 2556768.6003 | 1165546.4311
23 | 2556775.5694 | 1165561.9281 | 2556768.79 | 1165546.8529
24 | 2556781.0433 | 1165574.1003 | 2556775.5694 | 1165561.9281
25 | 2556768.79 | 1165546.8529 | 2556768.6003 | 1165546.4311
26 | 2556749.6857 | 1165527.0574 | 2556755.0139 | 1165526.9078 | 2556757.9203 | 1165528.5877 | 2556763.3162 | 1165536.7641 | 2556768.6003 | 1165546.4311
27 | 2556749.6857 | 1165527.0574 | 2556518.7185 | 1165544.6592
28 | 2556797.909 | 1165506.8325 | 2556792.6517 | 1165492.3962 | 2556767.2122 | 1165427.4342
29 | 2556797.909 | 1165506.8325 | 2556783.7516 | 1165511.1368 | 2556784.6876 | 1165513.3354
30 | 2556518.7185 | 1165544.6592 | 2556503.1898 | 1165527.7297 | 2556500.3943 | 1165523.4032 | 2556495.0886 | 1165521.374 | 2556482.2461 | 1165525.3582
31 | 2556757.2754 | 1165402.0595 | 2556767.2122 | 1165427.4342
32 | 2556757.2754 | 1165402.0595 | 2556756.6261 | 1165400.1632
33 | 2556757.2754 | 1165402.0595 | 2556767.3898 | 1165397.5401
34 | 2556798.0225 | 1165343.0683 | 2556800.4417 | 1165351.4997 | 2556801.6282 | 1165353.7565
35 | 2556810.4148 | 1165366.8581 | 2556802.7708 | 1165355.9297 | 2556801.6282 | 1165353.7565
36 | 2556798.0225 | 1165343.0683 | 2556806.4478 | 1165340.2172 | 2556809.8817 | 1165338.5236
37 | 2556798.0225 | 1165343.0683 | 2556793.9763 | 1165344.0629
38 | 2556810.4148 | 1165366.8581 | 2556787.3085 | 1165380.5243
39 | 2556810.4148 | 1165366.8581 | 2556824.1208 | 1165385.9361 | 2556833.5337 | 1165394.7618 | 2556841.0218 | 1165401.0556 | 2556843.5057 | 1165403.0917
40 | 2556827.629 | 1165329.7704 | 2556809.8817 | 1165338.5236
41 | 2556787.3085 | 1165380.5243 | 2556780.084 | 1165384.7972 | 2556777.3329 | 1165387.6852 | 2556775.2077 | 1165392.4141 | 2556774.1949 | 1165394.2557 | 2556769.3882 | 1165396.6471 | 2556767.3898 | 1165397.5401
42 | 2556843.5057 | 1165403.0917 | 2556861.5134 | 1165417.8521
43 | 2556827.629 | 1165329.7704 | 2556842.2684 | 1165353.0104
44 | 2556827.629 | 1165329.7704 | 2556829.1179 | 1165329.1816 | 2556840.3924 | 1165323.4556
45 | 2556861.5134 | 1165417.8521 | 2556876.3705 | 1165430.0301
46 | 2556705.6429 | 1165302.3578 | 2556686.3459 | 1165315.1565
47 | 2556705.6429 | 1165302.3578 | 2556686.7742 | 1165277.8146 | 2556684.3393 | 1165274.6527
48 | 2556705.6429 | 1165302.3578 | 2556710.9147 | 1165309.2122 | 2556718.7837 | 1165319.4496 | 2556719.31 | 1165320.184
49 | 2556684.3393 | 1165274.6527 | 2556686.6814 | 1165256.5041 | 2556684.6762 | 1165249.2259
50 | 2556747.5463 | 1165362.1755 | 2556725.5287 | 1165328.8614 | 2556719.31 | 1165320.184
51 | 2556667.5498 | 1165237.9993 | 2556684.6762 | 1165249.2259
52 | 2556747.5463 | 1165362.1755 | 2556765.3694 | 1165354.7555
53 | 2556747.5463 | 1165362.1755 | 2556751.157 | 1165375.6506
54 | 2556756.6261 | 1165400.1632 | 2556754.4081 | 1165387.7839 | 2556751.157 | 1165375.6506
55 | 2556840.3924 | 1165323.4556 | 2556850.9225 | 1165318.1077 | 2556874.0346 | 1165303.5783 | 2556878.8972 | 1165299.364
56 | 2556876.3705 | 1165430.0301 | 2556881.763 | 1165434.4501
57 | 2556886.2896 | 1165438.1605 | 2556881.763 | 1165434.4501
58 | 2556900.3028 | 1165448.9098 | 2556898.7264 | 1165447.9762 | 2556886.2896 | 1165438.1605
59 | 2556886.2896 | 1165438.1605 | 2556873.6487 | 1165453.4338
60 | 2556900.3028 | 1165448.9098 | 2556899.7585 | 1165456.2731 | 2556900.5192 | 1165466.2284 | 2556901.3395 | 1165472.8045
61 | 2556900.3028 | 1165448.9098 | 2556903.4666 | 1165450.7852
62 | 2556868.5 | 1165459.6547 | 2556873.6487 | 1165453.4338
63 | 2556908.9214 | 1165492.1149 | 2556901.9656 | 1165477.8241 | 2556901.3395 | 1165472.8045
64 | 2556903.4666 | 1165450.7852 | 2556909.9382 | 1165454.6213 | 2556917.4777 | 1165456.3792 | 2556917.4777 | 1165456.3792
65 | 2556868.5 | 1165459.6547 | 2556856.4282 | 1165474.2404
66 | 2556968.6423 | 1165437.2128 | 2556942.5989 | 1165448.6947 | 2556927.0699 | 1165455.0206 | 2556917.4777 | 1165456.3792
67 | 2556968.6423 | 1165437.2128 | 2556974.9245 | 1165450.9761
68 | 2556981.359 | 1165478.5765 | 2556989.7522 | 1165474.4586 | 2556982.2736 | 1165457.7146 | 2556977.6198 | 1165456.8809 | 2556974.9245 | 1165450.9761
69 | 2556471.6399 | 1165528.1931 | 2556465.4869 | 1165529.8377 | 2556452.5316 | 1165535.3999
70 | 2556471.6399 | 1165528.1931 | 2556482.2461 | 1165525.3582
71 | 2556420.1902 | 1165540.628 | 2556426.9146 | 1165537.6887 | 2556434.7319 | 1165537.6318 | 2556445.3072 | 1165537.7773 | 2556450.816 | 1165536.1364 | 2556452.5316 | 1165535.3999
72 | 2556420.1902 | 1165540.628 | 2556386.494 | 1165674.8152
73 | 2556386.494 | 1165674.8152 | 2556313.0057 | 1165866.4892
74 | 2556667.5498 | 1165237.9993 | 2556649.5077 | 1165188.0369 | 2556637.7045 | 1165169.0407
75 | 2556637.7045 | 1165169.0407 | 2556592.36 | 1165083.0008
76 | 2556313.0057 | 1165866.4892 | 2556307.9492 | 1165867.5603 | 2556302.6536 | 1165873.1796 | 2556302.4153 | 1165875.4576
77 | 2556803.8717 | 1165440.2468 | 2556816.1386 | 1165460.9789
78 | 2556816.1386 | 1165460.9789 | 2556820.2415 | 1165467.9132
79 | 2556827.7264 | 1165480.5632 | 2556820.2415 | 1165467.9132
80 | 2556827.7264 | 1165480.5632 | 2556831.5441 | 1165487.0154
81 | 2556839.5745 | 1165494.6038 | 2556832.7349 | 1165489.0279 | 2556831.5441 | 1165487.0154
82 | 2556856.4282 | 1165474.2404 | 2556854.9667 | 1165476.0062
83 | 2556839.5745 | 1165494.6038 | 2556854.9667 | 1165476.0062
84 | 2556839.5745 | 1165494.6038 | 2556835.926 | 1165499.3993 | 2556833.945 | 1165506.0837 | 2556835.3808 | 1165510.8758 | 2556835.4803 | 1165510.9903
85 | 2556843.4223 | 1165520.1185 | 2556835.4803 | 1165510.9903
86 | 2556843.4223 | 1165520.1185 | 2556848.5121 | 1165525.9685

## bus_geodata
| x | y | coords
0 | 2556905.5124 | 1166250.4341
1 | 2556896.8979 | 1166257.2012
2 | 2556844.1196 | 1165936.8322
3 | 2556893.7252 | 1166260.787
4 | 2556883.2774 | 1166302.7389
5 | 2556849.8452 | 1165893.7496
6 | 2556807.9268 | 1165889.6271
7 | 2556883.2673 | 1165847.1293
8 | 2556803.0414 | 1165848.1183
9 | 2556690.6211 | 1165929.8276
10 | 2556917.4586 | 1165862.7027
11 | 2556854.7138 | 1165742.3897
12 | 2556852.5818 | 1165740.8648
13 | 2556840.1431 | 1165731.9689
14 | 2556807.202 | 1165703.0125
15 | 2556801.3948 | 1165690.1055
16 | 2556794.8183 | 1165668.8981
17 | 2556795.733 | 1165641.5297
18 | 2556774.5795 | 1165642.6322
19 | 2556745.4075 | 1165615.39
20 | 2556814.9332 | 1165588.0455
21 | 2556807.0718 | 1165531.9796
22 | 2556775.5694 | 1165561.9281
23 | 2556768.79 | 1165546.8529
24 | 2556781.0433 | 1165574.1003
25 | 2556768.6003 | 1165546.4311
26 | 2556749.6857 | 1165527.0574
27 | 2556797.909 | 1165506.8325
28 | 2556518.7185 | 1165544.6592
29 | 2556784.6876 | 1165513.3354
30 | 2556767.2122 | 1165427.4342
31 | 2556757.2754 | 1165402.0595
32 | 2556801.6282 | 1165353.7565
33 | 2556798.0225 | 1165343.0683
34 | 2556810.4148 | 1165366.8581
35 | 2556809.8817 | 1165338.5236
36 | 2556793.9763 | 1165344.0629
37 | 2556787.3085 | 1165380.5243
38 | 2556843.5057 | 1165403.0917
39 | 2556827.629 | 1165329.7704
40 | 2556767.3898 | 1165397.5401
41 | 2556861.5134 | 1165417.8521
42 | 2556686.3459 | 1165315.1565
43 | 2556705.6429 | 1165302.3578
44 | 2556684.3393 | 1165274.6527
45 | 2556719.31 | 1165320.184
46 | 2556684.6762 | 1165249.2259
47 | 2556747.5463 | 1165362.1755
48 | 2556756.6261 | 1165400.1632
49 | 2556751.157 | 1165375.6506
50 | 2556765.3694 | 1165354.7555
51 | 2556842.2684 | 1165353.0104
52 | 2556840.3924 | 1165323.4556
53 | 2556878.8972 | 1165299.364
54 | 2556881.763 | 1165434.4501
55 | 2556876.3705 | 1165430.0301
56 | 2556886.2896 | 1165438.1605
57 | 2556900.3028 | 1165448.9098
58 | 2556873.6487 | 1165453.4338
59 | 2556901.3395 | 1165472.8045
60 | 2556903.4666 | 1165450.7852
61 | 2556868.5 | 1165459.6547
62 | 2556917.4777 | 1165456.3792
63 | 2556968.6423 | 1165437.2128
64 | 2556974.9245 | 1165450.9761
65 | 2556981.359 | 1165478.5765
66 | 2556471.6399 | 1165528.1931
67 | 2556452.5316 | 1165535.3999
68 | 2556482.2461 | 1165525.3582
69 | 2556420.1902 | 1165540.628
70 | 2556386.494 | 1165674.8152
71 | 2556667.5498 | 1165237.9993
72 | 2556637.7045 | 1165169.0407
73 | 2556592.36 | 1165083.0008
74 | 2556313.0057 | 1165866.4892
75 | 2556302.4153 | 1165875.4576
76 | 2556908.9214 | 1165492.1149
77 | 2556803.8717 | 1165440.2468
78 | 2556816.1386 | 1165460.9789
79 | 2556820.2415 | 1165467.9132
80 | 2556827.7264 | 1165480.5632
81 | 2556831.5441 | 1165487.0154
82 | 2556856.4282 | 1165474.2403
83 | 2556854.9667 | 1165476.0062
84 | 2556839.5744 | 1165494.6038
85 | 2556835.4803 | 1165510.9903
86 | 2556843.4223 | 1165520.1185
87 | 2556848.5121 | 1165525.9685
88 | 2556768.6003 | 1165546.4311

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97455 | -0.18058 | 0.00071359 | 0.00017884
1 | 0.97454 | -0.18068 | 0.00020643 | 5.1735e-05
2 | 0.97529 | -0.17521 | 0.0014631 | 0.00036669
3 | 0.97454 | -0.18071 | 0.00035851 | 8.9851e-05
4 | 0.97452 | -0.18085 | 0.00030062 | 7.5343e-05
5 | 0.97549 | -0.1738 | 0 | 0
6 | 0.97586 | -0.17113 | 0 | 0
7 | 0.97523 | -0.17561 | 0 | 0
8 | 0.9758 | -0.17152 | 0.00073877 | 0.00018515
9 | 0.97708 | -0.16231 | 0.0012482 | 0.00031282
10 | 0.97506 | -0.17687 | 0.0029569 | 0.00074107
11 | 0.99037 | -0.066952 | 0.00098132 | 0.00024594
12 | 0.99037 | -0.066925 | 0.0012582 | 0.00031533
13 | 0.99042 | -0.066577 | 0.0010859 | 0.00027216
14 | 0.99063 | -0.065086 | 0.0017674 | 0.00044294
15 | 0.99074 | -0.064352 | 0.00034107 | 8.5481e-05
16 | 0.99091 | -0.063113 | 0.0014339 | 0.00035937
17 | 0.99118 | -0.06118 | 0 | 0
18 | 0.99111 | -0.061724 | 0.0010275 | 0.00025752
19 | 0.99102 | -0.06235 | 0.0014819 | 0.00037139
20 | 0.99195 | -0.055743 | 0.00084072 | 0.00021071
21 | 0.99281 | -0.049677 | 0 | 0
22 | 0.99685 | -0.021678 | 0.00062938 | 0.00015774
23 | 0.9969 | -0.021355 | 0.0018182 | 0.00045569
24 | 0.99683 | -0.021854 | 0.0013138 | 0.00032926
25 | 0.9969 | -0.021337 | 0 | 0
26 | 1 | 0 | -0.098777 | -0.024772
27 | 0.99054 | -0.065514 | 0 | 0
28 | 0.99199 | -0.055977 | 0 | 0
29 | 0.9905 | -0.065794 | 0.0015979 | 0.00040047
30 | 0.98349 | -0.11497 | 0.0003491 | 8.7493e-05
31 | 0.98125 | -0.13085 | 0 | 0
32 | 0.97646 | -0.165 | 0.00091067 | 0.00022824
33 | 0.97621 | -0.16678 | 0 | 0
34 | 0.97682 | -0.16237 | 0 | 0
35 | 0.97593 | -0.16876 | 0.0018284 | 0.00045824
36 | 0.97621 | -0.16679 | 0.00020857 | 5.2272e-05
37 | 0.97857 | -0.14987 | 0.0030742 | 0.00077047
38 | 0.97475 | -0.1772 | 0.0021345 | 0.00053496
39 | 0.97556 | -0.17145 | 0 | 0
40 | 0.98047 | -0.13637 | 0.00035712 | 8.9502e-05
41 | 0.97385 | -0.18369 | 0.0020429 | 0.000512
42 | 0.98029 | -0.13776 | 0.00057206 | 0.00014337
43 | 0.9803 | -0.13762 | 0 | 0
44 | 0.98012 | -0.13896 | 0 | 0
45 | 0.98044 | -0.13663 | 0.00075671 | 0.00018965
46 | 0.97998 | -0.13995 | 0.00162 | 0.00040601
47 | 0.98081 | -0.134 | 0 | 0
48 | 0.98122 | -0.13102 | 0 | 0
49 | 0.98092 | -0.13319 | 0.0027521 | 0.00068973
50 | 0.98079 | -0.13411 | 0.00054692 | 0.00013707
51 | 0.9752 | -0.17399 | 0.0088151 | 0.0022093
52 | 0.97547 | -0.17207 | 0.002407 | 0.00060326
53 | 0.97535 | -0.17291 | 0.0017517 | 0.00043901
54 | 0.97291 | -0.1904 | 0.0026356 | 0.00066055
55 | 0.97316 | -0.18864 | 0.00050898 | 0.00012756
56 | 0.97273 | -0.19172 | 0 | 0
57 | 0.97251 | -0.1933 | 0 | 0
58 | 0.97236 | -0.1944 | 0.00049791 | 0.00012479
59 | 0.97243 | -0.19391 | 0.0008362 | 0.00020957
60 | 0.97248 | -0.19353 | 0.00039211 | 9.8271e-05
61 | 0.97221 | -0.19545 | 0.00053327 | 0.00013365
62 | 0.97235 | -0.19445 | 0.0017276 | 0.00043298
63 | 0.97204 | -0.19674 | 0 | 0
64 | 0.97195 | -0.19737 | 0.0020024 | 0.00050184
65 | 0.97184 | -0.19817 | 0.0019404 | 0.00048631
66 | 0.99004 | -0.069719 | 0.0024747 | 0.00062021
67 | 0.98952 | -0.073344 | 0.00092339 | 0.00023142
68 | 0.99035 | -0.0675 | 0.0041456 | 0.001039
69 | 0.98873 | -0.078941 | 0 | 0
70 | 0.98545 | -0.10225 | 0.0032636 | 0.00081792
71 | 0.97992 | -0.14038 | 0 | 0
72 | 0.9797 | -0.14199 | 0.0011894 | 0.00029809
73 | 0.97958 | -0.14285 | 0.00084652 | 0.00021216
74 | 0.98154 | -0.13014 | 0.0036437 | 0.00091319
75 | 0.98151 | -0.13036 | 0.0014218 | 0.00035633
76 | 0.97238 | -0.19426 | 0.0015708 | 0.00039369
77 | 0.97116 | -0.20307 | 0.0012169 | 0.00030499
78 | 0.9712 | -0.20276 | 0.0019366 | 0.00048535
79 | 0.97124 | -0.20249 | 0.0011181 | 0.00028022
80 | 0.97133 | -0.20183 | 0.0010093 | 0.00025295
81 | 0.97139 | -0.20141 | 0.0011488 | 0.00028791
82 | 0.97189 | -0.19781 | 0.000863 | 0.00021629
83 | 0.97185 | -0.19808 | 0.00086282 | 0.00021624
84 | 0.97149 | -0.20065 | 0 | 0
85 | 0.9714 | -0.20135 | 0.0012076 | 0.00030265
86 | 0.97135 | -0.20166 | 0.0013266 | 0.00033249
87 | 0.97134 | -0.20175 | 0.0010983 | 0.00027526
88 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00086558 | 0.0002162 | -0.00086557 | -0.00021633 | 1.1935e-08 | -1.319e-07 | 0.0013214 | 0.0013214 | 0.0013214 | 0.97455 | -0.18058 | 0.97454 | -0.18068 | 0.48941
1 | -0.0015792 | -0.00039504 | 0.0015803 | 0.0003915 | 1.1583e-06 | -3.5392e-06 | 0.0024109 | 0.0024095 | 0.0024109 | 0.97455 | -0.18058 | 0.97529 | -0.17521 | 0.89293
2 | 0.00065914 | 0.00016459 | -0.00065914 | -0.00016465 | 3.025e-09 | -5.8493e-08 | 0.0010062 | 0.0010062 | 0.0010062 | 0.97454 | -0.18068 | 0.97454 | -0.18071 | 0.37268
3 | -0.0030434 | -0.00075819 | 0.003044 | 0.00075787 | 5.8693e-07 | -3.1916e-07 | 0.0046418 | 0.0046416 | 0.0046418 | 0.97529 | -0.17521 | 0.97549 | -0.1738 | 1.7192
4 | 0.00030063 | 7.48e-05 | -0.00030062 | -7.5343e-05 | 5.7591e-09 | -5.4376e-07 | 0.00045883 | 0.00045903 | 0.00045903 | 0.97454 | -0.18071 | 0.97452 | -0.18085 | 0.17001
5 | -0.0060022 | -0.0014982 | 0.0060044 | 0.0014985 | 2.2007e-06 | 3.2074e-07 | 0.0091536 | 0.0091534 | 0.0091536 | 0.97549 | -0.1738 | 0.97586 | -0.17113 | 3.3902
6 | 0.0029582 | 0.00074033 | -0.0029574 | -0.00074077 | 7.3928e-07 | -4.4193e-07 | 0.004512 | 0.0045123 | 0.0045123 | 0.97549 | -0.1738 | 0.97523 | -0.17561 | 1.6712
7 | 0.00073881 | 0.00018454 | -0.00073877 | -0.00018515 | 3.9738e-08 | -6.117e-07 | 0.0011263 | 0.0011266 | 0.0011266 | 0.97586 | -0.17113 | 0.9758 | -0.17152 | 0.41725
8 | -0.0067432 | -0.0016831 | 0.0067514 | 0.0016847 | 8.1764e-06 | 1.5936e-06 | 0.01028 | 0.010279 | 0.01028 | 0.97586 | -0.17113 | 0.97708 | -0.16231 | 3.8073
9 | 0.0029574 | 0.00074077 | -0.0029569 | -0.00074107 | 5.1313e-07 | -3.0647e-07 | 0.0045123 | 0.0045125 | 0.0045125 | 0.97523 | -0.17561 | 0.97506 | -0.17687 | 1.6713
10 | -0.0079996 | -0.0019975 | 0.008035 | 0.0020063 | 3.544e-05 | 8.8134e-06 | 0.01218 | 0.012178 | 0.01218 | 0.97708 | -0.16231 | 0.98154 | -0.13014 | 4.5111
11 | -0.00098132 | -0.00024594 | 0.00098132 | 0.00024591 | 3.5557e-09 | -3.2362e-08 | 0.0014744 | 0.0014744 | 0.0014744 | 0.99037 | -0.066952 | 0.99037 | -0.066925 | 0.54608
12 | -0.0022395 | -0.00056124 | 0.0022396 | 0.00056109 | 1.0804e-07 | -1.5524e-07 | 0.0033648 | 0.0033648 | 0.0033648 | 0.99037 | -0.066925 | 0.99042 | -0.066577 | 1.2462
13 | -0.0033255 | -0.00083324 | 0.0033262 | 0.00083294 | 6.8551e-07 | -3.0284e-07 | 0.0049962 | 0.004996 | 0.0049962 | 0.99042 | -0.066577 | 0.99063 | -0.065086 | 1.8505
14 | -0.0050936 | -0.0012759 | 0.0050941 | 0.0012759 | 5.1695e-07 | 1.659e-08 | 0.0076508 | 0.0076507 | 0.0076508 | 0.99063 | -0.065086 | 0.99074 | -0.064352 | 2.8336
15 | -0.0054352 | -0.0013614 | 0.0054361 | 0.0013615 | 9.313e-07 | 6.9712e-08 | 0.008163 | 0.0081629 | 0.008163 | 0.99074 | -0.064352 | 0.99091 | -0.063113 | 3.0233
16 | -0.00687 | -0.0017208 | 0.0068719 | 0.0017212 | 1.8367e-06 | 3.5003e-07 | 0.010316 | 0.010316 | 0.010316 | 0.99091 | -0.063113 | 0.99118 | -0.06118 | 3.8208
17 | -0.0093816 | -0.0023494 | 0.0093886 | 0.0023514 | 7.0534e-06 | 1.9777e-06 | 0.014083 | 0.014083 | 0.014083 | 0.99118 | -0.06118 | 0.99195 | -0.055743 | 5.2161
18 | 0.0025097 | 0.00062822 | -0.0025095 | -0.00062842 | 1.887e-07 | -2.0201e-07 | 0.0037674 | 0.0037675 | 0.0037675 | 0.99118 | -0.06118 | 0.99111 | -0.061724 | 1.3954
19 | 0.001482 | 0.0003709 | -0.0014819 | -0.00037139 | 1.2827e-07 | -4.8575e-07 | 0.0022248 | 0.002225 | 0.002225 | 0.99111 | -0.061724 | 0.99102 | -0.06235 | 0.82407
20 | -0.010229 | -0.0025621 | 0.010238 | 0.0025646 | 8.5842e-06 | 2.5467e-06 | 0.015344 | 0.015344 | 0.015344 | 0.99195 | -0.055743 | 0.99281 | -0.049677 | 5.6831
21 | 0.059213 | 0.014961 | -0.059081 | -0.014911 | 0.00013165 | 5.0291e-05 | 0.08879 | 0.08879 | 0.08879 | 0.99281 | -0.049677 | 0.99054 | -0.065514 | 32.8853
22 | -0.069451 | -0.017525 | 0.069728 | 0.017632 | 0.00027738 | 0.00010615 | 0.10413 | 0.10413 | 0.10413 | 0.99281 | -0.049677 | 0.9969 | -0.021337 | 38.5683
23 | -0.0019432 | -0.00048684 | 0.0019433 | 0.00048665 | 8.6774e-08 | -1.8213e-07 | 0.0029005 | 0.0029005 | 0.0029005 | 0.99685 | -0.021678 | 0.9969 | -0.021355 | 1.0743
24 | 0.0013138 | 0.0003291 | -0.0013138 | -0.00032926 | 3.2029e-08 | -1.6167e-07 | 0.0019611 | 0.0019611 | 0.0019611 | 0.99685 | -0.021678 | 0.99683 | -0.021854 | 0.72634
25 | -0.0037615 | -0.00094235 | 0.0037615 | 0.00094234 | 9.0969e-09 | -2.531e-09 | 0.0056144 | 0.0056144 | 0.0056144 | 0.9969 | -0.021355 | 0.9969 | -0.021337 | 2.0794
26 | -0.07349 | -0.018574 | 0.073711 | 0.018659 | 0.00022147 | 8.4796e-05 | 0.10975 | 0.10975 | 0.10975 | 0.9969 | -0.021337 | 1 | 0 | 40.6476
27 | 0.024266 | 0.0061131 | -0.024077 | -0.0060436 | 0.00018857 | 6.9514e-05 | 0.036119 | 0.03612 | 0.03612 | 1 | 0 | 0.99199 | -0.055977 | 13.3779
28 | 0.057483 | 0.01451 | -0.057087 | -0.014359 | 0.00039645 | 0.00015139 | 0.08639 | 0.08639 | 0.08639 | 0.99054 | -0.065514 | 0.98349 | -0.11497 | 31.9964
29 | 0.001598 | 0.00040027 | -0.0015979 | -0.00040047 | 6.1797e-08 | -1.9745e-07 | 0.0024004 | 0.0024005 | 0.0024005 | 0.99054 | -0.065514 | 0.9905 | -0.065794 | 0.88907
30 | 0.024077 | 0.0060436 | -0.024039 | -0.0060294 | 3.8468e-05 | 1.4186e-05 | 0.03612 | 0.03612 | 0.03612 | 0.99199 | -0.055977 | 0.99035 | -0.0675 | 13.3779
31 | 0.056738 | 0.014271 | -0.056612 | -0.014224 | 0.00012536 | 4.7872e-05 | 0.085862 | 0.085862 | 0.085862 | 0.98349 | -0.11497 | 0.98125 | -0.13085 | 31.8008
32 | 0.0082912 | 0.0020738 | -0.008291 | -0.0020738 | 1.9764e-07 | 5.0701e-08 | 0.012572 | 0.012572 | 0.012572 | 0.98125 | -0.13085 | 0.98122 | -0.13102 | 4.6562
33 | 0.048321 | 0.01215 | -0.048284 | -0.012136 | 3.7132e-05 | 1.4142e-05 | 0.073291 | 0.073291 | 0.073291 | 0.98125 | -0.13085 | 0.98047 | -0.13637 | 27.1447
34 | 0.015027 | 0.0037666 | -0.015023 | -0.0037653 | 3.7046e-06 | 1.2833e-06 | 0.0229 | 0.0229 | 0.0229 | 0.97646 | -0.165 | 0.97621 | -0.16678 | 8.4814
35 | -0.015938 | -0.0039949 | 0.015944 | 0.0039969 | 5.8128e-06 | 2.0381e-06 | 0.024288 | 0.024287 | 0.024288 | 0.97646 | -0.165 | 0.97682 | -0.16237 | 8.9954
36 | 0.014815 | 0.0037131 | -0.014811 | -0.0037117 | 4.0487e-06 | 1.3982e-06 | 0.022582 | 0.022582 | 0.022582 | 0.97621 | -0.16678 | 0.97593 | -0.16876 | 8.3637
37 | 0.00020857 | 5.222e-05 | -0.00020857 | -5.2272e-05 | 2.6278e-10 | -5.1992e-08 | 0.0003179 | 0.00031792 | 0.00031792 | 0.97621 | -0.16678 | 0.97621 | -0.16679 | 0.11775
38 | -0.044685 | -0.011212 | 0.044763 | 0.011241 | 7.7628e-05 | 2.952e-05 | 0.068074 | 0.068074 | 0.068074 | 0.97682 | -0.16237 | 0.97857 | -0.14987 | 25.2127
39 | 0.028741 | 0.0072149 | -0.028682 | -0.0071928 | 5.9087e-05 | 2.2109e-05 | 0.043787 | 0.043787 | 0.043787 | 0.97682 | -0.16237 | 0.97475 | -0.1772 | 16.2174
40 | 0.012982 | 0.0032535 | -0.012977 | -0.0032519 | 4.8381e-06 | 1.6136e-06 | 0.019794 | 0.019794 | 0.019794 | 0.97593 | -0.16876 | 0.97556 | -0.17145 | 7.3312
41 | -0.047837 | -0.012012 | 0.047927 | 0.012046 | 8.9912e-05 | 3.4239e-05 | 0.072749 | 0.072749 | 0.072749 | 0.97857 | -0.14987 | 0.98047 | -0.13637 | 26.944
42 | 0.026548 | 0.0066579 | -0.026524 | -0.006649 | 2.3865e-05 | 8.889e-06 | 0.040528 | 0.040529 | 0.040529 | 0.97475 | -0.1772 | 0.97385 | -0.18369 | 15.0106
43 | 0.0088182 | 0.0022101 | -0.0088151 | -0.0022093 | 3.0989e-06 | 8.4926e-07 | 0.01345 | 0.013451 | 0.013451 | 0.97556 | -0.17145 | 0.9752 | -0.17399 | 4.9817
44 | 0.0041593 | 0.0010417 | -0.0041589 | -0.0010418 | 3.5777e-07 | -4.0257e-08 | 0.0063439 | 0.0063439 | 0.0063439 | 0.97556 | -0.17145 | 0.97547 | -0.17207 | 2.3496
45 | 0.024481 | 0.006137 | -0.024464 | -0.0061308 | 1.6774e-05 | 6.2125e-06 | 0.037407 | 0.037407 | 0.037407 | 0.97385 | -0.18369 | 0.97316 | -0.18864 | 13.8545
46 | -0.00057206 | -0.00014337 | 0.00057207 | 0.00014308 | 1.0894e-08 | -2.8774e-07 | 0.00086835 | 0.00086825 | 0.00086835 | 0.98029 | -0.13776 | 0.9803 | -0.13762 | 0.32161
47 | 0.0036578 | 0.00091377 | -0.0036571 | -0.00091395 | 6.7142e-07 | -1.819e-07 | 0.0055511 | 0.0055513 | 0.0055513 | 0.9803 | -0.13762 | 0.98012 | -0.13896 | 2.056
48 | -0.0042298 | -0.0010569 | 0.0042304 | 0.0010568 | 5.776e-07 | -6.1089e-08 | 0.0064194 | 0.0064193 | 0.0064194 | 0.9803 | -0.13762 | 0.98044 | -0.13663 | 2.3775
49 | 0.0036571 | 0.00091395 | -0.0036566 | -0.00091409 | 4.9707e-07 | -1.3454e-07 | 0.0055513 | 0.0055514 | 0.0055514 | 0.98012 | -0.13896 | 0.97998 | -0.13995 | 2.0561
50 | -0.0049871 | -0.0012464 | 0.0049889 | 0.0012465 | 1.8085e-06 | 5.7118e-08 | 0.0075677 | 0.0075675 | 0.0075677 | 0.98044 | -0.13663 | 0.98081 | -0.134 | 2.8029
51 | 0.0020366 | 0.00050808 | -0.0020365 | -0.00050829 | 1.2214e-07 | -2.1102e-07 | 0.0030916 | 0.0030917 | 0.0030917 | 0.97998 | -0.13995 | 0.97992 | -0.14038 | 1.1451
52 | 0.00054693 | 0.00013683 | -0.00054692 | -0.00013707 | 8.2934e-09 | -2.4046e-07 | 0.00082967 | 0.00082976 | 0.00082976 | 0.98081 | -0.134 | 0.98079 | -0.13411 | 0.30732
53 | -0.0055359 | -0.0013833 | 0.0055365 | 0.0013834 | 6.1381e-07 | 5.9999e-08 | 0.0083972 | 0.0083971 | 0.0083972 | 0.98081 | -0.134 | 0.98092 | -0.13319 | 3.1101
54 | 0.008291 | 0.0020738 | -0.0082885 | -0.0020731 | 2.4792e-06 | 6.361e-07 | 0.012572 | 0.012572 | 0.012572 | 0.98122 | -0.13102 | 0.98092 | -0.13319 | 4.6562
55 | 0.0017519 | 0.00043852 | -0.0017517 | -0.00043901 | 2.0295e-07 | -4.9043e-07 | 0.0026722 | 0.0026724 | 0.0026724 | 0.97547 | -0.17207 | 0.97535 | -0.17291 | 0.98977
56 | -0.023949 | -0.0060011 | 0.023955 | 0.0060032 | 5.8374e-06 | 2.1586e-06 | 0.036629 | 0.036629 | 0.036629 | 0.97291 | -0.1904 | 0.97316 | -0.18864 | 13.5663
57 | 0.021314 | 0.0053405 | -0.02131 | -0.0053391 | 3.8809e-06 | 1.42e-06 | 0.032598 | 0.032598 | 0.032598 | 0.97291 | -0.1904 | 0.97273 | -0.19172 | 12.0733
58 | 0.0084744 | 0.0021222 | -0.0084726 | -0.0021217 | 1.8502e-06 | 4.9262e-07 | 0.012963 | 0.012963 | 0.012963 | 0.97273 | -0.19172 | 0.97251 | -0.1933 | 4.8011
59 | 0.012836 | 0.0032169 | -0.012831 | -0.0032153 | 4.7696e-06 | 1.5884e-06 | 0.019635 | 0.019635 | 0.019635 | 0.97273 | -0.19172 | 0.97236 | -0.1944 | 7.2722
60 | 0.0024073 | 0.00060281 | -0.0024071 | -0.00060303 | 2.0312e-07 | -2.1958e-07 | 0.0036832 | 0.0036833 | 0.0036833 | 0.97251 | -0.1933 | 0.97243 | -0.19391 | 1.3642
61 | 0.0060652 | 0.0015189 | -0.0060651 | -0.0015188 | 1.9763e-07 | 3.038e-08 | 0.0092798 | 0.0092799 | 0.0092799 | 0.97251 | -0.1933 | 0.97248 | -0.19353 | 3.437
62 | 0.012333 | 0.0030905 | -0.012331 | -0.0030899 | 1.7948e-06 | 5.9018e-07 | 0.018873 | 0.018873 | 0.018873 | 0.97236 | -0.1944 | 0.97221 | -0.19545 | 6.99
63 | 0.0015709 | 0.00039346 | -0.0015708 | -0.00039369 | 7.5544e-08 | -2.3086e-07 | 0.0024037 | 0.0024038 | 0.0024038 | 0.97243 | -0.19391 | 0.97238 | -0.19426 | 0.8903
64 | 0.0056729 | 0.0014206 | -0.0056722 | -0.0014205 | 7.1764e-07 | 8.6648e-08 | 0.0086799 | 0.00868 | 0.00868 | 0.97248 | -0.19353 | 0.97235 | -0.19445 | 3.2148
65 | 0.011798 | 0.0029563 | -0.011794 | -0.002955 | 3.8521e-06 | 1.2469e-06 | 0.018057 | 0.018057 | 0.018057 | 0.97221 | -0.19545 | 0.97189 | -0.19781 | 6.6878
66 | 0.0039446 | 0.0009875 | -0.0039434 | -0.0009877 | 1.2486e-06 | -2.0073e-07 | 0.0060361 | 0.0060364 | 0.0060364 | 0.97235 | -0.19445 | 0.97204 | -0.19674 | 2.2357
67 | 0.0039434 | 0.0009877 | -0.003943 | -0.00098776 | 3.44e-07 | -5.5214e-08 | 0.0060364 | 0.0060364 | 0.0060364 | 0.97204 | -0.19674 | 0.97195 | -0.19737 | 2.2357
68 | 0.0019406 | 0.00048591 | -0.0019404 | -0.00048631 | 2.1428e-07 | -3.9971e-07 | 0.0029709 | 0.002971 | 0.002971 | 0.97195 | -0.19737 | 0.97184 | -0.19817 | 1.1004
69 | 0.017412 | 0.004368 | -0.017404 | -0.0043649 | 8.7486e-06 | 3.1018e-06 | 0.026172 | 0.026172 | 0.026172 | 0.99004 | -0.069719 | 0.98952 | -0.073344 | 9.6935
70 | -0.019887 | -0.0049882 | 0.019893 | 0.0049904 | 6.1211e-06 | 2.2131e-06 | 0.029892 | 0.029892 | 0.029892 | 0.99004 | -0.069719 | 0.99035 | -0.0675 | 11.071
71 | 0.01648 | 0.0041335 | -0.016468 | -0.004129 | 1.2782e-05 | 4.488e-06 | 0.024784 | 0.024784 | 0.024784 | 0.98952 | -0.073344 | 0.98873 | -0.078941 | 9.1792
72 | 0.016468 | 0.004129 | -0.016415 | -0.0041104 | 5.3031e-05 | 1.8628e-05 | 0.024784 | 0.024785 | 0.024785 | 0.98873 | -0.078941 | 0.98545 | -0.10225 | 9.1795
73 | 0.013151 | 0.0032925 | -0.0131 | -0.0032756 | 5.0508e-05 | 1.6821e-05 | 0.019857 | 0.019858 | 0.019858 | 0.98545 | -0.10225 | 0.98154 | -0.13014 | 7.3547
74 | 0.0020365 | 0.00050829 | -0.002036 | -0.00050907 | 4.5027e-07 | -7.7754e-07 | 0.0030917 | 0.003092 | 0.003092 | 0.97992 | -0.14038 | 0.9797 | -0.14199 | 1.1452
75 | 0.00084662 | 0.00021097 | -0.00084652 | -0.00021216 | 1.0032e-07 | -1.1859e-06 | 0.0012855 | 0.0012859 | 0.0012859 | 0.9797 | -0.14199 | 0.97958 | -0.14285 | 0.47626
76 | 0.0014218 | 0.00035616 | -0.0014218 | -0.00035633 | 4.4009e-08 | -1.7494e-07 | 0.0021554 | 0.0021555 | 0.0021555 | 0.98154 | -0.13014 | 0.98151 | -0.13036 | 0.79833
77 | -0.0012169 | -0.00030499 | 0.001217 | 0.00030471 | 5.2256e-08 | -2.7798e-07 | 0.0018646 | 0.0018645 | 0.0018646 | 0.97116 | -0.20307 | 0.9712 | -0.20276 | 0.69058
78 | -0.0031535 | -0.00079006 | 0.0031537 | 0.00079 | 1.1737e-07 | -5.4567e-08 | 0.0048316 | 0.0048315 | 0.0048316 | 0.9712 | -0.20276 | 0.97124 | -0.20249 | 1.7895
79 | -0.0042717 | -0.0010702 | 0.0042721 | 0.0010702 | 3.9283e-07 | -3.0827e-08 | 0.0065445 | 0.0065445 | 0.0065445 | 0.97124 | -0.20249 | 0.97133 | -0.20183 | 2.4239
80 | -0.0052814 | -0.0013231 | 0.0052817 | 0.0013232 | 3.0623e-07 | 2.4977e-08 | 0.0080907 | 0.0080906 | 0.0080907 | 0.97133 | -0.20183 | 0.97139 | -0.20141 | 2.9965
81 | -0.0064305 | -0.0016111 | 0.0064312 | 0.0016112 | 6.7586e-07 | 1.2174e-07 | 0.0098503 | 0.0098503 | 0.0098503 | 0.97139 | -0.20141 | 0.97149 | -0.20065 | 3.6483
82 | 0.010931 | 0.0027388 | -0.010931 | -0.0027386 | 4.0061e-07 | 1.2568e-07 | 0.016736 | 0.016736 | 0.016736 | 0.97189 | -0.19781 | 0.97185 | -0.19808 | 6.1984
83 | 0.010068 | 0.0025224 | -0.010064 | -0.0025213 | 3.5794e-06 | 1.0777e-06 | 0.015415 | 0.015415 | 0.015415 | 0.97185 | -0.19808 | 0.97149 | -0.20065 | 5.7092
84 | 0.003633 | 0.00091011 | -0.0036327 | -0.0009102 | 3.5071e-07 | -8.984e-08 | 0.0055645 | 0.0055645 | 0.0055645 | 0.97149 | -0.20065 | 0.9714 | -0.20135 | 2.0609
85 | 0.0024251 | 0.00060755 | -0.002425 | -0.00060766 | 1.0419e-07 | -1.0971e-07 | 0.0037147 | 0.0037148 | 0.0037148 | 0.9714 | -0.20135 | 0.97135 | -0.20166 | 1.3758
86 | 0.0010983 | 0.00027517 | -0.0010983 | -0.00027526 | 1.3697e-08 | -9.0716e-08 | 0.0016825 | 0.0016825 | 0.0016825 | 0.97135 | -0.20166 | 0.97134 | -0.20175 | 0.62315

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.099877 | 0.025048

## res_load
| p_mw | q_mvar
0 | 0.00071359 | 0.00017884
1 | 0.00020643 | 5.1735e-05
2 | 0.0014631 | 0.00036669
3 | 0.00035851 | 8.9851e-05
4 | 0.00030062 | 7.5343e-05
5 | 0.00073877 | 0.00018515
6 | 0.0012482 | 0.00031282
7 | 0.0029569 | 0.00074107
8 | 0.00098132 | 0.00024594
9 | 0.0012582 | 0.00031533
10 | 0.0010859 | 0.00027216
11 | 0.0017674 | 0.00044294
12 | 0.00034107 | 8.5481e-05
13 | 0.0014339 | 0.00035937
14 | 0.0010275 | 0.00025752
15 | 0.0014819 | 0.00037139
16 | 0.00084072 | 0.00021071
17 | 0.00062938 | 0.00015774
18 | 0.0018182 | 0.00045569
19 | 0.0013138 | 0.00032926
20 | 0.0010999 | 0.00027566
21 | 0.0015979 | 0.00040047
22 | 0.0003491 | 8.7493e-05
23 | 0.00091067 | 0.00022824
24 | 0.0018284 | 0.00045824
25 | 0.00020857 | 5.2272e-05
26 | 0.0030742 | 0.00077047
27 | 0.0021345 | 0.00053496
28 | 0.00035712 | 8.9502e-05
29 | 0.0020429 | 0.000512
30 | 0.00057206 | 0.00014337
31 | 0.00075671 | 0.00018965
32 | 0.00162 | 0.00040601
33 | 0.0027521 | 0.00068973
34 | 0.00054692 | 0.00013707
35 | 0.0088151 | 0.0022093
36 | 0.002407 | 0.00060326
37 | 0.0017517 | 0.00043901
38 | 0.0026356 | 0.00066055
39 | 0.00050898 | 0.00012756
40 | 0.00049791 | 0.00012479
41 | 0.0008362 | 0.00020957
42 | 0.00039211 | 9.8271e-05
43 | 0.00053327 | 0.00013365
44 | 0.0017276 | 0.00043298
45 | 0.0020024 | 0.00050184
46 | 0.0019404 | 0.00048631
47 | 0.0024747 | 0.00062021
48 | 0.00092339 | 0.00023142
49 | 0.0041456 | 0.001039
50 | 0.0032636 | 0.00081792
51 | 0.0011894 | 0.00029809
52 | 0.00084652 | 0.00021216
53 | 0.0036437 | 0.00091319
54 | 0.0014218 | 0.00035633
55 | 0.0015708 | 0.00039369
56 | 0.0012169 | 0.00030499
57 | 0.0019366 | 0.00048535
58 | 0.0011181 | 0.00028022
59 | 0.0010093 | 0.00025295
60 | 0.0011488 | 0.00028791
61 | 0.000863 | 0.00021629
62 | 0.00086282 | 0.00021624
63 | 0.0012076 | 0.00030265
64 | 0.0013266 | 0.00033249
65 | 0.0010983 | 0.00027526

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1