## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2102-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2102-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2102-10_0_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_2102-10_0_2_node_86 | 0.4 | n |  | TRUE
4 | bus_LV_2102-10_0_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_2102-10_0_2_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_2102-10_0_2_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_2102-10_0_2_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_2102-10_0_2_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_2102-10_0_2_node_2 | 0.4 | n |  | TRUE
10 | bus_LV_2102-10_0_2_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_2102-10_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2102-10_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2102-10_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2102-10_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2102-10_0_2_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_2102-10_0_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_2102-10_0_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2102-10_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2102-10_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2102-10_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2102-10_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2102-10_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2102-10_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2102-10_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2102-10_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2102-10_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2102-10_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2102-10_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2102-10_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2102-10_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2102-10_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2102-10_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2102-10_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2102-10_0_2_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2102-10_0_2_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_2102-10_0_2_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_2102-10_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2102-10_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2102-10_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2102-10_0_2_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_2102-10_0_2_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_2102-10_0_2_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_2102-10_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2102-10_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2102-10_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2102-10_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2102-10_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2102-10_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2102-10_0_2_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_2102-10_0_2_node_44 | 0.4 | n |  | TRUE
51 | bus_MV_367_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2102-10_0_2_load_0 | 0 | 0.0039378 | 0.0009869 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2102-10_0_2_load_9 | 2 | 0.0026104 | 0.00065424 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2102-10_0_2_load_86 | 3 | 0.0026834 | 0.00067253 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2102-10_0_2_load_10 | 4 | 0.0043054 | 0.001079 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2102-10_0_2_load_84 | 5 | 0.0023912 | 0.00059929 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2102-10_0_2_load_87 | 6 | 0.0016986 | 0.00042571 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2102-10_0_2_load_82 | 7 | 0.0022406 | 0.00056156 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2102-10_0_2_load_85 | 8 | 0.0024155 | 0.00060539 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2102-10_0_2_load_2 | 9 | 0.0018915 | 0.00047406 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2102-10_0_2_load_3 | 10 | 0.0031506 | 0.00078961 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2102-10_0_2_load_5 | 11 | 0.0066443 | 0.0016652 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2102-10_0_2_load_6 | 12 | 0.0093043 | 0.0023319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2102-10_0_2_load_7 | 13 | 0.0071962 | 0.0018035 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2102-10_0_2_load_8 | 14 | 0.0040069 | 0.0010042 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2102-10_0_2_load_32 | 15 | 0.0034139 | 0.00085561 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2102-10_0_2_load_30 | 16 | 0.0062792 | 0.0015737 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2102-10_0_2_load_31 | 17 | 0.0032136 | 0.00080541 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2102-10_0_2_load_12 | 18 | 0.0020047 | 0.00050244 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2102-10_0_2_load_13 | 19 | 0.0038129 | 0.00095561 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2102-10_0_2_load_14 | 20 | 0.0021829 | 0.00054708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2102-10_0_2_load_15 | 21 | 0.0013638 | 0.00034181 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2102-10_0_2_load_16 | 22 | 0.0026189 | 0.00065635 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2102-10_0_2_load_17 | 23 | 0.0025489 | 0.00063881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2102-10_0_2_load_19 | 25 | 0.0028537 | 0.0007152 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2102-10_0_2_load_20 | 26 | 0.0029992 | 0.00075168 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2102-10_0_2_load_22 | 29 | 0.0012758 | 0.00031974 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2102-10_0_2_load_23 | 30 | 0.0033639 | 0.00084308 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2102-10_0_2_load_40 | 33 | 0.0064702 | 0.0016216 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2102-10_0_2_load_42 | 35 | 0.0043985 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2102-10_0_2_load_43 | 36 | 0.0029837 | 0.0007478 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2102-10_0_2_load_24 | 37 | 0.0019177 | 0.00048062 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2102-10_0_2_load_26 | 38 | 0.0027623 | 0.00069229 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2102-10_0_2_load_28 | 39 | 0.0014851 | 0.0003722 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2102-10_0_2_load_79 | 40 | 0.0033308 | 0.00083477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2102-10_0_2_load_80 | 41 | 0.0024403 | 0.0006116 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2102-10_0_2_load_36 | 43 | 0.0023523 | 0.00058955 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2102-10_0_2_load_39 | 44 | 0.0012427 | 0.00031144 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2102-10_0_2_load_37 | 45 | 0.0014739 | 0.0003694 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2102-10_0_2_load_38 | 46 | 0.0016357 | 0.00040995 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2102-10_0_2_load_33 | 47 | 0.0025383 | 0.00063616 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2102-10_0_2_load_34 | 48 | 0.0041055 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2102-10_0_2_load_83 | 49 | 0.0014228 | 0.0003566 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2102-10_0_2_load_44 | 50 | 0.0027957 | 0.00070068 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2102-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2102-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.047059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2102-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.066598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2102-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2102-10_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.01035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2102-10_0_2_line_5 | NAYY 4x150 SE | 3 | 8 | 0.0089123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2102-10_0_2_line_6 | NAYY 4x150 SE | 4 | 18 | 0.012878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2102-10_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.0064227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2102-10_0_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.013601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2102-10_0_2_line_9 | NAYY 4x150 SE | 7 | 41 | 0.0039017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2102-10_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.033929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2102-10_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.020262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2102-10_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.025921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2102-10_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0049762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2102-10_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.017858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2102-10_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.050332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2102-10_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0079802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2102-10_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0060558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2102-10_0_2_line_18 | NAYY 4x150 SE | 17 | 47 | 0.026797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2102-10_0_2_line_19 | NAYY 4x150 SE | 17 | 35 | 0.05281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2102-10_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.014052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2102-10_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.016974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2102-10_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0051793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2102-10_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.023324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2102-10_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0038649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2102-10_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.02668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2102-10_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.002043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2102-10_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.012823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2102-10_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.03044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2102-10_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.029277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2102-10_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0029949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2102-10_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.015027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2102-10_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.004117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2102-10_0_2_line_33 | NAYY 4x150 SE | 28 | 32 | 0.044293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2102-10_0_2_line_34 | NAYY 4x150 SE | 29 | 33 | 0.041373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2102-10_0_2_line_35 | NAYY 4x150 SE | 30 | 34 | 0.01322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2102-10_0_2_line_36 | NAYY 4x150 SE | 31 | 44 | 0.013223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2102-10_0_2_line_37 | NAYY 4x150 SE | 31 | 45 | 0.028381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2102-10_0_2_line_38 | NAYY 4x150 SE | 32 | 39 | 0.013315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2102-10_0_2_line_39 | NAYY 4x150 SE | 32 | 37 | 0.02389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2102-10_0_2_line_40 | NAYY 4x150 SE | 34 | 35 | 0.015382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2102-10_0_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.015796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_2102-10_0_2_line_42 | NAYY 4x150 SE | 36 | 50 | 0.044434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2102-10_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.031664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2102-10_0_2_line_44 | NAYY 4x150 SE | 39 | 43 | 0.010103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2102-10_0_2_line_45 | NAYY 4x150 SE | 40 | 41 | 0.027733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2102-10_0_2_line_46 | NAYY 4x150 SE | 40 | 42 | 0.035179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2102-10_0_2_line_47 | NAYY 4x150 SE | 42 | 49 | 0.013607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2102-10_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0024206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2102-10_0_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.013784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2102-10_0_2_trafo_44 | 0.25 MVA 20/0.4 kV | 51 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2554058.7022 | 1164888.2569 | 2554058.0547 | 1164886.7055 | 2554053.0792 | 1164872.8247
1 | 2554036.7808 | 1164828.678 | 2554053.0792 | 1164872.8247
2 | 2554058.7022 | 1164888.2569 | 2554122.8419 | 1164870.3286
3 | 2554036.7808 | 1164828.678 | 2554060.7554 | 1164807.1379
4 | 2554122.8419 | 1164870.3286 | 2554121.9252 | 1164866.2502 | 2554121.5068 | 1164862.6071 | 2554122.1929 | 1164860.2006 | 2554122.1929 | 1164860.2006
5 | 2554124.7904 | 1164879.0253 | 2554124.5018 | 1164877.7143 | 2554122.8419 | 1164870.3286
6 | 2554060.7554 | 1164807.1379 | 2554070.3345 | 1164798.5315
7 | 2554122.1929 | 1164860.2006 | 2554123.1865 | 1164857.9473 | 2554125.3451 | 1164855.8297 | 2554126.2352 | 1164855.5393
8 | 2554139.6449 | 1164854.267 | 2554137.9451 | 1164854.1881 | 2554133.8165 | 1164854.064 | 2554129.4624 | 1164854.4864 | 2554126.2352 | 1164855.5393
9 | 2554143.5424 | 1164854.4481 | 2554139.6449 | 1164854.267
10 | 2553938.5342 | 1164733.6787 | 2553961.0636 | 1164708.3095
11 | 2553961.0636 | 1164708.3095 | 2553970.4758 | 1164697.711 | 2553974.5913 | 1164693.2254
12 | 2553992.1151 | 1164674.1256 | 2553974.5913 | 1164693.2254
13 | 2553992.1151 | 1164674.1256 | 2553995.2416 | 1164670.7179 | 2553995.4792 | 1164670.4589
14 | 2553995.4792 | 1164670.4589 | 2554007.5508 | 1164657.2995
15 | 2554007.5508 | 1164657.2995 | 2554055.5397 | 1164672.4789
16 | 2554055.5397 | 1164672.4789 | 2554060.8134 | 1164666.4896
17 | 2554060.8134 | 1164666.4896 | 2554064.8155 | 1164661.9446
18 | 2554070.3608 | 1164641.5818 | 2554067.8308 | 1164644.47 | 2554067.9261 | 1164645.9145 | 2554073.062 | 1164650.5554 | 2554073.2595 | 1164652.3548 | 2554064.8155 | 1164661.9446
19 | 2554110.8718 | 1164687.7855 | 2554064.8155 | 1164661.9446
20 | 2554080.5011 | 1164788.834 | 2554073.2795 | 1164795.8856 | 2554070.3345 | 1164798.5315
21 | 2554080.5011 | 1164788.834 | 2554092.6457 | 1164776.9754
22 | 2554096.2048 | 1164773.2131 | 2554092.8903 | 1164776.7365 | 2554092.6457 | 1164776.9754
23 | 2554096.2048 | 1164773.2131 | 2554112.1855 | 1164756.2247
24 | 2554114.8336 | 1164753.4096 | 2554112.1855 | 1164756.2247
25 | 2554132.5804 | 1164733.5435 | 2554129.8837 | 1164737.4106 | 2554114.8336 | 1164753.4096
26 | 2554132.5804 | 1164733.5435 | 2554133.7478 | 1164731.8669
27 | 2554132.5804 | 1164733.5435 | 2554144.0815 | 1164727.8739
28 | 2554148.4419 | 1164705.7409 | 2554147.0634 | 1164712.744 | 2554133.7478 | 1164731.8669
29 | 2554171.8374 | 1164720.7811 | 2554164.0442 | 1164720.1292 | 2554150.7456 | 1164724.5888 | 2554144.0815 | 1164727.8739
30 | 2554148.4419 | 1164705.7409 | 2554149.0222 | 1164702.8028
31 | 2554148.4419 | 1164705.7409 | 2554138.4635 | 1164705.7506 | 2554133.6467 | 1164704.2398
32 | 2554171.8374 | 1164720.7811 | 2554175.9639 | 1164720.6273
33 | 2554171.8374 | 1164720.7811 | 2554195.7928 | 1164750.9806 | 2554195.7833 | 1164756.7615
34 | 2554149.0222 | 1164702.8028 | 2554157.0381 | 1164662.2142
35 | 2554121.6848 | 1164698.753 | 2554129.0521 | 1164702.7988 | 2554133.6467 | 1164704.2398
36 | 2554175.9639 | 1164720.6273 | 2554178.4257 | 1164719.0854 | 2554180.605 | 1164708.9999
37 | 2554175.9639 | 1164720.6273 | 2554204.1622 | 1164723.8418
38 | 2554195.7833 | 1164756.7615 | 2554207.2077 | 1164763.6001
39 | 2554195.7833 | 1164756.7615 | 2554193.6925 | 1164761.7468 | 2554189.8037 | 1164766.9459 | 2554186.3337 | 1164769.8295 | 2554182.3169 | 1164770.3048 | 2554178.8884 | 1164770.5138
40 | 2554121.6848 | 1164698.753 | 2554110.8718 | 1164687.7855
41 | 2554121.6848 | 1164698.753 | 2554119.6448 | 1164700.3694 | 2554111.2421 | 1164710.5404
42 | 2554077.8339 | 1164739.6434 | 2554095.7011 | 1164725.7771 | 2554106.9732 | 1164715.7078 | 2554111.2421 | 1164710.5404
43 | 2554147.2827 | 1164772.4404 | 2554178.8884 | 1164770.5138
44 | 2554210.856 | 1164773.0216 | 2554207.2077 | 1164763.6001
45 | 2554171.2454 | 1164855.735 | 2554143.5424 | 1164854.4481
46 | 2554201.0223 | 1164869.1361 | 2554197.0921 | 1164863.8967 | 2554193.0917 | 1164859.5027 | 2554188.0837 | 1164856.5172 | 2554171.2454 | 1164855.735
47 | 2554201.0223 | 1164869.1361 | 2554207.8402 | 1164864.4371 | 2554212.29 | 1164861.5092
48 | 2554204.1622 | 1164723.8418 | 2554206.5672 | 1164724.116
49 | 2554070.3608 | 1164641.5818 | 2554079.4432 | 1164631.2138

## bus_geodata
| x | y | coords
0 | 2554053.0792 | 1164872.8247
1 | 2554058.7022 | 1164888.2569
2 | 2554036.7808 | 1164828.678
3 | 2554122.8419 | 1164870.3286
4 | 2554060.7554 | 1164807.1379
5 | 2554126.2352 | 1164855.5393
6 | 2554122.1929 | 1164860.2006
7 | 2554139.6449 | 1164854.267
8 | 2554124.7904 | 1164879.0253
9 | 2553938.5342 | 1164733.6787
10 | 2553961.0636 | 1164708.3095
11 | 2553974.5913 | 1164693.2254
12 | 2553992.1151 | 1164674.1256
13 | 2553995.4792 | 1164670.4589
14 | 2554007.5508 | 1164657.2995
15 | 2554055.5397 | 1164672.4789
16 | 2554060.8134 | 1164666.4896
17 | 2554064.8155 | 1164661.9446
18 | 2554070.3345 | 1164798.5315
19 | 2554080.5011 | 1164788.834
20 | 2554092.6457 | 1164776.9754
21 | 2554096.2048 | 1164773.2131
22 | 2554112.1855 | 1164756.2247
23 | 2554114.8336 | 1164753.4096
24 | 2554132.5804 | 1164733.5435
25 | 2554133.7478 | 1164731.8669
26 | 2554144.0815 | 1164727.8739
27 | 2554148.4419 | 1164705.7409
28 | 2554171.8374 | 1164720.7811
29 | 2554149.0222 | 1164702.8028
30 | 2554133.6467 | 1164704.2398
31 | 2554175.9639 | 1164720.6273
32 | 2554195.7833 | 1164756.7615
33 | 2554157.0381 | 1164662.2142
34 | 2554121.6848 | 1164698.753
35 | 2554110.8718 | 1164687.7855
36 | 2554111.2421 | 1164710.5404
37 | 2554178.8884 | 1164770.5138
38 | 2554147.2827 | 1164772.4404
39 | 2554207.2077 | 1164763.6001
40 | 2554171.2454 | 1164855.735
41 | 2554143.5424 | 1164854.4481
42 | 2554201.0223 | 1164869.1361
43 | 2554210.856 | 1164773.0216
44 | 2554180.605 | 1164708.9999
45 | 2554204.1622 | 1164723.8418
46 | 2554206.5672 | 1164724.116
47 | 2554070.3608 | 1164641.5818
48 | 2554079.4432 | 1164631.2138
49 | 2554212.29 | 1164861.5092
50 | 2554077.8339 | 1164739.6434
51 | 2554121.6848 | 1164698.753

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98001 | -0.14041 | 0.0039378 | 0.0009869
1 | 0.97956 | -0.1436 | 0 | 0
2 | 0.98156 | -0.12939 | 0.0026104 | 0.00065424
3 | 0.97775 | -0.15653 | 0.0026834 | 0.00067253
4 | 0.98274 | -0.12098 | 0.0043054 | 0.001079
5 | 0.97744 | -0.15879 | 0.0023912 | 0.00059929
6 | 0.97755 | -0.15799 | 0.0016986 | 0.00042571
7 | 0.97725 | -0.16013 | 0.0022406 | 0.00056156
8 | 0.97772 | -0.15675 | 0.0024155 | 0.00060539
9 | 0.98436 | -0.10968 | 0.0018915 | 0.00047406
10 | 0.98446 | -0.10902 | 0.0031506 | 0.00078961
11 | 0.98461 | -0.10797 | 0.0066443 | 0.0016652
12 | 0.98504 | -0.10485 | 0.0093043 | 0.0023319
13 | 0.98519 | -0.10378 | 0.0071962 | 0.0018035
14 | 0.98592 | -0.098602 | 0.0040069 | 0.0010042
15 | 0.98827 | -0.081998 | 0.0034139 | 0.00085561
16 | 0.98868 | -0.079094 | 0.0062792 | 0.0015737
17 | 0.98905 | -0.076504 | 0.0032136 | 0.00080541
18 | 0.98329 | -0.11706 | 0.0020047 | 0.00050244
19 | 0.98394 | -0.11249 | 0.0038129 | 0.00095561
20 | 0.98481 | -0.10632 | 0.0021829 | 0.00054708
21 | 0.98509 | -0.10432 | 0.0013638 | 0.00034181
22 | 0.98641 | -0.095006 | 0.0026189 | 0.00065635
23 | 0.98664 | -0.093361 | 0.0025489 | 0.00063881
24 | 0.98835 | -0.081334 | 0 | 0
25 | 0.98852 | -0.080084 | 0.0028537 | 0.0007152
26 | 0.98805 | -0.083417 | 0.0029992 | 0.00075168
27 | 0.99129 | -0.060617 | 0 | 0
28 | 0.98751 | -0.087276 | 0 | 0
29 | 0.99126 | -0.060853 | 0.0012758 | 0.00031974
30 | 0.99283 | -0.049868 | 0.0033639 | 0.00084308
31 | 0.98748 | -0.087459 | 0 | 0
32 | 0.98696 | -0.091143 | 0 | 0
33 | 0.99087 | -0.063574 | 0.0064702 | 0.0016216
34 | 0.99424 | -0.039989 | 0 | 0
35 | 0.99299 | -0.048723 | 0.0043985 | 0.0011024
36 | 0.99573 | -0.029632 | 0.0029837 | 0.0007478
37 | 0.9868 | -0.09229 | 0.0019177 | 0.00048062
38 | 0.98668 | -0.093187 | 0.0027623 | 0.00069229
39 | 0.98689 | -0.091667 | 0.0014851 | 0.0003722
40 | 0.97702 | -0.1618 | 0.0033308 | 0.00083477
41 | 0.97721 | -0.16042 | 0.0024403 | 0.0006116
42 | 0.97695 | -0.16233 | 0 | 0
43 | 0.98686 | -0.091911 | 0.0023523 | 0.00058955
44 | 0.98746 | -0.087628 | 0.0012427 | 0.00031144
45 | 0.98736 | -0.088363 | 0.0014739 | 0.0003694
46 | 0.98735 | -0.088404 | 0.0016357 | 0.00040995
47 | 0.98879 | -0.078322 | 0.0025383 | 0.00063616
48 | 0.98871 | -0.0789 | 0.0041055 | 0.0010289
49 | 0.97692 | -0.16253 | 0.0014228 | 0.0003566
50 | 1 | 0 | -0.13566 | -0.034038
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.018672 | 0.0046837 | -0.018664 | -0.0046807 | 8.2399e-06 | 2.9623e-06 | 0.028353 | 0.028353 | 0.028353 | 0.98001 | -0.14041 | 0.97956 | -0.1436 | 10.501
1 | -0.02261 | -0.0056706 | 0.022645 | 0.0056833 | 3.4611e-05 | 1.2718e-05 | 0.034332 | 0.034331 | 0.034332 | 0.98001 | -0.14041 | 0.98156 | -0.12939 | 12.7154
2 | 0.018664 | 0.0046807 | -0.01863 | -0.0046687 | 3.3407e-05 | 1.2012e-05 | 0.028353 | 0.028353 | 0.028353 | 0.97956 | -0.1436 | 0.97775 | -0.15653 | 10.5011
3 | -0.025255 | -0.0063375 | 0.025284 | 0.0063485 | 2.9484e-05 | 1.0932e-05 | 0.038289 | 0.038289 | 0.038289 | 0.98156 | -0.12939 | 0.98274 | -0.12098 | 14.181
4 | 0.013531 | 0.0033909 | -0.013529 | -0.00339 | 2.7387e-06 | 9.2358e-07 | 0.020593 | 0.020593 | 0.020593 | 0.97775 | -0.15653 | 0.97755 | -0.15799 | 7.6271
5 | 0.0024156 | 0.0006053 | -0.0024155 | -0.00060539 | 7.5157e-08 | -8.2868e-08 | 0.0036762 | 0.0036762 | 0.0036762 | 0.97775 | -0.15653 | 0.97772 | -0.15675 | 1.3616
6 | -0.02959 | -0.0074275 | 0.029606 | 0.0074335 | 1.6133e-05 | 6.0418e-06 | 0.044808 | 0.044808 | 0.044808 | 0.98274 | -0.12098 | 0.98329 | -0.11706 | 16.5954
7 | -0.011829 | -0.0029638 | 0.01183 | 0.0029642 | 1.2996e-06 | 4.1933e-07 | 0.018007 | 0.018007 | 0.018007 | 0.97744 | -0.15879 | 0.97755 | -0.15799 | 6.6694
8 | 0.0094376 | 0.0023645 | -0.0094359 | -0.002364 | 1.7519e-06 | 5.0337e-07 | 0.014367 | 0.014367 | 0.014367 | 0.97744 | -0.15879 | 0.97725 | -0.16013 | 5.3212
9 | 0.0071953 | 0.0018025 | -0.007195 | -0.0018024 | 2.9222e-07 | 6.3509e-08 | 0.010956 | 0.010956 | 0.010956 | 0.97725 | -0.16013 | 0.97721 | -0.16042 | 4.0576
10 | -0.0018915 | -0.00047406 | 0.0018917 | 0.0004737 | 1.7309e-07 | -3.6478e-07 | 0.0028593 | 0.0028592 | 0.0028593 | 0.98436 | -0.10968 | 0.98446 | -0.10902 | 1.059
11 | -0.0050423 | -0.0012633 | 0.005043 | 0.0012633 | 7.3439e-07 | 2.4793e-08 | 0.0076213 | 0.0076212 | 0.0076213 | 0.98446 | -0.10902 | 0.98461 | -0.10797 | 2.8227
12 | -0.011687 | -0.0029285 | 0.011692 | 0.0029302 | 5.0459e-06 | 1.6109e-06 | 0.017663 | 0.017662 | 0.017663 | 0.98461 | -0.10797 | 0.98504 | -0.10485 | 6.5417
13 | -0.020997 | -0.005262 | 0.021 | 0.0052632 | 3.1238e-06 | 1.1381e-06 | 0.031718 | 0.031718 | 0.031718 | 0.98504 | -0.10485 | 0.98519 | -0.10378 | 11.7472
14 | -0.028196 | -0.0070667 | 0.028216 | 0.0070742 | 2.0209e-05 | 7.5452e-06 | 0.042587 | 0.042586 | 0.042587 | 0.98519 | -0.10378 | 0.98592 | -0.098602 | 15.7728
15 | -0.032223 | -0.0080785 | 0.032297 | 0.0081064 | 7.4286e-05 | 2.7928e-05 | 0.048634 | 0.048634 | 0.048634 | 0.98592 | -0.098602 | 0.98827 | -0.081998 | 18.0126
16 | -0.035711 | -0.008962 | 0.035726 | 0.0089675 | 1.4399e-05 | 5.4359e-06 | 0.053774 | 0.053774 | 0.053774 | 0.98827 | -0.081998 | 0.98868 | -0.079094 | 19.9163
17 | -0.042005 | -0.010541 | 0.04202 | 0.010547 | 1.5105e-05 | 5.7321e-06 | 0.063225 | 0.063225 | 0.063225 | 0.98868 | -0.079094 | 0.98905 | -0.076504 | 23.4165
18 | 0.0066459 | 0.0016654 | -0.0066442 | -0.0016651 | 1.6717e-06 | 2.9915e-07 | 0.0099986 | 0.0099987 | 0.0099987 | 0.98905 | -0.076504 | 0.98879 | -0.078322 | 3.7032
19 | -0.051879 | -0.013018 | 0.05208 | 0.013094 | 0.00020079 | 7.6546e-05 | 0.078058 | 0.078058 | 0.078058 | 0.98905 | -0.076504 | 0.99299 | -0.048723 | 28.9104
20 | -0.031611 | -0.007936 | 0.031631 | 0.0079435 | 2.007e-05 | 7.5408e-06 | 0.047841 | 0.047841 | 0.047841 | 0.98329 | -0.11706 | 0.98394 | -0.11249 | 17.719
21 | -0.035444 | -0.0088991 | 0.035474 | 0.0089106 | 3.0438e-05 | 1.1491e-05 | 0.053608 | 0.053608 | 0.053608 | 0.98394 | -0.11249 | 0.98481 | -0.10632 | 19.8547
22 | -0.037657 | -0.0094577 | 0.037667 | 0.0094617 | 1.0466e-05 | 3.9593e-06 | 0.056906 | 0.056906 | 0.056906 | 0.98481 | -0.10632 | 0.98509 | -0.10432 | 21.0762
23 | -0.039031 | -0.0098035 | 0.039082 | 0.0098226 | 5.0603e-05 | 1.9166e-05 | 0.058966 | 0.058966 | 0.058966 | 0.98509 | -0.10432 | 0.98641 | -0.095006 | 21.8392
24 | -0.041701 | -0.010479 | 0.04171 | 0.010483 | 9.5466e-06 | 3.6224e-06 | 0.062916 | 0.062916 | 0.062916 | 0.98641 | -0.095006 | 0.98664 | -0.093361 | 23.3024
25 | -0.044259 | -0.011121 | 0.044333 | 0.01115 | 7.42e-05 | 2.8197e-05 | 0.066761 | 0.06676 | 0.066761 | 0.98664 | -0.093361 | 0.98835 | -0.081334 | 24.7261
26 | -0.06022 | -0.015131 | 0.060231 | 0.015135 | 1.0483e-05 | 4.0056e-06 | 0.090679 | 0.090679 | 0.090679 | 0.98835 | -0.081334 | 0.98852 | -0.080084 | 33.5848
27 | 0.015887 | 0.0039813 | -0.015882 | -0.0039797 | 4.5776e-06 | 1.5963e-06 | 0.023919 | 0.023919 | 0.023919 | 0.98835 | -0.081334 | 0.98805 | -0.083417 | 8.8588
28 | -0.063084 | -0.01585 | 0.063256 | 0.015916 | 0.00017133 | 6.5506e-05 | 0.094975 | 0.094974 | 0.094975 | 0.98852 | -0.080084 | 0.99129 | -0.060617 | 35.1758
29 | 0.012883 | 0.003228 | -0.012876 | -0.0032258 | 6.8769e-06 | 2.2702e-06 | 0.019402 | 0.019402 | 0.019402 | 0.98805 | -0.083417 | 0.98751 | -0.087276 | 7.1859
30 | 0.0077487 | 0.0019418 | -0.0077484 | -0.0019417 | 2.5283e-07 | 5.8634e-08 | 0.011631 | 0.011631 | 0.011631 | 0.99129 | -0.060617 | 0.99126 | -0.060853 | 4.3079
31 | -0.071005 | -0.017857 | 0.071111 | 0.017898 | 0.00010656 | 4.0792e-05 | 0.10661 | 0.10661 | 0.10661 | 0.99129 | -0.060617 | 0.99283 | -0.049868 | 39.4836
32 | 0.0043528 | 0.0010904 | -0.0043527 | -0.0010904 | 1.1051e-07 | -1.0164e-08 | 0.0065588 | 0.0065589 | 0.0065589 | 0.98751 | -0.087276 | 0.98748 | -0.087459 | 2.4292
33 | 0.0085234 | 0.0021354 | -0.0085188 | -0.0021342 | 4.559e-06 | 1.1871e-06 | 0.012843 | 0.012843 | 0.012843 | 0.98751 | -0.087276 | 0.98696 | -0.091143 | 4.7568
34 | 0.0064727 | 0.001622 | -0.0064702 | -0.0016216 | 2.4373e-06 | 4.0429e-07 | 0.0097163 | 0.0097165 | 0.0097165 | 0.99126 | -0.060853 | 0.99087 | -0.063574 | 3.5987
35 | -0.074475 | -0.018741 | 0.074578 | 0.018781 | 0.00010283 | 3.9379e-05 | 0.11165 | 0.11165 | 0.11165 | 0.99283 | -0.049868 | 0.99424 | -0.039989 | 41.3509
36 | 0.0012427 | 0.00031128 | -0.0012427 | -0.00031144 | 2.8932e-08 | -1.5803e-07 | 0.0018725 | 0.0018726 | 0.0018726 | 0.98748 | -0.087459 | 0.98746 | -0.087628 | 0.69354
37 | 0.00311 | 0.00077911 | -0.0031097 | -0.00077932 | 3.8895e-07 | -2.1343e-07 | 0.0046863 | 0.0046865 | 0.0046865 | 0.98748 | -0.087459 | 0.98736 | -0.088363 | 1.7357
38 | 0.0038378 | 0.00096159 | -0.0038375 | -0.00096165 | 2.7815e-07 | -6.3161e-08 | 0.005786 | 0.0057861 | 0.0057861 | 0.98696 | -0.091143 | 0.98689 | -0.091667 | 2.143
39 | 0.0046811 | 0.0011726 | -0.0046803 | -0.0011726 | 7.4247e-07 | -1.9683e-08 | 0.0070573 | 0.0070574 | 0.0070574 | 0.98696 | -0.091143 | 0.9868 | -0.09229 | 2.6138
40 | 0.056547 | 0.014223 | -0.056479 | -0.014197 | 6.8776e-05 | 2.6253e-05 | 0.084649 | 0.084649 | 0.084649 | 0.99424 | -0.039989 | 0.99299 | -0.048723 | 31.3514
41 | -0.13113 | -0.033004 | 0.13132 | 0.033076 | 0.0001899 | 7.2627e-05 | 0.1963 | 0.1963 | 0.1963 | 0.99424 | -0.039989 | 0.99573 | -0.029632 | 36.3512
42 | -0.1343 | -0.033824 | 0.13486 | 0.034038 | 0.00055873 | 0.00021373 | 0.20076 | 0.20075 | 0.20076 | 0.99573 | -0.029632 | 1 | 0 | 37.1769
43 | 0.0027626 | 0.00069201 | -0.0027623 | -0.00069229 | 3.4288e-07 | -2.726e-07 | 0.0041656 | 0.0041658 | 0.0041658 | 0.9868 | -0.09229 | 0.98668 | -0.093187 | 1.5429
44 | 0.0023524 | 0.00058946 | -0.0023523 | -0.00058955 | 7.9314e-08 | -9.8585e-08 | 0.0035469 | 0.003547 | 0.003547 | 0.98689 | -0.091667 | 0.98686 | -0.091911 | 1.3137
45 | -0.0047537 | -0.0011908 | 0.0047546 | 0.0011908 | 9.0704e-07 | 1.488e-09 | 0.0072398 | 0.0072397 | 0.0072398 | 0.97702 | -0.1618 | 0.97721 | -0.16042 | 2.6814
46 | 0.001423 | 0.00035604 | -0.0014229 | -0.00035644 | 1.0309e-07 | -4.0087e-07 | 0.002167 | 0.0021672 | 0.0021672 | 0.97702 | -0.1618 | 0.97695 | -0.16233 | 0.80266
47 | 0.0014229 | 0.00035644 | -0.0014228 | -0.0003566 | 3.9879e-08 | -1.5503e-07 | 0.0021672 | 0.0021672 | 0.0021672 | 0.97695 | -0.16233 | 0.97692 | -0.16253 | 0.80268
48 | 0.0016357 | 0.00040992 | -0.0016357 | -0.00040995 | 9.1788e-09 | -2.7428e-08 | 0.0024651 | 0.0024652 | 0.0024652 | 0.98736 | -0.088363 | 0.98735 | -0.088404 | 0.91302
49 | 0.0041059 | 0.0010289 | -0.0041055 | -0.0010289 | 3.2837e-07 | -5.0489e-08 | 0.0061788 | 0.0061789 | 0.0061789 | 0.98879 | -0.078322 | 0.98871 | -0.0789 | 2.2885

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13845 | 0.034738

## res_load
| p_mw | q_mvar
0 | 0.0039378 | 0.0009869
1 | 0.0026104 | 0.00065424
2 | 0.0026834 | 0.00067253
3 | 0.0043054 | 0.001079
4 | 0.0023912 | 0.00059929
5 | 0.0016986 | 0.00042571
6 | 0.0022406 | 0.00056156
7 | 0.0024155 | 0.00060539
8 | 0.0018915 | 0.00047406
9 | 0.0031506 | 0.00078961
10 | 0.0066443 | 0.0016652
11 | 0.0093043 | 0.0023319
12 | 0.0071962 | 0.0018035
13 | 0.0040069 | 0.0010042
14 | 0.0034139 | 0.00085561
15 | 0.0062792 | 0.0015737
16 | 0.0032136 | 0.00080541
17 | 0.0020047 | 0.00050244
18 | 0.0038129 | 0.00095561
19 | 0.0021829 | 0.00054708
20 | 0.0013638 | 0.00034181
21 | 0.0026189 | 0.00065635
22 | 0.0025489 | 0.00063881
23 | 0.0028537 | 0.0007152
24 | 0.0029992 | 0.00075168
25 | 0.0012758 | 0.00031974
26 | 0.0033639 | 0.00084308
27 | 0.0064702 | 0.0016216
28 | 0.0043985 | 0.0011024
29 | 0.0029837 | 0.0007478
30 | 0.0019177 | 0.00048062
31 | 0.0027623 | 0.00069229
32 | 0.0014851 | 0.0003722
33 | 0.0033308 | 0.00083477
34 | 0.0024403 | 0.0006116
35 | 0.0023523 | 0.00058955
36 | 0.0012427 | 0.00031144
37 | 0.0014739 | 0.0003694
38 | 0.0016357 | 0.00040995
39 | 0.0025383 | 0.00063616
40 | 0.0041055 | 0.0010289
41 | 0.0014228 | 0.0003566
42 | 0.0027957 | 0.00070068

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1