## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2102-14_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2102-14_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2102-14_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2102-14_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2102-14_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2102-14_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2102-14_0_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2102-14_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2102-14_0_2_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_2102-14_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2102-14_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2102-14_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2102-14_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2102-14_0_2_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2102-14_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2102-14_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2102-14_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2102-14_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2102-14_0_2_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2102-14_0_2_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_2102-14_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2102-14_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_2102-14_0_2_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2102-14_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2102-14_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2102-14_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2102-14_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2102-14_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2102-14_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_2102-14_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2102-14_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2102-14_0_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2102-14_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2102-14_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2102-14_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2102-14_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_2102-14_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2102-14_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_2102-14_0_2_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2102-14_0_2_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_2102-14_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_2102-14_0_2_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_2102-14_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2102-14_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2102-14_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2102-14_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2102-14_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_2102-14_0_2_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_2102-14_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_MV_366_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2102-14_0_2_load_0 | 0 | 0.0014745 | 0.00036956 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2102-14_0_2_load_1 | 1 | 0.0015755 | 0.00039486 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2102-14_0_2_load_2 | 2 | 0.0020928 | 0.00052451 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2102-14_0_2_load_3 | 3 | 0.0019653 | 0.00049254 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2102-14_0_2_load_4 | 4 | 0.0040314 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2102-14_0_2_load_9 | 6 | 0.0015143 | 0.00037953 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2102-14_0_2_load_6 | 7 | 0.0024952 | 0.00062535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2102-14_0_2_load_32 | 8 | 0.0011791 | 0.00029552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2102-14_0_2_load_7 | 9 | 0.0026986 | 0.00067634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2102-14_0_2_load_8 | 10 | 0.0014658 | 0.00036735 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2102-14_0_2_load_10 | 11 | 0.0015529 | 0.00038918 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2102-14_0_2_load_11 | 12 | 0.0018342 | 0.0004597 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2102-14_0_2_load_33 | 13 | 0.0047612 | 0.0011933 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2102-14_0_2_load_13 | 15 | 0.0038297 | 0.0009598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2102-14_0_2_load_15 | 17 | 0.0049633 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2102-14_0_2_load_26 | 18 | 0.013411 | 0.0033611 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2102-14_0_2_load_27 | 19 | 0.0025239 | 0.00063254 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2102-14_0_2_load_16 | 20 | 0.0013423 | 0.00033642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2102-14_0_2_load_24 | 21 | 0.0054227 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2102-14_0_2_load_28 | 22 | 0.00253 | 0.00063407 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2102-14_0_2_load_17 | 23 | 0.0014215 | 0.00035627 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2102-14_0_2_load_19 | 25 | 0.0031408 | 0.00078716 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2102-14_0_2_load_21 | 27 | 0.0037457 | 0.00093875 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2102-14_0_2_load_30 | 28 | 0.002831 | 0.00070952 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2102-14_0_2_load_22 | 29 | 0.0033772 | 0.00084641 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2102-14_0_2_load_31 | 30 | 0.0029917 | 0.00074979 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2102-14_0_2_load_23 | 31 | 0.0013336 | 0.00033422 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2102-14_0_2_load_29 | 32 | 0.0015489 | 0.00038819 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2102-14_0_2_load_25 | 33 | 0.010111 | 0.0025341 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2102-14_0_2_load_34 | 34 | 0.00097605 | 0.00024462 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2102-14_0_2_load_36 | 36 | 0.001769 | 0.00044336 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2102-14_0_2_load_42 | 37 | 0.0004562 | 0.00011434 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2102-14_0_2_load_45 | 41 | 0.00090585 | 0.00022703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2102-14_0_2_load_37 | 43 | 0.0019598 | 0.00049117 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2102-14_0_2_load_38 | 44 | 0.0028133 | 0.00070509 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2102-14_0_2_load_39 | 45 | 0.0027871 | 0.00069851 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2102-14_0_2_load_48 | 46 | 0.0010915 | 0.00027356 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2102-14_0_2_load_49 | 48 | 0.0009626 | 0.00024125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2102-14_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2102-14_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.033552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2102-14_0_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.039995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2102-14_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.039983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2102-14_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0023041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2102-14_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.084758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2102-14_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.046217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2102-14_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.012925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2102-14_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.011608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2102-14_0_2_line_9 | NAYY 4x150 SE | 8 | 13 | 0.023696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2102-14_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.027079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2102-14_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0080164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2102-14_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0063777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2102-14_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.018225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2102-14_0_2_line_14 | NAYY 4x150 SE | 13 | 34 | 0.016391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2102-14_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.034538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2102-14_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.030721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2102-14_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 8.5099e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2102-14_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.026366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2102-14_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0093252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2102-14_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2102-14_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.015729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2102-14_0_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0031962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2102-14_0_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.021697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2102-14_0_2_line_24 | NAYY 4x150 SE | 21 | 33 | 0.029666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2102-14_0_2_line_25 | NAYY 4x150 SE | 22 | 32 | 0.0135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2102-14_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.036722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2102-14_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.066742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2102-14_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.034058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2102-14_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.030374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2102-14_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0011787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2102-14_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.024842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2102-14_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.026906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2102-14_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0074831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2102-14_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.09092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2102-14_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.012708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2102-14_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.11331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2102-14_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.055919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2102-14_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.024783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2102-14_0_2_line_39 | NAYY 4x150 SE | 38 | 42 | 0.096003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2102-14_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.014507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2102-14_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.085208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2102-14_0_2_line_42 | NAYY 4x150 SE | 42 | 44 | 0.034726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2102-14_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.033592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2102-14_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.040908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2102-14_0_2_line_45 | NAYY 4x150 SE | 43 | 46 | 0.05612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2102-14_0_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.015384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2102-14_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.018326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2102-14_0_2_trafo_24 | 0.25 MVA 20/0.4 kV | 49 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2554753.9098 | 1164211.8581 | 2554750.1583 | 1164213.6795 | 2554737.3688 | 1164219.5668
1 | 2554786.068 | 1164203.2922 | 2554763.2068 | 1164207.3444 | 2554753.9098 | 1164211.8581
2 | 2554743.9993 | 1164173.1101 | 2554753.9098 | 1164211.8581
3 | 2554743.9993 | 1164173.1101 | 2554760.3694 | 1164159.1517 | 2554771.964 | 1164147.8917 | 2554773.7463 | 1164146.4265
4 | 2554775.5262 | 1164144.9633 | 2554773.7463 | 1164146.4265
5 | 2554775.5262 | 1164144.9633 | 2554771.4402 | 1164139.3801 | 2554764.2557 | 1164135.2432 | 2554750.343 | 1164128.578 | 2554738.684 | 1164124.2081 | 2554734.284 | 1164121.6622 | 2554727.6005 | 1164112.8858 | 2554721.1008 | 1164104.108 | 2554715.7377 | 1164096.7558 | 2554712.8565 | 1164092.0317
6 | 2554775.5262 | 1164144.9633 | 2554793.7711 | 1164129.9623 | 2554805.1498 | 1164121.5277 | 2554811.4923 | 1164117.6001 | 2554812.3534 | 1164117.1481
7 | 2554706.7055 | 1164080.6836 | 2554709.495 | 1164086.5198 | 2554712.8565 | 1164092.0317
8 | 2554822.6637 | 1164111.8206 | 2554821.7223 | 1164112.2313 | 2554812.3534 | 1164117.1481
9 | 2554706.7055 | 1164080.6836 | 2554704.5924 | 1164076.2625 | 2554703.4743 | 1164071.2017 | 2554701.1118 | 1164057.7955
10 | 2554822.6637 | 1164111.8206 | 2554837.3561 | 1164105.41 | 2554847.9606 | 1164102.3077
11 | 2554847.9606 | 1164102.3077 | 2554849.7208 | 1164101.7928 | 2554855.3335 | 1164099.2006
12 | 2554855.3335 | 1164099.2006 | 2554861.1235 | 1164096.5264
13 | 2554872.2273 | 1164082.0909 | 2554866.1478 | 1164089.4294 | 2554861.1235 | 1164096.5264
14 | 2554701.1118 | 1164057.7955 | 2554700.8976 | 1164056.5801 | 2554697.7068 | 1164041.7631
15 | 2554872.2273 | 1164082.0909 | 2554890.5441 | 1164080.6523 | 2554906.5624 | 1164078.4794
16 | 2554884.3995 | 1164053.8956 | 2554881.9136 | 1164060.44 | 2554880.9281 | 1164062.8042 | 2554878.8408 | 1164067.3445 | 2554874.6647 | 1164077.2589 | 2554872.2273 | 1164082.0909
17 | 2554906.5624 | 1164078.4794 | 2554906.6467 | 1164078.468
18 | 2554884.3995 | 1164053.8956 | 2554860.2085 | 1164064.3817
19 | 2554884.3995 | 1164053.8956 | 2554888.2662 | 1164049.6866 | 2554890.9681 | 1164047.2931
20 | 2554906.6467 | 1164078.468 | 2554938.3562 | 1164118.4113
21 | 2554845.7768 | 1164070.6374 | 2554860.2085 | 1164064.3817
22 | 2554890.9681 | 1164047.2931 | 2554892.4811 | 1164045.9529 | 2554893.5649 | 1164045.499
23 | 2554956.1255 | 1164105.9616 | 2554938.3562 | 1164118.4113
24 | 2554845.7768 | 1164070.6374 | 2554818.5579 | 1164082.4359
25 | 2554893.5649 | 1164045.499 | 2554897.4819 | 1164043.8587 | 2554903.0204 | 1164042.9943 | 2554906.6675 | 1164043.0671
26 | 2555002.126 | 1164024.5626 | 2555002.292 | 1164025.2506 | 2555001.2805 | 1164032.3174 | 2554994.2509 | 1164038.6068 | 2554984.9631 | 1164043.0233 | 2554975.965 | 1164044.7319
27 | 2554969.8726 | 1163966.2185 | 2555001.4384 | 1164021.7329 | 2555002.126 | 1164024.5626
28 | 2554942.073 | 1164046.2394 | 2554945.3477 | 1164046.6115 | 2554961.8687 | 1164046.7208 | 2554972.7111 | 1164045.3498 | 2554975.965 | 1164044.7319
29 | 2554969.8726 | 1163966.2185 | 2554941.1671 | 1163976.1455
30 | 2554942.073 | 1164046.2394 | 2554940.9018 | 1164046.1064
31 | 2554917.6898 | 1163984.2644 | 2554941.1671 | 1163976.1455
32 | 2554914.1451 | 1164043.3186 | 2554917.7142 | 1164043.5286 | 2554931.7645 | 1164045.0683 | 2554940.9018 | 1164046.1064
33 | 2554906.6675 | 1164043.0671 | 2554911.5154 | 1164043.1639 | 2554914.1451 | 1164043.3186
34 | 2554697.7068 | 1164041.7631 | 2554657.8522 | 1163960.0437
35 | 2554657.8522 | 1163960.0437 | 2554655.5077 | 1163948.7999 | 2554655.511 | 1163947.5773
36 | 2554657.8522 | 1163960.0437 | 2554570.7899 | 1164032.5632
37 | 2554660.7 | 1163892.0198 | 2554658.09 | 1163909.4598 | 2554655.5612 | 1163928.5334 | 2554655.511 | 1163947.5773
38 | 2554553.6291 | 1164014.6833 | 2554570.7899 | 1164032.5632
39 | 2554756.4215 | 1163884.671 | 2554660.7 | 1163892.0198
40 | 2554553.6291 | 1164014.6833 | 2554544.4779 | 1164025.9586
41 | 2554544.4779 | 1164025.9586 | 2554525.1594 | 1164007.4286 | 2554509.3136 | 1163990.3398 | 2554507.2363 | 1163987.0872 | 2554506.5863 | 1163982.1784 | 2554507.3669 | 1163977.0476 | 2554507.5333 | 1163971.7213 | 2554507.5489 | 1163967.7302 | 2554500.998 | 1163959.3311 | 2554500.421 | 1163958.3228
42 | 2554756.4215 | 1163884.671 | 2554762.8016 | 1163895.8509 | 2554769.4439 | 1163909.2968 | 2554771.9203 | 1163915.6907
43 | 2554786.3265 | 1163945.9304 | 2554785.4316 | 1163944.2501 | 2554778.0128 | 1163931.4215 | 2554771.9203 | 1163915.6907
44 | 2554796.6387 | 1163985.1426 | 2554791.1108 | 1163954.9129 | 2554786.3265 | 1163945.9304
45 | 2554786.3265 | 1163945.9304 | 2554837.7547 | 1163923.4672
46 | 2554849.9613 | 1163914.0593 | 2554837.7547 | 1163923.4672
47 | 2554849.9384 | 1163932.3802 | 2554849.9613 | 1163914.0593

## bus_geodata
| x | y | coords
0 | 2554753.9098 | 1164211.8581
1 | 2554737.3688 | 1164219.5668
2 | 2554786.068 | 1164203.2922
3 | 2554743.9993 | 1164173.1101
4 | 2554773.7463 | 1164146.4265
5 | 2554775.5262 | 1164144.9633
6 | 2554712.8565 | 1164092.0317
7 | 2554812.3534 | 1164117.1481
8 | 2554706.7055 | 1164080.6836
9 | 2554822.6637 | 1164111.8206
10 | 2554847.9606 | 1164102.3077
11 | 2554855.3335 | 1164099.2006
12 | 2554861.1235 | 1164096.5264
13 | 2554701.1118 | 1164057.7955
14 | 2554872.2273 | 1164082.0909
15 | 2554906.5624 | 1164078.4794
16 | 2554884.3995 | 1164053.8956
17 | 2554906.6467 | 1164078.468
18 | 2554860.2085 | 1164064.3817
19 | 2554890.9681 | 1164047.2931
20 | 2554938.3562 | 1164118.4113
21 | 2554845.7768 | 1164070.6374
22 | 2554893.5649 | 1164045.499
23 | 2554956.1255 | 1164105.9616
24 | 2555002.126 | 1164024.5626
25 | 2554975.965 | 1164044.7319
26 | 2554969.8726 | 1163966.2185
27 | 2554942.073 | 1164046.2394
28 | 2554941.1671 | 1163976.1455
29 | 2554940.9018 | 1164046.1064
30 | 2554917.6898 | 1163984.2644
31 | 2554914.1451 | 1164043.3186
32 | 2554906.6675 | 1164043.0671
33 | 2554818.5579 | 1164082.4359
34 | 2554697.7068 | 1164041.7631
35 | 2554657.8522 | 1163960.0437
36 | 2554655.511 | 1163947.5773
37 | 2554570.7899 | 1164032.5632
38 | 2554660.7 | 1163892.0198
39 | 2554553.6291 | 1164014.6833
40 | 2554544.4779 | 1164025.9586
41 | 2554500.421 | 1163958.3228
42 | 2554756.4215 | 1163884.671
43 | 2554786.3265 | 1163945.9303
44 | 2554771.9203 | 1163915.6907
45 | 2554796.6387 | 1163985.1426
46 | 2554837.7547 | 1163923.4672
47 | 2554849.9613 | 1163914.0593
48 | 2554849.9384 | 1163932.3802
49 | 2554813.5642 | 1164084.6005

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98565 | -0.10066 | 0.0014745 | 0.00036956
1 | 0.98561 | -0.10096 | 0.0015755 | 0.00039486
2 | 0.98555 | -0.10139 | 0.0020928 | 0.00052451
3 | 0.98595 | -0.098549 | 0.0019653 | 0.00049254
4 | 0.98636 | -0.095628 | 0.0040314 | 0.0010104
5 | 0.9864 | -0.095365 | 0 | 0
6 | 0.98379 | -0.11389 | 0.0015143 | 0.00037953
7 | 0.98857 | -0.080035 | 0.0024952 | 0.00062535
8 | 0.98342 | -0.11652 | 0.0011791 | 0.00029552
9 | 0.98915 | -0.075899 | 0.0026986 | 0.00067634
10 | 0.99062 | -0.065527 | 0.0014658 | 0.00036735
11 | 0.99108 | -0.062343 | 0.0015529 | 0.00038918
12 | 0.99145 | -0.059711 | 0.0018342 | 0.0004597
13 | 0.98278 | -0.12106 | 0.0047612 | 0.0011933
14 | 0.99257 | -0.051862 | 0 | 0
15 | 0.992 | -0.055911 | 0.0038297 | 0.0009598
16 | 0.99497 | -0.035087 | 0 | 0
17 | 0.992 | -0.055918 | 0.0049633 | 0.0012439
18 | 0.99793 | -0.014393 | 0.013411 | 0.0033611
19 | 0.99464 | -0.037348 | 0.0025239 | 0.00063254
20 | 0.99179 | -0.05735 | 0.0013423 | 0.00033642
21 | 1 | 0 | -0.10321 | -0.025774
22 | 0.99455 | -0.038042 | 0.00253 | 0.00063407
23 | 0.99175 | -0.057663 | 0.0014215 | 0.00035627
24 | 0.9926 | -0.051745 | 0 | 0
25 | 0.99291 | -0.049575 | 0.0031408 | 0.00078716
26 | 0.99204 | -0.05569 | 0 | 0
27 | 0.99335 | -0.04648 | 0.0037457 | 0.00093875
28 | 0.99179 | -0.057485 | 0.002831 | 0.00070952
29 | 0.99337 | -0.046328 | 0.0033772 | 0.00084641
30 | 0.99168 | -0.05824 | 0.0029917 | 0.00074979
31 | 0.99399 | -0.041948 | 0.0013336 | 0.00033422
32 | 0.99418 | -0.04063 | 0.0015489 | 0.00038819
33 | 0.99957 | -0.0029954 | 0.010111 | 0.0025341
34 | 0.98245 | -0.12339 | 0.00097605 | 0.00024462
35 | 0.98077 | -0.13545 | 0 | 0
36 | 0.98056 | -0.13696 | 0.001769 | 0.00044336
37 | 0.98054 | -0.13708 | 0.0004562 | 0.00011434
38 | 0.97977 | -0.14256 | 0 | 0
39 | 0.98051 | -0.13731 | 0 | 0
40 | 0.98049 | -0.13745 | 0 | 0
41 | 0.98038 | -0.13825 | 0.00090585 | 0.00022703
42 | 0.97843 | -0.1522 | 0 | 0
43 | 0.97761 | -0.15807 | 0.0019598 | 0.00049117
44 | 0.97794 | -0.15568 | 0.0028133 | 0.00070509
45 | 0.97744 | -0.15927 | 0.0027871 | 0.00069851
46 | 0.97744 | -0.15928 | 0.0010915 | 0.00027356
47 | 0.97742 | -0.15944 | 0 | 0
48 | 0.97739 | -0.15962 | 0.0009626 | 0.00024125
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0015756 | 0.00039465 | -0.0015755 | -0.00039486 | 6.4429e-08 | -2.0781e-07 | 0.0023785 | 0.0023786 | 0.0023786 | 0.98565 | -0.10066 | 0.98561 | -0.10096 | 0.88097
1 | 0.002093 | 0.00052416 | -0.0020928 | -0.00052451 | 2.0903e-07 | -3.472e-07 | 0.0031596 | 0.0031598 | 0.0031598 | 0.98565 | -0.10066 | 0.98555 | -0.10139 | 1.1703
2 | -0.0051431 | -0.0012884 | 0.0051446 | 0.0012884 | 1.5045e-06 | 6.8727e-08 | 0.0077643 | 0.0077641 | 0.0077643 | 0.98565 | -0.10066 | 0.98595 | -0.098549 | 2.8757
3 | -0.0071099 | -0.001781 | 0.0071128 | 0.0017816 | 2.8725e-06 | 5.9468e-07 | 0.01073 | 0.01073 | 0.01073 | 0.98595 | -0.098549 | 0.98636 | -0.095628 | 3.9741
4 | -0.011144 | -0.0027919 | 0.011145 | 0.0027921 | 4.0636e-07 | 1.2688e-07 | 0.016812 | 0.016812 | 0.016812 | 0.98636 | -0.095628 | 0.9864 | -0.095365 | 6.2265
5 | 0.021306 | 0.0053468 | -0.021252 | -0.0053269 | 5.4647e-05 | 1.9939e-05 | 0.032144 | 0.032144 | 0.032144 | 0.9864 | -0.095365 | 0.98379 | -0.11389 | 11.9052
6 | -0.032451 | -0.0081389 | 0.03252 | 0.0081649 | 6.9116e-05 | 2.5992e-05 | 0.048955 | 0.048955 | 0.048955 | 0.9864 | -0.095365 | 0.98857 | -0.080035 | 18.1316
7 | 0.019737 | 0.0049474 | -0.01973 | -0.0049448 | 7.1878e-06 | 2.6005e-06 | 0.029854 | 0.029854 | 0.029854 | 0.98379 | -0.11389 | 0.98342 | -0.11652 | 11.0569
8 | -0.035015 | -0.0087902 | 0.035035 | 0.0087978 | 2.0125e-05 | 7.5914e-06 | 0.052711 | 0.052711 | 0.052711 | 0.98857 | -0.080035 | 0.98915 | -0.075899 | 19.5226
9 | 0.018551 | 0.0046492 | -0.018539 | -0.0046451 | 1.165e-05 | 4.1803e-06 | 0.02807 | 0.02807 | 0.02807 | 0.98342 | -0.11652 | 0.98278 | -0.12106 | 10.3962
10 | -0.037734 | -0.0094742 | 0.037788 | 0.0094948 | 5.4458e-05 | 2.0597e-05 | 0.056771 | 0.05677 | 0.056771 | 0.98915 | -0.075899 | 0.99062 | -0.065527 | 21.0261
11 | -0.039254 | -0.0098621 | 0.039271 | 0.0098687 | 1.7396e-05 | 6.5876e-06 | 0.058972 | 0.058972 | 0.058972 | 0.99062 | -0.065527 | 0.99108 | -0.062343 | 21.8415
12 | -0.040824 | -0.010258 | 0.040839 | 0.010264 | 1.4956e-05 | 5.6701e-06 | 0.061304 | 0.061304 | 0.061304 | 0.99108 | -0.062343 | 0.99145 | -0.059711 | 22.705
13 | -0.042674 | -0.010723 | 0.04272 | 0.010741 | 4.6664e-05 | 1.7712e-05 | 0.064056 | 0.064056 | 0.064056 | 0.99145 | -0.059711 | 0.99257 | -0.051862 | 23.7246
14 | 0.013778 | 0.0034518 | -0.013774 | -0.0034503 | 4.4509e-06 | 1.5042e-06 | 0.020861 | 0.020861 | 0.020861 | 0.98278 | -0.12106 | 0.98245 | -0.12339 | 7.7262
15 | 0.011564 | 0.0028978 | -0.011557 | -0.0028957 | 6.4772e-06 | 2.0451e-06 | 0.017336 | 0.017336 | 0.017336 | 0.99257 | -0.051862 | 0.992 | -0.055911 | 6.4208
16 | -0.054284 | -0.013639 | 0.054411 | 0.013687 | 0.00012699 | 4.8446e-05 | 0.081392 | 0.081392 | 0.081392 | 0.99257 | -0.051862 | 0.99497 | -0.035087 | 30.1453
17 | 0.0077278 | 0.0019359 | -0.0077278 | -0.0019359 | 7.1358e-09 | 1.6453e-09 | 0.011592 | 0.011592 | 0.011592 | 0.992 | -0.055911 | 0.992 | -0.055918 | 4.2932
18 | -0.078474 | -0.01972 | 0.078701 | 0.019807 | 0.00022668 | 8.6842e-05 | 0.11738 | 0.11738 | 0.11738 | 0.99497 | -0.035087 | 0.99793 | -0.014393 | 43.4741
19 | 0.024063 | 0.0060328 | -0.024055 | -0.00603 | 7.5362e-06 | 2.7775e-06 | 0.035988 | 0.035988 | 0.035988 | 0.99497 | -0.035087 | 0.99464 | -0.037348 | 13.3289
20 | 0.0027645 | 0.00069199 | -0.0027639 | -0.00069243 | 5.4719e-07 | -4.4782e-07 | 0.0041465 | 0.0041467 | 0.0041467 | 0.992 | -0.055918 | 0.99179 | -0.05735 | 1.5358
21 | -0.092112 | -0.023168 | 0.092297 | 0.023239 | 0.00018523 | 7.1037e-05 | 0.13738 | 0.13738 | 0.13738 | 0.99793 | -0.014393 | 1 | 0 | 50.8804
22 | 0.021531 | 0.0053975 | -0.021529 | -0.0053967 | 2.0694e-06 | 7.5446e-07 | 0.032212 | 0.032212 | 0.032212 | 0.99464 | -0.037348 | 0.99455 | -0.038042 | 11.9304
23 | 0.0014216 | 0.00035601 | -0.0014215 | -0.00035627 | 6.1586e-08 | -2.5629e-07 | 0.0021328 | 0.0021329 | 0.0021329 | 0.99179 | -0.05735 | 0.99175 | -0.057663 | 0.78995
24 | 0.010115 | 0.0025353 | -0.010111 | -0.0025341 | 4.194e-06 | 1.2241e-06 | 0.015052 | 0.015052 | 0.015052 | 1 | 0 | 0.99957 | -0.0029954 | 5.5748
25 | 0.018999 | 0.0047627 | -0.018993 | -0.0047602 | 6.8073e-06 | 2.4431e-06 | 0.028427 | 0.028427 | 0.028427 | 0.99455 | -0.038042 | 0.99418 | -0.04063 | 10.5285
26 | -0.0058277 | -0.0014596 | 0.0058294 | 0.0014598 | 1.7488e-06 | 1.9778e-07 | 0.008736 | 0.0087358 | 0.008736 | 0.9926 | -0.051745 | 0.99291 | -0.049575 | 3.2356
27 | 0.0058277 | 0.0014596 | -0.0058245 | -0.0014593 | 3.1785e-06 | 3.6029e-07 | 0.008736 | 0.0087363 | 0.0087363 | 0.9926 | -0.051745 | 0.99204 | -0.05569 | 3.2357
28 | -0.0089702 | -0.002247 | 0.0089741 | 0.002248 | 3.8404e-06 | 1.0364e-06 | 0.013443 | 0.013443 | 0.013443 | 0.99291 | -0.049575 | 0.99335 | -0.04648 | 4.9788
29 | 0.0058245 | 0.0014593 | -0.0058231 | -0.0014591 | 1.4466e-06 | 1.6431e-07 | 0.0087363 | 0.0087364 | 0.0087364 | 0.99204 | -0.05569 | 0.99179 | -0.057485 | 3.2357
30 | -0.01272 | -0.0031868 | 0.01272 | 0.0031869 | 2.6701e-07 | 8.7438e-08 | 0.019054 | 0.019054 | 0.019054 | 0.99335 | -0.04648 | 0.99337 | -0.046328 | 7.0569
31 | 0.002992 | 0.00074959 | -0.0029917 | -0.00074979 | 3.1236e-07 | -2.004e-07 | 0.0044889 | 0.0044891 | 0.0044891 | 0.99179 | -0.057485 | 0.99168 | -0.05824 | 1.6626
32 | -0.016097 | -0.0040333 | 0.016107 | 0.0040367 | 9.7614e-06 | 3.4058e-06 | 0.024112 | 0.024112 | 0.024112 | 0.99337 | -0.046328 | 0.99399 | -0.041948 | 8.9305
33 | -0.017441 | -0.0043709 | 0.017444 | 0.004372 | 3.183e-06 | 1.1272e-06 | 0.026109 | 0.026109 | 0.026109 | 0.99399 | -0.041948 | 0.99418 | -0.04063 | 9.6699
34 | 0.012798 | 0.0032057 | -0.012776 | -0.0031986 | 2.1314e-05 | 7.0485e-06 | 0.019382 | 0.019383 | 0.019383 | 0.98245 | -0.12339 | 0.98077 | -0.13545 | 7.1789
35 | 0.011414 | 0.0028601 | -0.011411 | -0.0028593 | 2.378e-06 | 7.5426e-07 | 0.017317 | 0.017317 | 0.017317 | 0.98077 | -0.13545 | 0.98056 | -0.13696 | 6.4136
36 | 0.0013625 | 0.00033853 | -0.0013622 | -0.00033985 | 3.0191e-07 | -1.3135e-06 | 0.0020661 | 0.0020666 | 0.0020666 | 0.98077 | -0.13545 | 0.98054 | -0.13708 | 0.76542
37 | 0.0096424 | 0.002416 | -0.0096349 | -0.0024138 | 7.4709e-06 | 2.1686e-06 | 0.014632 | 0.014633 | 0.014633 | 0.98056 | -0.13696 | 0.97977 | -0.14256 | 5.4195
38 | 0.00090599 | 0.00022551 | -0.00090596 | -0.00022581 | 2.9211e-08 | -3.0136e-07 | 0.0013743 | 0.0013744 | 0.0013744 | 0.98054 | -0.13708 | 0.98051 | -0.13731 | 0.50905
39 | 0.0096349 | 0.0024138 | -0.0096221 | -0.0024101 | 1.2827e-05 | 3.726e-06 | 0.014633 | 0.014633 | 0.014633 | 0.97977 | -0.14256 | 0.97843 | -0.1522 | 5.4196
40 | 0.00090596 | 0.00022581 | -0.00090595 | -0.00022599 | 1.7102e-08 | -1.7639e-07 | 0.0013744 | 0.0013745 | 0.0013745 | 0.98051 | -0.13731 | 0.98049 | -0.13745 | 0.50908
41 | 0.00090595 | 0.00022599 | -0.00090585 | -0.00022703 | 1.0048e-07 | -1.0359e-06 | 0.0013745 | 0.0013749 | 0.0013749 | 0.98049 | -0.13745 | 0.98038 | -0.13825 | 0.50922
42 | 0.0096221 | 0.0024101 | -0.0096174 | -0.0024087 | 4.6399e-06 | 1.3487e-06 | 0.014633 | 0.014633 | 0.014633 | 0.97843 | -0.1522 | 0.97794 | -0.15568 | 5.4197
43 | -0.0068019 | -0.0017032 | 0.0068041 | 0.0017036 | 2.2466e-06 | 4.4273e-07 | 0.010353 | 0.010352 | 0.010353 | 0.97761 | -0.15807 | 0.97794 | -0.15568 | 3.8343
44 | 0.0027876 | 0.00069818 | -0.0027871 | -0.00069851 | 4.5953e-07 | -3.3609e-07 | 0.0042428 | 0.004243 | 0.004243 | 0.97761 | -0.15807 | 0.97744 | -0.15927 | 1.5715
45 | 0.0020545 | 0.00051384 | -0.0020542 | -0.00051441 | 3.424e-07 | -5.7183e-07 | 0.0031268 | 0.0031271 | 0.0031271 | 0.97761 | -0.15807 | 0.97744 | -0.15928 | 1.1582
46 | 0.00096265 | 0.00024085 | -0.00096263 | -0.00024103 | 2.0614e-08 | -1.8489e-07 | 0.0014653 | 0.0014654 | 0.0014654 | 0.97744 | -0.15928 | 0.97742 | -0.15944 | 0.54275
47 | 0.00096263 | 0.00024103 | -0.0009626 | -0.00024125 | 2.4558e-08 | -2.2024e-07 | 0.0014654 | 0.0014655 | 0.0014655 | 0.97742 | -0.15944 | 0.97739 | -0.15962 | 0.54278

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10863 | 0.027133

## res_load
| p_mw | q_mvar
0 | 0.0014745 | 0.00036956
1 | 0.0015755 | 0.00039486
2 | 0.0020928 | 0.00052451
3 | 0.0019653 | 0.00049254
4 | 0.0040314 | 0.0010104
5 | 0.0015143 | 0.00037953
6 | 0.0024952 | 0.00062535
7 | 0.0011791 | 0.00029552
8 | 0.0026986 | 0.00067634
9 | 0.0014658 | 0.00036735
10 | 0.0015529 | 0.00038918
11 | 0.0018342 | 0.0004597
12 | 0.0047612 | 0.0011933
13 | 0.0038297 | 0.0009598
14 | 0.0049633 | 0.0012439
15 | 0.013411 | 0.0033611
16 | 0.0025239 | 0.00063254
17 | 0.0013423 | 0.00033642
18 | 0.0054227 | 0.0013591
19 | 0.00253 | 0.00063407
20 | 0.0014215 | 0.00035627
21 | 0.0031408 | 0.00078716
22 | 0.0037457 | 0.00093875
23 | 0.002831 | 0.00070952
24 | 0.0033772 | 0.00084641
25 | 0.0029917 | 0.00074979
26 | 0.0013336 | 0.00033422
27 | 0.0015489 | 0.00038819
28 | 0.010111 | 0.0025341
29 | 0.00097605 | 0.00024462
30 | 0.001769 | 0.00044336
31 | 0.0004562 | 0.00011434
32 | 0.00090585 | 0.00022703
33 | 0.0019598 | 0.00049117
34 | 0.0028133 | 0.00070509
35 | 0.0027871 | 0.00069851
36 | 0.0010915 | 0.00027356
37 | 0.0009626 | 0.00024125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1