## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2102-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2102-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2102-15_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2102-15_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2102-15_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2102-15_0_3_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_2102-15_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2102-15_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2102-15_0_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_2102-15_0_3_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_2102-15_0_3_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_2102-15_0_3_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_2102-15_0_3_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_2102-15_0_3_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_2102-15_0_3_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_2102-15_0_3_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_2102-15_0_3_node_67 | 0.4 | n |  | TRUE
17 | bus_LV_2102-15_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2102-15_0_3_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_2102-15_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_2102-15_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_2102-15_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2102-15_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2102-15_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2102-15_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_2102-15_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2102-15_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2102-15_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2102-15_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2102-15_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2102-15_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2102-15_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2102-15_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2102-15_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2102-15_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2102-15_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2102-15_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2102-15_0_3_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_2102-15_0_3_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_2102-15_0_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2102-15_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2102-15_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2102-15_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2102-15_0_3_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2102-15_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2102-15_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2102-15_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2102-15_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2102-15_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2102-15_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_2102-15_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_2102-15_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2102-15_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_2102-15_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2102-15_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_2102-15_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_2102-15_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_2102-15_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2102-15_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2102-15_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_2102-15_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2102-15_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_2102-15_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_2102-15_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_2102-15_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2102-15_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2102-15_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_2102-15_0_3_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_2102-15_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2102-15_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2102-15_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_2102-15_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2102-15_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_MV_366_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2102-15_0_3_load_0 | 0 | 0.0012204 | 0.00030585 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2102-15_0_3_load_3 | 2 | 0.0023697 | 0.00059391 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2102-15_0_3_load_16 | 6 | 0.0013594 | 0.00034069 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2102-15_0_3_load_14 | 7 | 0.0011831 | 0.00029651 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2102-15_0_3_load_58 | 8 | 0.00082322 | 0.00020632 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2102-15_0_3_load_61 | 10 | 0.0010947 | 0.00027436 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2102-15_0_3_load_62 | 11 | 0.00057164 | 0.00014327 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2102-15_0_3_load_63 | 12 | 0.00056664 | 0.00014201 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2102-15_0_3_load_64 | 13 | 0.00019023 | 4.7675e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2102-15_0_3_load_65 | 14 | 0.00098532 | 0.00024695 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2102-15_0_3_load_67 | 16 | 0.00038831 | 9.7319e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2102-15_0_3_load_15 | 17 | 0.0032066 | 0.00080365 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2102-15_0_3_load_6 | 18 | 0.0022286 | 0.00055853 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2102-15_0_3_load_7 | 19 | 0.0022469 | 0.00056313 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2102-15_0_3_load_8 | 20 | 0.0025293 | 0.0006339 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2102-15_0_3_load_9 | 21 | 0.0047327 | 0.0011861 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2102-15_0_3_load_10 | 22 | 0.0025929 | 0.00064985 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2102-15_0_3_load_11 | 23 | 0.0049427 | 0.0012388 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2102-15_0_3_load_12 | 24 | 0.0021702 | 0.0005439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2102-15_0_3_load_17 | 26 | 0.0022328 | 0.00055958 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2102-15_0_3_load_20 | 29 | 0.0073638 | 0.0018456 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2102-15_0_3_load_24 | 30 | 0.0024098 | 0.00060395 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2102-15_0_3_load_21 | 31 | 0.0046857 | 0.0011744 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2102-15_0_3_load_22 | 34 | 0.0018915 | 0.00047406 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2102-15_0_3_load_26 | 35 | 0.0026815 | 0.00067206 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2102-15_0_3_load_55 | 39 | 0.010756 | 0.0026958 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2102-15_0_3_load_28 | 40 | 0.0028303 | 0.00070935 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2102-15_0_3_load_39 | 41 | 0.017224 | 0.0043168 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2102-15_0_3_load_37 | 42 | 0.0044555 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2102-15_0_3_load_54 | 43 | 0.0032241 | 0.00080803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2102-15_0_3_load_38 | 44 | 0.011023 | 0.0027627 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2102-15_0_3_load_29 | 45 | 0.0017631 | 0.00044189 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2102-15_0_3_load_30 | 46 | 0.007903 | 0.0019807 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2102-15_0_3_load_31 | 47 | 0.0023234 | 0.00058229 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2102-15_0_3_load_49 | 49 | 0.010961 | 0.0027472 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2102-15_0_3_load_33 | 51 | 0.021832 | 0.0054717 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2102-15_0_3_load_34 | 52 | 0.023471 | 0.0058824 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2102-15_0_3_load_40 | 53 | 0.0026378 | 0.00066111 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2102-15_0_3_load_41 | 54 | 0.0024522 | 0.00061458 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2102-15_0_3_load_44 | 55 | 0.0010551 | 0.00026443 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2102-15_0_3_load_48 | 57 | 0.0024043 | 0.00060258 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2102-15_0_3_load_43 | 59 | 0.0037516 | 0.00094024 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2102-15_0_3_load_45 | 60 | 0.0058075 | 0.0014555 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2102-15_0_3_load_46 | 61 | 0.0063351 | 0.0015877 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2102-15_0_3_load_47 | 62 | 0.0057921 | 0.0014516 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2102-15_0_3_load_52 | 64 | 0.003858 | 0.0009669 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2102-15_0_3_load_57 | 65 | 0.011431 | 0.0028648 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2102-15_0_3_load_72 | 66 | 0.0025955 | 0.0006505 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2102-15_0_3_load_73 | 67 | 0.0022447 | 0.00056258 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2102-15_0_3_load_68 | 68 | 0.00039588 | 9.9217e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2102-15_0_3_load_69 | 69 | 0.0015041 | 0.00037697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2102-15_0_3_load_70 | 70 | 0.0011992 | 0.00030055 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2102-15_0_3_load_71 | 71 | 0.0016197 | 0.00040593 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2102-15_0_3_load_75 | 72 | 0.0025311 | 0.00063435 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2102-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.055238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2102-15_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.047811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2102-15_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.040659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2102-15_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.082359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2102-15_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.070934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2102-15_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.033475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2102-15_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.061103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2102-15_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.0066435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2102-15_0_3_line_8 | NAYY 4x150 SE | 5 | 8 | 0.042201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2102-15_0_3_line_9 | NAYY 4x150 SE | 7 | 17 | 0.010967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2102-15_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.080142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2102-15_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.023569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2102-15_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.017241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2102-15_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.053492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2102-15_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.022839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2102-15_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.076367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2102-15_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.067407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2102-15_0_3_line_17 | NAYY 4x150 SE | 16 | 68 | 0.071597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2102-15_0_3_line_18 | NAYY 4x150 SE | 17 | 25 | 0.024955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2102-15_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.00023737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2102-15_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.025482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2102-15_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0081926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2102-15_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.021367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2102-15_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0082336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2102-15_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.029634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2102-15_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.020643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2102-15_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0098311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2102-15_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.015464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2102-15_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.011701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2102-15_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.054827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2102-15_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2102-15_0_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.013213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2102-15_0_3_line_32 | NAYY 4x150 SE | 29 | 32 | 0.02488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2102-15_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.017274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2102-15_0_3_line_34 | NAYY 4x150 SE | 31 | 34 | 0.0069776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2102-15_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.022853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2102-15_0_3_line_36 | NAYY 4x150 SE | 32 | 36 | 0.00707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2102-15_0_3_line_37 | NAYY 4x150 SE | 33 | 37 | 0.063784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2102-15_0_3_line_38 | NAYY 4x150 SE | 35 | 40 | 0.030643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_2102-15_0_3_line_39 | NAYY 4x150 SE | 36 | 41 | 0.020027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2102-15_0_3_line_40 | NAYY 4x150 SE | 36 | 42 | 0.026295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_2102-15_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.10694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2102-15_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.025259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2102-15_0_3_line_43 | NAYY 4x150 SE | 38 | 66 | 0.036758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2102-15_0_3_line_44 | NAYY 4x150 SE | 39 | 65 | 0.036733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2102-15_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.023175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2102-15_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.018292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_2102-15_0_3_line_47 | NAYY 4x150 SE | 43 | 58 | 0.036369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2102-15_0_3_line_48 | NAYY 4x150 SE | 44 | 48 | 0.039833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2102-15_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.026477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2102-15_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.015111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2102-15_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.018013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2102-15_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0094948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_2102-15_0_3_line_53 | NAYY 4x150 SE | 49 | 57 | 0.026627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_2102-15_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.014327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2102-15_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.015565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2102-15_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.0217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2102-15_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.025719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2102-15_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2102-15_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.025167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2102-15_0_3_line_60 | NAYY 4x150 SE | 56 | 59 | 0.022405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2102-15_0_3_line_61 | NAYY 4x150 SE | 56 | 60 | 0.039013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2102-15_0_3_line_62 | NAYY 4x150 SE | 57 | 63 | 0.048842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_2102-15_0_3_line_63 | NAYY 4x150 SE | 58 | 64 | 0.0099869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2102-15_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.028792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2102-15_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.024712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2102-15_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.023779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2102-15_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.032685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2102-15_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.016576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2102-15_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2102-15_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.023488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2102-15_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.33881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2102-15_0_3_trafo_28 | 0.25 MVA 20/0.4 kV | 73 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2554756.4215 | 1163884.671 | 2554810.0604 | 1163897.8666
1 | 2554756.4215 | 1163884.671 | 2554731.9128 | 1163878.6416 | 2554709.3523 | 1163877.9408
2 | 2554669.9787 | 1163886.4023 | 2554686.9742 | 1163881.3379 | 2554699.3846 | 1163877.6311 | 2554709.3523 | 1163877.9408
3 | 2554669.9787 | 1163886.4023 | 2554670.4968 | 1163879.9728 | 2554692.008 | 1163858.2544 | 2554694.1024 | 1163850.6124 | 2554703.3299 | 1163843.2722 | 2554728.6761 | 1163839.5011
4 | 2554669.9787 | 1163886.4023 | 2554599.5793 | 1163877.708
5 | 2554728.6761 | 1163839.5011 | 2554731.2845 | 1163846.1516 | 2554736.0409 | 1163850.2178 | 2554754.4913 | 1163858.2717
6 | 2554728.6761 | 1163839.5011 | 2554736.6865 | 1163835.294 | 2554739.617 | 1163826.7896 | 2554740.6958 | 1163818.5216 | 2554733.9326 | 1163784.4653
7 | 2554599.5793 | 1163877.708 | 2554593.5727 | 1163874.8696
8 | 2554599.5793 | 1163877.708 | 2554560.5641 | 1163893.7933
9 | 2554731.7965 | 1163773.7087 | 2554733.9326 | 1163784.4653
10 | 2554486.7576 | 1163924.721 | 2554488.8856 | 1163924.5603 | 2554497.2977 | 1163920.8501 | 2554530.6866 | 1163906.1114 | 2554560.5641 | 1163893.7933
11 | 2554486.7576 | 1163924.721 | 2554475.6279 | 1163925.5836 | 2554464.2127 | 1163925.159 | 2554463.3285 | 1163925.5881
12 | 2554447.8181 | 1163933.1161 | 2554463.3285 | 1163925.5881
13 | 2554447.8181 | 1163933.1161 | 2554442.0373 | 1163935.9219 | 2554419.1576 | 1163948.7469 | 2554400.6612 | 1163958.3426
14 | 2554380.5408 | 1163969.1476 | 2554393.2346 | 1163962.1954 | 2554400.6612 | 1163958.3426
15 | 2554315.0743 | 1164008.4033 | 2554320.5619 | 1164004.8819 | 2554356.4791 | 1163982.3189 | 2554362.8936 | 1163978.8127 | 2554380.5408 | 1163969.1476
16 | 2554315.0743 | 1164008.4033 | 2554309.0157 | 1163998.3109 | 2554295.0853 | 1163977.3727 | 2554292.1748 | 1163971.3361 | 2554290.8584 | 1163962.4304 | 2554289.6209 | 1163947.6992
17 | 2554289.6209 | 1163947.6992 | 2554288.8621 | 1163938.6665 | 2554284.3652 | 1163885.295 | 2554283.573 | 1163876.3577
18 | 2554727.2434 | 1163749.1757 | 2554728.737 | 1163758.3025 | 2554731.7965 | 1163773.7087
19 | 2554773.8891 | 1163825.5392 | 2554773.8793 | 1163825.302
20 | 2554773.8793 | 1163825.302 | 2554773.4131 | 1163814.0947 | 2554772.1877 | 1163808.0119 | 2554770.0405 | 1163800.243
21 | 2554770.0405 | 1163800.243 | 2554769.1798 | 1163797.1289 | 2554767.7115 | 1163792.3894
22 | 2554765.215 | 1163771.2287 | 2554766.8089 | 1163789.4761 | 2554767.7115 | 1163792.3894
23 | 2554765.215 | 1163771.2287 | 2554764.7885 | 1163766.3459 | 2554764.483 | 1163763.0278
24 | 2554747.6326 | 1163746.1732 | 2554753.2284 | 1163745.7445 | 2554756.5133 | 1163745.6197 | 2554759.1971 | 1163747.0335 | 2554762.2961 | 1163749.6782 | 2554763.5538 | 1163752.9371 | 2554764.483 | 1163763.0278
25 | 2554727.2434 | 1163749.1757 | 2554738.9686 | 1163748.0088 | 2554747.273 | 1163746.2008 | 2554747.6326 | 1163746.1732
26 | 2554727.2434 | 1163749.1757 | 2554725.3488 | 1163739.5289
27 | 2554722.3685 | 1163724.355 | 2554725.3488 | 1163739.5289
28 | 2554722.3685 | 1163724.355 | 2554710.9932 | 1163727.2313
29 | 2554722.3685 | 1163724.355 | 2554727.3128 | 1163721.8497 | 2554731.1182 | 1163719.6532 | 2554740.7774 | 1163714.6888 | 2554750.7562 | 1163710.4558 | 2554759.281 | 1163707.4121 | 2554766.9005 | 1163705.1757 | 2554772.9831 | 1163703.9848
30 | 2554710.9932 | 1163727.2313 | 2554699.5518 | 1163729.0741
31 | 2554710.9932 | 1163727.2313 | 2554706.9398 | 1163714.6554
32 | 2554797.4009 | 1163699.2093 | 2554777.2942 | 1163703.1407 | 2554772.9831 | 1163703.9848
33 | 2554682.4728 | 1163731.6602 | 2554699.0439 | 1163729.1559 | 2554699.5518 | 1163729.0741
34 | 2554706.9398 | 1163714.6554 | 2554706.3893 | 1163712.9475 | 2554703.0125 | 1163709.0154
35 | 2554797.4009 | 1163699.2093 | 2554800.316 | 1163721.8754
36 | 2554804.3448 | 1163697.7785 | 2554797.4009 | 1163699.2093
37 | 2554682.4728 | 1163731.6602 | 2554675.2197 | 1163731.6927 | 2554668.1355 | 1163730.768 | 2554661.1908 | 1163729.0418 | 2554656.2339 | 1163726.8448 | 2554651.1301 | 1163723.4372 | 2554645.0291 | 1163717.8248 | 2554640.4032 | 1163711.8011 | 2554635.7197 | 1163702.1981 | 2554634.3492 | 1163698.2175
38 | 2554800.316 | 1163721.8754 | 2554802.1688 | 1163736.2817 | 2554795.7542 | 1163743.9118 | 2554796.8149 | 1163749.969
39 | 2554804.3448 | 1163697.7785 | 2554800.955 | 1163679.928 | 2554800.4008 | 1163678.1547
40 | 2554804.3448 | 1163697.7785 | 2554830.1033 | 1163692.4964
41 | 2554634.3492 | 1163698.2175 | 2554634.3365 | 1163591.2727
42 | 2554634.3492 | 1163698.2175 | 2554609.8635 | 1163704.4187
43 | 2554634.3365 | 1163591.2727 | 2554621.2269 | 1163556.932
44 | 2554574.2307 | 1163713.336 | 2554579.0553 | 1163712.2211 | 2554609.8635 | 1163704.4187
45 | 2554792.5704 | 1163656.3675 | 2554796.7403 | 1163666.4416 | 2554800.4008 | 1163678.1547
46 | 2554830.1033 | 1163692.4964 | 2554836.7627 | 1163691.1308 | 2554848.0746 | 1163689.0946
47 | 2554780.4057 | 1163622.1415 | 2554781.1516 | 1163625.5821 | 2554787.9558 | 1163645.2189 | 2554792.5704 | 1163656.3675
48 | 2554887.5499 | 1163687.8247 | 2554880.2405 | 1163689.5472 | 2554863.3955 | 1163689.2738 | 2554853.5216 | 1163688.1142 | 2554848.0746 | 1163689.0946
49 | 2554873.1774 | 1163743.8791 | 2554872.2889 | 1163741.2897 | 2554872.025 | 1163737.7676 | 2554872.936 | 1163733.6364 | 2554874.6747 | 1163730.5884 | 2554876.7762 | 1163726.9039 | 2554879.3407 | 1163722.6491 | 2554880.0742 | 1163719.4741
50 | 2554880.0742 | 1163719.4741 | 2554880.483 | 1163717.7046 | 2554881.0312 | 1163712.1753 | 2554880.8809 | 1163707.474 | 2554881.5354 | 1163705.8905 | 2554881.5375 | 1163704.5691
51 | 2554887.5499 | 1163687.8247 | 2554883.394 | 1163696.3937 | 2554881.5421 | 1163701.6993 | 2554881.5375 | 1163704.5691
52 | 2554887.5499 | 1163687.8247 | 2554896.7899 | 1163685.64
53 | 2554922.3354 | 1163678.1571 | 2554901.6333 | 1163684.4948 | 2554896.7899 | 1163685.64
54 | 2554934.5695 | 1163833.3919 | 2554925.8616 | 1163844.7693
55 | 2554934.5695 | 1163833.3919 | 2554941.2065 | 1163819.3131
56 | 2554941.2065 | 1163819.3131 | 2554950.4597 | 1163799.6848
57 | 2554950.4597 | 1163799.6848 | 2554950.7105 | 1163799.1527 | 2554955.2754 | 1163794.0602 | 2554959.4156 | 1163779.3325 | 2554959.8782 | 1163776.375
58 | 2554976.2579 | 1163762.9642 | 2554970.8541 | 1163762.4267 | 2554968.8457 | 1163762.2083 | 2554963.1941 | 1163764.363 | 2554961.3304 | 1163767.0895 | 2554959.8782 | 1163776.375
59 | 2554976.2579 | 1163762.9642 | 2554976.3583 | 1163768.1773 | 2554972.9816 | 1163787.8423
60 | 2554976.2579 | 1163762.9642 | 2554975.8268 | 1163740.5632
61 | 2554976.2579 | 1163762.9642 | 2554983.802 | 1163763.9525 | 2554994.4892 | 1163765.3064 | 2555015.1185 | 1163764.9671
62 | 2554968.8566 | 1163663.7233 | 2554960.6754 | 1163667.6646 | 2554937.2974 | 1163673.5766 | 2554922.3354 | 1163678.1571
63 | 2554780.4057 | 1163622.1415 | 2554778.2851 | 1163612.3823
64 | 2554975.8268 | 1163740.5632 | 2554975.7304 | 1163735.5538 | 2554972.6145 | 1163711.9774
65 | 2554969.3767 | 1163687.4784 | 2554972.6145 | 1163711.9774
66 | 2554968.8566 | 1163663.7233 | 2554968.7225 | 1163675.4416 | 2554969.1769 | 1163685.9659 | 2554969.3767 | 1163687.4784
67 | 2554621.2269 | 1163556.932 | 2554611.2526 | 1163530.8045 | 2554609.8356 | 1163526.304
68 | 2554283.4851 | 1163860.2886 | 2554283.4851 | 1163860.2886 | 2554281.7902 | 1163864.0034 | 2554283.1668 | 1163871.7748 | 2554283.573 | 1163876.3577
69 | 2554283.4851 | 1163860.2886 | 2554287.6694 | 1163857.5886 | 2554291.1447 | 1163855.3165 | 2554293.0812 | 1163853.145 | 2554294.7044 | 1163850.0644 | 2554295.4989 | 1163846.7788 | 2554295.2617 | 1163842.7896 | 2554295.2617 | 1163842.7896
70 | 2554295.2617 | 1163842.7896 | 2554292.9751 | 1163839.2274 | 2554288.7409 | 1163836.3915 | 2554284.4158 | 1163834.6791 | 2554280.39 | 1163832.0529 | 2554277.8934 | 1163828.0698
71 | 2554277.8934 | 1163828.0698 | 2554111.3832 | 1163532.9943

## bus_geodata
| x | y | coords
0 | 2554810.0604 | 1163897.8666
1 | 2554756.4215 | 1163884.671
2 | 2554709.3523 | 1163877.9408
3 | 2554669.9787 | 1163886.4023
4 | 2554728.6761 | 1163839.5011
5 | 2554599.5793 | 1163877.708
6 | 2554754.4913 | 1163858.2717
7 | 2554733.9326 | 1163784.4653
8 | 2554560.5641 | 1163893.7933
9 | 2554486.7576 | 1163924.721
10 | 2554593.5727 | 1163874.8696
11 | 2554463.3285 | 1163925.5881
12 | 2554447.8181 | 1163933.1161
13 | 2554400.6612 | 1163958.3426
14 | 2554380.5408 | 1163969.1476
15 | 2554315.0743 | 1164008.4033
16 | 2554289.6209 | 1163947.6992
17 | 2554731.7965 | 1163773.7087
18 | 2554773.8891 | 1163825.5392
19 | 2554773.8793 | 1163825.302
20 | 2554770.0405 | 1163800.243
21 | 2554767.7115 | 1163792.3894
22 | 2554765.215 | 1163771.2287
23 | 2554764.483 | 1163763.0278
24 | 2554747.6326 | 1163746.1732
25 | 2554727.2434 | 1163749.1757
26 | 2554725.3488 | 1163739.5289
27 | 2554722.3685 | 1163724.355
28 | 2554710.9932 | 1163727.2313
29 | 2554772.9831 | 1163703.9848
30 | 2554699.5518 | 1163729.0741
31 | 2554706.9398 | 1163714.6554
32 | 2554797.4009 | 1163699.2093
33 | 2554682.4728 | 1163731.6602
34 | 2554703.0125 | 1163709.0154
35 | 2554800.316 | 1163721.8754
36 | 2554804.3448 | 1163697.7785
37 | 2554634.3492 | 1163698.2175
38 | 2554634.3365 | 1163591.2727
39 | 2554609.8635 | 1163704.4187
40 | 2554796.8149 | 1163749.969
41 | 2554800.4008 | 1163678.1547
42 | 2554830.1033 | 1163692.4964
43 | 2554792.5704 | 1163656.3675
44 | 2554848.0746 | 1163689.0946
45 | 2554873.1774 | 1163743.8791
46 | 2554880.0742 | 1163719.4741
47 | 2554881.5375 | 1163704.5691
48 | 2554887.5499 | 1163687.8247
49 | 2554896.7899 | 1163685.64
50 | 2554934.5695 | 1163833.3919
51 | 2554925.8616 | 1163844.7693
52 | 2554941.2065 | 1163819.3131
53 | 2554950.4597 | 1163799.6848
54 | 2554959.8782 | 1163776.375
55 | 2554972.9816 | 1163787.8423
56 | 2554976.2579 | 1163762.9642
57 | 2554922.3354 | 1163678.1571
58 | 2554780.4057 | 1163622.1415
59 | 2554975.8268 | 1163740.5632
60 | 2555015.1185 | 1163764.9671
61 | 2554972.6145 | 1163711.9774
62 | 2554969.3767 | 1163687.4784
63 | 2554968.8566 | 1163663.7233
64 | 2554778.2851 | 1163612.3823
65 | 2554574.2307 | 1163713.336
66 | 2554621.2269 | 1163556.932
67 | 2554609.8356 | 1163526.304
68 | 2554283.573 | 1163876.3577
69 | 2554283.4851 | 1163860.2886
70 | 2554295.2617 | 1163842.7896
71 | 2554277.8934 | 1163828.0698
72 | 2554111.3832 | 1163532.9943
73 | 2554797.259 | 1163752.505

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97962 | -0.14318 | 0.0012204 | 0.00030585
1 | 0.97972 | -0.14248 | 0 | 0
2 | 0.97981 | -0.14187 | 0.0023697 | 0.00059391
3 | 0.98002 | -0.14035 | 0 | 0
4 | 0.98188 | -0.12705 | 0 | 0
5 | 0.97879 | -0.14917 | 0 | 0
6 | 0.98181 | -0.12752 | 0.0013594 | 0.00034069
7 | 0.98338 | -0.11636 | 0.0011831 | 0.00029651
8 | 0.97812 | -0.15394 | 0.00082322 | 0.00020632
9 | 0.97695 | -0.16233 | 0 | 0
10 | 0.97878 | -0.14924 | 0.0010947 | 0.00027436
11 | 0.97661 | -0.1648 | 0.00057164 | 0.00014327
12 | 0.97637 | -0.16651 | 0.00056664 | 0.00014201
13 | 0.97568 | -0.17148 | 0.00019023 | 4.7675e-05
14 | 0.97539 | -0.17356 | 0.00098532 | 0.00024695
15 | 0.97454 | -0.17973 | 0 | 0
16 | 0.97378 | -0.18518 | 0.00038831 | 9.7319e-05
17 | 0.98367 | -0.1143 | 0.0032066 | 0.00080365
18 | 0.98218 | -0.12487 | 0.0022286 | 0.00055853
19 | 0.98218 | -0.12487 | 0.0022469 | 0.00056313
20 | 0.98235 | -0.12369 | 0.0025293 | 0.0006339
21 | 0.98243 | -0.12309 | 0.0047327 | 0.0011861
22 | 0.9828 | -0.1205 | 0.0025929 | 0.00064985
23 | 0.98297 | -0.11928 | 0.0049427 | 0.0012388
24 | 0.9838 | -0.11338 | 0.0021702 | 0.0005439
25 | 0.98444 | -0.10882 | 0 | 0
26 | 0.98505 | -0.10449 | 0.0022328 | 0.00055958
27 | 0.98606 | -0.097337 | 0 | 0
28 | 0.98545 | -0.10167 | 0 | 0
29 | 0.9925 | -0.052009 | 0.0073638 | 0.0018456
30 | 0.98495 | -0.10518 | 0.0024098 | 0.00060395
31 | 0.98532 | -0.10256 | 0.0046857 | 0.0011744
32 | 0.9941 | -0.04088 | 0 | 0
33 | 0.98427 | -0.10999 | 0 | 0
34 | 0.9853 | -0.1027 | 0.0018915 | 0.00047406
35 | 0.9966 | -0.023475 | 0.0026815 | 0.00067206
36 | 0.99362 | -0.044175 | 0 | 0
37 | 0.98177 | -0.12781 | 0 | 0
38 | 0.98101 | -0.13319 | 0 | 0
39 | 0.98095 | -0.13362 | 0.010756 | 0.0026958
40 | 1 | 0 | -0.23407 | -0.058969
41 | 0.99292 | -0.049101 | 0.017224 | 0.0043168
42 | 0.99217 | -0.054294 | 0.0044555 | 0.0011167
43 | 0.99269 | -0.050764 | 0.0032241 | 0.00080803
44 | 0.9912 | -0.061075 | 0.011023 | 0.0027627
45 | 0.9887 | -0.078565 | 0.0017631 | 0.00044189
46 | 0.98877 | -0.078088 | 0.007903 | 0.0019807
47 | 0.98898 | -0.076597 | 0.0023234 | 0.00058229
48 | 0.98929 | -0.074393 | 0 | 0
49 | 0.98889 | -0.077187 | 0.010961 | 0.0027472
50 | 0.97104 | -0.20381 | 0 | 0
51 | 0.97058 | -0.20712 | 0.021832 | 0.0054717
52 | 0.97154 | -0.20022 | 0.023471 | 0.0058824
53 | 0.97298 | -0.18984 | 0.0026378 | 0.00066111
54 | 0.97479 | -0.17686 | 0.0024522 | 0.00061458
55 | 0.97669 | -0.1633 | 0.0010551 | 0.00026443
56 | 0.97673 | -0.16302 | 0 | 0
57 | 0.98791 | -0.084041 | 0.0024043 | 0.00060258
58 | 0.99249 | -0.052186 | 0 | 0
59 | 0.97861 | -0.14962 | 0.0037516 | 0.00094024
60 | 0.9764 | -0.16539 | 0.0058075 | 0.0014555
61 | 0.98118 | -0.13136 | 0.0063351 | 0.0015877
62 | 0.98362 | -0.11414 | 0.0057921 | 0.0014516
63 | 0.98617 | -0.096244 | 0 | 0
64 | 0.99243 | -0.052577 | 0.003858 | 0.0009669
65 | 0.98034 | -0.13798 | 0.011431 | 0.0028648
66 | 0.98075 | -0.13504 | 0.0025955 | 0.0006505
67 | 0.98065 | -0.1358 | 0.0022447 | 0.00056258
68 | 0.97302 | -0.19067 | 0.00039588 | 9.9217e-05
69 | 0.97286 | -0.19188 | 0.0015041 | 0.00037697
70 | 0.97268 | -0.19318 | 0.0011992 | 0.00030055
71 | 0.97253 | -0.19422 | 0.0016197 | 0.00040593
72 | 0.97128 | -0.20333 | 0.0025311 | 0.00063435
73 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012204 | -0.00030585 | 0.0012205 | 0.0003052 | 1.1842e-07 | -6.4997e-07 | 0.0018537 | 0.0018534 | 0.0018537 | 0.97962 | -0.14318 | 0.97972 | -0.14248 | 0.68655
1 | -0.0012205 | -0.0003052 | 0.0012206 | 0.00030464 | 1.0247e-07 | -5.627e-07 | 0.0018534 | 0.0018532 | 0.0018534 | 0.97972 | -0.14248 | 0.97981 | -0.14187 | 0.68646
2 | -0.0035903 | -0.00089855 | 0.0035911 | 0.00089832 | 7.5413e-07 | -2.2215e-07 | 0.0054521 | 0.0054519 | 0.0054521 | 0.97981 | -0.14187 | 0.98002 | -0.14035 | 2.0193
3 | -0.015532 | -0.0038889 | 0.015561 | 0.0038989 | 2.8579e-05 | 9.9522e-06 | 0.023582 | 0.023582 | 0.023582 | 0.98002 | -0.14035 | 0.98188 | -0.12705 | 8.7341
4 | 0.011941 | 0.0029906 | -0.011927 | -0.0029859 | 1.4549e-05 | 4.7033e-06 | 0.01813 | 0.01813 | 0.01813 | 0.98002 | -0.14035 | 0.97879 | -0.14917 | 6.715
5 | 0.0013595 | 0.0003403 | -0.0013594 | -0.00034069 | 8.8656e-08 | -3.8927e-07 | 0.0020601 | 0.0020602 | 0.0020602 | 0.98188 | -0.12705 | 0.98181 | -0.12752 | 0.76305
6 | -0.01692 | -0.0042392 | 0.016945 | 0.004248 | 2.5069e-05 | 8.8678e-06 | 0.025642 | 0.025641 | 0.025642 | 0.98188 | -0.12705 | 0.98338 | -0.11636 | 9.4969
7 | 0.0010947 | 0.00027428 | -0.0010947 | -0.00027436 | 1.1482e-08 | -7.9082e-08 | 0.0016642 | 0.0016643 | 0.0016643 | 0.97879 | -0.14917 | 0.97878 | -0.14924 | 0.6164
8 | 0.010832 | 0.0027116 | -0.010825 | -0.0027094 | 7.14e-06 | 2.2161e-06 | 0.016466 | 0.016466 | 0.016466 | 0.97879 | -0.14917 | 0.97812 | -0.15394 | 6.0986
9 | -0.018128 | -0.0045446 | 0.018133 | 0.0045464 | 5.1494e-06 | 1.8414e-06 | 0.027432 | 0.027432 | 0.027432 | 0.98338 | -0.11636 | 0.98367 | -0.1143 | 10.1599
10 | 0.010001 | 0.0025031 | -0.0099899 | -0.0024996 | 1.1576e-05 | 3.4474e-06 | 0.015214 | 0.015214 | 0.015214 | 0.97812 | -0.15394 | 0.97695 | -0.16233 | 5.6349
11 | 0.0099899 | 0.0024996 | -0.0099865 | -0.0024986 | 3.4043e-06 | 1.0143e-06 | 0.015214 | 0.015214 | 0.015214 | 0.97695 | -0.16233 | 0.97661 | -0.1648 | 5.635
12 | 0.0094148 | 0.0023554 | -0.0094126 | -0.0023547 | 2.2134e-06 | 6.3561e-07 | 0.014343 | 0.014344 | 0.014344 | 0.97661 | -0.1648 | 0.97637 | -0.16651 | 5.3124
13 | 0.008846 | 0.0022127 | -0.0088399 | -0.002211 | 6.0654e-06 | 1.6643e-06 | 0.01348 | 0.01348 | 0.01348 | 0.97637 | -0.16651 | 0.97568 | -0.17148 | 4.9927
14 | 0.0086497 | 0.0021634 | -0.0086472 | -0.0021627 | 2.4795e-06 | 6.685e-07 | 0.01319 | 0.01319 | 0.01319 | 0.97568 | -0.17148 | 0.97539 | -0.17356 | 4.8852
15 | 0.0076619 | 0.0019158 | -0.0076554 | -0.0019142 | 6.509e-06 | 1.5511e-06 | 0.011687 | 0.011687 | 0.011687 | 0.97539 | -0.17356 | 0.97454 | -0.17973 | 4.3286
16 | 0.0076554 | 0.0019142 | -0.0076496 | -0.0019128 | 5.7456e-06 | 1.3706e-06 | 0.011687 | 0.011688 | 0.011688 | 0.97454 | -0.17973 | 0.97378 | -0.18518 | 4.3288
17 | 0.0072613 | 0.0018155 | -0.0072558 | -0.0018143 | 5.4991e-06 | 1.225e-06 | 0.011094 | 0.011095 | 0.011095 | 0.97378 | -0.18518 | 0.97302 | -0.19067 | 4.1091
18 | -0.02134 | -0.00535 | 0.021356 | 0.005356 | 1.6228e-05 | 5.9246e-06 | 0.032282 | 0.032282 | 0.032282 | 0.98367 | -0.1143 | 0.98444 | -0.10882 | 11.9564
19 | -0.0022286 | -0.00055853 | 0.0022286 | 0.00055853 | 1.6887e-09 | -2.3547e-09 | 0.0033763 | 0.0033763 | 0.0033763 | 0.98218 | -0.12487 | 0.98218 | -0.12487 | 1.2505
20 | -0.0044755 | -0.0011217 | 0.0044762 | 0.0011216 | 7.3101e-07 | -4.14e-08 | 0.0067804 | 0.0067803 | 0.0067804 | 0.98218 | -0.12487 | 0.98235 | -0.12369 | 2.5113
21 | -0.0070055 | -0.0017555 | 0.0070061 | 0.0017556 | 5.7565e-07 | 1.1767e-07 | 0.010611 | 0.010611 | 0.010611 | 0.98235 | -0.12369 | 0.98243 | -0.12309 | 3.9302
22 | -0.011739 | -0.0029418 | 0.011743 | 0.0029431 | 4.2148e-06 | 1.3504e-06 | 0.01778 | 0.01778 | 0.01778 | 0.98243 | -0.12309 | 0.9828 | -0.1205 | 6.5851
23 | -0.014336 | -0.003593 | 0.014338 | 0.0035938 | 2.4205e-06 | 8.2662e-07 | 0.021706 | 0.021705 | 0.021706 | 0.9828 | -0.1205 | 0.98297 | -0.11928 | 8.0391
24 | -0.019281 | -0.0048326 | 0.019297 | 0.0048382 | 1.5753e-05 | 5.683e-06 | 0.029188 | 0.029188 | 0.029188 | 0.98297 | -0.11928 | 0.9838 | -0.11338 | 10.8103
25 | -0.021467 | -0.0053821 | 0.021481 | 0.0053871 | 1.3581e-05 | 4.961e-06 | 0.03247 | 0.03247 | 0.03247 | 0.9838 | -0.11338 | 0.98444 | -0.10882 | 12.026
26 | -0.042837 | -0.010743 | 0.042863 | 0.010753 | 2.5721e-05 | 9.7677e-06 | 0.064752 | 0.064752 | 0.064752 | 0.98444 | -0.10882 | 0.98505 | -0.10449 | 23.9823
27 | -0.045095 | -0.011312 | 0.04514 | 0.011329 | 4.4783e-05 | 1.7027e-05 | 0.068125 | 0.068125 | 0.068125 | 0.98505 | -0.10449 | 0.98606 | -0.097337 | 25.2314
28 | 0.036166 | 0.0090799 | -0.036145 | -0.0090717 | 2.1753e-05 | 8.2174e-06 | 0.054583 | 0.054583 | 0.054583 | 0.98606 | -0.097337 | 0.98545 | -0.10167 | 20.2159
29 | -0.081307 | -0.020409 | 0.081822 | 0.020607 | 0.00051514 | 0.00019743 | 0.12271 | 0.12271 | 0.12271 | 0.98606 | -0.097337 | 0.9925 | -0.052009 | 45.4473
30 | 0.029567 | 0.0074232 | -0.029552 | -0.0074178 | 1.4417e-05 | 5.3974e-06 | 0.04465 | 0.04465 | 0.04465 | 0.98545 | -0.10167 | 0.98495 | -0.10518 | 16.5371
31 | 0.0065781 | 0.0016485 | -0.0065773 | -0.0016483 | 8.1346e-07 | 1.4455e-07 | 0.0099328 | 0.0099329 | 0.0099329 | 0.98545 | -0.10167 | 0.98532 | -0.10256 | 3.6789
32 | -0.089186 | -0.022452 | 0.089324 | 0.022505 | 0.00013886 | 5.2765e-05 | 0.13375 | 0.13375 | 0.13375 | 0.9925 | -0.052009 | 0.9941 | -0.04088 | 24.7681
33 | 0.027142 | 0.0068139 | -0.027124 | -0.0068071 | 1.8128e-05 | 6.7524e-06 | 0.041009 | 0.04101 | 0.04101 | 0.98495 | -0.10518 | 0.98427 | -0.10999 | 15.1887
34 | 0.0018916 | 0.00047399 | -0.0018915 | -0.00047406 | 3.5529e-08 | -7.5206e-08 | 0.0028566 | 0.0028566 | 0.0028566 | 0.98532 | -0.10256 | 0.9853 | -0.1027 | 1.058
35 | -0.22926 | -0.057788 | 0.22982 | 0.058003 | 0.00056018 | 0.00021456 | 0.34329 | 0.34329 | 0.34329 | 0.9941 | -0.04088 | 0.9966 | -0.023475 | 42.3816
36 | 0.13994 | 0.035283 | -0.13988 | -0.035259 | 6.457e-05 | 2.456e-05 | 0.20954 | 0.20954 | 0.20954 | 0.9941 | -0.04088 | 0.99362 | -0.044175 | 25.8696
37 | 0.027124 | 0.0068071 | -0.027057 | -0.0067822 | 6.6938e-05 | 2.4937e-05 | 0.04101 | 0.04101 | 0.04101 | 0.98427 | -0.10999 | 0.98177 | -0.12781 | 15.1888
38 | -0.23251 | -0.058675 | 0.23327 | 0.058969 | 0.00076875 | 0.00029447 | 0.34729 | 0.34729 | 0.34729 | 0.9966 | -0.023475 | 1 | 0 | 42.8759
39 | 0.024325 | 0.0060979 | -0.024309 | -0.0060918 | 1.6585e-05 | 6.1196e-06 | 0.036429 | 0.036429 | 0.036429 | 0.99362 | -0.044175 | 0.99292 | -0.049101 | 13.4924
40 | 0.11555 | 0.029161 | -0.11539 | -0.029099 | 0.00016391 | 6.2021e-05 | 0.17311 | 0.17311 | 0.17311 | 0.99362 | -0.044175 | 0.99217 | -0.054294 | 21.3722
41 | 0.0048453 | 0.0012128 | -0.0048417 | -0.0012128 | 3.5988e-06 | 3.2837e-08 | 0.0073433 | 0.0073438 | 0.0073438 | 0.98177 | -0.12781 | 0.98101 | -0.13319 | 2.7199
42 | 0.022212 | 0.0055694 | -0.022194 | -0.0055628 | 1.7865e-05 | 6.5519e-06 | 0.033667 | 0.033667 | 0.033667 | 0.98177 | -0.12781 | 0.98095 | -0.13362 | 12.4691
43 | 0.0048417 | 0.0012128 | -0.0048405 | -0.0012128 | 1.237e-06 | 1.1807e-08 | 0.0073438 | 0.0073439 | 0.0073439 | 0.98101 | -0.13319 | 0.98075 | -0.13504 | 2.72
44 | 0.011438 | 0.002867 | -0.011431 | -0.0028648 | 6.9e-06 | 2.1904e-06 | 0.01735 | 0.01735 | 0.01735 | 0.98095 | -0.13362 | 0.98034 | -0.13798 | 6.4261
45 | 0.0070846 | 0.001775 | -0.007083 | -0.0017747 | 1.6301e-06 | 3.2727e-07 | 0.010617 | 0.010617 | 0.010617 | 0.99292 | -0.049101 | 0.99269 | -0.050764 | 3.9323
46 | 0.11093 | 0.027982 | -0.11082 | -0.027942 | 0.00010539 | 3.9826e-05 | 0.16643 | 0.16643 | 0.16643 | 0.99217 | -0.054294 | 0.9912 | -0.061075 | 20.5473
47 | 0.0038589 | 0.00096667 | -0.0038582 | -0.00096685 | 7.5932e-07 | -1.7804e-07 | 0.0057843 | 0.0057845 | 0.0057845 | 0.99269 | -0.050764 | 0.99249 | -0.052186 | 2.1424
48 | 0.099801 | 0.025179 | -0.099615 | -0.025109 | 0.00018613 | 7.0052e-05 | 0.14988 | 0.14988 | 0.14988 | 0.9912 | -0.061075 | 0.98929 | -0.074393 | 18.5043
49 | -0.0017631 | -0.00044189 | 0.0017633 | 0.00044159 | 1.1633e-07 | -2.9484e-07 | 0.0026536 | 0.0026535 | 0.0026536 | 0.9887 | -0.078565 | 0.98877 | -0.078088 | 0.98281
50 | -0.0096663 | -0.0024223 | 0.0096683 | 0.0024228 | 1.9953e-06 | 5.7358e-07 | 0.014547 | 0.014547 | 0.014547 | 0.98877 | -0.078088 | 0.98898 | -0.076597 | 5.3877
51 | -0.011992 | -0.0030051 | 0.011995 | 0.0030063 | 3.659e-06 | 1.1761e-06 | 0.018043 | 0.018042 | 0.018043 | 0.98898 | -0.076597 | 0.98929 | -0.074393 | 6.6824
52 | 0.08762 | 0.022103 | -0.087586 | -0.02209 | 3.4329e-05 | 1.2838e-05 | 0.13184 | 0.13184 | 0.13184 | 0.98929 | -0.074393 | 0.98889 | -0.077187 | 16.2768
53 | 0.076624 | 0.019343 | -0.076551 | -0.019316 | 7.3692e-05 | 2.7319e-05 | 0.11535 | 0.11535 | 0.11535 | 0.98889 | -0.077187 | 0.98791 | -0.084041 | 14.2406
54 | 0.021842 | 0.0054753 | -0.021832 | -0.0054717 | 1.0016e-05 | 3.6752e-06 | 0.033471 | 0.033471 | 0.033471 | 0.97104 | -0.20381 | 0.97058 | -0.20712 | 12.3968
55 | -0.021842 | -0.0054753 | 0.021853 | 0.0054793 | 1.0881e-05 | 3.9924e-06 | 0.033471 | 0.033471 | 0.033471 | 0.97104 | -0.20381 | 0.97154 | -0.20022 | 12.3968
56 | -0.045324 | -0.011362 | 0.045389 | 0.011387 | 6.5254e-05 | 2.4829e-05 | 0.06942 | 0.06942 | 0.06942 | 0.97154 | -0.20022 | 0.97298 | -0.18984 | 25.711
57 | -0.048027 | -0.012048 | 0.048114 | 0.012081 | 8.6591e-05 | 3.2984e-05 | 0.073454 | 0.073454 | 0.073454 | 0.97298 | -0.18984 | 0.97479 | -0.17686 | 27.2051
58 | -0.050566 | -0.012695 | 0.050663 | 0.012732 | 9.7429e-05 | 3.7145e-05 | 0.077197 | 0.077197 | 0.077197 | 0.97479 | -0.17686 | 0.97673 | -0.16302 | 28.5914
59 | -0.0010551 | -0.00026443 | 0.0010551 | 0.00026413 | 4.0575e-08 | -2.9936e-07 | 0.0016074 | 0.0016073 | 0.0016074 | 0.97669 | -0.1633 | 0.97673 | -0.16302 | 0.59535
60 | -0.057528 | -0.014452 | 0.057635 | 0.014493 | 0.00010742 | 4.1034e-05 | 0.087654 | 0.087654 | 0.087654 | 0.97673 | -0.16302 | 0.97861 | -0.14962 | 32.4646
61 | 0.0058094 | 0.0014557 | -0.0058075 | -0.0014555 | 1.9069e-06 | 2.453e-07 | 0.0088503 | 0.0088505 | 0.0088505 | 0.97673 | -0.16302 | 0.9764 | -0.16539 | 3.278
62 | 0.074146 | 0.018713 | -0.074019 | -0.018666 | 0.00012682 | 4.6904e-05 | 0.11173 | 0.11173 | 0.11173 | 0.98791 | -0.084041 | 0.98617 | -0.096244 | 13.7936
63 | 0.0038582 | 0.00096685 | -0.003858 | -0.0009669 | 2.0852e-07 | -4.8853e-08 | 0.0057845 | 0.0057845 | 0.0057845 | 0.99249 | -0.052186 | 0.99243 | -0.052577 | 2.1424
64 | -0.061387 | -0.015433 | 0.061544 | 0.015493 | 0.00015659 | 5.9864e-05 | 0.093359 | 0.093359 | 0.093359 | 0.97861 | -0.14962 | 0.98118 | -0.13136 | 34.5773
65 | -0.067879 | -0.017081 | 0.068042 | 0.017144 | 0.00016349 | 6.2567e-05 | 0.10297 | 0.10297 | 0.10297 | 0.98118 | -0.13136 | 0.98362 | -0.11414 | 38.1356
66 | -0.073834 | -0.018595 | 0.074019 | 0.018666 | 0.00018523 | 7.0938e-05 | 0.11173 | 0.11173 | 0.11173 | 0.98362 | -0.11414 | 0.98617 | -0.096244 | 41.3809
67 | 0.002245 | 0.00056226 | -0.0022447 | -0.00056258 | 2.3661e-07 | -3.2141e-07 | 0.003406 | 0.0034061 | 0.0034061 | 0.98075 | -0.13504 | 0.98065 | -0.1358 | 1.2615
68 | 0.0068599 | 0.0017151 | -0.0068588 | -0.0017148 | 1.1381e-06 | 2.3185e-07 | 0.010489 | 0.010489 | 0.010489 | 0.97302 | -0.19067 | 0.97286 | -0.19188 | 3.8849
69 | 0.0053547 | 0.0013379 | -0.0053537 | -0.0013378 | 9.5819e-07 | 8.4243e-08 | 0.0081887 | 0.0081888 | 0.0081888 | 0.97286 | -0.19188 | 0.97268 | -0.19318 | 3.0329
70 | 0.0041545 | 0.0010372 | -0.0041539 | -0.0010373 | 5.9179e-07 | -6.3887e-08 | 0.0063542 | 0.0063543 | 0.0063543 | 0.97268 | -0.19318 | 0.97253 | -0.19422 | 2.3534
71 | 0.0025343 | 0.00063137 | -0.0025311 | -0.00063435 | 3.1778e-06 | -2.9765e-06 | 0.0038762 | 0.0038777 | 0.0038777 | 0.97253 | -0.19422 | 0.97128 | -0.20333 | 1.4362

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2369 | 0.059679

## res_load
| p_mw | q_mvar
0 | 0.0012204 | 0.00030585
1 | 0.0023697 | 0.00059391
2 | 0.0013594 | 0.00034069
3 | 0.0011831 | 0.00029651
4 | 0.00082322 | 0.00020632
5 | 0.0010947 | 0.00027436
6 | 0.00057164 | 0.00014327
7 | 0.00056664 | 0.00014201
8 | 0.00019023 | 4.7675e-05
9 | 0.00098532 | 0.00024695
10 | 0.00038831 | 9.7319e-05
11 | 0.0032066 | 0.00080365
12 | 0.0022286 | 0.00055853
13 | 0.0022469 | 0.00056313
14 | 0.0025293 | 0.0006339
15 | 0.0047327 | 0.0011861
16 | 0.0025929 | 0.00064985
17 | 0.0049427 | 0.0012388
18 | 0.0021702 | 0.0005439
19 | 0.0022328 | 0.00055958
20 | 0.0073638 | 0.0018456
21 | 0.0024098 | 0.00060395
22 | 0.0046857 | 0.0011744
23 | 0.0018915 | 0.00047406
24 | 0.0026815 | 0.00067206
25 | 0.010756 | 0.0026958
26 | 0.0028303 | 0.00070935
27 | 0.017224 | 0.0043168
28 | 0.0044555 | 0.0011167
29 | 0.0032241 | 0.00080803
30 | 0.011023 | 0.0027627
31 | 0.0017631 | 0.00044189
32 | 0.007903 | 0.0019807
33 | 0.0023234 | 0.00058229
34 | 0.010961 | 0.0027472
35 | 0.021832 | 0.0054717
36 | 0.023471 | 0.0058824
37 | 0.0026378 | 0.00066111
38 | 0.0024522 | 0.00061458
39 | 0.0010551 | 0.00026443
40 | 0.0024043 | 0.00060258
41 | 0.0037516 | 0.00094024
42 | 0.0058075 | 0.0014555
43 | 0.0063351 | 0.0015877
44 | 0.0057921 | 0.0014516
45 | 0.003858 | 0.0009669
46 | 0.011431 | 0.0028648
47 | 0.0025955 | 0.0006505
48 | 0.0022447 | 0.00056258
49 | 0.00039588 | 9.9217e-05
50 | 0.0015041 | 0.00037697
51 | 0.0011992 | 0.00030055
52 | 0.0016197 | 0.00040593
53 | 0.0025311 | 0.00063435

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1