## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2102-1_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2102-1_1_2_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_2102-1_1_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_2102-1_1_2_node_130 | 0.4 | n |  | TRUE
4 | bus_LV_2102-1_1_2_node_123 | 0.4 | n |  | TRUE
5 | bus_LV_2102-1_1_2_node_126 | 0.4 | n |  | TRUE
6 | bus_LV_2102-1_1_2_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_2102-1_1_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2102-1_1_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2102-1_1_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2102-1_1_2_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_2102-1_1_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_2102-1_1_2_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_2102-1_1_2_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2102-1_1_2_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2102-1_1_2_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_2102-1_1_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_2102-1_1_2_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2102-1_1_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2102-1_1_2_node_124 | 0.4 | n |  | TRUE
20 | bus_LV_2102-1_1_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_2102-1_1_2_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_2102-1_1_2_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2102-1_1_2_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_2102-1_1_2_node_121 | 0.4 | n |  | TRUE
25 | bus_LV_2102-1_1_2_node_119 | 0.4 | n |  | TRUE
26 | bus_LV_2102-1_1_2_node_120 | 0.4 | n |  | TRUE
27 | bus_LV_2102-1_1_2_node_122 | 0.4 | n |  | TRUE
28 | bus_LV_2102-1_1_2_node_125 | 0.4 | n |  | TRUE
29 | bus_MV_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2102-1_1_2_load_128 | 0 | 0.00051269 | 0.00012849 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2102-1_1_2_load_129 | 1 | 0.0014104 | 0.00035348 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2102-1_1_2_load_127 | 2 | 0.00059841 | 0.00014997 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2102-1_1_2_load_130 | 3 | 0.00031906 | 7.9964e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2102-1_1_2_load_131 | 6 | 0.00015755 | 3.9485e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2102-1_1_2_load_19 | 7 | 0.0014626 | 0.00036656 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2102-1_1_2_load_20 | 8 | 0.0004605 | 0.00011541 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2102-1_1_2_load_21 | 9 | 0.0011851 | 0.00029702 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2102-1_1_2_load_30 | 10 | 0.00040131 | 0.00010058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2102-1_1_2_load_22 | 11 | 0.0022641 | 0.00056743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2102-1_1_2_load_23 | 12 | 0.0034821 | 0.0008727 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2102-1_1_2_load_29 | 13 | 0.0018047 | 0.0004523 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2102-1_1_2_load_25 | 14 | 0.00052669 | 0.000132 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2102-1_1_2_load_34 | 16 | 0.00012607 | 3.1597e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2102-1_1_2_load_27 | 17 | 0.0037888 | 0.00094955 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2102-1_1_2_load_124 | 19 | 0.00050812 | 0.00012735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2102-1_1_2_load_32 | 21 | 0.00063755 | 0.00015978 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2102-1_1_2_load_121 | 24 | 0.00080548 | 0.00020187 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2102-1_1_2_load_119 | 25 | 0.00010903 | 2.7324e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2102-1_1_2_load_120 | 26 | 0.00078024 | 0.00019555 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2102-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2102-1_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.031524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2102-1_1_2_line_2 | NAYY 4x150 SE | 2 | 28 | 0.037327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2102-1_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.033183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2102-1_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0039082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2102-1_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2102-1_1_2_line_6 | NAYY 4x150 SE | 4 | 27 | 0.068509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2102-1_1_2_line_7 | NAYY 4x150 SE | 5 | 28 | 0.03169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2102-1_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.17805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2102-1_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2102-1_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0033371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2102-1_1_2_line_11 | NAYY 4x150 SE | 10 | 20 | 0.20756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2102-1_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0059696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2102-1_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.16046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2102-1_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.049684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2102-1_1_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.078947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2102-1_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.27847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2102-1_1_2_line_17 | NAYY 4x150 SE | 16 | 23 | 0.016712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2102-1_1_2_line_18 | NAYY 4x150 SE | 16 | 21 | 0.0039194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2102-1_1_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.040258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2102-1_1_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.21497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2102-1_1_2_line_21 | NAYY 4x150 SE | 19 | 28 | 0.058929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2102-1_1_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.026547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2102-1_1_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.027496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2102-1_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.027181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2102-1_1_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.047435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2102-1_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.03636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2102-1_1_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.1073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2102-1_1_2_trafo_25 | 0.25 MVA 20/0.4 kV | 29 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2555497.3827 | 1162708.6616 | 2555497.4508 | 1162708.8905 | 2555505.7378 | 1162735.4873 | 2555506.8909 | 1162737.0574 | 2555507.6393 | 1162737.4563
1 | 2555507.6393 | 1162737.4563 | 2555508.6598 | 1162738.0003 | 2555534.9033 | 1162741.93 | 2555537.6927 | 1162742.0538 | 2555538.7296 | 1162741.9874
2 | 2555573.5668 | 1162729.626 | 2555554.3771 | 1162738.9286 | 2555549.8448 | 1162740.3296 | 2555547.7803 | 1162740.8451 | 2555544.0236 | 1162741.4733 | 2555540.6329 | 1162741.8653 | 2555538.7296 | 1162741.9874
3 | 2555595.6061 | 1162794.7747 | 2555585.4211 | 1162763.1934
4 | 2555584.2216 | 1162759.4738 | 2555585.4211 | 1162763.1934
5 | 2555606.827 | 1162789.3777 | 2555595.6061 | 1162794.7747
6 | 2555595.6061 | 1162794.7747 | 2555599.6338 | 1162809.0301 | 2555600.8302 | 1162816.4584 | 2555601.9057 | 1162824.11 | 2555603.5926 | 1162846.0534 | 2555604.3396 | 1162852.7847 | 2555605.5494 | 1162857.8896 | 2555606.9745 | 1162862.059
7 | 2555584.2216 | 1162759.4738 | 2555573.5668 | 1162729.626
8 | 2555996.3646 | 1163219.0592 | 2556019.162 | 1163395.6391
9 | 2555996.3646 | 1163219.0592 | 2555994.2663 | 1163214.5783 | 2555980.636 | 1163184.9184 | 2555976.4579 | 1163177.145 | 2555972.8353 | 1163172.0133 | 2555967.8905 | 1163166.2355 | 2555966.2563 | 1163164.4796
10 | 2555963.9828 | 1163162.0367 | 2555966.2563 | 1163164.4796
11 | 2555812.0168 | 1163020.6613 | 2555963.9828 | 1163162.0367
12 | 2556273.0137 | 1162845.9523 | 2556270.8789 | 1162841.3719 | 2556270.4611 | 1162840.5566
13 | 2556270.4611 | 1162840.5566 | 2556110.0296 | 1162837.3515
14 | 2556066.5439 | 1162813.9951 | 2556097.172 | 1162833.0474 | 2556102.374 | 1162835.2216 | 2556106.2069 | 1162836.6388 | 2556110.0296 | 1162837.3515
15 | 2556066.5439 | 1162813.9951 | 2556064.0283 | 1162815.681 | 2556061.1681 | 1162817.3807 | 2556055.9596 | 1162819.5533 | 2556051.8156 | 1162820.6398 | 2556048.6547 | 1162821.0187 | 2556044.8471 | 1162820.9688 | 2556042.125 | 1162820.6107 | 2556039.7303 | 1162819.9835 | 2556037.271 | 1162818.901 | 2556033.755 | 1162816.8257 | 2556030.3423 | 1162814.216 | 2556026.1131 | 1162809.9447 | 2556018.748 | 1162801.1275 | 2556004.9907 | 1162784.1063
16 | 2555824.2596 | 1162995.9582 | 2556004.9907 | 1162784.1063
17 | 2555808.3535 | 1162992.3624 | 2555817.8813 | 1162993.2037 | 2555820.4876 | 1162993.4513 | 2555824.2596 | 1162995.9582
18 | 2555826.5124 | 1162999.1655 | 2555824.2596 | 1162995.9582 | 2555824.2596 | 1162995.9582
19 | 2555715.7508 | 1162535.1844 | 2555724.1179 | 1162541.6038 | 2555743.5312 | 1162558.3248 | 2555746.5256 | 1162561.1121
20 | 2555552.2144 | 1162674.7157 | 2555715.7508 | 1162535.1844
21 | 2555573.5668 | 1162729.626 | 2555572.4861 | 1162726.4435 | 2555562.8892 | 1162700.8456 | 2555553.2587 | 1162676.9267 | 2555552.2144 | 1162674.7157
22 | 2555812.0168 | 1163020.6613 | 2555826.0366 | 1163003.2156 | 2555826.725 | 1163000.9871 | 2555826.5124 | 1162999.1655
23 | 2555780.8579 | 1162992.9764 | 2555794.0392 | 1162991.6786 | 2555808.3535 | 1162992.3624
24 | 2555780.8579 | 1162992.9764 | 2555760.7635 | 1162974.6723
25 | 2555720.6128 | 1162949.7039 | 2555724.6584 | 1162951.9695 | 2555736.8769 | 1162958.2382 | 2555743.2144 | 1162961.6932 | 2555747.6103 | 1162964.6512 | 2555752.2537 | 1162967.9409 | 2555758.9094 | 1162972.9834 | 2555760.7635 | 1162974.6723
26 | 2555690.4362 | 1162929.4928 | 2555705.2303 | 1162940.3291 | 2555712.9814 | 1162945.3634 | 2555718.4279 | 1162948.4804 | 2555720.6128 | 1162949.7039
27 | 2555690.4362 | 1162929.4928 | 2555606.9745 | 1162862.059

## bus_geodata
| x | y | coords
0 | 2555497.3827 | 1162708.6616
1 | 2555507.6393 | 1162737.4563
2 | 2555538.7296 | 1162741.9874
3 | 2555585.4211 | 1162763.1934
4 | 2555595.6061 | 1162794.7747
5 | 2555584.2216 | 1162759.4738
6 | 2555606.827 | 1162789.3777
7 | 2556019.162 | 1163395.6391
8 | 2555996.3646 | 1163219.0592
9 | 2555966.2563 | 1163164.4796
10 | 2555963.9828 | 1163162.0367
11 | 2556273.0137 | 1162845.9523
12 | 2556270.4611 | 1162840.5566
13 | 2556110.0296 | 1162837.3515
14 | 2556004.9907 | 1162784.1063
15 | 2556066.5439 | 1162813.9951
16 | 2555824.2596 | 1162995.9582
17 | 2555746.5256 | 1162561.1121
18 | 2555715.7508 | 1162535.1844
19 | 2555552.2144 | 1162674.7157
20 | 2555812.0168 | 1163020.6613
21 | 2555826.5124 | 1162999.1655
22 | 2555780.8579 | 1162992.9764
23 | 2555808.3535 | 1162992.3624
24 | 2555760.7635 | 1162974.6723
25 | 2555690.4362 | 1162929.4928
26 | 2555720.6128 | 1162949.704
27 | 2555606.9745 | 1162862.059
28 | 2555573.5668 | 1162729.626
29 | 2556004.9907 | 1162784.1063

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99004 | -0.070448 | 0.00051269 | 0.00012849
1 | 0.99006 | -0.070286 | 0.0014104 | 0.00035348
2 | 0.99015 | -0.069668 | 0.00059841 | 0.00014997
3 | 0.99063 | -0.066222 | 0.00031906 | 7.9964e-05
4 | 0.99097 | -0.063799 | 0 | 0
5 | 0.99059 | -0.066495 | 0 | 0
6 | 0.99097 | -0.063819 | 0.00015755 | 3.9485e-05
7 | 0.99293 | -0.049981 | 0.0014626 | 0.00036656
8 | 0.9933 | -0.047331 | 0.0004605 | 0.00011541
9 | 0.99347 | -0.046099 | 0.0011851 | 0.00029702
10 | 0.99349 | -0.045993 | 0.00040131 | 0.00010058
11 | 0.99728 | -0.019125 | 0.0022641 | 0.00056743
12 | 0.99729 | -0.01899 | 0.0034821 | 0.0008727
13 | 0.99861 | -0.009736 | 0.0018047 | 0.0004523
14 | 1 | 0 | -0.021746 | -0.0052429
15 | 0.99915 | -0.0059742 | 0 | 0
16 | 0.99469 | -0.037447 | 0.00012607 | 3.1597e-05
17 | 0.98852 | -0.081195 | 0.0037888 | 0.00094955
18 | 0.98874 | -0.079637 | 0 | 0
19 | 0.98992 | -0.071301 | 0.00050812 | 0.00012735
20 | 0.99453 | -0.038565 | 0 | 0
21 | 0.99467 | -0.037613 | 0.00063755 | 0.00015978
22 | 0.99412 | -0.041492 | 0 | 0
23 | 0.99447 | -0.038976 | 0 | 0
24 | 0.99377 | -0.043981 | 0.00080548 | 0.00020187
25 | 0.99282 | -0.050689 | 0.00010903 | 2.7324e-05
26 | 0.99321 | -0.04794 | 0.00078024 | 0.00019555
27 | 0.99169 | -0.058688 | 0 | 0
28 | 0.99028 | -0.068707 | 0 | 0
29 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00051269 | -0.00012849 | 0.0005127 | 0.0001281 | 1.1444e-08 | -3.9286e-07 | 0.00077057 | 0.00077043 | 0.00077057 | 0.99004 | -0.070448 | 0.99006 | -0.070286 | 0.2854
1 | -0.0019231 | -0.00048158 | 0.0019233 | 0.00048123 | 1.6431e-07 | -3.4223e-07 | 0.0028902 | 0.0028901 | 0.0028902 | 0.99006 | -0.070286 | 0.99015 | -0.069668 | 1.0704
2 | -0.0025217 | -0.00063121 | 0.002522 | 0.00063086 | 3.3444e-07 | -3.5154e-07 | 0.0037893 | 0.0037892 | 0.0037893 | 0.99015 | -0.069668 | 0.99028 | -0.068707 | 1.4035
3 | -0.007147 | -0.0017867 | 0.0071494 | 0.0017872 | 2.3856e-06 | 4.9018e-07 | 0.010734 | 0.010734 | 0.010734 | 0.99063 | -0.066222 | 0.99097 | -0.063799 | 3.9755
4 | 0.0068279 | 0.0017067 | -0.0068277 | -0.0017067 | 2.5645e-07 | 4.8318e-08 | 0.010255 | 0.010255 | 0.010255 | 0.99063 | -0.066222 | 0.99059 | -0.066495 | 3.798
5 | 0.00015755 | 3.9325e-05 | -0.00015755 | -3.9485e-05 | 4.337e-10 | -1.5987e-07 | 0.00023651 | 0.00023657 | 0.00023657 | 0.99097 | -0.063799 | 0.99097 | -0.063819 | 0.087618
6 | -0.0073069 | -0.0018265 | 0.0073121 | 0.0018276 | 5.1445e-06 | 1.0954e-06 | 0.01097 | 0.01097 | 0.01097 | 0.99097 | -0.063799 | 0.99169 | -0.058688 | 4.063
7 | 0.0068277 | 0.0017067 | -0.0068256 | -0.0017063 | 2.0794e-06 | 3.9195e-07 | 0.010255 | 0.010255 | 0.010255 | 0.99059 | -0.066495 | 0.99028 | -0.068707 | 3.798
8 | -0.0014626 | -0.00036656 | 0.0014631 | 0.00036446 | 5.3356e-07 | -2.0986e-06 | 0.0021919 | 0.0021911 | 0.0021919 | 0.99293 | -0.049981 | 0.9933 | -0.047331 | 0.8118
9 | -0.0019236 | -0.00047987 | 0.001924 | 0.00047919 | 3.2469e-07 | -6.8686e-07 | 0.0028809 | 0.0028806 | 0.0028809 | 0.9933 | -0.047331 | 0.99347 | -0.046099 | 1.067
10 | -0.0031091 | -0.0007762 | 0.0031091 | 0.00077618 | 4.5135e-08 | -2.5852e-08 | 0.0046557 | 0.0046556 | 0.0046557 | 0.99347 | -0.046099 | 0.99349 | -0.045993 | 1.7243
11 | -0.0035104 | -0.00087675 | 0.003514 | 0.00087544 | 3.5783e-06 | -1.3142e-06 | 0.0052567 | 0.0052558 | 0.0052567 | 0.99349 | -0.045993 | 0.99453 | -0.038565 | 1.9469
12 | -0.0022641 | -0.00056743 | 0.0022641 | 0.00056737 | 4.2509e-08 | -6.1542e-08 | 0.0033782 | 0.0033781 | 0.0033782 | 0.99728 | -0.019125 | 0.99729 | -0.01899 | 1.2512
13 | -0.0057462 | -0.0014401 | 0.0057536 | 0.0014408 | 7.3596e-06 | 7.3405e-07 | 0.0085736 | 0.0085729 | 0.0085736 | 0.99729 | -0.01899 | 0.99861 | -0.009736 | 3.1754
14 | -0.0075583 | -0.0018931 | 0.0075622 | 0.001894 | 3.9321e-06 | 8.6199e-07 | 0.011262 | 0.011262 | 0.011262 | 0.99861 | -0.009736 | 0.99915 | -0.0059742 | 4.1711
15 | 0.0075685 | 0.0018953 | -0.0075622 | -0.001894 | 6.2477e-06 | 1.3681e-06 | 0.011261 | 0.011262 | 0.011262 | 1 | 0 | 0.99915 | -0.0059742 | 4.171
16 | 0.013377 | 0.0033475 | -0.013308 | -0.0033246 | 6.8843e-05 | 2.2844e-05 | 0.019904 | 0.019905 | 0.019905 | 1 | 0 | 0.99469 | -0.037447 | 7.3722
17 | 0.0090303 | 0.002258 | -0.0090284 | -0.0022575 | 1.9026e-06 | 5.1487e-07 | 0.013507 | 0.013507 | 0.013507 | 0.99469 | -0.037447 | 0.99447 | -0.038976 | 5.0027
18 | 0.0041521 | 0.001035 | -0.004152 | -0.0010351 | 9.4298e-08 | -1.4606e-08 | 0.0062094 | 0.0062094 | 0.0062094 | 0.99469 | -0.037447 | 0.99467 | -0.037613 | 2.2998
19 | -0.0037888 | -0.00094955 | 0.0037896 | 0.00094935 | 8.1708e-07 | -2.0196e-07 | 0.0057032 | 0.005703 | 0.0057032 | 0.98852 | -0.081195 | 0.98874 | -0.079637 | 2.1123
20 | -0.0037896 | -0.00094935 | 0.0037939 | 0.00094826 | 4.3621e-06 | -1.0827e-06 | 0.005703 | 0.005702 | 0.005703 | 0.98874 | -0.079637 | 0.98992 | -0.071301 | 2.1122
21 | -0.0043021 | -0.0010756 | 0.0043036 | 0.0010754 | 1.5372e-06 | -1.6663e-07 | 0.0064658 | 0.0064655 | 0.0064658 | 0.98992 | -0.071301 | 0.99028 | -0.068707 | 2.3947
22 | -0.003514 | -0.00087544 | 0.0035144 | 0.00087527 | 4.5758e-07 | -1.6854e-07 | 0.0052558 | 0.0052556 | 0.0052558 | 0.99453 | -0.038565 | 0.99467 | -0.037613 | 1.9466
23 | -0.0090252 | -0.0022566 | 0.0090284 | 0.0022575 | 3.1303e-06 | 8.4734e-07 | 0.013507 | 0.013507 | 0.013507 | 0.99412 | -0.041492 | 0.99447 | -0.038976 | 5.0027
24 | 0.0090252 | 0.0022566 | -0.0090222 | -0.0022558 | 3.0945e-06 | 8.3791e-07 | 0.013507 | 0.013507 | 0.013507 | 0.99412 | -0.041492 | 0.99377 | -0.043981 | 5.0027
25 | 0.0082167 | 0.0020539 | -0.0082122 | -0.0020528 | 4.4791e-06 | 1.1085e-06 | 0.012301 | 0.012302 | 0.012302 | 0.99377 | -0.043981 | 0.99321 | -0.04794 | 4.5561
26 | -0.0074292 | -0.0018567 | 0.007432 | 0.0018573 | 2.812e-06 | 6.1115e-07 | 0.011133 | 0.011133 | 0.011133 | 0.99282 | -0.050689 | 0.99321 | -0.04794 | 4.1233
27 | 0.0073201 | 0.0018293 | -0.0073121 | -0.0018276 | 8.0568e-06 | 1.7128e-06 | 0.010969 | 0.01097 | 0.01097 | 0.99282 | -0.050689 | 0.99169 | -0.058688 | 4.0629

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.022272 | 0.0053749

## res_load
| p_mw | q_mvar
0 | 0.00051269 | 0.00012849
1 | 0.0014104 | 0.00035348
2 | 0.00059841 | 0.00014997
3 | 0.00031906 | 7.9964e-05
4 | 0.00015755 | 3.9485e-05
5 | 0.0014626 | 0.00036656
6 | 0.0004605 | 0.00011541
7 | 0.0011851 | 0.00029702
8 | 0.00040131 | 0.00010058
9 | 0.0022641 | 0.00056743
10 | 0.0034821 | 0.0008727
11 | 0.0018047 | 0.0004523
12 | 0.00052669 | 0.000132
13 | 0.00012607 | 3.1597e-05
14 | 0.0037888 | 0.00094955
15 | 0.00050812 | 0.00012735
16 | 0.00063755 | 0.00015978
17 | 0.00080548 | 0.00020187
18 | 0.00010903 | 2.7324e-05
19 | 0.00078024 | 0.00019555

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1