## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2102-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2102-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2102-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2102-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2102-4_0_3_node_77 | 0.4 | n |  | TRUE
5 | bus_LV_2102-4_0_3_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_2102-4_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2102-4_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2102-4_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2102-4_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2102-4_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2102-4_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2102-4_0_3_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_2102-4_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_2102-4_0_3_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_2102-4_0_3_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_2102-4_0_3_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_2102-4_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_2102-4_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_2102-4_0_3_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_2102-4_0_3_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_2102-4_0_3_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_2102-4_0_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_2102-4_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_2102-4_0_3_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_2102-4_0_3_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_2102-4_0_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_2102-4_0_3_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_2102-4_0_3_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_2102-4_0_3_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_2102-4_0_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_2102-4_0_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_2102-4_0_3_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_2102-4_0_3_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_2102-4_0_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_2102-4_0_3_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_2102-4_0_3_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_2102-4_0_3_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_2102-4_0_3_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_2102-4_0_3_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_2102-4_0_3_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_2102-4_0_3_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_2102-4_0_3_node_83 | 0.4 | n |  | TRUE
43 | bus_MV_367_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2102-4_0_3_load_0 | 0 | 0.0098858 | 0.0024776 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2102-4_0_3_load_1 | 1 | 0.010922 | 0.0027374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2102-4_0_3_load_2 | 2 | 0.0018269 | 0.00045786 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2102-4_0_3_load_77 | 4 | 0.0017666 | 0.00044274 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2102-4_0_3_load_81 | 5 | 0.00088466 | 0.00022172 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2102-4_0_3_load_5 | 7 | 0.0096807 | 0.0024262 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2102-4_0_3_load_17 | 8 | 0.00099146 | 0.00024848 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2102-4_0_3_load_6 | 9 | 0.0039991 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2102-4_0_3_load_7 | 10 | 0.023949 | 0.0060023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2102-4_0_3_load_15 | 11 | 0.0017478 | 0.00043804 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2102-4_0_3_load_38 | 12 | 0.00083517 | 0.00020931 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2102-4_0_3_load_39 | 13 | 0.021184 | 0.0053092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2102-4_0_3_load_61 | 14 | 0.0039215 | 0.00098283 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2102-4_0_3_load_49 | 15 | 0.00048192 | 0.00012078 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2102-4_0_3_load_90 | 16 | 0.00051988 | 0.00013029 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2102-4_0_3_load_55 | 17 | 0.00029786 | 7.4652e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2102-4_0_3_load_56 | 18 | 0.0005131 | 0.0001286 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2102-4_0_3_load_57 | 19 | 0.00053331 | 0.00013366 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2102-4_0_3_load_58 | 20 | 0.00058699 | 0.00014711 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2102-4_0_3_load_59 | 21 | 0.00042402 | 0.00010627 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2102-4_0_3_load_60 | 22 | 0.003892 | 0.00097542 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2102-4_0_3_load_62 | 23 | 0.005081 | 0.0012734 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2102-4_0_3_load_63 | 24 | 0.0049975 | 0.0012525 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2102-4_0_3_load_68 | 25 | 0.0038061 | 0.00095391 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2102-4_0_3_load_64 | 26 | 0.0050054 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2102-4_0_3_load_65 | 27 | 0.0033428 | 0.00083778 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2102-4_0_3_load_71 | 28 | 0.00065883 | 0.00016512 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2102-4_0_3_load_66 | 29 | 0.0024232 | 0.00060731 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2102-4_0_3_load_67 | 30 | 0.0081947 | 0.0020538 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2102-4_0_3_load_69 | 31 | 0.0026615 | 0.00066702 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2102-4_0_3_load_70 | 32 | 0.00056585 | 0.00014182 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2102-4_0_3_load_72 | 33 | 0.00071659 | 0.00017959 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2102-4_0_3_load_73 | 34 | 0.00069058 | 0.00017307 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2102-4_0_3_load_74 | 35 | 0.00090374 | 0.0002265 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2102-4_0_3_load_75 | 36 | 0.00097145 | 0.00024347 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2102-4_0_3_load_76 | 37 | 0.00085748 | 0.0002149 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2102-4_0_3_load_78 | 38 | 0.0010765 | 0.0002698 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2102-4_0_3_load_79 | 39 | 0.00096677 | 0.0002423 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2102-4_0_3_load_82 | 41 | 0.0025831 | 0.00064739 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2102-4_0_3_load_83 | 42 | 0.00072757 | 0.00018235 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2102-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_2102-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_2102-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_2102-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.17415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2102-4_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.23678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2102-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.039055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2102-4_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.011375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2102-4_0_3_line_7 | NAYY 4x150 SE | 4 | 38 | 0.0020897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2102-4_0_3_line_8 | NAYY 4x150 SE | 4 | 37 | 0.21165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2102-4_0_3_line_9 | NAYY 4x150 SE | 5 | 41 | 0.046594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2102-4_0_3_line_10 | NAYY 4x150 SE | 5 | 40 | 0.086622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2102-4_0_3_line_11 | NAYY 4x150 SE | 6 | 8 | 0.11038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2102-4_0_3_line_12 | NAYY 4x150 SE | 7 | 9 | 0.0033689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2102-4_0_3_line_13 | NAYY 4x150 SE | 8 | 11 | 0.048859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2102-4_0_3_line_14 | NAYY 4x150 SE | 9 | 10 | 0.062269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2102-4_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.034221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2102-4_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.065731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2102-4_0_3_line_17 | NAYY 4x150 SE | 14 | 23 | 0.018676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2102-4_0_3_line_18 | NAYY 4x150 SE | 14 | 22 | 0.011441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2102-4_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.011586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2102-4_0_3_line_20 | NAYY 4x150 SE | 16 | 21 | 0.030877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2102-4_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.0083611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2102-4_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.019727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2102-4_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.015203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2102-4_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.005871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2102-4_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2102-4_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.023536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_2102-4_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.061779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_2102-4_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.029674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2102-4_0_3_line_29 | NAYY 4x150 SE | 25 | 29 | 0.020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_2102-4_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0018994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_2102-4_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.015944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2102-4_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.0086419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_2102-4_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.029114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_2102-4_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.010821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_2102-4_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0078186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2102-4_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.015746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2102-4_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0073412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2102-4_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.014264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_2102-4_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.00019622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2102-4_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.020075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2102-4_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.009256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2102-4_0_3_trafo_67 | 0.25 MVA 20/0.4 kV | 43 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2554386.6474 | 1164285.1133 | 2554377.9981 | 1164302.0006 | 2554365.7352 | 1164316.1682
1 | 2554397.1813 | 1164264.5462 | 2554386.6474 | 1164285.1133
2 | 2554352.6492 | 1164331.2867 | 2554365.7352 | 1164316.1682
3 | 2554397.1813 | 1164264.5462 | 2554559.0728 | 1164200.3616
4 | 2554397.1813 | 1164264.5462 | 2554261.8074 | 1164070.2796
5 | 2554352.6492 | 1164331.2867 | 2554332.4689 | 1164314.198 | 2554322.7951 | 1164306.0118
6 | 2554352.6492 | 1164331.2867 | 2554346.0613 | 1164340.56
7 | 2554559.0728 | 1164200.3616 | 2554560.055 | 1164198.5172
8 | 2554579.9303 | 1164410.9808 | 2554559.0728 | 1164200.3616
9 | 2554261.8074 | 1164070.2796 | 2554249.5583 | 1164076.4829 | 2554238.1243 | 1164081.5839 | 2554219.1735 | 1164088.9804
10 | 2554315.0743 | 1164008.4033 | 2554304.5219 | 1164015.6542 | 2554302.089 | 1164020.0195 | 2554299.6955 | 1164035.5792 | 2554297.0282 | 1164043.3592 | 2554287.3174 | 1164054.4946 | 2554277.3141 | 1164061.43 | 2554274.2993 | 1164063.7987 | 2554263.7109 | 1164069.3156 | 2554261.8074 | 1164070.2796
11 | 2554216.2056 | 1164334.6836 | 2554322.7951 | 1164306.0118
12 | 2554344.1102 | 1164343.3065 | 2554346.0613 | 1164340.56
13 | 2554216.2056 | 1164334.6836 | 2554214.0524 | 1164368.3514 | 2554212.9118 | 1164383.4311
14 | 2554344.1102 | 1164343.3065 | 2554329.4627 | 1164363.9247 | 2554306.5114 | 1164392.9175
15 | 2554574.8252 | 1164583.1987 | 2554578.6893 | 1164611.0507 | 2554578.0868 | 1164617.1233
16 | 2554517.9264 | 1164550.2882 | 2554574.8252 | 1164583.1987
17 | 2554528.8211 | 1164535.1255 | 2554521.3558 | 1164545.8732 | 2554517.9264 | 1164550.2882
18 | 2554510.908 | 1164559.3234 | 2554517.9264 | 1164550.2882
19 | 2554447.5436 | 1164637.8058 | 2554440.2639 | 1164646.8194
20 | 2554447.5436 | 1164637.8058 | 2554459.3977 | 1164623.1283 | 2554466.975 | 1164613.8099
21 | 2554483.1246 | 1164593.9494 | 2554488.3996 | 1164587.4623
22 | 2554483.1246 | 1164593.9494 | 2554470.679 | 1164609.2547
23 | 2554488.3996 | 1164587.4623 | 2554497.9913 | 1164575.6666
24 | 2554470.679 | 1164609.2547 | 2554466.975 | 1164613.8099
25 | 2554510.908 | 1164559.3234 | 2554502.949 | 1164569.5697 | 2554497.9913 | 1164575.6666
26 | 2554542.2482 | 1164515.7948 | 2554528.8211 | 1164535.1255
27 | 2554528.8211 | 1164535.1255 | 2554474.7737 | 1164505.1999
28 | 2554542.2482 | 1164515.7948 | 2554548.3778 | 1164506.9702 | 2554557.1079 | 1164492.7743 | 2554557.8123 | 1164490.6223
29 | 2554483.1778 | 1164486.9897 | 2554474.7737 | 1164505.1999
30 | 2554557.8123 | 1164490.6223 | 2554558.4032 | 1164488.8172
31 | 2554558.4032 | 1164488.8172 | 2554561.8758 | 1164478.2083 | 2554563.1498 | 1164473.5997
32 | 2554565.4308 | 1164465.2643 | 2554564.9245 | 1164467.1795 | 2554563.1498 | 1164473.5997
33 | 2554483.1778 | 1164486.9897 | 2554488.4355 | 1164475.5971 | 2554495.841 | 1164460.7783
34 | 2554565.4308 | 1164465.2643 | 2554568.1964 | 1164454.8026
35 | 2554570.2157 | 1164447.2493 | 2554568.4906 | 1164453.6898 | 2554568.1964 | 1164454.8026
36 | 2554570.2157 | 1164447.2493 | 2554574.2897 | 1164432.0394
37 | 2554576.1891 | 1164424.9482 | 2554574.2897 | 1164432.0394
38 | 2554576.1891 | 1164424.9482 | 2554579.8795 | 1164411.1703
39 | 2554579.9303 | 1164410.9808 | 2554579.8795 | 1164411.1703
40 | 2554315.0743 | 1164008.4033 | 2554309.0157 | 1163998.3109 | 2554304.416 | 1163991.3973
41 | 2554210.5509 | 1164092.3458 | 2554219.1735 | 1164088.9804

## bus_geodata
| x | y | coords
0 | 2554386.6474 | 1164285.1133
1 | 2554365.7352 | 1164316.1682
2 | 2554397.1813 | 1164264.5462
3 | 2554352.6492 | 1164331.2867
4 | 2554559.0728 | 1164200.3616
5 | 2554261.8074 | 1164070.2796
6 | 2554322.7951 | 1164306.0118
7 | 2554346.0613 | 1164340.56
8 | 2554216.2056 | 1164334.6836
9 | 2554344.1102 | 1164343.3065
10 | 2554306.5114 | 1164392.9175
11 | 2554212.9118 | 1164383.4311
12 | 2554578.0868 | 1164617.1233
13 | 2554574.8252 | 1164583.1987
14 | 2554517.9264 | 1164550.2882
15 | 2554440.2639 | 1164646.8194
16 | 2554447.5436 | 1164637.8058
17 | 2554483.1246 | 1164593.9494
18 | 2554488.3996 | 1164587.4623
19 | 2554470.679 | 1164609.2547
20 | 2554497.9913 | 1164575.6666
21 | 2554466.975 | 1164613.8099
22 | 2554510.908 | 1164559.3234
23 | 2554528.8211 | 1164535.1255
24 | 2554542.2482 | 1164515.7948
25 | 2554474.7737 | 1164505.1999
26 | 2554557.8123 | 1164490.6223
27 | 2554558.4032 | 1164488.8172
28 | 2554563.1498 | 1164473.5997
29 | 2554483.1778 | 1164486.9897
30 | 2554495.841 | 1164460.7783
31 | 2554565.4308 | 1164465.2643
32 | 2554568.1964 | 1164454.8026
33 | 2554570.2157 | 1164447.2493
34 | 2554574.2897 | 1164432.0394
35 | 2554576.1891 | 1164424.9482
36 | 2554579.8795 | 1164411.1703
37 | 2554579.9303 | 1164410.9808
38 | 2554560.055 | 1164198.5172
39 | 2554304.416 | 1163991.3973
40 | 2554315.0743 | 1164008.4033
41 | 2554219.1735 | 1164088.9804
42 | 2554210.5509 | 1164092.3458
43 | 2554496.4771 | 1164459.5055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97364 | -0.18526 | 0.0098858 | 0.0024776
1 | 0.97269 | -0.19206 | 0.010922 | 0.0027374
2 | 0.97433 | -0.18029 | 0.0018269 | 0.00045786
3 | 0.9723 | -0.1949 | 0 | 0
4 | 0.98013 | -0.13887 | 0.0017666 | 0.00044274
5 | 0.97254 | -0.19323 | 0.00088466 | 0.00022172
6 | 0.97214 | -0.19603 | 0 | 0
7 | 0.97209 | -0.1964 | 0.0096807 | 0.0024262
8 | 0.9717 | -0.19924 | 0.00099146 | 0.00024848
9 | 0.97204 | -0.19674 | 0.0039991 | 0.0010023
10 | 0.97095 | -0.20462 | 0.023949 | 0.0060023
11 | 0.97157 | -0.20014 | 0.0017478 | 0.00043804
12 | 0.98984 | -0.070831 | 0.00083517 | 0.00020931
13 | 0.98988 | -0.070539 | 0.021184 | 0.0053092
14 | 0.99196 | -0.055824 | 0.0039215 | 0.00098283
15 | 0.99153 | -0.058849 | 0.00048192 | 0.00012078
16 | 0.99154 | -0.058792 | 0.00051988 | 0.00013029
17 | 0.99165 | -0.057999 | 0.00029786 | 7.4652e-05
18 | 0.99168 | -0.057807 | 0.0005131 | 0.0001286
19 | 0.9916 | -0.058392 | 0.00053331 | 0.00013366
20 | 0.99174 | -0.057378 | 0.00058699 | 0.00014711
21 | 0.99159 | -0.058478 | 0.00042402 | 0.00010627
22 | 0.99184 | -0.056667 | 0.003892 | 0.00097542
23 | 0.99285 | -0.049538 | 0.005081 | 0.0012734
24 | 0.9918 | -0.056903 | 0.0049975 | 0.0012525
25 | 0.99676 | -0.022348 | 0.0038061 | 0.00095391
26 | 0.99053 | -0.065707 | 0.0050054 | 0.0012545
27 | 0.99046 | -0.066239 | 0.0033428 | 0.00083778
28 | 0.98984 | -0.070527 | 0.00065883 | 0.00016512
29 | 0.99807 | -0.013311 | 0.0024232 | 0.00060731
30 | 1 | 0 | -0.1402 | -0.035235
31 | 0.98951 | -0.072834 | 0.0026615 | 0.00066702
32 | 0.98911 | -0.075627 | 0.00056585 | 0.00014182
33 | 0.98882 | -0.077631 | 0.00071659 | 0.00017959
34 | 0.98825 | -0.081633 | 0.00069058 | 0.00017307
35 | 0.98799 | -0.083482 | 0.00090374 | 0.0002265
36 | 0.98748 | -0.087035 | 0.00097145 | 0.00024347
37 | 0.98747 | -0.087083 | 0.00085748 | 0.0002149
38 | 0.98013 | -0.13889 | 0.0010765 | 0.0002698
39 | 0.97238 | -0.19433 | 0.00096677 | 0.0002423
40 | 0.97241 | -0.19412 | 0 | 0
41 | 0.97231 | -0.19486 | 0.0025831 | 0.00064739
42 | 0.9723 | -0.19493 | 0.00072757 | 0.00018235
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.051392 | 0.012887 | -0.051344 | -0.01287 | 4.8393e-05 | 1.7207e-05 | 0.078546 | 0.078546 | 0.078546 | 0.97364 | -0.18526 | 0.97269 | -0.19206 | 9.6971
1 | -0.061278 | -0.015365 | 0.06132 | 0.01538 | 4.2157e-05 | 1.5352e-05 | 0.093654 | 0.093654 | 0.093654 | 0.97364 | -0.18526 | 0.97433 | -0.18029 | 11.5623
2 | 0.040422 | 0.010132 | -0.040406 | -0.010127 | 1.5903e-05 | 5.3725e-06 | 0.061837 | 0.061838 | 0.061838 | 0.97269 | -0.19206 | 0.9723 | -0.1949 | 7.6343
3 | -0.068319 | -0.017131 | 0.068714 | 0.017276 | 0.00039436 | 0.00014513 | 0.10434 | 0.10434 | 0.10434 | 0.97433 | -0.18029 | 0.98013 | -0.13887 | 12.8817
4 | 0.0051723 | 0.0012927 | -0.005163 | -0.0012921 | 9.2175e-06 | 6.0166e-07 | 0.0078979 | 0.007899 | 0.007899 | 0.97433 | -0.18029 | 0.97254 | -0.19323 | 2.9255
5 | 0.0027411 | 0.00068478 | -0.0027407 | -0.0006851 | 4.2873e-07 | -3.194e-07 | 0.0041942 | 0.0041944 | 0.0041944 | 0.9723 | -0.1949 | 0.97214 | -0.19603 | 1.5535
6 | 0.037665 | 0.0094423 | -0.037657 | -0.0094397 | 7.8618e-06 | 2.6006e-06 | 0.057643 | 0.057643 | 0.057643 | 0.9723 | -0.1949 | 0.97209 | -0.1964 | 7.1165
7 | 0.0010765 | 0.00026978 | -0.0010765 | -0.0002698 | 3.483e-09 | -2.4997e-08 | 0.0016343 | 0.0016344 | 0.0016344 | 0.98013 | -0.13887 | 0.98013 | -0.13889 | 0.60532
8 | -0.071557 | -0.017988 | 0.072077 | 0.01818 | 0.00051973 | 0.00019183 | 0.10866 | 0.10865 | 0.10866 | 0.98013 | -0.13887 | 0.98747 | -0.087083 | 13.4143
9 | 0.0033115 | 0.00082934 | -0.0033107 | -0.00082963 | 7.4633e-07 | -2.9097e-07 | 0.0050664 | 0.0050666 | 0.0050666 | 0.97254 | -0.19323 | 0.97231 | -0.19486 | 1.8765
10 | 0.00096692 | 0.00024103 | -0.0009668 | -0.00024206 | 1.1826e-07 | -1.0292e-06 | 0.0014789 | 0.0014793 | 0.0014793 | 0.97254 | -0.19323 | 0.97241 | -0.19412 | 0.5479
11 | 0.0027407 | 0.0006851 | -0.0027395 | -0.000686 | 1.2119e-06 | -9.0179e-07 | 0.0041944 | 0.0041949 | 0.0041949 | 0.97214 | -0.19603 | 0.9717 | -0.19924 | 1.5537
12 | 0.027976 | 0.0070135 | -0.027975 | -0.0070131 | 1.2851e-06 | 3.6899e-07 | 0.042825 | 0.042825 | 0.042825 | 0.97209 | -0.1964 | 0.97204 | -0.19674 | 5.287
13 | 0.001748 | 0.00043751 | -0.0017478 | -0.00043804 | 2.1844e-07 | -5.2113e-07 | 0.0026766 | 0.0026768 | 0.0026768 | 0.9717 | -0.19924 | 0.97157 | -0.20014 | 0.99142
14 | 0.023976 | 0.0060108 | -0.023949 | -0.0060023 | 2.6172e-05 | 8.5242e-06 | 0.036703 | 0.036704 | 0.036704 | 0.97204 | -0.19674 | 0.97095 | -0.20462 | 6.797
15 | -0.00083517 | -0.00020931 | 0.0008352 | 0.00020889 | 3.3656e-08 | -4.2695e-07 | 0.0012555 | 0.0012553 | 0.0012555 | 0.98984 | -0.070831 | 0.98988 | -0.070539 | 0.465
16 | -0.022019 | -0.005518 | 0.022064 | 0.0055345 | 4.4936e-05 | 1.6436e-05 | 0.033099 | 0.033099 | 0.033099 | 0.98988 | -0.070539 | 0.99196 | -0.055824 | 12.2591
17 | -0.033236 | -0.0083331 | 0.033265 | 0.008344 | 2.897e-05 | 1.0901e-05 | 0.049858 | 0.049858 | 0.049858 | 0.99196 | -0.055824 | 0.99285 | -0.049538 | 18.4659
18 | 0.0072506 | 0.0018158 | -0.0072498 | -0.0018156 | 8.4447e-07 | 1.7712e-07 | 0.010876 | 0.010876 | 0.010876 | 0.99196 | -0.055824 | 0.99184 | -0.056667 | 4.0282
19 | -0.00048192 | -0.00012078 | 0.00048192 | 0.00012063 | 3.7813e-09 | -1.4799e-07 | 0.00072323 | 0.00072318 | 0.00072323 | 0.99153 | -0.058849 | 0.99154 | -0.058792 | 0.26786
20 | -0.0010018 | -0.00025093 | 0.0010018 | 0.00025055 | 4.3542e-08 | -3.8153e-07 | 0.0015034 | 0.0015032 | 0.0015034 | 0.99154 | -0.058792 | 0.99159 | -0.058478 | 0.5568
21 | -0.0022572 | -0.00056485 | 0.0022572 | 0.00056476 | 5.984e-08 | -8.4856e-08 | 0.0033867 | 0.0033866 | 0.0033867 | 0.99165 | -0.057999 | 0.99168 | -0.057807 | 1.2543
22 | 0.0019593 | 0.00049019 | -0.0019592 | -0.00049041 | 1.0638e-07 | -2.1357e-07 | 0.0029397 | 0.0029398 | 0.0029398 | 0.99165 | -0.057999 | 0.9916 | -0.058392 | 1.0888
23 | -0.0027703 | -0.00069336 | 0.0027705 | 0.00069322 | 1.639e-07 | -1.3312e-07 | 0.0041565 | 0.0041565 | 0.0041565 | 0.99168 | -0.057807 | 0.99174 | -0.057378 | 1.5395
24 | 0.0014259 | 0.00035675 | -0.0014259 | -0.00035682 | 1.677e-08 | -6.9284e-08 | 0.0021395 | 0.0021395 | 0.0021395 | 0.9916 | -0.058392 | 0.99159 | -0.058478 | 0.79242
25 | -0.0033575 | -0.00084034 | 0.0033578 | 0.00084019 | 3.2983e-07 | -1.4198e-07 | 0.0050372 | 0.0050371 | 0.0050372 | 0.99174 | -0.057378 | 0.99184 | -0.056667 | 1.8656
26 | 0.093886 | 0.023699 | -0.093789 | -0.023663 | 9.7011e-05 | 3.64e-05 | 0.14077 | 0.14077 | 0.14077 | 0.99285 | -0.049538 | 0.9918 | -0.056903 | 17.379
27 | -0.13223 | -0.033317 | 0.13274 | 0.033509 | 0.000505 | 0.00019183 | 0.19824 | 0.19824 | 0.19824 | 0.99285 | -0.049538 | 0.99676 | -0.022348 | 24.4743
28 | 0.088791 | 0.02241 | -0.088682 | -0.022369 | 0.00010963 | 4.1018e-05 | 0.13327 | 0.13327 | 0.13327 | 0.9918 | -0.056903 | 0.99053 | -0.065707 | 16.4534
29 | -0.13654 | -0.034463 | 0.13672 | 0.034528 | 0.00017348 | 6.5936e-05 | 0.20392 | 0.20392 | 0.20392 | 0.99676 | -0.022348 | 0.99807 | -0.013311 | 25.1757
30 | 0.083676 | 0.021115 | -0.08367 | -0.021113 | 6.2475e-06 | 2.3295e-06 | 0.12575 | 0.12575 | 0.12575 | 0.99053 | -0.065707 | 0.99046 | -0.066239 | 15.5251
31 | 0.080327 | 0.020275 | -0.080279 | -0.020257 | 4.834e-05 | 1.7977e-05 | 0.12073 | 0.12073 | 0.12073 | 0.99046 | -0.066239 | 0.98984 | -0.070527 | 14.9051
32 | 0.07962 | 0.020092 | -0.079594 | -0.020082 | 2.5773e-05 | 9.5794e-06 | 0.11974 | 0.11974 | 0.11974 | 0.98984 | -0.070527 | 0.98951 | -0.072834 | 14.7828
33 | -0.13914 | -0.035136 | 0.1394 | 0.035235 | 0.00026082 | 9.9172e-05 | 0.20754 | 0.20754 | 0.20754 | 0.99807 | -0.013311 | 1 | 0 | 25.6217
34 | 0.076933 | 0.019415 | -0.076903 | -0.019404 | 3.015e-05 | 1.1179e-05 | 0.11574 | 0.11574 | 0.11574 | 0.98951 | -0.072834 | 0.98911 | -0.075627 | 14.2887
35 | 0.076337 | 0.019262 | -0.076316 | -0.019254 | 2.1465e-05 | 7.9549e-06 | 0.11489 | 0.11489 | 0.11489 | 0.98911 | -0.075627 | 0.98882 | -0.077631 | 14.1837
36 | 0.075599 | 0.019075 | -0.075557 | -0.019059 | 4.2422e-05 | 1.5711e-05 | 0.11381 | 0.11381 | 0.11381 | 0.98882 | -0.077631 | 0.98825 | -0.081633 | 14.0506
37 | 0.074866 | 0.018886 | -0.074847 | -0.018879 | 1.9418e-05 | 7.1865e-06 | 0.11277 | 0.11277 | 0.11277 | 0.98825 | -0.081633 | 0.98799 | -0.083482 | 13.9222
38 | 0.073943 | 0.018652 | -0.073906 | -0.018639 | 3.6824e-05 | 1.3615e-05 | 0.11141 | 0.11141 | 0.11141 | 0.98799 | -0.083482 | 0.98748 | -0.087035 | 13.7542
39 | 0.072935 | 0.018395 | -0.072934 | -0.018395 | 4.9336e-07 | 1.8222e-07 | 0.10995 | 0.10995 | 0.10995 | 0.98748 | -0.087035 | 0.98747 | -0.087083 | 13.5735
40 | -0.00096677 | -0.0002423 | 0.0009668 | 0.00024206 | 2.7416e-08 | -2.3849e-07 | 0.0014794 | 0.0014793 | 0.0014794 | 0.97238 | -0.19433 | 0.97241 | -0.19412 | 0.54794
41 | 0.00072758 | 0.00018223 | -0.00072757 | -0.00018235 | 7.1607e-09 | -1.1205e-07 | 0.0011134 | 0.0011135 | 0.0011135 | 0.97231 | -0.19486 | 0.9723 | -0.19493 | 0.4124

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1484 | 0.037289

## res_load
| p_mw | q_mvar
0 | 0.0098858 | 0.0024776
1 | 0.010922 | 0.0027374
2 | 0.0018269 | 0.00045786
3 | 0.0017666 | 0.00044274
4 | 0.00088466 | 0.00022172
5 | 0.0096807 | 0.0024262
6 | 0.00099146 | 0.00024848
7 | 0.0039991 | 0.0010023
8 | 0.023949 | 0.0060023
9 | 0.0017478 | 0.00043804
10 | 0.00083517 | 0.00020931
11 | 0.021184 | 0.0053092
12 | 0.0039215 | 0.00098283
13 | 0.00048192 | 0.00012078
14 | 0.00051988 | 0.00013029
15 | 0.00029786 | 7.4652e-05
16 | 0.0005131 | 0.0001286
17 | 0.00053331 | 0.00013366
18 | 0.00058699 | 0.00014711
19 | 0.00042402 | 0.00010627
20 | 0.003892 | 0.00097542
21 | 0.005081 | 0.0012734
22 | 0.0049975 | 0.0012525
23 | 0.0038061 | 0.00095391
24 | 0.0050054 | 0.0012545
25 | 0.0033428 | 0.00083778
26 | 0.00065883 | 0.00016512
27 | 0.0024232 | 0.00060731
28 | 0.0081947 | 0.0020538
29 | 0.0026615 | 0.00066702
30 | 0.00056585 | 0.00014182
31 | 0.00071659 | 0.00017959
32 | 0.00069058 | 0.00017307
33 | 0.00090374 | 0.0002265
34 | 0.00097145 | 0.00024347
35 | 0.00085748 | 0.0002149
36 | 0.0010765 | 0.0002698
37 | 0.00096677 | 0.0002423
38 | 0.0025831 | 0.00064739
39 | 0.00072757 | 0.00018235

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1