## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2102-4_1_2_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_2102-4_1_2_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_2102-4_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_2102-4_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_2102-4_1_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_2102-4_1_2_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2102-4_1_2_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2102-4_1_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2102-4_1_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2102-4_1_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_2102-4_1_2_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_2102-4_1_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_2102-4_1_2_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_2102-4_1_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2102-4_1_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2102-4_1_2_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2102-4_1_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_2102-4_1_2_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2102-4_1_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2102-4_1_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_2102-4_1_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2102-4_1_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2102-4_1_2_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_2102-4_1_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2102-4_1_2_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_2102-4_1_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_2102-4_1_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_2102-4_1_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_2102-4_1_2_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_2102-4_1_2_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2102-4_1_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_2102-4_1_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_2102-4_1_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2102-4_1_2_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_2102-4_1_2_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_2102-4_1_2_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_2102-4_1_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2102-4_1_2_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_2102-4_1_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2102-4_1_2_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_2102-4_1_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_2102-4_1_2_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_2102-4_1_2_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2102-4_1_2_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2102-4_1_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2102-4_1_2_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_2102-4_1_2_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_2102-4_1_2_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_2102-4_1_2_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_2102-4_1_2_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_2102-4_1_2_node_89 | 0.4 | n |  | TRUE
51 | bus_MV_367_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2102-4_1_2_load_16 | 0 | 0.00086194 | 0.00021602 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2102-4_1_2_load_8 | 2 | 0.00044386 | 0.00011124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2102-4_1_2_load_9 | 3 | 0.00086676 | 0.00021723 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2102-4_1_2_load_11 | 5 | 0.014861 | 0.0037244 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2102-4_1_2_load_12 | 6 | 0.0044764 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2102-4_1_2_load_23 | 9 | 0.0013785 | 0.00034549 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2102-4_1_2_load_91 | 10 | 0.0011915 | 0.00029863 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2102-4_1_2_load_22 | 11 | 0.0028346 | 0.00071041 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2102-4_1_2_load_19 | 13 | 0.0023675 | 0.00059334 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2102-4_1_2_load_20 | 14 | 0.0032538 | 0.00081547 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2102-4_1_2_load_21 | 15 | 0.0025983 | 0.00065119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2102-4_1_2_load_24 | 18 | 0.00035567 | 8.914e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2102-4_1_2_load_33 | 19 | 0.0043526 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2102-4_1_2_load_32 | 20 | 0.0064444 | 0.0016151 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2102-4_1_2_load_26 | 21 | 0.00042198 | 0.00010576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2102-4_1_2_load_93 | 22 | 0.0031455 | 0.00078834 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2102-4_1_2_load_31 | 23 | 0.0033359 | 0.00083606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2102-4_1_2_load_92 | 24 | 0.00059287 | 0.00014859 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2102-4_1_2_load_28 | 25 | 0.0009606 | 0.00024075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2102-4_1_2_load_29 | 26 | 0.0039615 | 0.00099284 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2102-4_1_2_load_54 | 28 | 0.00046527 | 0.00011661 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2102-4_1_2_load_34 | 29 | 0.00078154 | 0.00019587 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2102-4_1_2_load_35 | 30 | 0.0014291 | 0.00035815 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2102-4_1_2_load_36 | 31 | 0.0012643 | 0.00031688 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2102-4_1_2_load_37 | 32 | 0.0021365 | 0.00053546 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2102-4_1_2_load_85 | 33 | 0.0012669 | 0.00031752 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2102-4_1_2_load_86 | 34 | 0.0017169 | 0.00043029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2102-4_1_2_load_40 | 36 | 0.0003677 | 9.2155e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2102-4_1_2_load_41 | 37 | 0.0006173 | 0.00015471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2102-4_1_2_load_42 | 38 | 0.00046321 | 0.00011609 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2102-4_1_2_load_43 | 39 | 0.0013348 | 0.00033453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2102-4_1_2_load_44 | 40 | 0.00056808 | 0.00014237 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2102-4_1_2_load_88 | 41 | 0.0021846 | 0.00054752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2102-4_1_2_load_46 | 42 | 0.00061772 | 0.00015481 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2102-4_1_2_load_45 | 43 | 0.00079113 | 0.00019828 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2102-4_1_2_load_48 | 45 | 0.00064165 | 0.00016081 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2102-4_1_2_load_50 | 46 | 0.00036386 | 9.1191e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2102-4_1_2_load_51 | 47 | 0.00034012 | 8.5241e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2102-4_1_2_load_52 | 48 | 0.00050213 | 0.00012585 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2102-4_1_2_load_53 | 49 | 0.0011255 | 0.00028208 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2102-4_1_2_load_89 | 50 | 0.005554 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2102-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0035391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2102-4_1_2_line_1 | NAYY 4x150 SE | 1 | 6 | 0.068113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2102-4_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.01868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2102-4_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0038029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2102-4_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0070455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2102-4_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.033938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2102-4_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.053251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2102-4_1_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.034216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2102-4_1_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.011697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2102-4_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.014258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2102-4_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.005721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2102-4_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0092712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2102-4_1_2_line_12 | NAYY 4x150 SE | 11 | 15 | 0.014704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2102-4_1_2_line_13 | NAYY 4x150 SE | 12 | 24 | 0.019516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2102-4_1_2_line_14 | NAYY 4x150 SE | 12 | 31 | 0.0096992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2102-4_1_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0098638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2102-4_1_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0082541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2102-4_1_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.078711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2102-4_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.037885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2102-4_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.04436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2102-4_1_2_line_20 | NAYY 4x150 SE | 18 | 21 | 0.011421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2102-4_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.030589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2102-4_1_2_line_22 | NAYY 4x150 SE | 20 | 23 | 0.025223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2102-4_1_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.050446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2102-4_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.001284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2102-4_1_2_line_25 | NAYY 4x150 SE | 23 | 26 | 0.0063824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2102-4_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.014683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2102-4_1_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.042238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2102-4_1_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.13328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2102-4_1_2_line_29 | NAYY 4x150 SE | 28 | 48 | 0.027819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2102-4_1_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0056837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2102-4_1_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0072276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2102-4_1_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.22484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2102-4_1_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.033727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2102-4_1_2_line_34 | NAYY 4x150 SE | 33 | 35 | 0.021932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2102-4_1_2_line_35 | NAYY 4x150 SE | 34 | 41 | 0.028696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2102-4_1_2_line_36 | NAYY 4x150 SE | 35 | 50 | 0.055451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2102-4_1_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.016442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2102-4_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.013282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2102-4_1_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.023309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2102-4_1_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.011574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2102-4_1_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.0020157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2102-4_1_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.023107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2102-4_1_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.011948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2102-4_1_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.017824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2102-4_1_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0023979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2102-4_1_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.036661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2102-4_1_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.03525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2102-4_1_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.033028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2102-4_1_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.05817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2102-4_1_2_trafo_28 | 0.25 MVA 20/0.4 kV | 51 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2554221.8675 | 1164421.9532 | 2554224.2278 | 1164419.3162
1 | 2554221.8675 | 1164421.9532 | 2554220.8115 | 1164423.073 | 2554176.0171 | 1164472.3223
2 | 2554150.619 | 1164500.2382 | 2554138.0299 | 1164514.0389
3 | 2554153.1819 | 1164497.4286 | 2554150.619 | 1164500.2382
4 | 2554133.2818 | 1164519.244 | 2554138.0299 | 1164514.0389
5 | 2554153.1819 | 1164497.4286 | 2554176.0171 | 1164472.3223
6 | 2554097.4693 | 1164558.6536 | 2554112.9457 | 1164541.5373 | 2554133.2818 | 1164519.244
7 | 2554097.4693 | 1164558.6536 | 2554122.6361 | 1164581.9066
8 | 2554122.6361 | 1164581.9066 | 2554114.9288 | 1164590.7049
9 | 2554122.6361 | 1164581.9066 | 2554132.5631 | 1164571.6718
10 | 2554111.159 | 1164595.0083 | 2554114.9288 | 1164590.7049
11 | 2554139.018 | 1164565.0168 | 2554132.5631 | 1164571.6718
12 | 2554101.4699 | 1164606.069 | 2554111.159 | 1164595.0083
13 | 2554139.018 | 1164565.0168 | 2554153.5176 | 1164578.0799
14 | 2554139.018 | 1164565.0168 | 2554145.3738 | 1164557.6904
15 | 2554089.5316 | 1164619.6973 | 2554096.0311 | 1164612.2777
16 | 2554101.4699 | 1164606.069 | 2554096.0311 | 1164612.2777
17 | 2554148.4419 | 1164705.7409 | 2554147.0634 | 1164712.744 | 2554132.5804 | 1164733.5435 | 2554150.7456 | 1164724.5888 | 2554164.0442 | 1164720.1292 | 2554171.8374 | 1164720.7811 | 2554175.9639 | 1164720.6273
18 | 2554175.9639 | 1164720.6273 | 2554178.4257 | 1164719.0854 | 2554185.8137 | 1164684.8945
19 | 2554148.4419 | 1164705.7409 | 2554157.0367 | 1164662.2213
20 | 2554188.2259 | 1164673.7312 | 2554185.8137 | 1164684.8945
21 | 2554164.5694 | 1164632.5792 | 2554157.5913 | 1164659.4133 | 2554157.0367 | 1164662.2213
22 | 2554164.5694 | 1164632.5792 | 2554164.5694 | 1164632.5792 | 2554174.175 | 1164622.8563 | 2554185.0816 | 1164619.0376
23 | 2554154.4716 | 1164578.9393 | 2554185.0816 | 1164619.0376
24 | 2554154.4716 | 1164578.9393 | 2554153.5176 | 1164578.0799
25 | 2554191.3352 | 1164620.3137 | 2554185.0816 | 1164619.0376 | 2554185.0816 | 1164619.0376
26 | 2554205.6273 | 1164620.4306 | 2554199.7853 | 1164622.038 | 2554191.3352 | 1164620.3137
27 | 2554237.4971 | 1164595.3472 | 2554234.9204 | 1164600.9031 | 2554217.2399 | 1164617.2355 | 2554205.6273 | 1164620.4306
28 | 2554237.4971 | 1164595.3472 | 2554367.2966 | 1164625.6186
29 | 2554367.2966 | 1164625.6186 | 2554362.0503 | 1164652.706 | 2554362.0066 | 1164652.9303
30 | 2554153.8346 | 1164547.9375 | 2554150.1101 | 1164552.2309
31 | 2554150.1101 | 1164552.2309 | 2554145.3738 | 1164557.6904
32 | 2554398.2431 | 1164832.2116 | 2554616.9852 | 1164884.2025
33 | 2554398.2431 | 1164832.2116 | 2554397.5066 | 1164823.7261 | 2554394.6941 | 1164798.6738
34 | 2554390.6749 | 1164851.7928 | 2554391.4915 | 1164843.3822 | 2554396.4554 | 1164837.5525 | 2554398.3879 | 1164833.8803 | 2554398.2431 | 1164832.2116
35 | 2554394.6941 | 1164798.6738 | 2554393.6211 | 1164789.1153 | 2554392.6722 | 1164777.1384 | 2554392.6961 | 1164770.0756
36 | 2554390.6749 | 1164851.7928 | 2554377.3017 | 1164836.3642 | 2554358.4425 | 1164813.5179 | 2554355.0504 | 1164809.3057
37 | 2554398.9808 | 1164728.9611 | 2554397.9043 | 1164733.0644 | 2554395.1917 | 1164744.9588
38 | 2554398.9808 | 1164728.9611 | 2554402.351 | 1164716.1143
39 | 2554392.7029 | 1164768.06 | 2554392.7311 | 1164759.7177 | 2554394.7399 | 1164746.9402 | 2554395.1917 | 1164744.9588
40 | 2554405.2982 | 1164704.9223 | 2554403.8804 | 1164710.2848 | 2554402.351 | 1164716.1143
41 | 2554392.7029 | 1164768.06 | 2554392.6961 | 1164770.0756
42 | 2554405.2982 | 1164704.9223 | 2554410.498 | 1164685.2546 | 2554411.2183 | 1164682.5866
43 | 2554414.3325 | 1164671.0511 | 2554411.2183 | 1164682.5866
44 | 2554419.6419 | 1164654.0465 | 2554416.2481 | 1164663.9553 | 2554414.3325 | 1164671.0511
45 | 2554419.6419 | 1164654.0465 | 2554419.7717 | 1164651.6522
46 | 2554355.2714 | 1164687.5312 | 2554350.7745 | 1164710.6334 | 2554348.2833 | 1164723.5195
47 | 2554355.2714 | 1164687.5312 | 2554362.0066 | 1164652.9303
48 | 2554342.0258 | 1164755.9496 | 2554344.9245 | 1164740.8938 | 2554348.2833 | 1164723.5195
49 | 2554355.0504 | 1164809.3057 | 2554349.5981 | 1164802.535 | 2554344.2644 | 1164794.9939 | 2554341.0913 | 1164788.6036 | 2554339.437 | 1164782.5574 | 2554339.1874 | 1164773.9104 | 2554341.3148 | 1164759.6422 | 2554342.0258 | 1164755.9496

## bus_geodata
| x | y | coords
0 | 2554224.2278 | 1164419.3162
1 | 2554221.8675 | 1164421.9532
2 | 2554150.619 | 1164500.2382
3 | 2554138.0299 | 1164514.0389
4 | 2554153.1819 | 1164497.4286
5 | 2554133.2818 | 1164519.244
6 | 2554176.0171 | 1164472.3223
7 | 2554097.4693 | 1164558.6536
8 | 2554122.6361 | 1164581.9066
9 | 2554114.9288 | 1164590.7049
10 | 2554132.5631 | 1164571.6718
11 | 2554111.159 | 1164595.0083
12 | 2554139.018 | 1164565.0168
13 | 2554089.5316 | 1164619.6973
14 | 2554096.0311 | 1164612.2777
15 | 2554101.4699 | 1164606.069
16 | 2554175.9639 | 1164720.6273
17 | 2554148.4419 | 1164705.7409
18 | 2554185.8137 | 1164684.8945
19 | 2554157.0367 | 1164662.2213
20 | 2554164.5694 | 1164632.5792
21 | 2554188.226 | 1164673.7312
22 | 2554154.4716 | 1164578.9393
23 | 2554185.0816 | 1164619.0376
24 | 2554153.5176 | 1164578.0799
25 | 2554205.6273 | 1164620.4306
26 | 2554191.3352 | 1164620.3137
27 | 2554237.4971 | 1164595.3472
28 | 2554367.2966 | 1164625.6186
29 | 2554153.8346 | 1164547.9375
30 | 2554150.1101 | 1164552.2309
31 | 2554145.3738 | 1164557.6904
32 | 2554616.9852 | 1164884.2025
33 | 2554398.2431 | 1164832.2116
34 | 2554394.6941 | 1164798.6738
35 | 2554390.6749 | 1164851.7928
36 | 2554398.9808 | 1164728.9611
37 | 2554395.1917 | 1164744.9588
38 | 2554402.351 | 1164716.1143
39 | 2554392.7029 | 1164768.06
40 | 2554405.2982 | 1164704.9223
41 | 2554392.6961 | 1164770.0756
42 | 2554411.2183 | 1164682.5866
43 | 2554414.3325 | 1164671.0511
44 | 2554419.6419 | 1164654.0465
45 | 2554419.7717 | 1164651.6522
46 | 2554355.2714 | 1164687.5312
47 | 2554348.2833 | 1164723.5195
48 | 2554362.0066 | 1164652.9303
49 | 2554342.0258 | 1164755.9496
50 | 2554355.0504 | 1164809.3057
51 | 2554237.4971 | 1164595.3472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98948 | -0.073835 | 0.00086194 | 0.00021602
1 | 0.98949 | -0.073804 | 0 | 0
2 | 0.98986 | -0.071147 | 0.00044386 | 0.00011124
3 | 0.99002 | -0.070045 | 0.00086676 | 0.00021723
4 | 0.98983 | -0.071354 | 0 | 0
5 | 0.99009 | -0.069567 | 0.014861 | 0.0037244
6 | 0.98957 | -0.073203 | 0.0044764 | 0.0011219
7 | 0.99173 | -0.057916 | 0 | 0
8 | 0.99279 | -0.050449 | 0 | 0
9 | 0.99259 | -0.051923 | 0.0013785 | 0.00034549
10 | 0.99349 | -0.045549 | 0.0011915 | 0.00029863
11 | 0.99249 | -0.052564 | 0.0028346 | 0.00071041
12 | 0.99396 | -0.042254 | 0 | 0
13 | 0.99222 | -0.054496 | 0.0023675 | 0.00059334
14 | 0.99225 | -0.054259 | 0.0032538 | 0.00081547
15 | 0.99232 | -0.053789 | 0.0025983 | 0.00065119
16 | 0.99741 | -0.018138 | 0 | 0
17 | 0.9975 | -0.017517 | 0 | 0
18 | 0.99737 | -0.018434 | 0.00035567 | 8.914e-05
19 | 0.99754 | -0.017164 | 0.0043526 | 0.0010909
20 | 0.99777 | -0.015585 | 0.0064444 | 0.0016151
21 | 0.99736 | -0.018483 | 0.00042198 | 0.00010576
22 | 0.99511 | -0.034136 | 0.0031455 | 0.00078834
23 | 0.99819 | -0.012654 | 0.0033359 | 0.00083606
24 | 0.99504 | -0.034644 | 0.00059287 | 0.00014859
25 | 1 | 0 | -0.083703 | -0.020842
26 | 0.99871 | -0.0089919 | 0.0039615 | 0.00099284
27 | 0.99872 | -0.0089218 | 0 | 0
28 | 0.99467 | -0.037214 | 0.00046527 | 0.00011661
29 | 0.99388 | -0.042801 | 0.00078154 | 0.00019587
30 | 0.99389 | -0.042756 | 0.0014291 | 0.00035815
31 | 0.99391 | -0.042595 | 0.0012643 | 0.00031688
32 | 0.98721 | -0.08993 | 0.0021365 | 0.00053546
33 | 0.9879 | -0.08499 | 0.0012669 | 0.00031752
34 | 0.98745 | -0.088205 | 0.0017169 | 0.00043029
35 | 0.98831 | -0.082132 | 0 | 0
36 | 0.9869 | -0.092106 | 0.0003677 | 9.2155e-05
37 | 0.98698 | -0.091523 | 0.0006173 | 0.00015471
38 | 0.98684 | -0.092526 | 0.00046321 | 0.00011609
39 | 0.98712 | -0.09055 | 0.0013348 | 0.00033453
40 | 0.9868 | -0.092838 | 0.00056808 | 0.00014237
41 | 0.98714 | -0.090438 | 0.0021846 | 0.00054752
42 | 0.98673 | -0.093324 | 0.00061772 | 0.00015481
43 | 0.98671 | -0.0935 | 0.00079113 | 0.00019828
44 | 0.98669 | -0.093617 | 0 | 0
45 | 0.98669 | -0.093633 | 0.00064165 | 0.00016081
46 | 0.99282 | -0.0502 | 0.00036386 | 9.1191e-05
47 | 0.99178 | -0.057551 | 0.00034012 | 8.5241e-05
48 | 0.99384 | -0.043015 | 0.00050213 | 0.00012585
49 | 0.99086 | -0.064072 | 0.0011255 | 0.00028208
50 | 0.98932 | -0.074915 | 0.005554 | 0.001392
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00086194 | -0.00021602 | 0.00086194 | 0.00021598 | 3.7103e-09 | -4.4032e-08 | 0.0012962 | 0.0012962 | 0.0012962 | 0.98948 | -0.073835 | 0.98949 | -0.073804 | 0.48008
1 | -0.00086194 | -0.00021598 | 0.00086201 | 0.00021513 | 7.1391e-08 | -8.4752e-07 | 0.0012962 | 0.0012959 | 0.0012962 | 0.98949 | -0.073804 | 0.98957 | -0.073203 | 0.48007
2 | -0.0057838 | -0.0014484 | 0.0057847 | 0.0014485 | 8.8106e-07 | 9.8707e-08 | 0.0086941 | 0.008694 | 0.0086941 | 0.98986 | -0.071147 | 0.99002 | -0.070045 | 3.22
3 | 0.0053399 | 0.0013371 | -0.0053398 | -0.0013371 | 1.5289e-07 | 9.922e-09 | 0.0080269 | 0.0080269 | 0.0080269 | 0.98986 | -0.071147 | 0.98983 | -0.071354 | 2.9729
4 | -0.0066514 | -0.0016657 | 0.0066519 | 0.0016658 | 4.3935e-07 | 7.8379e-08 | 0.0099968 | 0.0099967 | 0.0099968 | 0.99002 | -0.070045 | 0.99009 | -0.069567 | 3.7025
5 | 0.0053398 | 0.0013371 | -0.0053384 | -0.001337 | 1.3645e-06 | 8.8684e-08 | 0.0080269 | 0.008027 | 0.008027 | 0.98983 | -0.071354 | 0.98957 | -0.073203 | 2.973
6 | -0.021513 | -0.0053902 | 0.021547 | 0.0054029 | 3.4734e-05 | 1.2673e-05 | 0.032331 | 0.032331 | 0.032331 | 0.99009 | -0.069567 | 0.99173 | -0.057916 | 11.9745
7 | -0.021547 | -0.0054029 | 0.02157 | 0.005411 | 2.2318e-05 | 8.1417e-06 | 0.032331 | 0.032331 | 0.032331 | 0.99173 | -0.057916 | 0.99279 | -0.050449 | 11.9744
8 | 0.012438 | 0.0031173 | -0.012435 | -0.0031165 | 2.5366e-06 | 8.2439e-07 | 0.018642 | 0.018642 | 0.018642 | 0.99279 | -0.050449 | 0.99259 | -0.051923 | 6.9046
9 | -0.034008 | -0.0085284 | 0.034031 | 0.0085371 | 2.3117e-05 | 8.7066e-06 | 0.050973 | 0.050973 | 0.050973 | 0.99279 | -0.050449 | 0.99349 | -0.045549 | 18.8789
10 | 0.011057 | 0.002771 | -0.011056 | -0.0027707 | 9.8085e-07 | 3.0331e-07 | 0.016576 | 0.016576 | 0.016576 | 0.99259 | -0.051923 | 0.99249 | -0.052564 | 6.1392
11 | -0.035222 | -0.0088357 | 0.035238 | 0.0088418 | 1.6102e-05 | 6.0731e-06 | 0.052758 | 0.052758 | 0.052758 | 0.99349 | -0.045549 | 0.99396 | -0.042254 | 19.5398
12 | 0.0082214 | 0.0020603 | -0.00822 | -0.0020599 | 1.394e-06 | 3.4618e-07 | 0.012326 | 0.012326 | 0.012326 | 0.99249 | -0.052564 | 0.99232 | -0.053789 | 4.5652
13 | -0.038714 | -0.0097124 | 0.038754 | 0.0097279 | 4.0911e-05 | 1.5482e-05 | 0.05796 | 0.05796 | 0.05796 | 0.99396 | -0.042254 | 0.99504 | -0.034644 | 21.4667
14 | 0.0034752 | 0.00087069 | -0.003475 | -0.00087075 | 1.6381e-07 | -6.2705e-08 | 0.0052024 | 0.0052025 | 0.0052025 | 0.99396 | -0.042254 | 0.99391 | -0.042595 | 1.9268
15 | -0.0023675 | -0.00059334 | 0.0023675 | 0.00059324 | 7.7586e-08 | -9.7564e-08 | 0.0035504 | 0.0035504 | 0.0035504 | 0.99222 | -0.054496 | 0.99225 | -0.054259 | 1.315
16 | -0.0056213 | -0.0014087 | 0.0056217 | 0.0014088 | 3.6601e-07 | 3.4149e-08 | 0.0084299 | 0.0084298 | 0.0084299 | 0.99225 | -0.054259 | 0.99232 | -0.053789 | 3.1222
17 | -0.00077769 | -0.00019427 | 0.00077776 | 0.00019327 | 6.6069e-08 | -1.002e-06 | 0.00116 | 0.0011596 | 0.00116 | 0.99741 | -0.018138 | 0.9975 | -0.017517 | 0.42963
18 | 0.00077769 | 0.00019427 | -0.00077766 | -0.00019475 | 3.1815e-08 | -4.8219e-07 | 0.00116 | 0.0011602 | 0.0011602 | 0.99741 | -0.018138 | 0.99737 | -0.018434 | 0.42969
19 | -0.00077776 | -0.00019327 | 0.00077779 | 0.0001927 | 3.7217e-08 | -5.6478e-07 | 0.0011596 | 0.0011594 | 0.0011596 | 0.9975 | -0.017517 | 0.99754 | -0.017164 | 0.4295
20 | 0.00042198 | 0.00010561 | -0.00042198 | -0.00010576 | 2.8245e-09 | -1.4796e-07 | 0.00062953 | 0.00062958 | 0.00062958 | 0.99737 | -0.018434 | 0.99736 | -0.018483 | 0.23318
21 | -0.0051304 | -0.0012836 | 0.0051315 | 0.0012836 | 1.1176e-06 | 3.0432e-08 | 0.0076521 | 0.0076519 | 0.0076521 | 0.99754 | -0.017164 | 0.99777 | -0.015585 | 2.8341
22 | -0.011576 | -0.0028987 | 0.011581 | 0.0029002 | 4.6904e-06 | 1.4744e-06 | 0.017263 | 0.017263 | 0.017263 | 0.99777 | -0.015585 | 0.99819 | -0.012654 | 6.3936
23 | -0.042496 | -0.010666 | 0.042623 | 0.010714 | 0.00012713 | 4.8238e-05 | 0.06355 | 0.06355 | 0.06355 | 0.99511 | -0.034136 | 0.99819 | -0.012654 | 23.537
24 | 0.03935 | 0.0098776 | -0.039347 | -0.0098765 | 2.7746e-06 | 1.0505e-06 | 0.058846 | 0.058846 | 0.058846 | 0.99511 | -0.034136 | 0.99504 | -0.034644 | 21.795
25 | -0.057539 | -0.01445 | 0.057569 | 0.014462 | 2.9309e-05 | 1.1189e-05 | 0.085785 | 0.085785 | 0.085785 | 0.99819 | -0.012654 | 0.99871 | -0.0089919 | 31.7723
26 | 0.061607 | 0.015484 | -0.06153 | -0.015454 | 7.7025e-05 | 2.9433e-05 | 0.091688 | 0.091688 | 0.091688 | 1 | 0 | 0.99871 | -0.0089919 | 33.9584
27 | 0.021296 | 0.0053585 | -0.02127 | -0.0053488 | 2.648e-05 | 9.6313e-06 | 0.031697 | 0.031697 | 0.031697 | 1 | 0 | 0.99872 | -0.0089218 | 11.7397
28 | 0.02127 | 0.0053488 | -0.021186 | -0.0053184 | 8.3561e-05 | 3.0402e-05 | 0.031697 | 0.031698 | 0.031698 | 0.99872 | -0.0089218 | 0.99467 | -0.037214 | 11.7399
29 | 0.020721 | 0.0052018 | -0.020704 | -0.0051958 | 1.6684e-05 | 6.0562e-06 | 0.031002 | 0.031002 | 0.031002 | 0.99467 | -0.037214 | 0.99384 | -0.043015 | 11.4821
30 | -0.00078154 | -0.00019587 | 0.00078154 | 0.0001958 | 4.8557e-09 | -7.179e-08 | 0.0011701 | 0.0011701 | 0.0011701 | 0.99388 | -0.042801 | 0.99389 | -0.042756 | 0.43337
31 | -0.0022106 | -0.00055395 | 0.0022106 | 0.00055388 | 4.94e-08 | -7.4667e-08 | 0.0033096 | 0.0033096 | 0.0033096 | 0.99389 | -0.042756 | 0.99391 | -0.042595 | 1.2258
32 | -0.0021365 | -0.00053546 | 0.002138 | 0.00053315 | 1.4545e-06 | -2.3173e-06 | 0.0032204 | 0.0032193 | 0.0032204 | 0.98721 | -0.08993 | 0.9879 | -0.08499 | 1.1927
33 | 0.0093109 | 0.0023322 | -0.0093068 | -0.0023311 | 4.1391e-06 | 1.1603e-06 | 0.014024 | 0.014024 | 0.014024 | 0.9879 | -0.08499 | 0.98745 | -0.088205 | 5.1941
34 | -0.012716 | -0.0031829 | 0.012721 | 0.0031846 | 5.0195e-06 | 1.6497e-06 | 0.019152 | 0.019152 | 0.019152 | 0.9879 | -0.08499 | 0.98831 | -0.082132 | 7.0932
35 | 0.0075899 | 0.0019008 | -0.0075876 | -0.0019003 | 2.3422e-06 | 5.339e-07 | 0.011437 | 0.011437 | 0.011437 | 0.98745 | -0.088205 | 0.98714 | -0.090438 | 4.236
36 | -0.012721 | -0.0031846 | 0.012734 | 0.0031887 | 1.2691e-05 | 4.1698e-06 | 0.019152 | 0.019151 | 0.019152 | 0.98831 | -0.082132 | 0.98932 | -0.074915 | 7.0932
37 | -0.00345 | -0.00086368 | 0.0034502 | 0.00086358 | 2.7757e-07 | -1.0335e-07 | 0.0052014 | 0.0052013 | 0.0052014 | 0.9869 | -0.092106 | 0.98698 | -0.091523 | 1.9264
38 | 0.0030823 | 0.00077153 | -0.0030821 | -0.00077163 | 1.7897e-07 | -1.0086e-07 | 0.004647 | 0.004647 | 0.004647 | 0.9869 | -0.092106 | 0.98684 | -0.092526 | 1.7211
39 | -0.0040675 | -0.0010183 | 0.0040681 | 0.0010182 | 5.469e-07 | -8.7586e-08 | 0.006132 | 0.0061319 | 0.006132 | 0.98698 | -0.091523 | 0.98712 | -0.09055 | 2.2711
40 | 0.0026189 | 0.00065554 | -0.0026188 | -0.00065564 | 1.126e-07 | -1.0455e-07 | 0.0039486 | 0.0039486 | 0.0039486 | 0.98684 | -0.092526 | 0.9868 | -0.092838 | 1.4625
41 | -0.0054029 | -0.0013527 | 0.005403 | 0.0013527 | 8.3423e-08 | 6.3176e-09 | 0.008144 | 0.008144 | 0.008144 | 0.98712 | -0.09055 | 0.98714 | -0.090438 | 3.0163
42 | 0.0020507 | 0.00051327 | -0.0020505 | -0.00051351 | 1.3786e-07 | -2.4215e-07 | 0.003092 | 0.0030921 | 0.0030921 | 0.9868 | -0.092838 | 0.98673 | -0.093324 | 1.1452
43 | 0.0014328 | 0.0003587 | -0.0014328 | -0.00035883 | 3.4806e-08 | -1.3923e-07 | 0.0021606 | 0.0021607 | 0.0021607 | 0.98673 | -0.093324 | 0.98671 | -0.0935 | 0.80024
44 | 0.00064166 | 0.00016056 | -0.00064165 | -0.00016078 | 1.0413e-08 | -2.2365e-07 | 0.00096758 | 0.00096766 | 0.00096766 | 0.98671 | -0.0935 | 0.98669 | -0.093617 | 0.35839
45 | 0.00064165 | 0.00016078 | -0.00064165 | -0.00016081 | 1.4011e-09 | -3.0088e-08 | 0.00096766 | 0.00096767 | 0.00096767 | 0.98669 | -0.093617 | 0.98669 | -0.093633 | 0.3584
46 | 0.019818 | 0.0049714 | -0.019798 | -0.0049641 | 2.0185e-05 | 7.29e-06 | 0.029705 | 0.029705 | 0.029705 | 0.99282 | -0.0502 | 0.99178 | -0.057551 | 11.0018
47 | -0.020182 | -0.0050626 | 0.020202 | 0.0050699 | 2.0128e-05 | 7.2852e-06 | 0.03025 | 0.03025 | 0.03025 | 0.99282 | -0.0502 | 0.99384 | -0.043015 | 11.2037
48 | 0.019458 | 0.0048789 | -0.01944 | -0.0048726 | 1.7566e-05 | 6.3304e-06 | 0.029195 | 0.029195 | 0.029195 | 0.99178 | -0.057551 | 0.99086 | -0.064072 | 10.8129
49 | 0.018315 | 0.0045905 | -0.018288 | -0.0045807 | 2.746e-05 | 9.8134e-06 | 0.027505 | 0.027505 | 0.027505 | 0.99086 | -0.064072 | 0.98932 | -0.074915 | 10.187

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.084664 | 0.021083

## res_load
| p_mw | q_mvar
0 | 0.00086194 | 0.00021602
1 | 0.00044386 | 0.00011124
2 | 0.00086676 | 0.00021723
3 | 0.014861 | 0.0037244
4 | 0.0044764 | 0.0011219
5 | 0.0013785 | 0.00034549
6 | 0.0011915 | 0.00029863
7 | 0.0028346 | 0.00071041
8 | 0.0023675 | 0.00059334
9 | 0.0032538 | 0.00081547
10 | 0.0025983 | 0.00065119
11 | 0.00035567 | 8.914e-05
12 | 0.0043526 | 0.0010909
13 | 0.0064444 | 0.0016151
14 | 0.00042198 | 0.00010576
15 | 0.0031455 | 0.00078834
16 | 0.0033359 | 0.00083606
17 | 0.00059287 | 0.00014859
18 | 0.0009606 | 0.00024075
19 | 0.0039615 | 0.00099284
20 | 0.00046527 | 0.00011661
21 | 0.00078154 | 0.00019587
22 | 0.0014291 | 0.00035815
23 | 0.0012643 | 0.00031688
24 | 0.0021365 | 0.00053546
25 | 0.0012669 | 0.00031752
26 | 0.0017169 | 0.00043029
27 | 0.0003677 | 9.2155e-05
28 | 0.0006173 | 0.00015471
29 | 0.00046321 | 0.00011609
30 | 0.0013348 | 0.00033453
31 | 0.00056808 | 0.00014237
32 | 0.0021846 | 0.00054752
33 | 0.00061772 | 0.00015481
34 | 0.00079113 | 0.00019828
35 | 0.00064165 | 0.00016081
36 | 0.00036386 | 9.1191e-05
37 | 0.00034012 | 8.5241e-05
38 | 0.00050213 | 0.00012585
39 | 0.0011255 | 0.00028208
40 | 0.005554 | 0.001392

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1