## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2113-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2113-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2113-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2113-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2113-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2113-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2113-2_0_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_2113-2_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2113-2_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_2113-2_0_3_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_2113-2_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2113-2_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2113-2_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2113-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2113-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2113-2_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2113-2_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2113-2_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2113-2_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2113-2_0_3_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_2113-2_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_2113-2_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2113-2_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2113-2_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2113-2_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2113-2_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2113-2_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2113-2_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_2113-2_0_3_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_2113-2_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2113-2_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2113-2_0_3_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_2113-2_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2113-2_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2113-2_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2113-2_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2113-2_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_2113-2_0_3_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_2113-2_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2113-2_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2113-2_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2113-2_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2113-2_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_2113-2_0_3_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_2113-2_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2113-2_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2113-2_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2113-2_0_3_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_2113-2_0_3_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_2113-2_0_3_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_2113-2_0_3_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_2113-2_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2113-2_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2113-2_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2113-2_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2113-2_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2113-2_0_3_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_2113-2_0_3_node_116 | 0.4 | n |  | TRUE
58 | bus_LV_2113-2_0_3_node_108 | 0.4 | n |  | TRUE
59 | bus_LV_2113-2_0_3_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_2113-2_0_3_node_89 | 0.4 | n |  | TRUE
61 | bus_LV_2113-2_0_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_2113-2_0_3_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_2113-2_0_3_node_107 | 0.4 | n |  | TRUE
64 | bus_LV_2113-2_0_3_node_114 | 0.4 | n |  | TRUE
65 | bus_LV_2113-2_0_3_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_2113-2_0_3_node_113 | 0.4 | n |  | TRUE
67 | bus_LV_2113-2_0_3_node_98 | 0.4 | n |  | TRUE
68 | bus_LV_2113-2_0_3_node_99 | 0.4 | n |  | TRUE
69 | bus_LV_2113-2_0_3_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_2113-2_0_3_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_2113-2_0_3_node_103 | 0.4 | n |  | TRUE
72 | bus_LV_2113-2_0_3_node_105 | 0.4 | n |  | TRUE
73 | bus_LV_2113-2_0_3_node_104 | 0.4 | n |  | TRUE
74 | bus_LV_2113-2_0_3_node_110 | 0.4 | n |  | TRUE
75 | bus_LV_2113-2_0_3_node_111 | 0.4 | n |  | TRUE
76 | bus_LV_2113-2_0_3_node_112 | 0.4 | n |  | TRUE
77 | bus_MV_33_0_node_201 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2113-2_0_3_load_0 | 0 | 0.0014655 | 0.00036729 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2113-2_0_3_load_1 | 1 | 0.00026693 | 6.6899e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2113-2_0_3_load_3 | 3 | 0.0007244 | 0.00018155 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2113-2_0_3_load_4 | 4 | 0.00035222 | 8.8274e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2113-2_0_3_load_5 | 5 | 0.00065652 | 0.00016454 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2113-2_0_3_load_45 | 6 | 0.00020761 | 5.2033e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2113-2_0_3_load_16 | 7 | 0.0004409 | 0.0001105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2113-2_0_3_load_21 | 8 | 0.0018012 | 0.00045141 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2113-2_0_3_load_41 | 9 | 0.00090431 | 0.00022664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2113-2_0_3_load_17 | 10 | 0.00033636 | 8.4301e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2113-2_0_3_load_6 | 12 | 0.0067297 | 0.0016866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2113-2_0_3_load_7 | 13 | 0.002412 | 0.00060451 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2113-2_0_3_load_9 | 15 | 0.00074195 | 0.00018595 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2113-2_0_3_load_11 | 16 | 0.0015595 | 0.00039085 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2113-2_0_3_load_30 | 17 | 0.00054676 | 0.00013703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2113-2_0_3_load_19 | 18 | 0.00072472 | 0.00018163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2113-2_0_3_load_35 | 19 | 0.0015371 | 0.00038523 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2113-2_0_3_load_28 | 20 | 0.00079237 | 0.00019859 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2113-2_0_3_load_20 | 21 | 0.00094373 | 0.00023652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2113-2_0_3_load_34 | 22 | 0.0011749 | 0.00029445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2113-2_0_3_load_12 | 23 | 0.0019098 | 0.00047864 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2113-2_0_3_load_13 | 24 | 0.00037667 | 9.4402e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2113-2_0_3_load_14 | 25 | 0.0017593 | 0.00044092 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2113-2_0_3_load_39 | 27 | 0.0023468 | 0.00058817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2113-2_0_3_load_18 | 29 | 0.00013734 | 3.442e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2113-2_0_3_load_23 | 30 | 0.00328 | 0.00082205 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2113-2_0_3_load_88 | 31 | 0.0018552 | 0.00046497 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2113-2_0_3_load_22 | 32 | 0.00036772 | 9.2159e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2113-2_0_3_load_24 | 33 | 0.002828 | 0.00070876 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2113-2_0_3_load_37 | 36 | 0.00033875 | 8.4899e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2113-2_0_3_load_36 | 38 | 0.00076383 | 0.00019143 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2113-2_0_3_load_26 | 39 | 0.00098 | 0.00024561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2113-2_0_3_load_27 | 40 | 0.0013753 | 0.00034468 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2113-2_0_3_load_119 | 43 | 0.0026036 | 0.00065253 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2113-2_0_3_load_31 | 44 | 0.0061475 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2113-2_0_3_load_33 | 46 | 0.0037992 | 0.00095218 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2113-2_0_3_load_94 | 47 | 0.00069588 | 0.0001744 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2113-2_0_3_load_95 | 48 | 0.0037381 | 0.00093685 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2113-2_0_3_load_96 | 49 | 0.00041969 | 0.00010518 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2113-2_0_3_load_97 | 50 | 0.00028271 | 7.0854e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2113-2_0_3_load_42 | 52 | 0.0003482 | 8.7267e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2113-2_0_3_load_44 | 53 | 0.0028468 | 0.00071348 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2113-2_0_3_load_46 | 54 | 0.0077465 | 0.0019415 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2113-2_0_3_load_47 | 55 | 0.0015235 | 0.00038182 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2113-2_0_3_load_115 | 56 | 0.0014409 | 0.00036113 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2113-2_0_3_load_116 | 57 | 0.00037239 | 9.3329e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2113-2_0_3_load_108 | 58 | 0.0043853 | 0.0010991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2113-2_0_3_load_109 | 59 | 0.0011878 | 0.0002977 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2113-2_0_3_load_91 | 62 | 0.0038396 | 0.0009623 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2113-2_0_3_load_107 | 63 | 0.002721 | 0.00068196 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2113-2_0_3_load_114 | 64 | 0.0018808 | 0.00047137 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2113-2_0_3_load_106 | 65 | 0.00033106 | 8.2971e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2113-2_0_3_load_113 | 66 | 0.0023156 | 0.00058035 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2113-2_0_3_load_98 | 67 | 0.0031488 | 0.00078917 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2113-2_0_3_load_99 | 68 | 0.001493 | 0.00037418 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2113-2_0_3_load_101 | 69 | 0.00016369 | 4.1026e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2113-2_0_3_load_102 | 70 | 0.00021809 | 5.4658e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2113-2_0_3_load_103 | 71 | 0.00020473 | 5.131e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2113-2_0_3_load_105 | 72 | 0.00026932 | 6.7498e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2113-2_0_3_load_104 | 73 | 0.0010385 | 0.00026027 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2113-2_0_3_load_110 | 74 | 0.0039458 | 0.00098892 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2113-2_0_3_load_111 | 75 | 0.0014287 | 0.00035807 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2113-2_0_3_load_112 | 76 | 0.0014485 | 0.00036304 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2113-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00094533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2113-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2113-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2113-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2113-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.080059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2113-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.05341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2113-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.047703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2113-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.089747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2113-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.19061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2113-2_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.048679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2113-2_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.043683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2113-2_0_3_line_11 | NAYY 4x150 SE | 9 | 53 | 0.039625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2113-2_0_3_line_12 | NAYY 4x150 SE | 9 | 51 | 0.047448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2113-2_0_3_line_13 | NAYY 4x150 SE | 10 | 29 | 0.0059464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2113-2_0_3_line_14 | NAYY 4x150 SE | 11 | 18 | 0.03302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2113-2_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.0103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2113-2_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.11263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2113-2_0_3_line_17 | NAYY 4x150 SE | 12 | 14 | 0.036986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2113-2_0_3_line_18 | NAYY 4x150 SE | 13 | 15 | 0.010603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2113-2_0_3_line_19 | NAYY 4x150 SE | 14 | 16 | 0.013941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2113-2_0_3_line_20 | NAYY 4x150 SE | 15 | 17 | 0.032162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2113-2_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.11239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2113-2_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.010822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2113-2_0_3_line_23 | NAYY 4x150 SE | 18 | 21 | 0.094906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2113-2_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.032465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2113-2_0_3_line_25 | NAYY 4x150 SE | 20 | 39 | 0.0032886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2113-2_0_3_line_26 | NAYY 4x150 SE | 22 | 45 | 0.18144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2113-2_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0047052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2113-2_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.18411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2113-2_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.12792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2113-2_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.020882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2113-2_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.46134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2113-2_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.1705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2113-2_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.15848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2113-2_0_3_line_34 | NAYY 4x150 SE | 28 | 37 | 0.051458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2113-2_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.040433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2113-2_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.030657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2113-2_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.02006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2113-2_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.034134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2113-2_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.052137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2113-2_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.050998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2113-2_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.025342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2113-2_0_3_line_42 | NAYY 4x150 SE | 37 | 47 | 0.012354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2113-2_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.034194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2113-2_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.043449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2113-2_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.09261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2113-2_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.011735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2113-2_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.023221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2113-2_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.010505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2113-2_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.041576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2113-2_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0094293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2113-2_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.020219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2113-2_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.029922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2113-2_0_3_line_53 | NAYY 4x150 SE | 52 | 54 | 0.028713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2113-2_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.18175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2113-2_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.11493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2113-2_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.012179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2113-2_0_3_line_57 | NAYY 4x150 SE | 57 | 61 | 0.065351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2113-2_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.036965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2113-2_0_3_line_59 | NAYY 4x150 SE | 59 | 74 | 0.01748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2113-2_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.011308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2113-2_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.033878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2113-2_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.046088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2113-2_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.0034883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2113-2_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.011356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2113-2_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.016905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2113-2_0_3_line_66 | NAYY 4x150 SE | 65 | 73 | 0.012423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2113-2_0_3_line_67 | NAYY 4x150 SE | 66 | 76 | 0.013641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2113-2_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.056693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2113-2_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.011278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2113-2_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0069372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2113-2_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0059144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2113-2_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.010037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2113-2_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0040202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2113-2_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0076637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2113-2_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.011885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2113-2_0_3_trafo_45 | 0.25 MVA 20/0.4 kV | 77 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2563441.4931 | 1168656.2807 | 2563442.3346 | 1168655.85
1 | 2563464.7054 | 1168636.2251 | 2563463.845 | 1168640.7104 | 2563450.6871 | 1168651.5741 | 2563442.3346 | 1168655.85
2 | 2563413.9438 | 1168667.238 | 2563425.2368 | 1168664.6028 | 2563441.4931 | 1168656.2807
3 | 2563464.7054 | 1168636.2251 | 2563451.668 | 1168630.4794 | 2563435.7992 | 1168614.9175
4 | 2563464.7054 | 1168636.2251 | 2563502.2999 | 1168629.2812 | 2563516.7881 | 1168631.9944 | 2563533.6004 | 1168644.3873 | 2563537.7314 | 1168649.0131
5 | 2563361.9309 | 1168679.375 | 2563413.9438 | 1168667.238
6 | 2563405.3918 | 1168578.3272 | 2563424.1903 | 1168603.5331 | 2563435.7992 | 1168614.9175
7 | 2563597.772 | 1168715.7182 | 2563556.6858 | 1168670.238 | 2563537.7314 | 1168649.0131
8 | 2563361.9309 | 1168679.375 | 2563277.4706 | 1168850.2566
9 | 2563379.646 | 1168537.0471 | 2563401.1884 | 1168572.6909 | 2563405.3918 | 1168578.3272
10 | 2563622.9265 | 1168750.477 | 2563619.7099 | 1168740.0022 | 2563597.772 | 1168715.7182
11 | 2563277.4706 | 1168850.2566 | 2563272.1499 | 1168844.388 | 2563262.7716 | 1168838.7759 | 2563253.4289 | 1168838.9666 | 2563244.686 | 1168846.3288
12 | 2563303.0249 | 1168888.8107 | 2563301.7549 | 1168880.114 | 2563297.0977 | 1168871.9049 | 2563277.4706 | 1168850.2566
13 | 2563376.5703 | 1168531.958 | 2563379.646 | 1168537.0471
14 | 2563622.9265 | 1168750.477 | 2563616.6918 | 1168771.0143 | 2563614.6595 | 1168782.3914
15 | 2563622.9265 | 1168750.477 | 2563630.9685 | 1168744.0137
16 | 2563653.5791 | 1168715.0485 | 2563686.6899 | 1168667.336 | 2563722.6164 | 1168626.2854
17 | 2563630.9685 | 1168744.0137 | 2563636.6421 | 1168739.4546 | 2563653.5791 | 1168715.0485
18 | 2563722.6164 | 1168626.2854 | 2563729.5996 | 1168618.3062
19 | 2563630.9685 | 1168744.0137 | 2563644.5079 | 1168747.3363
20 | 2563729.5996 | 1168618.3062 | 2563730.9689 | 1168616.7416 | 2563749.6463 | 1168593.1594
21 | 2563644.5079 | 1168747.3363 | 2563667.7488 | 1168753.0396 | 2563729.6564 | 1168767.7054 | 2563753.8563 | 1168773.3193
22 | 2563756.3653 | 1168584.6761 | 2563749.6463 | 1168593.1594
23 | 2563615.9775 | 1168876.56 | 2563611.1755 | 1168842.9962 | 2563610.3122 | 1168806.7271 | 2563614.6595 | 1168782.3914
24 | 2563785.4819 | 1168780.6558 | 2563753.8563 | 1168773.3193
25 | 2563756.3653 | 1168584.6761 | 2563758.4071 | 1168582.0981
26 | 2563785.4819 | 1168780.6558 | 2563966.2008 | 1168796.8041
27 | 2563535.2473 | 1168164.529 | 2563539.7931 | 1168163.3149
28 | 2563409.5688 | 1168029.9914 | 2563535.2473 | 1168164.529
29 | 2563297.6294 | 1167978.4614 | 2563306.0398 | 1167974.5411 | 2563319.4214 | 1167976.2601 | 2563362.0701 | 1167997.8659 | 2563409.5688 | 1168029.9914
30 | 2563297.6294 | 1167978.4614 | 2563305.4061 | 1167994.7777 | 2563306.3669 | 1167997.4157
31 | 2563297.6294 | 1167978.4614 | 2562980.1794 | 1167643.7099
32 | 2563310.4765 | 1168387.9206 | 2563329.7602 | 1168218.511
33 | 2563376.5703 | 1168531.958 | 2563310.4765 | 1168387.9206
34 | 2563329.7602 | 1168218.511 | 2563342.936 | 1168184.1904 | 2563342.9838 | 1168169.4937
35 | 2563306.3669 | 1167997.4157 | 2563314.7866 | 1168020.5336 | 2563318.1147 | 1168036.0094
36 | 2563324.5604 | 1168065.9813 | 2563318.1147 | 1168036.0094
37 | 2563328.7779 | 1168085.5927 | 2563324.5604 | 1168065.9813
38 | 2563328.7779 | 1168085.5927 | 2563334.678 | 1168119.2073
39 | 2563328.7779 | 1168085.5927 | 2563314.4584 | 1168089.4046 | 2563304.7029 | 1168092.3547 | 2563294.0806 | 1168092.4976 | 2563281.7224 | 1168086.637 | 2563278.9993 | 1168085.8816
40 | 2563342.9838 | 1168169.4937 | 2563342.3073 | 1168162.761 | 2563339.1142 | 1168142.4922 | 2563334.678 | 1168119.2073
41 | 2563258.924 | 1168071.3194 | 2563272.7831 | 1168084.1572 | 2563278.9993 | 1168085.8816
42 | 2563342.9838 | 1168169.4937 | 2563330.7727 | 1168167.623
43 | 2563779.6369 | 1168555.2927 | 2563778.7257 | 1168556.4437 | 2563758.4071 | 1168582.0981
44 | 2563805.9766 | 1168520.7716 | 2563801.0018 | 1168528.3056 | 2563779.6369 | 1168555.2927
45 | 2563762.107 | 1168454.6137 | 2563764.8551 | 1168453.4409 | 2563782.074 | 1168455.8714 | 2563792.3098 | 1168462.802 | 2563798.5612 | 1168476.5269 | 2563804.7199 | 1168511.6412 | 2563805.9766 | 1168520.7716
46 | 2563762.107 | 1168454.6137 | 2563751.2906 | 1168459.2371
47 | 2563966.2008 | 1168796.8041 | 2563973.2182 | 1168814.5822 | 2563975.6604 | 1168817.8859
48 | 2563966.2008 | 1168796.8041 | 2563975.686 | 1168792.2895
49 | 2563330.7727 | 1168167.623 | 2563330.7727 | 1168167.623 | 2563326.857 | 1168165.6014 | 2563313.2382 | 1168153.8232 | 2563300.2311 | 1168139.7489
50 | 2563300.2311 | 1168139.7489 | 2563296.5962 | 1168135.8158 | 2563294.3722 | 1168132.4028
51 | 2563294.3722 | 1168132.4028 | 2563290.4848 | 1168126.4372 | 2563289.5501 | 1168123.786 | 2563289.5345 | 1168121.2293 | 2563290.7439 | 1168118.765 | 2563294.1855 | 1168115.1575
52 | 2563303.0249 | 1168888.8107 | 2563273.1074 | 1168889.3525
53 | 2563273.1074 | 1168889.3525 | 2563244.3986 | 1168889.8724
54 | 2563095.9364 | 1168741.8955 | 2563244.686 | 1168846.3288
55 | 2562998.2108 | 1168802.3852 | 2563095.9364 | 1168741.8955
56 | 2562998.2108 | 1168802.3852 | 2562986.0319 | 1168802.4605
57 | 2562928.7457 | 1168776.3678 | 2562939.5779 | 1168788.0735 | 2562965.4901 | 1168800.4864 | 2562981.1217 | 1168802.4908 | 2562986.0319 | 1168802.4605
58 | 2562862.8599 | 1168642.6541 | 2562862.9169 | 1168643.0842 | 2562874.5548 | 1168668.6475 | 2562879.2112 | 1168675.6906
59 | 2562879.2112 | 1168675.6906 | 2562886.9693 | 1168687.4248 | 2562888.8521 | 1168690.2716
60 | 2562932.8128 | 1168765.8149 | 2562928.7457 | 1168776.3678
61 | 2562932.8128 | 1168765.8149 | 2562916.463 | 1168736.143
62 | 2562928.7457 | 1168776.3678 | 2562925.9439 | 1168783.6334 | 2562925.01 | 1168786.0626 | 2562918.4864 | 1168813.9285 | 2562916.8744 | 1168820.8219
63 | 2562914.7796 | 1168733.0877 | 2562916.463 | 1168736.143
64 | 2562914.2883 | 1168831.8798 | 2562916.8744 | 1168820.8219
65 | 2562914.7796 | 1168733.0877 | 2562906.6212 | 1168718.2817
66 | 2562916.5284 | 1168844.097 | 2562914.2817 | 1168831.9083 | 2562914.2883 | 1168831.8798
67 | 2562899.6362 | 1168706.577 | 2562902.8445 | 1168711.4278 | 2562906.6212 | 1168718.2817
68 | 2562926.5287 | 1168938.1574 | 2562926.7753 | 1168929.048 | 2562925.0193 | 1168890.161 | 2562923.4507 | 1168881.6512
69 | 2562923.4507 | 1168881.6512 | 2562921.4064 | 1168870.5603
70 | 2562921.4064 | 1168870.5603 | 2562920.1488 | 1168863.738
71 | 2562919.0767 | 1168857.9216 | 2562920.1488 | 1168863.738
72 | 2562917.2572 | 1168848.0506 | 2562919.0767 | 1168857.9216
73 | 2562916.5284 | 1168844.097 | 2562917.2572 | 1168848.0506
74 | 2562888.8521 | 1168690.2716 | 2562893.0798 | 1168696.6637
75 | 2562893.0798 | 1168696.6637 | 2562899.6362 | 1168706.577

## bus_geodata
| x | y | coords
0 | 2563442.3346 | 1168655.85
1 | 2563441.4931 | 1168656.2807
2 | 2563464.7054 | 1168636.225
3 | 2563413.9438 | 1168667.238
4 | 2563435.7992 | 1168614.9175
5 | 2563537.7314 | 1168649.0131
6 | 2563361.9309 | 1168679.375
7 | 2563405.3918 | 1168578.3272
8 | 2563597.772 | 1168715.7182
9 | 2563277.4706 | 1168850.2566
10 | 2563379.646 | 1168537.0471
11 | 2563622.9265 | 1168750.477
12 | 2563653.5791 | 1168715.0485
13 | 2563722.6164 | 1168626.2854
14 | 2563630.9685 | 1168744.0137
15 | 2563729.5996 | 1168618.3062
16 | 2563644.5079 | 1168747.3363
17 | 2563749.6463 | 1168593.1594
18 | 2563614.6595 | 1168782.3914
19 | 2563753.8563 | 1168773.3193
20 | 2563756.3653 | 1168584.6761
21 | 2563615.9775 | 1168876.56
22 | 2563785.4819 | 1168780.6558
23 | 2563535.2473 | 1168164.529
24 | 2563539.7931 | 1168163.3149
25 | 2563409.5688 | 1168029.9914
26 | 2563297.6294 | 1167978.4614
27 | 2563310.4765 | 1168387.9206
28 | 2563329.7602 | 1168218.511
29 | 2563376.5703 | 1168531.958
30 | 2563306.3669 | 1167997.4157
31 | 2562980.1794 | 1167643.7099
32 | 2563318.1147 | 1168036.0094
33 | 2563324.5604 | 1168065.9813
34 | 2563328.7779 | 1168085.5927
35 | 2563334.678 | 1168119.2073
36 | 2563278.9993 | 1168085.8816
37 | 2563342.9838 | 1168169.4937
38 | 2563258.924 | 1168071.3194
39 | 2563758.4071 | 1168582.0981
40 | 2563779.6369 | 1168555.2927
41 | 2563805.9766 | 1168520.7716
42 | 2563762.107 | 1168454.6137
43 | 2563751.2906 | 1168459.2371
44 | 2563975.6604 | 1168817.8859
45 | 2563966.2008 | 1168796.8041
46 | 2563975.686 | 1168792.2895
47 | 2563330.7727 | 1168167.623
48 | 2563300.2311 | 1168139.7489
49 | 2563294.3722 | 1168132.4028
50 | 2563294.1855 | 1168115.1575
51 | 2563303.0249 | 1168888.8107
52 | 2563273.1074 | 1168889.3525
53 | 2563244.686 | 1168846.3288
54 | 2563244.3986 | 1168889.8724
55 | 2563095.9364 | 1168741.8955
56 | 2562998.2108 | 1168802.3852
57 | 2562986.0319 | 1168802.4605
58 | 2562862.8599 | 1168642.6541
59 | 2562879.2112 | 1168675.6906
60 | 2562932.8128 | 1168765.8149
61 | 2562928.7457 | 1168776.3678
62 | 2562916.463 | 1168736.143
63 | 2562916.8744 | 1168820.8219
64 | 2562914.7796 | 1168733.0877
65 | 2562914.2883 | 1168831.8798
66 | 2562906.6212 | 1168718.2817
67 | 2562926.5287 | 1168938.1574
68 | 2562923.4507 | 1168881.6512
69 | 2562921.4064 | 1168870.5603
70 | 2562920.1488 | 1168863.738
71 | 2562919.0767 | 1168857.9216
72 | 2562917.2572 | 1168848.0506
73 | 2562916.5284 | 1168844.097
74 | 2562888.8521 | 1168690.2716
75 | 2562893.0798 | 1168696.6637
76 | 2562899.6362 | 1168706.577
77 | 2563464.7054 | 1168636.225

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99275 | -0.050128 | 0.0014655 | 0.00036729
1 | 0.99283 | -0.049569 | 0.00026693 | 6.6899e-05
2 | 0.99018 | -0.068081 | 0 | 0
3 | 0.99538 | -0.031853 | 0.0007244 | 0.00018155
4 | 0.98899 | -0.076401 | 0.00035222 | 8.8274e-05
5 | 0.98615 | -0.096415 | 0.00065652 | 0.00016454
6 | 1 | 0 | -0.10759 | -0.027031
7 | 0.98747 | -0.087138 | 0.0004409 | 0.0001105
8 | 0.98171 | -0.12784 | 0.0018012 | 0.00045141
9 | 0.99372 | -0.043362 | 0.00090431 | 0.00022664
10 | 0.98594 | -0.097907 | 0.00033636 | 8.4301e-05
11 | 0.97966 | -0.14241 | 0 | 0
12 | 0.97833 | -0.15193 | 0.0067297 | 0.0016866
13 | 0.97678 | -0.16308 | 0.002412 | 0.00060451
14 | 0.97921 | -0.14568 | 0 | 0
15 | 0.97667 | -0.16386 | 0.00074195 | 0.00018595
16 | 0.97892 | -0.14775 | 0.0015595 | 0.00039085
17 | 0.97638 | -0.16599 | 0.00054676 | 0.00013703
18 | 0.97958 | -0.14299 | 0.00072472 | 0.00018163
19 | 0.97684 | -0.16263 | 0.0015371 | 0.00038523
20 | 0.97628 | -0.16664 | 0.00079237 | 0.00019859
21 | 0.97945 | -0.14393 | 0.00094373 | 0.00023652
22 | 0.97631 | -0.16642 | 0.0011749 | 0.00029445
23 | 0.97026 | -0.21027 | 0.0019098 | 0.00047864
24 | 0.97025 | -0.21029 | 0.00037667 | 9.4402e-05
25 | 0.97087 | -0.20579 | 0.0017593 | 0.00044092
26 | 0.97163 | -0.20028 | 0 | 0
27 | 0.98089 | -0.13371 | 0.0023468 | 0.00058817
28 | 0.97624 | -0.167 | 0 | 0
29 | 0.98576 | -0.099204 | 0.00013734 | 3.442e-05
30 | 0.97181 | -0.19896 | 0.00328 | 0.00082205
31 | 0.97038 | -0.20945 | 0.0018552 | 0.00046497
32 | 0.97236 | -0.19501 | 0.00036772 | 9.2159e-05
33 | 0.97279 | -0.1919 | 0.002828 | 0.00070876
34 | 0.97315 | -0.18926 | 0 | 0
35 | 0.97383 | -0.18438 | 0 | 0
36 | 0.97307 | -0.18987 | 0.00033875 | 8.4899e-05
37 | 0.97484 | -0.17711 | 0 | 0
38 | 0.97304 | -0.19007 | 0.00076383 | 0.00019143
39 | 0.97626 | -0.16681 | 0.00098 | 0.00024561
40 | 0.97606 | -0.16824 | 0.0013753 | 0.00034468
41 | 0.9759 | -0.16943 | 0 | 0
42 | 0.97554 | -0.17197 | 0 | 0
43 | 0.9755 | -0.17229 | 0.0026036 | 0.00065253
44 | 0.97346 | -0.18689 | 0.0061475 | 0.0015407
45 | 0.97366 | -0.18539 | 0 | 0
46 | 0.97361 | -0.18581 | 0.0037992 | 0.00095218
47 | 0.97474 | -0.17777 | 0.00069588 | 0.0001744
48 | 0.97447 | -0.17972 | 0.0037381 | 0.00093685
49 | 0.97446 | -0.17979 | 0.00041969 | 0.00010518
50 | 0.97446 | -0.17985 | 0.00028271 | 7.0854e-05
51 | 0.99317 | -0.04725 | 0 | 0
52 | 0.99282 | -0.049703 | 0.0003482 | 8.7267e-05
53 | 0.99162 | -0.057919 | 0.0028468 | 0.00071348
54 | 0.9925 | -0.051956 | 0.0077465 | 0.0019415
55 | 0.98274 | -0.12011 | 0.0015235 | 0.00038182
56 | 0.97738 | -0.15818 | 0.0014409 | 0.00036113
57 | 0.97683 | -0.16205 | 0.00037239 | 9.3329e-05
58 | 0.97123 | -0.20231 | 0.0043853 | 0.0010991
59 | 0.97146 | -0.20059 | 0.0011878 | 0.0002977
60 | 0.97362 | -0.18509 | 0 | 0
61 | 0.97396 | -0.18266 | 0 | 0
62 | 0.9726 | -0.19239 | 0.0038396 | 0.0009623
63 | 0.97331 | -0.18732 | 0.002721 | 0.00068196
64 | 0.97252 | -0.193 | 0.0018808 | 0.00047137
65 | 0.9732 | -0.18814 | 0.00033106 | 8.2971e-05
66 | 0.97215 | -0.19563 | 0.0023156 | 0.00058035
67 | 0.97254 | -0.19289 | 0.0031488 | 0.00078917
68 | 0.9728 | -0.191 | 0.001493 | 0.00037418
69 | 0.97288 | -0.19045 | 0.00016369 | 4.1026e-05
70 | 0.97292 | -0.1901 | 0.00021809 | 5.4658e-05
71 | 0.97297 | -0.18978 | 0.00020473 | 5.131e-05
72 | 0.97304 | -0.18923 | 0.00026932 | 6.7498e-05
73 | 0.97308 | -0.189 | 0.0010385 | 0.00026027
74 | 0.97161 | -0.19956 | 0.0039458 | 0.00098892
75 | 0.97171 | -0.19879 | 0.0014287 | 0.00035807
76 | 0.97191 | -0.19742 | 0.0014485 | 0.00036304
77 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.059186 | -0.014928 | 0.059191 | 0.014929 | 4.6459e-06 | 1.7746e-06 | 0.088746 | 0.088746 | 0.088746 | 0.99275 | -0.050128 | 0.99283 | -0.049569 | 32.869
1 | 0.057721 | 0.01456 | -0.057576 | -0.014505 | 0.00014497 | 5.5356e-05 | 0.08655 | 0.08655 | 0.08655 | 0.99275 | -0.050128 | 0.99018 | -0.068081 | 32.0555
2 | -0.059458 | -0.014996 | 0.059606 | 0.015053 | 0.00014807 | 5.6563e-05 | 0.089146 | 0.089146 | 0.089146 | 0.99283 | -0.049569 | 0.99538 | -0.031853 | 33.0172
3 | 0.022585 | 0.0056874 | -0.022559 | -0.0056777 | 2.6232e-05 | 9.6207e-06 | 0.03395 | 0.03395 | 0.03395 | 0.99018 | -0.068081 | 0.98899 | -0.076401 | 12.5741
4 | 0.034991 | 0.0088177 | -0.034852 | -0.0087656 | 0.00013822 | 5.2136e-05 | 0.0526 | 0.0526 | 0.0526 | 0.99018 | -0.068081 | 0.98615 | -0.096415 | 19.4816
5 | -0.06033 | -0.015235 | 0.060601 | 0.015338 | 0.00027133 | 0.00010366 | 0.090229 | 0.090229 | 0.090229 | 0.99538 | -0.031853 | 1 | 0 | 33.4182
6 | 0.022207 | 0.0055895 | -0.022173 | -0.0055773 | 3.3247e-05 | 1.2176e-05 | 0.03342 | 0.03342 | 0.03342 | 0.98899 | -0.076401 | 0.98747 | -0.087138 | 12.3779
7 | 0.034196 | 0.008601 | -0.034047 | -0.0085448 | 0.00014917 | 5.6232e-05 | 0.05161 | 0.05161 | 0.05161 | 0.98615 | -0.096415 | 0.98171 | -0.12784 | 19.1149
8 | 0.04619 | 0.011693 | -0.045908 | -0.01159 | 0.00028129 | 0.00010322 | 0.068772 | 0.068774 | 0.068774 | 1 | 0 | 0.99372 | -0.043362 | 12.7359
9 | 0.021732 | 0.0054668 | -0.0217 | -0.0054549 | 3.2592e-05 | 1.1914e-05 | 0.032756 | 0.032756 | 0.032756 | 0.98747 | -0.087138 | 0.98594 | -0.097907 | 12.1319
10 | 0.032246 | 0.0080934 | -0.03218 | -0.0080689 | 6.5128e-05 | 2.4498e-05 | 0.04888 | 0.04888 | 0.04888 | 0.98171 | -0.12784 | 0.97966 | -0.14241 | 18.1038
11 | 0.0369 | 0.009332 | -0.036824 | -0.0093034 | 7.5572e-05 | 2.8554e-05 | 0.055284 | 0.055284 | 0.055284 | 0.99372 | -0.043362 | 0.99162 | -0.057919 | 20.4757
12 | 0.0081042 | 0.002031 | -0.0080999 | -0.00203 | 4.3603e-06 | 1.0627e-06 | 0.012135 | 0.012136 | 0.012136 | 0.99372 | -0.043362 | 0.99317 | -0.04725 | 4.4947
13 | 0.021363 | 0.0053706 | -0.02136 | -0.0053692 | 3.8588e-06 | 1.4083e-06 | 0.032248 | 0.032248 | 0.032248 | 0.98594 | -0.097907 | 0.98576 | -0.099204 | 11.9439
14 | 0.0016687 | 0.00041664 | -0.0016686 | -0.000417 | 1.3232e-07 | -3.6483e-07 | 0.002534 | 0.0025342 | 0.0025342 | 0.97966 | -0.14241 | 0.97958 | -0.14299 | 0.93859
15 | 0.030512 | 0.0076523 | -0.030498 | -0.0076471 | 1.3805e-05 | 5.1802e-06 | 0.046346 | 0.046346 | 0.046346 | 0.97966 | -0.14241 | 0.97921 | -0.14568 | 17.1653
16 | 0.0094721 | 0.0023722 | -0.0094575 | -0.002368 | 1.4586e-05 | 4.1981e-06 | 0.014406 | 0.014407 | 0.014407 | 0.97833 | -0.15193 | 0.97678 | -0.16308 | 5.3358
17 | -0.016202 | -0.0040589 | 0.016216 | 0.0040638 | 1.4014e-05 | 4.9252e-06 | 0.024642 | 0.024642 | 0.024642 | 0.97833 | -0.15193 | 0.97921 | -0.14568 | 9.1266
18 | 0.0070455 | 0.0017635 | -0.0070447 | -0.0017634 | 7.621e-07 | 1.6041e-07 | 0.010732 | 0.010732 | 0.010732 | 0.97678 | -0.16308 | 0.97667 | -0.16386 | 3.9749
19 | 0.014282 | 0.0035833 | -0.014278 | -0.0035819 | 4.0981e-06 | 1.4009e-06 | 0.021705 | 0.021705 | 0.021705 | 0.97921 | -0.14568 | 0.97892 | -0.14775 | 8.0387
20 | 0.0063028 | 0.0015774 | -0.0063009 | -0.0015771 | 1.8503e-06 | 3.0929e-07 | 0.0096018 | 0.009602 | 0.009602 | 0.97667 | -0.16386 | 0.97638 | -0.16599 | 3.5563
21 | 0.012718 | 0.003191 | -0.012692 | -0.0031824 | 2.6217e-05 | 8.6735e-06 | 0.019334 | 0.019335 | 0.019335 | 0.97892 | -0.14775 | 0.97684 | -0.16263 | 7.1609
22 | 0.0057542 | 0.0014401 | -0.0057536 | -0.00144 | 5.1923e-07 | 6.4371e-08 | 0.0087687 | 0.0087688 | 0.0087688 | 0.97638 | -0.16599 | 0.97628 | -0.16664 | 3.2477
23 | 0.00094385 | 0.00023537 | -0.00094373 | -0.00023652 | 1.217e-07 | -1.1478e-06 | 0.0014333 | 0.0014337 | 0.0014337 | 0.97958 | -0.14299 | 0.97945 | -0.14393 | 0.53102
24 | 0.011155 | 0.0027971 | -0.011149 | -0.0027953 | 5.85e-06 | 1.8438e-06 | 0.016993 | 0.016993 | 0.016993 | 0.97684 | -0.16263 | 0.97631 | -0.16642 | 6.2938
25 | 0.0049613 | 0.0012414 | -0.0049612 | -0.0012414 | 1.1732e-07 | 4.0011e-09 | 0.0075611 | 0.0075611 | 0.0075611 | 0.97628 | -0.16664 | 0.97626 | -0.16681 | 2.8004
26 | 0.0099744 | 0.0025008 | -0.0099482 | -0.002493 | 2.6168e-05 | 7.802e-06 | 0.015203 | 0.015203 | 0.015203 | 0.97631 | -0.16642 | 0.97366 | -0.18539 | 5.6309
27 | 0.00037667 | 9.4344e-05 | -0.00037667 | -9.4402e-05 | 9.7976e-10 | -5.7734e-08 | 0.00057765 | 0.00057767 | 0.00057767 | 0.97026 | -0.21027 | 0.97025 | -0.21029 | 0.21395
28 | -0.0022865 | -0.00057299 | 0.0022879 | 0.00057126 | 1.4123e-06 | -1.7321e-06 | 0.0035066 | 0.0035058 | 0.0035066 | 0.97026 | -0.21027 | 0.97087 | -0.20579 | 1.2987
29 | -0.0040472 | -0.0010122 | 0.0040503 | 0.0010118 | 3.0703e-06 | -4.0227e-07 | 0.0062022 | 0.0062016 | 0.0062022 | 0.97087 | -0.20579 | 0.97163 | -0.20028 | 2.2971
30 | -0.0059078 | -0.0014719 | 0.0059089 | 0.0014721 | 1.0659e-06 | 1.5128e-07 | 0.0090445 | 0.0090444 | 0.0090445 | 0.97163 | -0.20028 | 0.97181 | -0.19896 | 3.3498
31 | 0.0018576 | 0.00046016 | -0.0018552 | -0.00046497 | 2.3282e-06 | -4.8111e-06 | 0.0028429 | 0.0028449 | 0.0028449 | 0.97163 | -0.20028 | 0.97038 | -0.20945 | 1.0537
32 | 0.018774 | 0.0047095 | -0.018688 | -0.0046785 | 8.631e-05 | 3.1054e-05 | 0.028482 | 0.028482 | 0.028482 | 0.98089 | -0.13371 | 0.97624 | -0.167 | 10.549
33 | -0.021121 | -0.0052977 | 0.021222 | 0.0053347 | 0.00010153 | 3.7038e-05 | 0.032042 | 0.032041 | 0.032042 | 0.98089 | -0.13371 | 0.98576 | -0.099204 | 11.8673
34 | 0.018688 | 0.0046785 | -0.018662 | -0.0046691 | 2.6049e-05 | 9.3765e-06 | 0.028482 | 0.028483 | 0.028483 | 0.97624 | -0.167 | 0.97484 | -0.17711 | 10.5491
35 | -0.0091889 | -0.0022941 | 0.0091939 | 0.0022956 | 4.9923e-06 | 1.4188e-06 | 0.014067 | 0.014066 | 0.014067 | 0.97181 | -0.19896 | 0.97236 | -0.19501 | 5.2099
36 | -0.0095617 | -0.0023877 | 0.0095657 | 0.0023889 | 4.0941e-06 | 1.1942e-06 | 0.014629 | 0.014629 | 0.014629 | 0.97236 | -0.19501 | 0.97279 | -0.1919 | 5.4182
37 | -0.012394 | -0.0030977 | 0.012398 | 0.0030991 | 4.4973e-06 | 1.4806e-06 | 0.018955 | 0.018955 | 0.018955 | 0.97279 | -0.1919 | 0.97315 | -0.18926 | 7.0203
38 | -0.013501 | -0.0033746 | 0.01351 | 0.0033776 | 9.0742e-06 | 3.0657e-06 | 0.020641 | 0.02064 | 0.020641 | 0.97315 | -0.18926 | 0.97383 | -0.18438 | 7.6446
39 | 0.0011027 | 0.00027541 | -0.0011026 | -0.00027603 | 9.2464e-08 | -6.1214e-07 | 0.0016857 | 0.001686 | 0.001686 | 0.97315 | -0.18926 | 0.97307 | -0.18987 | 0.62444
40 | -0.01351 | -0.0033776 | 0.013524 | 0.0033822 | 1.3557e-05 | 4.5791e-06 | 0.02064 | 0.02064 | 0.02064 | 0.97383 | -0.18438 | 0.97484 | -0.17711 | 7.6446
41 | 0.00076385 | 0.00019113 | -0.00076383 | -0.00019143 | 2.1574e-08 | -3.065e-07 | 0.001168 | 0.0011681 | 0.0011681 | 0.97307 | -0.18987 | 0.97304 | -0.19007 | 0.43262
42 | 0.005138 | 0.0012869 | -0.0051375 | -0.0012869 | 4.7412e-07 | 2.8354e-08 | 0.0078425 | 0.0078426 | 0.0078426 | 0.97484 | -0.17711 | 0.97474 | -0.17777 | 2.9047
43 | 0.0039812 | 0.0009958 | -0.0039804 | -0.00099592 | 7.855e-07 | -1.2535e-07 | 0.0060674 | 0.0060675 | 0.0060675 | 0.97626 | -0.16681 | 0.97606 | -0.16824 | 2.2472
44 | 0.0026051 | 0.00065125 | -0.0026047 | -0.00065163 | 4.2752e-07 | -3.7853e-07 | 0.0039709 | 0.0039711 | 0.0039711 | 0.97606 | -0.16824 | 0.9759 | -0.16943 | 1.4708
45 | 0.0026047 | 0.00065163 | -0.0026038 | -0.00065243 | 9.114e-07 | -8.0616e-07 | 0.0039711 | 0.0039715 | 0.0039715 | 0.9759 | -0.16943 | 0.97554 | -0.17197 | 1.4709
46 | 0.0026038 | 0.00065243 | -0.0026036 | -0.00065253 | 1.155e-07 | -1.0209e-07 | 0.0039715 | 0.0039716 | 0.0039716 | 0.97554 | -0.17197 | 0.9755 | -0.17229 | 1.471
47 | -0.0061475 | -0.0015407 | 0.0061488 | 0.0015409 | 1.2795e-06 | 2.0337e-07 | 0.009397 | 0.0093969 | 0.009397 | 0.97346 | -0.18689 | 0.97366 | -0.18539 | 3.4804
48 | 0.0037995 | 0.00095213 | -0.0037992 | -0.00095218 | 2.2101e-07 | -4.5641e-08 | 0.0058065 | 0.0058066 | 0.0058066 | 0.97366 | -0.18539 | 0.97361 | -0.18581 | 2.1506
49 | 0.0044417 | 0.0011125 | -0.0044405 | -0.0011125 | 1.1927e-06 | -5.9368e-08 | 0.0067803 | 0.0067805 | 0.0067805 | 0.97474 | -0.17777 | 0.97447 | -0.17972 | 2.5113
50 | 0.00070241 | 0.00017567 | -0.0007024 | -0.00017579 | 6.7675e-09 | -1.1487e-07 | 0.0010724 | 0.0010725 | 0.0010725 | 0.97447 | -0.17972 | 0.97446 | -0.17979 | 0.39722
51 | 0.00028271 | 7.0603e-05 | -0.00028271 | -7.0854e-05 | 2.3509e-09 | -2.5098e-07 | 0.00043161 | 0.0004317 | 0.0004317 | 0.97446 | -0.17979 | 0.97446 | -0.17985 | 0.15989
52 | 0.0080999 | 0.00203 | -0.0080971 | -0.0020293 | 2.7499e-06 | 6.7056e-07 | 0.012136 | 0.012136 | 0.012136 | 0.99317 | -0.04725 | 0.99282 | -0.049703 | 4.4947
53 | 0.0077489 | 0.001942 | -0.0077465 | -0.0019415 | 2.4167e-06 | 5.5832e-07 | 0.011614 | 0.011614 | 0.011614 | 0.99282 | -0.049703 | 0.9925 | -0.051956 | 4.3015
54 | 0.033977 | 0.0085899 | -0.033682 | -0.0084788 | 0.00029513 | 0.00011119 | 0.051013 | 0.051013 | 0.051013 | 0.99162 | -0.057919 | 0.98274 | -0.12011 | 18.8938
55 | 0.032159 | 0.0080969 | -0.031989 | -0.0080329 | 0.00017014 | 6.399e-05 | 0.048707 | 0.048707 | 0.048707 | 0.98274 | -0.12011 | 0.97738 | -0.15818 | 18.0397
56 | 0.030548 | 0.0076718 | -0.030531 | -0.0076656 | 1.6442e-05 | 6.1713e-06 | 0.046513 | 0.046513 | 0.046513 | 0.97738 | -0.15818 | 0.97683 | -0.16205 | 17.2272
57 | 0.030159 | 0.0075723 | -0.030073 | -0.00754 | 8.6087e-05 | 3.2295e-05 | 0.045946 | 0.045946 | 0.045946 | 0.97683 | -0.16205 | 0.97396 | -0.18266 | 17.0172
58 | -0.0043853 | -0.0010991 | 0.0043864 | 0.001099 | 1.0412e-06 | -5.7093e-08 | 0.0067187 | 0.0067186 | 0.0067187 | 0.97123 | -0.20231 | 0.97146 | -0.20059 | 2.4884
59 | -0.0055742 | -0.0013967 | 0.005575 | 0.0013968 | 7.9512e-07 | 8.9361e-08 | 0.008538 | 0.0085379 | 0.008538 | 0.97146 | -0.20059 | 0.97161 | -0.19956 | 3.1622
60 | -0.020468 | -0.0051327 | 0.020475 | 0.0051352 | 6.9052e-06 | 2.5152e-06 | 0.031283 | 0.031283 | 0.031283 | 0.97362 | -0.18509 | 0.97396 | -0.18266 | 11.5861
61 | 0.020468 | 0.0051327 | -0.020447 | -0.0051251 | 2.0688e-05 | 7.536e-06 | 0.031283 | 0.031283 | 0.031283 | 0.97362 | -0.18509 | 0.9726 | -0.19239 | 11.5862
62 | 0.0095982 | 0.0024048 | -0.009592 | -0.002403 | 6.1842e-06 | 1.8054e-06 | 0.014664 | 0.014664 | 0.014664 | 0.97396 | -0.18266 | 0.97331 | -0.18732 | 5.4312
63 | 0.016607 | 0.0041628 | -0.016606 | -0.0041623 | 1.4053e-06 | 4.972e-07 | 0.025408 | 0.025408 | 0.025408 | 0.9726 | -0.19239 | 0.97252 | -0.193 | 9.4105
64 | 0.006871 | 0.0017211 | -0.0068702 | -0.0017209 | 7.8189e-07 | 1.596e-07 | 0.010504 | 0.010504 | 0.010504 | 0.97331 | -0.18732 | 0.9732 | -0.18814 | 3.8904
65 | 0.014725 | 0.003691 | -0.01472 | -0.0036891 | 5.3549e-06 | 1.8499e-06 | 0.022531 | 0.022531 | 0.022531 | 0.97252 | -0.193 | 0.97215 | -0.19563 | 8.3447
66 | 0.0065391 | 0.0016379 | -0.0065384 | -0.0016378 | 7.7491e-07 | 1.437e-07 | 0.009998 | 0.0099981 | 0.0099981 | 0.9732 | -0.18814 | 0.97308 | -0.189 | 3.703
67 | 0.012404 | 0.0031088 | -0.012401 | -0.0031078 | 3.0685e-06 | 1.0111e-06 | 0.018986 | 0.018986 | 0.018986 | 0.97215 | -0.19563 | 0.97191 | -0.19742 | 7.032
68 | -0.0031488 | -0.00078917 | 0.0031497 | 0.00078878 | 8.2109e-07 | -3.8786e-07 | 0.0048178 | 0.0048176 | 0.0048178 | 0.97254 | -0.19289 | 0.9728 | -0.191 | 1.7844
69 | -0.0046427 | -0.001163 | 0.004643 | 0.001163 | 3.5488e-07 | -3.5346e-09 | 0.0071013 | 0.0071013 | 0.0071013 | 0.9728 | -0.191 | 0.97288 | -0.19045 | 2.6301
70 | -0.0048067 | -0.001204 | 0.004807 | 0.001204 | 2.3396e-07 | 3.8384e-09 | 0.0073516 | 0.0073516 | 0.0073516 | 0.97288 | -0.19045 | 0.97292 | -0.1901 | 2.7228
71 | -0.005025 | -0.0012587 | 0.0050253 | 0.0012587 | 2.1797e-07 | 1.0384e-08 | 0.0076852 | 0.0076851 | 0.0076852 | 0.97292 | -0.1901 | 0.97297 | -0.18978 | 2.8464
72 | -0.00523 | -0.00131 | 0.0052304 | 0.00131 | 4.0067e-07 | 2.9435e-08 | 0.0079982 | 0.0079982 | 0.0079982 | 0.97297 | -0.18978 | 0.97304 | -0.18923 | 2.9623
73 | -0.0054997 | -0.0013775 | 0.0054999 | 0.0013775 | 1.7743e-07 | 1.8304e-08 | 0.0084101 | 0.00841 | 0.0084101 | 0.97304 | -0.18923 | 0.97308 | -0.189 | 3.1148
74 | -0.0095208 | -0.0023857 | 0.0095218 | 0.002386 | 1.0167e-06 | 2.9612e-07 | 0.014581 | 0.014581 | 0.014581 | 0.97161 | -0.19956 | 0.97171 | -0.19879 | 5.4004
75 | -0.010951 | -0.0027441 | 0.010953 | 0.0027447 | 2.0854e-06 | 6.5483e-07 | 0.016769 | 0.016769 | 0.016769 | 0.97171 | -0.19879 | 0.97191 | -0.19742 | 6.2107

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1078 | 0.027083

## res_load
| p_mw | q_mvar
0 | 0.0014655 | 0.00036729
1 | 0.00026693 | 6.6899e-05
2 | 0.0007244 | 0.00018155
3 | 0.00035222 | 8.8274e-05
4 | 0.00065652 | 0.00016454
5 | 0.00020761 | 5.2033e-05
6 | 0.0004409 | 0.0001105
7 | 0.0018012 | 0.00045141
8 | 0.00090431 | 0.00022664
9 | 0.00033636 | 8.4301e-05
10 | 0.0067297 | 0.0016866
11 | 0.002412 | 0.00060451
12 | 0.00074195 | 0.00018595
13 | 0.0015595 | 0.00039085
14 | 0.00054676 | 0.00013703
15 | 0.00072472 | 0.00018163
16 | 0.0015371 | 0.00038523
17 | 0.00079237 | 0.00019859
18 | 0.00094373 | 0.00023652
19 | 0.0011749 | 0.00029445
20 | 0.0019098 | 0.00047864
21 | 0.00037667 | 9.4402e-05
22 | 0.0017593 | 0.00044092
23 | 0.0023468 | 0.00058817
24 | 0.00013734 | 3.442e-05
25 | 0.00328 | 0.00082205
26 | 0.0018552 | 0.00046497
27 | 0.00036772 | 9.2159e-05
28 | 0.002828 | 0.00070876
29 | 0.00033875 | 8.4899e-05
30 | 0.00076383 | 0.00019143
31 | 0.00098 | 0.00024561
32 | 0.0013753 | 0.00034468
33 | 0.0026036 | 0.00065253
34 | 0.0061475 | 0.0015407
35 | 0.0037992 | 0.00095218
36 | 0.00069588 | 0.0001744
37 | 0.0037381 | 0.00093685
38 | 0.00041969 | 0.00010518
39 | 0.00028271 | 7.0854e-05
40 | 0.0003482 | 8.7267e-05
41 | 0.0028468 | 0.00071348
42 | 0.0077465 | 0.0019415
43 | 0.0015235 | 0.00038182
44 | 0.0014409 | 0.00036113
45 | 0.00037239 | 9.3329e-05
46 | 0.0043853 | 0.0010991
47 | 0.0011878 | 0.0002977
48 | 0.0038396 | 0.0009623
49 | 0.002721 | 0.00068196
50 | 0.0018808 | 0.00047137
51 | 0.00033106 | 8.2971e-05
52 | 0.0023156 | 0.00058035
53 | 0.0031488 | 0.00078917
54 | 0.001493 | 0.00037418
55 | 0.00016369 | 4.1026e-05
56 | 0.00021809 | 5.4658e-05
57 | 0.00020473 | 5.131e-05
58 | 0.00026932 | 6.7498e-05
59 | 0.0010385 | 0.00026027
60 | 0.0039458 | 0.00098892
61 | 0.0014287 | 0.00035807
62 | 0.0014485 | 0.00036304

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1