## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2113-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2113-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2113-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2113-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2113-8_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_2113-8_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2113-8_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2113-8_0_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2113-8_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2113-8_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2113-8_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_2113-8_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2113-8_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2113-8_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2113-8_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2113-8_0_3_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2113-8_0_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_2113-8_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2113-8_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2113-8_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2113-8_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_2113-8_0_3_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_2113-8_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2113-8_0_3_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_2113-8_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2113-8_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2113-8_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2113-8_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2113-8_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2113-8_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2113-8_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_2113-8_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2113-8_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2113-8_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2113-8_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_2113-8_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2113-8_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2113-8_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_2113-8_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2113-8_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2113-8_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2113-8_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2113-8_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2113-8_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_2113-8_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_2113-8_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2113-8_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2113-8_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_2113-8_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2113-8_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_2113-8_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_MV_33_0_node_213 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2113-8_0_3_load_0 | 0 | 0.00060997 | 0.00015287 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2113-8_0_3_load_1 | 1 | 0.0012464 | 0.00031239 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2113-8_0_3_load_2 | 2 | 0.0012321 | 0.0003088 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2113-8_0_3_load_12 | 4 | 0.050959 | 0.012772 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2113-8_0_3_load_11 | 6 | 0.00018698 | 4.6862e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2113-8_0_3_load_19 | 7 | 0.0001704 | 4.2707e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2113-8_0_3_load_9 | 8 | 0.00041231 | 0.00010333 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2113-8_0_3_load_15 | 9 | 0.00017562 | 4.4014e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2113-8_0_3_load_4 | 10 | 0.00037661 | 9.4386e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2113-8_0_3_load_5 | 11 | 0.00010589 | 2.6539e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2113-8_0_3_load_14 | 13 | 0.001849 | 0.0004634 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2113-8_0_3_load_8 | 14 | 0.00075418 | 0.00018902 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2113-8_0_3_load_43 | 15 | 0.0014378 | 0.00036034 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2113-8_0_3_load_17 | 18 | 0.00058237 | 0.00014596 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2113-8_0_3_load_10 | 19 | 0.001315 | 0.00032956 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2113-8_0_3_load_48 | 20 | 0.012645 | 0.0031691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2113-8_0_3_load_24 | 22 | 0.0014706 | 0.00036857 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2113-8_0_3_load_50 | 23 | 0.0038931 | 0.00097571 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2113-8_0_3_load_16 | 24 | 0.0013911 | 0.00034864 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2113-8_0_3_load_20 | 25 | 0.0029889 | 0.00074909 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2113-8_0_3_load_21 | 26 | 0.0027628 | 0.00069241 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2113-8_0_3_load_22 | 27 | 0.0014378 | 0.00036036 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2113-8_0_3_load_29 | 30 | 0.0019057 | 0.0004776 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2113-8_0_3_load_26 | 31 | 0.0024253 | 0.00060784 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2113-8_0_3_load_37 | 32 | 0.0012902 | 0.00032336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2113-8_0_3_load_27 | 33 | 0.0035828 | 0.00089793 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2113-8_0_3_load_30 | 35 | 0.0019686 | 0.00049338 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2113-8_0_3_load_31 | 36 | 0.0025439 | 0.00063756 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2113-8_0_3_load_38 | 37 | 0.0033288 | 0.00083428 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2113-8_0_3_load_32 | 38 | 0.0031945 | 0.00080062 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2113-8_0_3_load_33 | 39 | 0.0021117 | 0.00052924 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2113-8_0_3_load_34 | 40 | 0.0023954 | 0.00060035 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2113-8_0_3_load_35 | 41 | 0.0063811 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2113-8_0_3_load_36 | 42 | 0.0028155 | 0.00070564 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2113-8_0_3_load_41 | 43 | 0.0023155 | 0.00058031 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2113-8_0_3_load_42 | 44 | 0.0018892 | 0.00047348 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2113-8_0_3_load_39 | 45 | 0.00096727 | 0.00024242 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2113-8_0_3_load_40 | 46 | 0.0012219 | 0.00030623 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2113-8_0_3_load_46 | 48 | 0.013152 | 0.0032961 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2113-8_0_3_load_47 | 49 | 0.0029435 | 0.00073771 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2113-8_0_3_load_45 | 50 | 0.002376 | 0.00059549 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2113-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.058901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_2113-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.006179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_2113-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.040605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2113-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.48824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2113-8_0_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.059726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2113-8_0_3_line_5 | NAYY 4x150 SE | 3 | 7 | 0.044164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2113-8_0_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.032657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2113-8_0_3_line_7 | NAYY 4x150 SE | 5 | 20 | 0.042636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2113-8_0_3_line_8 | NAYY 4x150 SE | 5 | 21 | 0.081238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2113-8_0_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.0050179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2113-8_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.01007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2113-8_0_3_line_11 | NAYY 4x150 SE | 8 | 19 | 0.062266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2113-8_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.048464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2113-8_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.062681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2113-8_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.079596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2113-8_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.17498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2113-8_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.031878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2113-8_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.037439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2113-8_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.015748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2113-8_0_3_line_19 | NAYY 4x150 SE | 16 | 50 | 0.016888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2113-8_0_3_line_20 | NAYY 4x150 SE | 16 | 48 | 0.014833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2113-8_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.10599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2113-8_0_3_line_22 | NAYY 4x150 SE | 18 | 24 | 0.051382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2113-8_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.02457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2113-8_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.032946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2113-8_0_3_line_25 | NAYY 4x150 SE | 22 | 27 | 0.026582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2113-8_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.027939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2113-8_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.030255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_2113-8_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.014587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2113-8_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.033686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2113-8_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.018345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2113-8_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.010396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2113-8_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.024624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2113-8_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.01646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2113-8_0_3_line_34 | NAYY 4x150 SE | 32 | 37 | 0.0025742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_2113-8_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.033697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2113-8_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.04016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2113-8_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.023718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2113-8_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.011495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2113-8_0_3_line_39 | NAYY 4x150 SE | 37 | 45 | 0.025243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2113-8_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.012199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2113-8_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.010341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2113-8_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.010172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2113-8_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.012877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2113-8_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.0037755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2113-8_0_3_line_45 | NAYY 4x150 SE | 44 | 49 | 0.011693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2113-8_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.027477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_2113-8_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.022328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_2113-8_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.052016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2113-8_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.020622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2113-8_0_3_trafo_49 | 0.25 MVA 20/0.4 kV | 51 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2560222.372 | 1165969.1629 | 2560216.1469 | 1165960.4341 | 2560198.0636 | 1165934.0738 | 2560188.7935 | 1165920.7724
1 | 2560222.372 | 1165969.1629 | 2560225.9598 | 1165974.1936
2 | 2560162.0872 | 1165890.4679 | 2560178.4214 | 1165905.8896 | 2560188.7935 | 1165920.7724
3 | 2560555.5549 | 1166334.3946 | 2560225.9598 | 1165974.1936
4 | 2560162.0872 | 1165890.4679 | 2560135.9978 | 1165919.801 | 2560121.7817 | 1165934.5289
5 | 2560162.0872 | 1165890.4679 | 2560190.5856 | 1165856.7291
6 | 2560581.154 | 1166354.6718 | 2560572.8424 | 1166348.0897 | 2560555.5549 | 1166334.3946
7 | 2560581.154 | 1166354.6718 | 2560605.4809 | 1166373.9441 | 2560608.3053 | 1166376.1823 | 2560614.6768 | 1166381.1319
8 | 2560581.154 | 1166354.6718 | 2560578.3763 | 1166358.3698 | 2560537.0297 | 1166413.3815 | 2560529.9712 | 1166416.8854
9 | 2560118.4281 | 1165938.2597 | 2560120.6834 | 1165935.6667 | 2560121.7817 | 1165934.5289
10 | 2560190.5856 | 1165856.7291 | 2560197.0834 | 1165849.0364
11 | 2560118.4281 | 1165938.2597 | 2560107.9336 | 1165950.3258 | 2560100.6956 | 1165961.413 | 2560095.4355 | 1165972.8762 | 2560090.9978 | 1165988.2693 | 2560089.1888 | 1165992.2814
12 | 2560228.3563 | 1165812.0129 | 2560197.0834 | 1165849.0364
13 | 2560442.0359 | 1165711.8546 | 2560398.6968 | 1165720.5677 | 2560383.4581 | 1165731.0128
14 | 2560515.8611 | 1165683.7202 | 2560496.7797 | 1165688.226 | 2560454.8986 | 1165709.2686 | 2560442.0359 | 1165711.8546
15 | 2560228.3563 | 1165812.0129 | 2560383.4581 | 1165731.0128
16 | 2560515.8611 | 1165683.7202 | 2560514.6234 | 1165673.6676 | 2560509.0025 | 1165652.6566
17 | 2560516.4792 | 1165621.8173 | 2560508.657 | 1165623.4364 | 2560507.4445 | 1165630.0033 | 2560508.202 | 1165649.6641 | 2560509.0025 | 1165652.6566
18 | 2560677.8874 | 1166301.2977 | 2560687.5369 | 1166288.8526
19 | 2560677.8874 | 1166301.2977 | 2560692.6743 | 1166309.4557
20 | 2560677.8874 | 1166301.2977 | 2560668.6802 | 1166312.9269
21 | 2560516.4792 | 1165621.8173 | 2560614.358 | 1165581.1466
22 | 2560645.4891 | 1165540.2689 | 2560614.358 | 1165581.1466
23 | 2560614.6768 | 1166381.1319 | 2560634.0841 | 1166396.1996
24 | 2560529.9712 | 1166416.8854 | 2560525.7131 | 1166418.9923 | 2560514.8754 | 1166422.9101 | 2560507.3745 | 1166422.0035 | 2560501.6035 | 1166414.9478
25 | 2560655.0803 | 1166412.501 | 2560634.0841 | 1166396.1996
26 | 2560679.0207 | 1166431.0001 | 2560701.2504 | 1166447.9242
27 | 2560679.0207 | 1166431.0001 | 2560673.1744 | 1166426.5491 | 2560655.0803 | 1166412.501
28 | 2560712.5343 | 1166457.1625 | 2560704.8359 | 1166450.654 | 2560701.2504 | 1166447.9242
29 | 2560728.8817 | 1166429.5077 | 2560729.6979 | 1166433.7267 | 2560726.4734 | 1166441.6742 | 2560712.5343 | 1166457.1625
30 | 2560728.8817 | 1166429.5077 | 2560728.0813 | 1166425.3552 | 2560716.9498 | 1166416.6753
31 | 2560728.8817 | 1166429.5077 | 2560738.8841 | 1166426.6758
32 | 2560716.9498 | 1166416.6753 | 2560710.7057 | 1166411.8065 | 2560697.5441 | 1166401.5167
33 | 2560738.8841 | 1166426.6758 | 2560743.5535 | 1166425.3538 | 2560751.0437 | 1166434.2213
34 | 2560695.5161 | 1166399.9313 | 2560697.5441 | 1166401.5167
35 | 2560777.851 | 1166448.697 | 2560772.3628 | 1166447.6768 | 2560764.3957 | 1166443.3823 | 2560760.5124 | 1166445.431 | 2560751.0437 | 1166434.2213
36 | 2560777.851 | 1166448.697 | 2560776.2416 | 1166441.4149 | 2560778.6833 | 1166433.1613 | 2560793.9472 | 1166414.5179
37 | 2560793.9472 | 1166414.5179 | 2560808.9724 | 1166396.1662
38 | 2560808.9724 | 1166396.1662 | 2560808.9724 | 1166396.1662 | 2560819.065 | 1166390.664
39 | 2560695.5161 | 1166399.9313 | 2560675.6294 | 1166384.3838
40 | 2560753.1998 | 1166347.1537 | 2560742.9592 | 1166340.5238
41 | 2560761.8807 | 1166352.774 | 2560753.1998 | 1166347.1537
42 | 2560742.9592 | 1166340.5238 | 2560734.4202 | 1166334.9955
43 | 2560734.4202 | 1166334.9955 | 2560723.611 | 1166327.9974
44 | 2560720.4417 | 1166325.9455 | 2560723.611 | 1166327.9974
45 | 2560710.6266 | 1166319.591 | 2560720.4417 | 1166325.9455
46 | 2560675.6294 | 1166384.3838 | 2560653.9828 | 1166367.4606
47 | 2560636.3923 | 1166353.7083 | 2560653.9828 | 1166367.4606
48 | 2560636.3923 | 1166353.7083 | 2560668.6802 | 1166312.9269
49 | 2560710.6266 | 1166319.591 | 2560708.2151 | 1166318.0297 | 2560692.6743 | 1166309.4557

## bus_geodata
| x | y | coords
0 | 2560222.372 | 1165969.1629
1 | 2560188.7935 | 1165920.7724
2 | 2560225.9598 | 1165974.1936
3 | 2560162.0872 | 1165890.4679
4 | 2560555.5549 | 1166334.3946
5 | 2560581.154 | 1166354.6718
6 | 2560121.7817 | 1165934.5289
7 | 2560190.5856 | 1165856.7291
8 | 2560118.4281 | 1165938.2597
9 | 2560197.0834 | 1165849.0364
10 | 2560442.0359 | 1165711.8546
11 | 2560383.4581 | 1165731.0128
12 | 2560515.8611 | 1165683.7202
13 | 2560228.3563 | 1165812.0129
14 | 2560509.0025 | 1165652.6566
15 | 2560687.5369 | 1166288.8526
16 | 2560677.8874 | 1166301.2977
17 | 2560516.4792 | 1165621.8173
18 | 2560614.358 | 1165581.1466
19 | 2560089.1888 | 1165992.2814
20 | 2560614.6768 | 1166381.1319
21 | 2560529.9712 | 1166416.8854
22 | 2560634.0841 | 1166396.1996
23 | 2560501.6035 | 1166414.9478
24 | 2560645.4891 | 1165540.2689
25 | 2560679.0207 | 1166431.0001
26 | 2560701.2504 | 1166447.9242
27 | 2560655.0803 | 1166412.501
28 | 2560712.5343 | 1166457.1625
29 | 2560728.8817 | 1166429.5077
30 | 2560716.9498 | 1166416.6753
31 | 2560738.8841 | 1166426.6758
32 | 2560697.5441 | 1166401.5167
33 | 2560751.0437 | 1166434.2213
34 | 2560777.851 | 1166448.697
35 | 2560793.9472 | 1166414.5179
36 | 2560808.9724 | 1166396.1662
37 | 2560695.5161 | 1166399.9313
38 | 2560819.065 | 1166390.664
39 | 2560753.1998 | 1166347.1537
40 | 2560742.9592 | 1166340.5238
41 | 2560761.8807 | 1166352.774
42 | 2560734.4202 | 1166334.9955
43 | 2560723.611 | 1166327.9974
44 | 2560720.4417 | 1166325.9455
45 | 2560675.6294 | 1166384.3838
46 | 2560653.9828 | 1166367.4606
47 | 2560636.3923 | 1166353.7083
48 | 2560668.6802 | 1166312.9269
49 | 2560710.6266 | 1166319.591
50 | 2560692.6743 | 1166309.4557
51 | 2560614.6768 | 1166381.1319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97404 | -0.18327 | 0.00060997 | 0.00015287
1 | 0.97367 | -0.18595 | 0.0012464 | 0.00031239
2 | 0.97408 | -0.18297 | 0.0012321 | 0.0003088
3 | 0.97324 | -0.18911 | 0 | 0
4 | 0.97781 | -0.156 | 0.050959 | 0.012772
5 | 0.97927 | -0.14553 | 0 | 0
6 | 0.97307 | -0.19032 | 0.00018698 | 4.6862e-05
7 | 0.97289 | -0.19165 | 0.0001704 | 4.2707e-05
8 | 0.97306 | -0.19041 | 0.00041231 | 0.00010333
9 | 0.97281 | -0.19221 | 0.00017562 | 4.4014e-05
10 | 0.97134 | -0.20292 | 0.00037661 | 9.4386e-05
11 | 0.97162 | -0.20084 | 0.00010589 | 2.6539e-05
12 | 0.97102 | -0.20523 | 0 | 0
13 | 0.97245 | -0.19483 | 0.001849 | 0.0004634
14 | 0.97089 | -0.20616 | 0.00075418 | 0.00018902
15 | 0.99663 | -0.023599 | 0.0014378 | 0.00036034
16 | 0.99666 | -0.023371 | 0 | 0
17 | 0.97078 | -0.20695 | 0 | 0
18 | 0.97048 | -0.20918 | 0.00058237 | 0.00014596
19 | 0.97294 | -0.19128 | 0.001315 | 0.00032956
20 | 0.9813 | -0.13103 | 0.012645 | 0.0031691
21 | 0.97881 | -0.14883 | 0 | 0
22 | 0.98269 | -0.1211 | 0.0014706 | 0.00036857
23 | 0.97862 | -0.15016 | 0.0038931 | 0.00097571
24 | 0.97037 | -0.20993 | 0.0013911 | 0.00034864
25 | 0.98601 | -0.097583 | 0.0029889 | 0.00074909
26 | 0.98772 | -0.085554 | 0.0027628 | 0.00069241
27 | 0.98423 | -0.11019 | 0.0014378 | 0.00036036
28 | 0.98864 | -0.079084 | 0 | 0
29 | 0.99076 | -0.064189 | 0 | 0
30 | 0.9921 | -0.054826 | 0.0019057 | 0.0004776
31 | 0.99056 | -0.06564 | 0.0024253 | 0.00060784
32 | 0.99393 | -0.042061 | 0.0012902 | 0.00032336
33 | 0.99029 | -0.067533 | 0.0035828 | 0.00089793
34 | 0.98991 | -0.07018 | 0 | 0
35 | 0.98947 | -0.073336 | 0.0019686 | 0.00049338
36 | 0.98927 | -0.074724 | 0.0025439 | 0.00063756
37 | 0.99412 | -0.040713 | 0.0033288 | 0.00083428
38 | 0.98922 | -0.075098 | 0.0031945 | 0.00080062
39 | 0.99454 | -0.038308 | 0.0021117 | 0.00052924
40 | 0.99468 | -0.037262 | 0.0023954 | 0.00060035
41 | 0.99444 | -0.038974 | 0.0063811 | 0.0015993
42 | 0.99484 | -0.036145 | 0.0028155 | 0.00070564
43 | 0.9951 | -0.034366 | 0.0023155 | 0.00058031
44 | 0.99518 | -0.033756 | 0.0018892 | 0.00047348
45 | 0.99608 | -0.027093 | 0.00096727 | 0.00024242
46 | 0.99823 | -0.012196 | 0.0012219 | 0.00030623
47 | 1 | 0 | -0.1498 | -0.037596
48 | 0.99718 | -0.019696 | 0.013152 | 0.0032961
49 | 0.99548 | -0.031646 | 0.0029435 | 0.00073771
50 | 0.9961 | -0.027316 | 0.002376 | 0.00059549
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0085825 | 0.0021416 | -0.0085793 | -0.0021419 | 3.1576e-06 | -2.5126e-07 | 0.013108 | 0.013108 | 0.013108 | 0.97404 | -0.18327 | 0.97367 | -0.18595 | 2.4275
1 | -0.0091925 | -0.0022945 | 0.0091928 | 0.0022945 | 3.8e-07 | -7.6718e-09 | 0.01404 | 0.01404 | 0.01404 | 0.97404 | -0.18327 | 0.97408 | -0.18297 | 2.5999
2 | 0.0073329 | 0.0018295 | -0.0073297 | -0.0018288 | 3.1804e-06 | 7.1842e-07 | 0.011204 | 0.011204 | 0.011204 | 0.97367 | -0.18595 | 0.97324 | -0.18911 | 4.1495
3 | -0.010425 | -0.0026033 | 0.010464 | 0.002606 | 3.8606e-05 | 2.6467e-06 | 0.015922 | 0.015917 | 0.015922 | 0.97408 | -0.18297 | 0.97781 | -0.156 | 2.9485
4 | 0.0019147 | 0.00047837 | -0.0019144 | -0.00047899 | 3.1932e-07 | -6.1924e-07 | 0.002927 | 0.0029272 | 0.0029272 | 0.97324 | -0.18911 | 0.97307 | -0.19032 | 1.0842
5 | 0.005415 | 0.0013504 | -0.0054131 | -0.0013502 | 1.8879e-06 | 1.7751e-07 | 0.0082767 | 0.0082769 | 0.0082769 | 0.97324 | -0.18911 | 0.97289 | -0.19165 | 3.0655
6 | -0.061423 | -0.015377 | 0.061512 | 0.015411 | 8.9011e-05 | 3.3414e-05 | 0.093466 | 0.093466 | 0.093466 | 0.97781 | -0.156 | 0.97927 | -0.14553 | 17.3086
7 | -0.065407 | -0.016386 | 0.065539 | 0.016436 | 0.00013139 | 4.9461e-05 | 0.099385 | 0.099385 | 0.099385 | 0.97927 | -0.14553 | 0.9813 | -0.13103 | 18.4047
8 | 0.0038956 | 0.00097523 | -0.0038938 | -0.00097557 | 1.7762e-06 | -3.3843e-07 | 0.0059191 | 0.0059195 | 0.0059195 | 0.97927 | -0.14553 | 0.97881 | -0.14883 | 2.1924
9 | 0.0017274 | 0.00043213 | -0.0017274 | -0.00043218 | 2.1845e-08 | -5.3931e-08 | 0.0026413 | 0.0026413 | 0.0026413 | 0.97307 | -0.19032 | 0.97306 | -0.19041 | 0.97827
10 | 0.0052427 | 0.0013075 | -0.0052423 | -0.0013075 | 4.0379e-07 | 3.0272e-08 | 0.0080163 | 0.0080163 | 0.0080163 | 0.97289 | -0.19165 | 0.97281 | -0.19221 | 2.969
11 | 0.0013151 | 0.00032885 | -0.001315 | -0.00032956 | 1.5713e-07 | -7.1293e-07 | 0.0020108 | 0.0020111 | 0.0020111 | 0.97306 | -0.19041 | 0.97294 | -0.19128 | 0.74486
12 | 0.0050666 | 0.0012635 | -0.0050648 | -0.0012634 | 1.8153e-06 | 9.6731e-08 | 0.0077477 | 0.0077479 | 0.0077479 | 0.97281 | -0.19221 | 0.97245 | -0.19483 | 2.8696
13 | -0.0031064 | -0.00077505 | 0.0031073 | 0.00077461 | 8.8524e-07 | -4.3562e-07 | 0.0047576 | 0.0047573 | 0.0047576 | 0.97134 | -0.20292 | 0.97162 | -0.20084 | 1.7621
14 | 0.0027298 | 0.00068066 | -0.002729 | -0.00068132 | 8.6815e-07 | -6.5102e-07 | 0.0041806 | 0.004181 | 0.004181 | 0.97134 | -0.20292 | 0.97102 | -0.20523 | 1.5485
15 | -0.0032132 | -0.00080115 | 0.0032158 | 0.0008 | 2.642e-06 | -1.1529e-06 | 0.0049194 | 0.0049187 | 0.0049194 | 0.97162 | -0.20084 | 0.97245 | -0.19483 | 1.822
16 | 0.002729 | 0.00068132 | -0.0027286 | -0.00068158 | 3.4774e-07 | -2.6054e-07 | 0.004181 | 0.0041811 | 0.0041811 | 0.97102 | -0.20523 | 0.97089 | -0.20616 | 1.5486
17 | 0.0019744 | 0.00049256 | -0.0019742 | -0.00049294 | 2.1382e-07 | -3.8071e-07 | 0.0030252 | 0.0030254 | 0.0030254 | 0.97089 | -0.20616 | 0.97078 | -0.20695 | 1.1205
18 | -0.0014378 | -0.00036034 | 0.0014378 | 0.00036016 | 4.5282e-08 | -1.878e-07 | 0.0021467 | 0.0021466 | 0.0021467 | 0.99663 | -0.023599 | 0.99666 | -0.023371 | 0.79507
19 | 0.023267 | 0.0058351 | -0.023254 | -0.0058304 | 1.2717e-05 | 4.6712e-06 | 0.034739 | 0.034739 | 0.034739 | 0.99666 | -0.023371 | 0.9961 | -0.027316 | 12.8662
20 | -0.024704 | -0.0061952 | 0.024717 | 0.0061999 | 1.2592e-05 | 4.6498e-06 | 0.036885 | 0.036885 | 0.036885 | 0.99666 | -0.023371 | 0.99718 | -0.019696 | 13.6612
21 | 0.0019742 | 0.00049294 | -0.0019736 | -0.00049402 | 6.0547e-07 | -1.0772e-06 | 0.0030254 | 0.0030259 | 0.0030259 | 0.97078 | -0.20695 | 0.97048 | -0.20918 | 1.1207
22 | 0.0013912 | 0.00034806 | -0.0013911 | -0.00034864 | 1.4588e-07 | -5.7871e-07 | 0.0021329 | 0.0021332 | 0.0021332 | 0.97048 | -0.20918 | 0.97037 | -0.20993 | 0.79006
23 | -0.078183 | -0.019605 | 0.078291 | 0.019645 | 0.00010775 | 4.0821e-05 | 0.11856 | 0.11856 | 0.11856 | 0.9813 | -0.13103 | 0.98269 | -0.1211 | 21.9554
24 | 0.0038938 | 0.00097557 | -0.0038931 | -0.00097571 | 7.2037e-07 | -1.3695e-07 | 0.0059195 | 0.0059196 | 0.0059196 | 0.97881 | -0.14883 | 0.97862 | -0.15016 | 2.1924
25 | -0.079762 | -0.020014 | 0.079883 | 0.02006 | 0.00012099 | 4.5862e-05 | 0.12079 | 0.12079 | 0.12079 | 0.98269 | -0.1211 | 0.98423 | -0.11019 | 22.3677
26 | -0.084452 | -0.021223 | 0.084594 | 0.021277 | 0.00014164 | 5.3762e-05 | 0.12747 | 0.12747 | 0.12747 | 0.98601 | -0.097583 | 0.98772 | -0.085554 | 23.6055
27 | 0.081463 | 0.020474 | -0.081321 | -0.02042 | 0.00014272 | 5.4121e-05 | 0.12296 | 0.12296 | 0.12296 | 0.98601 | -0.097583 | 0.98423 | -0.11019 | 22.7702
28 | -0.087357 | -0.02197 | 0.087435 | 0.022 | 7.8859e-05 | 2.9957e-05 | 0.13163 | 0.13163 | 0.13163 | 0.98772 | -0.085554 | 0.98864 | -0.079084 | 24.3762
29 | -0.087435 | -0.022 | 0.087617 | 0.022069 | 0.00018211 | 6.9175e-05 | 0.13163 | 0.13163 | 0.13163 | 0.98864 | -0.079084 | 0.99076 | -0.064189 | 24.3762
30 | -0.10135 | -0.025509 | 0.10148 | 0.02556 | 0.00013267 | 5.0554e-05 | 0.15225 | 0.15225 | 0.15225 | 0.99076 | -0.064189 | 0.9921 | -0.054826 | 28.1944
31 | 0.013728 | 0.0034407 | -0.013726 | -0.0034397 | 2.7577e-06 | 9.268e-07 | 0.020618 | 0.020618 | 0.020618 | 0.99076 | -0.064189 | 0.99056 | -0.06564 | 7.6365
32 | -0.10338 | -0.026038 | 0.10357 | 0.026108 | 0.00018484 | 7.0454e-05 | 0.15511 | 0.15511 | 0.15511 | 0.9921 | -0.054826 | 0.99393 | -0.042061 | 28.7236
33 | 0.0113 | 0.0028319 | -0.011297 | -0.002831 | 2.9598e-06 | 9.2654e-07 | 0.016975 | 0.016975 | 0.016975 | 0.99056 | -0.06564 | 0.99029 | -0.067533 | 6.2871
34 | -0.10486 | -0.026431 | 0.10488 | 0.026439 | 1.9806e-05 | 7.5511e-06 | 0.15704 | 0.15704 | 0.15704 | 0.99393 | -0.042061 | 0.99412 | -0.040713 | 29.0813
35 | 0.0077145 | 0.001933 | -0.0077116 | -0.0019324 | 2.8254e-06 | 6.5331e-07 | 0.011592 | 0.011592 | 0.011592 | 0.99029 | -0.067533 | 0.98991 | -0.07018 | 4.2933
36 | 0.0077116 | 0.0019324 | -0.0077083 | -0.0019316 | 3.3674e-06 | 7.7907e-07 | 0.011592 | 0.011592 | 0.011592 | 0.98991 | -0.07018 | 0.98947 | -0.073336 | 4.2933
37 | 0.0057396 | 0.0014382 | -0.0057385 | -0.0014381 | 1.1027e-06 | 1.1952e-07 | 0.0086315 | 0.0086316 | 0.0086316 | 0.98947 | -0.073336 | 0.98927 | -0.074724 | 3.1969
38 | 0.0031947 | 0.00080053 | -0.0031945 | -0.00080062 | 1.6562e-07 | -8.3878e-08 | 0.0048052 | 0.0048053 | 0.0048053 | 0.98927 | -0.074724 | 0.98922 | -0.075098 | 1.7797
39 | -0.10821 | -0.027273 | 0.10841 | 0.027352 | 0.00020675 | 7.8862e-05 | 0.16202 | 0.16202 | 0.16202 | 0.99412 | -0.040713 | 0.99608 | -0.027093 | 30.004
40 | -0.0084934 | -0.0021286 | 0.0084946 | 0.0021289 | 1.2293e-06 | 3.1448e-07 | 0.012708 | 0.012708 | 0.012708 | 0.99454 | -0.038308 | 0.99468 | -0.037262 | 4.7066
41 | 0.0063817 | 0.0015993 | -0.0063811 | -0.0015993 | 5.8832e-07 | 9.2095e-08 | 0.0095482 | 0.0095483 | 0.0095483 | 0.99454 | -0.038308 | 0.99444 | -0.038974 | 3.5364
42 | -0.01089 | -0.0027292 | 0.010892 | 0.0027298 | 1.6847e-06 | 5.1588e-07 | 0.016291 | 0.016291 | 0.016291 | 0.99468 | -0.037262 | 0.99484 | -0.036145 | 6.0337
43 | -0.013707 | -0.0034354 | 0.013711 | 0.0034365 | 3.3775e-06 | 1.1318e-06 | 0.020502 | 0.020502 | 0.020502 | 0.99484 | -0.036145 | 0.9951 | -0.034366 | 7.5935
44 | -0.016026 | -0.0040168 | 0.016027 | 0.0040173 | 1.353e-06 | 4.7134e-07 | 0.023965 | 0.023965 | 0.023965 | 0.9951 | -0.034366 | 0.99518 | -0.033756 | 8.8758
45 | -0.017917 | -0.0044908 | 0.017922 | 0.0044927 | 5.2363e-06 | 1.862e-06 | 0.026789 | 0.026789 | 0.026789 | 0.99518 | -0.033756 | 0.99548 | -0.031646 | 9.922
46 | -0.10938 | -0.027595 | 0.10961 | 0.027682 | 0.00022907 | 8.7388e-05 | 0.16347 | 0.16347 | 0.16347 | 0.99608 | -0.027093 | 0.99823 | -0.012196 | 30.2715
47 | -0.11083 | -0.027988 | 0.11102 | 0.028061 | 0.00019032 | 7.2616e-05 | 0.16529 | 0.16529 | 0.16529 | 0.99823 | -0.012196 | 1 | 0 | 30.6088
48 | 0.037972 | 0.0095352 | -0.037869 | -0.009496 | 0.00010365 | 3.9185e-05 | 0.05651 | 0.05651 | 0.05651 | 1 | 0 | 0.99718 | -0.019696 | 20.9297
49 | -0.020865 | -0.0052304 | 0.020878 | 0.0052349 | 1.2518e-05 | 4.5462e-06 | 0.031189 | 0.031189 | 0.031189 | 0.99548 | -0.031646 | 0.9961 | -0.027316 | 11.5516

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1498 | 0.037596

## res_load
| p_mw | q_mvar
0 | 0.00060997 | 0.00015287
1 | 0.0012464 | 0.00031239
2 | 0.0012321 | 0.0003088
3 | 0.050959 | 0.012772
4 | 0.00018698 | 4.6862e-05
5 | 0.0001704 | 4.2707e-05
6 | 0.00041231 | 0.00010333
7 | 0.00017562 | 4.4014e-05
8 | 0.00037661 | 9.4386e-05
9 | 0.00010589 | 2.6539e-05
10 | 0.001849 | 0.0004634
11 | 0.00075418 | 0.00018902
12 | 0.0014378 | 0.00036034
13 | 0.00058237 | 0.00014596
14 | 0.001315 | 0.00032956
15 | 0.012645 | 0.0031691
16 | 0.0014706 | 0.00036857
17 | 0.0038931 | 0.00097571
18 | 0.0013911 | 0.00034864
19 | 0.0029889 | 0.00074909
20 | 0.0027628 | 0.00069241
21 | 0.0014378 | 0.00036036
22 | 0.0019057 | 0.0004776
23 | 0.0024253 | 0.00060784
24 | 0.0012902 | 0.00032336
25 | 0.0035828 | 0.00089793
26 | 0.0019686 | 0.00049338
27 | 0.0025439 | 0.00063756
28 | 0.0033288 | 0.00083428
29 | 0.0031945 | 0.00080062
30 | 0.0021117 | 0.00052924
31 | 0.0023954 | 0.00060035
32 | 0.0063811 | 0.0015993
33 | 0.0028155 | 0.00070564
34 | 0.0023155 | 0.00058031
35 | 0.0018892 | 0.00047348
36 | 0.00096727 | 0.00024242
37 | 0.0012219 | 0.00030623
38 | 0.013152 | 0.0032961
39 | 0.0029435 | 0.00073771
40 | 0.002376 | 0.00059549

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1