## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2114-2_1_2_node_87 | 0.4 | n |  | TRUE
1 | bus_LV_2114-2_1_2_node_88 | 0.4 | n |  | TRUE
2 | bus_LV_2114-2_1_2_node_96 | 0.4 | n |  | TRUE
3 | bus_LV_2114-2_1_2_node_89 | 0.4 | n |  | TRUE
4 | bus_LV_2114-2_1_2_node_90 | 0.4 | n |  | TRUE
5 | bus_LV_2114-2_1_2_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_2114-2_1_2_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_2114-2_1_2_node_93 | 0.4 | n |  | TRUE
8 | bus_LV_2114-2_1_2_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_2114-2_1_2_node_97 | 0.4 | n |  | TRUE
10 | bus_LV_2114-2_1_2_node_105 | 0.4 | n |  | TRUE
11 | bus_LV_2114-2_1_2_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_2114-2_1_2_node_98 | 0.4 | n |  | TRUE
13 | bus_LV_2114-2_1_2_node_99 | 0.4 | n |  | TRUE
14 | bus_LV_2114-2_1_2_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_2114-2_1_2_node_103 | 0.4 | n |  | TRUE
16 | bus_LV_2114-2_1_2_node_104 | 0.4 | n |  | TRUE
17 | bus_LV_2114-2_1_2_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_2114-2_1_2_node_102 | 0.4 | n |  | TRUE
19 | bus_LV_2114-2_1_2_node_121 | 0.4 | n |  | TRUE
20 | bus_LV_2114-2_1_2_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_2114-2_1_2_node_116 | 0.4 | n |  | TRUE
22 | bus_LV_2114-2_1_2_node_107 | 0.4 | n |  | TRUE
23 | bus_LV_2114-2_1_2_node_108 | 0.4 | n |  | TRUE
24 | bus_LV_2114-2_1_2_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_2114-2_1_2_node_111 | 0.4 | n |  | TRUE
26 | bus_LV_2114-2_1_2_node_114 | 0.4 | n |  | TRUE
27 | bus_LV_2114-2_1_2_node_112 | 0.4 | n |  | TRUE
28 | bus_LV_2114-2_1_2_node_113 | 0.4 | n |  | TRUE
29 | bus_LV_2114-2_1_2_node_115 | 0.4 | n |  | TRUE
30 | bus_LV_2114-2_1_2_node_120 | 0.4 | n |  | TRUE
31 | bus_LV_2114-2_1_2_node_126 | 0.4 | n |  | TRUE
32 | bus_MV_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2114-2_1_2_load_87 | 0 | 0.0077579 | 0.0019443 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2114-2_1_2_load_88 | 1 | 0.0020732 | 0.00051959 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2114-2_1_2_load_96 | 2 | 0.0045656 | 0.0011442 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2114-2_1_2_load_89 | 3 | 0.00028701 | 7.1932e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2114-2_1_2_load_91 | 5 | 0.00037284 | 9.3442e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2114-2_1_2_load_93 | 7 | 0.0010292 | 0.00025794 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2114-2_1_2_load_97 | 9 | 0.00025283 | 6.3364e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2114-2_1_2_load_105 | 10 | 0.00014391 | 3.6067e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2114-2_1_2_load_94 | 11 | 0.0019385 | 0.00048582 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2114-2_1_2_load_98 | 12 | 0.00043049 | 0.00010789 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2114-2_1_2_load_104 | 16 | 0.0013892 | 0.00034817 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2114-2_1_2_load_101 | 17 | 0.00078875 | 0.00019768 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2114-2_1_2_load_102 | 18 | 0.00053913 | 0.00013512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2114-2_1_2_load_121 | 19 | 0.0010529 | 0.00026387 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2114-2_1_2_load_106 | 20 | 0.00049195 | 0.00012329 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2114-2_1_2_load_107 | 22 | 0.0015519 | 0.00038894 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2114-2_1_2_load_108 | 23 | 0.00099353 | 0.000249 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2114-2_1_2_load_110 | 24 | 0.0003899 | 9.7718e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2114-2_1_2_load_114 | 26 | 0.00067035 | 0.00016801 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2114-2_1_2_load_112 | 27 | 0.0028029 | 0.00070247 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2114-2_1_2_load_113 | 28 | 0.00050341 | 0.00012617 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2114-2_1_2_load_115 | 29 | 0.0011376 | 0.0002851 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2114-2_1_2_load_126 | 31 | 0.001109 | 0.00027794 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2114-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0019589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2114-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.35117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2114-2_1_2_line_2 | NAYY 4x150 SE | 2 | 8 | 0.1146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2114-2_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.067259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2114-2_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.068677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2114-2_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.080774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2114-2_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.055389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2114-2_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.033147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2114-2_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.059778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2114-2_1_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.026037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2114-2_1_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.030068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2114-2_1_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.022486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2114-2_1_2_line_12 | NAYY 4x150 SE | 10 | 20 | 0.12748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2114-2_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.048243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2114-2_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.022788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2114-2_1_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.017262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2114-2_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.08369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2114-2_1_2_line_17 | NAYY 4x150 SE | 15 | 19 | 0.45988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2114-2_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.065376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2114-2_1_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.083192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2114-2_1_2_line_20 | NAYY 4x150 SE | 19 | 30 | 0.014038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2114-2_1_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.19339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2114-2_1_2_line_22 | NAYY 4x150 SE | 21 | 29 | 0.063222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2114-2_1_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.033646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2114-2_1_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.01105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2114-2_1_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.040454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2114-2_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.026561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2114-2_1_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.021727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2114-2_1_2_line_28 | NAYY 4x150 SE | 26 | 29 | 0.0082409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2114-2_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.019212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2114-2_1_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.25241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2114-2_1_2_trafo_96 | 0.25 MVA 20/0.4 kV | 32 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2565845.8047 | 1173264.9593 | 2565846.7846 | 1173266.6556
1 | 2565527.5073 | 1173413.3029 | 2565845.8047 | 1173264.9593
2 | 2565475.0704 | 1173451.584 | 2565476.5553 | 1173447.8624 | 2565477.9001 | 1173438.4053 | 2565475.1667 | 1173423.2354 | 2565474.0157 | 1173411.9361 | 2565477.3961 | 1173405.4021 | 2565482.8024 | 1173400.1015 | 2565493.5063 | 1173395.8598 | 2565502.5037 | 1173392.7063 | 2565506.9385 | 1173391.3134 | 2565513.4259 | 1173391.8318 | 2565519.0054 | 1173394.0119 | 2565527.275 | 1173413.1965 | 2565527.5073 | 1173413.3029
3 | 2565498.5719 | 1173548.9213 | 2565491.3776 | 1173546.4838 | 2565487.1185 | 1173543.8403 | 2565470.6767 | 1173532.9517 | 2565467.379 | 1173531.2809 | 2565464.728 | 1173530.3735 | 2565461.0681 | 1173529.5387 | 2565450.021 | 1173527.279 | 2565440.8387 | 1173524.853 | 2565437.1773 | 1173523.4994
4 | 2565392.9767 | 1173474.3032 | 2565407.426 | 1173500.2554 | 2565413.7057 | 1173509.8241 | 2565417.9192 | 1173513.8241 | 2565423.6943 | 1173518.1263 | 2565432.578 | 1173521.7991 | 2565437.1773 | 1173523.4994
5 | 2565498.5719 | 1173548.9213 | 2565486.5775 | 1173532.2374 | 2565477.0678 | 1173518.1182 | 2565469.7306 | 1173505.4873 | 2565457.4764 | 1173479.6001
6 | 2565498.5719 | 1173548.9213 | 2565510.8983 | 1173563.5357 | 2565535.5482 | 1173590.1421
7 | 2565457.4764 | 1173479.6001 | 2565473.4273 | 1173455.729 | 2565475.0704 | 1173451.584
8 | 2565457.4764 | 1173479.6001 | 2565454.9605 | 1173474.2785 | 2565438.6523 | 1173422.914
9 | 2565535.5482 | 1173590.1421 | 2565553.2437 | 1173609.2422
10 | 2565475.0704 | 1173451.584 | 2565485.8683 | 1173479.6461
11 | 2565438.6523 | 1173422.914 | 2565431.8478 | 1173401.4826
12 | 2565553.2437 | 1173609.2422 | 2565576.5158 | 1173634.3614 | 2565595.5325 | 1173658.2756 | 2565632.0285 | 1173709.2359
13 | 2565417.2487 | 1173355.5012 | 2565431.8478 | 1173401.4826
14 | 2565417.2487 | 1173355.5012 | 2565411.0431 | 1173353.4804 | 2565405.7015 | 1173351.4436 | 2565396.2528 | 1173346.6401
15 | 2565380.649 | 1173339.3043 | 2565386.5563 | 1173341.3157 | 2565396.2528 | 1173346.6401
16 | 2565396.2528 | 1173346.6401 | 2565386.9461 | 1173354.4869 | 2565372.4375 | 1173372.5469 | 2565352.5345 | 1173397.9197 | 2565347.2929 | 1173405.2316 | 2565346.068 | 1173408.9518 | 2565346.5038 | 1173412.1117
17 | 2565510.335 | 1172898.0931 | 2565380.649 | 1173339.3043
18 | 2565380.649 | 1173339.3043 | 2565378.7182 | 1173338.6485 | 2565374.6971 | 1173338.8496 | 2565371.399 | 1173339.7692 | 2565362.7208 | 1173343.9104 | 2565351.6167 | 1173350.3558 | 2565345.9481 | 1173352.6009 | 2565340.1981 | 1173354.0016 | 2565335.0982 | 1173354.0979 | 2565330.5592 | 1173353.3349 | 2565327.1695 | 1173351.6425 | 2565324.8583 | 1173349.9995 | 2565321.059 | 1173346.6133
19 | 2565321.059 | 1173346.6133 | 2565315.7497 | 1173341.8814 | 2565309.6744 | 1173335.9691 | 2565307.2803 | 1173331.8919 | 2565305.8157 | 1173327.2424 | 2565306.1547 | 1173323.7275 | 2565307.7214 | 1173320.9281 | 2565310.4371 | 1173318.4778 | 2565313.6662 | 1173317.5252 | 2565317.1258 | 1173318.0721 | 2565324.2585 | 1173320.3987 | 2565328.0027 | 1173321.2441 | 2565332.3154 | 1173321.2191 | 2565340.9372 | 1173319.2237 | 2565344.0273 | 1173319.3503 | 2565346.9103 | 1173320.701 | 2565349.1577 | 1173323.2004 | 2565350.1076 | 1173326.1297 | 2565350.1279 | 1173329.6426
20 | 2565510.335 | 1172898.0931 | 2565513.3303 | 1172884.3798
21 | 2565632.0285 | 1173709.2359 | 2565525.8675 | 1173870.8871
22 | 2565525.8675 | 1173870.8871 | 2565500.7711 | 1173879.8808 | 2565490.5034 | 1173884.0533 | 2565479.7775 | 1173889.6402 | 2565468.9649 | 1173897.5306
23 | 2565362.3806 | 1173888.3904 | 2565394.3435 | 1173898.8991
24 | 2565394.3435 | 1173898.8991 | 2565404.8406 | 1173902.3503
25 | 2565441.571 | 1173918.9871 | 2565431.5429 | 1173912.9975 | 2565413.8665 | 1173905.3178 | 2565404.8406 | 1173902.3503
26 | 2565441.571 | 1173918.9871 | 2565448.9326 | 1173913.4195 | 2565453.7268 | 1173909.4564 | 2565458.1415 | 1173905.9847 | 2565462.4469 | 1173902.5709
27 | 2565441.571 | 1173918.9871 | 2565456.0547 | 1173935.1824
28 | 2565468.9649 | 1173897.5306 | 2565466.9402 | 1173899.0081 | 2565462.4469 | 1173902.5709
29 | 2565456.0547 | 1173935.1824 | 2565468.8619 | 1173949.5031
30 | 2565513.3303 | 1172884.3798 | 2565492.1034 | 1172632.8605

## bus_geodata
| x | y | coords
0 | 2565845.8047 | 1173264.9593
1 | 2565846.7846 | 1173266.6556
2 | 2565527.5073 | 1173413.3029
3 | 2565437.1773 | 1173523.4994
4 | 2565498.5719 | 1173548.9213
5 | 2565392.9767 | 1173474.3032
6 | 2565457.4764 | 1173479.6001
7 | 2565535.5482 | 1173590.1421
8 | 2565475.0704 | 1173451.584
9 | 2565438.6523 | 1173422.914
10 | 2565553.2437 | 1173609.2422
11 | 2565485.8683 | 1173479.6461
12 | 2565431.8478 | 1173401.4826
13 | 2565417.2487 | 1173355.5012
14 | 2565396.2528 | 1173346.6401
15 | 2565380.649 | 1173339.3043
16 | 2565346.5038 | 1173412.1117
17 | 2565321.059 | 1173346.6133
18 | 2565350.1279 | 1173329.6426
19 | 2565510.335 | 1172898.0931
20 | 2565632.0285 | 1173709.2359
21 | 2565525.8675 | 1173870.8871
22 | 2565362.3806 | 1173888.3904
23 | 2565394.3435 | 1173898.8991
24 | 2565404.8406 | 1173902.3503
25 | 2565441.571 | 1173918.9871
26 | 2565462.4469 | 1173902.5709
27 | 2565456.0547 | 1173935.1824
28 | 2565468.8619 | 1173949.5031
29 | 2565468.9649 | 1173897.5306
30 | 2565513.3303 | 1172884.3798
31 | 2565492.1034 | 1172632.8605
32 | 2565527.5073 | 1173413.3029

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99506 | -0.034687 | 0.0077579 | 0.0019443
1 | 0.99505 | -0.034728 | 0.0020732 | 0.00051959
2 | 1 | 0 | -0.028689 | -0.0069817
3 | 0.99503 | -0.035061 | 0.00028701 | 7.1932e-05
4 | 0.99509 | -0.034607 | 0 | 0
5 | 0.99499 | -0.035321 | 0.00037284 | 9.3442e-05
6 | 0.9963 | -0.026108 | 0 | 0
7 | 0.99432 | -0.040067 | 0.0010292 | 0.00025794
8 | 0.99706 | -0.020737 | 0 | 0
9 | 0.99582 | -0.029517 | 0.00025283 | 6.3364e-05
10 | 0.99399 | -0.042364 | 0.00014391 | 3.6067e-05
11 | 0.99698 | -0.021323 | 0.0019385 | 0.00048582
12 | 0.99565 | -0.030742 | 0.00043049 | 0.00010789
13 | 0.99532 | -0.033161 | 0 | 0
14 | 0.99516 | -0.034303 | 0 | 0
15 | 0.99507 | -0.034925 | 0 | 0
16 | 0.99499 | -0.035478 | 0.0013892 | 0.00034817
17 | 0.99495 | -0.035807 | 0.00078875 | 0.00019768
18 | 0.99488 | -0.036263 | 0.00053913 | 0.00013512
19 | 0.99365 | -0.045183 | 0.0010529 | 0.00026387
20 | 0.99243 | -0.05344 | 0.00049195 | 0.00012329
21 | 0.99018 | -0.069311 | 0 | 0
22 | 0.98884 | -0.078818 | 0.0015519 | 0.00038894
23 | 0.98892 | -0.078285 | 0.00099353 | 0.000249
24 | 0.98896 | -0.077997 | 0.0003899 | 9.7718e-05
25 | 0.98913 | -0.076783 | 0 | 0
26 | 0.98937 | -0.075089 | 0.00067035 | 0.00016801
27 | 0.98902 | -0.077517 | 0.0028029 | 0.00070247
28 | 0.98901 | -0.077616 | 0.00050341 | 0.00012617
29 | 0.98945 | -0.074507 | 0.0011376 | 0.0002851
30 | 0.99362 | -0.045344 | 0 | 0
31 | 0.99322 | -0.048206 | 0.001109 | 0.00027794
32 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0020732 | 0.00051957 | -0.0020732 | -0.00051959 | 1.1749e-08 | -2.0927e-08 | 0.0031003 | 0.0031003 | 0.0031003 | 0.99506 | -0.034687 | 0.99505 | -0.034728 | 1.1483
1 | -0.0098311 | -0.0024639 | 0.0098784 | 0.0024775 | 4.7356e-05 | 1.3629e-05 | 0.014701 | 0.0147 | 0.014701 | 0.99506 | -0.034687 | 1 | 0 | 5.445
2 | 0.018011 | 0.0045041 | -0.017959 | -0.0044859 | 5.1349e-05 | 1.8251e-05 | 0.026797 | 0.026797 | 0.026797 | 1 | 0 | 0.99706 | -0.020737 | 9.9248
3 | -0.00065986 | -0.00016449 | 0.0006599 | 0.00016363 | 4.0829e-08 | -8.5799e-07 | 0.00098648 | 0.00098617 | 0.00098648 | 0.99503 | -0.035061 | 0.99509 | -0.034607 | 0.36536
4 | 0.00037285 | 9.2555e-05 | -0.00037284 | -9.3442e-05 | 1.3316e-08 | -8.869e-07 | 0.00055727 | 0.00055758 | 0.00055758 | 0.99503 | -0.035061 | 0.99499 | -0.035321 | 0.20651
5 | -0.010424 | -0.0026094 | 0.010436 | 0.0026131 | 1.2245e-05 | 3.659e-06 | 0.015587 | 0.015586 | 0.015587 | 0.99509 | -0.034607 | 0.9963 | -0.026108 | 5.7729
6 | 0.0097643 | 0.0024458 | -0.009757 | -0.0024437 | 7.3681e-06 | 2.1149e-06 | 0.014601 | 0.014601 | 0.014601 | 0.99509 | -0.034607 | 0.99432 | -0.040067 | 5.4077
7 | -0.016009 | -0.0039963 | 0.016021 | 0.0040004 | 1.1819e-05 | 4.1137e-06 | 0.023904 | 0.023904 | 0.023904 | 0.9963 | -0.026108 | 0.99706 | -0.020737 | 8.8534
8 | 0.0055723 | 0.0013832 | -0.0055697 | -0.001383 | 2.5808e-06 | 2.1453e-07 | 0.0083177 | 0.008318 | 0.008318 | 0.9963 | -0.026108 | 0.99582 | -0.029517 | 3.0807
9 | 0.0087278 | 0.0021857 | -0.008725 | -0.002185 | 2.7715e-06 | 7.2836e-07 | 0.013061 | 0.013061 | 0.013061 | 0.99432 | -0.040067 | 0.99399 | -0.042364 | 4.8373
10 | 0.0019386 | 0.00048549 | -0.0019385 | -0.00048582 | 1.5705e-07 | -3.3172e-07 | 0.0028931 | 0.0028932 | 0.0028932 | 0.99706 | -0.020737 | 0.99698 | -0.021323 | 1.0716
11 | 0.0053169 | 0.0013197 | -0.005316 | -0.0013196 | 8.8463e-07 | 4.7756e-08 | 0.0079402 | 0.0079403 | 0.0079403 | 0.99582 | -0.029517 | 0.99565 | -0.030742 | 2.9409
12 | 0.0085811 | 0.0021489 | -0.008568 | -0.0021455 | 1.3126e-05 | 3.3987e-06 | 0.012845 | 0.012846 | 0.012846 | 0.99399 | -0.042364 | 0.99243 | -0.05344 | 4.7578
13 | 0.0048855 | 0.0012117 | -0.0048839 | -0.0012117 | 1.6029e-06 | -1.0697e-08 | 0.007297 | 0.0072972 | 0.0072972 | 0.99565 | -0.030742 | 0.99532 | -0.033161 | 2.7027
14 | 0.0048839 | 0.0012117 | -0.0048831 | -0.0012117 | 7.5719e-07 | -4.8923e-09 | 0.0072972 | 0.0072973 | 0.0072973 | 0.99532 | -0.033161 | 0.99516 | -0.034303 | 2.7027
15 | 0.0034937 | 0.00086456 | -0.0034934 | -0.00086467 | 2.9352e-07 | -1.1136e-07 | 0.0052201 | 0.0052202 | 0.0052202 | 0.99516 | -0.034303 | 0.99507 | -0.034925 | 1.9334
16 | 0.0013894 | 0.00034717 | -0.0013892 | -0.00034817 | 2.2536e-07 | -1.0005e-06 | 0.0020772 | 0.0020776 | 0.0020776 | 0.99516 | -0.034303 | 0.99499 | -0.035478 | 0.76947
17 | 0.0021653 | 0.00053373 | -0.0021623 | -0.00053854 | 3.0048e-06 | -4.8097e-06 | 0.0032349 | 0.0032369 | 0.0032369 | 0.99507 | -0.034925 | 0.99365 | -0.045183 | 1.1989
18 | 0.0013281 | 0.00033094 | -0.0013279 | -0.00033173 | 1.6082e-07 | -7.873e-07 | 0.0019853 | 0.0019856 | 0.0019856 | 0.99507 | -0.034925 | 0.99495 | -0.035807 | 0.73542
19 | 0.00053917 | 0.00013405 | -0.00053913 | -0.00013512 | 3.3738e-08 | -1.0674e-06 | 0.00080599 | 0.00080637 | 0.00080637 | 0.99495 | -0.035807 | 0.99488 | -0.036263 | 0.29865
20 | 0.0011094 | 0.00027467 | -0.0011094 | -0.00027484 | 2.4146e-08 | -1.7254e-07 | 0.0016602 | 0.0016603 | 0.0016603 | 0.99365 | -0.045183 | 0.99362 | -0.045344 | 0.61493
21 | 0.008076 | 0.0020222 | -0.0080583 | -0.0020179 | 1.7694e-05 | 4.3122e-06 | 0.012108 | 0.012109 | 0.012109 | 0.99243 | -0.05344 | 0.99018 | -0.069311 | 4.4849
22 | 0.0080583 | 0.0020179 | -0.0080526 | -0.0020165 | 5.7849e-06 | 1.4123e-06 | 0.012109 | 0.01211 | 0.01211 | 0.99018 | -0.069311 | 0.98945 | -0.074507 | 4.485
23 | -0.0015519 | -0.00038893 | 0.001552 | 0.00038855 | 1.1449e-07 | -3.8761e-07 | 0.0023353 | 0.0023351 | 0.0023353 | 0.98884 | -0.078818 | 0.98892 | -0.078285 | 0.86491
24 | -0.0025455 | -0.00063755 | 0.0025456 | 0.00063744 | 1.0115e-07 | -1.0287e-07 | 0.0038301 | 0.00383 | 0.0038301 | 0.98892 | -0.078285 | 0.98896 | -0.077997 | 1.4185
25 | -0.0029355 | -0.00073516 | 0.002936 | 0.00073483 | 4.9241e-07 | -3.2978e-07 | 0.0044167 | 0.0044165 | 0.0044167 | 0.98896 | -0.077997 | 0.98913 | -0.076783 | 1.6358
26 | -0.0062426 | -0.0015631 | 0.0062441 | 0.0015633 | 1.4616e-06 | 2.2113e-07 | 0.0093907 | 0.0093906 | 0.0093907 | 0.98913 | -0.076783 | 0.98937 | -0.075089 | 3.478
27 | 0.0033066 | 0.00082823 | -0.0033063 | -0.00082838 | 3.3546e-07 | -1.4983e-07 | 0.0049742 | 0.0049743 | 0.0049743 | 0.98913 | -0.076783 | 0.98902 | -0.077517 | 1.8423
28 | -0.0069144 | -0.0017313 | 0.006915 | 0.0017314 | 5.5606e-07 | 1.0803e-07 | 0.010399 | 0.010399 | 0.010399 | 0.98937 | -0.075089 | 0.98945 | -0.074507 | 3.8514
29 | 0.00050341 | 0.00012592 | -0.00050341 | -0.00012616 | 6.8764e-09 | -2.439e-07 | 0.00075731 | 0.0007574 | 0.0007574 | 0.98902 | -0.077517 | 0.98901 | -0.077616 | 0.28052
30 | 0.0011094 | 0.00027484 | -0.001109 | -0.00027794 | 4.3449e-07 | -3.101e-06 | 0.0016603 | 0.0016615 | 0.0016615 | 0.99362 | -0.045344 | 0.99322 | -0.048206 | 0.61535

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.033255 | 0.008126

## res_load
| p_mw | q_mvar
0 | 0.0077579 | 0.0019443
1 | 0.0020732 | 0.00051959
2 | 0.0045656 | 0.0011442
3 | 0.00028701 | 7.1932e-05
4 | 0.00037284 | 9.3442e-05
5 | 0.0010292 | 0.00025794
6 | 0.00025283 | 6.3364e-05
7 | 0.00014391 | 3.6067e-05
8 | 0.0019385 | 0.00048582
9 | 0.00043049 | 0.00010789
10 | 0.0013892 | 0.00034817
11 | 0.00078875 | 0.00019768
12 | 0.00053913 | 0.00013512
13 | 0.0010529 | 0.00026387
14 | 0.00049195 | 0.00012329
15 | 0.0015519 | 0.00038894
16 | 0.00099353 | 0.000249
17 | 0.0003899 | 9.7718e-05
18 | 0.00067035 | 0.00016801
19 | 0.0028029 | 0.00070247
20 | 0.00050341 | 0.00012617
21 | 0.0011376 | 0.0002851
22 | 0.001109 | 0.00027794

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1