## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2115-2_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_2115-2_1_3_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_2115-2_1_3_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2115-2_1_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2115-2_1_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2115-2_1_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2115-2_1_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2115-2_1_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2115-2_1_3_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_2115-2_1_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2115-2_1_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2115-2_1_3_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_2115-2_1_3_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_2115-2_1_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_2115-2_1_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_2115-2_1_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2115-2_1_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2115-2_1_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2115-2_1_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2115-2_1_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_2115-2_1_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2115-2_1_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2115-2_1_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2115-2_1_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_2115-2_1_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2115-2_1_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2115-2_1_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2115-2_1_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2115-2_1_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2115-2_1_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_2115-2_1_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2115-2_1_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2115-2_1_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2115-2_1_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2115-2_1_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2115-2_1_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2115-2_1_3_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_2115-2_1_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2115-2_1_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2115-2_1_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2115-2_1_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2115-2_1_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_2115-2_1_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2115-2_1_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_2115-2_1_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2115-2_1_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_2115-2_1_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2115-2_1_3_node_94 | 0.4 | n |  | TRUE
48 | bus_MV_27_2_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2115-2_1_3_load_4 | 0 | 0.0015247 | 0.00038212 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2115-2_1_3_load_5 | 1 | 0.0015343 | 0.00038453 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2115-2_1_3_load_8 | 4 | 0.0013158 | 0.00032976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2115-2_1_3_load_9 | 5 | 0.0012681 | 0.00031781 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2115-2_1_3_load_12 | 6 | 0.002243 | 0.00056214 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2115-2_1_3_load_10 | 7 | 0.0005608 | 0.00014055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2115-2_1_3_load_13 | 9 | 0.0021784 | 0.00054596 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2115-2_1_3_load_11 | 10 | 0.0015692 | 0.00039329 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2115-2_1_3_load_92 | 11 | 0.001789 | 0.00044837 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2115-2_1_3_load_93 | 12 | 0.0018066 | 0.00045279 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2115-2_1_3_load_18 | 14 | 0.0016305 | 0.00040864 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2115-2_1_3_load_19 | 15 | 0.0014865 | 0.00037255 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2115-2_1_3_load_15 | 17 | 0.0018437 | 0.00046208 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2115-2_1_3_load_16 | 18 | 0.0016481 | 0.00041307 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2115-2_1_3_load_20 | 19 | 0.0013852 | 0.00034716 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2115-2_1_3_load_21 | 20 | 0.0024507 | 0.0006142 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2115-2_1_3_load_22 | 21 | 0.003772 | 0.00094536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2115-2_1_3_load_23 | 22 | 0.00060328 | 0.0001512 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2115-2_1_3_load_43 | 23 | 0.0021513 | 0.00053918 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2115-2_1_3_load_44 | 25 | 0.0028576 | 0.00071618 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2115-2_1_3_load_25 | 26 | 0.0020299 | 0.00050874 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2115-2_1_3_load_26 | 27 | 0.0020762 | 0.00052035 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2115-2_1_3_load_42 | 28 | 0.0023022 | 0.000577 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2115-2_1_3_load_40 | 29 | 0.0013654 | 0.00034219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2115-2_1_3_load_36 | 30 | 0.0012575 | 0.00031517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2115-2_1_3_load_39 | 31 | 0.0010725 | 0.0002688 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2115-2_1_3_load_27 | 32 | 0.0024755 | 0.00062041 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2115-2_1_3_load_30 | 34 | 0.0024824 | 0.00062214 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2115-2_1_3_load_28 | 35 | 0.0080972 | 0.0020293 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2115-2_1_3_load_95 | 36 | 0.0023539 | 0.00058994 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2115-2_1_3_load_33 | 38 | 0.0024435 | 0.00061241 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2115-2_1_3_load_32 | 39 | 0.0031286 | 0.0007841 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2115-2_1_3_load_45 | 41 | 0.0028099 | 0.00070422 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2115-2_1_3_load_35 | 42 | 0.0028702 | 0.00071935 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2115-2_1_3_load_46 | 43 | 0.0096166 | 0.0024102 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2115-2_1_3_load_37 | 44 | 0.0010483 | 0.00026272 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2115-2_1_3_load_38 | 45 | 0.0073805 | 0.0018497 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2115-2_1_3_load_41 | 46 | 0.01041 | 0.0026089 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2115-2_1_3_load_94 | 47 | 0.001276 | 0.0003198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2115-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_2115-2_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.04829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_2115-2_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.062978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2115-2_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0099913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2115-2_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.019728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2115-2_1_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.063775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2115-2_1_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.023465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2115-2_1_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.01436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2115-2_1_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.025355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2115-2_1_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.01009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2115-2_1_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2115-2_1_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.012644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2115-2_1_3_line_12 | NAYY 4x150 SE | 9 | 16 | 0.010668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2115-2_1_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.011972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2115-2_1_3_line_14 | NAYY 4x150 SE | 11 | 47 | 0.0038075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2115-2_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0069879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2115-2_1_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.022789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2115-2_1_3_line_17 | NAYY 4x150 SE | 14 | 22 | 0.029892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_2115-2_1_3_line_18 | NAYY 4x150 SE | 15 | 23 | 0.00077323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2115-2_1_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.015542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2115-2_1_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.012804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2115-2_1_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0011726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2115-2_1_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.02404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2115-2_1_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.013365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2115-2_1_3_line_24 | NAYY 4x150 SE | 21 | 26 | 0.019656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2115-2_1_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.019005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2115-2_1_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.014096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2115-2_1_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.011158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_2115-2_1_3_line_28 | NAYY 4x150 SE | 24 | 29 | 0.019082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2115-2_1_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.011759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2115-2_1_3_line_30 | NAYY 4x150 SE | 27 | 32 | 0.014016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2115-2_1_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.030183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2115-2_1_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0045608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2115-2_1_3_line_33 | NAYY 4x150 SE | 30 | 40 | 0.014573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2115-2_1_3_line_34 | NAYY 4x150 SE | 31 | 46 | 0.010154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2115-2_1_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.025313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2115-2_1_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.03414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2115-2_1_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.059475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2115-2_1_3_line_38 | NAYY 4x150 SE | 34 | 37 | 0.024844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2115-2_1_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.14196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2115-2_1_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.08297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2115-2_1_3_line_41 | NAYY 4x150 SE | 38 | 41 | 0.1557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2115-2_1_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.008733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2115-2_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.019774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2115-2_1_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0098257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2115-2_1_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0024645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2115-2_1_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.011573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2115-2_1_3_trafo_42 | 0.25 MVA 20/0.4 kV | 48 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2563782.2974 | 1180202.6642 | 2563794.4433 | 1180189.5608
1 | 2563749.8304 | 1180189.8201 | 2563757.4167 | 1180197.6338 | 2563758.4271 | 1180200.5181 | 2563771.8522 | 1180213.9327 | 2563782.2974 | 1180202.6642
2 | 2563840.2711 | 1180183.0801 | 2563814.4594 | 1180207.916 | 2563794.4433 | 1180189.5608
3 | 2563749.8304 | 1180189.8201 | 2563742.6964 | 1180182.825
4 | 2563749.8304 | 1180189.8201 | 2563735.6665 | 1180203.5523
5 | 2563840.2711 | 1180183.0801 | 2563817.0409 | 1180161.209 | 2563816.9079 | 1180159.42 | 2563794.6814 | 1180139.1596
6 | 2563742.6964 | 1180182.825 | 2563725.9418 | 1180166.3969
7 | 2563725.3567 | 1180213.5477 | 2563735.6665 | 1180203.5523
8 | 2563794.6814 | 1180139.1596 | 2563775.9428 | 1180122.0786
9 | 2563718.7375 | 1180159.3329 | 2563725.9418 | 1180166.3969
10 | 2563725.3567 | 1180213.5477 | 2563737.3486 | 1180224.2909
11 | 2563725.3567 | 1180213.5477 | 2563715.9832 | 1180205.062
12 | 2563768.0591 | 1180114.8923 | 2563775.9428 | 1180122.0786
13 | 2563710.1892 | 1180150.9511 | 2563718.7375 | 1180159.3329
14 | 2563740.1845 | 1180226.8315 | 2563737.3486 | 1180224.2909
15 | 2563710.1892 | 1180150.9511 | 2563705.1883 | 1180146.0704
16 | 2563710.1892 | 1180150.9511 | 2563693.7234 | 1180166.7059
17 | 2563705.1883 | 1180146.0704 | 2563683.796 | 1180125.192
18 | 2563693.1647 | 1180167.2405 | 2563693.7234 | 1180166.7059
19 | 2563768.0591 | 1180114.8923 | 2563778.123 | 1180103.048
20 | 2563768.0591 | 1180114.8923 | 2563758.572 | 1180106.2931
21 | 2563778.123 | 1180103.048 | 2563778.8822 | 1180102.1545
22 | 2563758.572 | 1180106.2931 | 2563740.7602 | 1180090.1483
23 | 2563740.7602 | 1180090.1483 | 2563730.8578 | 1180081.1727
24 | 2563716.2944 | 1180067.9724 | 2563730.8578 | 1180081.1727
25 | 2563670.1951 | 1180111.9178 | 2563683.796 | 1180125.192
26 | 2563682.9798 | 1180176.9856 | 2563693.1647 | 1180167.2405
27 | 2563670.1951 | 1180111.9178 | 2563662.2611 | 1180104.073
28 | 2563670.1951 | 1180111.9178 | 2563656.358 | 1180125.0578
29 | 2563716.2944 | 1180067.9724 | 2563707.5817 | 1180060.0751
30 | 2563707.5817 | 1180060.0751 | 2563698.3583 | 1180051.715 | 2563697.3599 | 1180050.5066
31 | 2563640.7982 | 1180082.8514 | 2563662.2611 | 1180104.073
32 | 2563653.0508 | 1180128.1984 | 2563656.358 | 1180125.0578
33 | 2563630.4356 | 1180072.6054 | 2563640.7982 | 1180082.8514
34 | 2563645.6881 | 1180135.1902 | 2563653.0508 | 1180128.1984
35 | 2563695.5845 | 1180026.3851 | 2563693.5852 | 1180036.7694 | 2563693.2799 | 1180040.5732 | 2563694.1522 | 1180044.6034 | 2563695.6805 | 1180048.474 | 2563697.3599 | 1180050.5066
36 | 2563695.5845 | 1180026.3851 | 2563683.2241 | 1180023.6254 | 2563670.5312 | 1180020.1784 | 2563662.5785 | 1180017.7242
37 | 2563695.5845 | 1180026.3851 | 2563720.536 | 1180030.9249 | 2563754.2079 | 1180036.4008
38 | 2563639.1938 | 1180009.3521 | 2563646.1919 | 1180012.0776 | 2563653.2882 | 1180014.6358 | 2563661.8759 | 1180017.5074 | 2563662.5785 | 1180017.7242
39 | 2563754.2079 | 1180036.4008 | 2563780.4715 | 1179896.8908
40 | 2563639.1938 | 1180009.3521 | 2563634.5076 | 1180007.4573 | 2563628.082 | 1180004.6616 | 2563595.3046 | 1179989.4419 | 2563563.792 | 1179974.7489
41 | 2563563.792 | 1179974.7489 | 2563436.4947 | 1180064.4002
42 | 2563630.4356 | 1180072.6054 | 2563624.151 | 1180066.5417
43 | 2563630.4356 | 1180072.6054 | 2563616.0359 | 1180086.1576
44 | 2563439.226 | 1180073.8387 | 2563436.4947 | 1180064.4002
45 | 2563614.2413 | 1180087.8466 | 2563616.0359 | 1180086.1576
46 | 2563605.8134 | 1180095.7786 | 2563614.2413 | 1180087.8466

## bus_geodata
| x | y | coords
0 | 2563782.2974 | 1180202.6642
1 | 2563794.4433 | 1180189.5608
2 | 2563749.8304 | 1180189.8201
3 | 2563840.2711 | 1180183.0801
4 | 2563742.6964 | 1180182.825
5 | 2563735.6665 | 1180203.5523
6 | 2563794.6814 | 1180139.1596
7 | 2563725.9418 | 1180166.3969
8 | 2563725.3567 | 1180213.5477
9 | 2563775.9428 | 1180122.0786
10 | 2563718.7375 | 1180159.3329
11 | 2563737.3486 | 1180224.2909
12 | 2563715.9832 | 1180205.062
13 | 2563710.1892 | 1180150.9511
14 | 2563705.1883 | 1180146.0704
15 | 2563693.7234 | 1180166.7059
16 | 2563768.0591 | 1180114.8923
17 | 2563778.123 | 1180103.048
18 | 2563758.572 | 1180106.2931
19 | 2563778.8822 | 1180102.1545
20 | 2563740.7602 | 1180090.1483
21 | 2563730.8578 | 1180081.1727
22 | 2563683.796 | 1180125.192
23 | 2563693.1647 | 1180167.2405
24 | 2563670.1951 | 1180111.9178
25 | 2563682.9798 | 1180176.9856
26 | 2563716.2944 | 1180067.9724
27 | 2563707.5817 | 1180060.0751
28 | 2563662.2611 | 1180104.073
29 | 2563656.358 | 1180125.0578
30 | 2563640.7982 | 1180082.8514
31 | 2563653.0508 | 1180128.1984
32 | 2563697.3599 | 1180050.5066
33 | 2563695.5845 | 1180026.3851
34 | 2563662.5785 | 1180017.7242
35 | 2563754.2079 | 1180036.4008
36 | 2563780.4715 | 1179896.8908
37 | 2563639.1938 | 1180009.3521
38 | 2563563.792 | 1179974.7489
39 | 2563624.151 | 1180066.5417
40 | 2563630.4356 | 1180072.6054
41 | 2563436.4947 | 1180064.4002
42 | 2563616.0359 | 1180086.1576
43 | 2563439.226 | 1180073.8387
44 | 2563614.2413 | 1180087.8466
45 | 2563605.8134 | 1180095.7786
46 | 2563645.6881 | 1180135.1902
47 | 2563740.1845 | 1180226.8315
48 | 2563670.1951 | 1180111.9178

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99214 | -0.054512 | 0.0015247 | 0.00038212
1 | 0.99147 | -0.059183 | 0.0015343 | 0.00038453
2 | 0.99401 | -0.041547 | 0 | 0
3 | 0.98918 | -0.075201 | 0 | 0
4 | 0.99444 | -0.03856 | 0.0013158 | 0.00032976
5 | 0.99383 | -0.042771 | 0.0012681 | 0.00031781
6 | 0.98687 | -0.091493 | 0.002243 | 0.00056214
7 | 0.99547 | -0.0314 | 0.0005608 | 0.00014055
8 | 0.99373 | -0.043479 | 0 | 0
9 | 0.9851 | -0.10392 | 0.0021784 | 0.00054596
10 | 0.99591 | -0.028297 | 0.0015692 | 0.00039329
11 | 0.99366 | -0.043978 | 0.001789 | 0.00044837
12 | 0.9937 | -0.04371 | 0.0018066 | 0.00045279
13 | 0.99646 | -0.024524 | 0 | 0
14 | 0.99681 | -0.022096 | 0.0016305 | 0.00040864
15 | 0.99625 | -0.026013 | 0.0014865 | 0.00037255
16 | 0.9844 | -0.10892 | 0 | 0
17 | 0.98432 | -0.10943 | 0.0018437 | 0.00046208
18 | 0.98361 | -0.1145 | 0.0016481 | 0.00041307
19 | 0.98432 | -0.10945 | 0.0013852 | 0.00034716
20 | 0.98218 | -0.1246 | 0.0024507 | 0.0006142
21 | 0.98144 | -0.12989 | 0.003772 | 0.00094536
22 | 0.99834 | -0.011483 | 0.00060328 | 0.0001512
23 | 0.99624 | -0.026052 | 0.0021513 | 0.00053918
24 | 0.99932 | -0.0046949 | 0 | 0
25 | 0.99618 | -0.026457 | 0.0028576 | 0.00071618
26 | 0.98045 | -0.13691 | 0.0020299 | 0.00050874
27 | 0.97989 | -0.14087 | 0.0020762 | 0.00052035
28 | 1 | 0 | -0.10183 | -0.025466
29 | 0.99897 | -0.0071462 | 0.0013654 | 0.00034219
30 | 0.99932 | -0.0047302 | 0.0012575 | 0.00031517
31 | 0.9989 | -0.00767 | 0.0010725 | 0.0002688
32 | 0.97927 | -0.14529 | 0.0024755 | 0.00062041
33 | 0.97825 | -0.15263 | 0 | 0
34 | 0.97738 | -0.15883 | 0.0024824 | 0.00062214
35 | 0.97734 | -0.15913 | 0.0080972 | 0.0020293
36 | 0.97685 | -0.16264 | 0.0023539 | 0.00058994
37 | 0.97684 | -0.1627 | 0 | 0
38 | 0.97503 | -0.17564 | 0.0024435 | 0.00061241
39 | 0.99899 | -0.007106 | 0.0031286 | 0.0007841
40 | 0.99902 | -0.0068328 | 0 | 0
41 | 0.97219 | -0.19602 | 0.0028099 | 0.00070422
42 | 0.99871 | -0.0090682 | 0.0028702 | 0.00071935
43 | 0.97205 | -0.19702 | 0.0096166 | 0.0024102
44 | 0.99868 | -0.0092761 | 0.0010483 | 0.00026272
45 | 0.99855 | -0.010131 | 0.0073805 | 0.0018497
46 | 0.99875 | -0.0087274 | 0.01041 | 0.0026089
47 | 0.99365 | -0.044027 | 0.001276 | 0.0003198
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.052132 | 0.013146 | -0.052098 | -0.013133 | 3.4103e-05 | 1.2656e-05 | 0.078216 | 0.078217 | 0.078217 | 0.99214 | -0.054512 | 0.99147 | -0.059183 | 14.4845
1 | -0.053657 | -0.013528 | 0.053755 | 0.013564 | 9.7642e-05 | 3.6305e-05 | 0.080503 | 0.080503 | 0.080503 | 0.99214 | -0.054512 | 0.99401 | -0.041547 | 14.908
2 | 0.050564 | 0.012749 | -0.050451 | -0.012707 | 0.00011324 | 4.1932e-05 | 0.075914 | 0.075914 | 0.075914 | 0.99147 | -0.059183 | 0.98918 | -0.075201 | 14.0582
3 | -0.059896 | -0.015103 | 0.059921 | 0.015112 | 2.508e-05 | 9.387e-06 | 0.089696 | 0.089696 | 0.089696 | 0.99401 | -0.041547 | 0.99444 | -0.03856 | 16.6104
4 | 0.0061416 | 0.0015386 | -0.0061405 | -0.0015385 | 1.0405e-06 | 1.4452e-07 | 0.0091936 | 0.0091937 | 0.0091937 | 0.99401 | -0.041547 | 0.99383 | -0.042771 | 3.4051
5 | 0.050451 | 0.012707 | -0.050336 | -0.012664 | 0.00011467 | 4.2471e-05 | 0.075914 | 0.075915 | 0.075915 | 0.98918 | -0.075201 | 0.98687 | -0.091493 | 14.0583
6 | -0.061237 | -0.015442 | 0.061299 | 0.015465 | 6.1515e-05 | 2.305e-05 | 0.091665 | 0.091665 | 0.091665 | 0.99444 | -0.03856 | 0.99547 | -0.0314 | 16.975
7 | 0.0048724 | 0.0012206 | -0.004872 | -0.0012206 | 4.7686e-07 | -2.6456e-09 | 0.0072951 | 0.0072951 | 0.0072951 | 0.99383 | -0.042771 | 0.99373 | -0.043479 | 2.7019
8 | 0.048093 | 0.012102 | -0.04801 | -0.012071 | 8.3239e-05 | 3.1692e-05 | 0.072533 | 0.072533 | 0.072533 | 0.98687 | -0.091493 | 0.9851 | -0.10392 | 26.8641
9 | -0.061859 | -0.015606 | 0.061886 | 0.015616 | 2.6937e-05 | 1.0098e-05 | 0.092503 | 0.092503 | 0.092503 | 0.99547 | -0.0314 | 0.99591 | -0.028297 | 17.1302
10 | 0.0030653 | 0.000768 | -0.003065 | -0.00076813 | 2.1165e-07 | -1.2717e-07 | 0.0045898 | 0.0045899 | 0.0045899 | 0.99373 | -0.043479 | 0.99366 | -0.043978 | 1.7
11 | 0.0018067 | 0.00045264 | -0.0018066 | -0.00045279 | 5.7744e-08 | -1.4159e-07 | 0.0027053 | 0.0027053 | 0.0027053 | 0.99373 | -0.043479 | 0.9937 | -0.04371 | 1.002
12 | 0.045831 | 0.011525 | -0.045799 | -0.011512 | 3.1915e-05 | 1.2139e-05 | 0.069243 | 0.069243 | 0.069243 | 0.9851 | -0.10392 | 0.9844 | -0.10892 | 25.6454
13 | -0.063456 | -0.016009 | 0.063489 | 0.016022 | 3.3603e-05 | 1.2612e-05 | 0.094848 | 0.094848 | 0.094848 | 0.99591 | -0.028297 | 0.99646 | -0.024524 | 17.5644
14 | 0.001276 | 0.00031975 | -0.001276 | -0.0003198 | 8.675e-09 | -4.5984e-08 | 0.0019108 | 0.0019108 | 0.0019108 | 0.99366 | -0.043978 | 0.99365 | -0.044027 | 0.70772
15 | -0.069986 | -0.01765 | 0.07001 | 0.017659 | 2.3831e-05 | 8.9836e-06 | 0.10455 | 0.10455 | 0.10455 | 0.99646 | -0.024524 | 0.99681 | -0.022096 | 19.361
16 | 0.0064969 | 0.001628 | -0.0064956 | -0.0016278 | 1.3385e-06 | 2.1801e-07 | 0.0097018 | 0.0097019 | 0.0097019 | 0.99646 | -0.024524 | 0.99625 | -0.026013 | 3.5933
17 | -0.07164 | -0.018067 | 0.071747 | 0.018108 | 0.00010674 | 4.0275e-05 | 0.10698 | 0.10698 | 0.10698 | 0.99681 | -0.022096 | 0.99834 | -0.011483 | 19.8117
18 | 0.0050091 | 0.0012552 | -0.0050091 | -0.0012552 | 2.7008e-08 | 3.1952e-10 | 0.0074817 | 0.0074817 | 0.0074817 | 0.99625 | -0.026013 | 0.99624 | -0.026052 | 2.771
19 | 0.0032292 | 0.00080912 | -0.0032289 | -0.00080923 | 2.3108e-07 | -1.087e-07 | 0.0048811 | 0.0048812 | 0.0048812 | 0.9844 | -0.10892 | 0.98432 | -0.10943 | 1.8079
20 | 0.04257 | 0.010703 | -0.042537 | -0.010691 | 3.3097e-05 | 1.2567e-05 | 0.064362 | 0.064362 | 0.064362 | 0.9844 | -0.10892 | 0.98361 | -0.1145 | 23.8376
21 | 0.0013852 | 0.00034715 | -0.0013852 | -0.00034716 | 3.2084e-09 | -1.3671e-08 | 0.002094 | 0.002094 | 0.002094 | 0.98432 | -0.10943 | 0.98432 | -0.10945 | 0.77556
22 | 0.040889 | 0.010278 | -0.040832 | -0.010256 | 5.7419e-05 | 2.1779e-05 | 0.061868 | 0.061868 | 0.061868 | 0.98361 | -0.1145 | 0.98218 | -0.1246 | 22.9142
23 | 0.038381 | 0.0096417 | -0.038353 | -0.0096311 | 2.8205e-05 | 1.0679e-05 | 0.058156 | 0.058156 | 0.058156 | 0.98218 | -0.1246 | 0.98144 | -0.12989 | 21.5391
24 | 0.034581 | 0.0086857 | -0.034547 | -0.008673 | 3.3724e-05 | 1.2723e-05 | 0.052437 | 0.052437 | 0.052437 | 0.98144 | -0.12989 | 0.98045 | -0.13691 | 19.421
25 | -0.07235 | -0.018259 | 0.072419 | 0.018285 | 6.9011e-05 | 2.6045e-05 | 0.10788 | 0.10788 | 0.10788 | 0.99834 | -0.011483 | 0.99932 | -0.0046949 | 19.9782
26 | 0.0028577 | 0.00071605 | -0.0028576 | -0.00071618 | 1.6025e-07 | -1.219e-07 | 0.0042683 | 0.0042684 | 0.0042684 | 0.99624 | -0.026052 | 0.99618 | -0.026457 | 1.5809
27 | -0.085274 | -0.021507 | 0.08533 | 0.021528 | 5.6167e-05 | 2.131e-05 | 0.12702 | 0.12702 | 0.12702 | 0.99932 | -0.0046949 | 1 | 0 | 23.5227
28 | 0.012854 | 0.003222 | -0.01285 | -0.0032206 | 4.3623e-06 | 1.4279e-06 | 0.01914 | 0.01914 | 0.01914 | 0.99932 | -0.0046949 | 0.99897 | -0.0071462 | 7.0891
29 | 0.032517 | 0.0081642 | -0.032499 | -0.0081575 | 1.7875e-05 | 6.7267e-06 | 0.049356 | 0.049356 | 0.049356 | 0.98045 | -0.13691 | 0.97989 | -0.14087 | 18.28
30 | 0.030423 | 0.0076371 | -0.030404 | -0.0076301 | 1.867e-05 | 7.0043e-06 | 0.046203 | 0.046203 | 0.046203 | 0.97989 | -0.14087 | 0.97927 | -0.14529 | 17.1123
31 | 0.015704 | 0.0039373 | -0.015694 | -0.0039338 | 1.0285e-05 | 3.5602e-06 | 0.023369 | 0.023369 | 0.023369 | 1 | 0 | 0.99932 | -0.0047302 | 8.6552
32 | 0.011484 | 0.0028784 | -0.011484 | -0.0028781 | 8.3284e-07 | 2.6062e-07 | 0.017107 | 0.017107 | 0.017107 | 0.99897 | -0.0071462 | 0.9989 | -0.00767 | 6.3358
33 | 0.014437 | 0.0036186 | -0.014432 | -0.0036172 | 4.202e-06 | 1.4253e-06 | 0.021496 | 0.021497 | 0.021497 | 0.99932 | -0.0047302 | 0.99902 | -0.0068328 | 7.9617
34 | 0.010411 | 0.0026093 | -0.01041 | -0.0026089 | 1.524e-06 | 4.5324e-07 | 0.015509 | 0.015509 | 0.015509 | 0.9989 | -0.00767 | 0.99875 | -0.0087274 | 5.7441
35 | 0.027929 | 0.0070097 | -0.0279 | -0.0069991 | 2.8452e-05 | 1.0625e-05 | 0.042442 | 0.042442 | 0.042442 | 0.97927 | -0.14529 | 0.97825 | -0.15263 | 15.7192
36 | 0.017439 | 0.0043783 | -0.017424 | -0.004373 | 1.4993e-05 | 5.3384e-06 | 0.026529 | 0.026529 | 0.026529 | 0.97825 | -0.15263 | 0.97738 | -0.15883 | 9.8256
37 | 0.010462 | 0.0026208 | -0.010452 | -0.0026179 | 9.3977e-06 | 2.8685e-06 | 0.015913 | 0.015913 | 0.015913 | 0.97825 | -0.15263 | 0.97734 | -0.15913 | 5.8937
38 | 0.014941 | 0.0037508 | -0.014933 | -0.003748 | 8.0234e-06 | 2.7748e-06 | 0.02275 | 0.02275 | 0.02275 | 0.97738 | -0.15883 | 0.97684 | -0.1627 | 8.4259
39 | 0.002355 | 0.0005886 | -0.0023539 | -0.00058994 | 1.1387e-06 | -1.3401e-06 | 0.003585 | 0.0035856 | 0.0035856 | 0.97734 | -0.15913 | 0.97685 | -0.16264 | 1.328
40 | 0.014933 | 0.003748 | -0.014907 | -0.0037388 | 2.6796e-05 | 9.2695e-06 | 0.02275 | 0.02275 | 0.02275 | 0.97684 | -0.1627 | 0.97503 | -0.17564 | 8.426
41 | 0.012463 | 0.0031264 | -0.012428 | -0.0031148 | 3.5153e-05 | 1.1584e-05 | 0.019021 | 0.019022 | 0.019022 | 0.97503 | -0.17564 | 0.97219 | -0.19602 | 7.0451
42 | -0.0031286 | -0.0007841 | 0.0031287 | 0.00078403 | 1.1834e-07 | -6.8826e-08 | 0.0046601 | 0.0046601 | 0.0046601 | 0.99899 | -0.007106 | 0.99902 | -0.0068328 | 1.726
43 | 0.011304 | 0.0028331 | -0.0113 | -0.002832 | 3.4977e-06 | 1.0864e-06 | 0.016836 | 0.016837 | 0.016837 | 0.99902 | -0.0068328 | 0.99871 | -0.0090682 | 6.2358
44 | 0.009618 | 0.0024105 | -0.0096166 | -0.0024102 | 1.3287e-06 | 3.8922e-07 | 0.014721 | 0.014721 | 0.014721 | 0.97219 | -0.19602 | 0.97205 | -0.19702 | 5.4523
45 | 0.0084299 | 0.0021127 | -0.0084296 | -0.0021126 | 2.426e-07 | 6.106e-08 | 0.01256 | 0.01256 | 0.01256 | 0.99871 | -0.0090682 | 0.99868 | -0.0092761 | 4.6519
46 | 0.0073814 | 0.0018499 | -0.0073805 | -0.0018497 | 8.7355e-07 | 1.8457e-07 | 0.010998 | 0.010998 | 0.010998 | 0.99868 | -0.0092761 | 0.99855 | -0.010131 | 4.0734

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10414 | 0.026043

## res_load
| p_mw | q_mvar
0 | 0.0015247 | 0.00038212
1 | 0.0015343 | 0.00038453
2 | 0.0013158 | 0.00032976
3 | 0.0012681 | 0.00031781
4 | 0.002243 | 0.00056214
5 | 0.0005608 | 0.00014055
6 | 0.0021784 | 0.00054596
7 | 0.0015692 | 0.00039329
8 | 0.001789 | 0.00044837
9 | 0.0018066 | 0.00045279
10 | 0.0016305 | 0.00040864
11 | 0.0014865 | 0.00037255
12 | 0.0018437 | 0.00046208
13 | 0.0016481 | 0.00041307
14 | 0.0013852 | 0.00034716
15 | 0.0024507 | 0.0006142
16 | 0.003772 | 0.00094536
17 | 0.00060328 | 0.0001512
18 | 0.0021513 | 0.00053918
19 | 0.0028576 | 0.00071618
20 | 0.0020299 | 0.00050874
21 | 0.0020762 | 0.00052035
22 | 0.0023022 | 0.000577
23 | 0.0013654 | 0.00034219
24 | 0.0012575 | 0.00031517
25 | 0.0010725 | 0.0002688
26 | 0.0024755 | 0.00062041
27 | 0.0024824 | 0.00062214
28 | 0.0080972 | 0.0020293
29 | 0.0023539 | 0.00058994
30 | 0.0024435 | 0.00061241
31 | 0.0031286 | 0.0007841
32 | 0.0028099 | 0.00070422
33 | 0.0028702 | 0.00071935
34 | 0.0096166 | 0.0024102
35 | 0.0010483 | 0.00026272
36 | 0.0073805 | 0.0018497
37 | 0.01041 | 0.0026089
38 | 0.001276 | 0.0003198

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1