## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2115-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2115-4_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2115-4_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2115-4_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2115-4_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2115-4_0_2_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2115-4_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2115-4_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2115-4_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2115-4_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2115-4_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2115-4_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2115-4_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2115-4_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2115-4_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2115-4_0_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2115-4_0_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2115-4_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2115-4_0_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2115-4_0_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2115-4_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2115-4_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2115-4_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2115-4_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2115-4_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2115-4_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2115-4_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2115-4_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2115-4_0_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2115-4_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2115-4_0_2_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_2115-4_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2115-4_0_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_2115-4_0_2_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_2115-4_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2115-4_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2115-4_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2115-4_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2115-4_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2115-4_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2115-4_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2115-4_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2115-4_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2115-4_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_MV_27_2_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2115-4_0_2_load_0 | 0 | 0.0010431 | 0.00026142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2115-4_0_2_load_4 | 3 | 0.0024948 | 0.00062526 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2115-4_0_2_load_5 | 4 | 0.0013353 | 0.00033465 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2115-4_0_2_load_7 | 5 | 0.0029857 | 0.00074829 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2115-4_0_2_load_6 | 6 | 0.00080508 | 0.00020177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2115-4_0_2_load_8 | 7 | 0.0013046 | 0.00032697 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2115-4_0_2_load_9 | 8 | 0.0051177 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2115-4_0_2_load_10 | 9 | 0.0090958 | 0.0022796 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2115-4_0_2_load_11 | 10 | 0.0037591 | 0.00094211 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2115-4_0_2_load_13 | 12 | 0.0011436 | 0.00028662 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2115-4_0_2_load_14 | 13 | 0.0016794 | 0.0004209 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2115-4_0_2_load_15 | 14 | 0.0021804 | 0.00054647 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2115-4_0_2_load_22 | 15 | 0.0014265 | 0.00035751 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2115-4_0_2_load_16 | 16 | 0.0025091 | 0.00062884 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2115-4_0_2_load_29 | 18 | 0.0023786 | 0.00059613 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2115-4_0_2_load_30 | 19 | 0.0017545 | 0.00043973 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2115-4_0_2_load_17 | 20 | 0.0017174 | 0.00043042 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2115-4_0_2_load_18 | 21 | 0.0017217 | 0.0004315 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2115-4_0_2_load_20 | 22 | 0.0013381 | 0.00033537 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2115-4_0_2_load_21 | 23 | 0.0016538 | 0.00041448 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2115-4_0_2_load_24 | 24 | 0.00097845 | 0.00024522 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2115-4_0_2_load_23 | 25 | 0.0012974 | 0.00032517 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2115-4_0_2_load_25 | 26 | 0.0011205 | 0.00028082 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2115-4_0_2_load_26 | 27 | 0.00080857 | 0.00020265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2115-4_0_2_load_41 | 28 | 0.001462 | 0.00036642 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2115-4_0_2_load_27 | 29 | 0.0010153 | 0.00025445 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2115-4_0_2_load_42 | 30 | 0.0010059 | 0.00025211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2115-4_0_2_load_28 | 31 | 0.0026118 | 0.00065457 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2115-4_0_2_load_44 | 33 | 0.010229 | 0.0025635 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2115-4_0_2_load_31 | 34 | 0.0012884 | 0.00032291 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2115-4_0_2_load_32 | 35 | 0.0017504 | 0.00043869 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2115-4_0_2_load_33 | 36 | 0.0036044 | 0.00090334 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2115-4_0_2_load_34 | 37 | 0.0035795 | 0.00089711 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2115-4_0_2_load_35 | 38 | 0.00092286 | 0.00023129 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2115-4_0_2_load_36 | 39 | 0.0022869 | 0.00057316 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2115-4_0_2_load_37 | 40 | 0.0010204 | 0.00025574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2115-4_0_2_load_38 | 41 | 0.0013215 | 0.0003312 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2115-4_0_2_load_39 | 42 | 0.0032738 | 0.00082049 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2115-4_0_2_load_40 | 43 | 0.0037932 | 0.00095067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2115-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0078551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2115-4_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.026191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2115-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2115-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.056724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2115-4_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2115-4_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.004916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2115-4_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2115-4_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.024149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2115-4_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0088069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2115-4_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.01717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2115-4_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0066038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2115-4_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.011778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2115-4_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.020895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2115-4_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.034192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2115-4_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.030285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2115-4_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.012609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2115-4_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.015159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2115-4_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.016557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2115-4_0_2_line_18 | NAYY 4x150 SE | 17 | 23 | 0.0021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2115-4_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.01828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2115-4_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.021023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2115-4_0_2_line_21 | NAYY 4x150 SE | 19 | 34 | 0.0022368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2115-4_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0029309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2115-4_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.016623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2115-4_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.01986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2115-4_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.013589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2115-4_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0032212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2115-4_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2115-4_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.064562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2115-4_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.001704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2115-4_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0058693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2115-4_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.012281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2115-4_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.07664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2115-4_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.079968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2115-4_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.048442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2115-4_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.029557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2115-4_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.018558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2115-4_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2115-4_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.006243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2115-4_0_2_line_39 | NAYY 4x150 SE | 38 | 40 | 0.012729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2115-4_0_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0076643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2115-4_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.016836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2115-4_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.013535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2115-4_0_2_trafo_16 | 0.25 MVA 20/0.4 kV | 44 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2564133.3376 | 1180059.3386 | 2564129.8851 | 1180055.5239 | 2564127.7791 | 1180053.8182
1 | 2564130.3859 | 1180082.9576 | 2564127.8737 | 1180072.9118 | 2564127.7548 | 1180067.1095 | 2564128.8409 | 1180063.5233 | 2564130.4684 | 1180061.0789 | 2564133.3376 | 1180059.3386
2 | 2564133.3376 | 1180059.3386 | 2564136.9757 | 1180059.7058 | 2564140.3912 | 1180061.1861 | 2564165.2548 | 1180076.941
3 | 2564130.3859 | 1180082.9576 | 2564132.8097 | 1180091.014 | 2564135.999 | 1180099.3326 | 2564138.7111 | 1180105.7864 | 2564142.4427 | 1180112.8455 | 2564148.0654 | 1180121.9166 | 2564155.03 | 1180131.8579 | 2564155.9341 | 1180133.1854
4 | 2564165.2548 | 1180076.941 | 2564190.0342 | 1180092.6425
5 | 2564155.9341 | 1180133.1854 | 2564158.7015 | 1180137.2485
6 | 2564206.1026 | 1180102.8243 | 2564190.0342 | 1180092.6425
7 | 2564226.5011 | 1180115.7498 | 2564206.1026 | 1180102.8243
8 | 2564226.5011 | 1180115.7498 | 2564233.9402 | 1180120.4636
9 | 2564248.4433 | 1180129.6535 | 2564233.9402 | 1180120.4636
10 | 2564254.0215 | 1180133.1882 | 2564248.4433 | 1180129.6535
11 | 2564254.0215 | 1180133.1882 | 2564263.9364 | 1180139.5452
12 | 2564254.0215 | 1180133.1882 | 2564266.5379 | 1180116.4563
13 | 2564292.5493 | 1180158.2642 | 2564268.8123 | 1180142.6715 | 2564263.9364 | 1180139.5452
14 | 2564266.5379 | 1180116.4563 | 2564284.6787 | 1180092.2057
15 | 2564292.5493 | 1180158.2642 | 2564303.0875 | 1180165.1868
16 | 2564293.7589 | 1180080.0672 | 2564284.6787 | 1180092.2057
17 | 2564316.9259 | 1180174.2772 | 2564303.0875 | 1180165.1868
18 | 2564293.7589 | 1180080.0672 | 2564295.8539 | 1180080.3896
19 | 2564293.7589 | 1180080.0672 | 2564281.6323 | 1180075.4483 | 2564276.6138 | 1180073.7325
20 | 2564316.9259 | 1180174.2772 | 2564325.0284 | 1180179.5997 | 2564332.9062 | 1180185.2001 | 2564334.2001 | 1180186.2455
21 | 2564335.9401 | 1180187.6512 | 2564334.2001 | 1180186.2455
22 | 2564276.6138 | 1180073.7325 | 2564273.8405 | 1180072.7843
23 | 2564258.1118 | 1180067.4068 | 2564273.8405 | 1180072.7843
24 | 2564315.4578 | 1180083.5165 | 2564314.8294 | 1180083.3098 | 2564295.8539 | 1180080.3896
25 | 2564327.826 | 1180089.0617 | 2564323.1974 | 1180086.5504 | 2564318.9775 | 1180084.6746 | 2564315.4578 | 1180083.5165
26 | 2564327.826 | 1180089.0617 | 2564330.6573 | 1180090.5978
27 | 2564346.1708 | 1180099.0146 | 2564330.6573 | 1180090.5978
28 | 2564330.6573 | 1180090.5978 | 2564365.8583 | 1180036.4758
29 | 2564346.1708 | 1180099.0146 | 2564347.6686 | 1180099.8272
30 | 2564361.3048 | 1180032.7726 | 2564365.8583 | 1180036.4758
31 | 2564358.4628 | 1180105.6836 | 2564347.6686 | 1180099.8272
32 | 2564358.4628 | 1180105.6836 | 2564432.1457 | 1180084.6004
33 | 2564432.1457 | 1180084.6004 | 2564505.4233 | 1180113.5246 | 2564506.5265 | 1180113.9667
34 | 2564335.9401 | 1180187.6512 | 2564340.8423 | 1180191.6117 | 2564361.428 | 1180208.409 | 2564374.6548 | 1180216.6248
35 | 2564399.9495 | 1180231.9141 | 2564378.5702 | 1180219.0569 | 2564374.6548 | 1180216.6248
36 | 2564399.9495 | 1180231.9141 | 2564416.2376 | 1180240.8071
37 | 2564399.9495 | 1180231.9141 | 2564392.4638 | 1180239.3541
38 | 2564421.7171 | 1180243.7988 | 2564416.2376 | 1180240.8071
39 | 2564392.4638 | 1180239.3541 | 2564383.4353 | 1180248.3273
40 | 2564383.4353 | 1180248.3273 | 2564380.2682 | 1180251.475 | 2564377.6902 | 1180253.3691
41 | 2564362.9702 | 1180247.0894 | 2564371.6917 | 1180252.9269 | 2564373.4623 | 1180253.9724 | 2564375.5773 | 1180253.8487 | 2564377.6902 | 1180253.3691 | 2564377.6902 | 1180253.3691
42 | 2564351.7224 | 1180239.5611 | 2564362.9702 | 1180247.0894

## bus_geodata
| x | y | coords
0 | 2564127.7791 | 1180053.8182
1 | 2564133.3376 | 1180059.3386
2 | 2564130.3859 | 1180082.9576
3 | 2564165.2548 | 1180076.941
4 | 2564155.9341 | 1180133.1854
5 | 2564190.0342 | 1180092.6425
6 | 2564158.7015 | 1180137.2485
7 | 2564206.1026 | 1180102.8243
8 | 2564226.5011 | 1180115.7498
9 | 2564233.9402 | 1180120.4636
10 | 2564248.4433 | 1180129.6535
11 | 2564254.0215 | 1180133.1882
12 | 2564263.9364 | 1180139.5452
13 | 2564266.5379 | 1180116.4563
14 | 2564292.5493 | 1180158.2642
15 | 2564284.6787 | 1180092.2057
16 | 2564303.0875 | 1180165.1868
17 | 2564293.7589 | 1180080.0672
18 | 2564316.9259 | 1180174.2772
19 | 2564334.2001 | 1180186.2455
20 | 2564276.6138 | 1180073.7325
21 | 2564273.8405 | 1180072.7843
22 | 2564258.1118 | 1180067.4068
23 | 2564295.8539 | 1180080.3896
24 | 2564315.4578 | 1180083.5165
25 | 2564327.826 | 1180089.0617
26 | 2564330.6573 | 1180090.5978
27 | 2564346.1708 | 1180099.0146
28 | 2564365.8583 | 1180036.4758
29 | 2564347.6686 | 1180099.8272
30 | 2564361.3048 | 1180032.7726
31 | 2564358.4628 | 1180105.6836
32 | 2564432.1457 | 1180084.6004
33 | 2564506.5265 | 1180113.9667
34 | 2564335.9401 | 1180187.6512
35 | 2564374.6548 | 1180216.6248
36 | 2564399.9495 | 1180231.9141
37 | 2564416.2376 | 1180240.8071
38 | 2564392.4638 | 1180239.3541
39 | 2564421.7171 | 1180243.7988
40 | 2564383.4353 | 1180248.3273
41 | 2564377.6902 | 1180253.3691
42 | 2564362.9702 | 1180247.0894
43 | 2564351.7224 | 1180239.5611
44 | 2564303.0875 | 1180165.1868

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99295 | -0.049403 | 0.0010431 | 0.00026142
1 | 0.99296 | -0.04932 | 0 | 0
2 | 0.99288 | -0.049889 | 0 | 0
3 | 0.99313 | -0.04813 | 0.0024948 | 0.00062526
4 | 0.99271 | -0.05112 | 0.0013353 | 0.00033465
5 | 0.99337 | -0.04644 | 0.0029857 | 0.00074829
6 | 0.9927 | -0.05116 | 0.00080508 | 0.00020177
7 | 0.99361 | -0.044771 | 0.0013046 | 0.00032697
8 | 0.99395 | -0.042333 | 0.0051177 | 0.0012826
9 | 0.99414 | -0.04099 | 0.0090958 | 0.0022796
10 | 0.99474 | -0.036796 | 0.0037591 | 0.00094211
11 | 0.995 | -0.034933 | 0 | 0
12 | 0.99598 | -0.028046 | 0.0011436 | 0.00028662
13 | 0.9941 | -0.04128 | 0.0016794 | 0.0004209
14 | 0.99889 | -0.0077347 | 0.0021804 | 0.00054647
15 | 0.99286 | -0.049984 | 0.0014265 | 0.00035751
16 | 1 | 0 | -0.089649 | -0.022329
17 | 0.99227 | -0.054129 | 0 | 0
18 | 0.99936 | -0.0044634 | 0.0023786 | 0.00059613
19 | 0.99862 | -0.0096381 | 0.0017545 | 0.00043973
20 | 0.99215 | -0.055015 | 0.0017174 | 0.00043042
21 | 0.99213 | -0.055106 | 0.0017217 | 0.0004315
22 | 0.9921 | -0.055331 | 0.0013381 | 0.00033537
23 | 0.99221 | -0.054606 | 0.0016538 | 0.00041448
24 | 0.99162 | -0.058747 | 0.00097845 | 0.00024522
25 | 0.99124 | -0.061448 | 0.0012974 | 0.00032517
26 | 0.99115 | -0.062046 | 0.0011205 | 0.00028082
27 | 0.99078 | -0.06468 | 0.00080857 | 0.00020265
28 | 0.99092 | -0.063668 | 0.001462 | 0.00036642
29 | 0.99074 | -0.06492 | 0.0010153 | 0.00025445
30 | 0.99091 | -0.063728 | 0.0010059 | 0.00025211
31 | 0.99052 | -0.066526 | 0.0026118 | 0.00065457
32 | 0.98939 | -0.074518 | 0 | 0
33 | 0.98821 | -0.082871 | 0.010229 | 0.0025635
34 | 0.99855 | -0.01015 | 0.0012884 | 0.00032291
35 | 0.99705 | -0.020623 | 0.0017504 | 0.00043869
36 | 0.99622 | -0.026507 | 0.0036044 | 0.00090334
37 | 0.99606 | -0.027602 | 0.0035795 | 0.00089711
38 | 0.99606 | -0.027604 | 0.00092286 | 0.00023129
39 | 0.99604 | -0.027745 | 0.0022869 | 0.00057316
40 | 0.99589 | -0.028809 | 0.0010204 | 0.00025574
41 | 0.9958 | -0.029457 | 0.0013215 | 0.0003312
42 | 0.99563 | -0.030655 | 0.0032738 | 0.00082049
43 | 0.99555 | -0.031172 | 0.0037932 | 0.00095067
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0010431 | -0.00026142 | 0.0010431 | 0.00026133 | 1.1977e-08 | -9.7001e-08 | 0.0015632 | 0.0015631 | 0.0015632 | 0.99295 | -0.049403 | 0.99296 | -0.04932 | 0.57895
1 | 0.0021409 | 0.0005355 | -0.0021407 | -0.00053577 | 1.6819e-07 | -2.7407e-07 | 0.0032079 | 0.003208 | 0.003208 | 0.99296 | -0.04932 | 0.99288 | -0.049889 | 1.1882
2 | -0.003184 | -0.00079682 | 0.0031845 | 0.00079655 | 5.2288e-07 | -2.7517e-07 | 0.004771 | 0.0047709 | 0.004771 | 0.99296 | -0.04932 | 0.99313 | -0.04813 | 1.767
3 | 0.0021407 | 0.00053577 | -0.0021404 | -0.00053636 | 3.643e-07 | -5.9338e-07 | 0.003208 | 0.0032083 | 0.0032083 | 0.99288 | -0.049889 | 0.99271 | -0.05112 | 1.1882
4 | -0.0056793 | -0.0014218 | 0.0056807 | 0.0014219 | 1.3253e-06 | 1.3005e-07 | 0.0085089 | 0.0085087 | 0.0085089 | 0.99313 | -0.04813 | 0.99337 | -0.04644 | 3.1514
5 | 0.00080508 | 0.00020171 | -0.00080508 | -0.00020177 | 4.4672e-09 | -6.1838e-08 | 0.0012068 | 0.0012068 | 0.0012068 | 0.99271 | -0.05112 | 0.9927 | -0.05116 | 0.44695
6 | -0.0086664 | -0.0021702 | 0.0086684 | 0.0021708 | 2.0002e-06 | 5.23e-07 | 0.012981 | 0.012981 | 0.012981 | 0.99337 | -0.04644 | 0.99361 | -0.044771 | 4.8078
7 | -0.009973 | -0.0024977 | 0.0099764 | 0.0024987 | 3.3611e-06 | 9.7984e-07 | 0.014935 | 0.014935 | 0.014935 | 0.99361 | -0.044771 | 0.99395 | -0.042333 | 5.5314
8 | -0.015094 | -0.0037813 | 0.015097 | 0.0037823 | 2.806e-06 | 9.6505e-07 | 0.022596 | 0.022596 | 0.022596 | 0.99395 | -0.042333 | 0.99414 | -0.04099 | 8.369
9 | -0.024193 | -0.0060619 | 0.024207 | 0.0060671 | 1.4048e-05 | 5.1804e-06 | 0.036211 | 0.036211 | 0.036211 | 0.99414 | -0.04099 | 0.99474 | -0.036796 | 13.4114
10 | -0.027966 | -0.0070092 | 0.027973 | 0.0070119 | 7.2116e-06 | 2.688e-06 | 0.041834 | 0.041834 | 0.041834 | 0.99474 | -0.036796 | 0.995 | -0.034933 | 15.494
11 | -0.05817 | -0.014592 | 0.058226 | 0.014614 | 5.5624e-05 | 2.1241e-05 | 0.086998 | 0.086998 | 0.086998 | 0.995 | -0.034933 | 0.99598 | -0.028046 | 32.2213
12 | 0.030197 | 0.0075806 | -0.03017 | -0.0075706 | 2.6596e-05 | 9.9581e-06 | 0.045164 | 0.045164 | 0.045164 | 0.995 | -0.034933 | 0.9941 | -0.04128 | 16.7274
13 | -0.059369 | -0.0149 | 0.059537 | 0.014964 | 0.00016789 | 6.4126e-05 | 0.088706 | 0.088706 | 0.088706 | 0.99598 | -0.028046 | 0.99889 | -0.0077347 | 32.8542
14 | 0.028491 | 0.0071497 | -0.028457 | -0.0071369 | 3.4376e-05 | 1.2829e-05 | 0.04265 | 0.04265 | 0.04265 | 0.9941 | -0.04128 | 0.99286 | -0.049984 | 15.7964
15 | -0.061718 | -0.015511 | 0.061784 | 0.015536 | 6.6526e-05 | 2.5422e-05 | 0.091954 | 0.091954 | 0.091954 | 0.99889 | -0.0077347 | 1 | 0 | 34.0571
16 | 0.02703 | 0.0067794 | -0.027015 | -0.0067736 | 1.5525e-05 | 5.7752e-06 | 0.040512 | 0.040512 | 0.040512 | 0.99286 | -0.049984 | 0.99227 | -0.054129 | 15.0046
17 | 0.027064 | 0.0067924 | -0.027048 | -0.0067861 | 1.6759e-05 | 6.2287e-06 | 0.040276 | 0.040276 | 0.040276 | 1 | 0 | 0.99936 | -0.0044634 | 14.9169
18 | 0.022237 | 0.0055766 | -0.022235 | -0.005576 | 1.4709e-06 | 5.3835e-07 | 0.033348 | 0.033348 | 0.033348 | 0.99227 | -0.054129 | 0.99221 | -0.054606 | 12.351
19 | 0.0047779 | 0.0011971 | -0.0047773 | -0.0011971 | 5.8557e-07 | -1.0883e-08 | 0.0071648 | 0.0071649 | 0.0071649 | 0.99227 | -0.054129 | 0.99215 | -0.055015 | 2.6537
20 | 0.024669 | 0.00619 | -0.024651 | -0.0061835 | 1.7702e-05 | 6.5332e-06 | 0.036734 | 0.036734 | 0.036734 | 0.99936 | -0.0044634 | 0.99862 | -0.0096381 | 13.6052
21 | 0.022897 | 0.0057437 | -0.022895 | -0.0057431 | 1.6249e-06 | 5.957e-07 | 0.03412 | 0.03412 | 0.03412 | 0.99862 | -0.0096381 | 0.99855 | -0.01015 | 12.6369
22 | 0.0030599 | 0.00076665 | -0.0030599 | -0.00076667 | 3.8517e-08 | -2.3035e-08 | 0.0045892 | 0.0045892 | 0.0045892 | 0.99215 | -0.055015 | 0.99213 | -0.055106 | 1.6997
23 | 0.0013382 | 0.00033517 | -0.0013381 | -0.00033537 | 4.178e-08 | -1.9858e-07 | 0.0020069 | 0.002007 | 0.002007 | 0.99213 | -0.055106 | 0.9921 | -0.055331 | 0.74334
24 | 0.020582 | 0.0051615 | -0.02057 | -0.0051573 | 1.1808e-05 | 4.2852e-06 | 0.030867 | 0.030868 | 0.030868 | 0.99221 | -0.054606 | 0.99162 | -0.058747 | 11.4324
25 | 0.019591 | 0.004912 | -0.019584 | -0.0049094 | 7.3292e-06 | 2.6437e-06 | 0.029399 | 0.029399 | 0.029399 | 0.99162 | -0.058747 | 0.99124 | -0.061448 | 10.8886
26 | 0.018287 | 0.0045842 | -0.018285 | -0.0045837 | 1.5147e-06 | 5.4108e-07 | 0.027452 | 0.027452 | 0.027452 | 0.99124 | -0.061448 | 0.99115 | -0.062046 | 10.1673
27 | 0.014696 | 0.003685 | -0.014691 | -0.0036832 | 5.3615e-06 | 1.8347e-06 | 0.022064 | 0.022064 | 0.022064 | 0.99115 | -0.062046 | 0.99078 | -0.06468 | 8.1718
28 | 0.0024685 | 0.00061784 | -0.002468 | -0.00061846 | 5.5327e-07 | -6.191e-07 | 0.0037057 | 0.003706 | 0.003706 | 0.99115 | -0.062046 | 0.99092 | -0.063668 | 1.3726
29 | 0.013882 | 0.0034805 | -0.013882 | -0.0034804 | 4.6222e-07 | 1.5583e-07 | 0.02085 | 0.02085 | 0.02085 | 0.99078 | -0.06468 | 0.99074 | -0.06492 | 7.722
30 | 0.0010059 | 0.00025203 | -0.0010059 | -0.00025211 | 8.3566e-09 | -7.2394e-08 | 0.0015105 | 0.0015106 | 0.0015106 | 0.99092 | -0.063668 | 0.99091 | -0.063728 | 0.55946
31 | 0.012866 | 0.0032259 | -0.012863 | -0.003225 | 2.8617e-06 | 9.4255e-07 | 0.019325 | 0.019325 | 0.019325 | 0.99074 | -0.06492 | 0.99052 | -0.066526 | 7.1573
32 | 0.010252 | 0.0025704 | -0.01024 | -0.002567 | 1.1344e-05 | 3.3776e-06 | 0.015401 | 0.015401 | 0.015401 | 0.99052 | -0.066526 | 0.98939 | -0.074518 | 5.7042
33 | 0.01024 | 0.002567 | -0.010229 | -0.0025635 | 1.1837e-05 | 3.5269e-06 | 0.015401 | 0.015402 | 0.015402 | 0.98939 | -0.074518 | 0.98821 | -0.082871 | 5.7044
34 | 0.021607 | 0.0054202 | -0.021575 | -0.0054088 | 3.1341e-05 | 1.1422e-05 | 0.0322 | 0.0322 | 0.0322 | 0.99855 | -0.01015 | 0.99705 | -0.020623 | 11.9259
35 | 0.019825 | 0.0049701 | -0.019809 | -0.0049643 | 1.6146e-05 | 5.8248e-06 | 0.029588 | 0.029588 | 0.029588 | 0.99705 | -0.020623 | 0.99622 | -0.026507 | 10.9584
36 | 0.0058674 | 0.0014703 | -0.0058665 | -0.0014702 | 8.8941e-07 | 1.0049e-07 | 0.0087638 | 0.0087639 | 0.0087639 | 0.99622 | -0.026507 | 0.99606 | -0.027602 | 3.2459
37 | 0.010337 | 0.0025906 | -0.010336 | -0.0025902 | 1.57e-06 | 4.6647e-07 | 0.01544 | 0.01544 | 0.01544 | 0.99622 | -0.026507 | 0.99606 | -0.027604 | 5.7186
38 | 0.002287 | 0.00057309 | -0.0022869 | -0.00057316 | 4.5472e-08 | -6.3769e-08 | 0.0034165 | 0.0034165 | 0.0034165 | 0.99606 | -0.027602 | 0.99604 | -0.027745 | 1.2654
39 | 0.0094127 | 0.0023589 | -0.0094111 | -0.0023584 | 1.5706e-06 | 4.3841e-07 | 0.014062 | 0.014062 | 0.014062 | 0.99606 | -0.027604 | 0.99589 | -0.028809 | 5.208
40 | 0.0083907 | 0.0021027 | -0.0083899 | -0.0021025 | 7.517e-07 | 1.894e-07 | 0.012537 | 0.012537 | 0.012537 | 0.99589 | -0.028809 | 0.9958 | -0.029457 | 4.6433
41 | 0.0070684 | 0.0017713 | -0.0070673 | -0.0017711 | 1.1721e-06 | 2.318e-07 | 0.010562 | 0.010562 | 0.010562 | 0.9958 | -0.029457 | 0.99563 | -0.030655 | 3.912
42 | 0.0037935 | 0.0009506 | -0.0037932 | -0.00095067 | 2.7147e-07 | -7.159e-08 | 0.0056695 | 0.0056696 | 0.0056696 | 0.99563 | -0.030655 | 0.99555 | -0.031172 | 2.0998

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.092158 | 0.022958

## res_load
| p_mw | q_mvar
0 | 0.0010431 | 0.00026142
1 | 0.0024948 | 0.00062526
2 | 0.0013353 | 0.00033465
3 | 0.0029857 | 0.00074829
4 | 0.00080508 | 0.00020177
5 | 0.0013046 | 0.00032697
6 | 0.0051177 | 0.0012826
7 | 0.0090958 | 0.0022796
8 | 0.0037591 | 0.00094211
9 | 0.0011436 | 0.00028662
10 | 0.0016794 | 0.0004209
11 | 0.0021804 | 0.00054647
12 | 0.0014265 | 0.00035751
13 | 0.0025091 | 0.00062884
14 | 0.0023786 | 0.00059613
15 | 0.0017545 | 0.00043973
16 | 0.0017174 | 0.00043042
17 | 0.0017217 | 0.0004315
18 | 0.0013381 | 0.00033537
19 | 0.0016538 | 0.00041448
20 | 0.00097845 | 0.00024522
21 | 0.0012974 | 0.00032517
22 | 0.0011205 | 0.00028082
23 | 0.00080857 | 0.00020265
24 | 0.001462 | 0.00036642
25 | 0.0010153 | 0.00025445
26 | 0.0010059 | 0.00025211
27 | 0.0026118 | 0.00065457
28 | 0.010229 | 0.0025635
29 | 0.0012884 | 0.00032291
30 | 0.0017504 | 0.00043869
31 | 0.0036044 | 0.00090334
32 | 0.0035795 | 0.00089711
33 | 0.00092286 | 0.00023129
34 | 0.0022869 | 0.00057316
35 | 0.0010204 | 0.00025574
36 | 0.0013215 | 0.0003312
37 | 0.0032738 | 0.00082049
38 | 0.0037932 | 0.00095067

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1