## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2117-10_1_3_node_26 | 0.4 | n |  | TRUE
1 | bus_LV_2117-10_1_3_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_2117-10_1_3_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_2117-10_1_3_node_29 | 0.4 | n |  | TRUE
4 | bus_LV_2117-10_1_3_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_2117-10_1_3_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_2117-10_1_3_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2117-10_1_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2117-10_1_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_2117-10_1_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_2117-10_1_3_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_2117-10_1_3_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_2117-10_1_3_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_2117-10_1_3_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_2117-10_1_3_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_2117-10_1_3_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_2117-10_1_3_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_2117-10_1_3_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_2117-10_1_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_2117-10_1_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_2117-10_1_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_2117-10_1_3_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_2117-10_1_3_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_2117-10_1_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_2117-10_1_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_2117-10_1_3_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_2117-10_1_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_2117-10_1_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_2117-10_1_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_2117-10_1_3_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_2117-10_1_3_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_2117-10_1_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2117-10_1_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2117-10_1_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2117-10_1_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2117-10_1_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_2117-10_1_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_2117-10_1_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_2117-10_1_3_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_2117-10_1_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_2117-10_1_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2117-10_1_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_2117-10_1_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_2117-10_1_3_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_2117-10_1_3_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_2117-10_1_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_2117-10_1_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_2117-10_1_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_2117-10_1_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_2117-10_1_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_2117-10_1_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_2117-10_1_3_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_2117-10_1_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2117-10_1_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_2117-10_1_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_2117-10_1_3_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_2117-10_1_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_2117-10_1_3_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_2117-10_1_3_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_2117-10_1_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_2117-10_1_3_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_2117-10_1_3_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_2117-10_1_3_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_2117-10_1_3_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_2117-10_1_3_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_2117-10_1_3_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_2117-10_1_3_node_102 | 0.4 | n |  | TRUE
67 | bus_LV_2117-10_1_3_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_2117-10_1_3_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_2117-10_1_3_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_2117-10_1_3_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_2117-10_1_3_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_2117-10_1_3_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_2117-10_1_3_node_104 | 0.4 | n |  | TRUE
74 | bus_LV_2117-10_1_3_node_105 | 0.4 | n |  | TRUE
75 | bus_LV_2117-10_1_3_node_106 | 0.4 | n |  | TRUE
76 | bus_LV_2117-10_1_3_node_107 | 0.4 | n |  | TRUE
77 | bus_MV_27_2_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2117-10_1_3_load_26 | 0 | 0.0057571 | 0.0014429 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2117-10_1_3_load_30 | 4 | 0.00065504 | 0.00016417 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2117-10_1_3_load_31 | 5 | 0.0021029 | 0.00052705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2117-10_1_3_load_33 | 7 | 0.0042977 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2117-10_1_3_load_34 | 8 | 0.0016682 | 0.00041809 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2117-10_1_3_load_35 | 9 | 0.0014755 | 0.0003698 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2117-10_1_3_load_75 | 10 | 0.0024872 | 0.00062334 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2117-10_1_3_load_88 | 12 | 0.001356 | 0.00033984 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2117-10_1_3_load_90 | 13 | 0.0023423 | 0.00058703 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2117-10_1_3_load_82 | 15 | 0.00037487 | 9.395e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2117-10_1_3_load_89 | 16 | 0.0011429 | 0.00028645 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2117-10_1_3_load_36 | 18 | 0.0038022 | 0.00095293 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2117-10_1_3_load_37 | 19 | 0.0037513 | 0.00094016 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2117-10_1_3_load_38 | 20 | 0.0012755 | 0.00031966 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2117-10_1_3_load_47 | 21 | 0.0055236 | 0.0013843 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2117-10_1_3_load_45 | 22 | 0.0034007 | 0.00085228 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2117-10_1_3_load_39 | 23 | 0.0048266 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2117-10_1_3_load_55 | 25 | 0.0030861 | 0.00077345 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2117-10_1_3_load_50 | 26 | 0.002858 | 0.00071629 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2117-10_1_3_load_56 | 27 | 0.0035394 | 0.00088705 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2117-10_1_3_load_49 | 28 | 0.0030004 | 0.00075197 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2117-10_1_3_load_79 | 29 | 0.0017587 | 0.00044077 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2117-10_1_3_load_41 | 31 | 0.0018963 | 0.00047526 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2117-10_1_3_load_42 | 32 | 0.0062522 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2117-10_1_3_load_43 | 33 | 0.0029132 | 0.00073012 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2117-10_1_3_load_44 | 34 | 0.002666 | 0.00066816 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2117-10_1_3_load_51 | 35 | 0.0031296 | 0.00078434 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2117-10_1_3_load_52 | 36 | 0.0014093 | 0.00035321 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2117-10_1_3_load_46 | 37 | 0.0032429 | 0.00081275 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2117-10_1_3_load_48 | 38 | 0.0043187 | 0.0010824 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2117-10_1_3_load_53 | 39 | 0.0024044 | 0.0006026 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2117-10_1_3_load_54 | 40 | 0.0024289 | 0.00060873 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2117-10_1_3_load_57 | 41 | 0.0019962 | 0.0005003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2117-10_1_3_load_63 | 42 | 0.0018051 | 0.0004524 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2117-10_1_3_load_66 | 44 | 0.0019609 | 0.00049144 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2117-10_1_3_load_58 | 46 | 0.0053786 | 0.001348 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2117-10_1_3_load_59 | 47 | 0.0019159 | 0.00048017 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2117-10_1_3_load_60 | 48 | 0.0023523 | 0.00058953 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2117-10_1_3_load_61 | 49 | 0.001811 | 0.00045387 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2117-10_1_3_load_62 | 50 | 0.0024237 | 0.00060743 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2117-10_1_3_load_70 | 52 | 0.0023087 | 0.00057862 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2117-10_1_3_load_71 | 53 | 0.0042765 | 0.0010718 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2117-10_1_3_load_69 | 54 | 0.0025372 | 0.00063589 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2117-10_1_3_load_72 | 55 | 0.0014151 | 0.00035465 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2117-10_1_3_load_76 | 56 | 0.00080202 | 0.00020101 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2117-10_1_3_load_77 | 57 | 0.0032133 | 0.00080532 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2117-10_1_3_load_73 | 58 | 0.0023129 | 0.00057967 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2117-10_1_3_load_74 | 59 | 0.00070006 | 0.00017545 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2117-10_1_3_load_80 | 60 | 0.0012885 | 0.00032292 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2117-10_1_3_load_84 | 61 | 0.001679 | 0.0004208 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2117-10_1_3_load_85 | 62 | 0.0033694 | 0.00084446 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2117-10_1_3_load_83 | 63 | 0.0016213 | 0.00040635 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2117-10_1_3_load_87 | 64 | 0.0033776 | 0.0008465 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2117-10_1_3_load_86 | 65 | 0.00038792 | 9.7222e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2117-10_1_3_load_102 | 66 | 0.0017935 | 0.0004495 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2117-10_1_3_load_103 | 67 | 0.0019144 | 0.00047979 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2117-10_1_3_load_92 | 68 | 0.00056178 | 0.0001408 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2117-10_1_3_load_93 | 69 | 0.00035519 | 8.9018e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2117-10_1_3_load_94 | 70 | 0.0010692 | 0.00026797 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2117-10_1_3_load_95 | 71 | 0.0012136 | 0.00030416 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2117-10_1_3_load_96 | 72 | 0.001614 | 0.0004045 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2117-10_1_3_load_104 | 73 | 0.00074545 | 0.00018683 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2117-10_1_3_load_105 | 74 | 0.0011236 | 0.00028159 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2117-10_1_3_load_106 | 75 | 0.0005537 | 0.00013877 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2117-10_1_3_load_107 | 76 | 0.00094533 | 0.00023692 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2117-10_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2117-10_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2117-10_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2117-10_1_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.053688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2117-10_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2117-10_1_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.064697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2117-10_1_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.038929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2117-10_1_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.032153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2117-10_1_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.013118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2117-10_1_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.030202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2117-10_1_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.006549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2117-10_1_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.0018452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2117-10_1_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.002526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2117-10_1_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.010769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2117-10_1_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.032072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2117-10_1_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.0041774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2117-10_1_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.014049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2117-10_1_3_line_17 | NAYY 4x150 SE | 14 | 55 | 0.038908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2117-10_1_3_line_18 | NAYY 4x150 SE | 14 | 43 | 0.042914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2117-10_1_3_line_19 | NAYY 4x150 SE | 15 | 63 | 0.0052385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2117-10_1_3_line_20 | NAYY 4x150 SE | 17 | 68 | 0.060052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2117-10_1_3_line_21 | NAYY 4x150 SE | 17 | 69 | 0.027092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2117-10_1_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.037632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2117-10_1_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.016487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2117-10_1_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.051944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2117-10_1_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.015537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2117-10_1_3_line_26 | NAYY 4x150 SE | 22 | 37 | 0.0093217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2117-10_1_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.062237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2117-10_1_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.021033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2117-10_1_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.050215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2117-10_1_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.062448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2117-10_1_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0019839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2117-10_1_3_line_32 | NAYY 4x150 SE | 27 | 43 | 0.024825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2117-10_1_3_line_33 | NAYY 4x150 SE | 28 | 38 | 0.049789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2117-10_1_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.058764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2117-10_1_3_line_35 | NAYY 4x150 SE | 30 | 57 | 0.12062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2117-10_1_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.01856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2117-10_1_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.033469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2117-10_1_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.0058377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2117-10_1_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.016614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2117-10_1_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.0089938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2117-10_1_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.040099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2117-10_1_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.02574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2117-10_1_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.013911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2117-10_1_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.026068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2117-10_1_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.030239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2117-10_1_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.0067836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_2117-10_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.019904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2117-10_1_3_line_48 | NAYY 4x150 SE | 44 | 56 | 0.036242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2117-10_1_3_line_49 | NAYY 4x150 SE | 45 | 54 | 0.023007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2117-10_1_3_line_50 | NAYY 4x150 SE | 45 | 51 | 0.034696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2117-10_1_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.0068791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2117-10_1_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.02009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2117-10_1_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.023574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2117-10_1_3_line_54 | NAYY 4x150 SE | 48 | 50 | 0.020119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2117-10_1_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.016565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2117-10_1_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.017308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2117-10_1_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.030846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2117-10_1_3_line_58 | NAYY 4x150 SE | 52 | 58 | 0.0069576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2117-10_1_3_line_59 | NAYY 4x150 SE | 53 | 59 | 0.0070033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2117-10_1_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.020394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2117-10_1_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.0088294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2117-10_1_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.021383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2117-10_1_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.03095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2117-10_1_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.026206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2117-10_1_3_line_65 | NAYY 4x150 SE | 62 | 65 | 0.011291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2117-10_1_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0015527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2117-10_1_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.017991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2117-10_1_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.020342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2117-10_1_3_line_69 | NAYY 4x150 SE | 67 | 73 | 0.017886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2117-10_1_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.020064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2117-10_1_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.015434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2117-10_1_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.019374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2117-10_1_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0013533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2117-10_1_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.014945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2117-10_1_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.0069765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2117-10_1_3_trafo_63 | 0.25 MVA 20/0.4 kV | 77 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2563612.2562 | 1176585.3575 | 2563616.8128 | 1176591.8888 | 2563624.1464 | 1176598.5151
1 | 2563637.6536 | 1176606.8144 | 2563625.6121 | 1176599.8395 | 2563624.1464 | 1176598.5151
2 | 2563612.2562 | 1176585.3575 | 2563614.827 | 1176575.7702 | 2563620.3897 | 1176568.0323
3 | 2563612.2562 | 1176585.3575 | 2563607.362 | 1176583.6309 | 2563600.8755 | 1176586.494 | 2563578.2426 | 1176603.6185 | 2563567.7669 | 1176611.3606
4 | 2563637.6536 | 1176606.8144 | 2563622.1265 | 1176624.5521
5 | 2563651.2917 | 1176511.8261 | 2563641.4734 | 1176538.6777 | 2563620.3897 | 1176568.0323
6 | 2563620.3897 | 1176568.0323 | 2563618.5713 | 1176558.0715 | 2563614.206 | 1176552.8397 | 2563609.8754 | 1176552.0546 | 2563595.43 | 1176562.0883
7 | 2563537.8523 | 1176622.6684 | 2563542.7467 | 1176621.9221 | 2563553.429 | 1176617.7882 | 2563566.6549 | 1176612.1825 | 2563567.7669 | 1176611.3606
8 | 2563613.6255 | 1176634.5417 | 2563618.5952 | 1176628.5861 | 2563622.1265 | 1176624.5521
9 | 2563651.2917 | 1176511.8261 | 2563654.5845 | 1176502.8125 | 2563660.4195 | 1176483.0497
10 | 2563651.2917 | 1176511.8261 | 2563646.6701 | 1176507.174
11 | 2563595.43 | 1176562.0883 | 2563593.9145 | 1176563.1409
12 | 2563537.8523 | 1176622.6684 | 2563535.3552 | 1176623.0491
13 | 2563663.4661 | 1176472.7206 | 2563661.3318 | 1176479.9595 | 2563660.4195 | 1176483.0497
14 | 2563646.6701 | 1176507.174 | 2563638.7545 | 1176503.7981 | 2563633.2137 | 1176502.5867 | 2563627.4135 | 1176502.7109 | 2563623.2449 | 1176505.9379 | 2563621.2997 | 1176509.0625 | 2563620.0095 | 1176511.8158
15 | 2563590.4836 | 1176565.524 | 2563593.9145 | 1176563.1409
16 | 2563521.4503 | 1176625.0535 | 2563532.7975 | 1176623.4391 | 2563535.3552 | 1176623.0491
17 | 2563663.4661 | 1176472.7206 | 2563635.9209 | 1176445.2414
18 | 2563663.4661 | 1176472.7206 | 2563674.3625 | 1176435.8462 | 2563674.9466 | 1176433.8638 | 2563675.6052 | 1176431.5586
19 | 2563620.0095 | 1176511.8158 | 2563618.1233 | 1176515.8409 | 2563617.6967 | 1176516.5099
20 | 2563521.4503 | 1176625.0535 | 2563515.7617 | 1176632.1697 | 2563505.4438 | 1176633.3777 | 2563471.1524 | 1176627.3283 | 2563465.6693 | 1176625.6573
21 | 2563521.4503 | 1176625.0535 | 2563514.9306 | 1176622.4586 | 2563510.4177 | 1176618.0949 | 2563501.3342 | 1176607.7093
22 | 2563603.1326 | 1176127.9211 | 2563617.9865 | 1176162.4972
23 | 2563617.9865 | 1176162.4972 | 2563624.4943 | 1176177.6459
24 | 2563603.1004 | 1176224.9797 | 2563624.4943 | 1176177.6459
25 | 2563603.1004 | 1176224.9797 | 2563608.9366 | 1176239.3794
26 | 2563608.9366 | 1176239.3794 | 2563612.438 | 1176248.0186
27 | 2563684.139 | 1176325.2844 | 2563668.12 | 1176282.6593 | 2563661.7618 | 1176267.2156
28 | 2563684.139 | 1176325.2844 | 2563686.8317 | 1176346.1445
29 | 2563684.139 | 1176325.2844 | 2563650.4682 | 1176332.337 | 2563644.653 | 1176327.5031 | 2563641.5534 | 1176319.8554
30 | 2563686.8317 | 1176346.1445 | 2563689.681 | 1176368.2177 | 2563685.0724 | 1176398.4393 | 2563682.4281 | 1176407.6898
31 | 2563640.8082 | 1176318.0168 | 2563641.5534 | 1176319.8554
32 | 2563675.6052 | 1176431.5586 | 2563682.4281 | 1176407.6898
33 | 2563622.1063 | 1176271.8733 | 2563640.8082 | 1176318.0168
34 | 2563828.5737 | 1176363.7852 | 2563832.7047 | 1176353.0213 | 2563832.9776 | 1176347.6057 | 2563831.2723 | 1176341.1348 | 2563825.7973 | 1176334.3977 | 2563805.7942 | 1176317.1089
35 | 2563724.8139 | 1176425.3006 | 2563828.5737 | 1176363.7852
36 | 2563562.9081 | 1176235.7463 | 2563571.574 | 1176252.1585
37 | 2563587.2016 | 1176281.7551 | 2563571.574 | 1176252.1585
38 | 2563587.2016 | 1176281.7551 | 2563589.9273 | 1176286.9173
39 | 2563597.6849 | 1176301.6092 | 2563589.9273 | 1176286.9173
40 | 2563597.6849 | 1176301.6092 | 2563601.8843 | 1176309.5624
41 | 2563601.8843 | 1176309.5624 | 2563617.5842 | 1176339.2961 | 2563619.8403 | 1176345.3658
42 | 2563612.438 | 1176248.0186 | 2563622.1063 | 1176271.8733
43 | 2563619.8403 | 1176345.3658 | 2563624.6629 | 1176358.3408 | 2563624.67 | 1176358.4089
44 | 2563624.67 | 1176358.4089 | 2563626.5054 | 1176376.0278 | 2563624.9604 | 1176384.2374
45 | 2563624.9604 | 1176384.2374 | 2563624.1511 | 1176388.5375 | 2563618.8944 | 1176400.1311 | 2563609.8605 | 1176409.6647
46 | 2563605.1945 | 1176414.5887 | 2563609.8605 | 1176409.6647
47 | 2563675.6052 | 1176431.5586 | 2563690.6909 | 1176444.5433
48 | 2563718.6814 | 1176431.6529 | 2563704.41 | 1176446.436 | 2563699.9157 | 1176448.9202 | 2563696.3213 | 1176448.5529 | 2563693.5221 | 1176446.9802 | 2563690.6909 | 1176444.5433
49 | 2563605.1945 | 1176414.5887 | 2563621.4825 | 1176430.8377
50 | 2563605.1945 | 1176414.5887 | 2563578.0104 | 1176436.2432
51 | 2563546.5087 | 1176389.0103 | 2563546.5087 | 1176389.0103 | 2563539.8922 | 1176389.3953 | 2563539.6725 | 1176389.5176
52 | 2563546.5087 | 1176389.0103 | 2563557.6558 | 1176405.724
53 | 2563519.0746 | 1176400.9838 | 2563539.6725 | 1176389.5176
54 | 2563568.8193 | 1176422.4623 | 2563557.6558 | 1176405.724
55 | 2563578.0104 | 1176436.2432 | 2563568.8193 | 1176422.4623
56 | 2563578.0104 | 1176436.2432 | 2563590.0484 | 1176448.6794
57 | 2563578.0104 | 1176436.2432 | 2563554.9184 | 1176456.6939
58 | 2563590.0484 | 1176448.6794 | 2563594.8875 | 1176453.6786
59 | 2563549.6756 | 1176461.3371 | 2563554.9184 | 1176456.6939
60 | 2563621.4825 | 1176430.8377 | 2563635.9209 | 1176445.2414
61 | 2563724.8139 | 1176425.3006 | 2563718.6814 | 1176431.6529
62 | 2563594.8875 | 1176453.6786 | 2563609.7599 | 1176469.0429
63 | 2563549.6756 | 1176461.3371 | 2563526.5059 | 1176481.8566
64 | 2563526.5059 | 1176481.8566 | 2563506.8871 | 1176499.2313
65 | 2563498.4346 | 1176506.717 | 2563506.8871 | 1176499.2313
66 | 2563616.862 | 1176517.8191 | 2563617.6967 | 1176516.5099
67 | 2563484.9662 | 1176518.6449 | 2563498.4346 | 1176506.717
68 | 2563484.9662 | 1176518.6449 | 2563469.7378 | 1176532.1314 | 2563469.7378 | 1176532.1314
69 | 2563469.7378 | 1176532.1314 | 2563481.4671 | 1176545.6339
70 | 2563501.3342 | 1176607.7093 | 2563499.4503 | 1176605.5553 | 2563487.5739 | 1176593.1101
71 | 2563474.9081 | 1176584.2913 | 2563487.5739 | 1176593.1101 | 2563487.5739 | 1176593.1101
72 | 2563474.9081 | 1176584.2913 | 2563462.3603 | 1176575.5548 | 2563459.3314 | 1176572.8144
73 | 2563481.4671 | 1176545.6339 | 2563482.3546 | 1176546.6556
74 | 2563492.1557 | 1176557.9384 | 2563482.3546 | 1176546.6556
75 | 2563496.7308 | 1176563.2052 | 2563492.1557 | 1176557.9384

## bus_geodata
| x | y | coords
0 | 2563624.1464 | 1176598.5151
1 | 2563612.2562 | 1176585.3575
2 | 2563637.6536 | 1176606.8144
3 | 2563620.3897 | 1176568.0323
4 | 2563567.7669 | 1176611.3606
5 | 2563622.1265 | 1176624.5521
6 | 2563651.2917 | 1176511.8261
7 | 2563595.43 | 1176562.0883
8 | 2563537.8523 | 1176622.6684
9 | 2563613.6255 | 1176634.5417
10 | 2563660.4195 | 1176483.0497
11 | 2563646.6701 | 1176507.174
12 | 2563593.9145 | 1176563.1409
13 | 2563535.3552 | 1176623.0491
14 | 2563663.4661 | 1176472.7206
15 | 2563620.0095 | 1176511.8158
16 | 2563590.4836 | 1176565.524
17 | 2563521.4503 | 1176625.0535
18 | 2563603.1326 | 1176127.9211
19 | 2563617.9865 | 1176162.4972
20 | 2563624.4943 | 1176177.6459
21 | 2563603.1004 | 1176224.9797
22 | 2563608.9366 | 1176239.3794
23 | 2563661.7618 | 1176267.2156
24 | 2563684.139 | 1176325.2844
25 | 2563686.8317 | 1176346.1445
26 | 2563641.5534 | 1176319.8554
27 | 2563682.4281 | 1176407.6898
28 | 2563640.8082 | 1176318.0168
29 | 2563805.7942 | 1176317.1089
30 | 2563828.5737 | 1176363.7852
31 | 2563562.9081 | 1176235.7463
32 | 2563571.574 | 1176252.1585
33 | 2563587.2016 | 1176281.7551
34 | 2563589.9273 | 1176286.9173
35 | 2563597.6849 | 1176301.6092
36 | 2563601.8844 | 1176309.5624
37 | 2563612.438 | 1176248.0186
38 | 2563622.1063 | 1176271.8733
39 | 2563619.8403 | 1176345.3658
40 | 2563624.67 | 1176358.4089
41 | 2563624.9604 | 1176384.2374
42 | 2563609.8605 | 1176409.6647
43 | 2563675.6052 | 1176431.5586
44 | 2563690.6909 | 1176444.5433
45 | 2563605.1945 | 1176414.5887
46 | 2563546.5087 | 1176389.0103
47 | 2563539.6725 | 1176389.5176
48 | 2563557.6558 | 1176405.724
49 | 2563519.0746 | 1176400.9838
50 | 2563568.8193 | 1176422.4623
51 | 2563578.0104 | 1176436.2432
52 | 2563590.0484 | 1176448.6794
53 | 2563554.9184 | 1176456.6939
54 | 2563621.4825 | 1176430.8377
55 | 2563635.9209 | 1176445.2414
56 | 2563718.6814 | 1176431.6529
57 | 2563724.8139 | 1176425.3006
58 | 2563594.8875 | 1176453.6786
59 | 2563549.6756 | 1176461.3371
60 | 2563609.7599 | 1176469.0429
61 | 2563526.5059 | 1176481.8566
62 | 2563506.8871 | 1176499.2313
63 | 2563617.6967 | 1176516.5099
64 | 2563616.862 | 1176517.8191
65 | 2563498.4346 | 1176506.717
66 | 2563484.9662 | 1176518.6449
67 | 2563469.7378 | 1176532.1314
68 | 2563465.6693 | 1176625.6573
69 | 2563501.3342 | 1176607.7093
70 | 2563487.5739 | 1176593.1101
71 | 2563474.9081 | 1176584.2913
72 | 2563459.3314 | 1176572.8144
73 | 2563481.4671 | 1176545.6339
74 | 2563482.3546 | 1176546.6556
75 | 2563492.1557 | 1176557.9384
76 | 2563496.7308 | 1176563.2052
77 | 2563605.1945 | 1176414.5887

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98414 | -0.111 | 0.0057571 | 0.0014429
1 | 0.98438 | -0.10929 | 0 | 0
2 | 0.98405 | -0.11159 | 0 | 0
3 | 0.98491 | -0.10551 | 0 | 0
4 | 0.98364 | -0.11454 | 0.00065504 | 0.00016417
5 | 0.98393 | -0.11246 | 0.0021029 | 0.00052705
6 | 0.98731 | -0.088482 | 0 | 0
7 | 0.98452 | -0.10824 | 0.0042977 | 0.0010771
8 | 0.98323 | -0.11748 | 0.0016682 | 0.00041809
9 | 0.9839 | -0.11266 | 0.0014755 | 0.0003698
10 | 0.98866 | -0.078898 | 0.0024872 | 0.00062334
11 | 0.98726 | -0.088842 | 0 | 0
12 | 0.98452 | -0.10829 | 0.001356 | 0.00033984
13 | 0.9832 | -0.11766 | 0.0023423 | 0.00058703
14 | 0.98918 | -0.075214 | 0 | 0
15 | 0.98701 | -0.090608 | 0.00037487 | 9.395e-05
16 | 0.98451 | -0.10834 | 0.0011429 | 0.00028645
17 | 0.9831 | -0.11836 | 0 | 0
18 | 0.97318 | -0.18888 | 0.0038022 | 0.00095293
19 | 0.97339 | -0.18738 | 0.0037513 | 0.00094016
20 | 0.97357 | -0.18606 | 0.0012755 | 0.00031966
21 | 0.97424 | -0.18123 | 0.0055236 | 0.0013843
22 | 0.97457 | -0.17889 | 0.0034007 | 0.00085228
23 | 0.97938 | -0.14449 | 0.0048266 | 0.0012097
24 | 0.97982 | -0.14136 | 0 | 0
25 | 0.98092 | -0.13349 | 0.0030861 | 0.00077345
26 | 0.97753 | -0.15769 | 0.002858 | 0.00071629
27 | 0.98449 | -0.10825 | 0.0035394 | 0.00088705
28 | 0.97745 | -0.15827 | 0.0030004 | 0.00075197
29 | 0.98499 | -0.10481 | 0.0017587 | 0.00044077
30 | 0.98514 | -0.10375 | 0 | 0
31 | 0.99552 | -0.03143 | 0.0018963 | 0.00047526
32 | 0.99557 | -0.031076 | 0.0062522 | 0.001567
33 | 0.99596 | -0.028329 | 0.0029132 | 0.00073012
34 | 0.99605 | -0.027679 | 0.002666 | 0.00066816
35 | 0.99638 | -0.025385 | 0.0031296 | 0.00078434
36 | 0.99659 | -0.02386 | 0.0014093 | 0.00035321
37 | 0.97481 | -0.17715 | 0.0032429 | 0.00081275
38 | 0.9756 | -0.17147 | 0.0043187 | 0.0010824
39 | 0.99764 | -0.016503 | 0.0024044 | 0.0006026
40 | 0.99805 | -0.013619 | 0.0024289 | 0.00060873
41 | 0.99891 | -0.0075874 | 0.0019962 | 0.0005003
42 | 1 | 0 | -0.1528 | -0.038317
43 | 0.98603 | -0.097357 | 0 | 0
44 | 0.98581 | -0.098942 | 0.0019609 | 0.00049144
45 | 0.99939 | -0.0042417 | 0 | 0
46 | 0.99662 | -0.023664 | 0.0053786 | 0.001348
47 | 0.99658 | -0.023922 | 0.0019159 | 0.00048017
48 | 0.99688 | -0.021826 | 0.0023523 | 0.00058953
49 | 0.99652 | -0.024351 | 0.001811 | 0.00045387
50 | 0.99721 | -0.01951 | 0.0024237 | 0.00060743
51 | 0.99754 | -0.017202 | 0 | 0
52 | 0.99739 | -0.018229 | 0.0023087 | 0.00057862
53 | 0.99676 | -0.022622 | 0.0042765 | 0.0010718
54 | 0.99645 | -0.024512 | 0.0025372 | 0.00063589
55 | 0.99393 | -0.042057 | 0.0014151 | 0.00035465
56 | 0.98551 | -0.1011 | 0.00080202 | 0.00020101
57 | 0.98545 | -0.10155 | 0.0032133 | 0.00080532
58 | 0.99735 | -0.01848 | 0.0023129 | 0.00057967
59 | 0.99663 | -0.023553 | 0.00070006 | 0.00017545
60 | 0.99731 | -0.018757 | 0.0012885 | 0.00032292
61 | 0.99608 | -0.02745 | 0.001679 | 0.0004208
62 | 0.99567 | -0.03031 | 0.0033694 | 0.00084446
63 | 0.98697 | -0.090877 | 0.0016213 | 0.00040635
64 | 0.98696 | -0.09093 | 0.0033776 | 0.0008465
65 | 0.99555 | -0.031159 | 0.00038792 | 9.7222e-05
66 | 0.99537 | -0.032442 | 0.0017935 | 0.0004495
67 | 0.99521 | -0.033526 | 0.0019144 | 0.00047979
68 | 0.98305 | -0.11871 | 0.00056178 | 0.0001408
69 | 0.98294 | -0.11956 | 0.00035519 | 8.9018e-05
70 | 0.98282 | -0.12036 | 0.0010692 | 0.00026797
71 | 0.98276 | -0.12082 | 0.0012136 | 0.00030416
72 | 0.98271 | -0.12114 | 0.001614 | 0.0004045
73 | 0.99513 | -0.034134 | 0.00074545 | 0.00018683
74 | 0.99512 | -0.034169 | 0.0011236 | 0.00028159
75 | 0.99509 | -0.034395 | 0.0005537 | 0.00013877
76 | 0.99508 | -0.034462 | 0.00094533 | 0.00023692
77 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0093363 | -0.0023393 | 0.0093386 | 0.00234 | 2.2192e-06 | 6.2672e-07 | 0.014116 | 0.014116 | 0.014116 | 0.98414 | -0.111 | 0.98438 | -0.10929 | 5.2283
1 | 0.0035792 | 0.00089648 | -0.003579 | -0.00089657 | 2.904e-07 | -9.0208e-08 | 0.0054116 | 0.0054117 | 0.0054117 | 0.98414 | -0.111 | 0.98405 | -0.11159 | 2.0043
2 | -0.01883 | -0.0047174 | 0.01884 | 0.004721 | 9.8322e-06 | 3.5342e-06 | 0.028464 | 0.028464 | 0.028464 | 0.98438 | -0.10929 | 0.98491 | -0.10551 | 10.5422
3 | 0.0094919 | 0.0023775 | -0.009485 | -0.0023755 | 6.8965e-06 | 1.9705e-06 | 0.014348 | 0.014348 | 0.014348 | 0.98438 | -0.10929 | 0.98364 | -0.11454 | 5.314
4 | 0.003579 | 0.00089657 | -0.0035785 | -0.0008967 | 4.3081e-07 | -1.3375e-07 | 0.0054117 | 0.0054118 | 0.0054118 | 0.98405 | -0.11159 | 0.98393 | -0.11246 | 2.0044
5 | -0.025639 | -0.0064248 | 0.0257 | 0.0064473 | 6.0576e-05 | 2.2473e-05 | 0.038736 | 0.038736 | 0.038736 | 0.98491 | -0.10551 | 0.98731 | -0.088482 | 14.3467
6 | 0.0067992 | 0.0017038 | -0.0067967 | -0.0017033 | 2.5633e-06 | 4.9066e-07 | 0.010272 | 0.010272 | 0.010272 | 0.98491 | -0.10551 | 0.98452 | -0.10824 | 3.8046
7 | 0.0088299 | 0.0022113 | -0.0088263 | -0.0022104 | 3.5795e-06 | 9.6878e-07 | 0.013357 | 0.013357 | 0.013357 | 0.98364 | -0.11454 | 0.98323 | -0.11748 | 4.9471
8 | 0.0014756 | 0.00036965 | -0.0014755 | -0.0003698 | 4.0762e-08 | -1.5093e-07 | 0.0022315 | 0.0022315 | 0.0022315 | 0.98393 | -0.11246 | 0.9839 | -0.11266 | 0.8265
9 | -0.031076 | -0.0077942 | 0.031117 | 0.0078097 | 4.1344e-05 | 1.5515e-05 | 0.046838 | 0.046837 | 0.046838 | 0.98731 | -0.088482 | 0.98866 | -0.078898 | 17.3473
10 | 0.0053756 | 0.0013469 | -0.0053753 | -0.0013469 | 2.6823e-07 | 1.9419e-08 | 0.0081017 | 0.0081017 | 0.0081017 | 0.98731 | -0.088482 | 0.98726 | -0.088842 | 3.0006
11 | 0.002499 | 0.00062623 | -0.0024989 | -0.00062624 | 1.6425e-08 | -1.7147e-08 | 0.0037769 | 0.0037769 | 0.0037769 | 0.98452 | -0.10824 | 0.98452 | -0.10829 | 1.3989
12 | 0.0071582 | 0.0017923 | -0.007158 | -0.0017922 | 1.8496e-07 | 3.9102e-08 | 0.010833 | 0.010833 | 0.010833 | 0.98323 | -0.11748 | 0.9832 | -0.11766 | 4.0121
13 | -0.033604 | -0.008433 | 0.033621 | 0.0084395 | 1.7192e-05 | 6.4742e-06 | 0.050581 | 0.050581 | 0.050581 | 0.98866 | -0.078898 | 0.98918 | -0.075214 | 18.7336
14 | 0.0053753 | 0.0013469 | -0.005374 | -0.0013468 | 1.3136e-06 | 9.5236e-08 | 0.0081017 | 0.0081018 | 0.0081018 | 0.98726 | -0.088842 | 0.98701 | -0.090608 | 3.0007
15 | 0.001143 | 0.0002864 | -0.0011429 | -0.00028645 | 7.7788e-09 | -5.0129e-08 | 0.0017275 | 0.0017275 | 0.0017275 | 0.98452 | -0.10829 | 0.98451 | -0.10834 | 0.63981
16 | 0.0048157 | 0.0012052 | -0.0048152 | -0.0012052 | 4.6558e-07 | 9.1932e-10 | 0.0072876 | 0.0072877 | 0.0072877 | 0.9832 | -0.11766 | 0.9831 | -0.11836 | 2.6991
17 | -0.084542 | -0.021267 | 0.084935 | 0.021418 | 0.00039284 | 0.00015059 | 0.1272 | 0.1272 | 0.1272 | 0.98918 | -0.075214 | 0.99393 | -0.042057 | 47.1123
18 | 0.05092 | 0.012828 | -0.050763 | -0.012768 | 0.00015722 | 5.9919e-05 | 0.076622 | 0.076623 | 0.076623 | 0.98918 | -0.075214 | 0.98603 | -0.097357 | 28.3788
19 | 0.0049991 | 0.0012528 | -0.004999 | -0.0012528 | 1.8568e-07 | 4.4651e-09 | 0.0075367 | 0.0075367 | 0.0075367 | 0.98701 | -0.090608 | 0.98697 | -0.090877 | 2.7914
20 | 0.00056181 | 0.00014004 | -0.00056178 | -0.0001408 | 2.7087e-08 | -7.5098e-07 | 0.00085008 | 0.00085035 | 0.00085035 | 0.9831 | -0.11836 | 0.98305 | -0.11871 | 0.31494
21 | 0.0042534 | 0.0010652 | -0.0042527 | -0.0010652 | 7.0063e-07 | -7.3991e-08 | 0.0064376 | 0.0064377 | 0.0064377 | 0.9831 | -0.11836 | 0.98294 | -0.11956 | 2.3843
22 | -0.0038022 | -0.00095293 | 0.003803 | 0.00095277 | 7.9366e-07 | -1.6242e-07 | 0.0058137 | 0.0058135 | 0.0058137 | 0.97318 | -0.18888 | 0.97339 | -0.18738 | 2.1532
23 | -0.0075543 | -0.0018929 | 0.0075557 | 0.0018933 | 1.372e-06 | 3.2271e-07 | 0.011548 | 0.011548 | 0.011548 | 0.97339 | -0.18738 | 0.97357 | -0.18606 | 4.2771
24 | -0.0088311 | -0.0022129 | 0.0088371 | 0.0022145 | 5.905e-06 | 1.6248e-06 | 0.013497 | 0.013497 | 0.013497 | 0.97357 | -0.18606 | 0.97424 | -0.18123 | 4.9991
25 | -0.014361 | -0.0035989 | 0.014365 | 0.0036005 | 4.6643e-06 | 1.6004e-06 | 0.021934 | 0.021934 | 0.021934 | 0.97424 | -0.18123 | 0.97457 | -0.17889 | 8.1236
26 | -0.017766 | -0.0044528 | 0.01777 | 0.0044543 | 4.28e-06 | 1.53e-06 | 0.027126 | 0.027126 | 0.027126 | 0.97457 | -0.17889 | 0.97481 | -0.17715 | 10.0466
27 | -0.0048266 | -0.0012097 | 0.0048287 | 0.0012097 | 2.0884e-06 | 1.969e-08 | 0.0073332 | 0.007333 | 0.0073332 | 0.97938 | -0.14449 | 0.97982 | -0.14136 | 2.716
28 | -0.036155 | -0.0090781 | 0.036195 | 0.0090931 | 3.9578e-05 | 1.4957e-05 | 0.054914 | 0.054913 | 0.054914 | 0.97982 | -0.14136 | 0.98092 | -0.13349 | 20.3384
29 | 0.031326 | 0.0078685 | -0.031256 | -0.0078418 | 7.0939e-05 | 2.6653e-05 | 0.047581 | 0.047581 | 0.047581 | 0.97982 | -0.14136 | 0.97753 | -0.15769 | 17.6225
30 | -0.039281 | -0.0098665 | 0.039419 | 0.009919 | 0.0001384 | 5.2438e-05 | 0.059595 | 0.059595 | 0.059595 | 0.98092 | -0.13349 | 0.98449 | -0.10825 | 22.0722
31 | 0.028397 | 0.0071255 | -0.028395 | -0.0071246 | 2.3136e-06 | 8.6496e-07 | 0.04323 | 0.04323 | 0.04323 | 0.97753 | -0.15769 | 0.97745 | -0.15827 | 16.0112
32 | -0.042959 | -0.010806 | 0.043024 | 0.010831 | 6.5336e-05 | 2.4813e-05 | 0.064944 | 0.064944 | 0.064944 | 0.98449 | -0.10825 | 0.98603 | -0.097357 | 24.0534
33 | 0.025395 | 0.0063727 | -0.025348 | -0.0063554 | 4.6442e-05 | 1.7239e-05 | 0.038663 | 0.038663 | 0.038663 | 0.97745 | -0.15827 | 0.9756 | -0.17147 | 14.3196
34 | -0.0017587 | -0.00044077 | 0.0017589 | 0.00044012 | 2.5881e-07 | -6.4854e-07 | 0.0026568 | 0.0026566 | 0.0026568 | 0.98499 | -0.10481 | 0.98514 | -0.10375 | 0.98401
35 | -0.0017589 | -0.00044012 | 0.0017595 | 0.00043879 | 5.3109e-07 | -1.332e-06 | 0.0026566 | 0.002656 | 0.0026566 | 0.98514 | -0.10375 | 0.98545 | -0.10155 | 0.98391
36 | -0.0018963 | -0.00047526 | 0.0018964 | 0.00047505 | 9.3041e-08 | -2.0554e-07 | 0.0028344 | 0.0028344 | 0.0028344 | 0.99552 | -0.03143 | 0.99557 | -0.031076 | 1.0498
37 | -0.0081486 | -0.002042 | 0.0081517 | 0.0020428 | 3.0979e-06 | 7.5611e-07 | 0.012179 | 0.012179 | 0.012179 | 0.99557 | -0.031076 | 0.99596 | -0.028329 | 4.5108
38 | -0.011065 | -0.0027729 | 0.011066 | 0.0027732 | 9.9552e-07 | 3.0692e-07 | 0.016532 | 0.016532 | 0.016532 | 0.99596 | -0.028329 | 0.99605 | -0.027679 | 6.1228
39 | -0.013732 | -0.0034414 | 0.013736 | 0.0034428 | 4.3629e-06 | 1.4617e-06 | 0.020514 | 0.020514 | 0.020514 | 0.99605 | -0.027679 | 0.99638 | -0.025385 | 7.5979
40 | -0.016866 | -0.0042272 | 0.016869 | 0.0042284 | 3.5605e-06 | 1.2523e-06 | 0.025188 | 0.025188 | 0.025188 | 0.99638 | -0.025385 | 0.99659 | -0.02386 | 9.3289
41 | -0.018279 | -0.0045816 | 0.018297 | 0.0045883 | 1.8638e-05 | 6.6454e-06 | 0.027292 | 0.027292 | 0.027292 | 0.99659 | -0.02386 | 0.99764 | -0.016503 | 10.1082
42 | -0.021013 | -0.005267 | 0.02103 | 0.0052731 | 1.6525e-05 | 6.0347e-06 | 0.032076 | 0.032076 | 0.032076 | 0.97481 | -0.17715 | 0.9756 | -0.17147 | 11.88
43 | -0.020702 | -0.0051909 | 0.02071 | 0.0051939 | 8.2764e-06 | 3.0015e-06 | 0.030878 | 0.030878 | 0.030878 | 0.99764 | -0.016503 | 0.99805 | -0.013619 | 11.4364
44 | -0.023139 | -0.0058026 | 0.023158 | 0.0058097 | 1.9361e-05 | 7.1054e-06 | 0.034499 | 0.034499 | 0.034499 | 0.99805 | -0.013619 | 0.99891 | -0.0075874 | 12.7776
45 | -0.025155 | -0.00631 | 0.025181 | 0.0063198 | 2.6497e-05 | 9.7947e-06 | 0.037473 | 0.037473 | 0.037473 | 0.99891 | -0.0075874 | 1 | 0 | 13.8789
46 | 0.12682 | 0.031997 | -0.12674 | -0.031968 | 7.5429e-05 | 2.8833e-05 | 0.18878 | 0.18878 | 0.18878 | 1 | 0 | 0.99939 | -0.0042417 | 34.9596
47 | 0.0077394 | 0.0019372 | -0.0077377 | -0.0019368 | 1.694e-06 | 3.977e-07 | 0.011679 | 0.011679 | 0.011679 | 0.98603 | -0.097357 | 0.98581 | -0.098942 | 4.3254
48 | 0.0057768 | 0.0014453 | -0.0057751 | -0.0014451 | 1.7192e-06 | 1.9929e-07 | 0.0087188 | 0.008719 | 0.008719 | 0.98581 | -0.098942 | 0.98551 | -0.1011 | 3.2292
49 | 0.089354 | 0.022588 | -0.0891 | -0.02249 | 0.00025437 | 9.7535e-05 | 0.13311 | 0.13311 | 0.13311 | 0.99939 | -0.0042417 | 0.99645 | -0.024512 | 49.3001
50 | 0.037388 | 0.0093802 | -0.037321 | -0.0093549 | 6.7102e-05 | 2.5355e-05 | 0.055672 | 0.055672 | 0.055672 | 0.99939 | -0.0042417 | 0.99754 | -0.017202 | 20.6193
51 | 0.0037271 | 0.00093374 | -0.003727 | -0.00093378 | 1.3293e-07 | -3.8511e-08 | 0.0055647 | 0.0055648 | 0.0055648 | 0.99662 | -0.023664 | 0.99658 | -0.023922 | 2.061
52 | -0.0091057 | -0.0022817 | 0.009108 | 0.0022824 | 2.3171e-06 | 6.2932e-07 | 0.013595 | 0.013595 | 0.013595 | 0.99662 | -0.023664 | 0.99688 | -0.021826 | 5.0353
53 | 0.0018111 | 0.00045361 | -0.001811 | -0.00045387 | 1.0757e-07 | -2.6578e-07 | 0.0027041 | 0.0027042 | 0.0027042 | 0.99658 | -0.023922 | 0.99652 | -0.024351 | 1.0015
54 | -0.01146 | -0.0028719 | 0.011464 | 0.002873 | 3.6738e-06 | 1.1506e-06 | 0.017106 | 0.017106 | 0.017106 | 0.99688 | -0.021826 | 0.99721 | -0.01951 | 6.3357
55 | -0.013888 | -0.0034805 | 0.013892 | 0.003482 | 4.4388e-06 | 1.4911e-06 | 0.020723 | 0.020723 | 0.020723 | 0.99721 | -0.01951 | 0.99754 | -0.017202 | 7.6751
56 | 0.0059111 | 0.001481 | -0.0059103 | -0.0014809 | 8.3969e-07 | 9.7036e-08 | 0.0088174 | 0.0088174 | 0.0088174 | 0.99754 | -0.017202 | 0.99739 | -0.018229 | 3.2657
57 | 0.017518 | 0.0043919 | -0.017505 | -0.0043873 | 1.3144e-05 | 4.653e-06 | 0.026132 | 0.026132 | 0.026132 | 0.99754 | -0.017202 | 0.99676 | -0.022622 | 9.6786
58 | 0.0036015 | 0.00090229 | -0.0036014 | -0.00090233 | 1.2534e-07 | -4.2592e-08 | 0.0053731 | 0.0053731 | 0.0053731 | 0.99739 | -0.018229 | 0.99735 | -0.01848 | 1.99
59 | 0.013228 | 0.0033155 | -0.013227 | -0.0033149 | 1.7043e-06 | 5.6421e-07 | 0.019748 | 0.019748 | 0.019748 | 0.99676 | -0.022622 | 0.99663 | -0.023553 | 7.3141
60 | 0.086563 | 0.021854 | -0.08635 | -0.021773 | 0.00021283 | 8.1594e-05 | 0.12932 | 0.12932 | 0.12932 | 0.99645 | -0.024512 | 0.99393 | -0.042057 | 47.8969
61 | 0.004973 | 0.0012441 | -0.0049727 | -0.0012441 | 3.1057e-07 | 6.9561e-09 | 0.007508 | 0.007508 | 0.007508 | 0.98551 | -0.1011 | 0.98545 | -0.10155 | 2.7808
62 | 0.0012885 | 0.00032266 | -0.0012885 | -0.00032292 | 4.931e-08 | -2.6008e-07 | 0.0019223 | 0.0019224 | 0.0019224 | 0.99735 | -0.01848 | 0.99731 | -0.018757 | 0.712
63 | 0.012527 | 0.0031395 | -0.01252 | -0.0031373 | 6.7555e-06 | 2.1952e-06 | 0.018703 | 0.018703 | 0.018703 | 0.99663 | -0.023553 | 0.99608 | -0.02745 | 6.927
64 | 0.010841 | 0.0027165 | -0.010837 | -0.0027152 | 4.2889e-06 | 1.3086e-06 | 0.016195 | 0.016195 | 0.016195 | 0.99608 | -0.02745 | 0.99567 | -0.03031 | 5.9981
65 | 0.0074671 | 0.0018707 | -0.0074663 | -0.0018705 | 8.7737e-07 | 1.9062e-07 | 0.011159 | 0.011159 | 0.011159 | 0.99567 | -0.03031 | 0.99555 | -0.031159 | 4.1331
66 | 0.0033776 | 0.00084649 | -0.0033776 | -0.0008465 | 2.5124e-08 | -1.0179e-08 | 0.0050923 | 0.0050923 | 0.0050923 | 0.98697 | -0.090877 | 0.98696 | -0.09093 | 1.886
67 | 0.0070783 | 0.0017733 | -0.0070771 | -0.001773 | 1.2565e-06 | 2.4939e-07 | 0.01058 | 0.01058 | 0.01058 | 0.99555 | -0.031159 | 0.99537 | -0.032442 | 3.9184
68 | 0.0052836 | 0.0013235 | -0.0052828 | -0.0013235 | 7.9188e-07 | 4.0205e-08 | 0.0078984 | 0.0078985 | 0.0078985 | 0.99537 | -0.032442 | 0.99521 | -0.033526 | 2.9254
69 | 0.0033684 | 0.00084371 | -0.0033681 | -0.00084384 | 2.8307e-07 | -1.2351e-07 | 0.0050362 | 0.0050363 | 0.0050363 | 0.99521 | -0.033526 | 0.99513 | -0.034134 | 1.8653
70 | 0.0038975 | 0.00097621 | -0.0038971 | -0.00097629 | 4.3584e-07 | -8.6663e-08 | 0.0059 | 0.0059001 | 0.0059001 | 0.98294 | -0.11956 | 0.98282 | -0.12036 | 2.1852
71 | 0.0028279 | 0.00070832 | -0.0028277 | -0.00070845 | 1.7653e-07 | -1.2767e-07 | 0.0042813 | 0.0042814 | 0.0042814 | 0.98282 | -0.12036 | 0.98276 | -0.12082 | 1.5857
72 | 0.0016141 | 0.00040428 | -0.001614 | -0.0004045 | 7.2202e-08 | -2.1771e-07 | 0.0024438 | 0.0024439 | 0.0024439 | 0.98276 | -0.12082 | 0.98271 | -0.12114 | 0.90514
73 | 0.0026227 | 0.00065701 | -0.0026227 | -0.00065702 | 1.2987e-08 | -1.2587e-08 | 0.0039216 | 0.0039216 | 0.0039216 | 0.99513 | -0.034134 | 0.99512 | -0.034169 | 1.4524
74 | 0.0014991 | 0.00037543 | -0.001499 | -0.00037561 | 4.6858e-08 | -1.7614e-07 | 0.0022415 | 0.0022416 | 0.0022416 | 0.99512 | -0.034169 | 0.99509 | -0.034395 | 0.83021
75 | 0.00094534 | 0.00023683 | -0.00094533 | -0.00023692 | 8.6991e-09 | -8.7283e-08 | 0.0014136 | 0.0014136 | 0.0014136 | 0.99509 | -0.034395 | 0.99508 | -0.034462 | 0.52356

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1546 | 0.038769

## res_load
| p_mw | q_mvar
0 | 0.0057571 | 0.0014429
1 | 0.00065504 | 0.00016417
2 | 0.0021029 | 0.00052705
3 | 0.0042977 | 0.0010771
4 | 0.0016682 | 0.00041809
5 | 0.0014755 | 0.0003698
6 | 0.0024872 | 0.00062334
7 | 0.001356 | 0.00033984
8 | 0.0023423 | 0.00058703
9 | 0.00037487 | 9.395e-05
10 | 0.0011429 | 0.00028645
11 | 0.0038022 | 0.00095293
12 | 0.0037513 | 0.00094016
13 | 0.0012755 | 0.00031966
14 | 0.0055236 | 0.0013843
15 | 0.0034007 | 0.00085228
16 | 0.0048266 | 0.0012097
17 | 0.0030861 | 0.00077345
18 | 0.002858 | 0.00071629
19 | 0.0035394 | 0.00088705
20 | 0.0030004 | 0.00075197
21 | 0.0017587 | 0.00044077
22 | 0.0018963 | 0.00047526
23 | 0.0062522 | 0.001567
24 | 0.0029132 | 0.00073012
25 | 0.002666 | 0.00066816
26 | 0.0031296 | 0.00078434
27 | 0.0014093 | 0.00035321
28 | 0.0032429 | 0.00081275
29 | 0.0043187 | 0.0010824
30 | 0.0024044 | 0.0006026
31 | 0.0024289 | 0.00060873
32 | 0.0019962 | 0.0005003
33 | 0.0018051 | 0.0004524
34 | 0.0019609 | 0.00049144
35 | 0.0053786 | 0.001348
36 | 0.0019159 | 0.00048017
37 | 0.0023523 | 0.00058953
38 | 0.001811 | 0.00045387
39 | 0.0024237 | 0.00060743
40 | 0.0023087 | 0.00057862
41 | 0.0042765 | 0.0010718
42 | 0.0025372 | 0.00063589
43 | 0.0014151 | 0.00035465
44 | 0.00080202 | 0.00020101
45 | 0.0032133 | 0.00080532
46 | 0.0023129 | 0.00057967
47 | 0.00070006 | 0.00017545
48 | 0.0012885 | 0.00032292
49 | 0.001679 | 0.0004208
50 | 0.0033694 | 0.00084446
51 | 0.0016213 | 0.00040635
52 | 0.0033776 | 0.0008465
53 | 0.00038792 | 9.7222e-05
54 | 0.0017935 | 0.0004495
55 | 0.0019144 | 0.00047979
56 | 0.00056178 | 0.0001408
57 | 0.00035519 | 8.9018e-05
58 | 0.0010692 | 0.00026797
59 | 0.0012136 | 0.00030416
60 | 0.001614 | 0.0004045
61 | 0.00074545 | 0.00018683
62 | 0.0011236 | 0.00028159
63 | 0.0005537 | 0.00013877
64 | 0.00094533 | 0.00023692

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1