## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2117-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2117-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2117-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2117-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2117-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2117-6_0_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2117-6_0_2_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2117-6_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2117-6_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2117-6_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2117-6_0_2_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2117-6_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2117-6_0_2_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2117-6_0_2_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_2117-6_0_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2117-6_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2117-6_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2117-6_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2117-6_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2117-6_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_2117-6_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2117-6_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2117-6_0_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_2117-6_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_2117-6_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2117-6_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2117-6_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2117-6_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2117-6_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2117-6_0_2_node_30 | 0.4 | n |  | TRUE
30 | bus_MV_27_2_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2117-6_0_2_load_0 | 0 | 0.0089113 | 0.0022334 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2117-6_0_2_load_1 | 1 | 0.024984 | 0.0062617 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2117-6_0_2_load_14 | 5 | 0.061029 | 0.015295 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2117-6_0_2_load_5 | 7 | 0.016897 | 0.0042349 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2117-6_0_2_load_6 | 8 | 0.0057097 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2117-6_0_2_load_7 | 9 | 0.033831 | 0.0084789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2117-6_0_2_load_19 | 10 | 0.0024818 | 0.00062199 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2117-6_0_2_load_8 | 11 | 0.0218 | 0.0054636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2117-6_0_2_load_17 | 12 | 0.0020814 | 0.00052165 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2117-6_0_2_load_16 | 14 | 0.0011145 | 0.00027931 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2117-6_0_2_load_10 | 15 | 0.00089086 | 0.00022327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2117-6_0_2_load_15 | 18 | 0.0018217 | 0.00045656 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2117-6_0_2_load_20 | 19 | 0.0019177 | 0.00048062 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2117-6_0_2_load_21 | 20 | 0.00036135 | 9.0562e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2117-6_0_2_load_22 | 21 | 0.0027095 | 0.00067906 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2117-6_0_2_load_29 | 22 | 0.0016986 | 0.00042571 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2117-6_0_2_load_23 | 23 | 0.00096847 | 0.00024272 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2117-6_0_2_load_27 | 24 | 0.0010434 | 0.00026149 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2117-6_0_2_load_24 | 25 | 0.00080624 | 0.00020206 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2117-6_0_2_load_25 | 26 | 0.0031764 | 0.00079607 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2117-6_0_2_load_26 | 27 | 0.0011333 | 0.00028404 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2117-6_0_2_load_28 | 28 | 0.0019923 | 0.00049933 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2117-6_0_2_load_30 | 29 | 0.00063703 | 0.00015966 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2117-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2117-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2117-6_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0051791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2117-6_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.039799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2117-6_0_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.012137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2117-6_0_2_line_5 | NAYY 4x150 SE | 3 | 8 | 0.043839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2117-6_0_2_line_6 | NAYY 4x150 SE | 4 | 9 | 0.071794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2117-6_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.01418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2117-6_0_2_line_8 | NAYY 4x150 SE | 6 | 15 | 0.015039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2117-6_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.026313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2117-6_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.012748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2117-6_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.055374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2117-6_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.0077886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2117-6_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.028489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2117-6_0_2_line_14 | NAYY 4x150 SE | 13 | 19 | 0.02662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2117-6_0_2_line_15 | NAYY 4x150 SE | 13 | 20 | 0.012566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2117-6_0_2_line_16 | NAYY 4x150 SE | 14 | 18 | 0.020932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2117-6_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0076322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2117-6_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.055869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2117-6_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.024255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2117-6_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0027988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2117-6_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.017833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2117-6_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.046458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2117-6_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.0028949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2117-6_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.019878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2117-6_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.037656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2117-6_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0052263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2117-6_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.023025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2117-6_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.021325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2117-6_0_2_trafo_5 | 0.25 MVA 20/0.4 kV | 30 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2563281.9625 | 1174523.755 | 2563260.0908 | 1174506.1764
1 | 2563298.704 | 1174537.2104 | 2563281.9625 | 1174523.755
2 | 2563256.054 | 1174502.932 | 2563260.0908 | 1174506.1764
3 | 2563325.3038 | 1174507.543 | 2563298.704 | 1174537.2104
4 | 2563256.054 | 1174502.932 | 2563246.5932 | 1174495.3291
5 | 2563256.054 | 1174502.932 | 2563228.2482 | 1174535.3641 | 2563227.5097 | 1174536.2044
6 | 2563325.3038 | 1174507.543 | 2563309.4784 | 1174492.6878 | 2563289.8893 | 1174471.2522 | 2563274.3332 | 1174457.0695
7 | 2563189.8813 | 1174456.681 | 2563179.8127 | 1174466.6926
8 | 2563179.8127 | 1174466.6926 | 2563173.7588 | 1174460.7045 | 2563167.7741 | 1174458.1071
9 | 2563208.1805 | 1174552.9856 | 2563214.5746 | 1174550.923 | 2563227.5097 | 1174536.2044
10 | 2563274.3332 | 1174457.0695 | 2563266.4164 | 1174449.8517 | 2563265.761 | 1174447.9251
11 | 2563155.5589 | 1174570.228 | 2563208.1805 | 1174552.9856
12 | 2563158.4225 | 1174577.4711 | 2563155.5589 | 1174570.228
13 | 2563155.5589 | 1174570.228 | 2563151.425 | 1174559.7716 | 2563145.8301 | 1174543.4593
14 | 2563158.4225 | 1174577.4711 | 2563146.9141 | 1174582.0777 | 2563134.496 | 1174589.0134
15 | 2563158.4225 | 1174577.4711 | 2563163.7577 | 1174588.8487
16 | 2563139.0389 | 1174523.6593 | 2563145.8301 | 1174543.4593
17 | 2563162.199 | 1174453.2718 | 2563164.8433 | 1174456.8351 | 2563167.7741 | 1174458.1071
18 | 2563162.199 | 1174453.2718 | 2563158.7479 | 1174455.2607 | 2563155.2303 | 1174458.8843 | 2563133.2141 | 1174500.2637
19 | 2563133.2141 | 1174500.2637 | 2563134.1886 | 1174509.5181 | 2563139.0389 | 1174523.6593
20 | 2563134.496 | 1174589.0134 | 2563132.0525 | 1174590.3781
21 | 2563171.329 | 1174604.995 | 2563171.329 | 1174604.995 | 2563163.7577 | 1174588.8487
22 | 2563132.0525 | 1174590.3781 | 2563106.4797 | 1174604.6608 | 2563091.3515 | 1174612.7762
23 | 2563173.0425 | 1174607.3283 | 2563171.329 | 1174604.995
24 | 2563073.4358 | 1174621.3822 | 2563089.6241 | 1174613.7028 | 2563091.3515 | 1174612.7762
25 | 2563195.3311 | 1174637.679 | 2563173.0425 | 1174607.3283
26 | 2563195.3311 | 1174637.679 | 2563198.4246 | 1174641.8914
27 | 2563198.4246 | 1174641.8914 | 2563210.9653 | 1174658.9683 | 2563211.9595 | 1174660.5145
28 | 2563211.9595 | 1174660.5145 | 2563223.4927 | 1174678.4513

## bus_geodata
| x | y | coords
0 | 2563281.9625 | 1174523.755
1 | 2563260.0908 | 1174506.1764
2 | 2563298.704 | 1174537.2104
3 | 2563256.054 | 1174502.932
4 | 2563325.3038 | 1174507.543
5 | 2563189.8813 | 1174456.681
6 | 2563179.8127 | 1174466.6926
7 | 2563246.5932 | 1174495.3291
8 | 2563227.5097 | 1174536.2044
9 | 2563274.3332 | 1174457.0695
10 | 2563208.1805 | 1174552.9856
11 | 2563265.761 | 1174447.9251
12 | 2563155.5589 | 1174570.228
13 | 2563158.4225 | 1174577.4711
14 | 2563145.8301 | 1174543.4593
15 | 2563167.7741 | 1174458.1071
16 | 2563162.199 | 1174453.2718
17 | 2563133.2141 | 1174500.2637
18 | 2563139.0389 | 1174523.6593
19 | 2563134.496 | 1174589.0134
20 | 2563163.7577 | 1174588.8487
21 | 2563132.0525 | 1174590.3781
22 | 2563171.329 | 1174604.995
23 | 2563091.3515 | 1174612.7762
24 | 2563173.0425 | 1174607.3283
25 | 2563073.4358 | 1174621.3822
26 | 2563195.3311 | 1174637.679
27 | 2563198.4246 | 1174641.8914
28 | 2563211.9595 | 1174660.5145
29 | 2563223.4927 | 1174678.4513
30 | 2563243.3688 | 1174492.7378

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99512 | -0.033846 | 0.0089113 | 0.0022334
1 | 0.99774 | -0.015637 | 0.024984 | 0.0062617
2 | 0.99339 | -0.045912 | 0 | 0
3 | 0.9984 | -0.01099 | 0 | 0
4 | 0.99018 | -0.068381 | 0 | 0
5 | 0.97013 | -0.20973 | 0.061029 | 0.015295
6 | 0.9714 | -0.20057 | 0 | 0
7 | 1 | 0 | -0.18508 | -0.046602
8 | 0.99547 | -0.031157 | 0.0057097 | 0.001431
9 | 0.9844 | -0.10928 | 0.033831 | 0.0084789
10 | 0.99217 | -0.053999 | 0.0024818 | 0.00062199
11 | 0.98399 | -0.11214 | 0.0218 | 0.0054636
12 | 0.98541 | -0.10115 | 0.0020814 | 0.00052165
13 | 0.98522 | -0.10247 | 0 | 0
14 | 0.98269 | -0.1202 | 0.0011145 | 0.00027931
15 | 0.97275 | -0.19087 | 0.00089086 | 0.00022327
16 | 0.97344 | -0.18589 | 0 | 0
17 | 0.97853 | -0.14964 | 0 | 0
18 | 0.98073 | -0.13402 | 0.0018217 | 0.00045656
19 | 0.98497 | -0.10423 | 0.0019177 | 0.00048062
20 | 0.98504 | -0.10377 | 0.00036135 | 9.0562e-05
21 | 0.98496 | -0.10436 | 0.0027095 | 0.00067906
22 | 0.98479 | -0.10555 | 0.0016986 | 0.00042571
23 | 0.98484 | -0.10521 | 0.00096847 | 0.00024272
24 | 0.98475 | -0.10579 | 0.0010434 | 0.00026149
25 | 0.98481 | -0.10537 | 0.00080624 | 0.00020206
26 | 0.98438 | -0.10848 | 0.0031764 | 0.00079607
27 | 0.98435 | -0.10868 | 0.0011333 | 0.00028404
28 | 0.98426 | -0.10931 | 0.0019923 | 0.00049933
29 | 0.98424 | -0.10945 | 0.00063703 | 0.00015966
30 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.065139 | -0.016403 | 0.065305 | 0.016467 | 0.00016621 | 6.3562e-05 | 0.09743 | 0.09743 | 0.09743 | 0.99512 | -0.033846 | 0.99774 | -0.015637 | 36.0853
1 | 0.056227 | 0.01417 | -0.056132 | -0.014134 | 9.4805e-05 | 3.6185e-05 | 0.084105 | 0.084105 | 0.084105 | 0.99512 | -0.033846 | 0.99339 | -0.045912 | 31.1501
2 | -0.090289 | -0.022728 | 0.090348 | 0.022751 | 5.863e-05 | 2.2482e-05 | 0.13469 | 0.13469 | 0.13469 | 0.99774 | -0.015637 | 0.9984 | -0.01099 | 49.8858
3 | 0.056132 | 0.014134 | -0.055957 | -0.014067 | 0.00017567 | 6.7053e-05 | 0.084105 | 0.084105 | 0.084105 | 0.99339 | -0.045912 | 0.99018 | -0.068381 | 31.1501
4 | -0.184 | -0.046493 | 0.18428 | 0.046602 | 0.00028505 | 0.00010932 | 0.27436 | 0.27436 | 0.27436 | 0.9984 | -0.01099 | 1 | 0 | 50.8077
5 | 0.093649 | 0.023742 | -0.093383 | -0.02364 | 0.00026682 | 0.00010148 | 0.13967 | 0.13967 | 0.13967 | 0.9984 | -0.01099 | 0.99547 | -0.031157 | 25.8649
6 | 0.055957 | 0.014067 | -0.05564 | -0.013946 | 0.0003169 | 0.00012097 | 0.084105 | 0.084106 | 0.084106 | 0.99018 | -0.068381 | 0.9844 | -0.10928 | 31.1503
7 | -0.061029 | -0.015295 | 0.061106 | 0.015325 | 7.7533e-05 | 2.9645e-05 | 0.093608 | 0.093608 | 0.093608 | 0.97013 | -0.20973 | 0.9714 | -0.20057 | 34.6696
8 | -0.061106 | -0.015325 | 0.061188 | 0.015356 | 8.223e-05 | 3.1441e-05 | 0.093608 | 0.093608 | 0.093608 | 0.9714 | -0.20057 | 0.97275 | -0.19087 | 34.6696
9 | 0.087673 | 0.022209 | -0.08739 | -0.022101 | 0.00028236 | 0.00010826 | 0.13114 | 0.13114 | 0.13114 | 0.99547 | -0.031157 | 0.99217 | -0.053999 | 48.5689
10 | 0.021809 | 0.0054668 | -0.0218 | -0.0054636 | 8.6453e-06 | 3.1631e-06 | 0.032966 | 0.032967 | 0.032967 | 0.9844 | -0.10928 | 0.98399 | -0.11214 | 12.2098
11 | 0.084909 | 0.021479 | -0.084348 | -0.021264 | 0.00056096 | 0.00021504 | 0.12741 | 0.12741 | 0.12741 | 0.99217 | -0.053999 | 0.98541 | -0.10115 | 47.1904
12 | 0.016456 | 0.0041232 | -0.016453 | -0.0041221 | 3.0012e-06 | 1.0551e-06 | 0.02485 | 0.02485 | 0.02485 | 0.98541 | -0.10115 | 0.98522 | -0.10247 | 9.2036
13 | 0.06581 | 0.016619 | -0.065634 | -0.016552 | 0.00017572 | 6.7223e-05 | 0.099421 | 0.099422 | 0.099422 | 0.98541 | -0.10115 | 0.98269 | -0.1202 | 36.8228
14 | 0.0064037 | 0.001604 | -0.0064022 | -0.0016037 | 1.5537e-06 | 2.5869e-07 | 0.0096715 | 0.0096716 | 0.0096716 | 0.98522 | -0.10247 | 0.98497 | -0.10423 | 3.5821
15 | 0.01005 | 0.0025182 | -0.010048 | -0.0025176 | 1.8065e-06 | 5.3483e-07 | 0.015178 | 0.015178 | 0.015178 | 0.98522 | -0.10247 | 0.98504 | -0.10377 | 5.6216
16 | 0.06452 | 0.016273 | -0.064395 | -0.016225 | 0.00012476 | 4.7722e-05 | 0.097734 | 0.097734 | 0.097734 | 0.98269 | -0.1202 | 0.98073 | -0.13402 | 36.1978
17 | -0.062079 | -0.01558 | 0.062122 | 0.015596 | 4.2955e-05 | 1.6426e-05 | 0.094971 | 0.094971 | 0.094971 | 0.97275 | -0.19087 | 0.97344 | -0.18589 | 35.1743
18 | -0.062122 | -0.015596 | 0.062437 | 0.015716 | 0.00031444 | 0.00012024 | 0.094971 | 0.09497 | 0.094971 | 0.97344 | -0.18589 | 0.97853 | -0.14964 | 35.1743
19 | -0.062437 | -0.015716 | 0.062573 | 0.015768 | 0.00013651 | 5.2199e-05 | 0.09497 | 0.09497 | 0.09497 | 0.97853 | -0.14964 | 0.98073 | -0.13402 | 35.1742
20 | 0.0044845 | 0.0011231 | -0.0044844 | -0.0011231 | 8.0153e-08 | -4.7949e-09 | 0.0067745 | 0.0067745 | 0.0067745 | 0.98497 | -0.10423 | 0.98496 | -0.10436 | 2.5091
21 | 0.0096866 | 0.0024271 | -0.0096842 | -0.0024264 | 2.3826e-06 | 6.8945e-07 | 0.014633 | 0.014633 | 0.014633 | 0.98504 | -0.10377 | 0.98479 | -0.10555 | 5.4195
22 | 0.0017749 | 0.00044403 | -0.0017747 | -0.00044454 | 2.0842e-07 | -5.1107e-07 | 0.0026812 | 0.0026814 | 0.0026814 | 0.98496 | -0.10436 | 0.98484 | -0.10521 | 0.99311
23 | 0.0079856 | 0.0020007 | -0.0079854 | -0.0020006 | 2.63e-07 | 6.4321e-08 | 0.012066 | 0.012066 | 0.012066 | 0.98479 | -0.10555 | 0.98475 | -0.10579 | 4.4689
24 | 0.00080626 | 0.00020182 | -0.00080624 | -0.00020206 | 1.8406e-08 | -2.4585e-07 | 0.0012181 | 0.0012182 | 0.0012182 | 0.98484 | -0.10521 | 0.98481 | -0.10537 | 0.45119
25 | 0.006942 | 0.0017391 | -0.0069394 | -0.0017386 | 2.5854e-06 | 5.155e-07 | 0.010489 | 0.01049 | 0.01049 | 0.98475 | -0.10579 | 0.98438 | -0.10848 | 3.8851
26 | 0.003763 | 0.00094252 | -0.0037629 | -0.00094255 | 1.0552e-07 | -2.5855e-08 | 0.0056881 | 0.0056881 | 0.0056881 | 0.98438 | -0.10848 | 0.98435 | -0.10868 | 2.1067
27 | 0.0026296 | 0.00065851 | -0.0026294 | -0.00065871 | 2.2702e-07 | -2.0535e-07 | 0.0039749 | 0.003975 | 0.003975 | 0.98435 | -0.10868 | 0.98426 | -0.10931 | 1.4722
28 | 0.00063704 | 0.00015939 | -0.00063703 | -0.00015966 | 1.2341e-08 | -2.6628e-07 | 0.00096299 | 0.00096309 | 0.00096309 | 0.98426 | -0.10931 | 0.98424 | -0.10945 | 0.3567

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20198 | 0.050837

## res_load
| p_mw | q_mvar
0 | 0.0089113 | 0.0022334
1 | 0.024984 | 0.0062617
2 | 0.061029 | 0.015295
3 | 0.016897 | 0.0042349
4 | 0.0057097 | 0.001431
5 | 0.033831 | 0.0084789
6 | 0.0024818 | 0.00062199
7 | 0.0218 | 0.0054636
8 | 0.0020814 | 0.00052165
9 | 0.0011145 | 0.00027931
10 | 0.00089086 | 0.00022327
11 | 0.0018217 | 0.00045656
12 | 0.0019177 | 0.00048062
13 | 0.00036135 | 9.0562e-05
14 | 0.0027095 | 0.00067906
15 | 0.0016986 | 0.00042571
16 | 0.00096847 | 0.00024272
17 | 0.0010434 | 0.00026149
18 | 0.00080624 | 0.00020206
19 | 0.0031764 | 0.00079607
20 | 0.0011333 | 0.00028404
21 | 0.0019923 | 0.00049933
22 | 0.00063703 | 0.00015966

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1