## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2117-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2117-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2117-9_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2117-9_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2117-9_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2117-9_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2117-9_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2117-9_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2117-9_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2117-9_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2117-9_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2117-9_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2117-9_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2117-9_0_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_2117-9_0_2_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_2117-9_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2117-9_0_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_2117-9_0_2_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2117-9_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2117-9_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2117-9_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2117-9_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2117-9_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2117-9_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_2117-9_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2117-9_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2117-9_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2117-9_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2117-9_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2117-9_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2117-9_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2117-9_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2117-9_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2117-9_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2117-9_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2117-9_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_2117-9_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2117-9_0_2_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_2117-9_0_2_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_2117-9_0_2_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_2117-9_0_2_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_2117-9_0_2_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_2117-9_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2117-9_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2117-9_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2117-9_0_2_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_2117-9_0_2_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_2117-9_0_2_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_2117-9_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2117-9_0_2_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_2117-9_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2117-9_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2117-9_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2117-9_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2117-9_0_2_node_75 | 0.4 | n |  | TRUE
55 | bus_MV_27_2_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2117-9_0_2_load_0 | 0 | 0.0020901 | 0.00052382 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2117-9_0_2_load_1 | 1 | 0.0071165 | 0.0017836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2117-9_0_2_load_3 | 3 | 0.0017445 | 0.0004372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2117-9_0_2_load_4 | 4 | 0.0023303 | 0.00058404 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2117-9_0_2_load_5 | 5 | 0.00093774 | 0.00023502 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2117-9_0_2_load_6 | 6 | 0.0014379 | 0.00036037 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2117-9_0_2_load_7 | 7 | 0.0021255 | 0.0005327 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2117-9_0_2_load_9 | 9 | 0.0014622 | 0.00036645 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2117-9_0_2_load_12 | 11 | 0.0026093 | 0.00065395 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2117-9_0_2_load_28 | 13 | 0.0024262 | 0.00060805 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2117-9_0_2_load_33 | 14 | 0.0035472 | 0.00088902 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2117-9_0_2_load_13 | 15 | 0.0044843 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2117-9_0_2_load_32 | 17 | 0.00094995 | 0.00023808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2117-9_0_2_load_14 | 18 | 0.00060301 | 0.00015113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2117-9_0_2_load_15 | 19 | 0.00358 | 0.00089724 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2117-9_0_2_load_16 | 20 | 0.0070187 | 0.0017591 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2117-9_0_2_load_17 | 21 | 0.0014083 | 0.00035295 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2117-9_0_2_load_18 | 22 | 0.0014068 | 0.00035257 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2117-9_0_2_load_19 | 23 | 0.0039639 | 0.00099345 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2117-9_0_2_load_20 | 24 | 0.00075072 | 0.00018815 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2117-9_0_2_load_21 | 25 | 0.001999 | 0.00050099 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2117-9_0_2_load_22 | 26 | 0.0019568 | 0.00049041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2117-9_0_2_load_23 | 27 | 0.0019793 | 0.00049607 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2117-9_0_2_load_24 | 28 | 0.0033583 | 0.00084166 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2117-9_0_2_load_25 | 29 | 0.0024062 | 0.00060304 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2117-9_0_2_load_26 | 30 | 0.0052356 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2117-9_0_2_load_27 | 31 | 0.0041376 | 0.001037 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2117-9_0_2_load_30 | 32 | 0.0048859 | 0.0012245 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2117-9_0_2_load_31 | 33 | 0.0015765 | 0.00039511 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2117-9_0_2_load_35 | 35 | 0.0029899 | 0.00074934 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2117-9_0_2_load_36 | 36 | 0.0024022 | 0.00060204 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2117-9_0_2_load_66 | 37 | 0.00059668 | 0.00014954 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2117-9_0_2_load_67 | 38 | 0.0019095 | 0.00047855 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2117-9_0_2_load_68 | 39 | 0.0007366 | 0.00018461 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2117-9_0_2_load_69 | 40 | 0.00055586 | 0.00013931 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2117-9_0_2_load_70 | 41 | 0.00020111 | 5.0402e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2117-9_0_2_load_37 | 42 | 0.0018279 | 0.00045811 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2117-9_0_2_load_39 | 43 | 0.00038461 | 9.6392e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2117-9_0_2_load_40 | 44 | 0.00060059 | 0.00015052 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2117-9_0_2_load_72 | 45 | 0.0017415 | 0.00043646 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2117-9_0_2_load_41 | 48 | 0.0012159 | 0.00030473 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2117-9_0_2_load_42 | 49 | 0.0037715 | 0.00094523 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2117-9_0_2_load_43 | 50 | 0.00023353 | 5.8529e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2117-9_0_2_load_44 | 51 | 0.0016497 | 0.00041344 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2117-9_0_2_load_45 | 52 | 0.00026462 | 6.632e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2117-9_0_2_load_46 | 53 | 0.00083382 | 0.00020898 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2117-9_0_2_load_75 | 54 | 0.00096961 | 0.00024301 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2117-9_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0072408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2117-9_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.048512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2117-9_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2117-9_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.031532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2117-9_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.034558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2117-9_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.024456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2117-9_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.064865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2117-9_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.024606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2117-9_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.04038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2117-9_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.027241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2117-9_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.00534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2117-9_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.037341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2117-9_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.010656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2117-9_0_2_line_13 | NAYY 4x150 SE | 11 | 15 | 0.016075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2117-9_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.010609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2117-9_0_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.049439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2117-9_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.14275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2117-9_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0025031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2117-9_0_2_line_18 | NAYY 4x150 SE | 16 | 32 | 0.056371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2117-9_0_2_line_19 | NAYY 4x150 SE | 17 | 37 | 0.1405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2117-9_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0013628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2117-9_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.025254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2117-9_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0045868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2117-9_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.016268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2117-9_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0061472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2117-9_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.011297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2117-9_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2117-9_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0071242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2117-9_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0081923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2117-9_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.030539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2117-9_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.00094548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2117-9_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.012535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2117-9_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.046612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2117-9_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.019372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2117-9_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.045008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2117-9_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0086177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2117-9_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.030584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2117-9_0_2_line_37 | NAYY 4x150 SE | 35 | 42 | 0.041895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2117-9_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.040972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2117-9_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.020627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2117-9_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.035473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2117-9_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.68462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2117-9_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.022181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2117-9_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.028832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2117-9_0_2_line_44 | NAYY 4x150 SE | 44 | 48 | 0.040516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2117-9_0_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.063665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2117-9_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.27899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2117-9_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.39806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2117-9_0_2_line_48 | NAYY 4x150 SE | 47 | 54 | 0.020113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2117-9_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.1162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2117-9_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0086874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2117-9_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.027831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2117-9_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0072348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2117-9_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.036674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2117-9_0_2_trafo_17 | 0.25 MVA 20/0.4 kV | 55 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2562964.1539 | 1174613.4076 | 2562960.1125 | 1174607.3996
1 | 2562990.7428 | 1174653.6677 | 2562983.4318 | 1174638.4938 | 2562969.9276 | 1174621.991 | 2562964.1539 | 1174613.4076
2 | 2562947.6576 | 1174585.065 | 2562953.7769 | 1174596.6665 | 2562960.1125 | 1174607.3996
3 | 2562990.7428 | 1174653.6677 | 2562963.6473 | 1174667.109 | 2562962.6981 | 1174667.9757
4 | 2562990.7428 | 1174653.6677 | 2563023.1516 | 1174641.6712
5 | 2562962.6981 | 1174667.9757 | 2562948.0171 | 1174681.3799 | 2562944.8898 | 1174684.7204
6 | 2562944.8898 | 1174684.7204 | 2562900.5588 | 1174732.0732
7 | 2562883.7419 | 1174750.0363 | 2562900.5588 | 1174732.0732
8 | 2562883.7419 | 1174750.0363 | 2562865.6435 | 1174741.0216 | 2562848.2331 | 1174730.8561
9 | 2562864.0272 | 1174768.8351 | 2562872.6913 | 1174760.5659 | 2562883.7419 | 1174750.0363
10 | 2562843.6217 | 1174728.1636 | 2562848.2331 | 1174730.8561
11 | 2562864.0272 | 1174768.8351 | 2562881.4278 | 1174787.3702 | 2562890.1612 | 1174779.1895
12 | 2562864.0272 | 1174768.8351 | 2562857.6811 | 1174774.8776 | 2562856.042 | 1174775.8244
13 | 2562843.6217 | 1174728.1636 | 2562834.6525 | 1174722.9267 | 2562829.8878 | 1174719.8186
14 | 2562890.1612 | 1174779.1895 | 2562897.4753 | 1174786.8743
15 | 2562811.9932 | 1174798.0846 | 2562833.5558 | 1174788.8125 | 2562856.042 | 1174775.8244
16 | 2562897.4753 | 1174786.8743 | 2562916.6049 | 1174928.3357
17 | 2562829.8878 | 1174719.8186 | 2562827.7913 | 1174718.451
18 | 2562811.9932 | 1174798.0846 | 2562787.961 | 1174803.6035 | 2562756.8533 | 1174809.7694
19 | 2563026.2574 | 1175016.182 | 2562916.6049 | 1174928.3357
20 | 2562826.6499 | 1174717.7065 | 2562827.7913 | 1174718.451
21 | 2562805.4981 | 1174703.909 | 2562826.6499 | 1174717.7065
22 | 2562805.4981 | 1174703.909 | 2562805.4981 | 1174703.909 | 2562801.9545 | 1174700.9966
23 | 2562789.3867 | 1174690.6674 | 2562801.9545 | 1174700.9966
24 | 2562789.3867 | 1174690.6674 | 2562784.6376 | 1174686.7643
25 | 2562784.6376 | 1174686.7643 | 2562777.5343 | 1174680.9263 | 2562775.8652 | 1174679.6484
26 | 2562764.7488 | 1174671.1373 | 2562775.8652 | 1174679.6484
27 | 2562759.0922 | 1174666.8064 | 2562764.7488 | 1174671.1373
28 | 2562759.0922 | 1174666.8064 | 2562752.6606 | 1174661.8822 | 2562752.586 | 1174661.8282
29 | 2562752.586 | 1174661.8282 | 2562730.5504 | 1174645.8781 | 2562727.9006 | 1174643.8503
30 | 2562727.1498 | 1174643.2757 | 2562727.9006 | 1174643.8503
31 | 2562727.1498 | 1174643.2757 | 2562717.1949 | 1174635.6573
32 | 2562717.1949 | 1174635.6573 | 2562713.1586 | 1174632.5684 | 2562707.3352 | 1174629.2473 | 2562700.9229 | 1174630.8103 | 2562690.2618 | 1174636.3686 | 2562675.8599 | 1174643.7918
33 | 2562737.8407 | 1174813.4842 | 2562750.1495 | 1174811.0982 | 2562756.8533 | 1174809.7694
34 | 2562693.5888 | 1174821.6894 | 2562716.0785 | 1174817.7027 | 2562737.8407 | 1174813.4842
35 | 2562693.5888 | 1174821.6894 | 2562689.4467 | 1174814.5781 | 2562689.1698 | 1174814.3063
36 | 2562693.5888 | 1174821.6894 | 2562688.8708 | 1174822.7527 | 2562673.7118 | 1174829.0394 | 2562666.128 | 1174834.4862
37 | 2562689.1698 | 1174814.3063 | 2562683.2238 | 1174808.4693 | 2562656.2042 | 1174788.5596
38 | 2563026.2574 | 1175016.182 | 2563033.2192 | 1175024.7217 | 2563046.5454 | 1175041.048 | 2563052.3484 | 1175047.769
39 | 2563052.3484 | 1175047.769 | 2563061.7833 | 1175058.6965 | 2563064.6051 | 1175064.2056
40 | 2563074.622 | 1175097.6043 | 2563072.8177 | 1175080.2397 | 2563064.6051 | 1175064.2056
41 | 2563074.622 | 1175097.6043 | 2562745.1411 | 1175697.7238
42 | 2562656.2042 | 1174788.5596 | 2562638.3474 | 1174775.4017
43 | 2562638.3474 | 1174775.4017 | 2562615.1365 | 1174758.2985
44 | 2562615.1365 | 1174758.2985 | 2562592.0419 | 1174741.281 | 2562582.5734 | 1174734.1912
45 | 2562263.0807 | 1174971.6224 | 2562254.3758 | 1174978.0807 | 2562247.3807 | 1174985.3397 | 2562232.8614 | 1175004.4191 | 2562222.8485 | 1175020.294
46 | 2562222.8485 | 1175020.294 | 2561994.4136 | 1174860.1305
47 | 2562582.5734 | 1174734.1912 | 2562263.0807 | 1174971.6224
48 | 2561994.4136 | 1174860.1305 | 2562004.4411 | 1174842.6958
49 | 2562582.5734 | 1174734.1912 | 2562526.8751 | 1174692.4853 | 2562522.5202 | 1174688.0547 | 2562519.2738 | 1174683.6172 | 2562517.0743 | 1174679.1175 | 2562515.8017 | 1174674.8899 | 2562514.8019 | 1174669.0709 | 2562514.4969 | 1174656.9887 | 2562514.5236 | 1174652.7085 | 2562513.6632 | 1174649.6123
50 | 2562513.6632 | 1174649.6123 | 2562513.6632 | 1174649.6123 | 2562512.1531 | 1174646.5312 | 2562509.0155 | 1174642.3142
51 | 2562491.5705 | 1174620.68 | 2562498.1899 | 1174627.7644 | 2562509.0155 | 1174642.3142
52 | 2562491.5705 | 1174620.68 | 2562491.5705 | 1174620.68 | 2562488.1385 | 1174618.3558 | 2562485.3193 | 1174617.0914
53 | 2562451.8567 | 1174602.0835 | 2562485.3193 | 1174617.0914

## bus_geodata
| x | y | coords
0 | 2562964.1539 | 1174613.4076
1 | 2562960.1125 | 1174607.3996
2 | 2562990.7428 | 1174653.6677
3 | 2562947.6576 | 1174585.065
4 | 2562962.6981 | 1174667.9757
5 | 2563023.1516 | 1174641.6712
6 | 2562944.8898 | 1174684.7204
7 | 2562900.5588 | 1174732.0732
8 | 2562883.7419 | 1174750.0363
9 | 2562848.2331 | 1174730.8561
10 | 2562864.0273 | 1174768.8351
11 | 2562843.6217 | 1174728.1636
12 | 2562890.1612 | 1174779.1895
13 | 2562856.042 | 1174775.8244
14 | 2562897.4753 | 1174786.8743
15 | 2562829.8878 | 1174719.8186
16 | 2562811.9932 | 1174798.0846
17 | 2562916.6049 | 1174928.3357
18 | 2562827.7913 | 1174718.451
19 | 2562826.6499 | 1174717.7065
20 | 2562805.4981 | 1174703.909
21 | 2562801.9545 | 1174700.9966
22 | 2562789.3867 | 1174690.6674
23 | 2562784.6376 | 1174686.7643
24 | 2562775.8652 | 1174679.6484
25 | 2562764.7488 | 1174671.1373
26 | 2562759.0922 | 1174666.8064
27 | 2562752.586 | 1174661.8282
28 | 2562727.9006 | 1174643.8503
29 | 2562727.1498 | 1174643.2757
30 | 2562717.1949 | 1174635.6573
31 | 2562675.8599 | 1174643.7918
32 | 2562756.8533 | 1174809.7694
33 | 2562737.8407 | 1174813.4842
34 | 2562693.5888 | 1174821.6894
35 | 2562689.1698 | 1174814.3063
36 | 2562666.128 | 1174834.4862
37 | 2563026.2574 | 1175016.182
38 | 2563052.3484 | 1175047.769
39 | 2563064.6051 | 1175064.2056
40 | 2563074.622 | 1175097.6043
41 | 2562745.1411 | 1175697.7238
42 | 2562656.2042 | 1174788.5596
43 | 2562638.3474 | 1174775.4017
44 | 2562615.1365 | 1174758.2985
45 | 2562222.8485 | 1175020.294
46 | 2562263.0807 | 1174971.6224
47 | 2561994.4136 | 1174860.1305
48 | 2562582.5734 | 1174734.1912
49 | 2562513.6632 | 1174649.6123
50 | 2562509.0155 | 1174642.3142
51 | 2562491.5705 | 1174620.68
52 | 2562485.3193 | 1174617.0914
53 | 2562451.8567 | 1174602.0835
54 | 2562004.4411 | 1174842.6958
55 | 2562883.7419 | 1174750.0363

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98789 | -0.08503 | 0.0020901 | 0.00052382
1 | 0.9878 | -0.085686 | 0.0071165 | 0.0017836
2 | 0.98866 | -0.079598 | 0 | 0
3 | 0.98773 | -0.086143 | 0.0017445 | 0.0004372
4 | 0.9892 | -0.075769 | 0.0023303 | 0.00058404
5 | 0.98861 | -0.07993 | 0.00093774 | 0.00023502
6 | 0.9897 | -0.07222 | 0.0014379 | 0.00036037
7 | 0.99116 | -0.061874 | 0.0021255 | 0.0005327
8 | 0.9918 | -0.057426 | 0 | 0
9 | 0.99495 | -0.035244 | 0.0014622 | 0.00036645
10 | 0.99037 | -0.067529 | 0 | 0
11 | 0.99538 | -0.032243 | 0.0026093 | 0.00065395
12 | 0.98991 | -0.070799 | 0 | 0
13 | 0.98994 | -0.070555 | 0.0024262 | 0.00060805
14 | 0.98978 | -0.071728 | 0.0035472 | 0.00088902
15 | 0.99673 | -0.022801 | 0.0044843 | 0.0011239
16 | 0.98812 | -0.083402 | 0 | 0
17 | 0.98876 | -0.079072 | 0.00094995 | 0.00023808
18 | 0.99695 | -0.02122 | 0.00060301 | 0.00015113
19 | 0.99708 | -0.020352 | 0.00358 | 0.00089724
20 | 0.99951 | -0.0033927 | 0.0070187 | 0.0017591
21 | 1 | 0 | -0.10266 | -0.025604
22 | 0.99937 | -0.0044203 | 0.0014068 | 0.00035257
23 | 0.99914 | -0.0060055 | 0.0039639 | 0.00099345
24 | 0.99879 | -0.0084725 | 0.00075072 | 0.00018815
25 | 0.99837 | -0.011427 | 0.001999 | 0.00050099
26 | 0.99817 | -0.012788 | 0.0019568 | 0.00049041
27 | 0.99797 | -0.014194 | 0.0019793 | 0.00049607
28 | 0.99731 | -0.018832 | 0.0033583 | 0.00084166
29 | 0.9973 | -0.018944 | 0.0024062 | 0.00060304
30 | 0.99713 | -0.020124 | 0.0052356 | 0.0013122
31 | 0.99685 | -0.022061 | 0.0041376 | 0.001037
32 | 0.98605 | -0.098105 | 0.0048859 | 0.0012245
33 | 0.98547 | -0.1022 | 0.0015765 | 0.00039511
34 | 0.98424 | -0.11099 | 0 | 0
35 | 0.98403 | -0.11247 | 0.0029899 | 0.00074934
36 | 0.98413 | -0.11175 | 0.0024022 | 0.00060204
37 | 0.98795 | -0.08493 | 0.00059668 | 0.00014954
38 | 0.98775 | -0.086387 | 0.0019095 | 0.00047855
39 | 0.9877 | -0.086717 | 0.0007366 | 0.00018461
40 | 0.98767 | -0.087016 | 0.00055586 | 0.00013931
41 | 0.98747 | -0.088653 | 0.00020111 | 5.0402e-05
42 | 0.98321 | -0.11834 | 0.0018279 | 0.00045811
43 | 0.98284 | -0.12104 | 0.00038461 | 9.6392e-05
44 | 0.98236 | -0.12443 | 0.00060059 | 0.00015052
45 | 0.97991 | -0.14217 | 0.0017415 | 0.00043646
46 | 0.98017 | -0.14035 | 0 | 0
47 | 0.97952 | -0.14503 | 0 | 0
48 | 0.98173 | -0.12894 | 0.0012159 | 0.00030473
49 | 0.98059 | -0.1371 | 0.0037715 | 0.00094523
50 | 0.98056 | -0.13736 | 0.00023353 | 5.8529e-05
51 | 0.98045 | -0.13816 | 0.0016497 | 0.00041344
52 | 0.98043 | -0.13824 | 0.00026462 | 6.632e-05
53 | 0.98039 | -0.13856 | 0.00083382 | 0.00020898
54 | 0.97949 | -0.14523 | 0.00096961 | 0.00024301
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0088619 | 0.0022207 | -0.0088611 | -0.0022205 | 8.0504e-07 | 2.1693e-07 | 0.013348 | 0.013348 | 0.013348 | 0.98789 | -0.08503 | 0.9878 | -0.085686 | 4.9438
1 | -0.010952 | -0.0027445 | 0.01096 | 0.0027471 | 8.2377e-06 | 2.5467e-06 | 0.016496 | 0.016496 | 0.016496 | 0.98789 | -0.08503 | 0.98866 | -0.079598 | 6.1098
2 | 0.0017446 | 0.00043692 | -0.0017445 | -0.0004372 | 1.1024e-07 | -2.8503e-07 | 0.0026279 | 0.002628 | 0.002628 | 0.9878 | -0.085686 | 0.98773 | -0.086143 | 0.97334
3 | -0.011898 | -0.0029817 | 0.011904 | 0.0029837 | 6.3095e-06 | 2.0222e-06 | 0.017907 | 0.017907 | 0.017907 | 0.98866 | -0.079598 | 0.9892 | -0.075769 | 6.6324
4 | 0.00093778 | 0.00023459 | -0.00093774 | -0.00023502 | 4.2955e-08 | -4.2661e-07 | 0.0014113 | 0.0014115 | 0.0014115 | 0.98866 | -0.079598 | 0.98861 | -0.07993 | 0.52276
5 | -0.014235 | -0.0035677 | 0.014242 | 0.0035701 | 6.9969e-06 | 2.377e-06 | 0.021413 | 0.021413 | 0.021413 | 0.9892 | -0.075769 | 0.9897 | -0.07222 | 7.9307
6 | -0.01568 | -0.0039305 | 0.015702 | 0.0039383 | 2.2495e-05 | 7.817e-06 | 0.023575 | 0.023574 | 0.023575 | 0.9897 | -0.07222 | 0.99116 | -0.061874 | 8.7313
7 | -0.017828 | -0.004471 | 0.017839 | 0.0044749 | 1.1e-05 | 3.9132e-06 | 0.026765 | 0.026765 | 0.026765 | 0.99116 | -0.061874 | 0.9918 | -0.057426 | 9.913
8 | -0.054362 | -0.013631 | 0.05453 | 0.013695 | 0.00016762 | 6.3948e-05 | 0.081563 | 0.081563 | 0.081563 | 0.9918 | -0.057426 | 0.99495 | -0.035244 | 30.2085
9 | 0.036523 | 0.0091563 | -0.036472 | -0.009137 | 5.1043e-05 | 1.9281e-05 | 0.054798 | 0.054798 | 0.054798 | 0.9918 | -0.057426 | 0.99037 | -0.067529 | 20.2955
10 | -0.055992 | -0.014062 | 0.056015 | 0.01407 | 2.3372e-05 | 8.9197e-06 | 0.08375 | 0.08375 | 0.08375 | 0.99495 | -0.035244 | 0.99538 | -0.032243 | 31.0183
11 | 0.0085107 | 0.0021206 | -0.0085069 | -0.0021196 | 3.8074e-06 | 9.8413e-07 | 0.012783 | 0.012783 | 0.012783 | 0.99037 | -0.067529 | 0.98991 | -0.070799 | 4.7345
12 | 0.027962 | 0.0070164 | -0.02795 | -0.007012 | 1.1737e-05 | 4.3774e-06 | 0.042015 | 0.042015 | 0.042015 | 0.99037 | -0.067529 | 0.98994 | -0.070555 | 15.5612
13 | -0.058624 | -0.014724 | 0.058701 | 0.014754 | 7.7062e-05 | 2.943e-05 | 0.08765 | 0.08765 | 0.08765 | 0.99538 | -0.032243 | 0.99673 | -0.022801 | 32.463
14 | 0.0085069 | 0.0021196 | -0.0085058 | -0.0021193 | 1.0818e-06 | 2.7969e-07 | 0.012783 | 0.012783 | 0.012783 | 0.98991 | -0.070799 | 0.98978 | -0.071728 | 4.7345
15 | 0.025524 | 0.006404 | -0.025478 | -0.0063871 | 4.5416e-05 | 1.6833e-05 | 0.038368 | 0.038369 | 0.038369 | 0.98994 | -0.070555 | 0.98812 | -0.083402 | 14.2106
16 | 0.0049586 | 0.0012303 | -0.0049536 | -0.0012302 | 4.9447e-06 | 6.9005e-08 | 0.0074502 | 0.0074509 | 0.0074509 | 0.98978 | -0.071728 | 0.98876 | -0.079072 | 2.7596
17 | -0.063186 | -0.015878 | 0.0632 | 0.015883 | 1.3903e-05 | 5.3146e-06 | 0.094345 | 0.094345 | 0.094345 | 0.99673 | -0.022801 | 0.99695 | -0.02122 | 34.9425
18 | 0.025478 | 0.0063871 | -0.025427 | -0.006368 | 5.1783e-05 | 1.9196e-05 | 0.038369 | 0.038369 | 0.038369 | 0.98812 | -0.083402 | 0.98605 | -0.098105 | 14.2107
19 | 0.0040037 | 0.00099215 | -0.0040005 | -0.00099273 | 3.179e-06 | -5.7791e-07 | 0.0060213 | 0.0060219 | 0.0060219 | 0.98876 | -0.079072 | 0.98795 | -0.08493 | 2.2303
20 | -0.063803 | -0.016034 | 0.06381 | 0.016037 | 7.7141e-06 | 2.9492e-06 | 0.095245 | 0.095245 | 0.095245 | 0.99695 | -0.02122 | 0.99708 | -0.020352 | 35.2758
21 | -0.06739 | -0.016934 | 0.06755 | 0.016995 | 0.00015944 | 6.0994e-05 | 0.10059 | 0.10059 | 0.10059 | 0.99708 | -0.020352 | 0.99951 | -0.0033927 | 37.2546
22 | -0.074569 | -0.018754 | 0.074604 | 0.018768 | 3.5288e-05 | 1.3512e-05 | 0.11104 | 0.11104 | 0.11104 | 0.99951 | -0.0033927 | 1 | 0 | 41.1246
23 | 0.027252 | 0.0068358 | -0.027235 | -0.0068296 | 1.6694e-05 | 6.2077e-06 | 0.040553 | 0.040554 | 0.040554 | 1 | 0 | 0.99937 | -0.0044203 | 15.0198
24 | 0.025829 | 0.006477 | -0.025823 | -0.0064749 | 5.6736e-06 | 2.1016e-06 | 0.038459 | 0.038459 | 0.038459 | 0.99937 | -0.0044203 | 0.99914 | -0.0060055 | 14.2441
25 | 0.021859 | 0.0054814 | -0.021852 | -0.0054787 | 7.4712e-06 | 2.7256e-06 | 0.032556 | 0.032556 | 0.032556 | 0.99914 | -0.0060055 | 0.99879 | -0.0084725 | 12.0576
26 | 0.021101 | 0.0052906 | -0.021092 | -0.0052874 | 8.6341e-06 | 3.1376e-06 | 0.031437 | 0.031437 | 0.031437 | 0.99879 | -0.0084725 | 0.99837 | -0.011427 | 11.6434
27 | 0.019093 | 0.0047864 | -0.01909 | -0.0047851 | 3.6002e-06 | 1.2915e-06 | 0.028458 | 0.028458 | 0.028458 | 0.99837 | -0.011427 | 0.99817 | -0.012788 | 10.54
28 | 0.017133 | 0.0042947 | -0.017129 | -0.0042936 | 3.3347e-06 | 1.1755e-06 | 0.025541 | 0.025541 | 0.025541 | 0.99817 | -0.012788 | 0.99797 | -0.014194 | 9.4596
29 | 0.01515 | 0.0037975 | -0.01514 | -0.0037941 | 9.7244e-06 | 3.3414e-06 | 0.02259 | 0.02259 | 0.02259 | 0.99797 | -0.014194 | 0.99731 | -0.018832 | 8.3666
30 | 0.011782 | 0.0029525 | -0.011782 | -0.0029524 | 1.8232e-07 | 5.7786e-08 | 0.017579 | 0.017579 | 0.017579 | 0.99731 | -0.018832 | 0.9973 | -0.018944 | 6.5108
31 | 0.0093758 | 0.0023494 | -0.0093743 | -0.002349 | 1.5307e-06 | 4.2521e-07 | 0.013989 | 0.013989 | 0.013989 | 0.9973 | -0.018944 | 0.99713 | -0.020124 | 5.1812
32 | 0.0041387 | 0.0010368 | -0.0041376 | -0.001037 | 1.1095e-06 | -1.8112e-07 | 0.006176 | 0.0061762 | 0.0061762 | 0.99713 | -0.020124 | 0.99685 | -0.022061 | 2.2875
33 | 0.020541 | 0.0051434 | -0.020529 | -0.0051392 | 1.1613e-05 | 4.2198e-06 | 0.030996 | 0.030996 | 0.030996 | 0.98605 | -0.098105 | 0.98547 | -0.1022 | 11.4799
34 | 0.018952 | 0.0047441 | -0.018929 | -0.0047358 | 2.2997e-05 | 8.2722e-06 | 0.028615 | 0.028615 | 0.028615 | 0.98547 | -0.1022 | 0.98424 | -0.11099 | 10.5983
35 | 0.016527 | 0.0041341 | -0.016524 | -0.0041329 | 3.3564e-06 | 1.1814e-06 | 0.024983 | 0.024983 | 0.024983 | 0.98424 | -0.11099 | 0.98403 | -0.11247 | 9.2531
36 | 0.0024024 | 0.00060175 | -0.0024022 | -0.00060204 | 2.5176e-07 | -2.9182e-07 | 0.003632 | 0.0036321 | 0.0036321 | 0.98424 | -0.11099 | 0.98413 | -0.11175 | 1.3452
37 | 0.013534 | 0.0033835 | -0.013523 | -0.0033799 | 1.0946e-05 | 3.6782e-06 | 0.020462 | 0.020462 | 0.020462 | 0.98403 | -0.11247 | 0.98321 | -0.11834 | 7.5787
38 | 0.0034038 | 0.00084318 | -0.0034032 | -0.00084345 | 6.7108e-07 | -2.6643e-07 | 0.0051232 | 0.0051234 | 0.0051234 | 0.98795 | -0.08493 | 0.98775 | -0.086387 | 1.8976
39 | 0.0014937 | 0.0003649 | -0.0014936 | -0.00036513 | 6.4982e-08 | -2.3901e-07 | 0.0022469 | 0.002247 | 0.002247 | 0.98775 | -0.086387 | 0.9877 | -0.086717 | 0.83221
40 | 0.00075703 | 0.00018053 | -0.000757 | -0.00018097 | 2.8635e-08 | -4.4298e-07 | 0.0011373 | 0.0011375 | 0.0011375 | 0.9877 | -0.086717 | 0.98767 | -0.087016 | 0.42128
41 | 0.00020115 | 4.1657e-05 | -0.00020111 | -5.0402e-05 | 3.8848e-08 | -8.7448e-06 | 0.00030019 | 0.00030305 | 0.00030305 | 0.98767 | -0.087016 | 0.98747 | -0.088653 | 0.11224
42 | 0.011695 | 0.0029218 | -0.011691 | -0.0029204 | 4.3343e-06 | 1.3858e-06 | 0.017696 | 0.017696 | 0.017696 | 0.98321 | -0.11834 | 0.98284 | -0.12104 | 6.5541
43 | 0.011306 | 0.002824 | -0.011301 | -0.0028223 | 5.2693e-06 | 1.6615e-06 | 0.017114 | 0.017114 | 0.017114 | 0.98284 | -0.12104 | 0.98236 | -0.12443 | 6.3385
44 | 0.0107 | 0.0026718 | -0.010693 | -0.0026698 | 6.6386e-06 | 2.0407e-06 | 0.016204 | 0.016204 | 0.016204 | 0.98236 | -0.12443 | 0.98173 | -0.12894 | 6.0017
45 | -0.0027115 | -0.00067586 | 0.0027122 | 0.00067531 | 6.7303e-07 | -5.4337e-07 | 0.0041162 | 0.0041159 | 0.0041162 | 0.97991 | -0.14217 | 0.98017 | -0.14035 | 1.5245
46 | 0.00097001 | 0.0002394 | -0.00096963 | -0.00024276 | 3.7736e-07 | -3.368e-06 | 0.0014717 | 0.0014729 | 0.0014729 | 0.97991 | -0.14217 | 0.97952 | -0.14503 | 0.54552
47 | -0.0027122 | -0.00067531 | 0.0027164 | 0.00067191 | 4.2059e-06 | -3.4075e-06 | 0.0041159 | 0.0041141 | 0.0041159 | 0.98017 | -0.14035 | 0.98173 | -0.12894 | 1.5244
48 | 0.00096963 | 0.00024276 | -0.00096961 | -0.00024301 | 2.7229e-08 | -2.4269e-07 | 0.0014729 | 0.001473 | 0.001473 | 0.97952 | -0.14503 | 0.97949 | -0.14523 | 0.54555
49 | 0.0067612 | 0.0016931 | -0.0067536 | -0.0016917 | 7.6146e-06 | 1.4611e-06 | 0.010247 | 0.010248 | 0.010248 | 0.98173 | -0.12894 | 0.98059 | -0.1371 | 3.7956
50 | 0.0029821 | 0.00074643 | -0.002982 | -0.0007465 | 1.1099e-07 | -6.6899e-08 | 0.0045249 | 0.0045249 | 0.0045249 | 0.98059 | -0.1371 | 0.98056 | -0.13736 | 1.6759
51 | 0.0027485 | 0.00068797 | -0.0027482 | -0.0006882 | 3.0207e-07 | -2.3484e-07 | 0.0041705 | 0.0041707 | 0.0041707 | 0.98056 | -0.13736 | 0.98045 | -0.13816 | 1.5447
52 | 0.0010985 | 0.00027476 | -0.0010985 | -0.00027485 | 1.2545e-08 | -8.6413e-08 | 0.001667 | 0.001667 | 0.001667 | 0.98045 | -0.13816 | 0.98043 | -0.13824 | 0.61741
53 | 0.00083386 | 0.00020853 | -0.00083382 | -0.00020898 | 3.6648e-08 | -4.4838e-07 | 0.0012654 | 0.0012656 | 0.0012656 | 0.98043 | -0.13824 | 0.98039 | -0.13856 | 0.46873

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10406 | 0.025957

## res_load
| p_mw | q_mvar
0 | 0.0020901 | 0.00052382
1 | 0.0071165 | 0.0017836
2 | 0.0017445 | 0.0004372
3 | 0.0023303 | 0.00058404
4 | 0.00093774 | 0.00023502
5 | 0.0014379 | 0.00036037
6 | 0.0021255 | 0.0005327
7 | 0.0014622 | 0.00036645
8 | 0.0026093 | 0.00065395
9 | 0.0024262 | 0.00060805
10 | 0.0035472 | 0.00088902
11 | 0.0044843 | 0.0011239
12 | 0.00094995 | 0.00023808
13 | 0.00060301 | 0.00015113
14 | 0.00358 | 0.00089724
15 | 0.0070187 | 0.0017591
16 | 0.0014083 | 0.00035295
17 | 0.0014068 | 0.00035257
18 | 0.0039639 | 0.00099345
19 | 0.00075072 | 0.00018815
20 | 0.001999 | 0.00050099
21 | 0.0019568 | 0.00049041
22 | 0.0019793 | 0.00049607
23 | 0.0033583 | 0.00084166
24 | 0.0024062 | 0.00060304
25 | 0.0052356 | 0.0013122
26 | 0.0041376 | 0.001037
27 | 0.0048859 | 0.0012245
28 | 0.0015765 | 0.00039511
29 | 0.0029899 | 0.00074934
30 | 0.0024022 | 0.00060204
31 | 0.00059668 | 0.00014954
32 | 0.0019095 | 0.00047855
33 | 0.0007366 | 0.00018461
34 | 0.00055586 | 0.00013931
35 | 0.00020111 | 5.0402e-05
36 | 0.0018279 | 0.00045811
37 | 0.00038461 | 9.6392e-05
38 | 0.00060059 | 0.00015052
39 | 0.0017415 | 0.00043646
40 | 0.0012159 | 0.00030473
41 | 0.0037715 | 0.00094523
42 | 0.00023353 | 5.8529e-05
43 | 0.0016497 | 0.00041344
44 | 0.00026462 | 6.632e-05
45 | 0.00083382 | 0.00020898
46 | 0.00096961 | 0.00024301

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1