## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2238-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2238-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2238-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2238-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2238-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2238-10_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2238-10_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2238-10_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2238-10_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_2238-10_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2238-10_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2238-10_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_2238-10_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2238-10_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2238-10_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2238-10_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2238-10_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2238-10_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_2238-10_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2238-10_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2238-10_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2238-10_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2238-10_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_2238-10_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2238-10_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2238-10_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2238-10_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2238-10_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2238-10_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_2238-10_0_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_2238-10_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2238-10_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2238-10_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2238-10_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_2238-10_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2238-10_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_2238-10_0_3_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_2238-10_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_2238-10_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_2238-10_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2238-10_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2238-10_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2238-10_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2238-10_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2238-10_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2238-10_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2238-10_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_2238-10_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_2238-10_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_2238-10_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_2238-10_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_2238-10_0_3_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2238-10_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2238-10_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2238-10_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2238-10_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2238-10_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_2238-10_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_MV_27_1_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2238-10_0_3_load_0 | 0 | 0.002363 | 0.00059222 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2238-10_0_3_load_1 | 1 | 0.0027168 | 0.0006809 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2238-10_0_3_load_2 | 2 | 0.0038876 | 0.00097432 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2238-10_0_3_load_3 | 3 | 0.0038063 | 0.00095394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2238-10_0_3_load_7 | 5 | 0.0027401 | 0.00068672 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2238-10_0_3_load_5 | 6 | 0.0026858 | 0.00067313 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2238-10_0_3_load_14 | 7 | 0.004595 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2238-10_0_3_load_15 | 8 | 0.0027843 | 0.00069781 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2238-10_0_3_load_6 | 9 | 0.0025834 | 0.00064747 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2238-10_0_3_load_28 | 10 | 0.0014602 | 0.00036596 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2238-10_0_3_load_8 | 12 | 0.0050954 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2238-10_0_3_load_23 | 13 | 0.0019798 | 0.00049619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2238-10_0_3_load_12 | 14 | 0.0023388 | 0.00058617 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2238-10_0_3_load_27 | 15 | 0.0017426 | 0.00043674 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2238-10_0_3_load_10 | 16 | 0.0030757 | 0.00077084 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2238-10_0_3_load_22 | 17 | 0.0030311 | 0.00075967 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2238-10_0_3_load_9 | 18 | 0.0075378 | 0.0018892 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2238-10_0_3_load_11 | 19 | 0.0038918 | 0.00097538 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2238-10_0_3_load_13 | 20 | 0.0022454 | 0.00056274 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2238-10_0_3_load_29 | 21 | 0.0034528 | 0.00086536 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2238-10_0_3_load_26 | 22 | 0.0022847 | 0.00057261 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2238-10_0_3_load_30 | 23 | 0.0042637 | 0.0010686 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2238-10_0_3_load_21 | 24 | 0.00094462 | 0.00023674 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2238-10_0_3_load_16 | 25 | 0.0031878 | 0.00079894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2238-10_0_3_load_18 | 27 | 0.0030704 | 0.00076951 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2238-10_0_3_load_31 | 28 | 0.0032496 | 0.00081442 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2238-10_0_3_load_41 | 29 | 0.0019484 | 0.00048832 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2238-10_0_3_load_24 | 30 | 0.0035796 | 0.00089713 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2238-10_0_3_load_25 | 31 | 0.0041349 | 0.0010363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2238-10_0_3_load_32 | 32 | 0.0058559 | 0.0014676 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2238-10_0_3_load_45 | 33 | 0.0040188 | 0.0010072 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2238-10_0_3_load_33 | 34 | 0.0036805 | 0.00092241 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2238-10_0_3_load_44 | 35 | 0.0030434 | 0.00076275 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2238-10_0_3_load_46 | 36 | 0.0012358 | 0.00030973 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2238-10_0_3_load_55 | 37 | 0.0041178 | 0.001032 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2238-10_0_3_load_56 | 38 | 0.0051108 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2238-10_0_3_load_40 | 39 | 0.0018246 | 0.00045728 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2238-10_0_3_load_34 | 40 | 0.0026941 | 0.0006752 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2238-10_0_3_load_37 | 43 | 0.0035068 | 0.0008789 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2238-10_0_3_load_38 | 44 | 0.0026403 | 0.00066173 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2238-10_0_3_load_39 | 45 | 0.0020816 | 0.00052169 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2238-10_0_3_load_50 | 46 | 0.003483 | 0.00087292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2238-10_0_3_load_58 | 50 | 0.0072345 | 0.0018131 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2238-10_0_3_load_53 | 51 | 0.00081477 | 0.0002042 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2238-10_0_3_load_48 | 52 | 0.0027969 | 0.00070097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2238-10_0_3_load_42 | 53 | 0.0018987 | 0.00047585 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2238-10_0_3_load_47 | 54 | 0.0026224 | 0.00065722 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2238-10_0_3_load_51 | 55 | 0.0042172 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2238-10_0_3_load_57 | 56 | 0.0054202 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2238-10_0_3_load_54 | 57 | 0.0051739 | 0.0012967 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2238-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0095112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2238-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2238-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2238-10_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.026181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2238-10_0_3_line_4 | NAYY 4x150 SE | 4 | 7 | 0.018085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2238-10_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.016573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2238-10_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.012749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2238-10_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.019983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2238-10_0_3_line_8 | NAYY 4x150 SE | 7 | 10 | 0.017774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2238-10_0_3_line_9 | NAYY 4x150 SE | 8 | 11 | 0.023011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2238-10_0_3_line_10 | NAYY 4x150 SE | 9 | 12 | 0.021525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2238-10_0_3_line_11 | NAYY 4x150 SE | 10 | 22 | 0.0037907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2238-10_0_3_line_12 | NAYY 4x150 SE | 11 | 24 | 0.026184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2238-10_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.024669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2238-10_0_3_line_14 | NAYY 4x150 SE | 13 | 17 | 0.028095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2238-10_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0081796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2238-10_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.013848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2238-10_0_3_line_17 | NAYY 4x150 SE | 15 | 22 | 0.0013423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2238-10_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0062987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2238-10_0_3_line_19 | NAYY 4x150 SE | 17 | 30 | 0.035506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2238-10_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.021526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2238-10_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.025249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2238-10_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.022948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2238-10_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0011774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2238-10_0_3_line_24 | NAYY 4x150 SE | 23 | 32 | 0.034353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2238-10_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.056023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2238-10_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.010752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2238-10_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.01488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2238-10_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.041913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2238-10_0_3_line_29 | NAYY 4x150 SE | 29 | 39 | 0.020691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2238-10_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.023873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2238-10_0_3_line_31 | NAYY 4x150 SE | 31 | 33 | 0.014972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2238-10_0_3_line_32 | NAYY 4x150 SE | 32 | 34 | 0.022406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2238-10_0_3_line_33 | NAYY 4x150 SE | 33 | 36 | 0.0065791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2238-10_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0070034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2238-10_0_3_line_35 | NAYY 4x150 SE | 35 | 37 | 0.025659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2238-10_0_3_line_36 | NAYY 4x150 SE | 36 | 55 | 0.02751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2238-10_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0074475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2238-10_0_3_line_38 | NAYY 4x150 SE | 38 | 56 | 0.021046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2238-10_0_3_line_39 | NAYY 4x150 SE | 39 | 53 | 0.02287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2238-10_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.014834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2238-10_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.036032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2238-10_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.017746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2238-10_0_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.035572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2238-10_0_3_line_44 | NAYY 4x150 SE | 42 | 45 | 0.019661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2238-10_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.013836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2238-10_0_3_line_46 | NAYY 4x150 SE | 44 | 47 | 0.046237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2238-10_0_3_line_47 | NAYY 4x150 SE | 45 | 48 | 0.012857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2238-10_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.053202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2238-10_0_3_line_49 | NAYY 4x150 SE | 47 | 50 | 0.032422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2238-10_0_3_line_50 | NAYY 4x150 SE | 48 | 51 | 0.011028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2238-10_0_3_line_51 | NAYY 4x150 SE | 48 | 52 | 0.014977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2238-10_0_3_line_52 | NAYY 4x150 SE | 49 | 55 | 0.048474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2238-10_0_3_line_53 | NAYY 4x150 SE | 50 | 56 | 0.02733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2238-10_0_3_line_54 | NAYY 4x150 SE | 51 | 57 | 0.0097218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2238-10_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.002035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2238-10_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.030918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2238-10_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 58 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2575861.2078 | 1176906.6859 | 2575857.0706 | 1176898.1216
1 | 2575866.5731 | 1176917.7925 | 2575861.2078 | 1176906.6859
2 | 2575857.0706 | 1176898.1216 | 2575856.0304 | 1176895.9683 | 2575844.862 | 1176890.6074
3 | 2575821.2596 | 1176879.2781 | 2575844.862 | 1176890.6074
4 | 2575821.2596 | 1176879.2781 | 2575816.4194 | 1176861.8528
5 | 2575821.2596 | 1176879.2781 | 2575825.8212 | 1176895.2105
6 | 2575889.5551 | 1176846.3408 | 2575883.4496 | 1176835.1485 | 2575883.4496 | 1176835.1485
7 | 2575875.0373 | 1176817.0533 | 2575876.7393 | 1176819.9233 | 2575880.948 | 1176828.8332 | 2575883.4496 | 1176835.1485
8 | 2575816.4194 | 1176861.8528 | 2575811.6626 | 1176844.7277
9 | 2575831.0438 | 1176917.5915 | 2575828.9882 | 1176906.2718 | 2575825.8212 | 1176895.2105
10 | 2575875.0373 | 1176817.0533 | 2575871.984 | 1176811.9051 | 2575864.3807 | 1176798.3525
11 | 2575810.648 | 1176841.0753 | 2575811.6626 | 1176844.7277
12 | 2575831.0438 | 1176917.5915 | 2575837.4336 | 1176925.3697 | 2575842.3924 | 1176940.7057
13 | 2575859.2738 | 1176775.0553 | 2575858.5097 | 1176785.2013 | 2575860.0987 | 1176790.7199 | 2575864.3807 | 1176798.3525
14 | 2575859.2738 | 1176775.0553 | 2575859.3438 | 1176774.1255 | 2575861.0579 | 1176757.6324 | 2575861.9553 | 1176747.09 | 2575861.9553 | 1176747.09
15 | 2575808.0996 | 1176831.9008 | 2575810.2888 | 1176839.782
16 | 2575808.0996 | 1176831.9008 | 2575804.3935 | 1176818.5582
17 | 2575810.648 | 1176841.0753 | 2575810.2888 | 1176839.782
18 | 2575804.3935 | 1176818.5582 | 2575802.7077 | 1176812.4893
19 | 2575879.0142 | 1176716.4851 | 2575877.8763 | 1176722.98 | 2575873.8973 | 1176729.3215 | 2575864.9152 | 1176741.9976 | 2575861.9553 | 1176747.09
20 | 2575798.147 | 1176791.4943 | 2575799.5913 | 1176801.27 | 2575802.7077 | 1176812.4893
21 | 2575794.4565 | 1176766.5161 | 2575798.147 | 1176791.4943
22 | 2575794.4565 | 1176766.5161 | 2575793.4308 | 1176759.5735 | 2575794.5797 | 1176743.6846
23 | 2575794.5797 | 1176743.6846 | 2575794.6646 | 1176742.5103
24 | 2575794.6646 | 1176742.5103 | 2575795.4571 | 1176731.5509 | 2575799.2154 | 1176708.4905
25 | 2575738.9178 | 1176725.6993 | 2575738.0853 | 1176781.7161
26 | 2575738.9178 | 1176725.6993 | 2575729.01 | 1176721.523
27 | 2575729.01 | 1176721.523 | 2575728.0775 | 1176721.1299 | 2575729.5231 | 1176707.337
28 | 2575729.5231 | 1176707.337 | 2575735.2722 | 1176665.8202
29 | 2575723.1158 | 1176652.6135 | 2575722.7994 | 1176655.9956 | 2575724.4616 | 1176660.6912 | 2575728.4116 | 1176664.1548 | 2575735.2722 | 1176665.8202
30 | 2575884.4609 | 1176693.3518 | 2575883.3059 | 1176695.4439 | 2575880.9616 | 1176705.3696 | 2575879.0142 | 1176716.4851
31 | 2575884.4609 | 1176693.3518 | 2575889.4817 | 1176684.2577 | 2575892.602 | 1176680.8995
32 | 2575799.2154 | 1176708.4905 | 2575799.2154 | 1176708.4905 | 2575806.5162 | 1176687.3074
33 | 2575897.0804 | 1176676.0798 | 2575892.602 | 1176680.8995
34 | 2575806.5162 | 1176687.3074 | 2575808.7982 | 1176680.6863
35 | 2575818.8702 | 1176657.152 | 2575812.7517 | 1176669.2155 | 2575808.7982 | 1176680.6863
36 | 2575915.4673 | 1176655.621 | 2575905.4387 | 1176667.0845 | 2575897.0804 | 1176676.0798
37 | 2575818.8702 | 1176657.152 | 2575822.239 | 1176650.51
38 | 2575832.4611 | 1176632.155 | 2575828.8937 | 1176637.3894 | 2575822.239 | 1176650.51
39 | 2575724.3745 | 1176629.8424 | 2575724.8063 | 1176634.5431 | 2575723.1158 | 1176652.6135
40 | 2575803.2077 | 1176565.8009 | 2575795.7407 | 1176578.619
41 | 2575777.6916 | 1176609.8047 | 2575788.9009 | 1176590.3604 | 2575795.7407 | 1176578.619
42 | 2575803.2077 | 1176565.8009 | 2575810.6258 | 1176553.7758 | 2575812.7414 | 1176550.842
43 | 2575803.2077 | 1176565.8009 | 2575835.8583 | 1176579.919
44 | 2575777.6916 | 1176609.8047 | 2575760.9334 | 1176599.5237
45 | 2575821.0233 | 1176539.7618 | 2575817.0174 | 1176544.912 | 2575812.7414 | 1176550.842
46 | 2575878.2975 | 1176598.2696 | 2575835.8583 | 1176579.919
47 | 2575750.6331 | 1176591.9163 | 2575755.1894 | 1176595.9999 | 2575760.9334 | 1176599.5237
48 | 2575878.2975 | 1176598.2696 | 2575929.643 | 1176612.2032
49 | 2575878.2975 | 1176598.2696 | 2575871.9709 | 1176598.6176 | 2575853.5929 | 1176606.7849 | 2575849.0139 | 1176610.6224
50 | 2575750.6331 | 1176591.9163 | 2575748.6081 | 1176590.1013 | 2575744.5182 | 1176582.8694
51 | 2575750.6331 | 1176591.9163 | 2575738.2035 | 1176600.2724
52 | 2575929.643 | 1176612.2032 | 2575929.0999 | 1176617.7749 | 2575930.6754 | 1176627.5625 | 2575930.4436 | 1176634.5114 | 2575925.1176 | 1176644.2045 | 2575918.9267 | 1176651.6666 | 2575915.4673 | 1176655.621
53 | 2575832.4611 | 1176632.155 | 2575844.6356 | 1176614.2916 | 2575849.0139 | 1176610.6224
54 | 2575739.7325 | 1176574.4071 | 2575744.5182 | 1176582.8694
55 | 2575736.5146 | 1176601.4078 | 2575738.2035 | 1176600.2724
56 | 2575736.5146 | 1176601.4078 | 2575724.3745 | 1176629.8424

## bus_geodata
| x | y | coords
0 | 2575861.2078 | 1176906.6859
1 | 2575857.0706 | 1176898.1216
2 | 2575866.5731 | 1176917.7925
3 | 2575844.862 | 1176890.6074
4 | 2575821.2596 | 1176879.2781
5 | 2575889.5551 | 1176846.3408
6 | 2575883.4496 | 1176835.1485
7 | 2575816.4194 | 1176861.8528
8 | 2575825.8212 | 1176895.2105
9 | 2575875.0373 | 1176817.0533
10 | 2575811.6626 | 1176844.7277
11 | 2575831.0438 | 1176917.5915
12 | 2575864.3807 | 1176798.3525
13 | 2575859.2738 | 1176775.0553
14 | 2575808.0996 | 1176831.9008
15 | 2575810.2888 | 1176839.782
16 | 2575804.3935 | 1176818.5582
17 | 2575861.9553 | 1176747.09
18 | 2575802.7077 | 1176812.4893
19 | 2575798.147 | 1176791.4943
20 | 2575794.4565 | 1176766.5161
21 | 2575794.5797 | 1176743.6846
22 | 2575810.648 | 1176841.0753
23 | 2575794.6646 | 1176742.5103
24 | 2575842.3924 | 1176940.7057
25 | 2575738.0853 | 1176781.7161
26 | 2575738.9178 | 1176725.6993
27 | 2575729.01 | 1176721.523
28 | 2575729.5231 | 1176707.337
29 | 2575735.2722 | 1176665.8202
30 | 2575879.0142 | 1176716.4851
31 | 2575884.4609 | 1176693.3518
32 | 2575799.2154 | 1176708.4905
33 | 2575892.602 | 1176680.8995
34 | 2575806.5162 | 1176687.3074
35 | 2575808.7982 | 1176680.6863
36 | 2575897.0804 | 1176676.0798
37 | 2575818.8702 | 1176657.152
38 | 2575822.239 | 1176650.51
39 | 2575723.1158 | 1176652.6135
40 | 2575795.7407 | 1176578.619
41 | 2575803.2077 | 1176565.8009
42 | 2575777.6916 | 1176609.8047
43 | 2575812.7414 | 1176550.842
44 | 2575835.8583 | 1176579.919
45 | 2575760.9334 | 1176599.5237
46 | 2575821.0233 | 1176539.7618
47 | 2575878.2975 | 1176598.2696
48 | 2575750.6331 | 1176591.9163
49 | 2575929.643 | 1176612.2032
50 | 2575849.0139 | 1176610.6224
51 | 2575744.5182 | 1176582.8694
52 | 2575738.2035 | 1176600.2724
53 | 2575724.3745 | 1176629.8424
54 | 2575736.5146 | 1176601.4078
55 | 2575915.4673 | 1176655.621
56 | 2575832.4611 | 1176632.155
57 | 2575739.7325 | 1176574.4071
58 | 2575878.2975 | 1176598.2696

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9899 | -0.070875 | 0.002363 | 0.00059222
1 | 0.98998 | -0.07027 | 0.0027168 | 0.0006809
2 | 0.98983 | -0.071364 | 0.0038876 | 0.00097432
3 | 0.99018 | -0.06892 | 0.0038063 | 0.00095394
4 | 0.99066 | -0.065516 | 0 | 0
5 | 0.97226 | -0.19502 | 0.0027401 | 0.00068672
6 | 0.97231 | -0.19465 | 0.0026858 | 0.00067313
7 | 0.99109 | -0.06248 | 0.004595 | 0.0011516
8 | 0.99057 | -0.066145 | 0.0027843 | 0.00069781
9 | 0.97247 | -0.1935 | 0.0025834 | 0.00064747
10 | 0.99163 | -0.058669 | 0.0014602 | 0.00036596
11 | 0.99054 | -0.066367 | 0 | 0
12 | 0.97272 | -0.19168 | 0.0050954 | 0.001277
13 | 0.9732 | -0.18827 | 0.0019798 | 0.00049619
14 | 0.99211 | -0.055255 | 0.0023388 | 0.00058617
15 | 0.9918 | -0.057462 | 0.0017426 | 0.00043674
16 | 0.99269 | -0.051194 | 0.0030757 | 0.00077084
17 | 0.97382 | -0.18381 | 0.0030311 | 0.00075967
18 | 0.99298 | -0.049152 | 0.0075378 | 0.0018892
19 | 0.9942 | -0.040544 | 0.0038918 | 0.00097538
20 | 0.99578 | -0.029483 | 0.0022454 | 0.00056274
21 | 0.99728 | -0.018944 | 0.0034528 | 0.00086536
22 | 0.99175 | -0.057801 | 0.0022847 | 0.00057261
23 | 0.99737 | -0.018363 | 0.0042637 | 0.0010686
24 | 0.9905 | -0.066619 | 0.00094462 | 0.00023674
25 | 0.97157 | -0.20002 | 0.0031878 | 0.00079894
26 | 0.97183 | -0.19813 | 0 | 0
27 | 0.97188 | -0.19777 | 0.0030704 | 0.00076951
28 | 0.97202 | -0.19678 | 0.0032496 | 0.00081442
29 | 0.9726 | -0.19257 | 0.0019484 | 0.00048832
30 | 0.97476 | -0.17704 | 0.0035796 | 0.00089713
31 | 0.97552 | -0.1716 | 0.0041349 | 0.0010363
32 | 1 | 0 | -0.16164 | -0.040635
33 | 0.97609 | -0.16755 | 0.0040188 | 0.0010072
34 | 0.99829 | -0.011758 | 0.0036805 | 0.00092241
35 | 0.99726 | -0.018871 | 0.0030434 | 0.00076275
36 | 0.97637 | -0.16549 | 0.0012358 | 0.00030973
37 | 0.99358 | -0.044266 | 0.0041178 | 0.001032
38 | 0.99256 | -0.051361 | 0.0051108 | 0.0012809
39 | 0.97295 | -0.19007 | 0.0018246 | 0.00045728
40 | 0.97743 | -0.15797 | 0.0026941 | 0.0006752
41 | 0.97811 | -0.1531 | 0 | 0
42 | 0.97591 | -0.16878 | 0 | 0
43 | 0.97793 | -0.1544 | 0.0035068 | 0.0008789
44 | 0.9801 | -0.13889 | 0.0026403 | 0.00066173
45 | 0.97509 | -0.1747 | 0.0020816 | 0.00052169
46 | 0.97786 | -0.1549 | 0.003483 | 0.00087292
47 | 0.98288 | -0.11923 | 0 | 0
48 | 0.97459 | -0.17829 | 0 | 0
49 | 0.98013 | -0.13871 | 0 | 0
50 | 0.98649 | -0.093748 | 0.0072345 | 0.0018131
51 | 0.97449 | -0.17899 | 0.00081477 | 0.0002042
52 | 0.97414 | -0.18154 | 0.0027969 | 0.00070097
53 | 0.97339 | -0.18687 | 0.0018987 | 0.00047585
54 | 0.97408 | -0.18192 | 0.0026224 | 0.00065722
55 | 0.97762 | -0.15654 | 0.0042172 | 0.0010569
56 | 0.98983 | -0.070394 | 0.0054202 | 0.0013584
57 | 0.97442 | -0.17952 | 0.0051739 | 0.0012967
58 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0062508 | -0.0015665 | 0.0062513 | 0.0015666 | 5.2399e-07 | 7.9252e-08 | 0.0093962 | 0.0093961 | 0.0093962 | 0.9899 | -0.070875 | 0.98998 | -0.07027 | 3.4801
1 | 0.0038878 | 0.00097426 | -0.0038876 | -0.00097432 | 2.6288e-07 | -5.745e-08 | 0.0058441 | 0.0058442 | 0.0058442 | 0.9899 | -0.070875 | 0.98983 | -0.071364 | 2.1645
2 | -0.0089682 | -0.0022475 | 0.0089699 | 0.0022479 | 1.6758e-06 | 4.5445e-07 | 0.01348 | 0.01348 | 0.01348 | 0.98998 | -0.07027 | 0.99018 | -0.06892 | 4.9925
3 | -0.012776 | -0.0032019 | 0.012782 | 0.0032038 | 6.0221e-06 | 1.9793e-06 | 0.0192 | 0.0192 | 0.0192 | 0.99018 | -0.06892 | 0.99066 | -0.065516 | 7.111
4 | -0.016511 | -0.0041377 | 0.016518 | 0.0041401 | 6.9412e-06 | 2.4367e-06 | 0.024801 | 0.024801 | 0.024801 | 0.99066 | -0.065516 | 0.99109 | -0.06248 | 9.1855
5 | 0.0037293 | 0.00093385 | -0.003729 | -0.00093394 | 3.2446e-07 | -8.8566e-08 | 0.0056013 | 0.0056014 | 0.0056014 | 0.99066 | -0.065516 | 0.99057 | -0.066145 | 2.0746
6 | -0.0027401 | -0.00068672 | 0.0027402 | 0.00068662 | 1.3991e-07 | -1.0431e-07 | 0.0041936 | 0.0041935 | 0.0041936 | 0.97226 | -0.19502 | 0.97231 | -0.19465 | 1.5532
7 | -0.005426 | -0.0013598 | 0.0054269 | 0.0013598 | 8.5983e-07 | 8.2812e-08 | 0.0083039 | 0.0083038 | 0.0083039 | 0.97231 | -0.19465 | 0.97247 | -0.1935 | 3.0755
8 | -0.021113 | -0.0052918 | 0.021125 | 0.0052958 | 1.1145e-05 | 4.0573e-06 | 0.0317 | 0.0317 | 0.0317 | 0.99109 | -0.06248 | 0.99163 | -0.058669 | 11.7406
9 | 0.00094468 | 0.00023613 | -0.00094465 | -0.00023642 | 2.8909e-08 | -2.8509e-07 | 0.0014189 | 0.001419 | 0.001419 | 0.99057 | -0.066145 | 0.99054 | -0.066367 | 0.52555
10 | -0.0080103 | -0.0020073 | 0.0080124 | 0.0020078 | 2.0178e-06 | 5.0896e-07 | 0.012257 | 0.012257 | 0.012257 | 0.97247 | -0.1935 | 0.97272 | -0.19168 | 4.5396
11 | -0.022585 | -0.0056618 | 0.022587 | 0.0056628 | 2.7169e-06 | 9.9604e-07 | 0.033891 | 0.033891 | 0.033891 | 0.99163 | -0.058669 | 0.99175 | -0.057801 | 12.5522
12 | 0.00094465 | 0.00023642 | -0.00094462 | -0.00023674 | 3.2901e-08 | -3.2438e-07 | 0.001419 | 0.0014191 | 0.0014191 | 0.99054 | -0.066367 | 0.9905 | -0.066619 | 0.52559
13 | -0.013108 | -0.0032848 | 0.013114 | 0.0032869 | 6.1891e-06 | 2.074e-06 | 0.020051 | 0.020051 | 0.020051 | 0.97272 | -0.19168 | 0.9732 | -0.18827 | 7.4264
14 | -0.015094 | -0.0037831 | 0.015103 | 0.0037863 | 9.3373e-06 | 3.2419e-06 | 0.023078 | 0.023078 | 0.023078 | 0.9732 | -0.18827 | 0.97382 | -0.18381 | 8.5475
15 | 0.026624 | 0.0066756 | -0.026616 | -0.0066725 | 8.1393e-06 | 3.0249e-06 | 0.039933 | 0.039933 | 0.039933 | 0.99211 | -0.055255 | 0.9918 | -0.057462 | 14.7901
16 | -0.028963 | -0.0072617 | 0.028979 | 0.0072678 | 1.6307e-05 | 6.0929e-06 | 0.043441 | 0.043441 | 0.043441 | 0.99211 | -0.055255 | 0.99269 | -0.051194 | 16.0893
17 | 0.024873 | 0.0062358 | -0.024872 | -0.0062354 | 1.1665e-06 | 4.3132e-07 | 0.037319 | 0.037319 | 0.037319 | 0.9918 | -0.057462 | 0.99175 | -0.057801 | 13.8218
18 | -0.032055 | -0.0080387 | 0.032064 | 0.0080421 | 9.0751e-06 | 3.409e-06 | 0.048051 | 0.048051 | 0.048051 | 0.99269 | -0.051194 | 0.99298 | -0.049152 | 17.7968
19 | -0.018134 | -0.004546 | 0.018151 | 0.0045521 | 1.7012e-05 | 6.1009e-06 | 0.02771 | 0.02771 | 0.02771 | 0.97382 | -0.18381 | 0.97476 | -0.17704 | 10.2629
20 | -0.039602 | -0.0099312 | 0.039649 | 0.0099491 | 4.7309e-05 | 1.7917e-05 | 0.059347 | 0.059347 | 0.059347 | 0.99298 | -0.049152 | 0.9942 | -0.040544 | 21.9804
21 | -0.043541 | -0.010925 | 0.043608 | 0.01095 | 6.692e-05 | 2.541e-05 | 0.065172 | 0.065172 | 0.065172 | 0.9942 | -0.040544 | 0.99578 | -0.029483 | 24.1377
22 | -0.045853 | -0.011513 | 0.04592 | 0.011538 | 6.7245e-05 | 2.5564e-05 | 0.068527 | 0.068527 | 0.068527 | 0.99578 | -0.029483 | 0.99728 | -0.018944 | 25.3804
23 | -0.049373 | -0.012404 | 0.049377 | 0.012405 | 3.9883e-06 | 1.5186e-06 | 0.073679 | 0.073679 | 0.073679 | 0.99728 | -0.018944 | 0.99737 | -0.018363 | 27.2884
24 | -0.053641 | -0.013474 | 0.053778 | 0.013526 | 0.00013733 | 5.2369e-05 | 0.08004 | 0.08004 | 0.08004 | 0.99737 | -0.018363 | 1 | 0 | 29.6445
25 | -0.0031878 | -0.00079894 | 0.0031887 | 0.00079857 | 8.3327e-07 | -3.7348e-07 | 0.0048823 | 0.0048821 | 0.0048823 | 0.97157 | -0.20002 | 0.97183 | -0.19813 | 1.8083
26 | -0.0031887 | -0.00079857 | 0.0031888 | 0.0007985 | 1.5991e-07 | -7.1726e-08 | 0.0048821 | 0.004882 | 0.0048821 | 0.97183 | -0.19813 | 0.97188 | -0.19777 | 1.8082
27 | -0.0062592 | -0.001568 | 0.00626 | 0.0015681 | 8.527e-07 | 1.4354e-07 | 0.009583 | 0.0095829 | 0.009583 | 0.97188 | -0.19777 | 0.97202 | -0.19678 | 3.5493
28 | -0.0095096 | -0.0023826 | 0.0095151 | 0.0023842 | 5.5424e-06 | 1.6119e-06 | 0.014558 | 0.014557 | 0.014558 | 0.97202 | -0.19678 | 0.9726 | -0.19257 | 5.3917
29 | -0.011464 | -0.0028725 | 0.011468 | 0.0028738 | 3.9714e-06 | 1.2706e-06 | 0.017538 | 0.017538 | 0.017538 | 0.9726 | -0.19257 | 0.97295 | -0.19007 | 6.4957
30 | -0.021731 | -0.0054492 | 0.021747 | 0.0054552 | 1.6394e-05 | 6.0077e-06 | 0.033174 | 0.033174 | 0.033174 | 0.97476 | -0.17704 | 0.97552 | -0.1716 | 12.2867
31 | -0.025882 | -0.0064915 | 0.025897 | 0.006497 | 1.4563e-05 | 5.4141e-06 | 0.039481 | 0.039481 | 0.039481 | 0.97552 | -0.1716 | 0.97609 | -0.16755 | 14.6226
32 | 0.10706 | 0.027108 | -0.10688 | -0.027041 | 0.00017762 | 6.773e-05 | 0.1594 | 0.1594 | 0.1594 | 1 | 0 | 0.99829 | -0.011758 | 29.5187
33 | -0.029915 | -0.0075042 | 0.029924 | 0.0075074 | 8.5394e-06 | 3.2021e-06 | 0.045608 | 0.045608 | 0.045608 | 0.97609 | -0.16755 | 0.97637 | -0.16549 | 16.8917
34 | 0.1032 | 0.026118 | -0.1031 | -0.026079 | 0.00010353 | 3.9727e-05 | 0.15392 | 0.15392 | 0.15392 | 0.99829 | -0.011758 | 0.99726 | -0.018871 | 57.0057
35 | 0.10005 | 0.025316 | -0.099695 | -0.025179 | 0.00035726 | 0.00013707 | 0.14937 | 0.14937 | 0.14937 | 0.99726 | -0.018871 | 0.99358 | -0.044266 | 55.3238
36 | -0.03116 | -0.0078171 | 0.031198 | 0.0078316 | 3.8717e-05 | 1.4547e-05 | 0.047491 | 0.047491 | 0.047491 | 0.97637 | -0.16549 | 0.97762 | -0.15654 | 17.5893
37 | 0.095577 | 0.024147 | -0.095482 | -0.02411 | 9.5308e-05 | 3.656e-05 | 0.14321 | 0.14321 | 0.14321 | 0.99358 | -0.044266 | 0.99256 | -0.051361 | 53.0398
38 | 0.090371 | 0.022829 | -0.09013 | -0.022737 | 0.00024128 | 9.2531e-05 | 0.13555 | 0.13555 | 0.13555 | 0.99256 | -0.051361 | 0.98983 | -0.070394 | 50.2021
39 | -0.013292 | -0.003331 | 0.013298 | 0.003333 | 5.8974e-06 | 1.9841e-06 | 0.020329 | 0.020329 | 0.020329 | 0.97295 | -0.19007 | 0.97339 | -0.18687 | 7.5291
40 | -0.031482 | -0.0079022 | 0.031503 | 0.0079102 | 2.1267e-05 | 7.9935e-06 | 0.047932 | 0.047932 | 0.047932 | 0.97743 | -0.15797 | 0.97811 | -0.1531 | 17.7525
41 | 0.028788 | 0.007227 | -0.028745 | -0.0072109 | 4.3194e-05 | 1.6162e-05 | 0.04383 | 0.043831 | 0.043831 | 0.97743 | -0.15797 | 0.97591 | -0.16878 | 16.2335
42 | 0.0069913 | 0.001752 | -0.0069901 | -0.0017517 | 1.2527e-06 | 2.5911e-07 | 0.010636 | 0.010636 | 0.010636 | 0.97811 | -0.1531 | 0.97793 | -0.1544 | 3.9393
43 | -0.038494 | -0.0096622 | 0.038571 | 0.0096911 | 7.614e-05 | 2.8837e-05 | 0.058568 | 0.058568 | 0.058568 | 0.97811 | -0.1531 | 0.9801 | -0.13889 | 21.6917
44 | 0.028745 | 0.0072109 | -0.028721 | -0.0072021 | 2.3569e-05 | 8.8194e-06 | 0.043831 | 0.043831 | 0.043831 | 0.97591 | -0.16878 | 0.97509 | -0.1747 | 16.2336
45 | 0.0034832 | 0.00087284 | -0.003483 | -0.00087292 | 2.4252e-07 | -8.03e-08 | 0.0053 | 0.0053001 | 0.0053001 | 0.97793 | -0.1544 | 0.97786 | -0.1549 | 1.963
46 | -0.041211 | -0.010353 | 0.041324 | 0.010396 | 0.00011298 | 4.2868e-05 | 0.062576 | 0.062576 | 0.062576 | 0.9801 | -0.13889 | 0.98288 | -0.11923 | 23.1763
47 | 0.026639 | 0.0066804 | -0.026626 | -0.0066754 | 1.326e-05 | 4.9396e-06 | 0.040654 | 0.040654 | 0.040654 | 0.97509 | -0.1747 | 0.97459 | -0.17829 | 15.0571
48 | 0.0356 | 0.0089582 | -0.035504 | -0.0089218 | 9.6482e-05 | 3.6436e-05 | 0.053909 | 0.05391 | 0.05391 | 0.98288 | -0.11923 | 0.98013 | -0.13871 | 19.9665
49 | -0.076924 | -0.019354 | 0.077199 | 0.019459 | 0.00027451 | 0.00010517 | 0.11649 | 0.11649 | 0.11649 | 0.98288 | -0.11923 | 0.98649 | -0.093748 | 43.1427
50 | 0.0059897 | 0.001501 | -0.0059891 | -0.0015009 | 5.755e-07 | 8.3944e-08 | 0.0091451 | 0.0091451 | 0.0091451 | 0.97459 | -0.17829 | 0.97449 | -0.17899 | 3.3871
51 | 0.020637 | 0.0051744 | -0.020627 | -0.005171 | 9.2788e-06 | 3.3822e-06 | 0.031509 | 0.031509 | 0.031509 | 0.97459 | -0.17829 | 0.97414 | -0.18154 | 11.67
52 | 0.035504 | 0.0089218 | -0.035416 | -0.0088886 | 8.7908e-05 | 3.3202e-05 | 0.05391 | 0.05391 | 0.05391 | 0.98013 | -0.13871 | 0.97762 | -0.15654 | 19.9666
53 | -0.084433 | -0.021272 | 0.08471 | 0.021378 | 0.00027679 | 0.00010611 | 0.1274 | 0.1274 | 0.1274 | 0.98649 | -0.093748 | 0.98983 | -0.070394 | 47.1843
54 | 0.0051743 | 0.0012967 | -0.0051739 | -0.0012967 | 3.787e-07 | 2.4545e-08 | 0.007901 | 0.007901 | 0.007901 | 0.97449 | -0.17899 | 0.97442 | -0.17952 | 2.9263
55 | 0.01783 | 0.0044701 | -0.017829 | -0.0044697 | 9.4204e-07 | 3.3699e-07 | 0.027237 | 0.027237 | 0.027237 | 0.97414 | -0.18154 | 0.97408 | -0.18192 | 10.0877
56 | -0.015197 | -0.0038089 | 0.015207 | 0.0038125 | 1.0412e-05 | 3.6199e-06 | 0.023231 | 0.023231 | 0.023231 | 0.97339 | -0.18687 | 0.97408 | -0.18192 | 8.6041

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16749 | 0.042102

## res_load
| p_mw | q_mvar
0 | 0.002363 | 0.00059222
1 | 0.0027168 | 0.0006809
2 | 0.0038876 | 0.00097432
3 | 0.0038063 | 0.00095394
4 | 0.0027401 | 0.00068672
5 | 0.0026858 | 0.00067313
6 | 0.004595 | 0.0011516
7 | 0.0027843 | 0.00069781
8 | 0.0025834 | 0.00064747
9 | 0.0014602 | 0.00036596
10 | 0.0050954 | 0.001277
11 | 0.0019798 | 0.00049619
12 | 0.0023388 | 0.00058617
13 | 0.0017426 | 0.00043674
14 | 0.0030757 | 0.00077084
15 | 0.0030311 | 0.00075967
16 | 0.0075378 | 0.0018892
17 | 0.0038918 | 0.00097538
18 | 0.0022454 | 0.00056274
19 | 0.0034528 | 0.00086536
20 | 0.0022847 | 0.00057261
21 | 0.0042637 | 0.0010686
22 | 0.00094462 | 0.00023674
23 | 0.0031878 | 0.00079894
24 | 0.0030704 | 0.00076951
25 | 0.0032496 | 0.00081442
26 | 0.0019484 | 0.00048832
27 | 0.0035796 | 0.00089713
28 | 0.0041349 | 0.0010363
29 | 0.0058559 | 0.0014676
30 | 0.0040188 | 0.0010072
31 | 0.0036805 | 0.00092241
32 | 0.0030434 | 0.00076275
33 | 0.0012358 | 0.00030973
34 | 0.0041178 | 0.001032
35 | 0.0051108 | 0.0012809
36 | 0.0018246 | 0.00045728
37 | 0.0026941 | 0.0006752
38 | 0.0035068 | 0.0008789
39 | 0.0026403 | 0.00066173
40 | 0.0020816 | 0.00052169
41 | 0.003483 | 0.00087292
42 | 0.0072345 | 0.0018131
43 | 0.00081477 | 0.0002042
44 | 0.0027969 | 0.00070097
45 | 0.0018987 | 0.00047585
46 | 0.0026224 | 0.00065722
47 | 0.0042172 | 0.0010569
48 | 0.0054202 | 0.0013584
49 | 0.0051739 | 0.0012967

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1