## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2238-6_1_2_node_56 | 0.4 | n |  | TRUE
1 | bus_LV_2238-6_1_2_node_57 | 0.4 | n |  | TRUE
2 | bus_LV_2238-6_1_2_node_58 | 0.4 | n |  | TRUE
3 | bus_LV_2238-6_1_2_node_59 | 0.4 | n |  | TRUE
4 | bus_LV_2238-6_1_2_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_2238-6_1_2_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_2238-6_1_2_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_2238-6_1_2_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_2238-6_1_2_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_2238-6_1_2_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_2238-6_1_2_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_2238-6_1_2_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_2238-6_1_2_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_2238-6_1_2_node_106 | 0.4 | n |  | TRUE
14 | bus_LV_2238-6_1_2_node_99 | 0.4 | n |  | TRUE
15 | bus_LV_2238-6_1_2_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_2238-6_1_2_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_2238-6_1_2_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_2238-6_1_2_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_2238-6_1_2_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_2238-6_1_2_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_2238-6_1_2_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_2238-6_1_2_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_2238-6_1_2_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_2238-6_1_2_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_2238-6_1_2_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_2238-6_1_2_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_2238-6_1_2_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_2238-6_1_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_2238-6_1_2_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_2238-6_1_2_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_2238-6_1_2_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_2238-6_1_2_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_2238-6_1_2_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_2238-6_1_2_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_2238-6_1_2_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_2238-6_1_2_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_2238-6_1_2_node_112 | 0.4 | n |  | TRUE
38 | bus_LV_2238-6_1_2_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_2238-6_1_2_node_111 | 0.4 | n |  | TRUE
40 | bus_LV_2238-6_1_2_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_2238-6_1_2_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_2238-6_1_2_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_2238-6_1_2_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_2238-6_1_2_node_101 | 0.4 | n |  | TRUE
45 | bus_LV_2238-6_1_2_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_2238-6_1_2_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_2238-6_1_2_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_2238-6_1_2_node_104 | 0.4 | n |  | TRUE
49 | bus_LV_2238-6_1_2_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_2238-6_1_2_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_2238-6_1_2_node_110 | 0.4 | n |  | TRUE
52 | bus_MV_36_2_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2238-6_1_2_load_56 | 0 | 0.0020168 | 0.00050547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2238-6_1_2_load_57 | 1 | 0.001633 | 0.00040926 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2238-6_1_2_load_58 | 2 | 0.0023919 | 0.00059947 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2238-6_1_2_load_60 | 4 | 0.0034989 | 0.0008769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2238-6_1_2_load_89 | 5 | 0.0038253 | 0.0009587 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2238-6_1_2_load_103 | 6 | 0.0044963 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2238-6_1_2_load_61 | 7 | 0.00067924 | 0.00017023 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2238-6_1_2_load_63 | 9 | 0.0011023 | 0.00027627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2238-6_1_2_load_65 | 11 | 0.00066527 | 0.00016673 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2238-6_1_2_load_66 | 12 | 0.00089287 | 0.00022378 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2238-6_1_2_load_106 | 13 | 0.0018765 | 0.00047028 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2238-6_1_2_load_99 | 14 | 0.0038445 | 0.00096353 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2238-6_1_2_load_97 | 15 | 0.0051993 | 0.0013031 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2238-6_1_2_load_70 | 16 | 0.014379 | 0.0036036 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2238-6_1_2_load_67 | 17 | 0.0018324 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2238-6_1_2_load_68 | 18 | 0.0073687 | 0.0018468 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2238-6_1_2_load_82 | 19 | 0.0017374 | 0.00043543 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2238-6_1_2_load_71 | 20 | 0.0022333 | 0.00055973 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2238-6_1_2_load_72 | 21 | 0.0018514 | 0.00046401 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2238-6_1_2_load_73 | 22 | 0.0018078 | 0.00045308 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2238-6_1_2_load_74 | 23 | 0.0016931 | 0.00042434 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2238-6_1_2_load_75 | 24 | 0.0026229 | 0.00065735 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2238-6_1_2_load_79 | 25 | 0.0012909 | 0.00032354 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2238-6_1_2_load_76 | 26 | 0.001023 | 0.00025639 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2238-6_1_2_load_77 | 27 | 0.00092865 | 0.00023274 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2238-6_1_2_load_80 | 29 | 0.0017249 | 0.00043231 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2238-6_1_2_load_81 | 30 | 0.0011741 | 0.00029426 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2238-6_1_2_load_83 | 31 | 0.0056312 | 0.0014113 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2238-6_1_2_load_84 | 32 | 0.00092352 | 0.00023146 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2238-6_1_2_load_85 | 33 | 0.0018581 | 0.00046567 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2238-6_1_2_load_87 | 35 | 0.0019986 | 0.0005009 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2238-6_1_2_load_112 | 37 | 0.00056902 | 0.00014261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2238-6_1_2_load_93 | 38 | 0.0021731 | 0.00054462 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2238-6_1_2_load_92 | 40 | 0.011184 | 0.0028029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2238-6_1_2_load_95 | 42 | 0.0025442 | 0.00063763 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2238-6_1_2_load_96 | 43 | 0.0025811 | 0.00064688 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2238-6_1_2_load_101 | 44 | 0.0034513 | 0.00086499 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2238-6_1_2_load_98 | 45 | 0.0020924 | 0.00052441 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2238-6_1_2_load_102 | 47 | 0.0044725 | 0.0011209 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2238-6_1_2_load_104 | 48 | 0.0034403 | 0.00086222 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2238-6_1_2_load_105 | 49 | 0.0050123 | 0.0012562 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2238-6_1_2_load_109 | 50 | 0.0026982 | 0.00067623 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2238-6_1_2_load_110 | 51 | 0.00040554 | 0.00010164 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2238-6_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2238-6_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2238-6_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2238-6_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2238-6_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.032756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2238-6_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0086091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2238-6_1_2_line_6 | NAYY 4x150 SE | 5 | 40 | 0.027609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2238-6_1_2_line_7 | NAYY 4x150 SE | 6 | 48 | 0.021571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2238-6_1_2_line_8 | NAYY 4x150 SE | 6 | 21 | 0.06566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2238-6_1_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.065011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2238-6_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.0213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2238-6_1_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.025651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2238-6_1_2_line_12 | NAYY 4x150 SE | 8 | 11 | 0.016781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2238-6_1_2_line_13 | NAYY 4x150 SE | 9 | 12 | 0.11504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2238-6_1_2_line_14 | NAYY 4x150 SE | 10 | 13 | 0.038886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2238-6_1_2_line_15 | NAYY 4x150 SE | 10 | 14 | 0.0047368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2238-6_1_2_line_16 | NAYY 4x150 SE | 10 | 15 | 0.053648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2238-6_1_2_line_17 | NAYY 4x150 SE | 11 | 16 | 0.065311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2238-6_1_2_line_18 | NAYY 4x150 SE | 12 | 17 | 0.020849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2238-6_1_2_line_19 | NAYY 4x150 SE | 14 | 45 | 0.029529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2238-6_1_2_line_20 | NAYY 4x150 SE | 15 | 24 | 0.020128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2238-6_1_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.025424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2238-6_1_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.01575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2238-6_1_2_line_23 | NAYY 4x150 SE | 19 | 31 | 0.046854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2238-6_1_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2238-6_1_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.014708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2238-6_1_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.014146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2238-6_1_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.015224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2238-6_1_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.010543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2238-6_1_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.019759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2238-6_1_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0017308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2238-6_1_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2238-6_1_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.027569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2238-6_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.0094546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2238-6_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.048435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2238-6_1_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.072357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2238-6_1_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.061064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2238-6_1_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.022284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2238-6_1_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.18879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2238-6_1_2_line_39 | NAYY 4x150 SE | 35 | 38 | 0.04113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2238-6_1_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.11092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2238-6_1_2_line_41 | NAYY 4x150 SE | 38 | 41 | 0.014403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2238-6_1_2_line_42 | NAYY 4x150 SE | 39 | 51 | 0.035897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2238-6_1_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.019167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2238-6_1_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.038992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2238-6_1_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.02905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2238-6_1_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.017599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2238-6_1_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.010733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2238-6_1_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.024164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2238-6_1_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.014183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2238-6_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0064337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2238-6_1_2_trafo_97 | 0.25 MVA 20/0.4 kV | 52 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2577495.2247 | 1177923.1354 | 2577507.4396 | 1177928.3619
1 | 2577495.2247 | 1177923.1354 | 2577472.4763 | 1177913.4019
2 | 2577531.6574 | 1177942.494 | 2577523.6762 | 1177935.3092 | 2577507.4396 | 1177928.3619
3 | 2577472.4763 | 1177913.4019 | 2577472.4763 | 1177913.4019 | 2577475.2546 | 1177896.231
4 | 2577531.6574 | 1177942.494 | 2577545.2544 | 1177912.6938
5 | 2577476.6296 | 1177887.7324 | 2577475.2546 | 1177896.231
6 | 2577542.3932 | 1177887.7477 | 2577549.2538 | 1177899.6836 | 2577549.065 | 1177904.3423 | 2577545.2544 | 1177912.6938
7 | 2577476.6296 | 1177887.7324 | 2577479.7565 | 1177868.4068 | 2577480.6358 | 1177866.6176
8 | 2577411.3022 | 1177881.1372 | 2577476.6296 | 1177887.7324
9 | 2577377.5958 | 1177781.3146 | 2577368.68 | 1177775.6121 | 2577333.5196 | 1177772.5772 | 2577335.22 | 1177753.5165
10 | 2577318.9604 | 1177741.5943 | 2577332.2013 | 1177747.3581 | 2577335.22 | 1177753.5165
11 | 2577377.5958 | 1177781.3146 | 2577367.1859 | 1177804.7661
12 | 2577377.5958 | 1177781.3146 | 2577386.6253 | 1177767.1705
13 | 2577318.9604 | 1177741.5943 | 2577318.396 | 1177626.5555
14 | 2577328.2467 | 1177802.6015 | 2577367.1859 | 1177804.7661
15 | 2577367.1859 | 1177804.7661 | 2577365.0616 | 1177808.9999
16 | 2577367.1859 | 1177804.7661 | 2577418.7575 | 1177819.5453
17 | 2577421.7683 | 1177712.1211 | 2577386.6253 | 1177767.1705
18 | 2577318.396 | 1177626.5555 | 2577297.6035 | 1177625.0265
19 | 2577351.8187 | 1177835.393 | 2577365.0616 | 1177808.9999
20 | 2577418.7575 | 1177819.5453 | 2577414.9153 | 1177839.3033
21 | 2577297.6035 | 1177625.0265 | 2577297.6035 | 1177625.0265 | 2577283.7541 | 1177620.0766 | 2577278.0497 | 1177611.0047 | 2577278.0497 | 1177611.0047
22 | 2577273.1648 | 1177596.0309 | 2577278.0497 | 1177611.0047
23 | 2577273.1648 | 1177596.0309 | 2577271.2074 | 1177590.0311 | 2577264.3341 | 1177583.0091 | 2577254.7372 | 1177579.1659 | 2577235.4862 | 1177572.4802 | 2577235.4862 | 1177572.4802
24 | 2577412.9933 | 1177869.1366 | 2577411.3022 | 1177881.1372
25 | 2577412.9933 | 1177869.1366 | 2577413.6327 | 1177864.5989 | 2577414.0222 | 1177854.4807
26 | 2577411.3022 | 1177881.1372 | 2577409.9791 | 1177890.5261 | 2577408.8169 | 1177895.0434
27 | 2577414.9153 | 1177839.3033 | 2577414.5302 | 1177841.2835 | 2577414.0222 | 1177854.4807
28 | 2577408.8169 | 1177895.0434 | 2577406.1901 | 1177905.2534
29 | 2577404.3604 | 1177924.7145 | 2577403.9098 | 1177914.1167 | 2577406.1901 | 1177905.2534
30 | 2577404.4339 | 1177926.4437 | 2577404.3604 | 1177924.7145
31 | 2577402.5509 | 1177962.9026 | 2577405.6627 | 1177955.3424 | 2577404.4339 | 1177926.4437
32 | 2577402.5509 | 1177962.9026 | 2577404.8857 | 1177966.0731 | 2577405.3577 | 1177971.6742 | 2577423.2188 | 1177969.3575
33 | 2577402.5509 | 1177962.9026 | 2577393.1678 | 1177964.0628
34 | 2577138.6172 | 1177892.6384 | 2577153.829 | 1177865.5428 | 2577169.6037 | 1177858.291
35 | 2577106.3181 | 1177957.3386 | 2577126.8344 | 1177913.6264 | 2577138.6172 | 1177892.6384
36 | 2577169.6037 | 1177858.291 | 2577184.6519 | 1177851.3732 | 2577214.1549 | 1177839.6769 | 2577226.7854 | 1177837.8294
37 | 2577106.3181 | 1177957.3386 | 2577086.2614 | 1177947.5104
38 | 2577106.3181 | 1177957.3386 | 2577033.643 | 1178131.5807
39 | 2577267.701 | 1177835.5239 | 2577246.3055 | 1177834.9741 | 2577226.7854 | 1177837.8294
40 | 2577086.2614 | 1177947.5104 | 2576988.8275 | 1177894.502
41 | 2577282.0993 | 1177835.894 | 2577267.701 | 1177835.5239
42 | 2576988.8275 | 1177894.502 | 2576975.0973 | 1177922.3803 | 2576970.2804 | 1177922.5693
43 | 2577282.0993 | 1177835.894 | 2577292.6602 | 1177836.1762 | 2577301.2331 | 1177836.8928
44 | 2577283.4564 | 1177796.9354 | 2577282.0993 | 1177835.894
45 | 2577330.1818 | 1177839.3128 | 2577301.2331 | 1177836.8928
46 | 2577346.7301 | 1177844.842 | 2577334.2556 | 1177839.6534 | 2577330.1818 | 1177839.3128
47 | 2577346.7301 | 1177844.842 | 2577351.3815 | 1177836.2644 | 2577351.8187 | 1177835.393
48 | 2577346.7301 | 1177844.842 | 2577355.8917 | 1177856.958 | 2577358.2463 | 1177865.6175
49 | 2577480.6358 | 1177866.6176 | 2577484.1848 | 1177859.3966 | 2577484.0623 | 1177853.2606
50 | 2577480.9999 | 1177847.6026 | 2577484.0623 | 1177853.2606

## bus_geodata
| x | y | coords
0 | 2577495.2247 | 1177923.1354
1 | 2577507.4396 | 1177928.3619
2 | 2577472.4763 | 1177913.4019
3 | 2577531.6574 | 1177942.494
4 | 2577475.2545 | 1177896.231
5 | 2577545.2544 | 1177912.6938
6 | 2577476.6296 | 1177887.7324
7 | 2577335.22 | 1177753.5165
8 | 2577377.5958 | 1177781.3146
9 | 2577318.9604 | 1177741.5943
10 | 2577367.1859 | 1177804.7661
11 | 2577386.6253 | 1177767.1705
12 | 2577318.396 | 1177626.5555
13 | 2577328.2467 | 1177802.6015
14 | 2577365.0616 | 1177808.9999
15 | 2577418.7575 | 1177819.5453
16 | 2577421.7683 | 1177712.1211
17 | 2577297.6035 | 1177625.0265
18 | 2577278.0497 | 1177611.0047
19 | 2577273.1648 | 1177596.0309
20 | 2577412.9933 | 1177869.1366
21 | 2577411.3022 | 1177881.1372
22 | 2577414.0222 | 1177854.4807
23 | 2577408.8169 | 1177895.0434
24 | 2577414.9153 | 1177839.3033
25 | 2577406.1901 | 1177905.2534
26 | 2577404.4339 | 1177926.4437
27 | 2577404.3604 | 1177924.7145
28 | 2577402.5509 | 1177962.9026
29 | 2577423.2188 | 1177969.3575
30 | 2577393.1678 | 1177964.0628
31 | 2577235.4862 | 1177572.4802
32 | 2577138.6172 | 1177892.6384
33 | 2577169.6037 | 1177858.291
34 | 2577106.3181 | 1177957.3386
35 | 2577226.7854 | 1177837.8294
36 | 2577086.2614 | 1177947.5104
37 | 2577033.643 | 1178131.5807
38 | 2577267.701 | 1177835.5239
39 | 2576988.8275 | 1177894.502
40 | 2577542.3932 | 1177887.7477
41 | 2577282.0993 | 1177835.894
42 | 2577301.2331 | 1177836.8928
43 | 2577283.4564 | 1177796.9354
44 | 2577330.1818 | 1177839.3128
45 | 2577351.8187 | 1177835.393
46 | 2577346.7301 | 1177844.842
47 | 2577358.2463 | 1177865.6175
48 | 2577480.6358 | 1177866.6176
49 | 2577484.0623 | 1177853.2606
50 | 2577480.9999 | 1177847.6026
51 | 2576970.2804 | 1177922.5693
52 | 2577402.5509 | 1177962.9026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98991 | -0.070707 | 0.0020168 | 0.00050547
1 | 0.98959 | -0.072961 | 0.001633 | 0.00040926
2 | 0.99058 | -0.066006 | 0.0023919 | 0.00059947
3 | 0.98898 | -0.07731 | 0 | 0
4 | 0.99111 | -0.062281 | 0.0034989 | 0.0008769
5 | 0.98827 | -0.082332 | 0.0038253 | 0.0009587
6 | 0.99141 | -0.060133 | 0.0044963 | 0.0011269
7 | 0.99206 | -0.05557 | 0.00067924 | 0.00017023
8 | 0.99387 | -0.042889 | 0 | 0
9 | 0.99149 | -0.059587 | 0.0011023 | 0.00027627
10 | 0.99513 | -0.034003 | 0 | 0
11 | 0.99351 | -0.045441 | 0.00066527 | 0.00016673
12 | 0.98859 | -0.08006 | 0.00089287 | 0.00022378
13 | 0.99503 | -0.034739 | 0.0018765 | 0.00047028
14 | 0.99495 | -0.035292 | 0.0038445 | 0.00096353
15 | 1 | 0 | -0.12143 | -0.030345
16 | 0.99216 | -0.054952 | 0.014379 | 0.0036036
17 | 0.98809 | -0.083592 | 0.0018324 | 0.00045923
18 | 0.98755 | -0.087426 | 0.0073687 | 0.0018468
19 | 0.98739 | -0.088614 | 0.0017374 | 0.00043543
20 | 0.99608 | -0.02733 | 0.0022333 | 0.00055973
21 | 0.99521 | -0.033421 | 0.0018514 | 0.00046401
22 | 0.99718 | -0.019623 | 0.0018078 | 0.00045308
23 | 0.99505 | -0.03454 | 0.0016931 | 0.00042434
24 | 0.99836 | -0.011386 | 0.0026229 | 0.00065735
25 | 0.99496 | -0.035194 | 0.0012909 | 0.00032354
26 | 0.99481 | -0.03623 | 0.001023 | 0.00025639
27 | 0.99482 | -0.036162 | 0.00092865 | 0.00023274
28 | 0.99466 | -0.037317 | 0 | 0
29 | 0.99459 | -0.037797 | 0.0017249 | 0.00043231
30 | 0.99464 | -0.037429 | 0.0011741 | 0.00029426
31 | 0.987 | -0.091317 | 0.0056312 | 0.0014113
32 | 0.99143 | -0.060231 | 0.00092352 | 0.00023146
33 | 0.99157 | -0.059276 | 0.0018581 | 0.00046567
34 | 0.99133 | -0.060975 | 0 | 0
35 | 0.99189 | -0.056918 | 0.0019986 | 0.0005009
36 | 0.99132 | -0.06107 | 0 | 0
37 | 0.99118 | -0.062083 | 0.00056902 | 0.00014261
38 | 0.99223 | -0.054495 | 0.0021731 | 0.00054462
39 | 0.99125 | -0.061537 | 0 | 0
40 | 0.98782 | -0.085489 | 0.011184 | 0.0028029
41 | 0.9924 | -0.05333 | 0 | 0
42 | 0.99269 | -0.051277 | 0.0025442 | 0.00063763
43 | 0.99225 | -0.05435 | 0.0025811 | 0.00064688
44 | 0.99323 | -0.04742 | 0.0034513 | 0.00086499
45 | 0.99397 | -0.042188 | 0.0020924 | 0.00052441
46 | 0.99365 | -0.044471 | 0 | 0
47 | 0.9935 | -0.045564 | 0.0044725 | 0.0011209
48 | 0.99106 | -0.062577 | 0.0034403 | 0.00086222
49 | 0.99091 | -0.063688 | 0.0050123 | 0.0012562
50 | 0.99088 | -0.063865 | 0.0026982 | 0.00067623
51 | 0.99123 | -0.061685 | 0.00040554 | 0.00010164
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016672 | 0.004181 | -0.016666 | -0.0041791 | 5.2071e-06 | 1.832e-06 | 0.025061 | 0.025062 | 0.025062 | 0.98991 | -0.070707 | 0.98959 | -0.072961 | 9.282
1 | -0.018688 | -0.0046864 | 0.018701 | 0.0046908 | 1.2185e-05 | 4.3684e-06 | 0.028093 | 0.028093 | 0.028093 | 0.98991 | -0.070707 | 0.99058 | -0.066006 | 10.4049
2 | 0.015033 | 0.0037699 | -0.015024 | -0.0037668 | 9.0562e-06 | 3.1185e-06 | 0.022606 | 0.022606 | 0.022606 | 0.98959 | -0.072961 | 0.98898 | -0.07731 | 8.3727
3 | -0.021093 | -0.0052903 | 0.021103 | 0.0052942 | 1.0897e-05 | 3.9673e-06 | 0.031686 | 0.031686 | 0.031686 | 0.99058 | -0.066006 | 0.99111 | -0.062281 | 11.7356
4 | 0.015024 | 0.0037668 | -0.015014 | -0.0037632 | 1.0446e-05 | 3.5975e-06 | 0.022606 | 0.022606 | 0.022606 | 0.98898 | -0.07731 | 0.98827 | -0.082332 | 8.3727
5 | -0.024602 | -0.0061711 | 0.02461 | 0.0061738 | 7.3302e-06 | 2.7083e-06 | 0.036939 | 0.036939 | 0.036939 | 0.99111 | -0.062281 | 0.99141 | -0.060133 | 13.6811
6 | 0.011189 | 0.0028045 | -0.011184 | -0.0028029 | 4.8897e-06 | 1.527e-06 | 0.016847 | 0.016847 | 0.016847 | 0.98827 | -0.082332 | 0.98782 | -0.085489 | 6.2396
7 | 0.011156 | 0.002796 | -0.011152 | -0.0027949 | 3.7737e-06 | 1.1734e-06 | 0.016744 | 0.016744 | 0.016744 | 0.99141 | -0.060133 | 0.99106 | -0.062577 | 6.2015
8 | -0.040262 | -0.010097 | 0.040411 | 0.010153 | 0.00014963 | 5.6699e-05 | 0.060431 | 0.060431 | 0.060431 | 0.99141 | -0.060133 | 0.99521 | -0.033421 | 22.382
9 | -0.019323 | -0.0048504 | 0.019358 | 0.0048627 | 3.4084e-05 | 1.2268e-05 | 0.028986 | 0.028986 | 0.028986 | 0.99206 | -0.05557 | 0.99387 | -0.042889 | 10.7357
10 | 0.018644 | 0.0046802 | -0.018634 | -0.0046764 | 1.0396e-05 | 3.7236e-06 | 0.027967 | 0.027968 | 0.027968 | 0.99206 | -0.05557 | 0.99149 | -0.059587 | 10.3584
11 | -0.034426 | -0.0086413 | 0.034468 | 0.0086573 | 4.2529e-05 | 1.6025e-05 | 0.051547 | 0.051547 | 0.051547 | 0.99387 | -0.042889 | 0.99513 | -0.034003 | 19.0914
12 | 0.015068 | 0.0037786 | -0.015063 | -0.0037768 | 5.3296e-06 | 1.8325e-06 | 0.022561 | 0.022561 | 0.022561 | 0.99387 | -0.042889 | 0.99351 | -0.045441 | 8.3558
13 | 0.017531 | 0.0044002 | -0.017482 | -0.0043825 | 4.9704e-05 | 1.7637e-05 | 0.026313 | 0.026314 | 0.026314 | 0.99149 | -0.059587 | 0.98859 | -0.08006 | 9.7458
14 | 0.0018766 | 0.00046985 | -0.0018765 | -0.00047028 | 1.9106e-07 | -4.3167e-07 | 0.002806 | 0.0028061 | 0.0028061 | 0.99513 | -0.034003 | 0.99503 | -0.034739 | 1.0393
15 | 0.02697 | 0.0067569 | -0.026965 | -0.0067551 | 4.8069e-06 | 1.7873e-06 | 0.040327 | 0.040327 | 0.040327 | 0.99513 | -0.034003 | 0.99495 | -0.035292 | 14.9359
16 | -0.063315 | -0.015884 | 0.063615 | 0.015999 | 0.00030009 | 0.00011472 | 0.094679 | 0.094679 | 0.094679 | 0.99513 | -0.034003 | 1 | 0 | 35.0665
17 | 0.014398 | 0.00361 | -0.014379 | -0.0036036 | 1.8952e-05 | 6.4445e-06 | 0.021564 | 0.021565 | 0.021565 | 0.99351 | -0.045441 | 0.99216 | -0.054952 | 7.9869
18 | 0.016589 | 0.0041587 | -0.016581 | -0.0041559 | 8.1113e-06 | 2.8526e-06 | 0.02497 | 0.02497 | 0.02497 | 0.98859 | -0.08006 | 0.98809 | -0.083592 | 9.2481
19 | 0.023121 | 0.0057915 | -0.023099 | -0.0057835 | 2.203e-05 | 8.09e-06 | 0.034577 | 0.034577 | 0.034577 | 0.99495 | -0.035292 | 0.99397 | -0.042188 | 12.8064
20 | 0.057016 | 0.014347 | -0.056926 | -0.014312 | 9.0449e-05 | 3.4524e-05 | 0.084861 | 0.084861 | 0.084861 | 1 | 0 | 0.99836 | -0.011386 | 31.43
21 | 0.014748 | 0.0036967 | -0.014741 | -0.003694 | 7.826e-06 | 2.6845e-06 | 0.02221 | 0.022211 | 0.022211 | 0.98809 | -0.083592 | 0.98755 | -0.087426 | 8.2261
22 | 0.0073719 | 0.0018472 | -0.0073707 | -0.0018469 | 1.2126e-06 | 2.649e-07 | 0.011108 | 0.011108 | 0.011108 | 0.98755 | -0.087426 | 0.98739 | -0.088614 | 4.114
23 | 0.0056333 | 0.0014115 | -0.0056312 | -0.0014113 | 2.1071e-06 | 2.1139e-07 | 0.0084894 | 0.0084896 | 0.0084896 | 0.98739 | -0.088614 | 0.987 | -0.091317 | 3.1443
24 | 0.050143 | 0.012597 | -0.050101 | -0.012581 | 4.2445e-05 | 1.6167e-05 | 0.074918 | 0.074918 | 0.074918 | 0.99608 | -0.02733 | 0.99521 | -0.033421 | 27.7474
25 | -0.052376 | -0.013157 | 0.052433 | 0.013178 | 5.6203e-05 | 2.1425e-05 | 0.078254 | 0.078254 | 0.078254 | 0.99608 | -0.02733 | 0.99718 | -0.019623 | 28.983
26 | 0.0078378 | 0.0019632 | -0.0078366 | -0.0019629 | 1.2122e-06 | 2.8244e-07 | 0.011718 | 0.011719 | 0.011719 | 0.99521 | -0.033421 | 0.99505 | -0.03454 | 4.3402
27 | -0.05424 | -0.013631 | 0.054303 | 0.013655 | 6.2255e-05 | 2.3745e-05 | 0.080952 | 0.080952 | 0.080952 | 0.99718 | -0.019623 | 0.99836 | -0.011386 | 29.9821
28 | 0.0061435 | 0.0015386 | -0.0061429 | -0.0015385 | 5.5519e-07 | 7.6602e-08 | 0.0091866 | 0.0091867 | 0.0091867 | 0.99505 | -0.03454 | 0.99496 | -0.035194 | 3.4025
29 | 0.004852 | 0.0012149 | -0.0048513 | -0.0012149 | 6.4916e-07 | -6.9067e-09 | 0.007256 | 0.0072561 | 0.0072561 | 0.99496 | -0.035194 | 0.99482 | -0.036162 | 2.6874
30 | -0.0039226 | -0.00098222 | 0.0039227 | 0.00098221 | 3.7177e-08 | -8.1736e-09 | 0.005867 | 0.005867 | 0.005867 | 0.99481 | -0.03623 | 0.99482 | -0.036162 | 2.173
31 | 0.0028996 | 0.00072583 | -0.0028992 | -0.00072614 | 4.3544e-07 | -3.1414e-07 | 0.0043369 | 0.004337 | 0.004337 | 0.99481 | -0.03623 | 0.99466 | -0.037317 | 1.6063
32 | 0.001725 | 0.00043199 | -0.0017249 | -0.00043231 | 1.1457e-07 | -3.1374e-07 | 0.0025806 | 0.0025807 | 0.0025807 | 0.99466 | -0.037317 | 0.99459 | -0.037797 | 0.95581
33 | 0.0011741 | 0.00029415 | -0.0011741 | -0.00029426 | 1.8202e-08 | -1.1571e-07 | 0.0017565 | 0.0017565 | 0.0017565 | 0.99466 | -0.037317 | 0.99464 | -0.037429 | 0.65057
34 | -0.0018983 | -0.00047024 | 0.0018986 | 0.00046971 | 2.4499e-07 | -5.3045e-07 | 0.0028472 | 0.002847 | 0.0028472 | 0.99143 | -0.060231 | 0.99157 | -0.059276 | 1.0545
35 | 0.00097478 | 0.00023879 | -0.00097469 | -0.00023968 | 9.6409e-08 | -8.959e-07 | 0.0014611 | 0.0014614 | 0.0014614 | 0.99143 | -0.060231 | 0.99133 | -0.060975 | 0.54127
36 | -0.0037566 | -0.00093539 | 0.0037578 | 0.00093507 | 1.21e-06 | -3.2254e-07 | 0.0056353 | 0.005635 | 0.0056353 | 0.99157 | -0.059276 | 0.99189 | -0.056918 | 2.0871
37 | 0.00040558 | 9.9473e-05 | -0.00040557 | -9.9758e-05 | 5.1415e-09 | -2.8532e-07 | 0.00060802 | 0.00060812 | 0.00060812 | 0.99133 | -0.060975 | 0.99132 | -0.06107 | 0.22523
38 | 0.00056911 | 0.00014021 | -0.00056902 | -0.00014261 | 8.5882e-08 | -2.4006e-06 | 0.0008534 | 0.00085425 | 0.00085425 | 0.99133 | -0.060975 | 0.99118 | -0.062083 | 0.31639
39 | -0.0057564 | -0.001436 | 0.0057584 | 0.0014362 | 1.9129e-06 | 2.0466e-07 | 0.0086333 | 0.0086331 | 0.0086333 | 0.99189 | -0.056918 | 0.99223 | -0.054495 | 3.1975
40 | 0.00040557 | 9.9758e-05 | -0.00040555 | -0.00010118 | 2.5617e-08 | -1.4201e-06 | 0.00060812 | 0.00060862 | 0.00060862 | 0.99132 | -0.06107 | 0.99125 | -0.061537 | 0.22542
41 | -0.0079314 | -0.0019808 | 0.0079327 | 0.0019811 | 1.271e-06 | 3.0278e-07 | 0.011892 | 0.011892 | 0.011892 | 0.99223 | -0.054495 | 0.9924 | -0.05333 | 4.4044
42 | 0.00040555 | 0.00010118 | -0.00040554 | -0.00010164 | 8.2995e-09 | -4.5954e-07 | 0.00060862 | 0.00060879 | 0.00060879 | 0.99125 | -0.061537 | 0.99123 | -0.061685 | 0.22548
43 | -0.010514 | -0.0026276 | 0.010517 | 0.0026285 | 2.9716e-06 | 8.952e-07 | 0.015762 | 0.015762 | 0.015762 | 0.9924 | -0.05333 | 0.99269 | -0.051277 | 5.8379
44 | 0.0025815 | 0.00064652 | -0.0025811 | -0.00064688 | 3.6452e-07 | -3.6353e-07 | 0.0038705 | 0.0038707 | 0.0038707 | 0.9924 | -0.05333 | 0.99225 | -0.05435 | 1.4336
45 | -0.013061 | -0.0032661 | 0.013068 | 0.0032684 | 6.9466e-06 | 2.296e-06 | 0.019576 | 0.019576 | 0.019576 | 0.99269 | -0.051277 | 0.99323 | -0.04742 | 7.2504
46 | -0.01652 | -0.0041334 | 0.016526 | 0.0041358 | 6.725e-06 | 2.3587e-06 | 0.024747 | 0.024746 | 0.024747 | 0.99323 | -0.04742 | 0.99365 | -0.044471 | 9.1654
47 | 0.021006 | 0.005259 | -0.020999 | -0.0052566 | 6.622e-06 | 2.4079e-06 | 0.031445 | 0.031445 | 0.031445 | 0.99397 | -0.042188 | 0.99365 | -0.044471 | 11.6463
48 | 0.0044731 | 0.0011208 | -0.0044725 | -0.0011209 | 6.7658e-07 | -5.2727e-08 | 0.0066985 | 0.0066987 | 0.0066987 | 0.99365 | -0.044471 | 0.9935 | -0.045564 | 2.481
49 | 0.0077118 | 0.0019327 | -0.0077106 | -0.0019324 | 1.1865e-06 | 2.7362e-07 | 0.011579 | 0.011579 | 0.011579 | 0.99106 | -0.062577 | 0.99091 | -0.063688 | 4.2884
50 | 0.0026983 | 0.00067618 | -0.0026982 | -0.00067623 | 6.5911e-08 | -5.7524e-08 | 0.0040519 | 0.0040519 | 0.0040519 | 0.99091 | -0.063688 | 0.99088 | -0.063865 | 1.5007

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12663 | 0.031649

## res_load
| p_mw | q_mvar
0 | 0.0020168 | 0.00050547
1 | 0.001633 | 0.00040926
2 | 0.0023919 | 0.00059947
3 | 0.0034989 | 0.0008769
4 | 0.0038253 | 0.0009587
5 | 0.0044963 | 0.0011269
6 | 0.00067924 | 0.00017023
7 | 0.0011023 | 0.00027627
8 | 0.00066527 | 0.00016673
9 | 0.00089287 | 0.00022378
10 | 0.0018765 | 0.00047028
11 | 0.0038445 | 0.00096353
12 | 0.0051993 | 0.0013031
13 | 0.014379 | 0.0036036
14 | 0.0018324 | 0.00045923
15 | 0.0073687 | 0.0018468
16 | 0.0017374 | 0.00043543
17 | 0.0022333 | 0.00055973
18 | 0.0018514 | 0.00046401
19 | 0.0018078 | 0.00045308
20 | 0.0016931 | 0.00042434
21 | 0.0026229 | 0.00065735
22 | 0.0012909 | 0.00032354
23 | 0.001023 | 0.00025639
24 | 0.00092865 | 0.00023274
25 | 0.0017249 | 0.00043231
26 | 0.0011741 | 0.00029426
27 | 0.0056312 | 0.0014113
28 | 0.00092352 | 0.00023146
29 | 0.0018581 | 0.00046567
30 | 0.0019986 | 0.0005009
31 | 0.00056902 | 0.00014261
32 | 0.0021731 | 0.00054462
33 | 0.011184 | 0.0028029
34 | 0.0025442 | 0.00063763
35 | 0.0025811 | 0.00064688
36 | 0.0034513 | 0.00086499
37 | 0.0020924 | 0.00052441
38 | 0.0044725 | 0.0011209
39 | 0.0034403 | 0.00086222
40 | 0.0050123 | 0.0012562
41 | 0.0026982 | 0.00067623
42 | 0.00040554 | 0.00010164

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1