## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2238-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2238-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2238-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2238-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2238-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2238-9_0_3_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_2238-9_0_3_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_2238-9_0_3_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_2238-9_0_3_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_2238-9_0_3_node_77 | 0.4 | n |  | TRUE
10 | bus_LV_2238-9_0_3_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_2238-9_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_2238-9_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2238-9_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2238-9_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2238-9_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2238-9_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2238-9_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2238-9_0_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2238-9_0_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_2238-9_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_2238-9_0_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2238-9_0_3_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_2238-9_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2238-9_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_2238-9_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2238-9_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2238-9_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2238-9_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2238-9_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2238-9_0_3_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_2238-9_0_3_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_2238-9_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2238-9_0_3_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_2238-9_0_3_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_2238-9_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_2238-9_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2238-9_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_2238-9_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_2238-9_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_2238-9_0_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2238-9_0_3_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_2238-9_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_2238-9_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2238-9_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2238-9_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2238-9_0_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_2238-9_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_2238-9_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2238-9_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_2238-9_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2238-9_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_2238-9_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_2238-9_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_2238-9_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2238-9_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2238-9_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2238-9_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_2238-9_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_2238-9_0_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_2238-9_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_2238-9_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2238-9_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_2238-9_0_3_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_2238-9_0_3_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_2238-9_0_3_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_2238-9_0_3_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_2238-9_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_2238-9_0_3_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_2238-9_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_2238-9_0_3_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_2238-9_0_3_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_2238-9_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_2238-9_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_2238-9_0_3_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_2238-9_0_3_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_2238-9_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2238-9_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2238-9_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_2238-9_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_2238-9_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_2238-9_0_3_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_2238-9_0_3_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_2238-9_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_2238-9_0_3_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_2238-9_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_2238-9_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_2238-9_0_3_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_2238-9_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_2238-9_0_3_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_2238-9_0_3_node_92 | 0.4 | n |  | TRUE
91 | bus_MV_27_1_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2238-9_0_3_load_0 | 0 | 0.00090393 | 0.00022655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2238-9_0_3_load_1 | 1 | 0.001483 | 0.00037167 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2238-9_0_3_load_85 | 5 | 0.00082676 | 0.0002072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2238-9_0_3_load_54 | 7 | 0.00064984 | 0.00016287 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2238-9_0_3_load_86 | 8 | 0.001025 | 0.00025689 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2238-9_0_3_load_77 | 9 | 0.0014833 | 0.00037175 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2238-9_0_3_load_80 | 10 | 0.0019336 | 0.00048461 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2238-9_0_3_load_5 | 12 | 0.0059772 | 0.001498 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2238-9_0_3_load_6 | 13 | 0.00385 | 0.00096491 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2238-9_0_3_load_8 | 15 | 0.00083309 | 0.00020879 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2238-9_0_3_load_9 | 16 | 0.0023591 | 0.00059126 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2238-9_0_3_load_10 | 17 | 0.0069194 | 0.0017342 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2238-9_0_3_load_58 | 18 | 0.0029281 | 0.00073386 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2238-9_0_3_load_37 | 19 | 0.0049332 | 0.0012364 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2238-9_0_3_load_50 | 22 | 0.0073102 | 0.0018321 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2238-9_0_3_load_11 | 23 | 0.015658 | 0.0039244 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2238-9_0_3_load_16 | 28 | 0.015138 | 0.003794 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2238-9_0_3_load_17 | 29 | 0.016067 | 0.0040267 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2238-9_0_3_load_73 | 30 | 0.0031511 | 0.00078975 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2238-9_0_3_load_90 | 31 | 0.0064088 | 0.0016062 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2238-9_0_3_load_72 | 33 | 0.0051531 | 0.0012915 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2238-9_0_3_load_91 | 34 | 0.0064129 | 0.0016072 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2238-9_0_3_load_23 | 36 | 0.0018654 | 0.0004675 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2238-9_0_3_load_18 | 37 | 0.0051647 | 0.0012944 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2238-9_0_3_load_19 | 38 | 0.002105 | 0.00052755 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2238-9_0_3_load_20 | 39 | 0.0030901 | 0.00077446 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2238-9_0_3_load_68 | 41 | 0.0020525 | 0.0005144 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2238-9_0_3_load_24 | 42 | 0.0015409 | 0.00038619 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2238-9_0_3_load_27 | 45 | 0.00067911 | 0.0001702 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2238-9_0_3_load_62 | 46 | 0.0053975 | 0.0013528 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2238-9_0_3_load_36 | 48 | 0.00081923 | 0.00020532 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2238-9_0_3_load_28 | 50 | 0.0012306 | 0.00030842 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2238-9_0_3_load_29 | 51 | 0.0015078 | 0.00037789 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2238-9_0_3_load_33 | 54 | 0.0025932 | 0.00064992 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2238-9_0_3_load_43 | 55 | 0.0015364 | 0.00038506 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2238-9_0_3_load_41 | 56 | 0.0017461 | 0.00043762 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2238-9_0_3_load_32 | 57 | 0.0012506 | 0.00031344 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2238-9_0_3_load_66 | 58 | 0.0016863 | 0.00042263 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2238-9_0_3_load_71 | 59 | 0.0040133 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2238-9_0_3_load_61 | 60 | 0.0011044 | 0.00027679 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2238-9_0_3_load_67 | 62 | 0.0011426 | 0.00028637 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2238-9_0_3_load_34 | 63 | 0.0036677 | 0.00091921 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2238-9_0_3_load_40 | 66 | 0.0035682 | 0.00089428 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2238-9_0_3_load_49 | 67 | 0.0041495 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2238-9_0_3_load_46 | 68 | 0.0035606 | 0.00089238 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2238-9_0_3_load_47 | 69 | 0.0027623 | 0.00069229 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2238-9_0_3_load_44 | 70 | 0.0058702 | 0.0014712 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2238-9_0_3_load_75 | 72 | 0.0071584 | 0.0017941 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2238-9_0_3_load_74 | 73 | 0.0023965 | 0.00060063 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2238-9_0_3_load_48 | 74 | 0.0011329 | 0.00028393 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2238-9_0_3_load_70 | 76 | 0.0042578 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2238-9_0_3_load_69 | 77 | 0.0017004 | 0.00042616 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2238-9_0_3_load_63 | 78 | 0.0028325 | 0.0007099 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2238-9_0_3_load_64 | 79 | 0.0020611 | 0.00051657 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2238-9_0_3_load_65 | 80 | 0.0018189 | 0.00045585 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2238-9_0_3_load_89 | 81 | 0.0011432 | 0.00028651 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2238-9_0_3_load_88 | 82 | 0.00095578 | 0.00023954 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2238-9_0_3_load_78 | 84 | 0.0013722 | 0.0003439 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2238-9_0_3_load_79 | 85 | 0.0010889 | 0.00027289 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2238-9_0_3_load_84 | 87 | 0.0010246 | 0.00025679 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2238-9_0_3_load_81 | 88 | 0.0023975 | 0.00060086 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2238-9_0_3_load_92 | 90 | 0.0063908 | 0.0016017 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2238-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.006278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2238-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2238-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2238-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.008562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2238-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2238-9_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.028485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2238-9_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2238-9_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.028739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2238-9_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.013718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2238-9_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.023072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2238-9_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.01745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2238-9_0_3_line_11 | NAYY 4x150 SE | 8 | 89 | 0.031519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2238-9_0_3_line_12 | NAYY 4x150 SE | 9 | 72 | 0.022841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2238-9_0_3_line_13 | NAYY 4x150 SE | 11 | 18 | 0.015887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2238-9_0_3_line_14 | NAYY 4x150 SE | 11 | 40 | 0.01341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2238-9_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0033431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2238-9_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.021394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2238-9_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.020322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2238-9_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0070314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2238-9_0_3_line_19 | NAYY 4x150 SE | 14 | 17 | 0.028203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2238-9_0_3_line_20 | NAYY 4x150 SE | 15 | 18 | 0.013822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2238-9_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.047244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2238-9_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.017386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2238-9_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.0062768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2238-9_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.025751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2238-9_0_3_line_25 | NAYY 4x150 SE | 21 | 65 | 0.01556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2238-9_0_3_line_26 | NAYY 4x150 SE | 21 | 66 | 0.012333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2238-9_0_3_line_27 | NAYY 4x150 SE | 22 | 35 | 4.7475e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2238-9_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.030915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2238-9_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.0068269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2238-9_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.022828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2238-9_0_3_line_31 | NAYY 4x150 SE | 24 | 27 | 0.026409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2238-9_0_3_line_32 | NAYY 4x150 SE | 25 | 28 | 0.012667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2238-9_0_3_line_33 | NAYY 4x150 SE | 25 | 29 | 0.034932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2238-9_0_3_line_34 | NAYY 4x150 SE | 26 | 30 | 0.0047495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2238-9_0_3_line_35 | NAYY 4x150 SE | 27 | 31 | 0.0064151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2238-9_0_3_line_36 | NAYY 4x150 SE | 28 | 32 | 0.026093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2238-9_0_3_line_37 | NAYY 4x150 SE | 30 | 33 | 0.03346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2238-9_0_3_line_38 | NAYY 4x150 SE | 31 | 34 | 0.026709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2238-9_0_3_line_39 | NAYY 4x150 SE | 32 | 35 | 0.012421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2238-9_0_3_line_40 | NAYY 4x150 SE | 32 | 36 | 0.039634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2238-9_0_3_line_41 | NAYY 4x150 SE | 33 | 44 | 0.0065527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2238-9_0_3_line_42 | NAYY 4x150 SE | 34 | 90 | 0.026952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2238-9_0_3_line_43 | NAYY 4x150 SE | 37 | 38 | 0.0032987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2238-9_0_3_line_44 | NAYY 4x150 SE | 38 | 39 | 0.020735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2238-9_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.0074646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2238-9_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.020079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2238-9_0_3_line_47 | NAYY 4x150 SE | 41 | 80 | 0.0052485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2238-9_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0095153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2238-9_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.017888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2238-9_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.019981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2238-9_0_3_line_51 | NAYY 4x150 SE | 44 | 46 | 0.057049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2238-9_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.020016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2238-9_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.017041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2238-9_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.015421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2238-9_0_3_line_55 | NAYY 4x150 SE | 48 | 64 | 0.045612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2238-9_0_3_line_56 | NAYY 4x150 SE | 49 | 77 | 0.019165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2238-9_0_3_line_57 | NAYY 4x150 SE | 50 | 51 | 0.0018381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2238-9_0_3_line_58 | NAYY 4x150 SE | 50 | 52 | 0.016863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2238-9_0_3_line_59 | NAYY 4x150 SE | 52 | 53 | 0.029208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2238-9_0_3_line_60 | NAYY 4x150 SE | 52 | 54 | 0.020626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2238-9_0_3_line_61 | NAYY 4x150 SE | 53 | 55 | 0.026675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2238-9_0_3_line_62 | NAYY 4x150 SE | 53 | 56 | 0.013877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2238-9_0_3_line_63 | NAYY 4x150 SE | 54 | 59 | 0.010297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2238-9_0_3_line_64 | NAYY 4x150 SE | 55 | 60 | 0.00052509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2238-9_0_3_line_65 | NAYY 4x150 SE | 56 | 61 | 0.025382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2238-9_0_3_line_66 | NAYY 4x150 SE | 57 | 58 | 0.018977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2238-9_0_3_line_67 | NAYY 4x150 SE | 58 | 62 | 0.0060394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2238-9_0_3_line_68 | NAYY 4x150 SE | 61 | 70 | 0.007589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2238-9_0_3_line_69 | NAYY 4x150 SE | 61 | 71 | 0.022342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2238-9_0_3_line_70 | NAYY 4x150 SE | 62 | 81 | 0.042696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2238-9_0_3_line_71 | NAYY 4x150 SE | 63 | 64 | 0.033123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2238-9_0_3_line_72 | NAYY 4x150 SE | 65 | 67 | 0.025511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2238-9_0_3_line_73 | NAYY 4x150 SE | 65 | 68 | 0.016561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2238-9_0_3_line_74 | NAYY 4x150 SE | 68 | 69 | 8.7899e-07 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2238-9_0_3_line_75 | NAYY 4x150 SE | 69 | 74 | 0.011897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2238-9_0_3_line_76 | NAYY 4x150 SE | 71 | 72 | 0.043113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2238-9_0_3_line_77 | NAYY 4x150 SE | 72 | 73 | 0.040825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2238-9_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.040028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2238-9_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.017697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2238-9_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0039032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2238-9_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0079608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2238-9_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0077597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2238-9_0_3_line_83 | NAYY 4x150 SE | 82 | 85 | 0.02562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2238-9_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.023282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2238-9_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.010363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2238-9_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.011708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_2238-9_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.041141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_2238-9_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.0267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_2238-9_0_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.0035018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2238-9_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 91 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2575762.7429 | 1177262.4521 | 2575756.8668 | 1177263.5146 | 2575756.5788 | 1177263.6197
1 | 2575783.3985 | 1177257.7818 | 2575778.1868 | 1177259.6595 | 2575762.7429 | 1177262.4521
2 | 2575735.3414 | 1177271.3727 | 2575756.5788 | 1177263.6197
3 | 2575778.4489 | 1177250.7872 | 2575783.3985 | 1177257.7818
4 | 2575735.3414 | 1177271.3727 | 2575721.7812 | 1177277.2728
5 | 2575735.3414 | 1177271.3727 | 2575727.2983 | 1177244.0468
6 | 2575778.4489 | 1177250.7872 | 2575780.4145 | 1177249.3118 | 2575783.5228 | 1177246.9758 | 2575793.3969 | 1177239.5311
7 | 2575721.7812 | 1177277.2728 | 2575703.3868 | 1177285.2763 | 2575695.195 | 1177288.1422
8 | 2575727.2983 | 1177244.0468 | 2575723.3594 | 1177230.9061
9 | 2575727.2983 | 1177244.0468 | 2575704.9515 | 1177249.7845
10 | 2575807.3306 | 1177229.0257 | 2575793.3969 | 1177239.5311
11 | 2575665.2065 | 1177297.8159 | 2575680.914 | 1177293.1384 | 2575695.195 | 1177288.1422
12 | 2575716.8013 | 1177209.0269 | 2575723.3594 | 1177230.9061
13 | 2575807.3306 | 1177229.0257 | 2575804.1155 | 1177225.7814 | 2575800.7326 | 1177220.7036 | 2575799.666 | 1177215.596
14 | 2575807.3306 | 1177229.0257 | 2575808.259 | 1177229.9668 | 2575812.9491 | 1177233.2495 | 2575819.1754 | 1177234.7029
15 | 2575798.4289 | 1177178.2551 | 2575798.2648 | 1177181.5942
16 | 2575802.9143 | 1177157.4956 | 2575800.2814 | 1177164.0429 | 2575798.4921 | 1177176.968 | 2575798.4289 | 1177178.2551
17 | 2575798.1738 | 1177201.8859 | 2575797.6661 | 1177193.78 | 2575798.2648 | 1177181.5942
18 | 2575802.9143 | 1177157.4956 | 2575802.1051 | 1177155.8313 | 2575801.6986 | 1177150.6664
19 | 2575802.9143 | 1177157.4956 | 2575809.4611 | 1177153.178 | 2575818.0533 | 1177150.0749 | 2575829.248 | 1177149.2489
20 | 2575799.666 | 1177215.596 | 2575798.761 | 1177211.2623 | 2575798.1738 | 1177201.8859
21 | 2575801.6986 | 1177150.6664 | 2575800.4616 | 1177134.9495 | 2575801.4747 | 1177132.2662 | 2575806.7999 | 1177130.0768 | 2575799.8579 | 1177108.3045
22 | 2575846.5872 | 1177147.9696 | 2575829.248 | 1177149.2489
23 | 2575794.7378 | 1177108.5368 | 2575799.4544 | 1177107.0392 | 2575799.8579 | 1177108.3045
24 | 2575846.5872 | 1177147.9696 | 2575847.7777 | 1177162.6946 | 2575848.8947 | 1177173.6151
25 | 2575779.8086 | 1177113.0663 | 2575794.7378 | 1177108.5368
26 | 2575798.278 | 1177120.3508 | 2575794.7378 | 1177108.5368
27 | 2575848.8996 | 1177173.6623 | 2575848.8947 | 1177173.6151
28 | 2575913.4711 | 1177139.0617 | 2575911.5764 | 1177146.7622 | 2575908.8639 | 1177150.6418 | 2575894.5121 | 1177161.9166
29 | 2575890.3027 | 1177156.5419 | 2575894.5121 | 1177161.9166
30 | 2575912.9581 | 1177121.766 | 2575905.8113 | 1177128.9207 | 2575908.9011 | 1177133.3327 | 2575913.4711 | 1177139.0617
31 | 2575913.4711 | 1177139.0617 | 2575916.2899 | 1177142.5966 | 2575920.404 | 1177139.4896 | 2575927.8095 | 1177133.9124 | 2575929.1025 | 1177130.5166 | 2575932.0013 | 1177133.0173
32 | 2575890.3027 | 1177156.5419 | 2575880.2445 | 1177164.2408
33 | 2575884.1613 | 1177130.6867 | 2575898.8048 | 1177150.0376 | 2575890.3027 | 1177156.5419
34 | 2575912.9581 | 1177121.766 | 2575916.3156 | 1177118.4066
35 | 2575932.0013 | 1177133.0173 | 2575935.9522 | 1177138.0714
36 | 2575859.5248 | 1177180.1005 | 2575880.2445 | 1177164.2408
37 | 2575916.3156 | 1177118.4066 | 2575920.4323 | 1177114.2876 | 2575923.3062 | 1177108.7287 | 2575923.612 | 1177103.069 | 2575914.7481 | 1177090.098
38 | 2575935.9522 | 1177138.0714 | 2575952.4016 | 1177159.1138
39 | 2575848.8996 | 1177173.6623 | 2575856.5585 | 1177177.9003 | 2575859.5248 | 1177180.1005
40 | 2575859.5248 | 1177180.1005 | 2575865.6336 | 1177184.6115 | 2575885.0647 | 1177210.0865
41 | 2575911.051 | 1177084.6879 | 2575914.7481 | 1177090.098
42 | 2575952.4016 | 1177159.1138 | 2575969.001 | 1177180.348
43 | 2575835.9401 | 1177260.8509 | 2575833.9116 | 1177258.2496
44 | 2575821.1608 | 1177241.8985 | 2575821.1608 | 1177241.8985 | 2575833.9116 | 1177258.2496
45 | 2575819.1754 | 1177234.7029 | 2575821.1608 | 1177241.8985
46 | 2575819.1754 | 1177234.7029 | 2575824.8343 | 1177233.8017 | 2575832.187 | 1177230.3702 | 2575837.0313 | 1177226.4451
47 | 2575840.7522 | 1177222.7901 | 2575839.3849 | 1177224.5381 | 2575837.0313 | 1177226.4451
48 | 2575896.6867 | 1177073.9736 | 2575891.0552 | 1177077.8984 | 2575892.4689 | 1177080.141
49 | 2575896.6867 | 1177073.9736 | 2575911.051 | 1177084.6879
50 | 2575896.6867 | 1177073.9736 | 2575888.9954 | 1177067.4235 | 2575882.7668 | 1177059.7558
51 | 2575911.051 | 1177084.6879 | 2575910.936 | 1177080.7975 | 2575897.1543 | 1177049.6926 | 2575887.0487 | 1177033.4427
52 | 2575865.8833 | 1177070.5073 | 2575882.7668 | 1177059.7558
53 | 2575878.0491 | 1177018.9715 | 2575887.0487 | 1177033.4427
54 | 2575865.8833 | 1177070.5073 | 2575874.3949 | 1177083.3795
55 | 2575853.7247 | 1176981.6106 | 2575855.4196 | 1176984.9722 | 2575863.4371 | 1177004.1385 | 2575867.5797 | 1177009.947 | 2575873.5656 | 1177014.2806 | 2575877.0245 | 1177017.3238 | 2575878.0491 | 1177018.9715
56 | 2575874.3949 | 1177083.3795 | 2575860.1929 | 1177096.2475
57 | 2575679.8876 | 1177127.0542 | 2575680.6285 | 1177128.7363
58 | 2575687.7882 | 1177144.0003 | 2575683.203 | 1177134.5807 | 2575680.6285 | 1177128.7363
59 | 2575708.2465 | 1177164.8945 | 2575704.7252 | 1177161.5293 | 2575687.7882 | 1177144.0003
60 | 2575687.7882 | 1177144.0003 | 2575701.7816 | 1177138.6406 | 2575706.7065 | 1177135.89
61 | 2575708.2465 | 1177164.8945 | 2575703.3181 | 1177170.6842 | 2575684.6824 | 1177174.7414
62 | 2575708.2465 | 1177164.8945 | 2575720.6608 | 1177171.0965
63 | 2575715.6965 | 1177130.8689 | 2575706.7065 | 1177135.89
64 | 2575684.1693 | 1177174.8531 | 2575684.6824 | 1177174.7414
65 | 2575743.1965 | 1177182.7729 | 2575727.9796 | 1177174.7528 | 2575720.6608 | 1177171.0965
66 | 2575643.9934 | 1177149.9417 | 2575636.5091 | 1177150.9571 | 2575626.2868 | 1177156.0586
67 | 2575626.2868 | 1177156.0586 | 2575620.883 | 1177158.7555
68 | 2575743.1965 | 1177182.7729 | 2575747.0902 | 1177176.2537
69 | 2575743.1965 | 1177182.7729 | 2575750.5512 | 1177189.2464 | 2575758.7818 | 1177198.7512
70 | 2575614.4177 | 1177191.9568 | 2575607.1324 | 1177165.6178 | 2575620.883 | 1177158.7555
71 | 2575853.7247 | 1176981.6106 | 2575839.4888 | 1176987.6046 | 2575836.0394 | 1176986.8848 | 2575831.8868 | 1176973.355
72 | 2575779.8086 | 1177113.0663 | 2575771.7563 | 1177115.5224 | 2575767.9709 | 1177118.6394 | 2575765.3534 | 1177123.2968 | 2575765.0143 | 1177130.135
73 | 2575779.8086 | 1177113.0663 | 2575775.246 | 1177097.1464
74 | 2575775.2457 | 1177097.1456 | 2575775.246 | 1177097.1464
75 | 2575774.7549 | 1177086.0951 | 2575772.9251 | 1177089.0485 | 2575775.2457 | 1177097.1456
76 | 2575716.8013 | 1177209.0269 | 2575727.3194 | 1177205.9938 | 2575731.5949 | 1177205.0315 | 2575750.8728 | 1177200.6843 | 2575754.5143 | 1177199.7913 | 2575758.7818 | 1177198.7512
77 | 2575716.8013 | 1177209.0269 | 2575677.4476 | 1177219.8863
78 | 2575827.7043 | 1177076.2423 | 2575840.4421 | 1177102.3709 | 2575848.7474 | 1177109.5633
79 | 2575848.7474 | 1177109.5633 | 2575853.6161 | 1177102.2065 | 2575860.1929 | 1177096.2475
80 | 2575847.0444 | 1177212.8715 | 2575845.657 | 1177216.5198
81 | 2575845.657 | 1177216.5198 | 2575845.657 | 1177216.5198 | 2575840.7522 | 1177222.7901
82 | 2575616.4863 | 1177199.4357 | 2575614.4177 | 1177191.9568
83 | 2575616.4863 | 1177199.4357 | 2575619.0772 | 1177208.8025 | 2575624.2741 | 1177223.831
84 | 2575627.6608 | 1177233.6247 | 2575635.2659 | 1177255.6298
85 | 2575627.6608 | 1177233.6247 | 2575624.2741 | 1177223.831
86 | 2575639.0902 | 1177266.6951 | 2575635.2659 | 1177255.6298
87 | 2575639.0902 | 1177266.6951 | 2575645.7528 | 1177287.0674 | 2575649.7158 | 1177291.9426 | 2575656.4699 | 1177295.4169 | 2575662.2795 | 1177295.8935
88 | 2575639.0902 | 1177266.6951 | 2575664.9518 | 1177260.0549
89 | 2575665.2065 | 1177297.8159 | 2575662.2795 | 1177295.8935

## bus_geodata
| x | y | coords
0 | 2575762.7429 | 1177262.4521
1 | 2575756.5788 | 1177263.6197
2 | 2575783.3985 | 1177257.7818
3 | 2575735.3414 | 1177271.3727
4 | 2575778.4489 | 1177250.7872
5 | 2575721.7812 | 1177277.2728
6 | 2575727.2983 | 1177244.0468
7 | 2575793.3969 | 1177239.5311
8 | 2575695.195 | 1177288.1422
9 | 2575723.3594 | 1177230.9061
10 | 2575704.9515 | 1177249.7845
11 | 2575807.3306 | 1177229.0257
12 | 2575798.4289 | 1177178.2551
13 | 2575798.2648 | 1177181.5942
14 | 2575802.9143 | 1177157.4956
15 | 2575798.1738 | 1177201.8859
16 | 2575801.6986 | 1177150.6664
17 | 2575829.248 | 1177149.2489
18 | 2575799.666 | 1177215.596
19 | 2575799.8579 | 1177108.3045
20 | 2575846.5872 | 1177147.9696
21 | 2575794.7378 | 1177108.5368
22 | 2575848.8947 | 1177173.6151
23 | 2575894.5121 | 1177161.9166
24 | 2575913.4711 | 1177139.0617
25 | 2575890.3027 | 1177156.5419
26 | 2575912.9581 | 1177121.766
27 | 2575932.0012 | 1177133.0173
28 | 2575880.2445 | 1177164.2408
29 | 2575884.1613 | 1177130.6867
30 | 2575916.3156 | 1177118.4066
31 | 2575935.9522 | 1177138.0714
32 | 2575859.5248 | 1177180.1005
33 | 2575914.7481 | 1177090.098
34 | 2575952.4016 | 1177159.1138
35 | 2575848.8996 | 1177173.6623
36 | 2575885.0647 | 1177210.0865
37 | 2575835.9401 | 1177260.8509
38 | 2575833.9116 | 1177258.2496
39 | 2575821.1608 | 1177241.8985
40 | 2575819.1754 | 1177234.7029
41 | 2575837.0313 | 1177226.4451
42 | 2575892.4689 | 1177080.141
43 | 2575896.6867 | 1177073.9736
44 | 2575911.051 | 1177084.6879
45 | 2575882.7668 | 1177059.7558
46 | 2575887.0487 | 1177033.4427
47 | 2575865.8833 | 1177070.5073
48 | 2575878.0491 | 1177018.9715
49 | 2575874.3949 | 1177083.3795
50 | 2575680.6285 | 1177128.7363
51 | 2575679.8876 | 1177127.0542
52 | 2575687.7882 | 1177144.0003
53 | 2575708.2465 | 1177164.8945
54 | 2575706.7065 | 1177135.89
55 | 2575684.6824 | 1177174.7414
56 | 2575720.6608 | 1177171.0965
57 | 2575643.9934 | 1177149.9418
58 | 2575626.2868 | 1177156.0586
59 | 2575715.6965 | 1177130.8689
60 | 2575684.1693 | 1177174.8531
61 | 2575743.1965 | 1177182.7729
62 | 2575620.883 | 1177158.7555
63 | 2575831.8868 | 1176973.355
64 | 2575853.7247 | 1176981.6106
65 | 2575779.8086 | 1177113.0663
66 | 2575798.278 | 1177120.3508
67 | 2575765.0143 | 1177130.135
68 | 2575775.246 | 1177097.1464
69 | 2575775.2457 | 1177097.1456
70 | 2575747.0902 | 1177176.2537
71 | 2575758.7818 | 1177198.7512
72 | 2575716.8013 | 1177209.0269
73 | 2575677.4476 | 1177219.8863
74 | 2575774.7549 | 1177086.0951
75 | 2575848.7474 | 1177109.5633
76 | 2575827.7043 | 1177076.2423
77 | 2575860.1929 | 1177096.2475
78 | 2575847.0444 | 1177212.8715
79 | 2575845.657 | 1177216.5198
80 | 2575840.7522 | 1177222.7901
81 | 2575614.4177 | 1177191.9568
82 | 2575616.4863 | 1177199.4357
83 | 2575627.6608 | 1177233.6247
84 | 2575635.2659 | 1177255.6298
85 | 2575624.2741 | 1177223.831
86 | 2575639.0902 | 1177266.6951
87 | 2575662.2795 | 1177295.8935
88 | 2575664.9518 | 1177260.0549
89 | 2575665.2065 | 1177297.8159
90 | 2575969.001 | 1177180.348
91 | 2575846.5872 | 1177147.9696

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98509 | -0.10424 | 0.00090393 | 0.00022655
1 | 0.98465 | -0.10734 | 0.001483 | 0.00037167
2 | 0.9866 | -0.09357 | 0 | 0
3 | 0.98312 | -0.11819 | 0 | 0
4 | 0.98721 | -0.089276 | 0 | 0
5 | 0.98282 | -0.12032 | 0.00082676 | 0.0002072
6 | 0.98177 | -0.1278 | 0 | 0
7 | 0.98854 | -0.07991 | 0.00064984 | 0.00016287
8 | 0.98228 | -0.12422 | 0.001025 | 0.00025689
9 | 0.98116 | -0.13216 | 0.0014833 | 0.00037175
10 | 0.98171 | -0.12826 | 0.0019336 | 0.00048461
11 | 0.9898 | -0.071083 | 0 | 0
12 | 0.99532 | -0.032479 | 0.0059772 | 0.001498
13 | 0.99495 | -0.035051 | 0.00385 | 0.00096491
14 | 0.99787 | -0.014781 | 0 | 0
15 | 0.99281 | -0.049935 | 0.00083309 | 0.00020879
16 | 0.99764 | -0.016366 | 0.0023591 | 0.00059126
17 | 1 | 0 | -0.20994 | -0.052771
18 | 0.99138 | -0.059978 | 0.0029281 | 0.00073386
19 | 0.99628 | -0.025909 | 0.0049332 | 0.0012364
20 | 0.99744 | -0.017689 | 0 | 0
21 | 0.99615 | -0.026868 | 0 | 0
22 | 0.99366 | -0.044055 | 0.0073102 | 0.0018321
23 | 0.98644 | -0.094846 | 0.015658 | 0.0039244
24 | 0.9844 | -0.10934 | 0 | 0
25 | 0.98705 | -0.090558 | 0 | 0
26 | 0.98352 | -0.11556 | 0 | 0
27 | 0.98366 | -0.11457 | 0 | 0
28 | 0.98846 | -0.080535 | 0.015138 | 0.003794
29 | 0.98624 | -0.096312 | 0.016067 | 0.0040267
30 | 0.98334 | -0.11685 | 0.0031511 | 0.00078975
31 | 0.98348 | -0.11585 | 0.0064088 | 0.0016062
32 | 0.99196 | -0.055968 | 0 | 0
33 | 0.98221 | -0.12489 | 0.0051531 | 0.0012915
34 | 0.98299 | -0.11938 | 0.0064129 | 0.0016072
35 | 0.99365 | -0.0441 | 0 | 0
36 | 0.99185 | -0.056719 | 0.0018654 | 0.0004675
37 | 0.98907 | -0.076198 | 0.0051647 | 0.0012944
38 | 0.9891 | -0.076024 | 0.002105 | 0.00052755
39 | 0.98932 | -0.074486 | 0.0030901 | 0.00077446
40 | 0.98943 | -0.073698 | 0 | 0
41 | 0.98917 | -0.075493 | 0.0020525 | 0.0005144
42 | 0.98181 | -0.12778 | 0.0015409 | 0.00038619
43 | 0.98183 | -0.12763 | 0 | 0
44 | 0.98204 | -0.12611 | 0 | 0
45 | 0.98163 | -0.12901 | 0.00067911 | 0.0001702
46 | 0.98122 | -0.13196 | 0.0053975 | 0.0013528
47 | 0.98146 | -0.13024 | 0 | 0
48 | 0.98111 | -0.13276 | 0.00081923 | 0.00020532
49 | 0.98133 | -0.1312 | 0 | 0
50 | 0.9771 | -0.16115 | 0.0012306 | 0.00030842
51 | 0.9771 | -0.16118 | 0.0015078 | 0.00037789
52 | 0.97717 | -0.16067 | 0 | 0
53 | 0.97757 | -0.15782 | 0 | 0
54 | 0.97697 | -0.16209 | 0.0025932 | 0.00064992
55 | 0.97746 | -0.15855 | 0.0015364 | 0.00038506
56 | 0.97781 | -0.15608 | 0.0017461 | 0.00043762
57 | 0.9799 | -0.14121 | 0.0012506 | 0.00031344
58 | 0.97993 | -0.14097 | 0.0016863 | 0.00042263
59 | 0.97691 | -0.16253 | 0.0040133 | 0.0010058
60 | 0.97746 | -0.15856 | 0.0011044 | 0.00027679
61 | 0.97832 | -0.15244 | 0 | 0
62 | 0.97996 | -0.14078 | 0.0011426 | 0.00028637
63 | 0.98069 | -0.13575 | 0.0036677 | 0.00091921
64 | 0.98087 | -0.13449 | 0 | 0
65 | 0.99589 | -0.028685 | 0 | 0
66 | 0.99608 | -0.02731 | 0.0035682 | 0.00089428
67 | 0.99574 | -0.029751 | 0.0041495 | 0.00104
68 | 0.99571 | -0.029928 | 0.0035606 | 0.00089238
69 | 0.99571 | -0.029928 | 0.0027623 | 0.00069229
70 | 0.97825 | -0.1529 | 0.0058702 | 0.0014712
71 | 0.97896 | -0.14787 | 0 | 0
72 | 0.98019 | -0.13907 | 0.0071584 | 0.0017941
73 | 0.98005 | -0.14009 | 0.0023965 | 0.00060063
74 | 0.99569 | -0.030064 | 0.0011329 | 0.00028393
75 | 0.98105 | -0.13316 | 0 | 0
76 | 0.9808 | -0.13493 | 0.0042578 | 0.0010671
77 | 0.98116 | -0.13238 | 0.0017004 | 0.00042616
78 | 0.98905 | -0.076363 | 0.0028325 | 0.0007099
79 | 0.98907 | -0.07625 | 0.0020611 | 0.00051657
80 | 0.98912 | -0.075852 | 0.0018189 | 0.00045585
81 | 0.98021 | -0.13897 | 0.0011432 | 0.00028651
82 | 0.98027 | -0.13855 | 0.00095578 | 0.00023954
83 | 0.98061 | -0.13612 | 0 | 0
84 | 0.98086 | -0.13436 | 0.0013722 | 0.0003439
85 | 0.9805 | -0.1369 | 0.0010889 | 0.00027289
86 | 0.981 | -0.13331 | 0 | 0
87 | 0.98166 | -0.1286 | 0.0010246 | 0.00025679
88 | 0.98091 | -0.13398 | 0.0023975 | 0.00060086
89 | 0.98172 | -0.12816 | 0 | 0
90 | 0.98274 | -0.12116 | 0.0063908 | 0.0016017
91 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.048237 | 0.012117 | -0.048216 | -0.012109 | 2.0804e-05 | 7.9216e-06 | 0.072874 | 0.072874 | 0.072874 | 0.98509 | -0.10424 | 0.98465 | -0.10734 | 26.9902
1 | -0.049141 | -0.012343 | 0.049214 | 0.012371 | 7.3027e-05 | 2.7816e-05 | 0.074239 | 0.074239 | 0.074239 | 0.98509 | -0.10424 | 0.9866 | -0.09357 | 27.496
2 | 0.046733 | 0.011737 | -0.046663 | -0.01171 | 7.0382e-05 | 2.6783e-05 | 0.070633 | 0.070633 | 0.070633 | 0.98465 | -0.10734 | 0.98312 | -0.11819 | 26.1603
3 | -0.049214 | -0.012371 | 0.049243 | 0.012382 | 2.9446e-05 | 1.1216e-05 | 0.074239 | 0.074239 | 0.074239 | 0.9866 | -0.09357 | 0.98721 | -0.089276 | 27.4959
4 | 0.013946 | 0.0034959 | -0.013942 | -0.0034945 | 4.1116e-06 | 1.3939e-06 | 0.021108 | 0.021109 | 0.021109 | 0.98312 | -0.11819 | 0.98282 | -0.12032 | 7.818
5 | 0.032717 | 0.0082144 | -0.032673 | -0.008198 | 4.3595e-05 | 1.6407e-05 | 0.049524 | 0.049524 | 0.049524 | 0.98312 | -0.11819 | 0.98177 | -0.1278 | 18.3424
6 | -0.049243 | -0.012382 | 0.049308 | 0.012407 | 6.4353e-05 | 2.4512e-05 | 0.074239 | 0.074239 | 0.074239 | 0.98721 | -0.089276 | 0.98854 | -0.07991 | 27.4959
7 | 0.013115 | 0.0032873 | -0.013108 | -0.0032849 | 7.0709e-06 | 2.3556e-06 | 0.019857 | 0.019857 | 0.019857 | 0.98282 | -0.12032 | 0.98228 | -0.12422 | 7.3544
8 | 0.03074 | 0.0077136 | -0.030721 | -0.0077067 | 1.8584e-05 | 6.9743e-06 | 0.046594 | 0.046594 | 0.046594 | 0.98177 | -0.1278 | 0.98116 | -0.13216 | 17.2569
9 | 0.0019337 | 0.00048436 | -0.0019336 | -0.00048461 | 1.2366e-07 | -2.4417e-07 | 0.0029307 | 0.0029308 | 0.0029308 | 0.98177 | -0.1278 | 0.98171 | -0.12826 | 1.0855
10 | -0.049958 | -0.01257 | 0.050019 | 0.012593 | 6.1606e-05 | 2.347e-05 | 0.075217 | 0.075217 | 0.075217 | 0.98854 | -0.07991 | 0.9898 | -0.071083 | 27.8582
11 | 0.012083 | 0.003028 | -0.012077 | -0.0030259 | 6.5896e-06 | 2.1357e-06 | 0.018304 | 0.018304 | 0.018304 | 0.98228 | -0.12422 | 0.98172 | -0.12816 | 6.7794
12 | 0.029238 | 0.0073349 | -0.02921 | -0.0073244 | 2.8027e-05 | 1.0491e-05 | 0.044344 | 0.044344 | 0.044344 | 0.98116 | -0.13216 | 0.98019 | -0.13907 | 16.4238
13 | -0.069157 | -0.01739 | 0.069264 | 0.017431 | 0.0001072 | 4.1025e-05 | 0.10399 | 0.10399 | 0.10399 | 0.9898 | -0.071083 | 0.99138 | -0.059978 | 38.5139
14 | 0.019137 | 0.0047969 | -0.01913 | -0.0047944 | 6.9264e-06 | 2.4917e-06 | 0.02877 | 0.028771 | 0.028771 | 0.9898 | -0.071083 | 0.98943 | -0.073698 | 10.6558
15 | 0.077157 | 0.019446 | -0.077129 | -0.019436 | 2.7775e-05 | 1.0639e-05 | 0.11539 | 0.11539 | 0.11539 | 0.99532 | -0.032479 | 0.99495 | -0.035051 | 42.7366
16 | -0.083134 | -0.020944 | 0.08334 | 0.021023 | 0.00020634 | 7.9084e-05 | 0.12432 | 0.12432 | 0.12432 | 0.99532 | -0.032479 | 0.99787 | -0.014781 | 46.0462
17 | 0.073279 | 0.018471 | -0.073126 | -0.018412 | 0.00015241 | 5.8357e-05 | 0.10963 | 0.10963 | 0.10963 | 0.99495 | -0.035051 | 0.99281 | -0.049935 | 40.604
18 | 0.022505 | 0.0056435 | -0.0225 | -0.0056417 | 4.9416e-06 | 1.8088e-06 | 0.03356 | 0.03356 | 0.03356 | 0.99787 | -0.014781 | 0.99764 | -0.016366 | 12.4296
19 | -0.10584 | -0.026667 | 0.10606 | 0.026751 | 0.00021934 | 8.3625e-05 | 0.15788 | 0.15788 | 0.15788 | 0.99787 | -0.014781 | 1 | 0 | 29.2379
20 | 0.072293 | 0.018204 | -0.072192 | -0.018165 | 0.00010131 | 3.8788e-05 | 0.10838 | 0.10838 | 0.10838 | 0.99281 | -0.049935 | 0.99138 | -0.059978 | 40.1416
21 | 0.02014 | 0.0050504 | -0.020114 | -0.0050408 | 2.6605e-05 | 9.6167e-06 | 0.030041 | 0.030041 | 0.030041 | 0.99764 | -0.016366 | 0.99628 | -0.025909 | 11.1264
22 | 0.10308 | 0.02602 | -0.10282 | -0.025922 | 0.00025545 | 9.8021e-05 | 0.15345 | 0.15345 | 0.15345 | 1 | 0 | 0.99744 | -0.017689 | 56.8316
23 | 0.015181 | 0.0038044 | -0.015179 | -0.0038037 | 2.0135e-06 | 6.927e-07 | 0.022673 | 0.022673 | 0.022673 | 0.99628 | -0.025909 | 0.99615 | -0.026868 | 8.3975
24 | 0.10282 | 0.025922 | -0.10244 | -0.025777 | 0.00037834 | 0.00014518 | 0.15345 | 0.15345 | 0.15345 | 0.99744 | -0.017689 | 0.99366 | -0.044055 | 56.8316
25 | 0.01161 | 0.0029095 | -0.011607 | -0.0029086 | 2.9204e-06 | 9.2071e-07 | 0.017343 | 0.017343 | 0.017343 | 0.99615 | -0.026868 | 0.99589 | -0.028685 | 6.4233
26 | 0.0035684 | 0.0008942 | -0.0035682 | -0.00089428 | 2.1866e-07 | -7.6444e-08 | 0.0053304 | 0.0053304 | 0.0053304 | 0.99615 | -0.026868 | 0.99608 | -0.02731 | 1.9742
27 | 0.095133 | 0.023945 | -0.095132 | -0.023945 | 6.0154e-07 | 2.3075e-07 | 0.1425 | 0.1425 | 0.1425 | 0.99366 | -0.044055 | 0.99365 | -0.0441 | 52.7772
28 | 0.04577 | 0.01149 | -0.045678 | -0.011455 | 9.1977e-05 | 3.4982e-05 | 0.06905 | 0.06905 | 0.06905 | 0.98644 | -0.094846 | 0.9844 | -0.10934 | 25.5741
29 | -0.061429 | -0.015415 | 0.061465 | 0.015429 | 3.6584e-05 | 1.3983e-05 | 0.09267 | 0.09267 | 0.09267 | 0.98644 | -0.094846 | 0.98705 | -0.090558 | 34.3223
30 | 0.026441 | 0.0066317 | -0.026418 | -0.0066233 | 2.2757e-05 | 8.4626e-06 | 0.03997 | 0.03997 | 0.03997 | 0.9844 | -0.10934 | 0.98352 | -0.11556 | 14.8036
31 | 0.019238 | 0.0048237 | -0.019224 | -0.0048187 | 1.3936e-05 | 5.0246e-06 | 0.02908 | 0.029081 | 0.029081 | 0.9844 | -0.10934 | 0.98366 | -0.11457 | 10.7706
32 | -0.077545 | -0.01946 | 0.077653 | 0.019501 | 0.00010803 | 4.1389e-05 | 0.11691 | 0.11691 | 0.11691 | 0.98705 | -0.090558 | 0.98846 | -0.080535 | 43.3005
33 | 0.01608 | 0.0040312 | -0.016067 | -0.0040267 | 1.2809e-05 | 4.4805e-06 | 0.024241 | 0.024242 | 0.024242 | 0.98705 | -0.090558 | 0.98624 | -0.096312 | 8.9783
34 | 0.026418 | 0.0066233 | -0.026413 | -0.0066215 | 4.7348e-06 | 1.7608e-06 | 0.03997 | 0.03997 | 0.03997 | 0.98352 | -0.11556 | 0.98334 | -0.11685 | 14.8036
35 | 0.019224 | 0.0048187 | -0.01922 | -0.0048174 | 3.3853e-06 | 1.2206e-06 | 0.029081 | 0.029081 | 0.029081 | 0.98366 | -0.11457 | 0.98348 | -0.11585 | 10.7706
36 | -0.092791 | -0.023295 | 0.093109 | 0.023417 | 0.00031776 | 0.00012188 | 0.1397 | 0.1397 | 0.1397 | 0.98846 | -0.080535 | 0.99196 | -0.055968 | 51.7408
37 | 0.023262 | 0.0058318 | -0.023236 | -0.0058222 | 2.5872e-05 | 9.5267e-06 | 0.035201 | 0.035202 | 0.035202 | 0.98334 | -0.11685 | 0.98221 | -0.12489 | 13.0376
38 | 0.012812 | 0.0032112 | -0.012805 | -0.0032092 | 6.2623e-06 | 2.0698e-06 | 0.019384 | 0.019384 | 0.019384 | 0.98348 | -0.11585 | 0.98299 | -0.11938 | 7.1793
39 | -0.094975 | -0.023884 | 0.095132 | 0.023945 | 0.00015738 | 6.0372e-05 | 0.1425 | 0.1425 | 0.1425 | 0.99196 | -0.055968 | 0.99365 | -0.0441 | 52.7772
40 | 0.0018656 | 0.00046707 | -0.0018654 | -0.0004675 | 1.9367e-07 | -4.3709e-07 | 0.0027983 | 0.0027985 | 0.0027985 | 0.99196 | -0.055968 | 0.99185 | -0.056719 | 1.0365
41 | 0.018083 | 0.0045307 | -0.01808 | -0.0045296 | 3.0686e-06 | 1.0973e-06 | 0.027395 | 0.027395 | 0.027395 | 0.98221 | -0.12489 | 0.98204 | -0.12611 | 10.1462
42 | 0.0063924 | 0.001602 | -0.0063908 | -0.0016017 | 1.5748e-06 | 2.6412e-07 | 0.0096766 | 0.0096767 | 0.0096767 | 0.98299 | -0.11938 | 0.98274 | -0.12116 | 3.584
43 | -0.0051647 | -0.0012944 | 0.0051649 | 0.0012944 | 1.2427e-07 | 5.4603e-09 | 0.0077701 | 0.0077701 | 0.0077701 | 0.98907 | -0.076198 | 0.9891 | -0.076024 | 2.8778
44 | -0.0072698 | -0.001822 | 0.0072714 | 0.0018223 | 1.5476e-06 | 3.2905e-07 | 0.010937 | 0.010937 | 0.010937 | 0.9891 | -0.076024 | 0.98932 | -0.074486 | 4.0507
45 | -0.010361 | -0.0025967 | 0.010363 | 0.0025971 | 1.1313e-06 | 3.3925e-07 | 0.015585 | 0.015584 | 0.015585 | 0.98932 | -0.074486 | 0.98943 | -0.073698 | 5.772
46 | 0.0087678 | 0.0021973 | -0.0087657 | -0.0021968 | 2.1785e-06 | 5.8008e-07 | 0.013186 | 0.013186 | 0.013186 | 0.98943 | -0.073698 | 0.98917 | -0.075493 | 4.8838
47 | 0.0067132 | 0.0016823 | -0.0067128 | -0.0016823 | 3.34e-07 | 6.109e-08 | 0.010099 | 0.010099 | 0.010099 | 0.98917 | -0.075493 | 0.98912 | -0.075852 | 3.7402
48 | -0.0015409 | -0.00038619 | 0.0015409 | 0.00038608 | 3.2383e-08 | -1.0788e-07 | 0.0023354 | 0.0023353 | 0.0023354 | 0.98181 | -0.12778 | 0.98183 | -0.12763 | 0.86495
49 | -0.0081838 | -0.00205 | 0.0081855 | 0.0020504 | 1.717e-06 | 4.3411e-07 | 0.012403 | 0.012403 | 0.012403 | 0.98183 | -0.12763 | 0.98204 | -0.12611 | 4.5936
50 | 0.0066429 | 0.0016639 | -0.0066416 | -0.0016637 | 1.2637e-06 | 2.3338e-07 | 0.010067 | 0.010067 | 0.010067 | 0.98183 | -0.12763 | 0.98163 | -0.12901 | 3.7287
51 | 0.0098945 | 0.0024792 | -0.0098865 | -0.0024768 | 8.0015e-06 | 2.3563e-06 | 0.014992 | 0.014992 | 0.014992 | 0.98204 | -0.12611 | 0.98122 | -0.13196 | 5.5528
52 | 0.0059625 | 0.0014935 | -0.0059615 | -0.0014934 | 1.0203e-06 | 1.3941e-07 | 0.009038 | 0.0090381 | 0.0090381 | 0.98163 | -0.12901 | 0.98146 | -0.13024 | 3.3474
53 | 0.0044889 | 0.0011241 | -0.0044884 | -0.0011241 | 4.9274e-07 | -2.5712e-08 | 0.0068071 | 0.0068072 | 0.0068072 | 0.98122 | -0.13196 | 0.98111 | -0.13276 | 2.5212
54 | 0.0059615 | 0.0014934 | -0.0059607 | -0.0014932 | 7.8605e-07 | 1.0747e-07 | 0.0090381 | 0.0090381 | 0.0090381 | 0.98146 | -0.13024 | 0.98133 | -0.1312 | 3.3475
55 | 0.0036692 | 0.0009188 | -0.0036683 | -0.00091904 | 8.8138e-07 | -2.3687e-07 | 0.0055647 | 0.0055649 | 0.0055649 | 0.98111 | -0.13276 | 0.98087 | -0.13449 | 2.0611
56 | 0.0059607 | 0.0014932 | -0.0059597 | -0.0014931 | 9.7689e-07 | 1.3364e-07 | 0.0090381 | 0.0090382 | 0.0090382 | 0.98133 | -0.1312 | 0.98116 | -0.13238 | 3.3475
57 | 0.0015078 | 0.00037787 | -0.0015078 | -0.00037789 | 6.0474e-09 | -2.0696e-08 | 0.0022962 | 0.0022962 | 0.0022962 | 0.9771 | -0.16115 | 0.9771 | -0.16118 | 0.85045
58 | -0.0027384 | -0.00068629 | 0.0027386 | 0.00068615 | 1.8299e-07 | -1.4084e-07 | 0.0041703 | 0.0041702 | 0.0041703 | 0.9771 | -0.16115 | 0.97717 | -0.16067 | 1.5446
59 | -0.0093467 | -0.0023421 | 0.0093504 | 0.0023432 | 3.692e-06 | 1.054e-06 | 0.014233 | 0.014233 | 0.014233 | 0.97717 | -0.16067 | 0.97757 | -0.15782 | 5.2714
60 | 0.0066081 | 0.001656 | -0.0066068 | -0.0016557 | 1.3032e-06 | 2.4291e-07 | 0.010063 | 0.010063 | 0.010063 | 0.97717 | -0.16067 | 0.97697 | -0.16209 | 3.7269
61 | 0.0026411 | 0.00066161 | -0.0026408 | -0.00066184 | 2.6901e-07 | -2.3094e-07 | 0.00402 | 0.0040201 | 0.0040201 | 0.97757 | -0.15782 | 0.97746 | -0.15855 | 1.4889
62 | -0.011991 | -0.0030048 | 0.011994 | 0.0030057 | 2.885e-06 | 9.3558e-07 | 0.018253 | 0.018253 | 0.018253 | 0.97757 | -0.15782 | 0.97781 | -0.15608 | 6.7603
63 | 0.0040136 | 0.0010058 | -0.0040133 | -0.0010058 | 2.4011e-07 | -3.6582e-08 | 0.006113 | 0.006113 | 0.006113 | 0.97697 | -0.16209 | 0.97691 | -0.16253 | 2.2641
64 | 0.0011044 | 0.00027678 | -0.0011044 | -0.00027679 | 9.2617e-10 | -6.2257e-09 | 0.0016812 | 0.0016813 | 0.0016813 | 0.97746 | -0.15855 | 0.97746 | -0.15856 | 0.62269
65 | -0.01374 | -0.0034433 | 0.013747 | 0.0034457 | 6.925e-06 | 2.3449e-06 | 0.02091 | 0.02091 | 0.02091 | 0.97781 | -0.15608 | 0.97832 | -0.15244 | 7.7444
66 | -0.0012506 | -0.00031344 | 0.0012507 | 0.00031321 | 4.2708e-08 | -2.2264e-07 | 0.0018991 | 0.001899 | 0.0018991 | 0.9799 | -0.14121 | 0.97993 | -0.14097 | 0.70338
67 | -0.002937 | -0.00073585 | 0.0029371 | 0.0007358 | 7.4953e-08 | -4.7258e-08 | 0.0044597 | 0.0044597 | 0.0044597 | 0.97993 | -0.14097 | 0.97996 | -0.14078 | 1.6517
68 | 0.0058706 | 0.0014713 | -0.0058702 | -0.0014712 | 3.7757e-07 | 4.9932e-08 | 0.0089292 | 0.0089292 | 0.0089292 | 0.97832 | -0.15244 | 0.97825 | -0.1529 | 3.3071
69 | -0.019618 | -0.0049169 | 0.01963 | 0.0049214 | 1.2413e-05 | 4.4935e-06 | 0.029839 | 0.029839 | 0.029839 | 0.97832 | -0.15244 | 0.97896 | -0.14787 | 11.0515
70 | -0.0040797 | -0.0010222 | 0.0040807 | 0.001022 | 1.0223e-06 | -1.4484e-07 | 0.0061947 | 0.0061945 | 0.0061947 | 0.97996 | -0.14078 | 0.98021 | -0.13897 | 2.2943
71 | -0.0036677 | -0.00091921 | 0.0036683 | 0.00091904 | 6.4008e-07 | -1.7182e-07 | 0.005565 | 0.0055649 | 0.005565 | 0.98069 | -0.13575 | 0.98087 | -0.13449 | 2.0611
72 | 0.0041501 | 0.0010399 | -0.0041495 | -0.00104 | 6.1212e-07 | -9.6462e-08 | 0.0062009 | 0.006201 | 0.006201 | 0.99589 | -0.028685 | 0.99574 | -0.029751 | 2.2967
73 | 0.0074571 | 0.0018687 | -0.0074558 | -0.0018685 | 1.2829e-06 | 2.7799e-07 | 0.011142 | 0.011142 | 0.011142 | 0.99589 | -0.028685 | 0.99571 | -0.029928 | 4.1267
74 | 0.0038952 | 0.00097608 | -0.0038952 | -0.00097608 | 1.8585e-11 | 7.1482e-12 | 0.005821 | 0.005821 | 0.005821 | 0.99571 | -0.029928 | 0.99571 | -0.029928 | 2.1559
75 | 0.0011329 | 0.00028379 | -0.0011329 | -0.00028393 | 2.128e-08 | -1.4656e-07 | 0.001693 | 0.0016931 | 0.0016931 | 0.99571 | -0.029928 | 0.99569 | -0.030064 | 0.62707
76 | -0.01963 | -0.0049214 | 0.019654 | 0.0049301 | 2.3953e-05 | 8.6698e-06 | 0.029839 | 0.029839 | 0.029839 | 0.97896 | -0.14787 | 0.98019 | -0.13907 | 11.0514
77 | 0.0023969 | 0.00060024 | -0.0023965 | -0.00060063 | 3.3727e-07 | -3.8478e-07 | 0.0036385 | 0.0036387 | 0.0036387 | 0.98019 | -0.13907 | 0.98005 | -0.14009 | 1.3477
78 | 0.0042588 | 0.001067 | -0.0042578 | -0.0010671 | 1.0422e-06 | -1.0445e-07 | 0.0064595 | 0.0064597 | 0.0064597 | 0.98105 | -0.13316 | 0.9808 | -0.13493 | 2.3925
79 | -0.0042588 | -0.001067 | 0.0042593 | 0.001067 | 4.6075e-07 | -4.6267e-08 | 0.0064595 | 0.0064594 | 0.0064595 | 0.98105 | -0.13316 | 0.98116 | -0.13238 | 2.3924
80 | -0.0028325 | -0.0007099 | 0.0028326 | 0.00070987 | 4.4231e-08 | -3.3081e-08 | 0.0042615 | 0.0042615 | 0.0042615 | 0.98905 | -0.076363 | 0.98907 | -0.07625 | 1.5783
81 | -0.0048937 | -0.0012264 | 0.004894 | 0.0012264 | 2.6926e-07 | 1.3885e-09 | 0.0073624 | 0.0073624 | 0.0073624 | 0.98907 | -0.07625 | 0.98912 | -0.075852 | 2.7268
82 | -0.0052239 | -0.0013085 | 0.0052242 | 0.0013086 | 3.0449e-07 | 1.9293e-08 | 0.00793 | 0.0079299 | 0.00793 | 0.98021 | -0.13897 | 0.98027 | -0.13855 | 2.937
83 | -0.00618 | -0.0015481 | 0.0061814 | 0.0015483 | 1.4068e-06 | 2.1802e-07 | 0.0093808 | 0.0093807 | 0.0093808 | 0.98027 | -0.13855 | 0.9805 | -0.1369 | 3.4744
84 | -0.0072711 | -0.0018214 | 0.0072728 | 0.0018218 | 1.7685e-06 | 3.8639e-07 | 0.011033 | 0.011033 | 0.011033 | 0.98061 | -0.13612 | 0.98086 | -0.13436 | 4.0863
85 | 0.0072711 | 0.0018214 | -0.0072703 | -0.0018212 | 7.8714e-07 | 1.7203e-07 | 0.011033 | 0.011033 | 0.011033 | 0.98061 | -0.13612 | 0.9805 | -0.1369 | 4.0863
86 | -0.008645 | -0.0021657 | 0.0086463 | 0.002166 | 1.2565e-06 | 3.3548e-07 | 0.013115 | 0.013115 | 0.013115 | 0.98086 | -0.13436 | 0.981 | -0.13331 | 4.8573
87 | -0.011044 | -0.0027666 | 0.011051 | 0.0027689 | 7.2037e-06 | 2.2509e-06 | 0.016751 | 0.016751 | 0.016751 | 0.981 | -0.13331 | 0.98166 | -0.1286 | 6.2042
88 | 0.0023977 | 0.00060061 | -0.0023975 | -0.00060086 | 2.2037e-07 | -2.5232e-07 | 0.0036368 | 0.0036369 | 0.0036369 | 0.981 | -0.13331 | 0.98091 | -0.13398 | 1.347
89 | -0.012076 | -0.0030257 | 0.012077 | 0.0030259 | 7.3212e-07 | 2.3731e-07 | 0.018304 | 0.018304 | 0.018304 | 0.98166 | -0.1286 | 0.98172 | -0.12816 | 6.7794

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21686 | 0.054505

## res_load
| p_mw | q_mvar
0 | 0.00090393 | 0.00022655
1 | 0.001483 | 0.00037167
2 | 0.00082676 | 0.0002072
3 | 0.00064984 | 0.00016287
4 | 0.001025 | 0.00025689
5 | 0.0014833 | 0.00037175
6 | 0.0019336 | 0.00048461
7 | 0.0059772 | 0.001498
8 | 0.00385 | 0.00096491
9 | 0.00083309 | 0.00020879
10 | 0.0023591 | 0.00059126
11 | 0.0069194 | 0.0017342
12 | 0.0029281 | 0.00073386
13 | 0.0049332 | 0.0012364
14 | 0.0073102 | 0.0018321
15 | 0.015658 | 0.0039244
16 | 0.015138 | 0.003794
17 | 0.016067 | 0.0040267
18 | 0.0031511 | 0.00078975
19 | 0.0064088 | 0.0016062
20 | 0.0051531 | 0.0012915
21 | 0.0064129 | 0.0016072
22 | 0.0018654 | 0.0004675
23 | 0.0051647 | 0.0012944
24 | 0.002105 | 0.00052755
25 | 0.0030901 | 0.00077446
26 | 0.0020525 | 0.0005144
27 | 0.0015409 | 0.00038619
28 | 0.00067911 | 0.0001702
29 | 0.0053975 | 0.0013528
30 | 0.00081923 | 0.00020532
31 | 0.0012306 | 0.00030842
32 | 0.0015078 | 0.00037789
33 | 0.0025932 | 0.00064992
34 | 0.0015364 | 0.00038506
35 | 0.0017461 | 0.00043762
36 | 0.0012506 | 0.00031344
37 | 0.0016863 | 0.00042263
38 | 0.0040133 | 0.0010058
39 | 0.0011044 | 0.00027679
40 | 0.0011426 | 0.00028637
41 | 0.0036677 | 0.00091921
42 | 0.0035682 | 0.00089428
43 | 0.0041495 | 0.00104
44 | 0.0035606 | 0.00089238
45 | 0.0027623 | 0.00069229
46 | 0.0058702 | 0.0014712
47 | 0.0071584 | 0.0017941
48 | 0.0023965 | 0.00060063
49 | 0.0011329 | 0.00028393
50 | 0.0042578 | 0.0010671
51 | 0.0017004 | 0.00042616
52 | 0.0028325 | 0.0007099
53 | 0.0020611 | 0.00051657
54 | 0.0018189 | 0.00045585
55 | 0.0011432 | 0.00028651
56 | 0.00095578 | 0.00023954
57 | 0.0013722 | 0.0003439
58 | 0.0010889 | 0.00027289
59 | 0.0010246 | 0.00025679
60 | 0.0023975 | 0.00060086
61 | 0.0063908 | 0.0016017

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1