## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2265-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2265-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2265-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2265-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2265-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2265-17_0_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_2265-17_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2265-17_0_3_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_2265-17_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2265-17_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2265-17_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2265-17_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2265-17_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2265-17_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2265-17_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_2265-17_0_3_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_2265-17_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2265-17_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2265-17_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2265-17_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2265-17_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2265-17_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2265-17_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2265-17_0_3_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_2265-17_0_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2265-17_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2265-17_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2265-17_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2265-17_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2265-17_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2265-17_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2265-17_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2265-17_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_2265-17_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2265-17_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2265-17_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2265-17_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2265-17_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2265-17_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2265-17_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2265-17_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2265-17_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_2265-17_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_2265-17_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2265-17_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2265-17_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2265-17_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2265-17_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_2265-17_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2265-17_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_2265-17_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2265-17_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_MV_381_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2265-17_0_3_load_0 | 0 | 0.001743 | 0.00043684 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2265-17_0_3_load_1 | 1 | 0.0032122 | 0.00080506 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2265-17_0_3_load_2 | 2 | 0.0014622 | 0.00036645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2265-17_0_3_load_4 | 4 | 0.0020069 | 0.00050297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2265-17_0_3_load_34 | 5 | 0.0030583 | 0.00076647 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2265-17_0_3_load_8 | 6 | 0.0015973 | 0.00040032 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2265-17_0_3_load_39 | 7 | 0.0036707 | 0.00091995 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2265-17_0_3_load_9 | 8 | 0.0020785 | 0.00052093 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2265-17_0_3_load_5 | 9 | 0.0032415 | 0.0008124 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2265-17_0_3_load_6 | 10 | 0.0027618 | 0.00069218 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2265-17_0_3_load_7 | 11 | 0.0037866 | 0.00094901 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2265-17_0_3_load_33 | 13 | 0.0023278 | 0.0005834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2265-17_0_3_load_38 | 15 | 0.0039736 | 0.00099588 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2265-17_0_3_load_19 | 16 | 0.0019839 | 0.00049722 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2265-17_0_3_load_16 | 17 | 0.0019621 | 0.00049175 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2265-17_0_3_load_11 | 18 | 0.0066943 | 0.0016778 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2265-17_0_3_load_12 | 19 | 0.0021931 | 0.00054965 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2265-17_0_3_load_13 | 20 | 0.0020018 | 0.0005017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2265-17_0_3_load_14 | 21 | 0.0026802 | 0.00067172 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2265-17_0_3_load_15 | 22 | 0.0015389 | 0.00038569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2265-17_0_3_load_52 | 23 | 0.013321 | 0.0033386 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2265-17_0_3_load_51 | 24 | 0.014019 | 0.0035134 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2265-17_0_3_load_17 | 25 | 0.0023158 | 0.00058038 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2265-17_0_3_load_36 | 26 | 0.0026567 | 0.00066582 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2265-17_0_3_load_22 | 27 | 0.0011027 | 0.00027637 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2265-17_0_3_load_20 | 28 | 0.0030898 | 0.00077438 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2265-17_0_3_load_21 | 29 | 0.0055028 | 0.0013791 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2265-17_0_3_load_35 | 31 | 0.0011057 | 0.00027711 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2265-17_0_3_load_45 | 32 | 0.0083248 | 0.0020864 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2265-17_0_3_load_24 | 33 | 0.0026014 | 0.00065198 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2265-17_0_3_load_25 | 34 | 0.0018007 | 0.00045131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2265-17_0_3_load_26 | 35 | 0.0045477 | 0.0011398 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2265-17_0_3_load_37 | 38 | 0.002557 | 0.00064085 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2265-17_0_3_load_32 | 39 | 0.028107 | 0.0070442 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2265-17_0_3_load_29 | 40 | 0.0077162 | 0.0019339 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2265-17_0_3_load_48 | 41 | 0.0069325 | 0.0017375 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2265-17_0_3_load_30 | 42 | 0.003395 | 0.00085087 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2265-17_0_3_load_31 | 43 | 0.0076328 | 0.001913 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2265-17_0_3_load_40 | 44 | 0.012008 | 0.0030094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2265-17_0_3_load_41 | 45 | 0.0035753 | 0.00089605 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2265-17_0_3_load_49 | 46 | 0.014814 | 0.0037128 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2265-17_0_3_load_47 | 47 | 0.014109 | 0.003536 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2265-17_0_3_load_44 | 48 | 0.005325 | 0.0013346 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2265-17_0_3_load_42 | 49 | 0.0027903 | 0.0006993 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2265-17_0_3_load_43 | 50 | 0.0029774 | 0.00074621 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2265-17_0_3_load_50 | 51 | 0.013098 | 0.0032827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2265-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2265-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2265-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2265-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0040564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2265-17_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2265-17_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2265-17_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.030139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2265-17_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2265-17_0_3_line_8 | NAYY 4x150 SE | 8 | 12 | 0.040178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2265-17_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.014408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2265-17_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.018051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2265-17_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.019896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2265-17_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.020069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2265-17_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.046054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2265-17_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.021596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2265-17_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0015545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2265-17_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.011355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2265-17_0_3_line_17 | NAYY 4x150 SE | 15 | 38 | 0.013606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2265-17_0_3_line_18 | NAYY 4x150 SE | 16 | 27 | 0.02224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2265-17_0_3_line_19 | NAYY 4x150 SE | 17 | 25 | 0.012782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2265-17_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.02944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2265-17_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.016618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2265-17_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.015878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2265-17_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.01251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2265-17_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.058584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2265-17_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0065589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2265-17_0_3_line_26 | NAYY 4x150 SE | 24 | 51 | 0.01986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2265-17_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.070813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2265-17_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0012698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2265-17_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.029358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2265-17_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0058202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2265-17_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.050489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2265-17_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.041628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2265-17_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2265-17_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.024615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_2265-17_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.018748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2265-17_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0025555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_2265-17_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.017693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2265-17_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.022298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_2265-17_0_3_line_39 | NAYY 4x150 SE | 37 | 40 | 0.022324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2265-17_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.030282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2265-17_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.0083223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2265-17_0_3_line_42 | NAYY 4x150 SE | 41 | 46 | 0.011131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2265-17_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.012875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2265-17_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.0067154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2265-17_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.024771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2265-17_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.00226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2265-17_0_3_line_47 | NAYY 4x150 SE | 46 | 51 | 0.011361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2265-17_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0025543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2265-17_0_3_line_49 | NAYY 4x150 SE | 48 | 50 | 0.020401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2265-17_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0009233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2265-17_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 52 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2582637.9131 | 1202640.829 | 2582629.8925 | 1202636.2084 | 2582605.1305 | 1202622.7768
1 | 2582637.9131 | 1202640.829 | 2582656.4657 | 1202651.5171
2 | 2582590.284 | 1202614.7237 | 2582605.1305 | 1202622.7768
3 | 2582659.9805 | 1202653.542 | 2582656.4657 | 1202651.5171
4 | 2582590.284 | 1202614.7237 | 2582576.465 | 1202608.1572
5 | 2582679.0943 | 1202662.0853 | 2582664.2606 | 1202656.0077 | 2582659.9805 | 1202653.542
6 | 2582549.2429 | 1202595.2219 | 2582576.465 | 1202608.1572
7 | 2582697.2245 | 1202668.7674 | 2582691.9305 | 1202667.3444 | 2582679.0943 | 1202662.0853
8 | 2582736.5104 | 1202676.8644 | 2582731.2807 | 1202676.1347 | 2582715.9489 | 1202673.8003 | 2582697.2245 | 1202668.7674
9 | 2582788.7136 | 1202675.7357 | 2582774.3419 | 1202676.7578
10 | 2582756.3248 | 1202677.8106 | 2582762.3307 | 1202677.6121 | 2582774.3419 | 1202676.7578
11 | 2582736.5104 | 1202676.8644 | 2582746.8398 | 1202678.124 | 2582756.3248 | 1202677.8106
12 | 2582736.5104 | 1202676.8644 | 2582733.1818 | 1202673.0831 | 2582730.4817 | 1202665.6536 | 2582729.4412 | 1202661.0986 | 2582729.004 | 1202658.6834
13 | 2582736.5104 | 1202676.8644 | 2582755.5671 | 1202717.2644 | 2582754.5655 | 1202718.2457
14 | 2582729.004 | 1202658.6834 | 2582728.7452 | 1202657.254 | 2582727.0474 | 1202651.6893 | 2582726.1686 | 1202645.1883 | 2582724.8008 | 1202637.9883 | 2582724.728 | 1202637.558
15 | 2582754.5655 | 1202718.2457 | 2582753.0112 | 1202718.2246
16 | 2582754.5655 | 1202718.2457 | 2582765.9074 | 1202718.7992
17 | 2582721.8533 | 1202624.2747 | 2582722.3174 | 1202626.5671 | 2582723.7401 | 1202631.7213 | 2582724.728 | 1202637.558
18 | 2582753.0112 | 1202718.2246 | 2582730.7736 | 1202717.924
19 | 2582778.674 | 1202719.4223 | 2582765.9074 | 1202718.7992
20 | 2582835.953 | 1202602.1645 | 2582807.9791 | 1202611.3405
21 | 2582851.8199 | 1202597.2253 | 2582838.5376 | 1202601.3167 | 2582835.953 | 1202602.1645
22 | 2582792.5084 | 1202614.9017 | 2582807.2853 | 1202611.5681 | 2582807.9791 | 1202611.3405
23 | 2582851.8199 | 1202597.2253 | 2582863.7755 | 1202593.5426
24 | 2582761.0075 | 1202565.5074 | 2582792.5084 | 1202614.9017
25 | 2582754.5505 | 1202564.3561 | 2582761.0075 | 1202565.5074
26 | 2582754.5505 | 1202564.3561 | 2582734.9984 | 1202560.8702
27 | 2582778.674 | 1202719.4223 | 2582849.4729 | 1202720.8484
28 | 2582730.7736 | 1202717.924 | 2582729.5039 | 1202717.9069
29 | 2582700.1484 | 1202717.5101 | 2582729.5039 | 1202717.9069
30 | 2582694.3287 | 1202717.4314 | 2582700.1484 | 1202717.5101
31 | 2582694.3287 | 1202717.4314 | 2582643.8467 | 1202718.254
32 | 2582602.255 | 1202716.7033 | 2582639.4843 | 1202718.3251 | 2582643.8467 | 1202718.254
33 | 2582705.4431 | 1202598.9572 | 2582702.2658 | 1202597.4429 | 2582691.2252 | 1202589.8148
34 | 2582670.9725 | 1202575.8241 | 2582676.6773 | 1202579.7633 | 2582691.2252 | 1202589.8148
35 | 2582722.3671 | 1202607.023 | 2582705.4431 | 1202598.9572
36 | 2582668.8695 | 1202574.372 | 2582670.9725 | 1202575.8241
37 | 2582722.3671 | 1202607.023 | 2582720.1558 | 1202615.8898 | 2582721.8533 | 1202624.2747
38 | 2582668.8695 | 1202574.372 | 2582682.4388 | 1202556.6784
39 | 2582668.8695 | 1202574.372 | 2582650.2752 | 1202562.0185
40 | 2582682.4388 | 1202556.6784 | 2582682.4388 | 1202556.6784 | 2582712.6649 | 1202558.518
41 | 2582650.2752 | 1202562.0185 | 2582643.3433 | 1202557.4131
42 | 2582712.6649 | 1202558.518 | 2582723.7758 | 1202559.1942
43 | 2582632.6197 | 1202550.2886 | 2582643.3433 | 1202557.4131
44 | 2582632.6197 | 1202550.2886 | 2582627.0262 | 1202546.5725
45 | 2582606.3936 | 1202532.8647 | 2582627.0262 | 1202546.5725
46 | 2582606.3936 | 1202532.8647 | 2582604.5112 | 1202531.6141
47 | 2582723.7758 | 1202559.1942 | 2582726.543 | 1202559.3627 | 2582734.9984 | 1202560.8702
48 | 2582604.5112 | 1202531.6141 | 2582602.3836 | 1202530.2006
49 | 2582585.3914 | 1202518.9114 | 2582602.3836 | 1202530.2006
50 | 2582585.3914 | 1202518.9114 | 2582584.6223 | 1202518.4005

## bus_geodata
| x | y | coords
0 | 2582637.9131 | 1202640.829
1 | 2582605.1305 | 1202622.7768
2 | 2582656.4657 | 1202651.5171
3 | 2582590.284 | 1202614.7237
4 | 2582659.9805 | 1202653.542
5 | 2582576.465 | 1202608.1572
6 | 2582679.0943 | 1202662.0853
7 | 2582549.2429 | 1202595.2219
8 | 2582697.2245 | 1202668.7674
9 | 2582788.7136 | 1202675.7357
10 | 2582774.3419 | 1202676.7578
11 | 2582756.3248 | 1202677.8106
12 | 2582736.5104 | 1202676.8644
13 | 2582729.004 | 1202658.6834
14 | 2582754.5655 | 1202718.2457
15 | 2582724.728 | 1202637.558
16 | 2582753.0112 | 1202718.2246
17 | 2582765.9074 | 1202718.7992
18 | 2582835.953 | 1202602.1645
19 | 2582807.9791 | 1202611.3405
20 | 2582851.8199 | 1202597.2253
21 | 2582792.5084 | 1202614.9017
22 | 2582863.7755 | 1202593.5426
23 | 2582761.0075 | 1202565.5074
24 | 2582754.5505 | 1202564.3561
25 | 2582778.674 | 1202719.4223
26 | 2582849.4729 | 1202720.8484
27 | 2582730.7736 | 1202717.924
28 | 2582729.5039 | 1202717.9069
29 | 2582700.1484 | 1202717.5101
30 | 2582694.3287 | 1202717.4314
31 | 2582643.8467 | 1202718.254
32 | 2582602.255 | 1202716.7033
33 | 2582691.2252 | 1202589.8148
34 | 2582705.4431 | 1202598.9572
35 | 2582670.9725 | 1202575.8241
36 | 2582722.3671 | 1202607.023
37 | 2582668.8695 | 1202574.372
38 | 2582721.8533 | 1202624.2747
39 | 2582682.4388 | 1202556.6784
40 | 2582650.2752 | 1202562.0185
41 | 2582712.6649 | 1202558.518
42 | 2582643.3433 | 1202557.4131
43 | 2582632.6197 | 1202550.2886
44 | 2582627.0262 | 1202546.5725
45 | 2582606.3936 | 1202532.8647
46 | 2582723.7758 | 1202559.1942
47 | 2582604.5112 | 1202531.6141
48 | 2582602.3836 | 1202530.2006
49 | 2582584.6223 | 1202518.4005
50 | 2582585.3914 | 1202518.9114
51 | 2582734.9984 | 1202560.8702
52 | 2582668.8695 | 1202574.372

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98774 | -0.085943 | 0.001743 | 0.00043684
1 | 0.9872 | -0.089754 | 0.0032122 | 0.00080506
2 | 0.9881 | -0.083382 | 0.0014622 | 0.00036645
3 | 0.98704 | -0.090919 | 0 | 0
4 | 0.98818 | -0.082837 | 0.0020069 | 0.00050297
5 | 0.98689 | -0.091974 | 0.0030583 | 0.00076647
6 | 0.98864 | -0.079588 | 0.0015973 | 0.00040032
7 | 0.98673 | -0.093108 | 0.0036707 | 0.00091995
8 | 0.98911 | -0.076276 | 0.0020785 | 0.00052093
9 | 0.98969 | -0.072124 | 0.0032415 | 0.0008124
10 | 0.98976 | -0.071648 | 0.0027618 | 0.00069218
11 | 0.98992 | -0.070544 | 0.0037866 | 0.00094901
12 | 0.9902 | -0.06856 | 0 | 0
13 | 0.99184 | -0.056993 | 0.0023278 | 0.0005834
14 | 0.98833 | -0.081743 | 0 | 0
15 | 0.99368 | -0.04408 | 0.0039736 | 0.00099588
16 | 0.98829 | -0.082079 | 0.0019839 | 0.00049722
17 | 0.98822 | -0.082549 | 0.0019621 | 0.00049175
18 | 0.98611 | -0.097591 | 0.0066943 | 0.0016778
19 | 0.98654 | -0.094499 | 0.0021931 | 0.00054965
20 | 0.98602 | -0.098196 | 0.0020018 | 0.0005017
21 | 0.98683 | -0.092475 | 0.0026802 | 0.00067172
22 | 0.98599 | -0.098393 | 0.0015389 | 0.00038569
23 | 0.98811 | -0.08341 | 0.013321 | 0.0033386
24 | 0.98838 | -0.081503 | 0.014019 | 0.0035134
25 | 0.98813 | -0.0832 | 0.0023158 | 0.00058038
26 | 0.98786 | -0.085126 | 0.0026567 | 0.00066582
27 | 0.98767 | -0.086431 | 0.0011027 | 0.00027637
28 | 0.98764 | -0.086665 | 0.0030898 | 0.00077438
29 | 0.987 | -0.091157 | 0.0055028 | 0.0013791
30 | 0.98693 | -0.09172 | 0 | 0
31 | 0.98624 | -0.096605 | 0.0011057 | 0.00027711
32 | 0.98574 | -0.10016 | 0.0083248 | 0.0020864
33 | 1 | 0 | -0.23976 | -0.060165
34 | 0.99836 | -0.011411 | 0.0018007 | 0.00045131
35 | 0.997 | -0.020885 | 0.0045477 | 0.0011398
36 | 0.99658 | -0.023744 | 0 | 0
37 | 0.9967 | -0.023002 | 0 | 0
38 | 0.99491 | -0.035424 | 0.002557 | 0.00064085
39 | 0.99501 | -0.03483 | 0.028107 | 0.0070442
40 | 0.99479 | -0.03638 | 0.0077162 | 0.0019339
41 | 0.99163 | -0.058511 | 0.0069325 | 0.0017375
42 | 0.99417 | -0.040732 | 0.003395 | 0.00085087
43 | 0.99328 | -0.047033 | 0.0076328 | 0.001913
44 | 0.99288 | -0.049805 | 0.012008 | 0.0030094
45 | 0.99186 | -0.05703 | 0.0035753 | 0.00089605
46 | 0.9905 | -0.066471 | 0.014814 | 0.0037128
47 | 0.99178 | -0.057608 | 0.014109 | 0.003536
48 | 0.99173 | -0.057895 | 0.005325 | 0.0013346
49 | 0.99156 | -0.059116 | 0.0027903 | 0.0006993
50 | 0.99157 | -0.05909 | 0.0029774 | 0.00074621
51 | 0.98959 | -0.072898 | 0.013098 | 0.0032827
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.009949 | 0.0024932 | -0.0099438 | -0.0024917 | 5.2463e-06 | 1.539e-06 | 0.014988 | 0.014988 | 0.014988 | 0.98774 | -0.085943 | 0.9872 | -0.089754 | 5.5512
1 | -0.011692 | -0.0029301 | 0.011696 | 0.0029314 | 4.145e-06 | 1.3201e-06 | 0.017614 | 0.017614 | 0.017614 | 0.98774 | -0.085943 | 0.9881 | -0.083382 | 6.5236
2 | 0.0067316 | 0.0016866 | -0.0067305 | -0.0016864 | 1.085e-06 | 2.014e-07 | 0.010146 | 0.010146 | 0.010146 | 0.9872 | -0.089754 | 0.98704 | -0.090919 | 3.7579
3 | -0.013158 | -0.0032979 | 0.013159 | 0.0032982 | 9.9388e-07 | 3.303e-07 | 0.019816 | 0.019816 | 0.019816 | 0.9881 | -0.083382 | 0.98818 | -0.082837 | 7.3391
4 | 0.0067305 | 0.0016864 | -0.0067295 | -0.0016863 | 9.8288e-07 | 1.825e-07 | 0.010146 | 0.010146 | 0.010146 | 0.98704 | -0.090919 | 0.98689 | -0.091974 | 3.758
5 | -0.015166 | -0.0038012 | 0.015173 | 0.0038035 | 6.8246e-06 | 2.3561e-06 | 0.022838 | 0.022837 | 0.022838 | 0.98818 | -0.082837 | 0.98864 | -0.079588 | 8.4584
6 | 0.0036712 | 0.00091979 | -0.0036707 | -0.00091995 | 5.7624e-07 | -1.6341e-07 | 0.0055353 | 0.0055354 | 0.0055354 | 0.98689 | -0.091974 | 0.98673 | -0.093108 | 2.0502
7 | -0.01677 | -0.0042038 | 0.016778 | 0.0042065 | 7.6945e-06 | 2.7111e-06 | 0.025242 | 0.025241 | 0.025242 | 0.98864 | -0.079588 | 0.98911 | -0.076276 | 9.3487
8 | -0.018857 | -0.0047275 | 0.018877 | 0.0047347 | 2.0176e-05 | 7.2438e-06 | 0.028368 | 0.028368 | 0.028368 | 0.98911 | -0.076276 | 0.9902 | -0.06856 | 10.5068
9 | -0.0032415 | -0.0008124 | 0.0032417 | 0.0008123 | 2.1355e-07 | -1.0303e-07 | 0.0048737 | 0.0048736 | 0.0048737 | 0.98969 | -0.072124 | 0.98976 | -0.071648 | 1.8051
10 | -0.0060036 | -0.0015045 | 0.0060045 | 0.0015046 | 9.1758e-07 | 1.2089e-07 | 0.0090258 | 0.0090257 | 0.0090258 | 0.98976 | -0.071648 | 0.98992 | -0.070544 | 3.3429
11 | -0.0097911 | -0.0024536 | 0.0097938 | 0.0024544 | 2.6892e-06 | 7.7845e-07 | 0.014718 | 0.014717 | 0.014718 | 0.98992 | -0.070544 | 0.9902 | -0.06856 | 5.4509
12 | -0.056802 | -0.014247 | 0.056893 | 0.014282 | 9.1254e-05 | 3.4839e-05 | 0.085363 | 0.085362 | 0.085363 | 0.9902 | -0.06856 | 0.99184 | -0.056993 | 31.6158
13 | 0.028131 | 0.0070582 | -0.02808 | -0.0070391 | 5.1364e-05 | 1.9164e-05 | 0.042277 | 0.042277 | 0.042277 | 0.9902 | -0.06856 | 0.98833 | -0.081743 | 15.6582
14 | -0.059221 | -0.014866 | 0.059327 | 0.014906 | 0.00010639 | 4.0641e-05 | 0.088855 | 0.088855 | 0.088855 | 0.99184 | -0.056993 | 0.99368 | -0.04408 | 32.9092
15 | 0.021143 | 0.0053016 | -0.021142 | -0.0053012 | 9.83e-07 | 3.5816e-07 | 0.031834 | 0.031834 | 0.031834 | 0.98833 | -0.081743 | 0.98829 | -0.082079 | 11.7904
16 | 0.0069364 | 0.0017375 | -0.0069357 | -0.0017373 | 7.7276e-07 | 1.5171e-07 | 0.010443 | 0.010443 | 0.010443 | 0.98833 | -0.081743 | 0.98822 | -0.082549 | 3.8678
17 | -0.063301 | -0.015902 | 0.063377 | 0.015931 | 7.6307e-05 | 2.9172e-05 | 0.094805 | 0.094805 | 0.094805 | 0.99368 | -0.04408 | 0.99491 | -0.035424 | 35.113
18 | 0.019158 | 0.004804 | -0.019147 | -0.0047999 | 1.1548e-05 | 4.1568e-06 | 0.028847 | 0.028847 | 0.028847 | 0.98829 | -0.082079 | 0.98767 | -0.086431 | 10.6841
19 | 0.0049736 | 0.0012456 | -0.0049731 | -0.0012456 | 4.4729e-07 | 8.2886e-09 | 0.0074887 | 0.0074887 | 0.0074887 | 0.98822 | -0.082549 | 0.98813 | -0.0832 | 2.7736
20 | -0.010235 | -0.0025649 | 0.01024 | 0.0025662 | 4.3822e-06 | 1.3097e-06 | 0.015445 | 0.015445 | 0.015445 | 0.98611 | -0.097591 | 0.98654 | -0.094499 | 5.7203
21 | 0.0035411 | 0.00088715 | -0.0035408 | -0.00088725 | 2.9607e-07 | -9.8113e-08 | 0.0053433 | 0.0053434 | 0.0053434 | 0.98611 | -0.097591 | 0.98602 | -0.098196 | 1.979
22 | -0.012433 | -0.0031159 | 0.012436 | 0.003117 | 3.4843e-06 | 1.1373e-06 | 0.018753 | 0.018753 | 0.018753 | 0.98654 | -0.094499 | 0.98683 | -0.092475 | 6.9454
23 | 0.001539 | 0.00038555 | -0.0015389 | -0.00038569 | 4.2104e-08 | -1.4337e-07 | 0.0023224 | 0.0023225 | 0.0023225 | 0.98602 | -0.098196 | 0.98599 | -0.098393 | 0.86017
24 | -0.015117 | -0.0037887 | 0.015136 | 0.0037953 | 1.8993e-05 | 6.5557e-06 | 0.022794 | 0.022794 | 0.022794 | 0.98683 | -0.092475 | 0.98811 | -0.08341 | 8.4422
25 | -0.028457 | -0.0071338 | 0.028464 | 0.0071366 | 7.5162e-06 | 2.8068e-06 | 0.042854 | 0.042854 | 0.042854 | 0.98811 | -0.08341 | 0.98838 | -0.081503 | 15.8719
26 | -0.042483 | -0.01065 | 0.042533 | 0.010669 | 5.0697e-05 | 1.9244e-05 | 0.063959 | 0.063959 | 0.063959 | 0.98838 | -0.081503 | 0.98959 | -0.072898 | 23.6887
27 | 0.0026574 | 0.00066519 | -0.0026567 | -0.00066582 | 7.0756e-07 | -6.347e-07 | 0.0040014 | 0.0040017 | 0.0040017 | 0.98813 | -0.0832 | 0.98786 | -0.085126 | 1.4821
28 | 0.018044 | 0.0045235 | -0.018044 | -0.0045233 | 5.8562e-07 | 2.0899e-07 | 0.027186 | 0.027186 | 0.027186 | 0.98767 | -0.086431 | 0.98764 | -0.086665 | 10.0688
29 | 0.014954 | 0.0037489 | -0.014945 | -0.0037457 | 9.2994e-06 | 3.2012e-06 | 0.02253 | 0.022531 | 0.022531 | 0.98764 | -0.086665 | 0.987 | -0.091157 | 8.3447
30 | 0.0094417 | 0.0023666 | -0.009441 | -0.0023664 | 7.3588e-07 | 2.0865e-07 | 0.014235 | 0.014235 | 0.014235 | 0.987 | -0.091157 | 0.98693 | -0.09172 | 5.2721
31 | 0.009441 | 0.0023664 | -0.0094346 | -0.0023646 | 6.3837e-06 | 1.8106e-06 | 0.014235 | 0.014235 | 0.014235 | 0.98693 | -0.09172 | 0.98624 | -0.096605 | 5.2721
32 | 0.0083289 | 0.0020874 | -0.0083248 | -0.0020864 | 4.1021e-06 | 1.0468e-06 | 0.012567 | 0.012567 | 0.012567 | 0.98624 | -0.096605 | 0.98574 | -0.10016 | 4.6543
33 | 0.068064 | 0.01715 | -0.067956 | -0.017108 | 0.00010849 | 4.1507e-05 | 0.10131 | 0.10131 | 0.10131 | 1 | 0 | 0.99836 | -0.011411 | 37.5234
34 | 0.1709 | 0.043016 | -0.1704 | -0.042825 | 0.0004969 | 0.00019047 | 0.25436 | 0.25436 | 0.25436 | 1 | 0 | 0.997 | -0.020885 | 47.1042
35 | 0.066155 | 0.016657 | -0.066041 | -0.016613 | 0.0001138 | 4.3525e-05 | 0.098629 | 0.098629 | 0.098629 | 0.99836 | -0.011411 | 0.99658 | -0.023744 | 36.5294
36 | 0.16585 | 0.041686 | -0.1658 | -0.041667 | 4.8871e-05 | 1.873e-05 | 0.24758 | 0.24758 | 0.24758 | 0.997 | -0.020885 | 0.9967 | -0.023002 | 45.8472
37 | 0.066041 | 0.016613 | -0.065934 | -0.016572 | 0.0001074 | 4.1078e-05 | 0.098629 | 0.098629 | 0.098629 | 0.99658 | -0.023744 | 0.99491 | -0.035424 | 36.5294
38 | 0.10604 | 0.02666 | -0.10587 | -0.026593 | 0.00017443 | 6.6509e-05 | 0.15835 | 0.15835 | 0.15835 | 0.9967 | -0.023002 | 0.99501 | -0.03483 | 29.3232
39 | 0.059761 | 0.015007 | -0.05965 | -0.014965 | 0.00011091 | 4.2368e-05 | 0.08923 | 0.08923 | 0.08923 | 0.9967 | -0.023002 | 0.99479 | -0.03638 | 33.0482
40 | 0.077762 | 0.019549 | -0.077506 | -0.019451 | 0.00025564 | 9.793e-05 | 0.11631 | 0.11631 | 0.11631 | 0.99501 | -0.03483 | 0.99163 | -0.058511 | 43.0787
41 | 0.051934 | 0.013031 | -0.051902 | -0.013019 | 3.1343e-05 | 1.1947e-05 | 0.077688 | 0.077688 | 0.077688 | 0.99479 | -0.03638 | 0.99417 | -0.040732 | 28.7734
42 | 0.070573 | 0.017714 | -0.070495 | -0.017684 | 7.7913e-05 | 2.9823e-05 | 0.10591 | 0.10591 | 0.10591 | 0.99163 | -0.058511 | 0.9905 | -0.066471 | 39.2258
43 | 0.048507 | 0.012168 | -0.048465 | -0.012152 | 4.2352e-05 | 1.6122e-05 | 0.072607 | 0.072607 | 0.072607 | 0.99417 | -0.040732 | 0.99328 | -0.047033 | 26.8914
44 | 0.040832 | 0.010239 | -0.040816 | -0.010233 | 1.5681e-05 | 5.9441e-06 | 0.061172 | 0.061172 | 0.061172 | 0.99328 | -0.047033 | 0.99288 | -0.049805 | 22.6564
45 | 0.028809 | 0.0072238 | -0.02878 | -0.0072131 | 2.8816e-05 | 1.0763e-05 | 0.043177 | 0.043177 | 0.043177 | 0.99288 | -0.049805 | 0.99186 | -0.05703 | 15.9914
46 | 0.025205 | 0.006317 | -0.025203 | -0.0063163 | 2.0164e-06 | 7.4636e-07 | 0.037813 | 0.037813 | 0.037813 | 0.99186 | -0.05703 | 0.99178 | -0.057608 | 14.0048
47 | 0.055681 | 0.013971 | -0.055632 | -0.013952 | 4.9611e-05 | 1.8935e-05 | 0.083655 | 0.083655 | 0.083655 | 0.9905 | -0.066471 | 0.98959 | -0.072898 | 30.9832
48 | 0.011094 | 0.0027803 | -0.011094 | -0.0027802 | 4.416e-07 | 1.3689e-07 | 0.016645 | 0.016645 | 0.016645 | 0.99178 | -0.057608 | 0.99173 | -0.057895 | 6.1648
49 | 0.0057686 | 0.0014456 | -0.0057677 | -0.0014455 | 9.5367e-07 | 1.036e-07 | 0.0086553 | 0.0086554 | 0.0086554 | 0.99173 | -0.057895 | 0.99157 | -0.05909 | 3.2057
50 | -0.0027903 | -0.0006993 | 0.0027903 | 0.0006993 | 1.0102e-08 | -8.0243e-09 | 0.0041873 | 0.0041873 | 0.0041873 | 0.99156 | -0.059116 | 0.99157 | -0.05909 | 1.5508

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24236 | 0.060817

## res_load
| p_mw | q_mvar
0 | 0.001743 | 0.00043684
1 | 0.0032122 | 0.00080506
2 | 0.0014622 | 0.00036645
3 | 0.0020069 | 0.00050297
4 | 0.0030583 | 0.00076647
5 | 0.0015973 | 0.00040032
6 | 0.0036707 | 0.00091995
7 | 0.0020785 | 0.00052093
8 | 0.0032415 | 0.0008124
9 | 0.0027618 | 0.00069218
10 | 0.0037866 | 0.00094901
11 | 0.0023278 | 0.0005834
12 | 0.0039736 | 0.00099588
13 | 0.0019839 | 0.00049722
14 | 0.0019621 | 0.00049175
15 | 0.0066943 | 0.0016778
16 | 0.0021931 | 0.00054965
17 | 0.0020018 | 0.0005017
18 | 0.0026802 | 0.00067172
19 | 0.0015389 | 0.00038569
20 | 0.013321 | 0.0033386
21 | 0.014019 | 0.0035134
22 | 0.0023158 | 0.00058038
23 | 0.0026567 | 0.00066582
24 | 0.0011027 | 0.00027637
25 | 0.0030898 | 0.00077438
26 | 0.0055028 | 0.0013791
27 | 0.0011057 | 0.00027711
28 | 0.0083248 | 0.0020864
29 | 0.0026014 | 0.00065198
30 | 0.0018007 | 0.00045131
31 | 0.0045477 | 0.0011398
32 | 0.002557 | 0.00064085
33 | 0.028107 | 0.0070442
34 | 0.0077162 | 0.0019339
35 | 0.0069325 | 0.0017375
36 | 0.003395 | 0.00085087
37 | 0.0076328 | 0.001913
38 | 0.012008 | 0.0030094
39 | 0.0035753 | 0.00089605
40 | 0.014814 | 0.0037128
41 | 0.014109 | 0.003536
42 | 0.005325 | 0.0013346
43 | 0.0027903 | 0.0006993
44 | 0.0029774 | 0.00074621
45 | 0.013098 | 0.0032827

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1