## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2265-1_1_4_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_2265-1_1_4_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_2265-1_1_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2265-1_1_4_node_35 | 0.4 | n |  | TRUE
4 | bus_LV_2265-1_1_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2265-1_1_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2265-1_1_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2265-1_1_4_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_2265-1_1_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_2265-1_1_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_2265-1_1_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_2265-1_1_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_2265-1_1_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_2265-1_1_4_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_2265-1_1_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2265-1_1_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_2265-1_1_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_2265-1_1_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_2265-1_1_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_2265-1_1_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_2265-1_1_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_2265-1_1_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_2265-1_1_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_2265-1_1_4_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_2265-1_1_4_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_2265-1_1_4_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_2265-1_1_4_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_2265-1_1_4_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_2265-1_1_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_2265-1_1_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_2265-1_1_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_2265-1_1_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_2265-1_1_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_2265-1_1_4_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_2265-1_1_4_node_51 | 0.4 | n |  | TRUE
35 | bus_MV_381_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2265-1_1_4_load_6 | 2 | 0.0020964 | 0.00052541 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2265-1_1_4_load_35 | 3 | 0.0017213 | 0.0004314 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2265-1_1_4_load_54 | 7 | 0.0031967 | 0.00080116 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2265-1_1_4_load_52 | 8 | 0.0034043 | 0.00085321 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2265-1_1_4_load_39 | 10 | 0.0027224 | 0.0006823 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2265-1_1_4_load_33 | 11 | 0.0024531 | 0.00061479 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2265-1_1_4_load_32 | 14 | 0.0052199 | 0.0013082 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2265-1_1_4_load_30 | 15 | 0.0054295 | 0.0013608 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2265-1_1_4_load_38 | 16 | 0.0027597 | 0.00069163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2265-1_1_4_load_36 | 17 | 0.0054276 | 0.0013603 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2265-1_1_4_load_40 | 18 | 0.0021988 | 0.00055107 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2265-1_1_4_load_59 | 21 | 0.0010235 | 0.00025652 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2265-1_1_4_load_58 | 22 | 0.0015093 | 0.00037827 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2265-1_1_4_load_43 | 23 | 0.00083829 | 0.0002101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2265-1_1_4_load_46 | 26 | 0.0019433 | 0.00048705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2265-1_1_4_load_48 | 27 | 0.0040269 | 0.0010092 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2265-1_1_4_load_49 | 28 | 0.0086511 | 0.0021682 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2265-1_1_4_load_50 | 30 | 0.0074423 | 0.0018652 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2265-1_1_4_load_55 | 32 | 0.0034388 | 0.00086185 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2265-1_1_4_load_60 | 33 | 0.077268 | 0.019365 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2265-1_1_4_load_51 | 34 | 0.0014052 | 0.00035216 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2265-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.008635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2265-1_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.079714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2265-1_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2265-1_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.29282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2265-1_1_4_line_4 | NAYY 4x150 SE | 3 | 12 | 0.0071415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2265-1_1_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.18267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2265-1_1_4_line_6 | NAYY 4x150 SE | 5 | 9 | 0.2501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2265-1_1_4_line_7 | NAYY 4x150 SE | 5 | 10 | 0.081296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2265-1_1_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.060755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2265-1_1_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.082172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2265-1_1_4_line_10 | NAYY 4x150 SE | 7 | 13 | 0.11499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2265-1_1_4_line_11 | NAYY 4x150 SE | 9 | 14 | 0.093388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2265-1_1_4_line_12 | NAYY 4x150 SE | 9 | 15 | 0.024593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2265-1_1_4_line_13 | NAYY 4x150 SE | 10 | 16 | 0.031531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2265-1_1_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.010636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2265-1_1_4_line_15 | NAYY 4x150 SE | 13 | 28 | 0.085796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2265-1_1_4_line_16 | NAYY 4x150 SE | 13 | 33 | 0.058475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2265-1_1_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.030979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2265-1_1_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.028138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2265-1_1_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.072202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2265-1_1_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.1203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2265-1_1_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.04404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2265-1_1_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.011403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2265-1_1_4_line_23 | NAYY 4x150 SE | 22 | 31 | 0.0062787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2265-1_1_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.052322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_2265-1_1_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.042536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2265-1_1_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.037868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2265-1_1_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.047966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2265-1_1_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.040777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2265-1_1_4_line_29 | NAYY 4x150 SE | 26 | 29 | 0.045715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2265-1_1_4_line_30 | NAYY 4x150 SE | 27 | 30 | 0.0060385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2265-1_1_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.032589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_2265-1_1_4_line_32 | NAYY 4x150 SE | 29 | 32 | 0.02097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2265-1_1_4_line_33 | NAYY 4x150 SE | 32 | 34 | 0.019314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2265-1_1_4_trafo_61 | 0.25 MVA 20/0.4 kV | 35 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2581782.0371 | 1203409.2016 | 2581774.074 | 1203412.5945
1 | 2581774.074 | 1203412.5945 | 2581729.9959 | 1203431.3734 | 2581721.8193 | 1203432.1212 | 2581716.3546 | 1203429.0363 | 2581712.2091 | 1203412.2235
2 | 2581782.0371 | 1203409.2016 | 2581780.0692 | 1203402.6262 | 2581776.7958 | 1203393.6347
3 | 2581593.8649 | 1203147.8384 | 2581633.8654 | 1203205.0348 | 2581669.3439 | 1203269.0492 | 2581692.3194 | 1203327.5993 | 2581702.2784 | 1203371.9484 | 2581712.2091 | 1203412.2235
4 | 2581774.3528 | 1203386.9241 | 2581776.7958 | 1203393.6347
5 | 2581446.863 | 1203185.9828 | 2581458.8907 | 1203183.0325 | 2581473.7254 | 1203184.8095 | 2581485.6575 | 1203192.7322 | 2581496.2522 | 1203206.0509 | 2581503.2035 | 1203214.8897 | 2581593.8649 | 1203147.8384
6 | 2581520.9226 | 1203424.8827 | 2581446.863 | 1203185.9828
7 | 2581446.863 | 1203185.9828 | 2581439.0237 | 1203160.8157 | 2581422.6886 | 1203108.3646
8 | 2581403.3164 | 1203292.1435 | 2581356.4087 | 1203253.5328
9 | 2581403.3164 | 1203292.1435 | 2581435.7157 | 1203329.4182 | 2581454.5566 | 1203352.1496 | 2581456.5351 | 1203354.7403
10 | 2581267.6248 | 1203180.4529 | 2581356.4087 | 1203253.5328
11 | 2581520.9226 | 1203424.8827 | 2581541.1934 | 1203491.7563 | 2581548.0157 | 1203514.254
12 | 2581520.9226 | 1203424.8827 | 2581540.6304 | 1203410.1719
13 | 2581413.313 | 1203078.2599 | 2581422.6886 | 1203108.3646
14 | 2581774.3528 | 1203386.9241 | 2581770.7158 | 1203376.9298
15 | 2581267.6248 | 1203180.4529 | 2581319.6575 | 1203133.6303 | 2581319.9475 | 1203126.6478 | 2581313.17 | 1203121.0206
16 | 2581267.6248 | 1203180.4529 | 2581220.5677 | 1203145.7398
17 | 2581557.0057 | 1203543.9003 | 2581548.0157 | 1203514.254
18 | 2581413.313 | 1203078.2599 | 2581404.9463 | 1203051.3948
19 | 2581383.4772 | 1202982.4586 | 2581404.9463 | 1203051.3948
20 | 2581383.4772 | 1202982.4586 | 2581354.553 | 1202891.7886 | 2581348.7529 | 1202895.998 | 2581345.5863 | 1202897.9979 | 2581341.1296 | 1202901.1136 | 2581334.039 | 1202906.2831
21 | 2581334.039 | 1202906.2831 | 2581324.4562 | 1202914.9624 | 2581304.6936 | 1202938.9908
22 | 2581297.4501 | 1202947.7978 | 2581304.6936 | 1202938.9908
23 | 2581293.4618 | 1202952.6471 | 2581297.4501 | 1202947.7978
24 | 2581209.9723 | 1203033.0098 | 2581249.5893 | 1203067.1874
25 | 2581281.7967 | 1203094.9727 | 2581249.5893 | 1203067.1874
26 | 2581209.9723 | 1203033.0098 | 2581239.1557 | 1203008.8784
27 | 2581281.7967 | 1203094.9727 | 2581315.3946 | 1203060.7399
28 | 2581281.7967 | 1203094.9727 | 2581313.17 | 1203121.0206
29 | 2581272.5172 | 1202977.66 | 2581247.0597 | 1203002.3426 | 2581239.1557 | 1203008.8784
30 | 2581315.3946 | 1203060.7399 | 2581316.9733 | 1203059.1313 | 2581317.042 | 1203055.3473
31 | 2581272.5172 | 1202977.66 | 2581293.4618 | 1202952.6471
32 | 2581272.5172 | 1202977.66 | 2581288.9796 | 1202990.6495
33 | 2581304.1421 | 1203002.6133 | 2581288.9796 | 1202990.6495

## bus_geodata
| x | y | coords
0 | 2581774.074 | 1203412.5945
1 | 2581782.0371 | 1203409.2016
2 | 2581712.2091 | 1203412.2235
3 | 2581776.7958 | 1203393.6347
4 | 2581593.8649 | 1203147.8384
5 | 2581446.863 | 1203185.9828
6 | 2581403.3165 | 1203292.1435
7 | 2581356.4087 | 1203253.5328
8 | 2581456.5351 | 1203354.7403
9 | 2581520.9226 | 1203424.8827
10 | 2581422.6886 | 1203108.3646
11 | 2581770.7158 | 1203376.9298
12 | 2581774.3528 | 1203386.9241
13 | 2581267.6248 | 1203180.4529
14 | 2581548.0157 | 1203514.254
15 | 2581540.6304 | 1203410.1719
16 | 2581413.313 | 1203078.2599
17 | 2581557.0057 | 1203543.9003
18 | 2581404.9463 | 1203051.3948
19 | 2581383.4772 | 1202982.4586
20 | 2581334.039 | 1202906.2831
21 | 2581304.6936 | 1202938.9908
22 | 2581297.4502 | 1202947.7978
23 | 2581249.5893 | 1203067.1874
24 | 2581209.9723 | 1203033.0098
25 | 2581281.7967 | 1203094.9727
26 | 2581239.1557 | 1203008.8784
27 | 2581315.3946 | 1203060.7399
28 | 2581313.17 | 1203121.0206
29 | 2581272.5172 | 1202977.66
30 | 2581317.042 | 1203055.3473
31 | 2581293.4618 | 1202952.6471
32 | 2581288.9796 | 1202990.6495
33 | 2581220.5677 | 1203145.7398
34 | 2581304.1421 | 1203002.6133
35 | 2581281.7967 | 1203094.9727

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97345 | -0.18731 | 0 | 0
1 | 0.97339 | -0.18769 | 0 | 0
2 | 0.97393 | -0.1838 | 0.0020964 | 0.00052541
3 | 0.97329 | -0.18841 | 0.0017213 | 0.0004314
4 | 0.97662 | -0.16445 | 0 | 0
5 | 0.9783 | -0.1524 | 0 | 0
6 | 0.99862 | -0.0096824 | 0 | 0
7 | 0.99892 | -0.0076064 | 0.0031967 | 0.00080116
8 | 0.99822 | -0.012486 | 0.0034043 | 0.00085321
9 | 0.9724 | -0.19465 | 0 | 0
10 | 0.98096 | -0.13342 | 0.0027224 | 0.0006823
11 | 0.97323 | -0.18887 | 0.0024531 | 0.00061479
12 | 0.97327 | -0.18859 | 0 | 0
13 | 1 | 0 | -0.14644 | -0.036661
14 | 0.97094 | -0.20517 | 0.0052199 | 0.0013082
15 | 0.9722 | -0.19606 | 0.0054295 | 0.0013608
16 | 0.98212 | -0.1252 | 0.0027597 | 0.00069163
17 | 0.97069 | -0.20695 | 0.0054276 | 0.0013603
18 | 0.98327 | -0.11708 | 0.0021988 | 0.00055107
19 | 0.98485 | -0.10586 | 0 | 0
20 | 0.98749 | -0.087245 | 0 | 0
21 | 0.98846 | -0.080451 | 0.0010235 | 0.00025652
22 | 0.98872 | -0.078634 | 0.0015093 | 0.00037827
23 | 0.99348 | -0.045335 | 0.00083829 | 0.0002101
24 | 0.99198 | -0.055809 | 0 | 0
25 | 0.99472 | -0.036661 | 0 | 0
26 | 0.99089 | -0.063408 | 0.0019433 | 0.00048705
27 | 0.99393 | -0.042216 | 0.0040269 | 0.0010092
28 | 0.99625 | -0.026012 | 0.0086511 | 0.0021682
29 | 0.98964 | -0.072148 | 0 | 0
30 | 0.99387 | -0.04267 | 0.0074423 | 0.0018652
31 | 0.98887 | -0.077586 | 0 | 0
32 | 0.9895 | -0.073184 | 0.0034388 | 0.00086185
33 | 0.99352 | -0.04539 | 0.077268 | 0.019365
34 | 0.98946 | -0.073461 | 0.0014052 | 0.00035216
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0041752 | 0.001046 | -0.004175 | -0.001046 | 2.1947e-07 | -2.2933e-08 | 0.006382 | 0.0063821 | 0.0063821 | 0.97345 | -0.18731 | 0.97339 | -0.18769 | 2.3637
1 | -0.0041752 | -0.001046 | 0.0041772 | 0.0010458 | 2.0259e-06 | -2.123e-07 | 0.006382 | 0.0063817 | 0.006382 | 0.97345 | -0.18731 | 0.97393 | -0.1838 | 2.3637
2 | 0.004175 | 0.001046 | -0.0041745 | -0.001046 | 4.1765e-07 | -4.3606e-08 | 0.0063821 | 0.0063821 | 0.0063821 | 0.97339 | -0.18769 | 0.97329 | -0.18841 | 2.3638
3 | -0.0062736 | -0.0015712 | 0.0062904 | 0.001574 | 1.6783e-05 | 2.8011e-06 | 0.0095847 | 0.0095834 | 0.0095847 | 0.97393 | -0.1838 | 0.97662 | -0.16445 | 3.5499
4 | 0.0024532 | 0.00061463 | -0.0024532 | -0.0006147 | 6.2684e-08 | -6.4642e-08 | 0.0037505 | 0.0037505 | 0.0037505 | 0.97329 | -0.18841 | 0.97327 | -0.18859 | 1.3891
5 | -0.0062904 | -0.001574 | 0.0063009 | 0.0015757 | 1.0468e-05 | 1.7364e-06 | 0.0095834 | 0.0095826 | 0.0095834 | 0.97662 | -0.16445 | 0.9783 | -0.1524 | 3.5494
6 | 0.016189 | 0.0040676 | -0.016095 | -0.0040343 | 9.4665e-05 | 3.3288e-05 | 0.024628 | 0.024629 | 0.024629 | 0.9783 | -0.1524 | 0.9724 | -0.19465 | 9.122
7 | -0.02249 | -0.0056433 | 0.02255 | 0.0056651 | 5.9371e-05 | 2.1811e-05 | 0.034211 | 0.03421 | 0.034211 | 0.9783 | -0.1524 | 0.98096 | -0.13342 | 12.6707
8 | -0.0034057 | -0.00085264 | 0.0034066 | 0.00085222 | 9.7611e-07 | -4.1967e-07 | 0.0050743 | 0.0050741 | 0.0050743 | 0.99862 | -0.0096824 | 0.99892 | -0.0076064 | 1.8794
9 | 0.0034057 | 0.00085264 | -0.0034043 | -0.00085321 | 1.3204e-06 | -5.6679e-07 | 0.0050743 | 0.0050747 | 0.0050747 | 0.99862 | -0.0096824 | 0.99822 | -0.012486 | 1.8795
10 | -0.0066033 | -0.0016534 | 0.0066102 | 0.0016545 | 6.9416e-06 | 1.1629e-06 | 0.0098359 | 0.0098354 | 0.0098359 | 0.99892 | -0.0076064 | 1 | 0 | 3.6429
11 | 0.010664 | 0.0026734 | -0.010649 | -0.0026686 | 1.552e-05 | 4.8125e-06 | 0.016319 | 0.01632 | 0.01632 | 0.9724 | -0.19465 | 0.97094 | -0.20517 | 6.0443
12 | 0.0054305 | 0.0013609 | -0.0054295 | -0.0013608 | 1.0598e-06 | 1.0258e-07 | 0.00831 | 0.0083102 | 0.0083102 | 0.9724 | -0.19465 | 0.9722 | -0.19606 | 3.0778
13 | -0.025272 | -0.0063474 | 0.025301 | 0.0063581 | 2.8922e-05 | 1.0725e-05 | 0.03834 | 0.03834 | 0.03834 | 0.98096 | -0.13342 | 0.98212 | -0.1252 | 14.2
14 | -0.0024531 | -0.00061479 | 0.0024532 | 0.0006147 | 9.3355e-08 | -9.6259e-08 | 0.0037506 | 0.0037505 | 0.0037506 | 0.97323 | -0.18887 | 0.97327 | -0.18859 | 1.3891
15 | 0.06127 | 0.015454 | -0.061048 | -0.015371 | 0.00022268 | 8.3402e-05 | 0.091206 | 0.091207 | 0.091207 | 1 | 0 | 0.99625 | -0.026012 | 16.8901
16 | 0.077757 | 0.019552 | -0.077268 | -0.019365 | 0.00048867 | 0.00018719 | 0.11573 | 0.11573 | 0.11573 | 1 | 0 | 0.99352 | -0.04539 | 42.8616
17 | 0.0054289 | 0.0013604 | -0.0054276 | -0.0013603 | 1.3382e-06 | 1.3163e-07 | 0.00832 | 0.0083202 | 0.0083202 | 0.97094 | -0.20517 | 0.97069 | -0.20695 | 3.0815
18 | -0.028061 | -0.0070498 | 0.028092 | 0.0070616 | 3.1745e-05 | 1.1853e-05 | 0.042521 | 0.042521 | 0.042521 | 0.98212 | -0.1252 | 0.98327 | -0.11708 | 15.7485
19 | -0.030291 | -0.0076127 | 0.030339 | 0.0076291 | 4.7353e-05 | 1.6378e-05 | 0.045848 | 0.045848 | 0.045848 | 0.98327 | -0.11708 | 0.98485 | -0.10586 | 8.4905
20 | -0.030339 | -0.0076291 | 0.030417 | 0.0076563 | 7.8892e-05 | 2.7273e-05 | 0.045848 | 0.045847 | 0.045848 | 0.98485 | -0.10586 | 0.98749 | -0.087245 | 8.4903
21 | -0.030417 | -0.0076563 | 0.030446 | 0.0076663 | 2.8881e-05 | 9.9803e-06 | 0.045847 | 0.045846 | 0.045847 | 0.98749 | -0.087245 | 0.98846 | -0.080451 | 8.4901
22 | -0.03147 | -0.0079228 | 0.031478 | 0.0079256 | 7.9891e-06 | 2.7803e-06 | 0.047387 | 0.047387 | 0.047387 | 0.98846 | -0.080451 | 0.98872 | -0.078634 | 8.7754
23 | -0.032987 | -0.0083039 | 0.032992 | 0.0083056 | 4.8307e-06 | 1.6969e-06 | 0.049658 | 0.049658 | 0.049658 | 0.98872 | -0.078634 | 0.98887 | -0.077586 | 9.196
24 | 0.039952 | 0.010068 | -0.039894 | -0.010047 | 5.8494e-05 | 2.1145e-05 | 0.05986 | 0.05986 | 0.05986 | 0.99348 | -0.045335 | 0.99198 | -0.055809 | 11.0852
25 | -0.040791 | -0.010278 | 0.04084 | 0.010296 | 4.9569e-05 | 1.7962e-05 | 0.061115 | 0.061115 | 0.061115 | 0.99348 | -0.045335 | 0.99472 | -0.036661 | 11.3176
26 | 0.039894 | 0.010047 | -0.039851 | -0.010032 | 4.2335e-05 | 1.5306e-05 | 0.05986 | 0.05986 | 0.05986 | 0.99198 | -0.055809 | 0.99089 | -0.063408 | 11.0852
27 | 0.011479 | 0.0028773 | -0.01147 | -0.0028746 | 8.8249e-06 | 2.772e-06 | 0.017171 | 0.017171 | 0.017171 | 0.99472 | -0.036661 | 0.99393 | -0.042216 | 6.3597
28 | -0.052319 | -0.013174 | 0.052397 | 0.013203 | 7.7971e-05 | 2.8929e-05 | 0.078286 | 0.078285 | 0.078286 | 0.99472 | -0.036661 | 0.99625 | -0.026012 | 14.4974
29 | 0.037908 | 0.0095448 | -0.037862 | -0.0095282 | 4.6247e-05 | 1.6611e-05 | 0.056942 | 0.056942 | 0.056942 | 0.99089 | -0.063408 | 0.98964 | -0.072148 | 10.5449
30 | 0.0074427 | 0.0018653 | -0.0074423 | -0.0018652 | 4.6782e-07 | 1.0167e-07 | 0.011143 | 0.011143 | 0.011143 | 0.99393 | -0.042216 | 0.99387 | -0.04267 | 4.1269
31 | 0.033017 | 0.0083144 | -0.032992 | -0.0083056 | 2.5073e-05 | 8.8067e-06 | 0.049658 | 0.049658 | 0.049658 | 0.98964 | -0.072148 | 0.98887 | -0.077586 | 9.196
32 | 0.0048447 | 0.0012138 | -0.004844 | -0.0012138 | 6.9433e-07 | -2.3522e-09 | 0.0072843 | 0.0072844 | 0.0072844 | 0.98964 | -0.072148 | 0.9895 | -0.073184 | 2.6979
33 | 0.0014052 | 0.00035194 | -0.0014052 | -0.00035216 | 5.3815e-08 | -2.2739e-07 | 0.0021131 | 0.0021132 | 0.0021132 | 0.9895 | -0.073184 | 0.98946 | -0.073461 | 0.78265

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14644 | 0.036661

## res_load
| p_mw | q_mvar
0 | 0.0020964 | 0.00052541
1 | 0.0017213 | 0.0004314
2 | 0.0031967 | 0.00080116
3 | 0.0034043 | 0.00085321
4 | 0.0027224 | 0.0006823
5 | 0.0024531 | 0.00061479
6 | 0.0052199 | 0.0013082
7 | 0.0054295 | 0.0013608
8 | 0.0027597 | 0.00069163
9 | 0.0054276 | 0.0013603
10 | 0.0021988 | 0.00055107
11 | 0.0010235 | 0.00025652
12 | 0.0015093 | 0.00037827
13 | 0.00083829 | 0.0002101
14 | 0.0019433 | 0.00048705
15 | 0.0040269 | 0.0010092
16 | 0.0086511 | 0.0021682
17 | 0.0074423 | 0.0018652
18 | 0.0034388 | 0.00086185
19 | 0.077268 | 0.019365
20 | 0.0014052 | 0.00035216

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1