## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2265-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2265-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2265-21_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2265-21_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2265-21_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2265-21_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_2265-21_0_4_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_2265-21_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_2265-21_0_4_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_2265-21_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2265-21_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2265-21_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2265-21_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2265-21_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2265-21_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2265-21_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2265-21_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_2265-21_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_2265-21_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_2265-21_0_4_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_2265-21_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2265-21_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2265-21_0_4_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_2265-21_0_4_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_2265-21_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_2265-21_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2265-21_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2265-21_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2265-21_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2265-21_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2265-21_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2265-21_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2265-21_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2265-21_0_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_2265-21_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_2265-21_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2265-21_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2265-21_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2265-21_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2265-21_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2265-21_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_2265-21_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2265-21_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2265-21_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2265-21_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2265-21_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2265-21_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2265-21_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_2265-21_0_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_2265-21_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2265-21_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2265-21_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_2265-21_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_2265-21_0_4_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_2265-21_0_4_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_2265-21_0_4_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_2265-21_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_2265-21_0_4_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_2265-21_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_2265-21_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_2265-21_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_2265-21_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_2265-21_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_2265-21_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_2265-21_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_2265-21_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_2265-21_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2265-21_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_2265-21_0_4_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_2265-21_0_4_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_2265-21_0_4_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_2265-21_0_4_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_2265-21_0_4_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_2265-21_0_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_2265-21_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_2265-21_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_2265-21_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_2265-21_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_2265-21_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2265-21_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_MV_381_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2265-21_0_4_load_0 | 0 | 0.0028759 | 0.00072078 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2265-21_0_4_load_1 | 1 | 0.0048496 | 0.0012154 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2265-21_0_4_load_2 | 2 | 0.0024484 | 0.00061362 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2265-21_0_4_load_3 | 3 | 0.0063293 | 0.0015863 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2265-21_0_4_load_4 | 4 | 0.0011106 | 0.00027835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2265-21_0_4_load_12 | 5 | 0.0045981 | 0.0011524 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2265-21_0_4_load_52 | 6 | 0.007249 | 0.0018168 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2265-21_0_4_load_47 | 7 | 0.0039645 | 0.00099359 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2265-21_0_4_load_53 | 8 | 0.0040209 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2265-21_0_4_load_5 | 9 | 0.0030469 | 0.00076362 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2265-21_0_4_load_8 | 12 | 0.002573 | 0.00064487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2265-21_0_4_load_9 | 13 | 0.0040287 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2265-21_0_4_load_10 | 14 | 0.0030369 | 0.00076112 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2265-21_0_4_load_11 | 15 | 0.0029755 | 0.00074573 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2265-21_0_4_load_57 | 16 | 0.00314 | 0.00078695 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2265-21_0_4_load_43 | 18 | 0.0019449 | 0.00048743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2265-21_0_4_load_70 | 19 | 0.0021323 | 0.0005344 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2265-21_0_4_load_16 | 20 | 0.002877 | 0.00072104 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2265-21_0_4_load_19 | 21 | 0.0080614 | 0.0020204 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2265-21_0_4_load_42 | 22 | 0.0029893 | 0.00074918 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2265-21_0_4_load_71 | 23 | 0.0025008 | 0.00062677 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2265-21_0_4_load_34 | 24 | 0.0045914 | 0.0011507 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2265-21_0_4_load_13 | 25 | 0.0032515 | 0.0008149 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2265-21_0_4_load_14 | 26 | 0.0035816 | 0.00089764 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2265-21_0_4_load_15 | 27 | 0.0045827 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2265-21_0_4_load_17 | 28 | 0.0040685 | 0.0010197 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2265-21_0_4_load_33 | 29 | 0.0041829 | 0.0010483 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2265-21_0_4_load_18 | 30 | 0.0033849 | 0.00084834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2265-21_0_4_load_22 | 32 | 0.0047518 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2265-21_0_4_load_56 | 34 | 0.0042007 | 0.0010528 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2265-21_0_4_load_23 | 35 | 0.0032521 | 0.00081506 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2265-21_0_4_load_24 | 36 | 0.0035542 | 0.00089078 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2265-21_0_4_load_25 | 37 | 0.0039923 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2265-21_0_4_load_27 | 38 | 0.0048303 | 0.0012106 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2265-21_0_4_load_48 | 40 | 0.0034894 | 0.00087453 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2265-21_0_4_load_41 | 41 | 0.0029172 | 0.00073113 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2265-21_0_4_load_28 | 42 | 0.003691 | 0.00092506 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2265-21_0_4_load_29 | 43 | 0.0040509 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2265-21_0_4_load_30 | 44 | 0.0034081 | 0.00085416 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2265-21_0_4_load_32 | 46 | 0.0034367 | 0.00086131 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2265-21_0_4_load_59 | 48 | 0.003658 | 0.00091677 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2265-21_0_4_load_35 | 49 | 0.005407 | 0.0013551 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2265-21_0_4_load_36 | 50 | 0.0047624 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2265-21_0_4_load_37 | 51 | 0.0087024 | 0.002181 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2265-21_0_4_load_38 | 52 | 0.0050343 | 0.0012617 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2265-21_0_4_load_84 | 53 | 0.0038931 | 0.0009757 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2265-21_0_4_load_81 | 55 | 0.0047144 | 0.0011816 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2265-21_0_4_load_40 | 58 | 0.0054458 | 0.0013648 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2265-21_0_4_load_46 | 59 | 0.0034731 | 0.00087045 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2265-21_0_4_load_44 | 60 | 0.0023869 | 0.00059822 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2265-21_0_4_load_60 | 63 | 0.0058391 | 0.0014634 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2265-21_0_4_load_64 | 64 | 0.0022455 | 0.00056277 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2265-21_0_4_load_58 | 66 | 0.0044532 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2265-21_0_4_load_74 | 67 | 0.0016389 | 0.00041074 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2265-21_0_4_load_75 | 68 | 0.0015082 | 0.000378 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2265-21_0_4_load_77 | 70 | 0.0016941 | 0.00042458 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2265-21_0_4_load_78 | 71 | 0.0016279 | 0.00040798 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2265-21_0_4_load_79 | 72 | 0.0016195 | 0.0004059 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2265-21_0_4_load_80 | 73 | 0.0036523 | 0.00091537 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2265-21_0_4_load_72 | 74 | 0.0014547 | 0.00036459 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2265-21_0_4_load_69 | 75 | 0.0036775 | 0.00092167 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2265-21_0_4_load_65 | 76 | 0.002206 | 0.00055287 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2265-21_0_4_load_66 | 77 | 0.0015319 | 0.00038394 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2265-21_0_4_load_68 | 78 | 0.0028063 | 0.00070332 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2265-21_0_4_load_73 | 79 | 0.0035727 | 0.0008954 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2265-21_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00058104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_2265-21_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_2265-21_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_2265-21_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0095105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2265-21_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0049393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2265-21_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_2265-21_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.01704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2265-21_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_2265-21_0_4_line_8 | NAYY 4x150 SE | 7 | 24 | 0.0062649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2265-21_0_4_line_9 | NAYY 4x150 SE | 8 | 45 | 0.032867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2265-21_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.032249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_2265-21_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.011406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_2265-21_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.011033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2265-21_0_4_line_13 | NAYY 4x150 SE | 10 | 13 | 0.010135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_2265-21_0_4_line_14 | NAYY 4x150 SE | 11 | 14 | 0.016785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_2265-21_0_4_line_15 | NAYY 4x150 SE | 11 | 15 | 0.016205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_2265-21_0_4_line_16 | NAYY 4x150 SE | 12 | 16 | 0.01112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2265-21_0_4_line_17 | NAYY 4x150 SE | 13 | 17 | 0.02249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_2265-21_0_4_line_18 | NAYY 4x150 SE | 14 | 18 | 0.0024934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_2265-21_0_4_line_19 | NAYY 4x150 SE | 15 | 19 | 0.0082712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2265-21_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.033002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_2265-21_0_4_line_21 | NAYY 4x150 SE | 17 | 21 | 0.020508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2265-21_0_4_line_22 | NAYY 4x150 SE | 18 | 22 | 0.057746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2265-21_0_4_line_23 | NAYY 4x150 SE | 19 | 23 | 0.011343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2265-21_0_4_line_24 | NAYY 4x150 SE | 20 | 26 | 0.011688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_2265-21_0_4_line_25 | NAYY 4x150 SE | 21 | 30 | 0.0053205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2265-21_0_4_line_26 | NAYY 4x150 SE | 22 | 60 | 0.013138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2265-21_0_4_line_27 | NAYY 4x150 SE | 23 | 79 | 0.011927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2265-21_0_4_line_28 | NAYY 4x150 SE | 24 | 29 | 0.010692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2265-21_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.020044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_2265-21_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.0096908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_2265-21_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.009212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2265-21_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.012891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_2265-21_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.033202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2265-21_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.015528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2265-21_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.04411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2265-21_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.038998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2265-21_0_4_line_37 | NAYY 4x150 SE | 34 | 66 | 0.0054132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2265-21_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.013619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2265-21_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.027775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2265-21_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_2265-21_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0027432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_2265-21_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.018128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_2265-21_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.016071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2265-21_0_4_line_44 | NAYY 4x150 SE | 40 | 46 | 0.018487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_2265-21_0_4_line_45 | NAYY 4x150 SE | 41 | 56 | 0.018807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2265-21_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.019855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_2265-21_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.011721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_2265-21_0_4_line_48 | NAYY 4x150 SE | 43 | 45 | 0.025194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2265-21_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.012179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_2265-21_0_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.011248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2265-21_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.036041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2265-21_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.020433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2265-21_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.015645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2265-21_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.023465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2265-21_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.074858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2265-21_0_4_line_56 | NAYY 4x150 SE | 52 | 56 | 0.0041894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2265-21_0_4_line_57 | NAYY 4x150 SE | 53 | 54 | 0.032634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2265-21_0_4_line_58 | NAYY 4x150 SE | 54 | 55 | 0.045216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2265-21_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.089411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2265-21_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2265-21_0_4_line_61 | NAYY 4x150 SE | 57 | 73 | 0.0083338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2265-21_0_4_line_62 | NAYY 4x150 SE | 58 | 59 | 0.019012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2265-21_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.026447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2265-21_0_4_line_64 | NAYY 4x150 SE | 61 | 62 | 0.032018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2265-21_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0054987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2265-21_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.015843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2265-21_0_4_line_67 | NAYY 4x150 SE | 65 | 75 | 0.029374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2265-21_0_4_line_68 | NAYY 4x150 SE | 65 | 76 | 0.011885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2265-21_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.017719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2265-21_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.034201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2265-21_0_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.017621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2265-21_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.020145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2265-21_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.019337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2265-21_0_4_line_74 | NAYY 4x150 SE | 72 | 73 | 0.025162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2265-21_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.029346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2265-21_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.020979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2265-21_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.0014955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2265-21_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.011687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2265-21_0_4_trafo_23 | 0.25 MVA 20/0.4 kV | 80 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2581570.1254 | 1202003.5605 | 2581570.3076 | 1202003.0087
1 | 2581570.3076 | 1202003.0087 | 2581576.0194 | 1201985.7133
2 | 2581570.1254 | 1202003.5605 | 2581563.2826 | 1202024.2803
3 | 2581579.0018 | 1201976.6826 | 2581576.0194 | 1201985.7133
4 | 2581563.2826 | 1202024.2803 | 2581561.7337 | 1202028.9705
5 | 2581579.0018 | 1201976.6826 | 2581582.9525 | 1201964.72
6 | 2581556.3902 | 1202045.1505 | 2581561.7337 | 1202028.9705
7 | 2581580.4726 | 1201953.5504 | 2581583.4905 | 1201963.091 | 2581582.9525 | 1201964.72
8 | 2581556.3902 | 1202045.1505 | 2581554.4255 | 1202051.0995
9 | 2581558.2131 | 1201932.386 | 2581577.0193 | 1201942.6332 | 2581580.4726 | 1201953.5504
10 | 2581489.8519 | 1202142.9241 | 2581489.2494 | 1202154.7324 | 2581491.4222 | 1202175.0419
11 | 2581492.6355 | 1202186.3836 | 2581491.4222 | 1202175.0419
12 | 2581489.8519 | 1202142.9241 | 2581483.6746 | 1202133.7828
13 | 2581489.8519 | 1202142.9241 | 2581499.1337 | 1202146.9937
14 | 2581492.6355 | 1202186.3836 | 2581495.0022 | 1202203.0013
15 | 2581492.6355 | 1202186.3836 | 2581476.5616 | 1202184.3243
16 | 2581483.6746 | 1202133.7828 | 2581472.6756 | 1202132.1448
17 | 2581520.8021 | 1202152.9111 | 2581501.2824 | 1202147.9357 | 2581499.1337 | 1202146.9937
18 | 2581495.0022 | 1202203.0013 | 2581495.3538 | 1202205.4698
19 | 2581476.5616 | 1202184.3243 | 2581468.3575 | 1202183.2732
20 | 2581520.8021 | 1202152.9111 | 2581531.1514 | 1202121.5734
21 | 2581520.8021 | 1202152.9111 | 2581533.7482 | 1202155.8614 | 2581540.7944 | 1202157.481
22 | 2581498.5031 | 1202263.0357 | 2581497.8092 | 1202222.7095 | 2581495.3538 | 1202205.4698
23 | 2581457.1064 | 1202181.8318 | 2581468.3575 | 1202183.2732
24 | 2581534.8167 | 1202110.475 | 2581531.1514 | 1202121.5734
25 | 2581540.7944 | 1202157.481 | 2581545.9796 | 1202158.673
26 | 2581498.5031 | 1202263.0357 | 2581498.7291 | 1202276.1719
27 | 2581445.276 | 1202180.3162 | 2581457.1064 | 1202181.8318
28 | 2581551.0728 | 1202061.2517 | 2581554.4255 | 1202051.0995
29 | 2581534.8167 | 1202110.475 | 2581541.1023 | 1202091.4421
30 | 2581544.1413 | 1202082.2401 | 2581541.1023 | 1202091.4421
31 | 2581547.0301 | 1202073.4928 | 2581544.1413 | 1202082.2401
32 | 2581547.0301 | 1202073.4928 | 2581551.0728 | 1202061.2517
33 | 2581578.5523 | 1202164.6939 | 2581569.0606 | 1202163.9785 | 2581545.9796 | 1202158.673
34 | 2581578.5523 | 1202164.6939 | 2581579.031 | 1202174.2865 | 2581579.6673 | 1202180.1753
35 | 2581584.4056 | 1202224.0303 | 2581579.6673 | 1202180.1753
36 | 2581584.4056 | 1202224.0303 | 2581545.5379 | 1202227.2162
37 | 2581540.1428 | 1202227.6584 | 2581545.5379 | 1202227.2162
38 | 2581473.2697 | 1202059.875 | 2581473.2697 | 1202059.875 | 2581482.1906 | 1202049.584
39 | 2581494.9165 | 1202025.4248 | 2581489.3301 | 1202041.3482 | 2581482.1906 | 1202049.584
40 | 2581499.9403 | 1202011.1052 | 2581494.9165 | 1202025.4248
41 | 2581500.8484 | 1202008.5167 | 2581499.9403 | 1202011.1052
42 | 2581500.8484 | 1202008.5167 | 2581507.1382 | 1201991.5147
43 | 2581500.8484 | 1202008.5167 | 2581485.5861 | 1202003.4827
44 | 2581513.5523 | 1201974.1765 | 2581507.1382 | 1201991.5147
45 | 2581467.7256 | 1201997.5917 | 2581485.5861 | 1202003.4827
46 | 2581534.1965 | 1201937.499 | 2581524.8696 | 1201943.5845 | 2581521.8445 | 1201951.7617
47 | 2581517.7778 | 1201962.7544 | 2581521.8445 | 1201951.7617
48 | 2581558.2131 | 1201932.386 | 2581540.0212 | 1201933.6987 | 2581534.1965 | 1201937.499
49 | 2581513.5523 | 1201974.1765 | 2581517.7778 | 1201962.7544
50 | 2581558.2131 | 1201932.386 | 2581551.0174 | 1201923.7258
51 | 2581551.0174 | 1201923.7258 | 2581516.9481 | 1201911.9678
52 | 2581483.5871 | 1201952.1962 | 2581476.8474 | 1201971.4853
53 | 2581488.7476 | 1201937.4268 | 2581483.5871 | 1201952.1962
54 | 2581469.1075 | 1201993.6368 | 2581476.8474 | 1201971.4853
55 | 2581488.7476 | 1201937.4268 | 2581418.033 | 1201912.8673
56 | 2581467.7256 | 1201997.5917 | 2581469.1075 | 1201993.6368
57 | 2581385.3996 | 1201912.647 | 2581418.033 | 1201912.8673
58 | 2581385.3996 | 1201912.647 | 2581410.5169 | 1201875.0486
59 | 2581445.6112 | 1201793.0159 | 2581434.5439 | 1201816.8079 | 2581414.7594 | 1201868.6979 | 2581410.5169 | 1201875.0486
60 | 2581467.7256 | 1201997.5917 | 2581463.0337 | 1202012.5461
61 | 2581445.6112 | 1201793.0159 | 2581450.3489 | 1201786.1598
62 | 2581457.3421 | 1202030.6865 | 2581463.0337 | 1202012.5461
63 | 2581499.1842 | 1202302.6154 | 2581498.7291 | 1202276.1719
64 | 2581467.1699 | 1202300.1249 | 2581499.1842 | 1202302.6154
65 | 2581467.1699 | 1202300.1249 | 2581461.682 | 1202299.7797
66 | 2581399.5534 | 1202174.8677 | 2581402.2072 | 1202159.2491
67 | 2581399.5534 | 1202174.8677 | 2581393.0001 | 1202186.628 | 2581385.1463 | 1202200.4661
68 | 2581399.5534 | 1202174.8677 | 2581411.3621 | 1202176.2117
69 | 2581495.7601 | 1201721.492 | 2581493.0975 | 1201731.1121 | 2581488.6912 | 1201737.4727
70 | 2581504.883 | 1201688.53 | 2581495.7601 | 1201721.492
71 | 2581478.6569 | 1201751.9572 | 2581478.6569 | 1201751.9572 | 2581488.6912 | 1201737.4727
72 | 2581504.883 | 1201688.53 | 2581524.1806 | 1201694.3097
73 | 2581478.6569 | 1201751.9572 | 2581465.5619 | 1201766.1858
74 | 2581450.3489 | 1201786.1598 | 2581459.8999 | 1201772.3379 | 2581465.5619 | 1201766.1858
75 | 2581372.2987 | 1202226.7078 | 2581373.9758 | 1202220.7617 | 2581380.4219 | 1202208.7906 | 2581385.1463 | 1202200.4661
76 | 2581411.3621 | 1202176.2117 | 2581428.1692 | 1202178.1245 | 2581432.2 | 1202178.6409
77 | 2581432.2 | 1202178.6409 | 2581433.6833 | 1202178.831
78 | 2581445.276 | 1202180.3162 | 2581433.6833 | 1202178.831

## bus_geodata
| x | y | coords
0 | 2581570.3076 | 1202003.0087
1 | 2581570.1254 | 1202003.5605
2 | 2581576.0194 | 1201985.7133
3 | 2581563.2826 | 1202024.2803
4 | 2581579.0018 | 1201976.6826
5 | 2581561.7337 | 1202028.9705
6 | 2581582.9525 | 1201964.72
7 | 2581556.3902 | 1202045.1505
8 | 2581580.4726 | 1201953.5504
9 | 2581491.4222 | 1202175.0419
10 | 2581489.8519 | 1202142.9241
11 | 2581492.6355 | 1202186.3836
12 | 2581483.6746 | 1202133.7828
13 | 2581499.1337 | 1202146.9937
14 | 2581495.0022 | 1202203.0013
15 | 2581476.5616 | 1202184.3243
16 | 2581472.6756 | 1202132.1448
17 | 2581520.8021 | 1202152.9111
18 | 2581495.3538 | 1202205.4698
19 | 2581468.3575 | 1202183.2732
20 | 2581531.1514 | 1202121.5734
21 | 2581540.7944 | 1202157.481
22 | 2581498.5031 | 1202263.0357
23 | 2581457.1064 | 1202181.8318
24 | 2581554.4256 | 1202051.0995
25 | 2581541.1023 | 1202091.4421
26 | 2581534.8167 | 1202110.475
27 | 2581544.1413 | 1202082.2401
28 | 2581547.0301 | 1202073.4928
29 | 2581551.0728 | 1202061.2517
30 | 2581545.9796 | 1202158.673
31 | 2581578.5523 | 1202164.6939
32 | 2581579.6673 | 1202180.1753
33 | 2581584.4056 | 1202224.0303
34 | 2581545.5379 | 1202227.2162
35 | 2581482.1906 | 1202049.584
36 | 2581473.2697 | 1202059.875
37 | 2581494.9165 | 1202025.4248
38 | 2581499.9403 | 1202011.1052
39 | 2581500.8484 | 1202008.5167
40 | 2581507.1382 | 1201991.5147
41 | 2581485.5861 | 1202003.4827
42 | 2581521.8445 | 1201951.7617
43 | 2581534.1965 | 1201937.499
44 | 2581517.7778 | 1201962.7544
45 | 2581558.2131 | 1201932.386
46 | 2581513.5523 | 1201974.1765
47 | 2581551.0174 | 1201923.7258
48 | 2581516.9481 | 1201911.9678
49 | 2581483.5871 | 1201952.1962
50 | 2581476.8474 | 1201971.4853
51 | 2581488.7476 | 1201937.4268
52 | 2581469.1075 | 1201993.6368
53 | 2581418.033 | 1201912.8673
54 | 2581385.3996 | 1201912.647
55 | 2581410.5169 | 1201875.0486
56 | 2581467.7256 | 1201997.5917
57 | 2581445.6112 | 1201793.0159
58 | 2581463.0337 | 1202012.5461
59 | 2581457.3421 | 1202030.6865
60 | 2581498.7291 | 1202276.1719
61 | 2581499.1842 | 1202302.6154
62 | 2581467.1699 | 1202300.1249
63 | 2581461.682 | 1202299.7797
64 | 2581402.2072 | 1202159.2491
65 | 2581399.5534 | 1202174.8678
66 | 2581540.1428 | 1202227.6584
67 | 2581495.7601 | 1201721.492
68 | 2581488.6912 | 1201737.4727
69 | 2581504.883 | 1201688.53
70 | 2581478.6569 | 1201751.9572
71 | 2581524.1806 | 1201694.3097
72 | 2581465.5619 | 1201766.1858
73 | 2581450.3489 | 1201786.1598
74 | 2581372.2987 | 1202226.7078
75 | 2581385.1463 | 1202200.4661
76 | 2581411.3621 | 1202176.2117
77 | 2581432.2 | 1202178.6409
78 | 2581433.6833 | 1202178.831
79 | 2581445.276 | 1202180.3162
80 | 2581482.1906 | 1202049.584

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98128 | -0.1306 | 0.0028759 | 0.00072078
1 | 0.98125 | -0.13085 | 0.0048496 | 0.0012154
2 | 0.98243 | -0.1225 | 0.0024484 | 0.00061362
3 | 0.97996 | -0.13999 | 0.0063293 | 0.0015863
4 | 0.98303 | -0.1182 | 0.0011106 | 0.00027835
5 | 0.97968 | -0.14196 | 0.0045981 | 0.0011524
6 | 0.98385 | -0.11246 | 0.007249 | 0.0018168
7 | 0.97877 | -0.14847 | 0.0039645 | 0.00099359
8 | 0.98464 | -0.10684 | 0.0040209 | 0.0010077
9 | 0.97234 | -0.19448 | 0.0030469 | 0.00076362
10 | 0.97304 | -0.18945 | 0 | 0
11 | 0.97211 | -0.19614 | 0 | 0
12 | 0.97295 | -0.19011 | 0.002573 | 0.00064487
13 | 0.97329 | -0.18766 | 0.0040287 | 0.0010097
14 | 0.97198 | -0.1971 | 0.0030369 | 0.00076112
15 | 0.97191 | -0.19757 | 0.0029755 | 0.00074573
16 | 0.9729 | -0.19048 | 0.00314 | 0.00078695
17 | 0.97388 | -0.18339 | 0 | 0
18 | 0.97196 | -0.19721 | 0.0019449 | 0.00048743
19 | 0.97178 | -0.19854 | 0.0021323 | 0.0005344
20 | 0.97516 | -0.17425 | 0.002877 | 0.00072104
21 | 0.97314 | -0.18876 | 0.0080614 | 0.0020204
22 | 0.97101 | -0.20407 | 0.0029893 | 0.00074918
23 | 0.97161 | -0.19974 | 0.0025008 | 0.00062677
24 | 0.97844 | -0.15078 | 0.0045914 | 0.0011507
25 | 0.97646 | -0.16492 | 0.0032515 | 0.0008149
26 | 0.97562 | -0.17091 | 0.0035816 | 0.00089764
27 | 0.97688 | -0.16192 | 0.0045827 | 0.0011485
28 | 0.9773 | -0.15893 | 0.0040685 | 0.0010197
29 | 0.97791 | -0.15456 | 0.0041829 | 0.0010483
30 | 0.973 | -0.1897 | 0.0033849 | 0.00084834
31 | 0.97235 | -0.1944 | 0 | 0
32 | 0.97205 | -0.1966 | 0.0047518 | 0.0011909
33 | 0.97149 | -0.20064 | 0 | 0
34 | 0.97099 | -0.20421 | 0.0042007 | 0.0010528
35 | 1 | 0 | -0.23894 | -0.060241
36 | 0.99993 | -0.00048324 | 0.0035542 | 0.00089078
37 | 0.9969 | -0.021356 | 0.0039923 | 0.0010006
38 | 0.99524 | -0.032876 | 0.0048303 | 0.0012106
39 | 0.99494 | -0.034918 | 0 | 0
40 | 0.99349 | -0.045012 | 0.0034894 | 0.00087453
41 | 0.99364 | -0.044027 | 0.0029172 | 0.00073113
42 | 0.99021 | -0.06781 | 0.003691 | 0.00092506
43 | 0.98875 | -0.078024 | 0.0040509 | 0.0010152
44 | 0.99109 | -0.061648 | 0.0034081 | 0.00085416
45 | 0.98694 | -0.090679 | 0 | 0
46 | 0.99203 | -0.055117 | 0.0034367 | 0.00086131
47 | 0.98688 | -0.091101 | 0 | 0
48 | 0.98669 | -0.092453 | 0.003658 | 0.00091677
49 | 0.98959 | -0.072574 | 0.005407 | 0.0013551
50 | 0.9906 | -0.065398 | 0.0047624 | 0.0011936
51 | 0.98893 | -0.077215 | 0.0087024 | 0.002181
52 | 0.99193 | -0.056041 | 0.0050343 | 0.0012617
53 | 0.98672 | -0.09282 | 0.0038931 | 0.0009757
54 | 0.98594 | -0.098338 | 0 | 0
55 | 0.98487 | -0.106 | 0.0047144 | 0.0011816
56 | 0.9922 | -0.054159 | 0 | 0
57 | 0.98334 | -0.11683 | 0 | 0
58 | 0.992 | -0.055577 | 0.0054458 | 0.0013648
59 | 0.99191 | -0.056247 | 0.0034731 | 0.00087045
60 | 0.97085 | -0.20521 | 0.0023869 | 0.00059822
61 | 0.97062 | -0.20685 | 0 | 0
62 | 0.97035 | -0.20883 | 0 | 0
63 | 0.9703 | -0.20917 | 0.0058391 | 0.0014634
64 | 0.97056 | -0.20729 | 0.0022455 | 0.00056277
65 | 0.97062 | -0.20691 | 0 | 0
66 | 0.97096 | -0.20446 | 0.0044532 | 0.0011161
67 | 0.98252 | -0.12271 | 0.0016389 | 0.00041074
68 | 0.9826 | -0.12211 | 0.0015082 | 0.000378
69 | 0.98244 | -0.12329 | 0 | 0
70 | 0.98273 | -0.12124 | 0.0016941 | 0.00042458
71 | 0.98239 | -0.12363 | 0.0016279 | 0.00040798
72 | 0.98291 | -0.11995 | 0.0016195 | 0.0004059
73 | 0.9832 | -0.11784 | 0.0036523 | 0.00091537
74 | 0.97033 | -0.20896 | 0.0014547 | 0.00036459
75 | 0.9704 | -0.20851 | 0.0036775 | 0.00092167
76 | 0.97075 | -0.20598 | 0.002206 | 0.00055287
77 | 0.97104 | -0.20385 | 0.0015319 | 0.00038394
78 | 0.97106 | -0.20367 | 0.0028063 | 0.00070332
79 | 0.9713 | -0.20195 | 0.0035727 | 0.0008954
80 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.12671 | 0.031861 | -0.12671 | -0.03186 | 4.4639e-06 | 1.6948e-06 | 0.19219 | 0.19219 | 0.19219 | 0.98128 | -0.1306 | 0.98125 | -0.13085 | 23.7266
1 | -0.12959 | -0.032582 | 0.12974 | 0.032638 | 0.00014635 | 5.5599e-05 | 0.19655 | 0.19655 | 0.19655 | 0.98128 | -0.1306 | 0.98243 | -0.1225 | 24.265
2 | 0.12186 | 0.030644 | -0.1217 | -0.030585 | 0.00015505 | 5.881e-05 | 0.18483 | 0.18483 | 0.18483 | 0.98125 | -0.13085 | 0.97996 | -0.13999 | 22.8187
3 | -0.13218 | -0.033251 | 0.13226 | 0.033281 | 7.9329e-05 | 3.015e-05 | 0.20025 | 0.20025 | 0.20025 | 0.98243 | -0.1225 | 0.98303 | -0.1182 | 24.7228
4 | 0.11538 | 0.028999 | -0.11534 | -0.028987 | 3.1543e-05 | 1.1945e-05 | 0.17522 | 0.17522 | 0.17522 | 0.97996 | -0.13999 | 0.97968 | -0.14196 | 21.6322
5 | -0.13337 | -0.03356 | 0.13348 | 0.0336 | 0.00010685 | 4.0618e-05 | 0.20194 | 0.20194 | 0.20194 | 0.98303 | -0.1182 | 0.98385 | -0.11246 | 24.9304
6 | 0.11075 | 0.027835 | -0.11065 | -0.027797 | 0.00010032 | 3.794e-05 | 0.16824 | 0.16824 | 0.16824 | 0.97968 | -0.14196 | 0.97877 | -0.14847 | 20.77
7 | -0.14073 | -0.035417 | 0.14084 | 0.035459 | 0.00011051 | 4.2058e-05 | 0.2129 | 0.2129 | 0.2129 | 0.98385 | -0.11246 | 0.98464 | -0.10684 | 26.2839
8 | 0.10668 | 0.026803 | -0.10665 | -0.02679 | 3.4288e-05 | 1.2951e-05 | 0.16221 | 0.16221 | 0.16221 | 0.97877 | -0.14847 | 0.97844 | -0.15078 | 20.026
9 | -0.14486 | -0.036467 | 0.14519 | 0.036592 | 0.0003278 | 0.00012482 | 0.21898 | 0.21898 | 0.21898 | 0.98464 | -0.10684 | 0.98694 | -0.090679 | 27.034
10 | -0.044399 | -0.011129 | 0.04443 | 0.01114 | 3.0968e-05 | 1.071e-05 | 0.067947 | 0.067947 | 0.067947 | 0.97234 | -0.19448 | 0.97304 | -0.18945 | 8.3885
11 | 0.041353 | 0.010365 | -0.041343 | -0.010362 | 9.5018e-06 | 3.2302e-06 | 0.063284 | 0.063284 | 0.063284 | 0.97234 | -0.19448 | 0.97211 | -0.19614 | 7.8129
12 | 0.0057137 | 0.0014318 | -0.0057132 | -0.0014317 | 5.256e-07 | 6.5124e-08 | 0.0087376 | 0.0087376 | 0.0087376 | 0.97304 | -0.18945 | 0.97295 | -0.19011 | 3.2362
13 | -0.050144 | -0.012572 | 0.050157 | 0.012576 | 1.2396e-05 | 4.39e-06 | 0.076684 | 0.076684 | 0.076684 | 0.97304 | -0.18945 | 0.97329 | -0.18766 | 9.4672
14 | 0.016215 | 0.0040637 | -0.016212 | -0.0040635 | 2.1508e-06 | 2.0301e-07 | 0.02482 | 0.02482 | 0.02482 | 0.97211 | -0.19614 | 0.97198 | -0.1971 | 3.0642
15 | 0.025129 | 0.0062985 | -0.025124 | -0.0062972 | 4.9871e-06 | 1.3155e-06 | 0.038465 | 0.038465 | 0.038465 | 0.97211 | -0.19614 | 0.97191 | -0.19757 | 4.7488
16 | 0.0031401 | 0.00078688 | -0.00314 | -0.00078695 | 1.6004e-07 | -7.6543e-08 | 0.0048024 | 0.0048025 | 0.0048025 | 0.97295 | -0.19011 | 0.9729 | -0.19048 | 1.7787
17 | -0.054185 | -0.013586 | 0.054217 | 0.013597 | 3.2104e-05 | 1.1509e-05 | 0.082843 | 0.082843 | 0.082843 | 0.97329 | -0.18766 | 0.97388 | -0.18339 | 10.2276
18 | 0.013176 | 0.0033024 | -0.013175 | -0.0033024 | 2.1101e-07 | -1.1553e-08 | 0.020171 | 0.020171 | 0.020171 | 0.97198 | -0.1971 | 0.97196 | -0.19721 | 2.4902
19 | 0.022148 | 0.0055514 | -0.022145 | -0.0055505 | 2.9673e-06 | 9.3629e-07 | 0.033909 | 0.033909 | 0.033909 | 0.97191 | -0.19757 | 0.97178 | -0.19854 | 6.2795
20 | -0.079112 | -0.01984 | 0.079212 | 0.019877 | 0.00010031 | 3.7346e-05 | 0.12088 | 0.12088 | 0.12088 | 0.97388 | -0.18339 | 0.97516 | -0.17425 | 14.9237
21 | 0.024895 | 0.0062429 | -0.024876 | -0.0062361 | 1.8516e-05 | 6.8667e-06 | 0.038039 | 0.038039 | 0.038039 | 0.97388 | -0.18339 | 0.97314 | -0.18876 | 14.0884
22 | 0.01123 | 0.002815 | -0.01122 | -0.0028116 | 1.0652e-05 | 3.3819e-06 | 0.017193 | 0.017194 | 0.017194 | 0.97196 | -0.19721 | 0.97101 | -0.20407 | 6.368
23 | 0.020013 | 0.0050161 | -0.020009 | -0.0050151 | 3.3234e-06 | 9.9723e-07 | 0.030644 | 0.030644 | 0.030644 | 0.97178 | -0.19854 | 0.97161 | -0.19974 | 5.6749
24 | -0.082089 | -0.020598 | 0.082128 | 0.020613 | 3.8151e-05 | 1.4236e-05 | 0.12527 | 0.12527 | 0.12527 | 0.97516 | -0.17425 | 0.97562 | -0.17091 | 15.4656
25 | 0.016815 | 0.0042157 | -0.016813 | -0.0042149 | 2.1949e-06 | 7.7809e-07 | 0.025712 | 0.025712 | 0.025712 | 0.97314 | -0.18876 | 0.973 | -0.1897 | 9.523
26 | 0.0082305 | 0.0020624 | -0.0082292 | -0.0020621 | 1.3042e-06 | 3.3912e-07 | 0.012613 | 0.012613 | 0.012613 | 0.97101 | -0.20407 | 0.97085 | -0.20521 | 4.6714
27 | 0.017509 | 0.0043883 | -0.017503 | -0.0043864 | 5.3513e-06 | 1.9105e-06 | 0.026814 | 0.026815 | 0.026815 | 0.97161 | -0.19974 | 0.9713 | -0.20195 | 9.9313
28 | 0.10206 | 0.02564 | -0.102 | -0.025619 | 5.3585e-05 | 2.0207e-05 | 0.15523 | 0.15523 | 0.15523 | 0.97844 | -0.15078 | 0.97791 | -0.15456 | 19.1639
29 | 0.08578 | 0.021537 | -0.085709 | -0.02151 | 7.1256e-05 | 2.6655e-05 | 0.13073 | 0.13073 | 0.13073 | 0.97646 | -0.16492 | 0.97562 | -0.17091 | 16.14
30 | -0.089032 | -0.022352 | 0.089069 | 0.022366 | 3.7112e-05 | 1.391e-05 | 0.13569 | 0.13569 | 0.13569 | 0.97646 | -0.16492 | 0.97688 | -0.16192 | 16.7517
31 | -0.093652 | -0.023514 | 0.093691 | 0.023529 | 3.9001e-05 | 1.4654e-05 | 0.14267 | 0.14267 | 0.14267 | 0.97688 | -0.16192 | 0.9773 | -0.15893 | 17.6134
32 | -0.097759 | -0.024549 | 0.097819 | 0.024571 | 5.9421e-05 | 2.2369e-05 | 0.14886 | 0.14886 | 0.14886 | 0.9773 | -0.15893 | 0.97791 | -0.15456 | 18.3782
33 | 0.013428 | 0.0033666 | -0.013419 | -0.0033636 | 8.7369e-06 | 2.9483e-06 | 0.020536 | 0.020536 | 0.020536 | 0.973 | -0.1897 | 0.97235 | -0.1944 | 7.6058
34 | 0.013419 | 0.0033636 | -0.013415 | -0.0033623 | 4.0861e-06 | 1.379e-06 | 0.020536 | 0.020536 | 0.020536 | 0.97235 | -0.1944 | 0.97205 | -0.1966 | 7.6059
35 | 0.0086631 | 0.0021713 | -0.0086583 | -0.00217 | 4.8409e-06 | 1.3154e-06 | 0.013262 | 0.013262 | 0.013262 | 0.97205 | -0.1966 | 0.97149 | -0.20064 | 4.9118
36 | 0.0086583 | 0.00217 | -0.008654 | -0.0021689 | 4.28e-06 | 1.1635e-06 | 0.013262 | 0.013262 | 0.013262 | 0.97149 | -0.20064 | 0.97099 | -0.20421 | 4.9119
37 | 0.0044533 | 0.0011161 | -0.0044532 | -0.0011161 | 1.5732e-07 | -6.4456e-09 | 0.0068246 | 0.0068246 | 0.0068246 | 0.97099 | -0.20421 | 0.97096 | -0.20446 | 2.5276
38 | 0.0035545 | 0.00089069 | -0.0035542 | -0.00089078 | 2.3774e-07 | -8.7224e-08 | 0.0052891 | 0.0052891 | 0.0052891 | 1 | 0 | 0.99993 | -0.00048324 | 1.9589
39 | 0.23458 | 0.05935 | -0.23388 | -0.05908 | 0.0007047 | 0.00026995 | 0.34926 | 0.34926 | 0.34926 | 1 | 0 | 0.9969 | -0.021356 | 43.1182
40 | 0.22988 | 0.05808 | -0.22951 | -0.057937 | 0.000372 | 0.00014248 | 0.3433 | 0.3433 | 0.3433 | 0.9969 | -0.021356 | 0.99524 | -0.032876 | 42.3826
41 | 0.22468 | 0.056727 | -0.22462 | -0.056702 | 6.4447e-05 | 2.468e-05 | 0.33608 | 0.33608 | 0.33608 | 0.99524 | -0.032876 | 0.99494 | -0.034918 | 41.491
42 | 0.16816 | 0.042511 | -0.16792 | -0.04242 | 0.00023875 | 9.1122e-05 | 0.25163 | 0.25163 | 0.25163 | 0.99494 | -0.034918 | 0.99349 | -0.045012 | 31.0656
43 | 0.056454 | 0.014191 | -0.056382 | -0.014163 | 7.1514e-05 | 2.7297e-05 | 0.084446 | 0.084446 | 0.084446 | 0.99494 | -0.034918 | 0.99364 | -0.044027 | 31.2763
44 | 0.16444 | 0.041546 | -0.1642 | -0.041456 | 0.00023346 | 8.9077e-05 | 0.24641 | 0.24641 | 0.24641 | 0.99349 | -0.045012 | 0.99203 | -0.055117 | 30.4204
45 | 0.053465 | 0.013432 | -0.05339 | -0.013404 | 7.5253e-05 | 2.87e-05 | 0.080077 | 0.080077 | 0.080077 | 0.99364 | -0.044027 | 0.9922 | -0.054159 | 29.6583
46 | 0.15338 | 0.038708 | -0.15316 | -0.038624 | 0.00021959 | 8.3693e-05 | 0.23059 | 0.23059 | 0.23059 | 0.99021 | -0.06781 | 0.98875 | -0.078024 | 28.4676
47 | -0.15707 | -0.039633 | 0.15721 | 0.039685 | 0.00013594 | 5.1831e-05 | 0.23613 | 0.23613 | 0.23613 | 0.99021 | -0.06781 | 0.99109 | -0.061648 | 29.1523
48 | 0.14911 | 0.037609 | -0.14885 | -0.037508 | 0.0002641 | 0.00010061 | 0.22449 | 0.22449 | 0.22449 | 0.98875 | -0.078024 | 0.98694 | -0.090679 | 27.715
49 | -0.16062 | -0.040539 | 0.16077 | 0.040595 | 0.00014743 | 5.6234e-05 | 0.24125 | 0.24125 | 0.24125 | 0.99109 | -0.061648 | 0.99203 | -0.055117 | 29.784
50 | 0.0036589 | 0.00091652 | -0.0036587 | -0.00091658 | 2.1358e-07 | -6.1582e-08 | 0.0055163 | 0.0055164 | 0.0055164 | 0.98694 | -0.090679 | 0.98688 | -0.091101 | 2.0431
51 | 0.0036587 | 0.00091658 | -0.003658 | -0.00091677 | 6.8439e-07 | -1.972e-07 | 0.0055164 | 0.0055165 | 0.0055165 | 0.98688 | -0.091101 | 0.98669 | -0.092453 | 2.0432
52 | -0.034575 | -0.0086758 | 0.034609 | 0.0086888 | 3.4467e-05 | 1.2994e-05 | 0.051993 | 0.051993 | 0.051993 | 0.98959 | -0.072574 | 0.9906 | -0.065398 | 19.2567
53 | 0.029168 | 0.0073207 | -0.029149 | -0.0073137 | 1.8782e-05 | 7.0231e-06 | 0.043863 | 0.043863 | 0.043863 | 0.98959 | -0.072574 | 0.98893 | -0.077215 | 16.2454
54 | -0.039372 | -0.0098824 | 0.039423 | 0.0099018 | 5.1223e-05 | 1.9398e-05 | 0.059147 | 0.059147 | 0.059147 | 0.9906 | -0.065398 | 0.99193 | -0.056041 | 21.9062
55 | 0.020447 | 0.0051327 | -0.020402 | -0.0051166 | 4.4222e-05 | 1.605e-05 | 0.030768 | 0.030769 | 0.030769 | 0.98893 | -0.077215 | 0.98672 | -0.09282 | 11.3959
56 | -0.044457 | -0.011164 | 0.044469 | 0.011168 | 1.163e-05 | 4.4188e-06 | 0.066699 | 0.066699 | 0.066699 | 0.99193 | -0.056041 | 0.9922 | -0.054159 | 24.7032
57 | 0.016509 | 0.0041409 | -0.016497 | -0.0041365 | 1.2624e-05 | 4.4387e-06 | 0.024898 | 0.024898 | 0.024898 | 0.98672 | -0.09282 | 0.98594 | -0.098338 | 9.2215
58 | 0.016497 | 0.0041365 | -0.016479 | -0.0041303 | 1.7491e-05 | 6.1513e-06 | 0.024898 | 0.024898 | 0.024898 | 0.98594 | -0.098338 | 0.98487 | -0.106 | 9.2216
59 | 0.011765 | 0.0029488 | -0.011747 | -0.0029431 | 1.7629e-05 | 5.6442e-06 | 0.017775 | 0.017776 | 0.017776 | 0.98487 | -0.106 | 0.98334 | -0.11683 | 6.5836
60 | 0.008921 | 0.0022356 | -0.0089192 | -0.0022352 | 1.7506e-06 | 4.7092e-07 | 0.013379 | 0.013379 | 0.013379 | 0.9922 | -0.054159 | 0.992 | -0.055577 | 4.9552
61 | 0.011747 | 0.0029431 | -0.011746 | -0.0029426 | 1.6432e-06 | 5.2628e-07 | 0.017776 | 0.017776 | 0.017776 | 0.98334 | -0.11683 | 0.9832 | -0.11784 | 6.5836
62 | 0.0034734 | 0.00087033 | -0.0034731 | -0.00087045 | 3.2205e-07 | -1.2156e-07 | 0.0052102 | 0.0052102 | 0.0052102 | 0.992 | -0.055577 | 0.99191 | -0.056247 | 1.9297
63 | 0.0058423 | 0.0014639 | -0.005841 | -0.0014637 | 1.3233e-06 | 1.8198e-07 | 0.0089544 | 0.0089545 | 0.0089545 | 0.97085 | -0.20521 | 0.97062 | -0.20685 | 3.3165
64 | 0.005841 | 0.0014637 | -0.0058394 | -0.0014635 | 1.602e-06 | 2.2053e-07 | 0.0089545 | 0.0089546 | 0.0089546 | 0.97062 | -0.20685 | 0.97035 | -0.20883 | 3.3165
65 | 0.0058394 | 0.0014635 | -0.0058391 | -0.0014634 | 2.7513e-07 | 3.7898e-08 | 0.0089546 | 0.0089546 | 0.0089546 | 0.97035 | -0.20883 | 0.9703 | -0.20917 | 3.3165
66 | -0.0022455 | -0.00056277 | 0.0022456 | 0.00056262 | 1.1716e-07 | -1.5074e-07 | 0.0034426 | 0.0034426 | 0.0034426 | 0.97056 | -0.20729 | 0.97062 | -0.20691 | 1.2751
67 | 0.0051334 | 0.001286 | -0.0051323 | -0.0012859 | 1.1352e-06 | 7.3646e-08 | 0.0078697 | 0.0078698 | 0.0078698 | 0.97062 | -0.20691 | 0.9704 | -0.20851 | 2.9148
68 | -0.007379 | -0.0018486 | 0.00738 | 0.0018488 | 9.4903e-07 | 2.181e-07 | 0.011312 | 0.011312 | 0.011312 | 0.97062 | -0.20691 | 0.97075 | -0.20598 | 4.1897
69 | -0.0032669 | -0.00081811 | 0.0032672 | 0.00081799 | 2.7065e-07 | -1.2033e-07 | 0.0049475 | 0.0049474 | 0.0049475 | 0.98252 | -0.12271 | 0.9826 | -0.12211 | 1.8324
70 | 0.0016281 | 0.00040737 | -0.0016279 | -0.00040776 | 1.2973e-07 | -3.8321e-07 | 0.0024655 | 0.0024656 | 0.0024656 | 0.98252 | -0.12271 | 0.98244 | -0.12329 | 0.9132
71 | -0.0047754 | -0.001196 | 0.004776 | 0.001196 | 5.7498e-07 | -2.0798e-09 | 0.0072314 | 0.0072314 | 0.0072314 | 0.9826 | -0.12211 | 0.98273 | -0.12124 | 2.6783
72 | 0.0016279 | 0.00040776 | -0.0016279 | -0.00040798 | 7.6421e-08 | -2.2568e-07 | 0.0024656 | 0.0024657 | 0.0024657 | 0.98244 | -0.12329 | 0.98239 | -0.12363 | 0.91323
73 | -0.0064701 | -0.0016206 | 0.0064713 | 0.0016208 | 1.158e-06 | 2.0035e-07 | 0.0097965 | 0.0097964 | 0.0097965 | 0.98273 | -0.12124 | 0.98291 | -0.11995 | 3.6283
74 | -0.0080908 | -0.0020267 | 0.0080932 | 0.0020272 | 2.3554e-06 | 5.8692e-07 | 0.012248 | 0.012248 | 0.012248 | 0.98291 | -0.11995 | 0.9832 | -0.11784 | 4.5364
75 | -0.0014547 | -0.00036459 | 0.0014548 | 0.00036426 | 9.1125e-08 | -3.2747e-07 | 0.0022308 | 0.0022307 | 0.0022308 | 0.97033 | -0.20896 | 0.9704 | -0.20851 | 0.82623
76 | -0.009586 | -0.0024017 | 0.0095888 | 0.0024025 | 2.8264e-06 | 8.2763e-07 | 0.014694 | 0.014694 | 0.014694 | 0.97075 | -0.20598 | 0.97104 | -0.20385 | 5.4421
77 | -0.011121 | -0.0027865 | 0.011121 | 0.0027866 | 2.71e-07 | 8.573e-08 | 0.017041 | 0.017041 | 0.017041 | 0.97104 | -0.20385 | 0.97106 | -0.20367 | 6.3115
78 | -0.013927 | -0.0034899 | 0.013931 | 0.003491 | 3.3216e-06 | 1.1329e-06 | 0.021341 | 0.021341 | 0.021341 | 0.97106 | -0.20367 | 0.9713 | -0.20195 | 7.9042

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24219 | 0.061056

## res_load
| p_mw | q_mvar
0 | 0.0028759 | 0.00072078
1 | 0.0048496 | 0.0012154
2 | 0.0024484 | 0.00061362
3 | 0.0063293 | 0.0015863
4 | 0.0011106 | 0.00027835
5 | 0.0045981 | 0.0011524
6 | 0.007249 | 0.0018168
7 | 0.0039645 | 0.00099359
8 | 0.0040209 | 0.0010077
9 | 0.0030469 | 0.00076362
10 | 0.002573 | 0.00064487
11 | 0.0040287 | 0.0010097
12 | 0.0030369 | 0.00076112
13 | 0.0029755 | 0.00074573
14 | 0.00314 | 0.00078695
15 | 0.0019449 | 0.00048743
16 | 0.0021323 | 0.0005344
17 | 0.002877 | 0.00072104
18 | 0.0080614 | 0.0020204
19 | 0.0029893 | 0.00074918
20 | 0.0025008 | 0.00062677
21 | 0.0045914 | 0.0011507
22 | 0.0032515 | 0.0008149
23 | 0.0035816 | 0.00089764
24 | 0.0045827 | 0.0011485
25 | 0.0040685 | 0.0010197
26 | 0.0041829 | 0.0010483
27 | 0.0033849 | 0.00084834
28 | 0.0047518 | 0.0011909
29 | 0.0042007 | 0.0010528
30 | 0.0032521 | 0.00081506
31 | 0.0035542 | 0.00089078
32 | 0.0039923 | 0.0010006
33 | 0.0048303 | 0.0012106
34 | 0.0034894 | 0.00087453
35 | 0.0029172 | 0.00073113
36 | 0.003691 | 0.00092506
37 | 0.0040509 | 0.0010152
38 | 0.0034081 | 0.00085416
39 | 0.0034367 | 0.00086131
40 | 0.003658 | 0.00091677
41 | 0.005407 | 0.0013551
42 | 0.0047624 | 0.0011936
43 | 0.0087024 | 0.002181
44 | 0.0050343 | 0.0012617
45 | 0.0038931 | 0.0009757
46 | 0.0047144 | 0.0011816
47 | 0.0054458 | 0.0013648
48 | 0.0034731 | 0.00087045
49 | 0.0023869 | 0.00059822
50 | 0.0058391 | 0.0014634
51 | 0.0022455 | 0.00056277
52 | 0.0044532 | 0.0011161
53 | 0.0016389 | 0.00041074
54 | 0.0015082 | 0.000378
55 | 0.0016941 | 0.00042458
56 | 0.0016279 | 0.00040798
57 | 0.0016195 | 0.0004059
58 | 0.0036523 | 0.00091537
59 | 0.0014547 | 0.00036459
60 | 0.0036775 | 0.00092167
61 | 0.002206 | 0.00055287
62 | 0.0015319 | 0.00038394
63 | 0.0028063 | 0.00070332
64 | 0.0035727 | 0.0008954

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1