## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2265-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2265-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2265-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2265-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2265-23_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2265-23_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2265-23_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_2265-23_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2265-23_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_2265-23_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2265-23_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2265-23_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2265-23_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_2265-23_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_2265-23_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_2265-23_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_2265-23_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2265-23_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2265-23_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2265-23_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2265-23_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2265-23_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2265-23_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2265-23_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2265-23_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2265-23_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2265-23_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2265-23_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2265-23_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2265-23_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2265-23_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2265-23_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2265-23_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2265-23_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_2265-23_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_2265-23_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_2265-23_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2265-23_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_MV_381_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2265-23_0_3_load_0 | 0 | 0.0048804 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2265-23_0_3_load_1 | 1 | 0.0040881 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2265-23_0_3_load_2 | 2 | 0.0086999 | 0.0021804 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2265-23_0_3_load_3 | 3 | 0.0061332 | 0.0015371 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2265-23_0_3_load_4 | 4 | 0.00076806 | 0.00019249 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2265-23_0_3_load_28 | 6 | 0.0015253 | 0.00038228 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2265-23_0_3_load_9 | 7 | 0.010068 | 0.0025233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2265-23_0_3_load_26 | 8 | 0.0020687 | 0.00051847 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2265-23_0_3_load_5 | 9 | 0.017299 | 0.0043356 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2265-23_0_3_load_23 | 12 | 0.0027806 | 0.00069689 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2265-23_0_3_load_31 | 14 | 0.0097587 | 0.0024458 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2265-23_0_3_load_29 | 15 | 0.008507 | 0.002132 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2265-23_0_3_load_10 | 16 | 0.0051328 | 0.0012864 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2265-23_0_3_load_11 | 17 | 0.002022 | 0.00050675 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2265-23_0_3_load_13 | 19 | 0.0024683 | 0.0006186 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2265-23_0_3_load_14 | 20 | 0.0051714 | 0.0012961 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2265-23_0_3_load_15 | 21 | 0.0012419 | 0.00031126 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2265-23_0_3_load_16 | 22 | 0.0028917 | 0.00072474 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2265-23_0_3_load_21 | 23 | 0.0059378 | 0.0014882 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2265-23_0_3_load_27 | 24 | 0.0041463 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2265-23_0_3_load_22 | 25 | 0.0015525 | 0.00038909 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2265-23_0_3_load_17 | 28 | 0.0051936 | 0.0013016 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2265-23_0_3_load_18 | 29 | 0.0036196 | 0.00090716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2265-23_0_3_load_20 | 30 | 0.0040804 | 0.0010226 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2265-23_0_3_load_33 | 31 | 0.0084182 | 0.0021098 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2265-23_0_3_load_30 | 32 | 0.0041864 | 0.0010492 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2265-23_0_3_load_32 | 33 | 0.0086553 | 0.0021692 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2265-23_0_3_load_37 | 34 | 0.022532 | 0.005647 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2265-23_0_3_load_35 | 35 | 0.0081906 | 0.0020528 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2265-23_0_3_load_36 | 37 | 0.022977 | 0.0057586 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2265-23_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2265-23_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0016065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2265-23_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0039356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2265-23_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0045371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2265-23_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.047065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2265-23_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2265-23_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.038331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2265-23_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.00057985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2265-23_0_3_line_8 | NAYY 4x150 SE | 7 | 14 | 0.00045013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2265-23_0_3_line_9 | NAYY 4x150 SE | 8 | 24 | 0.020008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2265-23_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0031965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2265-23_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.04561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2265-23_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.085641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2265-23_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.052427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2265-23_0_3_line_14 | NAYY 4x150 SE | 13 | 27 | 0.025246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2265-23_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.00035574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2265-23_0_3_line_16 | NAYY 4x150 SE | 15 | 32 | 0.027714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2265-23_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.034659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2265-23_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.016913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2265-23_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0003504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2265-23_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0086083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2265-23_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.014877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2265-23_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.019086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2265-23_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.032756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2265-23_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0014116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2265-23_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.0036352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2265-23_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.0069724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2265-23_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.04685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2265-23_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.026509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2265-23_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0020383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2265-23_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.023981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2265-23_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.02076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2265-23_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 2.7569e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2265-23_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0087203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2265-23_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.018772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2265-23_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.041489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2265-23_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.028807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2265-23_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 38 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2582049.6946 | 1202584.1338 | 2582040.3719 | 1202596.7609 | 2582039.6834 | 1202598.2251
1 | 2582049.6946 | 1202584.1338 | 2582050.6488 | 1202582.8413
2 | 2582039.6834 | 1202598.2251 | 2582038.0086 | 1202601.7867
3 | 2582053.3437 | 1202579.1912 | 2582050.6488 | 1202582.8413
4 | 2582031.7605 | 1202647.8926 | 2582031.7149 | 1202645.4024 | 2582031.183 | 1202638.0778 | 2582032.2834 | 1202624.5449 | 2582035.0113 | 1202608.1611 | 2582038.0086 | 1202601.7867
5 | 2582053.3437 | 1202579.1912 | 2582056.5365 | 1202574.8668 | 2582069.2199 | 1202566.4736
6 | 2582031.7605 | 1202647.8926 | 2582035.6751 | 1202646.5133 | 2582041.6974 | 1202645.0832 | 2582049.3559 | 1202643.7705 | 2582069.382 | 1202646.57
7 | 2582069.7035 | 1202566.1536 | 2582069.2199 | 1202566.4736
8 | 2582069.382 | 1202646.57 | 2582069.8278 | 1202646.6324
9 | 2582086.9157 | 1202556.0282 | 2582079.3875 | 1202559.7452 | 2582069.7035 | 1202566.1536
10 | 2581915.7607 | 1202571.6471 | 2581916.8923 | 1202574.6366
11 | 2581915.7607 | 1202571.6471 | 2581913.2155 | 1202562.939 | 2581910.5928 | 1202543.781 | 2581908.2581 | 1202526.7455
12 | 2581908.2581 | 1202526.7455 | 2581935.982 | 1202502.5813 | 2581978.2147 | 1202478.0031
13 | 2582023.527 | 1202451.6327 | 2581978.2147 | 1202478.0031
14 | 2582046.4297 | 1202440.8687 | 2582023.527 | 1202451.6327
15 | 2582069.8278 | 1202646.6324 | 2582070.1801 | 1202646.6816
16 | 2582070.1801 | 1202646.6816 | 2582097.6275 | 1202650.5186
17 | 2582095.139 | 1202533.1542 | 2582083.7047 | 1202505.0913 | 2582081.4072 | 1202501.3909
18 | 2582101.5208 | 1202548.817 | 2582095.139 | 1202533.1542
19 | 2582081.4072 | 1202501.3909 | 2582081.2224 | 1202501.0932
20 | 2582101.5208 | 1202548.817 | 2582109.4403 | 1202545.443
21 | 2582101.5208 | 1202548.817 | 2582088.1815 | 1202555.4032
22 | 2582071.1549 | 1202484.8785 | 2582081.2224 | 1202501.0932
23 | 2582109.4403 | 1202545.443 | 2582129.404 | 1202536.9378 | 2582140.11 | 1202534.1785
24 | 2582088.1815 | 1202555.4032 | 2582086.9157 | 1202556.0282
25 | 2582071.1549 | 1202484.8785 | 2582069.2375 | 1202481.7902
26 | 2582146.8618 | 1202532.4384 | 2582140.11 | 1202534.1785
27 | 2582046.4297 | 1202440.8687 | 2582068.3961 | 1202480.4351 | 2582069.2375 | 1202481.7902
28 | 2582146.8618 | 1202532.4384 | 2582150.787 | 1202558.6548
29 | 2582151.0888 | 1202560.6706 | 2582150.787 | 1202558.6548
30 | 2582151.0888 | 1202560.6706 | 2582154.6397 | 1202584.3873
31 | 2582157.7138 | 1202604.9188 | 2582154.6397 | 1202584.3873
32 | 2582097.6275 | 1202650.5186 | 2582097.6548 | 1202650.5224
33 | 2582097.6548 | 1202650.5224 | 2582106.2911 | 1202651.7298
34 | 2582124.8819 | 1202654.3287 | 2582106.2911 | 1202651.7298
35 | 2582165.9717 | 1202660.0728 | 2582124.8819 | 1202654.3287
36 | 2582165.9717 | 1202660.0728 | 2582170.4574 | 1202688.528

## bus_geodata
| x | y | coords
0 | 2582049.6946 | 1202584.1338
1 | 2582039.6834 | 1202598.2251
2 | 2582050.6488 | 1202582.8413
3 | 2582038.0086 | 1202601.7867
4 | 2582053.3437 | 1202579.1912
5 | 2582031.7605 | 1202647.8926
6 | 2582069.2199 | 1202566.4736
7 | 2582069.382 | 1202646.57
8 | 2582069.7035 | 1202566.1536
9 | 2581916.8923 | 1202574.6366
10 | 2581915.7607 | 1202571.6471
11 | 2581908.2581 | 1202526.7455
12 | 2581978.2147 | 1202478.0031
13 | 2582023.527 | 1202451.6327
14 | 2582069.8278 | 1202646.6324
15 | 2582070.1801 | 1202646.6816
16 | 2582095.1389 | 1202533.1542
17 | 2582081.4072 | 1202501.3909
18 | 2582101.5208 | 1202548.817
19 | 2582081.2224 | 1202501.0932
20 | 2582109.4403 | 1202545.443
21 | 2582088.1815 | 1202555.4032
22 | 2582071.1549 | 1202484.8785
23 | 2582140.11 | 1202534.1785
24 | 2582086.9157 | 1202556.0282
25 | 2582069.2375 | 1202481.7902
26 | 2582146.8617 | 1202532.4384
27 | 2582046.4297 | 1202440.8687
28 | 2582150.787 | 1202558.6548
29 | 2582151.0888 | 1202560.6706
30 | 2582154.6397 | 1202584.3873
31 | 2582157.7138 | 1202604.9188
32 | 2582097.6275 | 1202650.5186
33 | 2582097.6548 | 1202650.5224
34 | 2582106.2911 | 1202651.7298
35 | 2582124.8819 | 1202654.3287
36 | 2582165.9717 | 1202660.0728
37 | 2582170.4574 | 1202688.528
38 | 2582031.7605 | 1202647.8926

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98748 | -0.087002 | 0.0048804 | 0.0012231
1 | 0.98975 | -0.071099 | 0.0040881 | 0.0010246
2 | 0.98728 | -0.088401 | 0.0086999 | 0.0021804
3 | 0.99028 | -0.067331 | 0.0061332 | 0.0015371
4 | 0.98677 | -0.091951 | 0.00076806 | 0.00019249
5 | 0.99714 | -0.019679 | 0 | 0
6 | 0.98451 | -0.10794 | 0.0015253 | 0.00038228
7 | 0.99993 | -0.00046072 | 0.010068 | 0.0025233
8 | 0.98444 | -0.10838 | 0.0020687 | 0.00051847
9 | 0.97054 | -0.20759 | 0.017299 | 0.0043356
10 | 0.97062 | -0.20701 | 0 | 0
11 | 0.97178 | -0.19866 | 0 | 0
12 | 0.97395 | -0.18303 | 0.0027806 | 0.00069689
13 | 0.9755 | -0.17196 | 0 | 0
14 | 0.99997 | -0.00021305 | 0.0097587 | 0.0024458
15 | 1 | 0 | -0.18957 | -0.047607
16 | 0.97991 | -0.14051 | 0.0051328 | 0.0012864
17 | 0.97844 | -0.15099 | 0.002022 | 0.00050675
18 | 0.98076 | -0.1345 | 0 | 0
19 | 0.97842 | -0.15108 | 0.0024683 | 0.0006186
20 | 0.98035 | -0.1374 | 0.0051714 | 0.0012961
21 | 0.9822 | -0.12424 | 0.0012419 | 0.00031126
22 | 0.97774 | -0.15597 | 0.0028917 | 0.00072474
23 | 0.97905 | -0.14669 | 0.0059378 | 0.0014882
24 | 0.98234 | -0.12325 | 0.0041463 | 0.0010392
25 | 0.97762 | -0.15679 | 0.0015525 | 0.00038909
26 | 0.97883 | -0.14824 | 0 | 0
27 | 0.97624 | -0.16664 | 0 | 0
28 | 0.97801 | -0.15413 | 0.0051936 | 0.0013016
29 | 0.97796 | -0.15447 | 0.0036196 | 0.00090716
30 | 0.97752 | -0.1576 | 0.0040804 | 0.0010226
31 | 0.97727 | -0.15943 | 0.0084182 | 0.0021098
32 | 0.99736 | -0.018457 | 0.0041864 | 0.0010492
33 | 0.99736 | -0.018474 | 0.0086553 | 0.0021692
34 | 0.99669 | -0.023176 | 0.022532 | 0.005647
35 | 0.99585 | -0.029061 | 0.0081906 | 0.0020528
36 | 0.99448 | -0.03867 | 0 | 0
37 | 0.99353 | -0.045356 | 0.022977 | 0.0057586
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.090685 | -0.022827 | 0.090887 | 0.022904 | 0.00020185 | 7.7414e-05 | 0.13669 | 0.13669 | 0.13669 | 0.98748 | -0.087002 | 0.98975 | -0.071099 | 50.625
1 | 0.085805 | 0.021604 | -0.085788 | -0.021597 | 1.6768e-05 | 6.4288e-06 | 0.12933 | 0.12933 | 0.12933 | 0.98748 | -0.087002 | 0.98728 | -0.088401 | 47.9013
2 | -0.094975 | -0.023929 | 0.095026 | 0.023948 | 5.0103e-05 | 1.922e-05 | 0.14283 | 0.14283 | 0.14283 | 0.98975 | -0.071099 | 0.99028 | -0.067331 | 52.9014
3 | 0.077088 | 0.019417 | -0.07705 | -0.019402 | 3.8242e-05 | 1.465e-05 | 0.11622 | 0.11622 | 0.11622 | 0.98728 | -0.088401 | 0.98677 | -0.091951 | 43.0448
4 | -0.10116 | -0.025485 | 0.10184 | 0.025746 | 0.00067898 | 0.00026054 | 0.15205 | 0.15205 | 0.15205 | 0.99028 | -0.067331 | 0.99714 | -0.019679 | 56.3147
5 | 0.076282 | 0.01921 | -0.076112 | -0.019145 | 0.00017006 | 6.5144e-05 | 0.11506 | 0.11506 | 0.11506 | 0.98677 | -0.091951 | 0.98451 | -0.10794 | 42.6159
6 | -0.10184 | -0.025746 | 0.10211 | 0.025851 | 0.00027649 | 0.00010534 | 0.15205 | 0.15205 | 0.15205 | 0.99714 | -0.019679 | 0.99993 | -0.00046072 | 28.1573
7 | 0.074587 | 0.018762 | -0.074582 | -0.018761 | 4.6003e-06 | 1.762e-06 | 0.11276 | 0.11276 | 0.11276 | 0.98451 | -0.10794 | 0.98444 | -0.10838 | 41.7621
8 | -0.11218 | -0.028374 | 0.11219 | 0.028376 | 3.9183e-06 | 1.4952e-06 | 0.16703 | 0.16703 | 0.16703 | 0.99993 | -0.00046072 | 0.99997 | -0.00021305 | 30.9318
9 | 0.072513 | 0.018242 | -0.072363 | -0.018185 | 0.00015006 | 5.7461e-05 | 0.10963 | 0.10963 | 0.10963 | 0.98444 | -0.10838 | 0.98234 | -0.12325 | 40.604
10 | -0.017299 | -0.0043356 | 0.017301 | 0.0043361 | 1.4032e-06 | 5.0017e-07 | 0.026523 | 0.026523 | 0.026523 | 0.97054 | -0.20759 | 0.97062 | -0.20701 | 9.8234
11 | -0.017301 | -0.0043361 | 0.017321 | 0.0043433 | 2.0021e-05 | 7.1361e-06 | 0.026523 | 0.026523 | 0.026523 | 0.97062 | -0.20701 | 0.97178 | -0.19866 | 9.8234
12 | -0.017321 | -0.0043433 | 0.017358 | 0.0043567 | 3.7593e-05 | 1.3395e-05 | 0.026523 | 0.026523 | 0.026523 | 0.97178 | -0.19866 | 0.97395 | -0.18303 | 9.8233
13 | -0.020139 | -0.0050536 | 0.02017 | 0.0050648 | 3.0975e-05 | 1.126e-05 | 0.030771 | 0.030771 | 0.030771 | 0.97395 | -0.18303 | 0.9755 | -0.17196 | 11.3966
14 | -0.02017 | -0.0050648 | 0.020185 | 0.0050702 | 1.4916e-05 | 5.4215e-06 | 0.030771 | 0.030771 | 0.030771 | 0.9755 | -0.17196 | 0.97624 | -0.16664 | 11.3965
15 | -0.12195 | -0.030822 | 0.12195 | 0.030823 | 3.6584e-06 | 1.3977e-06 | 0.18155 | 0.18155 | 0.18155 | 0.99997 | -0.00021305 | 1 | 0 | 33.621
16 | 0.066825 | 0.016784 | -0.066654 | -0.016719 | 0.00017104 | 6.5421e-05 | 0.099449 | 0.099449 | 0.099449 | 1 | 0 | 0.99736 | -0.018457 | 36.8331
17 | 0.029209 | 0.0073427 | -0.029167 | -0.0073267 | 4.2563e-05 | 1.5935e-05 | 0.044363 | 0.044363 | 0.044363 | 0.97991 | -0.14051 | 0.97844 | -0.15099 | 16.4307
18 | -0.034342 | -0.0086291 | 0.034371 | 0.0086399 | 2.871e-05 | 1.0829e-05 | 0.052157 | 0.052157 | 0.052157 | 0.97991 | -0.14051 | 0.98076 | -0.1345 | 19.3174
19 | 0.027145 | 0.00682 | -0.027144 | -0.0068199 | 3.7273e-07 | 1.3896e-07 | 0.041288 | 0.041288 | 0.041288 | 0.97844 | -0.15099 | 0.97842 | -0.15108 | 15.2918
20 | 0.032499 | 0.0081541 | -0.032486 | -0.0081492 | 1.3062e-05 | 4.9152e-06 | 0.049312 | 0.049312 | 0.049312 | 0.98076 | -0.1345 | 0.98035 | -0.1374 | 18.2636
21 | -0.06687 | -0.016794 | 0.066966 | 0.016831 | 9.5577e-05 | 3.6572e-05 | 0.10147 | 0.10147 | 0.10147 | 0.98076 | -0.1345 | 0.9822 | -0.12424 | 37.581
22 | 0.024676 | 0.0062012 | -0.024659 | -0.006195 | 1.6778e-05 | 6.2137e-06 | 0.037534 | 0.037534 | 0.037534 | 0.97842 | -0.15108 | 0.97774 | -0.15597 | 13.9016
23 | 0.027315 | 0.0068531 | -0.02728 | -0.00684 | 3.5139e-05 | 1.3102e-05 | 0.041462 | 0.041463 | 0.041463 | 0.98035 | -0.1374 | 0.97905 | -0.14669 | 15.3565
24 | -0.068208 | -0.017142 | 0.068217 | 0.017145 | 9.4087e-06 | 3.6009e-06 | 0.10335 | 0.10335 | 0.10335 | 0.9822 | -0.12424 | 0.98234 | -0.12325 | 38.2778
25 | 0.021768 | 0.0054703 | -0.021765 | -0.0054694 | 2.4902e-06 | 9.1219e-07 | 0.033133 | 0.033133 | 0.033133 | 0.97774 | -0.15597 | 0.97762 | -0.15679 | 12.2716
26 | 0.021342 | 0.0053519 | -0.021337 | -0.0053502 | 4.578e-06 | 1.6731e-06 | 0.032438 | 0.032438 | 0.032438 | 0.97905 | -0.14669 | 0.97883 | -0.14824 | 12.0141
27 | 0.020213 | 0.0050803 | -0.020185 | -0.0050702 | 2.768e-05 | 1.0059e-05 | 0.03077 | 0.030771 | 0.030771 | 0.97762 | -0.15679 | 0.97624 | -0.16664 | 11.3965
28 | 0.021337 | 0.0053502 | -0.02132 | -0.0053438 | 1.7405e-05 | 6.3614e-06 | 0.032438 | 0.032438 | 0.032438 | 0.97883 | -0.14824 | 0.97801 | -0.15413 | 12.0141
29 | 0.016126 | 0.0040422 | -0.016126 | -0.0040419 | 7.6572e-07 | 2.6893e-07 | 0.024536 | 0.024536 | 0.024536 | 0.97801 | -0.15413 | 0.97796 | -0.15447 | 9.0875
30 | 0.012506 | 0.0031348 | -0.012501 | -0.003133 | 5.4185e-06 | 1.7833e-06 | 0.019029 | 0.019029 | 0.019029 | 0.97796 | -0.15447 | 0.97752 | -0.1576 | 7.0477
31 | 0.0084203 | 0.0021104 | -0.0084182 | -0.0021098 | 2.1283e-06 | 5.584e-07 | 0.012818 | 0.012818 | 0.012818 | 0.97752 | -0.1576 | 0.97727 | -0.15943 | 4.7473
32 | 0.062467 | 0.01567 | -0.062467 | -0.01567 | 1.4944e-07 | 5.7119e-08 | 0.093204 | 0.093204 | 0.093204 | 0.99736 | -0.018457 | 0.99736 | -0.018474 | 34.5198
33 | 0.053812 | 0.0135 | -0.053777 | -0.013487 | 3.5078e-05 | 1.3378e-05 | 0.08029 | 0.08029 | 0.08029 | 0.99736 | -0.018474 | 0.99669 | -0.023176 | 29.7371
34 | 0.031245 | 0.00784 | -0.03122 | -0.0078305 | 2.5492e-05 | 9.5604e-06 | 0.046651 | 0.046651 | 0.046651 | 0.99669 | -0.023176 | 0.99585 | -0.029061 | 17.2783
35 | 0.023029 | 0.0057777 | -0.022998 | -0.0057664 | 3.0659e-05 | 1.1253e-05 | 0.034413 | 0.034413 | 0.034413 | 0.99585 | -0.029061 | 0.99448 | -0.03867 | 12.7455
36 | 0.022998 | 0.0057664 | -0.022977 | -0.0057586 | 2.1287e-05 | 7.814e-06 | 0.034413 | 0.034413 | 0.034413 | 0.99448 | -0.03867 | 0.99353 | -0.045356 | 12.7456

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19808 | 0.049739

## res_load
| p_mw | q_mvar
0 | 0.0048804 | 0.0012231
1 | 0.0040881 | 0.0010246
2 | 0.0086999 | 0.0021804
3 | 0.0061332 | 0.0015371
4 | 0.00076806 | 0.00019249
5 | 0.0015253 | 0.00038228
6 | 0.010068 | 0.0025233
7 | 0.0020687 | 0.00051847
8 | 0.017299 | 0.0043356
9 | 0.0027806 | 0.00069689
10 | 0.0097587 | 0.0024458
11 | 0.008507 | 0.002132
12 | 0.0051328 | 0.0012864
13 | 0.002022 | 0.00050675
14 | 0.0024683 | 0.0006186
15 | 0.0051714 | 0.0012961
16 | 0.0012419 | 0.00031126
17 | 0.0028917 | 0.00072474
18 | 0.0059378 | 0.0014882
19 | 0.0041463 | 0.0010392
20 | 0.0015525 | 0.00038909
21 | 0.0051936 | 0.0013016
22 | 0.0036196 | 0.00090716
23 | 0.0040804 | 0.0010226
24 | 0.0084182 | 0.0021098
25 | 0.0041864 | 0.0010492
26 | 0.0086553 | 0.0021692
27 | 0.022532 | 0.005647
28 | 0.0081906 | 0.0020528
29 | 0.022977 | 0.0057586

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1