## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2265-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2265-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2265-32_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2265-32_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2265-32_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2265-32_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2265-32_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2265-32_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2265-32_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_2265-32_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2265-32_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2265-32_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2265-32_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_2265-32_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2265-32_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2265-32_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2265-32_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2265-32_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2265-32_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2265-32_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2265-32_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2265-32_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2265-32_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_2265-32_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_2265-32_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_2265-32_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_2265-32_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2265-32_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2265-32_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2265-32_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2265-32_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2265-32_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2265-32_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2265-32_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2265-32_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2265-32_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2265-32_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2265-32_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2265-32_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_MV_381_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2265-32_0_4_load_0 | 0 | 0.0047859 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2265-32_0_4_load_1 | 1 | 0.0034502 | 0.0008647 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2265-32_0_4_load_2 | 2 | 0.0074123 | 0.0018577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2265-32_0_4_load_3 | 3 | 0.0082742 | 0.0020737 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2265-32_0_4_load_4 | 4 | 0.010045 | 0.0025175 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2265-32_0_4_load_7 | 5 | 0.007743 | 0.0019406 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2265-32_0_4_load_31 | 6 | 0.010685 | 0.002678 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2265-32_0_4_load_5 | 7 | 0.0018844 | 0.00047228 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2265-32_0_4_load_30 | 8 | 0.0024973 | 0.00062588 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2265-32_0_4_load_6 | 9 | 0.0012236 | 0.00030666 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2265-32_0_4_load_8 | 10 | 0.0053431 | 0.0013391 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2265-32_0_4_load_18 | 11 | 0.0071228 | 0.0017851 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2265-32_0_4_load_9 | 13 | 0.0020458 | 0.00051272 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2265-32_0_4_load_10 | 14 | 0.0020662 | 0.00051783 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2265-32_0_4_load_11 | 15 | 0.0031356 | 0.00078586 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2265-32_0_4_load_12 | 16 | 0.0014862 | 0.00037246 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2265-32_0_4_load_13 | 18 | 0.015786 | 0.0039563 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2265-32_0_4_load_16 | 20 | 0.0037485 | 0.00093947 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2265-32_0_4_load_17 | 21 | 0.0063025 | 0.0015796 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2265-32_0_4_load_29 | 22 | 0.0019677 | 0.00049315 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2265-32_0_4_load_35 | 25 | 0.0076579 | 0.0019192 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2265-32_0_4_load_19 | 26 | 0.0019034 | 0.00047705 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2265-32_0_4_load_20 | 27 | 0.00095486 | 0.00023931 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2265-32_0_4_load_28 | 29 | 0.00045976 | 0.00011523 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2265-32_0_4_load_27 | 30 | 0.00032123 | 8.0509e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2265-32_0_4_load_24 | 31 | 0.0008746 | 0.0002192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2265-32_0_4_load_25 | 32 | 0.0040827 | 0.0010232 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2265-32_0_4_load_26 | 33 | 0.011671 | 0.0029251 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2265-32_0_4_load_32 | 34 | 0.021391 | 0.0053611 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2265-32_0_4_load_33 | 35 | 0.0048561 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2265-32_0_4_load_34 | 36 | 0.021383 | 0.0053591 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2265-32_0_4_load_37 | 37 | 0.00215 | 0.00053885 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2265-32_0_4_load_39 | 38 | 0.015913 | 0.0039883 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2265-32_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_2265-32_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.004927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_2265-32_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_2265-32_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.025789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2265-32_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.00076106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2265-32_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_2265-32_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.039205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2265-32_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.018769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_2265-32_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0063246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2265-32_0_4_line_9 | NAYY 4x150 SE | 8 | 22 | 0.022032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2265-32_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0007155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_2265-32_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.036084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_2265-32_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.019929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2265-32_0_4_line_13 | NAYY 4x150 SE | 12 | 26 | 0.054052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2265-32_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.019619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2265-32_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.026173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2265-32_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.041857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2265-32_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.050205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2265-32_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.03727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2265-32_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.028233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2265-32_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.06475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_2265-32_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.021422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_2265-32_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.018031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_2265-32_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.041916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_2265-32_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.15187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2265-32_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.028358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_2265-32_0_4_line_26 | NAYY 4x150 SE | 24 | 38 | 0.021883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2265-32_0_4_line_27 | NAYY 4x150 SE | 24 | 37 | 0.047665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2265-32_0_4_line_28 | NAYY 4x150 SE | 25 | 36 | 0.061304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2265-32_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.025224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2265-32_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.042539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2265-32_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.030663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2265-32_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.028698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2265-32_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0051616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2265-32_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0051913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2265-32_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.038585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2265-32_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.05421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2265-32_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.043334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2265-32_0_4_trafo_32 | 0.25 MVA 20/0.4 kV | 39 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2581743.9272 | 1203245.8292 | 2581743.9272 | 1203245.8292 | 2581747.9594 | 1203263.0818 | 2581749.8983 | 1203276.3145
1 | 2581743.9272 | 1203245.8292 | 2581742.3506 | 1203241.1613
2 | 2581751.4177 | 1203286.6841 | 2581749.8983 | 1203276.3145
3 | 2581732.6576 | 1203217.3026 | 2581738.7059 | 1203230.3701 | 2581742.3506 | 1203241.1613
4 | 2581751.5508 | 1203287.4334 | 2581751.4177 | 1203286.6841 | 2581751.4177 | 1203286.6841
5 | 2581732.6576 | 1203217.3026 | 2581730.089 | 1203211.7531 | 2581723.6605 | 1203202.0491
6 | 2581758.4082 | 1203326.0342 | 2581751.5508 | 1203287.4334
7 | 2581713.2949 | 1203186.402 | 2581713.2949 | 1203186.402 | 2581723.6605 | 1203202.0491
8 | 2581758.4082 | 1203326.0342 | 2581759.5144 | 1203332.2613
9 | 2581697.8485 | 1203170.6912 | 2581713.2949 | 1203186.402
10 | 2581759.6396 | 1203332.9658 | 2581759.5144 | 1203332.2613
11 | 2581759.6396 | 1203332.9658 | 2581761.6917 | 1203344.5175 | 2581768.2231 | 1203367.9765
12 | 2581774.3528 | 1203386.9241 | 2581770.7158 | 1203376.9298 | 2581768.2231 | 1203367.9765
13 | 2581774.3528 | 1203386.9241 | 2581806.4632 | 1203375.5417 | 2581823.4194 | 1203372.1213 | 2581825.769 | 1203370.8202
14 | 2581772.3309 | 1203183.635 | 2581760.4621 | 1203168.0135
15 | 2581744.9652 | 1203146.9395 | 2581747.4932 | 1203150.9442 | 2581760.4621 | 1203168.0135
16 | 2581722.6217 | 1203111.5452 | 2581744.9652 | 1203146.9395
17 | 2581695.8218 | 1203069.0917 | 2581722.6217 | 1203111.5452
18 | 2581695.8218 | 1203069.0917 | 2581665.9931 | 1203091.4367
19 | 2581643.3971 | 1203108.3636 | 2581665.9931 | 1203091.4367
20 | 2581643.3971 | 1203108.3636 | 2581685.6208 | 1203157.4529
21 | 2581643.3971 | 1203108.3636 | 2581626.6443 | 1203121.7148
22 | 2581697.8485 | 1203170.6912 | 2581691.1301 | 1203163.8579 | 2581685.6208 | 1203157.4529
23 | 2581593.8649 | 1203147.8384 | 2581626.6443 | 1203121.7148
24 | 2581593.8649 | 1203147.8384 | 2581446.863 | 1203185.9828
25 | 2581593.8649 | 1203147.8384 | 2581610.1169 | 1203171.0769
26 | 2581446.863 | 1203185.9828 | 2581453.3425 | 1203206.8842
27 | 2581446.863 | 1203185.9828 | 2581439.0237 | 1203160.8157 | 2581432.6885 | 1203140.4738
28 | 2581610.1169 | 1203171.0769 | 2581633.8654 | 1203205.0348 | 2581643.4953 | 1203222.4102
29 | 2581847.8355 | 1203358.6004 | 2581825.769 | 1203370.8202
30 | 2581885.0497 | 1203337.9923 | 2581847.8355 | 1203358.6004
31 | 2581885.0497 | 1203337.9923 | 2581867.6076 | 1203312.773
32 | 2581867.6076 | 1203312.773 | 2581851.2835 | 1203289.1702
33 | 2581851.2835 | 1203289.1702 | 2581848.3475 | 1203284.9249
34 | 2581845.3945 | 1203280.6553 | 2581848.3475 | 1203284.9249
35 | 2581822.4709 | 1203249.6282 | 2581838.7992 | 1203271.1191 | 2581845.3945 | 1203280.6553
36 | 2581664.5016 | 1203260.3122 | 2581669.3439 | 1203269.0492 | 2581685.4973 | 1203310.214
37 | 2581664.5016 | 1203260.3122 | 2581643.4953 | 1203222.4102

## bus_geodata
| x | y | coords
0 | 2581743.9272 | 1203245.8292
1 | 2581749.8983 | 1203276.3145
2 | 2581742.3506 | 1203241.1613
3 | 2581751.4177 | 1203286.6841
4 | 2581732.6576 | 1203217.3026
5 | 2581751.5508 | 1203287.4334
6 | 2581723.6605 | 1203202.0491
7 | 2581758.4082 | 1203326.0342
8 | 2581713.2949 | 1203186.402
9 | 2581759.5144 | 1203332.2613
10 | 2581759.6396 | 1203332.9658
11 | 2581768.2231 | 1203367.9765
12 | 2581774.3528 | 1203386.9241
13 | 2581760.4621 | 1203168.0135
14 | 2581772.3309 | 1203183.635
15 | 2581744.9652 | 1203146.9395
16 | 2581722.6217 | 1203111.5452
17 | 2581695.8218 | 1203069.0917
18 | 2581665.9931 | 1203091.4367
19 | 2581643.3971 | 1203108.3636
20 | 2581685.6208 | 1203157.4529
21 | 2581626.6443 | 1203121.7148
22 | 2581697.8485 | 1203170.6912
23 | 2581593.8649 | 1203147.8384
24 | 2581446.863 | 1203185.9828
25 | 2581610.1169 | 1203171.0769
26 | 2581825.769 | 1203370.8202
27 | 2581847.8355 | 1203358.6004
28 | 2581885.0497 | 1203337.9923
29 | 2581867.6076 | 1203312.773
30 | 2581851.2835 | 1203289.1702
31 | 2581845.3945 | 1203280.6553
32 | 2581848.3475 | 1203284.9249
33 | 2581822.4709 | 1203249.6282
34 | 2581664.5016 | 1203260.3122
35 | 2581685.4973 | 1203310.214
36 | 2581643.4953 | 1203222.4102
37 | 2581432.6885 | 1203140.4738
38 | 2581453.3425 | 1203206.8842
39 | 2581593.8649 | 1203147.8384

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97867 | -0.14963 | 0.0047859 | 0.0011995
1 | 0.97783 | -0.15562 | 0.0034502 | 0.0008647
2 | 0.97881 | -0.1486 | 0.0074123 | 0.0018577
3 | 0.97756 | -0.15751 | 0.0082742 | 0.0020737
4 | 0.97966 | -0.14256 | 0.010045 | 0.0025175
5 | 0.97755 | -0.15763 | 0.007743 | 0.0019406
6 | 0.98033 | -0.13778 | 0.010685 | 0.002678
7 | 0.97686 | -0.16253 | 0.0018844 | 0.00047228
8 | 0.98113 | -0.13205 | 0.0024973 | 0.00062588
9 | 0.97676 | -0.16328 | 0.0012236 | 0.00030666
10 | 0.97674 | -0.16336 | 0.0053431 | 0.0013391
11 | 0.97626 | -0.16681 | 0.0071228 | 0.0017851
12 | 0.97606 | -0.16823 | 0 | 0
13 | 0.98325 | -0.11715 | 0.0020458 | 0.00051272
14 | 0.98319 | -0.11757 | 0.0020662 | 0.00051783
15 | 0.9834 | -0.11604 | 0.0031356 | 0.00078586
16 | 0.98384 | -0.11291 | 0.0014862 | 0.00037246
17 | 0.98448 | -0.10839 | 0 | 0
18 | 0.98495 | -0.10503 | 0.015786 | 0.0039563
19 | 0.98595 | -0.097911 | 0 | 0
20 | 0.98292 | -0.11937 | 0.0037485 | 0.00093947
21 | 0.98721 | -0.089043 | 0.0063025 | 0.0015796
22 | 0.98211 | -0.12514 | 0.0019677 | 0.00049315
23 | 0.9898 | -0.07086 | 0 | 0
24 | 0.98583 | -0.09894 | 0 | 0
25 | 0.9918 | -0.056876 | 0.0076579 | 0.0019192
26 | 0.97526 | -0.17397 | 0.0019034 | 0.00047705
27 | 0.97458 | -0.17884 | 0.00095486 | 0.00023931
28 | 0.9735 | -0.18664 | 0 | 0
29 | 0.97271 | -0.19227 | 0.00045976 | 0.00011523
30 | 0.972 | -0.1974 | 0.00032123 | 8.0509e-05
31 | 0.97178 | -0.199 | 0.0008746 | 0.0002192
32 | 0.97187 | -0.19831 | 0.0040827 | 0.0010232
33 | 0.97112 | -0.20376 | 0.011671 | 0.0029251
34 | 1 | 0 | -0.18306 | -0.046056
35 | 0.99962 | -0.0026297 | 0.0048561 | 0.001217
36 | 0.99634 | -0.025261 | 0.021383 | 0.0053591
37 | 0.98568 | -0.099993 | 0.00215 | 0.00053885
38 | 0.98533 | -0.10252 | 0.015913 | 0.0039883
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.055499 | 0.013926 | -0.055453 | -0.013909 | 4.6056e-05 | 1.6543e-05 | 0.08439 | 0.08439 | 0.08439 | 0.97867 | -0.14963 | 0.97783 | -0.15562 | 10.4186
1 | -0.060285 | -0.015125 | 0.060294 | 0.015129 | 8.6113e-06 | 3.1263e-06 | 0.091667 | 0.091667 | 0.091667 | 0.97867 | -0.14963 | 0.97881 | -0.1486 | 11.3169
2 | 0.052003 | 0.013045 | -0.051989 | -0.01304 | 1.3653e-05 | 4.8569e-06 | 0.07914 | 0.07914 | 0.07914 | 0.97783 | -0.15562 | 0.97756 | -0.15751 | 9.7704
3 | -0.067706 | -0.016986 | 0.067763 | 0.017007 | 5.6837e-05 | 2.0887e-05 | 0.10294 | 0.10293 | 0.10294 | 0.97881 | -0.1486 | 0.97966 | -0.14256 | 12.708
4 | 0.043715 | 0.010966 | -0.043714 | -0.010966 | 7.01e-07 | 2.4099e-07 | 0.066545 | 0.066545 | 0.066545 | 0.97756 | -0.15751 | 0.97755 | -0.15763 | 8.2155
5 | -0.077808 | -0.019525 | 0.07786 | 0.019544 | 5.1591e-05 | 1.9171e-05 | 0.11819 | 0.11819 | 0.11819 | 0.97966 | -0.14256 | 0.98033 | -0.13778 | 14.5917
6 | 0.035971 | 0.0090253 | -0.035947 | -0.0090174 | 2.4452e-05 | 7.9313e-06 | 0.054759 | 0.05476 | 0.05476 | 0.97755 | -0.15763 | 0.97686 | -0.16253 | 6.7604
7 | -0.088545 | -0.022222 | 0.088615 | 0.022248 | 7.053e-05 | 2.6416e-05 | 0.13441 | 0.13441 | 0.13441 | 0.98033 | -0.13778 | 0.98113 | -0.13205 | 16.594
8 | 0.034063 | 0.0085451 | -0.034059 | -0.008544 | 3.542e-06 | 1.1248e-06 | 0.051889 | 0.051889 | 0.051889 | 0.97686 | -0.16253 | 0.97676 | -0.16328 | 6.4061
9 | -0.091113 | -0.022874 | 0.0912 | 0.022907 | 8.7524e-05 | 3.2828e-05 | 0.1382 | 0.1382 | 0.1382 | 0.98113 | -0.13205 | 0.98211 | -0.12514 | 17.0615
10 | 0.032835 | 0.0082373 | -0.032835 | -0.0082372 | 3.7243e-07 | 1.1638e-07 | 0.050025 | 0.050025 | 0.050025 | 0.97676 | -0.16328 | 0.97674 | -0.16336 | 6.1759
11 | 0.027492 | 0.0068981 | -0.027479 | -0.0068944 | 1.3168e-05 | 3.7102e-06 | 0.041885 | 0.041886 | 0.041886 | 0.97674 | -0.16336 | 0.97626 | -0.16681 | 5.1711
12 | 0.020356 | 0.0051092 | -0.020352 | -0.0051084 | 3.9912e-06 | 7.8764e-07 | 0.031029 | 0.03103 | 0.03103 | 0.97626 | -0.16681 | 0.97606 | -0.16823 | 3.8308
13 | 0.020352 | 0.0051084 | -0.020336 | -0.0051035 | 1.6238e-05 | 4.8952e-06 | 0.03103 | 0.03103 | 0.03103 | 0.97606 | -0.16823 | 0.97526 | -0.17397 | 5.7463
14 | 0.0020663 | 0.00051763 | -0.0020662 | -0.00051783 | 1.1971e-07 | -2.0278e-07 | 0.003127 | 0.0031271 | 0.0031271 | 0.98325 | -0.11715 | 0.98319 | -0.11757 | 1.1582
15 | -0.0041121 | -0.0010303 | 0.0041127 | 0.0010303 | 6.3245e-07 | -8.8765e-08 | 0.006223 | 0.0062229 | 0.006223 | 0.98325 | -0.11715 | 0.9834 | -0.11604 | 2.3048
16 | -0.0072483 | -0.0018161 | 0.0072515 | 0.0018168 | 3.1416e-06 | 6.7702e-07 | 0.010967 | 0.010967 | 0.010967 | 0.9834 | -0.11604 | 0.98384 | -0.11291 | 4.062
17 | -0.0087376 | -0.0021893 | 0.0087431 | 0.0021907 | 5.4709e-06 | 1.4662e-06 | 0.013215 | 0.013215 | 0.013215 | 0.98384 | -0.11291 | 0.98448 | -0.10839 | 4.8944
18 | -0.0087431 | -0.0021907 | 0.0087471 | 0.0021918 | 4.0612e-06 | 1.0879e-06 | 0.013215 | 0.013215 | 0.013215 | 0.98448 | -0.10839 | 0.98495 | -0.10503 | 4.8944
19 | -0.024533 | -0.0061481 | 0.024557 | 0.0061571 | 2.42e-05 | 8.9481e-06 | 0.037063 | 0.037063 | 0.037063 | 0.98495 | -0.10503 | 0.98595 | -0.097911 | 13.7271
20 | 0.097282 | 0.024477 | -0.096991 | -0.024368 | 0.00029045 | 0.00010924 | 0.14685 | 0.14685 | 0.14685 | 0.98595 | -0.097911 | 0.98292 | -0.11937 | 18.1301
21 | -0.12184 | -0.030634 | 0.12199 | 0.030691 | 0.00015072 | 5.7148e-05 | 0.18392 | 0.18392 | 0.18392 | 0.98595 | -0.097911 | 0.98721 | -0.089043 | 22.7057
22 | 0.093243 | 0.023428 | -0.093168 | -0.0234 | 7.4754e-05 | 2.8066e-05 | 0.14118 | 0.14118 | 0.14118 | 0.98292 | -0.11937 | 0.98211 | -0.12514 | 17.4296
23 | -0.12829 | -0.032271 | 0.12862 | 0.032394 | 0.00032615 | 0.00012383 | 0.19342 | 0.19341 | 0.19342 | 0.98721 | -0.089043 | 0.9898 | -0.07086 | 23.8784
24 | 0.018142 | 0.0045545 | -0.018072 | -0.0045294 | 7.051e-05 | 2.5175e-05 | 0.027277 | 0.027277 | 0.027277 | 0.9898 | -0.07086 | 0.98583 | -0.09894 | 10.1027
25 | -0.14676 | -0.036949 | 0.14705 | 0.037058 | 0.00028728 | 0.0001094 | 0.22069 | 0.22069 | 0.22069 | 0.9898 | -0.07086 | 0.9918 | -0.056876 | 27.2459
26 | 0.015921 | 0.003991 | -0.015913 | -0.0039883 | 7.886e-06 | 2.7542e-06 | 0.024032 | 0.024032 | 0.024032 | 0.98583 | -0.09894 | 0.98533 | -0.10252 | 8.9007
27 | 0.0021504 | 0.00053836 | -0.00215 | -0.00053885 | 3.1332e-07 | -4.8714e-07 | 0.0032455 | 0.0032458 | 0.0032458 | 0.98583 | -0.09894 | 0.98568 | -0.099993 | 1.2021
28 | -0.15471 | -0.038978 | 0.15539 | 0.03924 | 0.00068738 | 0.00026199 | 0.23218 | 0.23218 | 0.23218 | 0.9918 | -0.056876 | 0.99634 | -0.025261 | 28.6642
29 | 0.018432 | 0.0046265 | -0.01842 | -0.004622 | 1.2451e-05 | 4.4744e-06 | 0.028126 | 0.028126 | 0.028126 | 0.97526 | -0.17397 | 0.97458 | -0.17884 | 10.417
30 | 0.017465 | 0.0043827 | -0.017446 | -0.004376 | 1.8878e-05 | 6.7313e-06 | 0.026668 | 0.026668 | 0.026668 | 0.97458 | -0.17884 | 0.9735 | -0.18664 | 9.8771
31 | 0.017446 | 0.004376 | -0.017433 | -0.0043711 | 1.3608e-05 | 4.8529e-06 | 0.026668 | 0.026668 | 0.026668 | 0.9735 | -0.18664 | 0.97271 | -0.19227 | 9.8772
32 | 0.016973 | 0.0042559 | -0.016961 | -0.0042516 | 1.2073e-05 | 4.2875e-06 | 0.025965 | 0.025965 | 0.025965 | 0.97271 | -0.19227 | 0.972 | -0.1974 | 9.6167
33 | 0.016639 | 0.0041711 | -0.016637 | -0.0041704 | 2.09e-06 | 7.3988e-07 | 0.025473 | 0.025473 | 0.025473 | 0.972 | -0.1974 | 0.97187 | -0.19831 | 9.4346
34 | -0.012553 | -0.0031467 | 0.012555 | 0.0031471 | 1.197e-06 | 3.9605e-07 | 0.019222 | 0.019222 | 0.019222 | 0.97178 | -0.199 | 0.97187 | -0.19831 | 7.1194
35 | 0.011679 | 0.0029275 | -0.011671 | -0.0029251 | 7.7001e-06 | 2.4839e-06 | 0.017883 | 0.017883 | 0.017883 | 0.97178 | -0.199 | 0.97112 | -0.20376 | 6.6235
36 | 0.0048578 | 0.001217 | -0.0048561 | -0.001217 | 1.7675e-06 | -3.1126e-08 | 0.0072283 | 0.0072286 | 0.0072286 | 1 | 0 | 0.99962 | -0.0026297 | 2.6773
37 | 0.1774 | 0.044839 | -0.17678 | -0.044599 | 0.00062874 | 0.00024013 | 0.26411 | 0.26411 | 0.26411 | 1 | 0 | 0.99634 | -0.025261 | 32.6067

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20445 | 0.051417

## res_load
| p_mw | q_mvar
0 | 0.0047859 | 0.0011995
1 | 0.0034502 | 0.0008647
2 | 0.0074123 | 0.0018577
3 | 0.0082742 | 0.0020737
4 | 0.010045 | 0.0025175
5 | 0.007743 | 0.0019406
6 | 0.010685 | 0.002678
7 | 0.0018844 | 0.00047228
8 | 0.0024973 | 0.00062588
9 | 0.0012236 | 0.00030666
10 | 0.0053431 | 0.0013391
11 | 0.0071228 | 0.0017851
12 | 0.0020458 | 0.00051272
13 | 0.0020662 | 0.00051783
14 | 0.0031356 | 0.00078586
15 | 0.0014862 | 0.00037246
16 | 0.015786 | 0.0039563
17 | 0.0037485 | 0.00093947
18 | 0.0063025 | 0.0015796
19 | 0.0019677 | 0.00049315
20 | 0.0076579 | 0.0019192
21 | 0.0019034 | 0.00047705
22 | 0.00095486 | 0.00023931
23 | 0.00045976 | 0.00011523
24 | 0.00032123 | 8.0509e-05
25 | 0.0008746 | 0.0002192
26 | 0.0040827 | 0.0010232
27 | 0.011671 | 0.0029251
28 | 0.021391 | 0.0053611
29 | 0.0048561 | 0.001217
30 | 0.021383 | 0.0053591
31 | 0.00215 | 0.00053885
32 | 0.015913 | 0.0039883

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1