## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2265-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2265-4_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2265-4_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2265-4_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2265-4_0_3_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_2265-4_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_2265-4_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_2265-4_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_2265-4_0_3_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_2265-4_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_2265-4_0_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_2265-4_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2265-4_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2265-4_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2265-4_0_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2265-4_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2265-4_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_2265-4_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2265-4_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2265-4_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2265-4_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2265-4_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_2265-4_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_2265-4_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2265-4_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2265-4_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2265-4_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2265-4_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2265-4_0_3_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_2265-4_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_2265-4_0_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_2265-4_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2265-4_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2265-4_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2265-4_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2265-4_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2265-4_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2265-4_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2265-4_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2265-4_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2265-4_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2265-4_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_2265-4_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2265-4_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2265-4_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_2265-4_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_2265-4_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_2265-4_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_MV_381_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2265-4_0_3_load_0 | 0 | 0.0767 | 0.019223 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2265-4_0_3_load_5 | 2 | 0.0054933 | 0.0013767 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2265-4_0_3_load_26 | 5 | 0.0078262 | 0.0019614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2265-4_0_3_load_37 | 7 | 0.0080069 | 0.0020067 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2265-4_0_3_load_51 | 8 | 0.0014844 | 0.00037202 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2265-4_0_3_load_6 | 11 | 0.0012323 | 0.00030884 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2265-4_0_3_load_7 | 12 | 0.0011831 | 0.00029652 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2265-4_0_3_load_8 | 13 | 0.0011396 | 0.00028561 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2265-4_0_3_load_23 | 14 | 0.0019987 | 0.00050093 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2265-4_0_3_load_9 | 15 | 0.00081425 | 0.00020407 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2265-4_0_3_load_17 | 16 | 0.0040613 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2265-4_0_3_load_11 | 17 | 0.0031958 | 0.00080093 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2265-4_0_3_load_18 | 18 | 0.0019129 | 0.00047941 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2265-4_0_3_load_19 | 19 | 0.0023707 | 0.00059415 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2265-4_0_3_load_12 | 20 | 0.0030527 | 0.00076508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2265-4_0_3_load_25 | 21 | 0.0069934 | 0.0017527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2265-4_0_3_load_42 | 22 | 0.003204 | 0.00080301 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2265-4_0_3_load_20 | 23 | 0.0018347 | 0.00045983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2265-4_0_3_load_14 | 25 | 0.0087952 | 0.0022043 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2265-4_0_3_load_15 | 26 | 0.0021125 | 0.00052945 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2265-4_0_3_load_48 | 29 | 0.00063288 | 0.00015862 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2265-4_0_3_load_53 | 30 | 0.00046882 | 0.0001175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2265-4_0_3_load_21 | 31 | 0.002738 | 0.00068621 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2265-4_0_3_load_24 | 33 | 0.0012749 | 0.00031951 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2265-4_0_3_load_44 | 34 | 0.0071588 | 0.0017942 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2265-4_0_3_load_29 | 36 | 0.0032797 | 0.00082198 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2265-4_0_3_load_30 | 37 | 0.0032354 | 0.00081087 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2265-4_0_3_load_38 | 38 | 0.0018211 | 0.00045642 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2265-4_0_3_load_40 | 39 | 0.002305 | 0.00057769 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2265-4_0_3_load_39 | 40 | 0.0010594 | 0.00026552 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2265-4_0_3_load_31 | 42 | 0.0044396 | 0.0011127 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2265-4_0_3_load_32 | 43 | 0.0028141 | 0.00070528 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2265-4_0_3_load_45 | 46 | 0.0029672 | 0.00074364 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2265-4_0_3_load_52 | 47 | 0.0040557 | 0.0010164 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2265-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2265-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2265-4_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.021145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2265-4_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.059204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2265-4_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.021749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2265-4_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.047402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2265-4_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.0015209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2265-4_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.031943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2265-4_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.0070992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2265-4_0_3_line_9 | NAYY 4x150 SE | 9 | 36 | 0.018816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2265-4_0_3_line_10 | NAYY 4x150 SE | 9 | 37 | 0.019763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2265-4_0_3_line_11 | NAYY 4x150 SE | 10 | 41 | 0.08571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_2265-4_0_3_line_12 | NAYY 4x150 SE | 10 | 42 | 0.062125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2265-4_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.045757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2265-4_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.039448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2265-4_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.060135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2265-4_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.016898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2265-4_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.057207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2265-4_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.032373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2265-4_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0092049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2265-4_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.01328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2265-4_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.02816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2265-4_0_3_line_22 | NAYY 4x150 SE | 18 | 23 | 0.021672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2265-4_0_3_line_23 | NAYY 4x150 SE | 19 | 31 | 0.006611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2265-4_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.02494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2265-4_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.005986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2265-4_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.013341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2265-4_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.039973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2265-4_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0080431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2265-4_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.019505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2265-4_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2265-4_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.048084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2265-4_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.012653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2265-4_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.023066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2265-4_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.012325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2265-4_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.037484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2265-4_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.022089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2265-4_0_3_line_37 | NAYY 4x150 SE | 35 | 44 | 0.020127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2265-4_0_3_line_38 | NAYY 4x150 SE | 35 | 41 | 0.024287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2265-4_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0028144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2265-4_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.024587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2265-4_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.017927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2265-4_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.042428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2265-4_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.019872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2265-4_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.002683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2265-4_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.015067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2265-4_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.023866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2265-4_0_3_trafo_40 | 0.25 MVA 20/0.4 kV | 48 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2581383.5058 | 1202333.3154 | 2581384.7788 | 1202341.2825 | 2581390.7278 | 1202372.5134
1 | 2581383.5058 | 1202333.3154 | 2581380.2082 | 1202315.0148
2 | 2581376.4584 | 1202294.2051 | 2581380.2082 | 1202315.0148
3 | 2581332.3896 | 1202531.3615 | 2581355.536 | 1202526.0304 | 2581347.5952 | 1202495.6276 | 2581346.5786 | 1202491.7286
4 | 2581346.5786 | 1202491.7286 | 2581341.0859 | 1202470.6842
5 | 2581307.5194 | 1202503.9469 | 2581314.3739 | 1202530.0395 | 2581315.662 | 1202533.1372 | 2581319.3631 | 1202534.0594 | 2581332.3896 | 1202531.3615
6 | 2581340.7018 | 1202469.2126 | 2581341.0859 | 1202470.6842
7 | 2581376.4584 | 1202294.2051 | 2581364.1962 | 1202293.2541 | 2581356.067 | 1202297.4819 | 2581348.5184 | 1202304.854
8 | 2581376.4584 | 1202294.2051 | 2581383.5359 | 1202294.7594
9 | 2581340.7018 | 1202469.2126 | 2581322.3638 | 1202473.4266
10 | 2581340.7018 | 1202469.2126 | 2581335.7103 | 1202450.0907
11 | 2581318.7888 | 1202385.2467 | 2581325.2978 | 1202369.1731 | 2581348.5184 | 1202304.854
12 | 2581348.5184 | 1202304.854 | 2581357.1241 | 1202275.4332 | 2581362.521 | 1202261.3753 | 2581366.9763 | 1202245.5788
13 | 2581221.7461 | 1202520.1789 | 2581223.6779 | 1202530.3476 | 2581231.0818 | 1202547.2112 | 2581235.5947 | 1202563.59
14 | 2581212.7171 | 1202481.8283 | 2581217.5802 | 1202498.2494 | 2581221.7461 | 1202520.1789
15 | 2581272.4795 | 1202487.8939 | 2581221.7461 | 1202520.1789
16 | 2581238.9986 | 1202580.1301 | 2581236.6549 | 1202567.438 | 2581235.5947 | 1202563.59
17 | 2581245.5508 | 1202434.9821 | 2581212.7171 | 1202481.8283
18 | 2581240.3666 | 1202612.1895 | 2581241.7799 | 1202595.1925 | 2581238.9986 | 1202580.1301
19 | 2581241.9147 | 1202426.7299 | 2581242.5689 | 1202430.4669 | 2581245.5508 | 1202434.9821 | 2581245.5508 | 1202434.9821
20 | 2581258.5163 | 1202434.8549 | 2581250.8894 | 1202436.3438 | 2581245.5508 | 1202434.9821
21 | 2581240.3666 | 1202612.1895 | 2581238.7229 | 1202631.9556 | 2581237.3872 | 1202640.1732
22 | 2581241.9147 | 1202426.7299 | 2581238.1778 | 1202405.3824
23 | 2581258.5163 | 1202434.8549 | 2581265.0048 | 1202433.5882
24 | 2581233.3859 | 1202664.7903 | 2581237.3872 | 1202640.1732
25 | 2581235.8775 | 1202392.2413 | 2581234.8453 | 1202386.3449
26 | 2581235.8775 | 1202392.2413 | 2581238.1778 | 1202405.3824
27 | 2581233.3859 | 1202664.7903 | 2581228.5865 | 1202694.3438 | 2581224.8924 | 1202703.6718
28 | 2581221.931 | 1202711.1498 | 2581224.8924 | 1202703.6718
29 | 2581214.7492 | 1202729.2844 | 2581221.931 | 1202711.1498
30 | 2581214.7492 | 1202729.2844 | 2581220.4425 | 1202732.2013 | 2581231.1022 | 1202703.0295 | 2581251.6198 | 1202711.2582 | 2581273.5791 | 1202718.2261
31 | 2581214.7492 | 1202729.2844 | 2581194.0433 | 1202772.6814
32 | 2581269.7517 | 1202706.1649 | 2581273.5791 | 1202718.2261
33 | 2581287.6439 | 1202429.1686 | 2581265.0048 | 1202433.5882
34 | 2581287.6439 | 1202429.1686 | 2581291.9293 | 1202417.6129
35 | 2581291.9293 | 1202417.6129 | 2581304.9631 | 1202382.4674
36 | 2581312.6348 | 1202361.7532 | 2581306.4701 | 1202378.4039 | 2581304.9631 | 1202382.4674
37 | 2581312.6348 | 1202361.7532 | 2581307.5436 | 1202342.2808
38 | 2581312.6348 | 1202361.7532 | 2581315.6527 | 1202372.8609 | 2581318.7888 | 1202385.2467
39 | 2581322.3638 | 1202473.4266 | 2581319.6208 | 1202474.057
40 | 2581329.5013 | 1202426.3001 | 2581332.7685 | 1202438.8209 | 2581335.7103 | 1202450.0907
41 | 2581302.1494 | 1202478.0719 | 2581319.6208 | 1202474.057
42 | 2581318.7888 | 1202385.2467 | 2581329.5013 | 1202426.3001
43 | 2581366.9763 | 1202245.5788 | 2581372.3705 | 1202226.4534
44 | 2581307.5436 | 1202342.2808 | 2581306.7973 | 1202339.704
45 | 2581307.5436 | 1202342.2808 | 2581292.8144 | 1202345.4535
46 | 2581306.7973 | 1202339.704 | 2581313.9432 | 1202334.979 | 2581318.1439 | 1202330.1965 | 2581320.6589 | 1202326.5422 | 2581318.5308 | 1202322.5467

## bus_geodata
| x | y | coords
0 | 2581390.7278 | 1202372.5134
1 | 2581383.5058 | 1202333.3154
2 | 2581380.2082 | 1202315.0148
3 | 2581346.5786 | 1202491.7286
4 | 2581332.3896 | 1202531.3615
5 | 2581341.0859 | 1202470.6842
6 | 2581376.4584 | 1202294.2051
7 | 2581383.5359 | 1202294.7594
8 | 2581307.5194 | 1202503.9469
9 | 2581340.7018 | 1202469.2126
10 | 2581348.5184 | 1202304.854
11 | 2581221.7461 | 1202520.1789
12 | 2581235.5947 | 1202563.59
13 | 2581212.7171 | 1202481.8283
14 | 2581272.4795 | 1202487.8939
15 | 2581238.9986 | 1202580.1301
16 | 2581245.5508 | 1202434.9821
17 | 2581240.3666 | 1202612.1895
18 | 2581241.9147 | 1202426.7299
19 | 2581258.5163 | 1202434.8549
20 | 2581237.3872 | 1202640.1732
21 | 2581235.8775 | 1202392.2413
22 | 2581234.8453 | 1202386.3449
23 | 2581238.1778 | 1202405.3824
24 | 2581233.3859 | 1202664.7903
25 | 2581224.8924 | 1202703.6718
26 | 2581221.931 | 1202711.1498
27 | 2581214.7492 | 1202729.2844
28 | 2581273.5791 | 1202718.2261
29 | 2581194.0433 | 1202772.6814
30 | 2581269.7517 | 1202706.1649
31 | 2581265.0048 | 1202433.5882
32 | 2581287.6439 | 1202429.1686
33 | 2581291.9293 | 1202417.6129
34 | 2581304.9631 | 1202382.4674
35 | 2581312.6348 | 1202361.7532
36 | 2581322.3638 | 1202473.4266
37 | 2581335.7103 | 1202450.0907
38 | 2581319.6208 | 1202474.057
39 | 2581329.5013 | 1202426.3001
40 | 2581302.1494 | 1202478.0719
41 | 2581318.7888 | 1202385.2467
42 | 2581366.9763 | 1202245.5788
43 | 2581372.3705 | 1202226.4534
44 | 2581307.5436 | 1202342.2808
45 | 2581306.7973 | 1202339.704
46 | 2581292.8144 | 1202345.4535
47 | 2581318.5308 | 1202322.5467
48 | 2581318.7888 | 1202385.2467

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97566 | -0.17074 | 0.0767 | 0.019223
1 | 0.98013 | -0.13883 | 0 | 0
2 | 0.98221 | -0.12404 | 0.0054933 | 0.0013767
3 | 0.99884 | -0.0081257 | 0 | 0
4 | 0.99872 | -0.0090094 | 0 | 0
5 | 0.99889 | -0.0078002 | 0.0078262 | 0.0019614
6 | 0.98475 | -0.10611 | 0 | 0
7 | 0.98467 | -0.10669 | 0.0080069 | 0.0020067
8 | 0.99862 | -0.0097146 | 0.0014844 | 0.00037202
9 | 0.99891 | -0.0076584 | 0 | 0
10 | 0.98895 | -0.076576 | 0 | 0
11 | 0.98124 | -0.13146 | 0.0012323 | 0.00030884
12 | 0.97989 | -0.14109 | 0.0011831 | 0.00029652
13 | 0.98259 | -0.12185 | 0.0011396 | 0.00028561
14 | 0.98106 | -0.13271 | 0.0019987 | 0.00050093
15 | 0.97942 | -0.14445 | 0.00081425 | 0.00020407
16 | 0.98464 | -0.10729 | 0.0040613 | 0.0010178
17 | 0.97855 | -0.15061 | 0.0031958 | 0.00080093
18 | 0.98445 | -0.10861 | 0.0019129 | 0.00047941
19 | 0.98546 | -0.10146 | 0.0023707 | 0.00059415
20 | 0.97794 | -0.15504 | 0.0030527 | 0.00076508
21 | 0.98388 | -0.1127 | 0.0069934 | 0.0017527
22 | 0.98385 | -0.1129 | 0.003204 | 0.00080301
23 | 0.98408 | -0.1113 | 0.0018347 | 0.00045983
24 | 0.9775 | -0.15818 | 0 | 0
25 | 0.9768 | -0.1632 | 0.0087952 | 0.0022043
26 | 0.97676 | -0.16347 | 0.0021125 | 0.00052945
27 | 0.97673 | -0.1637 | 0 | 0
28 | 0.97667 | -0.16411 | 0 | 0
29 | 0.97668 | -0.16402 | 0.00063288 | 0.00015862
30 | 0.97666 | -0.16417 | 0.00046882 | 0.0001175
31 | 0.9859 | -0.098402 | 0.002738 | 0.00068621
32 | 0.9875 | -0.0871 | 0 | 0
33 | 0.98835 | -0.081076 | 0.0012749 | 0.00031951
34 | 0.99102 | -0.062331 | 0.0071588 | 0.0017942
35 | 0.99282 | -0.04973 | 0 | 0
36 | 0.99874 | -0.0088185 | 0.0032797 | 0.00082198
37 | 0.99934 | -0.0045982 | 0.0032354 | 0.00081087
38 | 0.99873 | -0.0088997 | 0.0018211 | 0.00045642
39 | 1 | 0 | -0.18335 | -0.046159
40 | 0.9987 | -0.0090899 | 0.0010594 | 0.00026552
41 | 0.99504 | -0.034207 | 0 | 0
42 | 0.9883 | -0.08118 | 0.0044396 | 0.0011127
43 | 0.98822 | -0.081752 | 0.0028141 | 0.00070528
44 | 0.99262 | -0.051163 | 0 | 0
45 | 0.9926 | -0.051273 | 0 | 0
46 | 0.99255 | -0.051616 | 0.0029672 | 0.00074364
47 | 0.99246 | -0.052254 | 0.0040557 | 0.0010164
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0767 | -0.019223 | 0.07704 | 0.019353 | 0.00034035 | 0.00013041 | 0.11698 | 0.11698 | 0.11698 | 0.97566 | -0.17074 | 0.98013 | -0.13883 | 43.3249
1 | -0.07704 | -0.019353 | 0.077199 | 0.019414 | 0.00015878 | 6.0834e-05 | 0.11698 | 0.11698 | 0.11698 | 0.98013 | -0.13883 | 0.98221 | -0.12404 | 43.3249
2 | -0.082692 | -0.020791 | 0.082899 | 0.02087 | 0.00020715 | 7.9405e-05 | 0.1253 | 0.1253 | 0.1253 | 0.98221 | -0.12404 | 0.98475 | -0.10611 | 46.4071
3 | 0.0014847 | 0.00037075 | -0.0014845 | -0.00037145 | 1.8068e-07 | -7.0533e-07 | 0.0022113 | 0.0022116 | 0.0022116 | 0.99884 | -0.0081257 | 0.99872 | -0.0090094 | 0.81912
4 | -0.0014847 | -0.00037075 | 0.0014848 | 0.00037049 | 6.6363e-08 | -2.5917e-07 | 0.0022113 | 0.0022112 | 0.0022113 | 0.99884 | -0.0081257 | 0.99889 | -0.0078002 | 0.81902
5 | 0.0014845 | 0.00037145 | -0.0014844 | -0.00037202 | 1.4469e-07 | -5.6457e-07 | 0.0022116 | 0.0022118 | 0.0022118 | 0.99872 | -0.0090094 | 0.99862 | -0.0097146 | 0.8192
6 | -0.0093109 | -0.0023319 | 0.0093111 | 0.002332 | 1.8256e-07 | 5.0308e-08 | 0.01387 | 0.01387 | 0.01387 | 0.99889 | -0.0078002 | 0.99891 | -0.0076584 | 5.1369
7 | -0.090907 | -0.022877 | 0.091283 | 0.023021 | 0.00037629 | 0.00014432 | 0.1374 | 0.1374 | 0.1374 | 0.98475 | -0.10611 | 0.98895 | -0.076576 | 50.8885
8 | 0.0080075 | 0.0020069 | -0.0080069 | -0.0020067 | 6.4857e-07 | 1.5914e-07 | 0.0121 | 0.0121 | 0.0121 | 0.98475 | -0.10611 | 0.98467 | -0.10669 | 4.4815
9 | 0.0061613 | 0.0015438 | -0.0061603 | -0.0015437 | 9.8905e-07 | 1.3413e-07 | 0.009178 | 0.0091781 | 0.0091781 | 0.99891 | -0.0076584 | 0.99874 | -0.0088185 | 3.3993
10 | -0.015472 | -0.0038758 | 0.015479 | 0.003878 | 6.5507e-06 | 2.2607e-06 | 0.023048 | 0.023048 | 0.023048 | 0.99891 | -0.0076584 | 0.99934 | -0.0045982 | 8.5362
11 | -0.098541 | -0.02484 | 0.09913 | 0.025064 | 0.00058828 | 0.00022405 | 0.14832 | 0.14832 | 0.14832 | 0.98895 | -0.076576 | 0.99504 | -0.034207 | 27.4667
12 | 0.0072585 | 0.0018188 | -0.0072539 | -0.0018178 | 4.6239e-06 | 9.8183e-07 | 0.010921 | 0.010922 | 0.010922 | 0.98895 | -0.076576 | 0.9883 | -0.08118 | 4.045
13 | 0.02033 | 0.0051007 | -0.020303 | -0.0050908 | 2.7142e-05 | 9.862e-06 | 0.030832 | 0.030832 | 0.030832 | 0.98124 | -0.13146 | 0.97989 | -0.14109 | 11.4192
14 | -0.023561 | -0.0059098 | 0.023593 | 0.0059214 | 3.1428e-05 | 1.1589e-05 | 0.035732 | 0.035732 | 0.035732 | 0.98124 | -0.13146 | 0.98259 | -0.12185 | 13.234
15 | 0.0019991 | 0.0005003 | -0.0019987 | -0.00050093 | 3.4483e-07 | -6.2684e-07 | 0.0030313 | 0.0030316 | 0.0030316 | 0.98124 | -0.13146 | 0.98106 | -0.13271 | 1.1228
16 | 0.01912 | 0.0047943 | -0.019111 | -0.0047911 | 8.8894e-06 | 3.2062e-06 | 0.029035 | 0.029035 | 0.029035 | 0.97989 | -0.14109 | 0.97942 | -0.14445 | 10.7538
17 | -0.024732 | -0.006207 | 0.024782 | 0.0062255 | 5.0084e-05 | 1.8537e-05 | 0.037457 | 0.037457 | 0.037457 | 0.98259 | -0.12185 | 0.98464 | -0.10729 | 13.8731
18 | 0.018297 | 0.004587 | -0.018281 | -0.0045814 | 1.561e-05 | 5.5968e-06 | 0.027798 | 0.027798 | 0.027798 | 0.97942 | -0.14445 | 0.97855 | -0.15061 | 10.2957
19 | 0.013954 | 0.0034978 | -0.013952 | -0.003497 | 2.5543e-06 | 8.6538e-07 | 0.021088 | 0.021088 | 0.021088 | 0.98464 | -0.10729 | 0.98445 | -0.10861 | 7.8104
20 | -0.042798 | -0.010741 | 0.042832 | 0.010754 | 3.4671e-05 | 1.3166e-05 | 0.064683 | 0.064683 | 0.064683 | 0.98464 | -0.10729 | 0.98546 | -0.10146 | 23.9565
21 | 0.015085 | 0.0037805 | -0.015076 | -0.0037773 | 9.2461e-06 | 3.2027e-06 | 0.022939 | 0.022939 | 0.022939 | 0.97855 | -0.15061 | 0.97794 | -0.15504 | 8.4959
22 | 0.012039 | 0.0030175 | -0.012034 | -0.0030161 | 4.4779e-06 | 1.4468e-06 | 0.018197 | 0.018197 | 0.018197 | 0.98445 | -0.10861 | 0.98408 | -0.1113 | 6.7396
23 | -0.045203 | -0.011349 | 0.045222 | 0.011356 | 1.9223e-05 | 7.309e-06 | 0.068262 | 0.068262 | 0.068262 | 0.98546 | -0.10146 | 0.9859 | -0.098402 | 25.2823
24 | 0.012023 | 0.0030122 | -0.012018 | -0.0030105 | 5.2084e-06 | 1.6905e-06 | 0.018294 | 0.018294 | 0.018294 | 0.97794 | -0.15504 | 0.9775 | -0.15818 | 6.7756
25 | 0.0032041 | 0.00080296 | -0.003204 | -0.00080301 | 8.7714e-08 | -4.2283e-08 | 0.0048459 | 0.0048459 | 0.0048459 | 0.98388 | -0.1127 | 0.98385 | -0.1129 | 1.7948
26 | -0.010198 | -0.0025557 | 0.010199 | 0.0025563 | 1.9801e-06 | 5.9212e-07 | 0.015423 | 0.015423 | 0.015423 | 0.98388 | -0.1127 | 0.98408 | -0.1113 | 5.7121
27 | 0.012018 | 0.0030105 | -0.01201 | -0.0030078 | 8.3481e-06 | 2.7101e-06 | 0.018294 | 0.018294 | 0.018294 | 0.9775 | -0.15818 | 0.9768 | -0.1632 | 6.7757
28 | 0.0032145 | 0.00080351 | -0.0032143 | -0.00080357 | 1.2031e-07 | -5.4403e-08 | 0.004896 | 0.0048961 | 0.0048961 | 0.9768 | -0.1632 | 0.97676 | -0.16347 | 1.8134
29 | 0.0011018 | 0.00027411 | -0.0011018 | -0.00027434 | 3.4262e-08 | -2.3095e-07 | 0.0016778 | 0.0016779 | 0.0016779 | 0.97676 | -0.16347 | 0.97673 | -0.1637 | 0.62143
30 | 0.00046885 | 0.00011632 | -0.00046882 | -0.00011734 | 2.6279e-08 | -1.0236e-06 | 0.00071385 | 0.00071422 | 0.00071422 | 0.97673 | -0.1637 | 0.97667 | -0.16411 | 0.26453
31 | 0.00063291 | 0.00015802 | -0.00063288 | -0.00015862 | 2.7889e-08 | -5.9105e-07 | 0.00096401 | 0.00096422 | 0.00096422 | 0.97673 | -0.1637 | 0.97668 | -0.16402 | 0.35712
32 | 0.00046882 | 0.00011734 | -0.00046882 | -0.0001175 | 4.0279e-09 | -1.5679e-07 | 0.00071422 | 0.00071428 | 0.00071428 | 0.97667 | -0.16411 | 0.97666 | -0.16417 | 0.26455
33 | -0.04796 | -0.012042 | 0.048036 | 0.012071 | 7.5436e-05 | 2.8719e-05 | 0.072395 | 0.072395 | 0.072395 | 0.9859 | -0.098402 | 0.9875 | -0.0871 | 26.8129
34 | -0.048036 | -0.012071 | 0.048076 | 0.012086 | 4.0306e-05 | 1.5345e-05 | 0.072395 | 0.072395 | 0.072395 | 0.9875 | -0.0871 | 0.98835 | -0.081076 | 26.8128
35 | -0.049351 | -0.012406 | 0.04948 | 0.012455 | 0.00012917 | 4.9201e-05 | 0.074314 | 0.074314 | 0.074314 | 0.98835 | -0.081076 | 0.99102 | -0.062331 | 27.5237
36 | -0.056639 | -0.014249 | 0.056739 | 0.014287 | 9.9733e-05 | 3.8074e-05 | 0.085063 | 0.085063 | 0.085063 | 0.99102 | -0.062331 | 0.99282 | -0.04973 | 31.5047
37 | 0.007025 | 0.0017601 | -0.0070236 | -0.0017599 | 1.3923e-06 | 2.7527e-07 | 0.010529 | 0.010529 | 0.010529 | 0.99282 | -0.04973 | 0.99262 | -0.051163 | 3.8996
38 | -0.063764 | -0.016047 | 0.063902 | 0.0161 | 0.00013848 | 5.2948e-05 | 0.095591 | 0.095591 | 0.095591 | 0.99282 | -0.04973 | 0.99504 | -0.034207 | 35.4042
39 | 0.0028806 | 0.00072169 | -0.0028806 | -0.00072171 | 3.2347e-08 | -2.4389e-08 | 0.0042917 | 0.0042917 | 0.0042917 | 0.99874 | -0.0088185 | 0.99873 | -0.0088997 | 1.5895
40 | -0.018714 | -0.0046889 | 0.018726 | 0.0046932 | 1.1913e-05 | 4.2596e-06 | 0.027865 | 0.027865 | 0.027865 | 0.99934 | -0.0045982 | 1 | 0 | 10.3204
41 | 0.0010594 | 0.00026529 | -0.0010594 | -0.00026552 | 2.787e-08 | -2.2386e-07 | 0.0015784 | 0.0015785 | 0.0015785 | 0.99873 | -0.0088997 | 0.9987 | -0.0090899 | 0.58462
42 | 0.16382 | 0.041466 | -0.16303 | -0.041164 | 0.00078753 | 0.00030179 | 0.24391 | 0.24391 | 0.24391 | 1 | 0 | 0.99504 | -0.034207 | 45.1686
43 | 0.0028143 | 0.00070511 | -0.0028141 | -0.00070528 | 2.2263e-07 | -1.6899e-07 | 0.0042372 | 0.0042373 | 0.0042373 | 0.9883 | -0.08118 | 0.98822 | -0.081752 | 1.5694
44 | 0.0040563 | 0.0010163 | -0.0040562 | -0.0010164 | 6.1902e-08 | -1.0872e-08 | 0.0060806 | 0.0060807 | 0.0060807 | 0.99262 | -0.051163 | 0.9926 | -0.051273 | 2.2521
45 | 0.0029673 | 0.00074352 | -0.0029672 | -0.00074364 | 1.8604e-07 | -1.2319e-07 | 0.0044483 | 0.0044483 | 0.0044483 | 0.99262 | -0.051163 | 0.99255 | -0.051616 | 1.6475
46 | 0.0040562 | 0.0010164 | -0.0040557 | -0.0010164 | 5.5065e-07 | -9.6658e-08 | 0.0060807 | 0.0060808 | 0.0060808 | 0.9926 | -0.051273 | 0.99246 | -0.052254 | 2.2521

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18565 | 0.046737

## res_load
| p_mw | q_mvar
0 | 0.0767 | 0.019223
1 | 0.0054933 | 0.0013767
2 | 0.0078262 | 0.0019614
3 | 0.0080069 | 0.0020067
4 | 0.0014844 | 0.00037202
5 | 0.0012323 | 0.00030884
6 | 0.0011831 | 0.00029652
7 | 0.0011396 | 0.00028561
8 | 0.0019987 | 0.00050093
9 | 0.00081425 | 0.00020407
10 | 0.0040613 | 0.0010178
11 | 0.0031958 | 0.00080093
12 | 0.0019129 | 0.00047941
13 | 0.0023707 | 0.00059415
14 | 0.0030527 | 0.00076508
15 | 0.0069934 | 0.0017527
16 | 0.003204 | 0.00080301
17 | 0.0018347 | 0.00045983
18 | 0.0087952 | 0.0022043
19 | 0.0021125 | 0.00052945
20 | 0.00063288 | 0.00015862
21 | 0.00046882 | 0.0001175
22 | 0.002738 | 0.00068621
23 | 0.0012749 | 0.00031951
24 | 0.0071588 | 0.0017942
25 | 0.0032797 | 0.00082198
26 | 0.0032354 | 0.00081087
27 | 0.0018211 | 0.00045642
28 | 0.002305 | 0.00057769
29 | 0.0010594 | 0.00026552
30 | 0.0044396 | 0.0011127
31 | 0.0028141 | 0.00070528
32 | 0.0029672 | 0.00074364
33 | 0.0040557 | 0.0010164

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1