## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2276-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2276-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2276-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2276-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2276-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2276-1_0_2_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_2276-1_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2276-1_0_2_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_2276-1_0_2_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_2276-1_0_2_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_2276-1_0_2_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_2276-1_0_2_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_2276-1_0_2_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_2276-1_0_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2276-1_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_2276-1_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2276-1_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2276-1_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2276-1_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2276-1_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2276-1_0_2_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_2276-1_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2276-1_0_2_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_2276-1_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2276-1_0_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_2276-1_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_2276-1_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2276-1_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2276-1_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2276-1_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2276-1_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2276-1_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2276-1_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_2276-1_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_2276-1_0_2_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_2276-1_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_2276-1_0_2_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_2276-1_0_2_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2276-1_0_2_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_2276-1_0_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2276-1_0_2_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_2276-1_0_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_2276-1_0_2_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_2276-1_0_2_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2276-1_0_2_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2276-1_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2276-1_0_2_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2276-1_0_2_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2276-1_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2276-1_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2276-1_0_2_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2276-1_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_2276-1_0_2_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_2276-1_0_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2276-1_0_2_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_2276-1_0_2_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_2276-1_0_2_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_2276-1_0_2_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_2276-1_0_2_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_2276-1_0_2_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_2276-1_0_2_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_2276-1_0_2_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_2276-1_0_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2276-1_0_2_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_2276-1_0_2_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_2276-1_0_2_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_2276-1_0_2_node_77 | 0.4 | n |  | TRUE
67 | bus_MV_381_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2276-1_0_2_load_0 | 0 | 0.0022152 | 0.00055519 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2276-1_0_2_load_1 | 1 | 0.00076894 | 0.00019271 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2276-1_0_2_load_3 | 3 | 0.0020461 | 0.00051279 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2276-1_0_2_load_43 | 5 | 0.0026572 | 0.00066596 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2276-1_0_2_load_49 | 8 | 0.0021386 | 0.00053599 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2276-1_0_2_load_48 | 9 | 0.0013403 | 0.00033591 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2276-1_0_2_load_45 | 10 | 0.0011353 | 0.00028454 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2276-1_0_2_load_52 | 11 | 0.00092762 | 0.00023248 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2276-1_0_2_load_23 | 12 | 0.0019426 | 0.00048686 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2276-1_0_2_load_19 | 13 | 0.0039676 | 0.00099438 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2276-1_0_2_load_46 | 14 | 0.0018698 | 0.00046861 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2276-1_0_2_load_6 | 15 | 0.0013333 | 0.00033416 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2276-1_0_2_load_7 | 16 | 0.00090916 | 0.00022786 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2276-1_0_2_load_8 | 17 | 0.0023956 | 0.00060038 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2276-1_0_2_load_9 | 18 | 0.00097569 | 0.00024453 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2276-1_0_2_load_10 | 19 | 0.0031359 | 0.00078592 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2276-1_0_2_load_36 | 20 | 0.0030982 | 0.00077649 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2276-1_0_2_load_11 | 21 | 0.002147 | 0.0005381 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2276-1_0_2_load_54 | 22 | 0.0014169 | 0.00035512 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2276-1_0_2_load_12 | 23 | 0.00085048 | 0.00021315 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2276-1_0_2_load_30 | 24 | 0.0024196 | 0.00060641 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2276-1_0_2_load_31 | 25 | 0.0037026 | 0.00092796 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2276-1_0_2_load_13 | 26 | 0.0040251 | 0.0010088 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2276-1_0_2_load_14 | 27 | 0.0031187 | 0.00078163 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2276-1_0_2_load_16 | 29 | 0.0034351 | 0.00086091 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2276-1_0_2_load_17 | 30 | 0.0013789 | 0.00034558 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2276-1_0_2_load_18 | 31 | 0.0090988 | 0.0022804 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2276-1_0_2_load_33 | 32 | 0.0031769 | 0.00079621 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2276-1_0_2_load_35 | 33 | 0.0043486 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2276-1_0_2_load_58 | 34 | 0.0019422 | 0.00048675 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2276-1_0_2_load_34 | 35 | 0.0060043 | 0.0015048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2276-1_0_2_load_20 | 37 | 0.0019655 | 0.00049261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2276-1_0_2_load_22 | 38 | 0.0015123 | 0.00037901 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2276-1_0_2_load_55 | 39 | 0.0012731 | 0.00031906 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2276-1_0_2_load_56 | 41 | 0.0011423 | 0.00028628 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2276-1_0_2_load_62 | 42 | 0.0029098 | 0.00072927 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2276-1_0_2_load_24 | 43 | 0.004084 | 0.0010236 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2276-1_0_2_load_25 | 44 | 0.0005565 | 0.00013947 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2276-1_0_2_load_27 | 45 | 0.0018173 | 0.00045545 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2276-1_0_2_load_29 | 46 | 0.000495 | 0.00012406 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2276-1_0_2_load_41 | 47 | 0.0010546 | 0.00026431 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2276-1_0_2_load_42 | 48 | 0.002975 | 0.0007456 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2276-1_0_2_load_44 | 49 | 0.0035196 | 0.00088211 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2276-1_0_2_load_53 | 50 | 0.0004516 | 0.00011318 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2276-1_0_2_load_51 | 51 | 0.0019006 | 0.00047634 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2276-1_0_2_load_50 | 52 | 0.0026873 | 0.00067351 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2276-1_0_2_load_47 | 53 | 0.00029389 | 7.3656e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2276-1_0_2_load_60 | 54 | 0.0074644 | 0.0018708 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2276-1_0_2_load_57 | 55 | 0.0011304 | 0.0002833 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2276-1_0_2_load_69 | 56 | 0.00058292 | 0.00014609 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2276-1_0_2_load_67 | 57 | 0.0031354 | 0.00078579 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2276-1_0_2_load_63 | 58 | 0.0015799 | 0.00039596 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2276-1_0_2_load_65 | 59 | 0.00080144 | 0.00020086 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2276-1_0_2_load_71 | 60 | 0.00093773 | 0.00023502 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2276-1_0_2_load_66 | 61 | 0.00070395 | 0.00017643 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2276-1_0_2_load_68 | 62 | 0.0011306 | 0.00028335 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2276-1_0_2_load_70 | 63 | 0.0034464 | 0.00086374 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2276-1_0_2_load_73 | 64 | 0.0036532 | 0.00091559 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2276-1_0_2_load_74 | 65 | 0.0012156 | 0.00030466 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2276-1_0_2_load_77 | 66 | 0.00083253 | 0.00020865 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2276-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0017713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2276-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2276-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2276-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2276-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2276-1_0_2_line_5 | NAYY 4x150 SE | 4 | 9 | 0.014972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2276-1_0_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.019165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2276-1_0_2_line_7 | NAYY 4x150 SE | 4 | 10 | 0.037393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2276-1_0_2_line_8 | NAYY 4x150 SE | 5 | 11 | 0.0058954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2276-1_0_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.012228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2276-1_0_2_line_10 | NAYY 4x150 SE | 6 | 8 | 0.0050633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2276-1_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.1416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2276-1_0_2_line_12 | NAYY 4x150 SE | 7 | 13 | 0.014334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2276-1_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0070224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2276-1_0_2_line_14 | NAYY 4x150 SE | 11 | 50 | 0.02269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2276-1_0_2_line_15 | NAYY 4x150 SE | 12 | 40 | 0.060794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2276-1_0_2_line_16 | NAYY 4x150 SE | 13 | 37 | 0.011012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2276-1_0_2_line_17 | NAYY 4x150 SE | 14 | 53 | 0.033653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2276-1_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0019201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2276-1_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.014787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2276-1_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.011569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2276-1_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0074585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2276-1_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0086817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2276-1_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.019149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2276-1_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.017391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2276-1_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0058648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2276-1_0_2_line_26 | NAYY 4x150 SE | 22 | 36 | 0.016036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2276-1_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.020508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2276-1_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0025139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2276-1_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.027695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2276-1_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.026702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2276-1_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0010375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2276-1_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.021085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2276-1_0_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.013639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2276-1_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.019176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2276-1_0_2_line_35 | NAYY 4x150 SE | 30 | 33 | 0.014129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2276-1_0_2_line_36 | NAYY 4x150 SE | 31 | 34 | 0.01898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2276-1_0_2_line_37 | NAYY 4x150 SE | 32 | 35 | 0.0083241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2276-1_0_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.019257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2276-1_0_2_line_39 | NAYY 4x150 SE | 35 | 49 | 0.012573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2276-1_0_2_line_40 | NAYY 4x150 SE | 36 | 54 | 0.024048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2276-1_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.012093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2276-1_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.011978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2276-1_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.041266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2276-1_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.077854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2276-1_0_2_line_45 | NAYY 4x150 SE | 41 | 55 | 0.021372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2276-1_0_2_line_46 | NAYY 4x150 SE | 42 | 58 | 0.016287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2276-1_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.026008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2276-1_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.022034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2276-1_0_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0012033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2276-1_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.011772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2276-1_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.015718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2276-1_0_2_line_52 | NAYY 4x150 SE | 48 | 51 | 0.052886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2276-1_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.006347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2276-1_0_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0040641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2276-1_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0058179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2276-1_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.0020378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2276-1_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0040624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2276-1_0_2_line_58 | NAYY 4x150 SE | 57 | 61 | 0.016316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2276-1_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.011334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2276-1_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.041925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2276-1_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.035472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2276-1_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0079586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2276-1_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0058835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2276-1_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.029435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2276-1_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.022558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2276-1_0_2_trafo_52 | 0.25 MVA 20/0.4 kV | 67 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2581642.3273 | 1200358.9617 | 2581644.0354 | 1200358.493
1 | 2581617.2566 | 1200365.8413 | 2581642.3273 | 1200358.9617
2 | 2581644.0354 | 1200358.493 | 2581661.6676 | 1200353.6546
3 | 2581617.2566 | 1200365.8413 | 2581599.2389 | 1200363.5068
4 | 2581661.6676 | 1200353.6546 | 2581672.2802 | 1200350.7424
5 | 2581599.2389 | 1200363.5068 | 2581600.2755 | 1200348.5712
6 | 2581599.2389 | 1200363.5068 | 2581607.0487 | 1200381.0089
7 | 2581599.2389 | 1200363.5068 | 2581562.8453 | 1200354.9193
8 | 2581677.9654 | 1200349.1824 | 2581672.2802 | 1200350.7424
9 | 2581608.7234 | 1200397.8517 | 2581609.1119 | 1200385.6327
10 | 2581609.1119 | 1200385.6327 | 2581607.0487 | 1200381.0089
11 | 2581608.7234 | 1200397.8517 | 2581599.8598 | 1200409.163 | 2581552.1649 | 1200456.6809 | 2581544.5735 | 1200463.3303 | 2581535.8071 | 1200469.1273 | 2581524.0627 | 1200474.3444 | 2581513.0567 | 1200477.1356 | 2581503.0412 | 1200477.7671 | 2581497.991 | 1200477.4039
12 | 2581608.7234 | 1200397.8517 | 2581618.4665 | 1200408.3656
13 | 2581562.8453 | 1200354.9193 | 2581556.0106 | 1200353.3065
14 | 2581677.9654 | 1200349.1824 | 2581699.8467 | 1200343.178
15 | 2581445.4172 | 1200489.7309 | 2581447.2037 | 1200484.1111 | 2581451.0089 | 1200478.9743 | 2581457.14 | 1200475.1642 | 2581463.7042 | 1200473.5762 | 2581472.2769 | 1200474.0497 | 2581491.4835 | 1200476.936 | 2581497.991 | 1200477.4039
16 | 2581618.4665 | 1200408.3656 | 2581625.1596 | 1200415.5882 | 2581625.8484 | 1200416.5281
17 | 2581523.7365 | 1200344.1155 | 2581532.0424 | 1200347.6509 | 2581556.0106 | 1200353.3065
18 | 2581898.0392 | 1200339.0979 | 2581896.3427 | 1200338.1986
19 | 2581898.0392 | 1200339.0979 | 2581911.1042 | 1200346.0241
20 | 2581896.3427 | 1200338.1986 | 2581886.1216 | 1200332.78
21 | 2581917.6939 | 1200349.5176 | 2581911.1042 | 1200346.0241
22 | 2581886.1216 | 1200332.78 | 2581878.4511 | 1200328.7136
23 | 2581917.6939 | 1200349.5176 | 2581934.6126 | 1200358.4868
24 | 2581878.4511 | 1200328.7136 | 2581863.0853 | 1200320.5676
25 | 2581934.6126 | 1200358.4868 | 2581939.7943 | 1200361.2338
26 | 2581848.9175 | 1200313.0567 | 2581863.0853 | 1200320.5676
27 | 2581957.9133 | 1200370.8394 | 2581939.7943 | 1200361.2338
28 | 2581960.1344 | 1200372.0169 | 2581957.9133 | 1200370.8394
29 | 2581745.6116 | 1200330.6198 | 2581772.3194 | 1200323.291
30 | 2581798.0696 | 1200316.225 | 2581772.3194 | 1200323.291
31 | 2581745.6116 | 1200330.6198 | 2581744.6111 | 1200330.8943
32 | 2581798.0696 | 1200316.225 | 2581796.5699 | 1200337.2569
33 | 2581798.0696 | 1200316.225 | 2581811.2359 | 1200312.6665
34 | 2581726.1192 | 1200335.9687 | 2581744.6111 | 1200330.8943
35 | 2581796.5699 | 1200337.2569 | 2581795.5649 | 1200351.3504
36 | 2581811.2359 | 1200312.6665 | 2581820.203 | 1200310.2429 | 2581829.8941 | 1200310.2133
37 | 2581726.1192 | 1200335.9687 | 2581718.0918 | 1200338.1714
38 | 2581848.9175 | 1200313.0567 | 2581831.6974 | 1200310.2078 | 2581829.8941 | 1200310.2133
39 | 2581718.0918 | 1200338.1714 | 2581705.9674 | 1200341.4984
40 | 2581848.9175 | 1200313.0567 | 2581850.2912 | 1200289.0484
41 | 2581632.9971 | 1200426.282 | 2581625.8484 | 1200416.5281
42 | 2581640.0078 | 1200435.989 | 2581639.638 | 1200435.3431 | 2581632.9971 | 1200426.282
43 | 2581640.0078 | 1200435.989 | 2581643.7173 | 1200442.4677 | 2581647.2565 | 1200449.7274 | 2581648.8532 | 1200456.5484 | 2581649.1789 | 1200463.4067 | 2581647.9709 | 1200469.0801 | 2581645.8722 | 1200474.7564
44 | 2581445.4172 | 1200489.7309 | 2581439.2745 | 1200489.8056 | 2581433.9563 | 1200490.6671 | 2581429.115 | 1200493.0836 | 2581424.9753 | 1200495.9314 | 2581416.1935 | 1200504.0299 | 2581407.8837 | 1200514.5504 | 2581389.4455 | 1200538.8905
45 | 2581635.1498 | 1200493.2428 | 2581641.7538 | 1200482.0508 | 2581645.8722 | 1200474.7564 | 2581645.8722 | 1200474.7564
46 | 2581389.4455 | 1200538.8905 | 2581385.5813 | 1200543.9917 | 2581380.0569 | 1200552.1915
47 | 2581395.3784 | 1200289.4798 | 2581419.3083 | 1200299.6656
48 | 2581419.3083 | 1200299.6656 | 2581439.582 | 1200308.2951
49 | 2581440.6891 | 1200308.7663 | 2581439.582 | 1200308.2951
50 | 2581440.6891 | 1200308.7663 | 2581451.5206 | 1200313.3768
51 | 2581465.9827 | 1200319.5326 | 2581451.5206 | 1200313.3768
52 | 2581514.6439 | 1200340.2453 | 2581465.9827 | 1200319.5326
53 | 2581699.8467 | 1200343.178 | 2581705.9674 | 1200341.4984
54 | 2581514.6439 | 1200340.2453 | 2581518.3834 | 1200341.837
55 | 2581523.7365 | 1200344.1155 | 2581518.3834 | 1200341.837
56 | 2581634.1142 | 1200494.9979 | 2581635.1498 | 1200493.2428
57 | 2581632.0497 | 1200498.4967 | 2581634.1142 | 1200494.9979
58 | 2581624.3784 | 1200512.8595 | 2581626.3364 | 1200508.1792 | 2581632.0497 | 1200498.4967
59 | 2581380.0569 | 1200552.1915 | 2581373.7243 | 1200561.591
60 | 2581350.2989 | 1200596.3614 | 2581373.7243 | 1200561.591
61 | 2581624.3784 | 1200512.8595 | 2581622.4525 | 1200517.4629 | 2581617.7836 | 1200536.2542 | 2581615.3356 | 1200547.101
62 | 2581615.3356 | 1200547.101 | 2581615.3356 | 1200547.101 | 2581612.9045 | 1200554.6792
63 | 2581612.9045 | 1200554.6792 | 2581612.0334 | 1200557.3946 | 2581610.8819 | 1200560.1991
64 | 2581610.8819 | 1200560.1991 | 2581604.4784 | 1200575.7946 | 2581600.4143 | 1200587.6959
65 | 2581600.4143 | 1200587.6959 | 2581595.4488 | 1200602.2368 | 2581593.6663 | 1200609.2046

## bus_geodata
| x | y | coords
0 | 2581642.3273 | 1200358.9617
1 | 2581644.0354 | 1200358.493
2 | 2581617.2566 | 1200365.8413
3 | 2581661.6676 | 1200353.6546
4 | 2581599.2389 | 1200363.5068
5 | 2581672.2802 | 1200350.7424
6 | 2581609.1119 | 1200385.6327
7 | 2581608.7234 | 1200397.8517
8 | 2581607.0487 | 1200381.0089
9 | 2581600.2755 | 1200348.5712
10 | 2581562.8453 | 1200354.9193
11 | 2581677.9654 | 1200349.1824
12 | 2581497.991 | 1200477.4039
13 | 2581618.4665 | 1200408.3656
14 | 2581556.0106 | 1200353.3065
15 | 2581898.0392 | 1200339.0979
16 | 2581896.3427 | 1200338.1986
17 | 2581911.1042 | 1200346.0241
18 | 2581886.1216 | 1200332.78
19 | 2581917.6939 | 1200349.5176
20 | 2581878.4511 | 1200328.7136
21 | 2581934.6126 | 1200358.4868
22 | 2581863.0853 | 1200320.5676
23 | 2581939.7943 | 1200361.2338
24 | 2581957.9133 | 1200370.8394
25 | 2581960.1344 | 1200372.0169
26 | 2581772.3194 | 1200323.291
27 | 2581745.6116 | 1200330.6198
28 | 2581798.0696 | 1200316.225
29 | 2581744.6111 | 1200330.8943
30 | 2581796.5699 | 1200337.2569
31 | 2581811.2359 | 1200312.6665
32 | 2581726.1192 | 1200335.9687
33 | 2581795.5649 | 1200351.3504
34 | 2581829.8941 | 1200310.2133
35 | 2581718.0918 | 1200338.1714
36 | 2581848.9175 | 1200313.0568
37 | 2581625.8484 | 1200416.5281
38 | 2581632.9971 | 1200426.282
39 | 2581640.0078 | 1200435.989
40 | 2581445.4172 | 1200489.7309
41 | 2581645.8722 | 1200474.7564
42 | 2581389.4455 | 1200538.8905
43 | 2581395.3784 | 1200289.4798
44 | 2581419.3083 | 1200299.6656
45 | 2581439.582 | 1200308.2951
46 | 2581440.6891 | 1200308.7663
47 | 2581451.5206 | 1200313.3768
48 | 2581465.9827 | 1200319.5326
49 | 2581705.9674 | 1200341.4984
50 | 2581699.8467 | 1200343.178
51 | 2581514.6439 | 1200340.2453
52 | 2581518.3834 | 1200341.837
53 | 2581523.7365 | 1200344.1155
54 | 2581850.2912 | 1200289.0484
55 | 2581635.1498 | 1200493.2428
56 | 2581634.1142 | 1200494.9979
57 | 2581632.0497 | 1200498.4967
58 | 2581380.0569 | 1200552.1915
59 | 2581373.7243 | 1200561.591
60 | 2581350.2989 | 1200596.3614
61 | 2581624.3784 | 1200512.8595
62 | 2581615.3356 | 1200547.101
63 | 2581612.9045 | 1200554.6792
64 | 2581610.8819 | 1200560.1991
65 | 2581600.4143 | 1200587.6959
66 | 2581593.6663 | 1200609.2046
67 | 2581617.2566 | 1200365.8413

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99678 | -0.022426 | 0.0022152 | 0.00055519
1 | 0.99693 | -0.021385 | 0.00076894 | 0.00019271
2 | 0.99468 | -0.037158 | 0 | 0
3 | 0.99849 | -0.010517 | 0.0020461 | 0.00051279
4 | 0.99321 | -0.047461 | 0 | 0
5 | 0.99946 | -0.003767 | 0.0026572 | 0.00066596
6 | 0.99197 | -0.056201 | 0 | 0
7 | 0.99137 | -0.060411 | 0 | 0
8 | 0.99221 | -0.05446 | 0.0021386 | 0.00053599
9 | 0.99318 | -0.047664 | 0.0013403 | 0.00033591
10 | 0.99219 | -0.054614 | 0.0011353 | 0.00028454
11 | 1 | 0 | -0.13637 | -0.034136
12 | 0.9897 | -0.072219 | 0.0019426 | 0.00048686
13 | 0.99084 | -0.064156 | 0.0039676 | 0.00099438
14 | 0.99201 | -0.055878 | 0.0018698 | 0.00046861
15 | 0.98554 | -0.10149 | 0.0013333 | 0.00033416
16 | 0.98558 | -0.10118 | 0.00090916 | 0.00022786
17 | 0.98523 | -0.10372 | 0.0023956 | 0.00060038
18 | 0.98587 | -0.099171 | 0.00097569 | 0.00024453
19 | 0.98509 | -0.10466 | 0.0031359 | 0.00078592
20 | 0.98609 | -0.097577 | 0.0030982 | 0.00077649
21 | 0.98484 | -0.10646 | 0.002147 | 0.0005381
22 | 0.98662 | -0.093835 | 0.0014169 | 0.00035512
23 | 0.98478 | -0.10688 | 0.00085048 | 0.00021315
24 | 0.9846 | -0.10817 | 0.0024196 | 0.00060641
25 | 0.98459 | -0.10827 | 0.0037026 | 0.00092796
26 | 0.99145 | -0.059744 | 0.0040251 | 0.0010088
27 | 0.99347 | -0.045525 | 0.0031187 | 0.00078163
28 | 0.98965 | -0.072412 | 0 | 0
29 | 0.99355 | -0.044961 | 0.0034351 | 0.00086091
30 | 0.98947 | -0.073643 | 0.0013789 | 0.00034558
31 | 0.98884 | -0.078102 | 0.0090988 | 0.0022804
32 | 0.99513 | -0.033884 | 0.0031769 | 0.00079621
33 | 0.98938 | -0.07427 | 0.0043486 | 0.0010899
34 | 0.98797 | -0.084269 | 0.0019422 | 0.00048675
35 | 0.99586 | -0.02882 | 0.0060043 | 0.0015048
36 | 0.98714 | -0.090155 | 0 | 0
37 | 0.99049 | -0.066591 | 0.0019655 | 0.00049261
38 | 0.99015 | -0.069025 | 0.0015123 | 0.00037901
39 | 0.98983 | -0.071253 | 0.0012731 | 0.00031906
40 | 0.98916 | -0.07609 | 0 | 0
41 | 0.98882 | -0.078401 | 0.0011423 | 0.00028628
42 | 0.98846 | -0.081049 | 0.0029098 | 0.00072927
43 | 0.98959 | -0.072988 | 0.004084 | 0.0010236
44 | 0.98975 | -0.071905 | 0.0005565 | 0.00013947
45 | 0.98989 | -0.070863 | 0.0018173 | 0.00045545
46 | 0.9899 | -0.070784 | 0.000495 | 0.00012406
47 | 0.99002 | -0.06995 | 0.0010546 | 0.00026431
48 | 0.9902 | -0.068667 | 0.002975 | 0.0007456
49 | 0.99706 | -0.020428 | 0.0035196 | 0.00088211
50 | 0.9977 | -0.015975 | 0.0004516 | 0.00011318
51 | 0.99104 | -0.062755 | 0.0019006 | 0.00047634
52 | 0.99112 | -0.062223 | 0.0026873 | 0.00067351
53 | 0.99125 | -0.061302 | 0.00029389 | 7.3656e-05
54 | 0.98688 | -0.091994 | 0.0074644 | 0.0018708
55 | 0.98833 | -0.081859 | 0.0011304 | 0.0002833
56 | 0.98829 | -0.082166 | 0.00058292 | 0.00014609
57 | 0.98821 | -0.082752 | 0.0031354 | 0.00078579
58 | 0.98838 | -0.081602 | 0.0015799 | 0.00039596
59 | 0.98835 | -0.081804 | 0.00080144 | 0.00020086
60 | 0.98829 | -0.082206 | 0.00093773 | 0.00023502
61 | 0.98795 | -0.084586 | 0.00070395 | 0.00017643
62 | 0.98742 | -0.088319 | 0.0011306 | 0.00028335
63 | 0.98732 | -0.089064 | 0.0034464 | 0.00086374
64 | 0.98727 | -0.089408 | 0.0036532 | 0.00091559
65 | 0.98718 | -0.090027 | 0.0012156 | 0.00030466
66 | 0.98716 | -0.090219 | 0.00083253 | 0.00020865
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.058826 | -0.014785 | 0.058834 | 0.014788 | 8.5264e-06 | 3.2563e-06 | 0.087831 | 0.087831 | 0.087831 | 0.99678 | -0.022426 | 0.99693 | -0.021385 | 32.5301
1 | 0.056611 | 0.01423 | -0.056495 | -0.014186 | 0.0001159 | 4.4238e-05 | 0.084524 | 0.084525 | 0.084525 | 0.99678 | -0.022426 | 0.99468 | -0.037158 | 31.3054
2 | -0.059603 | -0.014981 | 0.059694 | 0.015016 | 9.033e-05 | 3.4503e-05 | 0.088979 | 0.088979 | 0.088979 | 0.99693 | -0.021385 | 0.99849 | -0.010517 | 32.9552
3 | 0.056495 | 0.014186 | -0.056414 | -0.014155 | 8.0763e-05 | 3.0828e-05 | 0.084525 | 0.084525 | 0.084525 | 0.99468 | -0.037158 | 0.99321 | -0.047461 | 31.3054
4 | -0.06174 | -0.015528 | 0.061798 | 0.015551 | 5.8159e-05 | 2.2225e-05 | 0.092028 | 0.092028 | 0.092028 | 0.99849 | -0.010517 | 0.99946 | -0.003767 | 34.0845
5 | 0.0013403 | 0.00033573 | -0.0013403 | -0.00033591 | 3.767e-08 | -1.7926e-07 | 0.002008 | 0.0020081 | 0.0020081 | 0.99321 | -0.047461 | 0.99318 | -0.047664 | 0.74374
6 | 0.036155 | 0.0090738 | -0.03612 | -0.0090606 | 3.5095e-05 | 1.325e-05 | 0.054172 | 0.054172 | 0.054172 | 0.99321 | -0.047461 | 0.99221 | -0.05446 | 20.0636
7 | 0.018919 | 0.0047453 | -0.0189 | -0.0047385 | 1.8747e-05 | 6.727e-06 | 0.028345 | 0.028345 | 0.028345 | 0.99321 | -0.047461 | 0.99219 | -0.054614 | 10.4983
8 | -0.064455 | -0.016217 | 0.064489 | 0.016229 | 3.3892e-05 | 1.2958e-05 | 0.095984 | 0.095984 | 0.095984 | 0.99946 | -0.003767 | 1 | 0 | 35.5497
9 | 0.033973 | 0.0085215 | -0.033953 | -0.008514 | 1.9819e-05 | 7.4648e-06 | 0.050964 | 0.050964 | 0.050964 | 0.99197 | -0.056201 | 0.99137 | -0.060411 | 18.8757
10 | -0.033973 | -0.0085215 | 0.033981 | 0.0085246 | 8.2063e-06 | 3.0909e-06 | 0.050964 | 0.050964 | 0.050964 | 0.99197 | -0.056201 | 0.99221 | -0.05446 | 18.8757
11 | 0.0081928 | 0.0020517 | -0.0081795 | -0.0020484 | 1.3361e-05 | 3.3162e-06 | 0.012297 | 0.012297 | 0.012297 | 0.99137 | -0.060411 | 0.9897 | -0.072219 | 4.5545
12 | 0.02576 | 0.0064624 | -0.025747 | -0.0064574 | 1.3374e-05 | 4.9591e-06 | 0.038668 | 0.038668 | 0.038668 | 0.99137 | -0.060411 | 0.99084 | -0.064156 | 14.3214
13 | 0.017765 | 0.004454 | -0.017761 | -0.0044529 | 3.1105e-06 | 1.1057e-06 | 0.026643 | 0.026643 | 0.026643 | 0.99219 | -0.054614 | 0.99201 | -0.055878 | 9.8676
14 | 0.071077 | 0.017907 | -0.070919 | -0.017846 | 0.00015848 | 6.0656e-05 | 0.1058 | 0.1058 | 0.1058 | 1 | 0 | 0.9977 | -0.015975 | 39.184
15 | 0.0062369 | 0.0015615 | -0.0062335 | -0.001561 | 3.3354e-06 | 5.0203e-07 | 0.0093765 | 0.0093768 | 0.0093768 | 0.9897 | -0.072219 | 0.98916 | -0.07609 | 3.4729
16 | 0.021779 | 0.005463 | -0.021772 | -0.0054603 | 7.352e-06 | 2.6859e-06 | 0.032709 | 0.032709 | 0.032709 | 0.99084 | -0.064156 | 0.99049 | -0.066591 | 12.1146
17 | 0.015892 | 0.0039843 | -0.01588 | -0.0039801 | 1.1933e-05 | 4.1555e-06 | 0.023838 | 0.023838 | 0.023838 | 0.99201 | -0.055878 | 0.99125 | -0.061302 | 8.8289
18 | -0.015994 | -0.004009 | 0.015995 | 0.0040093 | 6.9875e-07 | 2.4428e-07 | 0.024149 | 0.024149 | 0.024149 | 0.98554 | -0.10149 | 0.98558 | -0.10118 | 8.9442
19 | 0.014661 | 0.0036748 | -0.014657 | -0.0036733 | 4.5215e-06 | 1.5507e-06 | 0.022136 | 0.022136 | 0.022136 | 0.98554 | -0.10149 | 0.98523 | -0.10372 | 8.1986
20 | -0.016904 | -0.0042371 | 0.016909 | 0.0042388 | 4.7021e-06 | 1.661e-06 | 0.025522 | 0.025522 | 0.025522 | 0.98558 | -0.10118 | 0.98587 | -0.099171 | 9.4526
21 | 0.012261 | 0.0030729 | -0.012259 | -0.0030724 | 1.596e-06 | 5.1888e-07 | 0.018518 | 0.018518 | 0.018518 | 0.98523 | -0.10372 | 0.98509 | -0.10466 | 6.8586
22 | -0.017885 | -0.0044833 | 0.017889 | 0.0044847 | 3.9477e-06 | 1.4076e-06 | 0.026995 | 0.026994 | 0.026995 | 0.98587 | -0.099171 | 0.98609 | -0.097577 | 9.998
23 | 0.0091235 | 0.0022865 | -0.0091212 | -0.0022858 | 2.2694e-06 | 6.2913e-07 | 0.013781 | 0.013781 | 0.013781 | 0.98509 | -0.10466 | 0.98484 | -0.10646 | 5.1042
24 | -0.020987 | -0.0052612 | 0.020998 | 0.0052652 | 1.0885e-05 | 3.9644e-06 | 0.03167 | 0.03167 | 0.03167 | 0.98609 | -0.097577 | 0.98662 | -0.093835 | 11.7295
25 | 0.0069742 | 0.0017477 | -0.0069738 | -0.0017477 | 4.0636e-07 | 8.1669e-08 | 0.010537 | 0.010537 | 0.010537 | 0.98484 | -0.10646 | 0.98478 | -0.10688 | 3.9028
26 | -0.022415 | -0.0056203 | 0.022426 | 0.0056245 | 1.1436e-05 | 4.1936e-06 | 0.033807 | 0.033807 | 0.033807 | 0.98662 | -0.093835 | 0.98714 | -0.090155 | 12.521
27 | 0.0061233 | 0.0015345 | -0.0061222 | -0.0015344 | 1.0955e-06 | 1.6047e-07 | 0.0092524 | 0.0092525 | 0.0092525 | 0.98478 | -0.10688 | 0.9846 | -0.10817 | 3.4268
28 | 0.0037026 | 0.00092794 | -0.0037026 | -0.00092796 | 4.9119e-08 | -1.308e-08 | 0.0055958 | 0.0055958 | 0.0055958 | 0.9846 | -0.10817 | 0.98459 | -0.10827 | 2.0725
29 | -0.050854 | -0.01277 | 0.050954 | 0.012808 | 0.0001007 | 3.8371e-05 | 0.076333 | 0.076333 | 0.076333 | 0.99145 | -0.059744 | 0.99347 | -0.045525 | 28.2714
30 | 0.046829 | 0.011761 | -0.046746 | -0.01173 | 8.2327e-05 | 3.132e-05 | 0.070292 | 0.070292 | 0.070292 | 0.99145 | -0.059744 | 0.98965 | -0.072412 | 26.034
31 | -0.054073 | -0.01359 | 0.054077 | 0.013592 | 4.2479e-06 | 1.6204e-06 | 0.081004 | 0.081004 | 0.081004 | 0.99347 | -0.045525 | 0.99355 | -0.044961 | 30.0015
32 | 0.0057288 | 0.0014355 | -0.0057278 | -0.0014354 | 9.7622e-07 | 1.0459e-07 | 0.0086137 | 0.0086138 | 0.0086138 | 0.98965 | -0.072412 | 0.98947 | -0.073643 | 3.1903
33 | 0.041017 | 0.010294 | -0.040985 | -0.010282 | 3.2376e-05 | 1.2277e-05 | 0.061678 | 0.061678 | 0.061678 | 0.98965 | -0.072412 | 0.98884 | -0.078102 | 22.8438
34 | -0.057512 | -0.014453 | 0.057601 | 0.014487 | 8.8803e-05 | 3.3906e-05 | 0.086149 | 0.086148 | 0.086149 | 0.99355 | -0.044961 | 0.99513 | -0.033884 | 31.9069
35 | 0.004349 | 0.0010898 | -0.0043486 | -0.0010899 | 3.7712e-07 | -3.642e-08 | 0.0065401 | 0.0065402 | 0.0065402 | 0.98947 | -0.073643 | 0.98938 | -0.07427 | 2.4223
36 | 0.031886 | 0.0080018 | -0.031859 | -0.0079916 | 2.7272e-05 | 1.0246e-05 | 0.047986 | 0.047986 | 0.047986 | 0.98884 | -0.078102 | 0.98797 | -0.084269 | 17.7728
37 | -0.060778 | -0.015283 | 0.060821 | 0.015299 | 4.2918e-05 | 1.6399e-05 | 0.090899 | 0.090899 | 0.090899 | 0.99513 | -0.033884 | 0.99586 | -0.02882 | 33.6663
38 | 0.029917 | 0.0075048 | -0.029892 | -0.0074957 | 2.44e-05 | 9.1382e-06 | 0.045061 | 0.045061 | 0.045061 | 0.98797 | -0.084269 | 0.98714 | -0.090155 | 16.6894
39 | -0.066825 | -0.016804 | 0.066904 | 0.016834 | 7.825e-05 | 2.9932e-05 | 0.099871 | 0.099871 | 0.099871 | 0.99586 | -0.02882 | 0.99706 | -0.020428 | 36.9891
40 | 0.0074663 | 0.0018712 | -0.0074644 | -0.0018708 | 1.9008e-06 | 4.2372e-07 | 0.011255 | 0.011255 | 0.011255 | 0.98714 | -0.090155 | 0.98688 | -0.091994 | 4.1685
41 | 0.019807 | 0.0049677 | -0.0198 | -0.0049653 | 6.6818e-06 | 2.4143e-06 | 0.029757 | 0.029757 | 0.029757 | 0.99049 | -0.066591 | 0.99015 | -0.069025 | 11.021
42 | 0.018288 | 0.0045863 | -0.018282 | -0.0045843 | 5.646e-06 | 2.0175e-06 | 0.027484 | 0.027484 | 0.027484 | 0.99015 | -0.069025 | 0.98983 | -0.071253 | 10.1793
43 | 0.017009 | 0.0042652 | -0.016992 | -0.0042593 | 1.6836e-05 | 5.9457e-06 | 0.02557 | 0.02557 | 0.02557 | 0.98983 | -0.071253 | 0.98882 | -0.078401 | 9.4706
44 | 0.0062335 | 0.001561 | -0.0062292 | -0.0015604 | 4.2716e-06 | 6.4428e-07 | 0.0093768 | 0.0093772 | 0.0093772 | 0.98916 | -0.07609 | 0.98846 | -0.081049 | 3.473
45 | 0.01585 | 0.003973 | -0.015842 | -0.0039704 | 7.5869e-06 | 2.644e-06 | 0.023852 | 0.023852 | 0.023852 | 0.98882 | -0.078401 | 0.98833 | -0.081859 | 8.834
46 | 0.0033194 | 0.00083108 | -0.0033192 | -0.00083119 | 2.5374e-07 | -1.1116e-07 | 0.0049967 | 0.0049968 | 0.0049968 | 0.98846 | -0.081049 | 0.98838 | -0.081602 | 1.8507
47 | -0.004084 | -0.0010236 | 0.0040847 | 0.0010235 | 6.1201e-07 | -9.8799e-08 | 0.006141 | 0.0061409 | 0.006141 | 0.98959 | -0.072988 | 0.98975 | -0.071905 | 2.2745
48 | -0.0046412 | -0.0011629 | 0.0046418 | 0.0011629 | 6.6939e-07 | -2.5757e-08 | 0.0069776 | 0.0069775 | 0.0069776 | 0.98975 | -0.071905 | 0.98989 | -0.070863 | 2.5843
49 | -0.0064591 | -0.0016184 | 0.0064592 | 0.0016184 | 7.0781e-08 | 1.1755e-08 | 0.0097092 | 0.0097092 | 0.0097092 | 0.98989 | -0.070863 | 0.9899 | -0.070784 | 3.596
50 | -0.0069542 | -0.0017424 | 0.006955 | 0.0017426 | 8.0267e-07 | 1.5736e-07 | 0.010453 | 0.010453 | 0.010453 | 0.9899 | -0.070784 | 0.99002 | -0.06995 | 3.8716
51 | -0.0080096 | -0.0020069 | 0.008011 | 0.0020072 | 1.4213e-06 | 3.4452e-07 | 0.012038 | 0.012038 | 0.012038 | 0.99002 | -0.06995 | 0.9902 | -0.068667 | 4.4586
52 | -0.010986 | -0.0027528 | 0.010995 | 0.0027556 | 8.994e-06 | 2.7783e-06 | 0.016509 | 0.016509 | 0.016509 | 0.9902 | -0.068667 | 0.99104 | -0.062755 | 6.1144
53 | -0.070423 | -0.017716 | 0.070467 | 0.017733 | 4.3767e-05 | 1.6751e-05 | 0.10512 | 0.10512 | 0.10512 | 0.99706 | -0.020428 | 0.9977 | -0.015975 | 38.9345
54 | -0.012896 | -0.003232 | 0.012897 | 0.0032323 | 9.5075e-07 | 3.133e-07 | 0.019362 | 0.019362 | 0.019362 | 0.99104 | -0.062755 | 0.99112 | -0.062223 | 7.1712
55 | -0.015584 | -0.0039058 | 0.015586 | 0.0039065 | 1.9873e-06 | 6.8937e-07 | 0.023397 | 0.023397 | 0.023397 | 0.99112 | -0.062223 | 0.99125 | -0.061302 | 8.6655
56 | 0.014712 | 0.0036871 | -0.014711 | -0.0036868 | 6.2387e-07 | 2.1384e-07 | 0.02215 | 0.02215 | 0.02215 | 0.98833 | -0.081859 | 0.98829 | -0.082166 | 8.2036
57 | 0.014128 | 0.0035408 | -0.014127 | -0.0035404 | 1.1471e-06 | 3.8913e-07 | 0.021272 | 0.021272 | 0.021272 | 0.98829 | -0.082166 | 0.98821 | -0.082752 | 7.8786
58 | 0.010992 | 0.0027546 | -0.010989 | -0.0027537 | 2.789e-06 | 8.6371e-07 | 0.016551 | 0.016551 | 0.016551 | 0.98821 | -0.082752 | 0.98795 | -0.084586 | 6.13
59 | 0.0017393 | 0.00043523 | -0.0017392 | -0.00043536 | 4.8483e-08 | -1.266e-07 | 0.0026183 | 0.0026183 | 0.0026183 | 0.98838 | -0.081602 | 0.98835 | -0.081804 | 0.96974
60 | 0.00093778 | 0.0002345 | -0.00093773 | -0.00023502 | 5.2144e-08 | -5.172e-07 | 0.0014117 | 0.0014119 | 0.0014119 | 0.98835 | -0.081804 | 0.98829 | -0.082206 | 0.52292
61 | 0.010285 | 0.0025773 | -0.01028 | -0.0025757 | 5.3116e-06 | 1.5889e-06 | 0.015491 | 0.015491 | 0.015491 | 0.98795 | -0.084586 | 0.98742 | -0.088319 | 5.7374
62 | 0.0091492 | 0.0022923 | -0.0091482 | -0.0022921 | 9.4401e-07 | 2.6129e-07 | 0.013787 | 0.013787 | 0.013787 | 0.98742 | -0.088319 | 0.98732 | -0.089064 | 5.1064
63 | 0.0057019 | 0.0014283 | -0.0057016 | -0.0014283 | 2.711e-07 | 2.9031e-08 | 0.0085932 | 0.0085932 | 0.0085932 | 0.98732 | -0.089064 | 0.98727 | -0.089408 | 3.1827
64 | 0.0020483 | 0.00051272 | -0.0020482 | -0.00051303 | 1.7505e-07 | -3.0904e-07 | 0.003087 | 0.0030872 | 0.0030872 | 0.98727 | -0.089408 | 0.98718 | -0.090027 | 1.1434
65 | 0.00083256 | 0.00020837 | -0.00083253 | -0.00020865 | 2.2166e-08 | -2.7987e-07 | 0.0012548 | 0.0012549 | 0.0012549 | 0.98718 | -0.090027 | 0.98716 | -0.090219 | 0.46479

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13729 | 0.034369

## res_load
| p_mw | q_mvar
0 | 0.0022152 | 0.00055519
1 | 0.00076894 | 0.00019271
2 | 0.0020461 | 0.00051279
3 | 0.0026572 | 0.00066596
4 | 0.0021386 | 0.00053599
5 | 0.0013403 | 0.00033591
6 | 0.0011353 | 0.00028454
7 | 0.00092762 | 0.00023248
8 | 0.0019426 | 0.00048686
9 | 0.0039676 | 0.00099438
10 | 0.0018698 | 0.00046861
11 | 0.0013333 | 0.00033416
12 | 0.00090916 | 0.00022786
13 | 0.0023956 | 0.00060038
14 | 0.00097569 | 0.00024453
15 | 0.0031359 | 0.00078592
16 | 0.0030982 | 0.00077649
17 | 0.002147 | 0.0005381
18 | 0.0014169 | 0.00035512
19 | 0.00085048 | 0.00021315
20 | 0.0024196 | 0.00060641
21 | 0.0037026 | 0.00092796
22 | 0.0040251 | 0.0010088
23 | 0.0031187 | 0.00078163
24 | 0.0034351 | 0.00086091
25 | 0.0013789 | 0.00034558
26 | 0.0090988 | 0.0022804
27 | 0.0031769 | 0.00079621
28 | 0.0043486 | 0.0010899
29 | 0.0019422 | 0.00048675
30 | 0.0060043 | 0.0015048
31 | 0.0019655 | 0.00049261
32 | 0.0015123 | 0.00037901
33 | 0.0012731 | 0.00031906
34 | 0.0011423 | 0.00028628
35 | 0.0029098 | 0.00072927
36 | 0.004084 | 0.0010236
37 | 0.0005565 | 0.00013947
38 | 0.0018173 | 0.00045545
39 | 0.000495 | 0.00012406
40 | 0.0010546 | 0.00026431
41 | 0.002975 | 0.0007456
42 | 0.0035196 | 0.00088211
43 | 0.0004516 | 0.00011318
44 | 0.0019006 | 0.00047634
45 | 0.0026873 | 0.00067351
46 | 0.00029389 | 7.3656e-05
47 | 0.0074644 | 0.0018708
48 | 0.0011304 | 0.0002833
49 | 0.00058292 | 0.00014609
50 | 0.0031354 | 0.00078579
51 | 0.0015799 | 0.00039596
52 | 0.00080144 | 0.00020086
53 | 0.00093773 | 0.00023502
54 | 0.00070395 | 0.00017643
55 | 0.0011306 | 0.00028335
56 | 0.0034464 | 0.00086374
57 | 0.0036532 | 0.00091559
58 | 0.0012156 | 0.00030466
59 | 0.00083253 | 0.00020865

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1