## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2276-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2276-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2276-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2276-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2276-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2276-4_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2276-4_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2276-4_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2276-4_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2276-4_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2276-4_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2276-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2276-4_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2276-4_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2276-4_0_4_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_2276-4_0_4_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_2276-4_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_2276-4_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_2276-4_0_4_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_2276-4_0_4_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_2276-4_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2276-4_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_2276-4_0_4_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_2276-4_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2276-4_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2276-4_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2276-4_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_2276-4_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_2276-4_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_2276-4_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2276-4_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2276-4_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2276-4_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2276-4_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2276-4_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2276-4_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_2276-4_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_2276-4_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_2276-4_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2276-4_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2276-4_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2276-4_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_2276-4_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2276-4_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2276-4_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_2276-4_0_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_2276-4_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2276-4_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_2276-4_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2276-4_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2276-4_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2276-4_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2276-4_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2276-4_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_2276-4_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2276-4_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2276-4_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_2276-4_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_2276-4_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_2276-4_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_2276-4_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_2276-4_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_2276-4_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2276-4_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_2276-4_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_2276-4_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_MV_381_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2276-4_0_4_load_0 | 0 | 0.0026641 | 0.0006677 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2276-4_0_4_load_1 | 1 | 0.0038341 | 0.00096092 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2276-4_0_4_load_2 | 2 | 0.0024316 | 0.00060942 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2276-4_0_4_load_3 | 3 | 0.0073447 | 0.0018408 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2276-4_0_4_load_4 | 4 | 0.00096478 | 0.0002418 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2276-4_0_4_load_10 | 5 | 0.0024289 | 0.00060874 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2276-4_0_4_load_12 | 6 | 0.0010997 | 0.00027562 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2276-4_0_4_load_13 | 8 | 0.00065092 | 0.00016314 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2276-4_0_4_load_5 | 9 | 0.0066638 | 0.0016701 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2276-4_0_4_load_6 | 10 | 0.0010813 | 0.00027099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2276-4_0_4_load_7 | 11 | 0.0034546 | 0.00086581 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2276-4_0_4_load_9 | 13 | 0.0087503 | 0.002193 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2276-4_0_4_load_29 | 14 | 0.0045762 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2276-4_0_4_load_45 | 17 | 0.0081718 | 0.0020481 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2276-4_0_4_load_46 | 18 | 0.015285 | 0.0038308 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2276-4_0_4_load_43 | 19 | 0.0053389 | 0.0013381 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2276-4_0_4_load_18 | 20 | 0.0068145 | 0.0017079 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2276-4_0_4_load_64 | 21 | 0.0022073 | 0.00055321 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2276-4_0_4_load_61 | 22 | 0.00099596 | 0.00024961 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2276-4_0_4_load_15 | 24 | 0.0032883 | 0.00082412 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2276-4_0_4_load_35 | 26 | 0.0028969 | 0.00072602 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2276-4_0_4_load_38 | 27 | 0.00082432 | 0.00020659 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2276-4_0_4_load_23 | 29 | 0.00057319 | 0.00014366 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2276-4_0_4_load_19 | 31 | 0.00086815 | 0.00021758 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2276-4_0_4_load_20 | 32 | 0.0028092 | 0.00070406 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2276-4_0_4_load_21 | 33 | 0.0031182 | 0.00078149 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2276-4_0_4_load_36 | 35 | 0.012254 | 0.0030711 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2276-4_0_4_load_41 | 37 | 0.0055066 | 0.0013801 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2276-4_0_4_load_34 | 38 | 0.00099906 | 0.00025039 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2276-4_0_4_load_24 | 39 | 0.0010046 | 0.00025178 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2276-4_0_4_load_25 | 40 | 0.0010155 | 0.00025452 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2276-4_0_4_load_27 | 42 | 0.0033207 | 0.00083225 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2276-4_0_4_load_28 | 43 | 0.0019429 | 0.00048694 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2276-4_0_4_load_67 | 44 | 0.0027979 | 0.00070122 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2276-4_0_4_load_66 | 45 | 0.003174 | 0.00079549 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2276-4_0_4_load_31 | 46 | 0.00063674 | 0.00015958 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2276-4_0_4_load_53 | 47 | 0.013328 | 0.0033402 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2276-4_0_4_load_44 | 48 | 0.0089161 | 0.0022346 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2276-4_0_4_load_32 | 49 | 0.0046862 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2276-4_0_4_load_39 | 50 | 0.012815 | 0.0032118 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2276-4_0_4_load_51 | 53 | 0.0061647 | 0.001545 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2276-4_0_4_load_52 | 54 | 0.0029048 | 0.000728 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2276-4_0_4_load_47 | 55 | 0.0012515 | 0.00031367 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2276-4_0_4_load_48 | 56 | 0.003749 | 0.0009396 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2276-4_0_4_load_49 | 57 | 0.0048184 | 0.0012076 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2276-4_0_4_load_65 | 59 | 0.0032891 | 0.00082433 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2276-4_0_4_load_56 | 60 | 0.0085983 | 0.0021549 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2276-4_0_4_load_57 | 61 | 0.007001 | 0.0017546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2276-4_0_4_load_59 | 63 | 0.0052365 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2276-4_0_4_load_60 | 64 | 0.0014194 | 0.00035574 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2276-4_0_4_load_62 | 65 | 0.0010355 | 0.00025951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2276-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_2276-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_2276-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0080896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_2276-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2276-4_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2276-4_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.00077761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_2276-4_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.028836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2276-4_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_2276-4_0_4_line_8 | NAYY 4x150 SE | 7 | 23 | 0.042866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2276-4_0_4_line_9 | NAYY 4x150 SE | 8 | 25 | 0.012464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2276-4_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.029997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2276-4_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.026806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2276-4_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.019391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2276-4_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.019936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2276-4_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.048133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2276-4_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.025279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2276-4_0_4_line_16 | NAYY 4x150 SE | 14 | 20 | 0.042589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_2276-4_0_4_line_17 | NAYY 4x150 SE | 15 | 21 | 0.044586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2276-4_0_4_line_18 | NAYY 4x150 SE | 15 | 22 | 0.02365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2276-4_0_4_line_19 | NAYY 4x150 SE | 16 | 17 | 0.016363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2276-4_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.021631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2276-4_0_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.02617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2276-4_0_4_line_22 | NAYY 4x150 SE | 17 | 47 | 0.0143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2276-4_0_4_line_23 | NAYY 4x150 SE | 19 | 48 | 0.033154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2276-4_0_4_line_24 | NAYY 4x150 SE | 20 | 30 | 0.036785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_2276-4_0_4_line_25 | NAYY 4x150 SE | 22 | 65 | 0.0066515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2276-4_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.056884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_2276-4_0_4_line_27 | NAYY 4x150 SE | 24 | 30 | 0.026403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_2276-4_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.01136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2276-4_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.019618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_2276-4_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.021649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2276-4_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0038172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2276-4_0_4_line_32 | NAYY 4x150 SE | 28 | 46 | 0.01957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2276-4_0_4_line_33 | NAYY 4x150 SE | 28 | 43 | 0.0088453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2276-4_0_4_line_34 | NAYY 4x150 SE | 29 | 33 | 0.020839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_2276-4_0_4_line_35 | NAYY 4x150 SE | 31 | 32 | 0.026253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2276-4_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.0007397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2276-4_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.010075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2276-4_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.013188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2276-4_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0075125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2276-4_0_4_line_40 | NAYY 4x150 SE | 36 | 38 | 0.022947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2276-4_0_4_line_41 | NAYY 4x150 SE | 37 | 51 | 0.019487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2276-4_0_4_line_42 | NAYY 4x150 SE | 38 | 49 | 0.011591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2276-4_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.025293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2276-4_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.02216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2276-4_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.024416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2276-4_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.028327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2276-4_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.0076037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2276-4_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.00067852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2276-4_0_4_line_49 | NAYY 4x150 SE | 45 | 59 | 2.1973e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2276-4_0_4_line_50 | NAYY 4x150 SE | 46 | 49 | 0.017158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2276-4_0_4_line_51 | NAYY 4x150 SE | 47 | 54 | 0.011541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2276-4_0_4_line_52 | NAYY 4x150 SE | 48 | 52 | 0.028545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2276-4_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.019227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2276-4_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.027746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2276-4_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.038229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2276-4_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.022819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2276-4_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.020538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2276-4_0_4_line_58 | NAYY 4x150 SE | 57 | 58 | 0.036489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2276-4_0_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.037202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2276-4_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.005185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2276-4_0_4_line_61 | NAYY 4x150 SE | 60 | 62 | 0.038968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2276-4_0_4_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0033271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2276-4_0_4_line_63 | NAYY 4x150 SE | 62 | 64 | 0.010538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2276-4_0_4_line_64 | NAYY 4x150 SE | 63 | 65 | 0.022881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2276-4_0_4_trafo_20 | 0.25 MVA 20/0.4 kV | 66 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2580693.67 | 1200374.9526 | 2580696.3115 | 1200376.0196 | 2580704.6015 | 1200378.4607 | 2580711.8202 | 1200379.2044 | 2580712.6091 | 1200379.2095
1 | 2580693.67 | 1200374.9526 | 2580684.9544 | 1200371.4318 | 2580683.08 | 1200370.5565
2 | 2580720.6682 | 1200378.8998 | 2580718.6714 | 1200379.2489 | 2580712.6091 | 1200379.2095
3 | 2580673.7174 | 1200366.1841 | 2580683.08 | 1200370.5565
4 | 2580720.6682 | 1200378.8998 | 2580724.4381 | 1200378.2407 | 2580731.0144 | 1200376.8838
5 | 2580673.0128 | 1200365.855 | 2580673.7174 | 1200366.1841
6 | 2580759.4351 | 1200372.3354 | 2580749.3438 | 1200373.1018 | 2580731.0144 | 1200376.8838
7 | 2580673.0128 | 1200365.855 | 2580672.0702 | 1200365.4148 | 2580655.3376 | 1200356.897
8 | 2580783.5262 | 1200397.7602 | 2580781.261 | 1200377.5788 | 2580773.913 | 1200376.891 | 2580770.3621 | 1200375.7686 | 2580759.4351 | 1200372.3354
9 | 2580644.5421 | 1200350.6741 | 2580653.4732 | 1200355.9479 | 2580655.3376 | 1200356.897
10 | 2580677.6499 | 1200527.2658 | 2580662.8583 | 1200512.5245 | 2580658.3196 | 1200507.2475 | 2580657.0803 | 1200505.4861
11 | 2580677.6499 | 1200527.2658 | 2580682.8055 | 1200532.4039 | 2580687.9661 | 1200536.9785 | 2580693.5805 | 1200540.6734 | 2580699.0682 | 1200542.8679 | 2580699.0682 | 1200542.8679
12 | 2580646.6219 | 1200489.1647 | 2580654.1212 | 1200501.2802 | 2580657.0803 | 1200505.4861
13 | 2580718.8229 | 1200545.3795 | 2580716.1715 | 1200544.9469 | 2580704.9864 | 1200543.9937 | 2580699.0682 | 1200542.8679
14 | 2580646.6219 | 1200489.1647 | 2580677.8783 | 1200473.1433 | 2580689.6284 | 1200467.5576
15 | 2580742.8167 | 1200553.0094 | 2580735.515 | 1200550.0981 | 2580725.524 | 1200546.4729 | 2580718.8229 | 1200545.3795
16 | 2580689.6284 | 1200467.5576 | 2580713.2934 | 1200486.0465 | 2580723.5162 | 1200478.7532
17 | 2580742.8167 | 1200553.0094 | 2580737.4126 | 1200567.2235 | 2580733.0634 | 1200580.467 | 2580730.6702 | 1200591.2583 | 2580730.2608 | 1200595.6254
18 | 2580742.8167 | 1200553.0094 | 2580752.1048 | 1200558.1599 | 2580762.7072 | 1200564.8959 | 2580763.0899 | 1200565.1662
19 | 2580588.5556 | 1200472.367 | 2580593.3043 | 1200488.0255
20 | 2580588.5556 | 1200472.367 | 2580578.4857 | 1200474.9457 | 2580567.5522 | 1200477.5344
21 | 2580588.5556 | 1200472.367 | 2580567.8543 | 1200456.3563
22 | 2580593.3043 | 1200488.0255 | 2580596.7738 | 1200499.466 | 2580596.6459 | 1200501.8078
23 | 2580567.8543 | 1200456.3563 | 2580541.6286 | 1200436.073
24 | 2580745.1262 | 1200452.8698 | 2580730.7882 | 1200467.9577 | 2580732.7353 | 1200472.1759 | 2580723.5162 | 1200478.7532
25 | 2580763.0899 | 1200565.1662 | 2580768.5231 | 1200569.0032
26 | 2580783.5262 | 1200397.7602 | 2580756.8694 | 1200407.4738 | 2580746.2058 | 1200417.2025 | 2580740.5231 | 1200430.0821
27 | 2580745.1262 | 1200452.8698 | 2580739.0043 | 1200447.6201 | 2580737.3494 | 1200437.2754 | 2580740.5231 | 1200430.0821
28 | 2580644.5421 | 1200350.6741 | 2580634.7583 | 1200344.9018
29 | 2580644.5421 | 1200350.6741 | 2580634.6225 | 1200367.5993
30 | 2580614.8059 | 1200338.1085 | 2580620.1949 | 1200337.9798 | 2580625.3529 | 1200339.3526 | 2580634.7583 | 1200344.9018
31 | 2580632.6923 | 1200370.8925 | 2580634.6225 | 1200367.5993
32 | 2580614.8059 | 1200338.1085 | 2580604.8091 | 1200342.1878 | 2580597.3886 | 1200346.8683
33 | 2580614.8059 | 1200338.1085 | 2580608.718 | 1200331.6916
34 | 2580632.6923 | 1200370.8925 | 2580627.5169 | 1200379.723 | 2580621.9012 | 1200388.7176
35 | 2580606.7695 | 1200410.9773 | 2580610.6299 | 1200406.7705 | 2580621.5094 | 1200389.345
36 | 2580621.5094 | 1200389.345 | 2580621.9012 | 1200388.7176
37 | 2580599.9575 | 1200418.4005 | 2580606.7695 | 1200410.9773
38 | 2580599.9575 | 1200418.4005 | 2580591.0432 | 1200428.1198
39 | 2580558.1413 | 1200380.3386 | 2580552.6001 | 1200385.4112
40 | 2580558.1413 | 1200380.3386 | 2580565.5866 | 1200373.5217 | 2580575.0688 | 1200364.8459
41 | 2580538.2266 | 1200398.5691 | 2580552.6001 | 1200385.4112
42 | 2580575.0688 | 1200364.8459 | 2580577.9879 | 1200362.175 | 2580583.68 | 1200357.088
43 | 2580599.4795 | 1200273.1424 | 2580591.1932 | 1200297.0394
44 | 2580583.9333 | 1200317.9761 | 2580591.1932 | 1200297.0394
45 | 2580599.4795 | 1200273.1424 | 2580607.4785 | 1200250.0741
46 | 2580583.9333 | 1200317.9761 | 2580608.718 | 1200331.6916
47 | 2580607.4785 | 1200250.0741 | 2580609.9695 | 1200242.8901
48 | 2580610.1918 | 1200242.249 | 2580609.9695 | 1200242.8901
49 | 2580610.199 | 1200242.2283 | 2580610.1918 | 1200242.249
50 | 2580597.3886 | 1200346.8683 | 2580589.6614 | 1200351.7424 | 2580583.68 | 1200357.088
51 | 2580595.5134 | 1200513.2702 | 2580596.2207 | 1200509.5955 | 2580596.6459 | 1200501.8078
52 | 2580519.0487 | 1200418.6094 | 2580541.6286 | 1200436.073
53 | 2580538.2266 | 1200398.5691 | 2580544.2331 | 1200403.3632 | 2580553.2019 | 1200410.6273
54 | 2580519.0487 | 1200418.6094 | 2580529.7947 | 1200406.2787 | 2580538.2266 | 1200398.5691
55 | 2580519.0487 | 1200418.6094 | 2580493.9334 | 1200447.4311
56 | 2580676.8565 | 1200223.9676 | 2580695.555 | 1200229.765 | 2580698.7913 | 1200229.9648
57 | 2580676.8565 | 1200223.9676 | 2580657.2395 | 1200217.8854
58 | 2580622.3869 | 1200207.0795 | 2580657.2395 | 1200217.8854
59 | 2580622.3869 | 1200207.0795 | 2580610.199 | 1200242.2283
60 | 2580784.1449 | 1200595.3033 | 2580783.4784 | 1200592.5771 | 2580782.6422 | 1200590.3505
61 | 2580802.3371 | 1200629.1917 | 2580796.8707 | 1200621.7831 | 2580790.6318 | 1200613.2208 | 2580786.4251 | 1200604.6297 | 2580784.1449 | 1200595.3033
62 | 2580782.6422 | 1200590.3505 | 2580781.4724 | 1200587.2358
63 | 2580802.3371 | 1200629.1917 | 2580812.8694 | 1200628.8296
64 | 2580768.5231 | 1200569.0032 | 2580771.1377 | 1200570.8497 | 2580776.1092 | 1200575.8363 | 2580779.2708 | 1200581.3735 | 2580781.4724 | 1200587.2358

## bus_geodata
| x | y | coords
0 | 2580693.67 | 1200374.9526
1 | 2580712.6091 | 1200379.2095
2 | 2580683.08 | 1200370.5565
3 | 2580720.6682 | 1200378.8998
4 | 2580673.7174 | 1200366.1841
5 | 2580731.0144 | 1200376.8838
6 | 2580673.0128 | 1200365.855
7 | 2580759.4351 | 1200372.3354
8 | 2580655.3376 | 1200356.897
9 | 2580677.6499 | 1200527.2658
10 | 2580657.0803 | 1200505.4861
11 | 2580699.0682 | 1200542.8679
12 | 2580646.6219 | 1200489.1647
13 | 2580718.8229 | 1200545.3795
14 | 2580689.6284 | 1200467.5576
15 | 2580742.8167 | 1200553.0094
16 | 2580588.5556 | 1200472.367
17 | 2580593.3043 | 1200488.0255
18 | 2580567.5522 | 1200477.5344
19 | 2580567.8543 | 1200456.3563
20 | 2580723.5162 | 1200478.7532
21 | 2580730.2608 | 1200595.6254
22 | 2580763.0899 | 1200565.1662
23 | 2580783.5262 | 1200397.7602
24 | 2580740.5231 | 1200430.0821
25 | 2580644.5421 | 1200350.6741
26 | 2580634.7583 | 1200344.9018
27 | 2580634.6225 | 1200367.5993
28 | 2580614.8059 | 1200338.1085
29 | 2580632.6923 | 1200370.8925
30 | 2580745.1262 | 1200452.8698
31 | 2580621.5094 | 1200389.345
32 | 2580606.7695 | 1200410.9773
33 | 2580621.9012 | 1200388.7176
34 | 2580599.9575 | 1200418.4005
35 | 2580591.0432 | 1200428.1198
36 | 2580558.1413 | 1200380.3386
37 | 2580552.6001 | 1200385.4112
38 | 2580575.0688 | 1200364.8459
39 | 2580591.1932 | 1200297.0394
40 | 2580599.4795 | 1200273.1424
41 | 2580583.9333 | 1200317.9761
42 | 2580607.4785 | 1200250.0741
43 | 2580608.718 | 1200331.6916
44 | 2580609.9695 | 1200242.8901
45 | 2580610.1918 | 1200242.249
46 | 2580597.3886 | 1200346.8683
47 | 2580596.6459 | 1200501.8078
48 | 2580541.6286 | 1200436.073
49 | 2580583.68 | 1200357.088
50 | 2580553.2019 | 1200410.6273
51 | 2580538.2266 | 1200398.5691
52 | 2580519.0487 | 1200418.6094
53 | 2580493.9334 | 1200447.4311
54 | 2580595.5134 | 1200513.2702
55 | 2580676.8565 | 1200223.9676
56 | 2580698.7913 | 1200229.9648
57 | 2580657.2395 | 1200217.8854
58 | 2580622.3869 | 1200207.0795
59 | 2580610.199 | 1200242.2283
60 | 2580784.1449 | 1200595.3033
61 | 2580782.6422 | 1200590.3505
62 | 2580802.3371 | 1200629.1917
63 | 2580781.4724 | 1200587.2358
64 | 2580812.8694 | 1200628.8296
65 | 2580768.5231 | 1200569.0032
66 | 2580599.9575 | 1200418.4005

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99097 | -0.062548 | 0.0026641 | 0.0006677
1 | 0.99026 | -0.067504 | 0.0038341 | 0.00096092
2 | 0.9914 | -0.059538 | 0.0024316 | 0.00060942
3 | 0.98998 | -0.069453 | 0.0073447 | 0.0018408
4 | 0.9918 | -0.056744 | 0.00096478 | 0.0002418
5 | 0.98965 | -0.071731 | 0.0024289 | 0.00060874
6 | 0.99183 | -0.056531 | 0.0010997 | 0.00027562
7 | 0.98879 | -0.077732 | 0 | 0
8 | 0.99262 | -0.05104 | 0.00065092 | 0.00016314
9 | 0.97585 | -0.16917 | 0.0066638 | 0.0016701
10 | 0.97785 | -0.15493 | 0.0010813 | 0.00027099
11 | 0.97433 | -0.18006 | 0.0034546 | 0.00086581
12 | 0.97917 | -0.14554 | 0 | 0
13 | 0.9733 | -0.18746 | 0.0087503 | 0.002193
14 | 0.98245 | -0.12233 | 0.0045762 | 0.0011469
15 | 0.97232 | -0.19453 | 0 | 0
16 | 0.97208 | -0.19624 | 0 | 0
17 | 0.97149 | -0.20046 | 0.0081718 | 0.0020481
18 | 0.97159 | -0.19973 | 0.015285 | 0.0038308
19 | 0.9736 | -0.18528 | 0.0053389 | 0.0013381
20 | 0.98404 | -0.11111 | 0.0068145 | 0.0017079
21 | 0.97217 | -0.19557 | 0.0022073 | 0.00055321
22 | 0.97147 | -0.2006 | 0.00099596 | 0.00024961
23 | 0.98752 | -0.08667 | 0 | 0
24 | 0.98582 | -0.098564 | 0.0032883 | 0.00082412
25 | 0.99311 | -0.047563 | 0 | 0
26 | 0.99249 | -0.051936 | 0.0028969 | 0.00072602
27 | 0.99499 | -0.034568 | 0.00082432 | 0.00020659
28 | 0.99073 | -0.064151 | 0 | 0
29 | 0.99535 | -0.032035 | 0.00057319 | 0.00014366
30 | 0.98508 | -0.1038 | 0 | 0
31 | 0.99743 | -0.0177 | 0.00086815 | 0.00021758
32 | 1 | 0 | -0.21914 | -0.05525
33 | 0.99736 | -0.018197 | 0.0031182 | 0.00078149
34 | 0.99982 | -0.0012325 | 0 | 0
35 | 0.99959 | -0.0028464 | 0.012254 | 0.0030711
36 | 0.98343 | -0.11531 | 0 | 0
37 | 0.98257 | -0.1214 | 0.0055066 | 0.0013801
38 | 0.98607 | -0.096784 | 0.00099906 | 0.00025039
39 | 0.98861 | -0.079102 | 0.0010046 | 0.00025178
40 | 0.98776 | -0.085159 | 0.0010155 | 0.00025452
41 | 0.9894 | -0.073576 | 0 | 0
42 | 0.98697 | -0.090761 | 0.0033207 | 0.00083225
43 | 0.9904 | -0.066525 | 0.0019429 | 0.00048694
44 | 0.98676 | -0.092249 | 0.0027979 | 0.00070122
45 | 0.98674 | -0.092362 | 0.003174 | 0.00079549
46 | 0.98952 | -0.072597 | 0.00063674 | 0.00015958
47 | 0.97115 | -0.20291 | 0.013328 | 0.0033402
48 | 0.97579 | -0.1696 | 0.0089161 | 0.0022346
49 | 0.98741 | -0.087344 | 0.0046862 | 0.0011745
50 | 0.98013 | -0.13869 | 0.012815 | 0.0032118
51 | 0.98049 | -0.13613 | 0 | 0
52 | 0.97805 | -0.15349 | 0 | 0
53 | 0.97771 | -0.15595 | 0.0061647 | 0.001545
54 | 0.9711 | -0.20327 | 0.0029048 | 0.000728
55 | 0.98555 | -0.10085 | 0.0012515 | 0.00031367
56 | 0.98542 | -0.10173 | 0.003749 | 0.0009396
57 | 0.9857 | -0.099796 | 0.0048184 | 0.0012076
58 | 0.98621 | -0.096115 | 0 | 0
59 | 0.98674 | -0.092365 | 0.0032891 | 0.00082433
60 | 0.97034 | -0.20878 | 0.0085983 | 0.0021549
61 | 0.97042 | -0.20823 | 0.007001 | 0.0017546
62 | 0.97026 | -0.20937 | 0 | 0
63 | 0.9705 | -0.20763 | 0.0052365 | 0.0013124
64 | 0.97024 | -0.20953 | 0.0014194 | 0.00035574
65 | 0.97125 | -0.20224 | 0.0010355 | 0.00025951
66 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.075709 | 0.019091 | -0.075656 | -0.019072 | 5.2556e-05 | 1.9459e-05 | 0.11372 | 0.11372 | 0.11372 | 0.99097 | -0.062548 | 0.99026 | -0.067504 | 14.0401
1 | -0.078373 | -0.019759 | 0.078406 | 0.019771 | 3.306e-05 | 1.2272e-05 | 0.11772 | 0.11772 | 0.11772 | 0.99097 | -0.062548 | 0.9914 | -0.059538 | 14.5339
2 | 0.071822 | 0.018111 | -0.071802 | -0.018104 | 1.9613e-05 | 7.2313e-06 | 0.10796 | 0.10796 | 0.10796 | 0.99026 | -0.067504 | 0.98998 | -0.069453 | 13.3288
3 | -0.080838 | -0.020381 | 0.080869 | 0.020393 | 3.1663e-05 | 1.1778e-05 | 0.12137 | 0.12137 | 0.12137 | 0.9914 | -0.059538 | 0.9918 | -0.056744 | 14.9845
4 | 0.064458 | 0.016263 | -0.064437 | -0.016256 | 2.0599e-05 | 7.5161e-06 | 0.096924 | 0.096924 | 0.096924 | 0.98998 | -0.069453 | 0.98965 | -0.071731 | 11.9659
5 | -0.081834 | -0.020634 | 0.081836 | 0.020635 | 2.4399e-06 | 9.0833e-07 | 0.12282 | 0.12282 | 0.12282 | 0.9918 | -0.056744 | 0.99183 | -0.056531 | 15.1632
6 | 0.062008 | 0.015647 | -0.061956 | -0.015628 | 5.218e-05 | 1.8958e-05 | 0.093272 | 0.093272 | 0.093272 | 0.98965 | -0.071731 | 0.98879 | -0.077732 | 11.5151
7 | -0.082936 | -0.020911 | 0.083 | 0.020935 | 6.3859e-05 | 2.3793e-05 | 0.12447 | 0.12447 | 0.12447 | 0.99183 | -0.056531 | 0.99262 | -0.05104 | 15.3669
8 | 0.061956 | 0.015628 | -0.061878 | -0.0156 | 7.7568e-05 | 2.8187e-05 | 0.093272 | 0.093273 | 0.093273 | 0.98879 | -0.077732 | 0.98752 | -0.08667 | 11.5152
9 | -0.083651 | -0.021098 | 0.083692 | 0.021113 | 4.0798e-05 | 1.5208e-05 | 0.12545 | 0.12545 | 0.12545 | 0.99262 | -0.05104 | 0.99311 | -0.047563 | 15.4873
10 | -0.045529 | -0.01143 | 0.045619 | 0.011464 | 9.0233e-05 | 3.433e-05 | 0.069431 | 0.069431 | 0.069431 | 0.97585 | -0.16917 | 0.97785 | -0.15493 | 25.7151
11 | 0.038865 | 0.0097599 | -0.038806 | -0.0097377 | 5.8761e-05 | 2.2266e-05 | 0.05927 | 0.05927 | 0.05927 | 0.97585 | -0.16917 | 0.97433 | -0.18006 | 21.9518
12 | -0.0467 | -0.011735 | 0.046761 | 0.011759 | 6.1128e-05 | 2.3267e-05 | 0.071076 | 0.071076 | 0.071076 | 0.97785 | -0.15493 | 0.97917 | -0.14554 | 26.3245
13 | 0.035352 | 0.0088718 | -0.035315 | -0.0088581 | 3.6268e-05 | 1.3701e-05 | 0.053994 | 0.053994 | 0.053994 | 0.97433 | -0.18006 | 0.9733 | -0.18746 | 19.9978
14 | -0.046761 | -0.011759 | 0.046913 | 0.011816 | 0.00015173 | 5.7751e-05 | 0.071076 | 0.071076 | 0.071076 | 0.97917 | -0.14554 | 0.98245 | -0.12233 | 26.3245
15 | 0.026565 | 0.0066651 | -0.026539 | -0.0066554 | 2.6022e-05 | 9.6946e-06 | 0.040616 | 0.040616 | 0.040616 | 0.9733 | -0.18746 | 0.97232 | -0.19453 | 15.0431
16 | -0.051489 | -0.012963 | 0.05157 | 0.012993 | 8.0856e-05 | 3.0018e-05 | 0.078007 | 0.078007 | 0.078007 | 0.98245 | -0.12233 | 0.98404 | -0.11111 | 14.4457
17 | 0.0022077 | 0.00055278 | -0.0022073 | -0.00055321 | 3.1756e-07 | -4.3078e-07 | 0.0033784 | 0.0033786 | 0.0033786 | 0.97232 | -0.19453 | 0.97217 | -0.19557 | 1.2513
18 | 0.024331 | 0.0061026 | -0.024311 | -0.0060951 | 2.0464e-05 | 7.5777e-06 | 0.037238 | 0.037238 | 0.037238 | 0.97232 | -0.19453 | 0.97147 | -0.2006 | 13.7919
19 | 0.024424 | 0.0061234 | -0.02441 | -0.0061181 | 1.4273e-05 | 5.2869e-06 | 0.037388 | 0.037388 | 0.037388 | 0.97208 | -0.19624 | 0.97149 | -0.20046 | 13.8476
20 | 0.015293 | 0.0038334 | -0.015285 | -0.0038308 | 7.3968e-06 | 2.5769e-06 | 0.02341 | 0.02341 | 0.02341 | 0.97208 | -0.19624 | 0.97159 | -0.19973 | 8.6703
21 | -0.039717 | -0.0099569 | 0.039777 | 0.0099798 | 6.0363e-05 | 2.2892e-05 | 0.060798 | 0.060798 | 0.060798 | 0.97208 | -0.19624 | 0.9736 | -0.18528 | 22.5178
22 | 0.016238 | 0.0040701 | -0.016233 | -0.0040681 | 5.5201e-06 | 1.9461e-06 | 0.024872 | 0.024872 | 0.024872 | 0.97149 | -0.20046 | 0.97115 | -0.20291 | 9.2118
23 | -0.045116 | -0.011318 | 0.045215 | 0.011355 | 9.8376e-05 | 3.7424e-05 | 0.068958 | 0.068958 | 0.068958 | 0.9736 | -0.18528 | 0.97579 | -0.1696 | 25.5399
24 | -0.058385 | -0.014701 | 0.058444 | 0.014723 | 5.9671e-05 | 2.1547e-05 | 0.088311 | 0.088311 | 0.088311 | 0.98404 | -0.11111 | 0.98508 | -0.1038 | 10.9026
25 | 0.023315 | 0.0058454 | -0.02331 | -0.0058435 | 5.2935e-06 | 1.9536e-06 | 0.035713 | 0.035713 | 0.035713 | 0.97147 | -0.2006 | 0.97125 | -0.20224 | 13.2269
26 | 0.061878 | 0.0156 | -0.061776 | -0.015562 | 0.00010294 | 3.7411e-05 | 0.093273 | 0.093274 | 0.093274 | 0.98752 | -0.08667 | 0.98582 | -0.098564 | 11.5153
27 | 0.058487 | 0.014738 | -0.058444 | -0.014723 | 4.2829e-05 | 1.5464e-05 | 0.08831 | 0.088311 | 0.088311 | 0.98582 | -0.098564 | 0.98508 | -0.1038 | 10.9025
28 | 0.11565 | 0.029195 | -0.11558 | -0.029169 | 7.1009e-05 | 2.687e-05 | 0.17336 | 0.17336 | 0.17336 | 0.99311 | -0.047563 | 0.99249 | -0.051936 | 21.4021
29 | -0.19934 | -0.050309 | 0.19971 | 0.050448 | 0.00036432 | 0.00013936 | 0.2988 | 0.2988 | 0.2988 | 0.99311 | -0.047563 | 0.99499 | -0.034568 | 36.8894
30 | 0.11268 | 0.028443 | -0.11249 | -0.028369 | 0.00019294 | 7.365e-05 | 0.16901 | 0.16901 | 0.16901 | 0.99249 | -0.051936 | 0.99073 | -0.064151 | 31.2989
31 | -0.20053 | -0.050654 | 0.2006 | 0.050682 | 7.1475e-05 | 2.7341e-05 | 0.30004 | 0.30004 | 0.30004 | 0.99499 | -0.034568 | 0.99535 | -0.032035 | 37.0415
32 | 0.086021 | 0.021724 | -0.085919 | -0.021686 | 0.00010201 | 3.8733e-05 | 0.12926 | 0.12926 | 0.12926 | 0.99073 | -0.064151 | 0.98952 | -0.072597 | 23.9366
33 | 0.026468 | 0.0066444 | -0.026459 | -0.0066412 | 8.7242e-06 | 3.2416e-06 | 0.039757 | 0.039757 | 0.039757 | 0.99073 | -0.064151 | 0.9904 | -0.066525 | 14.7248
34 | -0.20118 | -0.050825 | 0.20157 | 0.050976 | 0.00039243 | 0.00015012 | 0.30089 | 0.30089 | 0.30089 | 0.99535 | -0.032035 | 0.99736 | -0.018197 | 37.1473
35 | -0.20557 | -0.05198 | 0.20608 | 0.052177 | 0.00051411 | 0.0001967 | 0.30684 | 0.30684 | 0.30684 | 0.99743 | -0.0177 | 1 | 0 | 37.8815
36 | 0.2047 | 0.051763 | -0.20469 | -0.051757 | 1.4364e-05 | 5.4956e-06 | 0.30555 | 0.30555 | 0.30555 | 0.99743 | -0.0177 | 0.99736 | -0.018197 | 37.7216
37 | 0.012258 | 0.0030726 | -0.012256 | -0.0030719 | 2.0918e-06 | 6.724e-07 | 0.018241 | 0.018241 | 0.018241 | 1 | 0 | 0.99982 | -0.0012325 | 6.7559
38 | 0.012256 | 0.0030719 | -0.012254 | -0.0030711 | 2.7382e-06 | 8.8025e-07 | 0.018241 | 0.018241 | 0.018241 | 0.99982 | -0.0012325 | 0.99959 | -0.0028464 | 6.7559
39 | 0.079109 | 0.019914 | -0.079042 | -0.019889 | 6.7201e-05 | 2.5751e-05 | 0.11973 | 0.11973 | 0.11973 | 0.98343 | -0.11531 | 0.98257 | -0.1214 | 44.3446
40 | -0.079109 | -0.019914 | 0.079315 | 0.019993 | 0.00020527 | 7.8657e-05 | 0.11973 | 0.11973 | 0.11973 | 0.98343 | -0.11531 | 0.98607 | -0.096784 | 44.3446
41 | 0.073536 | 0.018508 | -0.073385 | -0.018451 | 0.00015088 | 5.7783e-05 | 0.11139 | 0.11139 | 0.11139 | 0.98257 | -0.1214 | 0.98049 | -0.13613 | 41.256
42 | -0.080314 | -0.020243 | 0.08042 | 0.020284 | 0.00010631 | 4.074e-05 | 0.12124 | 0.12124 | 0.12124 | 0.98607 | -0.096784 | 0.98741 | -0.087344 | 44.9029
43 | 0.023469 | 0.0058867 | -0.023449 | -0.0058794 | 1.9696e-05 | 7.2512e-06 | 0.035326 | 0.035326 | 0.035326 | 0.98861 | -0.079102 | 0.98776 | -0.085159 | 13.0837
44 | -0.024473 | -0.0061384 | 0.024492 | 0.0061454 | 1.8765e-05 | 6.9328e-06 | 0.036838 | 0.036838 | 0.036838 | 0.98861 | -0.079102 | 0.9894 | -0.073576 | 13.6437
45 | 0.022434 | 0.0056249 | -0.022416 | -0.0056185 | 1.7402e-05 | 6.3807e-06 | 0.033796 | 0.033796 | 0.033796 | 0.98776 | -0.085159 | 0.98697 | -0.090761 | 12.5171
46 | -0.024492 | -0.0061454 | 0.024516 | 0.0061542 | 2.3986e-05 | 8.8614e-06 | 0.036838 | 0.036838 | 0.036838 | 0.9894 | -0.073576 | 0.9904 | -0.066525 | 13.6437
47 | 0.019096 | 0.0047863 | -0.019092 | -0.0047848 | 3.9326e-06 | 1.4154e-06 | 0.02879 | 0.02879 | 0.02879 | 0.98697 | -0.090761 | 0.98676 | -0.092249 | 10.6629
48 | 0.016294 | 0.0040836 | -0.016293 | -0.0040835 | 2.5561e-07 | 8.9644e-08 | 0.024571 | 0.024571 | 0.024571 | 0.98676 | -0.092249 | 0.98674 | -0.092362 | 9.1002
49 | 0.013119 | 0.003288 | -0.013119 | -0.003288 | 5.3662e-09 | 1.7841e-09 | 0.019784 | 0.019784 | 0.019784 | 0.98674 | -0.092362 | 0.98674 | -0.092365 | 7.3275
50 | 0.085283 | 0.021526 | -0.085106 | -0.021459 | 0.00017624 | 6.7565e-05 | 0.1283 | 0.1283 | 0.1283 | 0.98952 | -0.072597 | 0.98741 | -0.087344 | 47.5185
51 | 0.0029049 | 0.00072792 | -0.0029048 | -0.000728 | 1.4268e-07 | -8.7923e-08 | 0.0044509 | 0.004451 | 0.004451 | 0.97115 | -0.20291 | 0.9711 | -0.20327 | 1.6485
52 | -0.054131 | -0.01359 | 0.054252 | 0.013636 | 0.00012139 | 4.6332e-05 | 0.082554 | 0.082554 | 0.082554 | 0.97579 | -0.1696 | 0.97805 | -0.15349 | 30.5755
53 | -0.012815 | -0.0032118 | 0.01282 | 0.0032133 | 4.5412e-06 | 1.5042e-06 | 0.019456 | 0.019455 | 0.019456 | 0.98013 | -0.13869 | 0.98049 | -0.13613 | 7.2058
54 | 0.060565 | 0.015237 | -0.060419 | -0.015181 | 0.00014634 | 5.5935e-05 | 0.091936 | 0.091936 | 0.091936 | 0.98049 | -0.13613 | 0.97805 | -0.15349 | 34.0504
55 | 0.0061668 | 0.0015453 | -0.0061647 | -0.001545 | 2.0999e-06 | 3.2804e-07 | 0.0093821 | 0.0093823 | 0.0093823 | 0.97805 | -0.15349 | 0.97771 | -0.15595 | 3.4749
56 | 0.0037495 | 0.00093948 | -0.003749 | -0.0009396 | 4.5633e-07 | -1.1523e-07 | 0.005661 | 0.0056612 | 0.0056612 | 0.98555 | -0.10085 | 0.98542 | -0.10173 | 2.0967
57 | -0.005001 | -0.0012531 | 0.0050018 | 0.0012532 | 7.3066e-07 | 1.9267e-08 | 0.0075507 | 0.0075506 | 0.0075507 | 0.98555 | -0.10085 | 0.9857 | -0.099796 | 2.7965
58 | -0.0098202 | -0.0024608 | 0.0098252 | 0.0024622 | 5.0039e-06 | 1.4592e-06 | 0.014824 | 0.014824 | 0.014824 | 0.9857 | -0.099796 | 0.98621 | -0.096115 | 5.4906
59 | -0.0098252 | -0.0024622 | 0.0098303 | 0.0024637 | 5.1015e-06 | 1.4871e-06 | 0.014824 | 0.014824 | 0.014824 | 0.98621 | -0.096115 | 0.98674 | -0.092365 | 5.4905
60 | -0.010018 | -0.0025101 | 0.010019 | 0.0025103 | 7.6355e-07 | 2.2962e-07 | 0.015362 | 0.015362 | 0.015362 | 0.97034 | -0.20878 | 0.97042 | -0.20823 | 5.6897
61 | 0.0014196 | 0.00035518 | -0.0014194 | -0.00035562 | 1.1522e-07 | -4.37e-07 | 0.0021767 | 0.0021769 | 0.0021769 | 0.97034 | -0.20878 | 0.97026 | -0.20937 | 0.80624
62 | -0.01702 | -0.004265 | 0.017021 | 0.0042655 | 1.414e-06 | 5.0273e-07 | 0.026097 | 0.026097 | 0.026097 | 0.97042 | -0.20823 | 0.9705 | -0.20763 | 9.6657
63 | 0.0014194 | 0.00035562 | -0.0014194 | -0.00035574 | 3.1162e-08 | -1.1817e-07 | 0.0021769 | 0.0021769 | 0.0021769 | 0.97026 | -0.20937 | 0.97024 | -0.20953 | 0.80626
64 | -0.022258 | -0.0055779 | 0.022274 | 0.005584 | 1.6628e-05 | 6.1123e-06 | 0.034126 | 0.034126 | 0.034126 | 0.9705 | -0.20763 | 0.97125 | -0.20224 | 12.6393

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22195 | 0.055954

## res_load
| p_mw | q_mvar
0 | 0.0026641 | 0.0006677
1 | 0.0038341 | 0.00096092
2 | 0.0024316 | 0.00060942
3 | 0.0073447 | 0.0018408
4 | 0.00096478 | 0.0002418
5 | 0.0024289 | 0.00060874
6 | 0.0010997 | 0.00027562
7 | 0.00065092 | 0.00016314
8 | 0.0066638 | 0.0016701
9 | 0.0010813 | 0.00027099
10 | 0.0034546 | 0.00086581
11 | 0.0087503 | 0.002193
12 | 0.0045762 | 0.0011469
13 | 0.0081718 | 0.0020481
14 | 0.015285 | 0.0038308
15 | 0.0053389 | 0.0013381
16 | 0.0068145 | 0.0017079
17 | 0.0022073 | 0.00055321
18 | 0.00099596 | 0.00024961
19 | 0.0032883 | 0.00082412
20 | 0.0028969 | 0.00072602
21 | 0.00082432 | 0.00020659
22 | 0.00057319 | 0.00014366
23 | 0.00086815 | 0.00021758
24 | 0.0028092 | 0.00070406
25 | 0.0031182 | 0.00078149
26 | 0.012254 | 0.0030711
27 | 0.0055066 | 0.0013801
28 | 0.00099906 | 0.00025039
29 | 0.0010046 | 0.00025178
30 | 0.0010155 | 0.00025452
31 | 0.0033207 | 0.00083225
32 | 0.0019429 | 0.00048694
33 | 0.0027979 | 0.00070122
34 | 0.003174 | 0.00079549
35 | 0.00063674 | 0.00015958
36 | 0.013328 | 0.0033402
37 | 0.0089161 | 0.0022346
38 | 0.0046862 | 0.0011745
39 | 0.012815 | 0.0032118
40 | 0.0061647 | 0.001545
41 | 0.0029048 | 0.000728
42 | 0.0012515 | 0.00031367
43 | 0.003749 | 0.0009396
44 | 0.0048184 | 0.0012076
45 | 0.0032891 | 0.00082433
46 | 0.0085983 | 0.0021549
47 | 0.007001 | 0.0017546
48 | 0.0052365 | 0.0013124
49 | 0.0014194 | 0.00035574
50 | 0.0010355 | 0.00025951

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1