## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-12_2_2_node_41 | 0.4 | n |  | TRUE
1 | bus_LV_2284-12_2_2_node_42 | 0.4 | n |  | TRUE
2 | bus_LV_2284-12_2_2_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_2284-12_2_2_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_2284-12_2_2_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_2284-12_2_2_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_2284-12_2_2_node_107 | 0.4 | n |  | TRUE
7 | bus_LV_2284-12_2_2_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_2284-12_2_2_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_2284-12_2_2_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_2284-12_2_2_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_2284-12_2_2_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_2284-12_2_2_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_2284-12_2_2_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_2284-12_2_2_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_2284-12_2_2_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_2284-12_2_2_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_2284-12_2_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_2284-12_2_2_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_2284-12_2_2_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_2284-12_2_2_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_2284-12_2_2_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_2284-12_2_2_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_2284-12_2_2_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_2284-12_2_2_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_2284-12_2_2_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_2284-12_2_2_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_2284-12_2_2_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_2284-12_2_2_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_2284-12_2_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_2284-12_2_2_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_2284-12_2_2_node_101 | 0.4 | n |  | TRUE
32 | bus_LV_2284-12_2_2_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_2284-12_2_2_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_2284-12_2_2_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_2284-12_2_2_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_2284-12_2_2_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_2284-12_2_2_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_2284-12_2_2_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_2284-12_2_2_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_2284-12_2_2_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_2284-12_2_2_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_2284-12_2_2_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_2284-12_2_2_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_2284-12_2_2_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_2284-12_2_2_node_102 | 0.4 | n |  | TRUE
46 | bus_LV_2284-12_2_2_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_2284-12_2_2_node_104 | 0.4 | n |  | TRUE
48 | bus_LV_2284-12_2_2_node_106 | 0.4 | n |  | TRUE
49 | bus_MV_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-12_2_2_load_41 | 0 | 0.0007451 | 0.00018674 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-12_2_2_load_42 | 1 | 0.00058496 | 0.00014661 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-12_2_2_load_46 | 5 | 0.0043796 | 0.0010976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-12_2_2_load_107 | 6 | 0.0026519 | 0.00066463 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-12_2_2_load_48 | 8 | 0.0019533 | 0.00048955 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-12_2_2_load_109 | 9 | 0.0016305 | 0.00040864 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-12_2_2_load_61 | 10 | 0.00063492 | 0.00015913 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-12_2_2_load_60 | 11 | 0.0015835 | 0.00039687 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-12_2_2_load_49 | 12 | 0.00092929 | 0.0002329 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-12_2_2_load_50 | 13 | 0.002558 | 0.00064109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-12_2_2_load_53 | 16 | 0.00074767 | 0.00018738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-12_2_2_load_54 | 17 | 0.00075807 | 0.00018999 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-12_2_2_load_65 | 18 | 0.0023969 | 0.00060072 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-12_2_2_load_62 | 19 | 0.0017293 | 0.0004334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-12_2_2_load_66 | 20 | 0.0016912 | 0.00042385 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-12_2_2_load_55 | 21 | 0.00092087 | 0.00023079 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-12_2_2_load_56 | 22 | 0.0012495 | 0.00031314 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-12_2_2_load_57 | 23 | 0.001148 | 0.00028771 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-12_2_2_load_58 | 24 | 0.001281 | 0.00032104 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-12_2_2_load_59 | 25 | 0.0018269 | 0.00045787 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-12_2_2_load_105 | 27 | 0.00084368 | 0.00021145 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-12_2_2_load_63 | 28 | 0.0016736 | 0.00041945 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-12_2_2_load_64 | 29 | 0.0012438 | 0.00031173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-12_2_2_load_69 | 30 | 0.0020762 | 0.00052035 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-12_2_2_load_67 | 32 | 0.0011199 | 0.00028067 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-12_2_2_load_68 | 33 | 0.001442 | 0.0003614 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2284-12_2_2_load_71 | 34 | 0.0011122 | 0.00027875 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2284-12_2_2_load_72 | 36 | 0.00081439 | 0.00020411 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2284-12_2_2_load_73 | 37 | 0.0017064 | 0.00042766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2284-12_2_2_load_75 | 39 | 0.00071725 | 0.00017976 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2284-12_2_2_load_76 | 40 | 0.0013219 | 0.00033131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2284-12_2_2_load_77 | 41 | 0.0017674 | 0.00044294 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2284-12_2_2_load_78 | 42 | 0.0021666 | 0.00054301 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2284-12_2_2_load_80 | 43 | 0.00068425 | 0.00017149 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2284-12_2_2_load_79 | 44 | 0.0031817 | 0.00079742 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2284-12_2_2_load_102 | 45 | 0.00063506 | 0.00015916 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2284-12_2_2_load_103 | 46 | 0.0011104 | 0.00027829 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2284-12_2_2_load_104 | 47 | 0.00084036 | 0.00021061 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2284-12_2_2_load_106 | 48 | 0.0025912 | 0.00064941 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-12_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2284-12_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.068201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2284-12_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.051487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2284-12_2_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.14753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2284-12_2_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.078303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2284-12_2_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.2653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2284-12_2_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.015032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2284-12_2_2_line_7 | NAYY 4x150 SE | 3 | 8 | 0.010952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2284-12_2_2_line_8 | NAYY 4x150 SE | 4 | 9 | 0.080353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2284-12_2_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.016739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2284-12_2_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.01153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2284-12_2_2_line_11 | NAYY 4x150 SE | 10 | 27 | 0.015771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2284-12_2_2_line_12 | NAYY 4x150 SE | 11 | 16 | 0.0027903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2284-12_2_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.020236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2284-12_2_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0030399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2284-12_2_2_line_15 | NAYY 4x150 SE | 14 | 18 | 0.014524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2284-12_2_2_line_16 | NAYY 4x150 SE | 14 | 19 | 0.014398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2284-12_2_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.01888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2284-12_2_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.015263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2284-12_2_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.0044374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2284-12_2_2_line_20 | NAYY 4x150 SE | 18 | 31 | 0.013584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2284-12_2_2_line_21 | NAYY 4x150 SE | 19 | 28 | 0.041527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2284-12_2_2_line_22 | NAYY 4x150 SE | 20 | 32 | 0.01858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2284-12_2_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0032281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2284-12_2_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0049915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2284-12_2_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.017321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2284-12_2_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0019719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2284-12_2_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.030409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2284-12_2_2_line_28 | NAYY 4x150 SE | 26 | 34 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2284-12_2_2_line_29 | NAYY 4x150 SE | 26 | 30 | 0.020353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2284-12_2_2_line_30 | NAYY 4x150 SE | 27 | 47 | 0.019825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2284-12_2_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.028035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2284-12_2_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0004755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2284-12_2_2_line_33 | NAYY 4x150 SE | 31 | 45 | 0.008787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2284-12_2_2_line_34 | NAYY 4x150 SE | 31 | 46 | 0.026216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2284-12_2_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.010399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2284-12_2_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.015526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2284-12_2_2_line_37 | NAYY 4x150 SE | 35 | 43 | 0.053833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2284-12_2_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.030351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2284-12_2_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.066662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2284-12_2_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.013901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2284-12_2_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.10281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2284-12_2_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.00050072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2284-12_2_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.022042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2284-12_2_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.021789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2284-12_2_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.013861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2284-12_2_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.0040939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2284-12_2_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.012841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-12_2_2_trafo_62 | 0.25 MVA 20/0.4 kV | 49 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2571387.5553 | 1199024.2207 | 2571368.7507 | 1199010.3676 | 2571368.7507 | 1199010.3676
1 | 2571443.5752 | 1199063.0484 | 2571419.877 | 1199048.0316 | 2571387.5553 | 1199024.2207
2 | 2571329.5074 | 1198977.0381 | 2571368.7507 | 1199010.3676
3 | 2571443.5752 | 1199063.0484 | 2571502.6255 | 1199100.4639 | 2571565.9334 | 1199135.1693 | 2571571.0019 | 1199137.8576
4 | 2571489.9003 | 1199028.4299 | 2571477.2622 | 1199015.9502 | 2571473.4537 | 1199015.6349 | 2571470.6489 | 1199016.6378 | 2571467.5274 | 1199021.4443 | 2571460.1545 | 1199036.8213 | 2571451.1188 | 1199051.5393 | 2571443.5752 | 1199063.0484
5 | 2571272.2484 | 1199265.6162 | 2571443.5752 | 1199063.0484
6 | 2571338.2579 | 1198964.8005 | 2571329.5074 | 1198977.0381
7 | 2571329.5074 | 1198977.0381 | 2571321.2865 | 1198969.8021
8 | 2571598.1419 | 1199068.4903 | 2571603.9532 | 1199072.0868 | 2571571.0019 | 1199137.8576
9 | 2571338.2579 | 1198964.8005 | 2571326.0335 | 1198953.3659
10 | 2571338.2579 | 1198964.8005 | 2571344.9636 | 1198955.4212
11 | 2571314.5157 | 1198942.5922 | 2571326.0335 | 1198953.3659
12 | 2571344.9636 | 1198955.4212 | 2571346.5864 | 1198953.1514
13 | 2571326.6884 | 1198913.0998 | 2571310.8845 | 1198900.4616
14 | 2571308.5103 | 1198898.563 | 2571310.8845 | 1198900.4616
15 | 2571308.5103 | 1198898.563 | 2571299.2712 | 1198909.7691
16 | 2571308.5103 | 1198898.563 | 2571297.201 | 1198889.6528
17 | 2571357.5668 | 1198937.7929 | 2571346.5864 | 1198953.1514
18 | 2571357.5668 | 1198937.7929 | 2571366.4383 | 1198925.3733
19 | 2571369.0175 | 1198921.7624 | 2571366.4383 | 1198925.3733
20 | 2571290.6302 | 1198920.2499 | 2571299.2712 | 1198909.7691
21 | 2571297.201 | 1198889.6528 | 2571264.582 | 1198863.9535
22 | 2571369.0175 | 1198921.7624 | 2571369.0175 | 1198921.7624 | 2571384.77 | 1198931.6159
23 | 2571269.0205 | 1198809.6381 | 2571269.0205 | 1198809.6381 | 2571265.8091 | 1198809.9659
24 | 2571269.0205 | 1198809.6381 | 2571272.5403 | 1198806.0988
25 | 2571249.6959 | 1198814.4097 | 2571253.5863 | 1198811.2134 | 2571265.8091 | 1198809.9659
26 | 2571273.9308 | 1198804.7006 | 2571272.5403 | 1198806.0988
27 | 2571226.1998 | 1198833.7134 | 2571249.6959 | 1198814.4097
28 | 2571226.1998 | 1198833.7134 | 2571215.6656 | 1198845.8546
29 | 2571226.1998 | 1198833.7134 | 2571242.1874 | 1198846.3095
30 | 2571300.0371 | 1198929.0491 | 2571314.5157 | 1198942.5922
31 | 2571264.582 | 1198863.9535 | 2571242.5609 | 1198846.6038
32 | 2571242.1874 | 1198846.3095 | 2571242.5609 | 1198846.6038
33 | 2571290.6302 | 1198920.2499 | 2571297.0473 | 1198926.2524
34 | 2571290.6302 | 1198920.2499 | 2571271.5672 | 1198902.2539
35 | 2571393.5861 | 1198937.1305 | 2571384.77 | 1198931.6159
36 | 2571205.4902 | 1198857.5821 | 2571215.6656 | 1198845.8546
37 | 2571205.4902 | 1198857.5821 | 2571168.9994 | 1198818.0044
38 | 2571120.3074 | 1198772.6816 | 2571125.4699 | 1198777.0142 | 2571142.7392 | 1198793.1158
39 | 2571069.2448 | 1198729.8279 | 2571120.3074 | 1198772.6816
40 | 2571142.7392 | 1198793.1158 | 2571152.9061 | 1198802.5953
41 | 2571069.2448 | 1198729.8279 | 2571080.6231 | 1198722.4797 | 2571088.4491 | 1198722.1416 | 2571113.1428 | 1198722.1774 | 2571134.0696 | 1198722.6762 | 2571169.8438 | 1198721.1541
42 | 2571153.2723 | 1198802.9368 | 2571152.9061 | 1198802.5953
43 | 2571191.8655 | 1198720.2171 | 2571169.8438 | 1198721.1541
44 | 2571153.2723 | 1198802.9368 | 2571166.3455 | 1198815.126 | 2571168.9994 | 1198818.0044
45 | 2571205.714 | 1198719.6279 | 2571191.8655 | 1198720.2171
46 | 2571300.0371 | 1198929.0491 | 2571297.0473 | 1198926.2524
47 | 2571262.2294 | 1198893.4388 | 2571271.5672 | 1198902.2539

## bus_geodata
| x | y | coords
0 | 2571387.5553 | 1199024.2207
1 | 2571368.7507 | 1199010.3676
2 | 2571443.5752 | 1199063.0484
3 | 2571329.5074 | 1198977.0381
4 | 2571571.0019 | 1199137.8576
5 | 2571489.9003 | 1199028.4299
6 | 2571272.2484 | 1199265.6162
7 | 2571338.2579 | 1198964.8005
8 | 2571321.2865 | 1198969.8021
9 | 2571598.1419 | 1199068.4903
10 | 2571326.0335 | 1198953.3659
11 | 2571344.9636 | 1198955.4212
12 | 2571326.6884 | 1198913.0998
13 | 2571310.8845 | 1198900.4616
14 | 2571308.5103 | 1198898.563
15 | 2571357.5668 | 1198937.7929
16 | 2571346.5864 | 1198953.1514
17 | 2571366.4383 | 1198925.3733
18 | 2571299.2712 | 1198909.7691
19 | 2571297.201 | 1198889.6528
20 | 2571369.0175 | 1198921.7624
21 | 2571269.0205 | 1198809.6381
22 | 2571265.8091 | 1198809.9659
23 | 2571272.5403 | 1198806.0988
24 | 2571249.6959 | 1198814.4097
25 | 2571273.9308 | 1198804.7006
26 | 2571226.1998 | 1198833.7134
27 | 2571314.5157 | 1198942.5922
28 | 2571264.5821 | 1198863.9535
29 | 2571242.5609 | 1198846.6038
30 | 2571242.1874 | 1198846.3095
31 | 2571290.6302 | 1198920.2499
32 | 2571384.77 | 1198931.6159
33 | 2571393.5861 | 1198937.1305
34 | 2571215.6656 | 1198845.8546
35 | 2571205.4903 | 1198857.5821
36 | 2571120.3074 | 1198772.6816
37 | 2571142.7392 | 1198793.1158
38 | 2571069.2448 | 1198729.8279
39 | 2571152.9061 | 1198802.5953
40 | 2571169.8438 | 1198721.1541
41 | 2571153.2723 | 1198802.9368
42 | 2571191.8655 | 1198720.2171
43 | 2571168.9994 | 1198818.0044
44 | 2571205.714 | 1198719.6279
45 | 2571297.0473 | 1198926.2524
46 | 2571271.5672 | 1198902.2539
47 | 2571300.0371 | 1198929.0491
48 | 2571262.2294 | 1198893.4388
49 | 2571297.201 | 1198889.6528

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99503 | -0.034944 | 0.0007451 | 0.00018674
1 | 0.99535 | -0.032715 | 0.00058496 | 0.00014661
2 | 0.99418 | -0.040945 | 0 | 0
3 | 0.99608 | -0.027502 | 0 | 0
4 | 0.99384 | -0.043397 | 0 | 0
5 | 0.99369 | -0.044412 | 0.0043796 | 0.0010976
6 | 0.99318 | -0.04809 | 0.0026519 | 0.00066463
7 | 0.99634 | -0.025686 | 0 | 0
8 | 0.99605 | -0.027717 | 0.0019533 | 0.00048955
9 | 0.99365 | -0.044724 | 0.0016305 | 0.00040864
10 | 0.9968 | -0.022428 | 0.00063492 | 0.00015913
11 | 0.99622 | -0.026538 | 0.0015835 | 0.00039687
12 | 0.9993 | -0.0048843 | 0.00092929 | 0.0002329
13 | 0.99933 | -0.0046961 | 0.002558 | 0.00064109
14 | 0.99934 | -0.0045901 | 0 | 0
15 | 0.99606 | -0.027652 | 0 | 0
16 | 0.9962 | -0.0267 | 0.00074767 | 0.00018738
17 | 0.99595 | -0.028422 | 0.00075807 | 0.00018999
18 | 0.99876 | -0.0087192 | 0.0023969 | 0.00060072
19 | 1 | 0 | -0.057746 | -0.014283
20 | 0.99593 | -0.028612 | 0.0016912 | 0.00042385
21 | 0.99657 | -0.024049 | 0.00092087 | 0.00023079
22 | 0.99659 | -0.023922 | 0.0012495 | 0.00031314
23 | 0.99655 | -0.024198 | 0.001148 | 0.00028771
24 | 0.99671 | -0.023027 | 0.001281 | 0.00032104
25 | 0.99654 | -0.024234 | 0.0018269 | 0.00045787
26 | 0.99699 | -0.021063 | 0 | 0
27 | 0.99725 | -0.01926 | 0.00084368 | 0.00021145
28 | 0.99852 | -0.010351 | 0.0016736 | 0.00041945
29 | 0.99759 | -0.016885 | 0.0012438 | 0.00031173
30 | 0.99757 | -0.01699 | 0.0020762 | 0.00052035
31 | 0.99825 | -0.012259 | 0 | 0
32 | 0.99586 | -0.029092 | 0.0011199 | 0.00028067
33 | 0.99584 | -0.029243 | 0.001442 | 0.0003614
34 | 0.99668 | -0.023243 | 0.0011122 | 0.00027875
35 | 0.99641 | -0.025177 | 0 | 0
36 | 0.99457 | -0.038096 | 0.00081439 | 0.00020411
37 | 0.9949 | -0.035798 | 0.0017064 | 0.00042766
38 | 0.99393 | -0.042596 | 0 | 0
39 | 0.99508 | -0.034506 | 0.00071725 | 0.00017976
40 | 0.99295 | -0.04954 | 0.0013219 | 0.00033131
41 | 0.99509 | -0.034456 | 0.0017674 | 0.00044294
42 | 0.99278 | -0.050734 | 0.0021666 | 0.00054301
43 | 0.99545 | -0.031888 | 0.00068425 | 0.00017149
44 | 0.99272 | -0.051181 | 0.0031817 | 0.00079742
45 | 0.99797 | -0.014225 | 0.00063506 | 0.00015916
46 | 0.99811 | -0.013232 | 0.0011104 | 0.00027829
47 | 0.99784 | -0.015115 | 0.00084036 | 0.00021061
48 | 0.99806 | -0.013565 | 0.0025912 | 0.00064941
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0094198 | -0.0023542 | 0.0094227 | 0.002355 | 2.8911e-06 | 8.0849e-07 | 0.014084 | 0.014084 | 0.014084 | 0.99503 | -0.034944 | 0.99535 | -0.032715 | 5.2165
1 | 0.0086747 | 0.0021675 | -0.0086675 | -0.0021656 | 7.1594e-06 | 1.8685e-06 | 0.01297 | 0.01297 | 0.01297 | 0.99503 | -0.034944 | 0.99418 | -0.040945 | 4.8039
2 | -0.010008 | -0.0025016 | 0.010015 | 0.0025037 | 7.189e-06 | 2.0953e-06 | 0.014959 | 0.014959 | 0.014959 | 0.99535 | -0.032715 | 0.99608 | -0.027502 | 5.5403
3 | 0.0016313 | 0.00040601 | -0.0016308 | -0.00040771 | 5.4853e-07 | -1.7014e-06 | 0.0024407 | 0.0024413 | 0.0024413 | 0.99418 | -0.040945 | 0.99384 | -0.043397 | 0.9042
4 | 0.0043817 | 0.0010974 | -0.0043796 | -0.0010976 | 2.1014e-06 | -2.0663e-07 | 0.0065579 | 0.0065582 | 0.0065582 | 0.99418 | -0.040945 | 0.99369 | -0.044412 | 2.429
5 | 0.0026545 | 0.00066219 | -0.0026519 | -0.00066463 | 2.6126e-06 | -2.4319e-06 | 0.003972 | 0.0039732 | 0.0039732 | 0.99418 | -0.040945 | 0.99318 | -0.04809 | 1.4715
6 | -0.011968 | -0.0029932 | 0.011971 | 0.0029941 | 2.9976e-06 | 9.572e-07 | 0.017877 | 0.017877 | 0.017877 | 0.99608 | -0.027502 | 0.99634 | -0.025686 | 6.621
7 | 0.0019534 | 0.00048943 | -0.0019533 | -0.00048955 | 5.8193e-08 | -1.2017e-07 | 0.0029181 | 0.0029181 | 0.0029181 | 0.99608 | -0.027502 | 0.99605 | -0.027717 | 1.0808
8 | 0.0016308 | 0.00040771 | -0.0016305 | -0.00040864 | 2.9889e-07 | -9.2607e-07 | 0.0024413 | 0.0024417 | 0.0024417 | 0.99384 | -0.043397 | 0.99365 | -0.044724 | 0.90433
9 | -0.019316 | -0.0048342 | 0.019325 | 0.0048373 | 8.6909e-06 | 3.1246e-06 | 0.028846 | 0.028846 | 0.028846 | 0.99634 | -0.025686 | 0.9968 | -0.022428 | 10.6836
10 | 0.0073448 | 0.0018401 | -0.007344 | -0.0018399 | 8.6566e-07 | 1.8281e-07 | 0.010969 | 0.010969 | 0.010969 | 0.99634 | -0.025686 | 0.99622 | -0.026538 | 4.0626
11 | -0.01996 | -0.0049964 | 0.019968 | 0.0049996 | 8.7356e-06 | 3.1541e-06 | 0.029793 | 0.029793 | 0.029793 | 0.9968 | -0.022428 | 0.99725 | -0.01926 | 11.0346
12 | 0.0057604 | 0.001443 | -0.0057603 | -0.001443 | 1.2889e-07 | 1.3244e-08 | 0.0086038 | 0.0086039 | 0.0086039 | 0.99622 | -0.026538 | 0.9962 | -0.0267 | 3.1866
13 | -0.00092929 | -0.0002329 | 0.00092932 | 0.00023265 | 2.4177e-08 | -2.5582e-07 | 0.0013838 | 0.0013837 | 0.0013838 | 0.9993 | -0.0048843 | 0.99933 | -0.0046961 | 0.51251
14 | -0.0034873 | -0.00087374 | 0.0034874 | 0.00087372 | 5.1146e-08 | -2.0157e-08 | 0.0051926 | 0.0051926 | 0.0051926 | 0.99933 | -0.0046961 | 0.99934 | -0.0045901 | 1.9232
15 | 0.028436 | 0.0071273 | -0.02842 | -0.0071212 | 1.6248e-05 | 6.059e-06 | 0.042341 | 0.042342 | 0.042342 | 0.99934 | -0.0045901 | 0.99876 | -0.0087192 | 15.682
16 | -0.031924 | -0.008001 | 0.031944 | 0.0080086 | 2.0299e-05 | 7.6187e-06 | 0.047534 | 0.047534 | 0.047534 | 0.99934 | -0.0045901 | 1 | 0 | 17.6052
17 | -0.0050119 | -0.0012556 | 0.0050126 | 0.0012556 | 6.6041e-07 | 8.2255e-09 | 0.0074872 | 0.0074871 | 0.0074872 | 0.99606 | -0.027652 | 0.9962 | -0.0267 | 2.773
18 | 0.0050119 | 0.0012556 | -0.0050114 | -0.0012556 | 5.3389e-07 | 6.7027e-09 | 0.0074872 | 0.0074872 | 0.0074872 | 0.99606 | -0.027652 | 0.99595 | -0.028422 | 2.773
19 | 0.0042533 | 0.0010656 | -0.0042532 | -0.0010656 | 1.1181e-07 | -1.4739e-08 | 0.0063546 | 0.0063546 | 0.0063546 | 0.99595 | -0.028422 | 0.99593 | -0.028612 | 2.3536
20 | 0.026023 | 0.0065205 | -0.02601 | -0.0065158 | 1.2741e-05 | 4.7227e-06 | 0.03877 | 0.038771 | 0.038771 | 0.99876 | -0.0087192 | 0.99825 | -0.012259 | 14.3594
21 | 0.025002 | 0.0062742 | -0.024966 | -0.006261 | 3.5871e-05 | 1.3252e-05 | 0.037206 | 0.037206 | 0.037206 | 1 | 0 | 0.99852 | -0.010351 | 13.7801
22 | 0.0025621 | 0.00064176 | -0.0025619 | -0.00064194 | 1.6989e-07 | -1.7642e-07 | 0.0038279 | 0.0038279 | 0.0038279 | 0.99593 | -0.028612 | 0.99586 | -0.029092 | 1.4178
23 | -0.0038958 | -0.0009763 | 0.0038959 | 0.00097629 | 6.8159e-08 | -1.5846e-08 | 0.005817 | 0.005817 | 0.005817 | 0.99657 | -0.024049 | 0.99659 | -0.023922 | 2.1544
24 | 0.0029749 | 0.00074551 | -0.0029749 | -0.00074555 | 6.1458e-08 | -4.1398e-08 | 0.004442 | 0.004442 | 0.004442 | 0.99657 | -0.024049 | 0.99655 | -0.024198 | 1.6452
25 | -0.0051454 | -0.0012894 | 0.005146 | 0.0012895 | 6.3793e-07 | 1.9634e-08 | 0.0076826 | 0.0076825 | 0.0076826 | 0.99659 | -0.023922 | 0.99671 | -0.023027 | 2.8454
26 | 0.0018269 | 0.00045785 | -0.0018269 | -0.00045787 | 9.1563e-09 | -2.2169e-08 | 0.0027279 | 0.0027279 | 0.0027279 | 0.99655 | -0.024198 | 0.99654 | -0.024234 | 1.0103
27 | -0.006427 | -0.0016105 | 0.0064287 | 0.0016108 | 1.7468e-06 | 2.7543e-07 | 0.0095949 | 0.0095947 | 0.0095949 | 0.99671 | -0.023027 | 0.99699 | -0.021063 | 3.5536
28 | 0.013511 | 0.0033867 | -0.013507 | -0.0033854 | 4.0788e-06 | 1.3592e-06 | 0.020165 | 0.020165 | 0.020165 | 0.99699 | -0.021063 | 0.99668 | -0.023243 | 7.4687
29 | -0.01994 | -0.0049975 | 0.019951 | 0.0050016 | 1.1248e-05 | 4.0607e-06 | 0.02976 | 0.02976 | 0.02976 | 0.99699 | -0.021063 | 0.99757 | -0.01699 | 11.0223
30 | -0.020812 | -0.005211 | 0.020824 | 0.0052154 | 1.1929e-05 | 4.3291e-06 | 0.031052 | 0.031052 | 0.031052 | 0.99725 | -0.01926 | 0.99784 | -0.015115 | 11.5008
31 | 0.023292 | 0.0058415 | -0.023271 | -0.0058338 | 2.1079e-05 | 7.7409e-06 | 0.034712 | 0.034712 | 0.034712 | 0.99852 | -0.010351 | 0.99759 | -0.016885 | 12.8564
32 | 0.022027 | 0.005522 | -0.022027 | -0.0055219 | 3.2033e-07 | 1.1699e-07 | 0.032857 | 0.032857 | 0.032857 | 0.99759 | -0.016885 | 0.99757 | -0.01699 | 12.1693
33 | 0.022308 | 0.0055883 | -0.022302 | -0.0055861 | 6.0626e-06 | 2.2169e-06 | 0.033252 | 0.033252 | 0.033252 | 0.99825 | -0.012259 | 0.99797 | -0.014225 | 12.3156
34 | 0.0037022 | 0.00092743 | -0.0037017 | -0.00092758 | 4.9818e-07 | -1.5107e-07 | 0.0055184 | 0.0055185 | 0.0055185 | 0.99825 | -0.012259 | 0.99811 | -0.013232 | 2.0439
35 | 0.001442 | 0.00036127 | -0.001442 | -0.0003614 | 3.0125e-08 | -1.2371e-07 | 0.0021546 | 0.0021547 | 0.0021547 | 0.99586 | -0.029092 | 0.99584 | -0.029243 | 0.79803
36 | 0.012395 | 0.0031066 | -0.012391 | -0.0031055 | 3.3177e-06 | 1.0737e-06 | 0.018505 | 0.018505 | 0.018505 | 0.99668 | -0.023243 | 0.99641 | -0.025177 | 6.8537
37 | 0.012391 | 0.0031055 | -0.01238 | -0.0031018 | 1.1503e-05 | 3.7238e-06 | 0.018505 | 0.018505 | 0.018505 | 0.99641 | -0.025177 | 0.99545 | -0.031888 | 6.8538
38 | -0.0074964 | -0.0018777 | 0.0074987 | 0.0018782 | 2.3821e-06 | 5.222e-07 | 0.011215 | 0.011215 | 0.011215 | 0.99457 | -0.038096 | 0.9949 | -0.035798 | 4.1538
39 | 0.006682 | 0.0016736 | -0.0066778 | -0.0016728 | 4.1571e-06 | 7.3437e-07 | 0.0099968 | 0.0099971 | 0.0099971 | 0.99457 | -0.038096 | 0.99393 | -0.042596 | 3.7026
40 | -0.0092051 | -0.0023058 | 0.0092068 | 0.0023063 | 1.644e-06 | 4.5177e-07 | 0.013767 | 0.013767 | 0.013767 | 0.9949 | -0.035798 | 0.99508 | -0.034506 | 5.099
41 | 0.0066778 | 0.0016728 | -0.0066714 | -0.0016717 | 6.4119e-06 | 1.135e-06 | 0.0099971 | 0.0099975 | 0.0099975 | 0.99393 | -0.042596 | 0.99295 | -0.04954 | 3.7028
42 | -0.009924 | -0.0024861 | 0.0099241 | 0.0024861 | 6.8806e-08 | 1.9959e-08 | 0.01484 | 0.01484 | 0.01484 | 0.99508 | -0.034506 | 0.99509 | -0.034456 | 5.4962
43 | 0.0053495 | 0.0013404 | -0.0053486 | -0.0013403 | 8.839e-07 | 5.4903e-08 | 0.0080165 | 0.0080166 | 0.0080166 | 0.99295 | -0.04954 | 0.99278 | -0.050734 | 2.9691
44 | -0.011691 | -0.002929 | 0.011696 | 0.0029303 | 4.1556e-06 | 1.3151e-06 | 0.017483 | 0.017482 | 0.017483 | 0.99509 | -0.034456 | 0.99545 | -0.031888 | 6.475
45 | 0.0031819 | 0.00079731 | -0.0031817 | -0.00079742 | 1.9673e-07 | -1.0355e-07 | 0.0047691 | 0.0047692 | 0.0047692 | 0.99278 | -0.050734 | 0.99272 | -0.051181 | 1.7664
46 | 0.021667 | 0.0054269 | -0.021664 | -0.005426 | 2.666e-06 | 9.7192e-07 | 0.032305 | 0.032305 | 0.032305 | 0.99797 | -0.014225 | 0.99784 | -0.015115 | 11.9649
47 | 0.0025913 | 0.00064928 | -0.0025912 | -0.00064941 | 1.1958e-07 | -1.2183e-07 | 0.0038631 | 0.0038632 | 0.0038632 | 0.99811 | -0.013232 | 0.99806 | -0.013565 | 1.4308

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.059475 | 0.014716

## res_load
| p_mw | q_mvar
0 | 0.0007451 | 0.00018674
1 | 0.00058496 | 0.00014661
2 | 0.0043796 | 0.0010976
3 | 0.0026519 | 0.00066463
4 | 0.0019533 | 0.00048955
5 | 0.0016305 | 0.00040864
6 | 0.00063492 | 0.00015913
7 | 0.0015835 | 0.00039687
8 | 0.00092929 | 0.0002329
9 | 0.002558 | 0.00064109
10 | 0.00074767 | 0.00018738
11 | 0.00075807 | 0.00018999
12 | 0.0023969 | 0.00060072
13 | 0.0017293 | 0.0004334
14 | 0.0016912 | 0.00042385
15 | 0.00092087 | 0.00023079
16 | 0.0012495 | 0.00031314
17 | 0.001148 | 0.00028771
18 | 0.001281 | 0.00032104
19 | 0.0018269 | 0.00045787
20 | 0.00084368 | 0.00021145
21 | 0.0016736 | 0.00041945
22 | 0.0012438 | 0.00031173
23 | 0.0020762 | 0.00052035
24 | 0.0011199 | 0.00028067
25 | 0.001442 | 0.0003614
26 | 0.0011122 | 0.00027875
27 | 0.00081439 | 0.00020411
28 | 0.0017064 | 0.00042766
29 | 0.00071725 | 0.00017976
30 | 0.0013219 | 0.00033131
31 | 0.0017674 | 0.00044294
32 | 0.0021666 | 0.00054301
33 | 0.00068425 | 0.00017149
34 | 0.0031817 | 0.00079742
35 | 0.00063506 | 0.00015916
36 | 0.0011104 | 0.00027829
37 | 0.00084036 | 0.00021061
38 | 0.0025912 | 0.00064941

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1