## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2284-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2284-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2284-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2284-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2284-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2284-17_0_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_2284-17_0_3_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_2284-17_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2284-17_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2284-17_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_2284-17_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_2284-17_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2284-17_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2284-17_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_2284-17_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2284-17_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2284-17_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2284-17_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2284-17_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_2284-17_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2284-17_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2284-17_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2284-17_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_2284-17_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2284-17_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2284-17_0_3_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_2284-17_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2284-17_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2284-17_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2284-17_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2284-17_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2284-17_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2284-17_0_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2284-17_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2284-17_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2284-17_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_2284-17_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2284-17_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2284-17_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2284-17_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2284-17_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_MV_379_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-17_0_3_load_0 | 0 | 0.016502 | 0.0041357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-17_0_3_load_1 | 1 | 0.0063746 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-17_0_3_load_4 | 4 | 0.010585 | 0.0026529 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-17_0_3_load_36 | 6 | 0.0082385 | 0.0020648 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-17_0_3_load_30 | 7 | 0.005665 | 0.0014198 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-17_0_3_load_37 | 10 | 0.0083308 | 0.0020879 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-17_0_3_load_28 | 11 | 0.00313 | 0.00078446 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-17_0_3_load_13 | 12 | 0.0023264 | 0.00058306 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-17_0_3_load_23 | 13 | 0.0028072 | 0.00070356 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-17_0_3_load_21 | 14 | 0.003337 | 0.00083633 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-17_0_3_load_6 | 15 | 0.025474 | 0.0063843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-17_0_3_load_7 | 16 | 0.016068 | 0.0040271 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-17_0_3_load_15 | 17 | 0.0033474 | 0.00083894 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-17_0_3_load_9 | 21 | 0.0016004 | 0.00040111 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-17_0_3_load_10 | 22 | 0.0033145 | 0.00083069 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-17_0_3_load_40 | 23 | 0.0024327 | 0.00060969 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-17_0_3_load_11 | 24 | 0.0034095 | 0.00085451 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-17_0_3_load_31 | 26 | 0.0025078 | 0.0006285 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-17_0_3_load_16 | 27 | 0.0039401 | 0.00098749 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-17_0_3_load_17 | 28 | 0.0065728 | 0.0016473 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-17_0_3_load_39 | 31 | 0.003464 | 0.00086817 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-17_0_3_load_38 | 32 | 0.0014217 | 0.00035632 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-17_0_3_load_43 | 33 | 0.002787 | 0.00069848 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-17_0_3_load_24 | 34 | 0.002295 | 0.00057519 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-17_0_3_load_25 | 35 | 0.0031457 | 0.00078838 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-17_0_3_load_41 | 36 | 0.0048113 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2284-17_0_3_load_26 | 37 | 0.0023905 | 0.00059912 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2284-17_0_3_load_27 | 38 | 0.0040857 | 0.001024 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2284-17_0_3_load_29 | 39 | 0.0049927 | 0.0012513 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2284-17_0_3_load_34 | 41 | 0.0017606 | 0.00044125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2284-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2284-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2284-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2284-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.059884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2284-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0062887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2284-17_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.029131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2284-17_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.021382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2284-17_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.024292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2284-17_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.020909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2284-17_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.02554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2284-17_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0089674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2284-17_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.0030553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2284-17_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.022328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2284-17_0_3_line_14 | NAYY 4x150 SE | 11 | 37 | 0.00025332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2284-17_0_3_line_15 | NAYY 4x150 SE | 12 | 26 | 0.035508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2284-17_0_3_line_16 | NAYY 4x150 SE | 13 | 19 | 0.017215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2284-17_0_3_line_17 | NAYY 4x150 SE | 14 | 20 | 0.014681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2284-17_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.022035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_2284-17_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.048745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2284-17_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.018538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_2284-17_0_3_line_21 | NAYY 4x150 SE | 18 | 24 | 0.010662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_2284-17_0_3_line_22 | NAYY 4x150 SE | 19 | 33 | 0.016368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_2284-17_0_3_line_23 | NAYY 4x150 SE | 20 | 34 | 0.028332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2284-17_0_3_line_24 | NAYY 4x150 SE | 20 | 35 | 0.014435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2284-17_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.0077384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_2284-17_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.025937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_2284-17_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.016455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_2284-17_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.030862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2284-17_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.015788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_2284-17_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0036762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_2284-17_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.027567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2284-17_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.041587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_2284-17_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0045007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_2284-17_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.020502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2284-17_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.030845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2284-17_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.01519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2284-17_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.029225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2284-17_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.0058671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2284-17_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.02515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2284-17_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.012144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-17_0_3_trafo_6 | 0.25 MVA 20/0.4 kV | 42 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2575397.1685 | 1201624.598 | 2575387.4566 | 1201620.7357
1 | 2575425.9566 | 1201636.0466 | 2575397.1685 | 1201624.598
2 | 2575370.8714 | 1201614.1401 | 2575387.4566 | 1201620.7357
3 | 2575425.9566 | 1201636.0466 | 2575435.8907 | 1201610.9014
4 | 2575402.7669 | 1201691.2504 | 2575420.2708 | 1201650.6225 | 2575425.9566 | 1201636.0466
5 | 2575370.8714 | 1201614.1401 | 2575365.8818 | 1201617.9677
6 | 2575370.8714 | 1201614.1401 | 2575383.4107 | 1201587.846
7 | 2575443.7471 | 1201591.0152 | 2575435.8907 | 1201610.9014
8 | 2575402.7669 | 1201691.2504 | 2575398.4701 | 1201701.2181 | 2575394.2686 | 1201713.9869
9 | 2575354.7547 | 1201635.2628 | 2575362.2455 | 1201620.7572 | 2575365.8818 | 1201617.9677
10 | 2575383.4107 | 1201587.846 | 2575394.4042 | 1201564.7934
11 | 2575443.7471 | 1201591.0152 | 2575445.671 | 1201585.1041 | 2575446.648 | 1201582.5324
12 | 2575394.2686 | 1201713.9869 | 2575393.1757 | 1201716.8401
13 | 2575394.2686 | 1201713.9869 | 2575415.1467 | 1201721.9022
14 | 2575394.5132 | 1201564.5648 | 2575394.4042 | 1201564.7934
15 | 2575446.648 | 1201582.5324 | 2575459.2581 | 1201549.3391
16 | 2575387.018 | 1201732.9161 | 2575393.1757 | 1201716.8401
17 | 2575428.8747 | 1201727.1067 | 2575415.1467 | 1201721.9022
18 | 2575351.015 | 1201676.669 | 2575340.3558 | 1201673.6657 | 2575330.0907 | 1201669.8235
19 | 2575330.0907 | 1201669.8235 | 2575323.1791 | 1201718.0765
20 | 2575315.945 | 1201735.145 | 2575323.1791 | 1201718.0765
21 | 2575315.945 | 1201735.145 | 2575311.0503 | 1201744.6173
22 | 2575387.018 | 1201732.9161 | 2575381.1628 | 1201748.2011
23 | 2575428.8747 | 1201727.1067 | 2575418.4658 | 1201753.4641
24 | 2575428.8747 | 1201727.1067 | 2575434.4341 | 1201713.785
25 | 2575299.9439 | 1201766.111 | 2575303.4963 | 1201759.2362
26 | 2575285.6457 | 1201787.7507 | 2575299.9439 | 1201766.111
27 | 2575303.4963 | 1201759.2362 | 2575311.0503 | 1201744.6173
28 | 2575306.8094 | 1201802.2752 | 2575283.6679 | 1201793.5554 | 2575285.6457 | 1201787.7507
29 | 2575306.8094 | 1201802.2752 | 2575321.584 | 1201807.8419
30 | 2575321.584 | 1201807.8419 | 2575325.0242 | 1201809.138
31 | 2575350.8207 | 1201818.8574 | 2575325.0242 | 1201809.138
32 | 2575350.8207 | 1201818.8574 | 2575368.5189 | 1201781.208
33 | 2575368.5189 | 1201781.208 | 2575370.1289 | 1201777.0051
34 | 2575368.5189 | 1201781.208 | 2575387.7812 | 1201788.2282
35 | 2575381.1628 | 1201748.2011 | 2575370.1289 | 1201777.0051
36 | 2575440.2841 | 1201699.7669 | 2575434.4341 | 1201713.785
37 | 2575407.0931 | 1201538.1856 | 2575394.5132 | 1201564.5648
38 | 2575407.0931 | 1201538.1856 | 2575409.6185 | 1201532.8899
39 | 2575420.4441 | 1201510.1894 | 2575409.6185 | 1201532.8899
40 | 2575420.4441 | 1201510.1894 | 2575410.2943 | 1201503.5209

## bus_geodata
| x | y | coords
0 | 2575397.1685 | 1201624.598
1 | 2575387.4566 | 1201620.7357
2 | 2575425.9566 | 1201636.0466
3 | 2575370.8714 | 1201614.1401
4 | 2575435.8907 | 1201610.9014
5 | 2575402.7669 | 1201691.2504
6 | 2575365.8818 | 1201617.9677
7 | 2575383.4107 | 1201587.846
8 | 2575443.7471 | 1201591.0152
9 | 2575394.2686 | 1201713.9869
10 | 2575354.7547 | 1201635.2628
11 | 2575394.4042 | 1201564.7934
12 | 2575446.648 | 1201582.5324
13 | 2575393.1757 | 1201716.8401
14 | 2575415.1467 | 1201721.9022
15 | 2575351.015 | 1201676.669
16 | 2575330.0907 | 1201669.8235
17 | 2575323.1791 | 1201718.0765
18 | 2575315.945 | 1201735.145
19 | 2575387.018 | 1201732.9161
20 | 2575428.8747 | 1201727.1067
21 | 2575299.9439 | 1201766.111
22 | 2575303.4963 | 1201759.2362
23 | 2575285.6457 | 1201787.7507
24 | 2575311.0503 | 1201744.6173
25 | 2575306.8094 | 1201802.2752
26 | 2575459.2581 | 1201549.3391
27 | 2575325.0242 | 1201809.138
28 | 2575321.584 | 1201807.8419
29 | 2575350.8207 | 1201818.8574
30 | 2575368.5189 | 1201781.208
31 | 2575370.1289 | 1201777.0051
32 | 2575387.7812 | 1201788.2282
33 | 2575381.1628 | 1201748.2011
34 | 2575418.4658 | 1201753.4641
35 | 2575434.4341 | 1201713.785
36 | 2575440.2841 | 1201699.7669
37 | 2575394.5132 | 1201564.5648
38 | 2575407.0931 | 1201538.1856
39 | 2575409.6185 | 1201532.8899
40 | 2575420.4441 | 1201510.1894
41 | 2575410.2943 | 1201503.5209
42 | 2575322.0544 | 1201666.8156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97559 | -0.17129 | 0.016502 | 0.0041357
1 | 0.9749 | -0.17622 | 0.0063746 | 0.0015976
2 | 0.97838 | -0.15137 | 0 | 0
3 | 0.97389 | -0.18346 | 0 | 0
4 | 0.97777 | -0.15572 | 0.010585 | 0.0026529
5 | 0.98062 | -0.13539 | 0 | 0
6 | 0.97374 | -0.18456 | 0.0082385 | 0.0020648
7 | 0.97295 | -0.19022 | 0.005665 | 0.0014198
8 | 0.97762 | -0.1568 | 0 | 0
9 | 0.98153 | -0.12893 | 0 | 0
10 | 0.97348 | -0.18639 | 0.0083308 | 0.0020879
11 | 0.97234 | -0.19463 | 0.00313 | 0.00078446
12 | 0.97755 | -0.15725 | 0.0023264 | 0.00058306
13 | 0.98167 | -0.12798 | 0.0028072 | 0.00070356
14 | 0.98109 | -0.13208 | 0.003337 | 0.00083633
15 | 1 | 0 | -0.14505 | -0.036481
16 | 0.99849 | -0.010411 | 0.016068 | 0.0040271
17 | 0.99552 | -0.030921 | 0.0033474 | 0.00083894
18 | 0.99442 | -0.038545 | 0 | 0
19 | 0.98245 | -0.12243 | 0 | 0
20 | 0.98087 | -0.13364 | 0 | 0
21 | 0.9924 | -0.052557 | 0.0016004 | 0.00040111
22 | 0.99284 | -0.049536 | 0.0033145 | 0.00083069
23 | 0.99097 | -0.062562 | 0.0024327 | 0.00060969
24 | 0.99379 | -0.042937 | 0.0034095 | 0.00085451
25 | 0.98929 | -0.074248 | 0 | 0
26 | 0.97742 | -0.15818 | 0.0025078 | 0.0006285
27 | 0.98825 | -0.081556 | 0.0039401 | 0.00098749
28 | 0.98844 | -0.080241 | 0.0065728 | 0.0016473
29 | 0.9869 | -0.091059 | 0 | 0
30 | 0.98485 | -0.10544 | 0 | 0
31 | 0.98463 | -0.10698 | 0.003464 | 0.00086817
32 | 0.98481 | -0.10574 | 0.0014217 | 0.00035632
33 | 0.98319 | -0.11717 | 0.002787 | 0.00069848
34 | 0.98078 | -0.13432 | 0.002295 | 0.00057519
35 | 0.9807 | -0.13483 | 0.0031457 | 0.00078838
36 | 0.9806 | -0.13559 | 0.0048113 | 0.0012058
37 | 0.97233 | -0.19467 | 0.0023905 | 0.00059912
38 | 0.97187 | -0.19802 | 0.0040857 | 0.001024
39 | 0.97181 | -0.19844 | 0.0049927 | 0.0012513
40 | 0.97174 | -0.1989 | 0 | 0
41 | 0.97171 | -0.19913 | 0.0017606 | 0.00044125
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.045079 | 0.01131 | -0.045048 | -0.011299 | 3.0837e-05 | 1.173e-05 | 0.068762 | 0.068762 | 0.068762 | 0.97559 | -0.17129 | 0.9749 | -0.17622 | 25.4672
1 | -0.061581 | -0.015446 | 0.061751 | 0.015511 | 0.00017057 | 6.5215e-05 | 0.093931 | 0.093931 | 0.093931 | 0.97559 | -0.17129 | 0.97838 | -0.15137 | 34.7891
2 | 0.038674 | 0.0097011 | -0.038635 | -0.0096864 | 3.8811e-05 | 1.4705e-05 | 0.059032 | 0.059032 | 0.059032 | 0.9749 | -0.17622 | 0.97389 | -0.18346 | 21.8637
3 | 0.01543 | 0.0038674 | -0.015421 | -0.0038641 | 9.2912e-06 | 3.2342e-06 | 0.023468 | 0.023468 | 0.023468 | 0.97838 | -0.15137 | 0.97777 | -0.15572 | 8.6917
4 | -0.077181 | -0.019379 | 0.077353 | 0.019442 | 0.00017167 | 6.3765e-05 | 0.1174 | 0.1174 | 0.1174 | 0.97838 | -0.15137 | 0.98062 | -0.13539 | 14.4936
5 | 0.016574 | 0.0041541 | -0.016572 | -0.0041532 | 2.5165e-06 | 8.8965e-07 | 0.025324 | 0.025324 | 0.025324 | 0.97389 | -0.18346 | 0.97374 | -0.18456 | 9.3792
6 | 0.022061 | 0.0055323 | -0.02204 | -0.0055247 | 2.0654e-05 | 7.5818e-06 | 0.033708 | 0.033708 | 0.033708 | 0.97389 | -0.18346 | 0.97295 | -0.19022 | 12.4846
7 | 0.0048355 | 0.0012113 | -0.0048348 | -0.0012112 | 7.2251e-07 | 9.7488e-09 | 0.0073587 | 0.0073588 | 0.0073588 | 0.97777 | -0.15572 | 0.97762 | -0.1568 | 2.7255
8 | -0.077353 | -0.019442 | 0.077423 | 0.019468 | 6.9637e-05 | 2.5863e-05 | 0.1174 | 0.1174 | 0.1174 | 0.98062 | -0.13539 | 0.98153 | -0.12893 | 14.4935
9 | 0.008333 | 0.0020885 | -0.0083308 | -0.0020879 | 2.1156e-06 | 5.5369e-07 | 0.012734 | 0.012734 | 0.012734 | 0.97374 | -0.18456 | 0.97348 | -0.18639 | 4.7163
10 | 0.016375 | 0.0041049 | -0.016365 | -0.0041014 | 9.9959e-06 | 3.5276e-06 | 0.025044 | 0.025044 | 0.025044 | 0.97295 | -0.19022 | 0.97234 | -0.19463 | 9.2757
11 | 0.0048348 | 0.0012112 | -0.0048345 | -0.0012112 | 3.0302e-07 | 4.1154e-09 | 0.0073588 | 0.0073589 | 0.0073589 | 0.97762 | -0.1568 | 0.97755 | -0.15725 | 2.7255
12 | -0.091022 | -0.022877 | 0.091034 | 0.022881 | 1.2105e-05 | 4.5399e-06 | 0.13801 | 0.13801 | 0.13801 | 0.98153 | -0.12893 | 0.98167 | -0.12798 | 17.0387
13 | 0.013599 | 0.0034084 | -0.013593 | -0.0034064 | 5.9221e-06 | 1.9956e-06 | 0.020617 | 0.020617 | 0.020617 | 0.98153 | -0.12893 | 0.98109 | -0.13208 | 7.6358
14 | 0.013235 | 0.0033169 | -0.013235 | -0.0033169 | 6.4847e-08 | 2.1799e-08 | 0.020254 | 0.020254 | 0.020254 | 0.97234 | -0.19463 | 0.97233 | -0.19467 | 7.5016
15 | 0.0025081 | 0.00062818 | -0.0025078 | -0.0006285 | 3.2293e-07 | -3.209e-07 | 0.0038176 | 0.0038178 | 0.0038178 | 0.97755 | -0.15725 | 0.97742 | -0.15818 | 1.414
16 | -0.093841 | -0.023585 | 0.093914 | 0.023612 | 7.2475e-05 | 2.7222e-05 | 0.14227 | 0.14227 | 0.14227 | 0.98167 | -0.12798 | 0.98245 | -0.12243 | 17.564
17 | 0.010256 | 0.0025701 | -0.010254 | -0.0025694 | 2.2168e-06 | 6.6725e-07 | 0.015555 | 0.015556 | 0.015556 | 0.98109 | -0.13208 | 0.98087 | -0.13364 | 5.7613
18 | 0.14425 | 0.036481 | -0.14404 | -0.036401 | 0.0002114 | 8.0443e-05 | 0.21477 | 0.21477 | 0.21477 | 1 | 0 | 0.99849 | -0.010411 | 26.5146
19 | 0.12797 | 0.032374 | -0.1276 | -0.032234 | 0.00036919 | 0.00014009 | 0.19082 | 0.19082 | 0.19082 | 0.99849 | -0.010411 | 0.99552 | -0.030921 | 23.5583
20 | 0.12426 | 0.031395 | -0.12412 | -0.031344 | 0.00013314 | 5.0486e-05 | 0.18582 | 0.18582 | 0.18582 | 0.99552 | -0.030921 | 0.99442 | -0.038545 | 22.9406
21 | 0.12412 | 0.031344 | -0.12405 | -0.031315 | 7.6576e-05 | 2.9038e-05 | 0.18582 | 0.18582 | 0.18582 | 0.99442 | -0.038545 | 0.99379 | -0.042937 | 22.9407
22 | -0.093914 | -0.023612 | 0.093982 | 0.023638 | 6.8909e-05 | 2.5881e-05 | 0.14227 | 0.14227 | 0.14227 | 0.98245 | -0.12243 | 0.98319 | -0.11717 | 17.564
23 | 0.0022952 | 0.00057491 | -0.002295 | -0.00057519 | 2.1434e-07 | -2.7514e-07 | 0.0034818 | 0.003482 | 0.003482 | 0.98087 | -0.13364 | 0.98078 | -0.13432 | 1.2896
24 | 0.0079588 | 0.0019945 | -0.0079574 | -0.0019942 | 1.3131e-06 | 3.2285e-07 | 0.012074 | 0.012074 | 0.012074 | 0.98087 | -0.13364 | 0.9807 | -0.13483 | 4.4718
25 | -0.11716 | -0.029569 | 0.11721 | 0.029588 | 4.9715e-05 | 1.8821e-05 | 0.17575 | 0.17575 | 0.17575 | 0.9924 | -0.052557 | 0.99284 | -0.049536 | 21.6972
26 | 0.11556 | 0.029168 | -0.1154 | -0.029106 | 0.00016211 | 6.1347e-05 | 0.17335 | 0.17335 | 0.17335 | 0.9924 | -0.052557 | 0.99097 | -0.062562 | 21.4009
27 | -0.12053 | -0.030418 | 0.12064 | 0.030461 | 0.00011178 | 4.2352e-05 | 0.18071 | 0.18071 | 0.18071 | 0.99284 | -0.049536 | 0.99379 | -0.042937 | 22.3104
28 | 0.11297 | 0.028497 | -0.11278 | -0.028427 | 0.00018485 | 6.9907e-05 | 0.16969 | 0.1697 | 0.1697 | 0.99097 | -0.062562 | 0.98929 | -0.074248 | 20.95
29 | 0.11278 | 0.028427 | -0.11269 | -0.028391 | 9.4568e-05 | 3.5765e-05 | 0.1697 | 0.1697 | 0.1697 | 0.98929 | -0.074248 | 0.98844 | -0.080241 | 20.95
30 | -0.1061 | -0.026736 | 0.10611 | 0.026744 | 1.9526e-05 | 7.3688e-06 | 0.1598 | 0.1598 | 0.1598 | 0.98825 | -0.081556 | 0.98844 | -0.080241 | 19.7285
31 | 0.10216 | 0.025749 | -0.10202 | -0.025698 | 0.00013575 | 5.1154e-05 | 0.15387 | 0.15387 | 0.15387 | 0.98825 | -0.081556 | 0.9869 | -0.091059 | 18.9961
32 | 0.10202 | 0.025698 | -0.10181 | -0.025621 | 0.0002048 | 7.7177e-05 | 0.15387 | 0.15387 | 0.15387 | 0.9869 | -0.091059 | 0.98485 | -0.10544 | 18.9961
33 | 0.10039 | 0.025265 | -0.10037 | -0.025256 | 2.155e-05 | 8.1165e-06 | 0.15172 | 0.15172 | 0.15172 | 0.98485 | -0.10544 | 0.98463 | -0.10698 | 18.731
34 | 0.0014218 | 0.00035608 | -0.0014217 | -0.00035632 | 5.9035e-08 | -2.3816e-07 | 0.0021481 | 0.0021482 | 0.0021482 | 0.98485 | -0.10544 | 0.98481 | -0.10574 | 0.79563
35 | 0.096907 | 0.024388 | -0.096769 | -0.024336 | 0.00013767 | 5.1775e-05 | 0.14649 | 0.14649 | 0.14649 | 0.98463 | -0.10698 | 0.98319 | -0.11717 | 18.0847
36 | 0.0048118 | 0.0012058 | -0.0048113 | -0.0012058 | 5.0523e-07 | 2.6754e-09 | 0.0073008 | 0.0073009 | 0.0073009 | 0.9807 | -0.13483 | 0.9806 | -0.13559 | 2.704
37 | 0.010845 | 0.0027178 | -0.01084 | -0.0027162 | 5.0229e-06 | 1.5696e-06 | 0.016596 | 0.016596 | 0.016596 | 0.97233 | -0.19467 | 0.97187 | -0.19802 | 6.1467
38 | 0.0067539 | 0.0016922 | -0.0067535 | -0.0016921 | 3.9147e-07 | 7.7869e-08 | 0.010341 | 0.010341 | 0.010341 | 0.97187 | -0.19802 | 0.97181 | -0.19844 | 3.8299
39 | 0.0017608 | 0.00044086 | -0.0017607 | -0.00044113 | 1.1407e-07 | -2.6771e-07 | 0.0026959 | 0.0026961 | 0.0026961 | 0.97181 | -0.19844 | 0.97174 | -0.1989 | 0.99854
40 | 0.0017607 | 0.00044113 | -0.0017606 | -0.00044125 | 5.5084e-08 | -1.2926e-07 | 0.0026961 | 0.0026961 | 0.0026961 | 0.97174 | -0.1989 | 0.97171 | -0.19913 | 0.99856

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17053 | 0.042866

## res_load
| p_mw | q_mvar
0 | 0.016502 | 0.0041357
1 | 0.0063746 | 0.0015976
2 | 0.010585 | 0.0026529
3 | 0.0082385 | 0.0020648
4 | 0.005665 | 0.0014198
5 | 0.0083308 | 0.0020879
6 | 0.00313 | 0.00078446
7 | 0.0023264 | 0.00058306
8 | 0.0028072 | 0.00070356
9 | 0.003337 | 0.00083633
10 | 0.025474 | 0.0063843
11 | 0.016068 | 0.0040271
12 | 0.0033474 | 0.00083894
13 | 0.0016004 | 0.00040111
14 | 0.0033145 | 0.00083069
15 | 0.0024327 | 0.00060969
16 | 0.0034095 | 0.00085451
17 | 0.0025078 | 0.0006285
18 | 0.0039401 | 0.00098749
19 | 0.0065728 | 0.0016473
20 | 0.003464 | 0.00086817
21 | 0.0014217 | 0.00035632
22 | 0.002787 | 0.00069848
23 | 0.002295 | 0.00057519
24 | 0.0031457 | 0.00078838
25 | 0.0048113 | 0.0012058
26 | 0.0023905 | 0.00059912
27 | 0.0040857 | 0.001024
28 | 0.0049927 | 0.0012513
29 | 0.0017606 | 0.00044125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1