## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2284-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2284-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2284-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2284-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2284-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2284-1_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_2284-1_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2284-1_0_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_2284-1_0_4_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_2284-1_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2284-1_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2284-1_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2284-1_0_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_2284-1_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2284-1_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2284-1_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2284-1_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2284-1_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2284-1_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2284-1_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_2284-1_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2284-1_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_2284-1_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2284-1_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2284-1_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_2284-1_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_2284-1_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2284-1_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_2284-1_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_2284-1_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2284-1_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2284-1_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2284-1_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2284-1_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2284-1_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_2284-1_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2284-1_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2284-1_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2284-1_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_2284-1_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2284-1_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_2284-1_0_4_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_2284-1_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_2284-1_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_2284-1_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2284-1_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_2284-1_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_2284-1_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_2284-1_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2284-1_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_2284-1_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_2284-1_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2284-1_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_2284-1_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2284-1_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2284-1_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_MV_379_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-1_0_4_load_0 | 0 | 0.0041881 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-1_0_4_load_1 | 1 | 0.0066555 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-1_0_4_load_3 | 3 | 0.0061704 | 0.0015464 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-1_0_4_load_4 | 4 | 0.0019378 | 0.00048567 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-1_0_4_load_5 | 5 | 0.0038164 | 0.00095648 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-1_0_4_load_40 | 8 | 0.0073543 | 0.0018432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-1_0_4_load_43 | 9 | 0.0038115 | 0.00095525 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-1_0_4_load_22 | 10 | 0.0041199 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-1_0_4_load_15 | 11 | 0.0052025 | 0.0013039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-1_0_4_load_11 | 12 | 0.0029735 | 0.00074523 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-1_0_4_load_41 | 13 | 0.010329 | 0.0025886 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-1_0_4_load_6 | 14 | 0.0090519 | 0.0022686 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-1_0_4_load_7 | 15 | 0.0037983 | 0.00095194 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-1_0_4_load_8 | 16 | 0.0044491 | 0.0011151 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-1_0_4_load_9 | 17 | 0.006112 | 0.0015318 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-1_0_4_load_10 | 18 | 0.0039249 | 0.00098368 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-1_0_4_load_54 | 19 | 0.00375 | 0.00093983 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-1_0_4_load_55 | 20 | 0.0051548 | 0.0012919 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-1_0_4_load_27 | 21 | 0.0040379 | 0.001012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-1_0_4_load_33 | 22 | 0.0017228 | 0.00043176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-1_0_4_load_25 | 23 | 0.0088961 | 0.0022296 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-1_0_4_load_51 | 24 | 0.0056023 | 0.0014041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-1_0_4_load_12 | 26 | 0.0096683 | 0.0024231 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-1_0_4_load_14 | 27 | 0.0072696 | 0.0018219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-1_0_4_load_30 | 28 | 0.0040403 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-1_0_4_load_29 | 29 | 0.0019229 | 0.00048193 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2284-1_0_4_load_16 | 30 | 0.0052945 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2284-1_0_4_load_17 | 31 | 0.0027054 | 0.00067803 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2284-1_0_4_load_18 | 32 | 0.0037028 | 0.00092801 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2284-1_0_4_load_19 | 33 | 0.0031194 | 0.00078179 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2284-1_0_4_load_20 | 34 | 0.0051334 | 0.0012866 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2284-1_0_4_load_21 | 35 | 0.0021088 | 0.00052852 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2284-1_0_4_load_36 | 36 | 0.002394 | 0.0006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2284-1_0_4_load_37 | 37 | 0.0039837 | 0.00099841 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2284-1_0_4_load_24 | 38 | 0.0014083 | 0.00035296 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2284-1_0_4_load_26 | 39 | 0.0039532 | 0.00099076 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2284-1_0_4_load_28 | 40 | 0.0069711 | 0.0017471 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2284-1_0_4_load_48 | 41 | 0.0055709 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2284-1_0_4_load_49 | 42 | 0.0027319 | 0.00068468 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2284-1_0_4_load_50 | 43 | 0.0059264 | 0.0014853 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2284-1_0_4_load_52 | 44 | 0.0031329 | 0.00078518 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2284-1_0_4_load_42 | 45 | 0.00083889 | 0.00021025 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2284-1_0_4_load_53 | 46 | 0.0019718 | 0.00049419 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2284-1_0_4_load_46 | 47 | 0.0019576 | 0.00049062 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2284-1_0_4_load_47 | 48 | 0.0019639 | 0.0004922 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2284-1_0_4_load_31 | 49 | 0.0017531 | 0.00043936 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2284-1_0_4_load_32 | 50 | 0.0033445 | 0.0008382 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2284-1_0_4_load_44 | 52 | 0.0033028 | 0.00082776 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2284-1_0_4_load_38 | 53 | 0.00313 | 0.00078446 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2284-1_0_4_load_39 | 54 | 0.0012777 | 0.00032022 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2284-1_0_4_load_45 | 55 | 0.0028099 | 0.00070423 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2284-1_0_4_load_56 | 56 | 0.00066959 | 0.00016781 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_2284-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_2284-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.026167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_2284-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.05296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2284-1_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.040336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2284-1_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0081223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_2284-1_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.02913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2284-1_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.027697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2284-1_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.013148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2284-1_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0089862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2284-1_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.019679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_2284-1_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.017907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2284-1_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0096185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2284-1_0_4_line_13 | NAYY 4x150 SE | 10 | 35 | 0.013899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_2284-1_0_4_line_14 | NAYY 4x150 SE | 11 | 28 | 0.036536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_2284-1_0_4_line_15 | NAYY 4x150 SE | 12 | 26 | 0.016908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2284-1_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.04248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2284-1_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.039502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_2284-1_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0036613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_2284-1_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.039906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2284-1_0_4_line_20 | NAYY 4x150 SE | 17 | 21 | 0.022076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2284-1_0_4_line_21 | NAYY 4x150 SE | 18 | 22 | 0.047001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_2284-1_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.035524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2284-1_0_4_line_23 | NAYY 4x150 SE | 20 | 24 | 0.009681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2284-1_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.011692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2284-1_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.033177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_2284-1_0_4_line_26 | NAYY 4x150 SE | 23 | 38 | 0.0012371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2284-1_0_4_line_27 | NAYY 4x150 SE | 24 | 42 | 0.021811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2284-1_0_4_line_28 | NAYY 4x150 SE | 25 | 51 | 0.036057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2284-1_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.017176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2284-1_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0044059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_2284-1_0_4_line_31 | NAYY 4x150 SE | 29 | 49 | 0.025698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_2284-1_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.025996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_2284-1_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0013522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_2284-1_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0070365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_2284-1_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.023722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2284-1_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.021179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2284-1_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.030156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2284-1_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.046055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_2284-1_0_4_line_39 | NAYY 4x150 SE | 37 | 53 | 0.02436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2284-1_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.043432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2284-1_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.011605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2284-1_0_4_line_42 | NAYY 4x150 SE | 40 | 45 | 0.00099476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2284-1_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0099695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2284-1_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0063763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2284-1_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.026406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2284-1_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0085064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2284-1_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.068617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2284-1_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.019051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2284-1_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.022371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2284-1_0_4_line_50 | NAYY 4x150 SE | 47 | 55 | 0.0076339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2284-1_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.011988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_2284-1_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.03105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_2284-1_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.055661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2284-1_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.024674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2284-1_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.13374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-1_0_4_trafo_9 | 0.25 MVA 20/0.4 kV | 57 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2572857.2409 | 1200392.6927 | 2572885.8594 | 1200406.4052
1 | 2572826.1128 | 1200377.7777 | 2572857.2409 | 1200392.6927
2 | 2572885.8594 | 1200406.4052 | 2572909.4575 | 1200417.7121
3 | 2572826.1128 | 1200377.7777 | 2572776.0685 | 1200360.4489
4 | 2572826.1128 | 1200377.7777 | 2572844.6955 | 1200369.6997 | 2572856.2834 | 1200358.4518 | 2572859.5986 | 1200356.3528
5 | 2572916.7823 | 1200421.2218 | 2572909.4575 | 1200417.7121
6 | 2572748.5425 | 1200350.9175 | 2572776.0685 | 1200360.4489
7 | 2572859.5986 | 1200356.3528 | 2572863.4108 | 1200353.9391 | 2572885.6314 | 1200347.3231 | 2572885.6314 | 1200347.3231
8 | 2572916.7823 | 1200421.2218 | 2572928.5153 | 1200427.1557
9 | 2572916.7823 | 1200421.2218 | 2572909.7206 | 1200426.7792 | 2572909.7206 | 1200426.7792
10 | 2572748.5425 | 1200350.9175 | 2572730.1449 | 1200343.9331
11 | 2572748.5425 | 1200350.9175 | 2572756.4924 | 1200334.8723 | 2572756.4924 | 1200334.8723
12 | 2572895.2276 | 1200346.668 | 2572885.6314 | 1200347.3231
13 | 2572909.7206 | 1200426.7792 | 2572895.8893 | 1200425.411
14 | 2572697.2445 | 1200328.0806 | 2572726.7257 | 1200342.635 | 2572730.1449 | 1200343.9331
15 | 2572772.8665 | 1200339.088 | 2572756.4924 | 1200334.8723
16 | 2572787.9387 | 1200265.5109 | 2572830.2922 | 1200268.7906
17 | 2572787.9387 | 1200265.5109 | 2572748.5544 | 1200262.4612
18 | 2572830.2922 | 1200268.7906 | 2572833.9425 | 1200269.0732
19 | 2572708.7631 | 1200259.4401 | 2572735.2297 | 1200261.4294 | 2572748.5544 | 1200262.4612
20 | 2572855.9934 | 1200269.5687 | 2572842.0546 | 1200269.7014 | 2572833.9425 | 1200269.0732
21 | 2572662.3578 | 1200252.2871 | 2572697.0327 | 1200258.5584 | 2572708.7631 | 1200259.4401
22 | 2572805.8246 | 1200173.2354 | 2572841.1989 | 1200176.494
23 | 2572841.1989 | 1200176.494 | 2572850.839 | 1200177.382
24 | 2572855.9934 | 1200269.5687 | 2572867.6844 | 1200269.4575
25 | 2572629.6623 | 1200250.1964 | 2572641.0424 | 1200248.432 | 2572662.3578 | 1200252.2871
26 | 2572867.6844 | 1200269.4575 | 2572868.9214 | 1200269.4457
27 | 2572872.5579 | 1200179.3826 | 2572850.839 | 1200177.382
28 | 2572642.2183 | 1200283.9905 | 2572638.644 | 1200273.1677 | 2572629.6623 | 1200250.1964
29 | 2572789.5003 | 1200343.3705 | 2572772.8665 | 1200339.088
30 | 2572693.2938 | 1200326.1302 | 2572697.2445 | 1200328.0806
31 | 2572693.2938 | 1200326.1302 | 2572670.2509 | 1200314.7543
32 | 2572841.9413 | 1200420.0743 | 2572867.8106 | 1200422.6333
33 | 2572840.5956 | 1200419.9412 | 2572841.9413 | 1200420.0743
34 | 2572874.8129 | 1200423.326 | 2572867.8106 | 1200422.6333
35 | 2572816.9892 | 1200417.6059 | 2572840.5956 | 1200419.9412
36 | 2572874.8129 | 1200423.326 | 2572895.8893 | 1200425.411
37 | 2572786.9798 | 1200414.6373 | 2572816.9892 | 1200417.6059
38 | 2572786.9798 | 1200414.6373 | 2572752.4496 | 1200411.2215 | 2572741.0945 | 1200411.0666
39 | 2572716.7372 | 1200410.7342 | 2572741.0945 | 1200411.0666
40 | 2572912.3513 | 1200269.0323 | 2572868.9214 | 1200269.4457
41 | 2572923.9554 | 1200268.9219 | 2572912.3513 | 1200269.0323
42 | 2572924.9501 | 1200268.9124 | 2572923.9554 | 1200268.9219
43 | 2572882.4854 | 1200180.2971 | 2572872.5579 | 1200179.3826
44 | 2572882.4854 | 1200180.2971 | 2572887.3619 | 1200180.7463 | 2572888.7878 | 1200181.1397
45 | 2572888.7878 | 1200181.1397 | 2572911.3029 | 1200187.3521 | 2572914.0718 | 1200188.6311
46 | 2572921.7941 | 1200192.1983 | 2572914.0718 | 1200188.6311
47 | 2572924.9501 | 1200268.9124 | 2572959.3973 | 1200209.5684
48 | 2572921.7941 | 1200192.1983 | 2572939.0887 | 1200200.1872
49 | 2572959.3973 | 1200209.5684 | 2572939.0887 | 1200200.1872
50 | 2572966.3276 | 1200212.7697 | 2572959.3973 | 1200209.5684
51 | 2572670.2509 | 1200314.7543 | 2572659.5011 | 1200309.4473
52 | 2572642.2183 | 1200283.9905 | 2572650.9723 | 1200300.5149 | 2572659.5011 | 1200309.4473 | 2572659.5011 | 1200309.4473
53 | 2572642.2183 | 1200283.9905 | 2572586.8974 | 1200290.1311
54 | 2572716.7372 | 1200410.7342 | 2572692.0656 | 1200410.3976
55 | 2572966.3276 | 1200212.7697 | 2573084.5232 | 1200150.1975

## bus_geodata
| x | y | coords
0 | 2572857.2409 | 1200392.6927
1 | 2572885.8594 | 1200406.4052
2 | 2572826.1128 | 1200377.7777
3 | 2572909.4575 | 1200417.7121
4 | 2572776.0685 | 1200360.4489
5 | 2572859.5986 | 1200356.3528
6 | 2572916.7823 | 1200421.2218
7 | 2572748.5425 | 1200350.9175
8 | 2572885.6314 | 1200347.3231
9 | 2572928.5153 | 1200427.1557
10 | 2572909.7206 | 1200426.7792
11 | 2572730.1449 | 1200343.9331
12 | 2572756.4924 | 1200334.8723
13 | 2572895.2276 | 1200346.668
14 | 2572787.9387 | 1200265.5109
15 | 2572830.2922 | 1200268.7906
16 | 2572748.5544 | 1200262.4612
17 | 2572833.9425 | 1200269.0732
18 | 2572708.7631 | 1200259.4401
19 | 2572805.8246 | 1200173.2354
20 | 2572841.1989 | 1200176.494
21 | 2572855.9934 | 1200269.5687
22 | 2572662.3578 | 1200252.2871
23 | 2572867.6844 | 1200269.4575
24 | 2572850.839 | 1200177.382
25 | 2572629.6623 | 1200250.1964
26 | 2572772.8665 | 1200339.088
27 | 2572789.5003 | 1200343.3705
28 | 2572697.2445 | 1200328.0806
29 | 2572693.2938 | 1200326.1302
30 | 2572841.9413 | 1200420.0743
31 | 2572867.8106 | 1200422.6333
32 | 2572840.5956 | 1200419.9412
33 | 2572874.8129 | 1200423.326
34 | 2572816.9892 | 1200417.6059
35 | 2572895.8893 | 1200425.411
36 | 2572786.9798 | 1200414.6373
37 | 2572741.0945 | 1200411.0666
38 | 2572868.9214 | 1200269.4457
39 | 2572912.3513 | 1200269.0323
40 | 2572923.9554 | 1200268.9219
41 | 2572882.4854 | 1200180.2971
42 | 2572872.5579 | 1200179.3826
43 | 2572888.7878 | 1200181.1397
44 | 2572914.0718 | 1200188.6311
45 | 2572924.9501 | 1200268.9124
46 | 2572921.7941 | 1200192.1983
47 | 2572959.3973 | 1200209.5684
48 | 2572939.0887 | 1200200.1872
49 | 2572670.2509 | 1200314.7543
50 | 2572659.5011 | 1200309.4473
51 | 2572642.2183 | 1200283.9905
52 | 2572586.8974 | 1200290.1311
53 | 2572716.7372 | 1200410.7342
54 | 2572692.0656 | 1200410.3976
55 | 2572966.3276 | 1200212.7697
56 | 2573084.5232 | 1200150.1975
57 | 2572924.9501 | 1200268.9124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97386 | -0.1834 | 0.0041881 | 0.0010496
1 | 0.97303 | -0.18938 | 0.0066555 | 0.001668
2 | 0.97483 | -0.1764 | 0 | 0
3 | 0.97243 | -0.1937 | 0.0061704 | 0.0015464
4 | 0.97689 | -0.16171 | 0.0019378 | 0.00048567
5 | 0.97356 | -0.18552 | 0.0038164 | 0.00095648
6 | 0.97226 | -0.19487 | 0 | 0
7 | 0.97804 | -0.15346 | 0 | 0
8 | 0.97285 | -0.19068 | 0.0073543 | 0.0018432
9 | 0.97219 | -0.1954 | 0.0038115 | 0.00095525
10 | 0.9721 | -0.19604 | 0.0041199 | 0.0010325
11 | 0.97902 | -0.14653 | 0.0052025 | 0.0013039
12 | 0.97752 | -0.15718 | 0.0029735 | 0.00074523
13 | 0.9727 | -0.19173 | 0.010329 | 0.0025886
14 | 0.99686 | -0.021618 | 0.0090519 | 0.0022686
15 | 0.99974 | -0.0017531 | 0.0037983 | 0.00095194
16 | 0.99434 | -0.038989 | 0.0044491 | 0.0011151
17 | 1 | 0 | -0.21569 | -0.054341
18 | 0.99188 | -0.056025 | 0.0039249 | 0.00098368
19 | 0.98357 | -0.1154 | 0.00375 | 0.00093983
20 | 0.98376 | -0.11403 | 0.0051548 | 0.0012919
21 | 0.99786 | -0.01488 | 0.0040379 | 0.001012
22 | 0.98908 | -0.075569 | 0.0017228 | 0.00043176
23 | 0.99679 | -0.022311 | 0.0088961 | 0.0022296
24 | 0.98389 | -0.11314 | 0.0056023 | 0.0014041
25 | 0.98712 | -0.089235 | 0 | 0
26 | 0.97711 | -0.16017 | 0.0096683 | 0.0024231
27 | 0.97692 | -0.16148 | 0.0072696 | 0.0018219
28 | 0.98091 | -0.13306 | 0.0040403 | 0.0010126
29 | 0.98115 | -0.13137 | 0.0019229 | 0.00048193
30 | 0.97115 | -0.20292 | 0.0052945 | 0.0013269
31 | 0.97146 | -0.20064 | 0.0027054 | 0.00067803
32 | 0.97114 | -0.20302 | 0.0037028 | 0.00092801
33 | 0.97156 | -0.19995 | 0.0031194 | 0.00078179
34 | 0.97095 | -0.20435 | 0.0051334 | 0.0012866
35 | 0.97188 | -0.19765 | 0.0021088 | 0.00052852
36 | 0.97079 | -0.2055 | 0.002394 | 0.0006
37 | 0.9706 | -0.20687 | 0.0039837 | 0.00099841
38 | 0.99669 | -0.022988 | 0.0014083 | 0.00035296
39 | 0.99337 | -0.046211 | 0.0039532 | 0.00099076
40 | 0.99254 | -0.051977 | 0.0069711 | 0.0017471
41 | 0.98459 | -0.10811 | 0.0055709 | 0.0013962
42 | 0.98435 | -0.10988 | 0.0027319 | 0.00068468
43 | 0.9848 | -0.10661 | 0.0059264 | 0.0014853
44 | 0.9859 | -0.098805 | 0.0031329 | 0.00078518
45 | 0.99248 | -0.052402 | 0.00083889 | 0.00021025
46 | 0.9863 | -0.096022 | 0.0019718 | 0.00049419
47 | 0.98839 | -0.081216 | 0.0019576 | 0.00049062
48 | 0.98723 | -0.089412 | 0.0019639 | 0.0004922
49 | 0.98256 | -0.1214 | 0.0017531 | 0.00043936
50 | 0.98322 | -0.11669 | 0.0033445 | 0.0008382
51 | 0.985 | -0.10415 | 0 | 0
52 | 0.98474 | -0.10604 | 0.0033028 | 0.00082776
53 | 0.97055 | -0.20725 | 0.00313 | 0.00078446
54 | 0.9705 | -0.20759 | 0.0012777 | 0.00032022
55 | 0.98835 | -0.081488 | 0.0028099 | 0.00070423
56 | 0.98822 | -0.082412 | 0.00066959 | 0.00016781
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.053727 | 0.013471 | -0.053682 | -0.013455 | 4.4486e-05 | 1.5926e-05 | 0.082095 | 0.082095 | 0.082095 | 0.97386 | -0.1834 | 0.97303 | -0.18938 | 10.1352
1 | -0.057915 | -0.01452 | 0.057971 | 0.014541 | 5.6223e-05 | 2.0335e-05 | 0.088494 | 0.088493 | 0.088494 | 0.97386 | -0.1834 | 0.97483 | -0.1764 | 10.9252
2 | 0.047027 | 0.011787 | -0.046999 | -0.011777 | 2.815e-05 | 9.8525e-06 | 0.071917 | 0.071917 | 0.071917 | 0.97303 | -0.18938 | 0.97243 | -0.1937 | 8.8787
3 | -0.079512 | -0.019944 | 0.079674 | 0.020004 | 0.00016228 | 6.0431e-05 | 0.12138 | 0.12137 | 0.12138 | 0.97483 | -0.1764 | 0.97689 | -0.16171 | 14.9846
4 | 0.021541 | 0.0054032 | -0.021514 | -0.0053932 | 2.7214e-05 | 9.9647e-06 | 0.032882 | 0.032882 | 0.032882 | 0.97483 | -0.1764 | 0.97356 | -0.18552 | 12.1786
5 | 0.040828 | 0.010231 | -0.040822 | -0.010228 | 6.5941e-06 | 2.234e-06 | 0.062475 | 0.062475 | 0.062475 | 0.97243 | -0.1937 | 0.97226 | -0.19487 | 7.713
6 | -0.081612 | -0.02049 | 0.081706 | 0.020525 | 9.3653e-05 | 3.4925e-05 | 0.12433 | 0.12433 | 0.12433 | 0.97689 | -0.16171 | 0.97804 | -0.15346 | 15.3489
7 | 0.017697 | 0.0044368 | -0.017684 | -0.0044322 | 1.2645e-05 | 4.5194e-06 | 0.027049 | 0.027049 | 0.027049 | 0.97356 | -0.18552 | 0.97285 | -0.19068 | 10.0183
8 | 0.0038118 | 0.0009552 | -0.0038115 | -0.00095525 | 2.7922e-07 | -5.5653e-08 | 0.0058338 | 0.0058338 | 0.0058338 | 0.97226 | -0.19487 | 0.97219 | -0.1954 | 2.1607
9 | 0.03701 | 0.0092732 | -0.037004 | -0.0092712 | 5.9967e-06 | 1.9721e-06 | 0.056642 | 0.056642 | 0.056642 | 0.97226 | -0.19487 | 0.9721 | -0.19604 | 6.9928
10 | -0.10164 | -0.025522 | 0.10173 | 0.025559 | 9.7893e-05 | 3.691e-05 | 0.15465 | 0.15465 | 0.15465 | 0.97804 | -0.15346 | 0.97902 | -0.14653 | 19.0924
11 | 0.01993 | 0.0049968 | -0.01992 | -0.0049931 | 1.0274e-05 | 3.7269e-06 | 0.030323 | 0.030323 | 0.030323 | 0.97804 | -0.15346 | 0.97752 | -0.15718 | 11.2306
12 | 0.01033 | 0.0025891 | -0.010329 | -0.0025886 | 1.4984e-06 | 4.5692e-07 | 0.015801 | 0.015801 | 0.015801 | 0.97285 | -0.19068 | 0.9727 | -0.19173 | 5.8521
13 | 0.032884 | 0.0082386 | -0.032877 | -0.0082363 | 7.3247e-06 | 2.3004e-06 | 0.050335 | 0.050335 | 0.050335 | 0.9721 | -0.19604 | 0.97188 | -0.19765 | 6.2143
14 | -0.10694 | -0.026863 | 0.10714 | 0.026938 | 0.00020081 | 7.5853e-05 | 0.16256 | 0.16256 | 0.16256 | 0.97902 | -0.14653 | 0.98091 | -0.13306 | 20.0686
15 | 0.016946 | 0.0042478 | -0.016939 | -0.0042453 | 7.021e-06 | 2.4885e-06 | 0.025796 | 0.025796 | 0.025796 | 0.97752 | -0.15718 | 0.97711 | -0.16017 | 9.5542
16 | -0.14258 | -0.03607 | 0.14298 | 0.036223 | 0.0004007 | 0.00015245 | 0.21295 | 0.21295 | 0.21295 | 0.99686 | -0.021618 | 0.99974 | -0.0017531 | 26.2906
17 | 0.13353 | 0.033801 | -0.1332 | -0.033677 | 0.00032683 | 0.00012416 | 0.19944 | 0.19944 | 0.19944 | 0.99686 | -0.021618 | 0.99434 | -0.038989 | 24.6225
18 | -0.14678 | -0.037174 | 0.14682 | 0.037188 | 3.6393e-05 | 1.3853e-05 | 0.21861 | 0.21861 | 0.21861 | 0.99974 | -0.0017531 | 1 | 0 | 26.9884
19 | 0.12876 | 0.032562 | -0.12845 | -0.032445 | 0.00030849 | 0.0001171 | 0.19278 | 0.19278 | 0.19278 | 0.99434 | -0.038989 | 0.99188 | -0.056025 | 23.8006
20 | 0.068075 | 0.017153 | -0.067933 | -0.017099 | 0.00014144 | 5.411e-05 | 0.10133 | 0.10133 | 0.10133 | 1 | 0 | 0.99786 | -0.01488 | 37.5292
21 | 0.12452 | 0.031461 | -0.12418 | -0.031332 | 0.00034149 | 0.00012953 | 0.1869 | 0.1869 | 0.1869 | 0.99188 | -0.056025 | 0.98908 | -0.075569 | 23.0737
22 | -0.00375 | -0.00093983 | 0.0037507 | 0.00093965 | 7.1344e-07 | -1.7655e-07 | 0.0056732 | 0.0056731 | 0.0056732 | 0.98357 | -0.1154 | 0.98376 | -0.11403 | 2.1012
23 | -0.0089055 | -0.0022316 | 0.0089065 | 0.0022319 | 1.0961e-06 | 2.9864e-07 | 0.01347 | 0.01347 | 0.01347 | 0.98376 | -0.11403 | 0.98389 | -0.11314 | 4.9889
24 | 0.063896 | 0.016087 | -0.063829 | -0.016061 | 6.6269e-05 | 2.5336e-05 | 0.095308 | 0.095308 | 0.095308 | 0.99786 | -0.01488 | 0.99679 | -0.022311 | 35.2991
25 | 0.12246 | 0.0309 | -0.12222 | -0.030811 | 0.00023441 | 8.8884e-05 | 0.18431 | 0.18431 | 0.18431 | 0.98908 | -0.075569 | 0.98712 | -0.089235 | 22.7538
26 | 0.054933 | 0.013832 | -0.054928 | -0.01383 | 5.1939e-06 | 1.9815e-06 | 0.082027 | 0.082027 | 0.082027 | 0.99679 | -0.022311 | 0.99669 | -0.022988 | 30.3805
27 | -0.014509 | -0.0036359 | 0.014515 | 0.0036382 | 6.553e-06 | 2.2433e-06 | 0.021943 | 0.021943 | 0.021943 | 0.98389 | -0.11314 | 0.98435 | -0.10988 | 8.127
28 | 0.12222 | 0.030811 | -0.12197 | -0.030715 | 0.00025476 | 9.6605e-05 | 0.18431 | 0.18431 | 0.18431 | 0.98712 | -0.089235 | 0.985 | -0.10415 | 22.7539
29 | 0.0072709 | 0.0018222 | -0.0072696 | -0.0018219 | 1.3141e-06 | 2.9032e-07 | 0.011073 | 0.011073 | 0.011073 | 0.97711 | -0.16017 | 0.97692 | -0.16148 | 4.101
30 | -0.11118 | -0.027951 | 0.1112 | 0.027961 | 2.6076e-05 | 9.8624e-06 | 0.16868 | 0.16868 | 0.16868 | 0.98091 | -0.13306 | 0.98115 | -0.13137 | 20.8252
31 | -0.11313 | -0.028443 | 0.11328 | 0.028502 | 0.0001574 | 5.9563e-05 | 0.1716 | 0.1716 | 0.1716 | 0.98115 | -0.13137 | 0.98256 | -0.1214 | 21.1852
32 | -0.024923 | -0.0062422 | 0.024931 | 0.0062443 | 7.8844e-06 | 2.0672e-06 | 0.038186 | 0.038186 | 0.038186 | 0.97115 | -0.20292 | 0.97146 | -0.20064 | 4.7143
33 | 0.019628 | 0.0049153 | -0.019628 | -0.0049152 | 2.5438e-07 | 4.7646e-08 | 0.030074 | 0.030074 | 0.030074 | 0.97115 | -0.20292 | 0.97114 | -0.20302 | 3.7128
34 | -0.027636 | -0.0069223 | 0.027639 | 0.0069231 | 2.6224e-06 | 7.4724e-07 | 0.04233 | 0.042329 | 0.04233 | 0.97146 | -0.20064 | 0.97156 | -0.19995 | 5.2259
35 | 0.015925 | 0.0039872 | -0.015922 | -0.003987 | 2.9376e-06 | 2.4952e-07 | 0.0244 | 0.0244 | 0.0244 | 0.97114 | -0.20302 | 0.97095 | -0.20435 | 3.0124
36 | -0.030758 | -0.0077049 | 0.030768 | 0.0077078 | 9.7756e-06 | 2.9728e-06 | 0.047107 | 0.047107 | 0.047107 | 0.97156 | -0.19995 | 0.97188 | -0.19765 | 5.8157
37 | 0.010789 | 0.0027004 | -0.010787 | -0.0027009 | 1.7146e-06 | -4.5927e-07 | 0.016533 | 0.016534 | 0.016534 | 0.97095 | -0.20435 | 0.97079 | -0.2055 | 2.0412
38 | 0.0083933 | 0.0021009 | -0.0083917 | -0.002102 | 1.5854e-06 | -1.0982e-06 | 0.012864 | 0.012865 | 0.012865 | 0.97079 | -0.2055 | 0.9706 | -0.20687 | 1.5883
39 | 0.004408 | 0.0011036 | -0.0044078 | -0.0011044 | 2.3138e-07 | -8.1416e-07 | 0.0067575 | 0.0067578 | 0.0067578 | 0.9706 | -0.20687 | 0.97055 | -0.20725 | 0.8343
40 | 0.05352 | 0.013477 | -0.053347 | -0.013411 | 0.00017312 | 6.6022e-05 | 0.079925 | 0.079925 | 0.079925 | 0.99669 | -0.022988 | 0.99337 | -0.046211 | 29.6019
41 | 0.049393 | 0.01242 | -0.049354 | -0.012405 | 3.9657e-05 | 1.5103e-05 | 0.074003 | 0.074003 | 0.074003 | 0.99337 | -0.046211 | 0.99254 | -0.051977 | 27.4087
42 | 0.042383 | 0.010658 | -0.04238 | -0.010657 | 2.5071e-06 | 9.514e-07 | 0.063552 | 0.063552 | 0.063552 | 0.99254 | -0.051977 | 0.99248 | -0.052402 | 23.5379
43 | 0.017252 | 0.0043244 | -0.017247 | -0.0043229 | 4.2289e-06 | 1.4997e-06 | 0.026072 | 0.026073 | 0.026073 | 0.98459 | -0.10811 | 0.98435 | -0.10988 | 9.6565
44 | -0.022822 | -0.0057206 | 0.022827 | 0.0057223 | 4.7336e-06 | 1.7395e-06 | 0.034492 | 0.034492 | 0.034492 | 0.98459 | -0.10811 | 0.9848 | -0.10661 | 12.7748
45 | -0.028754 | -0.0072076 | 0.028785 | 0.0072192 | 3.1103e-05 | 1.1626e-05 | 0.043447 | 0.043446 | 0.043447 | 0.9848 | -0.10661 | 0.9859 | -0.098805 | 16.0913
46 | -0.031918 | -0.0080044 | 0.03193 | 0.008009 | 1.2319e-05 | 4.6295e-06 | 0.048175 | 0.048175 | 0.048175 | 0.9859 | -0.098805 | 0.9863 | -0.096022 | 17.8425
47 | 0.041541 | 0.010447 | -0.041375 | -0.010384 | 0.00016616 | 6.3024e-05 | 0.062295 | 0.062295 | 0.062295 | 0.99248 | -0.052402 | 0.98839 | -0.081216 | 23.0722
48 | -0.033902 | -0.0085032 | 0.033933 | 0.0085149 | 3.1101e-05 | 1.1719e-05 | 0.05115 | 0.05115 | 0.05115 | 0.9863 | -0.096022 | 0.98723 | -0.089412 | 18.9443
49 | 0.035938 | 0.0090226 | -0.035897 | -0.0090072 | 4.0871e-05 | 1.5433e-05 | 0.05411 | 0.05411 | 0.05411 | 0.98839 | -0.081216 | 0.98723 | -0.089412 | 20.0407
50 | 0.0034797 | 0.00087032 | -0.0034796 | -0.00087037 | 1.307e-07 | -4.7566e-08 | 0.0052381 | 0.0052381 | 0.0052381 | 0.98839 | -0.081216 | 0.98835 | -0.081488 | 1.94
51 | -0.11504 | -0.028942 | 0.11511 | 0.02897 | 7.5717e-05 | 2.8666e-05 | 0.17425 | 0.17425 | 0.17425 | 0.98256 | -0.1214 | 0.98322 | -0.11669 | 21.513
52 | -0.11846 | -0.029809 | 0.11866 | 0.029887 | 0.00020767 | 7.8688e-05 | 0.17932 | 0.17932 | 0.17932 | 0.98322 | -0.11669 | 0.985 | -0.10415 | 22.1378
53 | 0.0033037 | 0.00082739 | -0.0033028 | -0.00082776 | 8.6508e-07 | -3.7558e-07 | 0.0049906 | 0.0049908 | 0.0049908 | 0.985 | -0.10415 | 0.98474 | -0.10604 | 1.8485
54 | 0.0012778 | 0.00031994 | -0.0012777 | -0.00032022 | 5.9085e-08 | -2.8218e-07 | 0.0019589 | 0.001959 | 0.001959 | 0.97055 | -0.20725 | 0.9705 | -0.20759 | 0.72557
55 | 0.00066967 | 0.00016613 | -0.00066959 | -0.00016781 | 8.478e-08 | -1.6811e-06 | 0.0010076 | 0.0010082 | 0.0010082 | 0.98835 | -0.081488 | 0.98822 | -0.082412 | 0.37342

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22181 | 0.055873

## res_load
| p_mw | q_mvar
0 | 0.0041881 | 0.0010496
1 | 0.0066555 | 0.001668
2 | 0.0061704 | 0.0015464
3 | 0.0019378 | 0.00048567
4 | 0.0038164 | 0.00095648
5 | 0.0073543 | 0.0018432
6 | 0.0038115 | 0.00095525
7 | 0.0041199 | 0.0010325
8 | 0.0052025 | 0.0013039
9 | 0.0029735 | 0.00074523
10 | 0.010329 | 0.0025886
11 | 0.0090519 | 0.0022686
12 | 0.0037983 | 0.00095194
13 | 0.0044491 | 0.0011151
14 | 0.006112 | 0.0015318
15 | 0.0039249 | 0.00098368
16 | 0.00375 | 0.00093983
17 | 0.0051548 | 0.0012919
18 | 0.0040379 | 0.001012
19 | 0.0017228 | 0.00043176
20 | 0.0088961 | 0.0022296
21 | 0.0056023 | 0.0014041
22 | 0.0096683 | 0.0024231
23 | 0.0072696 | 0.0018219
24 | 0.0040403 | 0.0010126
25 | 0.0019229 | 0.00048193
26 | 0.0052945 | 0.0013269
27 | 0.0027054 | 0.00067803
28 | 0.0037028 | 0.00092801
29 | 0.0031194 | 0.00078179
30 | 0.0051334 | 0.0012866
31 | 0.0021088 | 0.00052852
32 | 0.002394 | 0.0006
33 | 0.0039837 | 0.00099841
34 | 0.0014083 | 0.00035296
35 | 0.0039532 | 0.00099076
36 | 0.0069711 | 0.0017471
37 | 0.0055709 | 0.0013962
38 | 0.0027319 | 0.00068468
39 | 0.0059264 | 0.0014853
40 | 0.0031329 | 0.00078518
41 | 0.00083889 | 0.00021025
42 | 0.0019718 | 0.00049419
43 | 0.0019576 | 0.00049062
44 | 0.0019639 | 0.0004922
45 | 0.0017531 | 0.00043936
46 | 0.0033445 | 0.0008382
47 | 0.0033028 | 0.00082776
48 | 0.00313 | 0.00078446
49 | 0.0012777 | 0.00032022
50 | 0.0028099 | 0.00070423
51 | 0.00066959 | 0.00016781

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1