## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-23_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2284-23_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2284-23_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2284-23_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2284-23_0_6_node_64 | 0.4 | n |  | TRUE
5 | bus_LV_2284-23_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2284-23_0_6_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_2284-23_0_6_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_2284-23_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2284-23_0_6_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_2284-23_0_6_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_2284-23_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2284-23_0_6_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_2284-23_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2284-23_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2284-23_0_6_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2284-23_0_6_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_2284-23_0_6_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_2284-23_0_6_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_2284-23_0_6_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_2284-23_0_6_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2284-23_0_6_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_2284-23_0_6_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_2284-23_0_6_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_2284-23_0_6_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_2284-23_0_6_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_2284-23_0_6_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_2284-23_0_6_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_2284-23_0_6_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_2284-23_0_6_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_2284-23_0_6_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_2284-23_0_6_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_2284-23_0_6_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_2284-23_0_6_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_2284-23_0_6_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_2284-23_0_6_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_2284-23_0_6_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_2284-23_0_6_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_2284-23_0_6_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_2284-23_0_6_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_2284-23_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_2284-23_0_6_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_2284-23_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2284-23_0_6_node_9 | 0.4 | n |  | TRUE
44 | bus_LV_2284-23_0_6_node_11 | 0.4 | n |  | TRUE
45 | bus_LV_2284-23_0_6_node_12 | 0.4 | n |  | TRUE
46 | bus_LV_2284-23_0_6_node_14 | 0.4 | n |  | TRUE
47 | bus_LV_2284-23_0_6_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_2284-23_0_6_node_13 | 0.4 | n |  | TRUE
49 | bus_LV_2284-23_0_6_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_2284-23_0_6_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_2284-23_0_6_node_15 | 0.4 | n |  | TRUE
52 | bus_LV_2284-23_0_6_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2284-23_0_6_node_16 | 0.4 | n |  | TRUE
54 | bus_LV_2284-23_0_6_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_2284-23_0_6_node_17 | 0.4 | n |  | TRUE
56 | bus_LV_2284-23_0_6_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_2284-23_0_6_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_2284-23_0_6_node_25 | 0.4 | n |  | TRUE
59 | bus_LV_2284-23_0_6_node_26 | 0.4 | n |  | TRUE
60 | bus_LV_2284-23_0_6_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_2284-23_0_6_node_28 | 0.4 | n |  | TRUE
62 | bus_LV_2284-23_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_2284-23_0_6_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_2284-23_0_6_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_2284-23_0_6_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_2284-23_0_6_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_2284-23_0_6_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_2284-23_0_6_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_2284-23_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_2284-23_0_6_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_2284-23_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_2284-23_0_6_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_2284-23_0_6_node_21 | 0.4 | n |  | TRUE
74 | bus_LV_2284-23_0_6_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_2284-23_0_6_node_19 | 0.4 | n |  | TRUE
76 | bus_LV_2284-23_0_6_node_20 | 0.4 | n |  | TRUE
77 | bus_LV_2284-23_0_6_node_22 | 0.4 | n |  | TRUE
78 | bus_LV_2284-23_0_6_node_40 | 0.4 | n |  | TRUE
79 | bus_LV_2284-23_0_6_node_41 | 0.4 | n |  | TRUE
80 | bus_LV_2284-23_0_6_node_29 | 0.4 | n |  | TRUE
81 | bus_LV_2284-23_0_6_node_30 | 0.4 | n |  | TRUE
82 | bus_LV_2284-23_0_6_node_31 | 0.4 | n |  | TRUE
83 | bus_LV_2284-23_0_6_node_44 | 0.4 | n |  | TRUE
84 | bus_LV_2284-23_0_6_node_45 | 0.4 | n |  | TRUE
85 | bus_MV_379_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-23_0_6_load_0 | 0 | 0.00432 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-23_0_6_load_64 | 4 | 0.0053205 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-23_0_6_load_60 | 6 | 0.0019371 | 0.00048548 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-23_0_6_load_63 | 7 | 0.002984 | 0.00074787 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-23_0_6_load_8 | 8 | 0.017331 | 0.0043435 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-23_0_6_load_61 | 9 | 0.0024139 | 0.00060499 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-23_0_6_load_4 | 10 | 0.0035744 | 0.00089584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-23_0_6_load_6 | 13 | 0.0025213 | 0.00063189 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-23_0_6_load_7 | 14 | 0.0024609 | 0.00061675 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-23_0_6_load_57 | 17 | 0.0014305 | 0.00035851 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-23_0_6_load_49 | 19 | 0.0061918 | 0.0015518 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-23_0_6_load_48 | 21 | 0.0031948 | 0.00080069 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-23_0_6_load_66 | 22 | 0.0010958 | 0.00027462 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-23_0_6_load_67 | 23 | 0.00087578 | 0.00021949 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-23_0_6_load_51 | 24 | 0.0050231 | 0.0012589 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-23_0_6_load_52 | 25 | 0.0001966 | 4.9272e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-23_0_6_load_54 | 26 | 0.0002612 | 6.5463e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-23_0_6_load_84 | 27 | 0.00013801 | 3.4589e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-23_0_6_load_59 | 28 | 0.0054109 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-23_0_6_load_58 | 29 | 0.0023119 | 0.00057943 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-23_0_6_load_79 | 34 | 0.0019206 | 0.00048135 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-23_0_6_load_77 | 35 | 0.00070996 | 0.00017793 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-23_0_6_load_83 | 36 | 0.00088552 | 0.00022193 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-23_0_6_load_78 | 37 | 0.00070364 | 0.00017635 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-23_0_6_load_80 | 38 | 0.0093547 | 0.0023445 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-23_0_6_load_82 | 39 | 0.0025331 | 0.00063486 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2284-23_0_6_load_38 | 40 | 0.0025094 | 0.00062892 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2284-23_0_6_load_65 | 41 | 0.0043825 | 0.0010984 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2284-23_0_6_load_39 | 42 | 0.0029786 | 0.00074651 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2284-23_0_6_load_9 | 43 | 0.0018698 | 0.00046861 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2284-23_0_6_load_11 | 44 | 0.0013666 | 0.00034249 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2284-23_0_6_load_23 | 47 | 0.0073341 | 0.0018381 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2284-23_0_6_load_86 | 49 | 0.0036156 | 0.00090614 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2284-23_0_6_load_62 | 50 | 0.00049886 | 0.00012503 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2284-23_0_6_load_68 | 54 | 0.0094474 | 0.0023677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2284-23_0_6_load_85 | 56 | 0.0014622 | 0.00036647 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2284-23_0_6_load_24 | 57 | 0.001172 | 0.00029374 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2284-23_0_6_load_25 | 58 | 0.0039501 | 0.00098999 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2284-23_0_6_load_26 | 59 | 0.0021064 | 0.00052792 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2284-23_0_6_load_46 | 62 | 0.0041342 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2284-23_0_6_load_32 | 64 | 0.00076218 | 0.00019102 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2284-23_0_6_load_35 | 66 | 0.0034511 | 0.00086493 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2284-23_0_6_load_37 | 67 | 0.0018587 | 0.00046584 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2284-23_0_6_load_47 | 68 | 0.0028572 | 0.00071607 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2284-23_0_6_load_42 | 69 | 0.0028561 | 0.00071579 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2284-23_0_6_load_43 | 70 | 0.0055697 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2284-23_0_6_load_71 | 71 | 0.0033484 | 0.0008392 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2284-23_0_6_load_73 | 72 | 0.0023196 | 0.00058135 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2284-23_0_6_load_21 | 73 | 0.0050953 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2284-23_0_6_load_87 | 74 | 0.0014265 | 0.0003575 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2284-23_0_6_load_19 | 75 | 0.007391 | 0.0018524 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2284-23_0_6_load_20 | 76 | 0.0026716 | 0.00066956 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2284-23_0_6_load_22 | 77 | 0.0031763 | 0.00079606 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2284-23_0_6_load_40 | 78 | 0.0026242 | 0.00065769 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2284-23_0_6_load_41 | 79 | 0.0032007 | 0.00080217 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2284-23_0_6_load_29 | 80 | 0.0028158 | 0.00070571 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2284-23_0_6_load_30 | 81 | 0.0033866 | 0.00084875 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2284-23_0_6_load_44 | 83 | 0.0026612 | 0.00066696 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2284-23_0_6_load_45 | 84 | 0.0028139 | 0.00070523 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-23_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2284-23_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.028451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2284-23_0_6_line_2 | NAYY 4x150 SE | 2 | 3 | 0.004623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2284-23_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2284-23_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2284-23_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2284-23_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.030578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2284-23_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.03535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2284-23_0_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.026809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2284-23_0_6_line_9 | NAYY 4x150 SE | 7 | 46 | 0.0081372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2284-23_0_6_line_10 | NAYY 4x150 SE | 8 | 43 | 0.067751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2284-23_0_6_line_11 | NAYY 4x150 SE | 10 | 11 | 0.028515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_2284-23_0_6_line_12 | NAYY 4x150 SE | 10 | 12 | 0.38385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2284-23_0_6_line_13 | NAYY 4x150 SE | 11 | 13 | 0.008514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2284-23_0_6_line_14 | NAYY 4x150 SE | 11 | 14 | 0.012808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2284-23_0_6_line_15 | NAYY 4x150 SE | 12 | 16 | 0.098251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_2284-23_0_6_line_16 | NAYY 4x150 SE | 12 | 24 | 0.087638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2284-23_0_6_line_17 | NAYY 4x150 SE | 13 | 40 | 0.020651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2284-23_0_6_line_18 | NAYY 4x150 SE | 14 | 41 | 0.083331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2284-23_0_6_line_19 | NAYY 4x150 SE | 15 | 16 | 0.061366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2284-23_0_6_line_20 | NAYY 4x150 SE | 15 | 17 | 0.030301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2284-23_0_6_line_21 | NAYY 4x150 SE | 15 | 18 | 0.084944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_2284-23_0_6_line_22 | NAYY 4x150 SE | 16 | 28 | 0.036774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2284-23_0_6_line_23 | NAYY 4x150 SE | 18 | 66 | 0.0064809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_2284-23_0_6_line_24 | NAYY 4x150 SE | 18 | 64 | 0.0019801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_2284-23_0_6_line_25 | NAYY 4x150 SE | 19 | 20 | 0.034433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2284-23_0_6_line_26 | NAYY 4x150 SE | 19 | 21 | 0.049407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2284-23_0_6_line_27 | NAYY 4x150 SE | 20 | 22 | 0.029565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2284-23_0_6_line_28 | NAYY 4x150 SE | 20 | 23 | 0.062636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2284-23_0_6_line_29 | NAYY 4x150 SE | 21 | 68 | 0.0026156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2284-23_0_6_line_30 | NAYY 4x150 SE | 22 | 30 | 0.062956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2284-23_0_6_line_31 | NAYY 4x150 SE | 23 | 31 | 0.058517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2284-23_0_6_line_32 | NAYY 4x150 SE | 24 | 25 | 0.063476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2284-23_0_6_line_33 | NAYY 4x150 SE | 25 | 26 | 0.0041623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2284-23_0_6_line_34 | NAYY 4x150 SE | 26 | 27 | 0.025122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2284-23_0_6_line_35 | NAYY 4x150 SE | 28 | 29 | 0.0060435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2284-23_0_6_line_36 | NAYY 4x150 SE | 30 | 32 | 0.01591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2284-23_0_6_line_37 | NAYY 4x150 SE | 30 | 33 | 0.065727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2284-23_0_6_line_38 | NAYY 4x150 SE | 31 | 38 | 0.062304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2284-23_0_6_line_39 | NAYY 4x150 SE | 32 | 34 | 0.04812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2284-23_0_6_line_40 | NAYY 4x150 SE | 32 | 35 | 0.01012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2284-23_0_6_line_41 | NAYY 4x150 SE | 33 | 36 | 0.027855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2284-23_0_6_line_42 | NAYY 4x150 SE | 34 | 37 | 0.0025142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2284-23_0_6_line_43 | NAYY 4x150 SE | 36 | 39 | 0.026987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2284-23_0_6_line_44 | NAYY 4x150 SE | 40 | 42 | 0.0017897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2284-23_0_6_line_45 | NAYY 4x150 SE | 42 | 45 | 0.049919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2284-23_0_6_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0063893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2284-23_0_6_line_47 | NAYY 4x150 SE | 45 | 46 | 0.059751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2284-23_0_6_line_48 | NAYY 4x150 SE | 45 | 47 | 0.023854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2284-23_0_6_line_49 | NAYY 4x150 SE | 46 | 50 | 0.019499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2284-23_0_6_line_50 | NAYY 4x150 SE | 46 | 48 | 0.11066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2284-23_0_6_line_51 | NAYY 4x150 SE | 47 | 73 | 0.0069795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2284-23_0_6_line_52 | NAYY 4x150 SE | 48 | 49 | 0.068469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2284-23_0_6_line_53 | NAYY 4x150 SE | 50 | 53 | 0.021031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2284-23_0_6_line_54 | NAYY 4x150 SE | 51 | 52 | 0.02512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2284-23_0_6_line_55 | NAYY 4x150 SE | 51 | 53 | 0.019064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2284-23_0_6_line_56 | NAYY 4x150 SE | 51 | 54 | 0.027759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2284-23_0_6_line_57 | NAYY 4x150 SE | 52 | 74 | 0.00663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2284-23_0_6_line_58 | NAYY 4x150 SE | 53 | 55 | 0.006595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2284-23_0_6_line_59 | NAYY 4x150 SE | 55 | 56 | 0.015456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2284-23_0_6_line_60 | NAYY 4x150 SE | 57 | 58 | 0.036528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_2284-23_0_6_line_61 | NAYY 4x150 SE | 57 | 59 | 0.0095459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_2284-23_0_6_line_62 | NAYY 4x150 SE | 58 | 60 | 0.048832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_2284-23_0_6_line_63 | NAYY 4x150 SE | 59 | 61 | 0.1364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2284-23_0_6_line_64 | NAYY 4x150 SE | 60 | 62 | 0.023839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_2284-23_0_6_line_65 | NAYY 4x150 SE | 61 | 63 | 0.28276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2284-23_0_6_line_66 | NAYY 4x150 SE | 62 | 70 | 0.045057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_2284-23_0_6_line_67 | NAYY 4x150 SE | 63 | 72 | 0.015373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2284-23_0_6_line_68 | NAYY 4x150 SE | 63 | 71 | 0.07376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2284-23_0_6_line_69 | NAYY 4x150 SE | 64 | 65 | 0.047632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_2284-23_0_6_line_70 | NAYY 4x150 SE | 65 | 67 | 0.025697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_2284-23_0_6_line_71 | NAYY 4x150 SE | 66 | 68 | 0.039228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_2284-23_0_6_line_72 | NAYY 4x150 SE | 67 | 69 | 0.04852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_2284-23_0_6_line_73 | NAYY 4x150 SE | 69 | 70 | 7.9635e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_2284-23_0_6_line_74 | NAYY 4x150 SE | 73 | 75 | 0.024102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2284-23_0_6_line_75 | NAYY 4x150 SE | 75 | 76 | 0.026493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2284-23_0_6_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0032078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2284-23_0_6_line_77 | NAYY 4x150 SE | 77 | 78 | 0.021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2284-23_0_6_line_78 | NAYY 4x150 SE | 78 | 79 | 0.0033744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2284-23_0_6_line_79 | NAYY 4x150 SE | 79 | 82 | 0.0083185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2284-23_0_6_line_80 | NAYY 4x150 SE | 80 | 81 | 0.0010889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2284-23_0_6_line_81 | NAYY 4x150 SE | 81 | 82 | 0.015092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2284-23_0_6_line_82 | NAYY 4x150 SE | 82 | 83 | 0.021475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2284-23_0_6_line_83 | NAYY 4x150 SE | 83 | 84 | 0.014962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-23_0_6_trafo_4 | 0.25 MVA 20/0.4 kV | 85 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2575632.247 | 1201575.6989 | 2575640.631 | 1201563.0071
1 | 2575632.247 | 1201575.6989 | 2575635.8114 | 1201578.1968 | 2575636.5511 | 1201582.2738 | 2575638.852 | 1201586.5889 | 2575642.3586 | 1201589.8208 | 2575652.0691 | 1201593.3719
2 | 2575652.0691 | 1201593.3719 | 2575650.6411 | 1201597.769
3 | 2575652.0691 | 1201593.3719 | 2575662.0853 | 1201597.2108 | 2575685.9687 | 1201606.5821
4 | 2575664.7893 | 1201603.3253 | 2575659.5523 | 1201601.2678 | 2575650.6411 | 1201597.769
5 | 2575650.6411 | 1201597.769 | 2575640.8904 | 1201614.9935
6 | 2575714.4339 | 1201617.7512 | 2575685.9687 | 1201606.5821
7 | 2575664.7893 | 1201603.3253 | 2575646.7023 | 1201633.6981
8 | 2575640.8904 | 1201614.9935 | 2575627.6834 | 1201638.3237
9 | 2575722.0089 | 1201620.7234 | 2575714.4339 | 1201617.7512
10 | 2575646.7023 | 1201633.6981 | 2575637.0488 | 1201649.9087 | 2575616.5839 | 1201690.7705 | 2575615.6599 | 1201693.817
11 | 2575680.1597 | 1201736.6021 | 2575651.8841 | 1201740.2894
12 | 2575651.8841 | 1201740.2894 | 2575510.0643 | 1202096.9748
13 | 2575680.1597 | 1201736.6021 | 2575679.4126 | 1201730.702 | 2575680.2923 | 1201728.2907
14 | 2575680.1597 | 1201736.6021 | 2575687.1432 | 1201741.4652 | 2575691.155 | 1201743.0068
15 | 2575417.6441 | 1202062.926 | 2575492.6357 | 1202091.0544 | 2575498.3818 | 1202093.0096 | 2575510.0643 | 1202096.9748
16 | 2575510.0643 | 1202096.9748 | 2575498.8559 | 1202115.7423 | 2575483.2404 | 1202179.6398
17 | 2575687.37 | 1201708.8906 | 2575680.2923 | 1201728.2907
18 | 2575768.9398 | 1201772.899 | 2575691.155 | 1201743.0068
19 | 2575359.7215 | 1202042.1874 | 2575417.6441 | 1202062.926
20 | 2575359.7215 | 1202042.1874 | 2575351.8027 | 1202071.4349
21 | 2575359.7215 | 1202042.1874 | 2575279.5437 | 1202013.4819
22 | 2575417.6441 | 1202062.926 | 2575407.5737 | 1202098.2947
23 | 2575279.5437 | 1202013.4819 | 2575277.7789 | 1202019.7179
24 | 2575279.5437 | 1202013.4819 | 2575280.0655 | 1202011.5718
25 | 2575244.6107 | 1202140.9415 | 2575253.4451 | 1202107.6613
26 | 2575266.3846 | 1202059.9806 | 2575261.8288 | 1202076.0787 | 2575253.4451 | 1202107.6613
27 | 2575244.6107 | 1202140.9415 | 2575272.3531 | 1202151.1603
28 | 2575244.6107 | 1202140.9415 | 2575228.6378 | 1202201.5071
29 | 2575266.3846 | 1202059.9806 | 2575267.0968 | 1202057.4638
30 | 2575331.4288 | 1202172.9208 | 2575272.3531 | 1202151.1603
31 | 2575213.7152 | 1202258.0899 | 2575228.6378 | 1202201.5071
32 | 2575483.2404 | 1202179.6398 | 2575468.1714 | 1202241.3014
33 | 2575467.1833 | 1202245.3448 | 2575468.1714 | 1202241.3014
34 | 2575461.2193 | 1202269.7489 | 2575467.1833 | 1202245.3448
35 | 2575405.9188 | 1202104.1072 | 2575407.5737 | 1202098.2947
36 | 2575331.4288 | 1202172.9208 | 2575327.8022 | 1202188.411
37 | 2575331.4288 | 1202172.9208 | 2575378.3031 | 1202190.5697 | 2575392.9747 | 1202195.9898
38 | 2575213.7152 | 1202258.0899 | 2575272.3684 | 1202279.1054
39 | 2575327.8022 | 1202188.411 | 2575324.6692 | 1202201.798 | 2575358.0056 | 1202210.1676
40 | 2575327.8022 | 1202188.411 | 2575325.4962 | 1202198.2644
41 | 2575392.9747 | 1202195.9898 | 2575416.7321 | 1202210.5329 | 2575416.7321 | 1202210.5329
42 | 2575360.4442 | 1202210.7799 | 2575358.0056 | 1202210.1676
43 | 2575409.0361 | 1202236.399 | 2575416.7321 | 1202210.5329
44 | 2575687.37 | 1201708.8906 | 2575687.9834 | 1201707.2093
45 | 2575705.0922 | 1201660.3141 | 2575687.9834 | 1201707.2093
46 | 2575613.8056 | 1201699.9313 | 2575615.6599 | 1201693.817
47 | 2575705.0922 | 1201660.3141 | 2575718.9021 | 1201624.0601 | 2575727.5621 | 1201627.5712 | 2575728.7551 | 1201623.3751 | 2575722.0089 | 1201620.7234
48 | 2575705.0922 | 1201660.3141 | 2575722.4714 | 1201666.9357 | 2575727.3833 | 1201668.8062
49 | 2575722.0089 | 1201620.7234 | 2575724.043 | 1201617.5134 | 2575726.5793 | 1201614.2457 | 2575729.1088 | 1201607.4761 | 2575731.6072 | 1201603.9323
50 | 2575820.2345 | 1201662.5242 | 2575813.1611 | 1201659.8849 | 2575727.5621 | 1201627.5712 | 2575728.7551 | 1201623.3751 | 2575722.0089 | 1201620.7234
51 | 2575727.3833 | 1201668.8062 | 2575733.9059 | 1201671.29
52 | 2575820.2345 | 1201662.5242 | 2575796.0727 | 1201726.602
53 | 2575737.1258 | 1201583.9416 | 2575735.4924 | 1201595.8437 | 2575732.9604 | 1201602.013 | 2575731.6072 | 1201603.9323
54 | 2575771.5138 | 1201579.0322 | 2575761.7863 | 1201575.0363 | 2575756.892 | 1201574.9006 | 2575753.1919 | 1201583.9206
55 | 2575753.1919 | 1201583.9206 | 2575748.6558 | 1201582.0047 | 2575749.2206 | 1201580.5349 | 2575737.1258 | 1201583.9416
56 | 2575753.1919 | 1201583.9206 | 2575778.7571 | 1201594.7369
57 | 2575773.7717 | 1201572.7974 | 2575771.5138 | 1201579.0322
58 | 2575732.5628 | 1201579.1687 | 2575737.1258 | 1201583.9416
59 | 2575732.5628 | 1201579.1687 | 2575717.9631 | 1201574.0945
60 | 2575122.356 | 1201948.0992 | 2575095.5344 | 1201972.8968
61 | 2575088.5251 | 1201979.377 | 2575095.5344 | 1201972.8968
62 | 2575158.5508 | 1201915.3207 | 2575130.2178 | 1201940.8308 | 2575122.356 | 1201948.0992
63 | 2574980.0811 | 1202061.704 | 2575025.9098 | 1202031.0503 | 2575064.7114 | 1202001.3936 | 2575088.5251 | 1201979.377
64 | 2575158.5508 | 1201915.3207 | 2575180.8706 | 1201923.6953
65 | 2574980.0811 | 1202061.704 | 2574719.4184 | 1201952.1341
66 | 2575223.056 | 1201939.5237 | 2575180.8706 | 1201923.6953
67 | 2574719.4184 | 1201952.1341 | 2574706.4818 | 1201960.4383
68 | 2574719.4184 | 1201952.1341 | 2574681.4884 | 1201888.8739
69 | 2575292.617 | 1201965.6236 | 2575280.0655 | 1202011.5718
70 | 2575292.617 | 1201965.6236 | 2575268.5577 | 1201956.5963
71 | 2575277.7789 | 1202019.7179 | 2575267.0968 | 1202057.4638
72 | 2575268.5577 | 1201956.5963 | 2575223.1305 | 1201939.5516
73 | 2575223.1305 | 1201939.5516 | 2575223.056 | 1201939.5237
74 | 2575733.9059 | 1201671.29 | 2575756.4296 | 1201679.8673
75 | 2575758.1993 | 1201699.5977 | 2575764.5472 | 1201682.9619 | 2575762.2452 | 1201682.0819 | 2575756.4296 | 1201679.8673
76 | 2575757.0557 | 1201702.5948 | 2575758.1993 | 1201699.5977
77 | 2575757.0557 | 1201702.5948 | 2575749.4989 | 1201722.3987
78 | 2575748.296 | 1201725.5514 | 2575749.4989 | 1201722.3987
79 | 2575745.3304 | 1201733.3233 | 2575748.296 | 1201725.5514
80 | 2575739.9485 | 1201747.4235 | 2575739.5603 | 1201748.4408
81 | 2575745.3304 | 1201733.3233 | 2575739.9485 | 1201747.4235
82 | 2575745.3304 | 1201733.3233 | 2575724.9823 | 1201726.4581 | 2575724.9823 | 1201726.4581
83 | 2575724.9823 | 1201726.4581 | 2575719.9123 | 1201740.5354

## bus_geodata
| x | y | coords
0 | 2575640.631 | 1201563.0071
1 | 2575632.247 | 1201575.6989
2 | 2575652.0691 | 1201593.3719
3 | 2575650.6411 | 1201597.769
4 | 2575685.9687 | 1201606.5821
5 | 2575664.7893 | 1201603.3253
6 | 2575640.8904 | 1201614.9935
7 | 2575714.4339 | 1201617.7512
8 | 2575646.7023 | 1201633.6981
9 | 2575627.6834 | 1201638.3237
10 | 2575651.8841 | 1201740.2894
11 | 2575680.1597 | 1201736.6021
12 | 2575510.0643 | 1202096.9748
13 | 2575680.2923 | 1201728.2907
14 | 2575691.155 | 1201743.0068
15 | 2575359.7215 | 1202042.1874
16 | 2575417.6441 | 1202062.926
17 | 2575351.8027 | 1202071.4349
18 | 2575279.5437 | 1202013.4819
19 | 2575253.4451 | 1202107.6613
20 | 2575244.6107 | 1202140.9415
21 | 2575266.3846 | 1202059.9806
22 | 2575272.3531 | 1202151.1603
23 | 2575228.6378 | 1202201.5071
24 | 2575483.2404 | 1202179.6398
25 | 2575468.1714 | 1202241.3014
26 | 2575467.1833 | 1202245.3448
27 | 2575461.2193 | 1202269.7489
28 | 2575407.5737 | 1202098.2947
29 | 2575405.9188 | 1202104.1072
30 | 2575331.4288 | 1202172.9208
31 | 2575213.7152 | 1202258.0899
32 | 2575327.8022 | 1202188.411
33 | 2575392.9747 | 1202195.9898
34 | 2575358.0056 | 1202210.1676
35 | 2575325.4962 | 1202198.2644
36 | 2575416.7321 | 1202210.5329
37 | 2575360.4442 | 1202210.7799
38 | 2575272.3684 | 1202279.1054
39 | 2575409.0361 | 1202236.399
40 | 2575687.37 | 1201708.8906
41 | 2575768.9398 | 1201772.899
42 | 2575687.9834 | 1201707.2093
43 | 2575615.6599 | 1201693.817
44 | 2575613.8056 | 1201699.9313
45 | 2575705.0922 | 1201660.3141
46 | 2575722.0089 | 1201620.7234
47 | 2575727.3833 | 1201668.8062
48 | 2575820.2345 | 1201662.5242
49 | 2575796.0727 | 1201726.602
50 | 2575731.6072 | 1201603.9323
51 | 2575753.1919 | 1201583.9206
52 | 2575771.5138 | 1201579.0322
53 | 2575737.1258 | 1201583.9416
54 | 2575778.7571 | 1201594.7369
55 | 2575732.5628 | 1201579.1687
56 | 2575717.9631 | 1201574.0945
57 | 2575095.5344 | 1201972.8968
58 | 2575122.356 | 1201948.0992
59 | 2575088.5251 | 1201979.377
60 | 2575158.5508 | 1201915.3207
61 | 2574980.0811 | 1202061.704
62 | 2575180.8706 | 1201923.6953
63 | 2574719.4184 | 1201952.1341
64 | 2575280.0655 | 1202011.5718
65 | 2575292.617 | 1201965.6236
66 | 2575277.7789 | 1202019.7179
67 | 2575268.5577 | 1201956.5963
68 | 2575267.0968 | 1202057.4638
69 | 2575223.1305 | 1201939.5516
70 | 2575223.056 | 1201939.5237
71 | 2574681.4884 | 1201888.8739
72 | 2574706.4818 | 1201960.4383
73 | 2575733.9059 | 1201671.29
74 | 2575773.7717 | 1201572.7974
75 | 2575756.4297 | 1201679.8673
76 | 2575758.1993 | 1201699.5977
77 | 2575757.0557 | 1201702.5948
78 | 2575749.4989 | 1201722.3987
79 | 2575748.296 | 1201725.5514
80 | 2575739.5603 | 1201748.4408
81 | 2575739.9485 | 1201747.4235
82 | 2575745.3304 | 1201733.3233
83 | 2575724.9823 | 1201726.4581
84 | 2575719.9123 | 1201740.5354
85 | 2575680.1597 | 1201736.6021

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97892 | -0.14798 | 0.00432 | 0.0010827
1 | 0.97902 | -0.1473 | 0 | 0
2 | 0.9792 | -0.14602 | 0 | 0
3 | 0.97903 | -0.14722 | 0 | 0
4 | 0.98075 | -0.13496 | 0.0053205 | 0.0013334
5 | 0.97857 | -0.15047 | 0 | 0
6 | 0.9789 | -0.14812 | 0.0019371 | 0.00048548
7 | 0.98229 | -0.124 | 0.002984 | 0.00074787
8 | 0.97751 | -0.15806 | 0.017331 | 0.0043435
9 | 0.97881 | -0.14879 | 0.0024139 | 0.00060499
10 | 1 | 0 | -0.19308 | -0.04861
11 | 0.99846 | -0.010652 | 0 | 0
12 | 0.98568 | -0.099702 | 0 | 0
13 | 0.99781 | -0.015141 | 0.0025213 | 0.00063189
14 | 0.99833 | -0.011531 | 0.0024609 | 0.00061675
15 | 0.98039 | -0.13722 | 0 | 0
16 | 0.98229 | -0.12376 | 0 | 0
17 | 0.98033 | -0.13767 | 0.0014305 | 0.00035851
18 | 0.97783 | -0.15551 | 0 | 0
19 | 0.97499 | -0.17584 | 0.0061918 | 0.0015518
20 | 0.97408 | -0.1824 | 0 | 0
21 | 0.97675 | -0.16325 | 0.0031948 | 0.00080069
22 | 0.97374 | -0.18485 | 0.0010958 | 0.00027462
23 | 0.97314 | -0.18916 | 0.00087578 | 0.00021949
24 | 0.98497 | -0.10478 | 0.0050231 | 0.0012589
25 | 0.98492 | -0.10517 | 0.0001966 | 4.9272e-05
26 | 0.98491 | -0.10519 | 0.0002612 | 6.5463e-05
27 | 0.98491 | -0.10522 | 0.00013801 | 3.4589e-05
28 | 0.98187 | -0.1267 | 0.0054109 | 0.0013561
29 | 0.98185 | -0.12684 | 0.0023119 | 0.00057943
30 | 0.97312 | -0.18934 | 0 | 0
31 | 0.97234 | -0.19494 | 0 | 0
32 | 0.97304 | -0.1899 | 0 | 0
33 | 0.97279 | -0.19172 | 0 | 0
34 | 0.97285 | -0.19124 | 0.0019206 | 0.00048135
35 | 0.97303 | -0.18998 | 0.00070996 | 0.00017793
36 | 0.97265 | -0.19272 | 0.00088552 | 0.00022193
37 | 0.97285 | -0.19126 | 0.00070364 | 0.00017635
38 | 0.97148 | -0.2011 | 0.0093547 | 0.0023445
39 | 0.97255 | -0.19345 | 0.0025331 | 0.00063486
40 | 0.99473 | -0.036475 | 0.0025094 | 0.00062892
41 | 0.99781 | -0.015193 | 0.0043825 | 0.0010984
42 | 0.99447 | -0.038284 | 0.0029786 | 0.00074651
43 | 0.97719 | -0.16035 | 0.0018698 | 0.00046861
44 | 0.97718 | -0.16044 | 0.0013666 | 0.00034249
45 | 0.98743 | -0.087622 | 0 | 0
46 | 0.98273 | -0.12084 | 0 | 0
47 | 0.98593 | -0.098183 | 0.0073341 | 0.0018381
48 | 0.98215 | -0.12499 | 0 | 0
49 | 0.98179 | -0.12756 | 0.0036156 | 0.00090614
50 | 0.98237 | -0.12343 | 0.00049886 | 0.00012503
51 | 0.98169 | -0.12826 | 0 | 0
52 | 0.98164 | -0.12864 | 0 | 0
53 | 0.98199 | -0.12612 | 0 | 0
54 | 0.98131 | -0.13098 | 0.0094474 | 0.0023677
55 | 0.98198 | -0.12622 | 0 | 0
56 | 0.98194 | -0.12645 | 0.0014622 | 0.00036647
57 | 0.97524 | -0.17418 | 0.001172 | 0.00029374
58 | 0.97539 | -0.17303 | 0.0039501 | 0.00098999
59 | 0.97518 | -0.17457 | 0.0021064 | 0.00052792
60 | 0.9757 | -0.17082 | 0 | 0
61 | 0.97405 | -0.18275 | 0 | 0
62 | 0.97585 | -0.16974 | 0.0041342 | 0.0010361
63 | 0.9717 | -0.19972 | 0 | 0
64 | 0.9778 | -0.1557 | 0.00076218 | 0.00019102
65 | 0.97717 | -0.16025 | 0 | 0
66 | 0.97773 | -0.15627 | 0.0034511 | 0.00086493
67 | 0.97683 | -0.16271 | 0.0018587 | 0.00046584
68 | 0.97685 | -0.1625 | 0.0028572 | 0.00071607
69 | 0.97623 | -0.16704 | 0.0028561 | 0.00071579
70 | 0.97623 | -0.16704 | 0.0055697 | 0.0013959
71 | 0.97133 | -0.20233 | 0.0033484 | 0.0008392
72 | 0.97164 | -0.20009 | 0.0023196 | 0.00058135
73 | 0.98557 | -0.10075 | 0.0050953 | 0.001277
74 | 0.98162 | -0.12873 | 0.0014265 | 0.0003575
75 | 0.9845 | -0.10838 | 0.007391 | 0.0018524
76 | 0.9836 | -0.11476 | 0.0026716 | 0.00066956
77 | 0.9835 | -0.11544 | 0.0031763 | 0.00079606
78 | 0.98297 | -0.11927 | 0.0026242 | 0.00065769
79 | 0.98289 | -0.11979 | 0.0032007 | 0.00080217
80 | 0.98261 | -0.12179 | 0.0028158 | 0.00070571
81 | 0.98262 | -0.12176 | 0.0033866 | 0.00084875
82 | 0.98275 | -0.12079 | 0 | 0
83 | 0.98258 | -0.12201 | 0.0026612 | 0.00066696
84 | 0.98252 | -0.12245 | 0.0028139 | 0.00070523
85 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00432 | -0.0010827 | 0.0043204 | 0.0010827 | 4.0929e-07 | -3.3834e-08 | 0.0065667 | 0.0065666 | 0.0065667 | 0.97892 | -0.14798 | 0.97902 | -0.1473 | 2.4321
1 | -0.0043204 | -0.0010827 | 0.0043212 | 0.0010826 | 7.6552e-07 | -6.3394e-08 | 0.0065666 | 0.0065665 | 0.0065666 | 0.97902 | -0.1473 | 0.9792 | -0.14602 | 2.4321
2 | 0.024955 | 0.006257 | -0.024951 | -0.0062555 | 4.1487e-06 | 1.5375e-06 | 0.037923 | 0.037923 | 0.037923 | 0.9792 | -0.14602 | 0.97903 | -0.14722 | 14.0456
3 | -0.029276 | -0.0073396 | 0.029321 | 0.0073564 | 4.4936e-05 | 1.6825e-05 | 0.04449 | 0.044489 | 0.04449 | 0.9792 | -0.14602 | 0.98075 | -0.13496 | 16.4776
4 | 0.020599 | 0.0051653 | -0.02059 | -0.0051619 | 9.2749e-06 | 3.3767e-06 | 0.031309 | 0.031309 | 0.031309 | 0.97903 | -0.14722 | 0.97857 | -0.15047 | 11.596
5 | 0.0043518 | 0.0010902 | -0.0043512 | -0.0010902 | 5.403e-07 | -4.1054e-08 | 0.006614 | 0.0066141 | 0.0066141 | 0.97903 | -0.14722 | 0.9789 | -0.14812 | 2.4497
6 | -0.034641 | -0.0086899 | 0.034694 | 0.0087098 | 5.2715e-05 | 1.9888e-05 | 0.052562 | 0.052562 | 0.052562 | 0.98075 | -0.13496 | 0.98229 | -0.124 | 19.4673
7 | 0.02059 | 0.0051619 | -0.020568 | -0.005154 | 2.1623e-05 | 7.873e-06 | 0.031309 | 0.031309 | 0.031309 | 0.97857 | -0.15047 | 0.97751 | -0.15806 | 11.596
8 | 0.0024141 | 0.00060474 | -0.0024139 | -0.00060499 | 2.2528e-07 | -2.5035e-07 | 0.0036696 | 0.0036697 | 0.0036697 | 0.9789 | -0.14812 | 0.97881 | -0.14879 | 1.3592
9 | -0.037678 | -0.0094576 | 0.037695 | 0.0094639 | 1.6545e-05 | 6.2603e-06 | 0.057082 | 0.057082 | 0.057082 | 0.98229 | -0.124 | 0.98273 | -0.12084 | 21.1415
10 | 0.0032374 | 0.00081058 | -0.0032364 | -0.00081103 | 1.0267e-06 | -4.5416e-07 | 0.0049278 | 0.0049281 | 0.0049281 | 0.97751 | -0.15806 | 0.97719 | -0.16035 | 1.8252
11 | 0.11384 | 0.02876 | -0.11367 | -0.028696 | 0.00017035 | 6.4399e-05 | 0.16947 | 0.16947 | 0.16947 | 1 | 0 | 0.99846 | -0.010652 | 20.9228
12 | 0.07844 | 0.01985 | -0.077351 | -0.019446 | 0.001089 | 0.00040396 | 0.11679 | 0.11679 | 0.11679 | 1 | 0 | 0.98568 | -0.099702 | 14.4189
13 | 0.10682 | 0.026981 | -0.10675 | -0.026955 | 6.7385e-05 | 2.5695e-05 | 0.15927 | 0.15927 | 0.15927 | 0.99846 | -0.010652 | 0.99781 | -0.015141 | 29.4947
14 | 0.0068464 | 0.001715 | -0.0068456 | -0.0017149 | 8.3198e-07 | 1.5251e-07 | 0.010203 | 0.010203 | 0.010203 | 0.99846 | -0.010652 | 0.99833 | -0.011531 | 3.7789
15 | 0.071728 | 0.018038 | -0.071489 | -0.01795 | 0.00023972 | 8.8455e-05 | 0.1083 | 0.10831 | 0.10831 | 0.98568 | -0.099702 | 0.98229 | -0.12376 | 13.3711
16 | 0.0056229 | 0.0014075 | -0.005619 | -0.0014071 | 3.94e-06 | 3.9912e-07 | 0.0084879 | 0.0084883 | 0.0084883 | 0.98568 | -0.099702 | 0.98497 | -0.10478 | 3.1438
17 | 0.10423 | 0.026323 | -0.10392 | -0.026204 | 0.00031164 | 0.00011959 | 0.15551 | 0.15551 | 0.15551 | 0.99781 | -0.015141 | 0.99473 | -0.036475 | 57.5969
18 | 0.0043847 | 0.0010981 | -0.0043825 | -0.0010984 | 2.2209e-06 | -2.3484e-07 | 0.0065352 | 0.0065355 | 0.0065355 | 0.99833 | -0.011531 | 0.99781 | -0.015193 | 2.4206
19 | -0.063643 | -0.01597 | 0.063762 | 0.016014 | 0.00011912 | 4.3488e-05 | 0.096603 | 0.096602 | 0.096603 | 0.98039 | -0.13722 | 0.98229 | -0.12376 | 11.9263
20 | 0.0014305 | 0.00035816 | -0.0014305 | -0.00035851 | 8.913e-08 | -3.4778e-07 | 0.0021711 | 0.0021712 | 0.0021712 | 0.98039 | -0.13722 | 0.98033 | -0.13767 | 0.80417
21 | 0.062213 | 0.015612 | -0.062055 | -0.015555 | 0.00015756 | 5.7394e-05 | 0.094432 | 0.094433 | 0.094433 | 0.98039 | -0.13722 | 0.97783 | -0.15551 | 11.6584
22 | 0.007726 | 0.0019362 | -0.0077229 | -0.0019355 | 3.1433e-06 | 7.4364e-07 | 0.011704 | 0.011704 | 0.011704 | 0.98229 | -0.12376 | 0.98187 | -0.1267 | 4.3348
23 | 0.0339 | 0.0085049 | -0.033897 | -0.0085038 | 3.5879e-06 | 1.1361e-06 | 0.051591 | 0.051591 | 0.051591 | 0.97783 | -0.15551 | 0.97773 | -0.15627 | 6.3692
24 | 0.028155 | 0.0070498 | -0.028154 | -0.0070495 | 7.5598e-07 | 2.1625e-07 | 0.042843 | 0.042843 | 0.042843 | 0.97783 | -0.15551 | 0.9778 | -0.1557 | 5.2892
25 | 0.01813 | 0.0045443 | -0.018114 | -0.0045384 | 1.645e-05 | 5.898e-06 | 0.02767 | 0.02767 | 0.02767 | 0.97499 | -0.17584 | 0.97408 | -0.1824 | 10.2482
26 | -0.024322 | -0.0060961 | 0.024364 | 0.0061119 | 4.2479e-05 | 1.5721e-05 | 0.03712 | 0.037119 | 0.03712 | 0.97499 | -0.17584 | 0.97675 | -0.16325 | 13.748
27 | 0.0078581 | 0.0019671 | -0.0078554 | -0.0019664 | 2.658e-06 | 6.5442e-07 | 0.012003 | 0.012003 | 0.012003 | 0.97408 | -0.1824 | 0.97374 | -0.18485 | 4.4457
28 | 0.010256 | 0.0025714 | -0.010246 | -0.0025685 | 9.5937e-06 | 2.9109e-06 | 0.015667 | 0.015667 | 0.015667 | 0.97408 | -0.1824 | 0.97314 | -0.18916 | 5.8027
29 | -0.027559 | -0.0069126 | 0.027562 | 0.0069136 | 2.8772e-06 | 1.0739e-06 | 0.041987 | 0.041987 | 0.041987 | 0.97675 | -0.16325 | 0.97685 | -0.1625 | 15.5506
30 | 0.0067596 | 0.0016918 | -0.0067554 | -0.001691 | 4.1912e-06 | 8.2937e-07 | 0.010329 | 0.010329 | 0.010329 | 0.97374 | -0.18485 | 0.97312 | -0.18934 | 3.8256
31 | 0.0093702 | 0.002349 | -0.0093627 | -0.0023468 | 7.4964e-06 | 2.1568e-06 | 0.014328 | 0.014328 | 0.014328 | 0.97314 | -0.18916 | 0.97234 | -0.19494 | 5.3068
32 | 0.00059584 | 0.00014816 | -0.00059581 | -0.00014895 | 3.2075e-08 | -7.9554e-07 | 0.00089973 | 0.00090002 | 0.00090002 | 0.98497 | -0.10478 | 0.98492 | -0.10517 | 0.33334
33 | 0.00039921 | 9.968e-05 | -0.00039921 | -9.9732e-05 | 9.4441e-10 | -5.2609e-08 | 0.000603 | 0.00060302 | 0.00060302 | 0.98492 | -0.10517 | 0.98491 | -0.10519 | 0.22334
34 | 0.00013801 | 3.4269e-05 | -0.00013801 | -3.4589e-05 | 6.8116e-10 | -3.1945e-07 | 0.00020839 | 0.00020851 | 0.00020851 | 0.98491 | -0.10519 | 0.98491 | -0.10522 | 0.077225
35 | 0.002312 | 0.00057937 | -0.0023119 | -0.00057943 | 4.6296e-08 | -5.8631e-08 | 0.0035038 | 0.0035038 | 0.0035038 | 0.98187 | -0.1267 | 0.98185 | -0.12684 | 1.2977
36 | 0.003335 | 0.00083497 | -0.0033347 | -0.00083507 | 2.5815e-07 | -9.8351e-08 | 0.0050993 | 0.0050993 | 0.0050993 | 0.97312 | -0.18934 | 0.97304 | -0.1899 | 1.8886
37 | 0.0034205 | 0.000856 | -0.0034194 | -0.00085639 | 1.1219e-06 | -3.848e-07 | 0.0052299 | 0.0052302 | 0.0052302 | 0.97312 | -0.18934 | 0.97279 | -0.19172 | 1.9371
38 | 0.0093627 | 0.0023468 | -0.0093547 | -0.0023445 | 7.9818e-06 | 2.2978e-06 | 0.014328 | 0.014329 | 0.014329 | 0.97234 | -0.19494 | 0.97148 | -0.2011 | 5.3069
39 | 0.0026247 | 0.00065726 | -0.0026243 | -0.00065767 | 4.8374e-07 | -4.1155e-07 | 0.0040137 | 0.0040139 | 0.0040139 | 0.97304 | -0.1899 | 0.97285 | -0.19124 | 1.4866
40 | 0.00070997 | 0.00017781 | -0.00070996 | -0.00017793 | 7.4434e-09 | -1.2284e-07 | 0.0010857 | 0.0010857 | 0.0010857 | 0.97304 | -0.1899 | 0.97303 | -0.18998 | 0.40212
41 | 0.0034194 | 0.00085639 | -0.0034189 | -0.00085655 | 4.7548e-07 | -1.629e-07 | 0.0052302 | 0.0052303 | 0.0052303 | 0.97279 | -0.19172 | 0.97265 | -0.19272 | 1.9371
42 | 0.00070364 | 0.00017632 | -0.00070364 | -0.00017635 | 1.8172e-09 | -3.0519e-08 | 0.0010762 | 0.0010762 | 0.0010762 | 0.97285 | -0.19124 | 0.97285 | -0.19126 | 0.39861
43 | 0.0025334 | 0.00063462 | -0.0025331 | -0.00063486 | 2.5294e-07 | -2.3762e-07 | 0.0038756 | 0.0038757 | 0.0038757 | 0.97265 | -0.19272 | 0.97255 | -0.19345 | 1.4354
44 | 0.10141 | 0.025575 | -0.10139 | -0.025565 | 2.572e-05 | 9.8692e-06 | 0.15176 | 0.15176 | 0.15176 | 0.99473 | -0.036475 | 0.99447 | -0.038284 | 56.2066
45 | 0.098407 | 0.024819 | -0.097732 | -0.024559 | 0.00067586 | 0.0002593 | 0.1473 | 0.1473 | 0.1473 | 0.99447 | -0.038284 | 0.98743 | -0.087622 | 54.556
46 | 0.0013666 | 0.00034242 | -0.0013666 | -0.00034249 | 1.7264e-08 | -7.3402e-08 | 0.0020809 | 0.0020809 | 0.0020809 | 0.97719 | -0.16035 | 0.97718 | -0.16044 | 0.77072
47 | 0.054416 | 0.013686 | -0.054165 | -0.01359 | 0.00025082 | 9.5709e-05 | 0.082019 | 0.08202 | 0.08202 | 0.98743 | -0.087622 | 0.98273 | -0.12084 | 30.3777
48 | 0.043316 | 0.010873 | -0.043253 | -0.010849 | 6.3435e-05 | 2.4093e-05 | 0.065282 | 0.065282 | 0.065282 | 0.98743 | -0.087622 | 0.98593 | -0.098183 | 24.1785
49 | 0.012851 | 0.0032212 | -0.012846 | -0.0032196 | 4.6072e-06 | 1.525e-06 | 0.019459 | 0.019459 | 0.019459 | 0.98273 | -0.12084 | 0.98237 | -0.12343 | 7.207
50 | 0.0036189 | 0.00090517 | -0.0036168 | -0.00090577 | 2.073e-06 | -6.0389e-07 | 0.005479 | 0.0054795 | 0.0054795 | 0.98273 | -0.12084 | 0.98215 | -0.12499 | 2.0294
51 | 0.035918 | 0.0090111 | -0.035906 | -0.0090063 | 1.28e-05 | 4.8342e-06 | 0.054213 | 0.054213 | 0.054213 | 0.98593 | -0.098183 | 0.98557 | -0.10075 | 20.0789
52 | 0.0036168 | 0.00090577 | -0.0036156 | -0.00090614 | 1.2829e-06 | -3.7276e-07 | 0.0054795 | 0.0054798 | 0.0054798 | 0.98215 | -0.12499 | 0.98179 | -0.12756 | 2.0296
53 | 0.012348 | 0.0030946 | -0.012343 | -0.0030931 | 4.5906e-06 | 1.4995e-06 | 0.018703 | 0.018703 | 0.018703 | 0.98237 | -0.12343 | 0.98199 | -0.12612 | 6.9272
54 | 0.0014266 | 0.00035714 | -0.0014265 | -0.00035743 | 7.3285e-08 | -2.894e-07 | 0.0021622 | 0.0021623 | 0.0021623 | 0.98169 | -0.12826 | 0.98164 | -0.12864 | 0.80085
55 | -0.010878 | -0.0027259 | 0.010881 | 0.0027269 | 3.2338e-06 | 1.0027e-06 | 0.016488 | 0.016488 | 0.016488 | 0.98169 | -0.12826 | 0.98199 | -0.12612 | 6.1066
56 | 0.009451 | 0.0023688 | -0.0094474 | -0.0023677 | 3.5548e-06 | 1.0164e-06 | 0.014326 | 0.014326 | 0.014326 | 0.98169 | -0.12826 | 0.98131 | -0.13098 | 5.3058
57 | 0.0014265 | 0.00035743 | -0.0014265 | -0.0003575 | 1.9344e-08 | -7.6375e-08 | 0.0021623 | 0.0021623 | 0.0021623 | 0.98164 | -0.12864 | 0.98162 | -0.12873 | 0.80086
58 | 0.0014623 | 0.00036622 | -0.0014623 | -0.00036629 | 2.0204e-08 | -7.5662e-08 | 0.0022157 | 0.0022158 | 0.0022158 | 0.98199 | -0.12612 | 0.98198 | -0.12622 | 0.82065
59 | 0.0014623 | 0.00036629 | -0.0014622 | -0.00036647 | 4.7353e-08 | -1.7731e-07 | 0.0022158 | 0.0022158 | 0.0022158 | 0.98198 | -0.12622 | 0.98194 | -0.12645 | 0.82067
60 | -0.008968 | -0.0022439 | 0.0089694 | 0.0022431 | 1.4223e-06 | -8.2055e-07 | 0.013682 | 0.013682 | 0.013682 | 0.97524 | -0.17418 | 0.97539 | -0.17303 | 1.6891
61 | 0.0077959 | 0.0019502 | -0.0077955 | -0.0019502 | 4.2132e-07 | -7.6159e-08 | 0.011894 | 0.011894 | 0.011894 | 0.97524 | -0.17418 | 0.97518 | -0.17457 | 2.2026
62 | -0.01292 | -0.0032331 | 0.012923 | 0.0032328 | 3.9448e-06 | -3.1186e-07 | 0.019708 | 0.019707 | 0.019708 | 0.97539 | -0.17303 | 0.9757 | -0.17082 | 2.433
63 | 0.0056891 | 0.0014223 | -0.0056827 | -0.0014216 | 6.4128e-06 | 7.6663e-07 | 0.0086796 | 0.0086802 | 0.0086802 | 0.97518 | -0.17457 | 0.97405 | -0.18275 | 3.2149
64 | -0.012923 | -0.0032328 | 0.012925 | 0.0032326 | 1.9257e-06 | -1.527e-07 | 0.019707 | 0.019707 | 0.019707 | 0.9757 | -0.17082 | 0.97585 | -0.16974 | 2.433
65 | 0.0056827 | 0.0014216 | -0.0056694 | -0.00142 | 1.3296e-05 | 1.6029e-06 | 0.0086802 | 0.0086815 | 0.0086815 | 0.97405 | -0.18275 | 0.9717 | -0.19972 | 3.2154
66 | -0.01706 | -0.0042687 | 0.017066 | 0.0042695 | 6.3404e-06 | 7.4924e-07 | 0.026011 | 0.02601 | 0.026011 | 0.97585 | -0.16974 | 0.97623 | -0.16704 | 3.2112
67 | 0.0023197 | 0.0005812 | -0.0023196 | -0.00058135 | 1.2105e-07 | -1.4386e-07 | 0.0035523 | 0.0035523 | 0.0035523 | 0.9717 | -0.19972 | 0.97164 | -0.20009 | 1.3157
68 | 0.0033497 | 0.00083875 | -0.0033484 | -0.0008392 | 1.211e-06 | -4.4757e-07 | 0.0051293 | 0.0051296 | 0.0051296 | 0.9717 | -0.19972 | 0.97133 | -0.20233 | 1.8998
69 | 0.027392 | 0.0068585 | -0.027375 | -0.0068537 | 1.7214e-05 | 4.8295e-06 | 0.041683 | 0.041684 | 0.041684 | 0.9778 | -0.1557 | 0.97717 | -0.16025 | 5.1461
70 | 0.027375 | 0.0068537 | -0.027366 | -0.0068511 | 9.2871e-06 | 2.6066e-06 | 0.041684 | 0.041684 | 0.041684 | 0.97717 | -0.16025 | 0.97683 | -0.16271 | 5.1462
71 | 0.030445 | 0.0076388 | -0.030419 | -0.0076297 | 2.6281e-05 | 9.125e-06 | 0.046338 | 0.046339 | 0.046339 | 0.97773 | -0.15627 | 0.97685 | -0.1625 | 8.5813
72 | 0.025507 | 0.0063852 | -0.025492 | -0.0063812 | 1.5234e-05 | 4.0383e-06 | 0.038852 | 0.038853 | 0.038853 | 0.97683 | -0.16271 | 0.97623 | -0.16704 | 4.7967
73 | 0.022636 | 0.0056654 | -0.022636 | -0.0056654 | 1.972e-08 | 4.5959e-09 | 0.0345 | 0.0345 | 0.0345 | 0.97623 | -0.16704 | 0.97623 | -0.16704 | 4.2592
74 | 0.03081 | 0.0077293 | -0.030778 | -0.0077171 | 3.2547e-05 | 1.2211e-05 | 0.04652 | 0.04652 | 0.04652 | 0.98557 | -0.10075 | 0.9845 | -0.10838 | 17.2297
75 | 0.023387 | 0.0058647 | -0.023366 | -0.0058571 | 2.0658e-05 | 7.6087e-06 | 0.035349 | 0.035349 | 0.035349 | 0.9845 | -0.10838 | 0.9836 | -0.11476 | 13.0923
76 | 0.020695 | 0.0051876 | -0.020693 | -0.0051868 | 1.962e-06 | 7.139e-07 | 0.031308 | 0.031308 | 0.031308 | 0.9836 | -0.11476 | 0.9835 | -0.11544 | 11.5954
77 | 0.017516 | 0.0043908 | -0.017507 | -0.0043875 | 9.29e-06 | 3.3042e-06 | 0.026502 | 0.026502 | 0.026502 | 0.9835 | -0.11544 | 0.98297 | -0.11927 | 9.8156
78 | 0.014883 | 0.0037298 | -0.014882 | -0.0037294 | 1.0688e-06 | 3.6829e-07 | 0.02253 | 0.02253 | 0.02253 | 0.98297 | -0.11927 | 0.98289 | -0.11979 | 8.3443
79 | 0.011681 | 0.0029273 | -0.011679 | -0.0029267 | 1.6233e-06 | 5.1892e-07 | 0.017684 | 0.017684 | 0.017684 | 0.98289 | -0.11979 | 0.98275 | -0.12079 | 6.5496
80 | -0.0028158 | -0.00070571 | 0.0028158 | 0.0007057 | 1.2355e-08 | -9.0413e-09 | 0.0042641 | 0.0042641 | 0.0042641 | 0.98261 | -0.12179 | 0.98262 | -0.12176 | 1.5793
81 | -0.0062024 | -0.0015545 | 0.0062032 | 0.0015546 | 8.3081e-07 | 1.2834e-07 | 0.0093925 | 0.0093925 | 0.0093925 | 0.98262 | -0.12176 | 0.98275 | -0.12079 | 3.4787
82 | 0.0054762 | 0.0013722 | -0.0054753 | -0.0013721 | 9.213e-07 | 8.2289e-08 | 0.0082916 | 0.0082917 | 0.0082917 | 0.98275 | -0.12079 | 0.98258 | -0.12201 | 3.071
83 | 0.0028141 | 0.00070511 | -0.0028139 | -0.00070523 | 1.6956e-07 | -1.2429e-07 | 0.0042616 | 0.0042616 | 0.0042616 | 0.98258 | -0.12201 | 0.98252 | -0.12245 | 1.5784

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19665 | 0.049506

## res_load
| p_mw | q_mvar
0 | 0.00432 | 0.0010827
1 | 0.0053205 | 0.0013334
2 | 0.0019371 | 0.00048548
3 | 0.002984 | 0.00074787
4 | 0.017331 | 0.0043435
5 | 0.0024139 | 0.00060499
6 | 0.0035744 | 0.00089584
7 | 0.0025213 | 0.00063189
8 | 0.0024609 | 0.00061675
9 | 0.0014305 | 0.00035851
10 | 0.0061918 | 0.0015518
11 | 0.0031948 | 0.00080069
12 | 0.0010958 | 0.00027462
13 | 0.00087578 | 0.00021949
14 | 0.0050231 | 0.0012589
15 | 0.0001966 | 4.9272e-05
16 | 0.0002612 | 6.5463e-05
17 | 0.00013801 | 3.4589e-05
18 | 0.0054109 | 0.0013561
19 | 0.0023119 | 0.00057943
20 | 0.0019206 | 0.00048135
21 | 0.00070996 | 0.00017793
22 | 0.00088552 | 0.00022193
23 | 0.00070364 | 0.00017635
24 | 0.0093547 | 0.0023445
25 | 0.0025331 | 0.00063486
26 | 0.0025094 | 0.00062892
27 | 0.0043825 | 0.0010984
28 | 0.0029786 | 0.00074651
29 | 0.0018698 | 0.00046861
30 | 0.0013666 | 0.00034249
31 | 0.0073341 | 0.0018381
32 | 0.0036156 | 0.00090614
33 | 0.00049886 | 0.00012503
34 | 0.0094474 | 0.0023677
35 | 0.0014622 | 0.00036647
36 | 0.001172 | 0.00029374
37 | 0.0039501 | 0.00098999
38 | 0.0021064 | 0.00052792
39 | 0.0041342 | 0.0010361
40 | 0.00076218 | 0.00019102
41 | 0.0034511 | 0.00086493
42 | 0.0018587 | 0.00046584
43 | 0.0028572 | 0.00071607
44 | 0.0028561 | 0.00071579
45 | 0.0055697 | 0.0013959
46 | 0.0033484 | 0.0008392
47 | 0.0023196 | 0.00058135
48 | 0.0050953 | 0.001277
49 | 0.0014265 | 0.0003575
50 | 0.007391 | 0.0018524
51 | 0.0026716 | 0.00066956
52 | 0.0031763 | 0.00079606
53 | 0.0026242 | 0.00065769
54 | 0.0032007 | 0.00080217
55 | 0.0028158 | 0.00070571
56 | 0.0033866 | 0.00084875
57 | 0.0026612 | 0.00066696
58 | 0.0028139 | 0.00070523

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1